## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2703-7_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2703-7_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2703-7_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2703-7_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2703-7_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2703-7_0_8_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2703-7_0_8_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2703-7_0_8_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_2703-7_0_8_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_2703-7_0_8_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2703-7_0_8_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2703-7_0_8_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2703-7_0_8_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2703-7_0_8_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_2703-7_0_8_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_2703-7_0_8_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_2703-7_0_8_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_2703-7_0_8_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_2703-7_0_8_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_2703-7_0_8_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_2703-7_0_8_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_2703-7_0_8_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_2703-7_0_8_node_138 | 0.4 | n |  | TRUE
23 | bus_LV_2703-7_0_8_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_2703-7_0_8_node_137 | 0.4 | n |  | TRUE
25 | bus_LV_2703-7_0_8_node_131 | 0.4 | n |  | TRUE
26 | bus_LV_2703-7_0_8_node_129 | 0.4 | n |  | TRUE
27 | bus_LV_2703-7_0_8_node_159 | 0.4 | n |  | TRUE
28 | bus_LV_2703-7_0_8_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_2703-7_0_8_node_132 | 0.4 | n |  | TRUE
30 | bus_LV_2703-7_0_8_node_127 | 0.4 | n |  | TRUE
31 | bus_LV_2703-7_0_8_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_2703-7_0_8_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_2703-7_0_8_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_2703-7_0_8_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_2703-7_0_8_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_2703-7_0_8_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_2703-7_0_8_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2703-7_0_8_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_2703-7_0_8_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_2703-7_0_8_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_2703-7_0_8_node_156 | 0.4 | n |  | TRUE
42 | bus_LV_2703-7_0_8_node_154 | 0.4 | n |  | TRUE
43 | bus_LV_2703-7_0_8_node_160 | 0.4 | n |  | TRUE
44 | bus_LV_2703-7_0_8_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_2703-7_0_8_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_2703-7_0_8_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_2703-7_0_8_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_2703-7_0_8_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_2703-7_0_8_node_81 | 0.4 | n |  | TRUE
50 | bus_LV_2703-7_0_8_node_82 | 0.4 | n |  | TRUE
51 | bus_LV_2703-7_0_8_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_2703-7_0_8_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_2703-7_0_8_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_2703-7_0_8_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_2703-7_0_8_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_2703-7_0_8_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_2703-7_0_8_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_2703-7_0_8_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_2703-7_0_8_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_2703-7_0_8_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_2703-7_0_8_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_2703-7_0_8_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_2703-7_0_8_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_2703-7_0_8_node_78 | 0.4 | n |  | TRUE
65 | bus_LV_2703-7_0_8_node_79 | 0.4 | n |  | TRUE
66 | bus_LV_2703-7_0_8_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_2703-7_0_8_node_125 | 0.4 | n |  | TRUE
68 | bus_LV_2703-7_0_8_node_89 | 0.4 | n |  | TRUE
69 | bus_LV_2703-7_0_8_node_126 | 0.4 | n |  | TRUE
70 | bus_LV_2703-7_0_8_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_2703-7_0_8_node_122 | 0.4 | n |  | TRUE
72 | bus_LV_2703-7_0_8_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_2703-7_0_8_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_2703-7_0_8_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_2703-7_0_8_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_2703-7_0_8_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_2703-7_0_8_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_2703-7_0_8_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_2703-7_0_8_node_55 | 0.4 | n |  | TRUE
80 | bus_LV_2703-7_0_8_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_2703-7_0_8_node_60 | 0.4 | n |  | TRUE
82 | bus_LV_2703-7_0_8_node_57 | 0.4 | n |  | TRUE
83 | bus_LV_2703-7_0_8_node_59 | 0.4 | n |  | TRUE
84 | bus_LV_2703-7_0_8_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_2703-7_0_8_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_2703-7_0_8_node_119 | 0.4 | n |  | TRUE
87 | bus_LV_2703-7_0_8_node_63 | 0.4 | n |  | TRUE
88 | bus_LV_2703-7_0_8_node_133 | 0.4 | n |  | TRUE
89 | bus_LV_2703-7_0_8_node_134 | 0.4 | n |  | TRUE
90 | bus_LV_2703-7_0_8_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_2703-7_0_8_node_116 | 0.4 | n |  | TRUE
92 | bus_LV_2703-7_0_8_node_75 | 0.4 | n |  | TRUE
93 | bus_LV_2703-7_0_8_node_118 | 0.4 | n |  | TRUE
94 | bus_LV_2703-7_0_8_node_136 | 0.4 | n |  | TRUE
95 | bus_LV_2703-7_0_8_node_135 | 0.4 | n |  | TRUE
96 | bus_LV_2703-7_0_8_node_102 | 0.4 | n |  | TRUE
97 | bus_LV_2703-7_0_8_node_115 | 0.4 | n |  | TRUE
98 | bus_LV_2703-7_0_8_node_149 | 0.4 | n |  | TRUE
99 | bus_LV_2703-7_0_8_node_95 | 0.4 | n |  | TRUE
100 | bus_LV_2703-7_0_8_node_99 | 0.4 | n |  | TRUE
101 | bus_LV_2703-7_0_8_node_101 | 0.4 | n |  | TRUE
102 | bus_LV_2703-7_0_8_node_93 | 0.4 | n |  | TRUE
103 | bus_LV_2703-7_0_8_node_113 | 0.4 | n |  | TRUE
104 | bus_LV_2703-7_0_8_node_100 | 0.4 | n |  | TRUE
105 | bus_LV_2703-7_0_8_node_117 | 0.4 | n |  | TRUE
106 | bus_LV_2703-7_0_8_node_120 | 0.4 | n |  | TRUE
107 | bus_LV_2703-7_0_8_node_130 | 0.4 | n |  | TRUE
108 | bus_LV_2703-7_0_8_node_128 | 0.4 | n |  | TRUE
109 | bus_LV_2703-7_0_8_node_64 | 0.4 | n |  | TRUE
110 | bus_LV_2703-7_0_8_node_65 | 0.4 | n |  | TRUE
111 | bus_LV_2703-7_0_8_node_66 | 0.4 | n |  | TRUE
112 | bus_LV_2703-7_0_8_node_68 | 0.4 | n |  | TRUE
113 | bus_LV_2703-7_0_8_node_69 | 0.4 | n |  | TRUE
114 | bus_LV_2703-7_0_8_node_72 | 0.4 | n |  | TRUE
115 | bus_LV_2703-7_0_8_node_73 | 0.4 | n |  | TRUE
116 | bus_LV_2703-7_0_8_node_92 | 0.4 | n |  | TRUE
117 | bus_LV_2703-7_0_8_node_85 | 0.4 | n |  | TRUE
118 | bus_LV_2703-7_0_8_node_147 | 0.4 | n |  | TRUE
119 | bus_LV_2703-7_0_8_node_87 | 0.4 | n |  | TRUE
120 | bus_LV_2703-7_0_8_node_84 | 0.4 | n |  | TRUE
121 | bus_LV_2703-7_0_8_node_90 | 0.4 | n |  | TRUE
122 | bus_LV_2703-7_0_8_node_83 | 0.4 | n |  | TRUE
123 | bus_LV_2703-7_0_8_node_86 | 0.4 | n |  | TRUE
124 | bus_LV_2703-7_0_8_node_88 | 0.4 | n |  | TRUE
125 | bus_LV_2703-7_0_8_node_91 | 0.4 | n |  | TRUE
126 | bus_LV_2703-7_0_8_node_146 | 0.4 | n |  | TRUE
127 | bus_LV_2703-7_0_8_node_110 | 0.4 | n |  | TRUE
128 | bus_LV_2703-7_0_8_node_145 | 0.4 | n |  | TRUE
129 | bus_LV_2703-7_0_8_node_108 | 0.4 | n |  | TRUE
130 | bus_LV_2703-7_0_8_node_94 | 0.4 | n |  | TRUE
131 | bus_LV_2703-7_0_8_node_96 | 0.4 | n |  | TRUE
132 | bus_LV_2703-7_0_8_node_97 | 0.4 | n |  | TRUE
133 | bus_LV_2703-7_0_8_node_105 | 0.4 | n |  | TRUE
134 | bus_LV_2703-7_0_8_node_163 | 0.4 | n |  | TRUE
135 | bus_LV_2703-7_0_8_node_142 | 0.4 | n |  | TRUE
136 | bus_LV_2703-7_0_8_node_140 | 0.4 | n |  | TRUE
137 | bus_LV_2703-7_0_8_node_143 | 0.4 | n |  | TRUE
138 | bus_LV_2703-7_0_8_node_114 | 0.4 | n |  | TRUE
139 | bus_LV_2703-7_0_8_node_150 | 0.4 | n |  | TRUE
140 | bus_LV_2703-7_0_8_node_107 | 0.4 | n |  | TRUE
141 | bus_LV_2703-7_0_8_node_109 | 0.4 | n |  | TRUE
142 | bus_LV_2703-7_0_8_node_111 | 0.4 | n |  | TRUE
143 | bus_LV_2703-7_0_8_node_112 | 0.4 | n |  | TRUE
144 | bus_LV_2703-7_0_8_node_121 | 0.4 | n |  | TRUE
145 | bus_LV_2703-7_0_8_node_123 | 0.4 | n |  | TRUE
146 | bus_LV_2703-7_0_8_node_124 | 0.4 | n |  | TRUE
147 | bus_LV_2703-7_0_8_node_144 | 0.4 | n |  | TRUE
148 | bus_LV_2703-7_0_8_node_141 | 0.4 | n |  | TRUE
149 | bus_LV_2703-7_0_8_node_164 | 0.4 | n |  | TRUE
150 | bus_LV_2703-7_0_8_node_152 | 0.4 | n |  | TRUE
151 | bus_LV_2703-7_0_8_node_153 | 0.4 | n |  | TRUE
152 | bus_LV_2703-7_0_8_node_155 | 0.4 | n |  | TRUE
153 | bus_LV_2703-7_0_8_node_157 | 0.4 | n |  | TRUE
154 | bus_LV_2703-7_0_8_node_158 | 0.4 | n |  | TRUE
155 | bus_LV_2703-7_0_8_node_162 | 0.4 | n |  | TRUE
156 | bus_LV_2703-7_0_8_node_161 | 0.4 | n |  | TRUE
157 | bus_MV_347_0_node_180 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2703-7_0_8_load_0 | 0 | 0.0017272 | 0.00043286 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2703-7_0_8_load_1 | 1 | 0.001858 | 0.00046566 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2703-7_0_8_load_2 | 2 | 0.0017326 | 0.00043422 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2703-7_0_8_load_3 | 3 | 0.0021843 | 0.00054744 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2703-7_0_8_load_4 | 4 | 0.0017397 | 0.00043602 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2703-7_0_8_load_5 | 5 | 0.001821 | 0.00045639 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2703-7_0_8_load_6 | 6 | 0.0019422 | 0.00048676 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2703-7_0_8_load_13 | 7 | 0.0018232 | 0.00045695 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2703-7_0_8_load_14 | 8 | 0.0023683 | 0.00059355 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2703-7_0_8_load_7 | 9 | 0.0023213 | 0.00058177 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2703-7_0_8_load_8 | 10 | 0.0014529 | 0.00036412 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2703-7_0_8_load_9 | 11 | 0.0010325 | 0.00025878 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2703-7_0_8_load_10 | 12 | 0.0013867 | 0.00034753 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2703-7_0_8_load_11 | 13 | 0.0010451 | 0.00026193 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2703-7_0_8_load_12 | 14 | 0.0022841 | 0.00057245 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2703-7_0_8_load_21 | 15 | 0.0022804 | 0.00057153 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2703-7_0_8_load_20 | 16 | 0.0025387 | 0.00063626 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2703-7_0_8_load_15 | 17 | 0.0026295 | 0.00065902 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2703-7_0_8_load_17 | 19 | 0.0012603 | 0.00031586 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2703-7_0_8_load_33 | 21 | 0.0011143 | 0.00027927 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2703-7_0_8_load_138 | 22 | 0.0049522 | 0.0012411 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2703-7_0_8_load_137 | 24 | 0.002268 | 0.00056842 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2703-7_0_8_load_131 | 25 | 0.0023927 | 0.00059967 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2703-7_0_8_load_159 | 27 | 0.0022637 | 0.00056733 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2703-7_0_8_load_24 | 28 | 0.0022803 | 0.00057149 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2703-7_0_8_load_132 | 29 | 0.0012024 | 0.00030135 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2703-7_0_8_load_127 | 30 | 0.006957 | 0.0017436 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2703-7_0_8_load_22 | 31 | 0.0022714 | 0.00056926 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2703-7_0_8_load_23 | 32 | 0.0022766 | 0.00057058 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2703-7_0_8_load_25 | 33 | 0.0025894 | 0.00064896 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2703-7_0_8_load_26 | 34 | 0.0011453 | 0.00028705 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2703-7_0_8_load_27 | 35 | 0.0021631 | 0.00054212 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2703-7_0_8_load_28 | 36 | 0.0011169 | 0.00027992 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2703-7_0_8_load_30 | 38 | 0.0011169 | 0.00027993 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2703-7_0_8_load_31 | 39 | 0.0015947 | 0.00039968 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2703-7_0_8_load_32 | 40 | 0.0029186 | 0.00073148 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2703-7_0_8_load_156 | 41 | 0.0011175 | 0.00028008 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2703-7_0_8_load_154 | 42 | 0.0011188 | 0.00028041 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2703-7_0_8_load_160 | 43 | 0.0013569 | 0.00034008 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2703-7_0_8_load_34 | 44 | 0.0017582 | 0.00044065 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2703-7_0_8_load_35 | 45 | 0.0025283 | 0.00063364 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2703-7_0_8_load_36 | 46 | 0.0015245 | 0.00038207 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2703-7_0_8_load_37 | 47 | 0.0015616 | 0.00039138 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2703-7_0_8_load_38 | 48 | 0.0011456 | 0.00028711 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2703-7_0_8_load_81 | 49 | 0.0013315 | 0.00033371 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2703-7_0_8_load_82 | 50 | 0.0011757 | 0.00029465 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2703-7_0_8_load_39 | 51 | 0.0046036 | 0.0011538 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2703-7_0_8_load_40 | 52 | 0.0039569 | 0.00099169 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2703-7_0_8_load_43 | 55 | 0.00056872 | 0.00014253 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2703-7_0_8_load_44 | 56 | 0.00077908 | 0.00019526 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2703-7_0_8_load_45 | 57 | 0.0042284 | 0.0010597 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2703-7_0_8_load_46 | 58 | 0.0018817 | 0.00047161 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2703-7_0_8_load_47 | 59 | 0.0010901 | 0.00027321 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2703-7_0_8_load_48 | 60 | 0.0018685 | 0.0004683 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2703-7_0_8_load_49 | 61 | 0.00056996 | 0.00014285 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2703-7_0_8_load_50 | 62 | 0.00039573 | 9.9179e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2703-7_0_8_load_77 | 63 | 0.0062984 | 0.0015785 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2703-7_0_8_load_78 | 64 | 0.001771 | 0.00044386 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2703-7_0_8_load_79 | 65 | 0.0016099 | 0.00040348 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2703-7_0_8_load_70 | 66 | 0.0027499 | 0.00068919 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2703-7_0_8_load_125 | 67 | 0.00039569 | 9.917e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2703-7_0_8_load_89 | 68 | 0.0064746 | 0.0016227 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2703-7_0_8_load_126 | 69 | 0.0022936 | 0.00057483 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2703-7_0_8_load_122 | 71 | 0.00039644 | 9.9358e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2703-7_0_8_load_51 | 72 | 0.0037787 | 0.00094703 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2703-7_0_8_load_62 | 78 | 0.00080587 | 0.00020197 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2703-7_0_8_load_60 | 81 | 0.021412 | 0.0053662 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2703-7_0_8_load_71 | 84 | 0.0023071 | 0.0005782 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2703-7_0_8_load_74 | 85 | 0.0023492 | 0.00058877 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2703-7_0_8_load_119 | 86 | 0.0058164 | 0.0014577 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2703-7_0_8_load_133 | 88 | 0.0012001 | 0.00030077 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2703-7_0_8_load_76 | 90 | 0.001096 | 0.00027467 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2703-7_0_8_load_116 | 91 | 0.00043737 | 0.00010962 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2703-7_0_8_load_75 | 92 | 0.0023326 | 0.0005846 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2703-7_0_8_load_118 | 93 | 0.0052988 | 0.001328 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2703-7_0_8_load_136 | 94 | 0.0009273 | 0.0002324 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2703-7_0_8_load_135 | 95 | 0.0018581 | 0.00046568 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2703-7_0_8_load_149 | 98 | 0.00074343 | 0.00018632 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2703-7_0_8_load_93 | 102 | 0.0023878 | 0.00059844 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2703-7_0_8_load_113 | 103 | 0.002633 | 0.00065989 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2703-7_0_8_load_120 | 106 | 0.00075688 | 0.00018969 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2703-7_0_8_load_130 | 107 | 0.030323 | 0.0075997 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2703-7_0_8_load_128 | 108 | 0.0071828 | 0.0018002 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2703-7_0_8_load_64 | 109 | 0.0020831 | 0.00052208 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2703-7_0_8_load_65 | 110 | 0.0023294 | 0.00058379 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2703-7_0_8_load_66 | 111 | 0.0020167 | 0.00050544 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2703-7_0_8_load_69 | 113 | 0.005843 | 0.0014644 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2703-7_0_8_load_72 | 114 | 0.0026473 | 0.00066347 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2703-7_0_8_load_73 | 115 | 0.0028416 | 0.00071218 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2703-7_0_8_load_92 | 116 | 0.0026614 | 0.000667 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2703-7_0_8_load_147 | 118 | 0.0067875 | 0.0017011 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2703-7_0_8_load_87 | 119 | 0.0019721 | 0.00049425 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2703-7_0_8_load_84 | 120 | 0.0021272 | 0.00053313 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2703-7_0_8_load_90 | 121 | 0.0077006 | 0.0019299 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2703-7_0_8_load_83 | 122 | 0.0010578 | 0.0002651 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2703-7_0_8_load_91 | 125 | 0.0010883 | 0.00027276 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2703-7_0_8_load_146 | 126 | 0.0037513 | 0.00094016 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2703-7_0_8_load_110 | 127 | 0.0010918 | 0.00027363 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2703-7_0_8_load_145 | 128 | 0.0033514 | 0.00083995 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2703-7_0_8_load_108 | 129 | 0.0013999 | 0.00035085 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_2703-7_0_8_load_105 | 133 | 0.0043971 | 0.001102 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_2703-7_0_8_load_163 | 134 | 0.030744 | 0.0077051 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_2703-7_0_8_load_140 | 136 | 0.0024186 | 0.00060616 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_2703-7_0_8_load_143 | 137 | 0.0029008 | 0.00072702 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_2703-7_0_8_load_114 | 138 | 0.0025549 | 0.00064032 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_2703-7_0_8_load_150 | 139 | 0.00090626 | 0.00022713 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_2703-7_0_8_load_107 | 140 | 0.0021915 | 0.00054925 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_2703-7_0_8_load_109 | 141 | 0.0019361 | 0.00048524 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_2703-7_0_8_load_111 | 142 | 0.0011091 | 0.00027797 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_2703-7_0_8_load_123 | 145 | 0.00039551 | 9.9123e-05 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_2703-7_0_8_load_144 | 147 | 0.00080149 | 0.00020087 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_2703-7_0_8_load_141 | 148 | 0.0020723 | 0.00051936 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_2703-7_0_8_load_164 | 149 | 0.0077854 | 0.0019512 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_2703-7_0_8_load_152 | 150 | 0.0014384 | 0.00036051 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_2703-7_0_8_load_153 | 151 | 0.0011473 | 0.00028754 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_2703-7_0_8_load_155 | 152 | 0.0013392 | 0.00033563 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_2703-7_0_8_load_157 | 153 | 0.0013092 | 0.00032812 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_2703-7_0_8_load_158 | 154 | 0.0013029 | 0.00032654 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_2703-7_0_8_load_162 | 155 | 0.0013035 | 0.0003267 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_2703-7_0_8_load_161 | 156 | 0.0013058 | 0.00032726 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 73 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2703-7_0_8_line_0 |  | 0 | 1 | 0.014101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2703-7_0_8_line_1 |  | 0 | 2 | 0.020689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2703-7_0_8_line_2 |  | 1 | 3 | 0.0066365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2703-7_0_8_line_3 |  | 2 | 4 | 0.020618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2703-7_0_8_line_4 |  | 3 | 5 | 0.0075834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2703-7_0_8_line_5 |  | 4 | 6 | 0.0068585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2703-7_0_8_line_6 |  | 5 | 7 | 0.01034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2703-7_0_8_line_7 |  | 7 | 8 | 0.0027397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2703-7_0_8_line_8 |  | 8 | 17 | 0.021257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2703-7_0_8_line_9 |  | 9 | 10 | 0.01466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2703-7_0_8_line_10 |  | 9 | 11 | 0.00098105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2703-7_0_8_line_11 |  | 10 | 12 | 0.024047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2703-7_0_8_line_12 |  | 11 | 13 | 0.0070164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2703-7_0_8_line_13 |  | 13 | 14 | 0.015766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2703-7_0_8_line_14 |  | 14 | 15 | 0.010286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2703-7_0_8_line_15 |  | 15 | 16 | 0.0067829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2703-7_0_8_line_16 |  | 16 | 31 | 0.0061233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2703-7_0_8_line_17 |  | 17 | 18 | 0.013144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2703-7_0_8_line_18 |  | 18 | 19 | 0.011541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2703-7_0_8_line_19 |  | 18 | 20 | 0.062801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2703-7_0_8_line_20 |  | 19 | 21 | 0.0050736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2703-7_0_8_line_21 |  | 20 | 22 | 0.003493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2703-7_0_8_line_22 |  | 20 | 23 | 0.090552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2703-7_0_8_line_23 |  | 20 | 24 | 0.03166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2703-7_0_8_line_24 |  | 21 | 27 | 0.0047177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2703-7_0_8_line_25 |  | 23 | 25 | 0.035302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2703-7_0_8_line_26 |  | 23 | 26 | 0.036896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2703-7_0_8_line_27 |  | 24 | 28 | 0.0056245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2703-7_0_8_line_28 |  | 25 | 29 | 0.0041528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2703-7_0_8_line_29 |  | 26 | 30 | 0.01987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2703-7_0_8_line_30 |  | 27 | 43 | 0.022195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2703-7_0_8_line_31 |  | 28 | 32 | 0.016193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2703-7_0_8_line_32 |  | 29 | 88 | 0.0016965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2703-7_0_8_line_33 |  | 30 | 108 | 0.028426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2703-7_0_8_line_34 |  | 31 | 32 | 0.010073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2703-7_0_8_line_35 |  | 33 | 34 | 0.020924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2703-7_0_8_line_36 |  | 33 | 35 | 0.001534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2703-7_0_8_line_37 |  | 34 | 36 | 0.0055839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2703-7_0_8_line_38 |  | 35 | 37 | 0.013235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2703-7_0_8_line_39 |  | 36 | 38 | 0.0055131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2703-7_0_8_line_40 |  | 37 | 39 | 0.01646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2703-7_0_8_line_41 |  | 37 | 40 | 0.050148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2703-7_0_8_line_42 |  | 38 | 41 | 0.0010058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2703-7_0_8_line_43 |  | 41 | 42 | 0.0063969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2703-7_0_8_line_44 |  | 42 | 151 | 0.0054077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2703-7_0_8_line_45 |  | 43 | 156 | 0.0041154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2703-7_0_8_line_46 |  | 44 | 45 | 0.023676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2703-7_0_8_line_47 |  | 44 | 46 | 0.01839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2703-7_0_8_line_48 |  | 46 | 47 | 0.019039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2703-7_0_8_line_49 |  | 47 | 48 | 0.020259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2703-7_0_8_line_50 |  | 48 | 49 | 0.023332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2703-7_0_8_line_51 |  | 49 | 50 | 0.029069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2703-7_0_8_line_52 |  | 50 | 64 | 0.01904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2703-7_0_8_line_53 |  | 51 | 52 | 0.035585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2703-7_0_8_line_54 |  | 51 | 53 | 0.033504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_2703-7_0_8_line_55 |  | 52 | 54 | 0.069173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2703-7_0_8_line_56 |  | 53 | 55 | 0.050219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_2703-7_0_8_line_57 |  | 53 | 56 | 0.030829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2703-7_0_8_line_58 |  | 54 | 57 | 0.029017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2703-7_0_8_line_59 |  | 54 | 58 | 0.016336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2703-7_0_8_line_60 |  | 54 | 59 | 0.094371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2703-7_0_8_line_61 |  | 54 | 60 | 0.037253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2703-7_0_8_line_62 |  | 55 | 61 | 0.03692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_2703-7_0_8_line_63 |  | 56 | 62 | 0.0091302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2703-7_0_8_line_64 |  | 57 | 63 | 0.017274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2703-7_0_8_line_65 |  | 58 | 64 | 0.023017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2703-7_0_8_line_66 |  | 59 | 65 | 0.02233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2703-7_0_8_line_67 |  | 61 | 66 | 0.034936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_2703-7_0_8_line_68 |  | 62 | 67 | 0.0053861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2703-7_0_8_line_69 |  | 63 | 68 | 0.014389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2703-7_0_8_line_70 |  | 65 | 69 | 0.03852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2703-7_0_8_line_71 |  | 66 | 70 | 0.025437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_2703-7_0_8_line_72 |  | 67 | 71 | 0.023157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2703-7_0_8_line_73 |  | 68 | 121 | 0.014821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2703-7_0_8_line_74 |  | 70 | 113 | 0.021572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_2703-7_0_8_line_75 |  | 70 | 110 | 0.035081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_2703-7_0_8_line_76 |  | 71 | 143 | 0.0074247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2703-7_0_8_line_77 |  | 72 | 73 | 0.064677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_2703-7_0_8_line_78 |  | 72 | 74 | 0.017032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_2703-7_0_8_line_79 |  | 73 | 75 | 0.016859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_2703-7_0_8_line_80 |  | 74 | 76 | 0.014715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_2703-7_0_8_line_81 |  | 75 | 77 | 0.048527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_2703-7_0_8_line_82 |  | 75 | 78 | 0.0032722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2703-7_0_8_line_83 |  | 76 | 81 | 0.014943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2703-7_0_8_line_84 |  | 76 | 79 | 0.039919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_2703-7_0_8_line_85 |  | 77 | 88 | 0.10769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_2703-7_0_8_line_86 |  | 78 | 89 | 0.080008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2703-7_0_8_line_87 |  | 79 | 80 | 0.083703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_2703-7_0_8_line_88 |  | 80 | 85 | 0.062558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_2703-7_0_8_line_89 |  | 81 | 87 | 0.014091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2703-7_0_8_line_90 |  | 82 | 83 | 0.089737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2703-7_0_8_line_91 |  | 82 | 84 | 0.0036994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2703-7_0_8_line_92 |  | 83 | 86 | 0.0016315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2703-7_0_8_line_93 |  | 85 | 92 | 0.011533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_2703-7_0_8_line_94 |  | 86 | 93 | 0.039702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2703-7_0_8_line_95 |  | 87 | 94 | 0.042395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2703-7_0_8_line_96 |  | 89 | 95 | 0.12359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2703-7_0_8_line_97 |  | 90 | 91 | 0.044276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2703-7_0_8_line_98 |  | 91 | 104 | 0.0426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2703-7_0_8_line_99 |  | 92 | 113 | 0.03 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_2703-7_0_8_line_100 |  | 93 | 121 | 0.00074282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2703-7_0_8_line_101 |  | 96 | 97 | 0.10862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2703-7_0_8_line_102 |  | 96 | 98 | 0.017244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2703-7_0_8_line_103 |  | 97 | 107 | 0.089736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2703-7_0_8_line_104 |  | 97 | 108 | 0.010345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2703-7_0_8_line_105 |  | 98 | 139 | 0.048484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2703-7_0_8_line_106 |  | 99 | 100 | 0.095865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2703-7_0_8_line_107 |  | 99 | 101 | 0.052374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2703-7_0_8_line_108 |  | 99 | 102 | 0.0316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2703-7_0_8_line_109 |  | 100 | 103 | 0.073749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2703-7_0_8_line_110 |  | 101 | 106 | 0.0079062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2703-7_0_8_line_111 |  | 102 | 130 | 0.059557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2703-7_0_8_line_112 |  | 103 | 138 | 0.02255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2703-7_0_8_line_113 |  | 104 | 105 | 0.077576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2703-7_0_8_line_114 |  | 105 | 135 | 0.034248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
115 | LV_2703-7_0_8_line_115 |  | 105 | 136 | 0.039465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_2703-7_0_8_line_116 |  | 105 | 132 | 0.10363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
117 | LV_2703-7_0_8_line_117 |  | 107 | 147 | 0.021532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_2703-7_0_8_line_118 |  | 109 | 110 | 0.0049639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
119 | LV_2703-7_0_8_line_119 |  | 109 | 111 | 0.018011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
120 | LV_2703-7_0_8_line_120 |  | 111 | 112 | 0.0052524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
121 | LV_2703-7_0_8_line_121 |  | 112 | 114 | 0.025237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_2703-7_0_8_line_122 |  | 112 | 115 | 0.039937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
123 | LV_2703-7_0_8_line_123 |  | 114 | 116 | 0.016859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_2703-7_0_8_line_124 |  | 115 | 117 | 0.0036006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
125 | LV_2703-7_0_8_line_125 |  | 116 | 118 | 0.012144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_2703-7_0_8_line_126 |  | 117 | 119 | 0.021665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_2703-7_0_8_line_127 |  | 117 | 120 | 0.05401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
128 | LV_2703-7_0_8_line_128 |  | 119 | 125 | 0.02203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_2703-7_0_8_line_129 |  | 120 | 123 | 0.021594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
130 | LV_2703-7_0_8_line_130 |  | 120 | 122 | 0.04472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_2703-7_0_8_line_131 |  | 123 | 124 | 0.042559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
132 | LV_2703-7_0_8_line_132 |  | 124 | 126 | 0.075065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
133 | LV_2703-7_0_8_line_133 |  | 125 | 127 | 0.020981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_2703-7_0_8_line_134 |  | 126 | 128 | 0.07531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
135 | LV_2703-7_0_8_line_135 |  | 127 | 129 | 0.026515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_2703-7_0_8_line_136 |  | 128 | 137 | 0.052261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
137 | LV_2703-7_0_8_line_137 |  | 129 | 140 | 0.034385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_2703-7_0_8_line_138 |  | 130 | 131 | 0.03806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_2703-7_0_8_line_139 |  | 130 | 132 | 0.098236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_2703-7_0_8_line_140 |  | 131 | 133 | 0.024761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_2703-7_0_8_line_141 |  | 132 | 134 | 0.004693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_2703-7_0_8_line_142 |  | 135 | 137 | 0.0073688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
143 | LV_2703-7_0_8_line_143 |  | 136 | 148 | 0.022612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_2703-7_0_8_line_144 |  | 140 | 141 | 0.017061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_2703-7_0_8_line_145 |  | 141 | 142 | 0.025238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_2703-7_0_8_line_146 |  | 143 | 144 | 0.013047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_2703-7_0_8_line_147 |  | 144 | 145 | 0.020798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_2703-7_0_8_line_148 |  | 144 | 146 | 0.23987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_2703-7_0_8_line_149 |  | 146 | 149 | 0.053161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_2703-7_0_8_line_150 |  | 147 | 150 | 0.028026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_2703-7_0_8_line_151 |  | 151 | 152 | 0.013026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_2703-7_0_8_line_152 |  | 152 | 153 | 0.001549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_2703-7_0_8_line_153 |  | 153 | 154 | 0.0068914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_2703-7_0_8_line_154 |  | 154 | 155 | 0.0047239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_2703-7_0_8_line_155 |  | 155 | 156 | 0.0068946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2703-7_0_8_trafo_52 | 0.63 MVA 20/0.4 kV | 157 | 73 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2616601.473 | 1268966.2968 | 2616590.3324 | 1268974.942
1 | 2616601.473 | 1268966.2968 | 2616617.8179 | 1268953.613
2 | 2616585.0894 | 1268979.0106 | 2616590.3324 | 1268974.942
3 | 2616634.1065 | 1268940.9729 | 2616617.8179 | 1268953.613
4 | 2616585.0894 | 1268979.0106 | 2616579.0983 | 1268983.6598
5 | 2616639.5249 | 1268936.7682 | 2616634.1065 | 1268940.9729
6 | 2616570.9295 | 1268989.9988 | 2616579.0983 | 1268983.6598
7 | 2616570.9295 | 1268989.9988 | 2616568.765 | 1268991.6785
8 | 2616568.765 | 1268991.6785 | 2616551.971 | 1269004.7107
9 | 2616667.6088 | 1268997.0555 | 2616679.1223 | 1268987.9807
10 | 2616667.6088 | 1268997.0555 | 2616666.8383 | 1268997.6628
11 | 2616698.0083 | 1268973.0949 | 2616679.1223 | 1268987.9807
12 | 2616661.3278 | 1269002.0061 | 2616666.8383 | 1268997.6628
13 | 2616661.3278 | 1269002.0061 | 2616648.9456 | 1269011.7656
14 | 2616640.867 | 1269018.1332 | 2616648.9456 | 1269011.7656
15 | 2616635.5398 | 1269022.332 | 2616640.867 | 1269018.1332
16 | 2616635.5398 | 1269022.332 | 2616633.0014 | 1269024.3327 | 2616630.5851 | 1269025.9203
17 | 2616541.587 | 1269012.7688 | 2616551.971 | 1269004.7107
18 | 2616541.587 | 1269012.7688 | 2616539.6363 | 1269001.3943
19 | 2616541.587 | 1269012.7688 | 2616551.9407 | 1269037.0927 | 2616568.7001 | 1269060.5672 | 2616575.5411 | 1269057.4397
20 | 2616538.7787 | 1268996.3937 | 2616539.6363 | 1269001.3943
21 | 2616575.5411 | 1269057.4397 | 2616577.3236 | 1269060.4468
22 | 2616489.9651 | 1269086.833 | 2616550.4784 | 1269067.6324 | 2616551.9548 | 1269067.0695 | 2616568.7001 | 1269060.5672 | 2616575.5411 | 1269057.4397
23 | 2616575.5411 | 1269057.4397 | 2616577.0178 | 1269056.7655 | 2616603.933 | 1269043.4314 | 2616603.933 | 1269043.4314
24 | 2616537.9812 | 1268991.7439 | 2616538.7787 | 1268996.3937
25 | 2616489.9651 | 1269086.833 | 2616498.0811 | 1269090.6138 | 2616511.5891 | 1269092.7751 | 2616518.099 | 1269095.0727 | 2616520.3189 | 1269100.3937 | 2616520.3189 | 1269100.3937
26 | 2616489.9651 | 1269086.833 | 2616472.1018 | 1269092.2649 | 2616454.9281 | 1269098.6551
27 | 2616608.6337 | 1269040.343 | 2616603.933 | 1269043.4314
28 | 2616520.3189 | 1269100.3937 | 2616518.5402 | 1269104.1464
29 | 2616454.9281 | 1269098.6551 | 2616437.7037 | 1269108.5612
30 | 2616537.9812 | 1268991.7439 | 2616537.9812 | 1268991.7439 | 2616542.128 | 1268969.94
31 | 2616608.6337 | 1269040.343 | 2616622.1669 | 1269031.4513
32 | 2616518.5402 | 1269104.1464 | 2616517.8136 | 1269105.6794
33 | 2616437.7037 | 1269108.5612 | 2616413.062 | 1269122.7331
34 | 2616622.1669 | 1269031.4513 | 2616630.5851 | 1269025.9203
35 | 2616578.3536 | 1268922.1382 | 2616595.3119 | 1268909.8806
36 | 2616596.5551 | 1268908.982 | 2616595.3119 | 1268909.8806
37 | 2616578.3536 | 1268922.1382 | 2616573.8281 | 1268925.4093
38 | 2616607.2812 | 1268901.2291 | 2616596.5551 | 1268908.982
39 | 2616573.8281 | 1268925.4093 | 2616569.36 | 1268928.6389
40 | 2616607.2812 | 1268901.2291 | 2616618.0861 | 1268893.4205 | 2616620.6892 | 1268891.6844
41 | 2616607.2812 | 1268901.2291 | 2616581.7425 | 1268858.0716
42 | 2616568.6051 | 1268929.2942 | 2616568.8648 | 1268928.9968 | 2616569.36 | 1268928.6389
43 | 2616564.3975 | 1268934.1125 | 2616568.6051 | 1268929.2942
44 | 2616560.8405 | 1268938.1857 | 2616564.3975 | 1268934.1125
45 | 2616543.855 | 1268966.2045 | 2616542.128 | 1268969.94
46 | 2616788.0734 | 1269155.5073 | 2616798.5774 | 1269134.2884
47 | 2616788.0734 | 1269155.5073 | 2616779.9149 | 1269171.9881
48 | 2616771.8667 | 1269189.2414 | 2616778.3941 | 1269175.0601 | 2616779.9149 | 1269171.9881
49 | 2616763.3996 | 1269207.6463 | 2616763.4642 | 1269207.4964 | 2616771.8667 | 1269189.2414
50 | 2616754.1627 | 1269229.0716 | 2616763.3996 | 1269207.6463
51 | 2616754.1627 | 1269229.0716 | 2616746.1802 | 1269247.5871 | 2616742.4626 | 1269255.6796
52 | 2616735.5295 | 1269273.3455 | 2616737.1406 | 1269267.2644 | 2616742.4626 | 1269255.6796
53 | 2616683.1891 | 1269402.2116 | 2616702.4396 | 1269372.2828
54 | 2616660.4185 | 1269426.6501 | 2616680.2931 | 1269406.7141 | 2616683.1891 | 1269402.2116
55 | 2616735.5031 | 1269311.5689 | 2616709.177 | 1269361.808 | 2616702.4396 | 1269372.2828
56 | 2616660.4185 | 1269426.6501 | 2616612.6345 | 1269442.0967
57 | 2616660.4185 | 1269426.6501 | 2616670.9654 | 1269455.619
58 | 2616735.5031 | 1269311.5689 | 2616707.7649 | 1269320.0901
59 | 2616735.5031 | 1269311.5689 | 2616732.0178 | 1269304.1316 | 2616731.8581 | 1269299.3945 | 2616731.9464 | 1269296.0125
60 | 2616735.5031 | 1269311.5689 | 2616736.8942 | 1269285.2431 | 2616749.9327 | 1269251.0112 | 2616762.8155 | 1269222.4004
61 | 2616735.5031 | 1269311.5689 | 2616771.1575 | 1269300.7741
62 | 2616577.5045 | 1269453.4527 | 2616612.6345 | 1269442.0967
63 | 2616674.0889 | 1269464.1982 | 2616670.9654 | 1269455.619
64 | 2616707.7649 | 1269320.0901 | 2616691.2529 | 1269325.1626
65 | 2616735.5295 | 1269273.3455 | 2616735.0948 | 1269274.9863 | 2616732.5635 | 1269286.7208 | 2616732.01 | 1269293.5797 | 2616731.9464 | 1269296.0125
66 | 2616771.9834 | 1269202.0397 | 2616762.8155 | 1269222.4004
67 | 2616577.5045 | 1269453.4527 | 2616544.262 | 1269464.1986
68 | 2616674.0889 | 1269464.1982 | 2616675.9315 | 1269469.2593
69 | 2616676.9748 | 1269325.9523 | 2616688.8424 | 1269325.9031 | 2616691.2529 | 1269325.1626
70 | 2616771.9834 | 1269202.0397 | 2616787.7988 | 1269166.9158
71 | 2616520.0577 | 1269472.0229 | 2616544.262 | 1269464.1986
72 | 2616675.9315 | 1269469.2593 | 2616683.8538 | 1269491.0192
73 | 2616676.9748 | 1269325.9523 | 2616662.1536 | 1269326.0137
74 | 2616520.0577 | 1269472.0229 | 2616516.1327 | 1269463.0278 | 2616509.3036 | 1269453.4563
75 | 2616520.0577 | 1269472.0229 | 2616501.126 | 1269501.5572
76 | 2616686.3939 | 1269497.996 | 2616683.8538 | 1269491.0192
77 | 2616484.9526 | 1269257.6288 | 2616420.4147 | 1269261.8679
78 | 2616403.4193 | 1269262.9843 | 2616420.4147 | 1269261.8679
79 | 2616495.5233 | 1269244.4711 | 2616484.9526 | 1269257.6288
80 | 2616403.4193 | 1269262.9843 | 2616388.7573 | 1269264.6671
81 | 2616492.8742 | 1269196.0183 | 2616495.5233 | 1269244.4711
82 | 2616495.5233 | 1269244.4711 | 2616498.0639 | 1269242.409
83 | 2616380.0402 | 1269252.5122 | 2616388.7573 | 1269264.6671
84 | 2616388.7573 | 1269264.6671 | 2616393.7268 | 1269271.5969 | 2616414.5567 | 1269295.0823
85 | 2616492.8742 | 1269196.0183 | 2616491.713 | 1269164.4483 | 2616491.7007 | 1269163.4587 | 2616489.6404 | 1269122.3906 | 2616491.2984 | 1269118.7704 | 2616493.8203 | 1269115.6196 | 2616509.1504 | 1269109.2689 | 2616517.8136 | 1269105.6794
86 | 2616571.8531 | 1269219.2105 | 2616518.1173 | 1269226.1321 | 2616498.0639 | 1269242.409
87 | 2616414.5567 | 1269295.0823 | 2616419.4912 | 1269301.0224 | 2616421.0812 | 1269319.173 | 2616427.2449 | 1269332.266 | 2616439.6291 | 1269348.7675 | 2616443.6385 | 1269354.5383 | 2616447.4585 | 1269363.5108 | 2616452.5287 | 1269366.6048
88 | 2616452.5287 | 1269366.6048 | 2616454.3393 | 1269373.0033 | 2616458.0333 | 1269378.5508 | 2616460.019 | 1269381.5251 | 2616468.5933 | 1269393.5018 | 2616485.9498 | 1269419.1122
89 | 2616380.0402 | 1269252.5122 | 2616366.0043 | 1269250.8612
90 | 2616545.9014 | 1269356.6687 | 2616545.9557 | 1269345.3275 | 2616557.114 | 1269339.9882 | 2616574.2803 | 1269341.3927 | 2616590.534 | 1269338.1804 | 2616605.3466 | 1269333.7409 | 2616614.0379 | 1269330.7854 | 2616620.0777 | 1269326.1879
91 | 2616545.9014 | 1269356.6687 | 2616546.8289 | 1269360.25
92 | 2616620.0777 | 1269326.1879 | 2616621.7092 | 1269326.1812
93 | 2616492.4198 | 1269428.659 | 2616485.9498 | 1269419.1122
94 | 2616661.4108 | 1269326.0167 | 2616621.7092 | 1269326.1812
95 | 2616366.0043 | 1269250.8612 | 2616366.0861 | 1269262.1138 | 2616362.4724 | 1269268.3082 | 2616343.3303 | 1269282.7371
96 | 2616571.8531 | 1269219.2105 | 2616596.8861 | 1269216.7232 | 2616605.5452 | 1269217.2478 | 2616612.4707 | 1269216.1442 | 2616622.1792 | 1269210.056 | 2616663.478 | 1269170.8331 | 2616674.3421 | 1269161.4854
97 | 2616341.426 | 1269343.9509 | 2616333.1998 | 1269348.5844 | 2616313.1141 | 1269371.7566 | 2616309.4492 | 1269373.7427
98 | 2616270.1918 | 1269389.7959 | 2616293.3939 | 1269382.4433 | 2616309.4492 | 1269373.7427
99 | 2616492.4198 | 1269428.659 | 2616507.7385 | 1269451.2627 | 2616509.3036 | 1269453.4563
100 | 2616662.1536 | 1269326.0137 | 2616661.4108 | 1269326.0167
101 | 2616299.8301 | 1269140.6342 | 2616316.1691 | 1269144.8599 | 2616332.7009 | 1269147.3961 | 2616350.5495 | 1269147.1896 | 2616370.0951 | 1269142.8071 | 2616386.8936 | 1269135.9598 | 2616404.0943 | 1269127.8905
102 | 2616299.8301 | 1269140.6342 | 2616284.1693 | 1269136.0213 | 2616283.2888 | 1269135.7633
103 | 2616404.0943 | 1269127.8905 | 2616400.3714 | 1269124.5556 | 2616339.7598 | 1269114.3255 | 2616318.8125 | 1269104.1929
104 | 2616404.0943 | 1269127.8905 | 2616413.062 | 1269122.7331
105 | 2616283.2888 | 1269135.7633 | 2616246.5847 | 1269125.0104 | 2616236.6267 | 1269122.6341
106 | 2616198.0084 | 1269256.4705 | 2616223.3167 | 1269276.9987 | 2616235.453 | 1269290.864 | 2616239.7479 | 1269296.9022 | 2616222.761 | 1269306.8183 | 2616209.186 | 1269318.2893
107 | 2616209.186 | 1269318.2893 | 2616215.5916 | 1269325.6342 | 2616232.9407 | 1269331.7527 | 2616231.5744 | 1269336.1298 | 2616228.3496 | 1269345.9947 | 2616225.5414 | 1269354.8266
108 | 2616209.186 | 1269318.2893 | 2616200.2265 | 1269325.8591 | 2616189.8194 | 1269342.7871
109 | 2616198.0084 | 1269256.4705 | 2616190.2386 | 1269252.68 | 2616185.5237 | 1269251.6553 | 2616180.9698 | 1269252.2433 | 2616170.2246 | 1269257.9291 | 2616142.981 | 1269271.0308 | 2616131.8011 | 1269278.2358
110 | 2616225.5414 | 1269354.8266 | 2616224.7976 | 1269357.1929 | 2616222.9719 | 1269362.3022
111 | 2616178.1934 | 1269401.0411 | 2616178.6702 | 1269397.2841 | 2616178.8401 | 1269395.6612 | 2616179.3272 | 1269390.8925 | 2616183.7066 | 1269363.2293 | 2616189.8194 | 1269342.7871
112 | 2616131.8011 | 1269278.2358 | 2616112.8461 | 1269290.4515 | 2616112.8461 | 1269290.4515
113 | 2616270.1918 | 1269389.7959 | 2616279.6429 | 1269405.9444 | 2616292.4863 | 1269422.4692 | 2616304.2552 | 1269432.9645 | 2616320.7977 | 1269447.7205
114 | 2616320.7977 | 1269447.7205 | 2616339.5542 | 1269464.4618 | 2616345.9088 | 1269471.0617
115 | 2616320.7977 | 1269447.7205 | 2616331.8181 | 1269443.1031 | 2616338.0887 | 1269439.2955 | 2616342.5428 | 1269433.8817 | 2616347.0125 | 1269422.8195 | 2616347.4088 | 1269421.6459
116 | 2616257.8896 | 1269458.4441 | 2616270.57 | 1269441.1444 | 2616267.3575 | 1269438.2892 | 2616264.8363 | 1269433.023 | 2616265.2345 | 1269427.7648 | 2616272.4785 | 1269425.6387 | 2616280.4261 | 1269427.5952 | 2616292.4863 | 1269422.4692 | 2616304.2552 | 1269432.9645 | 2616320.7977 | 1269447.7205
117 | 2616299.4291 | 1269094.8168 | 2616318.8125 | 1269104.1929
118 | 2616498.4472 | 1269505.7363 | 2616501.126 | 1269501.5572
119 | 2616498.4472 | 1269505.7363 | 2616488.7277 | 1269520.8992
120 | 2616485.8932 | 1269525.3211 | 2616488.7277 | 1269520.8992
121 | 2616485.8932 | 1269525.3211 | 2616477.8587 | 1269519.528 | 2616474.7951 | 1269514.5826 | 2616469.7808 | 1269506.4964
122 | 2616485.8932 | 1269525.3211 | 2616476.7025 | 1269564.186
123 | 2616460.8959 | 1269492.1682 | 2616469.7808 | 1269506.4964
124 | 2616475.8739 | 1269567.69 | 2616476.7025 | 1269564.186
125 | 2616454.496 | 1269481.8475 | 2616460.8959 | 1269492.1682
126 | 2616475.8739 | 1269567.69 | 2616497.1266 | 1269563.4862
127 | 2616475.8739 | 1269567.69 | 2616474.5468 | 1269574.1353 | 2616474.9103 | 1269589.525 | 2616476.2809 | 1269621.5293
128 | 2616518.7375 | 1269559.2116 | 2616497.1266 | 1269563.4862
129 | 2616473.447 | 1269642.2361 | 2616476.8955 | 1269635.9078 | 2616476.2809 | 1269621.5293
130 | 2616476.2809 | 1269621.5293 | 2616495.2996 | 1269616.701 | 2616508.1543 | 1269612.5783 | 2616519.505 | 1269610.1918
131 | 2616473.447 | 1269642.2361 | 2616434.2089 | 1269658.9946
132 | 2616434.2089 | 1269658.9946 | 2616431.3678 | 1269636.2373 | 2616424.6196 | 1269617.0272 | 2616412.3391 | 1269587.7057
133 | 2616518.7375 | 1269559.2116 | 2616539.3202 | 1269555.1404
134 | 2616412.3391 | 1269587.7057 | 2616392.1546 | 1269546.1426 | 2616379.4409 | 1269519.9614
135 | 2616539.3202 | 1269555.1404 | 2616549.9878 | 1269553.0304 | 2616564.2659 | 1269546.6463
136 | 2616350.5253 | 1269476.8052 | 2616370.6306 | 1269501.8184 | 2616379.4409 | 1269519.9614
137 | 2616595.6562 | 1269532.6106 | 2616564.2659 | 1269546.6463
138 | 2616147.0659 | 1269379.0073 | 2616174.5137 | 1269398.4292 | 2616178.1934 | 1269401.0411
139 | 2616178.1934 | 1269401.0411 | 2616203.2169 | 1269418.2215 | 2616211.423 | 1269424.7152 | 2616216.9647 | 1269428.7666 | 2616257.8896 | 1269458.4441
140 | 2616147.0659 | 1269379.0073 | 2616127.2539 | 1269364.1551
141 | 2616257.8896 | 1269458.4441 | 2616261.674 | 1269461.2343
142 | 2616345.9088 | 1269471.0617 | 2616350.5253 | 1269476.8052
143 | 2616352.9295 | 1269399.9085 | 2616352.7097 | 1269405.9455 | 2616347.4088 | 1269421.6459
144 | 2616595.6562 | 1269532.6106 | 2616608.6804 | 1269526.7871 | 2616611.3002 | 1269525.8165
145 | 2616634.966 | 1269517.0488 | 2616611.3002 | 1269525.8165
146 | 2616686.3939 | 1269497.996 | 2616690.2659 | 1269504.3447 | 2616695.368 | 1269506.7274
147 | 2616695.368 | 1269506.7274 | 2616714.6616 | 1269498.9604
148 | 2616695.368 | 1269506.7274 | 2616733.9778 | 1269585.1808 | 2616780.1417 | 1269692.4318 | 2616750.6614 | 1269701.1546 | 2616748.5886 | 1269702.5053 | 2616747.4238 | 1269704.6591
149 | 2616747.4238 | 1269704.6591 | 2616714.4573 | 1269711.7711 | 2616696.1027 | 1269718.602
150 | 2616299.4291 | 1269094.8168 | 2616274.1993 | 1269082.6126
151 | 2616560.8405 | 1268938.1857 | 2616552.2724 | 1268947.9973
152 | 2616552.2724 | 1268947.9973 | 2616552.2724 | 1268947.9973 | 2616551.6224 | 1268949.4032
153 | 2616548.7305 | 1268955.6585 | 2616551.6224 | 1268949.4032
154 | 2616548.7305 | 1268955.6585 | 2616546.7482 | 1268959.9463
155 | 2616543.855 | 1268966.2045 | 2616546.7482 | 1268959.9463

## bus_geodata
| x | y | coords
0 | 2616601.473 | 1268966.2968
1 | 2616590.3324 | 1268974.942
2 | 2616617.8179 | 1268953.613
3 | 2616585.0894 | 1268979.0106
4 | 2616634.1065 | 1268940.9729
5 | 2616579.0983 | 1268983.6598
6 | 2616639.5249 | 1268936.7682
7 | 2616570.9295 | 1268989.9988
8 | 2616568.765 | 1268991.6785
9 | 2616667.6088 | 1268997.0555
10 | 2616679.1223 | 1268987.9807
11 | 2616666.8383 | 1268997.6628
12 | 2616698.0083 | 1268973.0949
13 | 2616661.3278 | 1269002.0061
14 | 2616648.9456 | 1269011.7656
15 | 2616640.867 | 1269018.1332
16 | 2616635.5398 | 1269022.332
17 | 2616551.971 | 1269004.7107
18 | 2616541.587 | 1269012.7688
19 | 2616539.6363 | 1269001.3943
20 | 2616575.5411 | 1269057.4397
21 | 2616538.7787 | 1268996.3937
22 | 2616577.3236 | 1269060.4468
23 | 2616489.9651 | 1269086.833
24 | 2616603.933 | 1269043.4314
25 | 2616520.3189 | 1269100.3937
26 | 2616454.9281 | 1269098.6551
27 | 2616537.9812 | 1268991.7439
28 | 2616608.6337 | 1269040.343
29 | 2616518.5402 | 1269104.1464
30 | 2616437.7037 | 1269108.5612
31 | 2616630.5851 | 1269025.9203
32 | 2616622.1669 | 1269031.4513
33 | 2616595.3119 | 1268909.8806
34 | 2616578.3536 | 1268922.1382
35 | 2616596.5551 | 1268908.982
36 | 2616573.8281 | 1268925.4093
37 | 2616607.2812 | 1268901.2291
38 | 2616569.36 | 1268928.6389
39 | 2616620.6892 | 1268891.6844
40 | 2616581.7425 | 1268858.0716
41 | 2616568.6051 | 1268929.2942
42 | 2616564.3975 | 1268934.1125
43 | 2616542.128 | 1268969.94
44 | 2616788.0734 | 1269155.5073
45 | 2616798.5774 | 1269134.2884
46 | 2616779.9149 | 1269171.9881
47 | 2616771.8667 | 1269189.2414
48 | 2616763.3996 | 1269207.6463
49 | 2616754.1627 | 1269229.0716
50 | 2616742.4626 | 1269255.6796
51 | 2616683.1891 | 1269402.2116
52 | 2616702.4396 | 1269372.2828
53 | 2616660.4185 | 1269426.6501
54 | 2616735.5031 | 1269311.5689
55 | 2616612.6345 | 1269442.0967
56 | 2616670.9654 | 1269455.619
57 | 2616707.7649 | 1269320.0901
58 | 2616731.9464 | 1269296.0125
59 | 2616762.8155 | 1269222.4004
60 | 2616771.1575 | 1269300.7741
61 | 2616577.5045 | 1269453.4527
62 | 2616674.0889 | 1269464.1982
63 | 2616691.2529 | 1269325.1626
64 | 2616735.5295 | 1269273.3455
65 | 2616771.9834 | 1269202.0397
66 | 2616544.262 | 1269464.1986
67 | 2616675.9315 | 1269469.2593
68 | 2616676.9748 | 1269325.9523
69 | 2616787.7988 | 1269166.9158
70 | 2616520.0577 | 1269472.0229
71 | 2616683.8538 | 1269491.0192
72 | 2616420.4147 | 1269261.8679
73 | 2616484.9526 | 1269257.6288
74 | 2616403.4193 | 1269262.9843
75 | 2616495.5233 | 1269244.4711
76 | 2616388.7573 | 1269264.6671
77 | 2616492.8742 | 1269196.0183
78 | 2616498.0639 | 1269242.409
79 | 2616414.5567 | 1269295.0823
80 | 2616452.5287 | 1269366.6048
81 | 2616380.0402 | 1269252.5122
82 | 2616545.9014 | 1269356.6687
83 | 2616620.0777 | 1269326.1879
84 | 2616546.8289 | 1269360.25
85 | 2616485.9498 | 1269419.1122
86 | 2616621.7092 | 1269326.1812
87 | 2616366.0043 | 1269250.8612
88 | 2616517.8136 | 1269105.6794
89 | 2616571.8531 | 1269219.2105
90 | 2616341.426 | 1269343.9509
91 | 2616309.4492 | 1269373.7427
92 | 2616492.4198 | 1269428.659
93 | 2616661.4108 | 1269326.0167
94 | 2616343.3303 | 1269282.7371
95 | 2616674.3421 | 1269161.4854
96 | 2616299.8301 | 1269140.6342
97 | 2616404.0943 | 1269127.8905
98 | 2616283.2888 | 1269135.7633
99 | 2616209.186 | 1269318.2893
100 | 2616198.0084 | 1269256.4705
101 | 2616225.5414 | 1269354.8266
102 | 2616189.8194 | 1269342.7871
103 | 2616131.8011 | 1269278.2358
104 | 2616270.1918 | 1269389.7959
105 | 2616320.7977 | 1269447.7205
106 | 2616222.9719 | 1269362.3022
107 | 2616318.8125 | 1269104.1929
108 | 2616413.062 | 1269122.7331
109 | 2616498.4472 | 1269505.7363
110 | 2616501.126 | 1269501.5572
111 | 2616488.7277 | 1269520.8992
112 | 2616485.8932 | 1269525.3211
113 | 2616509.3036 | 1269453.4563
114 | 2616469.7808 | 1269506.4964
115 | 2616476.7025 | 1269564.186
116 | 2616460.8959 | 1269492.1682
117 | 2616475.8739 | 1269567.69
118 | 2616454.496 | 1269481.8475
119 | 2616497.1266 | 1269563.4862
120 | 2616476.2809 | 1269621.5293
121 | 2616662.1536 | 1269326.0137
122 | 2616519.505 | 1269610.1918
123 | 2616473.447 | 1269642.2361
124 | 2616434.2089 | 1269658.9946
125 | 2616518.7375 | 1269559.2116
126 | 2616412.3391 | 1269587.7057
127 | 2616539.3202 | 1269555.1404
128 | 2616379.4409 | 1269519.9614
129 | 2616564.2659 | 1269546.6463
130 | 2616178.1934 | 1269401.0411
131 | 2616147.0659 | 1269379.0073
132 | 2616257.8896 | 1269458.4441
133 | 2616127.2539 | 1269364.1551
134 | 2616261.674 | 1269461.2343
135 | 2616345.9088 | 1269471.0617
136 | 2616347.4088 | 1269421.6459
137 | 2616350.5253 | 1269476.8052
138 | 2616112.8461 | 1269290.4515
139 | 2616236.6267 | 1269122.6341
140 | 2616595.6562 | 1269532.6106
141 | 2616611.3002 | 1269525.8165
142 | 2616634.966 | 1269517.0488
143 | 2616686.3939 | 1269497.996
144 | 2616695.368 | 1269506.7274
145 | 2616714.6616 | 1269498.9604
146 | 2616747.4239 | 1269704.6591
147 | 2616299.4291 | 1269094.8168
148 | 2616352.9295 | 1269399.9085
149 | 2616696.1027 | 1269718.602
150 | 2616274.1993 | 1269082.6126
151 | 2616560.8405 | 1268938.1857
152 | 2616552.2724 | 1268947.9973
153 | 2616551.6224 | 1268949.4032
154 | 2616548.7305 | 1268955.6585
155 | 2616546.7482 | 1268959.9463
156 | 2616543.855 | 1268966.2045
157 | 2616495.5233 | 1269244.4711

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1