## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2761-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2761-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2761-12_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2761-12_0_4_node_27 | 0.4 | n |  | TRUE
4 | bus_LV_2761-12_0_4_node_25 | 0.4 | n |  | TRUE
5 | bus_LV_2761-12_0_4_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_2761-12_0_4_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_2761-12_0_4_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_2761-12_0_4_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_2761-12_0_4_node_3 | 0.4 | n |  | TRUE
10 | bus_LV_2761-12_0_4_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_2761-12_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_2761-12_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2761-12_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2761-12_0_4_node_66 | 0.4 | n |  | TRUE
15 | bus_LV_2761-12_0_4_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_2761-12_0_4_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_2761-12_0_4_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_2761-12_0_4_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_2761-12_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2761-12_0_4_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_2761-12_0_4_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_2761-12_0_4_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_2761-12_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2761-12_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_2761-12_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_2761-12_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2761-12_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_2761-12_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_2761-12_0_4_node_70 | 0.4 | n |  | TRUE
30 | bus_LV_2761-12_0_4_node_69 | 0.4 | n |  | TRUE
31 | bus_LV_2761-12_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_2761-12_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_2761-12_0_4_node_67 | 0.4 | n |  | TRUE
34 | bus_LV_2761-12_0_4_node_68 | 0.4 | n |  | TRUE
35 | bus_LV_2761-12_0_4_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_2761-12_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_2761-12_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2761-12_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_2761-12_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_2761-12_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_2761-12_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_2761-12_0_4_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_2761-12_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_2761-12_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_2761-12_0_4_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_2761-12_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_2761-12_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_2761-12_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_2761-12_0_4_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_2761-12_0_4_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_2761-12_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_2761-12_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_2761-12_0_4_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_2761-12_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_2761-12_0_4_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_2761-12_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_2761-12_0_4_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_2761-12_0_4_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_2761-12_0_4_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_2761-12_0_4_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_2761-12_0_4_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_2761-12_0_4_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_2761-12_0_4_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_2761-12_0_4_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_2761-12_0_4_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_2761-12_0_4_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_2761-12_0_4_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_2761-12_0_4_node_64 | 0.4 | n |  | TRUE
69 | bus_MV_287_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2761-12_0_4_load_0 | 0 | 0.010321 | 0.0025866 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2761-12_0_4_load_1 | 1 | 0.023183 | 0.0058102 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2761-12_0_4_load_2 | 2 | 0.019311 | 0.0048398 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2761-12_0_4_load_27 | 3 | 0.0060507 | 0.0015164 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2761-12_0_4_load_25 | 4 | 0.00083814 | 0.00021006 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2761-12_0_4_load_23 | 6 | 0.0026104 | 0.00065423 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2761-12_0_4_load_22 | 7 | 0.040032 | 0.010033 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2761-12_0_4_load_3 | 9 | 0.0065818 | 0.0016495 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2761-12_0_4_load_4 | 10 | 0.0002196 | 5.5036e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2761-12_0_4_load_5 | 11 | 0.0027771 | 0.000696 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2761-12_0_4_load_20 | 16 | 0.0058007 | 0.0014538 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2761-12_0_4_load_72 | 17 | 0.00026263 | 6.5822e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2761-12_0_4_load_18 | 18 | 0.0006535 | 0.00016378 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2761-12_0_4_load_8 | 20 | 0.0021665 | 0.00054298 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2761-12_0_4_load_12 | 23 | 0.0031201 | 0.00078197 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2761-12_0_4_load_14 | 24 | 0.00095604 | 0.00023961 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2761-12_0_4_load_15 | 25 | 0.037722 | 0.0094539 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2761-12_0_4_load_16 | 26 | 0.0073611 | 0.0018449 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2761-12_0_4_load_17 | 27 | 0.00020917 | 5.2424e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2761-12_0_4_load_19 | 28 | 0.0016063 | 0.00040258 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2761-12_0_4_load_70 | 29 | 0.00042287 | 0.00010598 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2761-12_0_4_load_69 | 30 | 0.0004194 | 0.00010511 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2761-12_0_4_load_26 | 32 | 0.00056571 | 0.00014178 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2761-12_0_4_load_67 | 33 | 0.00026875 | 6.7354e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2761-12_0_4_load_68 | 34 | 0.00048089 | 0.00012052 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2761-12_0_4_load_43 | 35 | 0.020298 | 0.0050872 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2761-12_0_4_load_28 | 36 | 0.0011016 | 0.00027608 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2761-12_0_4_load_29 | 37 | 0.00098778 | 0.00024756 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2761-12_0_4_load_31 | 39 | 0.0012066 | 0.00030241 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2761-12_0_4_load_47 | 42 | 0.0015453 | 0.00038729 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2761-12_0_4_load_36 | 43 | 0.017647 | 0.0044227 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2761-12_0_4_load_35 | 46 | 0.0055691 | 0.0013958 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2761-12_0_4_load_39 | 47 | 0.00088733 | 0.00022239 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2761-12_0_4_load_37 | 48 | 0.00094535 | 0.00023693 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2761-12_0_4_load_62 | 49 | 0.0017195 | 0.00043094 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2761-12_0_4_load_40 | 51 | 0.041772 | 0.010469 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2761-12_0_4_load_41 | 52 | 0.080028 | 0.020057 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2761-12_0_4_load_45 | 54 | 0.025444 | 0.0063768 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2761-12_0_4_load_48 | 56 | 0.0064764 | 0.0016231 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2761-12_0_4_load_71 | 58 | 0.0094012 | 0.0023562 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2761-12_0_4_load_52 | 60 | 0.010137 | 0.0025407 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2761-12_0_4_load_55 | 61 | 0.0023093 | 0.00057878 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2761-12_0_4_load_56 | 62 | 0.0028865 | 0.00072342 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2761-12_0_4_load_59 | 65 | 0.0012895 | 0.00032318 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2761-12_0_4_load_61 | 66 | 0.0014331 | 0.00035916 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2761-12_0_4_load_63 | 67 | 0.0014885 | 0.00037305 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2761-12_0_4_load_64 | 68 | 0.0041511 | 0.0010404 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2761-12_0_4_line_0 |  | 0 | 1 | 0.06967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2761-12_0_4_line_1 |  | 1 | 2 | 0.051954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2761-12_0_4_line_2 |  | 1 | 3 | 0.10664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2761-12_0_4_line_3 |  | 3 | 4 | 0.006388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2761-12_0_4_line_4 |  | 4 | 6 | 0.023881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2761-12_0_4_line_5 |  | 5 | 6 | 0.068816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2761-12_0_4_line_6 |  | 5 | 7 | 0.055435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2761-12_0_4_line_7 |  | 5 | 8 | 0.072827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_2761-12_0_4_line_8 |  | 7 | 31 | 0.018305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2761-12_0_4_line_9 |  | 8 | 54 | 0.080955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2761-12_0_4_line_10 |  | 8 | 52 | 0.055205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2761-12_0_4_line_11 |  | 9 | 10 | 0.027011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2761-12_0_4_line_12 |  | 9 | 11 | 0.045477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2761-12_0_4_line_13 |  | 10 | 12 | 0.03224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2761-12_0_4_line_14 |  | 11 | 13 | 0.066735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2761-12_0_4_line_15 |  | 12 | 14 | 0.039637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2761-12_0_4_line_16 |  | 13 | 15 | 0.040063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2761-12_0_4_line_17 |  | 13 | 16 | 0.031576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2761-12_0_4_line_18 |  | 14 | 17 | 0.059332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2761-12_0_4_line_19 |  | 15 | 18 | 0.060425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2761-12_0_4_line_20 |  | 16 | 19 | 0.044347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2761-12_0_4_line_21 |  | 18 | 26 | 0.08251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2761-12_0_4_line_22 |  | 19 | 21 | 0.040998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2761-12_0_4_line_23 |  | 20 | 21 | 0.027381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2761-12_0_4_line_24 |  | 20 | 22 | 0.022675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2761-12_0_4_line_25 |  | 22 | 23 | 0.037887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2761-12_0_4_line_26 |  | 23 | 24 | 0.053629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2761-12_0_4_line_27 |  | 25 | 26 | 0.018889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2761-12_0_4_line_28 |  | 25 | 27 | 0.031044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2761-12_0_4_line_29 |  | 27 | 28 | 0.020352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2761-12_0_4_line_30 |  | 28 | 29 | 0.043213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2761-12_0_4_line_31 |  | 29 | 30 | 0.01613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2761-12_0_4_line_32 |  | 30 | 34 | 0.009046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2761-12_0_4_line_33 |  | 30 | 35 | 0.046899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2761-12_0_4_line_34 |  | 31 | 32 | 0.036981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2761-12_0_4_line_35 |  | 32 | 33 | 0.0094215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2761-12_0_4_line_36 |  | 33 | 34 | 0.037411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2761-12_0_4_line_37 |  | 36 | 37 | 0.015235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2761-12_0_4_line_38 |  | 36 | 38 | 0.02173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2761-12_0_4_line_39 |  | 37 | 39 | 0.0034495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2761-12_0_4_line_40 |  | 38 | 40 | 0.012225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2761-12_0_4_line_41 |  | 39 | 41 | 0.029059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_2761-12_0_4_line_42 |  | 40 | 42 | 0.028956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2761-12_0_4_line_43 |  | 40 | 43 | 0.026499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2761-12_0_4_line_44 |  | 41 | 44 | 0.005758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2761-12_0_4_line_45 |  | 42 | 45 | 0.0092094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2761-12_0_4_line_46 |  | 43 | 46 | 0.022026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2761-12_0_4_line_47 |  | 44 | 47 | 0.061705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2761-12_0_4_line_48 |  | 44 | 48 | 0.023459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_2761-12_0_4_line_49 |  | 45 | 55 | 0.028128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2761-12_0_4_line_50 |  | 47 | 49 | 0.0093533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2761-12_0_4_line_51 |  | 48 | 50 | 0.05368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2761-12_0_4_line_52 |  | 49 | 53 | 0.035611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2761-12_0_4_line_53 |  | 50 | 51 | 0.022667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2761-12_0_4_line_54 |  | 50 | 52 | 0.044534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_2761-12_0_4_line_55 |  | 53 | 66 | 0.018305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2761-12_0_4_line_56 |  | 53 | 65 | 0.034667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2761-12_0_4_line_57 |  | 55 | 57 | 0.10261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2761-12_0_4_line_58 |  | 55 | 56 | 0.03076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2761-12_0_4_line_59 |  | 57 | 58 | 0.025034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2761-12_0_4_line_60 |  | 57 | 59 | 0.02106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2761-12_0_4_line_61 |  | 59 | 60 | 0.020381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2761-12_0_4_line_62 |  | 61 | 62 | 0.023722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2761-12_0_4_line_63 |  | 61 | 63 | 0.029389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2761-12_0_4_line_64 |  | 63 | 64 | 0.011052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2761-12_0_4_line_65 |  | 64 | 65 | 0.021971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2761-12_0_4_line_66 |  | 66 | 67 | 0.00025625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2761-12_0_4_line_67 |  | 67 | 68 | 0.015579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2761-12_0_4_trafo_26 | 0.63 MVA 20/0.4 kV | 69 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2612652.7099 | 1258030.9674 | 2612616.9672 | 1257971.1644
1 | 2612616.9672 | 1257971.1644 | 2612590.3133 | 1257926.5682
2 | 2612537.6455 | 1258042.4407 | 2612616.9672 | 1257971.1644
3 | 2612537.6455 | 1258042.4407 | 2612533.4409 | 1258037.6316
4 | 2612533.4409 | 1258037.6316 | 2612529.8243 | 1258033.4951 | 2612515.9948 | 1258021.3789
5 | 2612447.3155 | 1258025.7167 | 2612515.9948 | 1258021.3789
6 | 2612447.3155 | 1258025.7167 | 2612450.3186 | 1257970.3626
7 | 2612407.3135 | 1258084.4725 | 2612418.1079 | 1258063.203 | 2612424.2352 | 1258056.7448 | 2612431.8804 | 1258052.6469 | 2612436.3013 | 1258040.2367 | 2612447.3155 | 1258025.7167
8 | 2612434.5897 | 1257961.0911 | 2612445.1023 | 1257966.5612 | 2612450.3186 | 1257970.3626
9 | 2612407.3135 | 1258084.4725 | 2612412.196 | 1258092.8884 | 2612417.8734 | 1258117.7391 | 2612427.0384 | 1258162.5454
10 | 2612407.3135 | 1258084.4725 | 2612359.1686 | 1258057.4608
11 | 2612406.5615 | 1257620.8362 | 2612401.7213 | 1257614.0009 | 2612396.1076 | 1257601.7032 | 2612394.8196 | 1257596.7513
12 | 2612435.1357 | 1257656.1372 | 2612431.2424 | 1257651.0762 | 2612415.4097 | 1257633.3313 | 2612406.5615 | 1257620.8362
13 | 2612388.8935 | 1257565.097 | 2612391.0062 | 1257578.7661 | 2612392.2708 | 1257586.952 | 2612394.8196 | 1257596.7513
14 | 2612466.3246 | 1257714.5033 | 2612461.8876 | 1257702.03 | 2612458.6648 | 1257692.9728 | 2612448.7533 | 1257673.8392 | 2612435.1357 | 1257656.1372
15 | 2612388.8935 | 1257565.097 | 2612384.1177 | 1257534.2219 | 2612392.4432 | 1257533.1496
16 | 2612481.2567 | 1257751.6706 | 2612471.7716 | 1257727.0231 | 2612466.3246 | 1257714.5033
17 | 2612466.3246 | 1257714.5033 | 2612436.0268 | 1257723.397
18 | 2612392.4432 | 1257533.1496 | 2612403.7729 | 1257537.654 | 2612413.0046 | 1257571.974 | 2612409.1066 | 1257582.9399
19 | 2612481.2567 | 1257751.6706 | 2612462.3126 | 1257765.4401 | 2612463.7978 | 1257802.4159
20 | 2612393.4757 | 1257735.8876 | 2612436.0268 | 1257723.397
21 | 2612463.7978 | 1257802.4159 | 2612464.3689 | 1257816.6343 | 2612458.4964 | 1257834.4895 | 2612444.134 | 1257838.4955 | 2612410.7575 | 1257847.5138
22 | 2612393.4757 | 1257735.8876 | 2612354.0003 | 1257747.3688
23 | 2612354.0003 | 1257747.3688 | 2612327.6129 | 1257754.6793
24 | 2612305.7609 | 1257760.7333 | 2612327.6129 | 1257754.6793
25 | 2612305.7609 | 1257760.7333 | 2612316.2216 | 1257797.1477
26 | 2612316.2216 | 1257797.1477 | 2612331.0287 | 1257848.6922
27 | 2612392.5224 | 1257852.441 | 2612410.7575 | 1257847.5138
28 | 2612362.5533 | 1257860.5386 | 2612392.5224 | 1257852.441
29 | 2612342.9058 | 1257865.8474 | 2612362.5533 | 1257860.5386
30 | 2612342.9058 | 1257865.8474 | 2612340.1308 | 1257908.9707
31 | 2612340.1308 | 1257908.9707 | 2612342.0579 | 1257911.1427 | 2612352.1397 | 1257919.7041
32 | 2612352.1397 | 1257919.7041 | 2612352.6236 | 1257920.1151 | 2612359.5796 | 1257924.8438
33 | 2612323.369 | 1257956.742 | 2612352.1397 | 1257919.7041
34 | 2612434.5897 | 1257961.0911 | 2612417.4503 | 1257952.1827 | 2612400.7987 | 1257946.2875
35 | 2612391.9195 | 1257943.1372 | 2612392.3347 | 1257943.291 | 2612400.7987 | 1257946.2875
36 | 2612391.9195 | 1257943.1372 | 2612380.3197 | 1257938.8408 | 2612364.8483 | 1257928.9242 | 2612359.5796 | 1257924.8438 | 2612359.5796 | 1257924.8438
37 | 2612219.6073 | 1258009.8558 | 2612228.3288 | 1258022.3471
38 | 2612205.9885 | 1257992.9947 | 2612213.2248 | 1258000.7147 | 2612219.6073 | 1258009.8558
39 | 2612228.3288 | 1258022.3471 | 2612230.3036 | 1258025.1754
40 | 2612205.9885 | 1257992.9947 | 2612201.2106 | 1257988.5152 | 2612197.0195 | 1257984.6596
41 | 2612244.6643 | 1258050.3905 | 2612234.5341 | 1258031.2345 | 2612230.3036 | 1258025.1754
42 | 2612197.0195 | 1257984.6596 | 2612174.2035 | 1257966.8307
43 | 2612197.0195 | 1257984.6596 | 2612207.8211 | 1257977.9439 | 2612221.1548 | 1257975.3695 | 2612221.3539 | 1257975.3553
44 | 2612244.6643 | 1258050.3905 | 2612247.2394 | 1258055.5437
45 | 2612166.9733 | 1257961.1267 | 2612171.5118 | 1257964.7273 | 2612174.2035 | 1257966.8307
46 | 2612242.0746 | 1257979.2665 | 2612233.6935 | 1257974.4725 | 2612221.3539 | 1257975.3553
47 | 2612247.2394 | 1258055.5437 | 2612258.8284 | 1258091.0247 | 2612266.398 | 1258114.1994
48 | 2612247.2394 | 1258055.5437 | 2612266.5443 | 1258048.8901 | 2612269.5051 | 1258048.2036
49 | 2612166.9733 | 1257961.1267 | 2612166.1564 | 1257947.7383 | 2612163.6756 | 1257933.2346
50 | 2612269.1685 | 1258123.1321 | 2612267.7429 | 1258118.3169 | 2612266.398 | 1258114.1994
51 | 2612320.3294 | 1258035.6701 | 2612296.5683 | 1258046.3392 | 2612285.4149 | 1258044.515 | 2612269.5051 | 1258048.2036
52 | 2612279.2793 | 1258157.278 | 2612273.8592 | 1258138.9768 | 2612269.1685 | 1258123.1321
53 | 2612320.3294 | 1258035.6701 | 2612312.6918 | 1258014.3289
54 | 2612320.3294 | 1258035.6701 | 2612359.1686 | 1258057.4608
55 | 2612279.2793 | 1258157.278 | 2612296.9439 | 1258152.4799
56 | 2612279.2793 | 1258157.278 | 2612288.7224 | 1258190.6339
57 | 2612163.6756 | 1257933.2346 | 2612160.1296 | 1257912.5023 | 2612152.3766 | 1257869.7912 | 2612190.0307 | 1257863.5307
58 | 2612163.6756 | 1257933.2346 | 2612194.336 | 1257930.7604
59 | 2612190.0307 | 1257863.5307 | 2612193.5694 | 1257880.4715 | 2612193.5535 | 1257888.1989
60 | 2612190.0307 | 1257863.5307 | 2612186.794 | 1257842.7212
61 | 2612186.794 | 1257842.7212 | 2612206.7897 | 1257838.7753
62 | 2612325.1641 | 1258215.8458 | 2612348.2357 | 1258210.3295
63 | 2612296.5805 | 1258222.6799 | 2612325.1641 | 1258215.8458
64 | 2612294.5676 | 1258211.8129 | 2612296.5805 | 1258222.6799
65 | 2612294.5676 | 1258211.8129 | 2612291.2758 | 1258199.6535 | 2612288.7224 | 1258190.6339
66 | 2612297.1912 | 1258152.4127 | 2612296.9439 | 1258152.4799
67 | 2612312.2258 | 1258148.329 | 2612297.1912 | 1258152.4127

## bus_geodata
| x | y | coords
0 | 2612652.7099 | 1258030.9674
1 | 2612616.9672 | 1257971.1644
2 | 2612590.3133 | 1257926.5682
3 | 2612537.6455 | 1258042.4407
4 | 2612533.4409 | 1258037.6316
5 | 2612447.3155 | 1258025.7167
6 | 2612515.9948 | 1258021.3789
7 | 2612450.3186 | 1257970.3626
8 | 2612407.3135 | 1258084.4725
9 | 2612406.5615 | 1257620.8362
10 | 2612394.8196 | 1257596.7513
11 | 2612435.1357 | 1257656.1372
12 | 2612388.8935 | 1257565.097
13 | 2612466.3246 | 1257714.5033
14 | 2612392.4432 | 1257533.1496
15 | 2612481.2567 | 1257751.6706
16 | 2612436.0268 | 1257723.397
17 | 2612409.1066 | 1257582.9399
18 | 2612463.7978 | 1257802.4159
19 | 2612393.4757 | 1257735.8876
20 | 2612327.6129 | 1257754.6793
21 | 2612354.0003 | 1257747.3688
22 | 2612305.7609 | 1257760.7333
23 | 2612316.2216 | 1257797.1477
24 | 2612331.0287 | 1257848.6922
25 | 2612392.5224 | 1257852.441
26 | 2612410.7575 | 1257847.5138
27 | 2612362.5533 | 1257860.5386
28 | 2612342.9058 | 1257865.8474
29 | 2612340.1308 | 1257908.9707
30 | 2612352.1397 | 1257919.7041
31 | 2612434.5897 | 1257961.0911
32 | 2612400.7987 | 1257946.2875
33 | 2612391.9195 | 1257943.1372
34 | 2612359.5796 | 1257924.8438
35 | 2612323.369 | 1257956.742
36 | 2612219.6073 | 1258009.8558
37 | 2612228.3288 | 1258022.3471
38 | 2612205.9885 | 1257992.9947
39 | 2612230.3036 | 1258025.1754
40 | 2612197.0195 | 1257984.6596
41 | 2612244.6643 | 1258050.3905
42 | 2612174.2035 | 1257966.8307
43 | 2612221.3539 | 1257975.3553
44 | 2612247.2394 | 1258055.5437
45 | 2612166.9733 | 1257961.1267
46 | 2612242.0746 | 1257979.2665
47 | 2612266.398 | 1258114.1994
48 | 2612269.5051 | 1258048.2036
49 | 2612269.1685 | 1258123.1321
50 | 2612320.3294 | 1258035.6701
51 | 2612312.6918 | 1258014.3289
52 | 2612359.1686 | 1258057.4608
53 | 2612279.2793 | 1258157.278
54 | 2612427.0384 | 1258162.5454
55 | 2612163.6756 | 1257933.2346
56 | 2612194.336 | 1257930.7604
57 | 2612190.0307 | 1257863.5307
58 | 2612193.5535 | 1257888.1989
59 | 2612186.794 | 1257842.7212
60 | 2612206.7897 | 1257838.7753
61 | 2612325.1641 | 1258215.8458
62 | 2612348.2357 | 1258210.3295
63 | 2612296.5805 | 1258222.6799
64 | 2612294.5676 | 1258211.8129
65 | 2612288.7224 | 1258190.6339
66 | 2612296.9439 | 1258152.4799
67 | 2612297.1912 | 1258152.4127
68 | 2612312.2258 | 1258148.329
69 | 2612434.5897 | 1257961.0911

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1