## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2761-16_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2761-16_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2761-16_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2761-16_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2761-16_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2761-16_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2761-16_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_2761-16_0_3_node_66 | 0.4 | n |  | TRUE
8 | bus_LV_2761-16_0_3_node_79 | 0.4 | n |  | TRUE
9 | bus_LV_2761-16_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2761-16_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2761-16_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2761-16_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2761-16_0_3_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_2761-16_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_2761-16_0_3_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_2761-16_0_3_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_2761-16_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2761-16_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_2761-16_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_2761-16_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_2761-16_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_2761-16_0_3_node_110 | 0.4 | n |  | TRUE
23 | bus_LV_2761-16_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_2761-16_0_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_2761-16_0_3_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_2761-16_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_2761-16_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_2761-16_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_2761-16_0_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_2761-16_0_3_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_2761-16_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_2761-16_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_2761-16_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_2761-16_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_2761-16_0_3_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_2761-16_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_2761-16_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_2761-16_0_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_2761-16_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_2761-16_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_2761-16_0_3_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_2761-16_0_3_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_2761-16_0_3_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_2761-16_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_2761-16_0_3_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_2761-16_0_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_2761-16_0_3_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_2761-16_0_3_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_2761-16_0_3_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_2761-16_0_3_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_2761-16_0_3_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_2761-16_0_3_node_152 | 0.4 | n |  | TRUE
53 | bus_LV_2761-16_0_3_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_2761-16_0_3_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_2761-16_0_3_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_2761-16_0_3_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_2761-16_0_3_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_2761-16_0_3_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_2761-16_0_3_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_2761-16_0_3_node_85 | 0.4 | n |  | TRUE
61 | bus_LV_2761-16_0_3_node_154 | 0.4 | n |  | TRUE
62 | bus_LV_2761-16_0_3_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_2761-16_0_3_node_84 | 0.4 | n |  | TRUE
64 | bus_LV_2761-16_0_3_node_87 | 0.4 | n |  | TRUE
65 | bus_LV_2761-16_0_3_node_86 | 0.4 | n |  | TRUE
66 | bus_LV_2761-16_0_3_node_104 | 0.4 | n |  | TRUE
67 | bus_LV_2761-16_0_3_node_109 | 0.4 | n |  | TRUE
68 | bus_LV_2761-16_0_3_node_103 | 0.4 | n |  | TRUE
69 | bus_LV_2761-16_0_3_node_105 | 0.4 | n |  | TRUE
70 | bus_LV_2761-16_0_3_node_106 | 0.4 | n |  | TRUE
71 | bus_LV_2761-16_0_3_node_133 | 0.4 | n |  | TRUE
72 | bus_LV_2761-16_0_3_node_134 | 0.4 | n |  | TRUE
73 | bus_LV_2761-16_0_3_node_137 | 0.4 | n |  | TRUE
74 | bus_LV_2761-16_0_3_node_136 | 0.4 | n |  | TRUE
75 | bus_LV_2761-16_0_3_node_138 | 0.4 | n |  | TRUE
76 | bus_LV_2761-16_0_3_node_139 | 0.4 | n |  | TRUE
77 | bus_LV_2761-16_0_3_node_140 | 0.4 | n |  | TRUE
78 | bus_LV_2761-16_0_3_node_153 | 0.4 | n |  | TRUE
79 | bus_MV_287_0_node_90 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2761-16_0_3_load_0 | 0 | 0.0051779 | 0.0012977 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2761-16_0_3_load_1 | 1 | 0.0067776 | 0.0016986 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2761-16_0_3_load_5 | 5 | 0.0045434 | 0.0011387 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2761-16_0_3_load_9 | 6 | 0.0044001 | 0.0011028 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2761-16_0_3_load_66 | 7 | 0.0032804 | 0.00082215 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2761-16_0_3_load_79 | 8 | 0.0021159 | 0.00053029 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2761-16_0_3_load_6 | 9 | 0.01038 | 0.0026014 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2761-16_0_3_load_7 | 10 | 0.0068202 | 0.0017093 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2761-16_0_3_load_8 | 11 | 0.0064972 | 0.0016283 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2761-16_0_3_load_10 | 12 | 0.006482 | 0.0016246 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2761-16_0_3_load_13 | 13 | 0.0043988 | 0.0011025 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2761-16_0_3_load_19 | 15 | 0.0042323 | 0.0010607 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2761-16_0_3_load_20 | 16 | 0.010273 | 0.0025747 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2761-16_0_3_load_12 | 17 | 0.0091862 | 0.0023023 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2761-16_0_3_load_15 | 19 | 0.0093416 | 0.0023412 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2761-16_0_3_load_16 | 20 | 0.0047988 | 0.0012027 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2761-16_0_3_load_17 | 21 | 0.0039163 | 0.00098153 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2761-16_0_3_load_110 | 22 | 0.0045027 | 0.0011285 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2761-16_0_3_load_23 | 24 | 0.0044756 | 0.0011217 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2761-16_0_3_load_24 | 25 | 0.007018 | 0.0017589 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2761-16_0_3_load_25 | 28 | 0.0030017 | 0.00075229 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2761-16_0_3_load_28 | 29 | 0.00567 | 0.001421 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2761-16_0_3_load_26 | 31 | 0.0053068 | 0.00133 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2761-16_0_3_load_27 | 32 | 0.003339 | 0.00083684 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2761-16_0_3_load_30 | 33 | 0.0062087 | 0.001556 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2761-16_0_3_load_31 | 36 | 0.0014861 | 0.00037245 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2761-16_0_3_load_32 | 37 | 0.0049962 | 0.0012522 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2761-16_0_3_load_34 | 39 | 0.0026981 | 0.0006762 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2761-16_0_3_load_35 | 40 | 0.0024789 | 0.00062126 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2761-16_0_3_load_41 | 42 | 0.0038602 | 0.00096746 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2761-16_0_3_load_46 | 43 | 0.0093515 | 0.0023437 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2761-16_0_3_load_40 | 44 | 0.0018512 | 0.00046396 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2761-16_0_3_load_42 | 45 | 0.012338 | 0.0030921 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2761-16_0_3_load_43 | 46 | 0.0068633 | 0.0017201 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2761-16_0_3_load_44 | 47 | 0.006389 | 0.0016012 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2761-16_0_3_load_45 | 48 | 0.004631 | 0.0011606 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2761-16_0_3_load_49 | 50 | 0.0012377 | 0.0003102 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2761-16_0_3_load_50 | 51 | 0.0018082 | 0.00045318 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2761-16_0_3_load_152 | 52 | 0.001949 | 0.00048847 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2761-16_0_3_load_51 | 53 | 0.0024972 | 0.00062587 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2761-16_0_3_load_55 | 56 | 0.001744 | 0.00043708 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2761-16_0_3_load_56 | 57 | 0.0025352 | 0.00063538 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2761-16_0_3_load_57 | 58 | 0.0033001 | 0.00082709 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2761-16_0_3_load_58 | 59 | 0.0069235 | 0.0017352 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2761-16_0_3_load_85 | 60 | 0.011045 | 0.0027683 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2761-16_0_3_load_154 | 61 | 0.0014724 | 0.00036902 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2761-16_0_3_load_65 | 62 | 0.0011095 | 0.00027808 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2761-16_0_3_load_84 | 63 | 0.0040403 | 0.0010126 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2761-16_0_3_load_86 | 65 | 0.0029314 | 0.00073468 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2761-16_0_3_load_104 | 66 | 0.0015656 | 0.00039237 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2761-16_0_3_load_109 | 67 | 0.0043776 | 0.0010971 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2761-16_0_3_load_103 | 68 | 0.0019871 | 0.00049803 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2761-16_0_3_load_106 | 70 | 0.0019731 | 0.00049451 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2761-16_0_3_load_133 | 71 | 0.001466 | 0.0003674 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2761-16_0_3_load_134 | 72 | 0.001771 | 0.00044386 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2761-16_0_3_load_137 | 73 | 0.0018588 | 0.00046586 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2761-16_0_3_load_136 | 74 | 0.001381 | 0.00034612 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2761-16_0_3_load_138 | 75 | 0.0018172 | 0.00045544 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2761-16_0_3_load_140 | 77 | 0.0013737 | 0.00034429 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2761-16_0_3_load_153 | 78 | 0.0009166 | 0.00022972 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2761-16_0_3_line_0 |  | 0 | 1 | 0.016149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2761-16_0_3_line_1 |  | 0 | 2 | 0.024308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2761-16_0_3_line_2 |  | 1 | 3 | 0.0049286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2761-16_0_3_line_3 |  | 2 | 4 | 0.040375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2761-16_0_3_line_4 |  | 2 | 5 | 0.020166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2761-16_0_3_line_5 |  | 3 | 6 | 0.012496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2761-16_0_3_line_6 |  | 4 | 7 | 0.022532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2761-16_0_3_line_7 |  | 5 | 8 | 0.021001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2761-16_0_3_line_8 |  | 6 | 13 | 0.024217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2761-16_0_3_line_9 |  | 7 | 62 | 0.0077112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2761-16_0_3_line_10 |  | 9 | 10 | 0.021916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2761-16_0_3_line_11 |  | 10 | 11 | 0.033041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2761-16_0_3_line_12 |  | 11 | 12 | 0.033461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2761-16_0_3_line_13 |  | 12 | 14 | 0.025422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2761-16_0_3_line_14 |  | 13 | 17 | 0.023852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2761-16_0_3_line_15 |  | 14 | 15 | 0.022507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2761-16_0_3_line_16 |  | 14 | 16 | 0.013562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2761-16_0_3_line_17 |  | 15 | 26 | 0.014143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2761-16_0_3_line_18 |  | 16 | 23 | 0.022349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2761-16_0_3_line_19 |  | 17 | 18 | 0.010637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2761-16_0_3_line_20 |  | 18 | 19 | 0.028858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2761-16_0_3_line_21 |  | 18 | 20 | 0.023873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2761-16_0_3_line_22 |  | 19 | 21 | 0.0018983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2761-16_0_3_line_23 |  | 20 | 22 | 0.012964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2761-16_0_3_line_24 |  | 21 | 23 | 0.036658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2761-16_0_3_line_25 |  | 22 | 67 | 0.010112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2761-16_0_3_line_26 |  | 23 | 24 | 0.035368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2761-16_0_3_line_27 |  | 23 | 25 | 0.022563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2761-16_0_3_line_28 |  | 24 | 29 | 0.0023564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2761-16_0_3_line_29 |  | 25 | 30 | 0.030852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2761-16_0_3_line_30 |  | 26 | 27 | 0.011534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2761-16_0_3_line_31 |  | 27 | 28 | 0.038985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2761-16_0_3_line_32 |  | 28 | 31 | 0.024741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2761-16_0_3_line_33 |  | 29 | 34 | 0.0165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2761-16_0_3_line_34 |  | 30 | 59 | 0.023053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2761-16_0_3_line_35 |  | 30 | 54 | 0.010083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2761-16_0_3_line_36 |  | 31 | 32 | 0.028822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2761-16_0_3_line_37 |  | 32 | 33 | 0.024531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2761-16_0_3_line_38 |  | 34 | 35 | 0.031167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2761-16_0_3_line_39 |  | 34 | 36 | 0.012185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2761-16_0_3_line_40 |  | 35 | 38 | 0.051753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2761-16_0_3_line_41 |  | 35 | 39 | 0.041984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2761-16_0_3_line_42 |  | 36 | 37 | 0.02092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2761-16_0_3_line_43 |  | 38 | 41 | 0.004287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2761-16_0_3_line_44 |  | 38 | 42 | 0.020925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2761-16_0_3_line_45 |  | 39 | 40 | 0.0013512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2761-16_0_3_line_46 |  | 41 | 43 | 0.016851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2761-16_0_3_line_47 |  | 42 | 44 | 0.0081393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2761-16_0_3_line_48 |  | 44 | 45 | 0.013302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2761-16_0_3_line_49 |  | 46 | 47 | 0.022086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2761-16_0_3_line_50 |  | 47 | 48 | 0.043193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2761-16_0_3_line_51 |  | 48 | 49 | 0.024008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2761-16_0_3_line_52 |  | 49 | 50 | 0.0080012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2761-16_0_3_line_53 |  | 49 | 51 | 0.017921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2761-16_0_3_line_54 |  | 50 | 52 | 0.016191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2761-16_0_3_line_55 |  | 52 | 78 | 0.016786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2761-16_0_3_line_56 |  | 53 | 54 | 0.0042615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2761-16_0_3_line_57 |  | 53 | 55 | 0.032418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2761-16_0_3_line_58 |  | 54 | 56 | 0.01045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2761-16_0_3_line_59 |  | 55 | 57 | 0.014819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2761-16_0_3_line_60 |  | 55 | 58 | 0.029547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2761-16_0_3_line_61 |  | 56 | 60 | 0.017278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2761-16_0_3_line_62 |  | 57 | 61 | 0.019816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2761-16_0_3_line_63 |  | 60 | 65 | 0.013966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2761-16_0_3_line_64 |  | 61 | 73 | 0.030094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2761-16_0_3_line_65 |  | 61 | 78 | 0.024638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2761-16_0_3_line_66 |  | 63 | 64 | 0.018173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2761-16_0_3_line_67 |  | 64 | 66 | 0.01643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2761-16_0_3_line_68 |  | 64 | 67 | 0.025268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2761-16_0_3_line_69 |  | 66 | 68 | 0.017444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2761-16_0_3_line_70 |  | 68 | 69 | 0.010174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2761-16_0_3_line_71 |  | 69 | 70 | 0.014073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2761-16_0_3_line_72 |  | 71 | 72 | 0.010202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2761-16_0_3_line_73 |  | 71 | 73 | 0.031184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2761-16_0_3_line_74 |  | 72 | 74 | 0.0082011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2761-16_0_3_line_75 |  | 74 | 75 | 0.017503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2761-16_0_3_line_76 |  | 75 | 76 | 0.016023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2761-16_0_3_line_77 |  | 76 | 77 | 0.016451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2761-16_0_3_trafo_24 | 0.63 MVA 20/0.4 kV | 79 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2611671.6353 | 1258298.6278 | 2611670.0333 | 1258282.5584
1 | 2611674.0465 | 1258322.8154 | 2611671.6353 | 1258298.6278
2 | 2611669.5444 | 1258277.654 | 2611670.0333 | 1258282.5584
3 | 2611672.6255 | 1258363.162 | 2611674.0465 | 1258322.8154
4 | 2611674.0465 | 1258322.8154 | 2611694.04 | 1258320.182
5 | 2611669.5444 | 1258277.654 | 2611668.304 | 1258265.2202
6 | 2611672.6255 | 1258363.162 | 2611694.973 | 1258360.2834
7 | 2611694.04 | 1258320.182 | 2611714.8616 | 1258317.4396
8 | 2611668.304 | 1258265.2202 | 2611665.9001 | 1258241.1224
9 | 2611702.6211 | 1258359.2982 | 2611694.973 | 1258360.2834
10 | 2611632.371 | 1258261.4524 | 2611630.1591 | 1258239.6484
11 | 2611630.1591 | 1258239.6484 | 2611626.8243 | 1258206.7763
12 | 2611626.8243 | 1258206.7763 | 2611623.4472 | 1258173.4866
13 | 2611620.8813 | 1258148.1941 | 2611623.4472 | 1258173.4866
14 | 2611663.5326 | 1258217.3883 | 2611665.9001 | 1258241.1224
15 | 2611620.8813 | 1258148.1941 | 2611599.0244 | 1258153.5661
16 | 2611620.8813 | 1258148.1941 | 2611634.0481 | 1258144.9454
17 | 2611585.2903 | 1258156.9417 | 2611599.0244 | 1258153.5661
18 | 2611655.7784 | 1258139.7233 | 2611643.1909 | 1258142.6896 | 2611634.0481 | 1258144.9454
19 | 2611662.4767 | 1258206.8037 | 2611663.5326 | 1258217.3883
20 | 2611662.4767 | 1258206.8037 | 2611659.6093 | 1258178.0885
21 | 2611662.4767 | 1258206.8037 | 2611686.2149 | 1258204.2739
22 | 2611659.6093 | 1258178.0885 | 2611659.4207 | 1258176.1996
23 | 2611699.1062 | 1258202.9001 | 2611686.2149 | 1258204.2739
24 | 2611655.7784 | 1258139.7233 | 2611659.4207 | 1258176.1996
25 | 2611709.1613 | 1258201.8285 | 2611699.1062 | 1258202.9001
26 | 2611655.7784 | 1258139.7233 | 2611655.771 | 1258131.9626 | 2611651.1659 | 1258104.7419
27 | 2611655.7784 | 1258139.7233 | 2611677.8739 | 1258135.1547
28 | 2611651.1659 | 1258104.7419 | 2611650.7729 | 1258102.4185
29 | 2611708.0865 | 1258128.9076 | 2611677.8739 | 1258135.1547
30 | 2611585.2903 | 1258156.9417 | 2611574.0602 | 1258159.7106
31 | 2611574.0602 | 1258159.7106 | 2611572.9083 | 1258151.1582 | 2611567.6193 | 1258121.2671
32 | 2611563.3086 | 1258096.905 | 2611567.6193 | 1258121.2671
33 | 2611648.0207 | 1258086.15 | 2611650.7729 | 1258102.4185
34 | 2611708.0865 | 1258128.9076 | 2611704.3453 | 1258106.1599
35 | 2611708.0865 | 1258128.9076 | 2611717.9886 | 1258126.8591
36 | 2611563.3086 | 1258096.905 | 2611558.2868 | 1258068.5236
37 | 2611558.2868 | 1258068.5236 | 2611554.0126 | 1258044.3681
38 | 2611642.8265 | 1258055.4192 | 2611648.0207 | 1258086.15
39 | 2611648.0207 | 1258086.15 | 2611636.2663 | 1258089.36
40 | 2611642.8265 | 1258055.4192 | 2611634.1966 | 1258004.3903
41 | 2611642.8265 | 1258055.4192 | 2611621.8117 | 1258061.7268 | 2611619.9866 | 1258062.1235 | 2611618.268 | 1258062.0201 | 2611616.9574 | 1258061.4171 | 2611615.8509 | 1258060.6033 | 2611612.2069 | 1258047.4613
42 | 2611616.0855 | 1258094.8712 | 2611636.2663 | 1258089.36
43 | 2611633.4812 | 1258000.1638 | 2611634.1966 | 1258004.3903
44 | 2611634.1966 | 1258004.3903 | 2611614.49 | 1258011.4249
45 | 2611612.2069 | 1258047.4613 | 2611611.8458 | 1258046.1592
46 | 2611633.4812 | 1258000.1638 | 2611649.859 | 1257996.1984
47 | 2611606.8244 | 1258014.1612 | 2611614.49 | 1258011.4249
48 | 2611594.297 | 1258018.6331 | 2611606.8244 | 1258014.1612
49 | 2611689.5431 | 1257997.861 | 2611711.1877 | 1257993.4673
50 | 2611725.0666 | 1258027.7621 | 2611720.8676 | 1258004.7717 | 2611713.3877 | 1258005.5686 | 2611711.1877 | 1257993.4673
51 | 2611745.2081 | 1258020.9639 | 2611732.5619 | 1258022.9403 | 2611732.5548 | 1258026.5649 | 2611725.0666 | 1258027.7621 | 2611725.0666 | 1258027.7621
52 | 2611745.2081 | 1258020.9639 | 2611746.821 | 1258028.8008
53 | 2611745.2081 | 1258020.9639 | 2611741.5956 | 1258003.4107
54 | 2611748.2444 | 1258044.9198 | 2611747.0898 | 1258030.1071 | 2611746.821 | 1258028.8008
55 | 2611748.2444 | 1258044.9198 | 2611749.5489 | 1258061.6548
56 | 2611717.9886 | 1258126.8591 | 2611722.1905 | 1258126.1491
57 | 2611754.1552 | 1258120.7485 | 2611722.1905 | 1258126.1491
58 | 2611717.9886 | 1258126.8591 | 2611720.3069 | 1258137.0487
59 | 2611754.1552 | 1258120.7485 | 2611753.0036 | 1258105.9747
60 | 2611754.1552 | 1258120.7485 | 2611783.6383 | 1258118.8044
61 | 2611723.8507 | 1258153.9456 | 2611723.5565 | 1258151.3309 | 2611720.3069 | 1258137.0487
62 | 2611753.0036 | 1258105.9747 | 2611751.4636 | 1258086.2187
63 | 2611723.8507 | 1258153.9456 | 2611725.4121 | 1258167.8243
64 | 2611751.4636 | 1258086.2187 | 2611781.337 | 1258082.582
65 | 2611749.5489 | 1258061.6548 | 2611751.4636 | 1258086.2187
66 | 2611734.2874 | 1258199.1508 | 2611752.2974 | 1258196.7189
67 | 2611734.2874 | 1258199.1508 | 2611736.26 | 1258215.462
68 | 2611734.2874 | 1258199.1508 | 2611709.1613 | 1258201.8285
69 | 2611738.3544 | 1258232.7796 | 2611736.26 | 1258215.462
70 | 2611739.5759 | 1258242.8795 | 2611738.3544 | 1258232.7796
71 | 2611739.5759 | 1258242.8795 | 2611741.2169 | 1258256.8568
72 | 2611811.6467 | 1258075.2496 | 2611811.0754 | 1258065.0636
73 | 2611781.337 | 1258082.582 | 2611811.6467 | 1258075.2496
74 | 2611810.6161 | 1258056.8754 | 2611811.0754 | 1258065.0636
75 | 2611809.636 | 1258039.3998 | 2611810.6161 | 1258056.8754
76 | 2611808.7388 | 1258023.4024 | 2611809.636 | 1258039.3998
77 | 2611808.7388 | 1258023.4024 | 2611824.9325 | 1258020.5048

## bus_geodata
| x | y | coords
0 | 2611671.6353 | 1258298.6278
1 | 2611670.0333 | 1258282.5584
2 | 2611674.0465 | 1258322.8154
3 | 2611669.5444 | 1258277.654
4 | 2611672.6255 | 1258363.162
5 | 2611694.04 | 1258320.182
6 | 2611668.304 | 1258265.2202
7 | 2611694.973 | 1258360.2834
8 | 2611714.8616 | 1258317.4396
9 | 2611632.371 | 1258261.4524
10 | 2611630.1591 | 1258239.6484
11 | 2611626.8243 | 1258206.7763
12 | 2611623.4472 | 1258173.4866
13 | 2611665.9001 | 1258241.1224
14 | 2611620.8813 | 1258148.1941
15 | 2611599.0244 | 1258153.5661
16 | 2611634.0481 | 1258144.9454
17 | 2611663.5326 | 1258217.3883
18 | 2611662.4767 | 1258206.8037
19 | 2611659.6093 | 1258178.0885
20 | 2611686.2149 | 1258204.2739
21 | 2611659.4207 | 1258176.1996
22 | 2611699.1062 | 1258202.9001
23 | 2611655.7784 | 1258139.7233
24 | 2611651.1659 | 1258104.7419
25 | 2611677.8739 | 1258135.1547
26 | 2611585.2903 | 1258156.9417
27 | 2611574.0602 | 1258159.7106
28 | 2611567.6193 | 1258121.2671
29 | 2611650.7729 | 1258102.4185
30 | 2611708.0865 | 1258128.9076
31 | 2611563.3086 | 1258096.905
32 | 2611558.2868 | 1258068.5236
33 | 2611554.0126 | 1258044.3681
34 | 2611648.0207 | 1258086.15
35 | 2611642.8265 | 1258055.4192
36 | 2611636.2663 | 1258089.36
37 | 2611616.0855 | 1258094.8712
38 | 2611634.1966 | 1258004.3903
39 | 2611612.2069 | 1258047.4613
40 | 2611611.8458 | 1258046.1592
41 | 2611633.4812 | 1258000.1638
42 | 2611614.49 | 1258011.4249
43 | 2611649.859 | 1257996.1984
44 | 2611606.8244 | 1258014.1612
45 | 2611594.297 | 1258018.6331
46 | 2611689.5431 | 1257997.861
47 | 2611711.1877 | 1257993.4673
48 | 2611725.0666 | 1258027.7621
49 | 2611745.2081 | 1258020.9639
50 | 2611746.821 | 1258028.8008
51 | 2611741.5956 | 1258003.4107
52 | 2611748.2444 | 1258044.9198
53 | 2611722.1905 | 1258126.1491
54 | 2611717.9886 | 1258126.8591
55 | 2611754.1552 | 1258120.7485
56 | 2611720.3069 | 1258137.0487
57 | 2611753.0036 | 1258105.9747
58 | 2611783.6383 | 1258118.8044
59 | 2611704.3453 | 1258106.1599
60 | 2611723.8507 | 1258153.9456
61 | 2611751.4636 | 1258086.2187
62 | 2611702.6211 | 1258359.2982
63 | 2611752.2974 | 1258196.7189
64 | 2611734.2874 | 1258199.1508
65 | 2611725.4121 | 1258167.8243
66 | 2611736.26 | 1258215.462
67 | 2611709.1613 | 1258201.8285
68 | 2611738.3544 | 1258232.7796
69 | 2611739.5759 | 1258242.8795
70 | 2611741.2169 | 1258256.8568
71 | 2611811.6467 | 1258075.2496
72 | 2611811.0754 | 1258065.0636
73 | 2611781.337 | 1258082.582
74 | 2611810.6161 | 1258056.8754
75 | 2611809.636 | 1258039.3998
76 | 2611808.7388 | 1258023.4024
77 | 2611824.9325 | 1258020.5048
78 | 2611749.5489 | 1258061.6548
79 | 2611655.7784 | 1258139.7233

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1