## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2761-17_1_3_node_40 | 0.4 | n |  | TRUE
1 | bus_LV_2761-17_1_3_node_41 | 0.4 | n |  | TRUE
2 | bus_LV_2761-17_1_3_node_42 | 0.4 | n |  | TRUE
3 | bus_LV_2761-17_1_3_node_43 | 0.4 | n |  | TRUE
4 | bus_LV_2761-17_1_3_node_44 | 0.4 | n |  | TRUE
5 | bus_LV_2761-17_1_3_node_47 | 0.4 | n |  | TRUE
6 | bus_LV_2761-17_1_3_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_2761-17_1_3_node_46 | 0.4 | n |  | TRUE
8 | bus_LV_2761-17_1_3_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_2761-17_1_3_node_84 | 0.4 | n |  | TRUE
10 | bus_LV_2761-17_1_3_node_82 | 0.4 | n |  | TRUE
11 | bus_LV_2761-17_1_3_node_81 | 0.4 | n |  | TRUE
12 | bus_LV_2761-17_1_3_node_85 | 0.4 | n |  | TRUE
13 | bus_LV_2761-17_1_3_node_83 | 0.4 | n |  | TRUE
14 | bus_LV_2761-17_1_3_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_2761-17_1_3_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_2761-17_1_3_node_88 | 0.4 | n |  | TRUE
17 | bus_LV_2761-17_1_3_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_2761-17_1_3_node_89 | 0.4 | n |  | TRUE
19 | bus_LV_2761-17_1_3_node_87 | 0.4 | n |  | TRUE
20 | bus_LV_2761-17_1_3_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_2761-17_1_3_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_2761-17_1_3_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_2761-17_1_3_node_60 | 0.4 | n |  | TRUE
24 | bus_LV_2761-17_1_3_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_2761-17_1_3_node_142 | 0.4 | n |  | TRUE
26 | bus_LV_2761-17_1_3_node_140 | 0.4 | n |  | TRUE
27 | bus_LV_2761-17_1_3_node_104 | 0.4 | n |  | TRUE
28 | bus_LV_2761-17_1_3_node_105 | 0.4 | n |  | TRUE
29 | bus_LV_2761-17_1_3_node_103 | 0.4 | n |  | TRUE
30 | bus_LV_2761-17_1_3_node_86 | 0.4 | n |  | TRUE
31 | bus_LV_2761-17_1_3_node_93 | 0.4 | n |  | TRUE
32 | bus_LV_2761-17_1_3_node_90 | 0.4 | n |  | TRUE
33 | bus_LV_2761-17_1_3_node_116 | 0.4 | n |  | TRUE
34 | bus_LV_2761-17_1_3_node_91 | 0.4 | n |  | TRUE
35 | bus_LV_2761-17_1_3_node_92 | 0.4 | n |  | TRUE
36 | bus_LV_2761-17_1_3_node_94 | 0.4 | n |  | TRUE
37 | bus_LV_2761-17_1_3_node_95 | 0.4 | n |  | TRUE
38 | bus_LV_2761-17_1_3_node_117 | 0.4 | n |  | TRUE
39 | bus_LV_2761-17_1_3_node_96 | 0.4 | n |  | TRUE
40 | bus_LV_2761-17_1_3_node_97 | 0.4 | n |  | TRUE
41 | bus_LV_2761-17_1_3_node_101 | 0.4 | n |  | TRUE
42 | bus_LV_2761-17_1_3_node_108 | 0.4 | n |  | TRUE
43 | bus_LV_2761-17_1_3_node_110 | 0.4 | n |  | TRUE
44 | bus_LV_2761-17_1_3_node_107 | 0.4 | n |  | TRUE
45 | bus_LV_2761-17_1_3_node_98 | 0.4 | n |  | TRUE
46 | bus_LV_2761-17_1_3_node_99 | 0.4 | n |  | TRUE
47 | bus_LV_2761-17_1_3_node_100 | 0.4 | n |  | TRUE
48 | bus_LV_2761-17_1_3_node_102 | 0.4 | n |  | TRUE
49 | bus_LV_2761-17_1_3_node_106 | 0.4 | n |  | TRUE
50 | bus_LV_2761-17_1_3_node_109 | 0.4 | n |  | TRUE
51 | bus_LV_2761-17_1_3_node_115 | 0.4 | n |  | TRUE
52 | bus_LV_2761-17_1_3_node_114 | 0.4 | n |  | TRUE
53 | bus_LV_2761-17_1_3_node_129 | 0.4 | n |  | TRUE
54 | bus_LV_2761-17_1_3_node_113 | 0.4 | n |  | TRUE
55 | bus_LV_2761-17_1_3_node_111 | 0.4 | n |  | TRUE
56 | bus_LV_2761-17_1_3_node_112 | 0.4 | n |  | TRUE
57 | bus_LV_2761-17_1_3_node_131 | 0.4 | n |  | TRUE
58 | bus_LV_2761-17_1_3_node_127 | 0.4 | n |  | TRUE
59 | bus_LV_2761-17_1_3_node_118 | 0.4 | n |  | TRUE
60 | bus_LV_2761-17_1_3_node_119 | 0.4 | n |  | TRUE
61 | bus_LV_2761-17_1_3_node_120 | 0.4 | n |  | TRUE
62 | bus_LV_2761-17_1_3_node_121 | 0.4 | n |  | TRUE
63 | bus_LV_2761-17_1_3_node_122 | 0.4 | n |  | TRUE
64 | bus_LV_2761-17_1_3_node_123 | 0.4 | n |  | TRUE
65 | bus_LV_2761-17_1_3_node_124 | 0.4 | n |  | TRUE
66 | bus_LV_2761-17_1_3_node_125 | 0.4 | n |  | TRUE
67 | bus_LV_2761-17_1_3_node_126 | 0.4 | n |  | TRUE
68 | bus_LV_2761-17_1_3_node_135 | 0.4 | n |  | TRUE
69 | bus_LV_2761-17_1_3_node_136 | 0.4 | n |  | TRUE
70 | bus_LV_2761-17_1_3_node_128 | 0.4 | n |  | TRUE
71 | bus_LV_2761-17_1_3_node_130 | 0.4 | n |  | TRUE
72 | bus_LV_2761-17_1_3_node_132 | 0.4 | n |  | TRUE
73 | bus_LV_2761-17_1_3_node_246 | 0.4 | n |  | TRUE
74 | bus_LV_2761-17_1_3_node_134 | 0.4 | n |  | TRUE
75 | bus_LV_2761-17_1_3_node_244 | 0.4 | n |  | TRUE
76 | bus_LV_2761-17_1_3_node_133 | 0.4 | n |  | TRUE
77 | bus_LV_2761-17_1_3_node_137 | 0.4 | n |  | TRUE
78 | bus_LV_2761-17_1_3_node_226 | 0.4 | n |  | TRUE
79 | bus_LV_2761-17_1_3_node_227 | 0.4 | n |  | TRUE
80 | bus_LV_2761-17_1_3_node_225 | 0.4 | n |  | TRUE
81 | bus_LV_2761-17_1_3_node_138 | 0.4 | n |  | TRUE
82 | bus_LV_2761-17_1_3_node_139 | 0.4 | n |  | TRUE
83 | bus_LV_2761-17_1_3_node_147 | 0.4 | n |  | TRUE
84 | bus_LV_2761-17_1_3_node_186 | 0.4 | n |  | TRUE
85 | bus_LV_2761-17_1_3_node_141 | 0.4 | n |  | TRUE
86 | bus_LV_2761-17_1_3_node_143 | 0.4 | n |  | TRUE
87 | bus_LV_2761-17_1_3_node_144 | 0.4 | n |  | TRUE
88 | bus_LV_2761-17_1_3_node_145 | 0.4 | n |  | TRUE
89 | bus_LV_2761-17_1_3_node_146 | 0.4 | n |  | TRUE
90 | bus_LV_2761-17_1_3_node_165 | 0.4 | n |  | TRUE
91 | bus_LV_2761-17_1_3_node_179 | 0.4 | n |  | TRUE
92 | bus_LV_2761-17_1_3_node_185 | 0.4 | n |  | TRUE
93 | bus_LV_2761-17_1_3_node_172 | 0.4 | n |  | TRUE
94 | bus_LV_2761-17_1_3_node_173 | 0.4 | n |  | TRUE
95 | bus_LV_2761-17_1_3_node_176 | 0.4 | n |  | TRUE
96 | bus_LV_2761-17_1_3_node_177 | 0.4 | n |  | TRUE
97 | bus_LV_2761-17_1_3_node_175 | 0.4 | n |  | TRUE
98 | bus_LV_2761-17_1_3_node_174 | 0.4 | n |  | TRUE
99 | bus_LV_2761-17_1_3_node_178 | 0.4 | n |  | TRUE
100 | bus_LV_2761-17_1_3_node_180 | 0.4 | n |  | TRUE
101 | bus_LV_2761-17_1_3_node_184 | 0.4 | n |  | TRUE
102 | bus_LV_2761-17_1_3_node_181 | 0.4 | n |  | TRUE
103 | bus_LV_2761-17_1_3_node_191 | 0.4 | n |  | TRUE
104 | bus_LV_2761-17_1_3_node_284 | 0.4 | n |  | TRUE
105 | bus_LV_2761-17_1_3_node_182 | 0.4 | n |  | TRUE
106 | bus_LV_2761-17_1_3_node_183 | 0.4 | n |  | TRUE
107 | bus_LV_2761-17_1_3_node_199 | 0.4 | n |  | TRUE
108 | bus_LV_2761-17_1_3_node_198 | 0.4 | n |  | TRUE
109 | bus_LV_2761-17_1_3_node_189 | 0.4 | n |  | TRUE
110 | bus_LV_2761-17_1_3_node_187 | 0.4 | n |  | TRUE
111 | bus_LV_2761-17_1_3_node_188 | 0.4 | n |  | TRUE
112 | bus_LV_2761-17_1_3_node_190 | 0.4 | n |  | TRUE
113 | bus_LV_2761-17_1_3_node_192 | 0.4 | n |  | TRUE
114 | bus_LV_2761-17_1_3_node_219 | 0.4 | n |  | TRUE
115 | bus_LV_2761-17_1_3_node_193 | 0.4 | n |  | TRUE
116 | bus_LV_2761-17_1_3_node_220 | 0.4 | n |  | TRUE
117 | bus_LV_2761-17_1_3_node_221 | 0.4 | n |  | TRUE
118 | bus_LV_2761-17_1_3_node_194 | 0.4 | n |  | TRUE
119 | bus_LV_2761-17_1_3_node_195 | 0.4 | n |  | TRUE
120 | bus_LV_2761-17_1_3_node_196 | 0.4 | n |  | TRUE
121 | bus_LV_2761-17_1_3_node_197 | 0.4 | n |  | TRUE
122 | bus_LV_2761-17_1_3_node_200 | 0.4 | n |  | TRUE
123 | bus_LV_2761-17_1_3_node_201 | 0.4 | n |  | TRUE
124 | bus_LV_2761-17_1_3_node_202 | 0.4 | n |  | TRUE
125 | bus_LV_2761-17_1_3_node_205 | 0.4 | n |  | TRUE
126 | bus_LV_2761-17_1_3_node_203 | 0.4 | n |  | TRUE
127 | bus_LV_2761-17_1_3_node_222 | 0.4 | n |  | TRUE
128 | bus_LV_2761-17_1_3_node_253 | 0.4 | n |  | TRUE
129 | bus_LV_2761-17_1_3_node_223 | 0.4 | n |  | TRUE
130 | bus_LV_2761-17_1_3_node_224 | 0.4 | n |  | TRUE
131 | bus_LV_2761-17_1_3_node_251 | 0.4 | n |  | TRUE
132 | bus_LV_2761-17_1_3_node_254 | 0.4 | n |  | TRUE
133 | bus_LV_2761-17_1_3_node_255 | 0.4 | n |  | TRUE
134 | bus_LV_2761-17_1_3_node_228 | 0.4 | n |  | TRUE
135 | bus_LV_2761-17_1_3_node_229 | 0.4 | n |  | TRUE
136 | bus_LV_2761-17_1_3_node_230 | 0.4 | n |  | TRUE
137 | bus_LV_2761-17_1_3_node_239 | 0.4 | n |  | TRUE
138 | bus_LV_2761-17_1_3_node_235 | 0.4 | n |  | TRUE
139 | bus_LV_2761-17_1_3_node_240 | 0.4 | n |  | TRUE
140 | bus_LV_2761-17_1_3_node_233 | 0.4 | n |  | TRUE
141 | bus_LV_2761-17_1_3_node_231 | 0.4 | n |  | TRUE
142 | bus_LV_2761-17_1_3_node_232 | 0.4 | n |  | TRUE
143 | bus_LV_2761-17_1_3_node_234 | 0.4 | n |  | TRUE
144 | bus_LV_2761-17_1_3_node_236 | 0.4 | n |  | TRUE
145 | bus_LV_2761-17_1_3_node_237 | 0.4 | n |  | TRUE
146 | bus_LV_2761-17_1_3_node_238 | 0.4 | n |  | TRUE
147 | bus_LV_2761-17_1_3_node_241 | 0.4 | n |  | TRUE
148 | bus_LV_2761-17_1_3_node_243 | 0.4 | n |  | TRUE
149 | bus_LV_2761-17_1_3_node_245 | 0.4 | n |  | TRUE
150 | bus_LV_2761-17_1_3_node_247 | 0.4 | n |  | TRUE
151 | bus_LV_2761-17_1_3_node_248 | 0.4 | n |  | TRUE
152 | bus_LV_2761-17_1_3_node_249 | 0.4 | n |  | TRUE
153 | bus_LV_2761-17_1_3_node_250 | 0.4 | n |  | TRUE
154 | bus_LV_2761-17_1_3_node_256 | 0.4 | n |  | TRUE
155 | bus_LV_2761-17_1_3_node_257 | 0.4 | n |  | TRUE
156 | bus_LV_2761-17_1_3_node_258 | 0.4 | n |  | TRUE
157 | bus_LV_2761-17_1_3_node_259 | 0.4 | n |  | TRUE
158 | bus_LV_2761-17_1_3_node_261 | 0.4 | n |  | TRUE
159 | bus_MV_287_0_node_98 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2761-17_1_3_load_40 | 0 | 0.0012946 | 0.00032446 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2761-17_1_3_load_41 | 1 | 0.003853 | 0.00096564 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2761-17_1_3_load_42 | 2 | 0.0011507 | 0.0002884 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2761-17_1_3_load_43 | 3 | 0.0030595 | 0.00076678 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2761-17_1_3_load_44 | 4 | 0.0014995 | 0.0003758 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2761-17_1_3_load_47 | 5 | 0.0020893 | 0.00052362 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2761-17_1_3_load_45 | 6 | 0.0036532 | 0.00091558 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2761-17_1_3_load_46 | 7 | 0.0050633 | 0.001269 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2761-17_1_3_load_48 | 8 | 0.0011764 | 0.00029484 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2761-17_1_3_load_84 | 9 | 0.0025789 | 0.00064634 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2761-17_1_3_load_82 | 10 | 0.0035852 | 0.00089853 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2761-17_1_3_load_81 | 11 | 0.002804 | 0.00070275 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2761-17_1_3_load_85 | 12 | 0.0027714 | 0.00069457 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2761-17_1_3_load_56 | 15 | 0.0020099 | 0.00050373 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2761-17_1_3_load_53 | 17 | 0.0022398 | 0.00056135 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2761-17_1_3_load_87 | 19 | 0.0010072 | 0.00025242 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2761-17_1_3_load_50 | 20 | 0.0024392 | 0.00061132 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2761-17_1_3_load_51 | 21 | 0.0034412 | 0.00086245 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2761-17_1_3_load_59 | 22 | 0.0022722 | 0.00056946 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2761-17_1_3_load_60 | 23 | 0.002477 | 0.0006208 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2761-17_1_3_load_61 | 24 | 0.0022308 | 0.0005591 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2761-17_1_3_load_142 | 25 | 0.0016632 | 0.00041683 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2761-17_1_3_load_140 | 26 | 0.0046976 | 0.0011773 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2761-17_1_3_load_104 | 27 | 0.0021545 | 0.00053996 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2761-17_1_3_load_105 | 28 | 0.00201 | 0.00050376 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2761-17_1_3_load_103 | 29 | 0.0019679 | 0.0004932 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2761-17_1_3_load_93 | 31 | 0.002061 | 0.00051655 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2761-17_1_3_load_90 | 32 | 0.0011454 | 0.00028706 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2761-17_1_3_load_116 | 33 | 0.0016032 | 0.00040179 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2761-17_1_3_load_91 | 34 | 0.0015156 | 0.00037985 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2761-17_1_3_load_92 | 35 | 0.0018671 | 0.00046794 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2761-17_1_3_load_94 | 36 | 0.0019084 | 0.00047829 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2761-17_1_3_load_117 | 38 | 0.0018075 | 0.00045299 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2761-17_1_3_load_96 | 39 | 0.002833 | 0.00071002 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2761-17_1_3_load_97 | 40 | 0.0014233 | 0.00035672 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2761-17_1_3_load_101 | 41 | 0.0036309 | 0.00091 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2761-17_1_3_load_107 | 44 | 0.0016859 | 0.00042252 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2761-17_1_3_load_98 | 45 | 0.002077 | 0.00052055 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2761-17_1_3_load_99 | 46 | 0.0033072 | 0.00082887 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2761-17_1_3_load_102 | 48 | 0.0019721 | 0.00049425 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2761-17_1_3_load_106 | 49 | 0.0020664 | 0.00051788 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2761-17_1_3_load_109 | 50 | 0.0027985 | 0.00070137 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2761-17_1_3_load_115 | 51 | 0.0021052 | 0.00052762 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2761-17_1_3_load_114 | 52 | 0.0014221 | 0.00035641 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2761-17_1_3_load_113 | 54 | 0.0017203 | 0.00043115 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2761-17_1_3_load_111 | 55 | 0.001327 | 0.00033258 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2761-17_1_3_load_112 | 56 | 0.0012758 | 0.00031974 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2761-17_1_3_load_131 | 57 | 0.0025826 | 0.00064725 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2761-17_1_3_load_127 | 58 | 0.0033699 | 0.00084459 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2761-17_1_3_load_118 | 59 | 0.0033243 | 0.00083315 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2761-17_1_3_load_119 | 60 | 0.0020569 | 0.00051551 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2761-17_1_3_load_120 | 61 | 0.0023854 | 0.00059783 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2761-17_1_3_load_121 | 62 | 0.0034273 | 0.00085896 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2761-17_1_3_load_122 | 63 | 0.0016393 | 0.00041084 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2761-17_1_3_load_123 | 64 | 0.0016007 | 0.00040118 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2761-17_1_3_load_124 | 65 | 0.0033249 | 0.00083331 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2761-17_1_3_load_125 | 66 | 0.0017963 | 0.00045019 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2761-17_1_3_load_126 | 67 | 0.001504 | 0.00037694 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2761-17_1_3_load_135 | 68 | 0.003422 | 0.00085764 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2761-17_1_3_load_128 | 70 | 0.0033965 | 0.00085126 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2761-17_1_3_load_130 | 71 | 0.0016396 | 0.00041092 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2761-17_1_3_load_246 | 73 | 0.0014243 | 0.00035697 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2761-17_1_3_load_134 | 74 | 0.001827 | 0.0004579 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2761-17_1_3_load_244 | 75 | 0.0013384 | 0.00033542 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2761-17_1_3_load_133 | 76 | 0.0034741 | 0.0008707 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2761-17_1_3_load_137 | 77 | 0.002225 | 0.00055765 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2761-17_1_3_load_227 | 79 | 0.0016458 | 0.00041247 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2761-17_1_3_load_225 | 80 | 0.0040565 | 0.0010167 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2761-17_1_3_load_138 | 81 | 0.0017582 | 0.00044064 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2761-17_1_3_load_139 | 82 | 0.0021867 | 0.00054804 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2761-17_1_3_load_147 | 83 | 0.005223 | 0.001309 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2761-17_1_3_load_186 | 84 | 0.0017241 | 0.0004321 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2761-17_1_3_load_141 | 85 | 0.0019559 | 0.0004902 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2761-17_1_3_load_143 | 86 | 0.0013203 | 0.00033089 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2761-17_1_3_load_144 | 87 | 0.0021915 | 0.00054925 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2761-17_1_3_load_145 | 88 | 0.0017587 | 0.00044078 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2761-17_1_3_load_146 | 89 | 0.0019618 | 0.00049166 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2761-17_1_3_load_165 | 90 | 0.0016324 | 0.00040911 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2761-17_1_3_load_179 | 91 | 0.001781 | 0.00044637 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2761-17_1_3_load_185 | 92 | 0.004223 | 0.0010584 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2761-17_1_3_load_172 | 93 | 0.0027507 | 0.00068939 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2761-17_1_3_load_173 | 94 | 0.0013151 | 0.0003296 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2761-17_1_3_load_177 | 96 | 0.0017424 | 0.00043668 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2761-17_1_3_load_175 | 97 | 0.0011946 | 0.00029939 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2761-17_1_3_load_174 | 98 | 0.001711 | 0.00042882 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2761-17_1_3_load_180 | 100 | 0.0021346 | 0.00053499 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2761-17_1_3_load_184 | 101 | 0.0032349 | 0.00081074 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2761-17_1_3_load_181 | 102 | 0.0011998 | 0.00030071 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2761-17_1_3_load_191 | 103 | 0.0032683 | 0.00081912 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2761-17_1_3_load_284 | 104 | 0.0025474 | 0.00063844 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2761-17_1_3_load_182 | 105 | 0.0012864 | 0.00032241 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2761-17_1_3_load_183 | 106 | 0.001132 | 0.00028372 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2761-17_1_3_load_199 | 107 | 0.0010951 | 0.00027445 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2761-17_1_3_load_187 | 110 | 0.0022347 | 0.00056007 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2761-17_1_3_load_188 | 111 | 0.0019849 | 0.00049746 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2761-17_1_3_load_190 | 112 | 0.0024693 | 0.00061886 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2761-17_1_3_load_192 | 113 | 0.0032283 | 0.00080908 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2761-17_1_3_load_193 | 115 | 0.0041503 | 0.0010402 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2761-17_1_3_load_220 | 116 | 0.0024712 | 0.00061935 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2761-17_1_3_load_221 | 117 | 0.0011463 | 0.00028728 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_2761-17_1_3_load_194 | 118 | 0.005215 | 0.001307 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_2761-17_1_3_load_195 | 119 | 0.0024647 | 0.00061771 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_2761-17_1_3_load_196 | 120 | 0.0023056 | 0.00057783 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_2761-17_1_3_load_200 | 122 | 0.0011755 | 0.00029461 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_2761-17_1_3_load_202 | 124 | 0.0025235 | 0.00063246 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_2761-17_1_3_load_205 | 125 | 0.0012227 | 0.00030643 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_2761-17_1_3_load_203 | 126 | 0.0026021 | 0.00065216 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_2761-17_1_3_load_253 | 128 | 0.0026698 | 0.00066912 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_2761-17_1_3_load_223 | 129 | 0.0017074 | 0.00042791 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_2761-17_1_3_load_224 | 130 | 0.0015956 | 0.00039989 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_2761-17_1_3_load_251 | 131 | 0.00093431 | 0.00023416 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_2761-17_1_3_load_254 | 132 | 0.0011878 | 0.00029769 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_2761-17_1_3_load_255 | 133 | 0.0015064 | 0.00037754 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_2761-17_1_3_load_228 | 134 | 0.0017854 | 0.00044747 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_2761-17_1_3_load_229 | 135 | 0.0015207 | 0.00038111 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_2761-17_1_3_load_239 | 137 | 0.002449 | 0.00061377 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_2761-17_1_3_load_235 | 138 | 0.0027129 | 0.00067991 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_2761-17_1_3_load_240 | 139 | 0.002286 | 0.00057293 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_2761-17_1_3_load_231 | 141 | 0.0014233 | 0.00035671 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_2761-17_1_3_load_232 | 142 | 0.0020167 | 0.00050543 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_2761-17_1_3_load_234 | 143 | 0.0022961 | 0.00057545 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_2761-17_1_3_load_236 | 144 | 0.0017223 | 0.00043166 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_2761-17_1_3_load_237 | 145 | 0.0025846 | 0.00064776 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_2761-17_1_3_load_238 | 146 | 0.0013098 | 0.00032825 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_2761-17_1_3_load_241 | 147 | 0.002049 | 0.00051352 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_2761-17_1_3_load_243 | 148 | 0.0026581 | 0.00066619 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_2761-17_1_3_load_245 | 149 | 0.0012532 | 0.00031408 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_2761-17_1_3_load_247 | 150 | 0.0011853 | 0.00029706 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_2761-17_1_3_load_248 | 151 | 0.0010519 | 0.00026364 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_2761-17_1_3_load_249 | 152 | 0.0018252 | 0.00045744 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_2761-17_1_3_load_250 | 153 | 0.0012556 | 0.00031468 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_2761-17_1_3_load_256 | 154 | 0.0015258 | 0.00038241 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_2761-17_1_3_load_258 | 156 | 0.0016677 | 0.00041798 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_2761-17_1_3_load_259 | 157 | 0.0024193 | 0.00060634 | 0 | 0 |  | 1 | TRUE | wye
134 | LV_2761-17_1_3_load_261 | 158 | 0.0016575 | 0.0004154 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2761-17_1_3_line_0 |  | 0 | 1 | 0.0067082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2761-17_1_3_line_1 |  | 0 | 2 | 0.006198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2761-17_1_3_line_2 |  | 1 | 3 | 0.0094603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2761-17_1_3_line_3 |  | 2 | 4 | 0.0052175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2761-17_1_3_line_4 |  | 4 | 5 | 0.02578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2761-17_1_3_line_5 |  | 5 | 8 | 0.0018402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2761-17_1_3_line_6 |  | 6 | 7 | 0.0060939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2761-17_1_3_line_7 |  | 7 | 9 | 0.01237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2761-17_1_3_line_8 |  | 7 | 10 | 0.066267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2761-17_1_3_line_9 |  | 8 | 14 | 0.015747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2761-17_1_3_line_10 |  | 9 | 12 | 0.0064786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2761-17_1_3_line_11 |  | 10 | 13 | 0.040312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2761-17_1_3_line_12 |  | 10 | 11 | 0.020689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2761-17_1_3_line_13 |  | 12 | 30 | 0.021087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2761-17_1_3_line_14 |  | 13 | 27 | 0.055205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2761-17_1_3_line_15 |  | 14 | 15 | 0.0076026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2761-17_1_3_line_16 |  | 14 | 16 | 0.012061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2761-17_1_3_line_17 |  | 15 | 17 | 0.025664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2761-17_1_3_line_18 |  | 16 | 18 | 0.009485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2761-17_1_3_line_19 |  | 16 | 19 | 0.028921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2761-17_1_3_line_20 |  | 17 | 21 | 0.003968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2761-17_1_3_line_21 |  | 18 | 31 | 0.020386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2761-17_1_3_line_22 |  | 18 | 32 | 0.025294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2761-17_1_3_line_23 |  | 19 | 30 | 0.012816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2761-17_1_3_line_24 |  | 20 | 21 | 0.019962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2761-17_1_3_line_25 |  | 22 | 23 | 0.019034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2761-17_1_3_line_26 |  | 23 | 24 | 0.018613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2761-17_1_3_line_27 |  | 24 | 25 | 0.021536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2761-17_1_3_line_28 |  | 25 | 26 | 0.023249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2761-17_1_3_line_29 |  | 26 | 85 | 0.011412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2761-17_1_3_line_30 |  | 27 | 28 | 0.021367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2761-17_1_3_line_31 |  | 27 | 29 | 0.0023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2761-17_1_3_line_32 |  | 28 | 49 | 0.0084741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2761-17_1_3_line_33 |  | 29 | 48 | 0.0076739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2761-17_1_3_line_34 |  | 31 | 33 | 0.0030345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2761-17_1_3_line_35 |  | 32 | 34 | 0.016964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2761-17_1_3_line_36 |  | 33 | 38 | 0.018152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2761-17_1_3_line_37 |  | 34 | 35 | 0.020301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2761-17_1_3_line_38 |  | 35 | 36 | 0.0070395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2761-17_1_3_line_39 |  | 36 | 37 | 0.019471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2761-17_1_3_line_40 |  | 37 | 39 | 0.014314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2761-17_1_3_line_41 |  | 37 | 40 | 0.017791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2761-17_1_3_line_42 |  | 38 | 59 | 0.0072831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2761-17_1_3_line_43 |  | 39 | 41 | 0.022329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2761-17_1_3_line_44 |  | 40 | 42 | 0.0095731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2761-17_1_3_line_45 |  | 42 | 43 | 0.024741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2761-17_1_3_line_46 |  | 42 | 44 | 0.026117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2761-17_1_3_line_47 |  | 43 | 51 | 0.0073138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2761-17_1_3_line_48 |  | 43 | 52 | 0.022583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2761-17_1_3_line_49 |  | 44 | 50 | 0.027692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2761-17_1_3_line_50 |  | 45 | 46 | 0.011108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2761-17_1_3_line_51 |  | 46 | 47 | 0.010161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2761-17_1_3_line_52 |  | 47 | 48 | 0.027816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2761-17_1_3_line_53 |  | 51 | 53 | 0.016758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2761-17_1_3_line_54 |  | 52 | 54 | 0.022195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2761-17_1_3_line_55 |  | 53 | 57 | 0.019462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2761-17_1_3_line_56 |  | 53 | 58 | 0.0097468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2761-17_1_3_line_57 |  | 54 | 55 | 0.01987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2761-17_1_3_line_58 |  | 55 | 56 | 0.016623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2761-17_1_3_line_59 |  | 57 | 73 | 0.015344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2761-17_1_3_line_60 |  | 58 | 70 | 0.014934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2761-17_1_3_line_61 |  | 59 | 60 | 0.013742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2761-17_1_3_line_62 |  | 60 | 61 | 0.00063221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2761-17_1_3_line_63 |  | 61 | 62 | 0.020247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2761-17_1_3_line_64 |  | 62 | 63 | 0.0003447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2761-17_1_3_line_65 |  | 63 | 64 | 0.0064546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2761-17_1_3_line_66 |  | 64 | 65 | 0.01203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2761-17_1_3_line_67 |  | 65 | 66 | 0.0039987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2761-17_1_3_line_68 |  | 66 | 67 | 0.0036493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2761-17_1_3_line_69 |  | 67 | 68 | 0.0096729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_2761-17_1_3_line_70 |  | 68 | 69 | 0.021044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_2761-17_1_3_line_71 |  | 69 | 77 | 0.0076299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_2761-17_1_3_line_72 |  | 69 | 76 | 0.018611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2761-17_1_3_line_73 |  | 70 | 71 | 0.0062062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2761-17_1_3_line_74 |  | 71 | 72 | 0.0055707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2761-17_1_3_line_75 |  | 72 | 74 | 0.02231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2761-17_1_3_line_76 |  | 73 | 75 | 0.016362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2761-17_1_3_line_77 |  | 75 | 148 | 0.015472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2761-17_1_3_line_78 |  | 77 | 81 | 0.016826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_2761-17_1_3_line_79 |  | 78 | 79 | 0.022505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2761-17_1_3_line_80 |  | 78 | 80 | 0.010722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2761-17_1_3_line_81 |  | 79 | 134 | 0.02098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2761-17_1_3_line_82 |  | 80 | 129 | 0.0085809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2761-17_1_3_line_83 |  | 81 | 82 | 0.003642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_2761-17_1_3_line_84 |  | 82 | 83 | 0.010018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_2761-17_1_3_line_85 |  | 83 | 84 | 0.0075456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_2761-17_1_3_line_86 |  | 84 | 92 | 0.018764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
87 | LV_2761-17_1_3_line_87 |  | 85 | 86 | 0.016501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2761-17_1_3_line_88 |  | 86 | 87 | 0.0017464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2761-17_1_3_line_89 |  | 87 | 88 | 0.015716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2761-17_1_3_line_90 |  | 88 | 89 | 0.0072117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2761-17_1_3_line_91 |  | 89 | 90 | 0.0018345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2761-17_1_3_line_92 |  | 90 | 91 | 0.016903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2761-17_1_3_line_93 |  | 91 | 95 | 0.036212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2761-17_1_3_line_94 |  | 92 | 100 | 0.004443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2761-17_1_3_line_95 |  | 93 | 94 | 0.014551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2761-17_1_3_line_96 |  | 94 | 96 | 0.014027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2761-17_1_3_line_97 |  | 95 | 99 | 0.025676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2761-17_1_3_line_98 |  | 95 | 100 | 0.03488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2761-17_1_3_line_99 |  | 95 | 98 | 0.021113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2761-17_1_3_line_100 |  | 96 | 97 | 0.0022612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2761-17_1_3_line_101 |  | 97 | 98 | 0.014716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2761-17_1_3_line_102 |  | 99 | 101 | 0.022351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2761-17_1_3_line_103 |  | 99 | 102 | 0.0024119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2761-17_1_3_line_104 |  | 101 | 103 | 0.02188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2761-17_1_3_line_105 |  | 101 | 104 | 0.017677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2761-17_1_3_line_106 |  | 102 | 105 | 0.019988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2761-17_1_3_line_107 |  | 103 | 109 | 0.020686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2761-17_1_3_line_108 |  | 105 | 106 | 0.01156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2761-17_1_3_line_109 |  | 106 | 107 | 0.018385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2761-17_1_3_line_110 |  | 107 | 108 | 0.0047654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2761-17_1_3_line_111 |  | 108 | 122 | 0.0081601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2761-17_1_3_line_112 |  | 108 | 121 | 0.013211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2761-17_1_3_line_113 |  | 109 | 113 | 0.019864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2761-17_1_3_line_114 |  | 109 | 110 | 0.0018806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2761-17_1_3_line_115 |  | 110 | 111 | 0.01794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_2761-17_1_3_line_116 |  | 111 | 112 | 0.018576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_2761-17_1_3_line_117 |  | 112 | 114 | 0.014458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_2761-17_1_3_line_118 |  | 113 | 115 | 0.0038683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_2761-17_1_3_line_119 |  | 114 | 116 | 0.0027949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_2761-17_1_3_line_120 |  | 114 | 117 | 0.014262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_2761-17_1_3_line_121 |  | 115 | 118 | 0.0092694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_2761-17_1_3_line_122 |  | 116 | 127 | 0.021363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_2761-17_1_3_line_123 |  | 117 | 128 | 0.0026364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_2761-17_1_3_line_124 |  | 119 | 120 | 0.026602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_2761-17_1_3_line_125 |  | 119 | 121 | 0.018311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_2761-17_1_3_line_126 |  | 122 | 123 | 0.038084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_2761-17_1_3_line_127 |  | 123 | 124 | 0.017961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_2761-17_1_3_line_128 |  | 124 | 125 | 0.022415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_2761-17_1_3_line_129 |  | 125 | 126 | 0.011697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_2761-17_1_3_line_130 |  | 127 | 129 | 0.030469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_2761-17_1_3_line_131 |  | 127 | 130 | 0.0090009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_2761-17_1_3_line_132 |  | 128 | 131 | 0.016286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_2761-17_1_3_line_133 |  | 130 | 132 | 0.014494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_2761-17_1_3_line_134 |  | 131 | 152 | 0.00649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_2761-17_1_3_line_135 |  | 132 | 133 | 0.02894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_2761-17_1_3_line_136 |  | 133 | 154 | 0.027445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_2761-17_1_3_line_137 |  | 134 | 135 | 0.0083338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_2761-17_1_3_line_138 |  | 135 | 136 | 0.031237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_2761-17_1_3_line_139 |  | 136 | 137 | 0.012448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_2761-17_1_3_line_140 |  | 136 | 138 | 0.017472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_2761-17_1_3_line_141 |  | 137 | 139 | 0.015868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_2761-17_1_3_line_142 |  | 138 | 140 | 0.0059618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_2761-17_1_3_line_143 |  | 139 | 147 | 0.004175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_2761-17_1_3_line_144 |  | 140 | 143 | 0.016982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_2761-17_1_3_line_145 |  | 140 | 142 | 0.012363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_2761-17_1_3_line_146 |  | 141 | 142 | 0.029996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_2761-17_1_3_line_147 |  | 143 | 144 | 0.0013533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_2761-17_1_3_line_148 |  | 144 | 145 | 0.01723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_2761-17_1_3_line_149 |  | 145 | 146 | 0.021871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_2761-17_1_3_line_150 |  | 148 | 149 | 0.00091061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_2761-17_1_3_line_151 |  | 149 | 150 | 0.01693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_2761-17_1_3_line_152 |  | 151 | 152 | 0.013274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_2761-17_1_3_line_153 |  | 151 | 153 | 0.0069574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_2761-17_1_3_line_154 |  | 154 | 155 | 0.0055463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_2761-17_1_3_line_155 |  | 155 | 156 | 0.0088864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_2761-17_1_3_line_156 |  | 155 | 157 | 0.014346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_2761-17_1_3_line_157 |  | 157 | 158 | 0.016372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2761-17_1_3_trafo_126 | 0.63 MVA 20/0.4 kV | 159 | 67 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2611825.4455 | 1256797.0707 | 2611823.047 | 1256790.8059 | 2611823.047 | 1256790.8059
1 | 2611825.4455 | 1256797.0707 | 2611827.6616 | 1256802.859
2 | 2611823.047 | 1256790.8059 | 2611831.8824 | 1256787.4247
3 | 2611827.6616 | 1256802.859 | 2611829.527 | 1256807.7315
4 | 2611838.7447 | 1256831.8077 | 2611829.527 | 1256807.7315
5 | 2611838.7447 | 1256831.8077 | 2611839.4026 | 1256833.5262
6 | 2611866.9796 | 1256773.9933 | 2611861.2882 | 1256776.1713
7 | 2611866.9796 | 1256773.9933 | 2611866.9796 | 1256773.9933 | 2611871.5928 | 1256785.471
8 | 2611866.9796 | 1256773.9933 | 2611858.3598 | 1256708.2891
9 | 2611845.033 | 1256848.2324 | 2611839.4026 | 1256833.5262
10 | 2611871.5928 | 1256785.471 | 2611874.0089 | 1256791.4822
11 | 2611897.6667 | 1256699.3492 | 2611874.5147 | 1256704.7732 | 2611858.3598 | 1256708.2891
12 | 2611838.1437 | 1256712.6888 | 2611858.3598 | 1256708.2891
13 | 2611881.8729 | 1256811.0477 | 2611874.0089 | 1256791.4822
14 | 2611941.7109 | 1256732.632 | 2611897.6667 | 1256699.3492
15 | 2611845.033 | 1256848.2324 | 2611837.781 | 1256850.5146
16 | 2611856.3966 | 1256844.0967 | 2611845.033 | 1256848.2324
17 | 2611813.301 | 1256858.2185 | 2611837.781 | 1256850.5146
18 | 2611865.6826 | 1256842.0361 | 2611856.3966 | 1256844.0967
19 | 2611856.3966 | 1256844.0967 | 2611868.6798 | 1256828.8444 | 2611874.2405 | 1256821.3433
20 | 2611809.5161 | 1256859.4096 | 2611813.301 | 1256858.2185
21 | 2611865.6826 | 1256842.0361 | 2611875.0562 | 1256860.1395
22 | 2611865.6826 | 1256842.0361 | 2611890.1675 | 1256835.6913
23 | 2611881.8729 | 1256811.0477 | 2611874.2405 | 1256821.3433
24 | 2611809.5161 | 1256859.4096 | 2611790.4749 | 1256865.4019
25 | 2611797.3442 | 1256915.2934 | 2611790.0837 | 1256903.7048 | 2611787.5077 | 1256899.006
26 | 2611807.2262 | 1256931.0665 | 2611797.3442 | 1256915.2934
27 | 2611818.5639 | 1256949.3758 | 2611808.957 | 1256933.829 | 2611807.2262 | 1256931.0665
28 | 2611818.5639 | 1256949.3758 | 2611830.7852 | 1256969.1536
29 | 2611836.784 | 1256978.8615 | 2611830.7852 | 1256969.1536
30 | 2611941.7109 | 1256732.632 | 2611946.0954 | 1256726.9979 | 2611955.8646 | 1256716.6537
31 | 2611941.7109 | 1256732.632 | 2611940.2984 | 1256734.4472
32 | 2611955.8646 | 1256716.6537 | 2611961.6831 | 1256710.4928
33 | 2611935.5854 | 1256740.5033 | 2611940.2984 | 1256734.4472
34 | 2611876.4515 | 1256862.8343 | 2611875.0562 | 1256860.1395
35 | 2611890.1675 | 1256835.6913 | 2611906.5888 | 1256831.4361
36 | 2611876.4515 | 1256862.8343 | 2611884.7977 | 1256878.9537
37 | 2611926.2407 | 1256826.3437 | 2611906.5888 | 1256831.4361
38 | 2611926.2407 | 1256826.3437 | 2611933.0551 | 1256824.5779
39 | 2611951.9036 | 1256819.6937 | 2611933.0551 | 1256824.5779
40 | 2611951.9036 | 1256819.6937 | 2611963.6281 | 1256811.4825
41 | 2611951.9036 | 1256819.6937 | 2611957.5157 | 1256836.5768
42 | 2611888.1465 | 1256885.4213 | 2611884.7977 | 1256878.9537
43 | 2611981.9181 | 1256798.6733 | 2611963.6281 | 1256811.4825
44 | 2611958.9839 | 1256845.9143 | 2611958.9712 | 1256840.9554 | 2611957.5157 | 1256836.5768
45 | 2611959.0473 | 1256870.6532 | 2611958.9839 | 1256845.9143
46 | 2611958.9839 | 1256845.9143 | 2611980.0028 | 1256830.4124
47 | 2611959.0473 | 1256870.6532 | 2611959.0074 | 1256877.9668
48 | 2611959.0473 | 1256870.6532 | 2611977.4871 | 1256857.6167
49 | 2612001.7946 | 1256813.3343 | 2611987.2939 | 1256825.0351 | 2611980.0028 | 1256830.4124
50 | 2611925.5733 | 1256782.3988 | 2611924.0841 | 1256780.2894 | 2611921.5374 | 1256772.1525
51 | 2611918.5023 | 1256762.4552 | 2611921.5374 | 1256772.1525
52 | 2611918.5023 | 1256762.4552 | 2611935.5854 | 1256740.5033
53 | 2611958.9159 | 1256894.7245 | 2611959.0074 | 1256877.9668
54 | 2611995.6107 | 1256844.8039 | 2611977.4871 | 1256857.6167
55 | 2611958.9159 | 1256894.7245 | 2611973.7431 | 1256882.1184
56 | 2611958.9159 | 1256894.7245 | 2611958.9064 | 1256904.4713
57 | 2612011.0368 | 1256832.2832 | 2611996.3712 | 1256844.2662 | 2611995.6107 | 1256844.8039
58 | 2612011.0368 | 1256832.2832 | 2612023.9092 | 1256821.7654
59 | 2611985.4335 | 1256872.1793 | 2611973.7431 | 1256882.1184
60 | 2611958.8918 | 1256919.4052 | 2611958.9064 | 1256904.4713
61 | 2611888.1465 | 1256885.4213 | 2611894.4652 | 1256897.6249
62 | 2611894.7559 | 1256898.1863 | 2611894.4652 | 1256897.6249
63 | 2611894.7559 | 1256898.1863 | 2611897.4246 | 1256903.3404 | 2611904.1835 | 1256916.1044
64 | 2611904.3448 | 1256916.4091 | 2611904.1835 | 1256916.1044
65 | 2611904.3448 | 1256916.4091 | 2611907.3654 | 1256922.1133
66 | 2611912.9951 | 1256932.7448 | 2611907.3654 | 1256922.1133
67 | 2611914.8664 | 1256936.2786 | 2611912.9951 | 1256932.7448
68 | 2611914.8664 | 1256936.2786 | 2611916.5741 | 1256939.5037
69 | 2611921.1008 | 1256948.052 | 2611916.5741 | 1256939.5037
70 | 2611930.9488 | 1256966.6498 | 2611921.1008 | 1256948.052
71 | 2611930.9488 | 1256966.6498 | 2611926.3504 | 1256972.7382
72 | 2611930.9488 | 1256966.6498 | 2611942.4632 | 1256952.0287
73 | 2611958.8918 | 1256919.4052 | 2611958.8858 | 1256925.6114
74 | 2611958.8803 | 1256931.1821 | 2611958.8858 | 1256925.6114
75 | 2611958.8803 | 1256931.1821 | 2611966.3654 | 1256939.7585 | 2611971.9124 | 1256949.1728
76 | 2611997.8366 | 1256861.5091 | 2611992.7458 | 1256865.9623 | 2611985.4335 | 1256872.1793
77 | 2612009.4821 | 1256851.3221 | 2611997.8366 | 1256861.5091
78 | 2611926.3504 | 1256972.7382 | 2611921.1888 | 1256979.5722 | 2611917.6687 | 1256987.0471
79 | 2611992.3119 | 1256980.1933 | 2612011.4038 | 1256968.2789
80 | 2611992.3119 | 1256980.1933 | 2611999.6464 | 1256988.0145
81 | 2612011.4038 | 1256968.2789 | 2612029.2028 | 1256957.1714
82 | 2611999.6464 | 1256988.0145 | 2612005.5161 | 1256994.2737 | 2612005.5161 | 1256994.2737
83 | 2611916.117 | 1256990.3421 | 2611917.6687 | 1256987.0471
84 | 2611916.117 | 1256990.3421 | 2611911.849 | 1256999.4051
85 | 2611908.6342 | 1257006.2315 | 2611908.6342 | 1257006.2315 | 2611911.849 | 1256999.4051
86 | 2611908.6342 | 1257006.2315 | 2611903.2036 | 1257024.1922
87 | 2611845.5377 | 1256992.8481 | 2611843.7851 | 1256990.1914 | 2611836.784 | 1256978.8615
88 | 2611845.5377 | 1256992.8481 | 2611846.4993 | 1256994.3059
89 | 2611855.1531 | 1257007.4242 | 2611846.4993 | 1256994.3059
90 | 2611855.1531 | 1257007.4242 | 2611859.1243 | 1257013.4441
91 | 2611860.1345 | 1257014.9754 | 2611859.1243 | 1257013.4441
92 | 2611869.442 | 1257029.0848 | 2611860.1345 | 1257014.9754
93 | 2611887.9877 | 1257060.1596 | 2611877.3043 | 1257041.0033 | 2611869.442 | 1257029.0848
94 | 2611901.9177 | 1257028.445 | 2611903.2036 | 1257024.1922
95 | 2611841.0018 | 1257081.5484 | 2611833.4415 | 1257084.3782 | 2611827.239 | 1257086.2489
96 | 2611854.1385 | 1257076.6314 | 2611841.0018 | 1257081.5484
97 | 2611887.9877 | 1257060.1596 | 2611892.0654 | 1257075.9227 | 2611893.419 | 1257085.2205
98 | 2611887.9877 | 1257060.1596 | 2611896.9758 | 1257044.7895 | 2611901.9177 | 1257028.445
99 | 2611887.9877 | 1257060.1596 | 2611879.8611 | 1257067.0035 | 2611870.0381 | 1257070.6802
100 | 2611854.1385 | 1257076.6314 | 2611856.2562 | 1257075.8387
101 | 2611870.0381 | 1257070.6802 | 2611856.2562 | 1257075.8387
102 | 2611893.419 | 1257085.2205 | 2611914.1477 | 1257076.861
103 | 2611893.419 | 1257085.2205 | 2611893.7491 | 1257087.6098
104 | 2611934.4397 | 1257068.6775 | 2611914.1477 | 1257076.861
105 | 2611914.1477 | 1257076.861 | 2611919.8595 | 1257093.5901
106 | 2611893.7491 | 1257087.6098 | 2611896.4845 | 1257107.4099
107 | 2611953.3352 | 1257060.3351 | 2611948.6703 | 1257062.9385 | 2611934.4397 | 1257068.6775
108 | 2611896.4845 | 1257107.4099 | 2611898.0666 | 1257118.8614
109 | 2611898.0666 | 1257118.8614 | 2611898.8966 | 1257124.8691 | 2611900.389 | 1257137.0987
110 | 2611900.9662 | 1257141.829 | 2611900.389 | 1257137.0987
111 | 2611900.9662 | 1257141.829 | 2611902.0714 | 1257149.9139
112 | 2611900.9662 | 1257141.829 | 2611914.2141 | 1257141.5665
113 | 2611953.3352 | 1257060.3351 | 2611960.5729 | 1257078.834
114 | 2611953.3352 | 1257060.3351 | 2611954.9767 | 1257059.4174
115 | 2611954.9767 | 1257059.4174 | 2611970.6358 | 1257050.6635
116 | 2611970.6358 | 1257050.6635 | 2611986.8506 | 1257041.599
117 | 2611999.4708 | 1257034.544 | 2611986.8506 | 1257041.599
118 | 2611960.5729 | 1257078.834 | 2611961.9824 | 1257082.4364
119 | 2611999.4708 | 1257034.544 | 2612001.8056 | 1257033.0077
120 | 2611999.4708 | 1257034.544 | 2612004.9794 | 1257047.6994
121 | 2611965.3597 | 1257091.0686 | 2611961.9824 | 1257082.4364
122 | 2612019.6517 | 1257021.2647 | 2612001.8056 | 1257033.0077
123 | 2612004.9794 | 1257047.6994 | 2612005.9977 | 1257050.1313
124 | 2611932.513 | 1257141.4032 | 2611942.833 | 1257142.5356 | 2611954.5484 | 1257146.9509 | 2611957.5642 | 1257149.0947
125 | 2611914.2141 | 1257141.5665 | 2611931.066 | 1257141.2444 | 2611932.513 | 1257141.4032
126 | 2611906.7403 | 1257187.7046 | 2611905.3655 | 1257173.9037 | 2611904.9343 | 1257170.8563 | 2611902.0714 | 1257149.9139
127 | 2611906.7403 | 1257187.7046 | 2611895.0415 | 1257190.0828 | 2611889.2915 | 1257191.8741
128 | 2611867.8913 | 1257198.5412 | 2611889.2915 | 1257191.8741
129 | 2611856.7236 | 1257202.0205 | 2611867.8913 | 1257198.5412
130 | 2612019.6517 | 1257021.2647 | 2612005.5161 | 1256994.2737
131 | 2612019.6517 | 1257021.2647 | 2612027.4757 | 1257016.8148
132 | 2612012.288 | 1257065.1534 | 2612005.9977 | 1257050.1313
133 | 2612027.4757 | 1257016.8148 | 2612040.0746 | 1257009.6491
134 | 2612012.288 | 1257065.1534 | 2612014.7947 | 1257071.1398
135 | 2612040.0746 | 1257009.6491 | 2612065.2303 | 1256995.3417
136 | 2612065.2303 | 1256995.3417 | 2612089.0865 | 1256981.7734
137 | 2612029.2028 | 1256957.1714 | 2612034.2946 | 1256953.9938 | 2612036.0844 | 1256952.4993
138 | 2612054.5146 | 1256929.0625 | 2612052.1871 | 1256939.0534 | 2612036.0844 | 1256952.4993
139 | 2612054.5146 | 1256929.0625 | 2612065.5738 | 1256934.7769
140 | 2612054.5146 | 1256929.0625 | 2612045.1617 | 1256914.3041
141 | 2612065.5738 | 1256934.7769 | 2612066.6338 | 1256935.3246 | 2612074.5942 | 1256947.6527
142 | 2612041.9704 | 1256909.2684 | 2612045.1617 | 1256914.3041
143 | 2612074.5942 | 1256947.6527 | 2612076.8589 | 1256951.16
144 | 2612041.9704 | 1256909.2684 | 2612033.272 | 1256894.6835
145 | 2612041.9704 | 1256909.2684 | 2612031.2963 | 1256915.5065
146 | 2612005.3989 | 1256930.6413 | 2612031.2963 | 1256915.5065
147 | 2612032.5788 | 1256893.5213 | 2612033.272 | 1256894.6835
148 | 2612032.5788 | 1256893.5213 | 2612023.7534 | 1256878.7236
149 | 2612028.0858 | 1256860.3818 | 2612021.451 | 1256865.9758 | 2612022.2522 | 1256876.2064 | 2612023.7534 | 1256878.7236
150 | 2612010.1675 | 1256850.7226 | 2612009.4821 | 1256851.3221
151 | 2612010.1675 | 1256850.7226 | 2612022.9103 | 1256839.5758
152 | 2612019.9714 | 1257083.3623 | 2612018.6126 | 1257080.2576 | 2612014.7947 | 1257071.1398
153 | 2612019.9714 | 1257083.3623 | 2612022.7609 | 1257089.736
154 | 2612093.9076 | 1256979.0314 | 2612089.0865 | 1256981.7734
155 | 2612093.9076 | 1256979.0314 | 2612101.5612 | 1256974.5159
156 | 2612093.9076 | 1256979.0314 | 2612101.3064 | 1256991.3227
157 | 2612109.7501 | 1257005.3498 | 2612101.3064 | 1256991.3227

## bus_geodata
| x | y | coords
0 | 2611825.4455 | 1256797.0707
1 | 2611823.047 | 1256790.8059
2 | 2611827.6616 | 1256802.859
3 | 2611831.8824 | 1256787.4247
4 | 2611829.527 | 1256807.7315
5 | 2611838.7447 | 1256831.8077
6 | 2611861.2882 | 1256776.1713
7 | 2611866.9796 | 1256773.9933
8 | 2611839.4026 | 1256833.5262
9 | 2611871.5928 | 1256785.471
10 | 2611858.3598 | 1256708.2891
11 | 2611838.1437 | 1256712.6888
12 | 2611874.0089 | 1256791.4822
13 | 2611897.6667 | 1256699.3492
14 | 2611845.033 | 1256848.2324
15 | 2611837.781 | 1256850.5146
16 | 2611856.3966 | 1256844.0967
17 | 2611813.301 | 1256858.2185
18 | 2611865.6826 | 1256842.0361
19 | 2611874.2405 | 1256821.3433
20 | 2611790.4749 | 1256865.4019
21 | 2611809.5161 | 1256859.4096
22 | 2611787.5077 | 1256899.006
23 | 2611797.3442 | 1256915.2934
24 | 2611807.2262 | 1256931.0665
25 | 2611818.5639 | 1256949.3759
26 | 2611830.7852 | 1256969.1536
27 | 2611941.7109 | 1256732.632
28 | 2611955.8646 | 1256716.6537
29 | 2611940.2984 | 1256734.4472
30 | 2611881.8729 | 1256811.0477
31 | 2611875.0562 | 1256860.1395
32 | 2611890.1675 | 1256835.6913
33 | 2611876.4515 | 1256862.8343
34 | 2611906.5888 | 1256831.4361
35 | 2611926.2407 | 1256826.3437
36 | 2611933.0551 | 1256824.5779
37 | 2611951.9036 | 1256819.6937
38 | 2611884.7977 | 1256878.9537
39 | 2611963.6281 | 1256811.4825
40 | 2611957.5157 | 1256836.5768
41 | 2611981.9181 | 1256798.6733
42 | 2611958.9839 | 1256845.9143
43 | 2611959.0473 | 1256870.6532
44 | 2611980.0028 | 1256830.4124
45 | 2611925.5733 | 1256782.3988
46 | 2611921.5374 | 1256772.1525
47 | 2611918.5023 | 1256762.4552
48 | 2611935.5854 | 1256740.5033
49 | 2611961.6831 | 1256710.4928
50 | 2612001.7946 | 1256813.3343
51 | 2611959.0074 | 1256877.9668
52 | 2611977.4871 | 1256857.6167
53 | 2611958.9159 | 1256894.7245
54 | 2611995.6107 | 1256844.8039
55 | 2612011.0368 | 1256832.2832
56 | 2612023.9092 | 1256821.7654
57 | 2611973.7431 | 1256882.1184
58 | 2611958.9064 | 1256904.4713
59 | 2611888.1465 | 1256885.4213
60 | 2611894.4652 | 1256897.6249
61 | 2611894.7559 | 1256898.1863
62 | 2611904.1835 | 1256916.1044
63 | 2611904.3448 | 1256916.4091
64 | 2611907.3654 | 1256922.1133
65 | 2611912.9951 | 1256932.7448
66 | 2611914.8664 | 1256936.2786
67 | 2611916.5741 | 1256939.5037
68 | 2611921.1008 | 1256948.052
69 | 2611930.9488 | 1256966.6498
70 | 2611958.8918 | 1256919.4052
71 | 2611958.8858 | 1256925.6114
72 | 2611958.8803 | 1256931.1821
73 | 2611985.4335 | 1256872.1793
74 | 2611971.9124 | 1256949.1728
75 | 2611997.8366 | 1256861.5091
76 | 2611942.4632 | 1256952.0287
77 | 2611926.3504 | 1256972.7382
78 | 2611992.3119 | 1256980.1933
79 | 2612011.4038 | 1256968.2789
80 | 2611999.6464 | 1256988.0145
81 | 2611917.6687 | 1256987.0471
82 | 2611916.117 | 1256990.3421
83 | 2611911.849 | 1256999.4051
84 | 2611908.6342 | 1257006.2315
85 | 2611836.784 | 1256978.8615
86 | 2611845.5377 | 1256992.8481
87 | 2611846.4993 | 1256994.3059
88 | 2611855.1531 | 1257007.4242
89 | 2611859.1243 | 1257013.4441
90 | 2611860.1345 | 1257014.9754
91 | 2611869.442 | 1257029.0848
92 | 2611903.2036 | 1257024.1922
93 | 2611827.239 | 1257086.2489
94 | 2611841.0018 | 1257081.5484
95 | 2611887.9877 | 1257060.1596
96 | 2611854.1385 | 1257076.6314
97 | 2611856.2562 | 1257075.8387
98 | 2611870.0381 | 1257070.6802
99 | 2611893.419 | 1257085.2205
100 | 2611901.9177 | 1257028.445
101 | 2611914.1477 | 1257076.861
102 | 2611893.7491 | 1257087.6098
103 | 2611934.4397 | 1257068.6775
104 | 2611919.8595 | 1257093.5901
105 | 2611896.4845 | 1257107.4099
106 | 2611898.0666 | 1257118.8614
107 | 2611900.389 | 1257137.0987
108 | 2611900.9662 | 1257141.829
109 | 2611953.3352 | 1257060.3351
110 | 2611954.9767 | 1257059.4174
111 | 2611970.6358 | 1257050.6635
112 | 2611986.8506 | 1257041.599
113 | 2611960.5729 | 1257078.834
114 | 2611999.4708 | 1257034.544
115 | 2611961.9824 | 1257082.4364
116 | 2612001.8056 | 1257033.0077
117 | 2612004.9794 | 1257047.6994
118 | 2611965.3597 | 1257091.0686
119 | 2611932.513 | 1257141.4032
120 | 2611957.5642 | 1257149.0947
121 | 2611914.2141 | 1257141.5664
122 | 2611902.0714 | 1257149.9139
123 | 2611906.7403 | 1257187.7046
124 | 2611889.2915 | 1257191.8741
125 | 2611867.8913 | 1257198.5412
126 | 2611856.7236 | 1257202.0205
127 | 2612019.6517 | 1257021.2647
128 | 2612005.9977 | 1257050.1313
129 | 2612005.5161 | 1256994.2737
130 | 2612027.4757 | 1257016.8148
131 | 2612012.288 | 1257065.1534
132 | 2612040.0746 | 1257009.6491
133 | 2612065.2303 | 1256995.3417
134 | 2612029.2028 | 1256957.1714
135 | 2612036.0844 | 1256952.4993
136 | 2612054.5146 | 1256929.0625
137 | 2612065.5738 | 1256934.7769
138 | 2612045.1617 | 1256914.3041
139 | 2612074.5942 | 1256947.6527
140 | 2612041.9704 | 1256909.2684
141 | 2612005.3989 | 1256930.6413
142 | 2612031.2963 | 1256915.5065
143 | 2612033.272 | 1256894.6835
144 | 2612032.5788 | 1256893.5213
145 | 2612023.7534 | 1256878.7236
146 | 2612028.0858 | 1256860.3818
147 | 2612076.8589 | 1256951.16
148 | 2612009.4821 | 1256851.3221
149 | 2612010.1675 | 1256850.7226
150 | 2612022.9103 | 1256839.5758
151 | 2612019.9714 | 1257083.3623
152 | 2612014.7947 | 1257071.1398
153 | 2612022.7609 | 1257089.736
154 | 2612089.0865 | 1256981.7734
155 | 2612093.9076 | 1256979.0314
156 | 2612101.5612 | 1256974.5159
157 | 2612101.3064 | 1256991.3227
158 | 2612109.7501 | 1257005.3498
159 | 2611930.9488 | 1256966.6498

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1