## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2761-23_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2761-23_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2761-23_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2761-23_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2761-23_0_3_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_2761-23_0_3_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_2761-23_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2761-23_0_3_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_2761-23_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2761-23_0_3_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_2761-23_0_3_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_2761-23_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2761-23_0_3_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_2761-23_0_3_node_92 | 0.4 | n |  | TRUE
14 | bus_LV_2761-23_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_2761-23_0_3_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_2761-23_0_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_2761-23_0_3_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_2761-23_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2761-23_0_3_node_78 | 0.4 | n |  | TRUE
20 | bus_LV_2761-23_0_3_node_82 | 0.4 | n |  | TRUE
21 | bus_LV_2761-23_0_3_node_80 | 0.4 | n |  | TRUE
22 | bus_LV_2761-23_0_3_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_2761-23_0_3_node_93 | 0.4 | n |  | TRUE
24 | bus_LV_2761-23_0_3_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_2761-23_0_3_node_76 | 0.4 | n |  | TRUE
26 | bus_LV_2761-23_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2761-23_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2761-23_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_2761-23_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_2761-23_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_2761-23_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_2761-23_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_2761-23_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_2761-23_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_2761-23_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_2761-23_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_2761-23_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_2761-23_0_3_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_2761-23_0_3_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_2761-23_0_3_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_2761-23_0_3_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_2761-23_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_2761-23_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_2761-23_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_2761-23_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_2761-23_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_2761-23_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_2761-23_0_3_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_2761-23_0_3_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_2761-23_0_3_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_2761-23_0_3_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_2761-23_0_3_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_2761-23_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_2761-23_0_3_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_2761-23_0_3_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_2761-23_0_3_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_2761-23_0_3_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_2761-23_0_3_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_2761-23_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_2761-23_0_3_node_84 | 0.4 | n |  | TRUE
61 | bus_LV_2761-23_0_3_node_83 | 0.4 | n |  | TRUE
62 | bus_LV_2761-23_0_3_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_2761-23_0_3_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_2761-23_0_3_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_2761-23_0_3_node_85 | 0.4 | n |  | TRUE
66 | bus_LV_2761-23_0_3_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_2761-23_0_3_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_2761-23_0_3_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_2761-23_0_3_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_2761-23_0_3_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_2761-23_0_3_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_2761-23_0_3_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_2761-23_0_3_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_2761-23_0_3_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_2761-23_0_3_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_2761-23_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_2761-23_0_3_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_2761-23_0_3_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_2761-23_0_3_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_2761-23_0_3_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_2761-23_0_3_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_2761-23_0_3_node_86 | 0.4 | n |  | TRUE
83 | bus_LV_2761-23_0_3_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_2761-23_0_3_node_88 | 0.4 | n |  | TRUE
85 | bus_LV_2761-23_0_3_node_89 | 0.4 | n |  | TRUE
86 | bus_LV_2761-23_0_3_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_2761-23_0_3_node_91 | 0.4 | n |  | TRUE
88 | bus_MV_287_0_node_148 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2761-23_0_3_load_0 | 0 | 0.0025305 | 0.0006342 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2761-23_0_3_load_10 | 4 | 0.0046447 | 0.0011641 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2761-23_0_3_load_11 | 5 | 0.0014036 | 0.00035177 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2761-23_0_3_load_30 | 9 | 0.0055269 | 0.0013852 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2761-23_0_3_load_29 | 10 | 0.0035938 | 0.00090068 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2761-23_0_3_load_35 | 12 | 0.0076305 | 0.0019124 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2761-23_0_3_load_92 | 13 | 0.0037943 | 0.00095095 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2761-23_0_3_load_12 | 14 | 0.0013957 | 0.0003498 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2761-23_0_3_load_28 | 15 | 0.0034072 | 0.00085393 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2761-23_0_3_load_26 | 16 | 0.001452 | 0.00036389 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2761-23_0_3_load_13 | 18 | 0.0045871 | 0.0011496 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2761-23_0_3_load_82 | 20 | 0.0042523 | 0.0010657 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2761-23_0_3_load_80 | 21 | 0.005735 | 0.0014373 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2761-23_0_3_load_33 | 22 | 0.0057117 | 0.0014315 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2761-23_0_3_load_93 | 23 | 0.0016423 | 0.0004116 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2761-23_0_3_load_44 | 24 | 0.005147 | 0.00129 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2761-23_0_3_load_76 | 25 | 0.0015962 | 0.00040005 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2761-23_0_3_load_14 | 26 | 0.013398 | 0.0033579 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2761-23_0_3_load_15 | 27 | 0.012621 | 0.0031632 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2761-23_0_3_load_16 | 28 | 0.0089966 | 0.0022548 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2761-23_0_3_load_17 | 29 | 0.015254 | 0.0038231 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2761-23_0_3_load_19 | 31 | 0.0047816 | 0.0011984 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2761-23_0_3_load_20 | 32 | 0.0020598 | 0.00051624 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2761-23_0_3_load_21 | 33 | 0.0012928 | 0.00032401 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2761-23_0_3_load_22 | 34 | 0.0046187 | 0.0011576 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2761-23_0_3_load_23 | 35 | 0.0056166 | 0.0014077 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2761-23_0_3_load_24 | 36 | 0.01037 | 0.002599 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2761-23_0_3_load_25 | 37 | 0.0026496 | 0.00066405 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2761-23_0_3_load_39 | 38 | 0.0039073 | 0.00097927 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2761-23_0_3_load_43 | 39 | 0.0018621 | 0.00046669 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2761-23_0_3_load_38 | 40 | 0.0053693 | 0.0013457 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2761-23_0_3_load_32 | 41 | 0.015406 | 0.0038611 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2761-23_0_3_load_34 | 42 | 0.0095765 | 0.0024001 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2761-23_0_3_load_36 | 43 | 0.0038251 | 0.00095866 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2761-23_0_3_load_37 | 44 | 0.015111 | 0.0037872 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2761-23_0_3_load_41 | 45 | 0.0018395 | 0.00046102 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2761-23_0_3_load_42 | 46 | 0.0028894 | 0.00072416 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2761-23_0_3_load_40 | 47 | 0.0085046 | 0.0021314 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2761-23_0_3_load_52 | 49 | 0.0041617 | 0.001043 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2761-23_0_3_load_45 | 50 | 0.0031775 | 0.00079635 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2761-23_0_3_load_46 | 51 | 0.0040936 | 0.001026 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2761-23_0_3_load_47 | 52 | 0.0029761 | 0.00074588 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2761-23_0_3_load_48 | 53 | 0.0045938 | 0.0011513 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2761-23_0_3_load_49 | 54 | 0.0013462 | 0.0003374 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2761-23_0_3_load_50 | 55 | 0.0024378 | 0.00061096 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2761-23_0_3_load_61 | 56 | 0.001834 | 0.00045964 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2761-23_0_3_load_62 | 57 | 0.0014666 | 0.00036755 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2761-23_0_3_load_55 | 58 | 0.0098182 | 0.0024607 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2761-23_0_3_load_84 | 60 | 0.011654 | 0.0029208 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2761-23_0_3_load_83 | 61 | 0.0060592 | 0.0015186 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2761-23_0_3_load_63 | 63 | 0.0050069 | 0.0012548 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2761-23_0_3_load_56 | 64 | 0.0018756 | 0.00047008 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2761-23_0_3_load_85 | 65 | 0.0064073 | 0.0016058 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2761-23_0_3_load_57 | 67 | 0.0014725 | 0.00036904 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2761-23_0_3_load_60 | 69 | 0.0019847 | 0.00049742 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2761-23_0_3_load_64 | 70 | 0.001438 | 0.0003604 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2761-23_0_3_load_72 | 71 | 0.0039275 | 0.00098433 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2761-23_0_3_load_66 | 73 | 0.0031553 | 0.0007908 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2761-23_0_3_load_67 | 74 | 0.0061082 | 0.0015309 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2761-23_0_3_load_70 | 76 | 0.0014775 | 0.00037031 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2761-23_0_3_load_71 | 77 | 0.0026946 | 0.00067533 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2761-23_0_3_load_79 | 78 | 0.0034656 | 0.00086856 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2761-23_0_3_load_77 | 80 | 0.001213 | 0.00030401 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2761-23_0_3_load_81 | 81 | 0.0051337 | 0.0012866 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2761-23_0_3_load_86 | 82 | 0.0030192 | 0.00075669 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2761-23_0_3_load_87 | 83 | 0.0036768 | 0.0009215 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2761-23_0_3_load_88 | 84 | 0.013426 | 0.0033649 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2761-23_0_3_load_89 | 85 | 0.0027689 | 0.00069395 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2761-23_0_3_load_90 | 86 | 0.0028237 | 0.00070769 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2761-23_0_3_load_91 | 87 | 0.0029191 | 0.0007316 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2761-23_0_3_line_0 |  | 0 | 1 | 0.012658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2761-23_0_3_line_1 |  | 0 | 2 | 0.01745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2761-23_0_3_line_2 |  | 1 | 3 | 0.022692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2761-23_0_3_line_3 |  | 2 | 4 | 0.0074354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2761-23_0_3_line_4 |  | 3 | 5 | 0.031884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2761-23_0_3_line_5 |  | 4 | 14 | 0.012729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2761-23_0_3_line_6 |  | 5 | 6 | 0.04643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2761-23_0_3_line_7 |  | 6 | 7 | 0.051667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2761-23_0_3_line_8 |  | 7 | 15 | 0.015643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2761-23_0_3_line_9 |  | 7 | 16 | 0.0076026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_2761-23_0_3_line_10 |  | 8 | 9 | 0.04026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2761-23_0_3_line_11 |  | 8 | 10 | 0.018184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2761-23_0_3_line_12 |  | 9 | 17 | 0.0052482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_2761-23_0_3_line_13 |  | 10 | 15 | 0.022981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2761-23_0_3_line_14 |  | 11 | 12 | 0.023248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2761-23_0_3_line_15 |  | 11 | 13 | 0.021107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2761-23_0_3_line_16 |  | 12 | 22 | 0.0068492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2761-23_0_3_line_17 |  | 13 | 23 | 0.0021163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2761-23_0_3_line_18 |  | 16 | 37 | 0.017808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2761-23_0_3_line_19 |  | 17 | 41 | 0.037407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2761-23_0_3_line_20 |  | 17 | 22 | 0.019405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2761-23_0_3_line_21 |  | 18 | 19 | 0.013611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2761-23_0_3_line_22 |  | 19 | 24 | 0.034235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2761-23_0_3_line_23 |  | 19 | 25 | 0.030807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2761-23_0_3_line_24 |  | 20 | 21 | 0.018129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2761-23_0_3_line_25 |  | 21 | 81 | 0.01717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2761-23_0_3_line_26 |  | 23 | 87 | 0.00089139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2761-23_0_3_line_27 |  | 24 | 39 | 0.0048516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2761-23_0_3_line_28 |  | 25 | 80 | 0.012733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2761-23_0_3_line_29 |  | 26 | 27 | 0.004026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2761-23_0_3_line_30 |  | 26 | 28 | 0.018528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2761-23_0_3_line_31 |  | 27 | 29 | 0.017799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2761-23_0_3_line_32 |  | 28 | 30 | 0.027012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2761-23_0_3_line_33 |  | 29 | 31 | 0.021604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2761-23_0_3_line_34 |  | 30 | 32 | 0.019345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2761-23_0_3_line_35 |  | 30 | 33 | 0.014222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2761-23_0_3_line_36 |  | 31 | 34 | 0.019279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2761-23_0_3_line_37 |  | 32 | 35 | 0.0029803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2761-23_0_3_line_38 |  | 33 | 36 | 0.001427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2761-23_0_3_line_39 |  | 34 | 37 | 0.0064994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_2761-23_0_3_line_40 |  | 35 | 38 | 0.016921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_2761-23_0_3_line_41 |  | 36 | 39 | 0.022922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2761-23_0_3_line_42 |  | 38 | 40 | 0.016328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_2761-23_0_3_line_43 |  | 40 | 47 | 0.0098369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_2761-23_0_3_line_44 |  | 41 | 42 | 0.018872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2761-23_0_3_line_45 |  | 42 | 43 | 0.038086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2761-23_0_3_line_46 |  | 43 | 44 | 0.0025656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2761-23_0_3_line_47 |  | 44 | 45 | 0.026583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_2761-23_0_3_line_48 |  | 45 | 46 | 0.00069074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_2761-23_0_3_line_49 |  | 46 | 48 | 0.00051097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_2761-23_0_3_line_50 |  | 48 | 49 | 0.014813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2761-23_0_3_line_51 |  | 49 | 58 | 0.016055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2761-23_0_3_line_52 |  | 50 | 51 | 0.00029539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2761-23_0_3_line_53 |  | 50 | 52 | 0.010422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2761-23_0_3_line_54 |  | 51 | 53 | 0.017488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2761-23_0_3_line_55 |  | 52 | 54 | 0.0080591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2761-23_0_3_line_56 |  | 53 | 55 | 0.029517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2761-23_0_3_line_57 |  | 55 | 56 | 0.0074545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2761-23_0_3_line_58 |  | 56 | 57 | 0.0053021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2761-23_0_3_line_59 |  | 57 | 72 | 0.015499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2761-23_0_3_line_60 |  | 58 | 64 | 0.0074487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_2761-23_0_3_line_61 |  | 59 | 60 | 0.01947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2761-23_0_3_line_62 |  | 59 | 61 | 0.021342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2761-23_0_3_line_63 |  | 60 | 65 | 0.019996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2761-23_0_3_line_64 |  | 61 | 62 | 0.048862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2761-23_0_3_line_65 |  | 62 | 63 | 0.0064772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2761-23_0_3_line_66 |  | 63 | 66 | 0.014583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2761-23_0_3_line_67 |  | 64 | 67 | 0.015926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2761-23_0_3_line_68 |  | 66 | 68 | 0.03806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2761-23_0_3_line_69 |  | 67 | 68 | 0.037164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2761-23_0_3_line_70 |  | 68 | 69 | 0.0063599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2761-23_0_3_line_71 |  | 69 | 70 | 0.020483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2761-23_0_3_line_72 |  | 70 | 71 | 0.023463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2761-23_0_3_line_73 |  | 72 | 73 | 0.019182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2761-23_0_3_line_74 |  | 72 | 74 | 0.01781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2761-23_0_3_line_75 |  | 72 | 75 | 0.035422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2761-23_0_3_line_76 |  | 73 | 76 | 0.019076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2761-23_0_3_line_77 |  | 74 | 77 | 0.015253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2761-23_0_3_line_78 |  | 75 | 78 | 0.015111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2761-23_0_3_line_79 |  | 75 | 79 | 0.015777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2761-23_0_3_line_80 |  | 78 | 81 | 0.0046216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2761-23_0_3_line_81 |  | 79 | 80 | 0.0032865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2761-23_0_3_line_82 |  | 82 | 83 | 0.0051056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2761-23_0_3_line_83 |  | 82 | 84 | 0.007841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2761-23_0_3_line_84 |  | 83 | 85 | 0.0099039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2761-23_0_3_line_85 |  | 85 | 86 | 0.0022798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2761-23_0_3_line_86 |  | 86 | 87 | 0.018755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2761-23_0_3_trafo_40 | 0.63 MVA 20/0.4 kV | 88 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2611940.742 | 1257643.1997 | 2611940.6527 | 1257655.8577
1 | 2611941.1264 | 1257673.2985 | 2611940.8834 | 1257666.6713 | 2611940.6261 | 1257659.6327 | 2611940.6527 | 1257655.8577
2 | 2611940.742 | 1257643.1997 | 2611947.0368 | 1257643.368 | 2611945.8408 | 1257626.9991
3 | 2611941.1264 | 1257673.2985 | 2611941.4019 | 1257680.7288
4 | 2611945.8408 | 1257626.9991 | 2611949.4972 | 1257627.0621 | 2611966.6329 | 1257627.419 | 2611977.3667 | 1257624.6387
5 | 2611941.4019 | 1257680.7288 | 2611941.8736 | 1257693.4492
6 | 2612010.9288 | 1257603.2587 | 2611987.6096 | 1257607.2921 | 2611982.6783 | 1257607.6269 | 2611977.3667 | 1257624.6387
7 | 2612010.9288 | 1257603.2587 | 2612016.4966 | 1257605.06 | 2612020.5333 | 1257610.9165 | 2612020.2078 | 1257630.2288 | 2612017.1308 | 1257649.391
8 | 2612017.1308 | 1257649.391 | 2612022.6298 | 1257640.4405 | 2612027.4344 | 1257638.6179
9 | 2612017.1308 | 1257649.391 | 2612016.2698 | 1257656.9447
10 | 2612065.9225 | 1257624.0172 | 2612076.3471 | 1257651.012 | 2612080.9056 | 1257661.376
11 | 2612065.9225 | 1257624.0172 | 2612048.921 | 1257630.4668
12 | 2612083.0185 | 1257666.1801 | 2612080.9056 | 1257661.376
13 | 2612027.4344 | 1257638.6179 | 2612048.921 | 1257630.4668
14 | 2612129.584 | 1257649.3858 | 2612107.7152 | 1257657.273
15 | 2612129.584 | 1257649.3858 | 2612138.1234 | 1257668.6884
16 | 2612107.7152 | 1257657.273 | 2612101.2722 | 1257659.5967
17 | 2612138.1234 | 1257668.6884 | 2612138.9796 | 1257670.6238
18 | 2612015.2097 | 1257674.71 | 2612015.6572 | 1257662.3189 | 2612016.2698 | 1257656.9447
19 | 2612083.0185 | 1257666.1801 | 2612098.0808 | 1257700.4206
20 | 2612083.0185 | 1257666.1801 | 2612101.2722 | 1257659.5967
21 | 2612021.2091 | 1257865.8777 | 2612008.62 | 1257860.7031
22 | 2612021.2091 | 1257865.8777 | 2612021.5523 | 1257852.7362 | 2612017.1452 | 1257832.113
23 | 2612021.2091 | 1257865.8777 | 2612049.0656 | 1257879.0337
24 | 2612030.5388 | 1257920.2693 | 2612025.7563 | 1257924.8486 | 2612017.9612 | 1257933.3138
25 | 2612030.5388 | 1257920.2693 | 2612042.9403 | 1257908.3946 | 2612042.9403 | 1257908.3946
26 | 2612139.3402 | 1257671.439 | 2612138.9796 | 1257670.6238
27 | 2612017.1452 | 1257832.113 | 2612016.1313 | 1257827.3685
28 | 2612049.0656 | 1257879.0337 | 2612057.0294 | 1257882.7948 | 2612060.4436 | 1257884.7323
29 | 2612012.7123 | 1257743.8725 | 2612012.7184 | 1257743.7008 | 2612012.8575 | 1257739.8491
30 | 2612012.7123 | 1257743.8725 | 2612012.0546 | 1257762.3886
31 | 2612013.4998 | 1257722.062 | 2612012.8575 | 1257739.8491
32 | 2612011.0957 | 1257789.3837 | 2612012.0546 | 1257762.3886
33 | 2612013.4998 | 1257722.062 | 2612014.2794 | 1257700.4719
34 | 2612011.0957 | 1257789.3837 | 2612029.8161 | 1257784.5091
35 | 2612011.0957 | 1257789.3837 | 2612010.6561 | 1257801.7467 | 2612011.043 | 1257803.5573
36 | 2612014.9752 | 1257681.2052 | 2612014.2794 | 1257700.4719
37 | 2612032.7002 | 1257783.7581 | 2612029.8161 | 1257784.5091
38 | 2612011.043 | 1257803.5573 | 2612011.3412 | 1257804.9528
39 | 2612014.9752 | 1257681.2052 | 2612015.2097 | 1257674.71
40 | 2612032.7002 | 1257783.7581 | 2612049.0755 | 1257779.494
41 | 2612011.3412 | 1257804.9528 | 2612016.1313 | 1257827.3685
42 | 2612064.8763 | 1257775.3796 | 2612049.0755 | 1257779.494
43 | 2612074.3958 | 1257772.9008 | 2612064.8763 | 1257775.3796
44 | 2612098.0808 | 1257700.4206 | 2612105.6798 | 1257717.6952
45 | 2612121.0156 | 1257752.5575 | 2612105.6798 | 1257717.6952
46 | 2612121.0156 | 1257752.5575 | 2612122.0486 | 1257754.9059
47 | 2612131.9061 | 1257779.5497 | 2612129.8527 | 1257772.6468 | 2612122.0486 | 1257754.9059
48 | 2612131.9061 | 1257779.5497 | 2612132.1031 | 1257780.2117
49 | 2612132.1031 | 1257780.2117 | 2612132.2488 | 1257780.7015
50 | 2612132.2488 | 1257780.7015 | 2612136.4661 | 1257794.9013
51 | 2612136.4661 | 1257794.9013 | 2612139.0025 | 1257803.4416 | 2612140.4145 | 1257810.4465
52 | 2612079.3144 | 1257833.9423 | 2612079.6019 | 1257833.8745
53 | 2612079.3144 | 1257833.9423 | 2612069.1704 | 1257836.3347
54 | 2612079.6019 | 1257833.8745 | 2612079.6019 | 1257833.8745 | 2612083.3336 | 1257850.9597
55 | 2612061.3265 | 1257838.1847 | 2612069.1704 | 1257836.3347
56 | 2612083.3336 | 1257850.9597 | 2612089.6318 | 1257879.7965
57 | 2612091.2225 | 1257887.0793 | 2612089.6318 | 1257879.7965
58 | 2612092.3538 | 1257892.2592 | 2612091.2225 | 1257887.0793
59 | 2612095.6609 | 1257907.4008 | 2612092.3538 | 1257892.2592
60 | 2612141.8863 | 1257817.7484 | 2612140.4145 | 1257810.4465
61 | 2612206.5573 | 1257796.6975 | 2612202.628 | 1257777.6283
62 | 2612206.5573 | 1257796.6975 | 2612210.9797 | 1257817.5768
63 | 2612198.5926 | 1257758.0442 | 2612202.628 | 1257777.6283
64 | 2612186.794 | 1257842.7212 | 2612215.1214 | 1257837.1311 | 2612210.9797 | 1257817.5768
65 | 2612186.794 | 1257842.7212 | 2612187.7895 | 1257849.1214
66 | 2612190.0307 | 1257863.5307 | 2612187.7895 | 1257849.1214
67 | 2612141.8863 | 1257817.7484 | 2612145.0331 | 1257833.3601
68 | 2612152.3766 | 1257869.7912 | 2612190.0307 | 1257863.5307
69 | 2612152.3766 | 1257869.7912 | 2612145.0331 | 1257833.3601
70 | 2612152.3766 | 1257869.7912 | 2612153.5125 | 1257876.0488
71 | 2612153.5125 | 1257876.0488 | 2612157.1708 | 1257896.2024
72 | 2612157.1708 | 1257896.2024 | 2612160.1296 | 1257912.5023 | 2612161.2923 | 1257919.3002
73 | 2612095.6609 | 1257907.4008 | 2612107.6101 | 1257914.7078 | 2612111.759 | 1257917.8025
74 | 2612095.6609 | 1257907.4008 | 2612097.9218 | 1257922.5823 | 2612098.7246 | 1257924.9091
75 | 2612061.4692 | 1257901.672 | 2612070.1328 | 1257900.8891 | 2612074.6408 | 1257900.9761 | 2612079.6604 | 1257901.5644 | 2612085.3349 | 1257902.6656 | 2612090.284 | 1257904.5658 | 2612095.6609 | 1257907.4008
76 | 2612111.759 | 1257917.8025 | 2612127.05 | 1257929.2081
77 | 2612098.7246 | 1257924.9091 | 2612103.6992 | 1257939.328
78 | 2612061.4692 | 1257901.672 | 2612051.5645 | 1257904.7763 | 2612047.202 | 1257906.6065
79 | 2612063.302 | 1257886.3544 | 2612063.8908 | 1257889.7023 | 2612063.9591 | 1257893.1936 | 2612063.1737 | 1257897.5616 | 2612061.4692 | 1257901.672
80 | 2612042.9403 | 1257908.3946 | 2612047.202 | 1257906.6065
81 | 2612063.302 | 1257886.3544 | 2612060.4436 | 1257884.7323
82 | 2612153.9229 | 1257704.4019 | 2612151.8573 | 1257699.7328
83 | 2612157.0952 | 1257711.5725 | 2612153.9229 | 1257704.4019
84 | 2612151.8573 | 1257699.7328 | 2612147.8505 | 1257690.6757
85 | 2612146.9281 | 1257688.5908 | 2612147.8505 | 1257690.6757
86 | 2612146.9281 | 1257688.5908 | 2612139.3402 | 1257671.439

## bus_geodata
| x | y | coords
0 | 2611940.6527 | 1257655.8577
1 | 2611940.742 | 1257643.1997
2 | 2611941.1264 | 1257673.2985
3 | 2611945.8408 | 1257626.9991
4 | 2611941.4019 | 1257680.7288
5 | 2611977.3667 | 1257624.6387
6 | 2612010.9288 | 1257603.2587
7 | 2612017.1308 | 1257649.391
8 | 2612065.9225 | 1257624.0172
9 | 2612080.9056 | 1257661.376
10 | 2612048.921 | 1257630.4668
11 | 2612129.584 | 1257649.3858
12 | 2612107.7152 | 1257657.273
13 | 2612138.1234 | 1257668.6884
14 | 2611941.8736 | 1257693.4492
15 | 2612027.4344 | 1257638.6179
16 | 2612016.2698 | 1257656.9447
17 | 2612083.0185 | 1257666.1801
18 | 2612008.62 | 1257860.7031
19 | 2612021.2091 | 1257865.8777
20 | 2612017.9612 | 1257933.3138
21 | 2612030.5388 | 1257920.2693
22 | 2612101.2722 | 1257659.5967
23 | 2612138.9796 | 1257670.6238
24 | 2612017.1452 | 1257832.113
25 | 2612049.0656 | 1257879.0337
26 | 2612012.7123 | 1257743.8725
27 | 2612012.8575 | 1257739.8491
28 | 2612012.0546 | 1257762.3886
29 | 2612013.4998 | 1257722.062
30 | 2612011.0957 | 1257789.3837
31 | 2612014.2794 | 1257700.4719
32 | 2612029.8161 | 1257784.5091
33 | 2612011.043 | 1257803.5573
34 | 2612014.9752 | 1257681.2052
35 | 2612032.7002 | 1257783.7581
36 | 2612011.3412 | 1257804.9528
37 | 2612015.2097 | 1257674.71
38 | 2612049.0755 | 1257779.494
39 | 2612016.1313 | 1257827.3685
40 | 2612064.8763 | 1257775.3796
41 | 2612098.0808 | 1257700.4206
42 | 2612105.6798 | 1257717.6952
43 | 2612121.0156 | 1257752.5575
44 | 2612122.0486 | 1257754.9059
45 | 2612131.9061 | 1257779.5497
46 | 2612132.1031 | 1257780.2117
47 | 2612074.3958 | 1257772.9008
48 | 2612132.2488 | 1257780.7015
49 | 2612136.4661 | 1257794.9013
50 | 2612079.3144 | 1257833.9423
51 | 2612079.6019 | 1257833.8745
52 | 2612069.1704 | 1257836.3347
53 | 2612083.3336 | 1257850.9597
54 | 2612061.3265 | 1257838.1847
55 | 2612089.6318 | 1257879.7965
56 | 2612091.2225 | 1257887.0793
57 | 2612092.3538 | 1257892.2592
58 | 2612140.4145 | 1257810.4465
59 | 2612206.5573 | 1257796.6975
60 | 2612202.628 | 1257777.6283
61 | 2612210.9797 | 1257817.5768
62 | 2612186.794 | 1257842.7212
63 | 2612187.7895 | 1257849.1214
64 | 2612141.8863 | 1257817.7484
65 | 2612198.5926 | 1257758.0442
66 | 2612190.0307 | 1257863.5307
67 | 2612145.0331 | 1257833.3601
68 | 2612152.3766 | 1257869.7912
69 | 2612153.5125 | 1257876.0488
70 | 2612157.1708 | 1257896.2024
71 | 2612161.2923 | 1257919.3002
72 | 2612095.6609 | 1257907.4008
73 | 2612111.759 | 1257917.8025
74 | 2612098.7246 | 1257924.9091
75 | 2612061.4692 | 1257901.672
76 | 2612127.05 | 1257929.2081
77 | 2612103.6992 | 1257939.328
78 | 2612047.202 | 1257906.6065
79 | 2612063.302 | 1257886.3544
80 | 2612060.4436 | 1257884.7323
81 | 2612042.9403 | 1257908.3946
82 | 2612153.9229 | 1257704.4019
83 | 2612151.8573 | 1257699.7328
84 | 2612157.0952 | 1257711.5725
85 | 2612147.8505 | 1257690.6757
86 | 2612146.9281 | 1257688.5908
87 | 2612139.3402 | 1257671.439
88 | 2612011.0957 | 1257789.3837

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1