## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2761-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2761-2_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2761-2_0_6_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_2761-2_0_6_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_2761-2_0_6_node_70 | 0.4 | n |  | TRUE
5 | bus_LV_2761-2_0_6_node_68 | 0.4 | n |  | TRUE
6 | bus_LV_2761-2_0_6_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_2761-2_0_6_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_2761-2_0_6_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_2761-2_0_6_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2761-2_0_6_node_54 | 0.4 | n |  | TRUE
11 | bus_LV_2761-2_0_6_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_2761-2_0_6_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_2761-2_0_6_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_2761-2_0_6_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_2761-2_0_6_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_2761-2_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2761-2_0_6_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_2761-2_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2761-2_0_6_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_2761-2_0_6_node_69 | 0.4 | n |  | TRUE
21 | bus_LV_2761-2_0_6_node_67 | 0.4 | n |  | TRUE
22 | bus_LV_2761-2_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_2761-2_0_6_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2761-2_0_6_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_2761-2_0_6_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_2761-2_0_6_node_71 | 0.4 | n |  | TRUE
27 | bus_LV_2761-2_0_6_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_2761-2_0_6_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_2761-2_0_6_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_2761-2_0_6_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_2761-2_0_6_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_2761-2_0_6_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2761-2_0_6_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_2761-2_0_6_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_2761-2_0_6_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_2761-2_0_6_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_2761-2_0_6_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_2761-2_0_6_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_2761-2_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_2761-2_0_6_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_2761-2_0_6_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_2761-2_0_6_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_2761-2_0_6_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_2761-2_0_6_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_2761-2_0_6_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_2761-2_0_6_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_2761-2_0_6_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_2761-2_0_6_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_2761-2_0_6_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_2761-2_0_6_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_2761-2_0_6_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_2761-2_0_6_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_2761-2_0_6_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_2761-2_0_6_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_2761-2_0_6_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_2761-2_0_6_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_2761-2_0_6_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_2761-2_0_6_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_2761-2_0_6_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_2761-2_0_6_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_2761-2_0_6_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_2761-2_0_6_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_2761-2_0_6_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_2761-2_0_6_node_97 | 0.4 | n |  | TRUE
65 | bus_LV_2761-2_0_6_node_96 | 0.4 | n |  | TRUE
66 | bus_LV_2761-2_0_6_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_2761-2_0_6_node_98 | 0.4 | n |  | TRUE
68 | bus_LV_2761-2_0_6_node_95 | 0.4 | n |  | TRUE
69 | bus_LV_2761-2_0_6_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_2761-2_0_6_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_2761-2_0_6_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_2761-2_0_6_node_102 | 0.4 | n |  | TRUE
73 | bus_LV_2761-2_0_6_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_2761-2_0_6_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_2761-2_0_6_node_103 | 0.4 | n |  | TRUE
76 | bus_LV_2761-2_0_6_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_2761-2_0_6_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_2761-2_0_6_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_2761-2_0_6_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_2761-2_0_6_node_82 | 0.4 | n |  | TRUE
81 | bus_LV_2761-2_0_6_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_2761-2_0_6_node_106 | 0.4 | n |  | TRUE
83 | bus_LV_2761-2_0_6_node_105 | 0.4 | n |  | TRUE
84 | bus_LV_2761-2_0_6_node_93 | 0.4 | n |  | TRUE
85 | bus_LV_2761-2_0_6_node_94 | 0.4 | n |  | TRUE
86 | bus_LV_2761-2_0_6_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_2761-2_0_6_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_2761-2_0_6_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_2761-2_0_6_node_87 | 0.4 | n |  | TRUE
90 | bus_LV_2761-2_0_6_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_2761-2_0_6_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_2761-2_0_6_node_89 | 0.4 | n |  | TRUE
93 | bus_LV_2761-2_0_6_node_100 | 0.4 | n |  | TRUE
94 | bus_LV_2761-2_0_6_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_2761-2_0_6_node_99 | 0.4 | n |  | TRUE
96 | bus_LV_2761-2_0_6_node_101 | 0.4 | n |  | TRUE
97 | bus_LV_2761-2_0_6_node_104 | 0.4 | n |  | TRUE
98 | bus_MV_287_0_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2761-2_0_6_load_0 | 0 | 0.067768 | 0.016984 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2761-2_0_6_load_7 | 2 | 0.0036287 | 0.00090945 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2761-2_0_6_load_70 | 4 | 0.003515 | 0.00088095 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2761-2_0_6_load_68 | 5 | 0.0091951 | 0.0023045 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2761-2_0_6_load_8 | 9 | 0.010579 | 0.0026515 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2761-2_0_6_load_54 | 10 | 0.0032773 | 0.00082137 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2761-2_0_6_load_16 | 14 | 0.0038187 | 0.00095707 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2761-2_0_6_load_41 | 15 | 0.0070567 | 0.0017686 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2761-2_0_6_load_40 | 17 | 0.0085617 | 0.0021458 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2761-2_0_6_load_38 | 19 | 0.0097489 | 0.0024433 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2761-2_0_6_load_69 | 20 | 0.015632 | 0.0039177 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2761-2_0_6_load_67 | 21 | 0.0044809 | 0.001123 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2761-2_0_6_load_15 | 23 | 0.0022003 | 0.00055144 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2761-2_0_6_load_39 | 25 | 0.008824 | 0.0022115 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2761-2_0_6_load_71 | 26 | 0.0098315 | 0.002464 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2761-2_0_6_load_18 | 27 | 0.013507 | 0.0033851 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2761-2_0_6_load_42 | 28 | 0.004165 | 0.0010438 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2761-2_0_6_load_36 | 29 | 0.0049526 | 0.0012412 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2761-2_0_6_load_43 | 30 | 0.0033202 | 0.00083213 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2761-2_0_6_load_21 | 32 | 0.0056646 | 0.0014197 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2761-2_0_6_load_66 | 35 | 0.0059611 | 0.001494 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2761-2_0_6_load_28 | 36 | 0.011274 | 0.0028254 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2761-2_0_6_load_23 | 37 | 0.011989 | 0.0030047 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2761-2_0_6_load_26 | 39 | 0.020402 | 0.0051132 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2761-2_0_6_load_27 | 40 | 0.0048153 | 0.0012068 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2761-2_0_6_load_29 | 42 | 0.029769 | 0.0074609 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2761-2_0_6_load_37 | 44 | 0.0017384 | 0.00043568 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2761-2_0_6_load_30 | 45 | 0.0088088 | 0.0022077 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2761-2_0_6_load_31 | 46 | 0.0070309 | 0.0017621 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2761-2_0_6_load_58 | 49 | 0.018128 | 0.0045432 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2761-2_0_6_load_44 | 50 | 0.0041026 | 0.0010282 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2761-2_0_6_load_53 | 52 | 0.0055672 | 0.0013953 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2761-2_0_6_load_47 | 53 | 0.0082631 | 0.0020709 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2761-2_0_6_load_57 | 54 | 0.0093384 | 0.0023404 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2761-2_0_6_load_46 | 55 | 0.012014 | 0.003011 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2761-2_0_6_load_48 | 56 | 0.0031893 | 0.0007993 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2761-2_0_6_load_49 | 57 | 0.0023212 | 0.00058174 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2761-2_0_6_load_52 | 58 | 0.013163 | 0.0032989 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2761-2_0_6_load_51 | 59 | 0.0020412 | 0.00051157 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2761-2_0_6_load_56 | 60 | 0.0040842 | 0.0010236 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2761-2_0_6_load_59 | 61 | 0.01145 | 0.0028696 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2761-2_0_6_load_61 | 62 | 0.0061324 | 0.0015369 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2761-2_0_6_load_63 | 63 | 0.021289 | 0.0053356 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2761-2_0_6_load_97 | 64 | 0.0053738 | 0.0013468 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2761-2_0_6_load_96 | 65 | 0.0044276 | 0.0011097 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2761-2_0_6_load_64 | 66 | 0.011052 | 0.0027698 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2761-2_0_6_load_98 | 67 | 0.0039449 | 0.00098869 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2761-2_0_6_load_95 | 68 | 0.013873 | 0.0034769 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2761-2_0_6_load_74 | 71 | 0.003232 | 0.00081003 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2761-2_0_6_load_102 | 72 | 0.0012964 | 0.0003249 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2761-2_0_6_load_75 | 74 | 0.0025991 | 0.00065141 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2761-2_0_6_load_103 | 75 | 0.0027789 | 0.00069646 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2761-2_0_6_load_76 | 76 | 0.0034137 | 0.00085556 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2761-2_0_6_load_77 | 77 | 0.0031111 | 0.00077972 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2761-2_0_6_load_78 | 78 | 0.0035551 | 0.00089099 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2761-2_0_6_load_80 | 79 | 0.0049078 | 0.00123 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2761-2_0_6_load_82 | 80 | 0.0080801 | 0.0020251 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2761-2_0_6_load_83 | 81 | 0.0069277 | 0.0017362 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2761-2_0_6_load_106 | 82 | 0.0030483 | 0.00076399 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2761-2_0_6_load_105 | 83 | 0.0028635 | 0.00071766 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2761-2_0_6_load_93 | 84 | 0.0080341 | 0.0020135 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2761-2_0_6_load_84 | 86 | 0.007217 | 0.0018088 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2761-2_0_6_load_85 | 87 | 0.0055811 | 0.0013988 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2761-2_0_6_load_86 | 88 | 0.0050318 | 0.0012611 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2761-2_0_6_load_87 | 89 | 0.004449 | 0.001115 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2761-2_0_6_load_88 | 90 | 0.004205 | 0.0010539 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2761-2_0_6_load_89 | 92 | 0.0046949 | 0.0011766 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2761-2_0_6_load_100 | 93 | 0.0059088 | 0.0014809 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2761-2_0_6_load_91 | 94 | 0.015302 | 0.0038351 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2761-2_0_6_load_101 | 96 | 0.0016809 | 0.00042127 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2761-2_0_6_line_0 |  | 0 | 1 | 0.010204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2761-2_0_6_line_1 |  | 1 | 2 | 0.022068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2761-2_0_6_line_2 |  | 2 | 6 | 0.017964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2761-2_0_6_line_3 |  | 3 | 4 | 0.010711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2761-2_0_6_line_4 |  | 3 | 5 | 0.01484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2761-2_0_6_line_5 |  | 5 | 21 | 0.02042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2761-2_0_6_line_6 |  | 6 | 22 | 0.004828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2761-2_0_6_line_7 |  | 6 | 23 | 0.0078084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2761-2_0_6_line_8 |  | 7 | 8 | 0.015894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2761-2_0_6_line_9 |  | 7 | 9 | 0.021158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2761-2_0_6_line_10 |  | 8 | 18 | 0.017707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2761-2_0_6_line_11 |  | 8 | 15 | 0.0053192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2761-2_0_6_line_12 |  | 10 | 11 | 0.019714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2761-2_0_6_line_13 |  | 11 | 60 | 0.032752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2761-2_0_6_line_14 |  | 12 | 13 | 0.02748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2761-2_0_6_line_15 |  | 12 | 14 | 0.011816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_2761-2_0_6_line_16 |  | 13 | 31 | 0.02768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_2761-2_0_6_line_17 |  | 13 | 32 | 0.004821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2761-2_0_6_line_18 |  | 14 | 22 | 0.011084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2761-2_0_6_line_19 |  | 16 | 17 | 0.0098807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2761-2_0_6_line_20 |  | 16 | 18 | 0.027476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2761-2_0_6_line_21 |  | 16 | 19 | 0.021315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2761-2_0_6_line_22 |  | 17 | 24 | 0.0076978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2761-2_0_6_line_23 |  | 18 | 20 | 0.034733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2761-2_0_6_line_24 |  | 18 | 21 | 0.00091485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2761-2_0_6_line_25 |  | 19 | 25 | 0.00016688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2761-2_0_6_line_26 |  | 20 | 26 | 0.004327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2761-2_0_6_line_27 |  | 22 | 27 | 0.039614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2761-2_0_6_line_28 |  | 23 | 28 | 0.012745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2761-2_0_6_line_29 |  | 24 | 35 | 0.019212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2761-2_0_6_line_30 |  | 24 | 45 | 0.013412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2761-2_0_6_line_31 |  | 26 | 69 | 0.021762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2761-2_0_6_line_32 |  | 27 | 29 | 0.008555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2761-2_0_6_line_33 |  | 28 | 30 | 0.017545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2761-2_0_6_line_34 |  | 29 | 33 | 0.01155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2761-2_0_6_line_35 |  | 30 | 50 | 0.030843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2761-2_0_6_line_36 |  | 31 | 34 | 0.015597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2761-2_0_6_line_37 |  | 31 | 35 | 0.012451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2761-2_0_6_line_38 |  | 33 | 44 | 0.039966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2761-2_0_6_line_39 |  | 34 | 36 | 0.01611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2761-2_0_6_line_40 |  | 34 | 37 | 0.00023829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2761-2_0_6_line_41 |  | 36 | 42 | 0.00083409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2761-2_0_6_line_42 |  | 38 | 39 | 0.033351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2761-2_0_6_line_43 |  | 38 | 40 | 0.023464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2761-2_0_6_line_44 |  | 39 | 41 | 0.017695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2761-2_0_6_line_45 |  | 41 | 43 | 0.035772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2761-2_0_6_line_46 |  | 43 | 47 | 0.029201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2761-2_0_6_line_47 |  | 45 | 46 | 0.033879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2761-2_0_6_line_48 |  | 47 | 48 | 0.027505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2761-2_0_6_line_49 |  | 47 | 49 | 0.01659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2761-2_0_6_line_50 |  | 48 | 64 | 0.026944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2761-2_0_6_line_51 |  | 48 | 65 | 0.032354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2761-2_0_6_line_52 |  | 49 | 61 | 0.0011295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2761-2_0_6_line_53 |  | 50 | 51 | 0.009407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2761-2_0_6_line_54 |  | 51 | 52 | 0.041361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2761-2_0_6_line_55 |  | 51 | 53 | 0.0040632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2761-2_0_6_line_56 |  | 52 | 54 | 0.0096894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2761-2_0_6_line_57 |  | 53 | 55 | 0.019912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2761-2_0_6_line_58 |  | 54 | 60 | 0.012022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2761-2_0_6_line_59 |  | 55 | 56 | 0.0091799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2761-2_0_6_line_60 |  | 56 | 57 | 0.020743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2761-2_0_6_line_61 |  | 57 | 58 | 0.0066365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2761-2_0_6_line_62 |  | 58 | 59 | 0.010941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2761-2_0_6_line_63 |  | 61 | 62 | 0.023553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2761-2_0_6_line_64 |  | 62 | 63 | 0.0069513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2761-2_0_6_line_65 |  | 63 | 66 | 0.020017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2761-2_0_6_line_66 |  | 64 | 67 | 0.0091159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2761-2_0_6_line_67 |  | 65 | 68 | 0.036292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2761-2_0_6_line_68 |  | 67 | 95 | 0.023458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2761-2_0_6_line_69 |  | 69 | 70 | 0.005234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_2761-2_0_6_line_70 |  | 70 | 71 | 0.017419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2761-2_0_6_line_71 |  | 70 | 72 | 0.026888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_2761-2_0_6_line_72 |  | 71 | 73 | 0.0095693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2761-2_0_6_line_73 |  | 72 | 75 | 0.013519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_2761-2_0_6_line_74 |  | 73 | 74 | 0.026015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2761-2_0_6_line_75 |  | 75 | 97 | 0.019211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_2761-2_0_6_line_76 |  | 76 | 77 | 0.00028467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2761-2_0_6_line_77 |  | 76 | 78 | 0.017095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2761-2_0_6_line_78 |  | 78 | 79 | 0.011833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2761-2_0_6_line_79 |  | 79 | 80 | 0.021694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2761-2_0_6_line_80 |  | 80 | 81 | 0.023067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2761-2_0_6_line_81 |  | 81 | 84 | 0.020396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2761-2_0_6_line_82 |  | 82 | 83 | 0.020831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2761-2_0_6_line_83 |  | 83 | 97 | 0.033152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2761-2_0_6_line_84 |  | 84 | 85 | 0.022949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2761-2_0_6_line_85 |  | 85 | 93 | 0.012036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2761-2_0_6_line_86 |  | 85 | 90 | 0.013267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2761-2_0_6_line_87 |  | 86 | 87 | 0.0027937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2761-2_0_6_line_88 |  | 86 | 88 | 0.0069069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2761-2_0_6_line_89 |  | 87 | 89 | 0.0039489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2761-2_0_6_line_90 |  | 88 | 90 | 0.025327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2761-2_0_6_line_91 |  | 89 | 91 | 0.025058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2761-2_0_6_line_92 |  | 91 | 92 | 0.052541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2761-2_0_6_line_93 |  | 92 | 94 | 0.045439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2761-2_0_6_line_94 |  | 93 | 95 | 0.019467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2761-2_0_6_line_95 |  | 95 | 96 | 0.0044799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
96 | LV_2761-2_0_6_line_96 |  | 96 | 97 | 0.017072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2761-2_0_6_trafo_40 | 0.63 MVA 20/0.4 kV | 98 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2611852.3273 | 1257610.957 | 2611852.8699 | 1257621.1467
1 | 2611852.3273 | 1257610.957 | 2611851.1577 | 1257588.9202
2 | 2611850.2055 | 1257570.9815 | 2611851.1577 | 1257588.9202
3 | 2611945.8408 | 1257626.9991 | 2611949.4972 | 1257627.0621 | 2611956.5501 | 1257627.209
4 | 2611945.8408 | 1257626.9991 | 2611946.7397 | 1257612.1862
5 | 2611947.9765 | 1257591.8036 | 2611946.7397 | 1257612.1862
6 | 2611855.0388 | 1257570.6798 | 2611850.2055 | 1257570.9815
7 | 2611850.2055 | 1257570.9815 | 2611842.412 | 1257571.4629
8 | 2611933.7789 | 1257596.599 | 2611932.091 | 1257603.7004 | 2611931.3611 | 1257606.7676 | 2611927.3353 | 1257610.4287
9 | 2611927.3353 | 1257610.4287 | 2611925.0081 | 1257613.0035 | 2611915.7664 | 1257612.3957 | 2611908.9208 | 1257617.3082
10 | 2611933.7789 | 1257596.599 | 2611938.8127 | 1257594.0185 | 2611939.8757 | 1257590.2959 | 2611944.5042 | 1257590.572 | 2611948.0319 | 1257590.8904
11 | 2611933.7789 | 1257596.599 | 2611928.4598 | 1257596.6281
12 | 2611781.7916 | 1257675.4156 | 2611801.1823 | 1257671.8632
13 | 2611781.7916 | 1257675.4156 | 2611778.6506 | 1257642.8149
14 | 2611877.893 | 1257569.2355 | 2611887.2578 | 1257568.6427 | 2611892.065 | 1257551.1962
15 | 2611877.893 | 1257569.2355 | 2611866.1003 | 1257569.9808
16 | 2611892.065 | 1257551.1962 | 2611902.1859 | 1257549.582 | 2611916.4445 | 1257548.5988 | 2611919.664 | 1257548.5052
17 | 2611892.065 | 1257551.1962 | 2611887.304 | 1257551.9538
18 | 2611855.0388 | 1257570.6798 | 2611866.1003 | 1257569.9808
19 | 2611947.771 | 1257566.8627 | 2611949.2583 | 1257558.3267 | 2611949.5353 | 1257557.1425
20 | 2611947.771 | 1257566.8627 | 2611946.6548 | 1257574.5656 | 2611944.5042 | 1257590.572 | 2611948.0319 | 1257590.8904
21 | 2611947.771 | 1257566.8627 | 2611930.6868 | 1257567.0397 | 2611926.458 | 1257566.9704
22 | 2611951.2887 | 1257549.6471 | 2611949.5353 | 1257557.1425
23 | 2611948.0319 | 1257590.8904 | 2611950.2422 | 1257575.2066 | 2611969.0971 | 1257576.4167
24 | 2611947.9765 | 1257591.8036 | 2611948.0319 | 1257590.8904
25 | 2611926.458 | 1257566.9704 | 2611926.2911 | 1257566.9676
26 | 2611969.0971 | 1257576.4167 | 2611973.4153 | 1257576.6939
27 | 2611855.0388 | 1257570.6798 | 2611850.111 | 1257531.374
28 | 2611842.412 | 1257571.4629 | 2611829.6909 | 1257572.2486
29 | 2611951.2887 | 1257549.6471 | 2611932.1031 | 1257548.6444
30 | 2611951.2887 | 1257549.6471 | 2611954.5317 | 1257537.8458 | 2611954.8431 | 1257536.7123
31 | 2611995.1323 | 1257578.0877 | 2611973.4153 | 1257576.6939
32 | 2611849.0468 | 1257522.8854 | 2611850.111 | 1257531.374
33 | 2611829.6909 | 1257572.2486 | 2611812.1795 | 1257573.3302
34 | 2611847.6101 | 1257511.4254 | 2611849.0468 | 1257522.8854
35 | 2611812.1795 | 1257573.3302 | 2611799.1061 | 1257574.1377 | 2611781.7843 | 1257577.9909
36 | 2611919.664 | 1257548.5052 | 2611917.4407 | 1257533.0682
37 | 2611919.664 | 1257548.5052 | 2611925.8465 | 1257548.3174 | 2611932.1031 | 1257548.6444
38 | 2611847.6101 | 1257511.4254 | 2611808.9046 | 1257501.4652
39 | 2611917.4407 | 1257533.0682 | 2611921.7765 | 1257532.6766 | 2611932.6085 | 1257533.6545 | 2611933.4812 | 1257533.7745
40 | 2611917.4407 | 1257533.0682 | 2611917.4067 | 1257532.8323
41 | 2611934.3075 | 1257533.8882 | 2611933.4812 | 1257533.7745
42 | 2611907.9048 | 1257490.9987 | 2611915.0879 | 1257488.1778 | 2611937.5497 | 1257475.8257
43 | 2611907.9048 | 1257490.9987 | 2611906.1166 | 1257491.6956 | 2611886.0619 | 1257499.5674
44 | 2611944.6767 | 1257459.6292 | 2611937.5497 | 1257475.8257
45 | 2611944.6767 | 1257459.6292 | 2611948.8136 | 1257460.7271 | 2611959.0767 | 1257463.4606 | 2611969.9181 | 1257467.2516 | 2611978.7782 | 1257470.3493
46 | 2611978.7782 | 1257470.3493 | 2612006.982 | 1257478.2225
47 | 2611954.8431 | 1257536.7123 | 2611957.9722 | 1257525.2998 | 2611965.2327 | 1257504.4845
48 | 2612006.982 | 1257478.2225 | 2612013.1758 | 1257479.9473 | 2612034.2155 | 1257481.1795
49 | 2612006.982 | 1257478.2225 | 2612005.1997 | 1257494.7167
50 | 2612034.2155 | 1257481.1795 | 2612041.0505 | 1257486.4747 | 2612045.8385 | 1257493.667 | 2612048.967 | 1257502.8041
51 | 2612034.2155 | 1257481.1795 | 2612049.5407 | 1257471.1038 | 2612063.1062 | 1257467.589
52 | 2612005.1997 | 1257494.7167 | 2612005.0783 | 1257495.8397
53 | 2611772.6018 | 1257580.0336 | 2611781.7843 | 1257577.9909
54 | 2611772.6018 | 1257580.0336 | 2611776.5684 | 1257621.2038
55 | 2611772.6018 | 1257580.0336 | 2611772.169 | 1257575.9934
56 | 2611777.4976 | 1257630.8486 | 2611776.5684 | 1257621.2038
57 | 2611770.0485 | 1257556.1945 | 2611772.169 | 1257575.9934
58 | 2611778.6506 | 1257642.8149 | 2611777.4976 | 1257630.8486
59 | 2611770.0485 | 1257556.1945 | 2611769.0709 | 1257547.0668
60 | 2611766.8619 | 1257526.4423 | 2611769.0709 | 1257547.0668
61 | 2611766.8619 | 1257526.4423 | 2611766.1551 | 1257519.8435
62 | 2611764.9899 | 1257508.9645 | 2611766.1551 | 1257519.8435
63 | 2612005.0783 | 1257495.8397 | 2612002.548 | 1257519.2568
64 | 2612001.8012 | 1257526.1679 | 2612002.548 | 1257519.2568
65 | 2612001.8012 | 1257526.1679 | 2612000.659 | 1257536.7379 | 2611999.4157 | 1257546.0404
66 | 2612048.967 | 1257502.8041 | 2612049.9757 | 1257505.7501 | 2612050.747 | 1257511.7023
67 | 2612098.7524 | 1257471.1739 | 2612090.5099 | 1257470.8645 | 2612068.233 | 1257466.2607 | 2612063.1062 | 1257467.589
68 | 2612053.7615 | 1257534.9662 | 2612050.747 | 1257511.7023
69 | 2612000.3713 | 1257578.4207 | 2611995.1323 | 1257578.0877
70 | 2612000.3713 | 1257578.4207 | 2612007.1855 | 1257594.452
71 | 2612000.3713 | 1257578.4207 | 2612023.9939 | 1257565.5776
72 | 2612010.9288 | 1257603.2587 | 2612007.1855 | 1257594.452
73 | 2612023.9939 | 1257565.5776 | 2612031.3613 | 1257561.572 | 2612036.3806 | 1257560.4967
74 | 2612010.9288 | 1257603.2587 | 2612016.4966 | 1257605.06 | 2612020.5333 | 1257610.9165 | 2612020.3134 | 1257623.9649
75 | 2612055.1654 | 1257556.4723 | 2612036.3806 | 1257560.4967
76 | 2612127.3992 | 1257643.8254 | 2612127.295 | 1257643.5604
77 | 2612127.295 | 1257643.5604 | 2612121.8888 | 1257629.8015 | 2612120.9639 | 1257627.6827
78 | 2612116.2295 | 1257616.8376 | 2612120.9639 | 1257627.6827
79 | 2612116.2295 | 1257616.8376 | 2612107.5499 | 1257596.9552
80 | 2612098.493 | 1257575.75 | 2612099.0462 | 1257577.4755 | 2612107.5499 | 1257596.9552
81 | 2612098.493 | 1257575.75 | 2612092.267 | 1257556.328
82 | 2612062.9919 | 1257609.8199 | 2612060.8757 | 1257599.5683 | 2612059.2969 | 1257589.3257
83 | 2612055.1654 | 1257556.4723 | 2612055.4807 | 1257564.5673 | 2612059.2969 | 1257589.3257
84 | 2612085.2615 | 1257534.4742 | 2612092.267 | 1257556.328
85 | 2612085.2615 | 1257534.4742 | 2612073.2265 | 1257534.6622
86 | 2612085.2615 | 1257534.4742 | 2612098.4153 | 1257532.7464
87 | 2612129.5143 | 1257524.6132 | 2612129.5143 | 1257524.6132 | 2612131.9267 | 1257523.2041
88 | 2612129.5143 | 1257524.6132 | 2612122.9489 | 1257526.7579
89 | 2612135.3365 | 1257521.2125 | 2612131.9267 | 1257523.2041
90 | 2612098.4153 | 1257532.7464 | 2612099.4315 | 1257532.6129 | 2612110.978 | 1257530.6684 | 2612122.9489 | 1257526.7579
91 | 2612154.0492 | 1257505.1058 | 2612145.5242 | 1257515.2618 | 2612135.3365 | 1257521.2125
92 | 2612154.0492 | 1257505.1058 | 2612179.0069 | 1257529.5954 | 2612191.6526 | 1257541.8012
93 | 2612201.7732 | 1257582.1106 | 2612205.256 | 1257560.2253 | 2612204.2313 | 1257556.2205 | 2612193.3558 | 1257543.4452 | 2612191.6526 | 1257541.8012
94 | 2612053.7615 | 1257534.9662 | 2612073.2265 | 1257534.6622
95 | 2612053.7615 | 1257534.9662 | 2612054.0544 | 1257539.4365
96 | 2612055.1654 | 1257556.4723 | 2612055.151 | 1257556.1721 | 2612054.0544 | 1257539.4365

## bus_geodata
| x | y | coords
0 | 2611852.8699 | 1257621.1467
1 | 2611852.3273 | 1257610.957
2 | 2611851.1577 | 1257588.9202
3 | 2611945.8408 | 1257626.9991
4 | 2611956.5501 | 1257627.209
5 | 2611946.7397 | 1257612.1862
6 | 2611850.2055 | 1257570.9815
7 | 2611927.3354 | 1257610.4287
8 | 2611933.7789 | 1257596.599
9 | 2611908.9208 | 1257617.3082
10 | 2611801.1823 | 1257671.8632
11 | 2611781.7916 | 1257675.4156
12 | 2611877.893 | 1257569.2355
13 | 2611892.065 | 1257551.1962
14 | 2611866.1003 | 1257569.9808
15 | 2611928.4598 | 1257596.6281
16 | 2611947.771 | 1257566.8627
17 | 2611949.5353 | 1257557.1425
18 | 2611948.0319 | 1257590.8904
19 | 2611926.458 | 1257566.9704
20 | 2611969.0971 | 1257576.4167
21 | 2611947.9765 | 1257591.8036
22 | 2611855.0388 | 1257570.6798
23 | 2611842.412 | 1257571.4629
24 | 2611951.2887 | 1257549.6471
25 | 2611926.2911 | 1257566.9676
26 | 2611973.4153 | 1257576.6939
27 | 2611850.111 | 1257531.374
28 | 2611829.6909 | 1257572.2486
29 | 2611849.0468 | 1257522.8854
30 | 2611812.1795 | 1257573.3302
31 | 2611919.664 | 1257548.5052
32 | 2611887.304 | 1257551.9538
33 | 2611847.6101 | 1257511.4254
34 | 2611917.4407 | 1257533.0682
35 | 2611932.1031 | 1257548.6444
36 | 2611933.4812 | 1257533.7745
37 | 2611917.4067 | 1257532.8323
38 | 2611907.9048 | 1257490.9987
39 | 2611937.5497 | 1257475.8257
40 | 2611886.0619 | 1257499.5674
41 | 2611944.6767 | 1257459.6292
42 | 2611934.3075 | 1257533.8882
43 | 2611978.7782 | 1257470.3493
44 | 2611808.9046 | 1257501.4652
45 | 2611954.8431 | 1257536.7123
46 | 2611965.2327 | 1257504.4845
47 | 2612006.982 | 1257478.2225
48 | 2612034.2155 | 1257481.1795
49 | 2612005.1997 | 1257494.7167
50 | 2611781.7843 | 1257577.9909
51 | 2611772.6018 | 1257580.0336
52 | 2611776.5684 | 1257621.2038
53 | 2611772.169 | 1257575.9934
54 | 2611777.4976 | 1257630.8486
55 | 2611770.0485 | 1257556.1945
56 | 2611769.0709 | 1257547.0668
57 | 2611766.8619 | 1257526.4423
58 | 2611766.1551 | 1257519.8434
59 | 2611764.9899 | 1257508.9645
60 | 2611778.6506 | 1257642.8149
61 | 2612005.0783 | 1257495.8397
62 | 2612002.548 | 1257519.2568
63 | 2612001.8012 | 1257526.1679
64 | 2612048.967 | 1257502.8041
65 | 2612063.1062 | 1257467.589
66 | 2611999.4157 | 1257546.0404
67 | 2612050.747 | 1257511.7023
68 | 2612098.7524 | 1257471.1739
69 | 2611995.1323 | 1257578.0877
70 | 2612000.3713 | 1257578.4207
71 | 2612007.1855 | 1257594.452
72 | 2612023.9939 | 1257565.5776
73 | 2612010.9288 | 1257603.2587
74 | 2612020.3134 | 1257623.9649
75 | 2612036.3806 | 1257560.4967
76 | 2612127.295 | 1257643.5604
77 | 2612127.3992 | 1257643.8254
78 | 2612120.9639 | 1257627.6827
79 | 2612116.2295 | 1257616.8376
80 | 2612107.5499 | 1257596.9552
81 | 2612098.493 | 1257575.75
82 | 2612062.9919 | 1257609.8199
83 | 2612059.2969 | 1257589.3257
84 | 2612092.267 | 1257556.328
85 | 2612085.2614 | 1257534.4742
86 | 2612129.5143 | 1257524.6132
87 | 2612131.9267 | 1257523.2041
88 | 2612122.9489 | 1257526.7579
89 | 2612135.3365 | 1257521.2125
90 | 2612098.4153 | 1257532.7464
91 | 2612154.0492 | 1257505.1058
92 | 2612191.6526 | 1257541.8012
93 | 2612073.2265 | 1257534.6622
94 | 2612201.7732 | 1257582.1106
95 | 2612053.7615 | 1257534.9662
96 | 2612054.0544 | 1257539.4365
97 | 2612055.1654 | 1257556.4723
98 | 2611951.2887 | 1257549.6471

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1