## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2761-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2761-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2761-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2761-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2761-5_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2761-5_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2761-5_0_4_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_2761-5_0_4_node_154 | 0.4 | n |  | TRUE
8 | bus_LV_2761-5_0_4_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_2761-5_0_4_node_174 | 0.4 | n |  | TRUE
10 | bus_LV_2761-5_0_4_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_2761-5_0_4_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_2761-5_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2761-5_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2761-5_0_4_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_2761-5_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2761-5_0_4_node_153 | 0.4 | n |  | TRUE
17 | bus_LV_2761-5_0_4_node_152 | 0.4 | n |  | TRUE
18 | bus_LV_2761-5_0_4_node_155 | 0.4 | n |  | TRUE
19 | bus_LV_2761-5_0_4_node_156 | 0.4 | n |  | TRUE
20 | bus_LV_2761-5_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_2761-5_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_2761-5_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_2761-5_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_2761-5_0_4_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_2761-5_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_2761-5_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_2761-5_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_2761-5_0_4_node_182 | 0.4 | n |  | TRUE
29 | bus_LV_2761-5_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_2761-5_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_2761-5_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_2761-5_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_2761-5_0_4_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_2761-5_0_4_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_2761-5_0_4_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_2761-5_0_4_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_2761-5_0_4_node_162 | 0.4 | n |  | TRUE
38 | bus_LV_2761-5_0_4_node_163 | 0.4 | n |  | TRUE
39 | bus_LV_2761-5_0_4_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_2761-5_0_4_node_160 | 0.4 | n |  | TRUE
41 | bus_LV_2761-5_0_4_node_158 | 0.4 | n |  | TRUE
42 | bus_LV_2761-5_0_4_node_164 | 0.4 | n |  | TRUE
43 | bus_LV_2761-5_0_4_node_165 | 0.4 | n |  | TRUE
44 | bus_LV_2761-5_0_4_node_166 | 0.4 | n |  | TRUE
45 | bus_LV_2761-5_0_4_node_167 | 0.4 | n |  | TRUE
46 | bus_LV_2761-5_0_4_node_168 | 0.4 | n |  | TRUE
47 | bus_LV_2761-5_0_4_node_169 | 0.4 | n |  | TRUE
48 | bus_LV_2761-5_0_4_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_2761-5_0_4_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_2761-5_0_4_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_2761-5_0_4_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_2761-5_0_4_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_2761-5_0_4_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_2761-5_0_4_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_2761-5_0_4_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_2761-5_0_4_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_2761-5_0_4_node_171 | 0.4 | n |  | TRUE
58 | bus_LV_2761-5_0_4_node_170 | 0.4 | n |  | TRUE
59 | bus_LV_2761-5_0_4_node_172 | 0.4 | n |  | TRUE
60 | bus_LV_2761-5_0_4_node_173 | 0.4 | n |  | TRUE
61 | bus_LV_2761-5_0_4_node_149 | 0.4 | n |  | TRUE
62 | bus_LV_2761-5_0_4_node_151 | 0.4 | n |  | TRUE
63 | bus_MV_287_0_node_141 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2761-5_0_4_load_0 | 0 | 0.045305 | 0.011355 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2761-5_0_4_load_3 | 3 | 0.0067375 | 0.0016886 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2761-5_0_4_load_154 | 7 | 0.0012773 | 0.00032012 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2761-5_0_4_load_174 | 9 | 0.016309 | 0.0040874 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2761-5_0_4_load_20 | 10 | 0.0026956 | 0.00067557 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2761-5_0_4_load_30 | 11 | 0.0010048 | 0.00025183 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2761-5_0_4_load_6 | 12 | 0.003037 | 0.00076113 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2761-5_0_4_load_8 | 15 | 0.0013332 | 0.00033414 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2761-5_0_4_load_153 | 16 | 0.0012498 | 0.00031323 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2761-5_0_4_load_152 | 17 | 0.0020521 | 0.00051431 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2761-5_0_4_load_155 | 18 | 0.0033042 | 0.00082812 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2761-5_0_4_load_156 | 19 | 0.0034426 | 0.00086279 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2761-5_0_4_load_17 | 20 | 0.0058512 | 0.0014664 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2761-5_0_4_load_18 | 21 | 0.025479 | 0.0063857 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2761-5_0_4_load_21 | 23 | 0.0077994 | 0.0019547 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2761-5_0_4_load_22 | 25 | 0.00275 | 0.00068922 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2761-5_0_4_load_182 | 28 | 0.018604 | 0.0046626 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2761-5_0_4_load_26 | 29 | 0.003132 | 0.00078497 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2761-5_0_4_load_28 | 31 | 0.0066228 | 0.0016598 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2761-5_0_4_load_29 | 32 | 0.0053224 | 0.0013339 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2761-5_0_4_load_31 | 33 | 0.0057093 | 0.0014309 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2761-5_0_4_load_33 | 34 | 0.013628 | 0.0034156 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2761-5_0_4_load_34 | 35 | 0.0057925 | 0.0014517 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2761-5_0_4_load_36 | 36 | 0.0085951 | 0.0021541 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2761-5_0_4_load_162 | 37 | 0.002088 | 0.00052329 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2761-5_0_4_load_163 | 38 | 0.014231 | 0.0035665 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2761-5_0_4_load_64 | 39 | 0.0041824 | 0.0010482 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2761-5_0_4_load_160 | 40 | 0.0061302 | 0.0015364 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2761-5_0_4_load_164 | 42 | 0.0093075 | 0.0023327 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2761-5_0_4_load_165 | 43 | 0.0022362 | 0.00056045 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2761-5_0_4_load_166 | 44 | 0.0027076 | 0.00067858 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2761-5_0_4_load_167 | 45 | 0.0014053 | 0.0003522 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2761-5_0_4_load_168 | 46 | 0.0025275 | 0.00063345 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2761-5_0_4_load_169 | 47 | 0.00093077 | 0.00023327 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2761-5_0_4_load_49 | 48 | 0.0022844 | 0.00057251 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2761-5_0_4_load_50 | 49 | 0.0033345 | 0.0008357 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2761-5_0_4_load_51 | 50 | 0.0024586 | 0.00061619 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2761-5_0_4_load_54 | 51 | 0.0056015 | 0.0014039 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2761-5_0_4_load_52 | 52 | 0.0010754 | 0.00026952 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2761-5_0_4_load_53 | 53 | 0.002653 | 0.00066491 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2761-5_0_4_load_55 | 54 | 0.0022359 | 0.00056036 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2761-5_0_4_load_56 | 55 | 0.01448 | 0.0036291 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2761-5_0_4_load_58 | 56 | 0.0075327 | 0.0018879 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2761-5_0_4_load_171 | 57 | 0.00090796 | 0.00022756 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2761-5_0_4_load_170 | 58 | 0.0014913 | 0.00037376 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2761-5_0_4_load_172 | 59 | 0.0049871 | 0.0012499 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2761-5_0_4_load_173 | 60 | 0.001512 | 0.00037893 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2761-5_0_4_load_149 | 61 | 0.0032485 | 0.00081415 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2761-5_0_4_line_0 |  | 0 | 1 | 0.049036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2761-5_0_4_line_1 |  | 0 | 2 | 0.03896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2761-5_0_4_line_2 |  | 1 | 3 | 0.038055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2761-5_0_4_line_3 |  | 1 | 4 | 0.055203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2761-5_0_4_line_4 |  | 2 | 5 | 0.016812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2761-5_0_4_line_5 |  | 3 | 6 | 0.019862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2761-5_0_4_line_6 |  | 3 | 7 | 0.067212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2761-5_0_4_line_7 |  | 4 | 8 | 0.073939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2761-5_0_4_line_8 |  | 4 | 9 | 0.011466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2761-5_0_4_line_9 |  | 5 | 10 | 0.0021644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2761-5_0_4_line_10 |  | 5 | 11 | 0.037893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2761-5_0_4_line_11 |  | 6 | 35 | 0.030957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2761-5_0_4_line_12 |  | 6 | 33 | 0.024846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2761-5_0_4_line_13 |  | 7 | 16 | 0.00011063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2761-5_0_4_line_14 |  | 8 | 38 | 0.019267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2761-5_0_4_line_15 |  | 8 | 39 | 0.029717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2761-5_0_4_line_16 |  | 9 | 60 | 0.036234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2761-5_0_4_line_17 |  | 10 | 21 | 0.03031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2761-5_0_4_line_18 |  | 11 | 32 | 0.0030426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2761-5_0_4_line_19 |  | 12 | 13 | 0.019928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2761-5_0_4_line_20 |  | 12 | 14 | 0.077445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2761-5_0_4_line_21 |  | 13 | 15 | 0.01994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2761-5_0_4_line_22 |  | 14 | 54 | 0.11494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2761-5_0_4_line_23 |  | 16 | 17 | 0.021796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2761-5_0_4_line_24 |  | 17 | 62 | 0.020224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2761-5_0_4_line_25 |  | 18 | 19 | 6.799e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2761-5_0_4_line_26 |  | 19 | 41 | 0.041219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2761-5_0_4_line_27 |  | 20 | 21 | 0.009525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2761-5_0_4_line_28 |  | 20 | 22 | 0.013919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2761-5_0_4_line_29 |  | 22 | 23 | 0.012388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2761-5_0_4_line_30 |  | 23 | 24 | 0.021007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2761-5_0_4_line_31 |  | 24 | 25 | 0.026236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2761-5_0_4_line_32 |  | 25 | 26 | 0.019036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2761-5_0_4_line_33 |  | 26 | 27 | 0.054062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2761-5_0_4_line_34 |  | 27 | 28 | 0.060073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2761-5_0_4_line_35 |  | 29 | 30 | 0.03345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2761-5_0_4_line_36 |  | 30 | 31 | 0.025171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2761-5_0_4_line_37 |  | 30 | 32 | 0.019085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2761-5_0_4_line_38 |  | 33 | 34 | 0.01685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2761-5_0_4_line_39 |  | 34 | 36 | 0.027145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2761-5_0_4_line_40 |  | 35 | 37 | 0.01319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2761-5_0_4_line_41 |  | 36 | 40 | 0.032057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2761-5_0_4_line_42 |  | 38 | 42 | 0.020996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2761-5_0_4_line_43 |  | 39 | 56 | 0.026997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2761-5_0_4_line_44 |  | 40 | 41 | 0.012077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2761-5_0_4_line_45 |  | 42 | 43 | 0.0078469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2761-5_0_4_line_46 |  | 43 | 44 | 0.0079561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2761-5_0_4_line_47 |  | 44 | 45 | 0.0066079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2761-5_0_4_line_48 |  | 45 | 46 | 0.010511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2761-5_0_4_line_49 |  | 46 | 47 | 0.0014964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2761-5_0_4_line_50 |  | 47 | 57 | 0.0012996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2761-5_0_4_line_51 |  | 48 | 49 | 0.0042853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2761-5_0_4_line_52 |  | 48 | 50 | 0.011955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2761-5_0_4_line_53 |  | 49 | 51 | 0.054821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2761-5_0_4_line_54 |  | 50 | 52 | 0.014026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2761-5_0_4_line_55 |  | 51 | 55 | 0.035942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2761-5_0_4_line_56 |  | 51 | 53 | 0.026359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2761-5_0_4_line_57 |  | 53 | 54 | 0.028081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2761-5_0_4_line_58 |  | 55 | 56 | 0.030692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2761-5_0_4_line_59 |  | 57 | 58 | 0.0068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2761-5_0_4_line_60 |  | 58 | 59 | 0.0013024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2761-5_0_4_line_61 |  | 61 | 62 | 0.0033542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2761-5_0_4_trafo_35 | 0.63 MVA 20/0.4 kV | 63 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2611685.3797 | 1257853.1113 | 2611661.4029 | 1257866.3398 | 2611658.0503 | 1257869.0573 | 2611651.2635 | 1257873.8695 | 2611648.2539 | 1257882.3693
1 | 2611620.0139 | 1257909.2098 | 2611648.2539 | 1257882.3693
2 | 2611685.3797 | 1257853.1113 | 2611694.2814 | 1257850.1046 | 2611719.5658 | 1257842.8939 | 2611721.9044 | 1257842.098
3 | 2611679.4468 | 1257814.6517 | 2611685.466 | 1257813.0402 | 2611688.2752 | 1257822.1184 | 2611692.326 | 1257840.0495 | 2611683.6743 | 1257842.4119 | 2611682.3769 | 1257842.7652 | 2611685.3797 | 1257853.1113
4 | 2611603.9764 | 1257914.4043 | 2611620.0139 | 1257909.2098
5 | 2611721.9044 | 1257842.098 | 2611722.2527 | 1257822.2409
6 | 2611721.9044 | 1257842.098 | 2611720.8094 | 1257904.2708 | 2611721.8561 | 1257909.1902
7 | 2611630.9684 | 1257847.2119 | 2611662.9653 | 1257838.4686 | 2611684.3041 | 1257832.6622 | 2611679.4468 | 1257814.6517
8 | 2611679.4468 | 1257814.6517 | 2611676.4611 | 1257803.5811
9 | 2611603.9764 | 1257914.4043 | 2611604.5498 | 1257916.4914
10 | 2611603.9764 | 1257914.4043 | 2611597.5687 | 1257891.065 | 2611584.3646 | 1257894.6813
11 | 2611722.2527 | 1257822.2409 | 2611737.6238 | 1257818.7244 | 2611752.4295 | 1257815.3355
12 | 2611722.2527 | 1257822.2409 | 2611725.8532 | 1257804.6918 | 2611724.4075 | 1257797.9127
13 | 2611721.8561 | 1257909.1902 | 2611721.8791 | 1257909.2984
14 | 2611630.9684 | 1257847.2119 | 2611625.8707 | 1257828.6319
15 | 2611630.9684 | 1257847.2119 | 2611602.3721 | 1257855.2972
16 | 2611667.0261 | 1257768.5971 | 2611676.4611 | 1257803.5811
17 | 2611612.5796 | 1257945.7188 | 2611604.5498 | 1257916.4914
18 | 2611581.43 | 1257895.485 | 2611584.3646 | 1257894.6813
19 | 2611264.2721 | 1257974.303 | 2611283.3734 | 1257968.6219
20 | 2611350.1405 | 1257929.3804 | 2611283.3734 | 1257968.6219
21 | 2611264.2721 | 1257974.303 | 2611245.1028 | 1257979.7921
22 | 2611350.1405 | 1257929.3804 | 2611358.8933 | 1257925.2276 | 2611459.9852 | 1257895.9251
23 | 2611726.4154 | 1257930.6176 | 2611721.8791 | 1257909.2984
24 | 2611730.6244 | 1257950.3989 | 2611726.4154 | 1257930.6176
25 | 2611786.4163 | 1257721.7347 | 2611786.4109 | 1257721.667
26 | 2611789.7002 | 1257762.8232 | 2611786.4163 | 1257721.7347
27 | 2611612.5796 | 1257945.7188 | 2611615.1029 | 1257954.9035
28 | 2611618.7902 | 1257968.3249 | 2611615.1029 | 1257954.9035
29 | 2611618.7902 | 1257968.3249 | 2611607.2737 | 1257972.8889
30 | 2611587.7446 | 1257980.6282 | 2611607.2737 | 1257972.8889
31 | 2611587.7446 | 1257980.6282 | 2611563.1259 | 1257989.6978
32 | 2611545.2639 | 1257996.2783 | 2611563.1259 | 1257989.6978
33 | 2611545.2639 | 1257996.2783 | 2611542.5407 | 1257997.1625 | 2611504.3939 | 1258009.5081 | 2611493.9456 | 1258013.2682
34 | 2611493.9456 | 1258013.2682 | 2611475.8504 | 1257955.9726
35 | 2611563.0227 | 1257900.5264 | 2611572.8872 | 1257932.4885
36 | 2611563.0227 | 1257900.5264 | 2611538.8241 | 1257907.4538
37 | 2611563.0227 | 1257900.5264 | 2611581.43 | 1257895.485
38 | 2611720.8932 | 1257781.4331 | 2611724.4075 | 1257797.9127
39 | 2611720.8932 | 1257781.4331 | 2611747.0965 | 1257774.3454
40 | 2611752.4295 | 1257815.3355 | 2611765.2869 | 1257812.3925
41 | 2611747.0965 | 1257774.3454 | 2611778.0417 | 1257765.9751
42 | 2611625.8707 | 1257828.6319 | 2611620.3155 | 1257808.3842
43 | 2611576.3937 | 1257862.6423 | 2611602.3721 | 1257855.2972
44 | 2611789.7002 | 1257762.8232 | 2611781.2067 | 1257765.119 | 2611778.0417 | 1257765.9751
45 | 2611618.2393 | 1257800.8169 | 2611620.3155 | 1257808.3842
46 | 2611618.2393 | 1257800.8169 | 2611616.1342 | 1257793.1443
47 | 2611614.3859 | 1257786.7719 | 2611616.1342 | 1257793.1443
48 | 2611614.3859 | 1257786.7719 | 2611611.6047 | 1257776.6352
49 | 2611611.6047 | 1257776.6352 | 2611611.2088 | 1257775.1921
50 | 2611610.8649 | 1257773.9388 | 2611611.2088 | 1257775.1921
51 | 2611507.9441 | 1257821.9147 | 2611509.0915 | 1257826.0435
52 | 2611507.9441 | 1257821.9147 | 2611504.7431 | 1257810.3961
53 | 2611512.2736 | 1257880.7716 | 2611509.0915 | 1257826.0435
54 | 2611500.9877 | 1257796.8824 | 2611504.7431 | 1257810.3961
55 | 2611512.2736 | 1257880.7716 | 2611546.8599 | 1257870.9927
56 | 2611486.9563 | 1257888.1073 | 2611511.8875 | 1257880.8807 | 2611512.2736 | 1257880.7716
57 | 2611486.9563 | 1257888.1073 | 2611459.9852 | 1257895.9251
58 | 2611546.8599 | 1257870.9927 | 2611576.3937 | 1257862.6423
59 | 2611609.0658 | 1257767.3812 | 2611610.8649 | 1257773.9388
60 | 2611608.7212 | 1257766.1252 | 2611609.0658 | 1257767.3812
61 | 2611730.6244 | 1257950.3989 | 2611731.3243 | 1257953.6792

## bus_geodata
| x | y | coords
0 | 2611648.2539 | 1257882.3693
1 | 2611685.3797 | 1257853.1113
2 | 2611620.0139 | 1257909.2098
3 | 2611721.9044 | 1257842.098
4 | 2611679.4468 | 1257814.6517
5 | 2611603.9764 | 1257914.4043
6 | 2611722.2527 | 1257822.2409
7 | 2611721.8561 | 1257909.1902
8 | 2611630.9684 | 1257847.2119
9 | 2611676.4611 | 1257803.5811
10 | 2611604.5498 | 1257916.4914
11 | 2611584.3646 | 1257894.6813
12 | 2611283.3734 | 1257968.6219
13 | 2611264.2721 | 1257974.303
14 | 2611350.1405 | 1257929.3804
15 | 2611245.1028 | 1257979.7921
16 | 2611721.8791 | 1257909.2984
17 | 2611726.4154 | 1257930.6176
18 | 2611786.4109 | 1257721.667
19 | 2611786.4163 | 1257721.7347
20 | 2611615.1029 | 1257954.9035
21 | 2611612.5796 | 1257945.7188
22 | 2611618.7902 | 1257968.3249
23 | 2611607.2737 | 1257972.8889
24 | 2611587.7446 | 1257980.6282
25 | 2611563.1259 | 1257989.6978
26 | 2611545.2639 | 1257996.2783
27 | 2611493.9456 | 1258013.2682
28 | 2611475.8504 | 1257955.9726
29 | 2611572.8872 | 1257932.4885
30 | 2611563.0227 | 1257900.5264
31 | 2611538.8241 | 1257907.4538
32 | 2611581.43 | 1257895.485
33 | 2611724.4075 | 1257797.9127
34 | 2611720.8932 | 1257781.4331
35 | 2611752.4295 | 1257815.3355
36 | 2611747.0965 | 1257774.3454
37 | 2611765.2869 | 1257812.3925
38 | 2611625.8707 | 1257828.6319
39 | 2611602.3721 | 1257855.2972
40 | 2611778.0417 | 1257765.9751
41 | 2611789.7002 | 1257762.8232
42 | 2611620.3155 | 1257808.3842
43 | 2611618.2393 | 1257800.8169
44 | 2611616.1342 | 1257793.1443
45 | 2611614.3859 | 1257786.7719
46 | 2611611.6047 | 1257776.6352
47 | 2611611.2088 | 1257775.1921
48 | 2611507.9441 | 1257821.9147
49 | 2611509.0915 | 1257826.0435
50 | 2611504.7431 | 1257810.3961
51 | 2611512.2736 | 1257880.7716
52 | 2611500.9877 | 1257796.8824
53 | 2611486.9563 | 1257888.1073
54 | 2611459.9852 | 1257895.9251
55 | 2611546.8599 | 1257870.9927
56 | 2611576.3937 | 1257862.6423
57 | 2611610.8649 | 1257773.9388
58 | 2611609.0658 | 1257767.3812
59 | 2611608.7212 | 1257766.1252
60 | 2611667.0261 | 1257768.5971
61 | 2611731.3243 | 1257953.6792
62 | 2611730.6244 | 1257950.3989
63 | 2611684.3041 | 1257832.6622

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1