## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2762-25_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2762-25_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2762-25_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2762-25_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2762-25_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2762-25_0_6_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_2762-25_0_6_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_2762-25_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2762-25_0_6_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_2762-25_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2762-25_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2762-25_0_6_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_2762-25_0_6_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_2762-25_0_6_node_115 | 0.4 | n |  | TRUE
14 | bus_LV_2762-25_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2762-25_0_6_node_87 | 0.4 | n |  | TRUE
16 | bus_LV_2762-25_0_6_node_80 | 0.4 | n |  | TRUE
17 | bus_LV_2762-25_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2762-25_0_6_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_2762-25_0_6_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_2762-25_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2762-25_0_6_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_2762-25_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2762-25_0_6_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_2762-25_0_6_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_2762-25_0_6_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_2762-25_0_6_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_2762-25_0_6_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_2762-25_0_6_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_2762-25_0_6_node_112 | 0.4 | n |  | TRUE
30 | bus_LV_2762-25_0_6_node_88 | 0.4 | n |  | TRUE
31 | bus_LV_2762-25_0_6_node_78 | 0.4 | n |  | TRUE
32 | bus_LV_2762-25_0_6_node_99 | 0.4 | n |  | TRUE
33 | bus_LV_2762-25_0_6_node_98 | 0.4 | n |  | TRUE
34 | bus_LV_2762-25_0_6_node_100 | 0.4 | n |  | TRUE
35 | bus_LV_2762-25_0_6_node_101 | 0.4 | n |  | TRUE
36 | bus_LV_2762-25_0_6_node_75 | 0.4 | n |  | TRUE
37 | bus_LV_2762-25_0_6_node_114 | 0.4 | n |  | TRUE
38 | bus_LV_2762-25_0_6_node_113 | 0.4 | n |  | TRUE
39 | bus_LV_2762-25_0_6_node_103 | 0.4 | n |  | TRUE
40 | bus_LV_2762-25_0_6_node_104 | 0.4 | n |  | TRUE
41 | bus_LV_2762-25_0_6_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_2762-25_0_6_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_2762-25_0_6_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_2762-25_0_6_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_2762-25_0_6_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_2762-25_0_6_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_2762-25_0_6_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_2762-25_0_6_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_2762-25_0_6_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_2762-25_0_6_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_2762-25_0_6_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_2762-25_0_6_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_2762-25_0_6_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_2762-25_0_6_node_73 | 0.4 | n |  | TRUE
55 | bus_LV_2762-25_0_6_node_72 | 0.4 | n |  | TRUE
56 | bus_LV_2762-25_0_6_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_2762-25_0_6_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_2762-25_0_6_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_2762-25_0_6_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_2762-25_0_6_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_2762-25_0_6_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_2762-25_0_6_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_2762-25_0_6_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_2762-25_0_6_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_2762-25_0_6_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_2762-25_0_6_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_2762-25_0_6_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_2762-25_0_6_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_2762-25_0_6_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_2762-25_0_6_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_2762-25_0_6_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_2762-25_0_6_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_2762-25_0_6_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_2762-25_0_6_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_2762-25_0_6_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_2762-25_0_6_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_2762-25_0_6_node_85 | 0.4 | n |  | TRUE
78 | bus_LV_2762-25_0_6_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_2762-25_0_6_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_2762-25_0_6_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_2762-25_0_6_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_2762-25_0_6_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_2762-25_0_6_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_2762-25_0_6_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_2762-25_0_6_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_2762-25_0_6_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_2762-25_0_6_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_2762-25_0_6_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_2762-25_0_6_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_2762-25_0_6_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_2762-25_0_6_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_2762-25_0_6_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_2762-25_0_6_node_91 | 0.4 | n |  | TRUE
94 | bus_LV_2762-25_0_6_node_92 | 0.4 | n |  | TRUE
95 | bus_LV_2762-25_0_6_node_93 | 0.4 | n |  | TRUE
96 | bus_LV_2762-25_0_6_node_94 | 0.4 | n |  | TRUE
97 | bus_LV_2762-25_0_6_node_95 | 0.4 | n |  | TRUE
98 | bus_LV_2762-25_0_6_node_96 | 0.4 | n |  | TRUE
99 | bus_LV_2762-25_0_6_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_2762-25_0_6_node_102 | 0.4 | n |  | TRUE
101 | bus_LV_2762-25_0_6_node_106 | 0.4 | n |  | TRUE
102 | bus_LV_2762-25_0_6_node_105 | 0.4 | n |  | TRUE
103 | bus_LV_2762-25_0_6_node_107 | 0.4 | n |  | TRUE
104 | bus_LV_2762-25_0_6_node_108 | 0.4 | n |  | TRUE
105 | bus_LV_2762-25_0_6_node_109 | 0.4 | n |  | TRUE
106 | bus_LV_2762-25_0_6_node_110 | 0.4 | n |  | TRUE
107 | bus_LV_2762-25_0_6_node_111 | 0.4 | n |  | TRUE
108 | bus_MV_566_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2762-25_0_6_load_0 | 0 | 0.0098438 | 0.0024671 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2762-25_0_6_load_1 | 1 | 0.0042877 | 0.0010746 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2762-25_0_6_load_3 | 3 | 0.0043303 | 0.0010853 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2762-25_0_6_load_4 | 4 | 0.007727 | 0.0019366 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2762-25_0_6_load_16 | 5 | 0.0052011 | 0.0013035 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2762-25_0_6_load_19 | 8 | 0.0078179 | 0.0019593 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2762-25_0_6_load_15 | 11 | 0.0087721 | 0.0021985 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2762-25_0_6_load_115 | 13 | 0.010558 | 0.002646 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2762-25_0_6_load_87 | 15 | 0.0053686 | 0.0013455 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2762-25_0_6_load_80 | 16 | 0.0024698 | 0.000619 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2762-25_0_6_load_47 | 18 | 0.0077243 | 0.0019359 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2762-25_0_6_load_46 | 19 | 0.020147 | 0.0050492 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2762-25_0_6_load_14 | 20 | 0.010632 | 0.0026647 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2762-25_0_6_load_18 | 21 | 0.0033628 | 0.0008428 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2762-25_0_6_load_13 | 22 | 0.039972 | 0.010018 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2762-25_0_6_load_40 | 24 | 0.0072842 | 0.0018256 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2762-25_0_6_load_50 | 27 | 0.0028262 | 0.00070832 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2762-25_0_6_load_49 | 28 | 0.016054 | 0.0040235 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2762-25_0_6_load_112 | 29 | 0.0032204 | 0.00080712 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2762-25_0_6_load_88 | 30 | 0.0045626 | 0.0011435 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2762-25_0_6_load_78 | 31 | 0.0035803 | 0.0008973 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2762-25_0_6_load_99 | 32 | 0.0030829 | 0.00077264 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2762-25_0_6_load_98 | 33 | 0.0029737 | 0.00074528 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2762-25_0_6_load_100 | 34 | 0.0043221 | 0.0010832 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2762-25_0_6_load_101 | 35 | 0.0040884 | 0.0010246 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2762-25_0_6_load_114 | 37 | 0.0018505 | 0.00046378 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2762-25_0_6_load_113 | 38 | 0.0019444 | 0.00048732 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2762-25_0_6_load_103 | 39 | 0.012399 | 0.0031074 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2762-25_0_6_load_104 | 40 | 0.0027796 | 0.00069664 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2762-25_0_6_load_22 | 41 | 0.022702 | 0.0056897 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2762-25_0_6_load_23 | 42 | 0.0060617 | 0.0015192 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2762-25_0_6_load_24 | 43 | 0.0068028 | 0.0017049 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2762-25_0_6_load_25 | 44 | 0.0054877 | 0.0013754 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2762-25_0_6_load_26 | 45 | 0.034863 | 0.0087375 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2762-25_0_6_load_45 | 47 | 0.0061731 | 0.0015471 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2762-25_0_6_load_33 | 48 | 0.0020897 | 0.00052372 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2762-25_0_6_load_30 | 49 | 0.015062 | 0.0037748 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2762-25_0_6_load_48 | 50 | 0.0033571 | 0.00084137 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2762-25_0_6_load_27 | 51 | 0.041633 | 0.010434 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2762-25_0_6_load_28 | 52 | 0.0026637 | 0.0006676 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2762-25_0_6_load_29 | 53 | 0.00072413 | 0.00018148 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2762-25_0_6_load_73 | 54 | 0.0006648 | 0.00016662 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2762-25_0_6_load_72 | 55 | 0.00048859 | 0.00012245 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2762-25_0_6_load_38 | 56 | 0.0069378 | 0.0017388 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2762-25_0_6_load_36 | 57 | 0.0026548 | 0.00066536 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2762-25_0_6_load_37 | 58 | 0.0026186 | 0.00065628 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2762-25_0_6_load_74 | 59 | 0.00072469 | 0.00018163 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2762-25_0_6_load_70 | 60 | 0.0007717 | 0.00019341 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2762-25_0_6_load_41 | 61 | 0.008105 | 0.0020313 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2762-25_0_6_load_58 | 62 | 0.0039587 | 0.00099213 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2762-25_0_6_load_59 | 63 | 0.002291 | 0.00057417 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2762-25_0_6_load_56 | 64 | 0.0039456 | 0.00098886 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2762-25_0_6_load_67 | 65 | 0.0099676 | 0.0024981 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2762-25_0_6_load_57 | 66 | 0.0077004 | 0.0019299 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2762-25_0_6_load_51 | 67 | 0.00835 | 0.0020927 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2762-25_0_6_load_52 | 68 | 0.0010326 | 0.00025881 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2762-25_0_6_load_53 | 69 | 0.00075587 | 0.00018944 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2762-25_0_6_load_54 | 70 | 0.00062482 | 0.00015659 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2762-25_0_6_load_55 | 71 | 0.0054983 | 0.001378 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2762-25_0_6_load_71 | 72 | 0.00087092 | 0.00021827 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2762-25_0_6_load_62 | 74 | 0.0027585 | 0.00069135 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2762-25_0_6_load_60 | 75 | 0.0020773 | 0.00052061 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2762-25_0_6_load_84 | 76 | 0.0020212 | 0.00050656 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2762-25_0_6_load_85 | 77 | 0.0040525 | 0.0010157 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2762-25_0_6_load_64 | 78 | 0.001749 | 0.00043834 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2762-25_0_6_load_63 | 79 | 0.0081828 | 0.0020508 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2762-25_0_6_load_66 | 81 | 0.001557 | 0.00039022 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2762-25_0_6_load_68 | 82 | 0.00824 | 0.0020651 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2762-25_0_6_load_69 | 83 | 0.0091021 | 0.0022812 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2762-25_0_6_load_82 | 85 | 0.0021706 | 0.000544 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2762-25_0_6_load_83 | 86 | 0.0027541 | 0.00069024 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2762-25_0_6_load_76 | 87 | 0.0081827 | 0.0020508 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2762-25_0_6_load_77 | 88 | 0.0050327 | 0.0012613 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2762-25_0_6_load_79 | 89 | 0.0073382 | 0.0018391 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2762-25_0_6_load_86 | 90 | 0.001925 | 0.00048246 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2762-25_0_6_load_89 | 91 | 0.0051384 | 0.0012878 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2762-25_0_6_load_90 | 92 | 0.0022286 | 0.00055853 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2762-25_0_6_load_91 | 93 | 0.0043845 | 0.0010988 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2762-25_0_6_load_92 | 94 | 0.0031532 | 0.00079025 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2762-25_0_6_load_93 | 95 | 0.0023115 | 0.00057932 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2762-25_0_6_load_94 | 96 | 0.0026296 | 0.00065905 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2762-25_0_6_load_95 | 97 | 0.0044662 | 0.0011193 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2762-25_0_6_load_96 | 98 | 0.0020315 | 0.00050913 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2762-25_0_6_load_97 | 99 | 0.0025113 | 0.00062939 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2762-25_0_6_load_102 | 100 | 0.0080021 | 0.0020055 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2762-25_0_6_load_106 | 101 | 0.0034584 | 0.00086675 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2762-25_0_6_load_105 | 102 | 0.001771 | 0.00044386 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2762-25_0_6_load_107 | 103 | 0.0018811 | 0.00047144 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2762-25_0_6_load_108 | 104 | 0.0018842 | 0.00047223 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2762-25_0_6_load_109 | 105 | 0.0018915 | 0.00047406 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2762-25_0_6_load_110 | 106 | 0.0079989 | 0.0020047 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2762-25_0_6_load_111 | 107 | 0.00245 | 0.00061402 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 82 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2762-25_0_6_line_0 |  | 0 | 1 | 0.0060527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2762-25_0_6_line_1 |  | 0 | 2 | 0.022292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2762-25_0_6_line_2 |  | 1 | 3 | 0.001657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2762-25_0_6_line_3 |  | 2 | 4 | 0.013316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2762-25_0_6_line_4 |  | 3 | 5 | 0.031293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2762-25_0_6_line_5 |  | 4 | 6 | 0.008383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2762-25_0_6_line_6 |  | 5 | 20 | 0.00029699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2762-25_0_6_line_7 |  | 6 | 21 | 0.033015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2762-25_0_6_line_8 |  | 6 | 7 | 0.015551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2762-25_0_6_line_9 |  | 7 | 8 | 0.020098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2762-25_0_6_line_10 |  | 9 | 10 | 0.069699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2762-25_0_6_line_11 |  | 9 | 11 | 0.016781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2762-25_0_6_line_12 |  | 10 | 12 | 0.024705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2762-25_0_6_line_13 |  | 10 | 13 | 0.016136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2762-25_0_6_line_14 |  | 11 | 22 | 0.01574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2762-25_0_6_line_15 |  | 12 | 19 | 0.015899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2762-25_0_6_line_16 |  | 12 | 14 | 0.006246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_2762-25_0_6_line_17 |  | 13 | 29 | 0.057193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2762-25_0_6_line_18 |  | 14 | 15 | 0.02774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2762-25_0_6_line_19 |  | 14 | 16 | 0.012253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2762-25_0_6_line_20 |  | 15 | 30 | 0.015043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2762-25_0_6_line_21 |  | 16 | 31 | 0.0087154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2762-25_0_6_line_22 |  | 17 | 18 | 0.02252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2762-25_0_6_line_23 |  | 17 | 19 | 0.017018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2762-25_0_6_line_24 |  | 18 | 36 | 0.0088619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2762-25_0_6_line_25 |  | 20 | 22 | 0.012084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2762-25_0_6_line_26 |  | 21 | 37 | 0.00010733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2762-25_0_6_line_27 |  | 23 | 24 | 0.046208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2762-25_0_6_line_28 |  | 23 | 25 | 0.003543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2762-25_0_6_line_29 |  | 24 | 61 | 0.0284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2762-25_0_6_line_30 |  | 25 | 57 | 0.021986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2762-25_0_6_line_31 |  | 26 | 27 | 0.022447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2762-25_0_6_line_32 |  | 26 | 28 | 0.034945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2762-25_0_6_line_33 |  | 27 | 64 | 0.024019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2762-25_0_6_line_34 |  | 28 | 50 | 0.0083111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2762-25_0_6_line_35 |  | 29 | 101 | 0.0066372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2762-25_0_6_line_36 |  | 30 | 91 | 0.0099068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2762-25_0_6_line_37 |  | 31 | 87 | 0.024427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2762-25_0_6_line_38 |  | 32 | 33 | 0.0080952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2762-25_0_6_line_39 |  | 33 | 99 | 0.014012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2762-25_0_6_line_40 |  | 34 | 35 | 0.03444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2762-25_0_6_line_41 |  | 35 | 100 | 0.019006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2762-25_0_6_line_42 |  | 36 | 65 | 0.023787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2762-25_0_6_line_43 |  | 37 | 38 | 3.0258e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2762-25_0_6_line_44 |  | 38 | 107 | 0.016417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2762-25_0_6_line_45 |  | 39 | 40 | 0.022303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2762-25_0_6_line_46 |  | 40 | 102 | 0.0045965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2762-25_0_6_line_47 |  | 41 | 42 | 0.0053872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2762-25_0_6_line_48 |  | 41 | 43 | 0.016323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2762-25_0_6_line_49 |  | 42 | 44 | 0.015543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2762-25_0_6_line_50 |  | 43 | 45 | 0.035191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2762-25_0_6_line_51 |  | 44 | 46 | 0.016965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2762-25_0_6_line_52 |  | 45 | 47 | 0.037731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2762-25_0_6_line_53 |  | 46 | 48 | 0.014231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2762-25_0_6_line_54 |  | 46 | 49 | 0.024644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2762-25_0_6_line_55 |  | 47 | 50 | 0.0019498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2762-25_0_6_line_56 |  | 48 | 56 | 0.068107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2762-25_0_6_line_57 |  | 51 | 52 | 0.040333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2762-25_0_6_line_58 |  | 52 | 53 | 0.0022941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2762-25_0_6_line_59 |  | 53 | 54 | 0.0088024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2762-25_0_6_line_60 |  | 54 | 55 | 0.011377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2762-25_0_6_line_61 |  | 55 | 72 | 0.00044972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2762-25_0_6_line_62 |  | 56 | 58 | 0.042278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2762-25_0_6_line_63 |  | 57 | 58 | 0.0002475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2762-25_0_6_line_64 |  | 59 | 60 | 0.0082696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2762-25_0_6_line_65 |  | 60 | 83 | 0.0065483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2762-25_0_6_line_66 |  | 62 | 63 | 0.0086728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2762-25_0_6_line_67 |  | 63 | 75 | 0.0063885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2762-25_0_6_line_68 |  | 64 | 66 | 0.014279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_2762-25_0_6_line_69 |  | 66 | 73 | 0.0042634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_2762-25_0_6_line_70 |  | 67 | 68 | 0.0060455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2762-25_0_6_line_71 |  | 67 | 69 | 0.0070375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2762-25_0_6_line_72 |  | 68 | 70 | 0.013303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2762-25_0_6_line_73 |  | 69 | 71 | 0.023241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2762-25_0_6_line_74 |  | 70 | 72 | 0.0076575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2762-25_0_6_line_75 |  | 71 | 73 | 0.029843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2762-25_0_6_line_76 |  | 73 | 74 | 0.0049518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_2762-25_0_6_line_77 |  | 74 | 78 | 0.021655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_2762-25_0_6_line_78 |  | 75 | 76 | 0.0060168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2762-25_0_6_line_79 |  | 76 | 77 | 0.0070663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2762-25_0_6_line_80 |  | 77 | 90 | 0.0051687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2762-25_0_6_line_81 |  | 78 | 79 | 0.018992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_2762-25_0_6_line_82 |  | 79 | 80 | 0.01928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_2762-25_0_6_line_83 |  | 80 | 81 | 0.016447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2762-25_0_6_line_84 |  | 80 | 82 | 0.030479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_2762-25_0_6_line_85 |  | 81 | 83 | 0.019527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2762-25_0_6_line_86 |  | 82 | 84 | 0.021404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_2762-25_0_6_line_87 |  | 84 | 85 | 0.0052273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2762-25_0_6_line_88 |  | 84 | 86 | 0.0016047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_2762-25_0_6_line_89 |  | 85 | 90 | 0.010833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2762-25_0_6_line_90 |  | 86 | 89 | 0.014435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_2762-25_0_6_line_91 |  | 87 | 88 | 0.020117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_2762-25_0_6_line_92 |  | 88 | 89 | 0.00055252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_2762-25_0_6_line_93 |  | 91 | 92 | 0.0099484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2762-25_0_6_line_94 |  | 92 | 93 | 0.012643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2762-25_0_6_line_95 |  | 93 | 94 | 0.0021831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2762-25_0_6_line_96 |  | 94 | 95 | 0.014676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2762-25_0_6_line_97 |  | 95 | 96 | 0.0035369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2762-25_0_6_line_98 |  | 96 | 97 | 0.0098988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2762-25_0_6_line_99 |  | 97 | 98 | 0.011909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2762-25_0_6_line_100 |  | 98 | 99 | 0.0071549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2762-25_0_6_line_101 |  | 100 | 101 | 0.020698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2762-25_0_6_line_102 |  | 102 | 103 | 0.00017747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2762-25_0_6_line_103 |  | 103 | 104 | 0.00021579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2762-25_0_6_line_104 |  | 104 | 105 | 0.00017733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2762-25_0_6_line_105 |  | 105 | 106 | 0.025287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2762-25_0_6_line_106 |  | 106 | 107 | 0.0049883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2762-25_0_6_trafo_68 | 0.63 MVA 20/0.4 kV | 108 | 82 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2607785.4263 | 1267023.9687 | 2607790.265 | 1267020.3325
1 | 2607767.6056 | 1267037.3607 | 2607785.4263 | 1267023.9687
2 | 2607790.265 | 1267020.3325 | 2607791.5897 | 1267019.337
3 | 2607767.6056 | 1267037.3607 | 2607765.5311 | 1267035.0675 | 2607762.9289 | 1267033.374 | 2607759.9871 | 1267032.4029 | 2607756.8937 | 1267032.2098 | 2607755.9889 | 1267032.3868
4 | 2607814.9085 | 1266998.504 | 2607795.9052 | 1267016.0939 | 2607791.5897 | 1267019.337
5 | 2607748.7066 | 1267036.1797 | 2607751.0577 | 1267034.1591 | 2607753.8445 | 1267032.8063 | 2607755.9889 | 1267032.3868
6 | 2607815.1264 | 1266998.3023 | 2607814.9085 | 1266998.504
7 | 2607748.7066 | 1267036.1797 | 2607724.4555 | 1267013.7774
8 | 2607747.4985 | 1267050.6549 | 2607746.1849 | 1267047.829 | 2607745.6394 | 1267044.7706 | 2607745.8918 | 1267041.6688 | 2607746.9419 | 1267038.7348 | 2607748.7066 | 1267036.1797
9 | 2607747.4985 | 1267050.6549 | 2607729.2986 | 1267059.1802
10 | 2607847.7705 | 1266967.9061 | 2607859.7789 | 1266954.5459 | 2607861.9648 | 1266952.2583 | 2607867.8072 | 1266945.5947 | 2607873.4255 | 1266937.6522 | 2607876.6668 | 1266928.4612 | 2607872.0694 | 1266927.1542 | 2607871.983 | 1266924.2076 | 2607870.1124 | 1266921.4365 | 2607865.7255 | 1266920.2743 | 2607861.1574 | 1266919.5456
11 | 2607847.7705 | 1266967.9061 | 2607839.3521 | 1266975.8784 | 2607835.5459 | 1266979.4015
12 | 2607859.3984 | 1266894.915 | 2607859.496 | 1266900.8303 | 2607860.082 | 1266907.4246 | 2607860.2081 | 1266908.8368 | 2607860.3564 | 1266910.5049 | 2607860.7273 | 1266914.6749 | 2607861.1574 | 1266919.5456
13 | 2607861.1574 | 1266919.5456 | 2607845.1412 | 1266921.5108
14 | 2607823.9948 | 1266990.0935 | 2607835.5459 | 1266979.4015
15 | 2607859.3984 | 1266894.915 | 2607860.9274 | 1266894.2054 | 2607872.5037 | 1266885.9589
16 | 2607859.3984 | 1266894.915 | 2607853.7794 | 1266897.6761
17 | 2607788.3445 | 1266926.6661 | 2607788.3445 | 1266926.6661 | 2607816.9561 | 1266926.2143 | 2607842.5094 | 1266921.8337 | 2607845.1412 | 1266921.5108
18 | 2607853.7794 | 1266897.6761 | 2607831.9767 | 1266906.2423 | 2607827.8171 | 1266907.3909
19 | 2607853.7794 | 1266897.6761 | 2607852.9566 | 1266893.7835 | 2607846.8577 | 1266888.191
20 | 2607827.8171 | 1266907.3909 | 2607814.0628 | 1266911.1889 | 2607813.2908 | 1266911.2445
21 | 2607846.8577 | 1266888.191 | 2607840.434 | 1266882.3007
22 | 2607887.3377 | 1266879.3744 | 2607886.5014 | 1266874.303 | 2607883.9855 | 1266869.9411 | 2607876.3652 | 1266860.2287
23 | 2607887.3377 | 1266879.3744 | 2607882.0689 | 1266879.145 | 2607872.5037 | 1266885.9589
24 | 2607870.8949 | 1266853.2566 | 2607876.3652 | 1266860.2287
25 | 2607823.9948 | 1266990.0935 | 2607815.1264 | 1266998.3023
26 | 2607724.3767 | 1267013.7046 | 2607724.4555 | 1267013.7774
27 | 2607859.8868 | 1266507.6568 | 2607828.6963 | 1266532.7666 | 2607823.9469 | 1266536.6999
28 | 2607859.8868 | 1266507.6568 | 2607862.0285 | 1266510.4839
29 | 2607823.9469 | 1266536.6999 | 2607802.0741 | 1266554.8142
30 | 2607862.0285 | 1266510.4839 | 2607858.8527 | 1266515.5054 | 2607859.6916 | 1266518.6531 | 2607864.7033 | 1266530.4174
31 | 2607754.2485 | 1266710.8045 | 2607769.0954 | 1266727.6397
32 | 2607754.2485 | 1266710.8045 | 2607786.4452 | 1266697.2211
33 | 2607769.0954 | 1266727.6397 | 2607775.6101 | 1266735.0269 | 2607784.4971 | 1266746.0629
34 | 2607794.1028 | 1266693.9905 | 2607786.4452 | 1266697.2211
35 | 2607781.862 | 1266925.2415 | 2607788.3445 | 1266926.6661
36 | 2607813.2908 | 1266911.2445 | 2607803.4095 | 1266911.956
37 | 2607822.4304 | 1266865.7919 | 2607840.434 | 1266882.3007
38 | 2607722.1276 | 1266887.9271 | 2607714.822 | 1266884.44
39 | 2607734.7732 | 1266893.9631 | 2607722.1276 | 1266887.9271
40 | 2607712.6641 | 1266899.784 | 2607743.9095 | 1266914.27
41 | 2607743.9095 | 1266914.27 | 2607754.6998 | 1266919.2726 | 2607761.6462 | 1266920.7991
42 | 2607870.8949 | 1266853.2566 | 2607856.2136 | 1266834.5413
43 | 2607724.3544 | 1267013.6841 | 2607724.3767 | 1267013.7046
44 | 2607712.295 | 1267002.544 | 2607724.3544 | 1267013.6841
45 | 2607668.4341 | 1266965.0036 | 2607685.5385 | 1266979.316
46 | 2607689.0637 | 1266982.2658 | 2607685.5385 | 1266979.316
47 | 2607883.3536 | 1266657.1001 | 2607878.3345 | 1266659.0572
48 | 2607863.1267 | 1266664.9871 | 2607878.3345 | 1266659.0572
49 | 2607897.8342 | 1266651.4538 | 2607883.3536 | 1266657.1001
50 | 2607863.1267 | 1266664.9871 | 2607859.4741 | 1266666.4113 | 2607830.6627 | 1266678.5664
51 | 2607913.6405 | 1266645.2905 | 2607897.8342 | 1266651.4538
52 | 2607830.6627 | 1266678.5664 | 2607795.8993 | 1266693.2326
53 | 2607913.6405 | 1266645.2905 | 2607908.063 | 1266632.1982
54 | 2607913.6405 | 1266645.2905 | 2607936.3714 | 1266635.7703
55 | 2607795.8993 | 1266693.2326 | 2607794.1028 | 1266693.9905
56 | 2607881.3701 | 1266569.5403 | 2607908.063 | 1266632.1982
57 | 2607898.0652 | 1266719.0358 | 2607935.4244 | 1266703.8361
58 | 2607895.9403 | 1266719.9004 | 2607898.0652 | 1266719.0358
59 | 2607887.7869 | 1266723.2176 | 2607895.9403 | 1266719.9004
60 | 2607877.249 | 1266727.5047 | 2607882.438 | 1266725.3939 | 2607887.7869 | 1266723.2176
61 | 2607877.249 | 1266727.5047 | 2607876.8324 | 1266727.6742
62 | 2607881.3701 | 1266569.5403 | 2607864.8003 | 1266530.6451
63 | 2607864.8003 | 1266530.6451 | 2607864.7033 | 1266530.4174
64 | 2607876.7341 | 1266794.4019 | 2607884.3836 | 1266791.26
65 | 2607876.7341 | 1266794.4019 | 2607870.6769 | 1266796.8899
66 | 2607756.9137 | 1266810.0216 | 2607763.6695 | 1266815.46
67 | 2607763.6695 | 1266815.46 | 2607768.646 | 1266819.466
68 | 2607793.4528 | 1266757.1842 | 2607784.4971 | 1266746.0629
69 | 2607796.1268 | 1266760.5048 | 2607793.4528 | 1266757.1842
70 | 2607851.8174 | 1266737.8502 | 2607857.4173 | 1266735.5721
71 | 2607851.8174 | 1266737.8502 | 2607845.2986 | 1266740.502
72 | 2607857.4173 | 1266735.5721 | 2607869.7394 | 1266730.5596
73 | 2607845.2986 | 1266740.502 | 2607823.7703 | 1266749.2596
74 | 2607869.7394 | 1266730.5596 | 2607876.8324 | 1266727.6742
75 | 2607796.1268 | 1266760.5048 | 2607823.7703 | 1266749.2596
76 | 2607796.1268 | 1266760.5048 | 2607799.2771 | 1266764.3253
77 | 2607799.2771 | 1266764.3253 | 2607813.0539 | 1266781.0329
78 | 2607768.646 | 1266819.466 | 2607773.3328 | 1266823.2389
79 | 2607773.3328 | 1266823.2389 | 2607778.8372 | 1266827.67
80 | 2607778.8372 | 1266827.67 | 2607782.8635 | 1266830.9111
81 | 2607825.1363 | 1266795.6857 | 2607813.0539 | 1266781.0329
82 | 2607837.4018 | 1266810.5605 | 2607825.1363 | 1266795.6857
83 | 2607837.4018 | 1266810.5605 | 2607840.1734 | 1266809.4189 | 2607852.6144 | 1266804.3089
84 | 2607837.4018 | 1266810.5605 | 2607812.7124 | 1266828.4319
85 | 2607852.6144 | 1266804.3089 | 2607870.6769 | 1266796.8899
86 | 2607795.3742 | 1266840.9822 | 2607812.7124 | 1266828.4319
87 | 2607795.3742 | 1266840.9822 | 2607791.3022 | 1266837.7043
88 | 2607795.3742 | 1266840.9822 | 2607796.5569 | 1266842.0667
89 | 2607782.8635 | 1266830.9111 | 2607791.3022 | 1266837.7043
90 | 2607796.5569 | 1266842.0667 | 2607807.1964 | 1266851.8228
91 | 2607822.4304 | 1266865.7919 | 2607807.6036 | 1266852.1962
92 | 2607807.6036 | 1266852.1962 | 2607807.1964 | 1266851.8228
93 | 2607793.4922 | 1266911.889 | 2607798.4423 | 1266912.3137 | 2607803.4095 | 1266911.956
94 | 2607793.4922 | 1266911.889 | 2607780.8957 | 1266910.8082
95 | 2607778.7206 | 1266910.6216 | 2607780.8957 | 1266910.8082
96 | 2607778.7206 | 1266910.6216 | 2607776.992 | 1266910.4733 | 2607764.655 | 1266906.5644
97 | 2607764.655 | 1266906.5644 | 2607761.2833 | 1266905.4961
98 | 2607761.2833 | 1266905.4961 | 2607754.2991 | 1266903.2832 | 2607751.9775 | 1266902.175
99 | 2607751.9775 | 1266902.175 | 2607741.2302 | 1266897.0451
100 | 2607734.7732 | 1266893.9631 | 2607741.2302 | 1266897.0451
101 | 2607761.6462 | 1266920.7991 | 2607781.862 | 1266925.2415
102 | 2607689.0637 | 1266982.2658 | 2607689.1998 | 1266982.3796
103 | 2607689.1998 | 1266982.3796 | 2607689.3653 | 1266982.5181
104 | 2607689.3653 | 1266982.5181 | 2607689.5013 | 1266982.6319
105 | 2607689.5013 | 1266982.6319 | 2607702.6505 | 1266993.6348 | 2607708.6308 | 1266999.1591
106 | 2607708.6308 | 1266999.1591 | 2607712.295 | 1267002.544

## bus_geodata
| x | y | coords
0 | 2607785.4263 | 1267023.9687
1 | 2607790.265 | 1267020.3325
2 | 2607767.6056 | 1267037.3607
3 | 2607791.5897 | 1267019.337
4 | 2607755.9889 | 1267032.3868
5 | 2607814.9085 | 1266998.504
6 | 2607748.7066 | 1267036.1797
7 | 2607747.4985 | 1267050.6549
8 | 2607729.2986 | 1267059.1802
9 | 2607847.7705 | 1266967.9061
10 | 2607861.1574 | 1266919.5456
11 | 2607835.5459 | 1266979.4015
12 | 2607859.3984 | 1266894.915
13 | 2607845.1412 | 1266921.5108
14 | 2607853.7794 | 1266897.6761
15 | 2607827.8171 | 1266907.3909
16 | 2607846.8577 | 1266888.191
17 | 2607887.3377 | 1266879.3744
18 | 2607876.3652 | 1266860.2287
19 | 2607872.5037 | 1266885.9589
20 | 2607815.1264 | 1266998.3023
21 | 2607724.4555 | 1267013.7774
22 | 2607823.9948 | 1266990.0935
23 | 2607859.8868 | 1266507.6568
24 | 2607823.9469 | 1266536.6999
25 | 2607862.0285 | 1266510.4839
26 | 2607754.2485 | 1266710.8045
27 | 2607769.0954 | 1266727.6397
28 | 2607786.4452 | 1266697.2211
29 | 2607788.3445 | 1266926.6661
30 | 2607813.2908 | 1266911.2445
31 | 2607840.434 | 1266882.3007
32 | 2607714.822 | 1266884.44
33 | 2607722.1276 | 1266887.9271
34 | 2607712.6641 | 1266899.784
35 | 2607743.9095 | 1266914.27
36 | 2607870.8949 | 1266853.2566
37 | 2607724.3767 | 1267013.7046
38 | 2607724.3544 | 1267013.6841
39 | 2607668.4341 | 1266965.0036
40 | 2607685.5385 | 1266979.316
41 | 2607878.3345 | 1266659.0572
42 | 2607883.3536 | 1266657.1001
43 | 2607863.1267 | 1266664.9871
44 | 2607897.8342 | 1266651.4538
45 | 2607830.6627 | 1266678.5664
46 | 2607913.6405 | 1266645.2905
47 | 2607795.8993 | 1266693.2326
48 | 2607908.063 | 1266632.1982
49 | 2607936.3714 | 1266635.7703
50 | 2607794.1028 | 1266693.9905
51 | 2607935.4244 | 1266703.8361
52 | 2607898.0652 | 1266719.0358
53 | 2607895.9403 | 1266719.9004
54 | 2607887.7869 | 1266723.2176
55 | 2607877.249 | 1266727.5047
56 | 2607881.3701 | 1266569.5403
57 | 2607864.7033 | 1266530.4174
58 | 2607864.8003 | 1266530.6451
59 | 2607884.3836 | 1266791.26
60 | 2607876.7341 | 1266794.4019
61 | 2607802.0741 | 1266554.8142
62 | 2607756.9137 | 1266810.0216
63 | 2607763.6695 | 1266815.46
64 | 2607784.4971 | 1266746.0629
65 | 2607856.2136 | 1266834.5413
66 | 2607793.4528 | 1266757.1842
67 | 2607851.8174 | 1266737.8502
68 | 2607857.4173 | 1266735.5721
69 | 2607845.2986 | 1266740.502
70 | 2607869.7394 | 1266730.5596
71 | 2607823.7703 | 1266749.2596
72 | 2607876.8324 | 1266727.6742
73 | 2607796.1268 | 1266760.5048
74 | 2607799.2771 | 1266764.3253
75 | 2607768.646 | 1266819.466
76 | 2607773.3328 | 1266823.2389
77 | 2607778.8372 | 1266827.67
78 | 2607813.0539 | 1266781.0329
79 | 2607825.1363 | 1266795.6857
80 | 2607837.4018 | 1266810.5605
81 | 2607852.6144 | 1266804.3089
82 | 2607812.7124 | 1266828.4319
83 | 2607870.6769 | 1266796.8899
84 | 2607795.3742 | 1266840.9822
85 | 2607791.3022 | 1266837.7043
86 | 2607796.5569 | 1266842.0667
87 | 2607822.4304 | 1266865.7919
88 | 2607807.6036 | 1266852.1962
89 | 2607807.1964 | 1266851.8228
90 | 2607782.8635 | 1266830.9111
91 | 2607803.4095 | 1266911.956
92 | 2607793.4922 | 1266911.889
93 | 2607780.8957 | 1266910.8082
94 | 2607778.7206 | 1266910.6216
95 | 2607764.655 | 1266906.5644
96 | 2607761.2833 | 1266905.4961
97 | 2607751.9775 | 1266902.175
98 | 2607741.2302 | 1266897.0451
99 | 2607734.7732 | 1266893.9631
100 | 2607761.6462 | 1266920.7991
101 | 2607781.862 | 1266925.2415
102 | 2607689.0637 | 1266982.2657
103 | 2607689.1998 | 1266982.3796
104 | 2607689.3653 | 1266982.5181
105 | 2607689.5013 | 1266982.6319
106 | 2607708.6308 | 1266999.1591
107 | 2607712.295 | 1267002.544
108 | 2607795.3742 | 1266840.9822

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1