## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2762-29_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2762-29_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2762-29_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2762-29_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_2762-29_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2762-29_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2762-29_0_4_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_2762-29_0_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_2762-29_0_4_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_2762-29_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_2762-29_0_4_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_2762-29_0_4_node_74 | 0.4 | n |  | TRUE
12 | bus_LV_2762-29_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_2762-29_0_4_node_52 | 0.4 | n |  | TRUE
14 | bus_LV_2762-29_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2762-29_0_4_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_2762-29_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_2762-29_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2762-29_0_4_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_2762-29_0_4_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_2762-29_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2762-29_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2762-29_0_4_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_2762-29_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_2762-29_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_2762-29_0_4_node_103 | 0.4 | n |  | TRUE
26 | bus_LV_2762-29_0_4_node_102 | 0.4 | n |  | TRUE
27 | bus_LV_2762-29_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_2762-29_0_4_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_2762-29_0_4_node_83 | 0.4 | n |  | TRUE
30 | bus_LV_2762-29_0_4_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_2762-29_0_4_node_94 | 0.4 | n |  | TRUE
32 | bus_LV_2762-29_0_4_node_100 | 0.4 | n |  | TRUE
33 | bus_LV_2762-29_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_2762-29_0_4_node_112 | 0.4 | n |  | TRUE
35 | bus_LV_2762-29_0_4_node_115 | 0.4 | n |  | TRUE
36 | bus_LV_2762-29_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_2762-29_0_4_node_70 | 0.4 | n |  | TRUE
38 | bus_LV_2762-29_0_4_node_99 | 0.4 | n |  | TRUE
39 | bus_LV_2762-29_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_2762-29_0_4_node_60 | 0.4 | n |  | TRUE
41 | bus_LV_2762-29_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_2762-29_0_4_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_2762-29_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_2762-29_0_4_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_2762-29_0_4_node_118 | 0.4 | n |  | TRUE
46 | bus_LV_2762-29_0_4_node_101 | 0.4 | n |  | TRUE
47 | bus_LV_2762-29_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_2762-29_0_4_node_76 | 0.4 | n |  | TRUE
49 | bus_LV_2762-29_0_4_node_75 | 0.4 | n |  | TRUE
50 | bus_LV_2762-29_0_4_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_2762-29_0_4_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_2762-29_0_4_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_2762-29_0_4_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_2762-29_0_4_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_2762-29_0_4_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_2762-29_0_4_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_2762-29_0_4_node_84 | 0.4 | n |  | TRUE
58 | bus_LV_2762-29_0_4_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_2762-29_0_4_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_2762-29_0_4_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_2762-29_0_4_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_2762-29_0_4_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_2762-29_0_4_node_26 | 0.4 | n |  | TRUE
64 | bus_LV_2762-29_0_4_node_80 | 0.4 | n |  | TRUE
65 | bus_LV_2762-29_0_4_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_2762-29_0_4_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_2762-29_0_4_node_23 | 0.4 | n |  | TRUE
68 | bus_LV_2762-29_0_4_node_24 | 0.4 | n |  | TRUE
69 | bus_LV_2762-29_0_4_node_114 | 0.4 | n |  | TRUE
70 | bus_LV_2762-29_0_4_node_93 | 0.4 | n |  | TRUE
71 | bus_LV_2762-29_0_4_node_111 | 0.4 | n |  | TRUE
72 | bus_LV_2762-29_0_4_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_2762-29_0_4_node_43 | 0.4 | n |  | TRUE
74 | bus_LV_2762-29_0_4_node_98 | 0.4 | n |  | TRUE
75 | bus_LV_2762-29_0_4_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_2762-29_0_4_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_2762-29_0_4_node_104 | 0.4 | n |  | TRUE
78 | bus_LV_2762-29_0_4_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_2762-29_0_4_node_82 | 0.4 | n |  | TRUE
80 | bus_LV_2762-29_0_4_node_106 | 0.4 | n |  | TRUE
81 | bus_LV_2762-29_0_4_node_107 | 0.4 | n |  | TRUE
82 | bus_LV_2762-29_0_4_node_105 | 0.4 | n |  | TRUE
83 | bus_LV_2762-29_0_4_node_117 | 0.4 | n |  | TRUE
84 | bus_LV_2762-29_0_4_node_116 | 0.4 | n |  | TRUE
85 | bus_LV_2762-29_0_4_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_2762-29_0_4_node_67 | 0.4 | n |  | TRUE
87 | bus_LV_2762-29_0_4_node_44 | 0.4 | n |  | TRUE
88 | bus_LV_2762-29_0_4_node_46 | 0.4 | n |  | TRUE
89 | bus_LV_2762-29_0_4_node_45 | 0.4 | n |  | TRUE
90 | bus_LV_2762-29_0_4_node_47 | 0.4 | n |  | TRUE
91 | bus_LV_2762-29_0_4_node_48 | 0.4 | n |  | TRUE
92 | bus_LV_2762-29_0_4_node_50 | 0.4 | n |  | TRUE
93 | bus_LV_2762-29_0_4_node_59 | 0.4 | n |  | TRUE
94 | bus_LV_2762-29_0_4_node_58 | 0.4 | n |  | TRUE
95 | bus_LV_2762-29_0_4_node_57 | 0.4 | n |  | TRUE
96 | bus_LV_2762-29_0_4_node_65 | 0.4 | n |  | TRUE
97 | bus_LV_2762-29_0_4_node_66 | 0.4 | n |  | TRUE
98 | bus_LV_2762-29_0_4_node_97 | 0.4 | n |  | TRUE
99 | bus_LV_2762-29_0_4_node_79 | 0.4 | n |  | TRUE
100 | bus_LV_2762-29_0_4_node_85 | 0.4 | n |  | TRUE
101 | bus_LV_2762-29_0_4_node_86 | 0.4 | n |  | TRUE
102 | bus_LV_2762-29_0_4_node_87 | 0.4 | n |  | TRUE
103 | bus_LV_2762-29_0_4_node_88 | 0.4 | n |  | TRUE
104 | bus_LV_2762-29_0_4_node_89 | 0.4 | n |  | TRUE
105 | bus_LV_2762-29_0_4_node_90 | 0.4 | n |  | TRUE
106 | bus_LV_2762-29_0_4_node_109 | 0.4 | n |  | TRUE
107 | bus_LV_2762-29_0_4_node_91 | 0.4 | n |  | TRUE
108 | bus_LV_2762-29_0_4_node_110 | 0.4 | n |  | TRUE
109 | bus_LV_2762-29_0_4_node_92 | 0.4 | n |  | TRUE
110 | bus_LV_2762-29_0_4_node_108 | 0.4 | n |  | TRUE
111 | bus_LV_2762-29_0_4_node_95 | 0.4 | n |  | TRUE
112 | bus_LV_2762-29_0_4_node_96 | 0.4 | n |  | TRUE
113 | bus_LV_2762-29_0_4_node_113 | 0.4 | n |  | TRUE
114 | bus_MV_566_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2762-29_0_4_load_0 | 0 | 0.0020069 | 0.00050298 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2762-29_0_4_load_1 | 1 | 0.0018405 | 0.00046128 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2762-29_0_4_load_3 | 2 | 0.0050331 | 0.0012614 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2762-29_0_4_load_4 | 4 | 0.0033878 | 0.00084907 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2762-29_0_4_load_11 | 7 | 0.0020445 | 0.00051241 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2762-29_0_4_load_13 | 8 | 0.0030278 | 0.00075883 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2762-29_0_4_load_10 | 9 | 0.0037013 | 0.00092764 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2762-29_0_4_load_74 | 11 | 0.0037606 | 0.0009425 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2762-29_0_4_load_12 | 12 | 0.0018457 | 0.00046257 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2762-29_0_4_load_52 | 13 | 0.002934 | 0.00073534 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2762-29_0_4_load_8 | 14 | 0.0024535 | 0.00061492 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2762-29_0_4_load_6 | 15 | 0.0034392 | 0.00086194 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2762-29_0_4_load_7 | 16 | 0.0024629 | 0.00061726 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2762-29_0_4_load_9 | 17 | 0.0030532 | 0.00076521 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2762-29_0_4_load_51 | 19 | 0.0045258 | 0.0011343 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2762-29_0_4_load_14 | 20 | 0.0041943 | 0.0010512 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2762-29_0_4_load_49 | 22 | 0.0040935 | 0.0010259 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2762-29_0_4_load_17 | 23 | 0.0033425 | 0.0008377 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2762-29_0_4_load_103 | 25 | 0.0030722 | 0.00076997 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2762-29_0_4_load_102 | 26 | 0.0017531 | 0.00043936 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2762-29_0_4_load_73 | 28 | 0.0049602 | 0.0012431 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2762-29_0_4_load_83 | 29 | 0.001243 | 0.00031152 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2762-29_0_4_load_94 | 31 | 0.0032188 | 0.0008067 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2762-29_0_4_load_100 | 32 | 0.003801 | 0.00095262 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2762-29_0_4_load_112 | 34 | 0.0015239 | 0.00038193 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2762-29_0_4_load_115 | 35 | 0.0014074 | 0.00035272 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2762-29_0_4_load_99 | 38 | 0.0042312 | 0.0010604 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2762-29_0_4_load_60 | 40 | 0.0047647 | 0.0011941 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2762-29_0_4_load_54 | 42 | 0.0015898 | 0.00039843 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2762-29_0_4_load_118 | 45 | 0.0048695 | 0.0012204 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2762-29_0_4_load_101 | 46 | 0.0042744 | 0.0010713 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2762-29_0_4_load_76 | 48 | 0.0067768 | 0.0016984 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2762-29_0_4_load_75 | 49 | 0.0045958 | 0.0011518 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2762-29_0_4_load_55 | 51 | 0.0030013 | 0.0007522 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2762-29_0_4_load_53 | 53 | 0.0022478 | 0.00056335 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2762-29_0_4_load_84 | 57 | 0.0079423 | 0.0019905 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2762-29_0_4_load_81 | 58 | 0.0061477 | 0.0015408 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2762-29_0_4_load_71 | 60 | 0.0092342 | 0.0023143 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2762-29_0_4_load_69 | 61 | 0.0028527 | 0.00071495 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2762-29_0_4_load_42 | 62 | 0.0016905 | 0.00042367 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2762-29_0_4_load_26 | 63 | 0.0018431 | 0.00046193 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2762-29_0_4_load_80 | 64 | 0.0036693 | 0.00091961 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2762-29_0_4_load_77 | 65 | 0.0036748 | 0.00092098 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2762-29_0_4_load_78 | 66 | 0.0059813 | 0.001499 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2762-29_0_4_load_23 | 67 | 0.0090714 | 0.0022735 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2762-29_0_4_load_24 | 68 | 0.0034199 | 0.00085712 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2762-29_0_4_load_114 | 69 | 0.0018615 | 0.00046653 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2762-29_0_4_load_93 | 70 | 0.004454 | 0.0011163 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2762-29_0_4_load_56 | 72 | 0.0015747 | 0.00039465 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2762-29_0_4_load_43 | 73 | 0.015924 | 0.0039911 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2762-29_0_4_load_98 | 74 | 0.0061928 | 0.0015521 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2762-29_0_4_load_61 | 75 | 0.0033659 | 0.00084358 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2762-29_0_4_load_63 | 76 | 0.0030628 | 0.0007676 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2762-29_0_4_load_104 | 77 | 0.0043715 | 0.0010956 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2762-29_0_4_load_68 | 78 | 0.0034753 | 0.00087099 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2762-29_0_4_load_82 | 79 | 0.0066843 | 0.0016753 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2762-29_0_4_load_107 | 81 | 0.002285 | 0.00057268 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2762-29_0_4_load_105 | 82 | 0.0044467 | 0.0011145 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2762-29_0_4_load_117 | 83 | 0.0016256 | 0.0004074 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2762-29_0_4_load_116 | 84 | 0.0012017 | 0.00030116 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2762-29_0_4_load_72 | 85 | 0.0048006 | 0.0012032 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2762-29_0_4_load_67 | 86 | 0.0051384 | 0.0012878 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2762-29_0_4_load_44 | 87 | 0.0018814 | 0.00047151 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2762-29_0_4_load_46 | 88 | 0.0019212 | 0.00048149 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2762-29_0_4_load_45 | 89 | 0.0019176 | 0.0004806 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2762-29_0_4_load_47 | 90 | 0.0045949 | 0.0011516 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2762-29_0_4_load_50 | 92 | 0.0099809 | 0.0025015 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2762-29_0_4_load_59 | 93 | 0.0012082 | 0.00030281 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2762-29_0_4_load_58 | 94 | 0.0013649 | 0.00034208 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2762-29_0_4_load_57 | 95 | 0.002394 | 0.00059999 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2762-29_0_4_load_65 | 96 | 0.0060556 | 0.0015177 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2762-29_0_4_load_66 | 97 | 0.029455 | 0.0073821 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2762-29_0_4_load_97 | 98 | 0.005116 | 0.0012822 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2762-29_0_4_load_79 | 99 | 0.0058136 | 0.001457 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2762-29_0_4_load_85 | 100 | 0.0016448 | 0.00041223 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2762-29_0_4_load_86 | 101 | 0.0019004 | 0.00047628 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2762-29_0_4_load_87 | 102 | 0.001978 | 0.00049573 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2762-29_0_4_load_88 | 103 | 0.0044861 | 0.0011243 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2762-29_0_4_load_89 | 104 | 0.0015526 | 0.00038912 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2762-29_0_4_load_90 | 105 | 0.0020043 | 0.00050232 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2762-29_0_4_load_109 | 106 | 0.0028476 | 0.00071368 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2762-29_0_4_load_91 | 107 | 0.0014444 | 0.00036199 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2762-29_0_4_load_110 | 108 | 0.0018978 | 0.00047564 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2762-29_0_4_load_92 | 109 | 0.0033823 | 0.00084769 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2762-29_0_4_load_108 | 110 | 0.0020029 | 0.00050197 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2762-29_0_4_load_95 | 111 | 0.007909 | 0.0019822 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2762-29_0_4_load_96 | 112 | 0.016538 | 0.0041447 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2762-29_0_4_load_113 | 113 | 0.0020113 | 0.00050409 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2762-29_0_4_line_0 |  | 0 | 1 | 0.0014064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2762-29_0_4_line_1 |  | 1 | 2 | 0.017625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2762-29_0_4_line_2 |  | 2 | 6 | 0.02827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2762-29_0_4_line_3 |  | 3 | 4 | 0.01545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2762-29_0_4_line_4 |  | 3 | 5 | 0.002422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2762-29_0_4_line_5 |  | 4 | 7 | 0.0022274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2762-29_0_4_line_6 |  | 5 | 8 | 0.017681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2762-29_0_4_line_7 |  | 5 | 9 | 0.013786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2762-29_0_4_line_8 |  | 6 | 10 | 0.011623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2762-29_0_4_line_9 |  | 6 | 11 | 0.01302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2762-29_0_4_line_10 |  | 7 | 12 | 0.004634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2762-29_0_4_line_11 |  | 8 | 13 | 0.003282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2762-29_0_4_line_12 |  | 9 | 14 | 0.0143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2762-29_0_4_line_13 |  | 10 | 27 | 0.004747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2762-29_0_4_line_14 |  | 10 | 23 | 0.020184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2762-29_0_4_line_15 |  | 11 | 28 | 0.017781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2762-29_0_4_line_16 |  | 13 | 22 | 0.014758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2762-29_0_4_line_17 |  | 14 | 15 | 0.0032103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2762-29_0_4_line_18 |  | 15 | 16 | 0.011174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2762-29_0_4_line_19 |  | 16 | 17 | 0.011234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2762-29_0_4_line_20 |  | 17 | 18 | 0.0039059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2762-29_0_4_line_21 |  | 18 | 19 | 0.019762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2762-29_0_4_line_22 |  | 20 | 21 | 0.0067297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2762-29_0_4_line_23 |  | 21 | 23 | 0.030019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2762-29_0_4_line_24 |  | 22 | 91 | 0.014663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2762-29_0_4_line_25 |  | 24 | 25 | 0.010885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2762-29_0_4_line_26 |  | 24 | 26 | 0.021418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2762-29_0_4_line_27 |  | 25 | 29 | 0.011081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2762-29_0_4_line_28 |  | 27 | 64 | 0.010519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2762-29_0_4_line_29 |  | 27 | 65 | 0.015579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2762-29_0_4_line_30 |  | 28 | 85 | 0.007721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2762-29_0_4_line_31 |  | 29 | 79 | 0.0075421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2762-29_0_4_line_32 |  | 30 | 31 | 0.0088877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2762-29_0_4_line_33 |  | 30 | 32 | 0.0056049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2762-29_0_4_line_34 |  | 31 | 70 | 0.0093293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2762-29_0_4_line_35 |  | 32 | 46 | 0.019573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2762-29_0_4_line_36 |  | 33 | 34 | 0.013687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2762-29_0_4_line_37 |  | 33 | 35 | 0.024636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2762-29_0_4_line_38 |  | 34 | 71 | 0.0057222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2762-29_0_4_line_39 |  | 35 | 69 | 0.029941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2762-29_0_4_line_40 |  | 36 | 37 | 0.012756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2762-29_0_4_line_41 |  | 36 | 38 | 0.023947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2762-29_0_4_line_42 |  | 37 | 74 | 0.01114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2762-29_0_4_line_43 |  | 37 | 59 | 0.003764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2762-29_0_4_line_44 |  | 38 | 57 | 0.025662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2762-29_0_4_line_45 |  | 39 | 40 | 0.0065563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_2762-29_0_4_line_46 |  | 39 | 41 | 0.017148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2762-29_0_4_line_47 |  | 39 | 42 | 0.007685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2762-29_0_4_line_48 |  | 40 | 75 | 0.013216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_2762-29_0_4_line_49 |  | 41 | 46 | 0.0024495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2762-29_0_4_line_50 |  | 41 | 47 | 0.014933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2762-29_0_4_line_51 |  | 42 | 53 | 0.010924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2762-29_0_4_line_52 |  | 43 | 44 | 0.003746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2762-29_0_4_line_53 |  | 43 | 45 | 0.010028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2762-29_0_4_line_54 |  | 44 | 76 | 0.0086191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2762-29_0_4_line_55 |  | 44 | 75 | 0.026597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_2762-29_0_4_line_56 |  | 45 | 54 | 0.011804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2762-29_0_4_line_57 |  | 47 | 48 | 0.014951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2762-29_0_4_line_58 |  | 47 | 49 | 0.02359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2762-29_0_4_line_59 |  | 48 | 77 | 0.011856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2762-29_0_4_line_60 |  | 50 | 51 | 0.021194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2762-29_0_4_line_61 |  | 50 | 52 | 0.025277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2762-29_0_4_line_62 |  | 50 | 53 | 0.0081233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2762-29_0_4_line_63 |  | 51 | 72 | 0.0039231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2762-29_0_4_line_64 |  | 52 | 62 | 0.014561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2762-29_0_4_line_65 |  | 52 | 63 | 0.0089543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2762-29_0_4_line_66 |  | 54 | 55 | 0.004516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2762-29_0_4_line_67 |  | 55 | 78 | 0.019656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2762-29_0_4_line_68 |  | 56 | 57 | 0.027213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2762-29_0_4_line_69 |  | 56 | 58 | 0.022846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2762-29_0_4_line_70 |  | 58 | 79 | 0.0070195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2762-29_0_4_line_71 |  | 59 | 60 | 0.021747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2762-29_0_4_line_72 |  | 59 | 61 | 0.004333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2762-29_0_4_line_73 |  | 60 | 85 | 0.017632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2762-29_0_4_line_74 |  | 61 | 86 | 0.020687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2762-29_0_4_line_75 |  | 62 | 73 | 0.011941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2762-29_0_4_line_76 |  | 63 | 68 | 0.015031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2762-29_0_4_line_77 |  | 65 | 66 | 0.018081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2762-29_0_4_line_78 |  | 66 | 99 | 0.0061927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2762-29_0_4_line_79 |  | 67 | 68 | 0.015263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2762-29_0_4_line_80 |  | 70 | 111 | 0.049184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2762-29_0_4_line_81 |  | 71 | 113 | 0.024017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2762-29_0_4_line_82 |  | 71 | 108 | 0.012786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2762-29_0_4_line_83 |  | 72 | 95 | 0.013608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2762-29_0_4_line_84 |  | 73 | 87 | 0.016026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2762-29_0_4_line_85 |  | 74 | 98 | 0.017046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2762-29_0_4_line_86 |  | 76 | 96 | 0.0059159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2762-29_0_4_line_87 |  | 77 | 82 | 0.007565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2762-29_0_4_line_88 |  | 78 | 86 | 0.0009587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2762-29_0_4_line_89 |  | 80 | 81 | 0.018661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2762-29_0_4_line_90 |  | 80 | 82 | 0.021144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2762-29_0_4_line_91 |  | 81 | 110 | 0.0067926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2762-29_0_4_line_92 |  | 83 | 84 | 0.0077297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2762-29_0_4_line_93 |  | 84 | 113 | 0.0014797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2762-29_0_4_line_94 |  | 87 | 88 | 0.00013478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2762-29_0_4_line_95 |  | 88 | 89 | 0.00012832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2762-29_0_4_line_96 |  | 89 | 90 | 0.014646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2762-29_0_4_line_97 |  | 91 | 92 | 0.024752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2762-29_0_4_line_98 |  | 92 | 93 | 0.0084272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2762-29_0_4_line_99 |  | 93 | 94 | 0.00072458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2762-29_0_4_line_100 |  | 94 | 95 | 0.00026231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2762-29_0_4_line_101 |  | 96 | 97 | 0.011867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2762-29_0_4_line_102 |  | 100 | 101 | 0.013913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2762-29_0_4_line_103 |  | 100 | 102 | 0.00041411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2762-29_0_4_line_104 |  | 101 | 103 | 0.0019506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2762-29_0_4_line_105 |  | 102 | 104 | 0.0052364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2762-29_0_4_line_106 |  | 103 | 105 | 0.0054076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2762-29_0_4_line_107 |  | 104 | 106 | 0.013327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2762-29_0_4_line_108 |  | 105 | 107 | 0.016595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2762-29_0_4_line_109 |  | 106 | 108 | 0.0032272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2762-29_0_4_line_110 |  | 107 | 109 | 0.002605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2762-29_0_4_line_111 |  | 109 | 110 | 0.0041305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2762-29_0_4_line_112 |  | 111 | 112 | 0.0032014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2762-29_0_4_trafo_60 | 0.63 MVA 20/0.4 kV | 114 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2607467.7905 | 1266643.8345 | 2607466.3855 | 1266643.898
1 | 2607449.692 | 1266640.5454 | 2607456.972 | 1266644.3234 | 2607466.3855 | 1266643.898
2 | 2607427.4448 | 1266623.3164 | 2607444.0856 | 1266637.636 | 2607449.692 | 1266640.5454
3 | 2607507.9136 | 1266648.468 | 2607508.15 | 1266633.0201
4 | 2607507.9136 | 1266648.468 | 2607510.2993 | 1266648.9269
5 | 2607508.15 | 1266633.0201 | 2607508.1841 | 1266630.793
6 | 2607510.2993 | 1266648.9269 | 2607504.7733 | 1266665.7216
7 | 2607510.2993 | 1266648.9269 | 2607523.4943 | 1266652.9196
8 | 2607435.8031 | 1266615.2212 | 2607434.4994 | 1266616.3203 | 2607427.4448 | 1266623.3164
9 | 2607427.4448 | 1266623.3164 | 2607418.4626 | 1266632.7421
10 | 2607508.1841 | 1266630.793 | 2607508.255 | 1266626.1594
11 | 2607503.7476 | 1266668.8392 | 2607504.7733 | 1266665.7216
12 | 2607536.9076 | 1266657.7528 | 2607532.9186 | 1266655.7713 | 2607523.4943 | 1266652.9196
13 | 2607435.8031 | 1266615.2212 | 2607432.8569 | 1266611.4927
14 | 2607435.8031 | 1266615.2212 | 2607441.5979 | 1266610.3139 | 2607453.1743 | 1266605.3642
15 | 2607406.196 | 1266645.6141 | 2607418.4626 | 1266632.7421
16 | 2607503.7476 | 1266668.8392 | 2607499.1351 | 1266682.8575
17 | 2607539.7827 | 1266659.1809 | 2607536.9076 | 1266657.7528
18 | 2607539.7827 | 1266659.1809 | 2607549.7896 | 1266664.1518
19 | 2607559.8504 | 1266669.1493 | 2607549.7896 | 1266664.1518
20 | 2607563.3485 | 1266670.887 | 2607559.8504 | 1266669.1493
21 | 2607563.3485 | 1266670.887 | 2607580.0574 | 1266681.4397
22 | 2607480.1316 | 1266592.6164 | 2607483.8508 | 1266598.225
23 | 2607480.1316 | 1266592.6164 | 2607471.9721 | 1266598.2657 | 2607454.7181 | 1266604.7041 | 2607453.1743 | 1266605.3642
24 | 2607506.0531 | 1266691.2732 | 2607497.4306 | 1266688.0379 | 2607499.1351 | 1266682.8575
25 | 2607383.7117 | 1266578.7866 | 2607374.8641 | 1266585.1274
26 | 2607383.7117 | 1266578.7866 | 2607402.6026 | 1266588.8801
27 | 2607365.8569 | 1266591.5826 | 2607374.8641 | 1266585.1274
28 | 2607432.8569 | 1266611.4927 | 2607424.8153 | 1266604.7121
29 | 2607432.8569 | 1266611.4927 | 2607422.4518 | 1266623.0877
30 | 2607400.8695 | 1266651.2036 | 2607406.196 | 1266645.6141
31 | 2607365.8569 | 1266591.5826 | 2607364.2279 | 1266592.75 | 2607359.0362 | 1266594.6777
32 | 2607470.9126 | 1266770.8624 | 2607479.1601 | 1266774.1746
33 | 2607470.9126 | 1266770.8624 | 2607465.7123 | 1266768.7716
34 | 2607487.8173 | 1266777.6515 | 2607479.1601 | 1266774.1746
35 | 2607465.7123 | 1266768.7716 | 2607447.5521 | 1266761.4702
36 | 2607503.7149 | 1266898.2479 | 2607497.2311 | 1266894.4482 | 2607491.9079 | 1266891.3252
37 | 2607503.7149 | 1266898.2479 | 2607497.2715 | 1266922.0263
38 | 2607486.9715 | 1266888.4311 | 2607490.7925 | 1266890.6708 | 2607491.9079 | 1266891.3252
39 | 2607488.5099 | 1266950.6493 | 2607494.9803 | 1266930.4816 | 2607497.2715 | 1266922.0263
40 | 2607359.3525 | 1266676.091 | 2607362.8845 | 1266674.7833 | 2607364.2297 | 1266676.5751 | 2607366.291 | 1266677.6006 | 2607370.7627 | 1266677.3504
41 | 2607359.3525 | 1266676.091 | 2607351.1342 | 1266653.5985
42 | 2607370.7627 | 1266677.3504 | 2607378.7522 | 1266669.5871
43 | 2607373.703 | 1266679.7112 | 2607370.7627 | 1266677.3504
44 | 2607351.1342 | 1266653.5985 | 2607344.8506 | 1266636.401 | 2607342.3264 | 1266629.4954
45 | 2607451.9384 | 1266744.7538 | 2607445.9555 | 1266742.0725
46 | 2607445.2795 | 1266760.5565 | 2607448.2163 | 1266753.5997 | 2607448.7147 | 1266752.3995 | 2607449.2884 | 1266751.0548 | 2607451.9384 | 1266744.7538
47 | 2607451.9384 | 1266744.7538 | 2607458.9915 | 1266747.8056
48 | 2607445.9555 | 1266742.0725 | 2607435.1691 | 1266737.2387 | 2607433.9409 | 1266736.5752
49 | 2607445.2795 | 1266760.5565 | 2607447.5521 | 1266761.4702
50 | 2607430.8461 | 1266757.0916 | 2607435.9941 | 1266757.7651 | 2607440.4116 | 1266758.6046 | 2607445.2795 | 1266760.5565
51 | 2607469.017 | 1266752.1437 | 2607458.9915 | 1266747.8056
52 | 2607408.7224 | 1266727.2099 | 2607410.5406 | 1266723.9321
53 | 2607408.7224 | 1266727.2099 | 2607399.738 | 1266722.7554
54 | 2607410.5406 | 1266723.9321 | 2607414.7276 | 1266716.3982
55 | 2607410.5406 | 1266723.9321 | 2607433.9409 | 1266736.5752
56 | 2607389.1629 | 1266717.5122 | 2607399.738 | 1266722.7554
57 | 2607430.8461 | 1266757.0916 | 2607430.4203 | 1266772.0361
58 | 2607430.8461 | 1266757.0916 | 2607424.7424 | 1266756.2834 | 2607408.4149 | 1266750.1754
59 | 2607430.4203 | 1266772.0361 | 2607430.0826 | 1266783.8871 | 2607430.0826 | 1266783.8871
60 | 2607476.4722 | 1266755.3696 | 2607483.7914 | 1266735.48
61 | 2607476.4722 | 1266755.3696 | 2607499.727 | 1266765.4392
62 | 2607476.4722 | 1266755.3696 | 2607469.017 | 1266752.1437
63 | 2607483.7914 | 1266735.48 | 2607485.1463 | 1266731.7982
64 | 2607499.727 | 1266765.4392 | 2607504.4171 | 1266751.6545
65 | 2607499.727 | 1266765.4392 | 2607507.9453 | 1266768.9942
66 | 2607389.1629 | 1266717.5122 | 2607391.5389 | 1266713.668
67 | 2607391.5389 | 1266713.668 | 2607382.0703 | 1266706.7849 | 2607381.1096 | 1266704.4821 | 2607383.9004 | 1266699.7949
68 | 2607331.0383 | 1266605.0733 | 2607335.165 | 1266609.9039 | 2607342.3264 | 1266629.4954
69 | 2607331.0383 | 1266605.0733 | 2607352.4556 | 1266597.1211
70 | 2607352.4556 | 1266597.1211 | 2607359.0362 | 1266594.6777
71 | 2607373.703 | 1266679.7112 | 2607388.7057 | 1266663.9679
72 | 2607373.703 | 1266679.7112 | 2607376.9665 | 1266682.5617
73 | 2607388.7057 | 1266663.9679 | 2607400.8695 | 1266651.2036
74 | 2607384.3909 | 1266698.9712 | 2607378.6761 | 1266694.0273 | 2607375.2713 | 1266689.8647 | 2607375.0193 | 1266686.651 | 2607376.9665 | 1266682.5617
75 | 2607504.4171 | 1266751.6545 | 2607508.2633 | 1266740.3503
76 | 2607522.065 | 1266774.1433 | 2607508.6722 | 1266769.3087 | 2607507.9453 | 1266768.9942
77 | 2607422.4518 | 1266623.0877 | 2607410.3757 | 1266636.5449
78 | 2607406.2397 | 1266641.1539 | 2607410.3757 | 1266636.5449
79 | 2607522.065 | 1266774.1433 | 2607536.4209 | 1266779.3255
80 | 2607487.8173 | 1266777.6515 | 2607514.7378 | 1266788.463 | 2607515.2678 | 1266797.9481 | 2607511.5982 | 1266807.971
81 | 2607486.9715 | 1266888.4311 | 2607464.5003 | 1266879.9548
82 | 2607486.9715 | 1266888.4311 | 2607484.6631 | 1266880.4115 | 2607481.6225 | 1266877.1751
83 | 2607489.8459 | 1266719.0272 | 2607485.1463 | 1266731.7982
84 | 2607513.4254 | 1266725.1783 | 2607508.2633 | 1266740.3503
85 | 2607390.9773 | 1266657.7082 | 2607378.7522 | 1266669.5871
86 | 2607414.7276 | 1266716.3982 | 2607417.6013 | 1266711.2272
87 | 2607430.0826 | 1266783.8871 | 2607428.274 | 1266791.2327
88 | 2607384.3909 | 1266698.9712 | 2607383.9004 | 1266699.7949
89 | 2607418.4504 | 1266809.9352 | 2607431.2277 | 1266823.5353
90 | 2607418.4504 | 1266809.9352 | 2607428.123 | 1266791.8458 | 2607428.274 | 1266791.2327
91 | 2607431.2277 | 1266823.5353 | 2607435.8788 | 1266828.4858
92 | 2607455.8835 | 1266876.7045 | 2607463.1158 | 1266879.4326
93 | 2607464.5003 | 1266879.9548 | 2607463.1158 | 1266879.4326
94 | 2607513.4688 | 1266725.0507 | 2607513.4254 | 1266725.1783
95 | 2607513.5101 | 1266724.9293 | 2607513.4688 | 1266725.0507
96 | 2607513.5101 | 1266724.9293 | 2607518.2278 | 1266711.0636
97 | 2607506.0531 | 1266691.2732 | 2607498.4958 | 1266708.9316 | 2607493.097 | 1266710.1924
98 | 2607490.1867 | 1266718.101 | 2607493.097 | 1266710.1924 | 2607493.097 | 1266710.1924
99 | 2607489.9364 | 1266718.781 | 2607490.1867 | 1266718.101
100 | 2607489.8459 | 1266719.0272 | 2607489.9364 | 1266718.781
101 | 2607423.3661 | 1266700.8542 | 2607417.6013 | 1266711.2272
102 | 2607466.4187 | 1266860.9923 | 2607456.8921 | 1266850.8523
103 | 2607466.7022 | 1266861.2941 | 2607466.4187 | 1266860.9923
104 | 2607455.5565 | 1266849.4307 | 2607456.8921 | 1266850.8523
105 | 2607470.2877 | 1266865.1104 | 2607466.7022 | 1266861.2941
106 | 2607451.8538 | 1266845.4895 | 2607455.5565 | 1266849.4307
107 | 2607470.2877 | 1266865.1104 | 2607479.4128 | 1266874.8231
108 | 2607451.8538 | 1266845.4895 | 2607440.4906 | 1266833.3947
109 | 2607481.6225 | 1266877.1751 | 2607479.4128 | 1266874.8231
110 | 2607438.707 | 1266831.4962 | 2607440.4906 | 1266833.3947
111 | 2607438.707 | 1266831.4962 | 2607435.8788 | 1266828.4858
112 | 2607511.5982 | 1266807.971 | 2607510.4975 | 1266810.9772

## bus_geodata
| x | y | coords
0 | 2607467.7905 | 1266643.8345
1 | 2607466.3855 | 1266643.898
2 | 2607449.692 | 1266640.5454
3 | 2607507.9136 | 1266648.468
4 | 2607508.15 | 1266633.0201
5 | 2607510.2993 | 1266648.9269
6 | 2607427.4448 | 1266623.3164
7 | 2607508.1841 | 1266630.793
8 | 2607504.7733 | 1266665.7216
9 | 2607523.4943 | 1266652.9196
10 | 2607435.8031 | 1266615.2212
11 | 2607418.4626 | 1266632.7421
12 | 2607508.255 | 1266626.1594
13 | 2607503.7476 | 1266668.8392
14 | 2607536.9076 | 1266657.7528
15 | 2607539.7827 | 1266659.1809
16 | 2607549.7896 | 1266664.1518
17 | 2607559.8504 | 1266669.1493
18 | 2607563.3485 | 1266670.887
19 | 2607580.0574 | 1266681.4397
20 | 2607483.8508 | 1266598.225
21 | 2607480.1316 | 1266592.6164
22 | 2607499.1351 | 1266682.8575
23 | 2607453.1743 | 1266605.3642
24 | 2607383.7117 | 1266578.7866
25 | 2607374.8641 | 1266585.1274
26 | 2607402.6026 | 1266588.8801
27 | 2607432.8569 | 1266611.4927
28 | 2607406.196 | 1266645.6141
29 | 2607365.8569 | 1266591.5826
30 | 2607470.9126 | 1266770.8624
31 | 2607479.1601 | 1266774.1746
32 | 2607465.7123 | 1266768.7716
33 | 2607503.7149 | 1266898.2479
34 | 2607491.9079 | 1266891.3252
35 | 2607497.2715 | 1266922.0263
36 | 2607359.3524 | 1266676.091
37 | 2607370.7627 | 1266677.3504
38 | 2607351.1342 | 1266653.5985
39 | 2607451.9384 | 1266744.7538
40 | 2607445.9555 | 1266742.0725
41 | 2607445.2795 | 1266760.5565
42 | 2607458.9915 | 1266747.8056
43 | 2607408.7224 | 1266727.2099
44 | 2607410.5406 | 1266723.9321
45 | 2607399.738 | 1266722.7554
46 | 2607447.5521 | 1266761.4702
47 | 2607430.8461 | 1266757.0916
48 | 2607430.4203 | 1266772.0361
49 | 2607408.4149 | 1266750.1754
50 | 2607476.4722 | 1266755.3696
51 | 2607483.7914 | 1266735.48
52 | 2607499.727 | 1266765.4392
53 | 2607469.017 | 1266752.1437
54 | 2607389.1629 | 1266717.5122
55 | 2607391.5389 | 1266713.668
56 | 2607331.0383 | 1266605.0733
57 | 2607342.3264 | 1266629.4954
58 | 2607352.4556 | 1266597.1211
59 | 2607373.703 | 1266679.7112
60 | 2607388.7057 | 1266663.9679
61 | 2607376.9665 | 1266682.5617
62 | 2607504.4171 | 1266751.6545
63 | 2607507.9453 | 1266768.9942
64 | 2607424.8153 | 1266604.7121
65 | 2607422.4518 | 1266623.0877
66 | 2607410.3757 | 1266636.5449
67 | 2607536.4209 | 1266779.3255
68 | 2607522.065 | 1266774.1433
69 | 2607488.5099 | 1266950.6493
70 | 2607487.8173 | 1266777.6515
71 | 2607486.9715 | 1266888.4311
72 | 2607485.1463 | 1266731.7982
73 | 2607508.2633 | 1266740.3503
74 | 2607378.7522 | 1266669.5871
75 | 2607433.9409 | 1266736.5752
76 | 2607414.7276 | 1266716.3982
77 | 2607430.0826 | 1266783.8871
78 | 2607383.9004 | 1266699.7949
79 | 2607359.0362 | 1266594.6777
80 | 2607418.4504 | 1266809.9352
81 | 2607431.2277 | 1266823.5353
82 | 2607428.274 | 1266791.2327
83 | 2607455.8835 | 1266876.7045
84 | 2607463.1158 | 1266879.4326
85 | 2607400.8695 | 1266651.2036
86 | 2607384.3909 | 1266698.9712
87 | 2607513.4254 | 1266725.1783
88 | 2607513.4688 | 1266725.0508
89 | 2607513.5101 | 1266724.9293
90 | 2607518.2278 | 1266711.0636
91 | 2607506.0531 | 1266691.2732
92 | 2607493.097 | 1266710.1924
93 | 2607490.1867 | 1266718.101
94 | 2607489.9364 | 1266718.781
95 | 2607489.8459 | 1266719.0272
96 | 2607417.6013 | 1266711.2272
97 | 2607423.3661 | 1266700.8542
98 | 2607390.9773 | 1266657.7082
99 | 2607406.2397 | 1266641.1539
100 | 2607466.4187 | 1266860.9923
101 | 2607456.8921 | 1266850.8523
102 | 2607466.7022 | 1266861.2941
103 | 2607455.5565 | 1266849.4307
104 | 2607470.2877 | 1266865.1104
105 | 2607451.8538 | 1266845.4895
106 | 2607479.4128 | 1266874.8231
107 | 2607440.4906 | 1266833.3947
108 | 2607481.6225 | 1266877.1751
109 | 2607438.707 | 1266831.4962
110 | 2607435.8788 | 1266828.4858
111 | 2607511.5982 | 1266807.971
112 | 2607510.4975 | 1266810.9772
113 | 2607464.5003 | 1266879.9548
114 | 2607451.9384 | 1266744.7538

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1