## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2762-30_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2762-30_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2762-30_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2762-30_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2762-30_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2762-30_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2762-30_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2762-30_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_2762-30_0_4_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_2762-30_0_4_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_2762-30_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2762-30_0_4_node_58 | 0.4 | n |  | TRUE
12 | bus_LV_2762-30_0_4_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_2762-30_0_4_node_73 | 0.4 | n |  | TRUE
14 | bus_LV_2762-30_0_4_node_55 | 0.4 | n |  | TRUE
15 | bus_LV_2762-30_0_4_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_2762-30_0_4_node_59 | 0.4 | n |  | TRUE
17 | bus_LV_2762-30_0_4_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_2762-30_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2762-30_0_4_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_2762-30_0_4_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_2762-30_0_4_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_2762-30_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2762-30_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2762-30_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_2762-30_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2762-30_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2762-30_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_2762-30_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_2762-30_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_2762-30_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_2762-30_0_4_node_66 | 0.4 | n |  | TRUE
32 | bus_LV_2762-30_0_4_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_2762-30_0_4_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_2762-30_0_4_node_81 | 0.4 | n |  | TRUE
35 | bus_LV_2762-30_0_4_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_2762-30_0_4_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_2762-30_0_4_node_69 | 0.4 | n |  | TRUE
38 | bus_LV_2762-30_0_4_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_2762-30_0_4_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_2762-30_0_4_node_76 | 0.4 | n |  | TRUE
41 | bus_LV_2762-30_0_4_node_68 | 0.4 | n |  | TRUE
42 | bus_LV_2762-30_0_4_node_82 | 0.4 | n |  | TRUE
43 | bus_LV_2762-30_0_4_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_2762-30_0_4_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_2762-30_0_4_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_2762-30_0_4_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_2762-30_0_4_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_2762-30_0_4_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_2762-30_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_2762-30_0_4_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_2762-30_0_4_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_2762-30_0_4_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_2762-30_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_2762-30_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_2762-30_0_4_node_83 | 0.4 | n |  | TRUE
56 | bus_LV_2762-30_0_4_node_78 | 0.4 | n |  | TRUE
57 | bus_LV_2762-30_0_4_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_2762-30_0_4_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_2762-30_0_4_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_2762-30_0_4_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_2762-30_0_4_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_2762-30_0_4_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_2762-30_0_4_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_2762-30_0_4_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_2762-30_0_4_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_2762-30_0_4_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_2762-30_0_4_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_2762-30_0_4_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_2762-30_0_4_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_2762-30_0_4_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_2762-30_0_4_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_2762-30_0_4_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_2762-30_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_2762-30_0_4_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_2762-30_0_4_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_2762-30_0_4_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_2762-30_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_2762-30_0_4_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_2762-30_0_4_node_79 | 0.4 | n |  | TRUE
80 | bus_MV_566_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2762-30_0_4_load_0 | 0 | 0.067379 | 0.016887 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2762-30_0_4_load_1 | 1 | 0.017148 | 0.0042976 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2762-30_0_4_load_7 | 6 | 0.0055035 | 0.0013793 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2762-30_0_4_load_8 | 7 | 0.0016117 | 0.00040394 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2762-30_0_4_load_57 | 8 | 0.037319 | 0.009353 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2762-30_0_4_load_19 | 9 | 0.001122 | 0.0002812 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2762-30_0_4_load_58 | 11 | 0.0041846 | 0.0010487 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2762-30_0_4_load_56 | 12 | 0.0017625 | 0.00044172 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2762-30_0_4_load_73 | 13 | 0.0051852 | 0.0012995 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2762-30_0_4_load_55 | 14 | 0.0016408 | 0.00041123 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2762-30_0_4_load_59 | 16 | 0.016798 | 0.00421 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2762-30_0_4_load_23 | 17 | 0.0052709 | 0.001321 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2762-30_0_4_load_13 | 18 | 0.0026229 | 0.00065736 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2762-30_0_4_load_54 | 19 | 0.0018313 | 0.00045896 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2762-30_0_4_load_9 | 20 | 0.0026366 | 0.00066079 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2762-30_0_4_load_10 | 21 | 0.011996 | 0.0030064 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2762-30_0_4_load_11 | 22 | 0.0028232 | 0.00070757 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2762-30_0_4_load_12 | 23 | 0.0015567 | 0.00039014 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2762-30_0_4_load_16 | 24 | 0.0087976 | 0.0022049 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2762-30_0_4_load_14 | 25 | 0.0092792 | 0.0023256 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2762-30_0_4_load_15 | 26 | 0.0079978 | 0.0020044 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2762-30_0_4_load_17 | 27 | 0.0044717 | 0.0011207 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2762-30_0_4_load_18 | 28 | 0.0047218 | 0.0011834 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2762-30_0_4_load_21 | 29 | 0.0033219 | 0.00083256 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2762-30_0_4_load_22 | 30 | 0.0041702 | 0.0010452 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2762-30_0_4_load_66 | 31 | 0.006855 | 0.001718 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2762-30_0_4_load_81 | 34 | 0.0055738 | 0.0013969 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2762-30_0_4_load_67 | 36 | 0.011703 | 0.0029331 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2762-30_0_4_load_69 | 37 | 0.010592 | 0.0026545 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2762-30_0_4_load_76 | 40 | 0.0046043 | 0.0011539 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2762-30_0_4_load_82 | 42 | 0.0036396 | 0.00091218 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2762-30_0_4_load_24 | 43 | 0.0019847 | 0.00049741 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2762-30_0_4_load_25 | 44 | 0.0019166 | 0.00048034 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2762-30_0_4_load_27 | 46 | 0.0020613 | 0.00051661 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2762-30_0_4_load_30 | 48 | 0.0020092 | 0.00050356 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2762-30_0_4_load_32 | 49 | 0.0012418 | 0.00031122 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2762-30_0_4_load_31 | 50 | 0.0049434 | 0.0012389 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2762-30_0_4_load_33 | 51 | 0.0046307 | 0.0011606 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2762-30_0_4_load_34 | 52 | 0.0018512 | 0.00046395 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2762-30_0_4_load_36 | 53 | 0.004827 | 0.0012098 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2762-30_0_4_load_37 | 54 | 0.0041513 | 0.0010404 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2762-30_0_4_load_83 | 55 | 0.0075276 | 0.0018866 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2762-30_0_4_load_78 | 56 | 0.0093538 | 0.0023443 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2762-30_0_4_load_38 | 57 | 0.0028397 | 0.00071171 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2762-30_0_4_load_39 | 58 | 0.0024903 | 0.00062413 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2762-30_0_4_load_40 | 59 | 0.0056895 | 0.0014259 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2762-30_0_4_load_41 | 60 | 0.0056778 | 0.001423 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2762-30_0_4_load_42 | 61 | 0.0037279 | 0.0009343 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2762-30_0_4_load_43 | 62 | 0.0060774 | 0.0015231 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2762-30_0_4_load_44 | 63 | 0.0018693 | 0.00046849 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2762-30_0_4_load_45 | 64 | 0.0016396 | 0.00041093 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2762-30_0_4_load_46 | 65 | 0.0018481 | 0.00046319 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2762-30_0_4_load_47 | 66 | 0.0022421 | 0.00056191 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2762-30_0_4_load_48 | 67 | 0.006438 | 0.0016135 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2762-30_0_4_load_49 | 68 | 0.0062823 | 0.0015745 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2762-30_0_4_load_51 | 69 | 0.0061291 | 0.0015361 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2762-30_0_4_load_50 | 70 | 0.0025368 | 0.00063577 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2762-30_0_4_load_52 | 71 | 0.0017649 | 0.00044232 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2762-30_0_4_load_53 | 72 | 0.0049632 | 0.0012439 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2762-30_0_4_load_70 | 73 | 0.0063048 | 0.0015801 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2762-30_0_4_load_74 | 74 | 0.0071261 | 0.001786 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2762-30_0_4_load_71 | 75 | 0.0082142 | 0.0020587 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2762-30_0_4_load_72 | 76 | 0.0085333 | 0.0021386 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2762-30_0_4_load_75 | 77 | 0.0021049 | 0.00052753 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2762-30_0_4_load_77 | 78 | 0.0022114 | 0.00055424 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2762-30_0_4_load_79 | 79 | 0.0082201 | 0.0020601 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2762-30_0_4_line_0 |  | 0 | 1 | 0.00010068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2762-30_0_4_line_1 |  | 0 | 2 | 0.079382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2762-30_0_4_line_2 |  | 1 | 3 | 0.046191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2762-30_0_4_line_3 |  | 2 | 4 | 0.032487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2762-30_0_4_line_4 |  | 2 | 5 | 0.0277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2762-30_0_4_line_5 |  | 3 | 6 | 0.011342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2762-30_0_4_line_6 |  | 3 | 7 | 0.016389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2762-30_0_4_line_7 |  | 4 | 8 | 0.022651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2762-30_0_4_line_8 |  | 5 | 9 | 0.034304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2762-30_0_4_line_9 |  | 6 | 13 | 6.1824e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2762-30_0_4_line_10 |  | 7 | 14 | 1.4723e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2762-30_0_4_line_11 |  | 8 | 12 | 0.0064793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2762-30_0_4_line_12 |  | 10 | 11 | 0.009548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2762-30_0_4_line_13 |  | 10 | 12 | 0.015716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2762-30_0_4_line_14 |  | 13 | 18 | 0.01965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2762-30_0_4_line_15 |  | 14 | 19 | 0.030439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2762-30_0_4_line_16 |  | 15 | 16 | 0.044259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_2762-30_0_4_line_17 |  | 15 | 17 | 0.021027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2762-30_0_4_line_18 |  | 16 | 31 | 0.051692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2762-30_0_4_line_19 |  | 17 | 30 | 0.00073226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2762-30_0_4_line_20 |  | 18 | 22 | 9.7038e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2762-30_0_4_line_21 |  | 19 | 72 | 0.0010634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2762-30_0_4_line_22 |  | 20 | 21 | 0.0063341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_2762-30_0_4_line_23 |  | 20 | 22 | 0.022048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2762-30_0_4_line_24 |  | 21 | 23 | 0.0027763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2762-30_0_4_line_25 |  | 23 | 24 | 0.0066199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2762-30_0_4_line_26 |  | 24 | 25 | 0.018932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2762-30_0_4_line_27 |  | 25 | 26 | 0.00010098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2762-30_0_4_line_28 |  | 26 | 27 | 0.0051137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2762-30_0_4_line_29 |  | 27 | 28 | 0.021839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2762-30_0_4_line_30 |  | 28 | 29 | 0.006175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2762-30_0_4_line_31 |  | 29 | 30 | 0.014761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_2762-30_0_4_line_32 |  | 31 | 35 | 0.014703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2762-30_0_4_line_33 |  | 32 | 33 | 0.030102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2762-30_0_4_line_34 |  | 32 | 34 | 0.010256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2762-30_0_4_line_35 |  | 33 | 37 | 0.022003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2762-30_0_4_line_36 |  | 33 | 38 | 0.099376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2762-30_0_4_line_37 |  | 33 | 36 | 0.0041782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2762-30_0_4_line_38 |  | 35 | 36 | 0.027882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2762-30_0_4_line_39 |  | 37 | 73 | 0.02607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2762-30_0_4_line_40 |  | 38 | 41 | 0.054903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2762-30_0_4_line_41 |  | 38 | 42 | 0.024595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2762-30_0_4_line_42 |  | 38 | 39 | 0.038848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2762-30_0_4_line_43 |  | 39 | 40 | 0.005844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2762-30_0_4_line_44 |  | 40 | 74 | 0.0090654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2762-30_0_4_line_45 |  | 40 | 56 | 0.016167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2762-30_0_4_line_46 |  | 41 | 55 | 0.028366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2762-30_0_4_line_47 |  | 43 | 44 | 0.0050266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2762-30_0_4_line_48 |  | 43 | 45 | 0.13206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2762-30_0_4_line_49 |  | 44 | 46 | 0.011406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2762-30_0_4_line_50 |  | 45 | 47 | 0.064802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2762-30_0_4_line_51 |  | 46 | 48 | 0.0059464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2762-30_0_4_line_52 |  | 47 | 49 | 0.069984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2762-30_0_4_line_53 |  | 48 | 50 | 0.011786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2762-30_0_4_line_54 |  | 49 | 51 | 0.024285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2762-30_0_4_line_55 |  | 51 | 52 | 0.0034229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2762-30_0_4_line_56 |  | 52 | 53 | 0.012021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2762-30_0_4_line_57 |  | 53 | 54 | 0.017824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2762-30_0_4_line_58 |  | 54 | 57 | 0.0086967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2762-30_0_4_line_59 |  | 57 | 58 | 0.0061502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2762-30_0_4_line_60 |  | 58 | 59 | 0.011817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2762-30_0_4_line_61 |  | 59 | 60 | 0.0048327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2762-30_0_4_line_62 |  | 60 | 61 | 0.012517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2762-30_0_4_line_63 |  | 61 | 62 | 0.0092245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2762-30_0_4_line_64 |  | 62 | 63 | 0.0043152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2762-30_0_4_line_65 |  | 63 | 64 | 0.0063055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2762-30_0_4_line_66 |  | 64 | 65 | 0.0012135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2762-30_0_4_line_67 |  | 65 | 66 | 0.0073148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2762-30_0_4_line_68 |  | 66 | 67 | 0.0072948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2762-30_0_4_line_69 |  | 67 | 68 | 0.0001458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2762-30_0_4_line_70 |  | 68 | 69 | 0.0059741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2762-30_0_4_line_71 |  | 69 | 70 | 0.00022733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2762-30_0_4_line_72 |  | 70 | 71 | 0.0087897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2762-30_0_4_line_73 |  | 71 | 72 | 0.003559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2762-30_0_4_line_74 |  | 73 | 75 | 0.0027899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2762-30_0_4_line_75 |  | 74 | 77 | 0.00039862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2762-30_0_4_line_76 |  | 75 | 76 | 0.017548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2762-30_0_4_line_77 |  | 77 | 78 | 0.007311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2762-30_0_4_line_78 |  | 78 | 79 | 0.012056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2762-30_0_4_trafo_7 | 0.63 MVA 20/0.4 kV | 80 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2608072.999 | 1266663.7488 | 2608073.0374 | 1266663.8418
1 | 2608042.6625 | 1266590.3916 | 2608072.999 | 1266663.7488
2 | 2608090.6894 | 1266706.5264 | 2608073.0374 | 1266663.8418
3 | 2608042.6625 | 1266590.3916 | 2608012.9404 | 1266603.7053
4 | 2608042.6625 | 1266590.3916 | 2608048.0542 | 1266588.9979 | 2608068.5336 | 1266580.4196
5 | 2608090.6894 | 1266706.5264 | 2608101.1803 | 1266702.2171
6 | 2608090.6894 | 1266706.5264 | 2608075.5288 | 1266712.7516
7 | 2608012.9404 | 1266603.7053 | 2608006.4856 | 1266606.4096 | 2607992.0476 | 1266612.4556
8 | 2608068.5336 | 1266580.4196 | 2608081.5203 | 1266612.1701
9 | 2608101.2375 | 1266702.1936 | 2608101.1803 | 1266702.2171
10 | 2608075.5152 | 1266712.7572 | 2608075.5288 | 1266712.7516
11 | 2607986.0712 | 1266614.9583 | 2607992.0476 | 1266612.4556
12 | 2607962.748 | 1266624.7305 | 2607971.5753 | 1266621.0286
13 | 2607971.5753 | 1266621.0286 | 2607986.0712 | 1266614.9583
14 | 2608119.4135 | 1266694.7275 | 2608101.2375 | 1266702.1936
15 | 2608047.358 | 1266724.3199 | 2608055.441 | 1266720.9999 | 2608075.5152 | 1266712.7572
16 | 2608236.4826 | 1266646.6511 | 2608251.4007 | 1266688.3204
17 | 2608236.4826 | 1266646.6511 | 2608217.0321 | 1266654.6386
18 | 2608251.4007 | 1266688.3204 | 2608268.8242 | 1266736.9879
19 | 2608217.0321 | 1266654.6386 | 2608216.3547 | 1266654.9168
20 | 2608119.5033 | 1266694.6907 | 2608119.4135 | 1266694.7275
21 | 2608047.358 | 1266724.3199 | 2608046.3743 | 1266724.7239
22 | 2608139.8983 | 1266686.3142 | 2608145.7576 | 1266683.9081
23 | 2608139.8983 | 1266686.3142 | 2608129.4855 | 1266690.5903 | 2608119.5033 | 1266694.6907
24 | 2608145.7576 | 1266683.9081 | 2608148.3258 | 1266682.8534
25 | 2608154.4495 | 1266680.3387 | 2608148.3258 | 1266682.8534
26 | 2608171.9623 | 1266673.1469 | 2608154.4495 | 1266680.3387
27 | 2608172.0558 | 1266673.1085 | 2608171.9623 | 1266673.1469
28 | 2608176.7861 | 1266671.166 | 2608172.0558 | 1266673.1085
29 | 2608176.7861 | 1266671.166 | 2608196.988 | 1266662.8699
30 | 2608196.988 | 1266662.8699 | 2608202.7001 | 1266660.5241
31 | 2608202.7001 | 1266660.5241 | 2608216.3547 | 1266654.9168
32 | 2608273.7801 | 1266750.8309 | 2608268.8242 | 1266736.9879
33 | 2608244.1801 | 1266763.1318 | 2608244.7429 | 1266764.4113 | 2608245.515 | 1266766.7584 | 2608246.8873 | 1266770.5185 | 2608247.4249 | 1266773.6881 | 2608248.6248 | 1266776.9587 | 2608249.1258 | 1266779.3611 | 2608254.5847 | 1266778.2568 | 2608262.0204 | 1266779.3011
34 | 2608262.0204 | 1266779.3011 | 2608263.4689 | 1266782.3942 | 2608265.6783 | 1266785.0102 | 2608268.4909 | 1266786.9488
35 | 2608244.1801 | 1266763.1318 | 2608223.9423 | 1266771.766
36 | 2608171.8538 | 1266808.8974 | 2608166.1836 | 1266804.8869 | 2608164.9804 | 1266804.0402 | 2608167.7914 | 1266801.6646 | 2608175.338 | 1266798.6284 | 2608176.0843 | 1266797.8177 | 2608184.9007 | 1266791.0029 | 2608191.0175 | 1266787.7757 | 2608244.7429 | 1266764.4113 | 2608244.1801 | 1266763.1318
37 | 2608244.1801 | 1266763.1318 | 2608248.0228 | 1266761.4913
38 | 2608273.7801 | 1266750.8309 | 2608268.0111 | 1266752.9577 | 2608248.0228 | 1266761.4913
39 | 2608223.9423 | 1266771.766 | 2608199.9638 | 1266781.9962
40 | 2608216.7711 | 1266840.6591 | 2608171.8538 | 1266808.8974
41 | 2608171.8538 | 1266808.8974 | 2608186.224 | 1266803.1242 | 2608194.7849 | 1266800.0131
42 | 2608136.9172 | 1266815.81 | 2608164.9804 | 1266804.0402 | 2608166.1836 | 1266804.8869 | 2608171.8538 | 1266808.8974
43 | 2608134.2822 | 1266810.5917 | 2608136.1363 | 1266814.3635 | 2608136.9172 | 1266815.81
44 | 2608134.2822 | 1266810.5917 | 2608142.6656 | 1266807.1419
45 | 2608134.2822 | 1266810.5917 | 2608119.331 | 1266816.7415
46 | 2608233.4308 | 1266817.6661 | 2608216.7711 | 1266840.6591
47 | 2607923.1117 | 1266708.8455 | 2607918.4557 | 1266710.7399
48 | 2607796.1268 | 1266760.5048 | 2607882.438 | 1266725.3939 | 2607918.4557 | 1266710.7399
49 | 2607923.1117 | 1266708.8455 | 2607933.6769 | 1266704.5471
50 | 2607837.4018 | 1266810.5605 | 2607796.1268 | 1266760.5048
51 | 2607933.6769 | 1266704.5471 | 2607939.1849 | 1266702.3061
52 | 2607837.4018 | 1266810.5605 | 2607840.1734 | 1266809.4189 | 2607902.1369 | 1266783.968
53 | 2607950.1018 | 1266697.8645 | 2607939.1849 | 1266702.3061
54 | 2607902.1369 | 1266783.968 | 2607924.6005 | 1266774.7413
55 | 2607924.6005 | 1266774.7413 | 2607927.7667 | 1266773.4408
56 | 2607938.8861 | 1266768.8736 | 2607927.7667 | 1266773.4408
57 | 2607938.8861 | 1266768.8736 | 2607955.3738 | 1266762.1015
58 | 2607963.4184 | 1266758.7973 | 2607955.3738 | 1266762.1015
59 | 2607963.4184 | 1266758.7973 | 2607969.1074 | 1266756.4605
60 | 2607980.0378 | 1266751.971 | 2607969.1074 | 1266756.4605
61 | 2607980.0378 | 1266751.971 | 2607984.5081 | 1266750.1348
62 | 2607996.0868 | 1266745.379 | 2607984.5081 | 1266750.1348
63 | 2607996.0868 | 1266745.379 | 2608004.6196 | 1266741.8743
64 | 2608008.6111 | 1266740.2348 | 2608004.6196 | 1266741.8743
65 | 2608008.6111 | 1266740.2348 | 2608014.4438 | 1266737.8391
66 | 2608015.5663 | 1266737.378 | 2608014.4438 | 1266737.8391
67 | 2608015.5663 | 1266737.378 | 2608022.3326 | 1266734.5988
68 | 2608022.3326 | 1266734.5988 | 2608029.0804 | 1266731.8272
69 | 2608029.0804 | 1266731.8272 | 2608029.2153 | 1266731.7718
70 | 2608034.7413 | 1266729.5021 | 2608029.2153 | 1266731.7718
71 | 2608034.7413 | 1266729.5021 | 2608034.9516 | 1266729.4157
72 | 2608034.9516 | 1266729.4157 | 2608043.0822 | 1266726.0761
73 | 2608046.3743 | 1266724.7239 | 2608043.0822 | 1266726.0761
74 | 2608199.9638 | 1266781.9962 | 2608197.3977 | 1266783.091
75 | 2608143.0342 | 1266806.9903 | 2608142.6656 | 1266807.1419
76 | 2608181.8072 | 1266790.8541 | 2608184.3018 | 1266788.6782 | 2608197.3977 | 1266783.091
77 | 2608149.7952 | 1266804.2082 | 2608143.0342 | 1266806.9903
78 | 2608160.9442 | 1266799.6205 | 2608149.7952 | 1266804.2082

## bus_geodata
| x | y | coords
0 | 2608072.999 | 1266663.7488
1 | 2608073.0374 | 1266663.8418
2 | 2608042.6625 | 1266590.3916
3 | 2608090.6894 | 1266706.5264
4 | 2608012.9404 | 1266603.7053
5 | 2608068.5336 | 1266580.4196
6 | 2608101.1803 | 1266702.2171
7 | 2608075.5288 | 1266712.7516
8 | 2607992.0476 | 1266612.4556
9 | 2608081.5203 | 1266612.1701
10 | 2607971.5753 | 1266621.0286
11 | 2607962.748 | 1266624.7305
12 | 2607986.0712 | 1266614.9583
13 | 2608101.2375 | 1266702.1936
14 | 2608075.5152 | 1266712.7572
15 | 2608236.4826 | 1266646.6511
16 | 2608251.4007 | 1266688.3204
17 | 2608217.0321 | 1266654.6386
18 | 2608119.4135 | 1266694.7275
19 | 2608047.358 | 1266724.3199
20 | 2608139.8983 | 1266686.3142
21 | 2608145.7576 | 1266683.9081
22 | 2608119.5033 | 1266694.6907
23 | 2608148.3258 | 1266682.8534
24 | 2608154.4495 | 1266680.3387
25 | 2608171.9623 | 1266673.1469
26 | 2608172.0558 | 1266673.1085
27 | 2608176.7861 | 1266671.166
28 | 2608196.988 | 1266662.8699
29 | 2608202.7001 | 1266660.5241
30 | 2608216.3547 | 1266654.9168
31 | 2608268.8242 | 1266736.9879
32 | 2608262.0204 | 1266779.3011
33 | 2608244.1801 | 1266763.1318
34 | 2608268.4909 | 1266786.9488
35 | 2608273.7801 | 1266750.8309
36 | 2608248.0228 | 1266761.4913
37 | 2608223.9423 | 1266771.766
38 | 2608171.8538 | 1266808.8974
39 | 2608136.9172 | 1266815.81
40 | 2608134.2822 | 1266810.5916
41 | 2608216.7711 | 1266840.6591
42 | 2608194.7849 | 1266800.0131
43 | 2607918.4557 | 1266710.7399
44 | 2607923.1117 | 1266708.8456
45 | 2607796.1268 | 1266760.5048
46 | 2607933.6769 | 1266704.5471
47 | 2607837.4018 | 1266810.5605
48 | 2607939.1849 | 1266702.3061
49 | 2607902.1369 | 1266783.968
50 | 2607950.1018 | 1266697.8645
51 | 2607924.6005 | 1266774.7413
52 | 2607927.7667 | 1266773.4408
53 | 2607938.8861 | 1266768.8736
54 | 2607955.3738 | 1266762.1015
55 | 2608233.4308 | 1266817.6661
56 | 2608119.331 | 1266816.7415
57 | 2607963.4184 | 1266758.7973
58 | 2607969.1074 | 1266756.4605
59 | 2607980.0378 | 1266751.971
60 | 2607984.5081 | 1266750.1348
61 | 2607996.0868 | 1266745.379
62 | 2608004.6196 | 1266741.8743
63 | 2608008.6111 | 1266740.2348
64 | 2608014.4438 | 1266737.8391
65 | 2608015.5663 | 1266737.378
66 | 2608022.3326 | 1266734.5988
67 | 2608029.0804 | 1266731.8272
68 | 2608029.2153 | 1266731.7718
69 | 2608034.7413 | 1266729.5021
70 | 2608034.9516 | 1266729.4157
71 | 2608043.0822 | 1266726.0761
72 | 2608046.3743 | 1266724.7239
73 | 2608199.9638 | 1266781.9962
74 | 2608142.6656 | 1266807.1419
75 | 2608197.3977 | 1266783.091
76 | 2608181.8072 | 1266790.8541
77 | 2608143.0342 | 1266806.9903
78 | 2608149.7952 | 1266804.2082
79 | 2608160.9442 | 1266799.6205
80 | 2608090.6894 | 1266706.5264

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1