## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2762-34_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2762-34_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2762-34_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2762-34_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2762-34_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2762-34_0_5_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_2762-34_0_5_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_2762-34_0_5_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_2762-34_0_5_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_2762-34_0_5_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_2762-34_0_5_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_2762-34_0_5_node_41 | 0.4 | n |  | TRUE
12 | bus_LV_2762-34_0_5_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_2762-34_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2762-34_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2762-34_0_5_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2762-34_0_5_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_2762-34_0_5_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_2762-34_0_5_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_2762-34_0_5_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_2762-34_0_5_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_2762-34_0_5_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_2762-34_0_5_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_2762-34_0_5_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_2762-34_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_2762-34_0_5_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_2762-34_0_5_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_2762-34_0_5_node_5 | 0.4 | n |  | TRUE
28 | bus_LV_2762-34_0_5_node_6 | 0.4 | n |  | TRUE
29 | bus_LV_2762-34_0_5_node_8 | 0.4 | n |  | TRUE
30 | bus_LV_2762-34_0_5_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_2762-34_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_2762-34_0_5_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_2762-34_0_5_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_2762-34_0_5_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_2762-34_0_5_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_2762-34_0_5_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_2762-34_0_5_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_2762-34_0_5_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_2762-34_0_5_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_2762-34_0_5_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_2762-34_0_5_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_2762-34_0_5_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_2762-34_0_5_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_2762-34_0_5_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_2762-34_0_5_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_2762-34_0_5_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_2762-34_0_5_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_2762-34_0_5_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_2762-34_0_5_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_2762-34_0_5_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_2762-34_0_5_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_2762-34_0_5_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_2762-34_0_5_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_2762-34_0_5_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_2762-34_0_5_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_2762-34_0_5_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_2762-34_0_5_node_76 | 0.4 | n |  | TRUE
58 | bus_LV_2762-34_0_5_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_2762-34_0_5_node_82 | 0.4 | n |  | TRUE
60 | bus_LV_2762-34_0_5_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_2762-34_0_5_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_2762-34_0_5_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_2762-34_0_5_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_2762-34_0_5_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_2762-34_0_5_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_2762-34_0_5_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_2762-34_0_5_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_2762-34_0_5_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_2762-34_0_5_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_2762-34_0_5_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_2762-34_0_5_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_2762-34_0_5_node_81 | 0.4 | n |  | TRUE
73 | bus_LV_2762-34_0_5_node_78 | 0.4 | n |  | TRUE
74 | bus_MV_566_0_node_152 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2762-34_0_5_load_0 | 0 | 0.012485 | 0.0031291 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2762-34_0_5_load_1 | 1 | 0.010615 | 0.0026604 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2762-34_0_5_load_2 | 2 | 0.0031005 | 0.00077706 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2762-34_0_5_load_4 | 4 | 0.010599 | 0.0026564 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2762-34_0_5_load_40 | 6 | 0.0086832 | 0.0021762 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2762-34_0_5_load_37 | 7 | 0.010657 | 0.0026709 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2762-34_0_5_load_36 | 9 | 0.026494 | 0.0066399 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2762-34_0_5_load_41 | 11 | 0.019493 | 0.0048854 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2762-34_0_5_load_39 | 12 | 0.011106 | 0.0027835 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2762-34_0_5_load_24 | 16 | 0.0031183 | 0.00078152 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2762-34_0_5_load_25 | 18 | 0.0024834 | 0.00062239 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2762-34_0_5_load_22 | 19 | 0.035429 | 0.0088794 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2762-34_0_5_load_47 | 20 | 0.013277 | 0.0033275 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2762-34_0_5_load_45 | 21 | 0.0049193 | 0.0012329 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2762-34_0_5_load_42 | 23 | 0.0029222 | 0.00073237 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2762-34_0_5_load_53 | 26 | 0.0033978 | 0.00085156 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2762-34_0_5_load_5 | 27 | 0.011893 | 0.0029806 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2762-34_0_5_load_6 | 28 | 0.012917 | 0.0032374 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2762-34_0_5_load_8 | 29 | 0.010362 | 0.002597 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2762-34_0_5_load_27 | 30 | 0.011702 | 0.0029328 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2762-34_0_5_load_23 | 31 | 0.014275 | 0.0035776 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2762-34_0_5_load_32 | 32 | 0.0091153 | 0.0022845 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2762-34_0_5_load_62 | 33 | 0.0043478 | 0.0010897 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2762-34_0_5_load_21 | 34 | 0.0048434 | 0.0012139 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2762-34_0_5_load_43 | 36 | 0.0064154 | 0.0016078 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2762-34_0_5_load_44 | 37 | 0.0049007 | 0.0012282 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2762-34_0_5_load_38 | 38 | 0.011795 | 0.002956 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2762-34_0_5_load_33 | 39 | 0.0051097 | 0.0012806 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2762-34_0_5_load_34 | 40 | 0.0030925 | 0.00077505 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2762-34_0_5_load_28 | 41 | 0.0080447 | 0.0020162 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2762-34_0_5_load_29 | 42 | 0.0034897 | 0.00087461 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2762-34_0_5_load_30 | 43 | 0.0069664 | 0.001746 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2762-34_0_5_load_31 | 44 | 0.0066443 | 0.0016652 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2762-34_0_5_load_50 | 46 | 0.0043798 | 0.0010977 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2762-34_0_5_load_49 | 47 | 0.0050527 | 0.0012663 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2762-34_0_5_load_51 | 48 | 0.0077104 | 0.0019324 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2762-34_0_5_load_52 | 49 | 0.015196 | 0.0038085 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2762-34_0_5_load_54 | 50 | 0.0029823 | 0.00074743 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2762-34_0_5_load_55 | 51 | 0.0029801 | 0.00074688 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2762-34_0_5_load_57 | 53 | 0.0024196 | 0.00060641 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2762-34_0_5_load_59 | 55 | 0.0024807 | 0.00062172 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2762-34_0_5_load_76 | 57 | 0.0013246 | 0.00033198 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2762-34_0_5_load_60 | 58 | 0.0070611 | 0.0017697 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2762-34_0_5_load_82 | 59 | 0.0068447 | 0.0017154 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2762-34_0_5_load_77 | 60 | 0.0012866 | 0.00032246 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2762-34_0_5_load_61 | 61 | 0.0076428 | 0.0019155 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2762-34_0_5_load_63 | 62 | 0.03012 | 0.0075489 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2762-34_0_5_load_64 | 63 | 0.0036902 | 0.00092486 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2762-34_0_5_load_65 | 64 | 0.0022883 | 0.0005735 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2762-34_0_5_load_66 | 65 | 0.0019925 | 0.00049937 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2762-34_0_5_load_69 | 66 | 0.0026174 | 0.00065597 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2762-34_0_5_load_70 | 67 | 0.0049083 | 0.0012301 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2762-34_0_5_load_73 | 69 | 0.0023856 | 0.00059788 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2762-34_0_5_load_74 | 70 | 0.0012857 | 0.00032222 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2762-34_0_5_load_75 | 71 | 0.0013245 | 0.00033195 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2762-34_0_5_load_81 | 72 | 0.0012861 | 0.00032233 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2762-34_0_5_load_78 | 73 | 0.0013241 | 0.00033186 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2762-34_0_5_line_0 |  | 0 | 1 | 0.029216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2762-34_0_5_line_1 |  | 0 | 2 | 0.0099734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2762-34_0_5_line_2 |  | 1 | 3 | 0.014126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2762-34_0_5_line_3 |  | 2 | 4 | 0.0022864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2762-34_0_5_line_4 |  | 3 | 5 | 0.007771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2762-34_0_5_line_5 |  | 4 | 6 | 0.0021033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2762-34_0_5_line_6 |  | 5 | 7 | 0.029199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2762-34_0_5_line_7 |  | 5 | 8 | 0.006497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2762-34_0_5_line_8 |  | 6 | 12 | 0.011715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2762-34_0_5_line_9 |  | 7 | 38 | 0.027454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2762-34_0_5_line_10 |  | 8 | 9 | 0.04964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2762-34_0_5_line_11 |  | 9 | 32 | 0.0089981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2762-34_0_5_line_12 |  | 10 | 11 | 0.012506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2762-34_0_5_line_13 |  | 10 | 12 | 0.0248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2762-34_0_5_line_14 |  | 10 | 13 | 0.023676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2762-34_0_5_line_15 |  | 11 | 22 | 0.0043306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2762-34_0_5_line_16 |  | 13 | 27 | 0.014146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2762-34_0_5_line_17 |  | 13 | 14 | 0.011607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2762-34_0_5_line_18 |  | 14 | 15 | 0.017269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2762-34_0_5_line_19 |  | 14 | 16 | 0.012055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2762-34_0_5_line_20 |  | 15 | 20 | 0.0037598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2762-34_0_5_line_21 |  | 15 | 21 | 0.01492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2762-34_0_5_line_22 |  | 16 | 31 | 0.010672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2762-34_0_5_line_23 |  | 17 | 18 | 0.021695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2762-34_0_5_line_24 |  | 17 | 19 | 0.022837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2762-34_0_5_line_25 |  | 19 | 34 | 0.01729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2762-34_0_5_line_26 |  | 20 | 33 | 0.070028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2762-34_0_5_line_27 |  | 22 | 23 | 0.018669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2762-34_0_5_line_28 |  | 22 | 24 | 0.015777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2762-34_0_5_line_29 |  | 23 | 36 | 0.017086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2762-34_0_5_line_30 |  | 24 | 25 | 0.004076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2762-34_0_5_line_31 |  | 24 | 26 | 0.027743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2762-34_0_5_line_32 |  | 25 | 35 | 0.001735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2762-34_0_5_line_33 |  | 27 | 28 | 0.017139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2762-34_0_5_line_34 |  | 28 | 29 | 0.016606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2762-34_0_5_line_35 |  | 29 | 30 | 0.016632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2762-34_0_5_line_36 |  | 31 | 34 | 0.020289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2762-34_0_5_line_37 |  | 32 | 43 | 0.013402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2762-34_0_5_line_38 |  | 35 | 46 | 0.017459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2762-34_0_5_line_39 |  | 36 | 37 | 0.013922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2762-34_0_5_line_40 |  | 39 | 40 | 0.0027463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2762-34_0_5_line_41 |  | 40 | 45 | 0.01066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2762-34_0_5_line_42 |  | 41 | 42 | 0.002201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2762-34_0_5_line_43 |  | 41 | 43 | 0.018302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2762-34_0_5_line_44 |  | 42 | 44 | 0.00025564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2762-34_0_5_line_45 |  | 44 | 45 | 0.0053351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2762-34_0_5_line_46 |  | 46 | 47 | 0.0016576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2762-34_0_5_line_47 |  | 47 | 48 | 0.02972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2762-34_0_5_line_48 |  | 48 | 49 | 0.027765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2762-34_0_5_line_49 |  | 49 | 50 | 0.0065839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2762-34_0_5_line_50 |  | 50 | 51 | 7.7825e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2762-34_0_5_line_51 |  | 51 | 52 | 0.019949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2762-34_0_5_line_52 |  | 52 | 53 | 0.02855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2762-34_0_5_line_53 |  | 52 | 54 | 0.006951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2762-34_0_5_line_54 |  | 53 | 55 | 0.0060199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2762-34_0_5_line_55 |  | 54 | 56 | 0.078127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2762-34_0_5_line_56 |  | 54 | 57 | 0.015488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2762-34_0_5_line_57 |  | 55 | 58 | 0.023002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2762-34_0_5_line_58 |  | 56 | 59 | 0.023187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2762-34_0_5_line_59 |  | 57 | 60 | 0.0084012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2762-34_0_5_line_60 |  | 58 | 61 | 0.033263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2762-34_0_5_line_61 |  | 60 | 73 | 0.030171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2762-34_0_5_line_62 |  | 61 | 62 | 0.0056209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2762-34_0_5_line_63 |  | 62 | 63 | 0.01456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2762-34_0_5_line_64 |  | 63 | 64 | 0.026834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2762-34_0_5_line_65 |  | 64 | 65 | 0.016592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2762-34_0_5_line_66 |  | 66 | 67 | 0.012115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2762-34_0_5_line_67 |  | 67 | 68 | 0.0083042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2762-34_0_5_line_68 |  | 68 | 69 | 0.0077373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2762-34_0_5_line_69 |  | 69 | 70 | 0.014781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2762-34_0_5_line_70 |  | 70 | 71 | 0.0084163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2762-34_0_5_line_71 |  | 71 | 72 | 0.03469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2762-34_0_5_line_72 |  | 72 | 73 | 0.008391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2762-34_0_5_trafo_9 | 0.63 MVA 20/0.4 kV | 74 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2607633.4674 | 1266775.6233 | 2607648.6166 | 1266750.6417
1 | 2607633.4674 | 1266775.6233 | 2607628.2959 | 1266784.1512
2 | 2607655.9411 | 1266738.5634 | 2607648.6166 | 1266750.6417
3 | 2607627.1104 | 1266786.1062 | 2607628.2959 | 1266784.1512
4 | 2607655.9411 | 1266738.5634 | 2607660.1272 | 1266732.0087
5 | 2607627.1104 | 1266786.1062 | 2607626.0197 | 1266787.9047
6 | 2607660.1272 | 1266732.0087 | 2607635.44 | 1266716.4172
7 | 2607665.6329 | 1266735.4848 | 2607660.1272 | 1266732.0087
8 | 2607619.9452 | 1266797.9219 | 2607626.0197 | 1266787.9047
9 | 2607635.44 | 1266716.4172 | 2607612.2277 | 1266701.7571
10 | 2607665.6329 | 1266735.4848 | 2607668.5204 | 1266737.8458 | 2607704.0391 | 1266766.934
11 | 2607704.0391 | 1266766.934 | 2607711.0006 | 1266772.6352
12 | 2607606.481 | 1266818.6893 | 2607602.4848 | 1266818.0615 | 2607595.4406 | 1266813.3751
13 | 2607606.481 | 1266818.6893 | 2607609.4663 | 1266815.2018 | 2607619.9452 | 1266797.9219
14 | 2607606.481 | 1266818.6893 | 2607614.9209 | 1266823.3033 | 2607627.9138 | 1266828.6681
15 | 2607591.8351 | 1266810.9764 | 2607595.4406 | 1266813.3751
16 | 2607627.9138 | 1266828.6681 | 2607634.2798 | 1266816.0357
17 | 2607626.8788 | 1266837.4284 | 2607630.9002 | 1266830.2174 | 2607627.9138 | 1266828.6681
18 | 2607617.1127 | 1266851.6592 | 2607620.8453 | 1266846.5271 | 2607621.7802 | 1266845.3274 | 2607622.5572 | 1266844.0609 | 2607626.8788 | 1266837.4284
19 | 2607626.8788 | 1266837.4284 | 2607637.3495 | 1266843.4018
20 | 2607617.1127 | 1266851.6592 | 2607620.2256 | 1266853.7679
21 | 2607617.1127 | 1266851.6592 | 2607605.4691 | 1266842.3306
22 | 2607637.3495 | 1266843.4018 | 2607646.6189 | 1266848.69
23 | 2607699.8051 | 1266877.2722 | 2607702.9065 | 1266871.3165 | 2607709.8263 | 1266858.0161
24 | 2607699.8051 | 1266877.2722 | 2607680.8705 | 1266868.2303 | 2607679.2597 | 1266867.3114
25 | 2607664.242 | 1266858.7438 | 2607679.2597 | 1266867.3114
26 | 2607620.2256 | 1266853.7679 | 2607635.0047 | 1266863.7794 | 2607682.3422 | 1266885.7261
27 | 2607591.8351 | 1266810.9764 | 2607585.0962 | 1266806.498 | 2607577.1222 | 1266799.5481
28 | 2607582.0187 | 1266823.3058 | 2607585.1093 | 1266819.8518 | 2607586.0518 | 1266818.6299 | 2607586.8287 | 1266817.3967 | 2607591.8351 | 1266810.9764
29 | 2607577.1222 | 1266799.5481 | 2607573.2913 | 1266796.2092 | 2607562.4694 | 1266791.0147
30 | 2607585.0864 | 1266826.0005 | 2607582.0187 | 1266823.3058
31 | 2607582.0187 | 1266823.3058 | 2607559.1081 | 1266807.6604
32 | 2607584.1737 | 1266827.4781 | 2607585.0864 | 1266826.0005
33 | 2607634.2798 | 1266816.0357 | 2607641.9931 | 1266800.73
34 | 2607641.9931 | 1266800.73 | 2607647.9047 | 1266788.9994 | 2607649.7831 | 1266786.0818
35 | 2607649.7831 | 1266786.0818 | 2607658.7865 | 1266772.0973
36 | 2607646.6189 | 1266848.69 | 2607664.242 | 1266858.7438
37 | 2607721.3697 | 1266781.1269 | 2607711.0006 | 1266772.6352
38 | 2607584.1737 | 1266827.4781 | 2607581.0828 | 1266825.2393 | 2607573.2395 | 1266836.4013
39 | 2607562.4694 | 1266791.0147 | 2607549.9179 | 1266784.9901
40 | 2607749.8609 | 1266804.3441 | 2607752.0001 | 1266806.0662
41 | 2607741.5572 | 1266797.6596 | 2607749.8609 | 1266804.3441
42 | 2607735.529 | 1266792.7228 | 2607737.2318 | 1266794.1173
43 | 2607721.3697 | 1266781.1269 | 2607735.529 | 1266792.7228
44 | 2607737.4296 | 1266794.2793 | 2607737.2318 | 1266794.1173
45 | 2607741.5572 | 1266797.6596 | 2607737.4296 | 1266794.2793
46 | 2607572.2865 | 1266837.7576 | 2607573.2395 | 1266836.4013
47 | 2607572.2865 | 1266837.7576 | 2607562.4264 | 1266851.7897 | 2607555.2548 | 1266862.1126
48 | 2607539.4136 | 1266884.9146 | 2607555.2548 | 1266862.1126
49 | 2607539.4136 | 1266884.9146 | 2607535.6571 | 1266890.3217
50 | 2607535.6127 | 1266890.3856 | 2607535.6571 | 1266890.3217
51 | 2607524.231 | 1266906.7686 | 2607535.6127 | 1266890.3856
52 | 2607524.231 | 1266906.7686 | 2607551.2972 | 1266915.8543
53 | 2607517.6249 | 1266904.5476 | 2607524.231 | 1266906.7686
54 | 2607557.0042 | 1266917.77 | 2607551.2972 | 1266915.8543
55 | 2607485.9801 | 1266958.5343 | 2607494.9803 | 1266930.4816 | 2607503.7149 | 1266898.2479 | 2607517.6249 | 1266904.5476
56 | 2607517.6249 | 1266904.5476 | 2607522.3355 | 1266911.6807 | 2607526.919 | 1266916.8919
57 | 2607557.0042 | 1266917.77 | 2607578.8104 | 1266925.09
58 | 2607485.9801 | 1266958.5343 | 2607501.1465 | 1266976.0728
59 | 2607526.919 | 1266916.8919 | 2607532.4676 | 1266923.2001
60 | 2607610.3445 | 1266935.6755 | 2607578.8104 | 1266925.09
61 | 2607532.4676 | 1266923.2001 | 2607535.2788 | 1266926.3962 | 2607552.695 | 1266945.5859
62 | 2607615.6732 | 1266937.4644 | 2607615.1666 | 1266937.2942 | 2607610.3445 | 1266935.6755
63 | 2607615.6732 | 1266937.4644 | 2607629.4746 | 1266942.1017
64 | 2607653.7793 | 1266953.3428 | 2607636.0607 | 1266944.3147 | 2607629.4746 | 1266942.1017
65 | 2607666.7599 | 1266963.6027 | 2607655.6187 | 1266954.2801 | 2607653.7793 | 1266953.3428
66 | 2607610.9352 | 1267019.7904 | 2607603.9949 | 1267009.8598
67 | 2607599.2379 | 1267003.0531 | 2607603.9949 | 1267009.8598
68 | 2607599.2379 | 1267003.0531 | 2607594.604 | 1266996.857
69 | 2607594.604 | 1266996.857 | 2607587.9514 | 1266987.9615 | 2607585.712 | 1266985.0506
70 | 2607585.712 | 1266985.0506 | 2607580.5802 | 1266978.3798
71 | 2607558.3342 | 1266951.7993 | 2607570.1339 | 1266964.8005 | 2607580.5802 | 1266978.3798
72 | 2607558.3342 | 1266951.7993 | 2607552.695 | 1266945.5859

## bus_geodata
| x | y | coords
0 | 2607633.4674 | 1266775.6233
1 | 2607648.6166 | 1266750.6417
2 | 2607628.2959 | 1266784.1512
3 | 2607655.9411 | 1266738.5634
4 | 2607627.1104 | 1266786.1062
5 | 2607660.1272 | 1266732.0087
6 | 2607626.0198 | 1266787.9047
7 | 2607635.44 | 1266716.4172
8 | 2607665.6329 | 1266735.4848
9 | 2607704.0391 | 1266766.934
10 | 2607606.481 | 1266818.6893
11 | 2607595.4406 | 1266813.3751
12 | 2607619.9451 | 1266797.9219
13 | 2607627.9138 | 1266828.6681
14 | 2607626.8788 | 1266837.4284
15 | 2607617.1127 | 1266851.6592
16 | 2607637.3495 | 1266843.4018
17 | 2607699.8051 | 1266877.2722
18 | 2607709.8263 | 1266858.0161
19 | 2607679.2597 | 1266867.3114
20 | 2607620.2256 | 1266853.7679
21 | 2607605.4691 | 1266842.3306
22 | 2607591.8351 | 1266810.9764
23 | 2607577.1222 | 1266799.5481
24 | 2607582.0187 | 1266823.3058
25 | 2607585.0864 | 1266826.0005
26 | 2607559.1081 | 1266807.6604
27 | 2607634.2798 | 1266816.0357
28 | 2607641.9931 | 1266800.73
29 | 2607649.7831 | 1266786.0818
30 | 2607658.7865 | 1266772.0973
31 | 2607646.6189 | 1266848.69
32 | 2607711.0006 | 1266772.6352
33 | 2607682.3422 | 1266885.7261
34 | 2607664.242 | 1266858.7438
35 | 2607584.1737 | 1266827.4781
36 | 2607562.4694 | 1266791.0147
37 | 2607549.9179 | 1266784.9901
38 | 2607612.2277 | 1266701.7572
39 | 2607752.0001 | 1266806.0662
40 | 2607749.8609 | 1266804.3441
41 | 2607735.529 | 1266792.7228
42 | 2607737.2318 | 1266794.1173
43 | 2607721.3697 | 1266781.1269
44 | 2607737.4296 | 1266794.2793
45 | 2607741.5572 | 1266797.6596
46 | 2607573.2395 | 1266836.4013
47 | 2607572.2865 | 1266837.7576
48 | 2607555.2548 | 1266862.1126
49 | 2607539.4136 | 1266884.9146
50 | 2607535.6571 | 1266890.3217
51 | 2607535.6127 | 1266890.3856
52 | 2607524.231 | 1266906.7686
53 | 2607551.2972 | 1266915.8543
54 | 2607517.6249 | 1266904.5476
55 | 2607557.0042 | 1266917.77
56 | 2607485.9801 | 1266958.5343
57 | 2607526.919 | 1266916.8919
58 | 2607578.8104 | 1266925.09
59 | 2607501.1465 | 1266976.0728
60 | 2607532.4676 | 1266923.2001
61 | 2607610.3445 | 1266935.6755
62 | 2607615.6732 | 1266937.4644
63 | 2607629.4746 | 1266942.1017
64 | 2607653.7793 | 1266953.3428
65 | 2607666.7599 | 1266963.6027
66 | 2607610.9352 | 1267019.7904
67 | 2607603.9949 | 1267009.8598
68 | 2607599.2379 | 1267003.0531
69 | 2607594.604 | 1266996.857
70 | 2607585.712 | 1266985.0506
71 | 2607580.5802 | 1266978.3798
72 | 2607558.3342 | 1266951.7993
73 | 2607552.695 | 1266945.5859
74 | 2607621.7802 | 1266845.3274

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1