## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2762-36_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2762-36_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2762-36_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2762-36_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2762-36_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2762-36_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2762-36_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2762-36_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2762-36_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_2762-36_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_2762-36_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_2762-36_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_2762-36_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_2762-36_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_2762-36_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_2762-36_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_2762-36_0_4_node_106 | 0.4 | n |  | TRUE
17 | bus_LV_2762-36_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_2762-36_0_4_node_104 | 0.4 | n |  | TRUE
19 | bus_LV_2762-36_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_2762-36_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_2762-36_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_2762-36_0_4_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_2762-36_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_2762-36_0_4_node_84 | 0.4 | n |  | TRUE
25 | bus_LV_2762-36_0_4_node_82 | 0.4 | n |  | TRUE
26 | bus_LV_2762-36_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_2762-36_0_4_node_83 | 0.4 | n |  | TRUE
28 | bus_LV_2762-36_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_2762-36_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_2762-36_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_2762-36_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_2762-36_0_4_node_72 | 0.4 | n |  | TRUE
33 | bus_LV_2762-36_0_4_node_80 | 0.4 | n |  | TRUE
34 | bus_LV_2762-36_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_2762-36_0_4_node_71 | 0.4 | n |  | TRUE
36 | bus_LV_2762-36_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_2762-36_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2762-36_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_2762-36_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_2762-36_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_2762-36_0_4_node_69 | 0.4 | n |  | TRUE
42 | bus_LV_2762-36_0_4_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_2762-36_0_4_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_2762-36_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_2762-36_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_2762-36_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_2762-36_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_2762-36_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_2762-36_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_2762-36_0_4_node_66 | 0.4 | n |  | TRUE
51 | bus_LV_2762-36_0_4_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_2762-36_0_4_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_2762-36_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_2762-36_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_2762-36_0_4_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_2762-36_0_4_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_2762-36_0_4_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_2762-36_0_4_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_2762-36_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_2762-36_0_4_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_2762-36_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_2762-36_0_4_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_2762-36_0_4_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_2762-36_0_4_node_103 | 0.4 | n |  | TRUE
65 | bus_LV_2762-36_0_4_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_2762-36_0_4_node_102 | 0.4 | n |  | TRUE
67 | bus_LV_2762-36_0_4_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_2762-36_0_4_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_2762-36_0_4_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_2762-36_0_4_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_2762-36_0_4_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_2762-36_0_4_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_2762-36_0_4_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_2762-36_0_4_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_2762-36_0_4_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_2762-36_0_4_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_2762-36_0_4_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_2762-36_0_4_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_2762-36_0_4_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_2762-36_0_4_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_2762-36_0_4_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_2762-36_0_4_node_99 | 0.4 | n |  | TRUE
83 | bus_LV_2762-36_0_4_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_2762-36_0_4_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_2762-36_0_4_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_2762-36_0_4_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_2762-36_0_4_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_2762-36_0_4_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_2762-36_0_4_node_100 | 0.4 | n |  | TRUE
90 | bus_LV_2762-36_0_4_node_98 | 0.4 | n |  | TRUE
91 | bus_LV_2762-36_0_4_node_97 | 0.4 | n |  | TRUE
92 | bus_LV_2762-36_0_4_node_85 | 0.4 | n |  | TRUE
93 | bus_LV_2762-36_0_4_node_86 | 0.4 | n |  | TRUE
94 | bus_LV_2762-36_0_4_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_2762-36_0_4_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_2762-36_0_4_node_91 | 0.4 | n |  | TRUE
97 | bus_LV_2762-36_0_4_node_92 | 0.4 | n |  | TRUE
98 | bus_LV_2762-36_0_4_node_96 | 0.4 | n |  | TRUE
99 | bus_LV_2762-36_0_4_node_93 | 0.4 | n |  | TRUE
100 | bus_LV_2762-36_0_4_node_101 | 0.4 | n |  | TRUE
101 | bus_LV_2762-36_0_4_node_94 | 0.4 | n |  | TRUE
102 | bus_LV_2762-36_0_4_node_95 | 0.4 | n |  | TRUE
103 | bus_LV_2762-36_0_4_node_105 | 0.4 | n |  | TRUE
104 | bus_MV_564_0_node_80 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2762-36_0_4_load_0 | 0 | 0.0026137 | 0.00065504 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2762-36_0_4_load_1 | 1 | 0.0024937 | 0.00062498 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2762-36_0_4_load_2 | 2 | 0.0069061 | 0.0017308 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2762-36_0_4_load_3 | 3 | 0.0050596 | 0.0012681 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2762-36_0_4_load_4 | 4 | 0.0081851 | 0.0020514 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2762-36_0_4_load_5 | 5 | 0.0014755 | 0.00036979 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2762-36_0_4_load_6 | 6 | 0.0034156 | 0.00085603 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2762-36_0_4_load_7 | 7 | 0.0017328 | 0.00043427 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2762-36_0_4_load_8 | 8 | 0.0041958 | 0.0010516 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2762-36_0_4_load_9 | 9 | 0.0038675 | 0.00096928 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2762-36_0_4_load_10 | 10 | 0.0034832 | 0.00087296 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2762-36_0_4_load_12 | 12 | 0.0087314 | 0.0021883 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2762-36_0_4_load_13 | 13 | 0.0037152 | 0.00093111 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2762-36_0_4_load_14 | 14 | 0.0016604 | 0.00041614 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2762-36_0_4_load_15 | 15 | 0.0015754 | 0.00039483 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2762-36_0_4_load_106 | 16 | 0.0037863 | 0.00094894 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2762-36_0_4_load_16 | 17 | 0.0041598 | 0.0010426 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2762-36_0_4_load_104 | 18 | 0.0017145 | 0.00042969 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2762-36_0_4_load_19 | 21 | 0.0021184 | 0.00053091 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2762-36_0_4_load_23 | 22 | 0.0063221 | 0.0015845 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2762-36_0_4_load_20 | 23 | 0.00097496 | 0.00024435 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2762-36_0_4_load_84 | 24 | 0.0030285 | 0.00075902 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2762-36_0_4_load_82 | 25 | 0.011339 | 0.0028418 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2762-36_0_4_load_21 | 26 | 0.0049679 | 0.0012451 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2762-36_0_4_load_83 | 27 | 0.0030509 | 0.00076462 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2762-36_0_4_load_24 | 29 | 0.0037324 | 0.00093544 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2762-36_0_4_load_25 | 30 | 0.0061317 | 0.0015368 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2762-36_0_4_load_26 | 31 | 0.0038179 | 0.00095685 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2762-36_0_4_load_72 | 32 | 0.0058239 | 0.0014596 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2762-36_0_4_load_80 | 33 | 0.0085356 | 0.0021392 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2762-36_0_4_load_27 | 34 | 0.0036679 | 0.00091926 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2762-36_0_4_load_28 | 36 | 0.0025106 | 0.00062923 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2762-36_0_4_load_29 | 37 | 0.0026217 | 0.00065706 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2762-36_0_4_load_31 | 39 | 0.0061368 | 0.001538 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2762-36_0_4_load_69 | 41 | 0.010163 | 0.0025472 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2762-36_0_4_load_68 | 42 | 0.0077411 | 0.0019401 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2762-36_0_4_load_67 | 43 | 0.0092623 | 0.0023214 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2762-36_0_4_load_33 | 44 | 0.0098861 | 0.0024777 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2762-36_0_4_load_34 | 45 | 0.005662 | 0.001419 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2762-36_0_4_load_40 | 47 | 0.0014336 | 0.00035929 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2762-36_0_4_load_41 | 48 | 0.0081821 | 0.0020506 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2762-36_0_4_load_66 | 50 | 0.0089591 | 0.0022454 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2762-36_0_4_load_37 | 51 | 0.0021442 | 0.00053739 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2762-36_0_4_load_38 | 52 | 0.0094025 | 0.0023565 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2762-36_0_4_load_39 | 53 | 0.0014385 | 0.00036052 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2762-36_0_4_load_45 | 54 | 0.0023229 | 0.00058218 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2762-36_0_4_load_43 | 55 | 0.0032832 | 0.00082286 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2762-36_0_4_load_44 | 56 | 0.003984 | 0.00099848 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2762-36_0_4_load_55 | 57 | 0.0030807 | 0.00077209 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2762-36_0_4_load_56 | 58 | 0.0050788 | 0.0012729 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2762-36_0_4_load_46 | 59 | 0.0059884 | 0.0015008 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2762-36_0_4_load_47 | 60 | 0.006606 | 0.0016556 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2762-36_0_4_load_48 | 61 | 0.0057068 | 0.0014303 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2762-36_0_4_load_49 | 62 | 0.0046575 | 0.0011673 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2762-36_0_4_load_54 | 65 | 0.0071197 | 0.0017844 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2762-36_0_4_load_102 | 66 | 0.0035617 | 0.00089265 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2762-36_0_4_load_61 | 69 | 0.0079203 | 0.001985 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2762-36_0_4_load_53 | 70 | 0.0047075 | 0.0011798 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2762-36_0_4_load_51 | 71 | 0.0052554 | 0.0013171 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2762-36_0_4_load_52 | 72 | 0.0012846 | 0.00032196 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2762-36_0_4_load_57 | 73 | 0.0028029 | 0.00070247 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2762-36_0_4_load_59 | 74 | 0.012943 | 0.0032438 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2762-36_0_4_load_75 | 76 | 0.0043599 | 0.0010927 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2762-36_0_4_load_62 | 77 | 0.0089306 | 0.0022382 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2762-36_0_4_load_63 | 78 | 0.0041559 | 0.0010416 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2762-36_0_4_load_65 | 79 | 0.0092398 | 0.0023157 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2762-36_0_4_load_74 | 80 | 0.0061098 | 0.0015313 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2762-36_0_4_load_78 | 81 | 0.01285 | 0.0032205 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2762-36_0_4_load_99 | 82 | 0.0017242 | 0.00043211 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2762-36_0_4_load_76 | 83 | 0.0030263 | 0.00075847 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2762-36_0_4_load_73 | 84 | 0.0063033 | 0.0015798 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2762-36_0_4_load_70 | 85 | 0.0089413 | 0.0022409 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2762-36_0_4_load_77 | 86 | 0.0047281 | 0.001185 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2762-36_0_4_load_81 | 88 | 0.0056937 | 0.001427 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2762-36_0_4_load_100 | 89 | 0.010799 | 0.0027066 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2762-36_0_4_load_98 | 90 | 0.0055228 | 0.0013842 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2762-36_0_4_load_97 | 91 | 0.007369 | 0.0018468 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2762-36_0_4_load_85 | 92 | 0.0042189 | 0.0010574 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2762-36_0_4_load_86 | 93 | 0.002727 | 0.00068346 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2762-36_0_4_load_87 | 94 | 0.0038224 | 0.00095798 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2762-36_0_4_load_89 | 95 | 0.012754 | 0.0031964 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2762-36_0_4_load_91 | 96 | 0.0091347 | 0.0022894 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2762-36_0_4_load_96 | 98 | 0.003189 | 0.00079924 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2762-36_0_4_load_93 | 99 | 0.0040292 | 0.0010098 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2762-36_0_4_load_94 | 101 | 0.0032341 | 0.00081053 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2762-36_0_4_load_95 | 102 | 0.0039713 | 0.00099529 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2762-36_0_4_load_105 | 103 | 0.0041215 | 0.0010329 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 86 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2762-36_0_4_line_0 |  | 0 | 1 | 0.0010591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2762-36_0_4_line_1 |  | 1 | 2 | 0.0079575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2762-36_0_4_line_2 |  | 2 | 3 | 0.02108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2762-36_0_4_line_3 |  | 3 | 4 | 0.01286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2762-36_0_4_line_4 |  | 4 | 5 | 0.011505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2762-36_0_4_line_5 |  | 5 | 6 | 0.019016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2762-36_0_4_line_6 |  | 6 | 7 | 0.014213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2762-36_0_4_line_7 |  | 7 | 8 | 0.0093893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2762-36_0_4_line_8 |  | 8 | 9 | 0.022297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2762-36_0_4_line_9 |  | 9 | 10 | 0.021798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2762-36_0_4_line_10 |  | 10 | 11 | 0.018706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2762-36_0_4_line_11 |  | 11 | 12 | 0.028046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2762-36_0_4_line_12 |  | 11 | 13 | 0.014086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2762-36_0_4_line_13 |  | 11 | 14 | 0.034023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2762-36_0_4_line_14 |  | 12 | 15 | 0.0034524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2762-36_0_4_line_15 |  | 13 | 16 | 0.022057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2762-36_0_4_line_16 |  | 15 | 17 | 0.022381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2762-36_0_4_line_17 |  | 16 | 18 | 0.0041867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2762-36_0_4_line_18 |  | 17 | 19 | 0.00077219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2762-36_0_4_line_19 |  | 18 | 103 | 0.020815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2762-36_0_4_line_20 |  | 19 | 20 | 0.019398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2762-36_0_4_line_21 |  | 19 | 21 | 0.016656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2762-36_0_4_line_22 |  | 20 | 22 | 0.017333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_2762-36_0_4_line_23 |  | 20 | 23 | 0.02966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2762-36_0_4_line_24 |  | 21 | 24 | 0.012628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2762-36_0_4_line_25 |  | 22 | 25 | 0.011426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2762-36_0_4_line_26 |  | 23 | 26 | 0.020506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2762-36_0_4_line_27 |  | 24 | 27 | 0.010172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2762-36_0_4_line_28 |  | 25 | 33 | 0.021597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2762-36_0_4_line_29 |  | 26 | 28 | 0.020631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2762-36_0_4_line_30 |  | 27 | 92 | 0.009731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2762-36_0_4_line_31 |  | 28 | 29 | 0.0095544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2762-36_0_4_line_32 |  | 28 | 30 | 0.017276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2762-36_0_4_line_33 |  | 29 | 31 | 0.027601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2762-36_0_4_line_34 |  | 30 | 32 | 0.0024624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2762-36_0_4_line_35 |  | 31 | 34 | 0.0059027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2762-36_0_4_line_36 |  | 32 | 35 | 0.021484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2762-36_0_4_line_37 |  | 33 | 87 | 0.017729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2762-36_0_4_line_38 |  | 34 | 36 | 0.024777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2762-36_0_4_line_39 |  | 35 | 84 | 0.0046499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2762-36_0_4_line_40 |  | 35 | 85 | 0.020005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2762-36_0_4_line_41 |  | 36 | 37 | 0.00056996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2762-36_0_4_line_42 |  | 37 | 38 | 0.011062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2762-36_0_4_line_43 |  | 38 | 39 | 0.021989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2762-36_0_4_line_44 |  | 39 | 40 | 0.021651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2762-36_0_4_line_45 |  | 40 | 41 | 0.019253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2762-36_0_4_line_46 |  | 42 | 43 | 0.028495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2762-36_0_4_line_47 |  | 43 | 50 | 0.032563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2762-36_0_4_line_48 |  | 44 | 45 | 0.039033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2762-36_0_4_line_49 |  | 45 | 46 | 0.021728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2762-36_0_4_line_50 |  | 46 | 47 | 0.037883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2762-36_0_4_line_51 |  | 46 | 48 | 0.024542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2762-36_0_4_line_52 |  | 47 | 49 | 0.014335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2762-36_0_4_line_53 |  | 48 | 50 | 0.034086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2762-36_0_4_line_54 |  | 49 | 55 | 0.0067522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2762-36_0_4_line_55 |  | 49 | 56 | 0.018981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2762-36_0_4_line_56 |  | 51 | 52 | 0.0072623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2762-36_0_4_line_57 |  | 52 | 53 | 0.007205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2762-36_0_4_line_58 |  | 53 | 54 | 0.0098055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2762-36_0_4_line_59 |  | 54 | 55 | 0.013763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2762-36_0_4_line_60 |  | 56 | 57 | 0.0055947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2762-36_0_4_line_61 |  | 57 | 58 | 0.024907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2762-36_0_4_line_62 |  | 58 | 73 | 0.0017835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2762-36_0_4_line_63 |  | 59 | 60 | 0.021811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2762-36_0_4_line_64 |  | 59 | 61 | 0.0097085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2762-36_0_4_line_65 |  | 60 | 62 | 0.029075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2762-36_0_4_line_66 |  | 61 | 63 | 0.0173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2762-36_0_4_line_67 |  | 62 | 64 | 0.015945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2762-36_0_4_line_68 |  | 63 | 65 | 0.007318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2762-36_0_4_line_69 |  | 64 | 66 | 0.033037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2762-36_0_4_line_70 |  | 65 | 70 | 0.031659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2762-36_0_4_line_71 |  | 66 | 100 | 0.014928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2762-36_0_4_line_72 |  | 67 | 68 | 0.0122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2762-36_0_4_line_73 |  | 67 | 69 | 0.01744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2762-36_0_4_line_74 |  | 68 | 76 | 0.0023308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2762-36_0_4_line_75 |  | 69 | 77 | 0.031385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2762-36_0_4_line_76 |  | 70 | 71 | 0.026396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2762-36_0_4_line_77 |  | 71 | 72 | 0.0051654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2762-36_0_4_line_78 |  | 73 | 74 | 0.034558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2762-36_0_4_line_79 |  | 74 | 75 | 0.0026309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2762-36_0_4_line_80 |  | 75 | 78 | 0.019528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2762-36_0_4_line_81 |  | 76 | 83 | 0.0099695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2762-36_0_4_line_82 |  | 77 | 78 | 0.00036941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2762-36_0_4_line_83 |  | 79 | 80 | 0.014808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2762-36_0_4_line_84 |  | 80 | 84 | 0.028606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2762-36_0_4_line_85 |  | 81 | 82 | 0.031726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2762-36_0_4_line_86 |  | 82 | 89 | 0.0046438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2762-36_0_4_line_87 |  | 83 | 86 | 0.01442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2762-36_0_4_line_88 |  | 86 | 87 | 0.016023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_2762-36_0_4_line_89 |  | 87 | 88 | 0.021638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2762-36_0_4_line_90 |  | 88 | 90 | 0.00046523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2762-36_0_4_line_91 |  | 89 | 100 | 0.025515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2762-36_0_4_line_92 |  | 90 | 91 | 0.026533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2762-36_0_4_line_93 |  | 91 | 102 | 0.0071646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2762-36_0_4_line_94 |  | 92 | 93 | 0.0094919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2762-36_0_4_line_95 |  | 93 | 94 | 0.018494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2762-36_0_4_line_96 |  | 95 | 96 | 0.0301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2762-36_0_4_line_97 |  | 96 | 97 | 0.0085889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2762-36_0_4_line_98 |  | 97 | 98 | 0.031175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2762-36_0_4_line_99 |  | 97 | 99 | 0.020132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2762-36_0_4_line_100 |  | 98 | 100 | 0.015662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2762-36_0_4_line_101 |  | 99 | 101 | 0.0043123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2762-36_0_4_line_102 |  | 101 | 102 | 0.028961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2762-36_0_4_trafo_77 | 0.63 MVA 20/0.4 kV | 104 | 86 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2609295.621 | 1266971.9628 | 2609294.6247 | 1266972.3221
1 | 2609294.6247 | 1266972.3221 | 2609287.1391 | 1266975.0216
2 | 2609287.1391 | 1266975.0216 | 2609269.6897 | 1266981.3142 | 2609267.5523 | 1266982.6692
3 | 2609267.5523 | 1266982.6692 | 2609256.6904 | 1266989.5546
4 | 2609256.6904 | 1266989.5546 | 2609246.9732 | 1266995.7144
5 | 2609246.9732 | 1266995.7144 | 2609231.7907 | 1267005.3388 | 2609230.908 | 1267005.8878
6 | 2609230.908 | 1267005.8878 | 2609218.8394 | 1267013.3945
7 | 2609210.8666 | 1267018.3536 | 2609218.8394 | 1267013.3945
8 | 2609210.8666 | 1267018.3536 | 2609191.9334 | 1267030.13
9 | 2609191.9334 | 1267030.13 | 2609173.4238 | 1267041.643
10 | 2609157.5395 | 1267051.523 | 2609173.4238 | 1267041.643
11 | 2609157.5395 | 1267051.523 | 2609172.0146 | 1267075.5444
12 | 2609157.5395 | 1267051.523 | 2609146.7746 | 1267060.6084
13 | 2609157.5395 | 1267051.523 | 2609140.9797 | 1267022.2994 | 2609140.7495 | 1267021.9321
14 | 2609173.7965 | 1267078.5014 | 2609172.0146 | 1267075.5444
15 | 2609129.9182 | 1267074.8349 | 2609146.7746 | 1267060.6084
16 | 2609173.7965 | 1267078.5014 | 2609185.348 | 1267097.6711
17 | 2609126.7186 | 1267077.5352 | 2609129.9182 | 1267074.8349
18 | 2609185.348 | 1267097.6711 | 2609185.7465 | 1267098.3325
19 | 2609126.7186 | 1267077.5352 | 2609110.8118 | 1267090.9603
20 | 2609195.3475 | 1267115.2035 | 2609185.7465 | 1267098.3325
21 | 2609185.7465 | 1267098.3325 | 2609173.2685 | 1267109.3659
22 | 2609195.3475 | 1267115.2035 | 2609204.3347 | 1267130.0247
23 | 2609195.3475 | 1267115.2035 | 2609220.7342 | 1267099.8662
24 | 2609173.2685 | 1267109.3659 | 2609163.8084 | 1267117.7307
25 | 2609204.3347 | 1267130.0247 | 2609210.2592 | 1267139.795
26 | 2609220.7342 | 1267099.8662 | 2609238.2856 | 1267089.2625
27 | 2609156.1884 | 1267124.4685 | 2609163.8084 | 1267117.7307
28 | 2609221.4569 | 1267158.2618 | 2609210.2592 | 1267139.795
29 | 2609255.9442 | 1267078.5941 | 2609238.2856 | 1267089.2625
30 | 2609156.1884 | 1267124.4685 | 2609148.8986 | 1267130.9144
31 | 2609255.9442 | 1267078.5941 | 2609264.2545 | 1267073.8798
32 | 2609255.9442 | 1267078.5941 | 2609264.6527 | 1267093.5145
33 | 2609264.2545 | 1267073.8798 | 2609288.2614 | 1267060.2608
34 | 2609265.894 | 1267095.6412 | 2609264.6527 | 1267093.5145
35 | 2609288.2614 | 1267060.2608 | 2609293.3955 | 1267057.3483
36 | 2609276.7236 | 1267114.1958 | 2609265.894 | 1267095.6412
37 | 2609230.6492 | 1267173.4211 | 2609221.4569 | 1267158.2618
38 | 2609315.2506 | 1267045.7402 | 2609309.7352 | 1267048.0789 | 2609293.3955 | 1267057.3483
39 | 2609276.7236 | 1267114.1958 | 2609279.0955 | 1267118.1952
40 | 2609276.7236 | 1267114.1958 | 2609294.2147 | 1267104.4859
41 | 2609315.7754 | 1267045.5177 | 2609315.2506 | 1267045.7402
42 | 2609325.9593 | 1267041.1995 | 2609315.7754 | 1267045.5177
43 | 2609325.9593 | 1267041.1995 | 2609333.7362 | 1267061.7673
44 | 2609341.3935 | 1267082.0189 | 2609333.7362 | 1267061.7673
45 | 2609341.3935 | 1267082.0189 | 2609323.4895 | 1267089.1
46 | 2609368.8312 | 1267151.295 | 2609362.2616 | 1267137.4571 | 2609357.6196 | 1267125.125
47 | 2609382.7969 | 1267180.7114 | 2609368.8312 | 1267151.295
48 | 2609435.2999 | 1267287.9275 | 2609417.7246 | 1267253.0751
49 | 2609407.9412 | 1267233.6741 | 2609417.7246 | 1267253.0751
50 | 2609407.9412 | 1267233.6741 | 2609375.3007 | 1267252.9013
51 | 2609407.9412 | 1267233.6741 | 2609397.4157 | 1267211.5038
52 | 2609362.9491 | 1267260.1772 | 2609375.3007 | 1267252.9013
53 | 2609397.4157 | 1267211.5038 | 2609382.7969 | 1267180.7114
54 | 2609362.9491 | 1267260.1772 | 2609366.3676 | 1267266.0001
55 | 2609362.9491 | 1267260.1772 | 2609353.3227 | 1267243.8186
56 | 2609385.6246 | 1267298.801 | 2609381.9478 | 1267292.5383
57 | 2609378.3 | 1267286.3249 | 2609381.9478 | 1267292.5383
58 | 2609373.3356 | 1267277.869 | 2609378.3 | 1267286.3249
59 | 2609373.3356 | 1267277.869 | 2609366.3676 | 1267266.0001
60 | 2609350.4853 | 1267238.9968 | 2609353.3227 | 1267243.8186
61 | 2609350.4853 | 1267238.9968 | 2609337.8536 | 1267217.531
62 | 2609336.9491 | 1267215.9939 | 2609337.8536 | 1267217.531
63 | 2609257.4917 | 1267269.0073 | 2609241.3795 | 1267283.7076
64 | 2609257.4917 | 1267269.0073 | 2609264.6637 | 1267262.4637
65 | 2609219.9009 | 1267303.304 | 2609241.3795 | 1267283.7076
66 | 2609277.4439 | 1267250.8035 | 2609264.6637 | 1267262.4637
67 | 2609208.1216 | 1267314.0511 | 2609219.9009 | 1267303.304
68 | 2609277.4439 | 1267250.8035 | 2609281.1769 | 1267257.0977
69 | 2609208.1216 | 1267314.0511 | 2609186.3137 | 1267289.2351
70 | 2609297.3266 | 1267284.328 | 2609281.1769 | 1267257.0977
71 | 2609176.4594 | 1267278.0215 | 2609186.3137 | 1267289.2351
72 | 2609259.6455 | 1267220.0987 | 2609253.3694 | 1267209.6261
73 | 2609259.6455 | 1267220.0987 | 2609274.477 | 1267210.9231
74 | 2609253.3694 | 1267209.6261 | 2609252.1305 | 1267207.6519
75 | 2609274.477 | 1267210.9231 | 2609301.1672 | 1267194.4108
76 | 2609310.7915 | 1267307.0314 | 2609297.3266 | 1267284.328
77 | 2609310.7915 | 1267307.0314 | 2609313.4265 | 1267311.4742
78 | 2609336.9491 | 1267215.9939 | 2609319.4225 | 1267186.2099
79 | 2609318.0882 | 1267183.9425 | 2609319.4225 | 1267186.2099
80 | 2609318.0882 | 1267183.9425 | 2609301.4813 | 1267194.2165
81 | 2609252.1305 | 1267207.6519 | 2609246.8312 | 1267199.2074
82 | 2609301.1672 | 1267194.4108 | 2609301.4813 | 1267194.2165
83 | 2609301.2417 | 1267155.5368 | 2609293.6878 | 1267142.7999
84 | 2609279.0955 | 1267118.1952 | 2609293.6878 | 1267142.7999
85 | 2609222.7035 | 1267236.897 | 2609198.9957 | 1267257.9802
86 | 2609195.5255 | 1267261.0662 | 2609198.9957 | 1267257.9802
87 | 2609239.1663 | 1267186.9932 | 2609246.8312 | 1267199.2074
88 | 2609230.6492 | 1267173.4211 | 2609239.1663 | 1267186.9932
89 | 2609230.6492 | 1267173.4211 | 2609214.0249 | 1267187.2711
90 | 2609213.6675 | 1267187.5689 | 2609214.0249 | 1267187.2711
91 | 2609176.4594 | 1267278.0215 | 2609195.5255 | 1267261.0662
92 | 2609193.2822 | 1267204.5523 | 2609213.6675 | 1267187.5689
93 | 2609193.2822 | 1267204.5523 | 2609191.9108 | 1267205.6948 | 2609187.7107 | 1267209.0564
94 | 2609141.7878 | 1267137.202 | 2609148.8986 | 1267130.9144
95 | 2609141.7878 | 1267137.202 | 2609141.6233 | 1267137.3474 | 2609127.4619 | 1267148.8981
96 | 2609120.7432 | 1267213.1337 | 2609140.4051 | 1267235.9243
97 | 2609146.0156 | 1267242.4275 | 2609140.4051 | 1267235.9243
98 | 2609146.0156 | 1267242.4275 | 2609166.2791 | 1267266.119
99 | 2609146.0156 | 1267242.4275 | 2609161.733 | 1267229.8479
100 | 2609176.4594 | 1267278.0215 | 2609166.2791 | 1267266.119
101 | 2609161.733 | 1267229.8479 | 2609165.0998 | 1267227.1533
102 | 2609187.7107 | 1267209.0564 | 2609165.0998 | 1267227.1533

## bus_geodata
| x | y | coords
0 | 2609295.621 | 1266971.9628
1 | 2609294.6247 | 1266972.3221
2 | 2609287.1391 | 1266975.0216
3 | 2609267.5523 | 1266982.6692
4 | 2609256.6904 | 1266989.5546
5 | 2609246.9732 | 1266995.7144
6 | 2609230.908 | 1267005.8878
7 | 2609218.8394 | 1267013.3945
8 | 2609210.8666 | 1267018.3536
9 | 2609191.9334 | 1267030.13
10 | 2609173.4238 | 1267041.643
11 | 2609157.5395 | 1267051.523
12 | 2609172.0146 | 1267075.5444
13 | 2609146.7746 | 1267060.6084
14 | 2609140.7495 | 1267021.9321
15 | 2609173.7965 | 1267078.5014
16 | 2609129.9182 | 1267074.8349
17 | 2609185.348 | 1267097.6711
18 | 2609126.7186 | 1267077.5352
19 | 2609185.7465 | 1267098.3325
20 | 2609195.3475 | 1267115.2035
21 | 2609173.2685 | 1267109.3659
22 | 2609204.3347 | 1267130.0247
23 | 2609220.7342 | 1267099.8662
24 | 2609163.8085 | 1267117.7307
25 | 2609210.2592 | 1267139.795
26 | 2609238.2856 | 1267089.2625
27 | 2609156.1884 | 1267124.4685
28 | 2609255.9442 | 1267078.5941
29 | 2609264.2545 | 1267073.8798
30 | 2609264.6527 | 1267093.5145
31 | 2609288.2614 | 1267060.2608
32 | 2609265.894 | 1267095.6412
33 | 2609221.4569 | 1267158.2617
34 | 2609293.3955 | 1267057.3483
35 | 2609276.7236 | 1267114.1958
36 | 2609315.2506 | 1267045.7402
37 | 2609315.7754 | 1267045.5177
38 | 2609325.9593 | 1267041.1995
39 | 2609333.7362 | 1267061.7673
40 | 2609341.3935 | 1267082.0189
41 | 2609323.4895 | 1267089.1
42 | 2609357.6196 | 1267125.125
43 | 2609368.8312 | 1267151.295
44 | 2609435.2999 | 1267287.9275
45 | 2609417.7246 | 1267253.0751
46 | 2609407.9412 | 1267233.6741
47 | 2609375.3008 | 1267252.9013
48 | 2609397.4157 | 1267211.5038
49 | 2609362.9491 | 1267260.1772
50 | 2609382.7969 | 1267180.7114
51 | 2609385.6246 | 1267298.801
52 | 2609381.9478 | 1267292.5383
53 | 2609378.3 | 1267286.3249
54 | 2609373.3356 | 1267277.869
55 | 2609366.3676 | 1267266.0001
56 | 2609353.3227 | 1267243.8186
57 | 2609350.4853 | 1267238.9968
58 | 2609337.8536 | 1267217.531
59 | 2609257.4917 | 1267269.0073
60 | 2609241.3795 | 1267283.7076
61 | 2609264.6637 | 1267262.4637
62 | 2609219.9009 | 1267303.304
63 | 2609277.4439 | 1267250.8035
64 | 2609208.1216 | 1267314.0511
65 | 2609281.1769 | 1267257.0977
66 | 2609186.3137 | 1267289.2351
67 | 2609259.6455 | 1267220.0987
68 | 2609253.3694 | 1267209.6261
69 | 2609274.477 | 1267210.9231
70 | 2609297.3266 | 1267284.328
71 | 2609310.7915 | 1267307.0314
72 | 2609313.4265 | 1267311.4742
73 | 2609336.9491 | 1267215.9939
74 | 2609319.4225 | 1267186.2099
75 | 2609318.0882 | 1267183.9425
76 | 2609252.1305 | 1267207.6519
77 | 2609301.1672 | 1267194.4108
78 | 2609301.4813 | 1267194.2165
79 | 2609301.2417 | 1267155.5368
80 | 2609293.6878 | 1267142.7999
81 | 2609222.7035 | 1267236.897
82 | 2609198.9957 | 1267257.9802
83 | 2609246.8312 | 1267199.2074
84 | 2609279.0955 | 1267118.1952
85 | 2609294.2147 | 1267104.4859
86 | 2609239.1663 | 1267186.9932
87 | 2609230.6492 | 1267173.4211
88 | 2609214.0249 | 1267187.2711
89 | 2609195.5255 | 1267261.0662
90 | 2609213.6675 | 1267187.5689
91 | 2609193.2822 | 1267204.5523
92 | 2609148.8986 | 1267130.9144
93 | 2609141.7878 | 1267137.202
94 | 2609127.4619 | 1267148.8981
95 | 2609120.7432 | 1267213.1337
96 | 2609140.4051 | 1267235.9243
97 | 2609146.0156 | 1267242.4275
98 | 2609166.2791 | 1267266.119
99 | 2609161.733 | 1267229.8479
100 | 2609176.4594 | 1267278.0215
101 | 2609165.0998 | 1267227.1533
102 | 2609187.7107 | 1267209.0564
103 | 2609110.8118 | 1267090.9603
104 | 2609230.6492 | 1267173.4211

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1