## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2762-41_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2762-41_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2762-41_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2762-41_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_2762-41_0_3_node_47 | 0.4 | n |  | TRUE
5 | bus_LV_2762-41_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_2762-41_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_2762-41_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2762-41_0_3_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_2762-41_0_3_node_83 | 0.4 | n |  | TRUE
10 | bus_LV_2762-41_0_3_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_2762-41_0_3_node_87 | 0.4 | n |  | TRUE
12 | bus_LV_2762-41_0_3_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_2762-41_0_3_node_81 | 0.4 | n |  | TRUE
14 | bus_LV_2762-41_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2762-41_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2762-41_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2762-41_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2762-41_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2762-41_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_2762-41_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_2762-41_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_2762-41_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_2762-41_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_2762-41_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_2762-41_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_2762-41_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_2762-41_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_2762-41_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_2762-41_0_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_2762-41_0_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_2762-41_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_2762-41_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_2762-41_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_2762-41_0_3_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_2762-41_0_3_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_2762-41_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_2762-41_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_2762-41_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_2762-41_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_2762-41_0_3_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_2762-41_0_3_node_86 | 0.4 | n |  | TRUE
42 | bus_LV_2762-41_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_2762-41_0_3_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_2762-41_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_2762-41_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_2762-41_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_2762-41_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_2762-41_0_3_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_2762-41_0_3_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_2762-41_0_3_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_2762-41_0_3_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_2762-41_0_3_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_2762-41_0_3_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_2762-41_0_3_node_78 | 0.4 | n |  | TRUE
55 | bus_LV_2762-41_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_2762-41_0_3_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_2762-41_0_3_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_2762-41_0_3_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_2762-41_0_3_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_2762-41_0_3_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_2762-41_0_3_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_2762-41_0_3_node_84 | 0.4 | n |  | TRUE
63 | bus_LV_2762-41_0_3_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_2762-41_0_3_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_2762-41_0_3_node_91 | 0.4 | n |  | TRUE
66 | bus_LV_2762-41_0_3_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_2762-41_0_3_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_2762-41_0_3_node_93 | 0.4 | n |  | TRUE
69 | bus_LV_2762-41_0_3_node_92 | 0.4 | n |  | TRUE
70 | bus_LV_2762-41_0_3_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_2762-41_0_3_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_2762-41_0_3_node_82 | 0.4 | n |  | TRUE
73 | bus_LV_2762-41_0_3_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_2762-41_0_3_node_85 | 0.4 | n |  | TRUE
75 | bus_LV_2762-41_0_3_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_2762-41_0_3_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_2762-41_0_3_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_2762-41_0_3_node_94 | 0.4 | n |  | TRUE
79 | bus_LV_2762-41_0_3_node_97 | 0.4 | n |  | TRUE
80 | bus_LV_2762-41_0_3_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_2762-41_0_3_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_2762-41_0_3_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_2762-41_0_3_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_2762-41_0_3_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_2762-41_0_3_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_2762-41_0_3_node_96 | 0.4 | n |  | TRUE
87 | bus_LV_2762-41_0_3_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_2762-41_0_3_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_2762-41_0_3_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_2762-41_0_3_node_95 | 0.4 | n |  | TRUE
91 | bus_MV_564_0_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2762-41_0_3_load_0 | 0 | 0.0023965 | 0.00060063 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2762-41_0_3_load_1 | 1 | 0.0024479 | 0.0006135 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2762-41_0_3_load_3 | 2 | 0.014466 | 0.0036255 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2762-41_0_3_load_5 | 3 | 0.0023343 | 0.00058504 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2762-41_0_3_load_47 | 4 | 0.0094576 | 0.0023703 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2762-41_0_3_load_6 | 7 | 0.0021953 | 0.00055021 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2762-41_0_3_load_83 | 9 | 0.0030061 | 0.0007534 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2762-41_0_3_load_87 | 11 | 0.0039022 | 0.000978 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2762-41_0_3_load_81 | 13 | 0.0045297 | 0.0011352 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2762-41_0_3_load_9 | 14 | 0.0025959 | 0.00065058 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2762-41_0_3_load_10 | 15 | 0.0038679 | 0.00096938 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2762-41_0_3_load_11 | 16 | 0.0032163 | 0.00080609 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2762-41_0_3_load_12 | 17 | 0.003434 | 0.00086065 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2762-41_0_3_load_13 | 18 | 0.0029031 | 0.00072759 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2762-41_0_3_load_14 | 19 | 0.005234 | 0.0013118 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2762-41_0_3_load_15 | 20 | 0.0028305 | 0.00070938 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2762-41_0_3_load_16 | 21 | 0.0027205 | 0.00068181 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2762-41_0_3_load_17 | 22 | 0.0018868 | 0.00047287 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2762-41_0_3_load_18 | 23 | 0.0039573 | 0.00099179 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2762-41_0_3_load_19 | 24 | 0.0054506 | 0.001366 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2762-41_0_3_load_20 | 25 | 0.0059547 | 0.0014924 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2762-41_0_3_load_21 | 26 | 0.0084445 | 0.0021164 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2762-41_0_3_load_22 | 27 | 0.015545 | 0.0038959 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2762-41_0_3_load_28 | 29 | 0.01156 | 0.0028971 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2762-41_0_3_load_23 | 31 | 0.010633 | 0.002665 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2762-41_0_3_load_24 | 32 | 0.0052741 | 0.0013218 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2762-41_0_3_load_27 | 33 | 0.016621 | 0.0041655 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2762-41_0_3_load_45 | 34 | 0.0037086 | 0.00092947 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2762-41_0_3_load_32 | 36 | 0.0044415 | 0.0011131 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2762-41_0_3_load_33 | 37 | 0.010555 | 0.0026453 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2762-41_0_3_load_34 | 38 | 0.0027696 | 0.00069412 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2762-41_0_3_load_36 | 39 | 0.0041713 | 0.0010454 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2762-41_0_3_load_37 | 40 | 0.0020003 | 0.00050132 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2762-41_0_3_load_86 | 41 | 0.0066274 | 0.001661 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2762-41_0_3_load_38 | 42 | 0.0081886 | 0.0020523 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2762-41_0_3_load_39 | 43 | 0.0076895 | 0.0019272 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2762-41_0_3_load_40 | 44 | 0.0021248 | 0.00053252 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2762-41_0_3_load_41 | 45 | 0.0089548 | 0.0022443 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2762-41_0_3_load_42 | 46 | 0.002589 | 0.00064888 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2762-41_0_3_load_43 | 47 | 0.0067255 | 0.0016856 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2762-41_0_3_load_46 | 48 | 0.0041082 | 0.0010296 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2762-41_0_3_load_50 | 53 | 0.019652 | 0.0049253 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2762-41_0_3_load_78 | 54 | 0.002487 | 0.00062331 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2762-41_0_3_load_49 | 55 | 0.0026741 | 0.00067018 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2762-41_0_3_load_56 | 57 | 0.0050358 | 0.0012621 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2762-41_0_3_load_52 | 58 | 0.0042185 | 0.0010573 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2762-41_0_3_load_77 | 59 | 0.0029473 | 0.00073866 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2762-41_0_3_load_53 | 60 | 0.010908 | 0.0027338 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2762-41_0_3_load_55 | 61 | 0.0043733 | 0.0010961 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2762-41_0_3_load_84 | 62 | 0.0029167 | 0.00073098 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2762-41_0_3_load_91 | 65 | 0.001932 | 0.00048421 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2762-41_0_3_load_72 | 66 | 0.0065822 | 0.0016497 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2762-41_0_3_load_93 | 68 | 0.0016952 | 0.00042484 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2762-41_0_3_load_92 | 69 | 0.0017163 | 0.00043015 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2762-41_0_3_load_82 | 72 | 0.0075121 | 0.0018827 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2762-41_0_3_load_85 | 74 | 0.0091947 | 0.0023044 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2762-41_0_3_load_75 | 75 | 0.0067381 | 0.0016887 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2762-41_0_3_load_79 | 76 | 0.0042864 | 0.0010743 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2762-41_0_3_load_73 | 77 | 0.003717 | 0.00093157 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2762-41_0_3_load_94 | 78 | 0.0022374 | 0.00056074 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2762-41_0_3_load_97 | 79 | 0.0030289 | 0.0007591 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2762-41_0_3_load_76 | 80 | 0.0026202 | 0.00065668 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2762-41_0_3_load_80 | 81 | 0.0022421 | 0.00056193 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2762-41_0_3_load_67 | 82 | 0.0044531 | 0.0011161 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2762-41_0_3_load_68 | 83 | 0.0043403 | 0.0010878 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2762-41_0_3_load_70 | 84 | 0.0062915 | 0.0015768 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2762-41_0_3_load_74 | 85 | 0.0078487 | 0.0019671 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2762-41_0_3_load_96 | 86 | 0.0016571 | 0.00041531 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2762-41_0_3_load_88 | 87 | 0.0097483 | 0.0024432 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2762-41_0_3_load_89 | 88 | 0.0024879 | 0.00062353 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2762-41_0_3_load_90 | 89 | 0.0013411 | 0.00033611 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2762-41_0_3_load_95 | 90 | 0.0013807 | 0.00034604 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 73 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2762-41_0_3_line_0 |  | 0 | 1 | 0.0079522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2762-41_0_3_line_1 |  | 1 | 2 | 0.0011084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2762-41_0_3_line_2 |  | 2 | 3 | 0.024945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2762-41_0_3_line_3 |  | 3 | 4 | 0.0012095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2762-41_0_3_line_4 |  | 4 | 8 | 0.012025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2762-41_0_3_line_5 |  | 5 | 6 | 0.053239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2762-41_0_3_line_6 |  | 5 | 7 | 0.063149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2762-41_0_3_line_7 |  | 6 | 9 | 0.051089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2762-41_0_3_line_8 |  | 8 | 52 | 0.015931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2762-41_0_3_line_9 |  | 8 | 53 | 0.024314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2762-41_0_3_line_10 |  | 9 | 13 | 0.0010418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2762-41_0_3_line_11 |  | 10 | 11 | 0.017008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2762-41_0_3_line_12 |  | 10 | 12 | 0.057213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2762-41_0_3_line_13 |  | 11 | 41 | 0.027113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2762-41_0_3_line_14 |  | 12 | 36 | 0.01713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2762-41_0_3_line_15 |  | 13 | 81 | 0.0048928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2762-41_0_3_line_16 |  | 14 | 15 | 0.0039775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2762-41_0_3_line_17 |  | 14 | 16 | 0.0062111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2762-41_0_3_line_18 |  | 15 | 17 | 0.010933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2762-41_0_3_line_19 |  | 16 | 18 | 0.0083853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2762-41_0_3_line_20 |  | 17 | 19 | 0.0032318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2762-41_0_3_line_21 |  | 19 | 20 | 0.0068405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2762-41_0_3_line_22 |  | 20 | 21 | 0.0039799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2762-41_0_3_line_23 |  | 21 | 22 | 0.011793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2762-41_0_3_line_24 |  | 22 | 23 | 0.0090587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2762-41_0_3_line_25 |  | 23 | 24 | 0.0065726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2762-41_0_3_line_26 |  | 24 | 25 | 0.013491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2762-41_0_3_line_27 |  | 25 | 26 | 0.013037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2762-41_0_3_line_28 |  | 26 | 27 | 0.0080395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2762-41_0_3_line_29 |  | 27 | 28 | 0.027831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2762-41_0_3_line_30 |  | 28 | 29 | 0.037511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2762-41_0_3_line_31 |  | 28 | 30 | 0.01024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2762-41_0_3_line_32 |  | 29 | 34 | 0.0022011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2762-41_0_3_line_33 |  | 30 | 33 | 0.02718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2762-41_0_3_line_34 |  | 30 | 31 | 0.007193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2762-41_0_3_line_35 |  | 31 | 32 | 0.020497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2762-41_0_3_line_36 |  | 34 | 35 | 0.013474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2762-41_0_3_line_37 |  | 35 | 48 | 0.0068745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2762-41_0_3_line_38 |  | 35 | 47 | 0.023558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2762-41_0_3_line_39 |  | 36 | 37 | 0.0055018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2762-41_0_3_line_40 |  | 37 | 38 | 0.026225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2762-41_0_3_line_41 |  | 38 | 39 | 0.010869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2762-41_0_3_line_42 |  | 39 | 40 | 0.0016807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2762-41_0_3_line_43 |  | 40 | 42 | 0.013233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2762-41_0_3_line_44 |  | 41 | 87 | 0.0065446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2762-41_0_3_line_45 |  | 42 | 43 | 0.0026781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2762-41_0_3_line_46 |  | 43 | 44 | 0.01629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2762-41_0_3_line_47 |  | 44 | 45 | 0.0059447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2762-41_0_3_line_48 |  | 45 | 46 | 0.013825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2762-41_0_3_line_49 |  | 46 | 47 | 0.0081163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2762-41_0_3_line_50 |  | 48 | 49 | 0.011043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_2762-41_0_3_line_51 |  | 49 | 50 | 0.022923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2762-41_0_3_line_52 |  | 49 | 51 | 0.010303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_2762-41_0_3_line_53 |  | 50 | 66 | 0.022659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2762-41_0_3_line_54 |  | 50 | 57 | 0.031943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2762-41_0_3_line_55 |  | 51 | 62 | 0.002637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_2762-41_0_3_line_56 |  | 52 | 54 | 0.010192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2762-41_0_3_line_57 |  | 53 | 55 | 0.0084217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2762-41_0_3_line_58 |  | 54 | 59 | 0.011188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2762-41_0_3_line_59 |  | 56 | 57 | 0.012371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2762-41_0_3_line_60 |  | 56 | 58 | 0.024269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2762-41_0_3_line_61 |  | 58 | 60 | 0.013051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2762-41_0_3_line_62 |  | 59 | 80 | 0.011731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2762-41_0_3_line_63 |  | 60 | 61 | 0.022064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2762-41_0_3_line_64 |  | 62 | 73 | 0.0061275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_2762-41_0_3_line_65 |  | 63 | 64 | 0.008025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2762-41_0_3_line_66 |  | 63 | 65 | 0.0074768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2762-41_0_3_line_67 |  | 64 | 75 | 0.018732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2762-41_0_3_line_68 |  | 64 | 70 | 0.0088272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2762-41_0_3_line_69 |  | 66 | 77 | 0.0046371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2762-41_0_3_line_70 |  | 67 | 68 | 0.0043235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2762-41_0_3_line_71 |  | 67 | 69 | 0.0015707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2762-41_0_3_line_72 |  | 68 | 78 | 0.011288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2762-41_0_3_line_73 |  | 69 | 72 | 0.0060832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2762-41_0_3_line_74 |  | 70 | 71 | 0.011071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2762-41_0_3_line_75 |  | 70 | 72 | 0.005958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2762-41_0_3_line_76 |  | 71 | 76 | 0.0026366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2762-41_0_3_line_77 |  | 73 | 74 | 0.011645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2762-41_0_3_line_78 |  | 74 | 79 | 0.0084734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2762-41_0_3_line_79 |  | 75 | 80 | 0.016346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2762-41_0_3_line_80 |  | 76 | 81 | 0.0068602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2762-41_0_3_line_81 |  | 77 | 85 | 0.012351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2762-41_0_3_line_82 |  | 78 | 90 | 0.0061393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2762-41_0_3_line_83 |  | 79 | 86 | 0.0083112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2762-41_0_3_line_84 |  | 82 | 83 | 0.028073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2762-41_0_3_line_85 |  | 83 | 84 | 0.0037244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2762-41_0_3_line_86 |  | 84 | 85 | 0.0013933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2762-41_0_3_line_87 |  | 86 | 90 | 0.0062858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2762-41_0_3_line_88 |  | 87 | 88 | 0.01037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2762-41_0_3_line_89 |  | 88 | 89 | 0.0075848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2762-41_0_3_trafo_64 | 0.63 MVA 20/0.4 kV | 91 | 73 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2609197.473 | 1267567.6726 | 2609191.4536 | 1267562.476
1 | 2609191.4536 | 1267562.476 | 2609190.6146 | 1267561.7516
2 | 2609190.6146 | 1267561.7516 | 2609171.7328 | 1267545.4507
3 | 2609171.7328 | 1267545.4507 | 2609170.8173 | 1267544.6604
4 | 2609161.7148 | 1267536.802 | 2609170.8173 | 1267544.6604
5 | 2609268.7649 | 1267454.0209 | 2609269.3349 | 1267455.3005 | 2609288.8892 | 1267503.3313
6 | 2609288.8892 | 1267503.3313 | 2609256.0894 | 1267517.3455 | 2609233.9888 | 1267533.6782
7 | 2609268.7649 | 1267454.0209 | 2609259.0349 | 1267457.5972 | 2609248.2367 | 1267460.9272 | 2609234.6248 | 1267463.3967 | 2609223.9286 | 1267464.0138 | 2609219.0559 | 1267463.8857
8 | 2609150.7062 | 1267525.2548 | 2609161.7148 | 1267536.802
9 | 2609161.7148 | 1267536.802 | 2609158.8202 | 1267539.6773 | 2609144.0333 | 1267553.4898
10 | 2609219.0559 | 1267463.8857 | 2609218.0145 | 1267463.8583
11 | 2609245.3038 | 1267357.6281 | 2609232.5557 | 1267368.8861
12 | 2609208.1216 | 1267314.0511 | 2609245.3038 | 1267357.6281
13 | 2609212.233 | 1267386.8333 | 2609232.5557 | 1267368.8861
14 | 2609208.1216 | 1267314.0511 | 2609195.7302 | 1267325.8784
15 | 2609213.1233 | 1267463.7297 | 2609218.0145 | 1267463.8583
16 | 2609148.2923 | 1267303.2597 | 2609151.2546 | 1267300.6054
17 | 2609155.8805 | 1267296.4606 | 2609151.2546 | 1267300.6054
18 | 2609140.15 | 1267310.5554 | 2609148.2923 | 1267303.2597
19 | 2609155.8805 | 1267296.4606 | 2609162.1256 | 1267290.8649
20 | 2609140.15 | 1267310.5554 | 2609137.743 | 1267312.712
21 | 2609132.6484 | 1267317.2769 | 2609137.743 | 1267312.712
22 | 2609132.6484 | 1267317.2769 | 2609129.6843 | 1267319.9328
23 | 2609120.9013 | 1267327.8025 | 2609129.6843 | 1267319.9328
24 | 2609120.9013 | 1267327.8025 | 2609114.1546 | 1267333.8476
25 | 2609109.2596 | 1267338.2337 | 2609114.1546 | 1267333.8476
26 | 2609109.2596 | 1267338.2337 | 2609099.2118 | 1267347.2366
27 | 2609089.5024 | 1267355.9364 | 2609099.2118 | 1267347.2366
28 | 2609089.5024 | 1267355.9364 | 2609083.5149 | 1267361.3013
29 | 2609062.8076 | 1267379.8964 | 2609063.8025 | 1267378.9639 | 2609083.5149 | 1267361.3013
30 | 2609062.8076 | 1267379.8964 | 2609073.8032 | 1267390.3427 | 2609085.4014 | 1267400.4563 | 2609090.9032 | 1267404.7128
31 | 2609062.8076 | 1267379.8964 | 2609055.4875 | 1267372.7136
32 | 2609092.6441 | 1267406.0597 | 2609090.9032 | 1267404.7128
33 | 2609055.4875 | 1267372.7136 | 2609054.4854 | 1267373.4348 | 2609033.7543 | 1267389.0358
34 | 2609055.4875 | 1267372.7136 | 2609050.6341 | 1267367.4048
35 | 2609036.8035 | 1267352.2767 | 2609050.6341 | 1267367.4048
36 | 2609103.3011 | 1267414.3045 | 2609092.6441 | 1267406.0597
37 | 2609103.3011 | 1267414.3045 | 2609108.9031 | 1267418.289
38 | 2609103.3011 | 1267414.3045 | 2609104.2964 | 1267413.1496 | 2609120.2352 | 1267397.9364
39 | 2609195.7302 | 1267325.8784 | 2609191.7503 | 1267329.6771
40 | 2609172.7798 | 1267347.784 | 2609191.7503 | 1267329.6771
41 | 2609172.7798 | 1267347.784 | 2609164.9172 | 1267355.2886
42 | 2609163.7014 | 1267356.4491 | 2609164.9172 | 1267355.2886
43 | 2609163.7014 | 1267356.4491 | 2609154.1288 | 1267365.5858
44 | 2609212.233 | 1267386.8333 | 2609207.3274 | 1267391.1654
45 | 2609152.1915 | 1267367.4349 | 2609154.1288 | 1267365.5858
46 | 2609152.1915 | 1267367.4349 | 2609140.4074 | 1267378.6826
47 | 2609140.4074 | 1267378.6826 | 2609136.1071 | 1267382.7871
48 | 2609126.1064 | 1267392.3325 | 2609136.1071 | 1267382.7871
49 | 2609126.1064 | 1267392.3325 | 2609120.2352 | 1267397.9364
50 | 2609117.9019 | 1267424.6896 | 2609108.9031 | 1267418.289
51 | 2609113.6344 | 1267444.2523 | 2609119.3201 | 1267437.3673 | 2609121.4318 | 1267434.5464 | 2609119.9706 | 1267430.3078 | 2609117.9019 | 1267424.6896
52 | 2609128.2046 | 1267425.4949 | 2609117.9019 | 1267424.6896
53 | 2609113.6344 | 1267444.2523 | 2609103.9893 | 1267446.5725 | 2609098.1353 | 1267450.4107 | 2609093.934 | 1267454.3201
54 | 2609113.6344 | 1267444.2523 | 2609119.6324 | 1267449.6653 | 2609124.4357 | 1267458.5678 | 2609128.5753 | 1267471.6779
55 | 2609128.2046 | 1267425.4949 | 2609130.5329 | 1267426.7329
56 | 2609150.7062 | 1267525.2548 | 2609157.138 | 1267517.6927 | 2609157.2925 | 1267517.4775
57 | 2609137.8789 | 1267559.2387 | 2609144.0333 | 1267553.4898
58 | 2609157.2925 | 1267517.4775 | 2609163.8166 | 1267508.3892
59 | 2609132.3004 | 1267483.4751 | 2609128.5753 | 1267471.6779
60 | 2609132.3004 | 1267483.4751 | 2609114.4805 | 1267499.9497
61 | 2609114.4805 | 1267499.9497 | 2609104.8974 | 1267508.8094
62 | 2609163.8166 | 1267508.3892 | 2609170.6578 | 1267498.8593
63 | 2609088.6963 | 1267523.7874 | 2609104.8974 | 1267508.8094
64 | 2609135.9432 | 1267429.6096 | 2609130.5329 | 1267426.7329
65 | 2609182.1792 | 1267468.5525 | 2609190.1253 | 1267469.8323
66 | 2609182.1792 | 1267468.5525 | 2609175.0854 | 1267466.1903
67 | 2609190.1253 | 1267469.8323 | 2609188.5836 | 1267473.8883 | 2609180.1901 | 1267485.5807
68 | 2609190.1253 | 1267469.8323 | 2609191.0482 | 1267466.8094 | 2609191.7215 | 1267464.5755 | 2609192.6899 | 1267461.3859
69 | 2609093.934 | 1267454.3201 | 2609090.5393 | 1267457.479
70 | 2609187.2914 | 1267452.905 | 2609183.2506 | 1267451.367
71 | 2609187.2914 | 1267452.905 | 2609188.7597 | 1267453.4625
72 | 2609183.2506 | 1267451.367 | 2609182.921 | 1267451.2415 | 2609173.488 | 1267447.7578 | 2609172.6758 | 1267447.4202
73 | 2609194.4223 | 1267455.6846 | 2609191.1427 | 1267454.3675 | 2609188.7597 | 1267453.4625
74 | 2609192.6899 | 1267461.3859 | 2609197.0314 | 1267462.2488 | 2609203.6458 | 1267463.1596
75 | 2609192.6899 | 1267461.3859 | 2609193.4085 | 1267459.0298 | 2609194.4223 | 1267455.6846
76 | 2609203.6458 | 1267463.1596 | 2609206.2753 | 1267463.3528
77 | 2609135.9432 | 1267429.6096 | 2609146.2428 | 1267435.0432
78 | 2609153.7372 | 1267438.997 | 2609146.2428 | 1267435.0432
79 | 2609180.1901 | 1267485.5807 | 2609170.6578 | 1267498.8593
80 | 2609206.2753 | 1267463.3528 | 2609210.449 | 1267463.6594 | 2609213.1233 | 1267463.7297
81 | 2609081.4976 | 1267465.8924 | 2609090.5393 | 1267457.479
82 | 2609172.6758 | 1267447.4202 | 2609167.0067 | 1267445.064
83 | 2609161.2185 | 1267442.615 | 2609154.9249 | 1267439.6236 | 2609153.7372 | 1267438.997
84 | 2609057.1331 | 1267488.4316 | 2609071.6041 | 1267475.0986 | 2609077.751 | 1267469.3787
85 | 2609080.4776 | 1267466.8416 | 2609077.751 | 1267469.3787
86 | 2609080.4776 | 1267466.8416 | 2609081.4976 | 1267465.8924
87 | 2609167.0067 | 1267445.064 | 2609161.9421 | 1267442.9589 | 2609161.2185 | 1267442.615
88 | 2609207.3274 | 1267391.1654 | 2609199.5542 | 1267398.03
89 | 2609192.2203 | 1267399.9644 | 2609199.5542 | 1267398.03

## bus_geodata
| x | y | coords
0 | 2609197.473 | 1267567.6726
1 | 2609191.4536 | 1267562.476
2 | 2609190.6146 | 1267561.7516
3 | 2609171.7328 | 1267545.4507
4 | 2609170.8173 | 1267544.6604
5 | 2609288.8892 | 1267503.3313
6 | 2609268.7649 | 1267454.0209
7 | 2609233.9888 | 1267533.6782
8 | 2609161.7148 | 1267536.802
9 | 2609219.0559 | 1267463.8857
10 | 2609245.3038 | 1267357.6281
11 | 2609232.5557 | 1267368.8861
12 | 2609208.1216 | 1267314.0511
13 | 2609218.0145 | 1267463.8583
14 | 2609151.2546 | 1267300.6054
15 | 2609148.2923 | 1267303.2597
16 | 2609155.8805 | 1267296.4606
17 | 2609140.15 | 1267310.5554
18 | 2609162.1256 | 1267290.8649
19 | 2609137.743 | 1267312.712
20 | 2609132.6484 | 1267317.2769
21 | 2609129.6843 | 1267319.9328
22 | 2609120.9013 | 1267327.8025
23 | 2609114.1546 | 1267333.8476
24 | 2609109.2596 | 1267338.2337
25 | 2609099.2118 | 1267347.2366
26 | 2609089.5024 | 1267355.9364
27 | 2609083.5149 | 1267361.3013
28 | 2609062.8076 | 1267379.8964
29 | 2609090.9032 | 1267404.7128
30 | 2609055.4875 | 1267372.7136
31 | 2609050.6341 | 1267367.4048
32 | 2609036.8035 | 1267352.2767
33 | 2609033.7543 | 1267389.0358
34 | 2609092.6441 | 1267406.0597
35 | 2609103.3011 | 1267414.3045
36 | 2609195.7302 | 1267325.8784
37 | 2609191.7503 | 1267329.6771
38 | 2609172.7798 | 1267347.784
39 | 2609164.9172 | 1267355.2886
40 | 2609163.7014 | 1267356.4491
41 | 2609212.233 | 1267386.8333
42 | 2609154.1288 | 1267365.5858
43 | 2609152.1915 | 1267367.4349
44 | 2609140.4074 | 1267378.6826
45 | 2609136.1071 | 1267382.7871
46 | 2609126.1064 | 1267392.3325
47 | 2609120.2352 | 1267397.9364
48 | 2609108.9031 | 1267418.289
49 | 2609117.9019 | 1267424.6896
50 | 2609113.6345 | 1267444.2523
51 | 2609128.2046 | 1267425.4949
52 | 2609150.7062 | 1267525.2548
53 | 2609144.0333 | 1267553.4898
54 | 2609157.2925 | 1267517.4775
55 | 2609137.8789 | 1267559.2387
56 | 2609132.3004 | 1267483.475
57 | 2609128.5753 | 1267471.6779
58 | 2609114.4805 | 1267499.9497
59 | 2609163.8166 | 1267508.3892
60 | 2609104.8974 | 1267508.8094
61 | 2609088.6963 | 1267523.7874
62 | 2609130.5329 | 1267426.7329
63 | 2609182.1792 | 1267468.5525
64 | 2609190.1253 | 1267469.8323
65 | 2609175.0854 | 1267466.1903
66 | 2609093.934 | 1267454.3201
67 | 2609187.2914 | 1267452.905
68 | 2609183.2506 | 1267451.367
69 | 2609188.7597 | 1267453.4625
70 | 2609192.6899 | 1267461.3859
71 | 2609203.6458 | 1267463.1596
72 | 2609194.4223 | 1267455.6846
73 | 2609135.9432 | 1267429.6096
74 | 2609146.2428 | 1267435.0432
75 | 2609180.1901 | 1267485.5807
76 | 2609206.2753 | 1267463.3528
77 | 2609090.5393 | 1267457.479
78 | 2609172.6758 | 1267447.4202
79 | 2609153.7372 | 1267438.997
80 | 2609170.6578 | 1267498.8593
81 | 2609213.1233 | 1267463.7297
82 | 2609057.1331 | 1267488.4316
83 | 2609077.751 | 1267469.3787
84 | 2609080.4776 | 1267466.8416
85 | 2609081.4976 | 1267465.8924
86 | 2609161.2185 | 1267442.615
87 | 2609207.3274 | 1267391.1654
88 | 2609199.5542 | 1267398.03
89 | 2609192.2203 | 1267399.9644
90 | 2609167.0067 | 1267445.064
91 | 2609132.3737 | 1267435.7306

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1