## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2763-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2763-11_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2763-11_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2763-11_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2763-11_0_3_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_2763-11_0_3_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_2763-11_0_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_2763-11_0_3_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_2763-11_0_3_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_2763-11_0_3_node_91 | 0.4 | n |  | TRUE
10 | bus_LV_2763-11_0_3_node_92 | 0.4 | n |  | TRUE
11 | bus_LV_2763-11_0_3_node_93 | 0.4 | n |  | TRUE
12 | bus_LV_2763-11_0_3_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_2763-11_0_3_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_2763-11_0_3_node_94 | 0.4 | n |  | TRUE
15 | bus_LV_2763-11_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2763-11_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_2763-11_0_3_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_2763-11_0_3_node_6 | 0.4 | n |  | TRUE
19 | bus_LV_2763-11_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_2763-11_0_3_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_2763-11_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_2763-11_0_3_node_7 | 0.4 | n |  | TRUE
23 | bus_LV_2763-11_0_3_node_61 | 0.4 | n |  | TRUE
24 | bus_LV_2763-11_0_3_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_2763-11_0_3_node_8 | 0.4 | n |  | TRUE
26 | bus_LV_2763-11_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_2763-11_0_3_node_9 | 0.4 | n |  | TRUE
28 | bus_LV_2763-11_0_3_node_10 | 0.4 | n |  | TRUE
29 | bus_LV_2763-11_0_3_node_95 | 0.4 | n |  | TRUE
30 | bus_LV_2763-11_0_3_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_2763-11_0_3_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_2763-11_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_2763-11_0_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_2763-11_0_3_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_2763-11_0_3_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_2763-11_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_2763-11_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_2763-11_0_3_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_2763-11_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_2763-11_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_2763-11_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_2763-11_0_3_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_2763-11_0_3_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_2763-11_0_3_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_2763-11_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_2763-11_0_3_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_2763-11_0_3_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_2763-11_0_3_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_2763-11_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_2763-11_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_2763-11_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_2763-11_0_3_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_2763-11_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_2763-11_0_3_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_2763-11_0_3_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_2763-11_0_3_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_2763-11_0_3_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_2763-11_0_3_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_2763-11_0_3_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_2763-11_0_3_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_2763-11_0_3_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_2763-11_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_2763-11_0_3_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_2763-11_0_3_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_2763-11_0_3_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_2763-11_0_3_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_2763-11_0_3_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_2763-11_0_3_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_2763-11_0_3_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_2763-11_0_3_node_87 | 0.4 | n |  | TRUE
71 | bus_LV_2763-11_0_3_node_86 | 0.4 | n |  | TRUE
72 | bus_LV_2763-11_0_3_node_88 | 0.4 | n |  | TRUE
73 | bus_LV_2763-11_0_3_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_2763-11_0_3_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_2763-11_0_3_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_2763-11_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_2763-11_0_3_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_2763-11_0_3_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_2763-11_0_3_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_2763-11_0_3_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_2763-11_0_3_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_2763-11_0_3_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_2763-11_0_3_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_2763-11_0_3_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_2763-11_0_3_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_2763-11_0_3_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_2763-11_0_3_node_98 | 0.4 | n |  | TRUE
88 | bus_LV_2763-11_0_3_node_97 | 0.4 | n |  | TRUE
89 | bus_LV_2763-11_0_3_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_2763-11_0_3_node_96 | 0.4 | n |  | TRUE
91 | bus_LV_2763-11_0_3_node_89 | 0.4 | n |  | TRUE
92 | bus_MV_574_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2763-11_0_3_load_0 | 0 | 0.012098 | 0.003032 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2763-11_0_3_load_1 | 1 | 0.0093578 | 0.0023453 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2763-11_0_3_load_2 | 2 | 0.0021277 | 0.00053326 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2763-11_0_3_load_3 | 3 | 0.001728 | 0.00043307 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2763-11_0_3_load_14 | 4 | 0.0017648 | 0.00044231 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2763-11_0_3_load_16 | 5 | 0.0019859 | 0.0004977 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2763-11_0_3_load_12 | 6 | 0.0018813 | 0.0004715 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2763-11_0_3_load_17 | 7 | 0.0014996 | 0.00037582 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2763-11_0_3_load_18 | 8 | 0.0016062 | 0.00040254 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2763-11_0_3_load_91 | 9 | 0.0047436 | 0.0011889 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2763-11_0_3_load_92 | 10 | 0.0036439 | 0.00091325 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2763-11_0_3_load_93 | 11 | 0.009745 | 0.0024423 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2763-11_0_3_load_24 | 12 | 0.0091295 | 0.0022881 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2763-11_0_3_load_5 | 13 | 0.0053185 | 0.0013329 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2763-11_0_3_load_94 | 14 | 0.0025655 | 0.00064299 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2763-11_0_3_load_13 | 15 | 0.001879 | 0.00047092 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2763-11_0_3_load_15 | 16 | 0.0021374 | 0.00053569 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2763-11_0_3_load_23 | 17 | 0.011226 | 0.0028135 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2763-11_0_3_load_6 | 18 | 0.0082917 | 0.0020781 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2763-11_0_3_load_19 | 19 | 0.0015162 | 0.00038 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2763-11_0_3_load_20 | 20 | 0.0016992 | 0.00042585 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2763-11_0_3_load_21 | 21 | 0.0062787 | 0.0015736 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2763-11_0_3_load_7 | 22 | 0.011378 | 0.0028517 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2763-11_0_3_load_61 | 23 | 0.0017904 | 0.00044873 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2763-11_0_3_load_25 | 24 | 0.0087254 | 0.0021868 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2763-11_0_3_load_22 | 26 | 0.0043334 | 0.0010861 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2763-11_0_3_load_9 | 27 | 0.0039714 | 0.00099534 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2763-11_0_3_load_10 | 28 | 0.019755 | 0.004951 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2763-11_0_3_load_95 | 29 | 0.014267 | 0.0035756 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2763-11_0_3_load_60 | 30 | 0.0029049 | 0.00072804 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2763-11_0_3_load_59 | 31 | 0.0056276 | 0.0014104 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2763-11_0_3_load_28 | 32 | 0.010118 | 0.0025359 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2763-11_0_3_load_29 | 33 | 0.0071993 | 0.0018043 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2763-11_0_3_load_30 | 35 | 0.002806 | 0.00070326 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2763-11_0_3_load_33 | 37 | 0.0036575 | 0.00091665 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2763-11_0_3_load_52 | 38 | 0.0023792 | 0.00059627 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2763-11_0_3_load_27 | 39 | 0.0060639 | 0.0015198 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2763-11_0_3_load_34 | 40 | 0.0034559 | 0.00086613 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2763-11_0_3_load_31 | 41 | 0.0033033 | 0.00082789 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2763-11_0_3_load_50 | 42 | 0.0035449 | 0.00088844 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2763-11_0_3_load_49 | 43 | 0.0032796 | 0.00082194 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2763-11_0_3_load_48 | 44 | 0.0055034 | 0.0013793 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2763-11_0_3_load_36 | 45 | 0.021792 | 0.0054616 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2763-11_0_3_load_37 | 47 | 0.0014168 | 0.00035509 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2763-11_0_3_load_40 | 49 | 0.0011734 | 0.00029408 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2763-11_0_3_load_43 | 51 | 0.00096181 | 0.00024105 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2763-11_0_3_load_56 | 52 | 0.0010541 | 0.00026418 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2763-11_0_3_load_42 | 53 | 0.0015868 | 0.00039769 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2763-11_0_3_load_45 | 54 | 0.0028437 | 0.00071269 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2763-11_0_3_load_44 | 55 | 0.001066 | 0.00026716 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2763-11_0_3_load_46 | 57 | 0.0024139 | 0.00060497 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2763-11_0_3_load_66 | 58 | 0.0015401 | 0.00038597 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2763-11_0_3_load_64 | 59 | 0.0043018 | 0.0010781 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2763-11_0_3_load_77 | 60 | 0.0019756 | 0.00049513 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2763-11_0_3_load_71 | 61 | 0.0012286 | 0.00030793 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2763-11_0_3_load_51 | 62 | 0.0037062 | 0.00092887 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2763-11_0_3_load_55 | 63 | 0.0041639 | 0.0010436 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2763-11_0_3_load_57 | 64 | 0.0046063 | 0.0011544 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2763-11_0_3_load_58 | 65 | 0.0013483 | 0.00033793 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2763-11_0_3_load_62 | 66 | 0.0022944 | 0.00057503 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2763-11_0_3_load_63 | 67 | 0.013703 | 0.0034343 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2763-11_0_3_load_65 | 68 | 0.0094315 | 0.0023638 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2763-11_0_3_load_67 | 69 | 0.0088444 | 0.0022166 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2763-11_0_3_load_87 | 70 | 0.0070796 | 0.0017743 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2763-11_0_3_load_86 | 71 | 0.0054841 | 0.0013744 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2763-11_0_3_load_88 | 72 | 0.0029754 | 0.00074571 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2763-11_0_3_load_74 | 73 | 0.0062151 | 0.0015576 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2763-11_0_3_load_68 | 74 | 0.0025355 | 0.00063547 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2763-11_0_3_load_69 | 75 | 0.0028878 | 0.00072375 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2763-11_0_3_load_72 | 77 | 0.0040917 | 0.0010255 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2763-11_0_3_load_73 | 78 | 0.004379 | 0.0010975 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2763-11_0_3_load_75 | 79 | 0.0020268 | 0.00050797 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2763-11_0_3_load_78 | 80 | 0.0027324 | 0.00068481 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2763-11_0_3_load_79 | 81 | 0.002998 | 0.00075138 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2763-11_0_3_load_80 | 82 | 0.0022259 | 0.00055785 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2763-11_0_3_load_81 | 83 | 0.0067181 | 0.0016837 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2763-11_0_3_load_83 | 84 | 0.0027009 | 0.00067691 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2763-11_0_3_load_84 | 85 | 0.0033038 | 0.000828 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2763-11_0_3_load_82 | 86 | 0.007992 | 0.002003 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2763-11_0_3_load_85 | 89 | 0.0023918 | 0.00059945 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2763-11_0_3_load_96 | 90 | 0.0021111 | 0.00052909 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2763-11_0_3_load_89 | 91 | 0.0027935 | 0.00070011 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2763-11_0_3_line_0 |  | 0 | 1 | 0.019316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2763-11_0_3_line_1 |  | 0 | 2 | 0.03334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2763-11_0_3_line_2 |  | 1 | 3 | 0.0092067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2763-11_0_3_line_3 |  | 3 | 13 | 0.020304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2763-11_0_3_line_4 |  | 4 | 5 | 0.00037586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2763-11_0_3_line_5 |  | 4 | 6 | 0.027767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2763-11_0_3_line_6 |  | 5 | 7 | 0.00041538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2763-11_0_3_line_7 |  | 6 | 15 | 0.0003229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2763-11_0_3_line_8 |  | 7 | 8 | 0.02868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2763-11_0_3_line_9 |  | 8 | 19 | 3.1071e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2763-11_0_3_line_10 |  | 9 | 10 | 0.023148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2763-11_0_3_line_11 |  | 9 | 11 | 0.02719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2763-11_0_3_line_12 |  | 9 | 12 | 0.012787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2763-11_0_3_line_13 |  | 10 | 14 | 0.036123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2763-11_0_3_line_14 |  | 11 | 17 | 0.020588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2763-11_0_3_line_15 |  | 13 | 18 | 0.011096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2763-11_0_3_line_16 |  | 14 | 23 | 0.020413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2763-11_0_3_line_17 |  | 14 | 24 | 0.017875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2763-11_0_3_line_18 |  | 15 | 16 | 0.0011871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2763-11_0_3_line_19 |  | 18 | 22 | 0.039723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2763-11_0_3_line_20 |  | 19 | 20 | 0.00010106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2763-11_0_3_line_21 |  | 20 | 21 | 0.038281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2763-11_0_3_line_22 |  | 21 | 26 | 0.028601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2763-11_0_3_line_23 |  | 22 | 25 | 0.016482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2763-11_0_3_line_24 |  | 22 | 26 | 0.074158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2763-11_0_3_line_25 |  | 23 | 39 | 0.012221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2763-11_0_3_line_26 |  | 23 | 30 | 0.02406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2763-11_0_3_line_27 |  | 25 | 27 | 0.027541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2763-11_0_3_line_28 |  | 25 | 28 | 0.048545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2763-11_0_3_line_29 |  | 26 | 29 | 0.029871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2763-11_0_3_line_30 |  | 27 | 33 | 0.011461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2763-11_0_3_line_31 |  | 30 | 31 | 0.024523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2763-11_0_3_line_32 |  | 30 | 32 | 0.012403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2763-11_0_3_line_33 |  | 31 | 34 | 0.033558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2763-11_0_3_line_34 |  | 33 | 35 | 0.0057561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2763-11_0_3_line_35 |  | 34 | 36 | 0.014712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2763-11_0_3_line_36 |  | 34 | 37 | 0.013996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2763-11_0_3_line_37 |  | 34 | 38 | 0.014352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2763-11_0_3_line_38 |  | 35 | 41 | 0.019337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2763-11_0_3_line_39 |  | 36 | 40 | 0.018634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2763-11_0_3_line_40 |  | 37 | 43 | 0.015619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2763-11_0_3_line_41 |  | 38 | 62 | 0.013627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_2763-11_0_3_line_42 |  | 40 | 42 | 0.0096545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2763-11_0_3_line_43 |  | 41 | 42 | 0.01361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2763-11_0_3_line_44 |  | 43 | 44 | 0.002831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2763-11_0_3_line_45 |  | 44 | 46 | 0.040573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2763-11_0_3_line_46 |  | 45 | 46 | 0.059048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2763-11_0_3_line_47 |  | 47 | 48 | 0.037798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2763-11_0_3_line_48 |  | 48 | 49 | 0.018763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_2763-11_0_3_line_49 |  | 48 | 50 | 0.014761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_2763-11_0_3_line_50 |  | 49 | 51 | 0.022689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2763-11_0_3_line_51 |  | 50 | 52 | 0.019194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2763-11_0_3_line_52 |  | 51 | 55 | 0.013385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_2763-11_0_3_line_53 |  | 52 | 56 | 0.012682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_2763-11_0_3_line_54 |  | 53 | 54 | 0.0080883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2763-11_0_3_line_55 |  | 54 | 57 | 0.015735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2763-11_0_3_line_56 |  | 55 | 58 | 0.011955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_2763-11_0_3_line_57 |  | 56 | 63 | 0.019891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2763-11_0_3_line_58 |  | 56 | 62 | 0.014306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_2763-11_0_3_line_59 |  | 57 | 60 | 0.015374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2763-11_0_3_line_60 |  | 58 | 59 | 0.0040794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_2763-11_0_3_line_61 |  | 59 | 66 | 0.0041677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_2763-11_0_3_line_62 |  | 60 | 61 | 0.006733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2763-11_0_3_line_63 |  | 61 | 75 | 0.021028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2763-11_0_3_line_64 |  | 63 | 64 | 0.032398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2763-11_0_3_line_65 |  | 64 | 65 | 0.003108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2763-11_0_3_line_66 |  | 66 | 67 | 0.016957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_2763-11_0_3_line_67 |  | 67 | 68 | 0.040367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_2763-11_0_3_line_68 |  | 68 | 69 | 0.019791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2763-11_0_3_line_69 |  | 69 | 70 | 0.024258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2763-11_0_3_line_70 |  | 69 | 71 | 0.010164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2763-11_0_3_line_71 |  | 70 | 72 | 0.006213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2763-11_0_3_line_72 |  | 71 | 73 | 0.033372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2763-11_0_3_line_73 |  | 72 | 91 | 0.019878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2763-11_0_3_line_74 |  | 73 | 76 | 0.020137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2763-11_0_3_line_75 |  | 74 | 75 | 0.020626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2763-11_0_3_line_76 |  | 74 | 76 | 0.019073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2763-11_0_3_line_77 |  | 76 | 77 | 0.017598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2763-11_0_3_line_78 |  | 76 | 78 | 0.021336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2763-11_0_3_line_79 |  | 77 | 79 | 0.024298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2763-11_0_3_line_80 |  | 78 | 80 | 0.0058007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2763-11_0_3_line_81 |  | 80 | 81 | 0.019529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2763-11_0_3_line_82 |  | 81 | 84 | 0.0079329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2763-11_0_3_line_83 |  | 82 | 83 | 0.032524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2763-11_0_3_line_84 |  | 83 | 86 | 0.024971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2763-11_0_3_line_85 |  | 84 | 85 | 0.012582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2763-11_0_3_line_86 |  | 85 | 89 | 0.01492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2763-11_0_3_line_87 |  | 86 | 87 | 0.014213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2763-11_0_3_line_88 |  | 87 | 88 | 0.045582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2763-11_0_3_line_89 |  | 88 | 90 | 0.041643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2763-11_0_3_line_90 |  | 89 | 90 | 0.0039294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2763-11_0_3_trafo_27 | 0.63 MVA 20/0.4 kV | 92 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2613471.0434 | 1261668.992 | 2613467.8244 | 1261649.9456
1 | 2613471.0434 | 1261668.992 | 2613476.2921 | 1261700.0473 | 2613476.5007 | 1261701.8795
2 | 2613466.2901 | 1261640.8677 | 2613467.8244 | 1261649.9456
3 | 2613462.9485 | 1261620.8403 | 2613463.8026 | 1261626.1352 | 2613465.4902 | 1261636.1347 | 2613466.2901 | 1261640.8677
4 | 2613397.7191 | 1261682.694 | 2613397.6579 | 1261682.3232
5 | 2613401.3378 | 1261710.2176 | 2613399.0451 | 1261690.7218 | 2613397.7191 | 1261682.694
6 | 2613397.6579 | 1261682.3232 | 2613397.5902 | 1261681.9134
7 | 2613401.3755 | 1261710.5383 | 2613401.3378 | 1261710.2176
8 | 2613392.753 | 1261653.6453 | 2613394.3254 | 1261662.1472 | 2613397.5902 | 1261681.9134
9 | 2613392.753 | 1261653.6453 | 2613392.7474 | 1261653.6148
10 | 2613547.3223 | 1261686.5761 | 2613552.067 | 1261663.9191
11 | 2613547.3223 | 1261686.5761 | 2613546.9799 | 1261688.211 | 2613542.4696 | 1261713.3285
12 | 2613547.3223 | 1261686.5761 | 2613534.7453 | 1261688.8848
13 | 2613552.067 | 1261663.9191 | 2613556.0517 | 1261644.891 | 2613558.2762 | 1261634.1332 | 2613558.9011 | 1261628.4709
14 | 2613542.4696 | 1261713.3285 | 2613524.2193 | 1261722.8578
15 | 2613462.9485 | 1261620.8403 | 2613461.1814 | 1261609.8858
16 | 2613558.9011 | 1261628.4709 | 2613561.14 | 1261608.1815
17 | 2613558.9011 | 1261628.4709 | 2613546.2892 | 1261641.1373
18 | 2613401.3755 | 1261710.5383 | 2613401.5142 | 1261711.7173
19 | 2613461.1814 | 1261609.8858 | 2613460.3181 | 1261604.5348 | 2613451.4366 | 1261571.4021
20 | 2613392.7474 | 1261653.6148 | 2613392.729 | 1261653.5154
21 | 2613392.729 | 1261653.5154 | 2613387.7977 | 1261626.8528 | 2613385.7618 | 1261615.8736
22 | 2613385.7618 | 1261615.8736 | 2613385.6093 | 1261615.051 | 2613380.9371 | 1261595.4604 | 2613379.17 | 1261588.0442
23 | 2613447.1693 | 1261555.4826 | 2613451.4366 | 1261571.4021
24 | 2613451.4366 | 1261571.4021 | 2613379.17 | 1261588.0442
25 | 2613561.14 | 1261608.1815 | 2613550.92 | 1261601.4803
26 | 2613561.14 | 1261608.1815 | 2613561.6997 | 1261603.1087 | 2613562.2353 | 1261584.1602
27 | 2613447.1693 | 1261555.4826 | 2613474.2607 | 1261550.5259
28 | 2613447.1693 | 1261555.4826 | 2613442.7221 | 1261539.7285 | 2613433.9851 | 1261508.7618
29 | 2613379.17 | 1261588.0442 | 2613374.5036 | 1261568.4608 | 2613372.2449 | 1261558.9867
30 | 2613485.5345 | 1261548.4633 | 2613474.2607 | 1261550.5259
31 | 2613562.4176 | 1261559.6439 | 2613562.5931 | 1261571.5003 | 2613562.2353 | 1261584.1602
32 | 2613562.2353 | 1261584.1602 | 2613551.93 | 1261577.2579
33 | 2613561.9208 | 1261526.09 | 2613562.4176 | 1261559.6439
34 | 2613485.5345 | 1261548.4633 | 2613491.1966 | 1261547.4273
35 | 2613561.9208 | 1261526.09 | 2613551.4323 | 1261536.4064
36 | 2613561.9208 | 1261526.09 | 2613551.1394 | 1261517.165
37 | 2613561.9208 | 1261526.09 | 2613576.1583 | 1261524.2809
38 | 2613510.2175 | 1261543.9472 | 2613491.1966 | 1261547.4273
39 | 2613551.4323 | 1261536.4064 | 2613533.1025 | 1261539.7601
40 | 2613550.9016 | 1261501.5481 | 2613551.1394 | 1261517.165
41 | 2613589.6763 | 1261522.5633 | 2613576.1583 | 1261524.2809
42 | 2613523.6056 | 1261541.4977 | 2613533.1025 | 1261539.7601
43 | 2613510.2175 | 1261543.9472 | 2613523.6056 | 1261541.4977
44 | 2613550.9016 | 1261501.5481 | 2613550.9016 | 1261501.5481 | 2613551.0424 | 1261498.7206
45 | 2613548.8826 | 1261458.5253 | 2613552.2439 | 1261474.5883 | 2613551.0424 | 1261498.7206
46 | 2613548.8826 | 1261458.5253 | 2613533.6948 | 1261461.3037 | 2613491.4193 | 1261472.003
47 | 2613635.9076 | 1261532.0634 | 2613671.9204 | 1261525.7418 | 2613673.1242 | 1261525.4688
48 | 2613635.9076 | 1261532.0634 | 2613636.4678 | 1261550.8185
49 | 2613635.9076 | 1261532.0634 | 2613635.5573 | 1261517.3081
50 | 2613636.4678 | 1261550.8185 | 2613637.1452 | 1261573.4972
51 | 2613635.5573 | 1261517.3081 | 2613616.476 | 1261519.3866
52 | 2613637.5448 | 1261586.876 | 2613637.1452 | 1261573.4972
53 | 2613603.8682 | 1261520.76 | 2613616.476 | 1261519.3866
54 | 2613716.4522 | 1261547.5695 | 2613713.4449 | 1261555.0779
55 | 2613707.5943 | 1261569.6849 | 2613713.4449 | 1261555.0779
56 | 2613637.1376 | 1261598.7939 | 2613637.7407 | 1261593.4317 | 2613637.5448 | 1261586.876
57 | 2613603.8682 | 1261520.76 | 2613604.2852 | 1261540.6464
58 | 2613603.8682 | 1261520.76 | 2613589.6763 | 1261522.5633
59 | 2613701.878 | 1261583.9568 | 2613707.5943 | 1261569.6849
60 | 2613636.6818 | 1261602.8477 | 2613637.1376 | 1261598.7939
61 | 2613636.216 | 1261606.9893 | 2613636.6818 | 1261602.8477
62 | 2613699.3745 | 1261590.2071 | 2613701.878 | 1261583.9568
63 | 2613691.5561 | 1261609.7273 | 2613699.3745 | 1261590.2071
64 | 2613604.2852 | 1261540.6464 | 2613604.9645 | 1261573.0376
65 | 2613605.0296 | 1261576.1449 | 2613604.9645 | 1261573.0376
66 | 2613636.216 | 1261606.9893 | 2613634.321 | 1261623.8403
67 | 2613634.321 | 1261623.8403 | 2613633.9105 | 1261627.4906 | 2613628.194 | 1261663.7367
68 | 2613625.1108 | 1261683.2863 | 2613628.194 | 1261663.7367
69 | 2613625.1108 | 1261683.2863 | 2613623.1739 | 1261706.5755 | 2613623.0999 | 1261707.4608
70 | 2613625.1108 | 1261683.2863 | 2613627.6754 | 1261681.9579 | 2613634.1367 | 1261678.6124
71 | 2613622.6408 | 1261713.6561 | 2613622.7323 | 1261711.8559 | 2613623.0999 | 1261707.4608
72 | 2613634.1367 | 1261678.6124 | 2613642.3841 | 1261674.342 | 2613661.2042 | 1261659.3134
73 | 2613622.6408 | 1261713.6561 | 2613621.6308 | 1261733.5085
74 | 2613676.7954 | 1261646.58 | 2613674.6361 | 1261648.5875 | 2613661.2042 | 1261659.3134
75 | 2613683.8872 | 1261628.8742 | 2613691.5561 | 1261609.7273
76 | 2613676.7954 | 1261646.58 | 2613683.8872 | 1261628.8742
77 | 2613676.7954 | 1261646.58 | 2613689.6539 | 1261634.5661
78 | 2613676.7954 | 1261646.58 | 2613680.9102 | 1261659.1313 | 2613680.7005 | 1261667.2561
79 | 2613689.6539 | 1261634.5661 | 2613707.4084 | 1261617.9778
80 | 2613680.7005 | 1261667.2561 | 2613680.5509 | 1261673.0548
81 | 2613680.5509 | 1261673.0548 | 2613680.047 | 1261692.5777
82 | 2613680.047 | 1261692.5777 | 2613679.8424 | 1261700.508
83 | 2613723.5711 | 1261685.4505 | 2613721.3582 | 1261717.8991
84 | 2613719.6592 | 1261742.8126 | 2613721.3582 | 1261717.8991
85 | 2613679.8424 | 1261700.508 | 2613679.5177 | 1261713.086
86 | 2613679.5177 | 1261713.086 | 2613679.1328 | 1261728.0007
87 | 2613718.068 | 1261756.9282 | 2613719.3014 | 1261748.0583 | 2613719.6592 | 1261742.8126
88 | 2613677.957 | 1261773.5582 | 2613686.7645 | 1261773.3673 | 2613700.7094 | 1261770.2306 | 2613708.2361 | 1261766.79 | 2613714.62 | 1261762.3573 | 2613718.068 | 1261756.9282
89 | 2613677.957 | 1261773.5582 | 2613679.0314 | 1261731.9288
90 | 2613679.0314 | 1261731.9288 | 2613679.1328 | 1261728.0007

## bus_geodata
| x | y | coords
0 | 2613471.0434 | 1261668.992
1 | 2613467.8244 | 1261649.9456
2 | 2613476.5007 | 1261701.8795
3 | 2613466.2901 | 1261640.8677
4 | 2613397.7191 | 1261682.694
5 | 2613397.6579 | 1261682.3232
6 | 2613401.3378 | 1261710.2176
7 | 2613397.5902 | 1261681.9134
8 | 2613392.753 | 1261653.6453
9 | 2613547.3223 | 1261686.5761
10 | 2613552.067 | 1261663.9191
11 | 2613542.4696 | 1261713.3285
12 | 2613534.7453 | 1261688.8848
13 | 2613462.9485 | 1261620.8403
14 | 2613558.9011 | 1261628.4709
15 | 2613401.3755 | 1261710.5383
16 | 2613401.5142 | 1261711.7173
17 | 2613524.2193 | 1261722.8578
18 | 2613461.1814 | 1261609.8858
19 | 2613392.7474 | 1261653.6148
20 | 2613392.729 | 1261653.5154
21 | 2613385.7618 | 1261615.8736
22 | 2613451.4366 | 1261571.4021
23 | 2613561.14 | 1261608.1815
24 | 2613546.2892 | 1261641.1373
25 | 2613447.1693 | 1261555.4826
26 | 2613379.17 | 1261588.0442
27 | 2613474.2607 | 1261550.5259
28 | 2613433.9851 | 1261508.7618
29 | 2613372.2449 | 1261558.9867
30 | 2613562.2353 | 1261584.1602
31 | 2613562.4176 | 1261559.6439
32 | 2613551.93 | 1261577.2579
33 | 2613485.5345 | 1261548.4633
34 | 2613561.9208 | 1261526.09
35 | 2613491.1966 | 1261547.4273
36 | 2613551.4323 | 1261536.4064
37 | 2613551.1394 | 1261517.165
38 | 2613576.1583 | 1261524.2809
39 | 2613550.92 | 1261601.4803
40 | 2613533.1025 | 1261539.7601
41 | 2613510.2175 | 1261543.9472
42 | 2613523.6056 | 1261541.4977
43 | 2613550.9016 | 1261501.5481
44 | 2613551.0424 | 1261498.7206
45 | 2613491.4193 | 1261472.003
46 | 2613548.8826 | 1261458.5253
47 | 2613673.1242 | 1261525.4688
48 | 2613635.9076 | 1261532.0634
49 | 2613636.4678 | 1261550.8185
50 | 2613635.5573 | 1261517.3081
51 | 2613637.1452 | 1261573.4972
52 | 2613616.476 | 1261519.3866
53 | 2613716.4522 | 1261547.5695
54 | 2613713.4449 | 1261555.0779
55 | 2613637.5448 | 1261586.876
56 | 2613603.8682 | 1261520.76
57 | 2613707.5943 | 1261569.6849
58 | 2613637.1376 | 1261598.7939
59 | 2613636.6818 | 1261602.8477
60 | 2613701.878 | 1261583.9568
61 | 2613699.3745 | 1261590.2071
62 | 2613589.6763 | 1261522.5633
63 | 2613604.2852 | 1261540.6464
64 | 2613604.9645 | 1261573.0376
65 | 2613605.0296 | 1261576.1449
66 | 2613636.216 | 1261606.9893
67 | 2613634.321 | 1261623.8403
68 | 2613628.194 | 1261663.7367
69 | 2613625.1108 | 1261683.2863
70 | 2613623.0999 | 1261707.4608
71 | 2613634.1367 | 1261678.6124
72 | 2613622.6408 | 1261713.6561
73 | 2613661.2042 | 1261659.3134
74 | 2613683.8872 | 1261628.8742
75 | 2613691.5561 | 1261609.7273
76 | 2613676.7954 | 1261646.58
77 | 2613689.6539 | 1261634.5661
78 | 2613680.7005 | 1261667.2561
79 | 2613707.4084 | 1261617.9778
80 | 2613680.5509 | 1261673.0548
81 | 2613680.047 | 1261692.5777
82 | 2613723.5711 | 1261685.4505
83 | 2613721.3582 | 1261717.8991
84 | 2613679.8424 | 1261700.508
85 | 2613679.5177 | 1261713.086
86 | 2613719.6592 | 1261742.8126
87 | 2613718.068 | 1261756.9282
88 | 2613677.957 | 1261773.5582
89 | 2613679.1328 | 1261728.0007
90 | 2613679.0314 | 1261731.9288
91 | 2613621.6308 | 1261733.5085
92 | 2613551.4323 | 1261536.4064

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1