## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2763-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2763-2_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2763-2_0_5_node_113 | 0.4 | n |  | TRUE
3 | bus_LV_2763-2_0_5_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_2763-2_0_5_node_114 | 0.4 | n |  | TRUE
5 | bus_LV_2763-2_0_5_node_115 | 0.4 | n |  | TRUE
6 | bus_LV_2763-2_0_5_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_2763-2_0_5_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_2763-2_0_5_node_96 | 0.4 | n |  | TRUE
9 | bus_LV_2763-2_0_5_node_111 | 0.4 | n |  | TRUE
10 | bus_LV_2763-2_0_5_node_100 | 0.4 | n |  | TRUE
11 | bus_LV_2763-2_0_5_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_2763-2_0_5_node_92 | 0.4 | n |  | TRUE
13 | bus_LV_2763-2_0_5_node_68 | 0.4 | n |  | TRUE
14 | bus_LV_2763-2_0_5_node_98 | 0.4 | n |  | TRUE
15 | bus_LV_2763-2_0_5_node_4 | 0.4 | n |  | TRUE
16 | bus_LV_2763-2_0_5_node_5 | 0.4 | n |  | TRUE
17 | bus_LV_2763-2_0_5_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_2763-2_0_5_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_2763-2_0_5_node_6 | 0.4 | n |  | TRUE
20 | bus_LV_2763-2_0_5_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_2763-2_0_5_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_2763-2_0_5_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2763-2_0_5_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_2763-2_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_2763-2_0_5_node_82 | 0.4 | n |  | TRUE
26 | bus_LV_2763-2_0_5_node_112 | 0.4 | n |  | TRUE
27 | bus_LV_2763-2_0_5_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_2763-2_0_5_node_79 | 0.4 | n |  | TRUE
29 | bus_LV_2763-2_0_5_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_2763-2_0_5_node_86 | 0.4 | n |  | TRUE
31 | bus_LV_2763-2_0_5_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_2763-2_0_5_node_83 | 0.4 | n |  | TRUE
33 | bus_LV_2763-2_0_5_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_2763-2_0_5_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_2763-2_0_5_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_2763-2_0_5_node_80 | 0.4 | n |  | TRUE
37 | bus_LV_2763-2_0_5_node_78 | 0.4 | n |  | TRUE
38 | bus_LV_2763-2_0_5_node_13 | 0.4 | n |  | TRUE
39 | bus_LV_2763-2_0_5_node_73 | 0.4 | n |  | TRUE
40 | bus_LV_2763-2_0_5_node_74 | 0.4 | n |  | TRUE
41 | bus_LV_2763-2_0_5_node_70 | 0.4 | n |  | TRUE
42 | bus_LV_2763-2_0_5_node_16 | 0.4 | n |  | TRUE
43 | bus_LV_2763-2_0_5_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_2763-2_0_5_node_84 | 0.4 | n |  | TRUE
45 | bus_LV_2763-2_0_5_node_18 | 0.4 | n |  | TRUE
46 | bus_LV_2763-2_0_5_node_19 | 0.4 | n |  | TRUE
47 | bus_LV_2763-2_0_5_node_20 | 0.4 | n |  | TRUE
48 | bus_LV_2763-2_0_5_node_21 | 0.4 | n |  | TRUE
49 | bus_LV_2763-2_0_5_node_22 | 0.4 | n |  | TRUE
50 | bus_LV_2763-2_0_5_node_23 | 0.4 | n |  | TRUE
51 | bus_LV_2763-2_0_5_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_2763-2_0_5_node_24 | 0.4 | n |  | TRUE
53 | bus_LV_2763-2_0_5_node_75 | 0.4 | n |  | TRUE
54 | bus_LV_2763-2_0_5_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_2763-2_0_5_node_25 | 0.4 | n |  | TRUE
56 | bus_LV_2763-2_0_5_node_27 | 0.4 | n |  | TRUE
57 | bus_LV_2763-2_0_5_node_29 | 0.4 | n |  | TRUE
58 | bus_LV_2763-2_0_5_node_28 | 0.4 | n |  | TRUE
59 | bus_LV_2763-2_0_5_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_2763-2_0_5_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_2763-2_0_5_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_2763-2_0_5_node_34 | 0.4 | n |  | TRUE
63 | bus_LV_2763-2_0_5_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_2763-2_0_5_node_81 | 0.4 | n |  | TRUE
65 | bus_LV_2763-2_0_5_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_2763-2_0_5_node_85 | 0.4 | n |  | TRUE
67 | bus_LV_2763-2_0_5_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_2763-2_0_5_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_2763-2_0_5_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_2763-2_0_5_node_47 | 0.4 | n |  | TRUE
71 | bus_LV_2763-2_0_5_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_2763-2_0_5_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_2763-2_0_5_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_2763-2_0_5_node_87 | 0.4 | n |  | TRUE
75 | bus_LV_2763-2_0_5_node_52 | 0.4 | n |  | TRUE
76 | bus_LV_2763-2_0_5_node_50 | 0.4 | n |  | TRUE
77 | bus_LV_2763-2_0_5_node_49 | 0.4 | n |  | TRUE
78 | bus_LV_2763-2_0_5_node_51 | 0.4 | n |  | TRUE
79 | bus_LV_2763-2_0_5_node_53 | 0.4 | n |  | TRUE
80 | bus_LV_2763-2_0_5_node_54 | 0.4 | n |  | TRUE
81 | bus_LV_2763-2_0_5_node_55 | 0.4 | n |  | TRUE
82 | bus_LV_2763-2_0_5_node_56 | 0.4 | n |  | TRUE
83 | bus_LV_2763-2_0_5_node_57 | 0.4 | n |  | TRUE
84 | bus_LV_2763-2_0_5_node_58 | 0.4 | n |  | TRUE
85 | bus_LV_2763-2_0_5_node_59 | 0.4 | n |  | TRUE
86 | bus_LV_2763-2_0_5_node_60 | 0.4 | n |  | TRUE
87 | bus_LV_2763-2_0_5_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_2763-2_0_5_node_65 | 0.4 | n |  | TRUE
89 | bus_LV_2763-2_0_5_node_66 | 0.4 | n |  | TRUE
90 | bus_LV_2763-2_0_5_node_67 | 0.4 | n |  | TRUE
91 | bus_LV_2763-2_0_5_node_69 | 0.4 | n |  | TRUE
92 | bus_LV_2763-2_0_5_node_72 | 0.4 | n |  | TRUE
93 | bus_LV_2763-2_0_5_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_2763-2_0_5_node_93 | 0.4 | n |  | TRUE
95 | bus_LV_2763-2_0_5_node_90 | 0.4 | n |  | TRUE
96 | bus_LV_2763-2_0_5_node_94 | 0.4 | n |  | TRUE
97 | bus_LV_2763-2_0_5_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_2763-2_0_5_node_95 | 0.4 | n |  | TRUE
99 | bus_LV_2763-2_0_5_node_105 | 0.4 | n |  | TRUE
100 | bus_LV_2763-2_0_5_node_104 | 0.4 | n |  | TRUE
101 | bus_LV_2763-2_0_5_node_110 | 0.4 | n |  | TRUE
102 | bus_LV_2763-2_0_5_node_103 | 0.4 | n |  | TRUE
103 | bus_LV_2763-2_0_5_node_97 | 0.4 | n |  | TRUE
104 | bus_LV_2763-2_0_5_node_99 | 0.4 | n |  | TRUE
105 | bus_LV_2763-2_0_5_node_101 | 0.4 | n |  | TRUE
106 | bus_LV_2763-2_0_5_node_102 | 0.4 | n |  | TRUE
107 | bus_LV_2763-2_0_5_node_106 | 0.4 | n |  | TRUE
108 | bus_LV_2763-2_0_5_node_107 | 0.4 | n |  | TRUE
109 | bus_LV_2763-2_0_5_node_108 | 0.4 | n |  | TRUE
110 | bus_MV_520_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2763-2_0_5_load_0 | 0 | 0.0031308 | 0.00078466 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2763-2_0_5_load_115 | 5 | 0.0003838 | 9.619e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2763-2_0_5_load_33 | 6 | 0.0024317 | 0.00060944 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2763-2_0_5_load_96 | 8 | 0.005098 | 0.0012777 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2763-2_0_5_load_111 | 9 | 0.0052942 | 0.0013269 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2763-2_0_5_load_100 | 10 | 0.0042346 | 0.0010613 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2763-2_0_5_load_32 | 11 | 0.037239 | 0.0093329 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2763-2_0_5_load_92 | 12 | 0.005134 | 0.0012867 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2763-2_0_5_load_98 | 14 | 0.0057444 | 0.0014397 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2763-2_0_5_load_4 | 15 | 0.0040937 | 0.001026 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2763-2_0_5_load_8 | 18 | 0.00523 | 0.0013108 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2763-2_0_5_load_10 | 21 | 0.037458 | 0.0093878 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2763-2_0_5_load_11 | 22 | 0.022225 | 0.00557 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2763-2_0_5_load_14 | 24 | 0.0041255 | 0.0010339 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2763-2_0_5_load_82 | 25 | 0.0043366 | 0.0010868 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2763-2_0_5_load_112 | 26 | 0.043835 | 0.010986 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2763-2_0_5_load_12 | 27 | 0.0044699 | 0.0011203 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2763-2_0_5_load_31 | 29 | 0.0028261 | 0.00070828 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2763-2_0_5_load_86 | 30 | 0.0043279 | 0.0010847 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2763-2_0_5_load_15 | 31 | 0.0066211 | 0.0016594 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2763-2_0_5_load_83 | 32 | 0.013924 | 0.0034896 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2763-2_0_5_load_43 | 34 | 0.0085114 | 0.0021332 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2763-2_0_5_load_41 | 35 | 0.0018775 | 0.00047055 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2763-2_0_5_load_80 | 36 | 0.042848 | 0.010739 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2763-2_0_5_load_78 | 37 | 0.052305 | 0.013109 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2763-2_0_5_load_13 | 38 | 0.0020405 | 0.0005114 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2763-2_0_5_load_74 | 40 | 0.0029063 | 0.00072839 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2763-2_0_5_load_16 | 42 | 0.001018 | 0.00025512 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2763-2_0_5_load_30 | 43 | 0.0022575 | 0.00056578 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2763-2_0_5_load_84 | 44 | 0.022845 | 0.0057254 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2763-2_0_5_load_18 | 45 | 0.005373 | 0.0013466 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2763-2_0_5_load_19 | 46 | 0.0026048 | 0.00065284 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2763-2_0_5_load_20 | 47 | 0.0033794 | 0.00084697 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2763-2_0_5_load_21 | 48 | 0.0021884 | 0.00054846 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2763-2_0_5_load_22 | 49 | 0.0065202 | 0.0016341 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2763-2_0_5_load_23 | 50 | 0.0019787 | 0.00049591 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2763-2_0_5_load_77 | 51 | 0.027454 | 0.0068806 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2763-2_0_5_load_61 | 54 | 0.0020891 | 0.00052358 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2763-2_0_5_load_25 | 55 | 0.010631 | 0.0026643 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2763-2_0_5_load_29 | 57 | 0.016124 | 0.004041 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2763-2_0_5_load_39 | 59 | 0.002374 | 0.00059499 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2763-2_0_5_load_35 | 60 | 0.0039916 | 0.0010004 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2763-2_0_5_load_40 | 61 | 0.0021068 | 0.00052803 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2763-2_0_5_load_34 | 62 | 0.0021621 | 0.00054188 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2763-2_0_5_load_81 | 64 | 0.011276 | 0.0028261 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2763-2_0_5_load_85 | 66 | 0.0068525 | 0.0017174 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2763-2_0_5_load_44 | 67 | 0.0036737 | 0.00092071 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2763-2_0_5_load_45 | 68 | 0.0028608 | 0.00071699 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2763-2_0_5_load_46 | 69 | 0.0012067 | 0.00030243 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2763-2_0_5_load_63 | 71 | 0.0052217 | 0.0013087 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2763-2_0_5_load_64 | 72 | 0.0020853 | 0.00052263 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2763-2_0_5_load_62 | 73 | 0.0049276 | 0.001235 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2763-2_0_5_load_87 | 74 | 0.001565 | 0.00039222 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2763-2_0_5_load_50 | 76 | 0.0037539 | 0.00094083 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2763-2_0_5_load_49 | 77 | 0.0026074 | 0.00065348 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2763-2_0_5_load_51 | 78 | 0.0075887 | 0.0019019 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2763-2_0_5_load_53 | 79 | 0.0026762 | 0.00067073 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2763-2_0_5_load_54 | 80 | 0.0026404 | 0.00066174 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2763-2_0_5_load_55 | 81 | 0.0050914 | 0.001276 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2763-2_0_5_load_56 | 82 | 0.0031566 | 0.00079113 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2763-2_0_5_load_58 | 84 | 0.0019774 | 0.00049558 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2763-2_0_5_load_59 | 85 | 0.002596 | 0.00065063 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2763-2_0_5_load_60 | 86 | 0.0016292 | 0.00040832 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2763-2_0_5_load_65 | 88 | 0.0047295 | 0.0011853 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2763-2_0_5_load_66 | 89 | 0.0051951 | 0.001302 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2763-2_0_5_load_67 | 90 | 0.0052229 | 0.001309 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2763-2_0_5_load_69 | 91 | 0.0051168 | 0.0012824 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2763-2_0_5_load_93 | 94 | 0.0019313 | 0.00048402 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2763-2_0_5_load_90 | 95 | 0.0021172 | 0.00053062 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2763-2_0_5_load_94 | 96 | 0.002465 | 0.00061778 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2763-2_0_5_load_91 | 97 | 0.010204 | 0.0025574 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2763-2_0_5_load_105 | 99 | 0.0029738 | 0.00074529 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2763-2_0_5_load_104 | 100 | 0.00244 | 0.00061152 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2763-2_0_5_load_110 | 101 | 0.0029835 | 0.00074774 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2763-2_0_5_load_103 | 102 | 0.0030716 | 0.00076981 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2763-2_0_5_load_97 | 103 | 0.0026507 | 0.00066432 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2763-2_0_5_load_101 | 105 | 0.0020401 | 0.0005113 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2763-2_0_5_load_102 | 106 | 0.0022697 | 0.00056884 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2763-2_0_5_load_106 | 107 | 0.0018928 | 0.00047438 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2763-2_0_5_load_107 | 108 | 0.0021659 | 0.00054283 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2763-2_0_5_load_108 | 109 | 0.0016661 | 0.00041756 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2763-2_0_5_line_0 |  | 0 | 1 | 0.12036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2763-2_0_5_line_1 |  | 0 | 2 | 0.16802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2763-2_0_5_line_2 |  | 1 | 3 | 0.046746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2763-2_0_5_line_3 |  | 2 | 4 | 0.055567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2763-2_0_5_line_4 |  | 3 | 6 | 0.019806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2763-2_0_5_line_5 |  | 4 | 5 | 0.080101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2763-2_0_5_line_6 |  | 6 | 11 | 0.0291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2763-2_0_5_line_7 |  | 7 | 8 | 0.029241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2763-2_0_5_line_8 |  | 7 | 9 | 0.019069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2763-2_0_5_line_9 |  | 7 | 10 | 0.013064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2763-2_0_5_line_10 |  | 8 | 12 | 0.022263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2763-2_0_5_line_11 |  | 9 | 13 | 0.016693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2763-2_0_5_line_12 |  | 10 | 14 | 0.016192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2763-2_0_5_line_13 |  | 11 | 42 | 0.008453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2763-2_0_5_line_14 |  | 12 | 97 | 0.013344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2763-2_0_5_line_15 |  | 13 | 90 | 0.011796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2763-2_0_5_line_16 |  | 15 | 16 | 0.035286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2763-2_0_5_line_17 |  | 16 | 17 | 0.026995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2763-2_0_5_line_18 |  | 16 | 18 | 0.012932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_2763-2_0_5_line_19 |  | 17 | 23 | 0.005433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2763-2_0_5_line_20 |  | 17 | 24 | 0.0055143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2763-2_0_5_line_21 |  | 18 | 25 | 0.014839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_2763-2_0_5_line_22 |  | 19 | 20 | 0.003997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2763-2_0_5_line_23 |  | 19 | 21 | 0.014187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_2763-2_0_5_line_24 |  | 19 | 22 | 0.03296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_2763-2_0_5_line_25 |  | 20 | 26 | 0.024776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2763-2_0_5_line_26 |  | 21 | 27 | 0.019928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_2763-2_0_5_line_27 |  | 22 | 28 | 0.008807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_2763-2_0_5_line_28 |  | 23 | 29 | 0.012902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2763-2_0_5_line_29 |  | 23 | 30 | 0.022853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2763-2_0_5_line_30 |  | 24 | 31 | 0.021017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2763-2_0_5_line_31 |  | 25 | 32 | 0.047048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_2763-2_0_5_line_32 |  | 28 | 36 | 0.015506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2763-2_0_5_line_33 |  | 28 | 37 | 0.014308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_2763-2_0_5_line_34 |  | 29 | 43 | 0.015562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2763-2_0_5_line_35 |  | 30 | 44 | 0.023657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2763-2_0_5_line_36 |  | 31 | 42 | 0.0046074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2763-2_0_5_line_37 |  | 32 | 92 | 0.042768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_2763-2_0_5_line_38 |  | 33 | 34 | 0.02016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2763-2_0_5_line_39 |  | 33 | 35 | 0.012758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2763-2_0_5_line_40 |  | 34 | 66 | 0.022962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2763-2_0_5_line_41 |  | 35 | 61 | 0.0016739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2763-2_0_5_line_42 |  | 36 | 63 | 0.025338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2763-2_0_5_line_43 |  | 37 | 51 | 0.005958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_2763-2_0_5_line_44 |  | 38 | 39 | 0.013387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2763-2_0_5_line_45 |  | 39 | 40 | 0.0021911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_2763-2_0_5_line_46 |  | 39 | 41 | 0.041539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_2763-2_0_5_line_47 |  | 40 | 52 | 0.026581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_2763-2_0_5_line_48 |  | 41 | 92 | 0.01016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_2763-2_0_5_line_49 |  | 41 | 91 | 0.0091044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2763-2_0_5_line_50 |  | 43 | 57 | 0.017698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2763-2_0_5_line_51 |  | 44 | 66 | 0.00079543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2763-2_0_5_line_52 |  | 45 | 46 | 0.0056556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_2763-2_0_5_line_53 |  | 45 | 47 | 0.01581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_2763-2_0_5_line_54 |  | 46 | 48 | 0.018565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_2763-2_0_5_line_55 |  | 47 | 49 | 0.00089523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_2763-2_0_5_line_56 |  | 48 | 50 | 0.00018547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_2763-2_0_5_line_57 |  | 49 | 51 | 0.019704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_2763-2_0_5_line_58 |  | 50 | 52 | 0.01796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_2763-2_0_5_line_59 |  | 52 | 53 | 0.004103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_2763-2_0_5_line_60 |  | 53 | 54 | 0.021129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_2763-2_0_5_line_61 |  | 54 | 83 | 0.010272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_2763-2_0_5_line_62 |  | 55 | 56 | 0.035815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2763-2_0_5_line_63 |  | 56 | 57 | 0.010041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2763-2_0_5_line_64 |  | 58 | 59 | 0.014718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2763-2_0_5_line_65 |  | 58 | 60 | 0.016744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2763-2_0_5_line_66 |  | 59 | 61 | 0.014986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2763-2_0_5_line_67 |  | 60 | 62 | 0.012985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2763-2_0_5_line_68 |  | 63 | 64 | 0.013248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2763-2_0_5_line_69 |  | 64 | 65 | 0.053494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2763-2_0_5_line_70 |  | 65 | 75 | 0.11463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2763-2_0_5_line_71 |  | 67 | 68 | 0.025628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2763-2_0_5_line_72 |  | 67 | 69 | 0.0026491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2763-2_0_5_line_73 |  | 68 | 70 | 0.013636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2763-2_0_5_line_74 |  | 70 | 71 | 0.026399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2763-2_0_5_line_75 |  | 70 | 72 | 0.0094083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2763-2_0_5_line_76 |  | 71 | 73 | 0.0033491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2763-2_0_5_line_77 |  | 72 | 74 | 0.032721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2763-2_0_5_line_78 |  | 73 | 86 | 0.0014838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2763-2_0_5_line_79 |  | 74 | 87 | 0.028344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2763-2_0_5_line_80 |  | 75 | 76 | 0.0261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2763-2_0_5_line_81 |  | 76 | 77 | 0.026629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2763-2_0_5_line_82 |  | 77 | 78 | 0.0013942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2763-2_0_5_line_83 |  | 79 | 80 | 0.00082173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2763-2_0_5_line_84 |  | 79 | 81 | 0.014449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2763-2_0_5_line_85 |  | 80 | 82 | 0.0081144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2763-2_0_5_line_86 |  | 81 | 83 | 0.019685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2763-2_0_5_line_87 |  | 83 | 84 | 0.015708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
88 | LV_2763-2_0_5_line_88 |  | 84 | 85 | 0.0021682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_2763-2_0_5_line_89 |  | 85 | 86 | 0.026057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_2763-2_0_5_line_90 |  | 87 | 93 | 0.023264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2763-2_0_5_line_91 |  | 88 | 89 | 0.0015698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2763-2_0_5_line_92 |  | 89 | 90 | 0.022532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2763-2_0_5_line_93 |  | 93 | 94 | 0.020304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2763-2_0_5_line_94 |  | 93 | 95 | 0.028207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2763-2_0_5_line_95 |  | 94 | 96 | 0.036597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2763-2_0_5_line_96 |  | 95 | 97 | 0.01064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2763-2_0_5_line_97 |  | 96 | 98 | 0.012794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2763-2_0_5_line_98 |  | 98 | 99 | 0.026357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2763-2_0_5_line_99 |  | 98 | 100 | 0.019862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2763-2_0_5_line_100 |  | 99 | 101 | 0.014801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2763-2_0_5_line_101 |  | 100 | 102 | 0.0066199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2763-2_0_5_line_102 |  | 102 | 105 | 0.026805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2763-2_0_5_line_103 |  | 103 | 104 | 0.015793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2763-2_0_5_line_104 |  | 104 | 105 | 0.011397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2763-2_0_5_line_105 |  | 104 | 106 | 0.014112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2763-2_0_5_line_106 |  | 106 | 107 | 0.01078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2763-2_0_5_line_107 |  | 107 | 108 | 0.011339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2763-2_0_5_line_108 |  | 108 | 109 | 0.0090181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2763-2_0_5_trafo_12 | 0.63 MVA 20/0.4 kV | 110 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2613968.1926 | 1260228.8929 | 2613989.9429 | 1260218.4481 | 2614010.4853 | 1260205.799 | 2614029.7241 | 1260189.9336 | 2614050.5466 | 1260176.8183 | 2614071.8494 | 1260169.3846
1 | 2614071.8494 | 1260169.3846 | 2614236.9861 | 1260138.4027
2 | 2613968.1926 | 1260228.8929 | 2613941.5313 | 1260219.0569 | 2613923.4236 | 1260215.4898
3 | 2614236.9861 | 1260138.4027 | 2614258.5152 | 1260163.9494 | 2614275.6404 | 1260178.1335
4 | 2613923.4236 | 1260215.4898 | 2613909.4107 | 1260220.2936 | 2613905.0315 | 1260222.6922
5 | 2614275.6404 | 1260178.1335 | 2614274.4965 | 1260174.3281 | 2614273.1503 | 1260170.0665 | 2614273.954 | 1260164.9093 | 2614273.4495 | 1260161.6059 | 2614274.218 | 1260145.9971 | 2614276.6903 | 1260145.7918 | 2614277.3357 | 1260146.883 | 2614278.8718 | 1260159.9289 | 2614279.6608 | 1260160.887 | 2614282.0858 | 1260155.2668 | 2614282.8727 | 1260144.5614 | 2614283.6193 | 1260144.3186 | 2614288.2355 | 1260155.0926
6 | 2613880.3114 | 1260238.0205 | 2613898.8998 | 1260226.0507 | 2613905.0315 | 1260222.6922
7 | 2613973.881 | 1260427.9414 | 2613973.0031 | 1260432.7314 | 2613968.7994 | 1260456.7372
8 | 2613973.881 | 1260427.9414 | 2613958.8527 | 1260416.2028
9 | 2613973.881 | 1260427.9414 | 2613983.9186 | 1260436.303
10 | 2613965.8827 | 1260478.7933 | 2613967.1294 | 1260466.2737 | 2613968.7994 | 1260456.7372
11 | 2613945.6969 | 1260405.9269 | 2613958.8527 | 1260416.2028
12 | 2613983.9186 | 1260436.303 | 2613992.1114 | 1260443.1279 | 2613996.3604 | 1260446.6659
13 | 2613880.3114 | 1260238.0205 | 2613874.1602 | 1260241.9815 | 2613873.1644 | 1260242.5298
14 | 2613964.5604 | 1260492.0717 | 2613965.8827 | 1260478.7933
15 | 2613945.6969 | 1260405.9269 | 2613943.9053 | 1260408.3688 | 2613938.8945 | 1260415.5634
16 | 2613832.1331 | 1260280.7988 | 2613820.839 | 1260292.9029 | 2613806.1781 | 1260304.5607
17 | 2613845.8873 | 1260257.5483 | 2613832.1331 | 1260280.7988
18 | 2613832.1331 | 1260280.7988 | 2613836.4135 | 1260293.0013
19 | 2613842.0379 | 1260253.7034 | 2613845.8873 | 1260257.5483
20 | 2613845.8873 | 1260257.5483 | 2613850.7178 | 1260254.8887
21 | 2613836.4135 | 1260293.0013 | 2613841.3252 | 1260307.0034
22 | 2613769.6615 | 1260336.1579 | 2613765.6761 | 1260335.7262
23 | 2613769.6615 | 1260336.1579 | 2613780.4672 | 1260345.3513
24 | 2613769.6615 | 1260336.1579 | 2613767.5638 | 1260343.8583 | 2613764.3919 | 1260368.6354
25 | 2613765.6761 | 1260335.7262 | 2613744.2747 | 1260348.2092
26 | 2613780.4672 | 1260345.3513 | 2613783.4998 | 1260347.9313 | 2613794.4683 | 1260359.5056
27 | 2613763.2737 | 1260377.3711 | 2613764.3919 | 1260368.6354
28 | 2613842.0379 | 1260253.7034 | 2613841.3183 | 1260240.8218
29 | 2613842.0379 | 1260253.7034 | 2613831.6234 | 1260253.7125 | 2613819.5695 | 1260256.7826
30 | 2613850.7178 | 1260254.8887 | 2613869.1283 | 1260244.752
31 | 2613862.6825 | 1260347.9028 | 2613851.4394 | 1260335.8366 | 2613841.3252 | 1260307.0034
32 | 2613763.2737 | 1260377.3711 | 2613756.7985 | 1260391.4603
33 | 2613763.2737 | 1260377.3711 | 2613775.2197 | 1260385.2453
34 | 2613841.3183 | 1260240.8218 | 2613840.8371 | 1260232.2083 | 2613838.91 | 1260225.5463
35 | 2613796.6448 | 1260262.6215 | 2613819.5695 | 1260256.7826
36 | 2613869.1283 | 1260244.752 | 2613873.1644 | 1260242.5298
37 | 2613884.9608 | 1260383.0469 | 2613884.199 | 1260376.9076 | 2613882.4479 | 1260371.6778 | 2613878.5376 | 1260364.9196 | 2613867.1797 | 1260352.7293 | 2613862.6825 | 1260347.9028
38 | 2613756.6029 | 1260280.5122 | 2613774.8739 | 1260271.9919
39 | 2613756.6029 | 1260280.5122 | 2613749.8601 | 1260269.6817
40 | 2613774.8739 | 1260271.9919 | 2613792.9495 | 1260263.5627 | 2613795.874 | 1260262.8178
41 | 2613749.8601 | 1260269.6817 | 2613748.9754 | 1260268.2607
42 | 2613741.0106 | 1260411.1536 | 2613755.5863 | 1260394.098 | 2613756.7985 | 1260391.4603
43 | 2613775.2197 | 1260385.2453 | 2613780.1943 | 1260388.5242
44 | 2613855.7622 | 1260424.1845 | 2613846.5536 | 1260414.4672
45 | 2613855.7622 | 1260424.1845 | 2613854.207 | 1260425.7278
46 | 2613855.7622 | 1260424.1845 | 2613876.2122 | 1260402.2617 | 2613883.3097 | 1260393.0721
47 | 2613835.3389 | 1260444.4507 | 2613854.207 | 1260425.7278
48 | 2613883.3097 | 1260393.0721 | 2613884.1811 | 1260387.7816 | 2613884.9608 | 1260383.0469
49 | 2613883.3097 | 1260393.0721 | 2613890.4057 | 1260390.8983 | 2613892.0151 | 1260390.4064
50 | 2613838.91 | 1260225.5463 | 2613834.423 | 1260210.0339 | 2613833.9104 | 1260208.5711
51 | 2613795.874 | 1260262.8178 | 2613796.6448 | 1260262.6215
52 | 2613810.3147 | 1260417.5907 | 2613806.4595 | 1260413.4527
53 | 2613795.6827 | 1260401.8853 | 2613806.4595 | 1260413.4527
54 | 2613810.3147 | 1260417.5907 | 2613822.9697 | 1260431.1741
55 | 2613795.0725 | 1260401.2303 | 2613795.6827 | 1260401.8853
56 | 2613822.9697 | 1260431.1741 | 2613823.0961 | 1260431.3098
57 | 2613780.1943 | 1260388.5242 | 2613788.0731 | 1260393.7175 | 2613795.0725 | 1260401.2303
58 | 2613835.3389 | 1260444.4507 | 2613823.0961 | 1260431.3098
59 | 2613832.4234 | 1260447.3458 | 2613835.3389 | 1260444.4507
60 | 2613832.4234 | 1260447.3458 | 2613847.5143 | 1260462.1346
61 | 2613854.8506 | 1260469.3241 | 2613847.5143 | 1260462.1346
62 | 2613830.5901 | 1260199.0953 | 2613814.018 | 1260209.1191 | 2613808.9039 | 1260211.1864 | 2613803.4057 | 1260209.9506 | 2613799.4626 | 1260206.4157
63 | 2613830.5901 | 1260199.0953 | 2613833.9104 | 1260208.5711
64 | 2613733.276 | 1260243.0439 | 2613741.0548 | 1260255.5385
65 | 2613733.276 | 1260243.0439 | 2613719.2597 | 1260252.2033
66 | 2613741.0548 | 1260255.5385 | 2613748.9754 | 1260268.2607
67 | 2613708.3901 | 1260259.3065 | 2613719.2597 | 1260252.2033
68 | 2613741.0106 | 1260411.1536 | 2613748.5048 | 1260422.0781
69 | 2613777.0816 | 1260467.1974 | 2613769.8273 | 1260453.16 | 2613748.5048 | 1260422.0781
70 | 2613777.0816 | 1260467.1974 | 2613779.002 | 1260470.9155 | 2613783.6107 | 1260488.4492 | 2613786.1805 | 1260501.3862 | 2613778.7031 | 1260554.2826 | 2613777.3709 | 1260569.8567 | 2613785.8658 | 1260575.269
71 | 2613893.5458 | 1260551.4657 | 2613905.1895 | 1260528.6353
72 | 2613893.5458 | 1260551.4657 | 2613892.3422 | 1260553.8257
73 | 2613911.3846 | 1260516.4882 | 2613905.1895 | 1260528.6353
74 | 2613911.3846 | 1260516.4882 | 2613905.9793 | 1260504.6342 | 2613894.9776 | 1260497.0363
75 | 2613911.3846 | 1260516.4882 | 2613919.4649 | 1260521.3073
76 | 2613894.9776 | 1260497.0363 | 2613892.2218 | 1260495.1331
77 | 2613947.3258 | 1260538.4616 | 2613930.513 | 1260527.8963 | 2613919.4649 | 1260521.3073
78 | 2613891.0009 | 1260494.2899 | 2613892.2218 | 1260495.1331
79 | 2613971.3248 | 1260553.5429 | 2613947.3258 | 1260538.4616
80 | 2613785.8658 | 1260575.269 | 2613808.2052 | 1260561.7717
81 | 2613830.9974 | 1260548.0008 | 2613808.2052 | 1260561.7717
82 | 2613832.1906 | 1260547.2798 | 2613830.9974 | 1260548.0008
83 | 2613832.6852 | 1260496.3532 | 2613833.2062 | 1260495.7178
84 | 2613833.2062 | 1260495.7178 | 2613842.3685 | 1260484.5451
85 | 2613827.5398 | 1260502.6276 | 2613832.6852 | 1260496.3532
86 | 2613854.8506 | 1260469.3241 | 2613842.3685 | 1260484.5451
87 | 2613854.8506 | 1260469.3241 | 2613867.7758 | 1260478.2504
88 | 2613867.7758 | 1260478.2504 | 2613869.5599 | 1260479.4825
89 | 2613891.0009 | 1260494.2899 | 2613869.5599 | 1260479.4825
90 | 2613966.4502 | 1260530.7938 | 2613971.3248 | 1260553.5429
91 | 2613933.3245 | 1260436.4631 | 2613932.0332 | 1260435.5705 | 2613932.0332 | 1260435.5705
92 | 2613932.0332 | 1260435.5705 | 2613935.24 | 1260430.5413 | 2613934.0253 | 1260424.779 | 2613934.2725 | 1260422.2 | 2613938.8945 | 1260415.5634
93 | 2613966.4502 | 1260530.7938 | 2613985.3527 | 1260538.2074
94 | 2613966.4502 | 1260530.7938 | 2613964.4995 | 1260514.3447 | 2613964.428 | 1260502.7023
95 | 2613985.3527 | 1260538.2074 | 2613987.4697 | 1260539.0377 | 2614000.6057 | 1260541.4925 | 2614021.3932 | 1260544.1729
96 | 2613964.428 | 1260502.7023 | 2613964.3742 | 1260493.9416 | 2613964.5604 | 1260492.0717
97 | 2614034.1446 | 1260545.1964 | 2614022.8284 | 1260544.358 | 2614021.3932 | 1260544.1729
98 | 2614034.1446 | 1260545.1964 | 2614060.406 | 1260547.4366
99 | 2614034.1446 | 1260545.1964 | 2614037.3844 | 1260542.1797 | 2614037.1886 | 1260538.9549 | 2614033.9432 | 1260527.19
100 | 2614075.1671 | 1260548.5178 | 2614060.8221 | 1260547.4721 | 2614060.406 | 1260547.4366
101 | 2614032.1828 | 1260520.8085 | 2614033.9432 | 1260527.19
102 | 2614032.1828 | 1260520.8085 | 2614032.1828 | 1260520.8085 | 2614045.3981 | 1260497.4877
103 | 2614052.7919 | 1260489.069 | 2614039.5087 | 1260480.5259
104 | 2614052.7919 | 1260489.069 | 2614047.907 | 1260493.0601 | 2614045.3981 | 1260497.4877
105 | 2614052.7919 | 1260489.069 | 2614066.3962 | 1260492.8219
106 | 2614066.3962 | 1260492.8219 | 2614076.7878 | 1260495.6886
107 | 2614076.7878 | 1260495.6886 | 2614087.7186 | 1260498.704
108 | 2614087.7186 | 1260498.704 | 2614091.6572 | 1260499.7905 | 2614096.4862 | 1260500.7949

## bus_geodata
| x | y | coords
0 | 2614071.8494 | 1260169.3846
1 | 2613968.1926 | 1260228.8929
2 | 2614236.9861 | 1260138.4027
3 | 2613923.4236 | 1260215.4898
4 | 2614275.6404 | 1260178.1335
5 | 2614288.2355 | 1260155.0926
6 | 2613905.0315 | 1260222.6922
7 | 2613973.881 | 1260427.9414
8 | 2613968.7994 | 1260456.7372
9 | 2613958.8527 | 1260416.2028
10 | 2613983.9186 | 1260436.303
11 | 2613880.3114 | 1260238.0205
12 | 2613965.8827 | 1260478.7933
13 | 2613945.6969 | 1260405.9269
14 | 2613996.3604 | 1260446.6659
15 | 2613806.1781 | 1260304.5607
16 | 2613832.1331 | 1260280.7988
17 | 2613845.8873 | 1260257.5483
18 | 2613836.4135 | 1260293.0013
19 | 2613769.6615 | 1260336.1579
20 | 2613765.6761 | 1260335.7262
21 | 2613780.4672 | 1260345.3513
22 | 2613764.3919 | 1260368.6354
23 | 2613842.0379 | 1260253.7034
24 | 2613850.7178 | 1260254.8887
25 | 2613841.3252 | 1260307.0034
26 | 2613744.2747 | 1260348.2092
27 | 2613794.4683 | 1260359.5056
28 | 2613763.2737 | 1260377.3711
29 | 2613841.3183 | 1260240.8218
30 | 2613819.5695 | 1260256.7826
31 | 2613869.1283 | 1260244.752
32 | 2613862.6825 | 1260347.9028
33 | 2613756.6029 | 1260280.5122
34 | 2613774.8739 | 1260271.9919
35 | 2613749.8601 | 1260269.6817
36 | 2613756.7985 | 1260391.4603
37 | 2613775.2197 | 1260385.2453
38 | 2613846.5536 | 1260414.4672
39 | 2613855.7622 | 1260424.1845
40 | 2613854.207 | 1260425.7278
41 | 2613883.3097 | 1260393.0721
42 | 2613873.1644 | 1260242.5298
43 | 2613838.91 | 1260225.5463
44 | 2613796.6448 | 1260262.6215
45 | 2613806.4595 | 1260413.4527
46 | 2613810.3147 | 1260417.5907
47 | 2613795.6827 | 1260401.8853
48 | 2613822.9697 | 1260431.1741
49 | 2613795.0725 | 1260401.2303
50 | 2613823.0961 | 1260431.3098
51 | 2613780.1943 | 1260388.5242
52 | 2613835.3389 | 1260444.4507
53 | 2613832.4234 | 1260447.3458
54 | 2613847.5143 | 1260462.1346
55 | 2613799.4626 | 1260206.4157
56 | 2613830.5901 | 1260199.0953
57 | 2613833.9104 | 1260208.5711
58 | 2613733.276 | 1260243.0439
59 | 2613741.0548 | 1260255.5385
60 | 2613719.2597 | 1260252.2033
61 | 2613748.9754 | 1260268.2607
62 | 2613708.3901 | 1260259.3065
63 | 2613741.0106 | 1260411.1537
64 | 2613748.5048 | 1260422.0781
65 | 2613777.0816 | 1260467.1974
66 | 2613795.874 | 1260262.8178
67 | 2613893.5458 | 1260551.4657
68 | 2613905.1895 | 1260528.6353
69 | 2613892.3422 | 1260553.8257
70 | 2613911.3846 | 1260516.4882
71 | 2613894.9776 | 1260497.0363
72 | 2613919.4649 | 1260521.3073
73 | 2613892.2218 | 1260495.1331
74 | 2613947.3258 | 1260538.4616
75 | 2613785.8658 | 1260575.269
76 | 2613808.2052 | 1260561.7717
77 | 2613830.9974 | 1260548.0008
78 | 2613832.1906 | 1260547.2798
79 | 2613833.2062 | 1260495.7178
80 | 2613832.6852 | 1260496.3532
81 | 2613842.3685 | 1260484.5451
82 | 2613827.5398 | 1260502.6276
83 | 2613854.8506 | 1260469.3241
84 | 2613867.7758 | 1260478.2504
85 | 2613869.5599 | 1260479.4825
86 | 2613891.0009 | 1260494.2899
87 | 2613971.3248 | 1260553.5429
88 | 2613933.3245 | 1260436.4631
89 | 2613932.0332 | 1260435.5705
90 | 2613938.8945 | 1260415.5634
91 | 2613892.0151 | 1260390.4064
92 | 2613884.9608 | 1260383.0469
93 | 2613966.4502 | 1260530.7938
94 | 2613985.3527 | 1260538.2074
95 | 2613964.428 | 1260502.7023
96 | 2614021.3932 | 1260544.1729
97 | 2613964.5604 | 1260492.0717
98 | 2614034.1446 | 1260545.1963
99 | 2614060.406 | 1260547.4366
100 | 2614033.9432 | 1260527.19
101 | 2614075.1671 | 1260548.5179
102 | 2614032.1828 | 1260520.8085
103 | 2614039.5087 | 1260480.5259
104 | 2614052.7919 | 1260489.069
105 | 2614045.3981 | 1260497.4877
106 | 2614066.3962 | 1260492.8219
107 | 2614076.7878 | 1260495.6886
108 | 2614087.7186 | 1260498.704
109 | 2614096.4862 | 1260500.7949
110 | 2613769.6615 | 1260336.1579

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1