## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2763-3_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2763-3_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2763-3_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2763-3_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2763-3_0_8_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2763-3_0_8_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_2763-3_0_8_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2763-3_0_8_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_2763-3_0_8_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_2763-3_0_8_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_2763-3_0_8_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_2763-3_0_8_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_2763-3_0_8_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2763-3_0_8_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2763-3_0_8_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2763-3_0_8_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2763-3_0_8_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_2763-3_0_8_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_2763-3_0_8_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2763-3_0_8_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_2763-3_0_8_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_2763-3_0_8_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_2763-3_0_8_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2763-3_0_8_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_2763-3_0_8_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_2763-3_0_8_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_2763-3_0_8_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_2763-3_0_8_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_2763-3_0_8_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_2763-3_0_8_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_2763-3_0_8_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_2763-3_0_8_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_2763-3_0_8_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_2763-3_0_8_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_2763-3_0_8_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_2763-3_0_8_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_2763-3_0_8_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_2763-3_0_8_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_2763-3_0_8_node_72 | 0.4 | n |  | TRUE
39 | bus_LV_2763-3_0_8_node_73 | 0.4 | n |  | TRUE
40 | bus_LV_2763-3_0_8_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_2763-3_0_8_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_2763-3_0_8_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_2763-3_0_8_node_69 | 0.4 | n |  | TRUE
44 | bus_LV_2763-3_0_8_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_2763-3_0_8_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_2763-3_0_8_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_2763-3_0_8_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_2763-3_0_8_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_2763-3_0_8_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_2763-3_0_8_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_2763-3_0_8_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_2763-3_0_8_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_2763-3_0_8_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_2763-3_0_8_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_2763-3_0_8_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_2763-3_0_8_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_2763-3_0_8_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_2763-3_0_8_node_77 | 0.4 | n |  | TRUE
59 | bus_LV_2763-3_0_8_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_2763-3_0_8_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_2763-3_0_8_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_2763-3_0_8_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_2763-3_0_8_node_87 | 0.4 | n |  | TRUE
64 | bus_LV_2763-3_0_8_node_86 | 0.4 | n |  | TRUE
65 | bus_LV_2763-3_0_8_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_2763-3_0_8_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_2763-3_0_8_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_2763-3_0_8_node_88 | 0.4 | n |  | TRUE
69 | bus_LV_2763-3_0_8_node_85 | 0.4 | n |  | TRUE
70 | bus_LV_2763-3_0_8_node_93 | 0.4 | n |  | TRUE
71 | bus_LV_2763-3_0_8_node_94 | 0.4 | n |  | TRUE
72 | bus_LV_2763-3_0_8_node_95 | 0.4 | n |  | TRUE
73 | bus_LV_2763-3_0_8_node_92 | 0.4 | n |  | TRUE
74 | bus_LV_2763-3_0_8_node_96 | 0.4 | n |  | TRUE
75 | bus_LV_2763-3_0_8_node_97 | 0.4 | n |  | TRUE
76 | bus_LV_2763-3_0_8_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_2763-3_0_8_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_2763-3_0_8_node_112 | 0.4 | n |  | TRUE
79 | bus_LV_2763-3_0_8_node_127 | 0.4 | n |  | TRUE
80 | bus_LV_2763-3_0_8_node_110 | 0.4 | n |  | TRUE
81 | bus_LV_2763-3_0_8_node_126 | 0.4 | n |  | TRUE
82 | bus_LV_2763-3_0_8_node_98 | 0.4 | n |  | TRUE
83 | bus_LV_2763-3_0_8_node_99 | 0.4 | n |  | TRUE
84 | bus_LV_2763-3_0_8_node_100 | 0.4 | n |  | TRUE
85 | bus_LV_2763-3_0_8_node_63 | 0.4 | n |  | TRUE
86 | bus_LV_2763-3_0_8_node_101 | 0.4 | n |  | TRUE
87 | bus_LV_2763-3_0_8_node_108 | 0.4 | n |  | TRUE
88 | bus_LV_2763-3_0_8_node_109 | 0.4 | n |  | TRUE
89 | bus_LV_2763-3_0_8_node_107 | 0.4 | n |  | TRUE
90 | bus_LV_2763-3_0_8_node_128 | 0.4 | n |  | TRUE
91 | bus_LV_2763-3_0_8_node_129 | 0.4 | n |  | TRUE
92 | bus_LV_2763-3_0_8_node_64 | 0.4 | n |  | TRUE
93 | bus_LV_2763-3_0_8_node_66 | 0.4 | n |  | TRUE
94 | bus_LV_2763-3_0_8_node_106 | 0.4 | n |  | TRUE
95 | bus_LV_2763-3_0_8_node_103 | 0.4 | n |  | TRUE
96 | bus_LV_2763-3_0_8_node_67 | 0.4 | n |  | TRUE
97 | bus_LV_2763-3_0_8_node_104 | 0.4 | n |  | TRUE
98 | bus_LV_2763-3_0_8_node_102 | 0.4 | n |  | TRUE
99 | bus_LV_2763-3_0_8_node_83 | 0.4 | n |  | TRUE
100 | bus_LV_2763-3_0_8_node_105 | 0.4 | n |  | TRUE
101 | bus_LV_2763-3_0_8_node_113 | 0.4 | n |  | TRUE
102 | bus_LV_2763-3_0_8_node_114 | 0.4 | n |  | TRUE
103 | bus_LV_2763-3_0_8_node_115 | 0.4 | n |  | TRUE
104 | bus_LV_2763-3_0_8_node_118 | 0.4 | n |  | TRUE
105 | bus_LV_2763-3_0_8_node_116 | 0.4 | n |  | TRUE
106 | bus_LV_2763-3_0_8_node_81 | 0.4 | n |  | TRUE
107 | bus_LV_2763-3_0_8_node_80 | 0.4 | n |  | TRUE
108 | bus_LV_2763-3_0_8_node_74 | 0.4 | n |  | TRUE
109 | bus_LV_2763-3_0_8_node_75 | 0.4 | n |  | TRUE
110 | bus_LV_2763-3_0_8_node_76 | 0.4 | n |  | TRUE
111 | bus_LV_2763-3_0_8_node_78 | 0.4 | n |  | TRUE
112 | bus_LV_2763-3_0_8_node_119 | 0.4 | n |  | TRUE
113 | bus_LV_2763-3_0_8_node_111 | 0.4 | n |  | TRUE
114 | bus_LV_2763-3_0_8_node_130 | 0.4 | n |  | TRUE
115 | bus_LV_2763-3_0_8_node_89 | 0.4 | n |  | TRUE
116 | bus_LV_2763-3_0_8_node_90 | 0.4 | n |  | TRUE
117 | bus_LV_2763-3_0_8_node_91 | 0.4 | n |  | TRUE
118 | bus_LV_2763-3_0_8_node_117 | 0.4 | n |  | TRUE
119 | bus_LV_2763-3_0_8_node_123 | 0.4 | n |  | TRUE
120 | bus_LV_2763-3_0_8_node_120 | 0.4 | n |  | TRUE
121 | bus_LV_2763-3_0_8_node_121 | 0.4 | n |  | TRUE
122 | bus_LV_2763-3_0_8_node_124 | 0.4 | n |  | TRUE
123 | bus_LV_2763-3_0_8_node_122 | 0.4 | n |  | TRUE
124 | bus_MV_520_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2763-3_0_8_load_0 | 0 | 0.013945 | 0.003495 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2763-3_0_8_load_1 | 1 | 0.00078871 | 0.00019767 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2763-3_0_8_load_2 | 2 | 0.00078871 | 0.00019767 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2763-3_0_8_load_3 | 3 | 0.00090991 | 0.00022805 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2763-3_0_8_load_5 | 4 | 0.00090902 | 0.00022782 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2763-3_0_8_load_22 | 5 | 0.00090697 | 0.00022731 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2763-3_0_8_load_29 | 7 | 0.0082427 | 0.0020658 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2763-3_0_8_load_21 | 9 | 0.0028638 | 0.00071773 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2763-3_0_8_load_12 | 11 | 0.0046743 | 0.0011715 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2763-3_0_8_load_10 | 12 | 0.016841 | 0.0042207 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2763-3_0_8_load_7 | 13 | 0.016305 | 0.0040863 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2763-3_0_8_load_8 | 14 | 0.071719 | 0.017974 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2763-3_0_8_load_9 | 15 | 0.016312 | 0.0040881 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2763-3_0_8_load_31 | 16 | 0.0044884 | 0.0011249 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2763-3_0_8_load_32 | 17 | 0.0026287 | 0.0006588 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2763-3_0_8_load_13 | 18 | 0.0034957 | 0.00087609 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2763-3_0_8_load_14 | 19 | 0.0019811 | 0.00049651 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2763-3_0_8_load_15 | 20 | 0.0021206 | 0.00053148 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2763-3_0_8_load_17 | 21 | 0.0028627 | 0.00071746 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2763-3_0_8_load_18 | 23 | 0.0082674 | 0.002072 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2763-3_0_8_load_19 | 24 | 0.0049015 | 0.0012284 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2763-3_0_8_load_20 | 25 | 0.0024365 | 0.00061066 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2763-3_0_8_load_36 | 26 | 0.0034812 | 0.00087246 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2763-3_0_8_load_37 | 27 | 0.007073 | 0.0017727 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2763-3_0_8_load_30 | 29 | 0.0055398 | 0.0013884 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2763-3_0_8_load_26 | 31 | 0.0018754 | 0.00047001 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2763-3_0_8_load_23 | 32 | 0.00087113 | 0.00021832 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2763-3_0_8_load_24 | 33 | 0.00087091 | 0.00021827 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2763-3_0_8_load_25 | 34 | 0.0028628 | 0.00071748 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2763-3_0_8_load_33 | 35 | 0.0025725 | 0.00064473 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2763-3_0_8_load_34 | 36 | 0.0018535 | 0.00046453 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2763-3_0_8_load_35 | 37 | 0.0052158 | 0.0013072 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2763-3_0_8_load_72 | 38 | 0.0043719 | 0.0010957 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2763-3_0_8_load_73 | 39 | 0.0022847 | 0.00057259 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2763-3_0_8_load_39 | 40 | 0.0059351 | 0.0014875 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2763-3_0_8_load_40 | 41 | 0.0046835 | 0.0011738 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2763-3_0_8_load_68 | 42 | 0.005151 | 0.001291 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2763-3_0_8_load_69 | 43 | 0.024135 | 0.0060488 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2763-3_0_8_load_41 | 44 | 0.017611 | 0.0044136 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2763-3_0_8_load_42 | 45 | 0.012382 | 0.0031031 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2763-3_0_8_load_44 | 47 | 0.018085 | 0.0045324 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2763-3_0_8_load_45 | 48 | 0.024883 | 0.0062363 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2763-3_0_8_load_82 | 51 | 0.069264 | 0.017359 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2763-3_0_8_load_50 | 55 | 0.0094975 | 0.0023803 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2763-3_0_8_load_79 | 56 | 0.0028592 | 0.00071657 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2763-3_0_8_load_60 | 57 | 0.0068002 | 0.0017043 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2763-3_0_8_load_54 | 60 | 0.0032184 | 0.00080661 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2763-3_0_8_load_87 | 63 | 0.001404 | 0.00035188 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2763-3_0_8_load_86 | 64 | 0.0015351 | 0.00038474 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2763-3_0_8_load_61 | 66 | 0.0017747 | 0.00044478 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2763-3_0_8_load_62 | 67 | 0.0009089 | 0.00022779 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2763-3_0_8_load_88 | 68 | 0.0027179 | 0.00068118 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2763-3_0_8_load_85 | 69 | 0.0013128 | 0.00032902 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2763-3_0_8_load_94 | 71 | 0.00098792 | 0.0002476 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2763-3_0_8_load_95 | 72 | 0.0030626 | 0.00076756 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2763-3_0_8_load_92 | 73 | 0.002885 | 0.00072306 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2763-3_0_8_load_96 | 74 | 0.0026684 | 0.00066877 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2763-3_0_8_load_97 | 75 | 0.0010345 | 0.00025928 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2763-3_0_8_load_84 | 76 | 0.0019159 | 0.00048018 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2763-3_0_8_load_65 | 77 | 0.00083815 | 0.00021006 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2763-3_0_8_load_112 | 78 | 0.0032929 | 0.00082528 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2763-3_0_8_load_127 | 79 | 0.0026515 | 0.00066453 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2763-3_0_8_load_126 | 81 | 0.002599 | 0.00065137 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2763-3_0_8_load_98 | 82 | 0.0026883 | 0.00067376 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2763-3_0_8_load_99 | 83 | 0.0049125 | 0.0012312 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2763-3_0_8_load_100 | 84 | 0.002206 | 0.00055288 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2763-3_0_8_load_63 | 85 | 0.00084882 | 0.00021273 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2763-3_0_8_load_108 | 87 | 0.0032557 | 0.00081594 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2763-3_0_8_load_109 | 88 | 0.0020625 | 0.00051692 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2763-3_0_8_load_107 | 89 | 0.0051201 | 0.0012832 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2763-3_0_8_load_129 | 91 | 0.0037934 | 0.00095072 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2763-3_0_8_load_64 | 92 | 0.00077918 | 0.00019528 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2763-3_0_8_load_66 | 93 | 0.0017299 | 0.00043355 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2763-3_0_8_load_106 | 94 | 0.0013932 | 0.00034916 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2763-3_0_8_load_103 | 95 | 0.0017774 | 0.00044545 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2763-3_0_8_load_67 | 96 | 0.0014425 | 0.00036153 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2763-3_0_8_load_104 | 97 | 0.0054515 | 0.0013663 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2763-3_0_8_load_83 | 99 | 0.0022409 | 0.00056163 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2763-3_0_8_load_105 | 100 | 0.0069803 | 0.0017494 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2763-3_0_8_load_113 | 101 | 0.0019096 | 0.0004786 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2763-3_0_8_load_114 | 102 | 0.0046287 | 0.0011601 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2763-3_0_8_load_115 | 103 | 0.0049432 | 0.0012389 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2763-3_0_8_load_118 | 104 | 0.0023146 | 0.0005801 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2763-3_0_8_load_116 | 105 | 0.0021918 | 0.00054933 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2763-3_0_8_load_81 | 106 | 0.016953 | 0.0042489 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2763-3_0_8_load_74 | 108 | 0.0010749 | 0.00026938 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2763-3_0_8_load_75 | 109 | 0.0016764 | 0.00042015 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2763-3_0_8_load_76 | 110 | 0.0031685 | 0.00079411 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2763-3_0_8_load_78 | 111 | 0.0025228 | 0.00063226 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2763-3_0_8_load_119 | 112 | 0.00247 | 0.00061904 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2763-3_0_8_load_111 | 113 | 0.0041929 | 0.0010508 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2763-3_0_8_load_130 | 114 | 0.0036392 | 0.00091208 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2763-3_0_8_load_89 | 115 | 0.00058864 | 0.00014753 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2763-3_0_8_load_90 | 116 | 0.0019416 | 0.0004866 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2763-3_0_8_load_91 | 117 | 0.0015659 | 0.00039246 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2763-3_0_8_load_117 | 118 | 0.0025565 | 0.00064072 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2763-3_0_8_load_123 | 119 | 0.0019816 | 0.00049663 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2763-3_0_8_load_120 | 120 | 0.0021929 | 0.00054959 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2763-3_0_8_load_121 | 121 | 0.0021184 | 0.00053093 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2763-3_0_8_load_124 | 122 | 0.0041751 | 0.0010464 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_2763-3_0_8_load_122 | 123 | 0.0010301 | 0.00025816 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2763-3_0_8_line_0 |  | 0 | 1 | 0.0022369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2763-3_0_8_line_1 |  | 0 | 2 | 0.0036939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2763-3_0_8_line_2 |  | 1 | 3 | 0.017454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2763-3_0_8_line_3 |  | 3 | 4 | 0.0063389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2763-3_0_8_line_4 |  | 4 | 5 | 0.0063561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2763-3_0_8_line_5 |  | 5 | 9 | 0.0020817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2763-3_0_8_line_6 |  | 6 | 7 | 0.035136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_2763-3_0_8_line_7 |  | 6 | 8 | 0.033814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_2763-3_0_8_line_8 |  | 7 | 10 | 0.012652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2763-3_0_8_line_9 |  | 8 | 11 | 0.022407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_2763-3_0_8_line_10 |  | 8 | 12 | 0.036757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2763-3_0_8_line_11 |  | 9 | 32 | 0.024898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2763-3_0_8_line_12 |  | 10 | 29 | 0.0046638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2763-3_0_8_line_13 |  | 10 | 28 | 0.029116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2763-3_0_8_line_14 |  | 11 | 16 | 0.01599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_2763-3_0_8_line_15 |  | 12 | 15 | 0.015265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2763-3_0_8_line_16 |  | 13 | 14 | 0.01497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2763-3_0_8_line_17 |  | 13 | 15 | 0.00069896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2763-3_0_8_line_18 |  | 16 | 17 | 0.0065835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_2763-3_0_8_line_19 |  | 17 | 35 | 0.029123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_2763-3_0_8_line_20 |  | 18 | 19 | 0.013295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2763-3_0_8_line_21 |  | 18 | 20 | 0.0054828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2763-3_0_8_line_22 |  | 20 | 21 | 0.022721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2763-3_0_8_line_23 |  | 21 | 25 | 0.002682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2763-3_0_8_line_24 |  | 22 | 23 | 0.009039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2763-3_0_8_line_25 |  | 22 | 24 | 0.0079026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2763-3_0_8_line_26 |  | 23 | 26 | 0.021932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2763-3_0_8_line_27 |  | 24 | 27 | 0.012923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2763-3_0_8_line_28 |  | 25 | 28 | 0.022211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2763-3_0_8_line_29 |  | 26 | 29 | 0.031752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2763-3_0_8_line_30 |  | 27 | 30 | 0.020537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2763-3_0_8_line_31 |  | 28 | 31 | 0.032354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2763-3_0_8_line_32 |  | 30 | 40 | 0.017469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2763-3_0_8_line_33 |  | 31 | 34 | 0.023642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2763-3_0_8_line_34 |  | 32 | 33 | 0.00011796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2763-3_0_8_line_35 |  | 33 | 34 | 0.0071264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2763-3_0_8_line_36 |  | 35 | 36 | 0.025699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_2763-3_0_8_line_37 |  | 36 | 37 | 0.0040487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_2763-3_0_8_line_38 |  | 37 | 38 | 0.024522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_2763-3_0_8_line_39 |  | 38 | 39 | 0.0048627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_2763-3_0_8_line_40 |  | 39 | 108 | 0.013838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_2763-3_0_8_line_41 |  | 40 | 41 | 0.0080815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2763-3_0_8_line_42 |  | 41 | 42 | 0.030036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2763-3_0_8_line_43 |  | 42 | 43 | 0.015535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2763-3_0_8_line_44 |  | 44 | 45 | 0.019194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_2763-3_0_8_line_45 |  | 44 | 46 | 0.029332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_2763-3_0_8_line_46 |  | 45 | 47 | 0.02202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_2763-3_0_8_line_47 |  | 46 | 48 | 0.013331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_2763-3_0_8_line_48 |  | 47 | 49 | 0.02706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_2763-3_0_8_line_49 |  | 48 | 50 | 0.039742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_2763-3_0_8_line_50 |  | 49 | 56 | 0.025168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_2763-3_0_8_line_51 |  | 50 | 51 | 0.008604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_2763-3_0_8_line_52 |  | 51 | 54 | 0.009666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_2763-3_0_8_line_53 |  | 52 | 53 | 0.039307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_2763-3_0_8_line_54 |  | 52 | 54 | 0.025225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_2763-3_0_8_line_55 |  | 52 | 55 | 0.002482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2763-3_0_8_line_56 |  | 53 | 57 | 0.0078632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_2763-3_0_8_line_57 |  | 56 | 58 | 0.036071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_2763-3_0_8_line_58 |  | 57 | 59 | 0.017918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_2763-3_0_8_line_59 |  | 58 | 111 | 0.019977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2763-3_0_8_line_60 |  | 58 | 110 | 0.020134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_2763-3_0_8_line_61 |  | 59 | 61 | 0.013316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_2763-3_0_8_line_62 |  | 60 | 61 | 0.0047242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2763-3_0_8_line_63 |  | 61 | 62 | 0.017338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_2763-3_0_8_line_64 |  | 62 | 63 | 0.01438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2763-3_0_8_line_65 |  | 62 | 64 | 0.016255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_2763-3_0_8_line_66 |  | 63 | 68 | 0.00061533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2763-3_0_8_line_67 |  | 64 | 69 | 0.0028599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_2763-3_0_8_line_68 |  | 65 | 66 | 0.003553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_2763-3_0_8_line_69 |  | 65 | 67 | 0.017162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_2763-3_0_8_line_70 |  | 66 | 76 | 0.0068211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_2763-3_0_8_line_71 |  | 67 | 77 | 0.019961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_2763-3_0_8_line_72 |  | 69 | 76 | 0.01465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_2763-3_0_8_line_73 |  | 70 | 71 | 0.016479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2763-3_0_8_line_74 |  | 70 | 72 | 0.017416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2763-3_0_8_line_75 |  | 70 | 73 | 0.016981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2763-3_0_8_line_76 |  | 71 | 74 | 0.017899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2763-3_0_8_line_77 |  | 72 | 75 | 0.014003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2763-3_0_8_line_78 |  | 73 | 117 | 0.0042759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2763-3_0_8_line_79 |  | 74 | 82 | 0.021827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2763-3_0_8_line_80 |  | 75 | 114 | 0.0054454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2763-3_0_8_line_81 |  | 77 | 85 | 0.0097187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_2763-3_0_8_line_82 |  | 78 | 79 | 0.011763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2763-3_0_8_line_83 |  | 78 | 80 | 0.015762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2763-3_0_8_line_84 |  | 79 | 81 | 0.0042068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2763-3_0_8_line_85 |  | 80 | 113 | 0.0092465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2763-3_0_8_line_86 |  | 80 | 88 | 0.03105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2763-3_0_8_line_87 |  | 81 | 90 | 0.032502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2763-3_0_8_line_88 |  | 82 | 83 | 0.0026155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2763-3_0_8_line_89 |  | 83 | 84 | 0.025737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2763-3_0_8_line_90 |  | 84 | 86 | 0.012923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2763-3_0_8_line_91 |  | 85 | 92 | 0.024317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_2763-3_0_8_line_92 |  | 86 | 95 | 0.0023228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2763-3_0_8_line_93 |  | 87 | 88 | 0.013897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2763-3_0_8_line_94 |  | 87 | 89 | 0.01933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2763-3_0_8_line_95 |  | 89 | 97 | 0.0071677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2763-3_0_8_line_96 |  | 90 | 91 | 0.056283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2763-3_0_8_line_97 |  | 92 | 93 | 0.054171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_2763-3_0_8_line_98 |  | 93 | 96 | 0.0026978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_2763-3_0_8_line_99 |  | 94 | 95 | 0.019379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2763-3_0_8_line_100 |  | 96 | 99 | 0.020336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_2763-3_0_8_line_101 |  | 97 | 98 | 0.0099801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2763-3_0_8_line_102 |  | 98 | 100 | 0.040735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_2763-3_0_8_line_103 |  | 99 | 104 | 0.012563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
104 | LV_2763-3_0_8_line_104 |  | 100 | 101 | 0.014793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
105 | LV_2763-3_0_8_line_105 |  | 101 | 102 | 0.017421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
106 | LV_2763-3_0_8_line_106 |  | 102 | 103 | 0.013233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
107 | LV_2763-3_0_8_line_107 |  | 103 | 105 | 0.045518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
108 | LV_2763-3_0_8_line_108 |  | 104 | 112 | 0.0054014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
109 | LV_2763-3_0_8_line_109 |  | 105 | 118 | 0.038514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
110 | LV_2763-3_0_8_line_110 |  | 106 | 107 | 0.030364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2763-3_0_8_line_111 |  | 107 | 111 | 0.029076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2763-3_0_8_line_112 |  | 108 | 109 | 0.011242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
113 | LV_2763-3_0_8_line_113 |  | 109 | 110 | 0.01169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
114 | LV_2763-3_0_8_line_114 |  | 112 | 120 | 0.020975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
115 | LV_2763-3_0_8_line_115 |  | 113 | 114 | 0.0068106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_2763-3_0_8_line_116 |  | 115 | 116 | 0.013688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_2763-3_0_8_line_117 |  | 115 | 117 | 0.020486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_2763-3_0_8_line_118 |  | 118 | 119 | 0.058237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
119 | LV_2763-3_0_8_line_119 |  | 119 | 122 | 0.01091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_2763-3_0_8_line_120 |  | 119 | 123 | 0.015466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
121 | LV_2763-3_0_8_line_121 |  | 120 | 121 | 0.0012419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
122 | LV_2763-3_0_8_line_122 |  | 121 | 123 | 0.011096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2763-3_0_8_trafo_42 | 0.63 MVA 20/0.4 kV | 124 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2612771.2275 | 1259872.576 | 2612771.3589 | 1259874.809
1 | 2612771.2275 | 1259872.576 | 2612771.0106 | 1259868.8885
2 | 2612771.3589 | 1259874.809 | 2612772.0234 | 1259886.1036 | 2612771.2151 | 1259886.9913 | 2612771.2993 | 1259889.8713 | 2612769.7748 | 1259890.902 | 2612769.7854 | 1259891.1198
3 | 2612769.7854 | 1259891.1198 | 2612770.0945 | 1259897.4512
4 | 2612770.0945 | 1259897.4512 | 2612770.4045 | 1259903.7997
5 | 2612770.4045 | 1259903.7997 | 2612770.4317 | 1259904.357 | 2612771.9541 | 1259904.2935 | 2612771.9541 | 1259904.2935
6 | 2612802.9911 | 1259909.9752 | 2612803.6294 | 1259921.54 | 2612804.927 | 1259945.0578
7 | 2612802.9911 | 1259909.9752 | 2612807.257 | 1259909.7954 | 2612821.8636 | 1259909.1598 | 2612827.3981 | 1259911.3065 | 2612833.6616 | 1259917.8689
8 | 2612805.624 | 1259957.691 | 2612804.927 | 1259945.0578
9 | 2612833.6616 | 1259917.8689 | 2612849.5325 | 1259933.6863
10 | 2612833.6616 | 1259917.8689 | 2612850.3875 | 1259902.528 | 2612852.8599 | 1259898.7975 | 2612854.2975 | 1259892.652 | 2612854.4404 | 1259889.3805
11 | 2612773.2475 | 1259929.1581 | 2612771.9541 | 1259904.2935
12 | 2612805.624 | 1259957.691 | 2612805.9303 | 1259962.3448
13 | 2612805.624 | 1259957.691 | 2612776.4996 | 1259959.8298
14 | 2612849.5325 | 1259933.6863 | 2612860.8584 | 1259944.9739
15 | 2612854.4404 | 1259889.3805 | 2612855.1063 | 1259874.1301
16 | 2612854.5876 | 1259873.6615 | 2612843.4787 | 1259863.6264
17 | 2612854.5876 | 1259873.6615 | 2612855.1063 | 1259874.1301 | 2612855.1063 | 1259874.1301
18 | 2612865.5215 | 1259949.6213 | 2612860.8584 | 1259944.9739
19 | 2612865.5215 | 1259949.6213 | 2612886.1493 | 1259970.1795
20 | 2612783.3682 | 1260023.217 | 2612782.437 | 1260009.9547
21 | 2612782.053 | 1260004.4854 | 2612782.437 | 1260009.9547
22 | 2612782.053 | 1260004.4854 | 2612780.4616 | 1259981.8199
23 | 2612777.7859 | 1259982.0031 | 2612780.4616 | 1259981.8199 | 2612780.4616 | 1259981.8199
24 | 2612813.1517 | 1260024.5191 | 2612811.3649 | 1260015.6585
25 | 2612813.1517 | 1260024.5191 | 2612814.7118 | 1260032.2662
26 | 2612808.0157 | 1259994.0281 | 2612808.5063 | 1260001.4824 | 2612811.3649 | 1260015.6585
27 | 2612817.6667 | 1260044.8129 | 2612816.8276 | 1260042.7728 | 2612814.7118 | 1260032.2662
28 | 2612776.4996 | 1259959.8298 | 2612777.7859 | 1259982.0031
29 | 2612805.9303 | 1259962.3448 | 2612808.0157 | 1259994.0281
30 | 2612825.4788 | 1260063.8057 | 2612817.6667 | 1260044.8129
31 | 2612776.4996 | 1259959.8298 | 2612759.518 | 1259961.0831 | 2612758.85 | 1259945.7713
32 | 2612825.4788 | 1260063.8057 | 2612826.9706 | 1260067.4225 | 2612832.5049 | 1260079.7976
33 | 2612758.85 | 1259945.7713 | 2612774.0601 | 1259944.781 | 2612773.6238 | 1259936.3927
34 | 2612773.2536 | 1259929.2759 | 2612773.2475 | 1259929.1581
35 | 2612773.2536 | 1259929.2759 | 2612773.6238 | 1259936.3927
36 | 2612886.1493 | 1259970.1795 | 2612904.3519 | 1259988.3207
37 | 2612907.2197 | 1259991.1787 | 2612904.3519 | 1259988.3207
38 | 2612907.2197 | 1259991.1787 | 2612914.9669 | 1259998.8998 | 2612924.7679 | 1260008.3062
39 | 2612924.7679 | 1260008.3062 | 2612928.2762 | 1260011.6733
40 | 2612928.2762 | 1260011.6733 | 2612938.2602 | 1260021.2553
41 | 2612832.5049 | 1260079.7976 | 2612833.5555 | 1260082.1466 | 2612836.6342 | 1260086.7142
42 | 2612853.8835 | 1260111.2677 | 2612850.6901 | 1260107.5675 | 2612836.6342 | 1260086.7142
43 | 2612853.8835 | 1260111.2677 | 2612864.0332 | 1260123.0284
44 | 2612980.1389 | 1259922.0443 | 2612978.9282 | 1259941.2002
45 | 2612975.2051 | 1259894.438 | 2612977.6865 | 1259896.9563 | 2612979.3537 | 1259899.6284 | 2612980.3726 | 1259902.388 | 2612980.9454 | 1259909.2828 | 2612980.1389 | 1259922.0443
46 | 2612978.9282 | 1259941.2002 | 2612977.5393 | 1259963.176
47 | 2612975.2051 | 1259894.438 | 2612972.8868 | 1259893.1321 | 2612970.8104 | 1259891.4709 | 2612969.0361 | 1259889.499 | 2612967.5941 | 1259887.2499 | 2612966.5444 | 1259884.7904 | 2612966.5418 | 1259884.7782
48 | 2612975.8325 | 1259990.182 | 2612977.5393 | 1259963.176
49 | 2612967.6633 | 1259845.166 | 2612965.7036 | 1259872.925 | 2612965.9925 | 1259882.1207 | 2612966.5418 | 1259884.7782
50 | 2612975.8325 | 1259990.182 | 2612973.1607 | 1260015.2082
51 | 2612968.2699 | 1259836.5837 | 2612967.6633 | 1259845.166
52 | 2612968.9918 | 1259826.9454 | 2612968.2699 | 1259836.5837
53 | 2612986.5484 | 1259835.2227 | 2612990.5143 | 1259837.8443 | 2612995.8318 | 1259846.1837 | 2612995.5128 | 1259850.7417 | 2612994.1827 | 1259869.6849 | 2612995.2828 | 1259869.7652
54 | 2612968.9918 | 1259826.9454 | 2612974.4095 | 1259830.8043 | 2612986.2683 | 1259839.2359 | 2612986.5484 | 1259835.2227
55 | 2612986.5484 | 1259835.2227 | 2612986.7279 | 1259832.7472
56 | 2612995.2828 | 1259869.7652 | 2612996.4281 | 1259869.8566 | 2612996.9112 | 1259863.1597
57 | 2612969.3316 | 1260051.0758 | 2612973.1607 | 1260015.2082
58 | 2612998.2001 | 1259845.2883 | 2612996.9112 | 1259863.1597
59 | 2612969.3316 | 1260051.0758 | 2612967.0253 | 1260070.9187
60 | 2612969.3316 | 1260051.0758 | 2612954.8056 | 1260037.1346
61 | 2613011.5145 | 1259846.3404 | 2612998.2001 | 1259845.2883
62 | 2613011.5145 | 1259846.3404 | 2613011.2298 | 1259851.056
63 | 2613017.0959 | 1259833.9442 | 2613012.6051 | 1259833.5563 | 2613011.5145 | 1259846.3404
64 | 2613017.0959 | 1259833.9442 | 2613018.085 | 1259819.5981
65 | 2613017.0959 | 1259833.9442 | 2613015.978 | 1259850.1607
66 | 2613018.1274 | 1259818.9842 | 2613018.085 | 1259819.5981
67 | 2613015.7813 | 1259853.0138 | 2613015.978 | 1259850.1607
68 | 2613014.0603 | 1259877.9785 | 2613014.3046 | 1259874.4339
69 | 2613014.0603 | 1259877.9785 | 2613013.2974 | 1259889.0954 | 2613012.875 | 1259895.0999
70 | 2613014.3046 | 1259874.4339 | 2613014.7738 | 1259867.6289
71 | 2613011.4744 | 1259915.0114 | 2613012.875 | 1259895.0999
72 | 2613014.7738 | 1259867.6289 | 2613015.7813 | 1259853.0138
73 | 2613164.0838 | 1259837.548 | 2613153.5302 | 1259850.2043
74 | 2613164.0838 | 1259837.548 | 2613168.9192 | 1259845.6531 | 2613173.7098 | 1259852.0323
75 | 2613164.0838 | 1259837.548 | 2613156.3247 | 1259822.4429 | 2613156.3247 | 1259822.4429
76 | 2613153.5302 | 1259850.2043 | 2613142.0673 | 1259863.9512
77 | 2613182.1185 | 1259863.2294 | 2613173.7098 | 1259852.0323
78 | 2613156.3247 | 1259822.4429 | 2613154.6824 | 1259818.495
79 | 2613142.0673 | 1259863.9512 | 2613128.0885 | 1259880.7151
80 | 2613182.1185 | 1259863.2294 | 2613185.3884 | 1259867.5837
81 | 2613010.7925 | 1259924.7062 | 2613011.4744 | 1259915.0114
82 | 2613205.5496 | 1259892.0945 | 2613214.4431 | 1259899.7935
83 | 2613195.0306 | 1259880.4234 | 2613202.0653 | 1259889.0783 | 2613205.5496 | 1259892.0945
84 | 2613217.6237 | 1259902.5469 | 2613214.4431 | 1259899.7935
85 | 2613195.0306 | 1259880.4234 | 2613189.4781 | 1259873.0297
86 | 2613195.0306 | 1259880.4234 | 2613174.122 | 1259903.3783
87 | 2613246.6552 | 1259917.0631 | 2613233.3591 | 1259911.3184 | 2613217.7106 | 1259902.6222 | 2613217.6237 | 1259902.5469
88 | 2613126.4135 | 1259882.7238 | 2613128.0885 | 1259880.7151
89 | 2613126.4135 | 1259882.7238 | 2613109.9312 | 1259902.4901
90 | 2613102.7529 | 1259912.9191 | 2613103.1347 | 1259910.6407 | 2613109.9312 | 1259902.4901
91 | 2613010.7925 | 1259924.7062 | 2613009.486 | 1259943.2793 | 2613011.4403 | 1259948.6319
92 | 2613102.7529 | 1259912.9191 | 2613102.3644 | 1259915.2092
93 | 2613164.7638 | 1259913.6523 | 2613174.122 | 1259903.3783
94 | 2613154.1661 | 1259929.7957 | 2613163.83 | 1259914.6775 | 2613164.7638 | 1259913.6523
95 | 2613154.1661 | 1259929.7957 | 2613150.3057 | 1259935.835
96 | 2613246.6552 | 1259917.0631 | 2613228.8813 | 1259942.3406 | 2613220.6612 | 1259955.0198 | 2613216.4879 | 1259964.4058
97 | 2613011.4403 | 1259948.6319 | 2613018.1683 | 1259967.0589 | 2613025.8048 | 1259990.0579 | 2613025.0661 | 1260000.3516
98 | 2613025.0661 | 1260000.3516 | 2613024.873 | 1260003.0425
99 | 2613093.3958 | 1259932.0893 | 2613101.6762 | 1259919.2655 | 2613102.3644 | 1259915.2092
100 | 2613023.4174 | 1260023.3269 | 2613024.873 | 1260003.0425
101 | 2613144.9316 | 1259944.2446 | 2613145.3702 | 1259943.5562 | 2613150.3057 | 1259935.835
102 | 2613144.9316 | 1259944.2446 | 2613122.999 | 1259978.5706
103 | 2613023.4174 | 1260023.3269 | 2613023.3095 | 1260024.8315 | 2613022.4237 | 1260035.8509
104 | 2613122.999 | 1259978.5706 | 2613115.0343 | 1259991.0359
105 | 2613115.0343 | 1259991.0359 | 2613109.7442 | 1259999.3153 | 2613106.5232 | 1260006.1939
106 | 2613106.5232 | 1260006.1939 | 2613100.9114 | 1260018.1781
107 | 2613100.9114 | 1260018.1781 | 2613094.843 | 1260031.1374 | 2613086.0308 | 1260061.0759
108 | 2613021.9909 | 1260041.235 | 2613022.4237 | 1260035.8509
109 | 2613086.0308 | 1260061.0759 | 2613078.078 | 1260088.0946 | 2613075.758 | 1260098.1801
110 | 2612960.1996 | 1260098.6547 | 2612948.467 | 1260108.5915 | 2612936.7021 | 1260117.8787
111 | 2612960.1996 | 1260098.6547 | 2612964.238 | 1260092.1703 | 2612965.5759 | 1260083.3895 | 2612967.0253 | 1260070.9187
112 | 2612938.2602 | 1260021.2553 | 2612946.3714 | 1260029.04
113 | 2612946.3714 | 1260029.04 | 2612954.8056 | 1260037.1346
114 | 2613021.9909 | 1260041.235 | 2613020.3103 | 1260062.1424
115 | 2613189.4781 | 1259873.0297 | 2613185.3884 | 1259867.5837
116 | 2613146.814 | 1259799.5808 | 2613141.5568 | 1259786.9432
117 | 2613146.814 | 1259799.5808 | 2613154.6824 | 1259818.495
118 | 2613018.1184 | 1260089.8595 | 2613075.758 | 1260098.1801
119 | 2613017.5199 | 1260100.7528 | 2613018.1184 | 1260089.8595
120 | 2613019.3217 | 1260074.4409 | 2613018.1963 | 1260088.4412 | 2613018.1184 | 1260089.8595
121 | 2613020.3103 | 1260062.1424 | 2613020.2108 | 1260063.3803
122 | 2613019.3217 | 1260074.4409 | 2613020.2108 | 1260063.3803

## bus_geodata
| x | y | coords
0 | 2612771.2275 | 1259872.576
1 | 2612771.3589 | 1259874.809
2 | 2612771.0106 | 1259868.8885
3 | 2612769.7854 | 1259891.1198
4 | 2612770.0945 | 1259897.4512
5 | 2612770.4045 | 1259903.7997
6 | 2612802.9911 | 1259909.9752
7 | 2612804.927 | 1259945.0578
8 | 2612833.6616 | 1259917.8689
9 | 2612771.9541 | 1259904.2935
10 | 2612805.624 | 1259957.691
11 | 2612849.5325 | 1259933.6863
12 | 2612854.4404 | 1259889.3805
13 | 2612854.5876 | 1259873.6615
14 | 2612843.4787 | 1259863.6264
15 | 2612855.1063 | 1259874.1301
16 | 2612860.8584 | 1259944.9739
17 | 2612865.5215 | 1259949.6213
18 | 2612782.437 | 1260009.9547
19 | 2612783.3682 | 1260023.217
20 | 2612782.053 | 1260004.4854
21 | 2612780.4616 | 1259981.8199
22 | 2612813.1517 | 1260024.5191
23 | 2612811.3649 | 1260015.6585
24 | 2612814.7118 | 1260032.2662
25 | 2612777.7859 | 1259982.0031
26 | 2612808.0157 | 1259994.0281
27 | 2612817.6667 | 1260044.8129
28 | 2612776.4996 | 1259959.8298
29 | 2612805.9303 | 1259962.3448
30 | 2612825.4788 | 1260063.8057
31 | 2612758.85 | 1259945.7713
32 | 2612773.2475 | 1259929.1581
33 | 2612773.2536 | 1259929.2759
34 | 2612773.6238 | 1259936.3927
35 | 2612886.1493 | 1259970.1795
36 | 2612904.3519 | 1259988.3207
37 | 2612907.2197 | 1259991.1787
38 | 2612924.7679 | 1260008.3062
39 | 2612928.2762 | 1260011.6733
40 | 2612832.5049 | 1260079.7976
41 | 2612836.6342 | 1260086.7142
42 | 2612853.8835 | 1260111.2677
43 | 2612864.0333 | 1260123.0284
44 | 2612980.1389 | 1259922.0443
45 | 2612978.9282 | 1259941.2002
46 | 2612975.2051 | 1259894.438
47 | 2612977.5393 | 1259963.176
48 | 2612966.5418 | 1259884.7782
49 | 2612975.8325 | 1259990.182
50 | 2612967.6633 | 1259845.166
51 | 2612968.2699 | 1259836.5837
52 | 2612986.5484 | 1259835.2227
53 | 2612995.2828 | 1259869.7652
54 | 2612968.9918 | 1259826.9454
55 | 2612986.7279 | 1259832.7472
56 | 2612973.1607 | 1260015.2082
57 | 2612996.9112 | 1259863.1597
58 | 2612969.3316 | 1260051.0757
59 | 2612998.2001 | 1259845.2883
60 | 2613011.2298 | 1259851.056
61 | 2613011.5145 | 1259846.3404
62 | 2613017.0959 | 1259833.9442
63 | 2613018.085 | 1259819.5981
64 | 2613015.978 | 1259850.1607
65 | 2613014.0603 | 1259877.9785
66 | 2613014.3046 | 1259874.4339
67 | 2613012.875 | 1259895.0999
68 | 2613018.1274 | 1259818.9842
69 | 2613015.7813 | 1259853.0138
70 | 2613164.0838 | 1259837.548
71 | 2613153.5302 | 1259850.2043
72 | 2613173.7098 | 1259852.0323
73 | 2613156.3247 | 1259822.4429
74 | 2613142.0673 | 1259863.9512
75 | 2613182.1185 | 1259863.2294
76 | 2613014.7738 | 1259867.6289
77 | 2613011.4744 | 1259915.0114
78 | 2613205.5496 | 1259892.0945
79 | 2613214.4431 | 1259899.7935
80 | 2613195.0306 | 1259880.4234
81 | 2613217.6237 | 1259902.5469
82 | 2613128.0885 | 1259880.7151
83 | 2613126.4135 | 1259882.7238
84 | 2613109.9312 | 1259902.4901
85 | 2613010.7925 | 1259924.7062
86 | 2613102.7529 | 1259912.9191
87 | 2613164.7638 | 1259913.6523
88 | 2613174.122 | 1259903.3783
89 | 2613154.1661 | 1259929.7957
90 | 2613246.6552 | 1259917.0631
91 | 2613216.4879 | 1259964.4058
92 | 2613011.4403 | 1259948.6319
93 | 2613025.0661 | 1260000.3516
94 | 2613093.3958 | 1259932.0893
95 | 2613102.3644 | 1259915.2092
96 | 2613024.873 | 1260003.0425
97 | 2613150.3057 | 1259935.835
98 | 2613144.9316 | 1259944.2446
99 | 2613023.4174 | 1260023.3269
100 | 2613122.999 | 1259978.5706
101 | 2613115.0343 | 1259991.0359
102 | 2613106.5232 | 1260006.1939
103 | 2613100.9114 | 1260018.1781
104 | 2613022.4237 | 1260035.8509
105 | 2613086.0308 | 1260061.0759
106 | 2612936.7021 | 1260117.8787
107 | 2612960.1996 | 1260098.6547
108 | 2612938.2602 | 1260021.2553
109 | 2612946.3714 | 1260029.04
110 | 2612954.8056 | 1260037.1346
111 | 2612967.0253 | 1260070.9187
112 | 2613021.9909 | 1260041.235
113 | 2613189.4781 | 1259873.0297
114 | 2613185.3884 | 1259867.5837
115 | 2613146.814 | 1259799.5808
116 | 2613141.5568 | 1259786.9432
117 | 2613154.6824 | 1259818.495
118 | 2613075.758 | 1260098.1801
119 | 2613018.1184 | 1260089.8595
120 | 2613020.3103 | 1260062.1424
121 | 2613020.2108 | 1260063.3803
122 | 2613017.5199 | 1260100.7528
123 | 2613019.3217 | 1260074.4409
124 | 2612975.2051 | 1259894.438

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1