## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2765-16_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2765-16_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2765-16_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2765-16_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2765-16_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2765-16_0_6_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_2765-16_0_6_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_2765-16_0_6_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_2765-16_0_6_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_2765-16_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2765-16_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2765-16_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2765-16_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2765-16_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2765-16_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2765-16_0_6_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_2765-16_0_6_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_2765-16_0_6_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_2765-16_0_6_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_2765-16_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_2765-16_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2765-16_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2765-16_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2765-16_0_6_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_2765-16_0_6_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_2765-16_0_6_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_2765-16_0_6_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_2765-16_0_6_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_2765-16_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_2765-16_0_6_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_2765-16_0_6_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_2765-16_0_6_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_2765-16_0_6_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_2765-16_0_6_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_2765-16_0_6_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_2765-16_0_6_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_2765-16_0_6_node_101 | 0.4 | n |  | TRUE
37 | bus_LV_2765-16_0_6_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2765-16_0_6_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_2765-16_0_6_node_102 | 0.4 | n |  | TRUE
40 | bus_LV_2765-16_0_6_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_2765-16_0_6_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_2765-16_0_6_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_2765-16_0_6_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_2765-16_0_6_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_2765-16_0_6_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_2765-16_0_6_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_2765-16_0_6_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_2765-16_0_6_node_90 | 0.4 | n |  | TRUE
49 | bus_LV_2765-16_0_6_node_92 | 0.4 | n |  | TRUE
50 | bus_LV_2765-16_0_6_node_98 | 0.4 | n |  | TRUE
51 | bus_LV_2765-16_0_6_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_2765-16_0_6_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_2765-16_0_6_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_2765-16_0_6_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_2765-16_0_6_node_74 | 0.4 | n |  | TRUE
56 | bus_LV_2765-16_0_6_node_84 | 0.4 | n |  | TRUE
57 | bus_LV_2765-16_0_6_node_73 | 0.4 | n |  | TRUE
58 | bus_LV_2765-16_0_6_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_2765-16_0_6_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_2765-16_0_6_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_2765-16_0_6_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_2765-16_0_6_node_99 | 0.4 | n |  | TRUE
63 | bus_LV_2765-16_0_6_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_2765-16_0_6_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_2765-16_0_6_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_2765-16_0_6_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_2765-16_0_6_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_2765-16_0_6_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_2765-16_0_6_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_2765-16_0_6_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_2765-16_0_6_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_2765-16_0_6_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_2765-16_0_6_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_2765-16_0_6_node_85 | 0.4 | n |  | TRUE
75 | bus_LV_2765-16_0_6_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_2765-16_0_6_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_2765-16_0_6_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_2765-16_0_6_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_2765-16_0_6_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_2765-16_0_6_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_2765-16_0_6_node_100 | 0.4 | n |  | TRUE
82 | bus_LV_2765-16_0_6_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_2765-16_0_6_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_2765-16_0_6_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_2765-16_0_6_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_2765-16_0_6_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_2765-16_0_6_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_2765-16_0_6_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_2765-16_0_6_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_2765-16_0_6_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_2765-16_0_6_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_2765-16_0_6_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_2765-16_0_6_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_2765-16_0_6_node_96 | 0.4 | n |  | TRUE
95 | bus_LV_2765-16_0_6_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_2765-16_0_6_node_97 | 0.4 | n |  | TRUE
97 | bus_LV_2765-16_0_6_node_93 | 0.4 | n |  | TRUE
98 | bus_MV_569_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2765-16_0_6_load_0 | 0 | 0.0079459 | 0.0019914 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2765-16_0_6_load_1 | 1 | 0.018872 | 0.0047298 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2765-16_0_6_load_2 | 2 | 0.0026843 | 0.00067274 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2765-16_0_6_load_4 | 4 | 0.0089629 | 0.0022463 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2765-16_0_6_load_12 | 5 | 0.015862 | 0.0039753 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2765-16_0_6_load_26 | 6 | 0.01542 | 0.0038646 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2765-16_0_6_load_11 | 7 | 0.015889 | 0.0039821 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2765-16_0_6_load_5 | 9 | 0.013268 | 0.0033252 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2765-16_0_6_load_6 | 10 | 0.0045237 | 0.0011337 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2765-16_0_6_load_8 | 12 | 0.011977 | 0.0030017 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2765-16_0_6_load_57 | 15 | 0.0057089 | 0.0014308 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2765-16_0_6_load_23 | 16 | 0.0086289 | 0.0021626 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2765-16_0_6_load_18 | 17 | 0.016332 | 0.0040932 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2765-16_0_6_load_14 | 20 | 0.032715 | 0.0081992 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2765-16_0_6_load_15 | 21 | 0.015036 | 0.0037685 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2765-16_0_6_load_50 | 25 | 0.0078317 | 0.0019628 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2765-16_0_6_load_47 | 26 | 0.012278 | 0.0030772 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2765-16_0_6_load_51 | 27 | 0.0071225 | 0.0017851 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2765-16_0_6_load_19 | 28 | 0.0039028 | 0.00097813 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2765-16_0_6_load_20 | 29 | 0.019908 | 0.0049894 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2765-16_0_6_load_22 | 30 | 0.01575 | 0.0039473 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2765-16_0_6_load_24 | 31 | 0.015759 | 0.0039497 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2765-16_0_6_load_59 | 33 | 0.025634 | 0.0064244 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2765-16_0_6_load_101 | 36 | 0.029675 | 0.0074372 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2765-16_0_6_load_102 | 39 | 0.013603 | 0.0034092 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2765-16_0_6_load_30 | 40 | 0.0041572 | 0.0010419 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2765-16_0_6_load_31 | 41 | 0.004432 | 0.0011108 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2765-16_0_6_load_61 | 42 | 0.013016 | 0.0032622 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2765-16_0_6_load_32 | 43 | 0.0043734 | 0.0010961 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2765-16_0_6_load_33 | 44 | 0.0062165 | 0.001558 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2765-16_0_6_load_34 | 45 | 0.002834 | 0.00071028 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2765-16_0_6_load_35 | 46 | 0.0040807 | 0.0010227 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2765-16_0_6_load_90 | 48 | 0.0074514 | 0.0018675 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2765-16_0_6_load_98 | 50 | 0.0067825 | 0.0016998 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2765-16_0_6_load_37 | 54 | 0.0044309 | 0.0011105 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2765-16_0_6_load_84 | 56 | 0.0078634 | 0.0019707 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2765-16_0_6_load_38 | 58 | 0.0023263 | 0.00058302 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2765-16_0_6_load_42 | 60 | 0.0042207 | 0.0010578 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2765-16_0_6_load_99 | 62 | 0.0088243 | 0.0022116 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2765-16_0_6_load_56 | 65 | 0.00395 | 0.00098996 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2765-16_0_6_load_48 | 66 | 0.010413 | 0.0026097 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2765-16_0_6_load_44 | 67 | 0.0045638 | 0.0011438 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2765-16_0_6_load_55 | 68 | 0.0021706 | 0.000544 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2765-16_0_6_load_52 | 71 | 0.0040212 | 0.0010078 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2765-16_0_6_load_77 | 73 | 0.015798 | 0.0039594 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2765-16_0_6_load_67 | 75 | 0.012985 | 0.0032544 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2765-16_0_6_load_64 | 76 | 0.009711 | 0.0024338 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2765-16_0_6_load_65 | 77 | 0.0037796 | 0.00094725 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2765-16_0_6_load_68 | 79 | 0.0055932 | 0.0014018 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2765-16_0_6_load_76 | 80 | 0.0036068 | 0.00090395 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2765-16_0_6_load_100 | 81 | 0.0079917 | 0.0020029 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2765-16_0_6_load_72 | 82 | 0.0045201 | 0.0011328 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2765-16_0_6_load_75 | 83 | 0.010774 | 0.0027001 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2765-16_0_6_load_78 | 85 | 0.0022128 | 0.00055458 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2765-16_0_6_load_83 | 89 | 0.011019 | 0.0027617 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2765-16_0_6_load_86 | 92 | 0.0047308 | 0.0011856 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2765-16_0_6_load_88 | 93 | 0.0083013 | 0.0020805 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2765-16_0_6_load_96 | 94 | 0.0042385 | 0.0010623 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2765-16_0_6_load_95 | 95 | 0.0054383 | 0.001363 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2765-16_0_6_load_93 | 97 | 0.028099 | 0.0070422 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 77 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2765-16_0_6_line_0 |  | 0 | 1 | 0.0014169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2765-16_0_6_line_1 |  | 0 | 2 | 0.013808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2765-16_0_6_line_2 |  | 1 | 3 | 0.020568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2765-16_0_6_line_3 |  | 2 | 4 | 0.023056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2765-16_0_6_line_4 |  | 3 | 5 | 0.017579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2765-16_0_6_line_5 |  | 4 | 6 | 0.0021127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2765-16_0_6_line_6 |  | 5 | 7 | 0.04294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2765-16_0_6_line_7 |  | 6 | 8 | 0.029672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2765-16_0_6_line_8 |  | 7 | 19 | 0.0094902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2765-16_0_6_line_9 |  | 8 | 40 | 0.013026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2765-16_0_6_line_10 |  | 9 | 10 | 0.010129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2765-16_0_6_line_11 |  | 9 | 11 | 0.013574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2765-16_0_6_line_12 |  | 10 | 12 | 0.0080909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2765-16_0_6_line_13 |  | 11 | 13 | 0.003669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2765-16_0_6_line_14 |  | 12 | 14 | 0.013176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2765-16_0_6_line_15 |  | 13 | 15 | 0.021679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2765-16_0_6_line_16 |  | 13 | 16 | 0.01789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2765-16_0_6_line_17 |  | 14 | 17 | 0.007315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2765-16_0_6_line_18 |  | 16 | 18 | 0.045319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2765-16_0_6_line_19 |  | 18 | 31 | 0.025521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2765-16_0_6_line_20 |  | 18 | 28 | 0.015133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2765-16_0_6_line_21 |  | 19 | 20 | 0.01953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2765-16_0_6_line_22 |  | 19 | 21 | 0.020555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2765-16_0_6_line_23 |  | 20 | 22 | 0.068726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2765-16_0_6_line_24 |  | 22 | 23 | 0.087057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2765-16_0_6_line_25 |  | 23 | 24 | 0.03719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2765-16_0_6_line_26 |  | 23 | 25 | 0.013317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2765-16_0_6_line_27 |  | 24 | 26 | 0.020688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2765-16_0_6_line_28 |  | 25 | 27 | 0.011105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2765-16_0_6_line_29 |  | 26 | 66 | 0.0023902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2765-16_0_6_line_30 |  | 28 | 29 | 0.018087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2765-16_0_6_line_31 |  | 29 | 30 | 0.026185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2765-16_0_6_line_32 |  | 31 | 32 | 0.014657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2765-16_0_6_line_33 |  | 32 | 33 | 0.00877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2765-16_0_6_line_34 |  | 32 | 34 | 0.008528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2765-16_0_6_line_35 |  | 34 | 73 | 0.022535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2765-16_0_6_line_36 |  | 34 | 38 | 0.032903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2765-16_0_6_line_37 |  | 35 | 36 | 0.019124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2765-16_0_6_line_38 |  | 35 | 37 | 0.032408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2765-16_0_6_line_39 |  | 35 | 38 | 0.017334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2765-16_0_6_line_40 |  | 37 | 39 | 0.006734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2765-16_0_6_line_41 |  | 38 | 42 | 0.017883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2765-16_0_6_line_42 |  | 40 | 41 | 0.006549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2765-16_0_6_line_43 |  | 43 | 44 | 0.0059036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2765-16_0_6_line_44 |  | 43 | 45 | 0.016159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2765-16_0_6_line_45 |  | 44 | 46 | 0.021485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2765-16_0_6_line_46 |  | 45 | 47 | 0.023623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2765-16_0_6_line_47 |  | 46 | 48 | 0.017679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2765-16_0_6_line_48 |  | 47 | 49 | 0.02193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2765-16_0_6_line_49 |  | 49 | 50 | 0.007402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2765-16_0_6_line_50 |  | 49 | 51 | 0.02142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2765-16_0_6_line_51 |  | 51 | 81 | 0.013604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2765-16_0_6_line_52 |  | 51 | 72 | 0.004386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2765-16_0_6_line_53 |  | 52 | 53 | 0.005319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2765-16_0_6_line_54 |  | 52 | 54 | 0.017369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2765-16_0_6_line_55 |  | 53 | 62 | 0.018182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2765-16_0_6_line_56 |  | 53 | 63 | 0.020627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2765-16_0_6_line_57 |  | 54 | 58 | 0.014168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2765-16_0_6_line_58 |  | 55 | 56 | 0.01337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2765-16_0_6_line_59 |  | 55 | 57 | 0.022636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2765-16_0_6_line_60 |  | 56 | 84 | 0.030559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2765-16_0_6_line_61 |  | 57 | 83 | 0.0127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2765-16_0_6_line_62 |  | 57 | 82 | 0.01161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2765-16_0_6_line_63 |  | 58 | 59 | 0.016111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2765-16_0_6_line_64 |  | 59 | 60 | 0.015623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2765-16_0_6_line_65 |  | 59 | 61 | 0.005097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2765-16_0_6_line_66 |  | 60 | 64 | 0.0098664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2765-16_0_6_line_67 |  | 61 | 65 | 0.014856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_2765-16_0_6_line_68 |  | 61 | 66 | 0.037563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_2765-16_0_6_line_69 |  | 63 | 67 | 0.017827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2765-16_0_6_line_70 |  | 64 | 68 | 0.011967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2765-16_0_6_line_71 |  | 64 | 69 | 0.013963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2765-16_0_6_line_72 |  | 65 | 70 | 0.013187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_2765-16_0_6_line_73 |  | 69 | 71 | 0.004515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2765-16_0_6_line_74 |  | 70 | 72 | 0.014394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_2765-16_0_6_line_75 |  | 72 | 79 | 0.01267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_2765-16_0_6_line_76 |  | 73 | 74 | 0.023686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2765-16_0_6_line_77 |  | 73 | 75 | 0.029734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_2765-16_0_6_line_78 |  | 74 | 84 | 0.028522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2765-16_0_6_line_79 |  | 75 | 80 | 0.010741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2765-16_0_6_line_80 |  | 75 | 77 | 0.020518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_2765-16_0_6_line_81 |  | 76 | 77 | 0.02319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_2765-16_0_6_line_82 |  | 76 | 78 | 0.0013427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_2765-16_0_6_line_83 |  | 78 | 79 | 0.024458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_2765-16_0_6_line_84 |  | 84 | 86 | 0.002511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2765-16_0_6_line_85 |  | 85 | 86 | 0.010798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2765-16_0_6_line_86 |  | 85 | 87 | 0.020128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2765-16_0_6_line_87 |  | 87 | 88 | 0.041235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2765-16_0_6_line_88 |  | 87 | 89 | 0.025863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2765-16_0_6_line_89 |  | 88 | 90 | 0.035223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2765-16_0_6_line_90 |  | 90 | 91 | 0.039127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2765-16_0_6_line_91 |  | 90 | 92 | 0.020744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2765-16_0_6_line_92 |  | 91 | 94 | 0.021926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2765-16_0_6_line_93 |  | 91 | 95 | 0.042035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2765-16_0_6_line_94 |  | 92 | 93 | 0.0042793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2765-16_0_6_line_95 |  | 94 | 96 | 0.050402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2765-16_0_6_line_96 |  | 96 | 97 | 0.059749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2765-16_0_6_trafo_65 | 0.63 MVA 20/0.4 kV | 98 | 77 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2610032.2502 | 1264883.7356 | 2610032.7224 | 1264885.0715
1 | 2610032.2502 | 1264883.7356 | 2610027.6491 | 1264870.7169
2 | 2610039.5763 | 1264904.4645 | 2610032.7224 | 1264885.0715
3 | 2610027.6491 | 1264870.7169 | 2610019.9662 | 1264848.9782
4 | 2610039.5763 | 1264904.4645 | 2610045.4339 | 1264921.0387
5 | 2610019.2622 | 1264846.9862 | 2610019.9662 | 1264848.9782
6 | 2610045.4339 | 1264921.0387 | 2610053.2753 | 1264943.2255 | 2610060.0513 | 1264961.4127
7 | 2610009.3749 | 1264819.0101 | 2610019.2622 | 1264846.9862
8 | 2610063.3645 | 1264970.3058 | 2610060.0513 | 1264961.4127
9 | 2610009.3749 | 1264819.0101 | 2610021.8268 | 1264815.1867
10 | 2610010.944 | 1264920.1715 | 2610014.4066 | 1264929.6904
11 | 2609998.3756 | 1264925.2984 | 2610010.944 | 1264920.1715
12 | 2610014.4066 | 1264929.6904 | 2610017.1724 | 1264937.2939
13 | 2609998.3756 | 1264925.2984 | 2609997.0034 | 1264921.8937
14 | 2610005.0633 | 1264942.4882 | 2610017.1724 | 1264937.2939 | 2610017.1724 | 1264937.2939
15 | 2609976.9375 | 1264930.2436 | 2609997.0034 | 1264921.8937
16 | 2609997.0034 | 1264921.8937 | 2609990.0175 | 1264905.4239
17 | 2610005.0633 | 1264942.4882 | 2610007.4746 | 1264949.3943
18 | 2609972.7499 | 1264863.5238 | 2609976.7095 | 1264873.126 | 2609989.8108 | 1264904.9366 | 2609990.0175 | 1264905.4239
19 | 2609972.7499 | 1264863.5238 | 2609962.6234 | 1264867.2539 | 2609951.3742 | 1264871.5158 | 2609948.8493 | 1264872.4733
20 | 2609972.7499 | 1264863.5238 | 2609966.1662 | 1264849.8978
21 | 2610063.3645 | 1264970.3058 | 2610070.185 | 1264988.6057
22 | 2610063.3645 | 1264970.3058 | 2610081.9103 | 1264961.4421
23 | 2610094.1865 | 1265053.0041 | 2610070.185 | 1264988.6057
24 | 2610033.3651 | 1265046.6857 | 2610038.7333 | 1265073.7357 | 2610064.4354 | 1265067.1746 | 2610077.4572 | 1265060.9257 | 2610094.1865 | 1265053.0041
25 | 2610026.1304 | 1265010.2038 | 2610033.3651 | 1265046.6857
26 | 2610033.3651 | 1265046.6857 | 2610020.3152 | 1265049.3405
27 | 2610026.1304 | 1265010.2038 | 2610021.611 | 1265011.1524 | 2610005.8885 | 1265014.4748
28 | 2610009.319 | 1265049.058 | 2610017.3742 | 1265049.9388 | 2610020.3152 | 1265049.3405
29 | 2610005.8885 | 1265014.4748 | 2610003.5499 | 1265014.969
30 | 2609966.1662 | 1264849.8978 | 2609958.2975 | 1264833.6121
31 | 2609958.2975 | 1264833.6121 | 2609951.6414 | 1264819.836 | 2609946.7501 | 1264810.1117
32 | 2609935.1446 | 1264877.6707 | 2609948.8493 | 1264872.4733
33 | 2609938.1729 | 1264885.9036 | 2609935.1446 | 1264877.6707
34 | 2609927.1503 | 1264880.7039 | 2609935.1446 | 1264877.6707
35 | 2609905.9633 | 1264888.5518 | 2609916.4361 | 1264884.7666 | 2609927.1503 | 1264880.7039
36 | 2609927.1503 | 1264880.7039 | 2609925.7416 | 1264876.5876 | 2609917.3563 | 1264852.1789 | 2609916.4646 | 1264849.5757
37 | 2609909.0286 | 1264833.908 | 2609926.121 | 1264825.2305
38 | 2609884.2145 | 1264835.7235 | 2609905.0742 | 1264825.5845 | 2609909.0286 | 1264833.908
39 | 2609916.4646 | 1264849.5757 | 2609909.0286 | 1264833.908
40 | 2609884.2145 | 1264835.7235 | 2609881.7928 | 1264829.4374
41 | 2609916.4646 | 1264849.5757 | 2609899.6785 | 1264855.7434
42 | 2610021.8268 | 1264815.1867 | 2610028.0874 | 1264813.2643
43 | 2609857.0477 | 1265004.1174 | 2609851.7573 | 1265006.7371
44 | 2609857.0477 | 1265004.1174 | 2609871.5291 | 1264996.9466
45 | 2609832.5037 | 1265016.271 | 2609851.7573 | 1265006.7371
46 | 2609892.6984 | 1264986.4641 | 2609871.5291 | 1264996.9466
47 | 2609819.4621 | 1265027.9514 | 2609829.1633 | 1265017.9251 | 2609832.5037 | 1265016.271
48 | 2609892.6984 | 1264986.4641 | 2609905.9071 | 1264981.0379 | 2609913.6175 | 1264981.0841
49 | 2609913.6175 | 1264981.0841 | 2609915.128 | 1264973.8371
50 | 2609932.4856 | 1264990.9446 | 2609922.2491 | 1264984.045 | 2609917.0415 | 1264982.2573 | 2609913.6175 | 1264981.0841
51 | 2609920.5025 | 1264997.4513 | 2609932.4856 | 1264990.9446
52 | 2609936.1259 | 1264993.4079 | 2609932.4856 | 1264990.9446
53 | 2609927.6527 | 1265053.3909 | 2609925.1908 | 1265048.6724
54 | 2609925.1908 | 1265048.6724 | 2609940.7502 | 1265040.9524
55 | 2609910.8498 | 1265060.4566 | 2609927.6527 | 1265053.3909
56 | 2609927.6527 | 1265053.3909 | 2609936.5593 | 1265072.0075
57 | 2609940.7502 | 1265040.9524 | 2609953.4417 | 1265034.6553
58 | 2609874.9262 | 1264946.9183 | 2609869.4463 | 1264934.7234
59 | 2609874.9262 | 1264946.9183 | 2609895.9485 | 1264938.3696
60 | 2609856.9211 | 1264906.8497 | 2609869.4463 | 1264934.7234
61 | 2609898.0587 | 1264928.1994 | 2609900.4727 | 1264934.5411 | 2609895.9485 | 1264938.3696
62 | 2609895.9485 | 1264938.3696 | 2609900.5885 | 1264949.0121
63 | 2609967.9718 | 1265027.696 | 2609957.1958 | 1265032.7926 | 2609953.4417 | 1265034.6553
64 | 2609967.9718 | 1265027.696 | 2609970.6485 | 1265038.9639 | 2609971.7601 | 1265042.8492
65 | 2609966.798 | 1265022.7351 | 2609967.9718 | 1265027.696
66 | 2609974.4738 | 1265052.3351 | 2609971.7601 | 1265042.8492
67 | 2609966.798 | 1265022.7351 | 2609956.0612 | 1265012.4681
68 | 2609966.798 | 1265022.7351 | 2610003.5499 | 1265014.969
69 | 2609936.5593 | 1265072.0075 | 2609952.5176 | 1265064.0613
70 | 2609964.743 | 1265053.8198 | 2609965.8159 | 1265056.1232 | 2609974.4738 | 1265052.3351
71 | 2609974.4738 | 1265052.3351 | 2609978.3139 | 1265065.7619
72 | 2609946.5304 | 1265003.3544 | 2609956.0612 | 1265012.4681
73 | 2609978.3139 | 1265065.7619 | 2609979.5539 | 1265070.1034
74 | 2609936.1259 | 1264993.4079 | 2609939.7419 | 1264996.8719 | 2609946.5304 | 1265003.3544
75 | 2609936.1259 | 1264993.4079 | 2609938.8058 | 1264981.025
76 | 2609883.7138 | 1264896.8539 | 2609905.9633 | 1264888.5518
77 | 2609905.9633 | 1264888.5518 | 2609918.0937 | 1264915.713
78 | 2609883.7138 | 1264896.8539 | 2609856.9211 | 1264906.8497
79 | 2609908.275 | 1264920.133 | 2609918.0937 | 1264915.713
80 | 2609918.0937 | 1264915.713 | 2609926.4576 | 1264934.4484
81 | 2609935.9107 | 1264955.6238 | 2609926.4576 | 1264934.4484
82 | 2609936.458 | 1264956.8499 | 2609935.9107 | 1264955.6238
83 | 2609936.458 | 1264956.8499 | 2609939.4647 | 1264977.9806 | 2609938.8058 | 1264981.025
84 | 2609856.9211 | 1264906.8497 | 2609854.5778 | 1264907.7687
85 | 2609854.5778 | 1264907.7687 | 2609844.526 | 1264911.7117
86 | 2609825.7877 | 1264919.0622 | 2609844.526 | 1264911.7117
87 | 2609825.7877 | 1264919.0622 | 2609813.6041 | 1264923.8454 | 2609790.7539 | 1264940.4304
88 | 2609825.7877 | 1264919.0622 | 2609835.7667 | 1264942.9225
89 | 2609766.519 | 1264965.8526 | 2609784.9189 | 1264944.6681 | 2609790.7539 | 1264940.4304
90 | 2609740.6662 | 1264986.1576 | 2609746.02 | 1264990.625 | 2609766.519 | 1264965.8526
91 | 2609766.519 | 1264965.8526 | 2609768.582 | 1264975.1068 | 2609777.1614 | 1264982.4037
92 | 2609740.6662 | 1264986.1576 | 2609724.6003 | 1264971.2365
93 | 2609740.6662 | 1264986.1576 | 2609702.4747 | 1265003.7183
94 | 2609779.9152 | 1264979.1282 | 2609777.1614 | 1264982.4037
95 | 2609687.6693 | 1264936.937 | 2609724.6003 | 1264971.2365
96 | 2609687.6693 | 1264936.937 | 2609725.9977 | 1264891.1016

## bus_geodata
| x | y | coords
0 | 2610032.2502 | 1264883.7356
1 | 2610032.7224 | 1264885.0715
2 | 2610027.6491 | 1264870.7169
3 | 2610039.5763 | 1264904.4645
4 | 2610019.9662 | 1264848.9782
5 | 2610045.4339 | 1264921.0387
6 | 2610019.2622 | 1264846.9862
7 | 2610060.0513 | 1264961.4127
8 | 2610009.3749 | 1264819.0101
9 | 2610010.944 | 1264920.1715
10 | 2610014.4066 | 1264929.6904
11 | 2609998.3756 | 1264925.2984
12 | 2610017.1724 | 1264937.2939
13 | 2609997.0034 | 1264921.8937
14 | 2610005.0633 | 1264942.4882
15 | 2609976.9375 | 1264930.2436
16 | 2609990.0175 | 1264905.4239
17 | 2610007.4746 | 1264949.3943
18 | 2609972.7499 | 1264863.5238
19 | 2610063.3645 | 1264970.3058
20 | 2610070.185 | 1264988.6057
21 | 2610081.9103 | 1264961.4421
22 | 2610094.1865 | 1265053.0041
23 | 2610033.3651 | 1265046.6857
24 | 2610026.1304 | 1265010.2038
25 | 2610020.3152 | 1265049.3405
26 | 2610005.8885 | 1265014.4748
27 | 2610009.319 | 1265049.058
28 | 2609966.1662 | 1264849.8978
29 | 2609958.2975 | 1264833.6121
30 | 2609946.7501 | 1264810.1117
31 | 2609948.8493 | 1264872.4733
32 | 2609935.1446 | 1264877.6707
33 | 2609938.1729 | 1264885.9037
34 | 2609927.1503 | 1264880.7039
35 | 2609909.0286 | 1264833.908
36 | 2609926.121 | 1264825.2305
37 | 2609884.2145 | 1264835.7235
38 | 2609916.4646 | 1264849.5756
39 | 2609881.7928 | 1264829.4374
40 | 2610021.8268 | 1264815.1867
41 | 2610028.0874 | 1264813.2643
42 | 2609899.6785 | 1264855.7434
43 | 2609857.0477 | 1265004.1174
44 | 2609851.7573 | 1265006.7371
45 | 2609871.5291 | 1264996.9466
46 | 2609832.5037 | 1265016.271
47 | 2609892.6984 | 1264986.4641
48 | 2609819.4621 | 1265027.9514
49 | 2609913.6175 | 1264981.0841
50 | 2609915.128 | 1264973.8371
51 | 2609932.4856 | 1264990.9446
52 | 2609925.1908 | 1265048.6724
53 | 2609927.6527 | 1265053.3909
54 | 2609940.7502 | 1265040.9524
55 | 2609874.9262 | 1264946.9183
56 | 2609869.4463 | 1264934.7234
57 | 2609895.9485 | 1264938.3696
58 | 2609953.4417 | 1265034.6553
59 | 2609967.9718 | 1265027.696
60 | 2609971.7601 | 1265042.8492
61 | 2609966.798 | 1265022.7351
62 | 2609910.8498 | 1265060.4566
63 | 2609936.5593 | 1265072.0075
64 | 2609974.4738 | 1265052.3351
65 | 2609956.0612 | 1265012.4681
66 | 2610003.5499 | 1265014.969
67 | 2609952.5176 | 1265064.0613
68 | 2609964.743 | 1265053.8198
69 | 2609978.3139 | 1265065.7619
70 | 2609946.5304 | 1265003.3544
71 | 2609979.5539 | 1265070.1034
72 | 2609936.1259 | 1264993.4079
73 | 2609905.9633 | 1264888.5518
74 | 2609883.7138 | 1264896.8539
75 | 2609918.0937 | 1264915.713
76 | 2609935.9107 | 1264955.6238
77 | 2609926.4576 | 1264934.4484
78 | 2609936.458 | 1264956.8499
79 | 2609938.8058 | 1264981.025
80 | 2609908.275 | 1264920.133
81 | 2609920.5025 | 1264997.4513
82 | 2609900.5885 | 1264949.0121
83 | 2609898.0587 | 1264928.1994
84 | 2609856.9211 | 1264906.8497
85 | 2609844.526 | 1264911.7117
86 | 2609854.5778 | 1264907.7687
87 | 2609825.7877 | 1264919.0622
88 | 2609790.7539 | 1264940.4304
89 | 2609835.7667 | 1264942.9225
90 | 2609766.519 | 1264965.8526
91 | 2609740.6662 | 1264986.1576
92 | 2609777.1614 | 1264982.4037
93 | 2609779.9152 | 1264979.1282
94 | 2609724.6003 | 1264971.2365
95 | 2609702.4747 | 1265003.7183
96 | 2609687.6693 | 1264936.937
97 | 2609725.9977 | 1264891.1016
98 | 2609918.0937 | 1264915.713

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1