## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2765-28_1_3_node_130 | 0.4 | n |  | TRUE
1 | bus_LV_2765-28_1_3_node_127 | 0.4 | n |  | TRUE
2 | bus_LV_2765-28_1_3_node_126 | 0.4 | n |  | TRUE
3 | bus_LV_2765-28_1_3_node_124 | 0.4 | n |  | TRUE
4 | bus_LV_2765-28_1_3_node_56 | 0.4 | n |  | TRUE
5 | bus_LV_2765-28_1_3_node_57 | 0.4 | n |  | TRUE
6 | bus_LV_2765-28_1_3_node_55 | 0.4 | n |  | TRUE
7 | bus_LV_2765-28_1_3_node_46 | 0.4 | n |  | TRUE
8 | bus_LV_2765-28_1_3_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_2765-28_1_3_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_2765-28_1_3_node_49 | 0.4 | n |  | TRUE
11 | bus_LV_2765-28_1_3_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_2765-28_1_3_node_51 | 0.4 | n |  | TRUE
13 | bus_LV_2765-28_1_3_node_101 | 0.4 | n |  | TRUE
14 | bus_LV_2765-28_1_3_node_52 | 0.4 | n |  | TRUE
15 | bus_LV_2765-28_1_3_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_2765-28_1_3_node_102 | 0.4 | n |  | TRUE
17 | bus_LV_2765-28_1_3_node_100 | 0.4 | n |  | TRUE
18 | bus_LV_2765-28_1_3_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_2765-28_1_3_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_2765-28_1_3_node_98 | 0.4 | n |  | TRUE
21 | bus_LV_2765-28_1_3_node_99 | 0.4 | n |  | TRUE
22 | bus_LV_2765-28_1_3_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_2765-28_1_3_node_60 | 0.4 | n |  | TRUE
24 | bus_LV_2765-28_1_3_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_2765-28_1_3_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_2765-28_1_3_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_2765-28_1_3_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_2765-28_1_3_node_65 | 0.4 | n |  | TRUE
29 | bus_LV_2765-28_1_3_node_103 | 0.4 | n |  | TRUE
30 | bus_LV_2765-28_1_3_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_2765-28_1_3_node_67 | 0.4 | n |  | TRUE
32 | bus_LV_2765-28_1_3_node_68 | 0.4 | n |  | TRUE
33 | bus_LV_2765-28_1_3_node_69 | 0.4 | n |  | TRUE
34 | bus_LV_2765-28_1_3_node_117 | 0.4 | n |  | TRUE
35 | bus_LV_2765-28_1_3_node_70 | 0.4 | n |  | TRUE
36 | bus_LV_2765-28_1_3_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_2765-28_1_3_node_114 | 0.4 | n |  | TRUE
38 | bus_LV_2765-28_1_3_node_82 | 0.4 | n |  | TRUE
39 | bus_LV_2765-28_1_3_node_80 | 0.4 | n |  | TRUE
40 | bus_LV_2765-28_1_3_node_72 | 0.4 | n |  | TRUE
41 | bus_LV_2765-28_1_3_node_81 | 0.4 | n |  | TRUE
42 | bus_LV_2765-28_1_3_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_2765-28_1_3_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_2765-28_1_3_node_75 | 0.4 | n |  | TRUE
45 | bus_LV_2765-28_1_3_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_2765-28_1_3_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_2765-28_1_3_node_88 | 0.4 | n |  | TRUE
48 | bus_LV_2765-28_1_3_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_2765-28_1_3_node_89 | 0.4 | n |  | TRUE
50 | bus_LV_2765-28_1_3_node_90 | 0.4 | n |  | TRUE
51 | bus_LV_2765-28_1_3_node_78 | 0.4 | n |  | TRUE
52 | bus_LV_2765-28_1_3_node_83 | 0.4 | n |  | TRUE
53 | bus_LV_2765-28_1_3_node_84 | 0.4 | n |  | TRUE
54 | bus_LV_2765-28_1_3_node_85 | 0.4 | n |  | TRUE
55 | bus_LV_2765-28_1_3_node_123 | 0.4 | n |  | TRUE
56 | bus_LV_2765-28_1_3_node_118 | 0.4 | n |  | TRUE
57 | bus_LV_2765-28_1_3_node_111 | 0.4 | n |  | TRUE
58 | bus_LV_2765-28_1_3_node_86 | 0.4 | n |  | TRUE
59 | bus_LV_2765-28_1_3_node_128 | 0.4 | n |  | TRUE
60 | bus_LV_2765-28_1_3_node_129 | 0.4 | n |  | TRUE
61 | bus_LV_2765-28_1_3_node_91 | 0.4 | n |  | TRUE
62 | bus_LV_2765-28_1_3_node_92 | 0.4 | n |  | TRUE
63 | bus_LV_2765-28_1_3_node_93 | 0.4 | n |  | TRUE
64 | bus_LV_2765-28_1_3_node_96 | 0.4 | n |  | TRUE
65 | bus_LV_2765-28_1_3_node_94 | 0.4 | n |  | TRUE
66 | bus_LV_2765-28_1_3_node_133 | 0.4 | n |  | TRUE
67 | bus_LV_2765-28_1_3_node_134 | 0.4 | n |  | TRUE
68 | bus_LV_2765-28_1_3_node_95 | 0.4 | n |  | TRUE
69 | bus_LV_2765-28_1_3_node_97 | 0.4 | n |  | TRUE
70 | bus_LV_2765-28_1_3_node_137 | 0.4 | n |  | TRUE
71 | bus_LV_2765-28_1_3_node_136 | 0.4 | n |  | TRUE
72 | bus_LV_2765-28_1_3_node_108 | 0.4 | n |  | TRUE
73 | bus_LV_2765-28_1_3_node_104 | 0.4 | n |  | TRUE
74 | bus_LV_2765-28_1_3_node_106 | 0.4 | n |  | TRUE
75 | bus_LV_2765-28_1_3_node_109 | 0.4 | n |  | TRUE
76 | bus_LV_2765-28_1_3_node_105 | 0.4 | n |  | TRUE
77 | bus_LV_2765-28_1_3_node_107 | 0.4 | n |  | TRUE
78 | bus_LV_2765-28_1_3_node_110 | 0.4 | n |  | TRUE
79 | bus_LV_2765-28_1_3_node_122 | 0.4 | n |  | TRUE
80 | bus_LV_2765-28_1_3_node_119 | 0.4 | n |  | TRUE
81 | bus_LV_2765-28_1_3_node_120 | 0.4 | n |  | TRUE
82 | bus_LV_2765-28_1_3_node_112 | 0.4 | n |  | TRUE
83 | bus_LV_2765-28_1_3_node_113 | 0.4 | n |  | TRUE
84 | bus_LV_2765-28_1_3_node_115 | 0.4 | n |  | TRUE
85 | bus_LV_2765-28_1_3_node_116 | 0.4 | n |  | TRUE
86 | bus_LV_2765-28_1_3_node_121 | 0.4 | n |  | TRUE
87 | bus_MV_569_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2765-28_1_3_load_130 | 0 | 0.0088629 | 0.0022213 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2765-28_1_3_load_127 | 1 | 0.0085104 | 0.0021329 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2765-28_1_3_load_126 | 2 | 0.02334 | 0.0058496 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2765-28_1_3_load_124 | 3 | 0.014737 | 0.0036935 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2765-28_1_3_load_46 | 7 | 0.0035044 | 0.00087828 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2765-28_1_3_load_47 | 8 | 0.0029691 | 0.00074414 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2765-28_1_3_load_49 | 10 | 0.0018635 | 0.00046705 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2765-28_1_3_load_50 | 11 | 0.0033729 | 0.00084532 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2765-28_1_3_load_51 | 12 | 0.0030771 | 0.00077119 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2765-28_1_3_load_101 | 13 | 0.0033866 | 0.00084877 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2765-28_1_3_load_52 | 14 | 0.0029925 | 0.00074998 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2765-28_1_3_load_53 | 15 | 0.0039346 | 0.00098609 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2765-28_1_3_load_100 | 17 | 0.0019293 | 0.00048352 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2765-28_1_3_load_58 | 18 | 0.0023992 | 0.00060128 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2765-28_1_3_load_54 | 19 | 0.0037549 | 0.00094107 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2765-28_1_3_load_99 | 21 | 0.0017301 | 0.00043359 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2765-28_1_3_load_59 | 22 | 0.0053226 | 0.001334 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2765-28_1_3_load_62 | 25 | 0.0019042 | 0.00047724 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2765-28_1_3_load_63 | 26 | 0.0022494 | 0.00056375 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2765-28_1_3_load_64 | 27 | 0.0040123 | 0.0010056 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2765-28_1_3_load_65 | 28 | 0.0022824 | 0.00057202 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2765-28_1_3_load_103 | 29 | 0.006152 | 0.0015418 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2765-28_1_3_load_67 | 31 | 0.0042245 | 0.0010588 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2765-28_1_3_load_68 | 32 | 0.0030634 | 0.00076776 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2765-28_1_3_load_71 | 36 | 0.003706 | 0.00092881 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2765-28_1_3_load_82 | 38 | 0.006266 | 0.0015704 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2765-28_1_3_load_80 | 39 | 0.0089422 | 0.0022411 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2765-28_1_3_load_72 | 40 | 0.0027909 | 0.00069946 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2765-28_1_3_load_75 | 44 | 0.0072638 | 0.0018205 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2765-28_1_3_load_79 | 45 | 0.009251 | 0.0023185 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2765-28_1_3_load_76 | 46 | 0.011641 | 0.0029175 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2765-28_1_3_load_89 | 49 | 0.0078511 | 0.0019677 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2765-28_1_3_load_90 | 50 | 0.0080061 | 0.0020065 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2765-28_1_3_load_78 | 51 | 0.015005 | 0.0037607 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2765-28_1_3_load_83 | 52 | 0.01915 | 0.0047995 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2765-28_1_3_load_84 | 53 | 0.013384 | 0.0033544 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2765-28_1_3_load_123 | 55 | 0.0041818 | 0.001048 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2765-28_1_3_load_118 | 56 | 0.006228 | 0.0015609 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2765-28_1_3_load_86 | 58 | 0.0071986 | 0.0018042 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2765-28_1_3_load_128 | 59 | 0.0028212 | 0.00070706 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2765-28_1_3_load_129 | 60 | 0.0044718 | 0.0011207 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2765-28_1_3_load_93 | 63 | 0.004439 | 0.0011125 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2765-28_1_3_load_94 | 65 | 0.0057901 | 0.0014511 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2765-28_1_3_load_133 | 66 | 0.0019765 | 0.00049536 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2765-28_1_3_load_137 | 70 | 0.0076348 | 0.0019135 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2765-28_1_3_load_136 | 71 | 0.0020554 | 0.00051514 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2765-28_1_3_load_108 | 72 | 0.0018391 | 0.00046091 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2765-28_1_3_load_106 | 74 | 0.0052344 | 0.0013119 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2765-28_1_3_load_105 | 76 | 0.0031226 | 0.0007826 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2765-28_1_3_load_107 | 77 | 0.0061068 | 0.0015305 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2765-28_1_3_load_122 | 79 | 0.0022641 | 0.00056745 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2765-28_1_3_load_119 | 80 | 0.0082355 | 0.002064 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2765-28_1_3_load_120 | 81 | 0.0037129 | 0.00093055 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2765-28_1_3_load_112 | 82 | 0.0062159 | 0.0015578 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2765-28_1_3_load_113 | 83 | 0.0022206 | 0.00055655 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2765-28_1_3_load_115 | 84 | 0.0031297 | 0.00078438 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2765-28_1_3_load_116 | 85 | 0.0028096 | 0.00070416 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2765-28_1_3_line_0 |  | 0 | 1 | 0.0083468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2765-28_1_3_line_1 |  | 1 | 2 | 0.015243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2765-28_1_3_line_2 |  | 2 | 3 | 0.039267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2765-28_1_3_line_3 |  | 3 | 86 | 0.025523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2765-28_1_3_line_4 |  | 4 | 5 | 0.014522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2765-28_1_3_line_5 |  | 4 | 6 | 0.015536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2765-28_1_3_line_6 |  | 5 | 18 | 0.020449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2765-28_1_3_line_7 |  | 5 | 14 | 0.011427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2765-28_1_3_line_8 |  | 6 | 19 | 0.025071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2765-28_1_3_line_9 |  | 7 | 8 | 0.011935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2765-28_1_3_line_10 |  | 7 | 9 | 0.050379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2765-28_1_3_line_11 |  | 8 | 10 | 0.0039814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2765-28_1_3_line_12 |  | 9 | 11 | 0.022439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2765-28_1_3_line_13 |  | 10 | 12 | 0.018252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2765-28_1_3_line_14 |  | 11 | 13 | 0.0047749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2765-28_1_3_line_15 |  | 12 | 14 | 0.036991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2765-28_1_3_line_16 |  | 12 | 15 | 0.019059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2765-28_1_3_line_17 |  | 13 | 16 | 0.017244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2765-28_1_3_line_18 |  | 15 | 17 | 0.0046372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2765-28_1_3_line_19 |  | 16 | 73 | 0.051567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2765-28_1_3_line_20 |  | 16 | 29 | 0.016983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2765-28_1_3_line_21 |  | 18 | 20 | 0.024062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2765-28_1_3_line_22 |  | 20 | 21 | 0.0048032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2765-28_1_3_line_23 |  | 21 | 72 | 0.021398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2765-28_1_3_line_24 |  | 22 | 23 | 0.0089039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2765-28_1_3_line_25 |  | 22 | 24 | 0.015244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2765-28_1_3_line_26 |  | 23 | 25 | 0.012096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2765-28_1_3_line_27 |  | 23 | 26 | 0.032702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2765-28_1_3_line_28 |  | 24 | 27 | 0.020412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2765-28_1_3_line_29 |  | 25 | 28 | 0.00058244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2765-28_1_3_line_30 |  | 27 | 29 | 0.055223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2765-28_1_3_line_31 |  | 28 | 30 | 0.009688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2765-28_1_3_line_32 |  | 30 | 31 | 0.0082997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2765-28_1_3_line_33 |  | 30 | 32 | 0.013758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2765-28_1_3_line_34 |  | 31 | 33 | 0.025162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2765-28_1_3_line_35 |  | 32 | 34 | 0.013786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2765-28_1_3_line_36 |  | 33 | 35 | 0.010701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2765-28_1_3_line_37 |  | 33 | 36 | 0.013682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2765-28_1_3_line_38 |  | 34 | 37 | 0.023903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2765-28_1_3_line_39 |  | 35 | 38 | 0.023464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_2765-28_1_3_line_40 |  | 35 | 39 | 0.0055194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2765-28_1_3_line_41 |  | 36 | 40 | 0.021334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2765-28_1_3_line_42 |  | 37 | 85 | 0.002459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2765-28_1_3_line_43 |  | 37 | 82 | 0.0039057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2765-28_1_3_line_44 |  | 39 | 41 | 0.025705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2765-28_1_3_line_45 |  | 40 | 42 | 0.039406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2765-28_1_3_line_46 |  | 41 | 52 | 0.0216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2765-28_1_3_line_47 |  | 41 | 53 | 0.028887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2765-28_1_3_line_48 |  | 42 | 43 | 0.010368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2765-28_1_3_line_49 |  | 42 | 44 | 0.0024306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2765-28_1_3_line_50 |  | 43 | 45 | 0.013554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2765-28_1_3_line_51 |  | 43 | 46 | 0.010387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2765-28_1_3_line_52 |  | 44 | 47 | 0.013268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2765-28_1_3_line_53 |  | 46 | 48 | 0.034816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2765-28_1_3_line_54 |  | 47 | 49 | 0.013893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2765-28_1_3_line_55 |  | 47 | 50 | 0.0085436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2765-28_1_3_line_56 |  | 48 | 51 | 0.0026766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2765-28_1_3_line_57 |  | 50 | 61 | 0.010365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2765-28_1_3_line_58 |  | 52 | 54 | 0.02316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2765-28_1_3_line_59 |  | 53 | 55 | 0.02774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2765-28_1_3_line_60 |  | 54 | 58 | 0.026281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2765-28_1_3_line_61 |  | 56 | 57 | 0.030368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2765-28_1_3_line_62 |  | 57 | 75 | 0.001135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2765-28_1_3_line_63 |  | 57 | 73 | 0.037694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2765-28_1_3_line_64 |  | 58 | 59 | 0.017632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2765-28_1_3_line_65 |  | 59 | 60 | 0.011341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2765-28_1_3_line_66 |  | 61 | 62 | 0.011382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2765-28_1_3_line_67 |  | 61 | 63 | 0.019854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2765-28_1_3_line_68 |  | 62 | 64 | 0.007352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2765-28_1_3_line_69 |  | 62 | 65 | 0.014403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2765-28_1_3_line_70 |  | 64 | 66 | 0.025326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2765-28_1_3_line_71 |  | 64 | 67 | 0.010721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2765-28_1_3_line_72 |  | 65 | 68 | 0.056813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2765-28_1_3_line_73 |  | 67 | 71 | 0.028654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2765-28_1_3_line_74 |  | 68 | 69 | 0.038748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2765-28_1_3_line_75 |  | 69 | 70 | 0.009072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2765-28_1_3_line_76 |  | 73 | 74 | 0.0094071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2765-28_1_3_line_77 |  | 74 | 76 | 0.013053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2765-28_1_3_line_78 |  | 75 | 78 | 0.016752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2765-28_1_3_line_79 |  | 76 | 77 | 0.018345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2765-28_1_3_line_80 |  | 78 | 79 | 0.012499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2765-28_1_3_line_81 |  | 78 | 80 | 0.0034966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2765-28_1_3_line_82 |  | 80 | 81 | 0.029662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2765-28_1_3_line_83 |  | 81 | 86 | 0.00017192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2765-28_1_3_line_84 |  | 82 | 83 | 0.027624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2765-28_1_3_line_85 |  | 83 | 84 | 0.00091405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2765-28_1_3_trafo_82 | 0.63 MVA 20/0.4 kV | 87 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2610533.2424 | 1264967.7706 | 2610534.748 | 1264975.9805
1 | 2610533.2424 | 1264967.7706 | 2610530.4929 | 1264952.7775
2 | 2610520.7922 | 1264914.8999 | 2610525.9693 | 1264928.1104 | 2610530.4929 | 1264952.7775
3 | 2610511.4796 | 1264891.1369 | 2610520.7922 | 1264914.8999
4 | 2610528.1929 | 1264714.2108 | 2610520.7161 | 1264726.6729
5 | 2610528.1929 | 1264714.2108 | 2610527.6413 | 1264711.0521 | 2610519.3442 | 1264701.9089
6 | 2610520.7161 | 1264726.6729 | 2610515.0071 | 1264746.3083
7 | 2610520.7161 | 1264726.6729 | 2610509.3363 | 1264727.7105
8 | 2610519.3442 | 1264701.9089 | 2610501.2709 | 1264684.5332
9 | 2610438.8001 | 1264736.2016 | 2610450.3927 | 1264733.3642
10 | 2610394.7352 | 1264758.5179 | 2610396.2683 | 1264755.9187 | 2610405.6331 | 1264748.7524 | 2610419.9971 | 1264742.084 | 2610430.3199 | 1264738.2773 | 2610438.8001 | 1264736.2016
11 | 2610454.3314 | 1264732.8398 | 2610451.383 | 1264733.1218 | 2610450.3927 | 1264733.3642
12 | 2610394.7352 | 1264758.5179 | 2610394.2562 | 1264761.1077 | 2610394.4097 | 1264763.7876 | 2610399.2817 | 1264772.3465 | 2610403.315 | 1264778.3982
13 | 2610472.5008 | 1264731.102 | 2610454.3314 | 1264732.8398
14 | 2610406.1829 | 1264782.215 | 2610403.555 | 1264778.7584 | 2610403.315 | 1264778.3982
15 | 2610472.5008 | 1264731.102 | 2610478.6087 | 1264730.5123 | 2610509.3363 | 1264727.7105
16 | 2610472.5008 | 1264731.102 | 2610473.6948 | 1264750.1236
17 | 2610417.0343 | 1264795.6047 | 2610411.7739 | 1264789.5691 | 2610406.1829 | 1264782.215
18 | 2610473.6948 | 1264750.1236 | 2610473.9853 | 1264754.7517
19 | 2610417.0343 | 1264795.6047 | 2610422.0573 | 1264799.6052 | 2610433.5542 | 1264804.7178 | 2610438.1815 | 1264806.7829 | 2610463.8564 | 1264816.6237
20 | 2610417.0343 | 1264795.6047 | 2610406.198 | 1264808.6819
21 | 2610508.2912 | 1264769.4138 | 2610512.7611 | 1264754.0333 | 2610515.0071 | 1264746.3083
22 | 2610508.2912 | 1264769.4138 | 2610506.9573 | 1264774.0281
23 | 2610506.9573 | 1264774.0281 | 2610502.6241 | 1264789.0173 | 2610501.2076 | 1264794.6362
24 | 2610365.6494 | 1264864.9073 | 2610360.51 | 1264858.594 | 2610360.0606 | 1264857.9773
25 | 2610351.0825 | 1264845.6576 | 2610360.0606 | 1264857.9773
26 | 2610365.6494 | 1264864.9073 | 2610373.2849 | 1264874.2893
27 | 2610365.6494 | 1264864.9073 | 2610389.7613 | 1264842.816
28 | 2610351.0825 | 1264845.6576 | 2610366.4532 | 1264832.226
29 | 2610373.2849 | 1264874.2893 | 2610373.6525 | 1264874.741
30 | 2610366.4532 | 1264832.226 | 2610380.6072 | 1264819.8578 | 2610384.6306 | 1264818.4528 | 2610387.6858 | 1264819.57 | 2610392.6683 | 1264825.227 | 2610399.6184 | 1264816.6221 | 2610406.198 | 1264808.6819
31 | 2610379.7678 | 1264882.2551 | 2610373.6525 | 1264874.741
32 | 2610379.7678 | 1264882.2551 | 2610383.5773 | 1264886.9316 | 2610384.8465 | 1264888.8111
33 | 2610379.7678 | 1264882.2551 | 2610391.692 | 1264875.3934
34 | 2610398.9286 | 1264909.6631 | 2610384.8465 | 1264888.8111
35 | 2610399.1669 | 1264863.8095 | 2610391.692 | 1264875.3934
36 | 2610398.9286 | 1264909.6631 | 2610403.2561 | 1264919.4552
37 | 2610398.9286 | 1264909.6631 | 2610387.219 | 1264916.7397
38 | 2610399.1669 | 1264863.8095 | 2610417.6042 | 1264848.5312
39 | 2610403.2561 | 1264919.4552 | 2610420.9268 | 1264904.0179
40 | 2610403.2561 | 1264919.4552 | 2610405.4875 | 1264924.5034
41 | 2610387.219 | 1264916.7397 | 2610368.9602 | 1264927.7744
42 | 2610417.6042 | 1264848.5312 | 2610420.0587 | 1264848.6801
43 | 2610417.6042 | 1264848.5312 | 2610417.4588 | 1264845.5622 | 2610418.1589 | 1264844.9452
44 | 2610414.0629 | 1264948.6943 | 2610409.1287 | 1264932.7413 | 2610405.4875 | 1264924.5034
45 | 2610335.2346 | 1264948.1565 | 2610368.9602 | 1264927.7744
46 | 2610414.0629 | 1264948.6943 | 2610420.4421 | 1264969.3312
47 | 2610414.0629 | 1264948.6943 | 2610437.342 | 1264931.5912
48 | 2610335.2346 | 1264948.1565 | 2610340.1614 | 1264955.4812 | 2610341.1909 | 1264956.6394
49 | 2610335.2346 | 1264948.1565 | 2610333.8776 | 1264946.14
50 | 2610341.1909 | 1264956.6394 | 2610330.1663 | 1264964.5234
51 | 2610341.1909 | 1264956.6394 | 2610348.083 | 1264964.411
52 | 2610326.4699 | 1264935.1322 | 2610333.8776 | 1264946.14
53 | 2610371.1832 | 1264990.4594 | 2610348.083 | 1264964.411
54 | 2610326.4699 | 1264935.1322 | 2610337.7036 | 1264926.9127
55 | 2610326.4699 | 1264935.1322 | 2610321.6986 | 1264928.0451
56 | 2610371.1832 | 1264990.4594 | 2610372.9602 | 1264992.4611
57 | 2610315.9103 | 1264919.4475 | 2610321.6986 | 1264928.0451
58 | 2610427.4211 | 1264991.4139 | 2610423.145 | 1264978.075 | 2610420.4421 | 1264969.3312
59 | 2610458.9592 | 1264929.4375 | 2610450.5994 | 1264921.8509 | 2610437.342 | 1264931.5912
60 | 2610427.4211 | 1264991.4139 | 2610449.3657 | 1264976.9525
61 | 2610487.3809 | 1264845.9632 | 2610464.5111 | 1264865.9423
62 | 2610488.0268 | 1264846.8983 | 2610487.3809 | 1264845.9632
63 | 2610463.8564 | 1264816.6237 | 2610475.5141 | 1264828.6636 | 2610487.3809 | 1264845.9632
64 | 2610449.3657 | 1264976.9525 | 2610464.0882 | 1264967.2505 | 2610464.0882 | 1264967.2505
65 | 2610458.8954 | 1264957.1677 | 2610464.0882 | 1264967.2505
66 | 2610315.9103 | 1264919.4475 | 2610310.0766 | 1264909.664
67 | 2610315.9103 | 1264919.4475 | 2610332.8179 | 1264908.9585
68 | 2610310.0766 | 1264909.664 | 2610306.0286 | 1264903.5194
69 | 2610310.0766 | 1264909.664 | 2610296.8225 | 1264915.3011
70 | 2610306.0286 | 1264903.5194 | 2610311.0874 | 1264899.9368 | 2610309.2287 | 1264894.8967 | 2610310.1291 | 1264892.4077 | 2610320.9978 | 1264894.9171
71 | 2610300.1257 | 1264894.5585 | 2610306.0286 | 1264903.5194
72 | 2610244.5416 | 1264937.5367 | 2610296.8225 | 1264915.3011
73 | 2610300.1257 | 1264894.5585 | 2610302.7271 | 1264888.1141 | 2610301.9788 | 1264881.0746 | 2610303.7877 | 1264875.763 | 2610311.9643 | 1264871.9078
74 | 2610244.5416 | 1264937.5367 | 2610254.0215 | 1264959.446 | 2610267.8106 | 1264953.8659
75 | 2610267.8106 | 1264953.8659 | 2610276.7911 | 1264955.3269
76 | 2610463.8564 | 1264816.6237 | 2610465.3515 | 1264807.3362
77 | 2610467.4262 | 1264794.4486 | 2610465.3515 | 1264807.3362
78 | 2610488.0268 | 1264846.8983 | 2610495.9975 | 1264861.6447
79 | 2610471.0053 | 1264776.464 | 2610468.5233 | 1264787.634 | 2610467.4262 | 1264794.4486
80 | 2610495.9975 | 1264861.6447 | 2610502.3848 | 1264860.5664 | 2610508.3841 | 1264860.0487
81 | 2610495.9975 | 1264861.6447 | 2610497.6591 | 1264864.7213
82 | 2610497.6591 | 1264864.7213 | 2610510.3027 | 1264888.1328 | 2610511.4168 | 1264890.9769
83 | 2610511.4796 | 1264891.1369 | 2610511.4168 | 1264890.9769
84 | 2610418.1589 | 1264844.9452 | 2610427.3911 | 1264836.8069 | 2610428.9472 | 1264838.2996 | 2610438.6581 | 1264829.417
85 | 2610439.3325 | 1264828.8001 | 2610438.6581 | 1264829.417

## bus_geodata
| x | y | coords
0 | 2610534.748 | 1264975.9805
1 | 2610533.2424 | 1264967.7706
2 | 2610530.4929 | 1264952.7775
3 | 2610520.7922 | 1264914.8999
4 | 2610528.1929 | 1264714.2108
5 | 2610520.7161 | 1264726.6729
6 | 2610519.3442 | 1264701.9089
7 | 2610438.8001 | 1264736.2016
8 | 2610450.3927 | 1264733.3642
9 | 2610394.7352 | 1264758.5179
10 | 2610454.3314 | 1264732.8398
11 | 2610403.315 | 1264778.3982
12 | 2610472.5008 | 1264731.102
13 | 2610406.1829 | 1264782.215
14 | 2610509.3363 | 1264727.7105
15 | 2610473.6948 | 1264750.1236
16 | 2610417.0343 | 1264795.6047
17 | 2610473.9853 | 1264754.7517
18 | 2610515.0071 | 1264746.3083
19 | 2610501.2709 | 1264684.5332
20 | 2610508.2912 | 1264769.4138
21 | 2610506.9573 | 1264774.0281
22 | 2610360.0606 | 1264857.9773
23 | 2610365.6494 | 1264864.9074
24 | 2610351.0825 | 1264845.6576
25 | 2610373.2849 | 1264874.2893
26 | 2610389.7613 | 1264842.816
27 | 2610366.4532 | 1264832.226
28 | 2610373.6525 | 1264874.741
29 | 2610406.198 | 1264808.6819
30 | 2610379.7678 | 1264882.2551
31 | 2610384.8465 | 1264888.8111
32 | 2610391.692 | 1264875.3934
33 | 2610398.9286 | 1264909.6631
34 | 2610399.1669 | 1264863.8095
35 | 2610403.2561 | 1264919.4552
36 | 2610387.219 | 1264916.7397
37 | 2610417.6042 | 1264848.5312
38 | 2610420.9268 | 1264904.0179
39 | 2610405.4875 | 1264924.5034
40 | 2610368.9602 | 1264927.7744
41 | 2610414.0629 | 1264948.6943
42 | 2610335.2346 | 1264948.1565
43 | 2610341.1909 | 1264956.6394
44 | 2610333.8776 | 1264946.14
45 | 2610330.1663 | 1264964.5234
46 | 2610348.083 | 1264964.411
47 | 2610326.4699 | 1264935.1322
48 | 2610371.1832 | 1264990.4594
49 | 2610337.7036 | 1264926.9127
50 | 2610321.6986 | 1264928.0451
51 | 2610372.9602 | 1264992.4611
52 | 2610420.4421 | 1264969.3312
53 | 2610437.342 | 1264931.5912
54 | 2610427.4211 | 1264991.4139
55 | 2610458.9592 | 1264929.4375
56 | 2610464.5111 | 1264865.9423
57 | 2610487.3809 | 1264845.9632
58 | 2610449.3657 | 1264976.9525
59 | 2610464.0882 | 1264967.2505
60 | 2610458.8954 | 1264957.1677
61 | 2610315.9103 | 1264919.4475
62 | 2610310.0766 | 1264909.664
63 | 2610332.8179 | 1264908.9585
64 | 2610306.0286 | 1264903.5194
65 | 2610296.8225 | 1264915.3011
66 | 2610320.9978 | 1264894.9171
67 | 2610300.1257 | 1264894.5585
68 | 2610244.5416 | 1264937.5367
69 | 2610267.8106 | 1264953.8659
70 | 2610276.7911 | 1264955.3269
71 | 2610311.9643 | 1264871.9078
72 | 2610501.2076 | 1264794.6362
73 | 2610463.8564 | 1264816.6237
74 | 2610465.3515 | 1264807.3362
75 | 2610488.0268 | 1264846.8983
76 | 2610467.4262 | 1264794.4486
77 | 2610471.0053 | 1264776.464
78 | 2610495.9975 | 1264861.6448
79 | 2610508.3841 | 1264860.0487
80 | 2610497.6591 | 1264864.7213
81 | 2610511.4168 | 1264890.9769
82 | 2610418.1589 | 1264844.9452
83 | 2610438.6581 | 1264829.417
84 | 2610439.3325 | 1264828.8001
85 | 2610420.0587 | 1264848.6801
86 | 2610511.4796 | 1264891.1369
87 | 2610403.2561 | 1264919.4552

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1