## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2765-33_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2765-33_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2765-33_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2765-33_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2765-33_0_2_node_93 | 0.4 | n |  | TRUE
5 | bus_LV_2765-33_0_2_node_90 | 0.4 | n |  | TRUE
6 | bus_LV_2765-33_0_2_node_70 | 0.4 | n |  | TRUE
7 | bus_LV_2765-33_0_2_node_71 | 0.4 | n |  | TRUE
8 | bus_LV_2765-33_0_2_node_72 | 0.4 | n |  | TRUE
9 | bus_LV_2765-33_0_2_node_73 | 0.4 | n |  | TRUE
10 | bus_LV_2765-33_0_2_node_74 | 0.4 | n |  | TRUE
11 | bus_LV_2765-33_0_2_node_80 | 0.4 | n |  | TRUE
12 | bus_LV_2765-33_0_2_node_78 | 0.4 | n |  | TRUE
13 | bus_LV_2765-33_0_2_node_81 | 0.4 | n |  | TRUE
14 | bus_LV_2765-33_0_2_node_82 | 0.4 | n |  | TRUE
15 | bus_LV_2765-33_0_2_node_79 | 0.4 | n |  | TRUE
16 | bus_LV_2765-33_0_2_node_148 | 0.4 | n |  | TRUE
17 | bus_LV_2765-33_0_2_node_75 | 0.4 | n |  | TRUE
18 | bus_LV_2765-33_0_2_node_76 | 0.4 | n |  | TRUE
19 | bus_LV_2765-33_0_2_node_77 | 0.4 | n |  | TRUE
20 | bus_LV_2765-33_0_2_node_126 | 0.4 | n |  | TRUE
21 | bus_LV_2765-33_0_2_node_125 | 0.4 | n |  | TRUE
22 | bus_LV_2765-33_0_2_node_122 | 0.4 | n |  | TRUE
23 | bus_LV_2765-33_0_2_node_150 | 0.4 | n |  | TRUE
24 | bus_LV_2765-33_0_2_node_146 | 0.4 | n |  | TRUE
25 | bus_LV_2765-33_0_2_node_145 | 0.4 | n |  | TRUE
26 | bus_LV_2765-33_0_2_node_144 | 0.4 | n |  | TRUE
27 | bus_LV_2765-33_0_2_node_123 | 0.4 | n |  | TRUE
28 | bus_LV_2765-33_0_2_node_86 | 0.4 | n |  | TRUE
29 | bus_LV_2765-33_0_2_node_84 | 0.4 | n |  | TRUE
30 | bus_LV_2765-33_0_2_node_151 | 0.4 | n |  | TRUE
31 | bus_LV_2765-33_0_2_node_89 | 0.4 | n |  | TRUE
32 | bus_LV_2765-33_0_2_node_87 | 0.4 | n |  | TRUE
33 | bus_LV_2765-33_0_2_node_83 | 0.4 | n |  | TRUE
34 | bus_LV_2765-33_0_2_node_152 | 0.4 | n |  | TRUE
35 | bus_LV_2765-33_0_2_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_2765-33_0_2_node_88 | 0.4 | n |  | TRUE
37 | bus_LV_2765-33_0_2_node_91 | 0.4 | n |  | TRUE
38 | bus_LV_2765-33_0_2_node_124 | 0.4 | n |  | TRUE
39 | bus_LV_2765-33_0_2_node_143 | 0.4 | n |  | TRUE
40 | bus_LV_2765-33_0_2_node_216 | 0.4 | n |  | TRUE
41 | bus_LV_2765-33_0_2_node_219 | 0.4 | n |  | TRUE
42 | bus_LV_2765-33_0_2_node_142 | 0.4 | n |  | TRUE
43 | bus_LV_2765-33_0_2_node_133 | 0.4 | n |  | TRUE
44 | bus_LV_2765-33_0_2_node_134 | 0.4 | n |  | TRUE
45 | bus_LV_2765-33_0_2_node_214 | 0.4 | n |  | TRUE
46 | bus_LV_2765-33_0_2_node_213 | 0.4 | n |  | TRUE
47 | bus_LV_2765-33_0_2_node_161 | 0.4 | n |  | TRUE
48 | bus_LV_2765-33_0_2_node_140 | 0.4 | n |  | TRUE
49 | bus_LV_2765-33_0_2_node_141 | 0.4 | n |  | TRUE
50 | bus_LV_2765-33_0_2_node_147 | 0.4 | n |  | TRUE
51 | bus_LV_2765-33_0_2_node_149 | 0.4 | n |  | TRUE
52 | bus_LV_2765-33_0_2_node_153 | 0.4 | n |  | TRUE
53 | bus_LV_2765-33_0_2_node_154 | 0.4 | n |  | TRUE
54 | bus_LV_2765-33_0_2_node_155 | 0.4 | n |  | TRUE
55 | bus_LV_2765-33_0_2_node_157 | 0.4 | n |  | TRUE
56 | bus_LV_2765-33_0_2_node_175 | 0.4 | n |  | TRUE
57 | bus_LV_2765-33_0_2_node_174 | 0.4 | n |  | TRUE
58 | bus_LV_2765-33_0_2_node_156 | 0.4 | n |  | TRUE
59 | bus_LV_2765-33_0_2_node_181 | 0.4 | n |  | TRUE
60 | bus_LV_2765-33_0_2_node_180 | 0.4 | n |  | TRUE
61 | bus_LV_2765-33_0_2_node_207 | 0.4 | n |  | TRUE
62 | bus_LV_2765-33_0_2_node_205 | 0.4 | n |  | TRUE
63 | bus_LV_2765-33_0_2_node_173 | 0.4 | n |  | TRUE
64 | bus_LV_2765-33_0_2_node_184 | 0.4 | n |  | TRUE
65 | bus_LV_2765-33_0_2_node_182 | 0.4 | n |  | TRUE
66 | bus_LV_2765-33_0_2_node_179 | 0.4 | n |  | TRUE
67 | bus_LV_2765-33_0_2_node_206 | 0.4 | n |  | TRUE
68 | bus_LV_2765-33_0_2_node_160 | 0.4 | n |  | TRUE
69 | bus_LV_2765-33_0_2_node_162 | 0.4 | n |  | TRUE
70 | bus_LV_2765-33_0_2_node_204 | 0.4 | n |  | TRUE
71 | bus_LV_2765-33_0_2_node_163 | 0.4 | n |  | TRUE
72 | bus_LV_2765-33_0_2_node_164 | 0.4 | n |  | TRUE
73 | bus_LV_2765-33_0_2_node_210 | 0.4 | n |  | TRUE
74 | bus_LV_2765-33_0_2_node_202 | 0.4 | n |  | TRUE
75 | bus_LV_2765-33_0_2_node_165 | 0.4 | n |  | TRUE
76 | bus_LV_2765-33_0_2_node_167 | 0.4 | n |  | TRUE
77 | bus_LV_2765-33_0_2_node_169 | 0.4 | n |  | TRUE
78 | bus_LV_2765-33_0_2_node_171 | 0.4 | n |  | TRUE
79 | bus_LV_2765-33_0_2_node_172 | 0.4 | n |  | TRUE
80 | bus_LV_2765-33_0_2_node_212 | 0.4 | n |  | TRUE
81 | bus_LV_2765-33_0_2_node_211 | 0.4 | n |  | TRUE
82 | bus_LV_2765-33_0_2_node_176 | 0.4 | n |  | TRUE
83 | bus_LV_2765-33_0_2_node_177 | 0.4 | n |  | TRUE
84 | bus_LV_2765-33_0_2_node_178 | 0.4 | n |  | TRUE
85 | bus_LV_2765-33_0_2_node_183 | 0.4 | n |  | TRUE
86 | bus_LV_2765-33_0_2_node_185 | 0.4 | n |  | TRUE
87 | bus_LV_2765-33_0_2_node_186 | 0.4 | n |  | TRUE
88 | bus_LV_2765-33_0_2_node_189 | 0.4 | n |  | TRUE
89 | bus_LV_2765-33_0_2_node_187 | 0.4 | n |  | TRUE
90 | bus_LV_2765-33_0_2_node_217 | 0.4 | n |  | TRUE
91 | bus_LV_2765-33_0_2_node_218 | 0.4 | n |  | TRUE
92 | bus_LV_2765-33_0_2_node_188 | 0.4 | n |  | TRUE
93 | bus_LV_2765-33_0_2_node_190 | 0.4 | n |  | TRUE
94 | bus_LV_2765-33_0_2_node_191 | 0.4 | n |  | TRUE
95 | bus_LV_2765-33_0_2_node_220 | 0.4 | n |  | TRUE
96 | bus_LV_2765-33_0_2_node_193 | 0.4 | n |  | TRUE
97 | bus_LV_2765-33_0_2_node_195 | 0.4 | n |  | TRUE
98 | bus_LV_2765-33_0_2_node_192 | 0.4 | n |  | TRUE
99 | bus_LV_2765-33_0_2_node_194 | 0.4 | n |  | TRUE
100 | bus_LV_2765-33_0_2_node_221 | 0.4 | n |  | TRUE
101 | bus_LV_2765-33_0_2_node_203 | 0.4 | n |  | TRUE
102 | bus_LV_2765-33_0_2_node_201 | 0.4 | n |  | TRUE
103 | bus_LV_2765-33_0_2_node_196 | 0.4 | n |  | TRUE
104 | bus_LV_2765-33_0_2_node_197 | 0.4 | n |  | TRUE
105 | bus_LV_2765-33_0_2_node_198 | 0.4 | n |  | TRUE
106 | bus_LV_2765-33_0_2_node_199 | 0.4 | n |  | TRUE
107 | bus_LV_2765-33_0_2_node_200 | 0.4 | n |  | TRUE
108 | bus_LV_2765-33_0_2_node_208 | 0.4 | n |  | TRUE
109 | bus_LV_2765-33_0_2_node_209 | 0.4 | n |  | TRUE
110 | bus_LV_2765-33_0_2_node_222 | 0.4 | n |  | TRUE
111 | bus_MV_569_0_node_162 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2765-33_0_2_load_0 | 0 | 0.0034058 | 0.00085357 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2765-33_0_2_load_1 | 1 | 0.0030664 | 0.00076852 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2765-33_0_2_load_2 | 2 | 0.0037403 | 0.00093741 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2765-33_0_2_load_93 | 4 | 0.0025235 | 0.00063244 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2765-33_0_2_load_70 | 6 | 0.0060637 | 0.0015197 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2765-33_0_2_load_72 | 8 | 0.002602 | 0.00065213 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2765-33_0_2_load_73 | 9 | 0.0043217 | 0.0010831 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2765-33_0_2_load_74 | 10 | 0.0021475 | 0.00053822 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2765-33_0_2_load_82 | 14 | 0.0018604 | 0.00046627 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2765-33_0_2_load_75 | 17 | 0.0062185 | 0.0015585 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2765-33_0_2_load_126 | 20 | 0.0064947 | 0.0016277 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2765-33_0_2_load_122 | 22 | 0.011448 | 0.0028691 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2765-33_0_2_load_150 | 23 | 0.0016644 | 0.00041714 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2765-33_0_2_load_146 | 24 | 0.0023596 | 0.00059138 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2765-33_0_2_load_145 | 25 | 0.0022936 | 0.00057482 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2765-33_0_2_load_144 | 26 | 0.0024761 | 0.00062056 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2765-33_0_2_load_84 | 29 | 0.0020886 | 0.00052344 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2765-33_0_2_load_151 | 30 | 0.0028976 | 0.00072621 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2765-33_0_2_load_89 | 31 | 0.0025048 | 0.00062775 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2765-33_0_2_load_87 | 32 | 0.0045262 | 0.0011344 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2765-33_0_2_load_83 | 33 | 0.0027348 | 0.00068542 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2765-33_0_2_load_152 | 34 | 0.0018353 | 0.00045998 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2765-33_0_2_load_85 | 35 | 0.0027405 | 0.00068684 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2765-33_0_2_load_91 | 37 | 0.0051436 | 0.0012891 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2765-33_0_2_load_216 | 40 | 0.0036465 | 0.00091389 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2765-33_0_2_load_219 | 41 | 0.0022803 | 0.00057151 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2765-33_0_2_load_133 | 43 | 0.0014623 | 0.00036649 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2765-33_0_2_load_213 | 46 | 0.00083968 | 0.00021044 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2765-33_0_2_load_140 | 48 | 0.0047073 | 0.0011798 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2765-33_0_2_load_141 | 49 | 0.0023941 | 0.00060003 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2765-33_0_2_load_147 | 50 | 0.0039592 | 0.00099226 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2765-33_0_2_load_149 | 51 | 0.0015151 | 0.00037973 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2765-33_0_2_load_153 | 52 | 0.003283 | 0.00082279 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2765-33_0_2_load_175 | 56 | 0.0037706 | 0.000945 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2765-33_0_2_load_174 | 57 | 0.0041168 | 0.0010318 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2765-33_0_2_load_180 | 60 | 0.003738 | 0.00093683 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2765-33_0_2_load_207 | 61 | 0.0053373 | 0.0013377 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2765-33_0_2_load_205 | 62 | 0.003397 | 0.00085137 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2765-33_0_2_load_173 | 63 | 0.0021153 | 0.00053014 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2765-33_0_2_load_184 | 64 | 0.0045437 | 0.0011387 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2765-33_0_2_load_182 | 65 | 0.004649 | 0.0011651 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2765-33_0_2_load_179 | 66 | 0.0031404 | 0.00078707 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2765-33_0_2_load_160 | 68 | 0.0039466 | 0.00098911 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2765-33_0_2_load_164 | 72 | 0.0029224 | 0.00073243 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2765-33_0_2_load_210 | 73 | 0.0021013 | 0.00052662 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2765-33_0_2_load_165 | 75 | 0.0051485 | 0.0012903 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2765-33_0_2_load_167 | 76 | 0.0025065 | 0.00062819 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2765-33_0_2_load_172 | 79 | 0.002401 | 0.00060174 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2765-33_0_2_load_212 | 80 | 0.003059 | 0.00076667 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2765-33_0_2_load_211 | 81 | 0.0033602 | 0.00084213 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2765-33_0_2_load_176 | 82 | 0.0036885 | 0.00092444 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2765-33_0_2_load_178 | 84 | 0.0050457 | 0.0012646 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2765-33_0_2_load_186 | 87 | 0.0066916 | 0.0016771 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2765-33_0_2_load_187 | 89 | 0.0030963 | 0.000776 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2765-33_0_2_load_217 | 90 | 0.0022508 | 0.00056409 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2765-33_0_2_load_218 | 91 | 0.0037822 | 0.0009479 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2765-33_0_2_load_190 | 93 | 0.0048125 | 0.0012061 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2765-33_0_2_load_220 | 95 | 0.0038177 | 0.0009568 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2765-33_0_2_load_192 | 98 | 0.0044042 | 0.0011038 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2765-33_0_2_load_194 | 99 | 0.0069809 | 0.0017496 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2765-33_0_2_load_221 | 100 | 0.0023007 | 0.00057662 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2765-33_0_2_load_201 | 102 | 0.0015385 | 0.00038559 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2765-33_0_2_load_196 | 103 | 0.001395 | 0.00034963 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2765-33_0_2_load_197 | 104 | 0.0025902 | 0.00064918 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2765-33_0_2_load_199 | 106 | 0.0036534 | 0.00091563 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2765-33_0_2_load_200 | 107 | 0.0022214 | 0.00055673 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2765-33_0_2_load_208 | 108 | 0.00377 | 0.00094486 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2765-33_0_2_load_222 | 110 | 0.0028761 | 0.00072081 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 90 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2765-33_0_2_line_0 |  | 0 | 1 | 0.017466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2765-33_0_2_line_1 |  | 0 | 2 | 0.004729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2765-33_0_2_line_2 |  | 2 | 3 | 0.022857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2765-33_0_2_line_3 |  | 3 | 4 | 0.027431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2765-33_0_2_line_4 |  | 4 | 5 | 0.027781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2765-33_0_2_line_5 |  | 5 | 36 | 0.027059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2765-33_0_2_line_6 |  | 6 | 7 | 0.018381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2765-33_0_2_line_7 |  | 6 | 8 | 0.019504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2765-33_0_2_line_8 |  | 7 | 9 | 0.019655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2765-33_0_2_line_9 |  | 7 | 10 | 0.0031058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2765-33_0_2_line_10 |  | 9 | 11 | 0.016963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2765-33_0_2_line_11 |  | 10 | 12 | 0.023545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2765-33_0_2_line_12 |  | 11 | 13 | 0.016645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2765-33_0_2_line_13 |  | 11 | 14 | 0.013069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2765-33_0_2_line_14 |  | 12 | 15 | 0.024717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2765-33_0_2_line_15 |  | 12 | 16 | 0.015728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2765-33_0_2_line_16 |  | 13 | 28 | 0.006599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2765-33_0_2_line_17 |  | 13 | 29 | 0.015266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2765-33_0_2_line_18 |  | 14 | 30 | 0.0028168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2765-33_0_2_line_19 |  | 15 | 21 | 0.023922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2765-33_0_2_line_20 |  | 15 | 22 | 0.034526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2765-33_0_2_line_21 |  | 15 | 18 | 0.040395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2765-33_0_2_line_22 |  | 16 | 23 | 0.00627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2765-33_0_2_line_23 |  | 16 | 24 | 0.015305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2765-33_0_2_line_24 |  | 17 | 18 | 0.025972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2765-33_0_2_line_25 |  | 18 | 19 | 0.013909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2765-33_0_2_line_26 |  | 19 | 20 | 0.024236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2765-33_0_2_line_27 |  | 21 | 25 | 0.003766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2765-33_0_2_line_28 |  | 21 | 26 | 0.021907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2765-33_0_2_line_29 |  | 22 | 27 | 0.0018109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2765-33_0_2_line_30 |  | 24 | 50 | 0.0051352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2765-33_0_2_line_31 |  | 27 | 38 | 0.009291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2765-33_0_2_line_32 |  | 28 | 31 | 0.019456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2765-33_0_2_line_33 |  | 28 | 32 | 0.024267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2765-33_0_2_line_34 |  | 29 | 33 | 0.00022405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2765-33_0_2_line_35 |  | 30 | 34 | 0.015846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2765-33_0_2_line_36 |  | 32 | 36 | 0.015026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2765-33_0_2_line_37 |  | 33 | 35 | 0.025981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2765-33_0_2_line_38 |  | 34 | 52 | 0.0050472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2765-33_0_2_line_39 |  | 36 | 37 | 0.017424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2765-33_0_2_line_40 |  | 38 | 39 | 0.016915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2765-33_0_2_line_41 |  | 38 | 40 | 0.005372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2765-33_0_2_line_42 |  | 39 | 41 | 0.004764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2765-33_0_2_line_43 |  | 39 | 42 | 0.011743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2765-33_0_2_line_44 |  | 42 | 48 | 0.0096452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2765-33_0_2_line_45 |  | 43 | 44 | 0.0032144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2765-33_0_2_line_46 |  | 44 | 45 | 0.045101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2765-33_0_2_line_47 |  | 45 | 47 | 0.16765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2765-33_0_2_line_48 |  | 45 | 46 | 0.027344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2765-33_0_2_line_49 |  | 47 | 68 | 0.016843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2765-33_0_2_line_50 |  | 48 | 49 | 0.00227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2765-33_0_2_line_51 |  | 50 | 51 | 0.002867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2765-33_0_2_line_52 |  | 52 | 53 | 0.054038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2765-33_0_2_line_53 |  | 53 | 54 | 0.011907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2765-33_0_2_line_54 |  | 53 | 55 | 0.025816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2765-33_0_2_line_55 |  | 54 | 56 | 0.013903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2765-33_0_2_line_56 |  | 54 | 57 | 0.014345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2765-33_0_2_line_57 |  | 55 | 61 | 0.025629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2765-33_0_2_line_58 |  | 55 | 62 | 0.0035712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2765-33_0_2_line_59 |  | 55 | 58 | 0.035358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_2765-33_0_2_line_60 |  | 57 | 63 | 0.023258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2765-33_0_2_line_61 |  | 58 | 59 | 0.002662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_2765-33_0_2_line_62 |  | 58 | 60 | 0.011062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2765-33_0_2_line_63 |  | 59 | 64 | 0.011381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2765-33_0_2_line_64 |  | 59 | 65 | 0.027966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_2765-33_0_2_line_65 |  | 60 | 66 | 0.0018626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2765-33_0_2_line_66 |  | 62 | 67 | 0.0052027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2765-33_0_2_line_67 |  | 63 | 79 | 0.021027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2765-33_0_2_line_68 |  | 65 | 85 | 0.013018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_2765-33_0_2_line_69 |  | 66 | 83 | 0.015939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2765-33_0_2_line_70 |  | 67 | 108 | 0.015048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2765-33_0_2_line_71 |  | 67 | 109 | 0.038238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2765-33_0_2_line_72 |  | 68 | 69 | 0.024127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2765-33_0_2_line_73 |  | 68 | 70 | 0.18234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2765-33_0_2_line_74 |  | 69 | 71 | 0.031158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2765-33_0_2_line_75 |  | 69 | 72 | 0.012558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2765-33_0_2_line_76 |  | 70 | 73 | 0.015145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2765-33_0_2_line_77 |  | 70 | 74 | 0.014895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2765-33_0_2_line_78 |  | 71 | 75 | 0.025208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2765-33_0_2_line_79 |  | 73 | 107 | 0.018561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2765-33_0_2_line_80 |  | 74 | 102 | 0.022866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2765-33_0_2_line_81 |  | 76 | 77 | 0.017753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2765-33_0_2_line_82 |  | 77 | 78 | 0.027176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2765-33_0_2_line_83 |  | 77 | 79 | 0.0072843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2765-33_0_2_line_84 |  | 78 | 80 | 0.008987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2765-33_0_2_line_85 |  | 78 | 81 | 0.0049874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2765-33_0_2_line_86 |  | 82 | 83 | 0.0084643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2765-33_0_2_line_87 |  | 83 | 84 | 0.010151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2765-33_0_2_line_88 |  | 85 | 86 | 0.001648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
89 | LV_2765-33_0_2_line_89 |  | 85 | 87 | 0.012699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2765-33_0_2_line_90 |  | 86 | 88 | 0.027271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
91 | LV_2765-33_0_2_line_91 |  | 86 | 89 | 0.013064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2765-33_0_2_line_92 |  | 88 | 90 | 0.00855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
93 | LV_2765-33_0_2_line_93 |  | 88 | 91 | 0.010124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2765-33_0_2_line_94 |  | 89 | 92 | 0.017183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2765-33_0_2_line_95 |  | 92 | 93 | 0.014743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2765-33_0_2_line_96 |  | 92 | 94 | 0.002337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2765-33_0_2_line_97 |  | 94 | 95 | 0.005227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2765-33_0_2_line_98 |  | 94 | 96 | 0.01826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2765-33_0_2_line_99 |  | 96 | 97 | 0.00654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2765-33_0_2_line_100 |  | 96 | 98 | 0.016333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2765-33_0_2_line_101 |  | 97 | 100 | 0.019481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2765-33_0_2_line_102 |  | 97 | 101 | 0.041551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2765-33_0_2_line_103 |  | 98 | 99 | 0.025414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2765-33_0_2_line_104 |  | 101 | 102 | 0.021932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2765-33_0_2_line_105 |  | 103 | 104 | 0.0065094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2765-33_0_2_line_106 |  | 103 | 105 | 0.023854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2765-33_0_2_line_107 |  | 105 | 106 | 0.0091626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2765-33_0_2_line_108 |  | 105 | 107 | 0.017118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2765-33_0_2_line_109 |  | 109 | 110 | 0.012006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2765-33_0_2_trafo_217 | 0.63 MVA 20/0.4 kV | 111 | 90 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2609382.2061 | 1264551.8034 | 2609394.7032 | 1264539.6012
1 | 2609382.2061 | 1264551.8034 | 2609378.8225 | 1264555.1071
2 | 2609362.4686 | 1264571.075 | 2609378.8225 | 1264555.1071
3 | 2609336.6175 | 1264561.9015 | 2609362.4686 | 1264571.075
4 | 2609319.5723 | 1264539.964 | 2609336.6175 | 1264561.9015
5 | 2609319.5723 | 1264539.964 | 2609293.4383 | 1264547.2615
6 | 2609197.5983 | 1264572.8971 | 2609194.3563 | 1264554.8038
7 | 2609190.9163 | 1264535.6055 | 2609194.3563 | 1264554.8038
8 | 2609197.5983 | 1264572.8971 | 2609216.6798 | 1264568.1819
9 | 2609197.5983 | 1264572.8971 | 2609194.5175 | 1264573.2901
10 | 2609233.1472 | 1264564.1127 | 2609216.6798 | 1264568.1819
11 | 2609171.1619 | 1264576.2698 | 2609194.5175 | 1264573.2901
12 | 2609233.1472 | 1264564.1127 | 2609249.2238 | 1264559.6234
13 | 2609233.1472 | 1264564.1127 | 2609235.7085 | 1264576.9284
14 | 2609146.6016 | 1264578.9672 | 2609153.9595 | 1264578.467 | 2609171.1619 | 1264576.2698
15 | 2609171.1619 | 1264576.2698 | 2609174.1728 | 1264591.7073
16 | 2609249.2238 | 1264559.6234 | 2609255.5972 | 1264557.8432
17 | 2609249.2238 | 1264559.6234 | 2609245.7736 | 1264544.7524
18 | 2609235.7085 | 1264576.9284 | 2609236.2605 | 1264579.6906
19 | 2609146.6016 | 1264578.9672 | 2609149.8559 | 1264602.6663
20 | 2609146.6016 | 1264578.9672 | 2609124.114 | 1264580.4893 | 2609112.1365 | 1264580.0266
21 | 2609146.6016 | 1264578.9672 | 2609153.9595 | 1264578.467 | 2609146.6971 | 1264546.2559
22 | 2609168.0411 | 1264593.0988 | 2609174.1728 | 1264591.7073
23 | 2609174.1728 | 1264591.7073 | 2609177.0968 | 1264606.7306
24 | 2609146.6971 | 1264546.2559 | 2609172.1727 | 1264541.2034
25 | 2609146.6971 | 1264546.2559 | 2609143.6381 | 1264532.6862
26 | 2609143.6381 | 1264532.6862 | 2609120.0678 | 1264538.3281
27 | 2609146.1275 | 1264603.2721 | 2609149.8559 | 1264602.6663
28 | 2609149.8559 | 1264602.6663 | 2609152.8394 | 1264624.369
29 | 2609110.3269 | 1264579.9567 | 2609112.1365 | 1264580.0266
30 | 2609177.0968 | 1264606.7306 | 2609178.0778 | 1264611.7713
31 | 2609110.3269 | 1264579.9567 | 2609111.3896 | 1264589.1869
32 | 2609255.5972 | 1264557.8432 | 2609270.5328 | 1264570.364
33 | 2609255.5972 | 1264557.8432 | 2609278.9675 | 1264551.3081
34 | 2609245.7229 | 1264544.5341 | 2609245.7736 | 1264544.7524
35 | 2609239.366 | 1264595.2293 | 2609236.2605 | 1264579.6906
36 | 2609293.4383 | 1264547.2615 | 2609278.9675 | 1264551.3081
37 | 2609239.8511 | 1264519.2254 | 2609245.7229 | 1264544.5341
38 | 2609240.3552 | 1264600.1787 | 2609239.366 | 1264595.2293
39 | 2609297.7041 | 1264564.1576 | 2609293.4383 | 1264547.2615
40 | 2609111.3896 | 1264589.1869 | 2609113.3293 | 1264605.9904
41 | 2609106.0496 | 1264589.9015 | 2609111.3896 | 1264589.1869
42 | 2609113.3293 | 1264605.9904 | 2609118.0444 | 1264605.2193
43 | 2609113.3293 | 1264605.9904 | 2609113.5225 | 1264607.6919 | 2609114.6744 | 1264617.6561
44 | 2609114.6744 | 1264617.6561 | 2609115.777 | 1264627.238
45 | 2608941.5721 | 1264591.331 | 2608940.3946 | 1264588.34
46 | 2608941.5721 | 1264591.331 | 2608945.914 | 1264628.4632 | 2608938.2343 | 1264627.7178
47 | 2608938.2343 | 1264627.7178 | 2608925.9202 | 1264794.9148
48 | 2608938.2343 | 1264627.7178 | 2608937.1413 | 1264623.4799 | 2608936.6847 | 1264621.6335 | 2608933.024 | 1264607.2625 | 2608926.9546 | 1264608.6918
49 | 2608925.9202 | 1264794.9148 | 2608928.1024 | 1264811.6164
50 | 2609115.777 | 1264627.238 | 2609116.0365 | 1264629.4931
51 | 2609178.6256 | 1264614.5855 | 2609178.0778 | 1264611.7713
52 | 2609260.9685 | 1264648.3474 | 2609246.5598 | 1264631.2243 | 2609240.3552 | 1264600.1787
53 | 2609260.9685 | 1264648.3474 | 2609270.1972 | 1264640.7899
54 | 2609260.9685 | 1264648.3474 | 2609258.4463 | 1264662.62 | 2609261.1249 | 1264673.6207
55 | 2609259.1712 | 1264632.278 | 2609270.1972 | 1264640.7899
56 | 2609270.1972 | 1264640.7899 | 2609281.2957 | 1264631.7009 | 2609281.2957 | 1264631.7009
57 | 2609261.1249 | 1264673.6207 | 2609286.2538 | 1264668.2227
58 | 2609261.1249 | 1264673.6207 | 2609261.9782 | 1264677.0884
59 | 2609235.1239 | 1264668.4323 | 2609258.4463 | 1264662.62 | 2609261.1249 | 1264673.6207
60 | 2609304.0038 | 1264626.6716 | 2609281.2957 | 1264631.7009
61 | 2609235.1239 | 1264668.4323 | 2609232.5326 | 1264669.0731
62 | 2609235.1239 | 1264668.4323 | 2609232.8984 | 1264657.5969
63 | 2609235.1434 | 1264680.1515 | 2609232.5326 | 1264669.0731
64 | 2609232.5326 | 1264669.0731 | 2609205.3971 | 1264675.8367
65 | 2609232.5237 | 1264655.7723 | 2609232.8984 | 1264657.5969
66 | 2609263.0619 | 1264682.174 | 2609262.6439 | 1264679.794 | 2609261.9782 | 1264677.0884
67 | 2609324.533 | 1264622.1248 | 2609304.0038 | 1264626.6716
68 | 2609192.7657 | 1264678.9851 | 2609205.3971 | 1264675.8367
69 | 2609229.3169 | 1264640.1593 | 2609232.5237 | 1264655.7723
70 | 2609263.0619 | 1264682.174 | 2609274.0475 | 1264682.7137 | 2609275.2093 | 1264686.5928
71 | 2609269.6373 | 1264719.8436 | 2609263.0619 | 1264682.174
72 | 2608931.2281 | 1264835.5398 | 2608928.1024 | 1264811.6164
73 | 2609103.857 | 1264763.0622 | 2608928.1024 | 1264811.6164
74 | 2608945.3277 | 1264863.2134 | 2608931.4663 | 1264837.4192 | 2608931.2281 | 1264835.5398
75 | 2608931.2281 | 1264835.5398 | 2608919.43 | 1264839.8406
76 | 2609103.857 | 1264763.0622 | 2609118.3863 | 1264758.7894
77 | 2609101.613 | 1264748.3375 | 2609103.857 | 1264763.0622
78 | 2608945.3277 | 1264863.2134 | 2608921.2622 | 1264870.7163
79 | 2609118.3863 | 1264758.7894 | 2609124.8827 | 1264756.879 | 2609126.209 | 1264751.3438 | 2609132.1467 | 1264749.9543
80 | 2609101.613 | 1264748.3375 | 2609098.3079 | 1264725.7112
81 | 2609331.645 | 1264620.5497 | 2609348.848 | 1264616.1633
82 | 2609331.645 | 1264620.5497 | 2609338.5616 | 1264646.8342
83 | 2609331.645 | 1264620.5497 | 2609324.533 | 1264622.1248
84 | 2609338.5616 | 1264646.8342 | 2609347.3524 | 1264644.8466
85 | 2609338.5616 | 1264646.8342 | 2609339.8326 | 1264651.6569
86 | 2609229.3169 | 1264640.1593 | 2609231.5276 | 1264637.3163 | 2609236.2474 | 1264636.1451
87 | 2609229.3169 | 1264640.1593 | 2609225.6145 | 1264638.5302 | 2609219.6335 | 1264639.8885
88 | 2609191.1612 | 1264679.3829 | 2609192.7657 | 1264678.9851
89 | 2609195.8792 | 1264691.2984 | 2609192.7657 | 1264678.9851
90 | 2609191.1612 | 1264679.3829 | 2609184.5529 | 1264652.9211
91 | 2609191.1612 | 1264679.3829 | 2609178.4853 | 1264682.5425
92 | 2609184.5529 | 1264652.9211 | 2609186.6066 | 1264649.3663 | 2609190.473 | 1264647.1485
93 | 2609184.5529 | 1264652.9211 | 2609181.477 | 1264650.3813 | 2609175.3171 | 1264650.4941
94 | 2609161.8126 | 1264686.6983 | 2609178.4853 | 1264682.5425
95 | 2609165.2543 | 1264701.0357 | 2609161.8126 | 1264686.6983
96 | 2609159.5376 | 1264687.2618 | 2609161.8126 | 1264686.6983
97 | 2609159.5376 | 1264687.2618 | 2609158.3632 | 1264682.1676
98 | 2609159.5376 | 1264687.2618 | 2609141.7673 | 1264691.682
99 | 2609141.7673 | 1264691.682 | 2609135.4019 | 1264693.2623
100 | 2609141.7673 | 1264691.682 | 2609137.9904 | 1264675.7922
101 | 2609139.9587 | 1264712.2046 | 2609135.4019 | 1264693.2623
102 | 2609135.4019 | 1264693.2623 | 2609107.4914 | 1264700.758 | 2609095.1446 | 1264704.0081
103 | 2609126.9951 | 1264656.1126 | 2609133.7169 | 1264657.813 | 2609137.9904 | 1264675.7922
104 | 2609095.1446 | 1264704.0081 | 2609095.8898 | 1264709.1572 | 2609098.3079 | 1264725.7112
105 | 2609170.2069 | 1264756.2148 | 2609163.8819 | 1264757.7532
106 | 2609141.2315 | 1264761.0291 | 2609143.3599 | 1264762.7447 | 2609163.8819 | 1264757.7532
107 | 2609141.2315 | 1264761.0291 | 2609138.2423 | 1264765.8167 | 2609138.9504 | 1264769.2631
108 | 2609141.2315 | 1264761.0291 | 2609138.7196 | 1264759.0128 | 2609135.6023 | 1264749.1456 | 2609132.1467 | 1264749.9543
109 | 2609257.9536 | 1264722.7497 | 2609269.6373 | 1264719.8436

## bus_geodata
| x | y | coords
0 | 2609382.2061 | 1264551.8034
1 | 2609394.7032 | 1264539.6012
2 | 2609378.8225 | 1264555.1071
3 | 2609362.4686 | 1264571.075
4 | 2609336.6175 | 1264561.9015
5 | 2609319.5723 | 1264539.964
6 | 2609194.3563 | 1264554.8038
7 | 2609197.5983 | 1264572.8971
8 | 2609190.9163 | 1264535.6055
9 | 2609216.6798 | 1264568.1819
10 | 2609194.5175 | 1264573.2901
11 | 2609233.1472 | 1264564.1127
12 | 2609171.1619 | 1264576.2698
13 | 2609249.2238 | 1264559.6234
14 | 2609235.7085 | 1264576.9284
15 | 2609146.6016 | 1264578.9672
16 | 2609174.1728 | 1264591.7073
17 | 2609172.1727 | 1264541.2034
18 | 2609146.6971 | 1264546.2559
19 | 2609143.6381 | 1264532.6862
20 | 2609120.0678 | 1264538.3281
21 | 2609149.8559 | 1264602.6663
22 | 2609112.1365 | 1264580.0266
23 | 2609168.0411 | 1264593.0988
24 | 2609177.0968 | 1264606.7306
25 | 2609146.1275 | 1264603.2721
26 | 2609152.8394 | 1264624.369
27 | 2609110.3269 | 1264579.9567
28 | 2609255.5972 | 1264557.8432
29 | 2609245.7736 | 1264544.7524
30 | 2609236.2605 | 1264579.6906
31 | 2609270.5328 | 1264570.364
32 | 2609278.9675 | 1264551.3081
33 | 2609245.7229 | 1264544.5341
34 | 2609239.366 | 1264595.2293
35 | 2609239.8511 | 1264519.2254
36 | 2609293.4383 | 1264547.2615
37 | 2609297.7041 | 1264564.1576
38 | 2609111.3896 | 1264589.1869
39 | 2609113.3293 | 1264605.9904
40 | 2609106.0496 | 1264589.9015
41 | 2609118.0444 | 1264605.2193
42 | 2609114.6744 | 1264617.6561
43 | 2608940.3946 | 1264588.34
44 | 2608941.5721 | 1264591.331
45 | 2608938.2343 | 1264627.7178
46 | 2608926.9546 | 1264608.6918
47 | 2608925.9202 | 1264794.9148
48 | 2609115.777 | 1264627.238
49 | 2609116.0365 | 1264629.4931
50 | 2609178.0778 | 1264611.7713
51 | 2609178.6256 | 1264614.5855
52 | 2609240.3552 | 1264600.1787
53 | 2609260.9685 | 1264648.3474
54 | 2609270.1972 | 1264640.7899
55 | 2609261.1249 | 1264673.6207
56 | 2609259.1712 | 1264632.278
57 | 2609281.2957 | 1264631.7009
58 | 2609235.1239 | 1264668.4322
59 | 2609232.5326 | 1264669.0731
60 | 2609232.8984 | 1264657.5969
61 | 2609286.2538 | 1264668.2227
62 | 2609261.9782 | 1264677.0884
63 | 2609304.0038 | 1264626.6716
64 | 2609235.1434 | 1264680.1515
65 | 2609205.3971 | 1264675.8367
66 | 2609232.5237 | 1264655.7723
67 | 2609263.0619 | 1264682.174
68 | 2608928.1024 | 1264811.6164
69 | 2608931.2281 | 1264835.5398
70 | 2609103.857 | 1264763.0622
71 | 2608945.3277 | 1264863.2134
72 | 2608919.43 | 1264839.8406
73 | 2609118.3863 | 1264758.7894
74 | 2609101.613 | 1264748.3375
75 | 2608921.2622 | 1264870.7163
76 | 2609348.848 | 1264616.1633
77 | 2609331.6449 | 1264620.5497
78 | 2609338.5616 | 1264646.8342
79 | 2609324.533 | 1264622.1248
80 | 2609347.3524 | 1264644.8466
81 | 2609339.8326 | 1264651.6569
82 | 2609236.2474 | 1264636.1451
83 | 2609229.3169 | 1264640.1593
84 | 2609219.6335 | 1264639.8885
85 | 2609192.7657 | 1264678.9851
86 | 2609191.1612 | 1264679.3829
87 | 2609195.8792 | 1264691.2984
88 | 2609184.5529 | 1264652.9211
89 | 2609178.4853 | 1264682.5425
90 | 2609190.473 | 1264647.1485
91 | 2609175.3171 | 1264650.4941
92 | 2609161.8126 | 1264686.6983
93 | 2609165.2543 | 1264701.0357
94 | 2609159.5376 | 1264687.2618
95 | 2609158.3632 | 1264682.1676
96 | 2609141.7673 | 1264691.682
97 | 2609135.4019 | 1264693.2623
98 | 2609137.9904 | 1264675.7922
99 | 2609126.9951 | 1264656.1126
100 | 2609139.9587 | 1264712.2046
101 | 2609095.1446 | 1264704.0081
102 | 2609098.3079 | 1264725.7112
103 | 2609163.8819 | 1264757.7532
104 | 2609170.2069 | 1264756.2148
105 | 2609141.2315 | 1264761.0291
106 | 2609138.9504 | 1264769.2631
107 | 2609132.1467 | 1264749.9543
108 | 2609275.2093 | 1264686.5928
109 | 2609269.6373 | 1264719.8436
110 | 2609257.9536 | 1264722.7497
111 | 2609184.5529 | 1264652.9211

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1