## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2765-33_1_3_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_2765-33_1_3_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_2765-33_1_3_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_2765-33_1_3_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_2765-33_1_3_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_2765-33_1_3_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_2765-33_1_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_2765-33_1_3_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_2765-33_1_3_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_2765-33_1_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_2765-33_1_3_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_2765-33_1_3_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_2765-33_1_3_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_2765-33_1_3_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_2765-33_1_3_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_2765-33_1_3_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_2765-33_1_3_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_2765-33_1_3_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_2765-33_1_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_2765-33_1_3_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_2765-33_1_3_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_2765-33_1_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_2765-33_1_3_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_2765-33_1_3_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_2765-33_1_3_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_2765-33_1_3_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_2765-33_1_3_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_2765-33_1_3_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_2765-33_1_3_node_68 | 0.4 | n |  | TRUE
29 | bus_LV_2765-33_1_3_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_2765-33_1_3_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_2765-33_1_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_2765-33_1_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_2765-33_1_3_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_2765-33_1_3_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_2765-33_1_3_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_2765-33_1_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_2765-33_1_3_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_2765-33_1_3_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_2765-33_1_3_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_2765-33_1_3_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_2765-33_1_3_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_2765-33_1_3_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_2765-33_1_3_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_2765-33_1_3_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_2765-33_1_3_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_2765-33_1_3_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_2765-33_1_3_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_2765-33_1_3_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_2765-33_1_3_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_2765-33_1_3_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_2765-33_1_3_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_2765-33_1_3_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_2765-33_1_3_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_2765-33_1_3_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_2765-33_1_3_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_2765-33_1_3_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_2765-33_1_3_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_2765-33_1_3_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_2765-33_1_3_node_111 | 0.4 | n |  | TRUE
60 | bus_LV_2765-33_1_3_node_94 | 0.4 | n |  | TRUE
61 | bus_LV_2765-33_1_3_node_92 | 0.4 | n |  | TRUE
62 | bus_LV_2765-33_1_3_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_2765-33_1_3_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_2765-33_1_3_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_2765-33_1_3_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_2765-33_1_3_node_121 | 0.4 | n |  | TRUE
67 | bus_LV_2765-33_1_3_node_119 | 0.4 | n |  | TRUE
68 | bus_LV_2765-33_1_3_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_2765-33_1_3_node_158 | 0.4 | n |  | TRUE
70 | bus_LV_2765-33_1_3_node_98 | 0.4 | n |  | TRUE
71 | bus_LV_2765-33_1_3_node_95 | 0.4 | n |  | TRUE
72 | bus_LV_2765-33_1_3_node_96 | 0.4 | n |  | TRUE
73 | bus_LV_2765-33_1_3_node_97 | 0.4 | n |  | TRUE
74 | bus_LV_2765-33_1_3_node_99 | 0.4 | n |  | TRUE
75 | bus_LV_2765-33_1_3_node_101 | 0.4 | n |  | TRUE
76 | bus_LV_2765-33_1_3_node_100 | 0.4 | n |  | TRUE
77 | bus_LV_2765-33_1_3_node_102 | 0.4 | n |  | TRUE
78 | bus_LV_2765-33_1_3_node_103 | 0.4 | n |  | TRUE
79 | bus_LV_2765-33_1_3_node_110 | 0.4 | n |  | TRUE
80 | bus_LV_2765-33_1_3_node_104 | 0.4 | n |  | TRUE
81 | bus_LV_2765-33_1_3_node_105 | 0.4 | n |  | TRUE
82 | bus_LV_2765-33_1_3_node_106 | 0.4 | n |  | TRUE
83 | bus_LV_2765-33_1_3_node_107 | 0.4 | n |  | TRUE
84 | bus_LV_2765-33_1_3_node_108 | 0.4 | n |  | TRUE
85 | bus_LV_2765-33_1_3_node_109 | 0.4 | n |  | TRUE
86 | bus_LV_2765-33_1_3_node_113 | 0.4 | n |  | TRUE
87 | bus_LV_2765-33_1_3_node_127 | 0.4 | n |  | TRUE
88 | bus_LV_2765-33_1_3_node_112 | 0.4 | n |  | TRUE
89 | bus_LV_2765-33_1_3_node_114 | 0.4 | n |  | TRUE
90 | bus_LV_2765-33_1_3_node_115 | 0.4 | n |  | TRUE
91 | bus_LV_2765-33_1_3_node_116 | 0.4 | n |  | TRUE
92 | bus_LV_2765-33_1_3_node_129 | 0.4 | n |  | TRUE
93 | bus_LV_2765-33_1_3_node_117 | 0.4 | n |  | TRUE
94 | bus_LV_2765-33_1_3_node_118 | 0.4 | n |  | TRUE
95 | bus_LV_2765-33_1_3_node_120 | 0.4 | n |  | TRUE
96 | bus_LV_2765-33_1_3_node_128 | 0.4 | n |  | TRUE
97 | bus_LV_2765-33_1_3_node_130 | 0.4 | n |  | TRUE
98 | bus_LV_2765-33_1_3_node_139 | 0.4 | n |  | TRUE
99 | bus_LV_2765-33_1_3_node_131 | 0.4 | n |  | TRUE
100 | bus_LV_2765-33_1_3_node_132 | 0.4 | n |  | TRUE
101 | bus_LV_2765-33_1_3_node_135 | 0.4 | n |  | TRUE
102 | bus_LV_2765-33_1_3_node_136 | 0.4 | n |  | TRUE
103 | bus_LV_2765-33_1_3_node_138 | 0.4 | n |  | TRUE
104 | bus_MV_569_0_node_133 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2765-33_1_3_load_5 | 0 | 0.0077243 | 0.0019359 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2765-33_1_3_load_6 | 1 | 0.002493 | 0.0006248 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2765-33_1_3_load_15 | 5 | 0.003035 | 0.00076064 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2765-33_1_3_load_11 | 6 | 0.0060344 | 0.0015124 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2765-33_1_3_load_32 | 8 | 0.0018989 | 0.00047592 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2765-33_1_3_load_10 | 9 | 0.0055429 | 0.0013892 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2765-33_1_3_load_13 | 11 | 0.0046193 | 0.0011577 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2765-33_1_3_load_14 | 12 | 0.0054408 | 0.0013636 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2765-33_1_3_load_16 | 13 | 0.011201 | 0.0028072 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2765-33_1_3_load_17 | 14 | 0.0071525 | 0.0017926 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2765-33_1_3_load_19 | 16 | 0.0041331 | 0.0010359 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2765-33_1_3_load_20 | 17 | 0.0048074 | 0.0012048 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2765-33_1_3_load_21 | 18 | 0.0024777 | 0.00062096 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2765-33_1_3_load_28 | 19 | 0.0025198 | 0.00063152 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2765-33_1_3_load_22 | 20 | 0.0023917 | 0.00059942 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2765-33_1_3_load_23 | 21 | 0.0026274 | 0.00065849 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2765-33_1_3_load_26 | 24 | 0.003224 | 0.00080801 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2765-33_1_3_load_66 | 26 | 0.0030441 | 0.00076291 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2765-33_1_3_load_68 | 28 | 0.020127 | 0.0050444 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2765-33_1_3_load_29 | 29 | 0.0043118 | 0.0010806 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2765-33_1_3_load_38 | 30 | 0.0031623 | 0.00079256 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2765-33_1_3_load_30 | 31 | 0.0020041 | 0.00050227 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2765-33_1_3_load_31 | 32 | 0.0018258 | 0.00045759 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2765-33_1_3_load_33 | 33 | 0.0019502 | 0.00048876 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2765-33_1_3_load_34 | 34 | 0.0047362 | 0.001187 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2765-33_1_3_load_40 | 35 | 0.0059221 | 0.0014842 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2765-33_1_3_load_36 | 36 | 0.0070735 | 0.0017728 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2765-33_1_3_load_37 | 37 | 0.002211 | 0.00055412 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2765-33_1_3_load_47 | 39 | 0.0048218 | 0.0012085 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2765-33_1_3_load_45 | 40 | 0.0028134 | 0.0007051 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2765-33_1_3_load_43 | 43 | 0.003158 | 0.00079148 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2765-33_1_3_load_44 | 44 | 0.0023178 | 0.0005809 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2765-33_1_3_load_46 | 45 | 0.0028672 | 0.00071859 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2765-33_1_3_load_48 | 46 | 0.00086234 | 0.00021612 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2765-33_1_3_load_50 | 48 | 0.0014774 | 0.00037028 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2765-33_1_3_load_51 | 49 | 0.0021159 | 0.00053029 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2765-33_1_3_load_52 | 50 | 0.010619 | 0.0026614 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2765-33_1_3_load_54 | 51 | 0.001536 | 0.00038497 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2765-33_1_3_load_55 | 52 | 0.0038741 | 0.00097094 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2765-33_1_3_load_56 | 53 | 0.0045598 | 0.0011428 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2765-33_1_3_load_57 | 54 | 0.003509 | 0.00087943 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2765-33_1_3_load_111 | 59 | 0.0030809 | 0.00077215 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2765-33_1_3_load_94 | 60 | 0.0023407 | 0.00058665 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2765-33_1_3_load_92 | 61 | 0.0044356 | 0.0011117 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2765-33_1_3_load_61 | 62 | 0.0018007 | 0.00045131 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2765-33_1_3_load_62 | 63 | 0.0016462 | 0.00041257 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2765-33_1_3_load_64 | 64 | 0.0036109 | 0.00090497 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2765-33_1_3_load_65 | 65 | 0.0021441 | 0.00053737 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2765-33_1_3_load_121 | 66 | 0.003809 | 0.00095461 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2765-33_1_3_load_119 | 67 | 0.0026954 | 0.00067552 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2765-33_1_3_load_158 | 69 | 0.010556 | 0.0026455 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2765-33_1_3_load_95 | 71 | 0.0022798 | 0.00057138 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2765-33_1_3_load_96 | 72 | 0.0025772 | 0.0006459 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2765-33_1_3_load_97 | 73 | 0.002522 | 0.00063207 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2765-33_1_3_load_99 | 74 | 0.0029335 | 0.0007352 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2765-33_1_3_load_100 | 76 | 0.0028884 | 0.00072391 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2765-33_1_3_load_102 | 77 | 0.0051932 | 0.0013015 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2765-33_1_3_load_103 | 78 | 0.0017262 | 0.00043262 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2765-33_1_3_load_110 | 79 | 0.0044035 | 0.0011036 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2765-33_1_3_load_104 | 80 | 0.0073282 | 0.0018366 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2765-33_1_3_load_106 | 82 | 0.0072563 | 0.0018186 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2765-33_1_3_load_107 | 83 | 0.0017378 | 0.00043555 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2765-33_1_3_load_108 | 84 | 0.0070211 | 0.0017596 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2765-33_1_3_load_109 | 85 | 0.0065255 | 0.0016354 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2765-33_1_3_load_112 | 88 | 0.0028644 | 0.00071789 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2765-33_1_3_load_114 | 89 | 0.0035801 | 0.00089725 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2765-33_1_3_load_115 | 90 | 0.006242 | 0.0015644 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2765-33_1_3_load_118 | 94 | 0.0094293 | 0.0023632 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2765-33_1_3_load_120 | 95 | 0.0023068 | 0.00057814 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2765-33_1_3_load_128 | 96 | 0.0066378 | 0.0016636 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2765-33_1_3_load_130 | 97 | 0.0099163 | 0.0024853 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2765-33_1_3_load_139 | 98 | 0.0045129 | 0.0011311 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2765-33_1_3_load_131 | 99 | 0.031531 | 0.0079025 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2765-33_1_3_load_136 | 102 | 0.012434 | 0.0031162 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2765-33_1_3_load_138 | 103 | 0.0092149 | 0.0023095 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2765-33_1_3_line_0 |  | 0 | 1 | 0.0061261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2765-33_1_3_line_1 |  | 0 | 2 | 0.018178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2765-33_1_3_line_2 |  | 1 | 3 | 0.0056841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2765-33_1_3_line_3 |  | 2 | 4 | 0.036827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2765-33_1_3_line_4 |  | 3 | 5 | 0.014223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2765-33_1_3_line_5 |  | 3 | 6 | 0.012031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2765-33_1_3_line_6 |  | 4 | 7 | 0.040796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2765-33_1_3_line_7 |  | 4 | 8 | 0.014804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2765-33_1_3_line_8 |  | 5 | 13 | 0.02847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2765-33_1_3_line_9 |  | 6 | 9 | 0.015984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2765-33_1_3_line_10 |  | 7 | 35 | 0.0079283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2765-33_1_3_line_11 |  | 8 | 31 | 5.4096e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2765-33_1_3_line_12 |  | 9 | 10 | 0.0069109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2765-33_1_3_line_13 |  | 10 | 11 | 0.007787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2765-33_1_3_line_14 |  | 10 | 12 | 0.006615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2765-33_1_3_line_15 |  | 13 | 14 | 0.02022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2765-33_1_3_line_16 |  | 14 | 15 | 0.002721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2765-33_1_3_line_17 |  | 15 | 16 | 0.023081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2765-33_1_3_line_18 |  | 15 | 17 | 0.025507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2765-33_1_3_line_19 |  | 16 | 18 | 0.015354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2765-33_1_3_line_20 |  | 17 | 19 | 0.0024944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2765-33_1_3_line_21 |  | 18 | 20 | 0.0069611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2765-33_1_3_line_22 |  | 19 | 29 | 0.03226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2765-33_1_3_line_23 |  | 20 | 21 | 0.018206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2765-33_1_3_line_24 |  | 21 | 22 | 0.035384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2765-33_1_3_line_25 |  | 22 | 23 | 0.019823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2765-33_1_3_line_26 |  | 22 | 24 | 0.022243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2765-33_1_3_line_27 |  | 23 | 25 | 0.03831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2765-33_1_3_line_28 |  | 23 | 26 | 0.01449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2765-33_1_3_line_29 |  | 24 | 27 | 0.041199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2765-33_1_3_line_30 |  | 25 | 66 | 0.017119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2765-33_1_3_line_31 |  | 25 | 67 | 0.029255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2765-33_1_3_line_32 |  | 26 | 65 | 0.0081135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2765-33_1_3_line_33 |  | 27 | 28 | 0.07307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2765-33_1_3_line_34 |  | 28 | 68 | 0.055595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2765-33_1_3_line_35 |  | 29 | 30 | 0.025885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2765-33_1_3_line_36 |  | 30 | 36 | 0.0086602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2765-33_1_3_line_37 |  | 31 | 32 | 0.018585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2765-33_1_3_line_38 |  | 32 | 33 | 0.00010686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2765-33_1_3_line_39 |  | 33 | 34 | 0.009461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2765-33_1_3_line_40 |  | 35 | 41 | 0.022841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2765-33_1_3_line_41 |  | 36 | 37 | 0.021766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2765-33_1_3_line_42 |  | 37 | 38 | 0.026233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2765-33_1_3_line_43 |  | 38 | 39 | 0.0026757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2765-33_1_3_line_44 |  | 38 | 40 | 0.014576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2765-33_1_3_line_45 |  | 39 | 46 | 0.019734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2765-33_1_3_line_46 |  | 40 | 45 | 0.031836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2765-33_1_3_line_47 |  | 41 | 42 | 0.017454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2765-33_1_3_line_48 |  | 42 | 43 | 0.01944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2765-33_1_3_line_49 |  | 43 | 44 | 0.019767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2765-33_1_3_line_50 |  | 46 | 47 | 0.024377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2765-33_1_3_line_51 |  | 47 | 48 | 0.027061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2765-33_1_3_line_52 |  | 47 | 49 | 0.011283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2765-33_1_3_line_53 |  | 47 | 50 | 0.044144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2765-33_1_3_line_54 |  | 51 | 52 | 0.019882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2765-33_1_3_line_55 |  | 52 | 53 | 0.030262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2765-33_1_3_line_56 |  | 53 | 54 | 0.02119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2765-33_1_3_line_57 |  | 54 | 55 | 0.0077016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2765-33_1_3_line_58 |  | 55 | 56 | 0.022842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2765-33_1_3_line_59 |  | 55 | 57 | 0.013514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2765-33_1_3_line_60 |  | 56 | 58 | 0.005381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2765-33_1_3_line_61 |  | 56 | 59 | 0.021415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2765-33_1_3_line_62 |  | 57 | 60 | 0.021095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2765-33_1_3_line_63 |  | 57 | 61 | 0.0405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2765-33_1_3_line_64 |  | 58 | 65 | 0.03385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2765-33_1_3_line_65 |  | 58 | 62 | 0.016421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2765-33_1_3_line_66 |  | 59 | 88 | 0.02754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2765-33_1_3_line_67 |  | 60 | 70 | 0.0060002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2765-33_1_3_line_68 |  | 62 | 63 | 0.016773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2765-33_1_3_line_69 |  | 63 | 64 | 0.0050203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2765-33_1_3_line_70 |  | 67 | 95 | 0.014494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_2765-33_1_3_line_71 |  | 68 | 69 | 0.081969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2765-33_1_3_line_72 |  | 70 | 74 | 0.011138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2765-33_1_3_line_73 |  | 70 | 72 | 0.01629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2765-33_1_3_line_74 |  | 71 | 72 | 0.0040482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2765-33_1_3_line_75 |  | 71 | 73 | 0.0079034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2765-33_1_3_line_76 |  | 74 | 75 | 0.024878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2765-33_1_3_line_77 |  | 75 | 78 | 0.011147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2765-33_1_3_line_78 |  | 75 | 76 | 0.010644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2765-33_1_3_line_79 |  | 76 | 77 | 0.020966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2765-33_1_3_line_80 |  | 78 | 79 | 0.011008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2765-33_1_3_line_81 |  | 80 | 81 | 0.024509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2765-33_1_3_line_82 |  | 80 | 82 | 0.031085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2765-33_1_3_line_83 |  | 81 | 83 | 0.021597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2765-33_1_3_line_84 |  | 81 | 84 | 0.026503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2765-33_1_3_line_85 |  | 82 | 85 | 0.025888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2765-33_1_3_line_86 |  | 83 | 86 | 0.0090507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2765-33_1_3_line_87 |  | 85 | 87 | 0.02475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2765-33_1_3_line_88 |  | 86 | 89 | 0.0068246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2765-33_1_3_line_89 |  | 86 | 90 | 0.026291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2765-33_1_3_line_90 |  | 87 | 96 | 0.0030221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2765-33_1_3_line_91 |  | 89 | 91 | 0.021737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2765-33_1_3_line_92 |  | 90 | 92 | 0.025556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2765-33_1_3_line_93 |  | 91 | 93 | 0.037376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2765-33_1_3_line_94 |  | 91 | 94 | 0.03869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2765-33_1_3_line_95 |  | 92 | 97 | 0.01207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2765-33_1_3_line_96 |  | 93 | 95 | 0.026199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2765-33_1_3_line_97 |  | 97 | 98 | 0.14924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2765-33_1_3_line_98 |  | 98 | 103 | 0.018372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2765-33_1_3_line_99 |  | 99 | 100 | 0.025057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2765-33_1_3_line_100 |  | 100 | 101 | 0.023956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2765-33_1_3_line_101 |  | 100 | 102 | 0.01525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2765-33_1_3_line_102 |  | 101 | 103 | 0.0033798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2765-33_1_3_trafo_121 | 0.63 MVA 20/0.4 kV | 104 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2609371.121 | 1264284.7354 | 2609367.4518 | 1264285.1967 | 2609365.0843 | 1264285.7354
1 | 2609388.0175 | 1264290.2548 | 2609380.8847 | 1264286.3409 | 2609373.7412 | 1264284.406 | 2609371.121 | 1264284.7354
2 | 2609359.5419 | 1264286.9966 | 2609365.0843 | 1264285.7354
3 | 2609388.0175 | 1264290.2548 | 2609394.5782 | 1264313.1365 | 2609398.1053 | 1264325.6729
4 | 2609359.5419 | 1264286.9966 | 2609345.6899 | 1264290.2253
5 | 2609359.5419 | 1264286.9966 | 2609357.2361 | 1264275.1885
6 | 2609409.0905 | 1264364.9618 | 2609402.8081 | 1264342.3919 | 2609402.0892 | 1264339.8112 | 2609398.1053 | 1264325.6729
7 | 2609398.1053 | 1264325.6729 | 2609383.7945 | 1264329.462
8 | 2609345.6899 | 1264290.2253 | 2609317.9631 | 1264296.6881
9 | 2609354.1728 | 1264259.5008 | 2609357.2361 | 1264275.1885
10 | 2609409.0905 | 1264364.9618 | 2609411.2148 | 1264372.6002
11 | 2609383.7422 | 1264329.4758 | 2609383.7945 | 1264329.462
12 | 2609352.8483 | 1264252.718 | 2609354.1728 | 1264259.5008
13 | 2609352.8483 | 1264252.718 | 2609360.1574 | 1264249.972
14 | 2609346.6619 | 1264250.3289 | 2609352.8483 | 1264252.718
15 | 2609317.9631 | 1264296.6881 | 2609298.2712 | 1264301.278
16 | 2609295.6213 | 1264301.8956 | 2609298.2712 | 1264301.278
17 | 2609295.6213 | 1264301.8956 | 2609273.1033 | 1264306.9646
18 | 2609295.6213 | 1264301.8956 | 2609305.3828 | 1264325.4611
19 | 2609258.1245 | 1264310.3365 | 2609273.1033 | 1264306.9646
20 | 2609305.3828 | 1264325.4611 | 2609306.3373 | 1264327.7656
21 | 2609258.1245 | 1264310.3365 | 2609251.3334 | 1264311.8653
22 | 2609318.6832 | 1264357.5701 | 2609318.6832 | 1264357.5701 | 2609306.3373 | 1264327.7656
23 | 2609234.942 | 1264319.7771 | 2609251.13 | 1264311.911 | 2609251.3334 | 1264311.8653
24 | 2609203.1165 | 1264335.2416 | 2609234.942 | 1264319.7771
25 | 2609203.1165 | 1264335.2416 | 2609211.1914 | 1264353.3555
26 | 2609203.1165 | 1264335.2416 | 2609194.2635 | 1264314.8358
27 | 2609211.1914 | 1264353.3555 | 2609184.6551 | 1264362.2429 | 2609174.3062 | 1264363.55
28 | 2609211.1914 | 1264353.3555 | 2609217.2293 | 1264366.5276
29 | 2609177.866 | 1264277.0403 | 2609194.2635 | 1264314.8358
30 | 2609177.7368 | 1264380.3224 | 2609174.3062 | 1264363.55
31 | 2609174.3062 | 1264363.55 | 2609145.6746 | 1264357.541
32 | 2609217.2293 | 1264366.5276 | 2609220.6102 | 1264373.9031
33 | 2609177.866 | 1264277.0403 | 2609136.4956 | 1264216.8101
34 | 2609099.9596 | 1264174.9059 | 2609136.4956 | 1264216.8101
35 | 2609329.1532 | 1264381.243 | 2609318.6832 | 1264357.5701
36 | 2609332.6561 | 1264389.1632 | 2609329.1532 | 1264381.243
37 | 2609383.7422 | 1264329.4758 | 2609365.776 | 1264334.2328
38 | 2609365.6726 | 1264334.2601 | 2609365.776 | 1264334.2328
39 | 2609356.5268 | 1264336.6817 | 2609365.6726 | 1264334.2601
40 | 2609417.3347 | 1264394.6064 | 2609411.2148 | 1264372.6002
41 | 2609332.6561 | 1264389.1632 | 2609341.4599 | 1264409.0689
42 | 2609350.7416 | 1264433.595 | 2609343.5736 | 1264413.8479 | 2609341.4599 | 1264409.0689
43 | 2609350.7416 | 1264433.595 | 2609351.6544 | 1264436.1103
44 | 2609350.7416 | 1264433.595 | 2609364.811 | 1264429.7865
45 | 2609357.7114 | 1264454.765 | 2609357.7822 | 1264452.9972 | 2609351.6544 | 1264436.1103
46 | 2609389.1723 | 1264431.7653 | 2609387.536 | 1264423.6349 | 2609364.811 | 1264429.7865
47 | 2609417.3347 | 1264394.6064 | 2609421.2688 | 1264411.6132
48 | 2609421.2688 | 1264411.6132 | 2609402.3787 | 1264416.2029
49 | 2609402.3787 | 1264416.2029 | 2609383.1701 | 1264420.87
50 | 2609352.479 | 1264478.084 | 2609357.1787 | 1264468.0622 | 2609357.7114 | 1264454.765
51 | 2609352.479 | 1264478.084 | 2609349.9328 | 1264483.506 | 2609333.916 | 1264497.1971
52 | 2609352.479 | 1264478.084 | 2609347.7109 | 1264467.8577
53 | 2609352.479 | 1264478.084 | 2609391.4465 | 1264498.8264
54 | 2609297.6939 | 1264485.5135 | 2609287.8453 | 1264473.5797 | 2609285.2568 | 1264470.0109
55 | 2609285.2568 | 1264470.0109 | 2609267.489 | 1264445.5143
56 | 2609267.489 | 1264445.5143 | 2609262.3645 | 1264438.4491 | 2609254.4273 | 1264428.8413
57 | 2609246.8421 | 1264430.1748 | 2609254.4273 | 1264428.8413
58 | 2609246.8421 | 1264430.1748 | 2609237.0318 | 1264409.5343
59 | 2609246.8421 | 1264430.1748 | 2609252.418 | 1264442.492
60 | 2609234.72 | 1264404.6718 | 2609237.0318 | 1264409.5343
61 | 2609237.0318 | 1264409.5343 | 2609216.2638 | 1264414.7566
62 | 2609252.418 | 1264442.492 | 2609231.8498 | 1264447.1779
63 | 2609252.418 | 1264442.492 | 2609263.6299 | 1264467.2487 | 2609271.7534 | 1264477.8079
64 | 2609234.72 | 1264404.6718 | 2609227.7778 | 1264389.5283 | 2609221.8562 | 1264376.6214 | 2609220.6102 | 1264373.9031
65 | 2609234.72 | 1264404.6718 | 2609248.7067 | 1264396.069
66 | 2609190.0613 | 1264416.3663 | 2609196.909 | 1264419.6236 | 2609216.2638 | 1264414.7566
67 | 2609225.9995 | 1264448.5107 | 2609231.8498 | 1264447.1779
68 | 2609248.7067 | 1264396.069 | 2609262.9938 | 1264387.2815
69 | 2609266.4145 | 1264390.956 | 2609262.9938 | 1264387.2815
70 | 2609145.6746 | 1264357.541 | 2609136.6808 | 1264355.6534 | 2609131.4588 | 1264354.721
71 | 2609099.9596 | 1264174.9059 | 2609020.2196 | 1264155.9198
72 | 2609225.9995 | 1264448.5107 | 2609215.1623 | 1264451.0796
73 | 2609225.9995 | 1264448.5107 | 2609231.1009 | 1264463.9813
74 | 2609232.3687 | 1264467.8259 | 2609231.1009 | 1264463.9813
75 | 2609234.8438 | 1264475.3318 | 2609232.3687 | 1264467.8259
76 | 2609190.9552 | 1264456.8178 | 2609215.1623 | 1264451.0796
77 | 2609190.9552 | 1264456.8178 | 2609187.8914 | 1264446.1001
78 | 2609190.9552 | 1264456.8178 | 2609193.3024 | 1264467.1998
79 | 2609197.9259 | 1264487.6499 | 2609193.3024 | 1264467.1998
80 | 2609184.8659 | 1264435.516 | 2609187.8914 | 1264446.1001
81 | 2609125.0517 | 1264450.223 | 2609130.4396 | 1264474.1325
82 | 2609137.2731 | 1264504.457 | 2609130.4396 | 1264474.1325
83 | 2609125.0517 | 1264450.223 | 2609120.3028 | 1264429.1546
84 | 2609125.0517 | 1264450.223 | 2609099.2141 | 1264456.1228
85 | 2609137.2731 | 1264504.457 | 2609112.0521 | 1264510.2959
86 | 2609118.3126 | 1264420.3254 | 2609120.3028 | 1264429.1546
87 | 2609087.9395 | 1264515.8783 | 2609112.0521 | 1264510.2959
88 | 2609118.3126 | 1264420.3254 | 2609116.8114 | 1264413.668
89 | 2609118.3126 | 1264420.3254 | 2609092.5709 | 1264425.6706
90 | 2609087.9395 | 1264515.8783 | 2609087.2346 | 1264512.9395
91 | 2609112.0297 | 1264392.4633 | 2609116.8114 | 1264413.668
92 | 2609067.5489 | 1264430.8663 | 2609092.5709 | 1264425.6706
93 | 2609112.0297 | 1264392.4633 | 2609105.7529 | 1264355.6171
94 | 2609112.0297 | 1264392.4633 | 2609074.2438 | 1264400.7801
95 | 2609067.5489 | 1264430.8663 | 2609070.3641 | 1264442.6037
96 | 2609105.7529 | 1264355.6171 | 2609119.8471 | 1264352.6478 | 2609131.4588 | 1264354.721
97 | 2609070.3641 | 1264442.6037 | 2608928.3677 | 1264488.5403
98 | 2608928.3677 | 1264488.5403 | 2608921.7023 | 1264471.4196
99 | 2608897.4081 | 1264474.9735 | 2608900.6826 | 1264485.8303 | 2608905.3523 | 1264498.7276
100 | 2608897.4081 | 1264474.9735 | 2608920.4761 | 1264468.27
101 | 2608897.4081 | 1264474.9735 | 2608893.9005 | 1264463.8383 | 2608893.6283 | 1264460.2735
102 | 2608920.4761 | 1264468.27 | 2608921.7023 | 1264471.4196

## bus_geodata
| x | y | coords
0 | 2609371.121 | 1264284.7354
1 | 2609365.0843 | 1264285.7354
2 | 2609388.0175 | 1264290.2548
3 | 2609359.5419 | 1264286.9966
4 | 2609398.1053 | 1264325.6729
5 | 2609345.6899 | 1264290.2253
6 | 2609357.2361 | 1264275.1885
7 | 2609409.0905 | 1264364.9618
8 | 2609383.7945 | 1264329.462
9 | 2609354.1728 | 1264259.5008
10 | 2609352.8483 | 1264252.718
11 | 2609360.1574 | 1264249.972
12 | 2609346.6619 | 1264250.3289
13 | 2609317.9631 | 1264296.6881
14 | 2609298.2712 | 1264301.278
15 | 2609295.6213 | 1264301.8956
16 | 2609273.1033 | 1264306.9646
17 | 2609305.3828 | 1264325.4611
18 | 2609258.1245 | 1264310.3365
19 | 2609306.3373 | 1264327.7656
20 | 2609251.3334 | 1264311.8653
21 | 2609234.942 | 1264319.7771
22 | 2609203.1165 | 1264335.2416
23 | 2609211.1914 | 1264353.3555
24 | 2609194.2635 | 1264314.8358
25 | 2609174.3062 | 1264363.55
26 | 2609217.2293 | 1264366.5276
27 | 2609177.866 | 1264277.0403
28 | 2609136.4956 | 1264216.8101
29 | 2609318.6832 | 1264357.5701
30 | 2609329.1531 | 1264381.243
31 | 2609383.7422 | 1264329.4758
32 | 2609365.7759 | 1264334.2328
33 | 2609365.6726 | 1264334.2601
34 | 2609356.5268 | 1264336.6817
35 | 2609411.2148 | 1264372.6002
36 | 2609332.6561 | 1264389.1632
37 | 2609341.4599 | 1264409.0689
38 | 2609350.7416 | 1264433.595
39 | 2609351.6544 | 1264436.1103
40 | 2609364.811 | 1264429.7865
41 | 2609417.3347 | 1264394.6064
42 | 2609421.2688 | 1264411.6132
43 | 2609402.3787 | 1264416.2029
44 | 2609383.1701 | 1264420.87
45 | 2609389.1723 | 1264431.7653
46 | 2609357.7114 | 1264454.765
47 | 2609352.479 | 1264478.084
48 | 2609333.916 | 1264497.1971
49 | 2609347.7109 | 1264467.8577
50 | 2609391.4465 | 1264498.8264
51 | 2609297.6939 | 1264485.5135
52 | 2609285.2568 | 1264470.0109
53 | 2609267.489 | 1264445.5143
54 | 2609254.4273 | 1264428.8413
55 | 2609246.8421 | 1264430.1748
56 | 2609237.0318 | 1264409.5343
57 | 2609252.418 | 1264442.492
58 | 2609234.72 | 1264404.6718
59 | 2609216.2638 | 1264414.7566
60 | 2609231.8498 | 1264447.1779
61 | 2609271.7534 | 1264477.8079
62 | 2609248.7067 | 1264396.069
63 | 2609262.9938 | 1264387.2815
64 | 2609266.4145 | 1264390.956
65 | 2609220.6102 | 1264373.9031
66 | 2609177.7368 | 1264380.3224
67 | 2609145.6746 | 1264357.541
68 | 2609099.9596 | 1264174.9059
69 | 2609020.2196 | 1264155.9198
70 | 2609225.9995 | 1264448.5107
71 | 2609232.3687 | 1264467.8259
72 | 2609231.1009 | 1264463.9813
73 | 2609234.8438 | 1264475.3318
74 | 2609215.1623 | 1264451.0796
75 | 2609190.9552 | 1264456.8178
76 | 2609193.3024 | 1264467.1998
77 | 2609197.9259 | 1264487.6499
78 | 2609187.8914 | 1264446.1001
79 | 2609184.8659 | 1264435.516
80 | 2609130.4396 | 1264474.1325
81 | 2609125.0517 | 1264450.223
82 | 2609137.2731 | 1264504.457
83 | 2609120.3028 | 1264429.1546
84 | 2609099.2141 | 1264456.1228
85 | 2609112.0521 | 1264510.2959
86 | 2609118.3126 | 1264420.3254
87 | 2609087.9395 | 1264515.8783
88 | 2609190.0613 | 1264416.3663
89 | 2609116.8114 | 1264413.668
90 | 2609092.5709 | 1264425.6706
91 | 2609112.0297 | 1264392.4633
92 | 2609067.5489 | 1264430.8663
93 | 2609105.7529 | 1264355.6171
94 | 2609074.2438 | 1264400.7801
95 | 2609131.4588 | 1264354.721
96 | 2609087.2346 | 1264512.9395
97 | 2609070.3641 | 1264442.6037
98 | 2608928.3677 | 1264488.5403
99 | 2608905.3523 | 1264498.7276
100 | 2608897.4081 | 1264474.9735
101 | 2608920.4761 | 1264468.27
102 | 2608893.6283 | 1264460.2735
103 | 2608921.7023 | 1264471.4196
104 | 2609174.3062 | 1264363.55

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1