## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2765-37_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2765-37_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2765-37_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2765-37_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2765-37_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2765-37_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2765-37_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2765-37_0_6_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_2765-37_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2765-37_0_6_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_2765-37_0_6_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_2765-37_0_6_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_2765-37_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2765-37_0_6_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_2765-37_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2765-37_0_6_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_2765-37_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_2765-37_0_6_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_2765-37_0_6_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_2765-37_0_6_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_2765-37_0_6_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_2765-37_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_2765-37_0_6_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_2765-37_0_6_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_2765-37_0_6_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_2765-37_0_6_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_2765-37_0_6_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_2765-37_0_6_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_2765-37_0_6_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_2765-37_0_6_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_2765-37_0_6_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_2765-37_0_6_node_76 | 0.4 | n |  | TRUE
32 | bus_LV_2765-37_0_6_node_164 | 0.4 | n |  | TRUE
33 | bus_LV_2765-37_0_6_node_75 | 0.4 | n |  | TRUE
34 | bus_LV_2765-37_0_6_node_78 | 0.4 | n |  | TRUE
35 | bus_LV_2765-37_0_6_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_2765-37_0_6_node_77 | 0.4 | n |  | TRUE
37 | bus_LV_2765-37_0_6_node_162 | 0.4 | n |  | TRUE
38 | bus_LV_2765-37_0_6_node_71 | 0.4 | n |  | TRUE
39 | bus_LV_2765-37_0_6_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_2765-37_0_6_node_79 | 0.4 | n |  | TRUE
41 | bus_LV_2765-37_0_6_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_2765-37_0_6_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_2765-37_0_6_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_2765-37_0_6_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_2765-37_0_6_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_2765-37_0_6_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_2765-37_0_6_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_2765-37_0_6_node_161 | 0.4 | n |  | TRUE
49 | bus_LV_2765-37_0_6_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_2765-37_0_6_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_2765-37_0_6_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_2765-37_0_6_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_2765-37_0_6_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_2765-37_0_6_node_163 | 0.4 | n |  | TRUE
55 | bus_LV_2765-37_0_6_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_2765-37_0_6_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_2765-37_0_6_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_2765-37_0_6_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_2765-37_0_6_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_2765-37_0_6_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_2765-37_0_6_node_123 | 0.4 | n |  | TRUE
62 | bus_LV_2765-37_0_6_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_2765-37_0_6_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_2765-37_0_6_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_2765-37_0_6_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_2765-37_0_6_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_2765-37_0_6_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_2765-37_0_6_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_2765-37_0_6_node_106 | 0.4 | n |  | TRUE
70 | bus_LV_2765-37_0_6_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_2765-37_0_6_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_2765-37_0_6_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_2765-37_0_6_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_2765-37_0_6_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_2765-37_0_6_node_97 | 0.4 | n |  | TRUE
76 | bus_LV_2765-37_0_6_node_99 | 0.4 | n |  | TRUE
77 | bus_LV_2765-37_0_6_node_105 | 0.4 | n |  | TRUE
78 | bus_LV_2765-37_0_6_node_98 | 0.4 | n |  | TRUE
79 | bus_LV_2765-37_0_6_node_95 | 0.4 | n |  | TRUE
80 | bus_LV_2765-37_0_6_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_2765-37_0_6_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_2765-37_0_6_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_2765-37_0_6_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_2765-37_0_6_node_170 | 0.4 | n |  | TRUE
85 | bus_LV_2765-37_0_6_node_168 | 0.4 | n |  | TRUE
86 | bus_LV_2765-37_0_6_node_158 | 0.4 | n |  | TRUE
87 | bus_LV_2765-37_0_6_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_2765-37_0_6_node_169 | 0.4 | n |  | TRUE
89 | bus_LV_2765-37_0_6_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_2765-37_0_6_node_68 | 0.4 | n |  | TRUE
91 | bus_LV_2765-37_0_6_node_70 | 0.4 | n |  | TRUE
92 | bus_LV_2765-37_0_6_node_73 | 0.4 | n |  | TRUE
93 | bus_LV_2765-37_0_6_node_74 | 0.4 | n |  | TRUE
94 | bus_LV_2765-37_0_6_node_80 | 0.4 | n |  | TRUE
95 | bus_LV_2765-37_0_6_node_81 | 0.4 | n |  | TRUE
96 | bus_LV_2765-37_0_6_node_82 | 0.4 | n |  | TRUE
97 | bus_LV_2765-37_0_6_node_83 | 0.4 | n |  | TRUE
98 | bus_LV_2765-37_0_6_node_84 | 0.4 | n |  | TRUE
99 | bus_LV_2765-37_0_6_node_87 | 0.4 | n |  | TRUE
100 | bus_LV_2765-37_0_6_node_85 | 0.4 | n |  | TRUE
101 | bus_LV_2765-37_0_6_node_88 | 0.4 | n |  | TRUE
102 | bus_LV_2765-37_0_6_node_86 | 0.4 | n |  | TRUE
103 | bus_LV_2765-37_0_6_node_89 | 0.4 | n |  | TRUE
104 | bus_LV_2765-37_0_6_node_90 | 0.4 | n |  | TRUE
105 | bus_LV_2765-37_0_6_node_91 | 0.4 | n |  | TRUE
106 | bus_LV_2765-37_0_6_node_96 | 0.4 | n |  | TRUE
107 | bus_LV_2765-37_0_6_node_166 | 0.4 | n |  | TRUE
108 | bus_LV_2765-37_0_6_node_128 | 0.4 | n |  | TRUE
109 | bus_LV_2765-37_0_6_node_165 | 0.4 | n |  | TRUE
110 | bus_LV_2765-37_0_6_node_167 | 0.4 | n |  | TRUE
111 | bus_LV_2765-37_0_6_node_129 | 0.4 | n |  | TRUE
112 | bus_LV_2765-37_0_6_node_130 | 0.4 | n |  | TRUE
113 | bus_LV_2765-37_0_6_node_102 | 0.4 | n |  | TRUE
114 | bus_LV_2765-37_0_6_node_104 | 0.4 | n |  | TRUE
115 | bus_LV_2765-37_0_6_node_100 | 0.4 | n |  | TRUE
116 | bus_LV_2765-37_0_6_node_92 | 0.4 | n |  | TRUE
117 | bus_LV_2765-37_0_6_node_93 | 0.4 | n |  | TRUE
118 | bus_LV_2765-37_0_6_node_94 | 0.4 | n |  | TRUE
119 | bus_LV_2765-37_0_6_node_171 | 0.4 | n |  | TRUE
120 | bus_LV_2765-37_0_6_node_172 | 0.4 | n |  | TRUE
121 | bus_LV_2765-37_0_6_node_173 | 0.4 | n |  | TRUE
122 | bus_LV_2765-37_0_6_node_174 | 0.4 | n |  | TRUE
123 | bus_LV_2765-37_0_6_node_101 | 0.4 | n |  | TRUE
124 | bus_LV_2765-37_0_6_node_103 | 0.4 | n |  | TRUE
125 | bus_LV_2765-37_0_6_node_146 | 0.4 | n |  | TRUE
126 | bus_LV_2765-37_0_6_node_141 | 0.4 | n |  | TRUE
127 | bus_LV_2765-37_0_6_node_107 | 0.4 | n |  | TRUE
128 | bus_LV_2765-37_0_6_node_108 | 0.4 | n |  | TRUE
129 | bus_LV_2765-37_0_6_node_110 | 0.4 | n |  | TRUE
130 | bus_LV_2765-37_0_6_node_111 | 0.4 | n |  | TRUE
131 | bus_LV_2765-37_0_6_node_109 | 0.4 | n |  | TRUE
132 | bus_LV_2765-37_0_6_node_160 | 0.4 | n |  | TRUE
133 | bus_LV_2765-37_0_6_node_114 | 0.4 | n |  | TRUE
134 | bus_LV_2765-37_0_6_node_131 | 0.4 | n |  | TRUE
135 | bus_LV_2765-37_0_6_node_116 | 0.4 | n |  | TRUE
136 | bus_LV_2765-37_0_6_node_137 | 0.4 | n |  | TRUE
137 | bus_LV_2765-37_0_6_node_115 | 0.4 | n |  | TRUE
138 | bus_LV_2765-37_0_6_node_113 | 0.4 | n |  | TRUE
139 | bus_LV_2765-37_0_6_node_159 | 0.4 | n |  | TRUE
140 | bus_LV_2765-37_0_6_node_132 | 0.4 | n |  | TRUE
141 | bus_LV_2765-37_0_6_node_112 | 0.4 | n |  | TRUE
142 | bus_LV_2765-37_0_6_node_121 | 0.4 | n |  | TRUE
143 | bus_LV_2765-37_0_6_node_120 | 0.4 | n |  | TRUE
144 | bus_LV_2765-37_0_6_node_136 | 0.4 | n |  | TRUE
145 | bus_LV_2765-37_0_6_node_117 | 0.4 | n |  | TRUE
146 | bus_LV_2765-37_0_6_node_118 | 0.4 | n |  | TRUE
147 | bus_LV_2765-37_0_6_node_119 | 0.4 | n |  | TRUE
148 | bus_LV_2765-37_0_6_node_122 | 0.4 | n |  | TRUE
149 | bus_LV_2765-37_0_6_node_126 | 0.4 | n |  | TRUE
150 | bus_LV_2765-37_0_6_node_156 | 0.4 | n |  | TRUE
151 | bus_LV_2765-37_0_6_node_125 | 0.4 | n |  | TRUE
152 | bus_LV_2765-37_0_6_node_175 | 0.4 | n |  | TRUE
153 | bus_LV_2765-37_0_6_node_134 | 0.4 | n |  | TRUE
154 | bus_LV_2765-37_0_6_node_133 | 0.4 | n |  | TRUE
155 | bus_LV_2765-37_0_6_node_138 | 0.4 | n |  | TRUE
156 | bus_LV_2765-37_0_6_node_135 | 0.4 | n |  | TRUE
157 | bus_LV_2765-37_0_6_node_139 | 0.4 | n |  | TRUE
158 | bus_LV_2765-37_0_6_node_140 | 0.4 | n |  | TRUE
159 | bus_LV_2765-37_0_6_node_142 | 0.4 | n |  | TRUE
160 | bus_LV_2765-37_0_6_node_149 | 0.4 | n |  | TRUE
161 | bus_LV_2765-37_0_6_node_147 | 0.4 | n |  | TRUE
162 | bus_LV_2765-37_0_6_node_143 | 0.4 | n |  | TRUE
163 | bus_LV_2765-37_0_6_node_148 | 0.4 | n |  | TRUE
164 | bus_LV_2765-37_0_6_node_155 | 0.4 | n |  | TRUE
165 | bus_LV_2765-37_0_6_node_154 | 0.4 | n |  | TRUE
166 | bus_LV_2765-37_0_6_node_150 | 0.4 | n |  | TRUE
167 | bus_LV_2765-37_0_6_node_153 | 0.4 | n |  | TRUE
168 | bus_LV_2765-37_0_6_node_151 | 0.4 | n |  | TRUE
169 | bus_MV_566_0_node_160 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2765-37_0_6_load_0 | 0 | 0.002768 | 0.00069372 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2765-37_0_6_load_1 | 1 | 0.0018914 | 0.00047402 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2765-37_0_6_load_2 | 2 | 0.0036476 | 0.00091418 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2765-37_0_6_load_3 | 3 | 0.0029227 | 0.0007325 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2765-37_0_6_load_6 | 6 | 0.0054202 | 0.0013584 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2765-37_0_6_load_7 | 8 | 0.0034548 | 0.00086585 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2765-37_0_6_load_25 | 9 | 0.0081196 | 0.002035 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2765-37_0_6_load_13 | 10 | 0.0044877 | 0.0011247 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2765-37_0_6_load_11 | 11 | 0.0016309 | 0.00040875 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2765-37_0_6_load_8 | 12 | 0.0024519 | 0.0006145 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2765-37_0_6_load_9 | 14 | 0.0023195 | 0.00058132 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2765-37_0_6_load_15 | 15 | 0.0036018 | 0.0009027 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2765-37_0_6_load_19 | 18 | 0.0044979 | 0.0011273 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2765-37_0_6_load_17 | 19 | 0.0026739 | 0.00067014 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2765-37_0_6_load_22 | 20 | 0.0037185 | 0.00093193 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2765-37_0_6_load_16 | 21 | 0.00339 | 0.00084962 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2765-37_0_6_load_18 | 22 | 0.0063356 | 0.0015878 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2765-37_0_6_load_20 | 24 | 0.0036161 | 0.00090627 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2765-37_0_6_load_23 | 25 | 0.0021926 | 0.00054952 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2765-37_0_6_load_28 | 27 | 0.0019869 | 0.00049797 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2765-37_0_6_load_30 | 30 | 0.0081652 | 0.0020464 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2765-37_0_6_load_76 | 31 | 0.0019156 | 0.00048009 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2765-37_0_6_load_164 | 32 | 0.002638 | 0.00066113 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2765-37_0_6_load_78 | 34 | 0.00413 | 0.0010351 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2765-37_0_6_load_77 | 36 | 0.0020747 | 0.00051997 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2765-37_0_6_load_162 | 37 | 0.0041278 | 0.0010345 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2765-37_0_6_load_33 | 39 | 0.0062907 | 0.0015766 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2765-37_0_6_load_34 | 41 | 0.0027187 | 0.00068137 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2765-37_0_6_load_35 | 42 | 0.0014664 | 0.00036752 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2765-37_0_6_load_37 | 44 | 0.0025582 | 0.00064115 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2765-37_0_6_load_161 | 48 | 0.0029487 | 0.00073902 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2765-37_0_6_load_63 | 50 | 0.00098517 | 0.00024691 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2765-37_0_6_load_59 | 53 | 0.010419 | 0.0026113 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2765-37_0_6_load_163 | 54 | 0.0066846 | 0.0016753 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2765-37_0_6_load_42 | 55 | 0.0025782 | 0.00064616 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2765-37_0_6_load_43 | 56 | 0.0042307 | 0.0010603 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2765-37_0_6_load_45 | 58 | 0.002541 | 0.00063683 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2765-37_0_6_load_123 | 61 | 0.0036763 | 0.00092136 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2765-37_0_6_load_52 | 63 | 0.0045124 | 0.0011309 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2765-37_0_6_load_49 | 64 | 0.0027837 | 0.00069766 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2765-37_0_6_load_50 | 65 | 0.002561 | 0.00064184 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2765-37_0_6_load_106 | 69 | 0.0052164 | 0.0013073 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2765-37_0_6_load_58 | 70 | 0.0031448 | 0.00078817 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2765-37_0_6_load_55 | 71 | 0.0043189 | 0.0010824 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2765-37_0_6_load_56 | 72 | 0.0024371 | 0.00061079 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2765-37_0_6_load_61 | 74 | 0.0028553 | 0.00071561 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2765-37_0_6_load_99 | 76 | 0.0035794 | 0.00089709 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2765-37_0_6_load_105 | 77 | 0.0084062 | 0.0021068 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2765-37_0_6_load_64 | 80 | 0.0034698 | 0.00086962 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2765-37_0_6_load_170 | 84 | 0.0019357 | 0.00048512 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2765-37_0_6_load_158 | 86 | 0.0043465 | 0.0010893 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2765-37_0_6_load_72 | 87 | 0.00087612 | 0.00021958 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2765-37_0_6_load_169 | 88 | 0.001425 | 0.00035715 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2765-37_0_6_load_68 | 90 | 0.0025602 | 0.00064164 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2765-37_0_6_load_70 | 91 | 0.0021876 | 0.00054826 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2765-37_0_6_load_73 | 92 | 0.0031889 | 0.00079922 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2765-37_0_6_load_74 | 93 | 0.0043815 | 0.0010981 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2765-37_0_6_load_80 | 94 | 0.008268 | 0.0020722 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2765-37_0_6_load_81 | 95 | 0.0032369 | 0.00081125 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2765-37_0_6_load_83 | 97 | 0.0084755 | 0.0021242 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2765-37_0_6_load_87 | 99 | 0.0043276 | 0.0010846 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2765-37_0_6_load_85 | 100 | 0.0018033 | 0.00045196 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2765-37_0_6_load_86 | 102 | 0.0033888 | 0.00084932 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2765-37_0_6_load_90 | 104 | 0.0028786 | 0.00072144 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2765-37_0_6_load_166 | 107 | 0.0021703 | 0.00054394 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2765-37_0_6_load_165 | 109 | 0.0087668 | 0.0021972 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2765-37_0_6_load_167 | 110 | 0.0079836 | 0.0020009 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2765-37_0_6_load_104 | 114 | 0.014075 | 0.0035275 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2765-37_0_6_load_100 | 115 | 0.027884 | 0.0069884 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2765-37_0_6_load_92 | 116 | 0.0023105 | 0.00057907 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2765-37_0_6_load_93 | 117 | 0.0046246 | 0.001159 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2765-37_0_6_load_94 | 118 | 0.0024562 | 0.00061559 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2765-37_0_6_load_171 | 119 | 0.0029463 | 0.00073842 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2765-37_0_6_load_173 | 121 | 0.0070633 | 0.0017702 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2765-37_0_6_load_174 | 122 | 0.006796 | 0.0017032 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2765-37_0_6_load_146 | 125 | 0.0090054 | 0.002257 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2765-37_0_6_load_107 | 127 | 0.021191 | 0.0053111 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2765-37_0_6_load_110 | 129 | 0.012345 | 0.003094 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2765-37_0_6_load_160 | 132 | 0.022043 | 0.0055245 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2765-37_0_6_load_131 | 134 | 0.0066166 | 0.0016583 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2765-37_0_6_load_137 | 136 | 0.010574 | 0.00265 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2765-37_0_6_load_115 | 137 | 0.0011687 | 0.00029291 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2765-37_0_6_load_113 | 138 | 0.01724 | 0.0043208 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2765-37_0_6_load_159 | 139 | 0.018873 | 0.0047299 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2765-37_0_6_load_112 | 141 | 0.015892 | 0.003983 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2765-37_0_6_load_136 | 144 | 0.002852 | 0.00071478 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2765-37_0_6_load_117 | 145 | 0.0042406 | 0.0010628 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2765-37_0_6_load_118 | 146 | 0.003529 | 0.00088444 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2765-37_0_6_load_119 | 147 | 0.0033533 | 0.00084042 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2765-37_0_6_load_126 | 149 | 0.0028929 | 0.00072503 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2765-37_0_6_load_156 | 150 | 0.0029186 | 0.00073147 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2765-37_0_6_load_125 | 151 | 0.0044266 | 0.0011094 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2765-37_0_6_load_175 | 152 | 0.014577 | 0.0036533 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2765-37_0_6_load_135 | 156 | 0.024535 | 0.0061491 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2765-37_0_6_load_139 | 157 | 0.00095776 | 0.00024004 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2765-37_0_6_load_149 | 160 | 0.0043436 | 0.0010886 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2765-37_0_6_load_147 | 161 | 0.0051125 | 0.0012813 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2765-37_0_6_load_143 | 162 | 0.012969 | 0.0032504 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2765-37_0_6_load_155 | 164 | 0.0071178 | 0.0017839 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2765-37_0_6_load_153 | 167 | 0.016356 | 0.0040991 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 103 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2765-37_0_6_line_0 |  | 0 | 1 | 0.016296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2765-37_0_6_line_1 |  | 1 | 2 | 0.014555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2765-37_0_6_line_2 |  | 2 | 3 | 0.014802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2765-37_0_6_line_3 |  | 3 | 4 | 0.009652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2765-37_0_6_line_4 |  | 4 | 5 | 0.022026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2765-37_0_6_line_5 |  | 4 | 6 | 0.026287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2765-37_0_6_line_6 |  | 5 | 7 | 0.003138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2765-37_0_6_line_7 |  | 5 | 8 | 0.017636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2765-37_0_6_line_8 |  | 6 | 9 | 0.039533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2765-37_0_6_line_9 |  | 7 | 10 | 0.024913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2765-37_0_6_line_10 |  | 7 | 11 | 0.0084348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2765-37_0_6_line_11 |  | 8 | 12 | 0.036599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2765-37_0_6_line_12 |  | 9 | 13 | 0.06145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2765-37_0_6_line_13 |  | 10 | 15 | 0.02215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2765-37_0_6_line_14 |  | 11 | 16 | 0.00061373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2765-37_0_6_line_15 |  | 12 | 14 | 0.024367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2765-37_0_6_line_16 |  | 13 | 26 | 0.027678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2765-37_0_6_line_17 |  | 13 | 27 | 0.0081785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2765-37_0_6_line_18 |  | 13 | 28 | 0.03338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2765-37_0_6_line_19 |  | 16 | 17 | 0.011047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2765-37_0_6_line_20 |  | 17 | 18 | 0.012325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2765-37_0_6_line_21 |  | 17 | 19 | 0.0099074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2765-37_0_6_line_22 |  | 18 | 20 | 0.018361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2765-37_0_6_line_23 |  | 19 | 21 | 0.032988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2765-37_0_6_line_24 |  | 20 | 23 | 0.009213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2765-37_0_6_line_25 |  | 21 | 22 | 0.0085603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2765-37_0_6_line_26 |  | 23 | 25 | 0.0011155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2765-37_0_6_line_27 |  | 23 | 24 | 0.01639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2765-37_0_6_line_28 |  | 26 | 29 | 0.020168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2765-37_0_6_line_29 |  | 26 | 30 | 0.02337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2765-37_0_6_line_30 |  | 27 | 31 | 0.016238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2765-37_0_6_line_31 |  | 28 | 32 | 0.022728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2765-37_0_6_line_32 |  | 28 | 33 | 0.021463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2765-37_0_6_line_33 |  | 29 | 34 | 0.027188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2765-37_0_6_line_34 |  | 30 | 35 | 0.019709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2765-37_0_6_line_35 |  | 31 | 36 | 0.016459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2765-37_0_6_line_36 |  | 33 | 37 | 0.012954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2765-37_0_6_line_37 |  | 33 | 38 | 0.028737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2765-37_0_6_line_38 |  | 34 | 40 | 0.0058596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2765-37_0_6_line_39 |  | 35 | 39 | 0.006497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2765-37_0_6_line_40 |  | 38 | 92 | 0.017133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2765-37_0_6_line_41 |  | 38 | 89 | 0.029584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2765-37_0_6_line_42 |  | 40 | 94 | 0.021579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2765-37_0_6_line_43 |  | 40 | 95 | 0.015565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2765-37_0_6_line_44 |  | 41 | 42 | 0.017918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2765-37_0_6_line_45 |  | 41 | 43 | 0.010313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2765-37_0_6_line_46 |  | 42 | 44 | 0.0083389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2765-37_0_6_line_47 |  | 43 | 45 | 0.008334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2765-37_0_6_line_48 |  | 43 | 46 | 0.014682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2765-37_0_6_line_49 |  | 44 | 47 | 0.0098682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2765-37_0_6_line_50 |  | 45 | 48 | 0.012037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2765-37_0_6_line_51 |  | 45 | 49 | 0.01963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2765-37_0_6_line_52 |  | 46 | 50 | 0.0085562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2765-37_0_6_line_53 |  | 47 | 51 | 0.079163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2765-37_0_6_line_54 |  | 49 | 52 | 0.014654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2765-37_0_6_line_55 |  | 49 | 53 | 0.011937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2765-37_0_6_line_56 |  | 51 | 54 | 0.061155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2765-37_0_6_line_57 |  | 52 | 76 | 0.019009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2765-37_0_6_line_58 |  | 53 | 73 | 0.033784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2765-37_0_6_line_59 |  | 55 | 56 | 0.008541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2765-37_0_6_line_60 |  | 55 | 57 | 0.053444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2765-37_0_6_line_61 |  | 56 | 58 | 0.0094931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2765-37_0_6_line_62 |  | 57 | 59 | 0.020179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2765-37_0_6_line_63 |  | 58 | 60 | 0.011188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2765-37_0_6_line_64 |  | 59 | 61 | 0.0020816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2765-37_0_6_line_65 |  | 60 | 62 | 0.003237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2765-37_0_6_line_66 |  | 62 | 63 | 0.012426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2765-37_0_6_line_67 |  | 62 | 64 | 0.0035461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2765-37_0_6_line_68 |  | 64 | 65 | 0.015782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2765-37_0_6_line_69 |  | 65 | 66 | 0.0084199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2765-37_0_6_line_70 |  | 66 | 67 | 0.046681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2765-37_0_6_line_71 |  | 66 | 68 | 0.006218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2765-37_0_6_line_72 |  | 67 | 69 | 0.0064812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2765-37_0_6_line_73 |  | 68 | 70 | 0.010375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2765-37_0_6_line_74 |  | 68 | 71 | 0.0097183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2765-37_0_6_line_75 |  | 71 | 72 | 0.027797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2765-37_0_6_line_76 |  | 72 | 73 | 0.023945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2765-37_0_6_line_77 |  | 73 | 74 | 0.011809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2765-37_0_6_line_78 |  | 74 | 75 | 0.0045158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2765-37_0_6_line_79 |  | 75 | 77 | 0.024423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2765-37_0_6_line_80 |  | 75 | 78 | 0.035036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2765-37_0_6_line_81 |  | 75 | 79 | 0.028011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2765-37_0_6_line_82 |  | 78 | 119 | 0.01112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2765-37_0_6_line_83 |  | 78 | 120 | 0.014382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2765-37_0_6_line_84 |  | 79 | 106 | 0.004889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2765-37_0_6_line_85 |  | 79 | 117 | 0.036754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2765-37_0_6_line_86 |  | 80 | 81 | 0.027581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2765-37_0_6_line_87 |  | 81 | 82 | 0.019584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2765-37_0_6_line_88 |  | 81 | 83 | 0.021106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2765-37_0_6_line_89 |  | 82 | 84 | 0.014432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2765-37_0_6_line_90 |  | 82 | 85 | 0.008717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2765-37_0_6_line_91 |  | 83 | 86 | 0.018995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2765-37_0_6_line_92 |  | 83 | 87 | 0.012715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2765-37_0_6_line_93 |  | 85 | 88 | 0.014616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2765-37_0_6_line_94 |  | 87 | 89 | 0.008937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2765-37_0_6_line_95 |  | 89 | 90 | 0.015626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2765-37_0_6_line_96 |  | 90 | 91 | 0.024049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2765-37_0_6_line_97 |  | 92 | 93 | 0.025905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2765-37_0_6_line_98 |  | 95 | 96 | 0.026551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
99 | LV_2765-37_0_6_line_99 |  | 96 | 97 | 0.024564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2765-37_0_6_line_100 |  | 96 | 98 | 0.01589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
101 | LV_2765-37_0_6_line_101 |  | 98 | 99 | 0.02651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_2765-37_0_6_line_102 |  | 98 | 100 | 0.012865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2765-37_0_6_line_103 |  | 99 | 101 | 0.012195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
104 | LV_2765-37_0_6_line_104 |  | 100 | 102 | 0.0011781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2765-37_0_6_line_105 |  | 101 | 103 | 0.051682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
106 | LV_2765-37_0_6_line_106 |  | 101 | 104 | 0.021488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
107 | LV_2765-37_0_6_line_107 |  | 101 | 105 | 0.020361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2765-37_0_6_line_108 |  | 103 | 106 | 0.013611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2765-37_0_6_line_109 |  | 103 | 107 | 0.020954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2765-37_0_6_line_110 |  | 104 | 108 | 0.0040377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
111 | LV_2765-37_0_6_line_111 |  | 105 | 109 | 0.016518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2765-37_0_6_line_112 |  | 106 | 110 | 0.011687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2765-37_0_6_line_113 |  | 108 | 111 | 0.040224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2765-37_0_6_line_114 |  | 108 | 112 | 0.034506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
115 | LV_2765-37_0_6_line_115 |  | 111 | 152 | 0.005226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_2765-37_0_6_line_116 |  | 112 | 139 | 0.015359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_2765-37_0_6_line_117 |  | 112 | 130 | 0.014013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
118 | LV_2765-37_0_6_line_118 |  | 113 | 114 | 0.033122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_2765-37_0_6_line_119 |  | 113 | 115 | 0.012183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_2765-37_0_6_line_120 |  | 115 | 123 | 0.017141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_2765-37_0_6_line_121 |  | 116 | 117 | 0.034849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_2765-37_0_6_line_122 |  | 116 | 118 | 0.011212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_2765-37_0_6_line_123 |  | 120 | 121 | 0.004419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_2765-37_0_6_line_124 |  | 120 | 122 | 0.01138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_2765-37_0_6_line_125 |  | 123 | 124 | 0.018354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_2765-37_0_6_line_126 |  | 124 | 125 | 0.02677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_2765-37_0_6_line_127 |  | 125 | 126 | 0.030505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_2765-37_0_6_line_128 |  | 126 | 159 | 0.019517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_2765-37_0_6_line_129 |  | 126 | 153 | 0.028716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_2765-37_0_6_line_130 |  | 127 | 128 | 0.020098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_2765-37_0_6_line_131 |  | 128 | 129 | 0.026914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_2765-37_0_6_line_132 |  | 128 | 130 | 0.007215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_2765-37_0_6_line_133 |  | 130 | 134 | 0.034356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
134 | LV_2765-37_0_6_line_134 |  | 131 | 132 | 0.020204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_2765-37_0_6_line_135 |  | 131 | 133 | 0.028692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_2765-37_0_6_line_136 |  | 133 | 137 | 0.0052929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_2765-37_0_6_line_137 |  | 133 | 138 | 0.046193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_2765-37_0_6_line_138 |  | 133 | 135 | 0.032765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_2765-37_0_6_line_139 |  | 134 | 140 | 0.015456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
140 | LV_2765-37_0_6_line_140 |  | 135 | 136 | 0.018943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_2765-37_0_6_line_141 |  | 136 | 144 | 0.024604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_2765-37_0_6_line_142 |  | 137 | 142 | 0.015783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_2765-37_0_6_line_143 |  | 138 | 141 | 0.028717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_2765-37_0_6_line_144 |  | 140 | 153 | 0.018967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
145 | LV_2765-37_0_6_line_145 |  | 142 | 143 | 0.017705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_2765-37_0_6_line_146 |  | 143 | 148 | 0.0069631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_2765-37_0_6_line_147 |  | 143 | 146 | 0.071407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_2765-37_0_6_line_148 |  | 144 | 156 | 0.019916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_2765-37_0_6_line_149 |  | 145 | 146 | 0.0030424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_2765-37_0_6_line_150 |  | 145 | 147 | 0.0091986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_2765-37_0_6_line_151 |  | 148 | 149 | 0.034213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_2765-37_0_6_line_152 |  | 149 | 150 | 0.057478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_2765-37_0_6_line_153 |  | 149 | 151 | 0.013579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_2765-37_0_6_line_154 |  | 153 | 157 | 0.016151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
155 | LV_2765-37_0_6_line_155 |  | 154 | 155 | 0.010316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_2765-37_0_6_line_156 |  | 154 | 156 | 0.014363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_2765-37_0_6_line_157 |  | 155 | 158 | 0.00863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_2765-37_0_6_line_158 |  | 157 | 158 | 0.022918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
159 | LV_2765-37_0_6_line_159 |  | 158 | 162 | 0.005825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_2765-37_0_6_line_160 |  | 159 | 160 | 0.0217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_2765-37_0_6_line_161 |  | 159 | 161 | 0.025924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_2765-37_0_6_line_162 |  | 161 | 163 | 0.0023184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_2765-37_0_6_line_163 |  | 163 | 166 | 0.042521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_2765-37_0_6_line_164 |  | 164 | 165 | 0.043768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
165 | LV_2765-37_0_6_line_165 |  | 165 | 168 | 0.04107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
166 | LV_2765-37_0_6_line_166 |  | 166 | 167 | 0.006097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
167 | LV_2765-37_0_6_line_167 |  | 167 | 168 | 0.023886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2765-37_0_6_trafo_89 | 0.63 MVA 20/0.4 kV | 169 | 103 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2608684.1047 | 1265681.5652 | 2608673.6253 | 1265669.0853
1 | 2608673.6253 | 1265669.0853 | 2608664.5633 | 1265658.2934 | 2608664.2703 | 1265657.9353
2 | 2608664.2703 | 1265657.9353 | 2608654.8944 | 1265646.4814
3 | 2608648.7807 | 1265639.0126 | 2608654.8944 | 1265646.4814
4 | 2608634.3494 | 1265622.3357 | 2608648.7807 | 1265639.0126
5 | 2608648.7807 | 1265639.0126 | 2608665.0068 | 1265622.5915 | 2608663.8657 | 1265620.3438 | 2608664.4124 | 1265619.938
6 | 2608634.3494 | 1265622.3357 | 2608632.3277 | 1265619.9311
7 | 2608634.3494 | 1265622.3357 | 2608621.7794 | 1265634.7057
8 | 2608664.4124 | 1265619.938 | 2608669.3677 | 1265616.2601 | 2608674.0837 | 1265614.2767 | 2608675.1941 | 1265611.8211 | 2608691.1847 | 1265596.9118 | 2608689.9701 | 1265593.4298
9 | 2608632.3277 | 1265619.9311 | 2608615.3232 | 1265638.1389
10 | 2608632.3277 | 1265619.9311 | 2608626.8979 | 1265613.4764
11 | 2608621.7794 | 1265634.7057 | 2608608.0512 | 1265648.2156 | 2608606.8796 | 1265651.3827 | 2608615.0404 | 1265662.7111
12 | 2608735.8277 | 1265553.2024 | 2608703.9805 | 1265583.7769 | 2608702.5089 | 1265586.1765 | 2608695.0792 | 1265590.3685 | 2608689.9701 | 1265593.4298
13 | 2608615.3232 | 1265638.1389 | 2608600.2047 | 1265654.3273
14 | 2608626.8979 | 1265613.4764 | 2608626.5028 | 1265613.0067
15 | 2608615.0404 | 1265662.7111 | 2608620.3744 | 1265670.1153 | 2608611.2821 | 1265682.3479
16 | 2608735.8277 | 1265553.2024 | 2608723.0268 | 1265528.6444
17 | 2608735.8277 | 1265553.2024 | 2608743.8986 | 1265554.5246
18 | 2608735.8277 | 1265553.2024 | 2608746.8256 | 1265575.067 | 2608749.1752 | 1265579.8071 | 2608750.7816 | 1265583.045
19 | 2608619.3927 | 1265604.535 | 2608626.5028 | 1265613.0067
20 | 2608619.3927 | 1265604.535 | 2608611.4641 | 1265595.099
21 | 2608619.3927 | 1265604.535 | 2608613.1401 | 1265612.2202
22 | 2608599.6522 | 1265581.0414 | 2608611.4641 | 1265595.099
23 | 2608587.4266 | 1265624.1666 | 2608590.4058 | 1265625.7412 | 2608595.5587 | 1265623.5582 | 2608602.3172 | 1265620.0322 | 2608606.1182 | 1265620.7938 | 2608612.7942 | 1265617.1008 | 2608613.1401 | 1265612.2202 | 2608613.1401 | 1265612.2202
24 | 2608593.7255 | 1265573.9879 | 2608599.6522 | 1265581.0414
25 | 2608579.8583 | 1265620.1666 | 2608587.4266 | 1265624.1666
26 | 2608593.7255 | 1265573.9879 | 2608592.9785 | 1265573.1593
27 | 2608593.7255 | 1265573.9879 | 2608581.7292 | 1265585.1561
28 | 2608713.9129 | 1265510.6408 | 2608723.0268 | 1265528.6444
29 | 2608723.0268 | 1265528.6444 | 2608702.0166 | 1265538.8771
30 | 2608743.8986 | 1265554.5246 | 2608759.9233 | 1265557.1498
31 | 2608750.7816 | 1265583.045 | 2608765.872 | 1265576.3514 | 2608767.8799 | 1265572.8409 | 2608766.9191 | 1265570.838
32 | 2608760.3226 | 1265602.2835 | 2608750.7816 | 1265583.045
33 | 2608713.9129 | 1265510.6408 | 2608721.6992 | 1265509.7404 | 2608736.5634 | 1265508.4835 | 2608740.9961 | 1265508.4757
34 | 2608693.0318 | 1265553.9403 | 2608694.8029 | 1265542.3904 | 2608702.0166 | 1265538.8771
35 | 2608776.1659 | 1265559.8107 | 2608759.9233 | 1265557.1498
36 | 2608760.3226 | 1265602.2835 | 2608771.7005 | 1265596.0292
37 | 2608760.3226 | 1265602.2835 | 2608763.1376 | 1265607.9582 | 2608765.1794 | 1265612.0752 | 2608774.5456 | 1265627.244
38 | 2608746.8557 | 1265508.4653 | 2608740.9961 | 1265508.4757
39 | 2608693.0318 | 1265553.9403 | 2608699.2252 | 1265555.9618
40 | 2608774.5456 | 1265627.244 | 2608788.4939 | 1265617.2956
41 | 2608790.0933 | 1265652.4399 | 2608784.7004 | 1265643.7037 | 2608774.5456 | 1265627.244
42 | 2608746.8557 | 1265508.4653 | 2608747.1441 | 1265501.75 | 2608738.8888 | 1265493.8435 | 2608736.4379 | 1265491.416
43 | 2608746.8557 | 1265508.4653 | 2608762.2158 | 1265510.9798
44 | 2608933.8971 | 1265697.9368 | 2608934.8717 | 1265698.8097 | 2608939.6169 | 1265702.475 | 2608946.0876 | 1265705.1421 | 2608949.5473 | 1265706.189
45 | 2608927.0696 | 1265690.2699 | 2608930.7063 | 1265695.0787 | 2608933.8971 | 1265697.9368
46 | 2608949.5473 | 1265706.189 | 2608954.4333 | 1265707.6675 | 2608957.5522 | 1265708.523
47 | 2608927.0696 | 1265690.2699 | 2608923.1204 | 1265682.9255
48 | 2608927.0696 | 1265690.2699 | 2608923.0205 | 1265704.3847
49 | 2608967.0689 | 1265711.1334 | 2608957.5522 | 1265708.523
50 | 2608911.0731 | 1265683.7192 | 2608923.1204 | 1265682.9255
51 | 2608923.1204 | 1265682.9255 | 2608914.1647 | 1265665.4445
52 | 2608923.0205 | 1265704.3847 | 2608914.4824 | 1265704.9409
53 | 2608967.0689 | 1265711.1334 | 2608985.3725 | 1265715.4195 | 2608995.1108 | 1265718.0582 | 2609039.4309 | 1265729.1997 | 2609043.9015 | 1265730.1739
54 | 2608914.1647 | 1265665.4445 | 2608899.9634 | 1265661.665
55 | 2608914.1647 | 1265665.4445 | 2608908.9068 | 1265654.7275
56 | 2609043.9015 | 1265730.1739 | 2609049.1027 | 1265676.4778 | 2609042.7008 | 1265673.1325
57 | 2608899.9634 | 1265661.665 | 2608893.609 | 1265666.7035 | 2608883.7353 | 1265671.3184
58 | 2608894.0261 | 1265624.397 | 2608908.9068 | 1265654.7275
59 | 2609021.8934 | 1265620.932 | 2609013.3556 | 1265621.1626
60 | 2609075.3065 | 1265619.9341 | 2609071.0156 | 1265619.6051 | 2609021.8934 | 1265620.932
61 | 2609003.8659 | 1265621.4189 | 2609013.3556 | 1265621.1626
62 | 2609095.5158 | 1265618.8308 | 2609075.3065 | 1265619.9341
63 | 2608992.6815 | 1265621.7211 | 2609003.8659 | 1265621.4189
64 | 2609095.5158 | 1265618.8308 | 2609097.5934 | 1265618.7013
65 | 2608989.4364 | 1265621.8162 | 2608992.6815 | 1265621.7211
66 | 2608989.4364 | 1265621.8162 | 2608989.809 | 1265609.3971
67 | 2608989.4364 | 1265621.8162 | 2608985.8916 | 1265621.9118
68 | 2608985.8916 | 1265621.9118 | 2608970.1156 | 1265622.337
69 | 2608961.6987 | 1265622.5638 | 2608970.1156 | 1265622.337
70 | 2608961.6987 | 1265622.5638 | 2608962.153 | 1265575.8877
71 | 2608955.4646 | 1265622.7323 | 2608961.6987 | 1265622.5638
72 | 2608962.153 | 1265575.8877 | 2608957.4958 | 1265573.7347 | 2608957.7824 | 1265572.4151
73 | 2608955.4646 | 1265622.7323 | 2608955.4802 | 1265612.3585
74 | 2608955.4646 | 1265622.7323 | 2608945.7498 | 1265622.9956
75 | 2608945.7498 | 1265622.9956 | 2608917.9626 | 1265623.7484
76 | 2608894.0261 | 1265624.397 | 2608917.9626 | 1265623.7484
77 | 2608894.0261 | 1265624.397 | 2608890.1451 | 1265616.7525 | 2608888.6785 | 1265613.8679
78 | 2608886.6319 | 1265609.8425 | 2608888.6785 | 1265613.8679
79 | 2608865.0143 | 1265621.3294 | 2608886.6319 | 1265609.8425
80 | 2608886.6319 | 1265609.8425 | 2608884.8677 | 1265606.3819 | 2608863.3176 | 1265618.0357 | 2608858.9205 | 1265618.2293 | 2608857.7187 | 1265616.3262
81 | 2608873.9377 | 1265584.8729 | 2608884.8677 | 1265606.3819 | 2608886.6319 | 1265609.8425
82 | 2608857.7187 | 1265616.3262 | 2608848.0133 | 1265621.8044
83 | 2608857.7187 | 1265616.3262 | 2608849.4393 | 1265604.5501
84 | 2608873.9377 | 1265584.8729 | 2608871.7231 | 1265580.5111
85 | 2608873.9377 | 1265584.8729 | 2608837.1896 | 1265584.1872
86 | 2608819.1233 | 1265683.8157 | 2608838.838 | 1265664.5268
87 | 2608833.4911 | 1265697.1685 | 2608823.3638 | 1265687.7136 | 2608819.1233 | 1265683.8157
88 | 2608804.4344 | 1265668.6612 | 2608805.0582 | 1265669.3626 | 2608811.2975 | 1265675.8764 | 2608819.1233 | 1265683.8157
89 | 2608833.4911 | 1265697.1685 | 2608843.9033 | 1265687.1436
90 | 2608839.7234 | 1265703.282 | 2608833.4911 | 1265697.1685
91 | 2608818.9532 | 1265656.3631 | 2608804.4344 | 1265668.6612
92 | 2608804.4344 | 1265668.6612 | 2608796.0127 | 1265659.1355
93 | 2608839.7234 | 1265703.282 | 2608849.4217 | 1265692.3221
94 | 2608790.0933 | 1265652.4399 | 2608796.0127 | 1265659.1355
95 | 2608790.0933 | 1265652.4399 | 2608802.3485 | 1265642.7449
96 | 2608815.7695 | 1265625.1367 | 2608815.6536 | 1265632.2192 | 2608802.3485 | 1265642.7449
97 | 2608801.6768 | 1265598.742 | 2608795.8123 | 1265603.4588 | 2608797.1034 | 1265611.155 | 2608788.4939 | 1265617.2956
98 | 2608788.1859 | 1265516.4984 | 2608763.1672 | 1265511.1356 | 2608762.2158 | 1265510.9798
99 | 2608788.1859 | 1265516.4984 | 2608788.0977 | 1265504.8346 | 2608787.8255 | 1265500.4979 | 2608782.1355 | 1265494.0961
100 | 2608803.9103 | 1265519.0233 | 2608794.275 | 1265517.7638 | 2608788.1859 | 1265516.4984
101 | 2608803.9103 | 1265519.0233 | 2608821.7741 | 1265520.8399 | 2608830.3122 | 1265521.366
102 | 2608803.9103 | 1265519.0233 | 2608803.9534 | 1265531.8884
103 | 2608842.4846 | 1265522.116 | 2608830.3122 | 1265521.366
104 | 2608803.9573 | 1265533.0665 | 2608803.9534 | 1265531.8884
105 | 2608842.4846 | 1265522.116 | 2608848.203 | 1265534.711 | 2608855.1982 | 1265549.3871 | 2608865.3565 | 1265568.471
106 | 2608842.4846 | 1265522.116 | 2608850.0214 | 1265521.9382 | 2608863.9705 | 1265521.9675
107 | 2608842.4846 | 1265522.116 | 2608838.9595 | 1265512.9599 | 2608836.6559 | 1265502.6605
108 | 2608865.3565 | 1265568.471 | 2608870.9725 | 1265579.0311 | 2608871.7231 | 1265580.5111
109 | 2608845.1422 | 1265562.737 | 2608865.3565 | 1265568.471
110 | 2608868.0082 | 1265521.976 | 2608863.9705 | 1265521.9675
111 | 2608820.1543 | 1265501.1906 | 2608836.6559 | 1265502.6605
112 | 2608871.7231 | 1265580.5111 | 2608883.4457 | 1265580.5397
113 | 2608868.0082 | 1265521.976 | 2608869.1975 | 1265481.7722
114 | 2608868.0082 | 1265521.976 | 2608885.852 | 1265522.0138 | 2608902.5137 | 1265522.0387
115 | 2608869.1975 | 1265481.7722 | 2608863.9574 | 1265481.642
116 | 2608901.8207 | 1265537.3816 | 2608902.5137 | 1265522.0387
117 | 2608916.5623 | 1265522.46 | 2608902.5137 | 1265522.0387
118 | 2608834.7352 | 1265462.6077 | 2608867.8561 | 1265462.8588
119 | 2608834.7352 | 1265462.6077 | 2608834.9284 | 1265450.4266
120 | 2608835.2003 | 1265433.288 | 2608834.9284 | 1265450.4266
121 | 2608815.4604 | 1265564.4497 | 2608818.9856 | 1265568.4466 | 2608819.9341 | 1265578.6884 | 2608826.0247 | 1265583.9789 | 2608837.1896 | 1265584.1872
122 | 2608804.4789 | 1265562.1875 | 2608815.4604 | 1265564.4497
123 | 2608849.4393 | 1265604.5501 | 2608851.1469 | 1265600.4721
124 | 2608849.4393 | 1265604.5501 | 2608838.0396 | 1265605.1336
125 | 2608835.2003 | 1265433.288 | 2608853.6091 | 1265433.3043
126 | 2608853.6091 | 1265433.3043 | 2608880.3786 | 1265433.3234
127 | 2608910.8833 | 1265433.3453 | 2608880.3786 | 1265433.3234
128 | 2608910.8833 | 1265433.3453 | 2608919.2181 | 1265433.3466 | 2608930.3752 | 1265434.0972
129 | 2608910.8833 | 1265433.3453 | 2608919.2181 | 1265433.3466 | 2608919.0219 | 1265453.7271
130 | 2608923.7975 | 1265522.582 | 2608930.0009 | 1265533.0097 | 2608937.9571 | 1265533.3657
131 | 2608922.3267 | 1265549.454 | 2608923.7975 | 1265522.582
132 | 2608916.5623 | 1265522.46 | 2608923.7975 | 1265522.582
133 | 2608916.5623 | 1265522.46 | 2608917.6471 | 1265488.1207
134 | 2608978.3201 | 1265544.368 | 2608979.5175 | 1265524.2002
135 | 2608979.5175 | 1265524.2002 | 2609003.6832 | 1265525.8823 | 2609008.1094 | 1265526.4894
136 | 2609008.1094 | 1265526.4894 | 2609013.319 | 1265527.4244
137 | 2609008.1094 | 1265526.4894 | 2609007.3576 | 1265560.5452 | 2608995.231 | 1265560.3305
138 | 2609008.1094 | 1265526.4894 | 2609003.6832 | 1265525.8823 | 2609003.9575 | 1265518.7222 | 2608994.782 | 1265517.1517 | 2608994.5213 | 1265505.332
139 | 2608918.1352 | 1265472.6723 | 2608917.6471 | 1265488.1207
140 | 2608994.5213 | 1265505.332 | 2608999.5865 | 1265501.6149 | 2609000.4639 | 1265488.9741
141 | 2609000.4639 | 1265488.9741 | 2608975.8696 | 1265488.2672
142 | 2609028.8537 | 1265530.2123 | 2609013.319 | 1265527.4244
143 | 2608987.5745 | 1265581.1281 | 2608987.4515 | 1265560.1927 | 2608995.231 | 1265560.3305
144 | 2608919.0219 | 1265453.7271 | 2608918.1352 | 1265472.6723
145 | 2609046.4682 | 1265532.4628 | 2609028.8537 | 1265530.2123
146 | 2609046.4682 | 1265532.4628 | 2609050.9244 | 1265533.1367 | 2609053.333 | 1265533.6185
147 | 2609046.4682 | 1265532.4628 | 2609052.3114 | 1265591.4237 | 2609040.1561 | 1265591.6379
148 | 2608955.9614 | 1265487.695 | 2608955.9614 | 1265487.695 | 2608975.8696 | 1265488.2672
149 | 2609037.1141 | 1265591.6916 | 2609040.1561 | 1265591.6379
150 | 2609027.917 | 1265591.8537 | 2609037.1141 | 1265591.6916
151 | 2609053.333 | 1265533.6185 | 2609087.3216 | 1265537.5296
152 | 2609087.3216 | 1265537.5296 | 2609093.8314 | 1265480.4215
153 | 2609087.3216 | 1265537.5296 | 2609098.7702 | 1265538.847 | 2609100.8243 | 1265538.8127
154 | 2608919.0219 | 1265453.7271 | 2608935.1628 | 1265454.3122
155 | 2608957.5861 | 1265463.7586 | 2608957.2027 | 1265473.3536 | 2608956.4874 | 1265473.3414
156 | 2608956.4874 | 1265473.3414 | 2608955.9614 | 1265487.695
157 | 2608958.0658 | 1265455.1423 | 2608957.5861 | 1265463.7586
158 | 2608958.0658 | 1265455.1423 | 2608935.1628 | 1265454.3122
159 | 2608958.0658 | 1265455.1423 | 2608963.8893 | 1265455.2761
160 | 2608930.3752 | 1265434.0972 | 2608952.0705 | 1265434.5303
161 | 2608930.3752 | 1265434.0972 | 2608930.2136 | 1265408.1735
162 | 2608930.1992 | 1265405.8551 | 2608930.2136 | 1265408.1735
163 | 2608930.1992 | 1265405.8551 | 2608958.6433 | 1265406.6429 | 2608958.0847 | 1265392.5878
164 | 2608999.7949 | 1265363.7641 | 2608999.4086 | 1265370.2569 | 2609011.2588 | 1265405.5864
165 | 2608958.7547 | 1265362.6125 | 2608966.3364 | 1265362.7907 | 2608995.6242 | 1265363.4576 | 2608998.2292 | 1265363.5171 | 2608999.7949 | 1265363.7641
166 | 2608958.0847 | 1265392.5878 | 2608958.221 | 1265386.4923
167 | 2608958.7547 | 1265362.6125 | 2608958.221 | 1265386.4923

## bus_geodata
| x | y | coords
0 | 2608684.1047 | 1265681.5652
1 | 2608673.6253 | 1265669.0853
2 | 2608664.2703 | 1265657.9353
3 | 2608654.8944 | 1265646.4814
4 | 2608648.7807 | 1265639.0126
5 | 2608634.3494 | 1265622.3357
6 | 2608664.4124 | 1265619.938
7 | 2608632.3277 | 1265619.9311
8 | 2608621.7794 | 1265634.7057
9 | 2608689.9701 | 1265593.4298
10 | 2608615.3232 | 1265638.1389
11 | 2608626.8979 | 1265613.4764
12 | 2608615.0404 | 1265662.7111
13 | 2608735.8277 | 1265553.2024
14 | 2608611.2821 | 1265682.3479
15 | 2608600.2047 | 1265654.3273
16 | 2608626.5028 | 1265613.0067
17 | 2608619.3927 | 1265604.535
18 | 2608611.4641 | 1265595.099
19 | 2608613.1401 | 1265612.2202
20 | 2608599.6522 | 1265581.0414
21 | 2608587.4266 | 1265624.1666
22 | 2608579.8583 | 1265620.1666
23 | 2608593.7255 | 1265573.9879
24 | 2608581.7292 | 1265585.1561
25 | 2608592.9785 | 1265573.1593
26 | 2608723.0268 | 1265528.6444
27 | 2608743.8986 | 1265554.5246
28 | 2608750.7816 | 1265583.045
29 | 2608713.9129 | 1265510.6408
30 | 2608702.0166 | 1265538.8771
31 | 2608759.9233 | 1265557.1498
32 | 2608766.9191 | 1265570.838
33 | 2608760.3226 | 1265602.2835
34 | 2608740.9961 | 1265508.4757
35 | 2608693.0318 | 1265553.9403
36 | 2608776.1659 | 1265559.8107
37 | 2608771.7005 | 1265596.0292
38 | 2608774.5456 | 1265627.244
39 | 2608699.2252 | 1265555.9618
40 | 2608746.8557 | 1265508.4653
41 | 2608933.8971 | 1265697.9368
42 | 2608949.5473 | 1265706.189
43 | 2608927.0696 | 1265690.2699
44 | 2608957.5522 | 1265708.523
45 | 2608923.1204 | 1265682.9255
46 | 2608923.0205 | 1265704.3847
47 | 2608967.0689 | 1265711.1334
48 | 2608911.0731 | 1265683.7192
49 | 2608914.1647 | 1265665.4445
50 | 2608914.4824 | 1265704.9409
51 | 2609043.9015 | 1265730.1739
52 | 2608899.9634 | 1265661.665
53 | 2608908.9068 | 1265654.7275
54 | 2609042.7008 | 1265673.1325
55 | 2609021.8934 | 1265620.932
56 | 2609013.3556 | 1265621.1626
57 | 2609075.3065 | 1265619.9341
58 | 2609003.8659 | 1265621.4189
59 | 2609095.5158 | 1265618.8308
60 | 2608992.6815 | 1265621.7211
61 | 2609097.5934 | 1265618.7013
62 | 2608989.4364 | 1265621.8162
63 | 2608989.809 | 1265609.3971
64 | 2608985.8916 | 1265621.9118
65 | 2608970.1156 | 1265622.337
66 | 2608961.6987 | 1265622.5638
67 | 2608962.153 | 1265575.8877
68 | 2608955.4646 | 1265622.7323
69 | 2608957.7824 | 1265572.4151
70 | 2608955.4802 | 1265612.3585
71 | 2608945.7498 | 1265622.9956
72 | 2608917.9626 | 1265623.7484
73 | 2608894.0261 | 1265624.397
74 | 2608888.6785 | 1265613.8679
75 | 2608886.6319 | 1265609.8425
76 | 2608883.7353 | 1265671.3184
77 | 2608865.0143 | 1265621.3294
78 | 2608857.7187 | 1265616.3262
79 | 2608873.9377 | 1265584.8729
80 | 2608838.838 | 1265664.5268
81 | 2608819.1233 | 1265683.8157
82 | 2608833.4911 | 1265697.1685
83 | 2608804.4344 | 1265668.6612
84 | 2608843.9033 | 1265687.1436
85 | 2608839.7234 | 1265703.282
86 | 2608818.9532 | 1265656.3631
87 | 2608796.0127 | 1265659.1355
88 | 2608849.4217 | 1265692.3221
89 | 2608790.0933 | 1265652.4399
90 | 2608802.3485 | 1265642.7449
91 | 2608815.7695 | 1265625.1367
92 | 2608788.4939 | 1265617.2956
93 | 2608801.6768 | 1265598.742
94 | 2608736.4379 | 1265491.416
95 | 2608762.2158 | 1265510.9798
96 | 2608788.1859 | 1265516.4984
97 | 2608782.1355 | 1265494.0961
98 | 2608803.9103 | 1265519.0233
99 | 2608830.3122 | 1265521.366
100 | 2608803.9534 | 1265531.8884
101 | 2608842.4846 | 1265522.116
102 | 2608803.9573 | 1265533.0665
103 | 2608865.3565 | 1265568.471
104 | 2608863.9705 | 1265521.9675
105 | 2608836.6559 | 1265502.6605
106 | 2608871.7231 | 1265580.5111
107 | 2608845.1422 | 1265562.737
108 | 2608868.0082 | 1265521.976
109 | 2608820.1543 | 1265501.1906
110 | 2608883.4457 | 1265580.5397
111 | 2608869.1975 | 1265481.7722
112 | 2608902.5137 | 1265522.0387
113 | 2608834.7352 | 1265462.6077
114 | 2608867.8561 | 1265462.8588
115 | 2608834.9284 | 1265450.4266
116 | 2608815.4604 | 1265564.4497
117 | 2608837.1896 | 1265584.1872
118 | 2608804.4789 | 1265562.1875
119 | 2608848.0133 | 1265621.8044
120 | 2608849.4393 | 1265604.5501
121 | 2608851.1469 | 1265600.4721
122 | 2608838.0396 | 1265605.1336
123 | 2608835.2003 | 1265433.288
124 | 2608853.6091 | 1265433.3043
125 | 2608880.3786 | 1265433.3234
126 | 2608910.8833 | 1265433.3453
127 | 2608937.9571 | 1265533.3657
128 | 2608923.7975 | 1265522.582
129 | 2608922.3267 | 1265549.454
130 | 2608916.5623 | 1265522.46
131 | 2608979.5175 | 1265524.2002
132 | 2608978.3201 | 1265544.368
133 | 2609008.1094 | 1265526.4894
134 | 2608917.6471 | 1265488.1207
135 | 2608994.5213 | 1265505.332
136 | 2609000.4639 | 1265488.9741
137 | 2609013.319 | 1265527.4244
138 | 2608995.231 | 1265560.3305
139 | 2608901.8207 | 1265537.3816
140 | 2608918.1352 | 1265472.6723
141 | 2608987.5745 | 1265581.1281
142 | 2609028.8537 | 1265530.2123
143 | 2609046.4682 | 1265532.4628
144 | 2608975.8696 | 1265488.2672
145 | 2609037.1141 | 1265591.6916
146 | 2609040.1561 | 1265591.6379
147 | 2609027.917 | 1265591.8537
148 | 2609053.333 | 1265533.6185
149 | 2609087.3216 | 1265537.5296
150 | 2609093.8313 | 1265480.4215
151 | 2609100.8243 | 1265538.8127
152 | 2608863.9574 | 1265481.642
153 | 2608919.0219 | 1265453.7271
154 | 2608956.4874 | 1265473.3414
155 | 2608957.5861 | 1265463.7586
156 | 2608955.9614 | 1265487.695
157 | 2608935.1628 | 1265454.3122
158 | 2608958.0658 | 1265455.1423
159 | 2608930.3752 | 1265434.0972
160 | 2608952.0705 | 1265434.5303
161 | 2608930.2136 | 1265408.1735
162 | 2608963.8893 | 1265455.2761
163 | 2608930.1992 | 1265405.8551
164 | 2609011.2588 | 1265405.5864
165 | 2608999.7949 | 1265363.7641
166 | 2608958.0847 | 1265392.5878
167 | 2608958.221 | 1265386.4923
168 | 2608958.7547 | 1265362.6125
169 | 2608871.7231 | 1265580.5111

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1