## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2765-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2765-4_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2765-4_0_5_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_2765-4_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_2765-4_0_5_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_2765-4_0_5_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_2765-4_0_5_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2765-4_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2765-4_0_5_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_2765-4_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2765-4_0_5_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_2765-4_0_5_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2765-4_0_5_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_2765-4_0_5_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_2765-4_0_5_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_2765-4_0_5_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_2765-4_0_5_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_2765-4_0_5_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_2765-4_0_5_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_2765-4_0_5_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_2765-4_0_5_node_72 | 0.4 | n |  | TRUE
21 | bus_LV_2765-4_0_5_node_71 | 0.4 | n |  | TRUE
22 | bus_LV_2765-4_0_5_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_2765-4_0_5_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_2765-4_0_5_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_2765-4_0_5_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_2765-4_0_5_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_2765-4_0_5_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_2765-4_0_5_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_2765-4_0_5_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_2765-4_0_5_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_2765-4_0_5_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_2765-4_0_5_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_2765-4_0_5_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_2765-4_0_5_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_2765-4_0_5_node_70 | 0.4 | n |  | TRUE
36 | bus_LV_2765-4_0_5_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_2765-4_0_5_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_2765-4_0_5_node_75 | 0.4 | n |  | TRUE
39 | bus_LV_2765-4_0_5_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_2765-4_0_5_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_2765-4_0_5_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_2765-4_0_5_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_2765-4_0_5_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_2765-4_0_5_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_2765-4_0_5_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_2765-4_0_5_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_2765-4_0_5_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_2765-4_0_5_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_2765-4_0_5_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_2765-4_0_5_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_2765-4_0_5_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_2765-4_0_5_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_2765-4_0_5_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_2765-4_0_5_node_73 | 0.4 | n |  | TRUE
55 | bus_LV_2765-4_0_5_node_74 | 0.4 | n |  | TRUE
56 | bus_LV_2765-4_0_5_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_2765-4_0_5_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_2765-4_0_5_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_2765-4_0_5_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_2765-4_0_5_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_2765-4_0_5_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_2765-4_0_5_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_2765-4_0_5_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_2765-4_0_5_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_2765-4_0_5_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_2765-4_0_5_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_2765-4_0_5_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_2765-4_0_5_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_2765-4_0_5_node_62 | 0.4 | n |  | TRUE
70 | bus_MV_568_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2765-4_0_5_load_0 | 0 | 0.0054557 | 0.0013673 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2765-4_0_5_load_4 | 2 | 0.007234 | 0.001813 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2765-4_0_5_load_5 | 3 | 0.011639 | 0.0029169 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2765-4_0_5_load_11 | 4 | 0.0090935 | 0.0022791 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2765-4_0_5_load_7 | 6 | 0.017707 | 0.0044377 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2765-4_0_5_load_6 | 7 | 0.0045277 | 0.0011347 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2765-4_0_5_load_16 | 8 | 0.0095172 | 0.0023852 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2765-4_0_5_load_9 | 10 | 0.011232 | 0.0028151 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2765-4_0_5_load_10 | 11 | 0.0050369 | 0.0012624 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2765-4_0_5_load_13 | 13 | 0.0032993 | 0.00082687 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2765-4_0_5_load_14 | 14 | 0.0077386 | 0.0019395 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2765-4_0_5_load_20 | 15 | 0.0089439 | 0.0022416 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2765-4_0_5_load_33 | 16 | 0.0024596 | 0.00061643 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2765-4_0_5_load_21 | 17 | 0.0094207 | 0.0023611 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2765-4_0_5_load_18 | 18 | 0.065518 | 0.01642 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2765-4_0_5_load_72 | 20 | 0.064786 | 0.016237 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2765-4_0_5_load_71 | 21 | 0.065262 | 0.016356 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2765-4_0_5_load_40 | 25 | 0.030388 | 0.0076159 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2765-4_0_5_load_23 | 27 | 0.0036563 | 0.00091636 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2765-4_0_5_load_26 | 30 | 0.0059937 | 0.0015022 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2765-4_0_5_load_69 | 34 | 0.0030662 | 0.00076846 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2765-4_0_5_load_70 | 35 | 0.013662 | 0.0034241 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2765-4_0_5_load_31 | 37 | 0.0089998 | 0.0022556 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2765-4_0_5_load_75 | 38 | 0.0034027 | 0.00085279 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2765-4_0_5_load_36 | 40 | 0.0068317 | 0.0017122 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2765-4_0_5_load_34 | 41 | 0.0031675 | 0.00079385 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2765-4_0_5_load_60 | 45 | 0.0042706 | 0.0010703 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2765-4_0_5_load_59 | 46 | 0.0038427 | 0.00096307 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2765-4_0_5_load_56 | 47 | 0.0081225 | 0.0020357 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2765-4_0_5_load_43 | 48 | 0.014532 | 0.003642 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2765-4_0_5_load_61 | 49 | 0.0026306 | 0.00065928 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2765-4_0_5_load_57 | 50 | 0.0091 | 0.0022807 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2765-4_0_5_load_42 | 51 | 0.018306 | 0.0045879 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2765-4_0_5_load_44 | 53 | 0.0034423 | 0.00086272 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2765-4_0_5_load_74 | 55 | 0.0055186 | 0.0013831 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2765-4_0_5_load_49 | 56 | 0.0059712 | 0.0014965 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2765-4_0_5_load_53 | 60 | 0.0052626 | 0.0013189 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2765-4_0_5_load_54 | 62 | 0.012479 | 0.0031275 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2765-4_0_5_load_63 | 64 | 0.0030623 | 0.00076749 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2765-4_0_5_load_67 | 66 | 0.0021556 | 0.00054025 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2765-4_0_5_load_65 | 67 | 0.0018239 | 0.00045711 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2765-4_0_5_load_64 | 68 | 0.0021301 | 0.00053384 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2765-4_0_5_load_62 | 69 | 0.0022892 | 0.00057372 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2765-4_0_5_line_0 |  | 0 | 1 | 0.029797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2765-4_0_5_line_1 |  | 1 | 2 | 0.019482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2765-4_0_5_line_2 |  | 1 | 3 | 0.033672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2765-4_0_5_line_3 |  | 2 | 4 | 0.001807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2765-4_0_5_line_4 |  | 3 | 5 | 0.048882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2765-4_0_5_line_5 |  | 5 | 8 | 0.0215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2765-4_0_5_line_6 |  | 6 | 7 | 0.012311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2765-4_0_5_line_7 |  | 7 | 9 | 0.013021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2765-4_0_5_line_8 |  | 8 | 18 | 0.00032509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2765-4_0_5_line_9 |  | 9 | 10 | 0.025361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2765-4_0_5_line_10 |  | 9 | 11 | 0.014305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2765-4_0_5_line_11 |  | 10 | 12 | 0.0048239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2765-4_0_5_line_12 |  | 12 | 13 | 0.026461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2765-4_0_5_line_13 |  | 12 | 14 | 0.01582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2765-4_0_5_line_14 |  | 13 | 15 | 0.012013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2765-4_0_5_line_15 |  | 14 | 16 | 0.0062965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2765-4_0_5_line_16 |  | 15 | 17 | 0.0024387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2765-4_0_5_line_17 |  | 17 | 24 | 0.027022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2765-4_0_5_line_18 |  | 18 | 22 | 0.021045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2765-4_0_5_line_19 |  | 19 | 20 | 0.029185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2765-4_0_5_line_20 |  | 19 | 21 | 0.018238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2765-4_0_5_line_21 |  | 20 | 23 | 0.037473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2765-4_0_5_line_22 |  | 21 | 22 | 0.025391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2765-4_0_5_line_23 |  | 22 | 24 | 0.01311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2765-4_0_5_line_24 |  | 23 | 54 | 0.024596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2765-4_0_5_line_25 |  | 23 | 52 | 0.024391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2765-4_0_5_line_26 |  | 24 | 25 | 0.030158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2765-4_0_5_line_27 |  | 25 | 26 | 0.0092106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2765-4_0_5_line_28 |  | 26 | 51 | 0.021861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2765-4_0_5_line_29 |  | 26 | 48 | 0.017475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2765-4_0_5_line_30 |  | 27 | 28 | 0.011103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2765-4_0_5_line_31 |  | 27 | 29 | 0.010335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2765-4_0_5_line_32 |  | 28 | 30 | 0.029752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2765-4_0_5_line_33 |  | 28 | 31 | 0.017828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2765-4_0_5_line_34 |  | 29 | 32 | 0.0056862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2765-4_0_5_line_35 |  | 31 | 33 | 0.024088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2765-4_0_5_line_36 |  | 31 | 34 | 0.019303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2765-4_0_5_line_37 |  | 32 | 36 | 0.006326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2765-4_0_5_line_38 |  | 32 | 37 | 0.038823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2765-4_0_5_line_39 |  | 33 | 35 | 0.022064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2765-4_0_5_line_40 |  | 36 | 38 | 0.014936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2765-4_0_5_line_41 |  | 36 | 39 | 0.026469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2765-4_0_5_line_42 |  | 39 | 40 | 0.017773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2765-4_0_5_line_43 |  | 39 | 41 | 0.023447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2765-4_0_5_line_44 |  | 40 | 42 | 0.0024199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2765-4_0_5_line_45 |  | 42 | 43 | 0.011897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2765-4_0_5_line_46 |  | 42 | 44 | 0.02327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2765-4_0_5_line_47 |  | 43 | 45 | 0.00091416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2765-4_0_5_line_48 |  | 43 | 46 | 0.014878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2765-4_0_5_line_49 |  | 44 | 47 | 0.038445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2765-4_0_5_line_50 |  | 44 | 48 | 0.019463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2765-4_0_5_line_51 |  | 45 | 49 | 0.014389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2765-4_0_5_line_52 |  | 47 | 50 | 0.0017844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2765-4_0_5_line_53 |  | 49 | 69 | 0.015403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2765-4_0_5_line_54 |  | 50 | 61 | 0.015641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2765-4_0_5_line_55 |  | 52 | 53 | 4.5162e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2765-4_0_5_line_56 |  | 54 | 55 | 0.019008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2765-4_0_5_line_57 |  | 56 | 57 | 0.0014963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2765-4_0_5_line_58 |  | 56 | 58 | 0.022832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2765-4_0_5_line_59 |  | 57 | 59 | 0.023424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2765-4_0_5_line_60 |  | 58 | 60 | 0.023336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2765-4_0_5_line_61 |  | 59 | 61 | 0.086173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2765-4_0_5_line_62 |  | 59 | 62 | 0.04033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2765-4_0_5_line_63 |  | 61 | 63 | 0.022939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2765-4_0_5_line_64 |  | 63 | 64 | 0.010101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2765-4_0_5_line_65 |  | 64 | 68 | 0.011711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2765-4_0_5_line_66 |  | 65 | 66 | 0.0049452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2765-4_0_5_line_67 |  | 65 | 67 | 0.0098797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2765-4_0_5_line_68 |  | 67 | 68 | 0.0098738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2765-4_0_5_trafo_22 | 0.63 MVA 20/0.4 kV | 70 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2610073.3903 | 1265981.4128 | 2610102.2623 | 1265974.0442
1 | 2610073.3903 | 1265981.4128 | 2610069.234 | 1265962.3792
2 | 2610073.3903 | 1265981.4128 | 2610054.0559 | 1265986.6059 | 2610052.8207 | 1265986.9263 | 2610051.5555 | 1265987.1799 | 2610040.7879 | 1265989.8168
3 | 2610069.234 | 1265962.3792 | 2610068.8485 | 1265960.6138
4 | 2609993.1646 | 1266000.7465 | 2610002.9468 | 1265999.084 | 2610040.7879 | 1265989.8168
5 | 2609993.1646 | 1266000.7465 | 2609988.3179 | 1265979.7995
6 | 2610088.877 | 1265922.7592 | 2610100.9468 | 1265920.3362
7 | 2610076.1127 | 1265925.334 | 2610076.8207 | 1265925.1795 | 2610088.877 | 1265922.7592
8 | 2609988.2446 | 1265979.4828 | 2609988.3179 | 1265979.7995
9 | 2610076.1127 | 1265925.334 | 2610051.3084 | 1265930.6169
10 | 2610076.1127 | 1265925.334 | 2610071.7573 | 1265911.7079
11 | 2610046.5903 | 1265931.6218 | 2610051.3084 | 1265930.6169
12 | 2610046.5903 | 1265931.6218 | 2610020.7525 | 1265937.3295
13 | 2610046.5903 | 1265931.6218 | 2610043.8369 | 1265916.0435
14 | 2610020.7525 | 1265937.3295 | 2610009.0219 | 1265939.9209
15 | 2610049.6005 | 1265913.8623 | 2610043.8087 | 1265915.8839 | 2610043.8369 | 1265916.0435
16 | 2610006.6405 | 1265940.447 | 2610009.0219 | 1265939.9209
17 | 2609980.2544 | 1265946.2759 | 2610006.6405 | 1265940.447
18 | 2609983.5005 | 1265958.979 | 2609988.2446 | 1265979.4828
19 | 2609944.9133 | 1265974.6809 | 2609937.0164 | 1265978.8928 | 2609932.0436 | 1265972.28 | 2609921.0781 | 1265977.0564
20 | 2609944.9133 | 1265974.6809 | 2609952.1395 | 1265970.8347 | 2609953.8557 | 1265966.5346 | 2609958.7952 | 1265964.2984
21 | 2609884.4776 | 1265977.471 | 2609913.2012 | 1265980.4876 | 2609921.0781 | 1265977.0564
22 | 2609983.5005 | 1265958.979 | 2609978.0401 | 1265960.3041 | 2609962.3467 | 1265962.6906 | 2609958.7952 | 1265964.2984
23 | 2609980.2544 | 1265946.2759 | 2609983.5005 | 1265958.979
24 | 2609884.4776 | 1265977.471 | 2609874.6155 | 1266000.0148
25 | 2609884.4776 | 1265977.471 | 2609886.8642 | 1265972.8829 | 2609887.546 | 1265965.8347 | 2609882.4525 | 1265954.8075
26 | 2609980.2544 | 1265946.2759 | 2609960.2109 | 1265923.742
27 | 2609954.4965 | 1265916.5232 | 2609958.9888 | 1265922.3681 | 2609960.2109 | 1265923.742
28 | 2609954.4965 | 1265916.5232 | 2609935.1332 | 1265926.6693
29 | 2609954.4965 | 1265916.5232 | 2609955.162 | 1265910.2199 | 2609957.4961 | 1265905.5984 | 2609961.8486 | 1265901.5287
30 | 2610073.4472 | 1265854.4691 | 2610064.5458 | 1265861.1053
31 | 2610056.2603 | 1265867.2823 | 2610064.5458 | 1265861.1053
32 | 2610073.4472 | 1265854.4691 | 2610087.544 | 1265870.3374 | 2610095.1621 | 1265866.4031
33 | 2610073.4472 | 1265854.4691 | 2610077.911 | 1265850.4739 | 2610083.0465 | 1265845.4347 | 2610080.124 | 1265841.8272
34 | 2610051.2418 | 1265869.9423 | 2610052.6963 | 1265869.0331 | 2610056.2603 | 1265867.2823
35 | 2610090.6485 | 1265824.3774 | 2610077.0737 | 1265838.0639 | 2610080.124 | 1265841.8272
36 | 2610080.124 | 1265841.8272 | 2610076.9418 | 1265844.8017 | 2610066.5728 | 1265834.0359
37 | 2610051.2418 | 1265869.9423 | 2610045.658 | 1265872.9461
38 | 2610051.2418 | 1265869.9423 | 2610060.2167 | 1265891.6948 | 2610045.6261 | 1265896.2734
39 | 2610090.6485 | 1265824.3774 | 2610082.0354 | 1265815.7123 | 2610075.4255 | 1265808.4146
40 | 2610045.658 | 1265872.9461 | 2610038.3999 | 1265859.8803
41 | 2610021.7954 | 1265884.5473 | 2610045.658 | 1265872.9461
42 | 2610021.7954 | 1265884.5473 | 2610020.2208 | 1265885.1895 | 2610004.4591 | 1265888.3327
43 | 2610021.7954 | 1265884.5473 | 2610026.5716 | 1265907.5022
44 | 2610002.0859 | 1265888.8059 | 2610004.4591 | 1265888.3327
45 | 2610002.0859 | 1265888.8059 | 2609997.7756 | 1265877.7132
46 | 2609979.3486 | 1265893.8602 | 2609981.9101 | 1265892.8193 | 2610002.0859 | 1265888.8059
47 | 2609998.6481 | 1265877.4405 | 2609997.7756 | 1265877.7132
48 | 2609997.7756 | 1265877.7132 | 2609983.2853 | 1265881.0895
49 | 2609979.3486 | 1265893.8602 | 2609967.7954 | 1265857.1924
50 | 2609979.3486 | 1265893.8602 | 2609965.3306 | 1265898.2731 | 2609961.8486 | 1265901.5287
51 | 2609998.6481 | 1265877.4405 | 2610012.3813 | 1265873.1474
52 | 2609967.2591 | 1265855.4905 | 2609967.7954 | 1265857.1924
53 | 2610012.3813 | 1265873.1474 | 2610017.0213 | 1265871.697 | 2610026.6201 | 1265867.3397
54 | 2609962.5589 | 1265840.5728 | 2609967.2591 | 1265855.4905
55 | 2609882.4117 | 1265954.8269 | 2609882.4525 | 1265954.8075
56 | 2609874.6155 | 1266000.0148 | 2609865.2335 | 1266000.9665 | 2609855.9692 | 1265998.5364
57 | 2609873.5723 | 1265898.309 | 2609872.3212 | 1265899.1297
58 | 2609850.6503 | 1265905.943 | 2609854.8594 | 1265905.5497 | 2609872.3212 | 1265899.1297
59 | 2609892.3491 | 1265884.4306 | 2609888.6836 | 1265888.3716 | 2609873.5723 | 1265898.309
60 | 2609850.6503 | 1265905.943 | 2609827.5475 | 1265909.2365
61 | 2609892.3491 | 1265884.4306 | 2609903.1221 | 1265871.0836 | 2609920.2412 | 1265853.6223 | 2609936.7942 | 1265846.0669 | 2609955.8942 | 1265841.6624 | 2609959.5244 | 1265840.8234 | 2609962.5589 | 1265840.5728
62 | 2609892.3491 | 1265884.4306 | 2609900.2884 | 1265890.9372 | 2609914.9068 | 1265892.2402 | 2609925.5728 | 1265881.1475
63 | 2609962.5589 | 1265840.5728 | 2609985.0699 | 1265835.8294
64 | 2609985.0699 | 1265835.8294 | 2609994.8528 | 1265833.3152
65 | 2609994.8528 | 1265833.3152 | 2610002.2201 | 1265831.4219 | 2610005.5101 | 1265828.9684
66 | 2610017.9614 | 1265814.2142 | 2610020.047 | 1265809.7303
67 | 2610017.9614 | 1265814.2142 | 2610013.2041 | 1265822.8732
68 | 2610005.5101 | 1265828.9684 | 2610012.8714 | 1265823.4787 | 2610013.2041 | 1265822.8732

## bus_geodata
| x | y | coords
0 | 2610102.2623 | 1265974.0442
1 | 2610073.3903 | 1265981.4128
2 | 2610069.234 | 1265962.3792
3 | 2610040.7879 | 1265989.8168
4 | 2610068.8485 | 1265960.6138
5 | 2609993.1646 | 1266000.7465
6 | 2610100.9468 | 1265920.3362
7 | 2610088.877 | 1265922.7592
8 | 2609988.3179 | 1265979.7995
9 | 2610076.1127 | 1265925.334
10 | 2610051.3084 | 1265930.6169
11 | 2610071.7573 | 1265911.7079
12 | 2610046.5903 | 1265931.6218
13 | 2610020.7525 | 1265937.3295
14 | 2610043.8369 | 1265916.0435
15 | 2610009.0219 | 1265939.9209
16 | 2610049.6005 | 1265913.8623
17 | 2610006.6405 | 1265940.447
18 | 2609988.2446 | 1265979.4828
19 | 2609944.9133 | 1265974.6809
20 | 2609921.0781 | 1265977.0564
21 | 2609958.7952 | 1265964.2984
22 | 2609983.5005 | 1265958.979
23 | 2609884.4776 | 1265977.471
24 | 2609980.2544 | 1265946.2759
25 | 2609960.2109 | 1265923.742
26 | 2609954.4965 | 1265916.5232
27 | 2610064.5458 | 1265861.1053
28 | 2610073.4472 | 1265854.4691
29 | 2610056.2603 | 1265867.2823
30 | 2610095.1621 | 1265866.4031
31 | 2610080.124 | 1265841.8272
32 | 2610051.2418 | 1265869.9423
33 | 2610090.6485 | 1265824.3774
34 | 2610066.5728 | 1265834.0359
35 | 2610075.4255 | 1265808.4146
36 | 2610045.658 | 1265872.9461
37 | 2610045.6261 | 1265896.2734
38 | 2610038.3999 | 1265859.8803
39 | 2610021.7954 | 1265884.5473
40 | 2610004.4591 | 1265888.3327
41 | 2610026.5716 | 1265907.5022
42 | 2610002.0859 | 1265888.8059
43 | 2609997.7756 | 1265877.7132
44 | 2609979.3486 | 1265893.8602
45 | 2609998.6481 | 1265877.4405
46 | 2609983.2853 | 1265881.0895
47 | 2609967.7954 | 1265857.1924
48 | 2609961.8486 | 1265901.5287
49 | 2610012.3813 | 1265873.1474
50 | 2609967.2591 | 1265855.4905
51 | 2609935.1332 | 1265926.6693
52 | 2609882.4525 | 1265954.8075
53 | 2609882.4117 | 1265954.8269
54 | 2609874.6155 | 1266000.0148
55 | 2609855.9692 | 1265998.5364
56 | 2609872.3212 | 1265899.1297
57 | 2609873.5723 | 1265898.309
58 | 2609850.6503 | 1265905.943
59 | 2609892.3491 | 1265884.4306
60 | 2609827.5475 | 1265909.2365
61 | 2609962.5589 | 1265840.5728
62 | 2609925.5728 | 1265881.1475
63 | 2609985.0699 | 1265835.8294
64 | 2609994.8528 | 1265833.3152
65 | 2610017.9614 | 1265814.2142
66 | 2610020.047 | 1265809.7303
67 | 2610013.2041 | 1265822.8732
68 | 2610005.5101 | 1265828.9684
69 | 2610026.6201 | 1265867.3397
70 | 2609983.5005 | 1265958.979

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1