## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2766-11_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2766-11_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2766-11_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2766-11_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2766-11_0_5_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_2766-11_0_5_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_2766-11_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2766-11_0_5_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_2766-11_0_5_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_2766-11_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2766-11_0_5_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_2766-11_0_5_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_2766-11_0_5_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_2766-11_0_5_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_2766-11_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_2766-11_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2766-11_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_2766-11_0_5_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_2766-11_0_5_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_2766-11_0_5_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_2766-11_0_5_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_2766-11_0_5_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_2766-11_0_5_node_84 | 0.4 | n |  | TRUE
23 | bus_LV_2766-11_0_5_node_82 | 0.4 | n |  | TRUE
24 | bus_LV_2766-11_0_5_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_2766-11_0_5_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_2766-11_0_5_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_2766-11_0_5_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_2766-11_0_5_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_2766-11_0_5_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_2766-11_0_5_node_52 | 0.4 | n |  | TRUE
31 | bus_LV_2766-11_0_5_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_2766-11_0_5_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_2766-11_0_5_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_2766-11_0_5_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_2766-11_0_5_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_2766-11_0_5_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_2766-11_0_5_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_2766-11_0_5_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_2766-11_0_5_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_2766-11_0_5_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_2766-11_0_5_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_2766-11_0_5_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_2766-11_0_5_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_2766-11_0_5_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_2766-11_0_5_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_2766-11_0_5_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_2766-11_0_5_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_2766-11_0_5_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_2766-11_0_5_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_2766-11_0_5_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_2766-11_0_5_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_2766-11_0_5_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_2766-11_0_5_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_2766-11_0_5_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_2766-11_0_5_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_2766-11_0_5_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_2766-11_0_5_node_72 | 0.4 | n |  | TRUE
58 | bus_LV_2766-11_0_5_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_2766-11_0_5_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_2766-11_0_5_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_2766-11_0_5_node_80 | 0.4 | n |  | TRUE
62 | bus_LV_2766-11_0_5_node_81 | 0.4 | n |  | TRUE
63 | bus_LV_2766-11_0_5_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_2766-11_0_5_node_78 | 0.4 | n |  | TRUE
65 | bus_LV_2766-11_0_5_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_2766-11_0_5_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_2766-11_0_5_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_2766-11_0_5_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_2766-11_0_5_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_2766-11_0_5_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_2766-11_0_5_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_2766-11_0_5_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_2766-11_0_5_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_2766-11_0_5_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_2766-11_0_5_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_2766-11_0_5_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_2766-11_0_5_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_2766-11_0_5_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_2766-11_0_5_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_2766-11_0_5_node_79 | 0.4 | n |  | TRUE
81 | bus_MV_555_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2766-11_0_5_load_0 | 0 | 0.0090029 | 0.0022563 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2766-11_0_5_load_3 | 2 | 0.007436 | 0.0018636 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2766-11_0_5_load_4 | 3 | 0.0096672 | 0.0024228 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2766-11_0_5_load_10 | 5 | 0.0048943 | 0.0012266 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2766-11_0_5_load_6 | 6 | 0.024958 | 0.0062552 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2766-11_0_5_load_38 | 7 | 0.0277 | 0.0069424 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2766-11_0_5_load_7 | 9 | 0.0033941 | 0.00085063 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2766-11_0_5_load_9 | 10 | 0.0079975 | 0.0020044 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2766-11_0_5_load_11 | 14 | 0.044093 | 0.011051 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2766-11_0_5_load_15 | 18 | 0.0042297 | 0.0010601 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2766-11_0_5_load_16 | 19 | 0.0060617 | 0.0015192 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2766-11_0_5_load_18 | 21 | 0.016903 | 0.0042363 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2766-11_0_5_load_84 | 22 | 0.0049828 | 0.0012488 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2766-11_0_5_load_82 | 23 | 0.0068918 | 0.0017272 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2766-11_0_5_load_24 | 24 | 0.0041401 | 0.0010376 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2766-11_0_5_load_44 | 25 | 0.027631 | 0.006925 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2766-11_0_5_load_47 | 28 | 0.0097897 | 0.0024535 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2766-11_0_5_load_52 | 30 | 0.004222 | 0.0010581 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2766-11_0_5_load_25 | 31 | 0.0042537 | 0.0010661 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2766-11_0_5_load_23 | 32 | 0.0085407 | 0.0021405 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2766-11_0_5_load_43 | 33 | 0.0071124 | 0.0017825 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2766-11_0_5_load_41 | 34 | 0.0071929 | 0.0018027 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2766-11_0_5_load_36 | 37 | 0.01014 | 0.0025413 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2766-11_0_5_load_42 | 38 | 0.0026002 | 0.00065167 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2766-11_0_5_load_27 | 39 | 0.036452 | 0.0091356 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2766-11_0_5_load_28 | 40 | 0.0091659 | 0.0022972 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2766-11_0_5_load_30 | 42 | 0.01622 | 0.0040651 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2766-11_0_5_load_31 | 43 | 0.0076976 | 0.0019292 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2766-11_0_5_load_34 | 44 | 0.0077112 | 0.0019326 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2766-11_0_5_load_32 | 46 | 0.010308 | 0.0025835 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2766-11_0_5_load_54 | 47 | 0.0029 | 0.00072682 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2766-11_0_5_load_33 | 48 | 0.016038 | 0.0040194 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2766-11_0_5_load_70 | 51 | 0.012357 | 0.003097 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2766-11_0_5_load_67 | 52 | 0.0053432 | 0.0013391 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2766-11_0_5_load_63 | 53 | 0.013894 | 0.0034821 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2766-11_0_5_load_61 | 54 | 0.013615 | 0.0034123 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2766-11_0_5_load_65 | 55 | 0.030616 | 0.007673 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2766-11_0_5_load_66 | 56 | 0.024123 | 0.0060457 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2766-11_0_5_load_73 | 58 | 0.0036059 | 0.00090373 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2766-11_0_5_load_69 | 60 | 0.016494 | 0.0041338 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2766-11_0_5_load_80 | 61 | 0.0017082 | 0.00042812 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2766-11_0_5_load_48 | 65 | 0.0027488 | 0.00068891 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2766-11_0_5_load_49 | 66 | 0.001062 | 0.00026616 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2766-11_0_5_load_50 | 67 | 0.0027928 | 0.00069995 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2766-11_0_5_load_83 | 68 | 0.002148 | 0.00053833 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2766-11_0_5_load_55 | 69 | 0.011036 | 0.0027659 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2766-11_0_5_load_57 | 70 | 0.0080103 | 0.0020076 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2766-11_0_5_load_62 | 71 | 0.0030746 | 0.00077056 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2766-11_0_5_load_60 | 72 | 0.0095292 | 0.0023883 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2766-11_0_5_load_58 | 73 | 0.0026203 | 0.00065671 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2766-11_0_5_load_59 | 74 | 0.013899 | 0.0034833 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2766-11_0_5_load_71 | 75 | 0.011672 | 0.0029252 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2766-11_0_5_load_68 | 76 | 0.0040633 | 0.0010184 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2766-11_0_5_load_75 | 77 | 0.003551 | 0.00088996 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2766-11_0_5_load_76 | 78 | 0.013398 | 0.0033579 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2766-11_0_5_load_77 | 79 | 0.0075398 | 0.0018897 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2766-11_0_5_load_79 | 80 | 0.015195 | 0.0038083 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2766-11_0_5_line_0 |  | 0 | 1 | 0.016461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2766-11_0_5_line_1 |  | 1 | 2 | 0.012794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2766-11_0_5_line_2 |  | 1 | 3 | 0.025228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2766-11_0_5_line_3 |  | 2 | 4 | 0.006466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2766-11_0_5_line_4 |  | 4 | 5 | 0.032655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2766-11_0_5_line_5 |  | 4 | 6 | 0.026946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2766-11_0_5_line_6 |  | 6 | 9 | 0.0053423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_2766-11_0_5_line_7 |  | 7 | 8 | 0.099152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2766-11_0_5_line_8 |  | 8 | 37 | 0.053678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_2766-11_0_5_line_9 |  | 8 | 49 | 0.093791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_2766-11_0_5_line_10 |  | 9 | 10 | 0.011396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_2766-11_0_5_line_11 |  | 10 | 11 | 0.017726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_2766-11_0_5_line_12 |  | 11 | 12 | 0.01034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_2766-11_0_5_line_13 |  | 11 | 13 | 0.009286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_2766-11_0_5_line_14 |  | 12 | 33 | 0.012442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2766-11_0_5_line_15 |  | 12 | 34 | 0.011626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_2766-11_0_5_line_16 |  | 13 | 31 | 0.023516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_2766-11_0_5_line_17 |  | 14 | 15 | 0.033408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2766-11_0_5_line_18 |  | 14 | 16 | 0.002564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2766-11_0_5_line_19 |  | 15 | 17 | 0.034795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2766-11_0_5_line_20 |  | 15 | 18 | 0.012585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2766-11_0_5_line_21 |  | 15 | 19 | 0.018082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2766-11_0_5_line_22 |  | 16 | 20 | 0.023457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_2766-11_0_5_line_23 |  | 16 | 21 | 0.017264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_2766-11_0_5_line_24 |  | 17 | 22 | 0.052514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2766-11_0_5_line_25 |  | 19 | 23 | 0.019118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2766-11_0_5_line_26 |  | 20 | 24 | 0.0051744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_2766-11_0_5_line_27 |  | 21 | 25 | 0.0081647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_2766-11_0_5_line_28 |  | 23 | 30 | 0.0012113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2766-11_0_5_line_29 |  | 24 | 32 | 0.015582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_2766-11_0_5_line_30 |  | 25 | 29 | 0.015712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_2766-11_0_5_line_31 |  | 26 | 27 | 0.010378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_2766-11_0_5_line_32 |  | 26 | 28 | 0.029877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2766-11_0_5_line_33 |  | 26 | 29 | 0.038186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_2766-11_0_5_line_34 |  | 27 | 57 | 0.013792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2766-11_0_5_line_35 |  | 27 | 58 | 0.032062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2766-11_0_5_line_36 |  | 27 | 56 | 0.033572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2766-11_0_5_line_37 |  | 30 | 67 | 0.0152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2766-11_0_5_line_38 |  | 31 | 32 | 0.00087416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_2766-11_0_5_line_39 |  | 34 | 38 | 0.013104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_2766-11_0_5_line_40 |  | 35 | 36 | 0.029721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_2766-11_0_5_line_41 |  | 35 | 37 | 0.020762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_2766-11_0_5_line_42 |  | 36 | 38 | 0.036787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_2766-11_0_5_line_43 |  | 39 | 40 | 0.0091705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_2766-11_0_5_line_44 |  | 39 | 41 | 0.032083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_2766-11_0_5_line_45 |  | 40 | 42 | 0.018608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_2766-11_0_5_line_46 |  | 41 | 43 | 0.041546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_2766-11_0_5_line_47 |  | 42 | 44 | 0.024849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_2766-11_0_5_line_48 |  | 43 | 45 | 0.014987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_2766-11_0_5_line_49 |  | 44 | 46 | 0.024199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_2766-11_0_5_line_50 |  | 45 | 47 | 0.038708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_2766-11_0_5_line_51 |  | 46 | 48 | 0.0018705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_2766-11_0_5_line_52 |  | 47 | 69 | 0.010389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2766-11_0_5_line_53 |  | 48 | 49 | 0.023957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_2766-11_0_5_line_54 |  | 50 | 51 | 0.0038715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2766-11_0_5_line_55 |  | 50 | 52 | 0.021459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2766-11_0_5_line_56 |  | 51 | 75 | 0.024813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2766-11_0_5_line_57 |  | 52 | 76 | 0.068565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2766-11_0_5_line_58 |  | 53 | 54 | 0.0030263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2766-11_0_5_line_59 |  | 54 | 74 | 0.0067776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2766-11_0_5_line_60 |  | 55 | 56 | 0.032727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2766-11_0_5_line_61 |  | 57 | 59 | 0.021984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2766-11_0_5_line_62 |  | 57 | 60 | 0.02439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2766-11_0_5_line_63 |  | 58 | 61 | 0.018921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2766-11_0_5_line_64 |  | 59 | 77 | 0.012864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2766-11_0_5_line_65 |  | 60 | 76 | 0.042643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2766-11_0_5_line_66 |  | 61 | 64 | 0.053274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2766-11_0_5_line_67 |  | 62 | 63 | 0.066967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2766-11_0_5_line_68 |  | 62 | 64 | 0.056865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2766-11_0_5_line_69 |  | 63 | 68 | 0.036727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2766-11_0_5_line_70 |  | 65 | 66 | 0.0035493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2766-11_0_5_line_71 |  | 65 | 67 | 0.0002005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2766-11_0_5_line_72 |  | 69 | 70 | 0.00068865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2766-11_0_5_line_73 |  | 70 | 71 | 0.0080432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2766-11_0_5_line_74 |  | 71 | 72 | 0.011135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2766-11_0_5_line_75 |  | 72 | 73 | 0.0069619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2766-11_0_5_line_76 |  | 73 | 74 | 0.011371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2766-11_0_5_line_77 |  | 77 | 78 | 0.010909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2766-11_0_5_line_78 |  | 78 | 79 | 0.022473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2766-11_0_5_line_79 |  | 79 | 80 | 0.022486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2766-11_0_5_trafo_6 | 0.63 MVA 20/0.4 kV | 81 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2613924.5336 | 1266979.1409 | 2613925.5374 | 1266981.1892 | 2613931.7684 | 1266993.9264
1 | 2613924.5336 | 1266979.1409 | 2613918.59 | 1266967.8117
2 | 2613924.5336 | 1266979.1409 | 2613947.3238 | 1266968.3215
3 | 2613915.5861 | 1266962.0858 | 2613918.59 | 1266967.8117
4 | 2613915.5861 | 1266962.0858 | 2613901.697 | 1266969.0804 | 2613909.2333 | 1266984.4866
5 | 2613915.5861 | 1266962.0858 | 2613903.064 | 1266938.2267
6 | 2613903.064 | 1266938.2267 | 2613900.5813 | 1266933.4963
7 | 2613869.3363 | 1267001.7942 | 2613873.0743 | 1267019.1596 | 2613876.319 | 1267028.596 | 2613882.9584 | 1267038.0626 | 2613886.3281 | 1267048.7779 | 2613893.6083 | 1267080.2726 | 2613897.277 | 1267096.1441
8 | 2613869.3363 | 1267001.7942 | 2613865.6577 | 1266994.3916 | 2613857.0189 | 1266977.2594 | 2613855.1893 | 1266951.0983
9 | 2613810.7379 | 1267062.9226 | 2613811.2327 | 1267044.3774 | 2613824.8262 | 1267034.9136 | 2613824.5555 | 1267028.3417 | 2613830.5487 | 1267024.3973 | 2613838.3442 | 1267019.0784 | 2613869.3363 | 1267001.7942
10 | 2613895.2854 | 1266923.4058 | 2613900.5813 | 1266933.4963
11 | 2613887.0195 | 1266907.7253 | 2613889.9723 | 1266913.2806 | 2613893.4419 | 1266919.8933 | 2613895.2854 | 1266923.4058
12 | 2613887.0195 | 1266907.7253 | 2613884.4371 | 1266904.7616 | 2613882.4702 | 1266902.511 | 2613880.2105 | 1266899.9262
13 | 2613887.0195 | 1266907.7253 | 2613894.2669 | 1266901.8937
14 | 2613880.2105 | 1266899.9262 | 2613886.9097 | 1266893.5485 | 2613889.2125 | 1266891.3375
15 | 2613880.2105 | 1266899.9262 | 2613870.7873 | 1266906.736
16 | 2613894.2669 | 1266901.8937 | 2613899.1224 | 1266908.1539 | 2613912.9847 | 1266901.013
17 | 2613983.1769 | 1266861.4631 | 2613978.0591 | 1266867.5109 | 2613955.4005 | 1266879.1764
18 | 2613953.1209 | 1266880.3501 | 2613955.4005 | 1266879.1764
19 | 2613997.3135 | 1266893.2742 | 2613983.1769 | 1266861.4631
20 | 2613983.1769 | 1266861.4631 | 2613979.8988 | 1266859.8654 | 2613976.6839 | 1266856.9447 | 2613974.7462 | 1266852.7785
21 | 2613983.1769 | 1266861.4631 | 2613987.9448 | 1266860.1512 | 2613999.8331 | 1266854.5622
22 | 2613932.2148 | 1266891.1085 | 2613953.1209 | 1266880.3501
23 | 2613953.1209 | 1266880.3501 | 2613944.9219 | 1266865.1576
24 | 2613949.3511 | 1266914.9765 | 2613997.3135 | 1266893.2742
25 | 2614017.1343 | 1266846.4285 | 2613999.8331 | 1266854.5622
26 | 2613932.2148 | 1266891.1085 | 2613927.6146 | 1266893.4776
27 | 2613941.0443 | 1266857.9724 | 2613944.9219 | 1266865.1576
28 | 2614017.1343 | 1266846.4285 | 2614018.2304 | 1266845.9132
29 | 2613913.7619 | 1266900.6127 | 2613920.7595 | 1266897.008 | 2613927.6146 | 1266893.4776
30 | 2613933.5822 | 1266844.1455 | 2613941.0443 | 1266857.9724
31 | 2613947.2511 | 1266802.8932 | 2613949.5996 | 1266806.101 | 2613951.2877 | 1266808.4621 | 2613953.238 | 1266811.3799
32 | 2613953.238 | 1266811.3799 | 2613960.8618 | 1266799.2004 | 2613969.2091 | 1266786.1306
33 | 2613953.238 | 1266811.3799 | 2613945.4405 | 1266823.7925 | 2613933.5822 | 1266844.1455
34 | 2613947.2511 | 1266802.8932 | 2613941.7325 | 1266796.9094 | 2613938.8082 | 1266792.0547
35 | 2613947.2511 | 1266802.8932 | 2613964.5052 | 1266775.8697
36 | 2613947.2511 | 1266802.8932 | 2613937.857 | 1266818.8379 | 2613935.5752 | 1266822.4684 | 2613930.0457 | 1266831.7195
37 | 2614018.2304 | 1266845.9132 | 2614031.9857 | 1266839.4465
38 | 2613913.7619 | 1266900.6127 | 2613912.9847 | 1266901.013
39 | 2613870.7873 | 1266906.736 | 2613868.4782 | 1266908.4047 | 2613859.7198 | 1266913.7385
40 | 2613828.3007 | 1266932.8725 | 2613832.1752 | 1266936.9844 | 2613833.4458 | 1266937.6211 | 2613835.1081 | 1266938.1254 | 2613844.3155 | 1266937.4575 | 2613853.6207 | 1266930.3965
41 | 2613853.6207 | 1266930.3965 | 2613854.0908 | 1266935.3899 | 2613855.1893 | 1266951.0983
42 | 2613828.3007 | 1266932.8725 | 2613859.7198 | 1266913.7385
43 | 2613831.2839 | 1267154.5902 | 2613822.1812 | 1267155.7031
44 | 2613835.2065 | 1267186.4327 | 2613831.2839 | 1267154.5902 | 2613831.2839 | 1267154.5902
45 | 2613819.9035 | 1267137.2354 | 2613822.1812 | 1267155.7031 | 2613822.1812 | 1267155.7031
46 | 2613835.2065 | 1267186.4327 | 2613793.8395 | 1267182.5858
47 | 2613819.9035 | 1267137.2354 | 2613816.8617 | 1267112.5733
48 | 2613778.9171 | 1267181.1981 | 2613793.8395 | 1267182.5858
49 | 2613813.8995 | 1267088.5563 | 2613816.8617 | 1267112.5733
50 | 2613778.9171 | 1267181.1981 | 2613775.2782 | 1267142.6614
51 | 2613813.8995 | 1267088.5563 | 2613813.6705 | 1267086.6998
52 | 2613775.2782 | 1267142.6614 | 2613774.3015 | 1267132.3183
53 | 2613810.7379 | 1267062.9226 | 2613813.6705 | 1267086.6998
54 | 2613838.867 | 1266843.3456 | 2613836.5726 | 1266840.2273
55 | 2613838.867 | 1266843.3456 | 2613845.4709 | 1266852.0004 | 2613850.2399 | 1266853.4681 | 2613855.6925 | 1266852.2689
56 | 2613821.8668 | 1266820.2411 | 2613836.5726 | 1266840.2273
57 | 2613855.6925 | 1266852.2689 | 2613855.6925 | 1266852.2689 | 2613860.7546 | 1266847.4551 | 2613867.9132 | 1266837.7539 | 2613875.41 | 1266825.0959 | 2613878.2704 | 1266812.2159 | 2613875.0511 | 1266807.9831 | 2613879.5108 | 1266792.3051
58 | 2613769.7886 | 1267084.5268 | 2613770.0731 | 1267087.5397
59 | 2613770.7103 | 1267094.2872 | 2613770.0731 | 1267087.5397
60 | 2613913.255 | 1266859.8115 | 2613930.0457 | 1266831.7195
61 | 2613941.3203 | 1266770.5011 | 2613938.7989 | 1266779.9573 | 2613938.2304 | 1266784.8594 | 2613938.023 | 1266786.638 | 2613938.8082 | 1266792.0547
62 | 2613938.8082 | 1266792.0547 | 2613931.0962 | 1266793.6933 | 2613923.2706 | 1266792.4518 | 2613914.8769 | 1266790.6627
63 | 2613964.5052 | 1266775.8697 | 2613974.6876 | 1266759.9219
64 | 2613941.3203 | 1266770.5011 | 2613936.2043 | 1266769.3438 | 2613928.8733 | 1266767.2705
65 | 2613914.8769 | 1266790.6627 | 2613881.973 | 1266783.649 | 2613879.5108 | 1266792.3051
66 | 2614003.3572 | 1266715.0194 | 2613974.6876 | 1266759.9219
67 | 2614018.4642 | 1266708.9953 | 2614021.6156 | 1266710.1147 | 2614019.0005 | 1266714.556 | 2614020.2635 | 1266715.2373 | 2614023.7317 | 1266709.7194 | 2614024.7547 | 1266710.0442 | 2614044.5788 | 1266721.0655 | 2614052.0791 | 1266729.3779 | 2614058.9864 | 1266743.3263
68 | 2614003.3572 | 1266715.0194 | 2613996.8093 | 1266708.1992 | 2613997.7246 | 1266706.2778 | 2613999.8542 | 1266706.6053 | 2614002.0442 | 1266706.8217 | 2614004.0015 | 1266703.5574 | 2614023.7317 | 1266709.7194 | 2614020.2635 | 1266715.2373 | 2614019.0005 | 1266714.556 | 2614021.6156 | 1266710.1147 | 2614018.4642 | 1266708.9953
69 | 2614026.0823 | 1266759.8377 | 2614058.9864 | 1266743.3263
70 | 2614032.1672 | 1266839.3612 | 2614034.8925 | 1266838.0799 | 2614035.407 | 1266837.923
71 | 2614032.1672 | 1266839.3612 | 2614031.9857 | 1266839.4465
72 | 2613774.3015 | 1267132.3183 | 2613774.2367 | 1267131.6327
73 | 2613773.4806 | 1267123.6251 | 2613774.2367 | 1267131.6327
74 | 2613773.4806 | 1267123.6251 | 2613772.4338 | 1267112.5391
75 | 2613771.7793 | 1267105.608 | 2613772.4338 | 1267112.5391
76 | 2613771.7793 | 1267105.608 | 2613770.7103 | 1267094.2872
77 | 2613928.8733 | 1266767.2705 | 2613918.3758 | 1266764.3016
78 | 2613896.7513 | 1266758.1858 | 2613918.3758 | 1266764.3016
79 | 2613875.1141 | 1266752.0664 | 2613896.7513 | 1266758.1858

## bus_geodata
| x | y | coords
0 | 2613931.7684 | 1266993.9264
1 | 2613924.5336 | 1266979.1409
2 | 2613918.59 | 1266967.8117
3 | 2613947.3238 | 1266968.3215
4 | 2613915.5861 | 1266962.0858
5 | 2613909.2333 | 1266984.4866
6 | 2613903.064 | 1266938.2267
7 | 2613897.277 | 1267096.1441
8 | 2613869.3363 | 1267001.7942
9 | 2613900.5813 | 1266933.4963
10 | 2613895.2854 | 1266923.4058
11 | 2613887.0195 | 1266907.7253
12 | 2613880.2105 | 1266899.9262
13 | 2613894.2669 | 1266901.8937
14 | 2613955.4005 | 1266879.1764
15 | 2613983.1769 | 1266861.4631
16 | 2613953.1209 | 1266880.3501
17 | 2613997.3135 | 1266893.2742
18 | 2613974.7462 | 1266852.7785
19 | 2613999.8331 | 1266854.5622
20 | 2613932.2148 | 1266891.1085
21 | 2613944.9219 | 1266865.1576
22 | 2613949.3511 | 1266914.9765
23 | 2614017.1343 | 1266846.4285
24 | 2613927.6146 | 1266893.4776
25 | 2613941.0443 | 1266857.9724
26 | 2613953.238 | 1266811.3799
27 | 2613947.2511 | 1266802.8932
28 | 2613969.2091 | 1266786.1306
29 | 2613933.5822 | 1266844.1455
30 | 2614018.2304 | 1266845.9132
31 | 2613912.9847 | 1266901.013
32 | 2613913.7619 | 1266900.6127
33 | 2613889.2125 | 1266891.3375
34 | 2613870.7873 | 1266906.736
35 | 2613853.6207 | 1266930.3965
36 | 2613828.3007 | 1266932.8725
37 | 2613855.1893 | 1266951.0983
38 | 2613859.7198 | 1266913.7385
39 | 2613831.2839 | 1267154.5902
40 | 2613822.1812 | 1267155.7031
41 | 2613835.2065 | 1267186.4327
42 | 2613819.9035 | 1267137.2354
43 | 2613793.8395 | 1267182.5858
44 | 2613816.8617 | 1267112.5733
45 | 2613778.9171 | 1267181.1981
46 | 2613813.8995 | 1267088.5563
47 | 2613775.2782 | 1267142.6614
48 | 2613813.6705 | 1267086.6998
49 | 2613810.7379 | 1267062.9226
50 | 2613838.867 | 1266843.3456
51 | 2613836.5726 | 1266840.2273
52 | 2613855.6925 | 1266852.2689
53 | 2613769.7886 | 1267084.5268
54 | 2613770.0731 | 1267087.5397
55 | 2613913.255 | 1266859.8115
56 | 2613930.0457 | 1266831.7195
57 | 2613938.8082 | 1266792.0547
58 | 2613964.5052 | 1266775.8697
59 | 2613941.3203 | 1266770.5011
60 | 2613914.8769 | 1266790.6627
61 | 2613974.6876 | 1266759.9219
62 | 2614018.4642 | 1266708.9953
63 | 2614058.9864 | 1266743.3263
64 | 2614003.3572 | 1266715.0194
65 | 2614032.1672 | 1266839.3612
66 | 2614035.407 | 1266837.923
67 | 2614031.9857 | 1266839.4465
68 | 2614026.0823 | 1266759.8377
69 | 2613774.3015 | 1267132.3183
70 | 2613774.2367 | 1267131.6327
71 | 2613773.4806 | 1267123.6251
72 | 2613772.4338 | 1267112.5391
73 | 2613771.7793 | 1267105.608
74 | 2613770.7103 | 1267094.2872
75 | 2613821.8668 | 1266820.2411
76 | 2613879.5108 | 1266792.3051
77 | 2613928.8733 | 1266767.2705
78 | 2613918.3758 | 1266764.3016
79 | 2613896.7513 | 1266758.1858
80 | 2613875.1141 | 1266752.0664
81 | 2613915.5861 | 1266962.0858

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1