## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2766-18_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2766-18_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2766-18_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2766-18_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_2766-18_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2766-18_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2766-18_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_2766-18_0_4_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_2766-18_0_4_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_2766-18_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2766-18_0_4_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_2766-18_0_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_2766-18_0_4_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_2766-18_0_4_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_2766-18_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_2766-18_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2766-18_0_4_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_2766-18_0_4_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_2766-18_0_4_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_2766-18_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_2766-18_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2766-18_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2766-18_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2766-18_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_2766-18_0_4_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_2766-18_0_4_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_2766-18_0_4_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_2766-18_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_2766-18_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_2766-18_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_2766-18_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2766-18_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2766-18_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_2766-18_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2766-18_0_4_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_2766-18_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_2766-18_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_2766-18_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_2766-18_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_2766-18_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_2766-18_0_4_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_2766-18_0_4_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_2766-18_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_2766-18_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_2766-18_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_2766-18_0_4_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_2766-18_0_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_2766-18_0_4_node_80 | 0.4 | n |  | TRUE
48 | bus_LV_2766-18_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_2766-18_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_2766-18_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_2766-18_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_2766-18_0_4_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_2766-18_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_2766-18_0_4_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_2766-18_0_4_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_2766-18_0_4_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_2766-18_0_4_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_2766-18_0_4_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_2766-18_0_4_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_2766-18_0_4_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_2766-18_0_4_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_2766-18_0_4_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_2766-18_0_4_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_2766-18_0_4_node_72 | 0.4 | n |  | TRUE
65 | bus_LV_2766-18_0_4_node_73 | 0.4 | n |  | TRUE
66 | bus_LV_2766-18_0_4_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_2766-18_0_4_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_2766-18_0_4_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_2766-18_0_4_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_2766-18_0_4_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_2766-18_0_4_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_2766-18_0_4_node_75 | 0.4 | n |  | TRUE
73 | bus_LV_2766-18_0_4_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_2766-18_0_4_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_2766-18_0_4_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_2766-18_0_4_node_79 | 0.4 | n |  | TRUE
77 | bus_MV_555_0_node_95 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2766-18_0_4_load_0 | 0 | 0.006142 | 0.0015393 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2766-18_0_4_load_1 | 1 | 0.006145 | 0.0015401 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2766-18_0_4_load_3 | 2 | 0.0061503 | 0.0015414 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2766-18_0_4_load_38 | 7 | 0.0021553 | 0.00054016 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2766-18_0_4_load_36 | 8 | 0.0054426 | 0.0013641 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2766-18_0_4_load_7 | 9 | 0.024635 | 0.0061742 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2766-18_0_4_load_11 | 10 | 0.0055412 | 0.0013888 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2766-18_0_4_load_12 | 11 | 0.0028893 | 0.00072412 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2766-18_0_4_load_34 | 12 | 0.0021545 | 0.00053997 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2766-18_0_4_load_35 | 13 | 0.0029141 | 0.00073035 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2766-18_0_4_load_6 | 14 | 0.010287 | 0.0025781 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2766-18_0_4_load_57 | 16 | 0.0036818 | 0.00092275 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2766-18_0_4_load_55 | 17 | 0.0035293 | 0.00088453 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2766-18_0_4_load_37 | 18 | 0.0036331 | 0.00091053 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2766-18_0_4_load_13 | 19 | 0.0033668 | 0.0008438 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2766-18_0_4_load_14 | 20 | 0.0033672 | 0.0008439 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2766-18_0_4_load_15 | 21 | 0.0033672 | 0.0008439 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2766-18_0_4_load_16 | 22 | 0.0033853 | 0.00084843 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2766-18_0_4_load_17 | 23 | 0.0036213 | 0.00090759 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2766-18_0_4_load_44 | 24 | 0.006175 | 0.0015476 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2766-18_0_4_load_50 | 25 | 0.0033645 | 0.00084322 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2766-18_0_4_load_45 | 26 | 0.0054106 | 0.001356 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2766-18_0_4_load_24 | 27 | 0.0033637 | 0.00084303 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2766-18_0_4_load_18 | 28 | 0.0018322 | 0.0004592 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2766-18_0_4_load_19 | 29 | 0.002153 | 0.00053959 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2766-18_0_4_load_21 | 31 | 0.0021545 | 0.00053997 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2766-18_0_4_load_22 | 32 | 0.0024935 | 0.00062493 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2766-18_0_4_load_23 | 33 | 0.0018606 | 0.00046631 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2766-18_0_4_load_32 | 34 | 0.027091 | 0.0067897 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2766-18_0_4_load_25 | 35 | 0.0018322 | 0.0004592 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2766-18_0_4_load_28 | 36 | 0.018019 | 0.0045161 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2766-18_0_4_load_33 | 37 | 0.0021532 | 0.00053963 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2766-18_0_4_load_26 | 38 | 0.0018047 | 0.00045229 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2766-18_0_4_load_27 | 39 | 0.0018609 | 0.0004664 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2766-18_0_4_load_49 | 40 | 0.0018038 | 0.00045208 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2766-18_0_4_load_47 | 41 | 0.0018051 | 0.0004524 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2766-18_0_4_load_31 | 44 | 0.0033416 | 0.00083747 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2766-18_0_4_load_81 | 45 | 0.0032355 | 0.00081089 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2766-18_0_4_load_42 | 46 | 0.0078953 | 0.0019787 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2766-18_0_4_load_80 | 47 | 0.0032366 | 0.00081116 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2766-18_0_4_load_40 | 48 | 0.0044665 | 0.0011194 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2766-18_0_4_load_39 | 49 | 0.0037204 | 0.00093241 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2766-18_0_4_load_48 | 50 | 0.004074 | 0.001021 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2766-18_0_4_load_46 | 51 | 0.0018087 | 0.0004533 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2766-18_0_4_load_51 | 52 | 0.0068072 | 0.001706 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2766-18_0_4_load_52 | 53 | 0.0075995 | 0.0019046 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2766-18_0_4_load_59 | 55 | 0.004031 | 0.0010103 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2766-18_0_4_load_60 | 56 | 0.01032 | 0.0025863 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2766-18_0_4_load_56 | 57 | 0.0063163 | 0.001583 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2766-18_0_4_load_53 | 58 | 0.0029331 | 0.00073512 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2766-18_0_4_load_54 | 59 | 0.0029331 | 0.00073512 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2766-18_0_4_load_61 | 60 | 0.01086 | 0.0027218 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2766-18_0_4_load_67 | 61 | 0.0064017 | 0.0016044 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2766-18_0_4_load_65 | 62 | 0.0063839 | 0.0016 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2766-18_0_4_load_72 | 64 | 0.0040454 | 0.0010139 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2766-18_0_4_load_73 | 65 | 0.0035973 | 0.00090157 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2766-18_0_4_load_77 | 66 | 0.0029592 | 0.00074166 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2766-18_0_4_load_71 | 67 | 0.0034257 | 0.00085855 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2766-18_0_4_load_63 | 68 | 0.0060074 | 0.0015056 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2766-18_0_4_load_64 | 69 | 0.0096117 | 0.0024089 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2766-18_0_4_load_68 | 70 | 0.014321 | 0.0035891 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2766-18_0_4_load_69 | 71 | 0.0053953 | 0.0013522 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2766-18_0_4_load_75 | 72 | 0.0027727 | 0.00069491 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2766-18_0_4_load_74 | 73 | 0.0025068 | 0.00062825 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2766-18_0_4_load_76 | 74 | 0.0032486 | 0.00081418 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2766-18_0_4_load_78 | 75 | 0.0032227 | 0.00080768 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2766-18_0_4_load_79 | 76 | 0.0032314 | 0.00080987 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2766-18_0_4_line_0 |  | 0 | 1 | 0.015954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2766-18_0_4_line_1 |  | 1 | 2 | 0.046277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2766-18_0_4_line_2 |  | 2 | 6 | 0.015031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2766-18_0_4_line_3 |  | 3 | 4 | 0.031167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2766-18_0_4_line_4 |  | 3 | 5 | 0.04926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2766-18_0_4_line_5 |  | 4 | 7 | 0.015308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_2766-18_0_4_line_6 |  | 4 | 8 | 0.016389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2766-18_0_4_line_7 |  | 5 | 9 | 0.026153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2766-18_0_4_line_8 |  | 6 | 10 | 0.017866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2766-18_0_4_line_9 |  | 6 | 11 | 0.003326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_2766-18_0_4_line_10 |  | 7 | 12 | 0.0057167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2766-18_0_4_line_11 |  | 8 | 13 | 0.014629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2766-18_0_4_line_12 |  | 9 | 14 | 0.021303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2766-18_0_4_line_13 |  | 10 | 18 | 0.014841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2766-18_0_4_line_14 |  | 11 | 15 | 0.013866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2766-18_0_4_line_15 |  | 12 | 37 | 0.0057144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_2766-18_0_4_line_16 |  | 13 | 18 | 0.024202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_2766-18_0_4_line_17 |  | 15 | 16 | 0.020749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2766-18_0_4_line_18 |  | 16 | 17 | 0.0019614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2766-18_0_4_line_19 |  | 17 | 58 | 0.0069028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2766-18_0_4_line_20 |  | 19 | 20 | 0.00080057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2766-18_0_4_line_21 |  | 19 | 21 | 0.0064425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2766-18_0_4_line_22 |  | 20 | 22 | 0.0074305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2766-18_0_4_line_23 |  | 21 | 23 | 0.0021194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2766-18_0_4_line_24 |  | 22 | 24 | 0.0028339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2766-18_0_4_line_25 |  | 23 | 25 | 0.005121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2766-18_0_4_line_26 |  | 24 | 26 | 0.0078915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2766-18_0_4_line_27 |  | 25 | 27 | 0.0072375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2766-18_0_4_line_28 |  | 26 | 52 | 0.006073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2766-18_0_4_line_29 |  | 28 | 29 | 0.0057145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2766-18_0_4_line_30 |  | 28 | 30 | 0.016058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2766-18_0_4_line_31 |  | 29 | 31 | 0.0057145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_2766-18_0_4_line_32 |  | 30 | 32 | 0.013101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2766-18_0_4_line_33 |  | 30 | 33 | 0.02784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2766-18_0_4_line_34 |  | 31 | 34 | 0.0051053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2766-18_0_4_line_35 |  | 32 | 35 | 0.00053742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2766-18_0_4_line_36 |  | 33 | 36 | 0.0042313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2766-18_0_4_line_37 |  | 34 | 37 | 0.00060904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2766-18_0_4_line_38 |  | 35 | 38 | 0.0080488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2766-18_0_4_line_39 |  | 36 | 39 | 0.0024712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2766-18_0_4_line_40 |  | 38 | 40 | 0.0072056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2766-18_0_4_line_41 |  | 39 | 42 | 0.027805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2766-18_0_4_line_42 |  | 40 | 41 | 0.007206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2766-18_0_4_line_43 |  | 41 | 51 | 0.0072187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2766-18_0_4_line_44 |  | 42 | 43 | 0.004365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2766-18_0_4_line_45 |  | 42 | 44 | 0.011766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2766-18_0_4_line_46 |  | 43 | 45 | 0.029327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2766-18_0_4_line_47 |  | 44 | 46 | 0.021108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2766-18_0_4_line_48 |  | 45 | 47 | 0.0069205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2766-18_0_4_line_49 |  | 46 | 48 | 0.021256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2766-18_0_4_line_50 |  | 47 | 76 | 0.0069142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2766-18_0_4_line_51 |  | 48 | 49 | 0.013291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2766-18_0_4_line_52 |  | 50 | 51 | 0.012122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2766-18_0_4_line_53 |  | 52 | 53 | 0.0097922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_2766-18_0_4_line_54 |  | 53 | 54 | 0.016938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_2766-18_0_4_line_55 |  | 54 | 55 | 0.012689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2766-18_0_4_line_56 |  | 54 | 56 | 0.017696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2766-18_0_4_line_57 |  | 54 | 57 | 0.016249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_2766-18_0_4_line_58 |  | 55 | 60 | 0.010505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2766-18_0_4_line_59 |  | 56 | 61 | 0.012808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2766-18_0_4_line_60 |  | 57 | 59 | 0.0082165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_2766-18_0_4_line_61 |  | 58 | 59 | 0.0064848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_2766-18_0_4_line_62 |  | 61 | 62 | 0.0050617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2766-18_0_4_line_63 |  | 62 | 68 | 0.011121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2766-18_0_4_line_64 |  | 63 | 64 | 0.012333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2766-18_0_4_line_65 |  | 63 | 65 | 0.011128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2766-18_0_4_line_66 |  | 64 | 66 | 0.0096805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2766-18_0_4_line_67 |  | 65 | 67 | 0.0087852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2766-18_0_4_line_68 |  | 66 | 72 | 0.0072342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2766-18_0_4_line_69 |  | 67 | 71 | 0.0088601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2766-18_0_4_line_70 |  | 68 | 69 | 0.012698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2766-18_0_4_line_71 |  | 70 | 71 | 0.014533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2766-18_0_4_line_72 |  | 72 | 73 | 0.0066624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2766-18_0_4_line_73 |  | 73 | 74 | 0.007264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2766-18_0_4_line_74 |  | 74 | 75 | 0.007559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2766-18_0_4_line_75 |  | 75 | 76 | 0.0069013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2766-18_0_4_trafo_16 | 0.63 MVA 20/0.4 kV | 77 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2613656.107 | 1267269.6652 | 2613654.706 | 1267253.7731 | 2613654.706 | 1267253.7731
1 | 2613654.706 | 1267253.7731 | 2613660.7337 | 1267247.805 | 2613663.5054 | 1267240.4729 | 2613662.7198 | 1267231.8762 | 2613656.636 | 1267226.236 | 2613643.6782 | 1267227.5794
2 | 2613628.7272 | 1267229.1295 | 2613643.6782 | 1267227.5794
3 | 2613637.5734 | 1267316.611 | 2613668.6443 | 1267313.1801
4 | 2613668.6443 | 1267313.1801 | 2613694.7463 | 1267310.2938 | 2613693.4007 | 1267296.5255 | 2613692.383 | 1267287.4168
5 | 2613637.5734 | 1267316.611 | 2613622.3439 | 1267318.1578
6 | 2613637.5734 | 1267316.611 | 2613635.9246 | 1267300.3054
7 | 2613692.383 | 1267287.4168 | 2613689.6054 | 1267261.4114
8 | 2613628.7272 | 1267229.1295 | 2613630.5246 | 1267246.9048
9 | 2613628.7272 | 1267229.1295 | 2613628.3926 | 1267225.8203
10 | 2613616.6565 | 1267318.7354 | 2613622.3439 | 1267318.1578
11 | 2613634.4527 | 1267285.7503 | 2613635.9246 | 1267300.3054
12 | 2613687.3428 | 1267240.2287 | 2613689.6054 | 1267261.4114
13 | 2613632.0178 | 1267261.6709 | 2613630.5246 | 1267246.9048
14 | 2613626.9976 | 1267212.0246 | 2613628.3926 | 1267225.8203
15 | 2613610.9714 | 1267319.3128 | 2613616.6565 | 1267318.7354
16 | 2613634.4527 | 1267285.7503 | 2613632.0178 | 1267261.6709
17 | 2613626.9976 | 1267212.0246 | 2613606.3431 | 1267214
18 | 2613606.3431 | 1267214 | 2613604.3906 | 1267214.1867
19 | 2613597.5191 | 1267214.8439 | 2613604.3906 | 1267214.1867
20 | 2613572.2202 | 1267269.2559 | 2613572.135 | 1267268.4599
21 | 2613572.9062 | 1267275.6618 | 2613572.2202 | 1267269.2559
22 | 2613571.3438 | 1267261.0716 | 2613572.135 | 1267268.4599
23 | 2613573.1319 | 1267277.7691 | 2613572.9062 | 1267275.6618
24 | 2613571.3438 | 1267261.0716 | 2613571.0421 | 1267258.2538
25 | 2613573.1319 | 1267277.7691 | 2613573.6772 | 1267282.861
26 | 2613570.2018 | 1267250.4072 | 2613571.0421 | 1267258.2538
27 | 2613573.6772 | 1267282.861 | 2613574.4478 | 1267290.0573
28 | 2613570.2018 | 1267250.4072 | 2613569.5551 | 1267244.3687
29 | 2613593.9157 | 1267321.045 | 2613599.601 | 1267320.4676
30 | 2613577.9399 | 1267322.6675 | 2613593.9157 | 1267321.045
31 | 2613605.2862 | 1267319.8902 | 2613599.601 | 1267320.4676
32 | 2613577.9399 | 1267322.6675 | 2613579.2259 | 1267335.7051
33 | 2613577.9399 | 1267322.6675 | 2613550.3415 | 1267326.3282
34 | 2613605.2862 | 1267319.8902 | 2613610.3654 | 1267319.3743
35 | 2613579.2259 | 1267335.7051 | 2613579.2786 | 1267336.2399
36 | 2613546.147 | 1267326.8846 | 2613550.3415 | 1267326.3282
37 | 2613610.3654 | 1267319.3743 | 2613610.9714 | 1267319.3128
38 | 2613579.2786 | 1267336.2399 | 2613580.0687 | 1267344.2499
39 | 2613546.147 | 1267326.8846 | 2613543.6972 | 1267327.2095
40 | 2613580.776 | 1267351.4207 | 2613580.0687 | 1267344.2499
41 | 2613516.134 | 1267330.8655 | 2613543.6972 | 1267327.2095
42 | 2613581.4833 | 1267358.5919 | 2613580.776 | 1267351.4207
43 | 2613582.1919 | 1267365.7758 | 2613581.4833 | 1267358.5919
44 | 2613516.134 | 1267330.8655 | 2613515.6471 | 1267326.5281
45 | 2613516.134 | 1267330.8655 | 2613517.4975 | 1267342.5525
46 | 2613515.6471 | 1267326.5281 | 2613511.9423 | 1267297.4365
47 | 2613519.9436 | 1267363.5187 | 2613517.4975 | 1267342.5525
48 | 2613511.068 | 1267290.5715 | 2613511.9423 | 1267297.4365
49 | 2613519.9436 | 1267363.5187 | 2613522.4068 | 1267384.6317
50 | 2613510.1946 | 1267283.7126 | 2613511.068 | 1267290.5715
51 | 2613523.947 | 1267397.8331 | 2613522.4068 | 1267384.6317
52 | 2613582.1919 | 1267365.7758 | 2613583.3818 | 1267377.8395
53 | 2613568.5125 | 1267234.6322 | 2613569.5551 | 1267244.3687
54 | 2613566.709 | 1267217.7906 | 2613568.5125 | 1267234.6322
55 | 2613566.709 | 1267217.7906 | 2613554.138 | 1267219.5147
56 | 2613566.709 | 1267217.7906 | 2613557.4369 | 1267202.7179
57 | 2613566.709 | 1267217.7906 | 2613582.8846 | 1267216.2436
58 | 2613554.138 | 1267219.5147 | 2613543.7302 | 1267220.9421
59 | 2613550.7259 | 1267191.8083 | 2613557.4369 | 1267202.7179
60 | 2613591.0638 | 1267215.4613 | 2613582.8846 | 1267216.2436
61 | 2613597.5191 | 1267214.8439 | 2613591.0638 | 1267215.4613
62 | 2613548.0738 | 1267187.497 | 2613550.7259 | 1267191.8083
63 | 2613542.2468 | 1267178.0245 | 2613548.0738 | 1267187.497
64 | 2613502.9136 | 1267226.5402 | 2613504.4716 | 1267238.774
65 | 2613502.9136 | 1267226.5402 | 2613501.5424 | 1267215.4966
66 | 2613504.4716 | 1267238.774 | 2613505.6946 | 1267248.377
67 | 2613501.5424 | 1267215.4966 | 2613500.4599 | 1267206.7784
68 | 2613506.6085 | 1267255.5533 | 2613505.6946 | 1267248.377
69 | 2613499.3681 | 1267197.9858 | 2613500.4599 | 1267206.7784
70 | 2613542.2468 | 1267178.0245 | 2613535.5937 | 1267167.2092
71 | 2613497.5774 | 1267183.5635 | 2613499.3681 | 1267197.9858
72 | 2613507.4501 | 1267262.1623 | 2613506.6085 | 1267255.5533
73 | 2613507.4501 | 1267262.1623 | 2613508.3678 | 1267269.3682
74 | 2613509.3227 | 1267276.8666 | 2613508.3678 | 1267269.3682
75 | 2613509.3227 | 1267276.8666 | 2613510.1946 | 1267283.7126

## bus_geodata
| x | y | coords
0 | 2613656.107 | 1267269.6652
1 | 2613654.706 | 1267253.7731
2 | 2613643.6782 | 1267227.5794
3 | 2613668.6443 | 1267313.1801
4 | 2613637.5734 | 1267316.611
5 | 2613692.383 | 1267287.4168
6 | 2613628.7272 | 1267229.1295
7 | 2613622.3439 | 1267318.1578
8 | 2613635.9246 | 1267300.3054
9 | 2613689.6054 | 1267261.4114
10 | 2613630.5246 | 1267246.9048
11 | 2613628.3926 | 1267225.8203
12 | 2613616.6565 | 1267318.7354
13 | 2613634.4527 | 1267285.7503
14 | 2613687.3428 | 1267240.2287
15 | 2613626.9976 | 1267212.0246
16 | 2613606.3431 | 1267214
17 | 2613604.3906 | 1267214.1867
18 | 2613632.0178 | 1267261.6709
19 | 2613572.2202 | 1267269.2559
20 | 2613572.135 | 1267268.4599
21 | 2613572.9062 | 1267275.6618
22 | 2613571.3438 | 1267261.0716
23 | 2613573.1319 | 1267277.7691
24 | 2613571.0421 | 1267258.2538
25 | 2613573.6772 | 1267282.861
26 | 2613570.2018 | 1267250.4072
27 | 2613574.4478 | 1267290.0573
28 | 2613593.9157 | 1267321.045
29 | 2613599.601 | 1267320.4676
30 | 2613577.9399 | 1267322.6675
31 | 2613605.2862 | 1267319.8902
32 | 2613579.2259 | 1267335.7051
33 | 2613550.3415 | 1267326.3282
34 | 2613610.3654 | 1267319.3743
35 | 2613579.2786 | 1267336.2399
36 | 2613546.147 | 1267326.8846
37 | 2613610.9714 | 1267319.3128
38 | 2613580.0687 | 1267344.2499
39 | 2613543.6972 | 1267327.2095
40 | 2613580.776 | 1267351.4207
41 | 2613581.4833 | 1267358.5919
42 | 2613516.134 | 1267330.8655
43 | 2613515.6471 | 1267326.5281
44 | 2613517.4975 | 1267342.5525
45 | 2613511.9423 | 1267297.4365
46 | 2613519.9436 | 1267363.5187
47 | 2613511.068 | 1267290.5715
48 | 2613522.4068 | 1267384.6317
49 | 2613523.947 | 1267397.8331
50 | 2613583.3818 | 1267377.8395
51 | 2613582.1919 | 1267365.7758
52 | 2613569.5551 | 1267244.3687
53 | 2613568.5125 | 1267234.6322
54 | 2613566.709 | 1267217.7906
55 | 2613554.138 | 1267219.5147
56 | 2613557.4369 | 1267202.7179
57 | 2613582.8846 | 1267216.2436
58 | 2613597.5191 | 1267214.8439
59 | 2613591.0638 | 1267215.4613
60 | 2613543.7302 | 1267220.9421
61 | 2613550.7259 | 1267191.8083
62 | 2613548.0738 | 1267187.497
63 | 2613502.9136 | 1267226.5402
64 | 2613504.4716 | 1267238.774
65 | 2613501.5424 | 1267215.4966
66 | 2613505.6946 | 1267248.377
67 | 2613500.4599 | 1267206.7784
68 | 2613542.2468 | 1267178.0245
69 | 2613535.5937 | 1267167.2092
70 | 2613497.5774 | 1267183.5635
71 | 2613499.3681 | 1267197.9858
72 | 2613506.6085 | 1267255.5533
73 | 2613507.4501 | 1267262.1623
74 | 2613508.3678 | 1267269.3682
75 | 2613509.3227 | 1267276.8666
76 | 2613510.1946 | 1267283.7126
77 | 2613566.709 | 1267217.7906

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1