## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2766-2_1_5_node_2 | 0.4 | n |  | TRUE
1 | bus_LV_2766-2_1_5_node_3 | 0.4 | n |  | TRUE
2 | bus_LV_2766-2_1_5_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_2766-2_1_5_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_2766-2_1_5_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_2766-2_1_5_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_2766-2_1_5_node_66 | 0.4 | n |  | TRUE
7 | bus_LV_2766-2_1_5_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_2766-2_1_5_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_2766-2_1_5_node_67 | 0.4 | n |  | TRUE
10 | bus_LV_2766-2_1_5_node_88 | 0.4 | n |  | TRUE
11 | bus_LV_2766-2_1_5_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2766-2_1_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2766-2_1_5_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_2766-2_1_5_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_2766-2_1_5_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_2766-2_1_5_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_2766-2_1_5_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_2766-2_1_5_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_2766-2_1_5_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_2766-2_1_5_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_2766-2_1_5_node_58 | 0.4 | n |  | TRUE
22 | bus_LV_2766-2_1_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2766-2_1_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2766-2_1_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2766-2_1_5_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_2766-2_1_5_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2766-2_1_5_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_2766-2_1_5_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_2766-2_1_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_2766-2_1_5_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_2766-2_1_5_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_2766-2_1_5_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_2766-2_1_5_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_2766-2_1_5_node_92 | 0.4 | n |  | TRUE
35 | bus_LV_2766-2_1_5_node_90 | 0.4 | n |  | TRUE
36 | bus_LV_2766-2_1_5_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_2766-2_1_5_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_2766-2_1_5_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_2766-2_1_5_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_2766-2_1_5_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_2766-2_1_5_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_2766-2_1_5_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_2766-2_1_5_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_2766-2_1_5_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_2766-2_1_5_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_2766-2_1_5_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_2766-2_1_5_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_2766-2_1_5_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_2766-2_1_5_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_2766-2_1_5_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_2766-2_1_5_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_2766-2_1_5_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_2766-2_1_5_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_2766-2_1_5_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_2766-2_1_5_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_2766-2_1_5_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_2766-2_1_5_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_2766-2_1_5_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_2766-2_1_5_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_2766-2_1_5_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_2766-2_1_5_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_2766-2_1_5_node_74 | 0.4 | n |  | TRUE
63 | bus_LV_2766-2_1_5_node_75 | 0.4 | n |  | TRUE
64 | bus_LV_2766-2_1_5_node_72 | 0.4 | n |  | TRUE
65 | bus_LV_2766-2_1_5_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_2766-2_1_5_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_2766-2_1_5_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_2766-2_1_5_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_2766-2_1_5_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_2766-2_1_5_node_89 | 0.4 | n |  | TRUE
71 | bus_LV_2766-2_1_5_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_2766-2_1_5_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_2766-2_1_5_node_87 | 0.4 | n |  | TRUE
74 | bus_LV_2766-2_1_5_node_83 | 0.4 | n |  | TRUE
75 | bus_LV_2766-2_1_5_node_81 | 0.4 | n |  | TRUE
76 | bus_LV_2766-2_1_5_node_82 | 0.4 | n |  | TRUE
77 | bus_LV_2766-2_1_5_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_2766-2_1_5_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_2766-2_1_5_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_2766-2_1_5_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_2766-2_1_5_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_2766-2_1_5_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_2766-2_1_5_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_2766-2_1_5_node_86 | 0.4 | n |  | TRUE
85 | bus_MV_555_0_node_109 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2766-2_1_5_load_2 | 0 | 0.018522 | 0.004642 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2766-2_1_5_load_3 | 1 | 0.0010111 | 0.00025341 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2766-2_1_5_load_6 | 3 | 0.0020405 | 0.0005114 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2766-2_1_5_load_7 | 4 | 0.00096352 | 0.00024148 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2766-2_1_5_load_8 | 5 | 0.00085659 | 0.00021468 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2766-2_1_5_load_66 | 6 | 0.00085935 | 0.00021537 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2766-2_1_5_load_9 | 7 | 0.00036764 | 9.214e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2766-2_1_5_load_22 | 8 | 0.00127 | 0.00031828 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2766-2_1_5_load_88 | 10 | 0.00095958 | 0.00024049 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2766-2_1_5_load_10 | 11 | 0.0061412 | 0.0015391 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2766-2_1_5_load_11 | 12 | 0.015823 | 0.0039656 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2766-2_1_5_load_12 | 13 | 0.014378 | 0.0036034 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2766-2_1_5_load_13 | 14 | 0.0055356 | 0.0013873 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2766-2_1_5_load_28 | 16 | 0.0077039 | 0.0019308 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2766-2_1_5_load_23 | 17 | 0.014501 | 0.0036342 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2766-2_1_5_load_24 | 18 | 0.0037329 | 0.00093556 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2766-2_1_5_load_58 | 21 | 0.018701 | 0.004687 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2766-2_1_5_load_15 | 22 | 0.0016705 | 0.00041867 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2766-2_1_5_load_16 | 23 | 0.0051955 | 0.0013021 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2766-2_1_5_load_17 | 24 | 0.0015348 | 0.00038467 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2766-2_1_5_load_19 | 25 | 0.014495 | 0.0036328 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2766-2_1_5_load_20 | 26 | 0.025125 | 0.0062969 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2766-2_1_5_load_30 | 27 | 0.0081927 | 0.0020533 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2766-2_1_5_load_31 | 28 | 0.0072163 | 0.0018086 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2766-2_1_5_load_21 | 29 | 0.056354 | 0.014124 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2766-2_1_5_load_59 | 30 | 0.022416 | 0.0056179 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2766-2_1_5_load_25 | 31 | 0.0027745 | 0.00069536 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2766-2_1_5_load_29 | 33 | 0.0014665 | 0.00036755 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2766-2_1_5_load_92 | 34 | 0.0016333 | 0.00040935 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2766-2_1_5_load_90 | 35 | 0.044524 | 0.011159 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2766-2_1_5_load_51 | 37 | 0.0024295 | 0.00060889 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2766-2_1_5_load_32 | 38 | 0.002763 | 0.00069247 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2766-2_1_5_load_33 | 39 | 0.0055942 | 0.001402 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2766-2_1_5_load_36 | 40 | 0.0064042 | 0.001605 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2766-2_1_5_load_37 | 41 | 0.00070985 | 0.0001779 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2766-2_1_5_load_38 | 42 | 0.0017127 | 0.00042925 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2766-2_1_5_load_39 | 43 | 0.0031325 | 0.00078508 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2766-2_1_5_load_40 | 44 | 0.0017656 | 0.00044251 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2766-2_1_5_load_41 | 45 | 0.0058052 | 0.0014549 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2766-2_1_5_load_55 | 46 | 0.0064687 | 0.0016212 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2766-2_1_5_load_42 | 47 | 0.00067276 | 0.00016861 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2766-2_1_5_load_56 | 48 | 0.001159 | 0.00029047 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2766-2_1_5_load_43 | 49 | 0.0061499 | 0.0015413 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2766-2_1_5_load_46 | 51 | 0.00070368 | 0.00017636 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2766-2_1_5_load_44 | 52 | 0.0012655 | 0.00031717 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2766-2_1_5_load_45 | 53 | 0.002726 | 0.0006832 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2766-2_1_5_load_47 | 54 | 0.003448 | 0.00086414 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2766-2_1_5_load_49 | 55 | 0.0035156 | 0.0008811 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2766-2_1_5_load_50 | 56 | 0.0011601 | 0.00029074 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2766-2_1_5_load_60 | 57 | 0.0017641 | 0.00044213 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2766-2_1_5_load_68 | 58 | 0.0026747 | 0.00067035 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2766-2_1_5_load_69 | 59 | 0.046347 | 0.011616 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2766-2_1_5_load_71 | 60 | 0.00068674 | 0.00017211 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2766-2_1_5_load_57 | 61 | 0.0032406 | 0.00081218 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2766-2_1_5_load_74 | 62 | 0.00090403 | 0.00022657 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2766-2_1_5_load_75 | 63 | 0.0016345 | 0.00040964 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2766-2_1_5_load_72 | 64 | 0.0011654 | 0.00029208 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2766-2_1_5_load_61 | 65 | 0.032589 | 0.0081676 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2766-2_1_5_load_62 | 66 | 0.00093166 | 0.00023349 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2766-2_1_5_load_63 | 67 | 0.00013898 | 3.483e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2766-2_1_5_load_64 | 68 | 0.00017467 | 4.3775e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2766-2_1_5_load_65 | 69 | 0.0030284 | 0.000759 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2766-2_1_5_load_89 | 70 | 0.00056421 | 0.00014141 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2766-2_1_5_load_70 | 71 | 0.0092213 | 0.0023111 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2766-2_1_5_load_73 | 72 | 0.00064952 | 0.00016279 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2766-2_1_5_load_87 | 73 | 0.00015674 | 3.9281e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2766-2_1_5_load_83 | 74 | 0.00038613 | 9.6774e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2766-2_1_5_load_81 | 75 | 0.00041741 | 0.00010461 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2766-2_1_5_load_82 | 76 | 0.0003902 | 9.7794e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2766-2_1_5_load_80 | 77 | 0.00040304 | 0.00010101 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2766-2_1_5_load_76 | 78 | 0.00086152 | 0.00021592 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2766-2_1_5_load_77 | 79 | 0.0003717 | 9.3158e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2766-2_1_5_load_78 | 80 | 0.00039047 | 9.786e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2766-2_1_5_load_79 | 81 | 0.00035365 | 8.8633e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2766-2_1_5_load_84 | 82 | 0.00037036 | 9.2821e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2766-2_1_5_load_85 | 83 | 0.00037937 | 9.508e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2766-2_1_5_load_86 | 84 | 0.00036866 | 9.2395e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2766-2_1_5_line_0 |  | 0 | 1 | 0.01339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2766-2_1_5_line_1 |  | 0 | 2 | 0.054575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2766-2_1_5_line_2 |  | 2 | 3 | 0.0145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_2766-2_1_5_line_3 |  | 2 | 4 | 0.030156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2766-2_1_5_line_4 |  | 3 | 5 | 0.033254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_2766-2_1_5_line_5 |  | 4 | 6 | 0.0087102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2766-2_1_5_line_6 |  | 5 | 7 | 0.033364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_2766-2_1_5_line_7 |  | 6 | 8 | 0.04119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2766-2_1_5_line_8 |  | 7 | 9 | 0.054264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_2766-2_1_5_line_9 |  | 8 | 29 | 0.052611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2766-2_1_5_line_10 |  | 9 | 10 | 0.040235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_2766-2_1_5_line_11 |  | 10 | 74 | 0.01887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_2766-2_1_5_line_12 |  | 11 | 12 | 0.021243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2766-2_1_5_line_13 |  | 11 | 13 | 0.031684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2766-2_1_5_line_14 |  | 12 | 14 | 0.0063922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2766-2_1_5_line_15 |  | 13 | 15 | 0.025583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2766-2_1_5_line_16 |  | 14 | 16 | 0.0056925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2766-2_1_5_line_17 |  | 15 | 17 | 0.013924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2766-2_1_5_line_18 |  | 15 | 18 | 0.022109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_2766-2_1_5_line_19 |  | 16 | 19 | 0.024516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2766-2_1_5_line_20 |  | 17 | 20 | 0.054816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2766-2_1_5_line_21 |  | 18 | 21 | 0.0052261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_2766-2_1_5_line_22 |  | 19 | 32 | 0.038663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2766-2_1_5_line_23 |  | 19 | 33 | 0.030429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2766-2_1_5_line_24 |  | 19 | 31 | 0.051128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2766-2_1_5_line_25 |  | 20 | 26 | 0.036907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2766-2_1_5_line_26 |  | 20 | 23 | 0.028818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2766-2_1_5_line_27 |  | 21 | 30 | 0.018065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_2766-2_1_5_line_28 |  | 22 | 23 | 0.041959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2766-2_1_5_line_29 |  | 22 | 24 | 0.047813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2766-2_1_5_line_30 |  | 24 | 25 | 0.019601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2766-2_1_5_line_31 |  | 25 | 27 | 0.036651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2766-2_1_5_line_32 |  | 27 | 28 | 0.032491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2766-2_1_5_line_33 |  | 28 | 38 | 0.014776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2766-2_1_5_line_34 |  | 30 | 50 | 0.02826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_2766-2_1_5_line_35 |  | 32 | 34 | 0.003382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2766-2_1_5_line_36 |  | 32 | 35 | 0.049097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2766-2_1_5_line_37 |  | 33 | 36 | 0.036208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2766-2_1_5_line_38 |  | 36 | 37 | 0.046304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2766-2_1_5_line_39 |  | 38 | 39 | 0.014103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2766-2_1_5_line_40 |  | 40 | 41 | 0.011234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2766-2_1_5_line_41 |  | 40 | 42 | 0.0047645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2766-2_1_5_line_42 |  | 41 | 43 | 0.017866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2766-2_1_5_line_43 |  | 42 | 44 | 0.019705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2766-2_1_5_line_44 |  | 43 | 45 | 0.0042465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2766-2_1_5_line_45 |  | 44 | 46 | 0.0090176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2766-2_1_5_line_46 |  | 45 | 47 | 0.017781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_2766-2_1_5_line_47 |  | 46 | 48 | 0.008162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2766-2_1_5_line_48 |  | 47 | 49 | 0.018855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_2766-2_1_5_line_49 |  | 48 | 61 | 0.023457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2766-2_1_5_line_50 |  | 49 | 50 | 0.016002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_2766-2_1_5_line_51 |  | 50 | 51 | 0.018538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_2766-2_1_5_line_52 |  | 51 | 52 | 0.038533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_2766-2_1_5_line_53 |  | 52 | 53 | 0.0072033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_2766-2_1_5_line_54 |  | 53 | 54 | 0.05917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_2766-2_1_5_line_55 |  | 54 | 55 | 0.025725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_2766-2_1_5_line_56 |  | 55 | 56 | 0.017185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_2766-2_1_5_line_57 |  | 56 | 57 | 0.0088789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_2766-2_1_5_line_58 |  | 57 | 60 | 0.0057653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_2766-2_1_5_line_59 |  | 58 | 59 | 0.099484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2766-2_1_5_line_60 |  | 59 | 71 | 0.095331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2766-2_1_5_line_61 |  | 59 | 66 | 0.1109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2766-2_1_5_line_62 |  | 60 | 64 | 0.012108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_2766-2_1_5_line_63 |  | 61 | 62 | 0.024231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2766-2_1_5_line_64 |  | 62 | 63 | 0.00067059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2766-2_1_5_line_65 |  | 64 | 72 | 0.0018593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_2766-2_1_5_line_66 |  | 65 | 66 | 0.0091148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_2766-2_1_5_line_67 |  | 65 | 67 | 0.0031394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_2766-2_1_5_line_68 |  | 66 | 68 | 0.012594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_2766-2_1_5_line_69 |  | 67 | 69 | 0.011845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_2766-2_1_5_line_70 |  | 68 | 70 | 0.0089633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_2766-2_1_5_line_71 |  | 69 | 72 | 0.021295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_2766-2_1_5_line_72 |  | 70 | 73 | 0.0038125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_2766-2_1_5_line_73 |  | 73 | 84 | 0.01365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_2766-2_1_5_line_74 |  | 74 | 76 | 0.0094738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_2766-2_1_5_line_75 |  | 75 | 76 | 0.0058824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_2766-2_1_5_line_76 |  | 75 | 77 | 0.0095793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_2766-2_1_5_line_77 |  | 77 | 80 | 0.00011696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_2766-2_1_5_line_78 |  | 78 | 79 | 0.01509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_2766-2_1_5_line_79 |  | 78 | 80 | 0.014983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_2766-2_1_5_line_80 |  | 79 | 81 | 0.00020457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_2766-2_1_5_line_81 |  | 81 | 82 | 0.00026206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_2766-2_1_5_line_82 |  | 82 | 83 | 0.015524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_2766-2_1_5_line_83 |  | 83 | 84 | 0.00010393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2766-2_1_5_trafo_41 | 0.63 MVA 20/0.4 kV | 85 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2615033.9559 | 1267244.4679 | 2615026.3262 | 1267255.471
1 | 2615065.0611 | 1267199.6251 | 2615057.8314 | 1267210.0363 | 2615033.9559 | 1267244.4679
2 | 2615065.0611 | 1267199.6251 | 2615072.9806 | 1267187.4785
3 | 2615065.0611 | 1267199.6251 | 2615057.9976 | 1267194.9706 | 2615048.0944 | 1267191.1206 | 2615037.0436 | 1267190.4478
4 | 2615072.9806 | 1267187.4785 | 2615091.1426 | 1267159.6222
5 | 2615037.0436 | 1267190.4478 | 2615028.3496 | 1267189.9184
6 | 2615091.1426 | 1267159.6222 | 2615109.3649 | 1267131.6734
7 | 2614987.2262 | 1267187.5695 | 2615022.5594 | 1267189.5659 | 2615028.3496 | 1267189.9184
8 | 2615138.6259 | 1267085.9772 | 2615125.0446 | 1267107.6244 | 2615109.3649 | 1267131.6734
9 | 2614934.6989 | 1267184.6016 | 2614987.2262 | 1267187.5695
10 | 2615138.6259 | 1267085.9772 | 2615098.4604 | 1267083.612
11 | 2615079.6234 | 1267082.5027 | 2615098.4604 | 1267083.612
12 | 2614703.9518 | 1267176.6856 | 2614682.7263 | 1267177.5461
13 | 2614703.9518 | 1267176.6856 | 2614735.6093 | 1267175.4022
14 | 2614676.3393 | 1267177.805 | 2614682.7263 | 1267177.5461
15 | 2614761.1713 | 1267174.366 | 2614735.6093 | 1267175.4022
16 | 2614676.3393 | 1267177.805 | 2614670.6515 | 1267178.0356
17 | 2614761.1713 | 1267174.366 | 2614775.0677 | 1267175.2384
18 | 2614761.1713 | 1267174.366 | 2614761.9448 | 1267152.2703
19 | 2614646.1553 | 1267179.0287 | 2614670.6515 | 1267178.0356
20 | 2614829.7764 | 1267178.6734 | 2614775.0677 | 1267175.2384
21 | 2614762.1276 | 1267147.0474 | 2614761.9448 | 1267152.2703
22 | 2614646.1553 | 1267179.0287 | 2614607.3761 | 1267179.1666
23 | 2614646.1553 | 1267179.0287 | 2614646.0724 | 1267148.6003
24 | 2614646.1553 | 1267179.0287 | 2614646.9976 | 1267194.5861 | 2614646.9502 | 1267230.1334
25 | 2614829.7764 | 1267178.6734 | 2614866.625 | 1267180.7554
26 | 2614829.7764 | 1267178.6734 | 2614827.5779 | 1267207.407
27 | 2614762.1276 | 1267147.0474 | 2614762.7596 | 1267128.9937 | 2614762.7596 | 1267128.9937
28 | 2614827.5779 | 1267207.407 | 2614825.7924 | 1267230.7443 | 2614825.49 | 1267234.2683 | 2614824.3006 | 1267249.238
29 | 2614796.6381 | 1267271.7525 | 2614822.568 | 1267271.0423 | 2614824.3006 | 1267249.238
30 | 2614796.6381 | 1267271.7525 | 2614777.0442 | 1267272.2892
31 | 2614777.0442 | 1267272.2892 | 2614740.4074 | 1267273.2927
32 | 2614707.9282 | 1267274.1823 | 2614740.4074 | 1267273.2927
33 | 2614707.9282 | 1267274.1823 | 2614693.158 | 1267274.5868
34 | 2614791.0063 | 1267129.8757 | 2614762.7596 | 1267128.9937
35 | 2614607.3761 | 1267179.1666 | 2614607.2791 | 1267175.7862
36 | 2614607.3761 | 1267179.1666 | 2614558.2876 | 1267180.1014
37 | 2614645.9737 | 1267112.3927 | 2614646.0724 | 1267148.6003
38 | 2614645.9737 | 1267112.3927 | 2614648.4425 | 1267066.1542
39 | 2614693.158 | 1267274.5868 | 2614679.0606 | 1267274.973
40 | 2614876.806 | 1267135.5016 | 2614865.5959 | 1267134.7666
41 | 2614876.806 | 1267135.5016 | 2614881.5602 | 1267135.8134
42 | 2614865.5959 | 1267134.7666 | 2614847.7687 | 1267133.5977
43 | 2614901.2225 | 1267137.1026 | 2614881.5602 | 1267135.8134
44 | 2614843.5313 | 1267133.3198 | 2614847.7687 | 1267133.5977
45 | 2614910.2208 | 1267137.6927 | 2614901.2225 | 1267137.1026
46 | 2614843.5313 | 1267133.3198 | 2614825.7884 | 1267132.1564
47 | 2614910.2208 | 1267137.6927 | 2614918.3653 | 1267138.2267
48 | 2614806.9738 | 1267130.9227 | 2614825.7884 | 1267132.1564
49 | 2614918.3653 | 1267138.2267 | 2614941.7725 | 1267139.7615
50 | 2614791.0063 | 1267129.8757 | 2614806.9738 | 1267130.9227
51 | 2614791.0063 | 1267129.8757 | 2614791.3172 | 1267125.9515 | 2614791.5923 | 1267121.2489 | 2614791.5572 | 1267117.246 | 2614791.8122 | 1267111.3642
52 | 2614793.4813 | 1267072.8676 | 2614791.8122 | 1267111.3642
53 | 2614793.4813 | 1267072.8676 | 2614793.7934 | 1267065.6711
54 | 2614852.8607 | 1267069.1494 | 2614793.7934 | 1267065.6711 | 2614793.7934 | 1267065.6711
55 | 2614852.8607 | 1267069.1494 | 2614878.5415 | 1267070.6616
56 | 2614878.5415 | 1267070.6616 | 2614895.6963 | 1267071.6718
57 | 2614895.6963 | 1267071.6718 | 2614904.5599 | 1267072.1938
58 | 2614910.3152 | 1267072.5327 | 2614904.5599 | 1267072.1938
59 | 2614873.5879 | 1266959.3939 | 2614972.9046 | 1266965.17
60 | 2614972.9046 | 1266965.17 | 2615068.0753 | 1266970.705
61 | 2614969.5744 | 1267076.0223 | 2614972.9046 | 1266965.17
62 | 2614910.3152 | 1267072.5327 | 2614922.4027 | 1267073.2445
63 | 2614941.7725 | 1267139.7615 | 2614965.9511 | 1267141.3469
64 | 2614965.9511 | 1267141.3469 | 2614966.6203 | 1267141.3908
65 | 2614922.4027 | 1267073.2445 | 2614924.2588 | 1267073.3538
66 | 2614960.4753 | 1267075.4864 | 2614969.5744 | 1267076.0223
67 | 2614960.4753 | 1267075.4864 | 2614957.3414 | 1267075.3019
68 | 2614982.1463 | 1267076.7626 | 2614969.5744 | 1267076.0223
69 | 2614945.5167 | 1267074.6056 | 2614957.3414 | 1267075.3019
70 | 2614982.1463 | 1267076.7626 | 2614991.0941 | 1267077.2895
71 | 2614924.2588 | 1267073.3538 | 2614945.5167 | 1267074.6056
72 | 2614994.9 | 1267077.5136 | 2614991.0941 | 1267077.2895
73 | 2615008.5261 | 1267078.316 | 2614994.9 | 1267077.5136
74 | 2615079.6234 | 1267082.5027 | 2615070.1659 | 1267081.9458
75 | 2615064.2937 | 1267081.6 | 2615070.1659 | 1267081.9458
76 | 2615064.2937 | 1267081.6 | 2615054.731 | 1267081.0369
77 | 2615054.731 | 1267081.0369 | 2615054.6142 | 1267081.03
78 | 2615039.657 | 1267080.1492 | 2615024.593 | 1267079.2621
79 | 2615039.657 | 1267080.1492 | 2615054.6142 | 1267081.03
80 | 2615024.593 | 1267079.2621 | 2615024.3888 | 1267079.2501
81 | 2615024.3888 | 1267079.2501 | 2615024.1271 | 1267079.2347
82 | 2615024.1271 | 1267079.2347 | 2615008.6299 | 1267078.3221
83 | 2615008.6299 | 1267078.3221 | 2615008.5261 | 1267078.316

## bus_geodata
| x | y | coords
0 | 2615033.9559 | 1267244.4679
1 | 2615026.3262 | 1267255.471
2 | 2615065.0611 | 1267199.6251
3 | 2615072.9806 | 1267187.4785
4 | 2615037.0436 | 1267190.4478
5 | 2615091.1426 | 1267159.6222
6 | 2615028.3496 | 1267189.9184
7 | 2615109.3649 | 1267131.6734
8 | 2614987.2262 | 1267187.5695
9 | 2615138.6259 | 1267085.9772
10 | 2615098.4604 | 1267083.612
11 | 2614703.9518 | 1267176.6856
12 | 2614682.7263 | 1267177.5461
13 | 2614735.6093 | 1267175.4022
14 | 2614676.3393 | 1267177.805
15 | 2614761.1713 | 1267174.366
16 | 2614670.6515 | 1267178.0356
17 | 2614775.0677 | 1267175.2384
18 | 2614761.9448 | 1267152.2703
19 | 2614646.1553 | 1267179.0287
20 | 2614829.7764 | 1267178.6734
21 | 2614762.1276 | 1267147.0474
22 | 2614824.3006 | 1267249.238
23 | 2614827.5779 | 1267207.407
24 | 2614796.6381 | 1267271.7525
25 | 2614777.0442 | 1267272.2892
26 | 2614866.625 | 1267180.7554
27 | 2614740.4074 | 1267273.2927
28 | 2614707.9282 | 1267274.1823
29 | 2614934.6989 | 1267184.6016
30 | 2614762.7596 | 1267128.9937
31 | 2614646.9502 | 1267230.1334
32 | 2614607.3761 | 1267179.1666
33 | 2614646.0724 | 1267148.6003
34 | 2614607.2791 | 1267175.7862
35 | 2614558.2876 | 1267180.1014
36 | 2614645.9737 | 1267112.3927
37 | 2614648.4425 | 1267066.1542
38 | 2614693.158 | 1267274.5868
39 | 2614679.0606 | 1267274.973
40 | 2614876.806 | 1267135.5016
41 | 2614865.5959 | 1267134.7666
42 | 2614881.5602 | 1267135.8134
43 | 2614847.7687 | 1267133.5977
44 | 2614901.2225 | 1267137.1026
45 | 2614843.5313 | 1267133.3198
46 | 2614910.2208 | 1267137.6927
47 | 2614825.7884 | 1267132.1564
48 | 2614918.3653 | 1267138.2267
49 | 2614806.9738 | 1267130.9227
50 | 2614791.0063 | 1267129.8757
51 | 2614791.8122 | 1267111.3642
52 | 2614793.4813 | 1267072.8676
53 | 2614793.7934 | 1267065.6711
54 | 2614852.8607 | 1267069.1493
55 | 2614878.5415 | 1267070.6616
56 | 2614895.6963 | 1267071.6718
57 | 2614904.5599 | 1267072.1938
58 | 2614873.5879 | 1266959.3939
59 | 2614972.9046 | 1266965.17
60 | 2614910.3152 | 1267072.5327
61 | 2614941.7725 | 1267139.7615
62 | 2614965.9511 | 1267141.3469
63 | 2614966.6203 | 1267141.3908
64 | 2614922.4027 | 1267073.2445
65 | 2614960.4753 | 1267075.4864
66 | 2614969.5744 | 1267076.0223
67 | 2614957.3414 | 1267075.3019
68 | 2614982.1463 | 1267076.7626
69 | 2614945.5167 | 1267074.6056
70 | 2614991.0941 | 1267077.2895
71 | 2615068.0753 | 1266970.705
72 | 2614924.2588 | 1267073.3538
73 | 2614994.9 | 1267077.5136
74 | 2615079.6234 | 1267082.5027
75 | 2615064.2937 | 1267081.6
76 | 2615070.1659 | 1267081.9458
77 | 2615054.731 | 1267081.0369
78 | 2615039.657 | 1267080.1492
79 | 2615024.593 | 1267079.2621
80 | 2615054.6142 | 1267081.03
81 | 2615024.3888 | 1267079.2501
82 | 2615024.1271 | 1267079.2347
83 | 2615008.6299 | 1267078.3221
84 | 2615008.5261 | 1267078.316
85 | 2614791.0063 | 1267129.8757

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1