## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2769-13_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2769-13_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2769-13_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2769-13_0_3_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_2769-13_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2769-13_0_3_node_115 | 0.4 | n |  | TRUE
6 | bus_LV_2769-13_0_3_node_118 | 0.4 | n |  | TRUE
7 | bus_LV_2769-13_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2769-13_0_3_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_2769-13_0_3_node_119 | 0.4 | n |  | TRUE
10 | bus_LV_2769-13_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_2769-13_0_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_2769-13_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_2769-13_0_3_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_2769-13_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_2769-13_0_3_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_2769-13_0_3_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_2769-13_0_3_node_116 | 0.4 | n |  | TRUE
18 | bus_LV_2769-13_0_3_node_113 | 0.4 | n |  | TRUE
19 | bus_LV_2769-13_0_3_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_2769-13_0_3_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_2769-13_0_3_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_2769-13_0_3_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_2769-13_0_3_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_2769-13_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_2769-13_0_3_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_2769-13_0_3_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_2769-13_0_3_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_2769-13_0_3_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_2769-13_0_3_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_2769-13_0_3_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_2769-13_0_3_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_2769-13_0_3_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_2769-13_0_3_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_2769-13_0_3_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_2769-13_0_3_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_2769-13_0_3_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_2769-13_0_3_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_2769-13_0_3_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_2769-13_0_3_node_81 | 0.4 | n |  | TRUE
40 | bus_LV_2769-13_0_3_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_2769-13_0_3_node_101 | 0.4 | n |  | TRUE
42 | bus_LV_2769-13_0_3_node_99 | 0.4 | n |  | TRUE
43 | bus_LV_2769-13_0_3_node_110 | 0.4 | n |  | TRUE
44 | bus_LV_2769-13_0_3_node_82 | 0.4 | n |  | TRUE
45 | bus_LV_2769-13_0_3_node_125 | 0.4 | n |  | TRUE
46 | bus_LV_2769-13_0_3_node_124 | 0.4 | n |  | TRUE
47 | bus_LV_2769-13_0_3_node_100 | 0.4 | n |  | TRUE
48 | bus_LV_2769-13_0_3_node_111 | 0.4 | n |  | TRUE
49 | bus_LV_2769-13_0_3_node_120 | 0.4 | n |  | TRUE
50 | bus_LV_2769-13_0_3_node_121 | 0.4 | n |  | TRUE
51 | bus_LV_2769-13_0_3_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_2769-13_0_3_node_85 | 0.4 | n |  | TRUE
53 | bus_LV_2769-13_0_3_node_97 | 0.4 | n |  | TRUE
54 | bus_LV_2769-13_0_3_node_105 | 0.4 | n |  | TRUE
55 | bus_LV_2769-13_0_3_node_106 | 0.4 | n |  | TRUE
56 | bus_LV_2769-13_0_3_node_104 | 0.4 | n |  | TRUE
57 | bus_LV_2769-13_0_3_node_102 | 0.4 | n |  | TRUE
58 | bus_LV_2769-13_0_3_node_103 | 0.4 | n |  | TRUE
59 | bus_LV_2769-13_0_3_node_117 | 0.4 | n |  | TRUE
60 | bus_LV_2769-13_0_3_node_123 | 0.4 | n |  | TRUE
61 | bus_LV_2769-13_0_3_node_112 | 0.4 | n |  | TRUE
62 | bus_LV_2769-13_0_3_node_114 | 0.4 | n |  | TRUE
63 | bus_MV_563_0_node_183 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2769-13_0_3_load_0 | 0 | 0.030914 | 0.0077477 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2769-13_0_3_load_118 | 6 | 0.0030902 | 0.00077447 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2769-13_0_3_load_119 | 9 | 0.0041614 | 0.0010429 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2769-13_0_3_load_16 | 11 | 0.0019673 | 0.00049306 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2769-13_0_3_load_15 | 12 | 0.02835 | 0.0071052 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2769-13_0_3_load_30 | 13 | 0.0033325 | 0.0008352 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2769-13_0_3_load_37 | 15 | 0.0040981 | 0.0010271 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2769-13_0_3_load_36 | 16 | 0.0024324 | 0.00060961 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2769-13_0_3_load_116 | 17 | 0.0041549 | 0.0010413 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2769-13_0_3_load_113 | 18 | 0.0050718 | 0.0012711 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2769-13_0_3_load_31 | 19 | 0.0027957 | 0.00070066 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2769-13_0_3_load_40 | 20 | 0.0031296 | 0.00078435 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2769-13_0_3_load_34 | 21 | 0.0017648 | 0.0004423 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2769-13_0_3_load_25 | 22 | 0.0024539 | 0.00061501 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2769-13_0_3_load_26 | 23 | 0.002152 | 0.00053933 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2769-13_0_3_load_27 | 24 | 0.0020596 | 0.00051619 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2769-13_0_3_load_29 | 25 | 0.0022745 | 0.00057004 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2769-13_0_3_load_32 | 28 | 0.0026632 | 0.00066746 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2769-13_0_3_load_42 | 29 | 0.0027467 | 0.0006884 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2769-13_0_3_load_38 | 31 | 0.0019821 | 0.00049676 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2769-13_0_3_load_39 | 32 | 0.0031856 | 0.00079838 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2769-13_0_3_load_52 | 33 | 0.0043926 | 0.0011009 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2769-13_0_3_load_53 | 34 | 0.0034245 | 0.00085826 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2769-13_0_3_load_55 | 36 | 0.0036804 | 0.00092239 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2769-13_0_3_load_56 | 37 | 0.005875 | 0.0014724 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2769-13_0_3_load_76 | 38 | 0.002142 | 0.00053683 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2769-13_0_3_load_81 | 39 | 0.0041476 | 0.0010395 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2769-13_0_3_load_99 | 42 | 0.011431 | 0.0028649 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2769-13_0_3_load_110 | 43 | 0.0042874 | 0.0010745 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2769-13_0_3_load_82 | 44 | 0.0039169 | 0.00098166 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2769-13_0_3_load_125 | 45 | 0.0088952 | 0.0022293 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2769-13_0_3_load_124 | 46 | 0.0071155 | 0.0017833 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2769-13_0_3_load_111 | 48 | 0.0017023 | 0.00042663 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2769-13_0_3_load_120 | 49 | 0.0058118 | 0.0014566 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2769-13_0_3_load_121 | 50 | 0.0016368 | 0.00041023 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2769-13_0_3_load_84 | 51 | 0.0017689 | 0.00044332 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2769-13_0_3_load_85 | 52 | 0.0049053 | 0.0012294 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2769-13_0_3_load_97 | 53 | 0.0042281 | 0.0010597 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2769-13_0_3_load_104 | 56 | 0.0061811 | 0.0015491 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2769-13_0_3_load_103 | 58 | 0.012063 | 0.0030232 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2769-13_0_3_load_117 | 59 | 0.0012908 | 0.00032351 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2769-13_0_3_load_123 | 60 | 0.0074549 | 0.0018684 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2769-13_0_3_load_112 | 61 | 0.0022145 | 0.00055501 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2769-13_0_3_load_114 | 62 | 0.0030008 | 0.00075207 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2769-13_0_3_line_0 |  | 0 | 1 | 0.021497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2769-13_0_3_line_1 |  | 0 | 2 | 0.021411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2769-13_0_3_line_2 |  | 1 | 3 | 0.071173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2769-13_0_3_line_3 |  | 2 | 4 | 0.14205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2769-13_0_3_line_4 |  | 3 | 12 | 0.016808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2769-13_0_3_line_5 |  | 4 | 5 | 0.003432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2769-13_0_3_line_6 |  | 4 | 6 | 0.018344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2769-13_0_3_line_7 |  | 5 | 17 | 0.012299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2769-13_0_3_line_8 |  | 5 | 18 | 0.027799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2769-13_0_3_line_9 |  | 6 | 9 | 0.020318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2769-13_0_3_line_10 |  | 7 | 8 | 0.21117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2769-13_0_3_line_11 |  | 7 | 9 | 0.067954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2769-13_0_3_line_12 |  | 8 | 13 | 0.06899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2769-13_0_3_line_13 |  | 10 | 11 | 0.016842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2769-13_0_3_line_14 |  | 10 | 12 | 0.028714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2769-13_0_3_line_15 |  | 13 | 19 | 0.018589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2769-13_0_3_line_16 |  | 14 | 15 | 0.059263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2769-13_0_3_line_17 |  | 14 | 16 | 0.042998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2769-13_0_3_line_18 |  | 15 | 20 | 0.036046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2769-13_0_3_line_19 |  | 16 | 21 | 0.032936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2769-13_0_3_line_20 |  | 17 | 59 | 0.013985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2769-13_0_3_line_21 |  | 18 | 62 | 0.0072104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2769-13_0_3_line_22 |  | 19 | 28 | 0.028674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2769-13_0_3_line_23 |  | 20 | 31 | 0.021369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2769-13_0_3_line_24 |  | 21 | 26 | 0.045099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2769-13_0_3_line_25 |  | 22 | 23 | 0.0071931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2769-13_0_3_line_26 |  | 22 | 24 | 0.015406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2769-13_0_3_line_27 |  | 24 | 25 | 0.014409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2769-13_0_3_line_28 |  | 25 | 26 | 0.0029027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2769-13_0_3_line_29 |  | 26 | 27 | 0.027346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2769-13_0_3_line_30 |  | 27 | 30 | 0.00367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2769-13_0_3_line_31 |  | 28 | 29 | 0.024425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2769-13_0_3_line_32 |  | 29 | 30 | 0.017655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2769-13_0_3_line_33 |  | 31 | 32 | 0.004311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2769-13_0_3_line_34 |  | 33 | 34 | 0.016382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2769-13_0_3_line_35 |  | 33 | 35 | 0.017651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2769-13_0_3_line_36 |  | 34 | 36 | 0.0088494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2769-13_0_3_line_37 |  | 35 | 37 | 0.0045815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2769-13_0_3_line_38 |  | 36 | 38 | 0.021839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2769-13_0_3_line_39 |  | 37 | 39 | 0.017724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2769-13_0_3_line_40 |  | 38 | 43 | 0.01402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2769-13_0_3_line_41 |  | 39 | 44 | 0.023118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2769-13_0_3_line_42 |  | 40 | 41 | 0.038684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2769-13_0_3_line_43 |  | 40 | 42 | 0.02245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_2769-13_0_3_line_44 |  | 41 | 45 | 0.01802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2769-13_0_3_line_45 |  | 41 | 46 | 0.0027333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2769-13_0_3_line_46 |  | 42 | 47 | 0.02092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2769-13_0_3_line_47 |  | 43 | 48 | 0.0041967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2769-13_0_3_line_48 |  | 44 | 49 | 0.0098355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2769-13_0_3_line_49 |  | 46 | 60 | 0.021167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2769-13_0_3_line_50 |  | 47 | 57 | 0.00819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_2769-13_0_3_line_51 |  | 47 | 58 | 0.034859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2769-13_0_3_line_52 |  | 48 | 61 | 0.02024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2769-13_0_3_line_53 |  | 49 | 50 | 0.011074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2769-13_0_3_line_54 |  | 50 | 52 | 0.0051909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2769-13_0_3_line_55 |  | 51 | 52 | 0.0026161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2769-13_0_3_line_56 |  | 53 | 54 | 0.018752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2769-13_0_3_line_57 |  | 54 | 55 | 0.031073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2769-13_0_3_line_58 |  | 54 | 56 | 0.019234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2769-13_0_3_line_59 |  | 55 | 60 | 0.059193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2769-13_0_3_line_60 |  | 57 | 59 | 0.019946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_2769-13_0_3_line_61 |  | 61 | 62 | 0.017459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2769-13_0_3_trafo_57 | 0.63 MVA 20/0.4 kV | 63 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2613375.9604 | 1264088.4713 | 2613373.5488 | 1264092.5687 | 2613369.9195 | 1264095.6627 | 2613365.4723 | 1264097.4094 | 2613360.7048 | 1264097.5988 | 2613358.3834 | 1264096.8997
1 | 2613348.4988 | 1264080.1927 | 2613348.2245 | 1264084.9509 | 2613349.5321 | 1264089.5237 | 2613352.2646 | 1264093.4325 | 2613356.1292 | 1264096.2209 | 2613358.3834 | 1264096.8997
2 | 2613386.406 | 1264021.5375 | 2613392.9423 | 1264048.5153 | 2613375.9604 | 1264088.4713
3 | 2613268.0467 | 1264143.9787 | 2613270.7344 | 1264144.3183 | 2613274.083 | 1264145.5155 | 2613281.7811 | 1264148.1679 | 2613296.105 | 1264104.3141 | 2613305.328 | 1264078.4724 | 2613309.1501 | 1264066.6284 | 2613314.952 | 1264068.5872 | 2613348.4988 | 1264080.1927
4 | 2613386.406 | 1264021.5375 | 2613382.9158 | 1264009.6881 | 2613384.3213 | 1264005.4601
5 | 2613268.0467 | 1264143.9787 | 2613264.6194 | 1264144.3046
6 | 2613268.0467 | 1264143.9787 | 2613262.6888 | 1264161.5228
7 | 2613264.6194 | 1264144.3046 | 2613268.6866 | 1264132.6971
8 | 2613264.6194 | 1264144.3046 | 2613236.8522 | 1264142.982
9 | 2613262.6888 | 1264161.5228 | 2613256.7543 | 1264180.9551
10 | 2613066.6497 | 1264171.4847 | 2613097.799 | 1264187.6533 | 2613088.907 | 1264203.8783 | 2613103.8085 | 1264204.7228 | 2613110.4799 | 1264211.9314 | 2613119.9433 | 1264216.5666 | 2613122.4097 | 1264221.62 | 2613129.2795 | 1264227.6504 | 2613134.1191 | 1264232.2643 | 2613135.3479 | 1264231.6666 | 2613140.4371 | 1264228.9427 | 2613147.3074 | 1264231.3484 | 2613163.7288 | 1264236.1325 | 2613182.1863 | 1264253.163 | 2613187.5459 | 1264254.1978 | 2613191.508 | 1264253.7396 | 2613195.61 | 1264251.3693 | 2613213.3886 | 1264238.4555 | 2613218.2902 | 1264232.0842
11 | 2613218.2902 | 1264232.0842 | 2613223.8608 | 1264229.6282 | 2613235.3114 | 1264224.5058 | 2613239.7628 | 1264220.7798 | 2613243.6387 | 1264215.1512 | 2613252.5631 | 1264194.6792 | 2613256.7543 | 1264180.9551
12 | 2613066.6497 | 1264171.4847 | 2613076.7946 | 1264143.6767 | 2613084.6579 | 1264105.08
13 | 2613393.3796 | 1263978.2122 | 2613398.6945 | 1263962.2305
14 | 2613393.3796 | 1263978.2122 | 2613384.3213 | 1264005.4601
15 | 2613087.6374 | 1264086.7974 | 2613087.6967 | 1264090.1638 | 2613084.6579 | 1264105.08
16 | 2613155.6936 | 1264127.3174 | 2613166.0784 | 1264068.9718
17 | 2613155.6936 | 1264127.3174 | 2613145.2319 | 1264085.6111
18 | 2613166.0784 | 1264068.9718 | 2613168.9398 | 1264052.8954 | 2613174.0059 | 1264033.8408
19 | 2613136.5825 | 1264053.9177 | 2613137.8448 | 1264056.1621 | 2613145.2319 | 1264085.6111
20 | 2613268.6866 | 1264132.6971 | 2613273.311 | 1264119.4991
21 | 2613236.8522 | 1264142.982 | 2613229.65 | 1264142.639
22 | 2613087.6374 | 1264086.7974 | 2613087.1325 | 1264058.1275
23 | 2613179.4965 | 1264013.1897 | 2613174.0059 | 1264033.8408
24 | 2613116.3094 | 1264013.8965 | 2613117.8834 | 1264020.6713 | 2613136.5825 | 1264053.9177
25 | 2613110.8282 | 1263974.38 | 2613111.6637 | 1263981.5245
26 | 2613113.4532 | 1263996.8264 | 2613111.6637 | 1263981.5245
27 | 2613113.4532 | 1263996.8264 | 2613113.8247 | 1264000.0036 | 2613115.7984 | 1264011.0391
28 | 2613116.3094 | 1264013.8965 | 2613115.7984 | 1264011.0391
29 | 2613116.3094 | 1264013.8965 | 2613096.7269 | 1264011.3515 | 2613089.7387 | 1264014.5272
30 | 2613086.3915 | 1264016.0542 | 2613089.7387 | 1264014.5272
31 | 2613087.1325 | 1264058.1275 | 2613086.7024 | 1264033.706
32 | 2613086.3915 | 1264016.0542 | 2613086.7024 | 1264033.706
33 | 2613179.4965 | 1264013.1897 | 2613180.0959 | 1264010.9356 | 2613180.6089 | 1264009.0247
34 | 2613223.8708 | 1264063.4436 | 2613219.5311 | 1264079.2404
35 | 2613228.5465 | 1264046.4233 | 2613223.8708 | 1264063.4436
36 | 2613219.5311 | 1264079.2404 | 2613217.1869 | 1264087.7737
37 | 2613228.5465 | 1264046.4233 | 2613229.7607 | 1264042.0057
38 | 2613211.3989 | 1264108.8315 | 2613215.8139 | 1264092.7714 | 2613217.1869 | 1264087.7737
39 | 2613229.7607 | 1264042.0057 | 2613234.458 | 1264024.9154
40 | 2613207.6826 | 1264122.3495 | 2613211.3989 | 1264108.8315
41 | 2613234.458 | 1264024.9154 | 2613240.5847 | 1264002.6244
42 | 2613271.6557 | 1264035.3896 | 2613269.1896 | 1264036.963 | 2613264.1529 | 1264049.7494 | 2613267.4933 | 1264051.2468 | 2613261.9114 | 1264068.7576
43 | 2613261.9114 | 1264068.7576 | 2613268.0598 | 1264070.706 | 2613262.9275 | 1264085.8605
44 | 2613271.6557 | 1264035.3896 | 2613259.4486 | 1264031.771 | 2613257.5848 | 1264036.7591
45 | 2613271.6557 | 1264035.3896 | 2613272.6054 | 1264032.8266
46 | 2613282.6125 | 1264092.9427 | 2613262.9275 | 1264085.8605
47 | 2613207.6826 | 1264122.3495 | 2613206.5702 | 1264126.3961
48 | 2613243.1913 | 1263993.1406 | 2613240.5847 | 1264002.6244
49 | 2613272.6054 | 1264032.8266 | 2613273.6029 | 1264030.1348 | 2613278.5632 | 1264014.4573 | 2613280.4079 | 1264014.6282
50 | 2613282.6125 | 1264092.9427 | 2613279.9067 | 1264100.6753
51 | 2613282.6125 | 1264092.9427 | 2613294.1377 | 1264060.0439
52 | 2613212.2105 | 1264141.8083 | 2613212.2105 | 1264141.8083 | 2613206.7386 | 1264140.4286 | 2613204.6456 | 1264133.3968 | 2613206.5702 | 1264126.3961
53 | 2613243.1913 | 1263993.1406 | 2613246.1262 | 1263982.4624
54 | 2613247.5019 | 1263977.4571 | 2613246.1262 | 1263982.4624
55 | 2613247.5019 | 1263977.4571 | 2613248.1952 | 1263974.9345
56 | 2613325.8305 | 1263969.5766 | 2613332.3427 | 1263951.9922
57 | 2613325.8305 | 1263969.5766 | 2613298.3768 | 1263960.8535 | 2613296.1721 | 1263960.0369
58 | 2613325.8305 | 1263969.5766 | 2613319.4714 | 1263987.7288
59 | 2613296.1721 | 1263960.0369 | 2613288.2149 | 1263982.1566 | 2613290.4652 | 1263982.851 | 2613286.7862 | 1263994.662 | 2613280.4079 | 1264014.6282
60 | 2613279.9067 | 1264100.6753 | 2613273.311 | 1264119.4991
61 | 2613212.2105 | 1264141.8083 | 2613229.65 | 1264142.639

## bus_geodata
| x | y | coords
0 | 2613358.3834 | 1264096.8997
1 | 2613375.9604 | 1264088.4713
2 | 2613348.4988 | 1264080.1927
3 | 2613386.406 | 1264021.5375
4 | 2613268.0467 | 1264143.9787
5 | 2613264.6194 | 1264144.3046
6 | 2613262.6888 | 1264161.5228
7 | 2613218.2902 | 1264232.0842
8 | 2613066.6497 | 1264171.4847
9 | 2613256.7543 | 1264180.9551
10 | 2613393.3796 | 1263978.2122
11 | 2613398.6945 | 1263962.2305
12 | 2613384.3213 | 1264005.4601
13 | 2613084.6579 | 1264105.08
14 | 2613155.6936 | 1264127.3174
15 | 2613166.0784 | 1264068.9718
16 | 2613145.2319 | 1264085.6111
17 | 2613268.6866 | 1264132.6971
18 | 2613236.8522 | 1264142.982
19 | 2613087.6374 | 1264086.7974
20 | 2613174.0059 | 1264033.8408
21 | 2613136.5825 | 1264053.9177
22 | 2613111.6637 | 1263981.5245
23 | 2613110.8282 | 1263974.38
24 | 2613113.4532 | 1263996.8264
25 | 2613115.7984 | 1264011.0391
26 | 2613116.3094 | 1264013.8965
27 | 2613089.7387 | 1264014.5272
28 | 2613087.1325 | 1264058.1275
29 | 2613086.7024 | 1264033.706
30 | 2613086.3915 | 1264016.0542
31 | 2613179.4965 | 1264013.1897
32 | 2613180.6089 | 1264009.0247
33 | 2613223.8708 | 1264063.4436
34 | 2613219.5311 | 1264079.2404
35 | 2613228.5465 | 1264046.4233
36 | 2613217.1869 | 1264087.7737
37 | 2613229.7607 | 1264042.0057
38 | 2613211.3989 | 1264108.8315
39 | 2613234.458 | 1264024.9154
40 | 2613261.9114 | 1264068.7576
41 | 2613271.6557 | 1264035.3896
42 | 2613262.9275 | 1264085.8605
43 | 2613207.6826 | 1264122.3495
44 | 2613240.5847 | 1264002.6244
45 | 2613257.5848 | 1264036.7591
46 | 2613272.6054 | 1264032.8266
47 | 2613282.6125 | 1264092.9427
48 | 2613206.5702 | 1264126.3961
49 | 2613243.1913 | 1263993.1406
50 | 2613246.1262 | 1263982.4624
51 | 2613248.1952 | 1263974.9345
52 | 2613247.5019 | 1263977.4571
53 | 2613332.3427 | 1263951.9922
54 | 2613325.8305 | 1263969.5766
55 | 2613296.1721 | 1263960.0369
56 | 2613319.4714 | 1263987.7288
57 | 2613279.9067 | 1264100.6753
58 | 2613294.1377 | 1264060.0439
59 | 2613273.311 | 1264119.4991
60 | 2613280.4079 | 1264014.6282
61 | 2613212.2105 | 1264141.8083
62 | 2613229.65 | 1264142.639
63 | 2613248.0169 | 1264068.7265

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1