## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2769-15_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2769-15_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2769-15_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_2769-15_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_2769-15_0_3_node_30 | 0.4 | n |  | TRUE
5 | bus_LV_2769-15_0_3_node_34 | 0.4 | n |  | TRUE
6 | bus_LV_2769-15_0_3_node_52 | 0.4 | n |  | TRUE
7 | bus_LV_2769-15_0_3_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_2769-15_0_3_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_2769-15_0_3_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_2769-15_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2769-15_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2769-15_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2769-15_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2769-15_0_3_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_2769-15_0_3_node_81 | 0.4 | n |  | TRUE
16 | bus_LV_2769-15_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2769-15_0_3_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_2769-15_0_3_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_2769-15_0_3_node_100 | 0.4 | n |  | TRUE
20 | bus_LV_2769-15_0_3_node_102 | 0.4 | n |  | TRUE
21 | bus_LV_2769-15_0_3_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_2769-15_0_3_node_109 | 0.4 | n |  | TRUE
23 | bus_LV_2769-15_0_3_node_99 | 0.4 | n |  | TRUE
24 | bus_LV_2769-15_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_2769-15_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2769-15_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2769-15_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_2769-15_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_2769-15_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2769-15_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_2769-15_0_3_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_2769-15_0_3_node_88 | 0.4 | n |  | TRUE
33 | bus_LV_2769-15_0_3_node_86 | 0.4 | n |  | TRUE
34 | bus_LV_2769-15_0_3_node_83 | 0.4 | n |  | TRUE
35 | bus_LV_2769-15_0_3_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_2769-15_0_3_node_80 | 0.4 | n |  | TRUE
37 | bus_LV_2769-15_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_2769-15_0_3_node_73 | 0.4 | n |  | TRUE
39 | bus_LV_2769-15_0_3_node_87 | 0.4 | n |  | TRUE
40 | bus_LV_2769-15_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_2769-15_0_3_node_84 | 0.4 | n |  | TRUE
42 | bus_LV_2769-15_0_3_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_2769-15_0_3_node_79 | 0.4 | n |  | TRUE
44 | bus_LV_2769-15_0_3_node_20 | 0.4 | n |  | TRUE
45 | bus_LV_2769-15_0_3_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_2769-15_0_3_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_2769-15_0_3_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_2769-15_0_3_node_108 | 0.4 | n |  | TRUE
49 | bus_LV_2769-15_0_3_node_98 | 0.4 | n |  | TRUE
50 | bus_LV_2769-15_0_3_node_97 | 0.4 | n |  | TRUE
51 | bus_LV_2769-15_0_3_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_2769-15_0_3_node_107 | 0.4 | n |  | TRUE
53 | bus_LV_2769-15_0_3_node_77 | 0.4 | n |  | TRUE
54 | bus_LV_2769-15_0_3_node_96 | 0.4 | n |  | TRUE
55 | bus_LV_2769-15_0_3_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_2769-15_0_3_node_104 | 0.4 | n |  | TRUE
57 | bus_LV_2769-15_0_3_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_2769-15_0_3_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_2769-15_0_3_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_2769-15_0_3_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_2769-15_0_3_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_2769-15_0_3_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_2769-15_0_3_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_2769-15_0_3_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_2769-15_0_3_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_2769-15_0_3_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_2769-15_0_3_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_2769-15_0_3_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_2769-15_0_3_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_2769-15_0_3_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_2769-15_0_3_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_2769-15_0_3_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_2769-15_0_3_node_49 | 0.4 | n |  | TRUE
74 | bus_LV_2769-15_0_3_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_2769-15_0_3_node_50 | 0.4 | n |  | TRUE
76 | bus_LV_2769-15_0_3_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_2769-15_0_3_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_2769-15_0_3_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_2769-15_0_3_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_2769-15_0_3_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_2769-15_0_3_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_2769-15_0_3_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_2769-15_0_3_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_2769-15_0_3_node_63 | 0.4 | n |  | TRUE
85 | bus_LV_2769-15_0_3_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_2769-15_0_3_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_2769-15_0_3_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_2769-15_0_3_node_93 | 0.4 | n |  | TRUE
89 | bus_LV_2769-15_0_3_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_2769-15_0_3_node_95 | 0.4 | n |  | TRUE
91 | bus_LV_2769-15_0_3_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_2769-15_0_3_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_2769-15_0_3_node_94 | 0.4 | n |  | TRUE
94 | bus_LV_2769-15_0_3_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_2769-15_0_3_node_85 | 0.4 | n |  | TRUE
96 | bus_LV_2769-15_0_3_node_103 | 0.4 | n |  | TRUE
97 | bus_LV_2769-15_0_3_node_105 | 0.4 | n |  | TRUE
98 | bus_MV_574_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2769-15_0_3_load_0 | 0 | 0.02204 | 0.0055237 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2769-15_0_3_load_4 | 2 | 0.0026725 | 0.00066979 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2769-15_0_3_load_5 | 3 | 0.0025084 | 0.00062867 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2769-15_0_3_load_30 | 4 | 0.00086018 | 0.00021558 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2769-15_0_3_load_34 | 5 | 0.0024686 | 0.0006187 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2769-15_0_3_load_52 | 6 | 0.0031982 | 0.00080155 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2769-15_0_3_load_51 | 7 | 0.0016949 | 0.00042477 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2769-15_0_3_load_27 | 8 | 0.0013165 | 0.00032994 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2769-15_0_3_load_6 | 10 | 0.0046997 | 0.0011779 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2769-15_0_3_load_29 | 14 | 0.0046232 | 0.0011587 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2769-15_0_3_load_81 | 15 | 0.0022311 | 0.00055917 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2769-15_0_3_load_100 | 19 | 0.0025248 | 0.00063278 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2769-15_0_3_load_31 | 21 | 0.0012336 | 0.00030917 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2769-15_0_3_load_109 | 22 | 0.0034507 | 0.00086484 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2769-15_0_3_load_99 | 23 | 0.0033375 | 0.00083646 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2769-15_0_3_load_13 | 24 | 0.0075104 | 0.0018823 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2769-15_0_3_load_14 | 25 | 0.002383 | 0.00059724 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2769-15_0_3_load_16 | 27 | 0.0072382 | 0.0018141 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2769-15_0_3_load_88 | 32 | 0.0023724 | 0.00059457 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2769-15_0_3_load_86 | 33 | 0.0017771 | 0.00044539 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2769-15_0_3_load_83 | 34 | 0.0024969 | 0.00062578 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2769-15_0_3_load_19 | 35 | 0.0028599 | 0.00071676 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2769-15_0_3_load_73 | 38 | 0.0044675 | 0.0011197 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2769-15_0_3_load_87 | 39 | 0.0066758 | 0.0016731 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2769-15_0_3_load_84 | 41 | 0.0063005 | 0.001579 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2769-15_0_3_load_72 | 42 | 0.0039062 | 0.00097899 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2769-15_0_3_load_79 | 43 | 0.0054029 | 0.0013541 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2769-15_0_3_load_20 | 44 | 0.0038144 | 0.00095597 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2769-15_0_3_load_24 | 46 | 0.0019805 | 0.00049637 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2769-15_0_3_load_25 | 47 | 0.0051705 | 0.0012959 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2769-15_0_3_load_98 | 49 | 0.0025927 | 0.00064979 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2769-15_0_3_load_97 | 50 | 0.0028476 | 0.00071367 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2769-15_0_3_load_26 | 51 | 0.0052293 | 0.0013106 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2769-15_0_3_load_107 | 52 | 0.0032667 | 0.0008187 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2769-15_0_3_load_96 | 54 | 0.0033363 | 0.00083614 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2769-15_0_3_load_37 | 55 | 0.0016721 | 0.00041907 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2769-15_0_3_load_104 | 56 | 0.010139 | 0.0025411 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2769-15_0_3_load_40 | 59 | 0.0015379 | 0.00038542 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2769-15_0_3_load_46 | 60 | 0.01232 | 0.0030876 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2769-15_0_3_load_47 | 61 | 0.0030051 | 0.00075314 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2769-15_0_3_load_43 | 63 | 0.0014585 | 0.00036554 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2769-15_0_3_load_48 | 64 | 0.0013438 | 0.0003368 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2769-15_0_3_load_58 | 65 | 0.0011249 | 0.00028192 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2769-15_0_3_load_42 | 66 | 0.0061669 | 0.0015456 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2769-15_0_3_load_44 | 67 | 0.0024972 | 0.00062585 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2769-15_0_3_load_70 | 68 | 0.016821 | 0.0042157 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2769-15_0_3_load_45 | 70 | 0.0024255 | 0.00060789 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2769-15_0_3_load_57 | 71 | 0.0033142 | 0.00083063 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2769-15_0_3_load_49 | 73 | 0.001203 | 0.0003015 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2769-15_0_3_load_59 | 74 | 0.0028938 | 0.00072525 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2769-15_0_3_load_50 | 75 | 0.0023493 | 0.0005888 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2769-15_0_3_load_54 | 76 | 0.0045952 | 0.0011517 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2769-15_0_3_load_55 | 77 | 0.0051109 | 0.0012809 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2769-15_0_3_load_60 | 78 | 0.0033107 | 0.00082973 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2769-15_0_3_load_61 | 79 | 0.0015744 | 0.00039458 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2769-15_0_3_load_62 | 80 | 0.0016111 | 0.00040378 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2769-15_0_3_load_68 | 82 | 0.006462 | 0.0016195 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2769-15_0_3_load_64 | 83 | 0.0012174 | 0.00030511 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2769-15_0_3_load_63 | 84 | 0.005549 | 0.0013907 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2769-15_0_3_load_78 | 85 | 0.0052985 | 0.0013279 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2769-15_0_3_load_74 | 86 | 0.001476 | 0.00036992 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2769-15_0_3_load_76 | 87 | 0.0010821 | 0.00027119 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2769-15_0_3_load_89 | 89 | 0.001112 | 0.00027869 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2769-15_0_3_load_95 | 90 | 0.002637 | 0.0006609 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2769-15_0_3_load_91 | 91 | 0.0020983 | 0.00052587 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2769-15_0_3_load_94 | 93 | 0.0028442 | 0.00071282 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2769-15_0_3_load_90 | 94 | 0.002568 | 0.00064361 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2769-15_0_3_load_85 | 95 | 0.0015087 | 0.00037813 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2769-15_0_3_load_103 | 96 | 0.0011805 | 0.00029587 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2769-15_0_3_load_105 | 97 | 0.0089023 | 0.0022311 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2769-15_0_3_line_0 |  | 0 | 1 | 0.093992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2769-15_0_3_line_1 |  | 1 | 2 | 0.0012903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2769-15_0_3_line_2 |  | 1 | 3 | 0.0094449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2769-15_0_3_line_3 |  | 2 | 4 | 0.014342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2769-15_0_3_line_4 |  | 3 | 5 | 0.012263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_2769-15_0_3_line_5 |  | 4 | 8 | 0.020879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2769-15_0_3_line_6 |  | 5 | 9 | 0.039814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2769-15_0_3_line_7 |  | 6 | 7 | 0.0073047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2769-15_0_3_line_8 |  | 7 | 75 | 0.01674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2769-15_0_3_line_9 |  | 8 | 51 | 0.015785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2769-15_0_3_line_10 |  | 8 | 14 | 0.019772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2769-15_0_3_line_11 |  | 8 | 37 | 0.020375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2769-15_0_3_line_12 |  | 9 | 55 | 0.026185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2769-15_0_3_line_13 |  | 10 | 11 | 0.013058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2769-15_0_3_line_14 |  | 11 | 12 | 0.007556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2769-15_0_3_line_15 |  | 11 | 13 | 0.055375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2769-15_0_3_line_16 |  | 12 | 14 | 0.02408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2769-15_0_3_line_17 |  | 13 | 15 | 0.0064217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2769-15_0_3_line_18 |  | 16 | 17 | 0.045509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2769-15_0_3_line_19 |  | 16 | 18 | 0.061171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2769-15_0_3_line_20 |  | 16 | 19 | 0.021355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2769-15_0_3_line_21 |  | 17 | 20 | 0.048874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2769-15_0_3_line_22 |  | 17 | 21 | 0.0077206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2769-15_0_3_line_23 |  | 18 | 22 | 0.003192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2769-15_0_3_line_24 |  | 19 | 23 | 0.019957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2769-15_0_3_line_25 |  | 20 | 52 | 0.0085784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2769-15_0_3_line_26 |  | 24 | 25 | 0.011057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2769-15_0_3_line_27 |  | 24 | 26 | 0.02157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2769-15_0_3_line_28 |  | 25 | 27 | 0.022425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2769-15_0_3_line_29 |  | 26 | 28 | 0.006181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2769-15_0_3_line_30 |  | 26 | 29 | 0.026787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2769-15_0_3_line_31 |  | 27 | 30 | 0.014147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_2769-15_0_3_line_32 |  | 28 | 31 | 0.029186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2769-15_0_3_line_33 |  | 28 | 32 | 0.014834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2769-15_0_3_line_34 |  | 29 | 33 | 0.027889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2769-15_0_3_line_35 |  | 29 | 34 | 0.0035505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_2769-15_0_3_line_36 |  | 30 | 37 | 0.01386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2769-15_0_3_line_37 |  | 31 | 38 | 0.013748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2769-15_0_3_line_38 |  | 32 | 39 | 0.0018213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2769-15_0_3_line_39 |  | 33 | 40 | 0.016105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2769-15_0_3_line_40 |  | 34 | 41 | 0.0095951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2769-15_0_3_line_41 |  | 35 | 36 | 0.0054433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2769-15_0_3_line_42 |  | 36 | 42 | 0.0054878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2769-15_0_3_line_43 |  | 36 | 43 | 0.0067785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2769-15_0_3_line_44 |  | 37 | 48 | 0.04357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2769-15_0_3_line_45 |  | 39 | 89 | 0.011852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2769-15_0_3_line_46 |  | 40 | 56 | 0.00336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2769-15_0_3_line_47 |  | 41 | 95 | 0.0062203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2769-15_0_3_line_48 |  | 42 | 69 | 0.012598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2769-15_0_3_line_49 |  | 43 | 85 | 0.00053828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2769-15_0_3_line_50 |  | 44 | 45 | 0.013242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2769-15_0_3_line_51 |  | 45 | 46 | 0.0065122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2769-15_0_3_line_52 |  | 45 | 47 | 0.011294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2769-15_0_3_line_53 |  | 46 | 49 | 0.0071867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2769-15_0_3_line_54 |  | 47 | 50 | 0.0059982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2769-15_0_3_line_55 |  | 48 | 52 | 0.012336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2769-15_0_3_line_56 |  | 49 | 53 | 0.0067753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2769-15_0_3_line_57 |  | 50 | 54 | 0.011381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2769-15_0_3_line_58 |  | 53 | 89 | 0.0092337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2769-15_0_3_line_59 |  | 54 | 93 | 0.0062237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2769-15_0_3_line_60 |  | 55 | 57 | 0.0081643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2769-15_0_3_line_61 |  | 57 | 58 | 0.042777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2769-15_0_3_line_62 |  | 57 | 59 | 0.020328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2769-15_0_3_line_63 |  | 58 | 60 | 0.046999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2769-15_0_3_line_64 |  | 58 | 61 | 0.013452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2769-15_0_3_line_65 |  | 58 | 62 | 0.042409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2769-15_0_3_line_66 |  | 58 | 63 | 0.025841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2769-15_0_3_line_67 |  | 60 | 64 | 0.013413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2769-15_0_3_line_68 |  | 61 | 65 | 0.0056662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2769-15_0_3_line_69 |  | 62 | 66 | 0.022408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2769-15_0_3_line_70 |  | 63 | 67 | 0.020406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2769-15_0_3_line_71 |  | 64 | 73 | 0.020085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2769-15_0_3_line_72 |  | 65 | 74 | 0.021024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2769-15_0_3_line_73 |  | 66 | 68 | 0.0087159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2769-15_0_3_line_74 |  | 67 | 70 | 0.010503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2769-15_0_3_line_75 |  | 68 | 69 | 0.023691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2769-15_0_3_line_76 |  | 70 | 71 | 0.0096354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2769-15_0_3_line_77 |  | 71 | 72 | 0.037227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2769-15_0_3_line_78 |  | 72 | 77 | 0.015059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2769-15_0_3_line_79 |  | 73 | 75 | 0.0069514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2769-15_0_3_line_80 |  | 74 | 78 | 0.0064525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2769-15_0_3_line_81 |  | 76 | 77 | 0.019697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2769-15_0_3_line_82 |  | 78 | 79 | 0.0074848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2769-15_0_3_line_83 |  | 79 | 80 | 0.013105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2769-15_0_3_line_84 |  | 80 | 81 | 0.027733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2769-15_0_3_line_85 |  | 81 | 82 | 0.0083242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2769-15_0_3_line_86 |  | 81 | 83 | 0.012566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2769-15_0_3_line_87 |  | 83 | 84 | 0.021494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2769-15_0_3_line_88 |  | 86 | 87 | 0.0011577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2769-15_0_3_line_89 |  | 87 | 88 | 0.0092091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2769-15_0_3_line_90 |  | 88 | 90 | 0.009191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2769-15_0_3_line_91 |  | 88 | 91 | 0.018521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2769-15_0_3_line_92 |  | 91 | 94 | 0.0054308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2769-15_0_3_line_93 |  | 92 | 93 | 0.0055193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2769-15_0_3_line_94 |  | 92 | 94 | 0.011207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2769-15_0_3_line_95 |  | 95 | 96 | 0.005977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2769-15_0_3_line_96 |  | 96 | 97 | 0.0024904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2769-15_0_3_trafo_83 | 0.63 MVA 20/0.4 kV | 98 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2613772.8166 | 1262523.3793 | 2613810.9321 | 1262523.7681 | 2613826.4192 | 1262523.9931 | 2613838.9612 | 1262524.1224 | 2613866.7817 | 1262525.2532
1 | 2613772.8166 | 1262523.3793 | 2613771.5293 | 1262523.4671
2 | 2613772.8166 | 1262523.3793 | 2613777.8301 | 1262515.3749
3 | 2613771.5293 | 1262523.4671 | 2613757.2201 | 1262524.4429
4 | 2613777.8301 | 1262515.3749 | 2613784.3394 | 1262504.9823
5 | 2613736.3893 | 1262525.8634 | 2613757.2201 | 1262524.4429
6 | 2613809.4432 | 1262474.0861 | 2613794.7658 | 1262491.6863 | 2613784.3394 | 1262504.9823
7 | 2613915.6337 | 1262449.2716 | 2613922.8007 | 1262450.6839
8 | 2613899.2102 | 1262446.0298 | 2613904.3313 | 1262447.0445 | 2613915.6337 | 1262449.2716
9 | 2613736.3893 | 1262525.8634 | 2613742.9101 | 1262540.2382
10 | 2613736.3893 | 1262525.8634 | 2613744.3395 | 1262531.0853 | 2613747.987 | 1262540.675
11 | 2613715.9696 | 1262525.049 | 2613736.3893 | 1262525.8634
12 | 2613809.4432 | 1262474.0861 | 2613813.6659 | 1262469.0147 | 2613821.4966 | 1262457.6251 | 2613824.4975 | 1262452.7042
13 | 2613767.8863 | 1262554.2446 | 2613780.0316 | 1262559.0411
14 | 2613762.4285 | 1262559.2354 | 2613765.292 | 1262555.5617 | 2613767.8863 | 1262554.2446
15 | 2613767.8863 | 1262554.2446 | 2613775.5412 | 1262550.3486 | 2613809.8256 | 1262555.7986 | 2613817.9882 | 1262557.1073 | 2613818.7706 | 1262554.2961 | 2613818.9534 | 1262553.4293
16 | 2613762.4285 | 1262559.2354 | 2613758.413 | 1262556.1907 | 2613750.7861 | 1262548.0341 | 2613747.987 | 1262540.675
17 | 2613818.9534 | 1262553.4293 | 2613820.1939 | 1262547.1286
18 | 2613767.8503 | 1262595.7508 | 2613778.4778 | 1262599.5447 | 2613787.3441 | 1262602.7007 | 2613790.2643 | 1262603.7972 | 2613793.1845 | 1262604.8936 | 2613792.2665 | 1262607.6934 | 2613791.8338 | 1262609.1267 | 2613805.7377 | 1262606.6017
19 | 2613786.1586 | 1262646.1278 | 2613783.7369 | 1262644.4655 | 2613777.4611 | 1262641.6823 | 2613789.8687 | 1262608.7107 | 2613791.8338 | 1262609.1267 | 2613805.7377 | 1262606.6017
20 | 2613805.7377 | 1262606.6017 | 2613802.2799 | 1262622.8826 | 2613801.3705 | 1262627.5046
21 | 2613722.454 | 1262577.8001 | 2613727.2614 | 1262580.4241 | 2613732.2438 | 1262582.2702 | 2613742.9915 | 1262586.2423 | 2613757.0344 | 1262592.012 | 2613767.8503 | 1262595.7508
22 | 2613767.8503 | 1262595.7508 | 2613770.3915 | 1262588.4603
23 | 2613786.1586 | 1262646.1278 | 2613785.097 | 1262649.1385
24 | 2613799.7861 | 1262647.2491 | 2613799.3147 | 1262637.9527 | 2613801.3705 | 1262627.5046
25 | 2613722.454 | 1262577.8001 | 2613722.0068 | 1262572.451 | 2613719.7979 | 1262570.121
26 | 2613723.6226 | 1262464.0504 | 2613722.3353 | 1262475.0327
27 | 2613726.1336 | 1262442.6271 | 2613723.6226 | 1262464.0504
28 | 2613719.3752 | 1262497.2589 | 2613721.0849 | 1262485.7005 | 2613722.3353 | 1262475.0327
29 | 2613726.1336 | 1262442.6271 | 2613719.9481 | 1262443.0464
30 | 2613726.1336 | 1262442.6271 | 2613737.5661 | 1262443.7431 | 2613752.6913 | 1262440.9651
31 | 2613717.3046 | 1262511.2537 | 2613718.5826 | 1262502.6174 | 2613719.3752 | 1262497.2589
32 | 2613719.9481 | 1262443.0464 | 2613716.2051 | 1262432.853 | 2613707.2228 | 1262424.3598 | 2613701.8981 | 1262427.1272
33 | 2613719.9481 | 1262443.0464 | 2613707.01 | 1262450.302
34 | 2613752.6913 | 1262440.9651 | 2613753.2584 | 1262446.5703 | 2613753.1277 | 1262457.4552 | 2613752.1017 | 1262461.3444 | 2613750.2162 | 1262468.446
35 | 2613752.6913 | 1262440.9651 | 2613754.0403 | 1262440.7236 | 2613754.0648 | 1262438.5437
36 | 2613717.3046 | 1262511.2537 | 2613715.9696 | 1262525.049
37 | 2613701.8981 | 1262427.1272 | 2613694.6777 | 1262415.4281
38 | 2613705.4214 | 1262451.1929 | 2613707.01 | 1262450.302
39 | 2613762.7741 | 1262475.123 | 2613749.6472 | 1262470.5895 | 2613750.2162 | 1262468.446
40 | 2613754.0648 | 1262438.5437 | 2613754.173 | 1262428.9492
41 | 2613736.2077 | 1262392.7273 | 2613734.4409 | 1262397.7489 | 2613734.402 | 1262397.8623
42 | 2613736.2077 | 1262392.7273 | 2613737.5409 | 1262387.4039
43 | 2613736.2077 | 1262392.7273 | 2613731.8881 | 1262390.8493 | 2613731.3027 | 1262388.8655
44 | 2613715.9696 | 1262525.049 | 2613712.3106 | 1262543.7533 | 2613711.1977 | 1262549.4324 | 2613708.7254 | 1262563.1139 | 2613707.8708 | 1262567.8596
45 | 2613705.4214 | 1262451.1929 | 2613695.0843 | 1262456.9899
46 | 2613762.7741 | 1262475.123 | 2613761.0499 | 1262478.0099
47 | 2613754.173 | 1262428.9492 | 2613754.173 | 1262428.9492 | 2613756.642 | 1262423.2399
48 | 2613739.6763 | 1262374.9898 | 2613737.6827 | 1262386.8378 | 2613737.5409 | 1262387.4039
49 | 2613731.1504 | 1262388.3492 | 2613731.3027 | 1262388.8655
50 | 2613693.7436 | 1262477.7653 | 2613700.4714 | 1262489.1712
51 | 2613693.7436 | 1262477.7653 | 2613691.3064 | 1262471.7264
52 | 2613693.7436 | 1262477.7653 | 2613683.2625 | 1262478.9642 | 2613682.5298 | 1262479.0938
53 | 2613688.6168 | 1262465.062 | 2613691.3064 | 1262471.7264
54 | 2613682.5298 | 1262479.0938 | 2613676.6233 | 1262480.1386
55 | 2613707.8708 | 1262567.8596 | 2613711.945 | 1262568.3027 | 2613719.1438 | 1262569.4312 | 2613719.7979 | 1262570.121
56 | 2613686.0812 | 1262458.7791 | 2613688.6168 | 1262465.062
57 | 2613670.7776 | 1262470.374 | 2613676.6233 | 1262480.1386
58 | 2613686.0812 | 1262458.7791 | 2613694.2198 | 1262457.4747 | 2613695.0843 | 1262456.9899
59 | 2613669.7597 | 1262464.2341 | 2613670.7776 | 1262470.374
60 | 2613828.7484 | 1262445.7338 | 2613824.4975 | 1262452.7042
61 | 2613828.7484 | 1262445.7338 | 2613832.1895 | 1262430.1867 | 2613830.881 | 1262403.3653
62 | 2613828.7484 | 1262445.7338 | 2613818.1493 | 1262429.6315 | 2613817.5829 | 1262428.7464
63 | 2613830.881 | 1262403.3653 | 2613836.527 | 1262411.4284 | 2613843.6373 | 1262427.9897 | 2613850.7029 | 1262434.5884 | 2613859.6221 | 1262437.7558 | 2613859.6221 | 1262437.7558
64 | 2613830.881 | 1262403.3653 | 2613830.2759 | 1262389.9274
65 | 2613830.881 | 1262403.3653 | 2613827.2802 | 1262403.368 | 2613805.1674 | 1262395.0887 | 2613790.8521 | 1262389.6629
66 | 2613830.881 | 1262403.3653 | 2613848.1264 | 1262402.3715 | 2613856.6609 | 1262401.6317
67 | 2613872.6915 | 1262440.7623 | 2613869.018 | 1262440.0238 | 2613859.6221 | 1262437.7558
68 | 2613830.2759 | 1262389.9274 | 2613830.021 | 1262384.2669
69 | 2613790.8521 | 1262389.6629 | 2613781.3938 | 1262385.0155 | 2613770.5432 | 1262380.2049
70 | 2613856.6609 | 1262401.6317 | 2613861.4928 | 1262401.213 | 2613869.1076 | 1262398.4511 | 2613874.8865 | 1262394.7954 | 2613875.3342 | 1262394.3696
71 | 2613872.6915 | 1262440.7623 | 2613877.1875 | 1262441.6662 | 2613892.3913 | 1262444.6787
72 | 2613828.6848 | 1262363.2882 | 2613828.8556 | 1262367.347 | 2613829.8209 | 1262379.8245 | 2613830.021 | 1262384.2669
73 | 2613762.4992 | 1262377.0689 | 2613763.3932 | 1262377.035 | 2613770.5432 | 1262380.2049
74 | 2613875.3342 | 1262394.3696 | 2613882.945 | 1262387.1319
75 | 2613739.6763 | 1262374.9898 | 2613743.798 | 1262377.779 | 2613762.4992 | 1262377.0689
76 | 2613889.2744 | 1262379.8715 | 2613883.4706 | 1262386.6321 | 2613882.945 | 1262387.1319
77 | 2613913.8124 | 1262351.8792 | 2613903.1706 | 1262363.6846 | 2613889.2744 | 1262379.8715
78 | 2613913.8124 | 1262351.8792 | 2613923.5448 | 1262363.371
79 | 2613892.3913 | 1262444.6787 | 2613899.2102 | 1262446.0298
80 | 2613828.4135 | 1262356.8414 | 2613828.6848 | 1262363.2882
81 | 2613938.0935 | 1262375.9638 | 2613933.6544 | 1262374.4412 | 2613928.8145 | 1262369.5932 | 2613923.5448 | 1262363.371
82 | 2613828.4135 | 1262356.8414 | 2613828.3203 | 1262354.626 | 2613828.5278 | 1262349.3626
83 | 2613828.5278 | 1262349.3626 | 2613828.8647 | 1262340.8178 | 2613829.3532 | 1262336.2906
84 | 2613830.5293 | 1262308.5885 | 2613829.9502 | 1262327.5557 | 2613829.5807 | 1262334.1816 | 2613829.3532 | 1262336.2906
85 | 2613830.5293 | 1262308.5885 | 2613830.7837 | 1262300.2681
86 | 2613830.5293 | 1262308.5885 | 2613818.0031 | 1262309.5861
87 | 2613796.5768 | 1262311.2927 | 2613818.0031 | 1262309.5861
88 | 2613672.7735 | 1262424.7029 | 2613671.6757 | 1262425.0703
89 | 2613662.9429 | 1262427.9936 | 2613671.6757 | 1262425.0703
90 | 2613662.9429 | 1262427.9936 | 2613662.2691 | 1262426.1686 | 2613655.0954 | 1262427.1861
91 | 2613662.9429 | 1262427.9936 | 2613665.6723 | 1262440.0081 | 2613668.2232 | 1262445.6593
92 | 2613670.4575 | 1262450.6092 | 2613668.2232 | 1262445.6593
93 | 2613674.3168 | 1262461.1203 | 2613669.7597 | 1262464.2341
94 | 2613674.3168 | 1262461.1203 | 2613671.5857 | 1262453.1085 | 2613670.4575 | 1262450.6092
95 | 2613756.642 | 1262423.2399 | 2613756.642 | 1262423.2399 | 2613760.3538 | 1262418.5551
96 | 2613761.9004 | 1262416.6031 | 2613760.3538 | 1262418.5551

## bus_geodata
| x | y | coords
0 | 2613866.7817 | 1262525.2532
1 | 2613772.8166 | 1262523.3793
2 | 2613771.5293 | 1262523.4671
3 | 2613777.8301 | 1262515.3749
4 | 2613757.2201 | 1262524.4429
5 | 2613784.3394 | 1262504.9823
6 | 2613922.8007 | 1262450.6839
7 | 2613915.6337 | 1262449.2716
8 | 2613736.3893 | 1262525.8634
9 | 2613809.4432 | 1262474.0861
10 | 2613780.0317 | 1262559.0411
11 | 2613767.8863 | 1262554.2446
12 | 2613762.4285 | 1262559.2354
13 | 2613818.9534 | 1262553.4293
14 | 2613747.987 | 1262540.675
15 | 2613820.1939 | 1262547.1286
16 | 2613805.7377 | 1262606.6017
17 | 2613767.8503 | 1262595.7508
18 | 2613786.1586 | 1262646.1278
19 | 2613801.3705 | 1262627.5046
20 | 2613722.454 | 1262577.8001
21 | 2613770.3915 | 1262588.4603
22 | 2613785.097 | 1262649.1385
23 | 2613799.7861 | 1262647.2491
24 | 2613723.6226 | 1262464.0504
25 | 2613722.3353 | 1262475.0327
26 | 2613726.1336 | 1262442.6271
27 | 2613719.3752 | 1262497.259
28 | 2613719.9481 | 1262443.0464
29 | 2613752.6913 | 1262440.9651
30 | 2613717.3046 | 1262511.2537
31 | 2613701.8981 | 1262427.1272
32 | 2613707.01 | 1262450.302
33 | 2613750.2162 | 1262468.446
34 | 2613754.0648 | 1262438.5437
35 | 2613734.402 | 1262397.8623
36 | 2613736.2077 | 1262392.7273
37 | 2613715.9696 | 1262525.049
38 | 2613694.6777 | 1262415.4281
39 | 2613705.4214 | 1262451.1929
40 | 2613762.7741 | 1262475.123
41 | 2613754.173 | 1262428.9492
42 | 2613737.5409 | 1262387.4039
43 | 2613731.3027 | 1262388.8655
44 | 2613700.4714 | 1262489.1712
45 | 2613693.7436 | 1262477.7653
46 | 2613691.3064 | 1262471.7264
47 | 2613682.5298 | 1262479.0938
48 | 2613707.8708 | 1262567.8596
49 | 2613688.6168 | 1262465.062
50 | 2613676.6233 | 1262480.1386
51 | 2613742.9101 | 1262540.2382
52 | 2613719.7979 | 1262570.121
53 | 2613686.0812 | 1262458.7791
54 | 2613670.7776 | 1262470.374
55 | 2613824.4975 | 1262452.7042
56 | 2613761.0499 | 1262478.0099
57 | 2613828.7484 | 1262445.7338
58 | 2613830.881 | 1262403.3653
59 | 2613817.5829 | 1262428.7464
60 | 2613859.6221 | 1262437.7558
61 | 2613830.2759 | 1262389.9274
62 | 2613790.8521 | 1262389.6629
63 | 2613856.6609 | 1262401.6318
64 | 2613872.6915 | 1262440.7623
65 | 2613830.021 | 1262384.2669
66 | 2613770.5432 | 1262380.2049
67 | 2613875.3342 | 1262394.3696
68 | 2613762.4992 | 1262377.0689
69 | 2613739.6763 | 1262374.9898
70 | 2613882.945 | 1262387.1319
71 | 2613889.2744 | 1262379.8715
72 | 2613913.8124 | 1262351.8792
73 | 2613892.3913 | 1262444.6787
74 | 2613828.6848 | 1262363.2882
75 | 2613899.2102 | 1262446.0298
76 | 2613938.0935 | 1262375.9638
77 | 2613923.5448 | 1262363.371
78 | 2613828.4135 | 1262356.8414
79 | 2613828.5278 | 1262349.3626
80 | 2613829.3532 | 1262336.2906
81 | 2613830.5293 | 1262308.5885
82 | 2613830.7837 | 1262300.2681
83 | 2613818.0031 | 1262309.5861
84 | 2613796.5768 | 1262311.2927
85 | 2613731.1504 | 1262388.3492
86 | 2613672.7735 | 1262424.7029
87 | 2613671.6757 | 1262425.0703
88 | 2613662.9429 | 1262427.9936
89 | 2613695.0843 | 1262456.9899
90 | 2613655.0954 | 1262427.1861
91 | 2613668.2232 | 1262445.6593
92 | 2613674.3168 | 1262461.1203
93 | 2613669.7597 | 1262464.2341
94 | 2613670.4575 | 1262450.6092
95 | 2613756.642 | 1262423.2399
96 | 2613760.3538 | 1262418.5551
97 | 2613761.9004 | 1262416.6031
98 | 2613752.6913 | 1262440.9651

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1