## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2769-24_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2769-24_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2769-24_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2769-24_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2769-24_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2769-24_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2769-24_0_5_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_2769-24_0_5_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_2769-24_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2769-24_0_5_node_39 | 0.4 | n |  | TRUE
10 | bus_LV_2769-24_0_5_node_57 | 0.4 | n |  | TRUE
11 | bus_LV_2769-24_0_5_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_2769-24_0_5_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_2769-24_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2769-24_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2769-24_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2769-24_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2769-24_0_5_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_2769-24_0_5_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_2769-24_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2769-24_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2769-24_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2769-24_0_5_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_2769-24_0_5_node_155 | 0.4 | n |  | TRUE
24 | bus_LV_2769-24_0_5_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_2769-24_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_2769-24_0_5_node_159 | 0.4 | n |  | TRUE
27 | bus_LV_2769-24_0_5_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_2769-24_0_5_node_154 | 0.4 | n |  | TRUE
29 | bus_LV_2769-24_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_2769-24_0_5_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_2769-24_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_2769-24_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_2769-24_0_5_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_2769-24_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_2769-24_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_2769-24_0_5_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_2769-24_0_5_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2769-24_0_5_node_96 | 0.4 | n |  | TRUE
39 | bus_LV_2769-24_0_5_node_99 | 0.4 | n |  | TRUE
40 | bus_LV_2769-24_0_5_node_95 | 0.4 | n |  | TRUE
41 | bus_LV_2769-24_0_5_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_2769-24_0_5_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_2769-24_0_5_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_2769-24_0_5_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_2769-24_0_5_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_2769-24_0_5_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_2769-24_0_5_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_2769-24_0_5_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_2769-24_0_5_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_2769-24_0_5_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_2769-24_0_5_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_2769-24_0_5_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_2769-24_0_5_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_2769-24_0_5_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_2769-24_0_5_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_2769-24_0_5_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_2769-24_0_5_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_2769-24_0_5_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_2769-24_0_5_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_2769-24_0_5_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_2769-24_0_5_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_2769-24_0_5_node_71 | 0.4 | n |  | TRUE
63 | bus_LV_2769-24_0_5_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_2769-24_0_5_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_2769-24_0_5_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_2769-24_0_5_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_2769-24_0_5_node_103 | 0.4 | n |  | TRUE
68 | bus_LV_2769-24_0_5_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_2769-24_0_5_node_102 | 0.4 | n |  | TRUE
70 | bus_LV_2769-24_0_5_node_101 | 0.4 | n |  | TRUE
71 | bus_LV_2769-24_0_5_node_100 | 0.4 | n |  | TRUE
72 | bus_LV_2769-24_0_5_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_2769-24_0_5_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_2769-24_0_5_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_2769-24_0_5_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_2769-24_0_5_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_2769-24_0_5_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_2769-24_0_5_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_2769-24_0_5_node_93 | 0.4 | n |  | TRUE
80 | bus_LV_2769-24_0_5_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_2769-24_0_5_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_2769-24_0_5_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_2769-24_0_5_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_2769-24_0_5_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_2769-24_0_5_node_92 | 0.4 | n |  | TRUE
86 | bus_LV_2769-24_0_5_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_2769-24_0_5_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_2769-24_0_5_node_173 | 0.4 | n |  | TRUE
89 | bus_LV_2769-24_0_5_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_2769-24_0_5_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_2769-24_0_5_node_104 | 0.4 | n |  | TRUE
92 | bus_LV_2769-24_0_5_node_106 | 0.4 | n |  | TRUE
93 | bus_LV_2769-24_0_5_node_79 | 0.4 | n |  | TRUE
94 | bus_LV_2769-24_0_5_node_80 | 0.4 | n |  | TRUE
95 | bus_LV_2769-24_0_5_node_81 | 0.4 | n |  | TRUE
96 | bus_LV_2769-24_0_5_node_82 | 0.4 | n |  | TRUE
97 | bus_LV_2769-24_0_5_node_83 | 0.4 | n |  | TRUE
98 | bus_LV_2769-24_0_5_node_160 | 0.4 | n |  | TRUE
99 | bus_LV_2769-24_0_5_node_88 | 0.4 | n |  | TRUE
100 | bus_LV_2769-24_0_5_node_137 | 0.4 | n |  | TRUE
101 | bus_LV_2769-24_0_5_node_161 | 0.4 | n |  | TRUE
102 | bus_LV_2769-24_0_5_node_86 | 0.4 | n |  | TRUE
103 | bus_LV_2769-24_0_5_node_138 | 0.4 | n |  | TRUE
104 | bus_LV_2769-24_0_5_node_136 | 0.4 | n |  | TRUE
105 | bus_LV_2769-24_0_5_node_85 | 0.4 | n |  | TRUE
106 | bus_LV_2769-24_0_5_node_87 | 0.4 | n |  | TRUE
107 | bus_LV_2769-24_0_5_node_89 | 0.4 | n |  | TRUE
108 | bus_LV_2769-24_0_5_node_90 | 0.4 | n |  | TRUE
109 | bus_LV_2769-24_0_5_node_91 | 0.4 | n |  | TRUE
110 | bus_LV_2769-24_0_5_node_170 | 0.4 | n |  | TRUE
111 | bus_LV_2769-24_0_5_node_171 | 0.4 | n |  | TRUE
112 | bus_LV_2769-24_0_5_node_94 | 0.4 | n |  | TRUE
113 | bus_LV_2769-24_0_5_node_112 | 0.4 | n |  | TRUE
114 | bus_LV_2769-24_0_5_node_113 | 0.4 | n |  | TRUE
115 | bus_LV_2769-24_0_5_node_107 | 0.4 | n |  | TRUE
116 | bus_LV_2769-24_0_5_node_108 | 0.4 | n |  | TRUE
117 | bus_LV_2769-24_0_5_node_117 | 0.4 | n |  | TRUE
118 | bus_LV_2769-24_0_5_node_122 | 0.4 | n |  | TRUE
119 | bus_LV_2769-24_0_5_node_123 | 0.4 | n |  | TRUE
120 | bus_LV_2769-24_0_5_node_116 | 0.4 | n |  | TRUE
121 | bus_LV_2769-24_0_5_node_109 | 0.4 | n |  | TRUE
122 | bus_LV_2769-24_0_5_node_110 | 0.4 | n |  | TRUE
123 | bus_LV_2769-24_0_5_node_111 | 0.4 | n |  | TRUE
124 | bus_LV_2769-24_0_5_node_115 | 0.4 | n |  | TRUE
125 | bus_LV_2769-24_0_5_node_114 | 0.4 | n |  | TRUE
126 | bus_LV_2769-24_0_5_node_120 | 0.4 | n |  | TRUE
127 | bus_LV_2769-24_0_5_node_118 | 0.4 | n |  | TRUE
128 | bus_LV_2769-24_0_5_node_119 | 0.4 | n |  | TRUE
129 | bus_LV_2769-24_0_5_node_174 | 0.4 | n |  | TRUE
130 | bus_LV_2769-24_0_5_node_125 | 0.4 | n |  | TRUE
131 | bus_LV_2769-24_0_5_node_121 | 0.4 | n |  | TRUE
132 | bus_LV_2769-24_0_5_node_124 | 0.4 | n |  | TRUE
133 | bus_LV_2769-24_0_5_node_172 | 0.4 | n |  | TRUE
134 | bus_LV_2769-24_0_5_node_126 | 0.4 | n |  | TRUE
135 | bus_LV_2769-24_0_5_node_127 | 0.4 | n |  | TRUE
136 | bus_LV_2769-24_0_5_node_128 | 0.4 | n |  | TRUE
137 | bus_LV_2769-24_0_5_node_130 | 0.4 | n |  | TRUE
138 | bus_LV_2769-24_0_5_node_131 | 0.4 | n |  | TRUE
139 | bus_LV_2769-24_0_5_node_133 | 0.4 | n |  | TRUE
140 | bus_LV_2769-24_0_5_node_132 | 0.4 | n |  | TRUE
141 | bus_LV_2769-24_0_5_node_134 | 0.4 | n |  | TRUE
142 | bus_LV_2769-24_0_5_node_135 | 0.4 | n |  | TRUE
143 | bus_LV_2769-24_0_5_node_139 | 0.4 | n |  | TRUE
144 | bus_LV_2769-24_0_5_node_146 | 0.4 | n |  | TRUE
145 | bus_LV_2769-24_0_5_node_140 | 0.4 | n |  | TRUE
146 | bus_LV_2769-24_0_5_node_141 | 0.4 | n |  | TRUE
147 | bus_LV_2769-24_0_5_node_142 | 0.4 | n |  | TRUE
148 | bus_LV_2769-24_0_5_node_143 | 0.4 | n |  | TRUE
149 | bus_LV_2769-24_0_5_node_144 | 0.4 | n |  | TRUE
150 | bus_LV_2769-24_0_5_node_145 | 0.4 | n |  | TRUE
151 | bus_LV_2769-24_0_5_node_168 | 0.4 | n |  | TRUE
152 | bus_LV_2769-24_0_5_node_162 | 0.4 | n |  | TRUE
153 | bus_LV_2769-24_0_5_node_147 | 0.4 | n |  | TRUE
154 | bus_LV_2769-24_0_5_node_149 | 0.4 | n |  | TRUE
155 | bus_LV_2769-24_0_5_node_164 | 0.4 | n |  | TRUE
156 | bus_LV_2769-24_0_5_node_165 | 0.4 | n |  | TRUE
157 | bus_LV_2769-24_0_5_node_166 | 0.4 | n |  | TRUE
158 | bus_LV_2769-24_0_5_node_148 | 0.4 | n |  | TRUE
159 | bus_LV_2769-24_0_5_node_163 | 0.4 | n |  | TRUE
160 | bus_LV_2769-24_0_5_node_169 | 0.4 | n |  | TRUE
161 | bus_LV_2769-24_0_5_node_150 | 0.4 | n |  | TRUE
162 | bus_LV_2769-24_0_5_node_151 | 0.4 | n |  | TRUE
163 | bus_LV_2769-24_0_5_node_152 | 0.4 | n |  | TRUE
164 | bus_LV_2769-24_0_5_node_153 | 0.4 | n |  | TRUE
165 | bus_LV_2769-24_0_5_node_157 | 0.4 | n |  | TRUE
166 | bus_LV_2769-24_0_5_node_158 | 0.4 | n |  | TRUE
167 | bus_LV_2769-24_0_5_node_156 | 0.4 | n |  | TRUE
168 | bus_MV_574_0_node_46 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2769-24_0_5_load_0 | 0 | 0.0028818 | 0.00072224 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2769-24_0_5_load_1 | 1 | 0.001847 | 0.0004629 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2769-24_0_5_load_2 | 2 | 0.0021151 | 0.00053011 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2769-24_0_5_load_3 | 3 | 0.001939 | 0.00048596 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2769-24_0_5_load_5 | 5 | 0.0020177 | 0.00050569 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2769-24_0_5_load_40 | 6 | 0.0016449 | 0.00041224 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2769-24_0_5_load_41 | 7 | 0.0018847 | 0.00047234 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2769-24_0_5_load_6 | 8 | 0.0034775 | 0.00087154 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2769-24_0_5_load_39 | 9 | 0.002113 | 0.00052956 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2769-24_0_5_load_57 | 10 | 0.00179 | 0.00044861 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2769-24_0_5_load_18 | 11 | 0.003166 | 0.00079346 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2769-24_0_5_load_37 | 12 | 0.0018242 | 0.00045719 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2769-24_0_5_load_7 | 13 | 0.0020515 | 0.00051415 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2769-24_0_5_load_8 | 14 | 0.0011997 | 0.00030067 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2769-24_0_5_load_9 | 15 | 0.0015578 | 0.00039043 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2769-24_0_5_load_10 | 16 | 0.0011608 | 0.00029092 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2769-24_0_5_load_16 | 17 | 0.0012674 | 0.00031764 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2769-24_0_5_load_11 | 19 | 0.0020177 | 0.00050568 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2769-24_0_5_load_12 | 20 | 0.0030941 | 0.00077546 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2769-24_0_5_load_19 | 22 | 0.0027819 | 0.00069721 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2769-24_0_5_load_155 | 23 | 0.0015825 | 0.0003966 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2769-24_0_5_load_20 | 24 | 0.0016949 | 0.00042479 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2769-24_0_5_load_15 | 25 | 0.0017147 | 0.00042974 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2769-24_0_5_load_159 | 26 | 0.0016628 | 0.00041673 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2769-24_0_5_load_38 | 27 | 0.0011334 | 0.00028405 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2769-24_0_5_load_154 | 28 | 0.0017505 | 0.00043871 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2769-24_0_5_load_21 | 29 | 0.0012953 | 0.00032463 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2769-24_0_5_load_22 | 30 | 0.0025113 | 0.0006294 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2769-24_0_5_load_23 | 31 | 0.001711 | 0.00042882 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2769-24_0_5_load_24 | 32 | 0.0027645 | 0.00069286 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2769-24_0_5_load_25 | 33 | 0.0019101 | 0.00047872 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2769-24_0_5_load_26 | 34 | 0.001969 | 0.00049347 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2769-24_0_5_load_27 | 35 | 0.0018762 | 0.00047021 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2769-24_0_5_load_28 | 36 | 0.0016582 | 0.00041558 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2769-24_0_5_load_29 | 37 | 0.0013421 | 0.00033635 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2769-24_0_5_load_99 | 39 | 0.0011919 | 0.00029873 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2769-24_0_5_load_95 | 40 | 0.0016799 | 0.00042102 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2769-24_0_5_load_30 | 41 | 0.0014587 | 0.00036559 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2769-24_0_5_load_31 | 42 | 0.0030913 | 0.00077475 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2769-24_0_5_load_33 | 44 | 0.0025766 | 0.00064577 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2769-24_0_5_load_34 | 45 | 0.0014922 | 0.00037397 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2769-24_0_5_load_35 | 46 | 0.0018426 | 0.0004618 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2769-24_0_5_load_42 | 47 | 0.0027934 | 0.0007001 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2769-24_0_5_load_36 | 48 | 0.0019596 | 0.00049113 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2769-24_0_5_load_43 | 49 | 0.0030487 | 0.00076407 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2769-24_0_5_load_44 | 50 | 0.0013885 | 0.000348 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2769-24_0_5_load_59 | 52 | 0.0031851 | 0.00079826 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2769-24_0_5_load_46 | 53 | 0.0013077 | 0.00032773 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2769-24_0_5_load_45 | 54 | 0.0013036 | 0.00032672 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2769-24_0_5_load_49 | 56 | 0.002311 | 0.00057919 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2769-24_0_5_load_50 | 57 | 0.0035716 | 0.00089512 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2769-24_0_5_load_51 | 58 | 0.00096659 | 0.00024225 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2769-24_0_5_load_73 | 59 | 0.0032799 | 0.00082203 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2769-24_0_5_load_60 | 60 | 0.0032436 | 0.00081292 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2769-24_0_5_load_52 | 61 | 0.0015419 | 0.00038644 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2769-24_0_5_load_71 | 62 | 0.0015721 | 0.00039399 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2769-24_0_5_load_53 | 63 | 0.0027614 | 0.00069208 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2769-24_0_5_load_54 | 64 | 0.0014875 | 0.0003728 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2769-24_0_5_load_55 | 65 | 0.0018151 | 0.00045492 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2769-24_0_5_load_56 | 66 | 0.0011386 | 0.00028536 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2769-24_0_5_load_102 | 69 | 0.0017344 | 0.00043469 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2769-24_0_5_load_101 | 70 | 0.00169 | 0.00042355 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2769-24_0_5_load_100 | 71 | 0.001772 | 0.00044411 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2769-24_0_5_load_61 | 72 | 0.0052238 | 0.0013092 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2769-24_0_5_load_62 | 73 | 0.0037744 | 0.00094596 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2769-24_0_5_load_65 | 76 | 0.0020979 | 0.00052579 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2769-24_0_5_load_69 | 77 | 0.0037767 | 0.00094653 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2769-24_0_5_load_66 | 78 | 0.010459 | 0.0026213 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2769-24_0_5_load_93 | 79 | 0.0022514 | 0.00056425 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2769-24_0_5_load_67 | 80 | 0.0036917 | 0.00092523 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2769-24_0_5_load_68 | 81 | 0.0036514 | 0.00091512 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2769-24_0_5_load_70 | 84 | 0.0034841 | 0.00087319 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2769-24_0_5_load_92 | 85 | 0.0034542 | 0.00086571 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2769-24_0_5_load_78 | 86 | 0.0029785 | 0.00074649 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2769-24_0_5_load_75 | 87 | 0.0016357 | 0.00040993 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2769-24_0_5_load_173 | 88 | 0.0027658 | 0.00069318 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2769-24_0_5_load_76 | 89 | 0.0015101 | 0.00037848 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2769-24_0_5_load_104 | 91 | 0.0020884 | 0.00052341 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2769-24_0_5_load_79 | 93 | 0.0066655 | 0.0016705 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2769-24_0_5_load_80 | 94 | 0.0066638 | 0.0016701 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2769-24_0_5_load_82 | 96 | 0.025354 | 0.0063543 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2769-24_0_5_load_160 | 98 | 0.0064022 | 0.0016045 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2769-24_0_5_load_88 | 99 | 0.0070494 | 0.0017667 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2769-24_0_5_load_161 | 101 | 0.0067903 | 0.0017018 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2769-24_0_5_load_86 | 102 | 0.0080369 | 0.0020142 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2769-24_0_5_load_138 | 103 | 0.009603 | 0.0024067 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2769-24_0_5_load_136 | 104 | 0.019993 | 0.0050106 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2769-24_0_5_load_85 | 105 | 0.0032833 | 0.00082288 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2769-24_0_5_load_89 | 107 | 0.0037021 | 0.00092783 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2769-24_0_5_load_90 | 108 | 0.00276 | 0.00069172 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2769-24_0_5_load_91 | 109 | 0.0021369 | 0.00053555 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2769-24_0_5_load_170 | 110 | 0.0029582 | 0.00074141 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2769-24_0_5_load_171 | 111 | 0.0069239 | 0.0017353 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2769-24_0_5_load_94 | 112 | 0.0015602 | 0.00039103 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2769-24_0_5_load_112 | 113 | 0.0052416 | 0.0013137 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2769-24_0_5_load_107 | 115 | 0.0010535 | 0.00026404 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2769-24_0_5_load_108 | 116 | 0.0024876 | 0.00062345 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2769-24_0_5_load_122 | 118 | 0.0027389 | 0.00068645 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2769-24_0_5_load_123 | 119 | 0.0054621 | 0.0013689 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2769-24_0_5_load_116 | 120 | 0.0021484 | 0.00053845 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_2769-24_0_5_load_109 | 121 | 0.0046889 | 0.0011751 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_2769-24_0_5_load_110 | 122 | 0.0023444 | 0.00058757 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_2769-24_0_5_load_111 | 123 | 0.0024169 | 0.00060574 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_2769-24_0_5_load_120 | 126 | 0.0022766 | 0.00057056 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_2769-24_0_5_load_118 | 127 | 0.0019536 | 0.00048962 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_2769-24_0_5_load_174 | 129 | 0.0027543 | 0.00069029 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_2769-24_0_5_load_121 | 131 | 0.0044089 | 0.001105 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_2769-24_0_5_load_124 | 132 | 0.005099 | 0.0012779 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_2769-24_0_5_load_172 | 133 | 0.0028889 | 0.00072402 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_2769-24_0_5_load_126 | 134 | 0.0011435 | 0.00028659 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_2769-24_0_5_load_127 | 135 | 0.0041183 | 0.0010322 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_2769-24_0_5_load_128 | 136 | 0.0020077 | 0.00050317 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_2769-24_0_5_load_130 | 137 | 0.0019416 | 0.0004866 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_2769-24_0_5_load_131 | 138 | 0.0016036 | 0.00040189 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_2769-24_0_5_load_133 | 139 | 0.00083717 | 0.00020981 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_2769-24_0_5_load_132 | 140 | 0.0020085 | 0.00050337 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_2769-24_0_5_load_134 | 141 | 0.0092819 | 0.0023263 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_2769-24_0_5_load_135 | 142 | 0.0092644 | 0.0023219 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_2769-24_0_5_load_146 | 144 | 0.0097211 | 0.0024363 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_2769-24_0_5_load_140 | 145 | 0.0058569 | 0.0014679 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_2769-24_0_5_load_141 | 146 | 0.0021013 | 0.00052663 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_2769-24_0_5_load_142 | 147 | 0.010213 | 0.0025596 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_2769-24_0_5_load_143 | 148 | 0.0060116 | 0.0015067 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_2769-24_0_5_load_144 | 149 | 0.0034711 | 0.00086994 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_2769-24_0_5_load_145 | 150 | 0.0077741 | 0.0019484 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_2769-24_0_5_load_168 | 151 | 0.0024819 | 0.00062203 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_2769-24_0_5_load_162 | 152 | 0.0077192 | 0.0019346 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_2769-24_0_5_load_147 | 153 | 0.010301 | 0.0025816 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_2769-24_0_5_load_164 | 155 | 0.0041497 | 0.00104 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_2769-24_0_5_load_165 | 156 | 0.0030149 | 0.0007556 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_2769-24_0_5_load_166 | 157 | 0.0025252 | 0.00063287 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_2769-24_0_5_load_169 | 160 | 0.0025073 | 0.0006284 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_2769-24_0_5_load_150 | 161 | 0.0017618 | 0.00044155 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_2769-24_0_5_load_151 | 162 | 0.0010326 | 0.00025879 | 0 | 0 |  | 1 | TRUE | wye
134 | LV_2769-24_0_5_load_152 | 163 | 0.0031575 | 0.00079135 | 0 | 0 |  | 1 | TRUE | wye
135 | LV_2769-24_0_5_load_153 | 164 | 0.0015374 | 0.0003853 | 0 | 0 |  | 1 | TRUE | wye
136 | LV_2769-24_0_5_load_157 | 165 | 0.0017239 | 0.00043205 | 0 | 0 |  | 1 | TRUE | wye
137 | LV_2769-24_0_5_load_158 | 166 | 0.002354 | 0.00058998 | 0 | 0 |  | 1 | TRUE | wye
138 | LV_2769-24_0_5_load_156 | 167 | 0.0024505 | 0.00061415 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 108 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2769-24_0_5_line_0 |  | 0 | 1 | 0.022067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2769-24_0_5_line_1 |  | 0 | 2 | 0.006677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2769-24_0_5_line_2 |  | 1 | 3 | 0.004577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2769-24_0_5_line_3 |  | 2 | 4 | 0.022653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2769-24_0_5_line_4 |  | 3 | 5 | 0.021022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2769-24_0_5_line_5 |  | 4 | 6 | 0.023565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2769-24_0_5_line_6 |  | 4 | 7 | 0.010962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2769-24_0_5_line_7 |  | 5 | 8 | 0.0010674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2769-24_0_5_line_8 |  | 6 | 9 | 0.023805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2769-24_0_5_line_9 |  | 7 | 10 | 0.0051495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2769-24_0_5_line_10 |  | 8 | 11 | 0.023981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2769-24_0_5_line_11 |  | 9 | 48 | 0.020789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2769-24_0_5_line_12 |  | 11 | 12 | 0.0011911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2769-24_0_5_line_13 |  | 12 | 27 | 0.019956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2769-24_0_5_line_14 |  | 13 | 14 | 0.0079065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2769-24_0_5_line_15 |  | 14 | 15 | 0.019365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2769-24_0_5_line_16 |  | 15 | 16 | 0.010588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2769-24_0_5_line_17 |  | 16 | 17 | 0.0036958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2769-24_0_5_line_18 |  | 17 | 18 | 0.014073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2769-24_0_5_line_19 |  | 18 | 23 | 0.013045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2769-24_0_5_line_20 |  | 18 | 21 | 0.035546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2769-24_0_5_line_21 |  | 19 | 20 | 0.011495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2769-24_0_5_line_22 |  | 20 | 21 | 0.018969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2769-24_0_5_line_23 |  | 21 | 22 | 0.016646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2769-24_0_5_line_24 |  | 22 | 24 | 0.0090877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2769-24_0_5_line_25 |  | 23 | 28 | 0.013703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2769-24_0_5_line_26 |  | 24 | 29 | 0.014768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2769-24_0_5_line_27 |  | 25 | 26 | 0.013624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2769-24_0_5_line_28 |  | 26 | 27 | 0.00092823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2769-24_0_5_line_29 |  | 28 | 164 | 0.014749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2769-24_0_5_line_30 |  | 29 | 30 | 0.010596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2769-24_0_5_line_31 |  | 30 | 31 | 0.012824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2769-24_0_5_line_32 |  | 31 | 32 | 0.0092971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2769-24_0_5_line_33 |  | 32 | 33 | 0.001909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2769-24_0_5_line_34 |  | 33 | 34 | 0.0089623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2769-24_0_5_line_35 |  | 34 | 35 | 0.0094003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2769-24_0_5_line_36 |  | 35 | 36 | 0.021985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2769-24_0_5_line_37 |  | 36 | 37 | 0.024847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2769-24_0_5_line_38 |  | 37 | 38 | 0.027482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2769-24_0_5_line_39 |  | 38 | 39 | 0.0099575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2769-24_0_5_line_40 |  | 38 | 40 | 0.036254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2769-24_0_5_line_41 |  | 39 | 71 | 0.010901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2769-24_0_5_line_42 |  | 40 | 112 | 0.022043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2769-24_0_5_line_43 |  | 41 | 42 | 0.0022799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2769-24_0_5_line_44 |  | 41 | 43 | 0.016439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2769-24_0_5_line_45 |  | 43 | 44 | 0.0077801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2769-24_0_5_line_46 |  | 43 | 45 | 0.012855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2769-24_0_5_line_47 |  | 44 | 46 | 0.022029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2769-24_0_5_line_48 |  | 45 | 47 | 0.00017686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2769-24_0_5_line_49 |  | 46 | 48 | 0.0017296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2769-24_0_5_line_50 |  | 47 | 49 | 0.020545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2769-24_0_5_line_51 |  | 49 | 50 | 0.0013816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2769-24_0_5_line_52 |  | 50 | 51 | 0.016957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2769-24_0_5_line_53 |  | 51 | 52 | 0.013738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2769-24_0_5_line_54 |  | 51 | 53 | 0.016497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2769-24_0_5_line_55 |  | 52 | 60 | 0.01767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2769-24_0_5_line_56 |  | 53 | 54 | 0.0094185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2769-24_0_5_line_57 |  | 54 | 55 | 0.010048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2769-24_0_5_line_58 |  | 55 | 56 | 0.0084466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2769-24_0_5_line_59 |  | 55 | 57 | 0.014776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2769-24_0_5_line_60 |  | 56 | 58 | 0.017144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2769-24_0_5_line_61 |  | 57 | 59 | 0.023212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_2769-24_0_5_line_62 |  | 58 | 61 | 0.017926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2769-24_0_5_line_63 |  | 59 | 62 | 0.0029743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_2769-24_0_5_line_64 |  | 60 | 72 | 0.0072699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2769-24_0_5_line_65 |  | 61 | 63 | 0.0013395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2769-24_0_5_line_66 |  | 62 | 84 | 0.019319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_2769-24_0_5_line_67 |  | 63 | 64 | 0.016684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2769-24_0_5_line_68 |  | 64 | 65 | 0.0048139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2769-24_0_5_line_69 |  | 65 | 66 | 0.002546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2769-24_0_5_line_70 |  | 66 | 67 | 0.031857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2769-24_0_5_line_71 |  | 67 | 68 | 0.005342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2769-24_0_5_line_72 |  | 67 | 69 | 0.012135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2769-24_0_5_line_73 |  | 68 | 70 | 0.023322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2769-24_0_5_line_74 |  | 70 | 71 | 0.0032691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2769-24_0_5_line_75 |  | 73 | 74 | 0.016215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2769-24_0_5_line_76 |  | 74 | 75 | 0.013533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2769-24_0_5_line_77 |  | 74 | 76 | 0.014697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2769-24_0_5_line_78 |  | 75 | 77 | 0.014224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_2769-24_0_5_line_79 |  | 75 | 78 | 0.0093281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_2769-24_0_5_line_80 |  | 77 | 79 | 0.001257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_2769-24_0_5_line_81 |  | 78 | 80 | 0.012234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_2769-24_0_5_line_82 |  | 79 | 85 | 0.018661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_2769-24_0_5_line_83 |  | 80 | 81 | 0.01063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_2769-24_0_5_line_84 |  | 81 | 82 | 0.012542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_2769-24_0_5_line_85 |  | 82 | 83 | 0.010514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2769-24_0_5_line_86 |  | 82 | 84 | 0.024847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_2769-24_0_5_line_87 |  | 83 | 86 | 0.011587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2769-24_0_5_line_88 |  | 83 | 87 | 0.025231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2769-24_0_5_line_89 |  | 85 | 109 | 0.0052013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_2769-24_0_5_line_90 |  | 86 | 88 | 0.013211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2769-24_0_5_line_91 |  | 87 | 89 | 0.019572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2769-24_0_5_line_92 |  | 89 | 90 | 0.018675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2769-24_0_5_line_93 |  | 90 | 91 | 0.0066483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2769-24_0_5_line_94 |  | 91 | 92 | 0.0033502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2769-24_0_5_line_95 |  | 92 | 115 | 0.014559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2769-24_0_5_line_96 |  | 92 | 116 | 0.017814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2769-24_0_5_line_97 |  | 93 | 94 | 0.018454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2769-24_0_5_line_98 |  | 93 | 95 | 0.026077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2769-24_0_5_line_99 |  | 94 | 96 | 0.0028856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2769-24_0_5_line_100 |  | 95 | 97 | 0.007951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2769-24_0_5_line_101 |  | 96 | 98 | 0.0078122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2769-24_0_5_line_102 |  | 97 | 99 | 0.0091703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
103 | LV_2769-24_0_5_line_103 |  | 97 | 100 | 0.046537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
104 | LV_2769-24_0_5_line_104 |  | 98 | 101 | 0.011054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2769-24_0_5_line_105 |  | 99 | 102 | 0.02079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
106 | LV_2769-24_0_5_line_106 |  | 100 | 103 | 0.038939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2769-24_0_5_line_107 |  | 100 | 104 | 0.020888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2769-24_0_5_line_108 |  | 102 | 105 | 0.0032925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
109 | LV_2769-24_0_5_line_109 |  | 103 | 143 | 0.023036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2769-24_0_5_line_110 |  | 105 | 106 | 0.018747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
111 | LV_2769-24_0_5_line_111 |  | 106 | 107 | 0.02281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
112 | LV_2769-24_0_5_line_112 |  | 106 | 108 | 0.0081303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
113 | LV_2769-24_0_5_line_113 |  | 107 | 109 | 0.013704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
114 | LV_2769-24_0_5_line_114 |  | 108 | 110 | 0.010968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2769-24_0_5_line_115 |  | 110 | 111 | 0.027089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_2769-24_0_5_line_116 |  | 111 | 133 | 0.0006039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_2769-24_0_5_line_117 |  | 113 | 114 | 0.017595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_2769-24_0_5_line_118 |  | 114 | 125 | 0.021084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_2769-24_0_5_line_119 |  | 114 | 124 | 0.020953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_2769-24_0_5_line_120 |  | 115 | 121 | 0.035499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_2769-24_0_5_line_121 |  | 117 | 118 | 0.027735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_2769-24_0_5_line_122 |  | 117 | 119 | 0.019528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_2769-24_0_5_line_123 |  | 117 | 120 | 0.005871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_2769-24_0_5_line_124 |  | 118 | 129 | 0.010626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_2769-24_0_5_line_125 |  | 119 | 130 | 0.026019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_2769-24_0_5_line_126 |  | 121 | 122 | 0.013544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_2769-24_0_5_line_127 |  | 122 | 123 | 0.0035097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_2769-24_0_5_line_128 |  | 123 | 124 | 0.021274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_2769-24_0_5_line_129 |  | 125 | 126 | 0.0052652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_2769-24_0_5_line_130 |  | 125 | 127 | 0.046616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_2769-24_0_5_line_131 |  | 127 | 128 | 0.034535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_2769-24_0_5_line_132 |  | 128 | 131 | 0.027252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_2769-24_0_5_line_133 |  | 129 | 133 | 0.011174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_2769-24_0_5_line_134 |  | 130 | 132 | 0.01364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_2769-24_0_5_line_135 |  | 134 | 135 | 0.014365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_2769-24_0_5_line_136 |  | 134 | 136 | 0.015377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_2769-24_0_5_line_137 |  | 136 | 137 | 0.022092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_2769-24_0_5_line_138 |  | 137 | 138 | 0.0075489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_2769-24_0_5_line_139 |  | 138 | 139 | 0.0034633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_2769-24_0_5_line_140 |  | 139 | 140 | 0.0017492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_2769-24_0_5_line_141 |  | 140 | 141 | 0.034624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_2769-24_0_5_line_142 |  | 141 | 142 | 0.03599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_2769-24_0_5_line_143 |  | 142 | 143 | 0.017156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_2769-24_0_5_line_144 |  | 143 | 144 | 0.05564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_2769-24_0_5_line_145 |  | 144 | 153 | 0.030939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_2769-24_0_5_line_146 |  | 145 | 146 | 0.0010578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_2769-24_0_5_line_147 |  | 145 | 147 | 0.0077372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_2769-24_0_5_line_148 |  | 146 | 148 | 0.016187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_2769-24_0_5_line_149 |  | 148 | 149 | 0.0076161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_2769-24_0_5_line_150 |  | 149 | 150 | 0.028412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_2769-24_0_5_line_151 |  | 149 | 151 | 0.052854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_2769-24_0_5_line_152 |  | 150 | 152 | 0.025985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_2769-24_0_5_line_153 |  | 151 | 157 | 0.0075239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_2769-24_0_5_line_154 |  | 152 | 154 | 0.01496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_2769-24_0_5_line_155 |  | 153 | 158 | 0.01494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_2769-24_0_5_line_156 |  | 154 | 159 | 0.012719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_2769-24_0_5_line_157 |  | 154 | 158 | 0.038385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_2769-24_0_5_line_158 |  | 155 | 156 | 0.016671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_2769-24_0_5_line_159 |  | 155 | 157 | 0.0030032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_2769-24_0_5_line_160 |  | 159 | 160 | 0.021772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_2769-24_0_5_line_161 |  | 161 | 162 | 0.023868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_2769-24_0_5_line_162 |  | 161 | 163 | 0.013004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_2769-24_0_5_line_163 |  | 162 | 164 | 0.0030155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_2769-24_0_5_line_164 |  | 162 | 165 | 0.045733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
165 | LV_2769-24_0_5_line_165 |  | 163 | 166 | 0.045868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
166 | LV_2769-24_0_5_line_166 |  | 165 | 167 | 0.021489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2769-24_0_5_trafo_90 | 0.63 MVA 20/0.4 kV | 168 | 108 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2613941.8545 | 1261978.2007 | 2613944.9099 | 1261969.8462 | 2613945.0694 | 1261956.6761
1 | 2613941.8545 | 1261978.2007 | 2613939.5611 | 1261984.4715
2 | 2613945.1248 | 1261952.0994 | 2613945.0694 | 1261956.6761
3 | 2613930.8894 | 1262005.3821 | 2613936.1827 | 1261993.7087 | 2613939.5611 | 1261984.4715
4 | 2613945.1248 | 1261952.0994 | 2613945.3792 | 1261931.0788
5 | 2613930.8894 | 1262005.3821 | 2613922.8116 | 1261996.5126 | 2613918.0571 | 1261985.9661
6 | 2613930.8894 | 1262005.3821 | 2613926.3605 | 1262015.3648
7 | 2613945.3922 | 1261930.0114 | 2613945.3792 | 1261931.0788
8 | 2613909.4942 | 1261963.7709 | 2613915.1746 | 1261979.5721 | 2613918.0571 | 1261985.9661
9 | 2613924.233 | 1262020.0543 | 2613926.3605 | 1262015.3648
10 | 2613945.6825 | 1261906.0318 | 2613945.3922 | 1261930.0114
11 | 2613902.4613 | 1261944.2074 | 2613909.4942 | 1261963.7709
12 | 2613945.6825 | 1261906.0318 | 2613945.6969 | 1261904.8409
13 | 2613945.6969 | 1261904.8409 | 2613945.7138 | 1261903.4472 | 2613943.132 | 1261885.0655
14 | 2614025.592 | 1261853.4788 | 2614026.1883 | 1261855.7151 | 2614027.7673 | 1261861.0797
15 | 2614033.2314 | 1261879.658 | 2614030.0821 | 1261868.9444 | 2614027.7673 | 1261861.0797
16 | 2614033.2314 | 1261879.658 | 2614035.1418 | 1261886.157 | 2614035.4714 | 1261889.9563
17 | 2614035.7908 | 1261893.6383 | 2614035.4714 | 1261889.9563
18 | 2614035.7314 | 1261907.6287 | 2614036.5059 | 1261901.8821 | 2614035.7908 | 1261893.6383
19 | 2614035.7314 | 1261907.6287 | 2614046.3951 | 1261915.1418
20 | 2614000.1208 | 1261907.1443 | 2614018.8696 | 1261908.2226 | 2614035.7314 | 1261907.6287
21 | 2613984.9059 | 1261896.148 | 2613979.169 | 1261886.1873
22 | 2614000.1208 | 1261907.1443 | 2613994.2902 | 1261903.7727 | 2613986.9045 | 1261898.5073 | 2613985.8215 | 1261897.7375 | 2613984.9059 | 1261896.148
23 | 2614000.1208 | 1261907.1443 | 2614004.8145 | 1261923.115
24 | 2614004.8145 | 1261923.115 | 2614006.5856 | 1261929.1413 | 2614007.3562 | 1261931.84
25 | 2614046.3951 | 1261915.1418 | 2614056.0309 | 1261921.9309 | 2614056.8838 | 1261923.6465
26 | 2614009.3607 | 1261946.2152 | 2614009.9405 | 1261940.8905 | 2614007.3562 | 1261931.84
27 | 2613943.0028 | 1261884.1463 | 2613942.4535 | 1261880.2348 | 2613939.1111 | 1261871.1562
28 | 2613943.0028 | 1261884.1463 | 2613943.132 | 1261885.0655
29 | 2614063.4493 | 1261936.8534 | 2614056.8838 | 1261923.6465
30 | 2614007.0575 | 1261956.4317 | 2614008.6237 | 1261952.9846 | 2614009.3607 | 1261946.2152
31 | 2614007.0575 | 1261956.4317 | 2614002.9818 | 1261965.402 | 2614001.482 | 1261967.9666
32 | 2614001.482 | 1261967.9666 | 2613996.7886 | 1261975.9921
33 | 2613995.8249 | 1261977.6401 | 2613996.7886 | 1261975.9921
34 | 2613991.3005 | 1261985.3765 | 2613995.8249 | 1261977.6401
35 | 2613986.555 | 1261993.4911 | 2613991.3005 | 1261985.3765
36 | 2613986.555 | 1261993.4911 | 2613975.4563 | 1262012.4694
37 | 2613975.4563 | 1262012.4694 | 2613975.4563 | 1262012.4694 | 2613963.1862 | 1262034.0755
38 | 2613949.6148 | 1262057.9731 | 2613963.1862 | 1262034.0755
39 | 2613949.6148 | 1262057.9731 | 2613939.7092 | 1262056.9577
40 | 2613949.6148 | 1262057.9731 | 2613931.7131 | 1262089.4994
41 | 2613939.7092 | 1262056.9577 | 2613928.8653 | 1262055.8461
42 | 2613920.1685 | 1262108.2745 | 2613929.9616 | 1262092.584 | 2613931.7131 | 1262089.4994
43 | 2613885.4596 | 1261896.9127 | 2613886.2308 | 1261899.0581
44 | 2613891.7919 | 1261914.5284 | 2613886.2308 | 1261899.0581
45 | 2613891.7919 | 1261914.5284 | 2613894.4239 | 1261921.8498
46 | 2613891.7919 | 1261914.5284 | 2613879.7882 | 1261919.1284
47 | 2613894.4239 | 1261921.8498 | 2613901.8761 | 1261942.5797
48 | 2613879.6231 | 1261919.1917 | 2613879.7882 | 1261919.1284
49 | 2613901.8761 | 1261942.5797 | 2613902.4613 | 1261944.2074
50 | 2613879.6231 | 1261919.1917 | 2613860.4385 | 1261926.5436
51 | 2613859.1484 | 1261927.038 | 2613860.4385 | 1261926.5436
52 | 2613843.3146 | 1261933.1058 | 2613859.1484 | 1261927.038
53 | 2613843.3146 | 1261933.1058 | 2613838.7371 | 1261928.592 | 2613831.5073 | 1261927.5189
54 | 2613843.3146 | 1261933.1058 | 2613846.643 | 1261936.9606 | 2613850.6618 | 1261947.6326
55 | 2613831.5073 | 1261927.5189 | 2613814.3724 | 1261931.8361
56 | 2613853.981 | 1261956.4469 | 2613850.6618 | 1261947.6326
57 | 2613857.522 | 1261965.8502 | 2613853.981 | 1261956.4469
58 | 2613857.522 | 1261965.8502 | 2613860.4981 | 1261973.7551
59 | 2613857.522 | 1261965.8502 | 2613843.639 | 1261970.9081
60 | 2613860.4981 | 1261973.7551 | 2613866.5388 | 1261989.8
61 | 2613821.8292 | 1261978.8539 | 2613843.639 | 1261970.9081
62 | 2613866.5388 | 1261989.8 | 2613872.8549 | 1262006.5765
63 | 2613821.8292 | 1261978.8539 | 2613819.0346 | 1261979.872
64 | 2613814.3724 | 1261931.8361 | 2613807.3229 | 1261933.6122
65 | 2613872.8549 | 1262006.5765 | 2613873.3269 | 1262007.8301
66 | 2613800.8823 | 1261986.4853 | 2613819.0346 | 1261979.872
67 | 2613879.4578 | 1262023.3283 | 2613878.5084 | 1262021.5928 | 2613873.3269 | 1262007.8301
68 | 2613879.4578 | 1262023.3283 | 2613881.7682 | 1262027.5515
69 | 2613881.7682 | 1262027.5515 | 2613882.9902 | 1262029.785
70 | 2613899.5346 | 1262056.9106 | 2613894.3744 | 1262050.394 | 2613886.3774 | 1262035.9766 | 2613882.9902 | 1262029.785
71 | 2613899.5346 | 1262056.9106 | 2613902.5132 | 1262052.4701
72 | 2613899.5346 | 1262056.9106 | 2613896.1083 | 1262068.5516
73 | 2613902.5132 | 1262052.4701 | 2613909.3203 | 1262053.8425 | 2613925.6132 | 1262055.5127
74 | 2613925.6132 | 1262055.5127 | 2613928.8653 | 1262055.8461
75 | 2613765.4363 | 1261944.1657 | 2613781.1599 | 1261940.2041
76 | 2613770.0701 | 1261956.8852 | 2613765.4363 | 1261944.1657
77 | 2613765.4363 | 1261944.1657 | 2613760.4084 | 1261930.3552
78 | 2613770.0701 | 1261956.8852 | 2613756.0797 | 1261959.4514
79 | 2613770.0701 | 1261956.8852 | 2613773.2639 | 1261965.6495
80 | 2613756.0797 | 1261959.4514 | 2613754.8434 | 1261959.6782
81 | 2613777.4526 | 1261977.1444 | 2613773.2639 | 1261965.6495
82 | 2613736.489 | 1261963.0449 | 2613754.8434 | 1261959.6782
83 | 2613777.4526 | 1261977.1444 | 2613781.0922 | 1261987.1321
84 | 2613785.3863 | 1261998.9161 | 2613781.0922 | 1261987.1321
85 | 2613788.987 | 1262008.7979 | 2613785.3863 | 1261998.9161
86 | 2613785.3863 | 1261998.9161 | 2613790.182 | 1261997.0481 | 2613788.2597 | 1261991.0841 | 2613800.8823 | 1261986.4853
87 | 2613788.987 | 1262008.7979 | 2613788.5589 | 1262020.377
88 | 2613788.987 | 1262008.7979 | 2613793.6493 | 1262033.5948
89 | 2613736.489 | 1261963.0449 | 2613731.3731 | 1261963.9834
90 | 2613788.5589 | 1262020.377 | 2613788.2957 | 1262027.4979 | 2613787.3101 | 1262033.5029
91 | 2613793.6493 | 1262033.5948 | 2613795.5207 | 1262043.5479 | 2613796.5287 | 1262052.9389
92 | 2613798.5219 | 1262071.5073 | 2613796.5287 | 1262052.9389
93 | 2613798.5219 | 1262071.5073 | 2613799.8392 | 1262078.0238
94 | 2613800.503 | 1262081.3075 | 2613799.8392 | 1262078.0238
95 | 2613800.503 | 1262081.3075 | 2613803.3945 | 1262095.5763
96 | 2613800.503 | 1262081.3075 | 2613783.1204 | 1262085.2037
97 | 2613657.4068 | 1261964.033 | 2613663.2688 | 1261981.5315
98 | 2613671.5524 | 1262006.2581 | 2613663.2688 | 1261981.5315
99 | 2613656.4901 | 1261961.2969 | 2613657.4068 | 1261964.033
100 | 2613679.2639 | 1262004.23 | 2613671.5524 | 1262006.2581
101 | 2613656.4901 | 1261961.2969 | 2613654.0085 | 1261953.8892
102 | 2613679.2639 | 1262004.23 | 2613688.3043 | 1262002.692
103 | 2613669.2864 | 1262035.0281 | 2613673.2891 | 1262033.981 | 2613685.9764 | 1262030.3411 | 2613688.1174 | 1262029.7011 | 2613686.9649 | 1262026.374 | 2613679.2639 | 1262004.23
104 | 2613650.4972 | 1261943.4076 | 2613654.0085 | 1261953.8892
105 | 2613688.3043 | 1262002.692 | 2613708.7995 | 1261999.2053
106 | 2613669.2864 | 1262035.0281 | 2613654.5294 | 1262037.8072 | 2613653.3318 | 1262031.1554 | 2613636.479 | 1262034.4114
107 | 2613669.2864 | 1262035.0281 | 2613677.1482 | 1262052.7583 | 2613678.3473 | 1262053.6475
108 | 2613708.7995 | 1261999.2053 | 2613712.0454 | 1261998.6531
109 | 2613613.8612 | 1262038.7812 | 2613636.479 | 1262034.4114
110 | 2613730.5273 | 1261995.5089 | 2613712.0454 | 1261998.6531
111 | 2613730.5273 | 1261995.5089 | 2613724.8643 | 1261973.4131
112 | 2613730.5273 | 1261995.5089 | 2613731.9509 | 1262003.5136
113 | 2613724.8643 | 1261973.4131 | 2613723.7554 | 1261969.0863 | 2613730.6225 | 1261964.121 | 2613731.3731 | 1261963.9834
114 | 2613731.9509 | 1262003.5136 | 2613733.8713 | 1262014.3119
115 | 2613733.8713 | 1262014.3119 | 2613738.6146 | 1262040.9822
116 | 2613738.6146 | 1262040.9822 | 2613738.7203 | 1262041.5768
117 | 2613821.9424 | 1262188.464 | 2613838.744 | 1262183.2394
118 | 2613821.9424 | 1262188.464 | 2613801.492 | 1262193.8313
119 | 2613821.9424 | 1262188.464 | 2613817.0705 | 1262168.0832
120 | 2613803.3945 | 1262095.5763 | 2613810.445 | 1262130.3683
121 | 2613747.3938 | 1262090.3461 | 2613742.5374 | 1262063.0396
122 | 2613747.3938 | 1262090.3461 | 2613728.4742 | 1262095.1841
123 | 2613747.3938 | 1262090.3461 | 2613753.2001 | 1262091.2157
124 | 2613740.6769 | 1262052.5782 | 2613742.5374 | 1262063.0396
125 | 2613702.9837 | 1262100.3393 | 2613721.5388 | 1262096.9576 | 2613728.4742 | 1262095.1841
126 | 2613810.445 | 1262130.3683 | 2613813.1348 | 1262143.642
127 | 2613813.8319 | 1262147.0818 | 2613813.1348 | 1262143.642
128 | 2613817.0705 | 1262168.0832 | 2613815.9873 | 1262157.718 | 2613813.8319 | 1262147.0818
129 | 2613801.492 | 1262193.8313 | 2613805.1057 | 1262190.002
130 | 2613801.492 | 1262193.8313 | 2613791.0849 | 1262195.3971 | 2613778.0704 | 1262197.3126 | 2613766.6571 | 1262190.9596 | 2613758.1062 | 1262186.0199
131 | 2613724.2913 | 1262187.0144 | 2613745.0544 | 1262183.2265 | 2613756.8016 | 1262185.2662 | 2613758.1062 | 1262186.0199
132 | 2613724.2913 | 1262187.0144 | 2613717.7855 | 1262160.55
133 | 2613738.7203 | 1262041.5768 | 2613740.6769 | 1262052.5782
134 | 2613702.9837 | 1262100.3393 | 2613706.2398 | 1262113.5845
135 | 2613664.1517 | 1262167.292 | 2613667.3584 | 1262175.4864 | 2613669.758 | 1262180.5079
136 | 2613664.1517 | 1262167.292 | 2613658.5478 | 1262152.972
137 | 2613658.5478 | 1262152.972 | 2613650.4971 | 1262132.3995
138 | 2613647.7461 | 1262125.3697 | 2613650.4971 | 1262132.3995
139 | 2613647.7461 | 1262125.3697 | 2613646.484 | 1262122.1445
140 | 2613645.8466 | 1262120.5156 | 2613646.484 | 1262122.1445
141 | 2613645.8466 | 1262120.5156 | 2613633.2287 | 1262088.2723
142 | 2613633.2287 | 1262088.2723 | 2613620.1132 | 1262054.7573
143 | 2613613.8612 | 1262038.7812 | 2613620.1132 | 1262054.7573
144 | 2613613.8612 | 1262038.7812 | 2613595.3628 | 1261986.3059
145 | 2613595.3628 | 1261986.3059 | 2613591.8334 | 1261976.1769 | 2613587.8458 | 1261956.3613
146 | 2613533.8382 | 1262041.3413 | 2613533.6623 | 1262042.3844
147 | 2613532.3758 | 1262050.0139 | 2613533.6623 | 1262042.3844
148 | 2613533.8382 | 1262041.3413 | 2613536.5296 | 1262025.3794
149 | 2613537.7959 | 1262017.8693 | 2613536.5296 | 1262025.3794
150 | 2613542.5199 | 1261989.853 | 2613537.7959 | 1262017.8693
151 | 2613537.7959 | 1262017.8693 | 2613486.8884 | 1262003.6565
152 | 2613546.8404 | 1261964.23 | 2613542.5199 | 1261989.853
153 | 2613486.8884 | 1262003.6565 | 2613486.1885 | 1261996.1653
154 | 2613547.1826 | 1261949.4233 | 2613548.0619 | 1261956.986 | 2613546.8404 | 1261964.23
155 | 2613584.8985 | 1261941.7152 | 2613587.8458 | 1261956.3613
156 | 2613545.7198 | 1261936.7891 | 2613547.1826 | 1261949.4233
157 | 2613547.1826 | 1261949.4233 | 2613584.8985 | 1261941.7152
158 | 2613485.9091 | 1261993.1751 | 2613484.3584 | 1261976.5767
159 | 2613485.9091 | 1261993.1751 | 2613486.1885 | 1261996.1653
160 | 2613545.7198 | 1261936.7891 | 2613524.3047 | 1261940.7131
161 | 2614069.6599 | 1261962.7856 | 2614066.3406 | 1261942.6695 | 2614064.7916 | 1261939.5536
162 | 2614071.7771 | 1261975.616 | 2614069.6599 | 1261962.7856
163 | 2614063.4493 | 1261936.8534 | 2614064.7916 | 1261939.5536
164 | 2614064.7916 | 1261939.5536 | 2614108.326 | 1261925.5434
165 | 2614071.7771 | 1261975.616 | 2614116.4263 | 1261986.118
166 | 2614103.2236 | 1261904.6688 | 2614106.8811 | 1261919.6165 | 2614108.326 | 1261925.5434

## bus_geodata
| x | y | coords
0 | 2613941.8545 | 1261978.2007
1 | 2613945.0694 | 1261956.6761
2 | 2613939.5611 | 1261984.4715
3 | 2613945.1248 | 1261952.0994
4 | 2613930.8894 | 1262005.3821
5 | 2613945.3792 | 1261931.0788
6 | 2613918.0571 | 1261985.9661
7 | 2613926.3605 | 1262015.3648
8 | 2613945.3922 | 1261930.0114
9 | 2613909.4942 | 1261963.7709
10 | 2613924.233 | 1262020.0543
11 | 2613945.6825 | 1261906.0318
12 | 2613945.6969 | 1261904.8409
13 | 2614025.592 | 1261853.4788
14 | 2614027.7673 | 1261861.0797
15 | 2614033.2314 | 1261879.658
16 | 2614035.4714 | 1261889.9563
17 | 2614035.7908 | 1261893.6383
18 | 2614035.7314 | 1261907.6287
19 | 2613979.169 | 1261886.1873
20 | 2613984.9059 | 1261896.148
21 | 2614000.1208 | 1261907.1443
22 | 2614004.8145 | 1261923.115
23 | 2614046.3951 | 1261915.1418
24 | 2614007.3562 | 1261931.84
25 | 2613939.1111 | 1261871.1562
26 | 2613943.0028 | 1261884.1463
27 | 2613943.132 | 1261885.0655
28 | 2614056.8838 | 1261923.6465
29 | 2614009.3607 | 1261946.2152
30 | 2614007.0575 | 1261956.4317
31 | 2614001.482 | 1261967.9666
32 | 2613996.7886 | 1261975.9921
33 | 2613995.8249 | 1261977.6401
34 | 2613991.3005 | 1261985.3765
35 | 2613986.555 | 1261993.4911
36 | 2613975.4563 | 1262012.4694
37 | 2613963.1862 | 1262034.0755
38 | 2613949.6148 | 1262057.9731
39 | 2613939.7092 | 1262056.9577
40 | 2613931.7131 | 1262089.4994
41 | 2613886.2308 | 1261899.0581
42 | 2613885.4596 | 1261896.9127
43 | 2613891.7919 | 1261914.5284
44 | 2613894.4239 | 1261921.8498
45 | 2613879.7882 | 1261919.1284
46 | 2613901.8761 | 1261942.5797
47 | 2613879.6231 | 1261919.1917
48 | 2613902.4613 | 1261944.2074
49 | 2613860.4385 | 1261926.5436
50 | 2613859.1484 | 1261927.038
51 | 2613843.3146 | 1261933.1058
52 | 2613831.5073 | 1261927.5189
53 | 2613850.6618 | 1261947.6326
54 | 2613853.981 | 1261956.4469
55 | 2613857.522 | 1261965.8502
56 | 2613860.4981 | 1261973.7551
57 | 2613843.639 | 1261970.9081
58 | 2613866.5388 | 1261989.8
59 | 2613821.8292 | 1261978.8539
60 | 2613814.3724 | 1261931.8361
61 | 2613872.8549 | 1262006.5765
62 | 2613819.0346 | 1261979.872
63 | 2613873.3269 | 1262007.8301
64 | 2613879.4578 | 1262023.3283
65 | 2613881.7682 | 1262027.5515
66 | 2613882.9902 | 1262029.785
67 | 2613899.5346 | 1262056.9106
68 | 2613902.5132 | 1262052.4701
69 | 2613896.1083 | 1262068.5516
70 | 2613925.6132 | 1262055.5127
71 | 2613928.8653 | 1262055.8461
72 | 2613807.3229 | 1261933.6122
73 | 2613781.1599 | 1261940.2041
74 | 2613765.4363 | 1261944.1657
75 | 2613770.0701 | 1261956.8852
76 | 2613760.4084 | 1261930.3552
77 | 2613756.0797 | 1261959.4514
78 | 2613773.2639 | 1261965.6495
79 | 2613754.8434 | 1261959.6782
80 | 2613777.4526 | 1261977.1444
81 | 2613781.0922 | 1261987.1321
82 | 2613785.3863 | 1261998.9161
83 | 2613788.987 | 1262008.7979
84 | 2613800.8823 | 1261986.4853
85 | 2613736.489 | 1261963.0449
86 | 2613788.5589 | 1262020.377
87 | 2613793.6493 | 1262033.5948
88 | 2613787.3101 | 1262033.5029
89 | 2613796.5287 | 1262052.9389
90 | 2613798.5219 | 1262071.5073
91 | 2613799.8392 | 1262078.0238
92 | 2613800.503 | 1262081.3075
93 | 2613663.2688 | 1261981.5315
94 | 2613657.4068 | 1261964.033
95 | 2613671.5524 | 1262006.2581
96 | 2613656.4901 | 1261961.2969
97 | 2613679.2639 | 1262004.23
98 | 2613654.0085 | 1261953.8892
99 | 2613688.3043 | 1262002.692
100 | 2613669.2864 | 1262035.0281
101 | 2613650.4972 | 1261943.4076
102 | 2613708.7995 | 1261999.2053
103 | 2613636.479 | 1262034.4114
104 | 2613678.3473 | 1262053.6475
105 | 2613712.0454 | 1261998.6531
106 | 2613730.5273 | 1261995.5089
107 | 2613724.8643 | 1261973.4131
108 | 2613731.9509 | 1262003.5136
109 | 2613731.3731 | 1261963.9834
110 | 2613733.8713 | 1262014.3119
111 | 2613738.6146 | 1262040.9822
112 | 2613920.1685 | 1262108.2745
113 | 2613838.744 | 1262183.2394
114 | 2613821.9424 | 1262188.464
115 | 2613803.3945 | 1262095.5763
116 | 2613783.1204 | 1262085.2037
117 | 2613747.3938 | 1262090.3461
118 | 2613742.5374 | 1262063.0396
119 | 2613728.4742 | 1262095.1841
120 | 2613753.2001 | 1262091.2157
121 | 2613810.445 | 1262130.3683
122 | 2613813.1348 | 1262143.642
123 | 2613813.8319 | 1262147.0818
124 | 2613817.0705 | 1262168.0832
125 | 2613801.492 | 1262193.8313
126 | 2613805.1057 | 1262190.002
127 | 2613758.1062 | 1262186.0199
128 | 2613724.2913 | 1262187.0144
129 | 2613740.6769 | 1262052.5782
130 | 2613702.9837 | 1262100.3393
131 | 2613717.7855 | 1262160.55
132 | 2613706.2398 | 1262113.5845
133 | 2613738.7203 | 1262041.5768
134 | 2613664.1517 | 1262167.292
135 | 2613669.758 | 1262180.5079
136 | 2613658.5478 | 1262152.972
137 | 2613650.4971 | 1262132.3995
138 | 2613647.7461 | 1262125.3697
139 | 2613646.484 | 1262122.1445
140 | 2613645.8466 | 1262120.5156
141 | 2613633.2287 | 1262088.2723
142 | 2613620.1132 | 1262054.7573
143 | 2613613.8612 | 1262038.7812
144 | 2613595.3628 | 1261986.3059
145 | 2613533.6623 | 1262042.3844
146 | 2613533.8382 | 1262041.3413
147 | 2613532.3758 | 1262050.0139
148 | 2613536.5296 | 1262025.3794
149 | 2613537.7959 | 1262017.8693
150 | 2613542.5199 | 1261989.853
151 | 2613486.8884 | 1262003.6565
152 | 2613546.8404 | 1261964.23
153 | 2613587.8458 | 1261956.3613
154 | 2613547.1826 | 1261949.4233
155 | 2613485.9091 | 1261993.1751
156 | 2613484.3584 | 1261976.5767
157 | 2613486.1885 | 1261996.1653
158 | 2613584.8985 | 1261941.7152
159 | 2613545.7198 | 1261936.7891
160 | 2613524.3047 | 1261940.7131
161 | 2614069.6599 | 1261962.7856
162 | 2614064.7916 | 1261939.5536
163 | 2614071.7771 | 1261975.616
164 | 2614063.4493 | 1261936.8534
165 | 2614108.326 | 1261925.5434
166 | 2614116.4263 | 1261986.118
167 | 2614103.2236 | 1261904.6688
168 | 2613730.5273 | 1261995.5089

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1