## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2769-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2769-4_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2769-4_0_5_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_2769-4_0_5_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_2769-4_0_5_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_2769-4_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2769-4_0_5_node_87 | 0.4 | n |  | TRUE
7 | bus_LV_2769-4_0_5_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_2769-4_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2769-4_0_5_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_2769-4_0_5_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_2769-4_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2769-4_0_5_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_2769-4_0_5_node_76 | 0.4 | n |  | TRUE
14 | bus_LV_2769-4_0_5_node_79 | 0.4 | n |  | TRUE
15 | bus_LV_2769-4_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2769-4_0_5_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_2769-4_0_5_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_2769-4_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_2769-4_0_5_node_55 | 0.4 | n |  | TRUE
20 | bus_LV_2769-4_0_5_node_53 | 0.4 | n |  | TRUE
21 | bus_LV_2769-4_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2769-4_0_5_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_2769-4_0_5_node_74 | 0.4 | n |  | TRUE
24 | bus_LV_2769-4_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2769-4_0_5_node_69 | 0.4 | n |  | TRUE
26 | bus_LV_2769-4_0_5_node_67 | 0.4 | n |  | TRUE
27 | bus_LV_2769-4_0_5_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_2769-4_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_2769-4_0_5_node_72 | 0.4 | n |  | TRUE
30 | bus_LV_2769-4_0_5_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2769-4_0_5_node_85 | 0.4 | n |  | TRUE
32 | bus_LV_2769-4_0_5_node_78 | 0.4 | n |  | TRUE
33 | bus_LV_2769-4_0_5_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_2769-4_0_5_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_2769-4_0_5_node_77 | 0.4 | n |  | TRUE
36 | bus_LV_2769-4_0_5_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_2769-4_0_5_node_80 | 0.4 | n |  | TRUE
38 | bus_LV_2769-4_0_5_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_2769-4_0_5_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_2769-4_0_5_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_2769-4_0_5_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_2769-4_0_5_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_2769-4_0_5_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_2769-4_0_5_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_2769-4_0_5_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_2769-4_0_5_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_2769-4_0_5_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_2769-4_0_5_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_2769-4_0_5_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_2769-4_0_5_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_2769-4_0_5_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_2769-4_0_5_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_2769-4_0_5_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_2769-4_0_5_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_2769-4_0_5_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_2769-4_0_5_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_2769-4_0_5_node_84 | 0.4 | n |  | TRUE
58 | bus_LV_2769-4_0_5_node_83 | 0.4 | n |  | TRUE
59 | bus_LV_2769-4_0_5_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_2769-4_0_5_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_2769-4_0_5_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_2769-4_0_5_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_2769-4_0_5_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_2769-4_0_5_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_2769-4_0_5_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_2769-4_0_5_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_2769-4_0_5_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_2769-4_0_5_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_2769-4_0_5_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_2769-4_0_5_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_2769-4_0_5_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_2769-4_0_5_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_2769-4_0_5_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_2769-4_0_5_node_86 | 0.4 | n |  | TRUE
75 | bus_LV_2769-4_0_5_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_2769-4_0_5_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_2769-4_0_5_node_81 | 0.4 | n |  | TRUE
78 | bus_LV_2769-4_0_5_node_82 | 0.4 | n |  | TRUE
79 | bus_MV_574_0_node_117 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2769-4_0_5_load_0 | 0 | 0.002853 | 0.00071504 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2769-4_0_5_load_24 | 4 | 0.0028635 | 0.00071766 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2769-4_0_5_load_87 | 6 | 0.011414 | 0.0028607 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2769-4_0_5_load_27 | 7 | 0.0052643 | 0.0013194 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2769-4_0_5_load_28 | 9 | 0.0047644 | 0.0011941 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2769-4_0_5_load_76 | 13 | 0.0027699 | 0.00069421 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2769-4_0_5_load_79 | 14 | 0.0068131 | 0.0017075 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2769-4_0_5_load_29 | 17 | 0.0014675 | 0.00036779 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2769-4_0_5_load_55 | 19 | 0.011723 | 0.002938 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2769-4_0_5_load_53 | 20 | 0.060872 | 0.015256 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2769-4_0_5_load_50 | 22 | 0.013099 | 0.0032828 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2769-4_0_5_load_74 | 23 | 0.0049584 | 0.0012427 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2769-4_0_5_load_69 | 25 | 0.021764 | 0.0054547 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2769-4_0_5_load_67 | 26 | 0.014178 | 0.0035533 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2769-4_0_5_load_72 | 29 | 0.0027652 | 0.00069302 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2769-4_0_5_load_85 | 31 | 0.0034526 | 0.00086531 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2769-4_0_5_load_78 | 32 | 0.00041124 | 0.00010307 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2769-4_0_5_load_77 | 35 | 0.0025867 | 0.00064828 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2769-4_0_5_load_70 | 36 | 0.005983 | 0.0014995 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2769-4_0_5_load_80 | 37 | 0.00051123 | 0.00012813 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2769-4_0_5_load_30 | 38 | 0.0053603 | 0.0013434 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2769-4_0_5_load_31 | 39 | 0.0040596 | 0.0010174 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2769-4_0_5_load_73 | 42 | 0.0022765 | 0.00057054 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2769-4_0_5_load_66 | 44 | 0.011099 | 0.0027817 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2769-4_0_5_load_32 | 45 | 0.00247 | 0.00061905 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2769-4_0_5_load_33 | 46 | 0.0015857 | 0.00039742 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2769-4_0_5_load_37 | 48 | 0.002612 | 0.00065463 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2769-4_0_5_load_34 | 49 | 0.005931 | 0.0014864 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2769-4_0_5_load_35 | 50 | 0.0046709 | 0.0011706 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2769-4_0_5_load_38 | 51 | 0.0014905 | 0.00037355 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2769-4_0_5_load_39 | 52 | 0.00131 | 0.00032831 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2769-4_0_5_load_40 | 53 | 0.00071917 | 0.00018024 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2769-4_0_5_load_41 | 54 | 0.0009184 | 0.00023017 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2769-4_0_5_load_42 | 55 | 0.00074977 | 0.00018791 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2769-4_0_5_load_43 | 56 | 0.0012734 | 0.00031914 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2769-4_0_5_load_84 | 57 | 0.000793 | 0.00019875 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2769-4_0_5_load_83 | 58 | 0.00087847 | 0.00022017 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2769-4_0_5_load_44 | 59 | 0.063114 | 0.015818 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2769-4_0_5_load_48 | 62 | 0.038257 | 0.0095881 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2769-4_0_5_load_64 | 65 | 0.021586 | 0.0054099 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2769-4_0_5_load_63 | 66 | 0.038938 | 0.0097587 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2769-4_0_5_load_65 | 67 | 0.021689 | 0.0054357 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2769-4_0_5_load_52 | 68 | 0.017231 | 0.0043185 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2769-4_0_5_load_56 | 69 | 0.011514 | 0.0028856 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2769-4_0_5_load_57 | 70 | 0.041432 | 0.010384 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2769-4_0_5_load_86 | 74 | 0.0072772 | 0.0018238 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2769-4_0_5_load_68 | 75 | 0.021294 | 0.0053369 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2769-4_0_5_load_75 | 76 | 0.0037737 | 0.00094579 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2769-4_0_5_load_81 | 77 | 0.00073607 | 0.00018448 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2769-4_0_5_load_82 | 78 | 0.00074102 | 0.00018572 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 63 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2769-4_0_5_line_0 |  | 0 | 1 | 0.017188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2769-4_0_5_line_1 |  | 1 | 2 | 0.013457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2769-4_0_5_line_2 |  | 2 | 3 | 0.031908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2769-4_0_5_line_3 |  | 2 | 4 | 0.015077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2769-4_0_5_line_4 |  | 3 | 7 | 0.047442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2769-4_0_5_line_5 |  | 3 | 5 | 0.045433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2769-4_0_5_line_6 |  | 5 | 6 | 0.017061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2769-4_0_5_line_7 |  | 7 | 8 | 0.031196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2769-4_0_5_line_8 |  | 8 | 9 | 0.01683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2769-4_0_5_line_9 |  | 8 | 10 | 0.021762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2769-4_0_5_line_10 |  | 8 | 11 | 0.028771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2769-4_0_5_line_11 |  | 10 | 14 | 0.036387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2769-4_0_5_line_12 |  | 11 | 12 | 0.075787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2769-4_0_5_line_13 |  | 11 | 13 | 0.039542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2769-4_0_5_line_14 |  | 12 | 23 | 0.028168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2769-4_0_5_line_15 |  | 12 | 21 | 0.029472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2769-4_0_5_line_16 |  | 13 | 35 | 0.027097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2769-4_0_5_line_17 |  | 14 | 37 | 0.0064062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2769-4_0_5_line_18 |  | 15 | 16 | 0.017221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2769-4_0_5_line_19 |  | 15 | 17 | 0.016667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2769-4_0_5_line_20 |  | 16 | 29 | 0.028432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2769-4_0_5_line_21 |  | 16 | 33 | 0.015089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2769-4_0_5_line_22 |  | 18 | 19 | 0.010274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2769-4_0_5_line_23 |  | 18 | 20 | 0.011544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2769-4_0_5_line_24 |  | 19 | 40 | 0.020152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2769-4_0_5_line_25 |  | 21 | 22 | 0.019838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2769-4_0_5_line_26 |  | 22 | 41 | 0.0080939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2769-4_0_5_line_27 |  | 23 | 42 | 0.0073925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2769-4_0_5_line_28 |  | 24 | 25 | 0.025266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2769-4_0_5_line_29 |  | 24 | 26 | 0.0096966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2769-4_0_5_line_30 |  | 25 | 43 | 0.035674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2769-4_0_5_line_31 |  | 26 | 44 | 0.043863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2769-4_0_5_line_32 |  | 27 | 28 | 0.092622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2769-4_0_5_line_33 |  | 27 | 29 | 0.026406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2769-4_0_5_line_34 |  | 28 | 32 | 0.07287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2769-4_0_5_line_35 |  | 28 | 30 | 0.2429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2769-4_0_5_line_36 |  | 30 | 31 | 0.20555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2769-4_0_5_line_37 |  | 33 | 34 | 0.004308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2769-4_0_5_line_38 |  | 33 | 35 | 0.023807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2769-4_0_5_line_39 |  | 34 | 36 | 0.01036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2769-4_0_5_line_40 |  | 37 | 77 | 0.006934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2769-4_0_5_line_41 |  | 38 | 39 | 0.028749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2769-4_0_5_line_42 |  | 39 | 45 | 0.025138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2769-4_0_5_line_43 |  | 40 | 69 | 0.019009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2769-4_0_5_line_44 |  | 41 | 43 | 0.041833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2769-4_0_5_line_45 |  | 42 | 76 | 0.0088966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2769-4_0_5_line_46 |  | 43 | 63 | 0.037648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2769-4_0_5_line_47 |  | 44 | 75 | 0.010352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2769-4_0_5_line_48 |  | 45 | 46 | 0.012721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2769-4_0_5_line_49 |  | 46 | 47 | 0.010538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2769-4_0_5_line_50 |  | 47 | 48 | 0.014437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2769-4_0_5_line_51 |  | 47 | 49 | 0.013471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2769-4_0_5_line_52 |  | 48 | 51 | 0.021536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2769-4_0_5_line_53 |  | 49 | 50 | 0.0081253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2769-4_0_5_line_54 |  | 51 | 52 | 0.003584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2769-4_0_5_line_55 |  | 52 | 53 | 0.017895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2769-4_0_5_line_56 |  | 53 | 54 | 0.0021932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2769-4_0_5_line_57 |  | 54 | 55 | 0.0062925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2769-4_0_5_line_58 |  | 55 | 56 | 0.014698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2769-4_0_5_line_59 |  | 56 | 57 | 0.00023258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2769-4_0_5_line_60 |  | 57 | 58 | 0.010879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2769-4_0_5_line_61 |  | 58 | 78 | 0.0096866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2769-4_0_5_line_62 |  | 59 | 60 | 0.015439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2769-4_0_5_line_63 |  | 60 | 61 | 0.032725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_2769-4_0_5_line_64 |  | 60 | 62 | 0.042875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_2769-4_0_5_line_65 |  | 61 | 64 | 0.068355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_2769-4_0_5_line_66 |  | 61 | 65 | 0.019903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2769-4_0_5_line_67 |  | 62 | 63 | 0.033552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_2769-4_0_5_line_68 |  | 64 | 66 | 0.092227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_2769-4_0_5_line_69 |  | 65 | 67 | 0.041658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2769-4_0_5_line_70 |  | 66 | 73 | 0.029453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_2769-4_0_5_line_71 |  | 67 | 68 | 0.049559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2769-4_0_5_line_72 |  | 69 | 70 | 0.020977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_2769-4_0_5_line_73 |  | 70 | 71 | 0.063414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_2769-4_0_5_line_74 |  | 71 | 72 | 0.008258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2769-4_0_5_line_75 |  | 71 | 73 | 0.07116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_2769-4_0_5_line_76 |  | 72 | 74 | 0.024206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2769-4_0_5_line_77 |  | 77 | 78 | 0.009972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2769-4_0_5_trafo_46 | 0.63 MVA 20/0.4 kV | 79 | 63 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2613437.3222 | 1263219.9226 | 2613439.7437 | 1263202.9065
1 | 2613437.3222 | 1263219.9226 | 2613435.7254 | 1263233.2837
2 | 2613435.7254 | 1263233.2837 | 2613434.9577 | 1263239.6753 | 2613440.1808 | 1263244.8239 | 2613446.9651 | 1263249.0088 | 2613444.924 | 1263258.9666
3 | 2613435.7254 | 1263233.2837 | 2613441.6058 | 1263240.8355 | 2613446.3242 | 1263243.6728
4 | 2613444.924 | 1263258.9666 | 2613449.2969 | 1263260.3775 | 2613454.5742 | 1263258.1768 | 2613473.0114 | 1263265.2679 | 2613478.8141 | 1263267.2269 | 2613486.9909 | 1263271.8152 | 2613488.8223 | 1263272.2185
5 | 2613444.924 | 1263258.9666 | 2613441.2029 | 1263285.7099 | 2613436.8432 | 1263298.4644 | 2613433.7186 | 1263294.6213
6 | 2613433.7186 | 1263294.6213 | 2613430.5635 | 1263297.6385 | 2613425.5284 | 1263302.6306 | 2613424.2374 | 1263307.3198 | 2613423.4767 | 1263307.2847
7 | 2613519.3171 | 1263278.7935 | 2613498.9306 | 1263274.4442 | 2613488.8223 | 1263272.2185
8 | 2613519.3171 | 1263278.7935 | 2613520.532 | 1263271.1911 | 2613522.1636 | 1263262.2071
9 | 2613515.924 | 1263300.2783 | 2613519.023 | 1263282.2619 | 2613519.3171 | 1263278.7935
10 | 2613519.3171 | 1263278.7935 | 2613519.023 | 1263282.2619 | 2613522.1553 | 1263282.7138 | 2613525.5511 | 1263283.1996 | 2613528.5553 | 1263283.6401 | 2613528.9455 | 1263280.9614 | 2613535.0213 | 1263282.0649 | 2613541.6918 | 1263283.2587
11 | 2613515.924 | 1263300.2783 | 2613495.1072 | 1263296.395 | 2613490.6446 | 1263310.9366
12 | 2613541.6918 | 1263283.2587 | 2613539.6451 | 1263298.8981 | 2613545.0063 | 1263302.8575 | 2613554.2756 | 1263303.9571 | 2613562.32 | 1263300.5176 | 2613570.4308 | 1263300.9697 | 2613590.0516 | 1263304.1835 | 2613597.2499 | 1263305.1339
13 | 2613541.6918 | 1263283.2587 | 2613547.9852 | 1263244.2211
14 | 2613597.2499 | 1263305.1339 | 2613600.9901 | 1263283.4943 | 2613599.2206 | 1263277.5446
15 | 2613586.669 | 1263327.5474 | 2613590.4205 | 1263314.1134 | 2613595.5018 | 1263315.2925 | 2613597.2499 | 1263305.1339
16 | 2613547.9852 | 1263244.2211 | 2613549.1638 | 1263236.9105 | 2613552.6598 | 1263217.5315
17 | 2613490.6446 | 1263310.9366 | 2613488.7652 | 1263317.0609
18 | 2613543.4474 | 1263190.5211 | 2613541.249 | 1263190.0936 | 2613538.5914 | 1263189.5649 | 2613535.7155 | 1263189.0024 | 2613534.3856 | 1263197.4497 | 2613533.5876 | 1263197.2811
19 | 2613533.5876 | 1263197.2811 | 2613522.5347 | 1263195.4769 | 2613517.0686 | 1263195.325
20 | 2613543.4474 | 1263190.5211 | 2613544.4435 | 1263186.4206 | 2613549.2875 | 1263162.6982
21 | 2613558.0206 | 1263194.4015 | 2613557.012 | 1263194.0767 | 2613551.0046 | 1263192.7176 | 2613543.4474 | 1263190.5211
22 | 2613704.9759 | 1263436.7832 | 2613706.3766 | 1263446.9612
23 | 2613704.9759 | 1263436.7832 | 2613696.3609 | 1263444.4667
24 | 2613709.1241 | 1263466.9246 | 2613706.3766 | 1263446.9612
25 | 2613586.669 | 1263327.5474 | 2613581.3295 | 1263346.6534
26 | 2613579.1509 | 1263354.4487 | 2613581.3295 | 1263346.6534
27 | 2613597.1132 | 1263270.4589 | 2613599.2206 | 1263277.5446
28 | 2613644.9439 | 1263323.8784 | 2613638.7809 | 1263341.1206 | 2613635.9218 | 1263347.4616
29 | 2613644.9439 | 1263323.8784 | 2613647.8451 | 1263333.1308
30 | 2613613.3459 | 1263373.9515 | 2613630.3172 | 1263359.8918 | 2613635.9218 | 1263347.4616
31 | 2613655.8617 | 1263375.9409 | 2613654.4024 | 1263354.0431 | 2613647.8451 | 1263333.1308
32 | 2613554.6496 | 1263136.8431 | 2613564.1189 | 1263139.5221 | 2613574.0585 | 1263104.4874 | 2613574.9687 | 1263101.7098 | 2613598.798 | 1263129.0942 | 2613604.6712 | 1263133.1549
33 | 2613554.6496 | 1263136.8431 | 2613553.9497 | 1263139.8658 | 2613549.2875 | 1263162.6982
34 | 2613604.6712 | 1263133.1549 | 2613636.5632 | 1263165.4947 | 2613653.3765 | 1263187.1926
35 | 2613604.6712 | 1263133.1549 | 2613598.798 | 1263129.0942 | 2613574.9687 | 1263101.7098 | 2613576.8877 | 1263095.8768 | 2613591.0863 | 1263049.6108 | 2613604.1652 | 1263054.8888 | 2613635.0971 | 1263069.2474 | 2613643.0359 | 1263072.6013 | 2613672.2696 | 1263085.0993 | 2613698.1984 | 1263093.5982 | 2613718.4981 | 1263099.8827 | 2613725.7905 | 1263102.568
36 | 2613725.7905 | 1263102.568 | 2613741.9468 | 1263112.4121 | 2613780.2077 | 1263139.3971 | 2613819.6239 | 1263171.4551 | 2613855.8073 | 1263197.5463 | 2613882.9167 | 1263222.5934 | 2613888.3605 | 1263227.7314
37 | 2613558.0206 | 1263194.4015 | 2613559.1147 | 1263190.2344
38 | 2613558.0206 | 1263194.4015 | 2613555.5718 | 1263201.3896 | 2613552.6598 | 1263217.5315
39 | 2613559.1147 | 1263190.2344 | 2613560.9915 | 1263183.0782 | 2613563.7207 | 1263181.9281
40 | 2613488.7652 | 1263317.0609 | 2613486.8589 | 1263323.2726 | 2613486.7486 | 1263323.6949
41 | 2613482.9259 | 1263477.7076 | 2613490.2474 | 1263449.9061
42 | 2613481.5211 | 1263435.3573 | 2613493.5439 | 1263437.3885 | 2613490.2474 | 1263449.9061
43 | 2613709.1241 | 1263466.9246 | 2613710.4426 | 1263476.4787 | 2613710.3588 | 1263485.8431
44 | 2613613.3459 | 1263373.9515 | 2613608.0548 | 1263372.3271 | 2613590.0871 | 1263367.6494 | 2613582.74 | 1263362.5958 | 2613579.1509 | 1263354.4487
45 | 2613594.5771 | 1263261.9314 | 2613597.1132 | 1263270.4589
46 | 2613613.3459 | 1263373.9515 | 2613617.3231 | 1263383.6228 | 2613621.3409 | 1263395.3178 | 2613620.7646 | 1263410.1378
47 | 2613656.5501 | 1263386.2702 | 2613655.8617 | 1263375.9409
48 | 2613481.5211 | 1263435.3573 | 2613468.9782 | 1263433.2383
49 | 2613458.5875 | 1263431.4829 | 2613468.9782 | 1263433.2383
50 | 2613458.5875 | 1263431.4829 | 2613462.237 | 1263417.5143
51 | 2613458.5875 | 1263431.4829 | 2613456.185 | 1263444.7382
52 | 2613462.237 | 1263417.5143 | 2613467.6808 | 1263396.6781
53 | 2613454.7359 | 1263452.7332 | 2613456.185 | 1263444.7382
54 | 2613467.6808 | 1263396.6781 | 2613468.5867 | 1263393.2104
55 | 2613468.5867 | 1263393.2104 | 2613473.1102 | 1263375.8964
56 | 2613473.6646 | 1263373.7745 | 2613473.1102 | 1263375.8964
57 | 2613473.6646 | 1263373.7745 | 2613475.2553 | 1263367.6863
58 | 2613478.9705 | 1263353.4661 | 2613475.2553 | 1263367.6863
59 | 2613478.9705 | 1263353.4661 | 2613479.0293 | 1263353.2411
60 | 2613481.7793 | 1263342.715 | 2613479.0293 | 1263353.2411
61 | 2613484.2279 | 1263333.343 | 2613481.7793 | 1263342.715
62 | 2613594.8078 | 1263476.9243 | 2613600.3959 | 1263470.5327 | 2613604.3879 | 1263464.8442
63 | 2613573.241 | 1263501.592 | 2613594.8078 | 1263476.9243
64 | 2613594.8078 | 1263476.9243 | 2613593.3006 | 1263464.1343 | 2613596.1694 | 1263448.0298 | 2613599.3158 | 1263434.7593
65 | 2613555.8736 | 1263563.9731 | 2613566.3569 | 1263521.4455 | 2613576.5333 | 1263511.0171 | 2613573.241 | 1263501.592
66 | 2613573.241 | 1263501.592 | 2613559.3032 | 1263490.2301 | 2613558.07 | 1263488.7577
67 | 2613620.7646 | 1263410.1378 | 2613608.3516 | 1263420.2608 | 2613600.6565 | 1263429.1048 | 2613599.3158 | 1263434.7593
68 | 2613555.8736 | 1263563.9731 | 2613590.2264 | 1263573.2802 | 2613596.2891 | 1263570.0696 | 2613601.5867 | 1263552.3584 | 2613607.0568 | 1263548.1458 | 2613628.1487 | 1263556.4444 | 2613629.6118 | 1263557.3473
69 | 2613558.07 | 1263488.7577 | 2613548.8251 | 1263477.7198 | 2613547.6364 | 1263467.2432 | 2613552.1345 | 1263451.144
70 | 2613654.6749 | 1263572.8165 | 2613629.6118 | 1263557.3473
71 | 2613552.1345 | 1263451.144 | 2613565.4703 | 1263403.4134
72 | 2613710.171 | 1263506.8197 | 2613710.3588 | 1263485.8431
73 | 2613719.5263 | 1263567.5401 | 2613720.7584 | 1263559.0816 | 2613709.8945 | 1263537.7084 | 2613710.171 | 1263506.8197
74 | 2613724.6704 | 1263574.012 | 2613719.5263 | 1263567.5401
75 | 2613654.6749 | 1263572.8165 | 2613666.5922 | 1263575.0677 | 2613685.5813 | 1263561.1129 | 2613687.6333 | 1263559.6055 | 2613694.8952 | 1263562.2463 | 2613719.5263 | 1263567.5401
76 | 2613724.6704 | 1263574.012 | 2613730.7592 | 1263566.0984 | 2613744.4796 | 1263562.3598
77 | 2613484.2279 | 1263333.343 | 2613486.7486 | 1263323.6949

## bus_geodata
| x | y | coords
0 | 2613439.7437 | 1263202.9065
1 | 2613437.3222 | 1263219.9226
2 | 2613435.7254 | 1263233.2837
3 | 2613444.924 | 1263258.9666
4 | 2613446.3242 | 1263243.6728
5 | 2613433.7186 | 1263294.6213
6 | 2613423.4767 | 1263307.2847
7 | 2613488.8223 | 1263272.2185
8 | 2613519.3171 | 1263278.7935
9 | 2613522.1636 | 1263262.2071
10 | 2613515.924 | 1263300.2783
11 | 2613541.6918 | 1263283.2587
12 | 2613597.2499 | 1263305.1339
13 | 2613547.9852 | 1263244.2211
14 | 2613490.6446 | 1263310.9366
15 | 2613533.5876 | 1263197.2811
16 | 2613543.4474 | 1263190.5211
17 | 2613517.0686 | 1263195.325
18 | 2613704.9759 | 1263436.7832
19 | 2613706.3766 | 1263446.9612
20 | 2613696.3609 | 1263444.4667
21 | 2613586.669 | 1263327.5474
22 | 2613581.3295 | 1263346.6534
23 | 2613599.2206 | 1263277.5446
24 | 2613644.9439 | 1263323.8784
25 | 2613635.9218 | 1263347.4616
26 | 2613647.8451 | 1263333.1308
27 | 2613554.6496 | 1263136.8431
28 | 2613604.6712 | 1263133.1549
29 | 2613549.2875 | 1263162.6982
30 | 2613725.7905 | 1263102.568
31 | 2613888.3605 | 1263227.7313
32 | 2613653.3765 | 1263187.1926
33 | 2613558.0206 | 1263194.4015
34 | 2613559.1147 | 1263190.2344
35 | 2613552.6598 | 1263217.5315
36 | 2613563.7207 | 1263181.9281
37 | 2613488.7652 | 1263317.0609
38 | 2613482.9259 | 1263477.7076
39 | 2613490.2474 | 1263449.9061
40 | 2613709.1241 | 1263466.9246
41 | 2613579.1509 | 1263354.4487
42 | 2613597.1132 | 1263270.4589
43 | 2613613.3459 | 1263373.9515
44 | 2613655.8617 | 1263375.9409
45 | 2613481.5211 | 1263435.3573
46 | 2613468.9782 | 1263433.2383
47 | 2613458.5875 | 1263431.4829
48 | 2613462.237 | 1263417.5143
49 | 2613456.185 | 1263444.7382
50 | 2613454.7359 | 1263452.7332
51 | 2613467.6808 | 1263396.6781
52 | 2613468.5867 | 1263393.2104
53 | 2613473.1102 | 1263375.8965
54 | 2613473.6646 | 1263373.7745
55 | 2613475.2553 | 1263367.6863
56 | 2613478.9705 | 1263353.4661
57 | 2613479.0293 | 1263353.2411
58 | 2613481.7793 | 1263342.715
59 | 2613604.3879 | 1263464.8442
60 | 2613594.8078 | 1263476.9243
61 | 2613573.241 | 1263501.592
62 | 2613599.3158 | 1263434.7593
63 | 2613620.7646 | 1263410.1378
64 | 2613555.8737 | 1263563.9731
65 | 2613558.07 | 1263488.7577
66 | 2613629.6118 | 1263557.3473
67 | 2613552.1345 | 1263451.144
68 | 2613565.4703 | 1263403.4134
69 | 2613710.3588 | 1263485.8431
70 | 2613710.171 | 1263506.8197
71 | 2613719.5263 | 1263567.5401
72 | 2613724.6704 | 1263574.012
73 | 2613654.6749 | 1263572.8165
74 | 2613744.4796 | 1263562.3598
75 | 2613656.5501 | 1263386.2702
76 | 2613594.5771 | 1263261.9314
77 | 2613486.7486 | 1263323.6949
78 | 2613484.2279 | 1263333.343
79 | 2613613.3459 | 1263373.9515

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1