## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2769-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2769-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2769-7_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2769-7_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2769-7_0_3_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_2769-7_0_3_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_2769-7_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_2769-7_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_2769-7_0_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_2769-7_0_3_node_139 | 0.4 | n |  | TRUE
10 | bus_LV_2769-7_0_3_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_2769-7_0_3_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_2769-7_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2769-7_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_2769-7_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2769-7_0_3_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_2769-7_0_3_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_2769-7_0_3_node_143 | 0.4 | n |  | TRUE
18 | bus_LV_2769-7_0_3_node_145 | 0.4 | n |  | TRUE
19 | bus_LV_2769-7_0_3_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_2769-7_0_3_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_2769-7_0_3_node_103 | 0.4 | n |  | TRUE
22 | bus_LV_2769-7_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_2769-7_0_3_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_2769-7_0_3_node_92 | 0.4 | n |  | TRUE
25 | bus_LV_2769-7_0_3_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_2769-7_0_3_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_2769-7_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_2769-7_0_3_node_144 | 0.4 | n |  | TRUE
29 | bus_LV_2769-7_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_2769-7_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_2769-7_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_2769-7_0_3_node_104 | 0.4 | n |  | TRUE
33 | bus_LV_2769-7_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_2769-7_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_2769-7_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_2769-7_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_2769-7_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_2769-7_0_3_node_90 | 0.4 | n |  | TRUE
39 | bus_LV_2769-7_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_2769-7_0_3_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_2769-7_0_3_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_2769-7_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_2769-7_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_2769-7_0_3_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_2769-7_0_3_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_2769-7_0_3_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_2769-7_0_3_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_2769-7_0_3_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_2769-7_0_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_2769-7_0_3_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_2769-7_0_3_node_111 | 0.4 | n |  | TRUE
52 | bus_LV_2769-7_0_3_node_110 | 0.4 | n |  | TRUE
53 | bus_LV_2769-7_0_3_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_2769-7_0_3_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_2769-7_0_3_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_2769-7_0_3_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_2769-7_0_3_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_2769-7_0_3_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_2769-7_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_2769-7_0_3_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_2769-7_0_3_node_107 | 0.4 | n |  | TRUE
62 | bus_LV_2769-7_0_3_node_83 | 0.4 | n |  | TRUE
63 | bus_LV_2769-7_0_3_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_2769-7_0_3_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_2769-7_0_3_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_2769-7_0_3_node_85 | 0.4 | n |  | TRUE
67 | bus_LV_2769-7_0_3_node_81 | 0.4 | n |  | TRUE
68 | bus_LV_2769-7_0_3_node_82 | 0.4 | n |  | TRUE
69 | bus_LV_2769-7_0_3_node_84 | 0.4 | n |  | TRUE
70 | bus_LV_2769-7_0_3_node_101 | 0.4 | n |  | TRUE
71 | bus_LV_2769-7_0_3_node_102 | 0.4 | n |  | TRUE
72 | bus_LV_2769-7_0_3_node_112 | 0.4 | n |  | TRUE
73 | bus_LV_2769-7_0_3_node_115 | 0.4 | n |  | TRUE
74 | bus_LV_2769-7_0_3_node_113 | 0.4 | n |  | TRUE
75 | bus_LV_2769-7_0_3_node_116 | 0.4 | n |  | TRUE
76 | bus_LV_2769-7_0_3_node_105 | 0.4 | n |  | TRUE
77 | bus_MV_574_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2769-7_0_3_load_0 | 0 | 0.0086376 | 0.0021648 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2769-7_0_3_load_15 | 6 | 0.012865 | 0.0032242 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2769-7_0_3_load_139 | 9 | 0.0065392 | 0.0016389 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2769-7_0_3_load_25 | 11 | 0.093906 | 0.023535 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2769-7_0_3_load_9 | 14 | 0.012057 | 0.0030218 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2769-7_0_3_load_14 | 15 | 0.0049271 | 0.0012348 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2769-7_0_3_load_143 | 17 | 0.07805 | 0.019561 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2769-7_0_3_load_145 | 18 | 0.01149 | 0.0028796 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2769-7_0_3_load_103 | 21 | 0.0045514 | 0.0011407 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2769-7_0_3_load_92 | 24 | 0.0023107 | 0.00057911 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2769-7_0_3_load_36 | 25 | 0.030676 | 0.0076882 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2769-7_0_3_load_46 | 26 | 0.0012617 | 0.00031621 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2769-7_0_3_load_21 | 27 | 0.0083345 | 0.0020888 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2769-7_0_3_load_144 | 28 | 0.00066154 | 0.0001658 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2769-7_0_3_load_17 | 29 | 0.0081642 | 0.0020461 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2769-7_0_3_load_20 | 31 | 0.015361 | 0.0038499 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2769-7_0_3_load_104 | 32 | 0.0037394 | 0.00093718 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2769-7_0_3_load_26 | 33 | 0.0038729 | 0.00097063 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2769-7_0_3_load_27 | 34 | 0.0011241 | 0.00028174 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2769-7_0_3_load_29 | 36 | 0.0014253 | 0.00035722 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2769-7_0_3_load_63 | 41 | 0.0012281 | 0.00030779 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2769-7_0_3_load_33 | 43 | 0.0019112 | 0.00047898 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2769-7_0_3_load_34 | 44 | 0.0067244 | 0.0016853 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2769-7_0_3_load_78 | 45 | 0.0020212 | 0.00050656 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2769-7_0_3_load_67 | 47 | 0.0016725 | 0.00041916 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2769-7_0_3_load_68 | 48 | 0.0016486 | 0.00041318 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2769-7_0_3_load_43 | 49 | 0.0021048 | 0.0005275 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2769-7_0_3_load_61 | 50 | 0.001008 | 0.00025264 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2769-7_0_3_load_111 | 51 | 0.01825 | 0.0045739 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2769-7_0_3_load_110 | 52 | 0.0011019 | 0.00027616 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2769-7_0_3_load_41 | 55 | 0.0029997 | 0.00075179 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2769-7_0_3_load_40 | 56 | 0.024007 | 0.0060168 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2769-7_0_3_load_64 | 57 | 0.002696 | 0.00067567 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2769-7_0_3_load_62 | 58 | 0.0033203 | 0.00083214 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2769-7_0_3_load_42 | 59 | 0.0020998 | 0.00052627 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2769-7_0_3_load_44 | 60 | 0.0021322 | 0.00053437 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2769-7_0_3_load_107 | 61 | 0.0017332 | 0.00043437 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2769-7_0_3_load_58 | 63 | 0.00093995 | 0.00023557 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2769-7_0_3_load_59 | 64 | 0.00063996 | 0.00016039 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2769-7_0_3_load_60 | 65 | 0.0033495 | 0.00083947 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2769-7_0_3_load_85 | 66 | 0.0020577 | 0.00051571 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2769-7_0_3_load_81 | 67 | 0.0021139 | 0.00052978 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2769-7_0_3_load_82 | 68 | 0.0020777 | 0.00052073 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2769-7_0_3_load_101 | 70 | 0.0014811 | 0.0003712 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2769-7_0_3_load_102 | 71 | 0.0011343 | 0.00028429 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2769-7_0_3_load_112 | 72 | 0.0009989 | 0.00025035 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2769-7_0_3_load_115 | 73 | 0.0010039 | 0.00025161 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2769-7_0_3_load_113 | 74 | 0.0012762 | 0.00031984 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2769-7_0_3_load_116 | 75 | 0.00081114 | 0.00020329 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2769-7_0_3_load_105 | 76 | 0.0050894 | 0.0012755 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2769-7_0_3_line_0 |  | 0 | 1 | 0.0026927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2769-7_0_3_line_1 |  | 0 | 2 | 0.015076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2769-7_0_3_line_2 |  | 1 | 3 | 0.034397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2769-7_0_3_line_3 |  | 2 | 4 | 0.019047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2769-7_0_3_line_4 |  | 3 | 5 | 0.027024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_2769-7_0_3_line_5 |  | 3 | 6 | 0.015019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2769-7_0_3_line_6 |  | 4 | 9 | 0.023758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2769-7_0_3_line_7 |  | 5 | 15 | 0.007604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2769-7_0_3_line_8 |  | 5 | 14 | 0.0037663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2769-7_0_3_line_9 |  | 6 | 7 | 0.010672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2769-7_0_3_line_10 |  | 7 | 8 | 0.049447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2769-7_0_3_line_11 |  | 8 | 16 | 0.02667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2769-7_0_3_line_12 |  | 8 | 17 | 0.044581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2769-7_0_3_line_13 |  | 10 | 11 | 0.045219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2769-7_0_3_line_14 |  | 10 | 12 | 0.018663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2769-7_0_3_line_15 |  | 12 | 13 | 0.018222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2769-7_0_3_line_16 |  | 12 | 14 | 0.031553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_2769-7_0_3_line_17 |  | 13 | 23 | 0.016764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2769-7_0_3_line_18 |  | 13 | 24 | 0.021446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2769-7_0_3_line_19 |  | 16 | 22 | 0.011818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2769-7_0_3_line_20 |  | 16 | 27 | 0.030734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2769-7_0_3_line_21 |  | 17 | 28 | 0.03449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2769-7_0_3_line_22 |  | 18 | 19 | 0.027159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2769-7_0_3_line_23 |  | 19 | 20 | 0.035967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2769-7_0_3_line_24 |  | 20 | 21 | 0.019179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2769-7_0_3_line_25 |  | 20 | 22 | 0.019171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2769-7_0_3_line_26 |  | 21 | 32 | 0.025357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2769-7_0_3_line_27 |  | 22 | 29 | 0.03099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2769-7_0_3_line_28 |  | 23 | 25 | 0.02313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2769-7_0_3_line_29 |  | 24 | 26 | 0.0034987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2769-7_0_3_line_30 |  | 25 | 53 | 0.0085947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2769-7_0_3_line_31 |  | 26 | 60 | 0.022985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2769-7_0_3_line_32 |  | 29 | 30 | 0.030737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2769-7_0_3_line_33 |  | 30 | 31 | 0.007591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2769-7_0_3_line_34 |  | 32 | 76 | 0.025654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2769-7_0_3_line_35 |  | 33 | 34 | 0.046904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2769-7_0_3_line_36 |  | 33 | 35 | 0.018857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2769-7_0_3_line_37 |  | 34 | 36 | 0.019084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2769-7_0_3_line_38 |  | 35 | 37 | 0.032101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2769-7_0_3_line_39 |  | 36 | 38 | 0.012067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2769-7_0_3_line_40 |  | 37 | 44 | 0.020614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2769-7_0_3_line_41 |  | 38 | 45 | 0.0060435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2769-7_0_3_line_42 |  | 39 | 40 | 0.068095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2769-7_0_3_line_43 |  | 39 | 41 | 0.01538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2769-7_0_3_line_44 |  | 40 | 42 | 0.048512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2769-7_0_3_line_45 |  | 40 | 43 | 0.019234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2769-7_0_3_line_46 |  | 41 | 50 | 0.01075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2769-7_0_3_line_47 |  | 42 | 51 | 0.015543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2769-7_0_3_line_48 |  | 42 | 52 | 0.024517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2769-7_0_3_line_49 |  | 43 | 44 | 0.0031745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2769-7_0_3_line_50 |  | 46 | 47 | 0.010481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2769-7_0_3_line_51 |  | 46 | 48 | 0.038086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2769-7_0_3_line_52 |  | 46 | 49 | 0.014214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2769-7_0_3_line_53 |  | 47 | 61 | 0.0092593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2769-7_0_3_line_54 |  | 48 | 62 | 0.020106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2769-7_0_3_line_55 |  | 49 | 59 | 0.021526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2769-7_0_3_line_56 |  | 50 | 64 | 0.0096332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2769-7_0_3_line_57 |  | 53 | 54 | 0.025881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2769-7_0_3_line_58 |  | 54 | 55 | 0.012619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2769-7_0_3_line_59 |  | 54 | 56 | 0.027976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2769-7_0_3_line_60 |  | 55 | 57 | 0.0023021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2769-7_0_3_line_61 |  | 57 | 58 | 0.018421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2769-7_0_3_line_62 |  | 58 | 65 | 0.0070836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2769-7_0_3_line_63 |  | 59 | 60 | 0.0010296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2769-7_0_3_line_64 |  | 62 | 66 | 0.011331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2769-7_0_3_line_65 |  | 62 | 67 | 0.0021832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2769-7_0_3_line_66 |  | 63 | 64 | 0.011584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2769-7_0_3_line_67 |  | 63 | 65 | 0.012572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2769-7_0_3_line_68 |  | 66 | 72 | 0.023995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2769-7_0_3_line_69 |  | 67 | 68 | 0.026436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2769-7_0_3_line_70 |  | 68 | 69 | 0.016981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2769-7_0_3_line_71 |  | 69 | 70 | 0.028456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2769-7_0_3_line_72 |  | 69 | 71 | 0.015976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2769-7_0_3_line_73 |  | 71 | 73 | 0.0019576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2769-7_0_3_line_74 |  | 72 | 74 | 0.00091649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2769-7_0_3_line_75 |  | 73 | 75 | 0.02706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2769-7_0_3_trafo_25 | 0.63 MVA 20/0.4 kV | 77 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2613046.6446 | 1263538.9158 | 2613044.1269 | 1263539.8707
1 | 2613030.0311 | 1263545.217 | 2613044.1269 | 1263539.8707
2 | 2613078.8916 | 1263526.6894 | 2613046.6446 | 1263538.9158
3 | 2613030.0311 | 1263545.217 | 2613012.5635 | 1263552.9285
4 | 2613069.2616 | 1263501.4397 | 2613074.7805 | 1263515.9173 | 2613078.8916 | 1263526.6894
5 | 2613078.8916 | 1263526.6894 | 2613084.2455 | 1263540.7216
6 | 2613012.5635 | 1263552.9285 | 2613000.8369 | 1263532.2664
7 | 2613069.2616 | 1263501.4397 | 2613062.1307 | 1263504.137
8 | 2613069.2616 | 1263501.4397 | 2613072.7831 | 1263500.1041
9 | 2613088.0499 | 1263550.6927 | 2613084.2455 | 1263540.7216
10 | 2613088.0499 | 1263550.6927 | 2613093.5912 | 1263565.2149 | 2613125.4908 | 1263553.455
11 | 2613125.4908 | 1263553.455 | 2613130.9012 | 1263569.2222 | 2613134.149 | 1263578.6804
12 | 2613125.4908 | 1263553.455 | 2613167.4782 | 1263538.4715
13 | 2613108.4827 | 1263506.5185 | 2613150.9978 | 1263491.1157
14 | 2613102.2853 | 1263488.9149 | 2613107.4048 | 1263503.4695 | 2613108.4827 | 1263506.5185
15 | 2613102.2853 | 1263488.9149 | 2613096.2301 | 1263471.7231
16 | 2613102.2853 | 1263488.9149 | 2613072.7831 | 1263500.1041
17 | 2613112.1246 | 1263467.1216 | 2613101.6597 | 1263468.6663 | 2613096.2301 | 1263471.7231
18 | 2613096.2301 | 1263471.7231 | 2613089.11 | 1263451.4939
19 | 2613137.9804 | 1263589.8632 | 2613134.149 | 1263578.6804
20 | 2613134.149 | 1263578.6804 | 2613163.0901 | 1263568.3367
21 | 2613199.9618 | 1263526.8794 | 2613167.4782 | 1263538.4715
22 | 2613095.0971 | 1263602.9998 | 2613106.6753 | 1263598.5445 | 2613118.344 | 1263594.0449 | 2613120.5074 | 1263593.2158
23 | 2613120.5074 | 1263593.2158 | 2613126.7957 | 1263610.486 | 2613144.2065 | 1263608.0006
24 | 2613144.2065 | 1263608.0006 | 2613144.5326 | 1263627.1765
25 | 2613144.2065 | 1263608.0006 | 2613137.9804 | 1263589.8632
26 | 2613144.5326 | 1263627.1765 | 2613144.6463 | 1263633.8638 | 2613144.5646 | 1263652.532
27 | 2613137.9804 | 1263589.8632 | 2613167.0108 | 1263579.0171
28 | 2613112.1246 | 1263467.1216 | 2613117.3022 | 1263472.4367 | 2613128.4674 | 1263470.9492 | 2613131.6533 | 1263467.8477
29 | 2613087.9484 | 1263448.1936 | 2613089.11 | 1263451.4939
30 | 2613137.8118 | 1263461.8525 | 2613131.6533 | 1263467.8477
31 | 2613087.9484 | 1263448.1936 | 2613080.3172 | 1263426.5121
32 | 2613189.2347 | 1263565.1264 | 2613190.9865 | 1263569.9002 | 2613183.4181 | 1263572.9077 | 2613177.3578 | 1263575.1514 | 2613167.0108 | 1263579.0171
33 | 2613189.2347 | 1263565.1264 | 2613196.313 | 1263562.3291
34 | 2613144.3729 | 1263678.1838 | 2613144.4635 | 1263675.6366 | 2613144.5646 | 1263652.532
35 | 2613231.3093 | 1263413.9292 | 2613240.5292 | 1263380.6913 | 2613242.4579 | 1263368.4312
36 | 2613245.3883 | 1263349.8031 | 2613242.4579 | 1263368.4312
37 | 2613231.3093 | 1263413.9292 | 2613229.4513 | 1263420.6275 | 2613228.2419 | 1263432.6997
38 | 2613213.9041 | 1263343.5398 | 2613217.036 | 1263344.1361 | 2613220.7778 | 1263344.856 | 2613227.6061 | 1263346.2277 | 2613239.0268 | 1263348.5103 | 2613245.3883 | 1263349.8031
39 | 2613232.8792 | 1263443.84 | 2613228.2419 | 1263432.6997
40 | 2613213.9041 | 1263343.5398 | 2613193.6597 | 1263339.6537
41 | 2613232.8792 | 1263443.84 | 2613235.4039 | 1263449.3309
42 | 2613122.5504 | 1263346.9731 | 2613137.8829 | 1263334.4094 | 2613157.8639 | 1263317.8645 | 2613171.6534 | 1263335.4293
43 | 2613122.5504 | 1263346.9731 | 2613125.8602 | 1263361.9923
44 | 2613171.6534 | 1263335.4293 | 2613162.6376 | 1263383.0977
45 | 2613171.6534 | 1263335.4293 | 2613190.5422 | 1263339.0552
46 | 2613128.1738 | 1263372.4905 | 2613125.8602 | 1263361.9923
47 | 2613162.6376 | 1263383.0977 | 2613164.2528 | 1263398.5564
48 | 2613162.6376 | 1263383.0977 | 2613186.6809 | 1263387.8938
49 | 2613190.5422 | 1263339.0552 | 2613193.6597 | 1263339.6537
50 | 2613068.1094 | 1263391.8284 | 2613064.3357 | 1263382.0505
51 | 2613068.1094 | 1263391.8284 | 2613038.7164 | 1263416.0473
52 | 2613068.1094 | 1263391.8284 | 2613072.8286 | 1263405.2362
53 | 2613061.0018 | 1263373.4122 | 2613064.3357 | 1263382.0505
54 | 2613023.1991 | 1263428.833 | 2613038.7164 | 1263416.0473
55 | 2613079.9753 | 1263425.5409 | 2613072.8286 | 1263405.2362
56 | 2613130.2469 | 1263381.8979 | 2613128.1738 | 1263372.4905
57 | 2613137.8118 | 1263461.8525 | 2613132.2072 | 1263458.8825 | 2613135.1412 | 1263450.1941 | 2613144.1004 | 1263444.977
58 | 2613144.1004 | 1263444.977 | 2613143.0644 | 1263440.0602 | 2613141.4299 | 1263432.6435
59 | 2613144.1004 | 1263444.977 | 2613152.4691 | 1263447.9309 | 2613157.5821 | 1263444.9958 | 2613161.3699 | 1263445.3155 | 2613165.8857 | 1263453.5645
60 | 2613141.4299 | 1263432.6435 | 2613140.9345 | 1263430.3953
61 | 2613136.9701 | 1263412.4058 | 2613140.9345 | 1263430.3953
62 | 2613136.9701 | 1263412.4058 | 2613135.4456 | 1263405.4882
63 | 2613079.9753 | 1263425.5409 | 2613080.3172 | 1263426.5121
64 | 2613023.1991 | 1263428.833 | 2613019.4023 | 1263418.1571
65 | 2613023.1991 | 1263428.833 | 2613021.5143 | 1263430.2214
66 | 2613132.74 | 1263393.2107 | 2613130.2469 | 1263381.8979
67 | 2613132.74 | 1263393.2107 | 2613135.4456 | 1263405.4882
68 | 2613019.4023 | 1263418.1571 | 2613011.3622 | 1263395.5498
69 | 2613021.5143 | 1263430.2214 | 2613001.1127 | 1263447.0328
70 | 2612988.0077 | 1263457.8315 | 2613001.1127 | 1263447.0328
71 | 2612988.0077 | 1263457.8315 | 2612966.14 | 1263476.0406
72 | 2612988.0077 | 1263457.8315 | 2612982.5687 | 1263442.81
73 | 2612981.9022 | 1263440.9694 | 2612982.5687 | 1263442.81
74 | 2613011.3622 | 1263395.5498 | 2613011.0551 | 1263394.6862
75 | 2612981.9022 | 1263440.9694 | 2612972.6894 | 1263415.5255

## bus_geodata
| x | y | coords
0 | 2613044.1269 | 1263539.8707
1 | 2613046.6446 | 1263538.9158
2 | 2613030.0311 | 1263545.217
3 | 2613078.8916 | 1263526.6894
4 | 2613012.5635 | 1263552.9285
5 | 2613069.2616 | 1263501.4397
6 | 2613084.2455 | 1263540.7216
7 | 2613088.0499 | 1263550.6927
8 | 2613125.4908 | 1263553.455
9 | 2613000.8369 | 1263532.2664
10 | 2613108.4827 | 1263506.5185
11 | 2613150.9978 | 1263491.1157
12 | 2613102.2853 | 1263488.9149
13 | 2613096.2301 | 1263471.7231
14 | 2613072.7831 | 1263500.1041
15 | 2613062.1307 | 1263504.137
16 | 2613134.149 | 1263578.6804
17 | 2613167.4782 | 1263538.4715
18 | 2613095.0971 | 1263602.9998
19 | 2613120.5074 | 1263593.2158
20 | 2613144.2065 | 1263608.0006
21 | 2613144.5326 | 1263627.1765
22 | 2613137.9804 | 1263589.8632
23 | 2613112.1246 | 1263467.1216
24 | 2613089.11 | 1263451.4939
25 | 2613131.6533 | 1263467.8477
26 | 2613087.9484 | 1263448.1936
27 | 2613163.0901 | 1263568.3367
28 | 2613199.9618 | 1263526.8794
29 | 2613167.0108 | 1263579.0171
30 | 2613189.2347 | 1263565.1264
31 | 2613196.313 | 1263562.3291
32 | 2613144.5646 | 1263652.532
33 | 2613242.4579 | 1263368.4312
34 | 2613231.3093 | 1263413.9292
35 | 2613245.3883 | 1263349.8031
36 | 2613228.2419 | 1263432.6997
37 | 2613213.9041 | 1263343.5398
38 | 2613232.8792 | 1263443.84
39 | 2613122.5504 | 1263346.9731
40 | 2613171.6534 | 1263335.4293
41 | 2613125.8602 | 1263361.9923
42 | 2613162.6376 | 1263383.0977
43 | 2613190.5422 | 1263339.0552
44 | 2613193.6597 | 1263339.6537
45 | 2613235.4039 | 1263449.3309
46 | 2613068.1095 | 1263391.8284
47 | 2613064.3357 | 1263382.0505
48 | 2613038.7164 | 1263416.0473
49 | 2613072.8286 | 1263405.2362
50 | 2613128.1738 | 1263372.4905
51 | 2613164.2528 | 1263398.5564
52 | 2613186.6809 | 1263387.8938
53 | 2613137.8118 | 1263461.8525
54 | 2613144.1004 | 1263444.977
55 | 2613141.4299 | 1263432.6435
56 | 2613165.8857 | 1263453.5645
57 | 2613140.9345 | 1263430.3953
58 | 2613136.9701 | 1263412.4058
59 | 2613079.9753 | 1263425.5409
60 | 2613080.3172 | 1263426.5121
61 | 2613061.0018 | 1263373.4122
62 | 2613023.1991 | 1263428.833
63 | 2613132.74 | 1263393.2107
64 | 2613130.2469 | 1263381.8979
65 | 2613135.4456 | 1263405.4882
66 | 2613019.4023 | 1263418.1571
67 | 2613021.5143 | 1263430.2214
68 | 2613001.1127 | 1263447.0328
69 | 2612988.0077 | 1263457.8315
70 | 2612966.14 | 1263476.0406
71 | 2612982.5687 | 1263442.81
72 | 2613011.3622 | 1263395.5498
73 | 2612981.9022 | 1263440.9694
74 | 2613011.0551 | 1263394.6862
75 | 2612972.6894 | 1263415.5255
76 | 2613144.3729 | 1263678.1838
77 | 2613108.4827 | 1263506.5185

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1