## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2770-13_1_2_node_13 | 0.4 | n |  | TRUE
1 | bus_LV_2770-13_1_2_node_14 | 0.4 | n |  | TRUE
2 | bus_LV_2770-13_1_2_node_71 | 0.4 | n |  | TRUE
3 | bus_LV_2770-13_1_2_node_30 | 0.4 | n |  | TRUE
4 | bus_LV_2770-13_1_2_node_28 | 0.4 | n |  | TRUE
5 | bus_LV_2770-13_1_2_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_2770-13_1_2_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_2770-13_1_2_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_2770-13_1_2_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_2770-13_1_2_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_2770-13_1_2_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_2770-13_1_2_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_2770-13_1_2_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_2770-13_1_2_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_2770-13_1_2_node_87 | 0.4 | n |  | TRUE
15 | bus_LV_2770-13_1_2_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_2770-13_1_2_node_89 | 0.4 | n |  | TRUE
17 | bus_LV_2770-13_1_2_node_88 | 0.4 | n |  | TRUE
18 | bus_LV_2770-13_1_2_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_2770-13_1_2_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_2770-13_1_2_node_90 | 0.4 | n |  | TRUE
21 | bus_LV_2770-13_1_2_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_2770-13_1_2_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_2770-13_1_2_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_2770-13_1_2_node_93 | 0.4 | n |  | TRUE
25 | bus_LV_2770-13_1_2_node_56 | 0.4 | n |  | TRUE
26 | bus_LV_2770-13_1_2_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_2770-13_1_2_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_2770-13_1_2_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_2770-13_1_2_node_86 | 0.4 | n |  | TRUE
30 | bus_LV_2770-13_1_2_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_2770-13_1_2_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_2770-13_1_2_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_2770-13_1_2_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_2770-13_1_2_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_2770-13_1_2_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_2770-13_1_2_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_2770-13_1_2_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_2770-13_1_2_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_2770-13_1_2_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_2770-13_1_2_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_2770-13_1_2_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_2770-13_1_2_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_2770-13_1_2_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_2770-13_1_2_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_2770-13_1_2_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_2770-13_1_2_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_2770-13_1_2_node_96 | 0.4 | n |  | TRUE
48 | bus_LV_2770-13_1_2_node_94 | 0.4 | n |  | TRUE
49 | bus_LV_2770-13_1_2_node_95 | 0.4 | n |  | TRUE
50 | bus_LV_2770-13_1_2_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_2770-13_1_2_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_2770-13_1_2_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_2770-13_1_2_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_2770-13_1_2_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_2770-13_1_2_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_2770-13_1_2_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_2770-13_1_2_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_2770-13_1_2_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_2770-13_1_2_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_2770-13_1_2_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_2770-13_1_2_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_2770-13_1_2_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_2770-13_1_2_node_83 | 0.4 | n |  | TRUE
64 | bus_LV_2770-13_1_2_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_2770-13_1_2_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_2770-13_1_2_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_2770-13_1_2_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_2770-13_1_2_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_2770-13_1_2_node_75 | 0.4 | n |  | TRUE
70 | bus_LV_2770-13_1_2_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_2770-13_1_2_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_2770-13_1_2_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_2770-13_1_2_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_2770-13_1_2_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_2770-13_1_2_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_2770-13_1_2_node_81 | 0.4 | n |  | TRUE
77 | bus_LV_2770-13_1_2_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_2770-13_1_2_node_92 | 0.4 | n |  | TRUE
79 | bus_LV_2770-13_1_2_node_85 | 0.4 | n |  | TRUE
80 | bus_LV_2770-13_1_2_node_91 | 0.4 | n |  | TRUE
81 | bus_MV_576_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2770-13_1_2_load_13 | 0 | 0.00079732 | 0.00019983 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2770-13_1_2_load_14 | 1 | 0.0014665 | 0.00036754 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2770-13_1_2_load_71 | 2 | 0.011901 | 0.0029826 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2770-13_1_2_load_30 | 3 | 0.00049334 | 0.00012364 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2770-13_1_2_load_28 | 4 | 0.00074918 | 0.00018776 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2770-13_1_2_load_15 | 5 | 0.00064836 | 0.0001625 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2770-13_1_2_load_16 | 6 | 0.00053763 | 0.00013474 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2770-13_1_2_load_17 | 7 | 0.00065666 | 0.00016457 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2770-13_1_2_load_21 | 11 | 0.00091134 | 0.0002284 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2770-13_1_2_load_23 | 13 | 0.00027173 | 6.8103e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2770-13_1_2_load_87 | 14 | 4.5411e-05 | 1.1381e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2770-13_1_2_load_26 | 15 | 0.00032 | 8.02e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2770-13_1_2_load_89 | 16 | 0.00021666 | 5.43e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2770-13_1_2_load_88 | 17 | 0.0001162 | 2.9122e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2770-13_1_2_load_42 | 18 | 0.00064438 | 0.0001615 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2770-13_1_2_load_90 | 20 | 0.00051377 | 0.00012876 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2770-13_1_2_load_37 | 22 | 9.1919e-05 | 2.3037e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2770-13_1_2_load_33 | 23 | 0.00052822 | 0.00013238 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2770-13_1_2_load_93 | 24 | 0.00096258 | 0.00024125 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2770-13_1_2_load_63 | 26 | 0.00052461 | 0.00013148 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2770-13_1_2_load_41 | 28 | 8.2707e-05 | 2.0728e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2770-13_1_2_load_36 | 32 | 0.00081849 | 0.00020513 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2770-13_1_2_load_27 | 33 | 0.0011273 | 0.00028253 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2770-13_1_2_load_29 | 34 | 0.0024523 | 0.0006146 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2770-13_1_2_load_31 | 35 | 0.0035785 | 0.00089686 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2770-13_1_2_load_32 | 36 | 0.0032761 | 0.00082106 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2770-13_1_2_load_43 | 37 | 0.00012254 | 3.0712e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2770-13_1_2_load_44 | 38 | 0.00010328 | 2.5886e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2770-13_1_2_load_38 | 39 | 6.7912e-05 | 1.702e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2770-13_1_2_load_40 | 41 | 8.7168e-05 | 2.1846e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2770-13_1_2_load_46 | 42 | 8.2818e-05 | 2.0756e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2770-13_1_2_load_48 | 43 | 7.2291e-05 | 1.8118e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2770-13_1_2_load_45 | 44 | 0.001199 | 0.00030049 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2770-13_1_2_load_47 | 45 | 0.00051542 | 0.00012918 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2770-13_1_2_load_96 | 47 | 0.00068522 | 0.00017173 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2770-13_1_2_load_94 | 48 | 4.872e-05 | 1.221e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2770-13_1_2_load_51 | 50 | 0.00054236 | 0.00013593 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2770-13_1_2_load_55 | 53 | 0.00030458 | 7.6334e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2770-13_1_2_load_58 | 55 | 0.00019178 | 4.8064e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2770-13_1_2_load_61 | 56 | 0.0035097 | 0.00087961 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2770-13_1_2_load_60 | 58 | 0.00057489 | 0.00014408 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2770-13_1_2_load_67 | 59 | 0.032617 | 0.0081747 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2770-13_1_2_load_74 | 60 | 0.0059923 | 0.0015018 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2770-13_1_2_load_62 | 61 | 0.00025451 | 6.3787e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2770-13_1_2_load_78 | 62 | 0.012039 | 0.0030174 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2770-13_1_2_load_83 | 63 | 0.00021433 | 5.3715e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2770-13_1_2_load_65 | 64 | 0.0062274 | 0.0015607 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2770-13_1_2_load_66 | 65 | 0.0005748 | 0.00014406 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2770-13_1_2_load_77 | 66 | 0.00017418 | 4.3653e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2770-13_1_2_load_68 | 67 | 0.000406 | 0.00010175 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2770-13_1_2_load_69 | 71 | 0.012053 | 0.0030207 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2770-13_1_2_load_73 | 73 | 0.0098614 | 0.0024715 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2770-13_1_2_load_76 | 74 | 0.010791 | 0.0027046 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2770-13_1_2_load_79 | 75 | 0.012123 | 0.0030383 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2770-13_1_2_load_81 | 76 | 0.00031508 | 7.8965e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2770-13_1_2_load_92 | 78 | 3.8768e-05 | 9.7161e-06 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2770-13_1_2_load_91 | 80 | 2.5715e-05 | 6.4448e-06 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2770-13_1_2_line_0 |  | 0 | 1 | 0.068642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2770-13_1_2_line_1 |  | 0 | 2 | 0.10959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2770-13_1_2_line_2 |  | 2 | 73 | 0.0075712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2770-13_1_2_line_3 |  | 2 | 72 | 0.043089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2770-13_1_2_line_4 |  | 3 | 4 | 0.0039767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2770-13_1_2_line_5 |  | 4 | 33 | 0.024368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2770-13_1_2_line_6 |  | 5 | 6 | 0.004905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2770-13_1_2_line_7 |  | 5 | 7 | 0.0059757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2770-13_1_2_line_8 |  | 6 | 8 | 0.046159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2770-13_1_2_line_9 |  | 7 | 9 | 0.017888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2770-13_1_2_line_10 |  | 8 | 10 | 0.020701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2770-13_1_2_line_11 |  | 8 | 11 | 0.0053848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2770-13_1_2_line_12 |  | 8 | 12 | 0.010605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2770-13_1_2_line_13 |  | 9 | 13 | 0.016365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2770-13_1_2_line_14 |  | 10 | 14 | 0.0094643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2770-13_1_2_line_15 |  | 11 | 15 | 0.0098893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2770-13_1_2_line_16 |  | 12 | 16 | 0.028737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2770-13_1_2_line_17 |  | 12 | 17 | 0.0035152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2770-13_1_2_line_18 |  | 13 | 18 | 0.013453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2770-13_1_2_line_19 |  | 14 | 24 | 0.0043931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2770-13_1_2_line_20 |  | 16 | 19 | 0.056053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2770-13_1_2_line_21 |  | 18 | 28 | 0.006728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2770-13_1_2_line_22 |  | 19 | 20 | 0.03785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2770-13_1_2_line_23 |  | 20 | 29 | 0.039758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2770-13_1_2_line_24 |  | 21 | 22 | 0.017303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2770-13_1_2_line_25 |  | 21 | 23 | 0.017219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2770-13_1_2_line_26 |  | 22 | 28 | 0.0037898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2770-13_1_2_line_27 |  | 23 | 30 | 0.079361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2770-13_1_2_line_28 |  | 24 | 38 | 0.016268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2770-13_1_2_line_29 |  | 25 | 26 | 0.030925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2770-13_1_2_line_30 |  | 25 | 27 | 0.033209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2770-13_1_2_line_31 |  | 26 | 63 | 0.022278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2770-13_1_2_line_32 |  | 27 | 52 | 0.03611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2770-13_1_2_line_33 |  | 27 | 53 | 0.025317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2770-13_1_2_line_34 |  | 27 | 50 | 0.04116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2770-13_1_2_line_35 |  | 29 | 70 | 0.035939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2770-13_1_2_line_36 |  | 30 | 31 | 0.008082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2770-13_1_2_line_37 |  | 30 | 32 | 0.057695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2770-13_1_2_line_38 |  | 31 | 39 | 0.0090414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2770-13_1_2_line_39 |  | 31 | 40 | 0.078061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2770-13_1_2_line_40 |  | 32 | 41 | 0.020927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2770-13_1_2_line_41 |  | 33 | 34 | 0.015275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2770-13_1_2_line_42 |  | 34 | 35 | 0.0017448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2770-13_1_2_line_43 |  | 35 | 36 | 0.050968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2770-13_1_2_line_44 |  | 36 | 37 | 0.019431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2770-13_1_2_line_45 |  | 37 | 38 | 0.0031952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2770-13_1_2_line_46 |  | 39 | 42 | 0.085384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2770-13_1_2_line_47 |  | 40 | 43 | 0.014499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2770-13_1_2_line_48 |  | 42 | 44 | 0.10237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2770-13_1_2_line_49 |  | 43 | 45 | 0.014794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2770-13_1_2_line_50 |  | 45 | 46 | 0.0091776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2770-13_1_2_line_51 |  | 46 | 47 | 0.053269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2770-13_1_2_line_52 |  | 47 | 49 | 0.03479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2770-13_1_2_line_53 |  | 48 | 49 | 0.036063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2770-13_1_2_line_54 |  | 50 | 51 | 0.038613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2770-13_1_2_line_55 |  | 51 | 54 | 0.036939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2770-13_1_2_line_56 |  | 52 | 55 | 0.021767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2770-13_1_2_line_57 |  | 53 | 56 | 0.042913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2770-13_1_2_line_58 |  | 54 | 57 | 0.038963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2770-13_1_2_line_59 |  | 54 | 58 | 0.038791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2770-13_1_2_line_60 |  | 55 | 59 | 0.019572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2770-13_1_2_line_61 |  | 56 | 60 | 0.038357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2770-13_1_2_line_62 |  | 57 | 64 | 0.042325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2770-13_1_2_line_63 |  | 57 | 65 | 0.038576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2770-13_1_2_line_64 |  | 59 | 66 | 0.0042455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2770-13_1_2_line_65 |  | 60 | 68 | 0.062517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2770-13_1_2_line_66 |  | 61 | 62 | 0.062477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2770-13_1_2_line_67 |  | 62 | 69 | 0.043028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2770-13_1_2_line_68 |  | 63 | 70 | 0.017432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2770-13_1_2_line_69 |  | 65 | 67 | 0.00069872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2770-13_1_2_line_70 |  | 68 | 69 | 0.035145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2770-13_1_2_line_71 |  | 68 | 74 | 0.038959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2770-13_1_2_line_72 |  | 68 | 72 | 0.034819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2770-13_1_2_line_73 |  | 69 | 75 | 0.051768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2770-13_1_2_line_74 |  | 70 | 79 | 0.009091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2770-13_1_2_line_75 |  | 71 | 72 | 0.03821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2770-13_1_2_line_76 |  | 76 | 77 | 0.014938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2770-13_1_2_line_77 |  | 77 | 78 | 0.0070878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2770-13_1_2_line_78 |  | 78 | 80 | 0.036881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2770-13_1_2_line_79 |  | 79 | 80 | 0.012156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2770-13_1_2_trafo_61 | 0.63 MVA 20/0.4 kV | 81 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2616752.2527 | 1264596.5439 | 2616744.5966 | 1264602.0165 | 2616725.797 | 1264608.8126 | 2616715.8949 | 1264611.3976 | 2616702.9299 | 1264624.0477 | 2616694.6288 | 1264631.1005
1 | 2616818.2797 | 1264684.0144 | 2616752.2527 | 1264596.5439
2 | 2616818.2797 | 1264684.0144 | 2616824.3114 | 1264679.4382
3 | 2616783.9527 | 1264710.0582 | 2616818.2797 | 1264684.0144
4 | 2616943.9487 | 1264488.6758 | 2616946.158 | 1264491.9823
5 | 2616946.158 | 1264491.9823 | 2616953.0557 | 1264502.306 | 2616960.159 | 1264511.918
6 | 2617072.8871 | 1264661.8578 | 2617075.8827 | 1264665.7418
7 | 2617079.5323 | 1264670.4736 | 2617075.8827 | 1264665.7418
8 | 2617044.5651 | 1264625.4091 | 2617057.8223 | 1264642.3255 | 2617072.8871 | 1264661.8578
9 | 2617090.4567 | 1264684.6377 | 2617079.5323 | 1264670.4736
10 | 2617032.1653 | 1264608.8064 | 2617044.5651 | 1264625.4091
11 | 2617044.5651 | 1264625.4091 | 2617048.9116 | 1264622.2304
12 | 2617044.5651 | 1264625.4091 | 2617035.9852 | 1264631.6776
13 | 2617090.4567 | 1264684.6377 | 2617100.635 | 1264697.4524
14 | 2617032.1653 | 1264608.8064 | 2617026.2948 | 1264601.3827
15 | 2617054.8453 | 1264630.1419 | 2617048.9116 | 1264622.2304
16 | 2617035.9852 | 1264631.6776 | 2617046.3675 | 1264645.4281 | 2617053.3001 | 1264654.612
17 | 2617035.9852 | 1264631.6776 | 2617033.7063 | 1264633.3389 | 2617034.1182 | 1264633.8987
18 | 2617109.002 | 1264707.9868 | 2617100.635 | 1264697.4524
19 | 2617023.5699 | 1264597.9368 | 2617026.2948 | 1264601.3827
20 | 2617087.071 | 1264699.3493 | 2617053.3001 | 1264654.612
21 | 2617109.002 | 1264707.9868 | 2617113.1865 | 1264713.2552
22 | 2617087.071 | 1264699.3493 | 2617078.3538 | 1264706.2512 | 2617057.3613 | 1264722.8005
23 | 2617026.0221 | 1264747.2626 | 2617032.6403 | 1264742.2892 | 2617057.3613 | 1264722.8005
24 | 2617126.3055 | 1264729.7724 | 2617115.5436 | 1264716.2228
25 | 2617126.3055 | 1264729.7724 | 2617136.8789 | 1264743.3625
26 | 2617113.1865 | 1264713.2552 | 2617115.5436 | 1264716.2228
27 | 2617182.2848 | 1264807.5104 | 2617178.9221 | 1264796.0038 | 2617150.8077 | 1264761.265 | 2617136.8789 | 1264743.3625
28 | 2617023.5699 | 1264597.9368 | 2617013.4793 | 1264585.1764
29 | 2616960.4646 | 1264663.2387 | 2616979.49 | 1264687.6186
30 | 2616940.0123 | 1264637.0288 | 2616960.4646 | 1264663.2387
31 | 2616979.49 | 1264687.6186 | 2616993.1956 | 1264705.1815
32 | 2616940.0123 | 1264637.0288 | 2616920.0098 | 1264611.4095 | 2616917.7665 | 1264608.5344
33 | 2616940.0123 | 1264637.0288 | 2616919.726 | 1264652.176
34 | 2616940.0123 | 1264637.0288 | 2616973.0611 | 1264612.4949
35 | 2617026.0221 | 1264747.2626 | 2617016.3739 | 1264734.893 | 2617003.9198 | 1264718.924
36 | 2617182.2848 | 1264807.5104 | 2617186.7909 | 1264814.2281
37 | 2617182.2848 | 1264807.5104 | 2617197.9551 | 1264797.0152 | 2617230.4041 | 1264775.6795
38 | 2617186.7909 | 1264814.2281 | 2617179.2926 | 1264819.2802
39 | 2617186.7909 | 1264814.2281 | 2617202.4686 | 1264803.7552 | 2617244.1087 | 1264775.5565 | 2617250.612 | 1264781.6574
40 | 2617230.4041 | 1264775.6795 | 2617237.9406 | 1264770.7241 | 2617247.9594 | 1264764.2882
41 | 2616969.2374 | 1264524.2027 | 2616960.159 | 1264511.918
42 | 2616970.2744 | 1264525.6059 | 2616969.2374 | 1264524.2027
43 | 2616970.2744 | 1264525.6059 | 2616990.3897 | 1264552.8256 | 2617000.2979 | 1264566.7892
44 | 2617011.5425 | 1264582.6364 | 2617000.2979 | 1264566.7892
45 | 2617011.5425 | 1264582.6364 | 2617012.1697 | 1264583.5204 | 2617013.4793 | 1264585.1764
46 | 2617109.2646 | 1264868.1041 | 2617137.2977 | 1264847.5748 | 2617179.2926 | 1264819.2802
47 | 2617250.612 | 1264781.6574 | 2617258.0766 | 1264794.0875
48 | 2617026.67 | 1264928.5903 | 2617109.2646 | 1264868.1041
49 | 2617265.6929 | 1264806.7701 | 2617258.0766 | 1264794.0875
50 | 2617270.4178 | 1264814.6379 | 2617265.6929 | 1264806.7701
51 | 2617270.4178 | 1264814.6379 | 2617274.5766 | 1264867.7446
52 | 2617269.5567 | 1264893.0899 | 2617267.7293 | 1264889.6933 | 2617261.1274 | 1264876.1314 | 2617274.5766 | 1264867.7446
53 | 2617269.5567 | 1264893.0899 | 2617267.6409 | 1264894.1962 | 2617238.1357 | 1264910.7886
54 | 2617004.0651 | 1264589.479 | 2616973.0611 | 1264612.4949
55 | 2617004.0651 | 1264589.479 | 2616981.8073 | 1264559.9504
56 | 2616917.7665 | 1264608.5344 | 2616900.4258 | 1264621.6907
57 | 2616919.726 | 1264652.176 | 2616885.3408 | 1264677.8505
58 | 2616981.8073 | 1264559.9504 | 2616958.3265 | 1264528.8061
59 | 2616981.8073 | 1264559.9504 | 2616950.9032 | 1264583.3955
60 | 2616900.4258 | 1264621.6907 | 2616884.8339 | 1264633.5202
61 | 2616854.6064 | 1264700.7991 | 2616885.3408 | 1264677.8505
62 | 2616958.3265 | 1264528.8061 | 2616932.8403 | 1264495.0142
63 | 2616958.3265 | 1264528.8061 | 2616928.0283 | 1264552.6838
64 | 2616884.8339 | 1264633.5202 | 2616881.4516 | 1264636.0863
65 | 2616804.513 | 1264738.2025 | 2616854.6064 | 1264700.7991
66 | 2616859.4425 | 1264740.4793 | 2616909.0742 | 1264702.5314
67 | 2616825.2606 | 1264766.6144 | 2616859.4425 | 1264740.4793
68 | 2617003.9198 | 1264718.924 | 2616993.1956 | 1264705.1815
69 | 2616927.4795 | 1264553.1163 | 2616928.0283 | 1264552.6838
70 | 2616825.2606 | 1264766.6144 | 2616804.513 | 1264738.2025
71 | 2616804.513 | 1264738.2025 | 2616773.2762 | 1264761.4853
72 | 2616783.9527 | 1264710.0582 | 2616804.513 | 1264738.2025
73 | 2616825.2606 | 1264766.6144 | 2616856.578 | 1264807.8347
74 | 2617003.9198 | 1264718.924 | 2617001.5903 | 1264727.7123
75 | 2616783.9527 | 1264710.0582 | 2616753.5125 | 1264733.1542
76 | 2616983.5642 | 1264779.9747 | 2616971.7195 | 1264789.0771
77 | 2616983.5642 | 1264779.9747 | 2616983.3134 | 1264772.8913
78 | 2616997.9825 | 1264739.321 | 2616994.9098 | 1264749.208 | 2616992.9331 | 1264755.7958 | 2616990.7059 | 1264760.4371 | 2616988.2461 | 1264764.8331 | 2616986.0279 | 1264768.9852 | 2616983.3134 | 1264772.8913 | 2616983.3134 | 1264772.8913
79 | 2617001.5903 | 1264727.7123 | 2616997.9825 | 1264739.321

## bus_geodata
| x | y | coords
0 | 2616752.2527 | 1264596.5439
1 | 2616694.6288 | 1264631.1005
2 | 2616818.2797 | 1264684.0144
3 | 2616943.9487 | 1264488.6758
4 | 2616946.158 | 1264491.9823
5 | 2617075.8827 | 1264665.7418
6 | 2617072.8871 | 1264661.8578
7 | 2617079.5323 | 1264670.4736
8 | 2617044.5651 | 1264625.4091
9 | 2617090.4567 | 1264684.6377
10 | 2617032.1653 | 1264608.8064
11 | 2617048.9116 | 1264622.2304
12 | 2617035.9852 | 1264631.6776
13 | 2617100.635 | 1264697.4524
14 | 2617026.2948 | 1264601.3827
15 | 2617054.8453 | 1264630.1419
16 | 2617053.3001 | 1264654.612
17 | 2617034.1182 | 1264633.8987
18 | 2617109.002 | 1264707.9868
19 | 2617087.071 | 1264699.3493
20 | 2617057.3613 | 1264722.8005
21 | 2617126.3055 | 1264729.7724
22 | 2617115.5436 | 1264716.2228
23 | 2617136.8789 | 1264743.3625
24 | 2617023.5699 | 1264597.9368
25 | 2616960.4646 | 1264663.2387
26 | 2616979.49 | 1264687.6186
27 | 2616940.0123 | 1264637.0288
28 | 2617113.1865 | 1264713.2552
29 | 2617026.0221 | 1264747.2626
30 | 2617182.2848 | 1264807.5104
31 | 2617186.7909 | 1264814.2281
32 | 2617230.4041 | 1264775.6795
33 | 2616960.159 | 1264511.918
34 | 2616969.2374 | 1264524.2027
35 | 2616970.2744 | 1264525.6059
36 | 2617000.2979 | 1264566.7892
37 | 2617011.5425 | 1264582.6364
38 | 2617013.4793 | 1264585.1764
39 | 2617179.2926 | 1264819.2802
40 | 2617250.612 | 1264781.6574
41 | 2617247.9594 | 1264764.2882
42 | 2617109.2646 | 1264868.1041
43 | 2617258.0766 | 1264794.0875
44 | 2617026.67 | 1264928.5903
45 | 2617265.6929 | 1264806.7701
46 | 2617270.4178 | 1264814.6379
47 | 2617274.5766 | 1264867.7446
48 | 2617238.1357 | 1264910.7886
49 | 2617269.5567 | 1264893.0899
50 | 2616973.0611 | 1264612.4949
51 | 2617004.0651 | 1264589.479
52 | 2616917.7665 | 1264608.5344
53 | 2616919.726 | 1264652.176
54 | 2616981.8073 | 1264559.9504
55 | 2616900.4258 | 1264621.6907
56 | 2616885.3408 | 1264677.8505
57 | 2616958.3265 | 1264528.8061
58 | 2616950.9032 | 1264583.3955
59 | 2616884.8339 | 1264633.5202
60 | 2616854.6064 | 1264700.7991
61 | 2616909.0742 | 1264702.5314
62 | 2616859.4425 | 1264740.4793
63 | 2616993.1956 | 1264705.1815
64 | 2616932.8403 | 1264495.0142
65 | 2616928.0283 | 1264552.6838
66 | 2616881.4516 | 1264636.0863
67 | 2616927.4795 | 1264553.1163
68 | 2616804.513 | 1264738.2025
69 | 2616825.2606 | 1264766.6144
70 | 2617003.9198 | 1264718.924
71 | 2616753.5125 | 1264733.1542
72 | 2616783.9527 | 1264710.0582
73 | 2616824.3114 | 1264679.4382
74 | 2616773.2762 | 1264761.4853
75 | 2616856.578 | 1264807.8347
76 | 2616971.7195 | 1264789.0771
77 | 2616983.5642 | 1264779.9747
78 | 2616983.3134 | 1264772.8913
79 | 2617001.5903 | 1264727.7123
80 | 2616997.9825 | 1264739.321
81 | 2616940.0123 | 1264637.0288

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1