## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2770-14_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2770-14_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2770-14_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2770-14_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2770-14_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2770-14_0_6_node_97 | 0.4 | n |  | TRUE
6 | bus_LV_2770-14_0_6_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_2770-14_0_6_node_62 | 0.4 | n |  | TRUE
8 | bus_LV_2770-14_0_6_node_95 | 0.4 | n |  | TRUE
9 | bus_LV_2770-14_0_6_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_2770-14_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2770-14_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2770-14_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2770-14_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2770-14_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2770-14_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2770-14_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2770-14_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2770-14_0_6_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_2770-14_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_2770-14_0_6_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_2770-14_0_6_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2770-14_0_6_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_2770-14_0_6_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_2770-14_0_6_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_2770-14_0_6_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2770-14_0_6_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_2770-14_0_6_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_2770-14_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_2770-14_0_6_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_2770-14_0_6_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_2770-14_0_6_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_2770-14_0_6_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_2770-14_0_6_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_2770-14_0_6_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_2770-14_0_6_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_2770-14_0_6_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_2770-14_0_6_node_75 | 0.4 | n |  | TRUE
38 | bus_LV_2770-14_0_6_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_2770-14_0_6_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_2770-14_0_6_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_2770-14_0_6_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_2770-14_0_6_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_2770-14_0_6_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_2770-14_0_6_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_2770-14_0_6_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_2770-14_0_6_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_2770-14_0_6_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_2770-14_0_6_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_2770-14_0_6_node_74 | 0.4 | n |  | TRUE
50 | bus_LV_2770-14_0_6_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_2770-14_0_6_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_2770-14_0_6_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_2770-14_0_6_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_2770-14_0_6_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_2770-14_0_6_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_2770-14_0_6_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_2770-14_0_6_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_2770-14_0_6_node_76 | 0.4 | n |  | TRUE
59 | bus_LV_2770-14_0_6_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_2770-14_0_6_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_2770-14_0_6_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_2770-14_0_6_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_2770-14_0_6_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_2770-14_0_6_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_2770-14_0_6_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_2770-14_0_6_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_2770-14_0_6_node_79 | 0.4 | n |  | TRUE
68 | bus_LV_2770-14_0_6_node_90 | 0.4 | n |  | TRUE
69 | bus_LV_2770-14_0_6_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_2770-14_0_6_node_88 | 0.4 | n |  | TRUE
71 | bus_LV_2770-14_0_6_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_2770-14_0_6_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_2770-14_0_6_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_2770-14_0_6_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_2770-14_0_6_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_2770-14_0_6_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_2770-14_0_6_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_2770-14_0_6_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_2770-14_0_6_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_2770-14_0_6_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_2770-14_0_6_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_2770-14_0_6_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_2770-14_0_6_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_2770-14_0_6_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_2770-14_0_6_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_2770-14_0_6_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_2770-14_0_6_node_93 | 0.4 | n |  | TRUE
88 | bus_LV_2770-14_0_6_node_92 | 0.4 | n |  | TRUE
89 | bus_LV_2770-14_0_6_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_2770-14_0_6_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_2770-14_0_6_node_94 | 0.4 | n |  | TRUE
92 | bus_MV_576_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2770-14_0_6_load_0 | 0 | 0.033914 | 0.0084996 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2770-14_0_6_load_97 | 5 | 0.074357 | 0.018636 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2770-14_0_6_load_64 | 6 | 0.022821 | 0.0057194 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2770-14_0_6_load_62 | 7 | 0.059585 | 0.014933 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2770-14_0_6_load_48 | 9 | 0.022821 | 0.0057194 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2770-14_0_6_load_5 | 10 | 0.0012973 | 0.00032514 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2770-14_0_6_load_6 | 11 | 0.00052921 | 0.00013263 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2770-14_0_6_load_7 | 12 | 0.00052921 | 0.00013263 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2770-14_0_6_load_8 | 13 | 0.00052921 | 0.00013263 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2770-14_0_6_load_9 | 14 | 0.00052921 | 0.00013263 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2770-14_0_6_load_10 | 15 | 0.0034388 | 0.00086184 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2770-14_0_6_load_11 | 16 | 0.00032486 | 8.1417e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2770-14_0_6_load_12 | 17 | 0.00016086 | 4.0315e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2770-14_0_6_load_43 | 18 | 0.00083592 | 0.0002095 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2770-14_0_6_load_13 | 19 | 0.00037697 | 9.4477e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2770-14_0_6_load_41 | 20 | 7.5427e-05 | 1.8904e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2770-14_0_6_load_14 | 21 | 0.00014428 | 3.6161e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2770-14_0_6_load_31 | 22 | 0.00037059 | 9.2879e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2770-14_0_6_load_29 | 23 | 0.0014817 | 0.00037135 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2770-14_0_6_load_15 | 24 | 0.00015189 | 3.8067e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2770-14_0_6_load_19 | 28 | 0.0003417 | 8.5638e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2770-14_0_6_load_21 | 30 | 0.00031776 | 7.9639e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2770-14_0_6_load_22 | 31 | 0.00013173 | 3.3015e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2770-14_0_6_load_23 | 32 | 0.0005259 | 0.0001318 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2770-14_0_6_load_25 | 34 | 0.00018773 | 4.7049e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2770-14_0_6_load_26 | 35 | 0.00015521 | 3.89e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2770-14_0_6_load_56 | 36 | 0.00039457 | 9.8888e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2770-14_0_6_load_75 | 37 | 0.00039449 | 9.8869e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2770-14_0_6_load_32 | 39 | 0.00016064 | 4.0261e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2770-14_0_6_load_54 | 40 | 0.00044229 | 0.00011085 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2770-14_0_6_load_53 | 41 | 0.002399 | 0.00060125 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2770-14_0_6_load_55 | 42 | 0.00058074 | 0.00014555 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2770-14_0_6_load_73 | 43 | 0.00051393 | 0.0001288 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2770-14_0_6_load_37 | 45 | 0.022821 | 0.0057194 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2770-14_0_6_load_78 | 48 | 8.2467e-05 | 2.0668e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2770-14_0_6_load_28 | 50 | 0.00039307 | 9.8512e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2770-14_0_6_load_33 | 51 | 0.0016534 | 0.00041439 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2770-14_0_6_load_63 | 52 | 0.00019491 | 4.8849e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2770-14_0_6_load_45 | 53 | 0.051987 | 0.013029 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2770-14_0_6_load_46 | 55 | 0.022821 | 0.0057194 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2770-14_0_6_load_38 | 56 | 0.00012637 | 3.1671e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2770-14_0_6_load_39 | 57 | 7.3547e-05 | 1.8433e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2770-14_0_6_load_76 | 58 | 8.244e-05 | 2.0661e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2770-14_0_6_load_47 | 59 | 0.022821 | 0.0057194 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2770-14_0_6_load_49 | 60 | 0.045642 | 0.011439 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2770-14_0_6_load_58 | 63 | 0.00065629 | 0.00016448 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2770-14_0_6_load_59 | 64 | 0.00029149 | 7.3055e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2770-14_0_6_load_60 | 65 | 0.00051403 | 0.00012883 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2770-14_0_6_load_61 | 66 | 0.00027617 | 6.9215e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2770-14_0_6_load_79 | 67 | 0.00045572 | 0.00011421 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2770-14_0_6_load_90 | 68 | 0.00020492 | 5.1357e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2770-14_0_6_load_70 | 69 | 0.00051393 | 0.0001288 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2770-14_0_6_load_88 | 70 | 8.1092e-05 | 2.0324e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2770-14_0_6_load_65 | 71 | 0.00063499 | 0.00015914 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2770-14_0_6_load_66 | 72 | 8.2486e-05 | 2.0673e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2770-14_0_6_load_67 | 73 | 0.00017998 | 4.5108e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2770-14_0_6_load_68 | 74 | 0.00017797 | 4.4605e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2770-14_0_6_load_69 | 75 | 8.2458e-05 | 2.0666e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2770-14_0_6_load_71 | 76 | 8.2462e-05 | 2.0667e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2770-14_0_6_load_80 | 77 | 8.2487e-05 | 2.0673e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2770-14_0_6_load_77 | 78 | 8.2442e-05 | 2.0662e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2770-14_0_6_load_72 | 79 | 0.00063486 | 0.00015911 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2770-14_0_6_load_81 | 80 | 0.00025895 | 6.49e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2770-14_0_6_load_82 | 81 | 0.00024342 | 6.1007e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2770-14_0_6_load_84 | 82 | 8.106e-05 | 2.0316e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2770-14_0_6_load_85 | 83 | 8.1086e-05 | 2.0322e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2770-14_0_6_load_86 | 85 | 8.1086e-05 | 2.0322e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2770-14_0_6_load_87 | 86 | 8.1097e-05 | 2.0325e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2770-14_0_6_load_93 | 87 | 8.1064e-05 | 2.0317e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2770-14_0_6_load_92 | 88 | 8.114e-05 | 2.0336e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2770-14_0_6_load_89 | 89 | 8.1086e-05 | 2.0322e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2770-14_0_6_load_91 | 90 | 0.00032362 | 8.1107e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2770-14_0_6_load_94 | 91 | 0.056086 | 0.014056 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2770-14_0_6_line_0 |  | 0 | 1 | 0.018698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2770-14_0_6_line_1 |  | 1 | 2 | 0.27577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_2770-14_0_6_line_2 |  | 1 | 3 | 0.16411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_2770-14_0_6_line_3 |  | 1 | 4 | 0.080787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2770-14_0_6_line_4 |  | 2 | 5 | 0.005153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_2770-14_0_6_line_5 |  | 3 | 6 | 0.082522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_2770-14_0_6_line_6 |  | 4 | 7 | 0.099693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2770-14_0_6_line_7 |  | 5 | 8 | 0.23017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_2770-14_0_6_line_8 |  | 6 | 9 | 0.011946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2770-14_0_6_line_9 |  | 8 | 91 | 0.083105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2770-14_0_6_line_10 |  | 9 | 59 | 0.0015252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2770-14_0_6_line_11 |  | 10 | 11 | 0.015611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2770-14_0_6_line_12 |  | 10 | 12 | 0.0085895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2770-14_0_6_line_13 |  | 11 | 13 | 3.5012e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2770-14_0_6_line_14 |  | 12 | 14 | 9.6527e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2770-14_0_6_line_15 |  | 13 | 15 | 0.019712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2770-14_0_6_line_16 |  | 14 | 16 | 0.025612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2770-14_0_6_line_17 |  | 15 | 17 | 0.0030943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2770-14_0_6_line_18 |  | 16 | 18 | 0.024144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2770-14_0_6_line_19 |  | 17 | 19 | 0.0039374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2770-14_0_6_line_20 |  | 18 | 20 | 0.022818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2770-14_0_6_line_21 |  | 19 | 21 | 0.0093975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2770-14_0_6_line_22 |  | 20 | 57 | 0.0024671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2770-14_0_6_line_23 |  | 21 | 22 | 0.011069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2770-14_0_6_line_24 |  | 22 | 23 | 0.0032319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2770-14_0_6_line_25 |  | 23 | 50 | 0.017236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2770-14_0_6_line_26 |  | 24 | 25 | 0.020232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2770-14_0_6_line_27 |  | 24 | 26 | 0.0021351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2770-14_0_6_line_28 |  | 25 | 27 | 0.12812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2770-14_0_6_line_29 |  | 25 | 28 | 0.091451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2770-14_0_6_line_30 |  | 26 | 29 | 0.11184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2770-14_0_6_line_31 |  | 26 | 30 | 0.034534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2770-14_0_6_line_32 |  | 27 | 31 | 0.058139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2770-14_0_6_line_33 |  | 27 | 32 | 0.039454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2770-14_0_6_line_34 |  | 28 | 33 | 0.038367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2770-14_0_6_line_35 |  | 29 | 34 | 0.023507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2770-14_0_6_line_36 |  | 29 | 35 | 0.033735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2770-14_0_6_line_37 |  | 31 | 36 | 0.011744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2770-14_0_6_line_38 |  | 32 | 37 | 0.023698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2770-14_0_6_line_39 |  | 33 | 38 | 0.013583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2770-14_0_6_line_40 |  | 33 | 39 | 0.024416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2770-14_0_6_line_41 |  | 34 | 40 | 0.0093034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2770-14_0_6_line_42 |  | 35 | 41 | 0.0050873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2770-14_0_6_line_43 |  | 36 | 42 | 0.019612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2770-14_0_6_line_44 |  | 37 | 43 | 0.024173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2770-14_0_6_line_45 |  | 38 | 44 | 0.075147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2770-14_0_6_line_46 |  | 38 | 45 | 0.040459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2770-14_0_6_line_47 |  | 39 | 46 | 0.026471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2770-14_0_6_line_48 |  | 42 | 62 | 0.041165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2770-14_0_6_line_49 |  | 43 | 79 | 0.027668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2770-14_0_6_line_50 |  | 44 | 52 | 0.07273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2770-14_0_6_line_51 |  | 45 | 53 | 0.0080931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2770-14_0_6_line_52 |  | 46 | 51 | 0.036253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2770-14_0_6_line_53 |  | 46 | 50 | 0.023074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2770-14_0_6_line_54 |  | 47 | 48 | 0.10855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2770-14_0_6_line_55 |  | 47 | 49 | 0.022591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2770-14_0_6_line_56 |  | 49 | 58 | 0.069971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2770-14_0_6_line_57 |  | 52 | 54 | 0.09993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2770-14_0_6_line_58 |  | 53 | 55 | 0.013034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_2770-14_0_6_line_59 |  | 54 | 61 | 0.10483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2770-14_0_6_line_60 |  | 55 | 59 | 0.010624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_2770-14_0_6_line_61 |  | 56 | 57 | 0.0092641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2770-14_0_6_line_62 |  | 58 | 78 | 0.012177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2770-14_0_6_line_63 |  | 60 | 61 | 0.12143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2770-14_0_6_line_64 |  | 62 | 63 | 0.022915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2770-14_0_6_line_65 |  | 62 | 64 | 0.019321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2770-14_0_6_line_66 |  | 63 | 65 | 0.032602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2770-14_0_6_line_67 |  | 64 | 66 | 0.010146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2770-14_0_6_line_68 |  | 65 | 67 | 0.01829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2770-14_0_6_line_69 |  | 66 | 68 | 0.010765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2770-14_0_6_line_70 |  | 67 | 69 | 0.0063103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2770-14_0_6_line_71 |  | 68 | 70 | 0.0043468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2770-14_0_6_line_72 |  | 69 | 74 | 0.011527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2770-14_0_6_line_73 |  | 70 | 89 | 0.0062005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2770-14_0_6_line_74 |  | 71 | 72 | 0.00044328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2770-14_0_6_line_75 |  | 71 | 73 | 0.0032781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2770-14_0_6_line_76 |  | 72 | 74 | 0.014584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2770-14_0_6_line_77 |  | 73 | 75 | 0.0080763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2770-14_0_6_line_78 |  | 75 | 76 | 0.00058509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2770-14_0_6_line_79 |  | 76 | 77 | 0.01216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2770-14_0_6_line_80 |  | 77 | 78 | 0.00016879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2770-14_0_6_line_81 |  | 80 | 81 | 0.0016804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2770-14_0_6_line_82 |  | 81 | 82 | 0.0040642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2770-14_0_6_line_83 |  | 81 | 83 | 0.0019318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2770-14_0_6_line_84 |  | 82 | 84 | 0.046829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2770-14_0_6_line_85 |  | 84 | 85 | 0.063455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2770-14_0_6_line_86 |  | 85 | 86 | 0.0072903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2770-14_0_6_line_87 |  | 86 | 87 | 0.00207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2770-14_0_6_line_88 |  | 87 | 88 | 0.0099515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2770-14_0_6_line_89 |  | 88 | 90 | 0.0037029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2770-14_0_6_line_90 |  | 89 | 90 | 0.0075818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2770-14_0_6_trafo_3 | 0.63 MVA 20/0.4 kV | 92 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2616830.5303 | 1265321.4259 | 2616844.2814 | 1265323.1994 | 2616847.1494 | 1265323.43 | 2616849.0996 | 1265323.5832
1 | 2616649.1299 | 1265210.0811 | 2616652.8952 | 1265207.2118 | 2616674.0381 | 1265193.773 | 2616685.6226 | 1265186.9675 | 2616695.1352 | 1265180.601 | 2616700.8994 | 1265176.481 | 2616704.8986 | 1265173.4234 | 2616709.5348 | 1265168.8 | 2616709.3014 | 1265171.4456 | 2616709.6856 | 1265174.0596 | 2616710.6651 | 1265176.5196 | 2616712.1874 | 1265178.6921 | 2616714.1703 | 1265180.4433 | 2616716.516 | 1265181.6952 | 2616719.33 | 1265182.4148 | 2616722.2289 | 1265182.3896 | 2616725.0395 | 1265181.6415 | 2616727.5584 | 1265180.2142 | 2616764.3572 | 1265230.0861 | 2616789.6045 | 1265264.3035 | 2616827.4323 | 1265314.7013 | 2616830.5303 | 1265321.4259
2 | 2616735.7021 | 1265445.4439 | 2616819.3571 | 1265369.0829 | 2616824.3674 | 1265362.6037 | 2616828.4947 | 1265354.2096 | 2616829.0348 | 1265352.2653 | 2616831.0126 | 1265345.166 | 2616831.776 | 1265338.8193 | 2616832.0757 | 1265331.3816 | 2616831.539 | 1265326.8325 | 2616830.5303 | 1265321.4259
3 | 2616891.6602 | 1265334.9423 | 2616889.2613 | 1265333.8903 | 2616883.7226 | 1265346.1053 | 2616857.5188 | 1265338.8146 | 2616851.8001 | 1265340.1771 | 2616847.4236 | 1265338.2299 | 2616832.0757 | 1265331.3816 | 2616831.539 | 1265326.8325 | 2616830.5303 | 1265321.4259
4 | 2616646.4391 | 1265205.6816 | 2616649.1299 | 1265210.0811
5 | 2616735.7021 | 1265445.4439 | 2616675.824 | 1265502.2282
6 | 2616891.6602 | 1265334.9423 | 2616886.9549 | 1265345.325 | 2616868.813 | 1265402.2464 | 2616860.0898 | 1265429.4323
7 | 2616646.4391 | 1265205.6816 | 2616498.7123 | 1265029.1796
8 | 2616667.1559 | 1265510.4485 | 2616675.824 | 1265502.2282
9 | 2616498.7123 | 1265029.1796 | 2616482.3467 | 1265033.1591 | 2616473.0395 | 1265038.7705 | 2616463.7138 | 1265051.0309 | 2616438.3832 | 1265081.976
10 | 2616667.1559 | 1265510.4485 | 2616666.0492 | 1265511.4981
11 | 2616616.5945 | 1265697.3285 | 2616621.1794 | 1265682.4065
12 | 2616616.5945 | 1265697.3285 | 2616614.0717 | 1265705.5392
13 | 2616621.1897 | 1265682.373 | 2616621.1794 | 1265682.4065
14 | 2616614.0717 | 1265705.5392 | 2616614.0434 | 1265705.6315
15 | 2616626.9792 | 1265663.5305 | 2616621.1897 | 1265682.373
16 | 2616606.521 | 1265730.1139 | 2616614.0434 | 1265705.6315
17 | 2616627.888 | 1265660.5726 | 2616626.9792 | 1265663.5305
18 | 2616606.521 | 1265730.1139 | 2616599.4299 | 1265753.1929
19 | 2616627.888 | 1265660.5726 | 2616629.0444 | 1265656.8089
20 | 2616592.7282 | 1265775.0042 | 2616599.4299 | 1265753.1929
21 | 2616629.0444 | 1265656.8089 | 2616631.8045 | 1265647.8259
22 | 2616592.7282 | 1265775.0042 | 2616592.0036 | 1265777.3625
23 | 2616631.8045 | 1265647.8259 | 2616635.0555 | 1265637.2451
24 | 2616636.0047 | 1265634.1558 | 2616635.0555 | 1265637.2451
25 | 2616636.0047 | 1265634.1558 | 2616641.0669 | 1265617.6802
26 | 2616522.7179 | 1265671.9157 | 2616525.4402 | 1265683.8316 | 2616527.2196 | 1265691.6408
27 | 2616527.6939 | 1265693.7225 | 2616527.2196 | 1265691.6408
28 | 2616522.7179 | 1265671.9157 | 2616463.0878 | 1265761.8237 | 2616457.4929 | 1265770.3252 | 2616452.8226 | 1265779.3519
29 | 2616522.7179 | 1265671.9157 | 2616566.2708 | 1265615.9537 | 2616579.3388 | 1265600.1085
30 | 2616484.037 | 1265795.5609 | 2616487.9355 | 1265774.3903 | 2616499.9453 | 1265741.4118 | 2616507.9651 | 1265724.6225 | 2616527.6939 | 1265693.7225
31 | 2616527.6939 | 1265693.7225 | 2616535.3787 | 1265727.3904
32 | 2616452.8226 | 1265779.3519 | 2616446.2186 | 1265782.5246 | 2616409.929 | 1265818.0909
33 | 2616452.8226 | 1265779.3519 | 2616450.6105 | 1265789.7196 | 2616451.1538 | 1265800.1506 | 2616455.4376 | 1265818.053
34 | 2616604.1698 | 1265570.8727 | 2616596.4439 | 1265579.3681 | 2616579.3388 | 1265600.1085
35 | 2616484.037 | 1265795.5609 | 2616506.9862 | 1265790.4707
36 | 2616484.037 | 1265795.5609 | 2616483.326 | 1265799.4394 | 2616483.6724 | 1265821.0888 | 2616485.5128 | 1265829.0173
37 | 2616401.5414 | 1265826.3113 | 2616409.929 | 1265818.0909
38 | 2616460.9524 | 1265841.1001 | 2616455.4376 | 1265818.053
39 | 2616613.3232 | 1265560.8136 | 2616604.1698 | 1265570.8727
40 | 2616604.1698 | 1265570.8727 | 2616608.2412 | 1265574.2087 | 2616610.8177 | 1265576.3285 | 2616623.0469 | 1265586.3586
41 | 2616516.0689 | 1265788.4562 | 2616506.9862 | 1265790.4707
42 | 2616486.6631 | 1265833.9728 | 2616485.5128 | 1265829.0173
43 | 2616387.5347 | 1265840.0388 | 2616401.5414 | 1265826.3113
44 | 2616466.578 | 1265864.6099 | 2616460.9524 | 1265841.1001
45 | 2616613.3232 | 1265560.8136 | 2616612.6617 | 1265560.4448 | 2616605.1075 | 1265555.9983 | 2616600.8972 | 1265553.8628 | 2616600.5895 | 1265553.5062 | 2616594.6953 | 1265550.4431 | 2616592.7338 | 1265549.1701 | 2616590.4709 | 1265547.974 | 2616586.9149 | 1265546.1072 | 2616573.8154 | 1265569.9539 | 2616565.0912 | 1265585.4292
46 | 2616613.3232 | 1265560.8136 | 2616619.1416 | 1265555.9821 | 2616643.0109 | 1265533.3461
47 | 2616647.844 | 1265595.6235 | 2616623.0469 | 1265586.3586
48 | 2616358.135 | 1265868.8524 | 2616387.5347 | 1265840.0388
49 | 2616473.0167 | 1265891.5179 | 2616466.578 | 1265864.6099
50 | 2616565.0912 | 1265585.4292 | 2616560.5475 | 1265584.06 | 2616553.5896 | 1265581.7723 | 2616535.8257 | 1265580.1105 | 2616515.3779 | 1265582.4663 | 2616493.585 | 1265586.8802
51 | 2616643.0109 | 1265533.3461 | 2616648.8832 | 1265527.7771
52 | 2616647.844 | 1265595.6235 | 2616682.4338 | 1265606.478
53 | 2616647.844 | 1265595.6235 | 2616641.0669 | 1265617.6802
54 | 2616494.8096 | 1265982.6102 | 2616388.9161 | 1266006.476
55 | 2616494.8096 | 1265982.6102 | 2616489.5556 | 1265960.6358
56 | 2616489.5556 | 1265960.6358 | 2616431.5511 | 1265973.2392 | 2616428.1192 | 1265972.8183 | 2616425.0967 | 1265971.4089 | 2616422.5808 | 1265969.1782 | 2616422.4702 | 1265968.7338
57 | 2616394.7183 | 1265593.2725 | 2616405.944 | 1265595.9943 | 2616452.3793 | 1265594.5664 | 2616473.1917 | 1265591.0105 | 2616493.585 | 1265586.8802
58 | 2616658.3406 | 1265518.8084 | 2616648.8832 | 1265527.7771
59 | 2616491.0572 | 1265553.4006 | 2616455.4225 | 1265561.474 | 2616446.2031 | 1265565.5735 | 2616394.7183 | 1265593.2725
60 | 2616658.3406 | 1265518.8084 | 2616666.0492 | 1265511.4981
61 | 2616589.2827 | 1265786.218 | 2616592.0036 | 1265777.3625
62 | 2616419.5288 | 1265956.9171 | 2616422.4702 | 1265968.7338
63 | 2616491.0572 | 1265553.4006 | 2616497.7307 | 1265552.4296 | 2616514.0945 | 1265551.2632 | 2616531.077 | 1265544.2612 | 2616543.0115 | 1265535.8442 | 2616553.3443 | 1265523.9981 | 2616557.8146 | 1265513.9369 | 2616565.9405 | 1265497.0478 | 2616569.9194 | 1265487.6968 | 2616573.062 | 1265478.5437
64 | 2616358.135 | 1265868.8524 | 2616368.1463 | 1265864.0433 | 2616376.6265 | 1265862.966 | 2616379.8506 | 1265863.4472
65 | 2616358.135 | 1265868.8524 | 2616344.0693 | 1265882.0978
66 | 2616401.3108 | 1265883.7277 | 2616398.6129 | 1265872.8892 | 2616394.4813 | 1265869.5532 | 2616385.5067 | 1265864.2914 | 2616379.8506 | 1265863.4472
67 | 2616336.6828 | 1265889.0537 | 2616344.0693 | 1265882.0978
68 | 2616401.3108 | 1265883.7277 | 2616405.7286 | 1265901.4761
69 | 2616328.8456 | 1265896.4338 | 2616336.6828 | 1265889.0537
70 | 2616407.2528 | 1265907.5995 | 2616405.7286 | 1265901.4761
71 | 2616325.6811 | 1265899.4137 | 2616328.8456 | 1265896.4338
72 | 2616407.2528 | 1265907.5995 | 2616410.0371 | 1265918.7848
73 | 2616325.6811 | 1265899.4137 | 2616321.167 | 1265903.6646
74 | 2616413.5598 | 1265932.9371 | 2616413.6669 | 1265933.3672
75 | 2616413.6669 | 1265933.3672 | 2616414.4587 | 1265936.5483
76 | 2616410.0371 | 1265918.7848 | 2616413.5598 | 1265932.9371
77 | 2616416.4095 | 1265944.3854 | 2616414.4587 | 1265936.5483
78 | 2616416.4095 | 1265944.3854 | 2616416.5508 | 1265944.9532
79 | 2616416.5508 | 1265944.9532 | 2616419.4881 | 1265956.7533
80 | 2616419.4881 | 1265956.7533 | 2616419.5288 | 1265956.9171
81 | 2616335.0152 | 1265977.8981 | 2616334.1082 | 1265976.4835
82 | 2616330.2792 | 1265975.3722 | 2616332.4017 | 1265975.5781 | 2616334.1082 | 1265976.4835 | 2616334.1082 | 1265976.4835
83 | 2616332.4017 | 1265975.5781 | 2616334.1082 | 1265976.4835 | 2616334.1082 | 1265976.4835
84 | 2616285.0307 | 1265981.6855 | 2616287.7512 | 1265983.4053 | 2616290.8811 | 1265984.1144 | 2616294.1114 | 1265983.9231 | 2616330.2792 | 1265975.3722 | 2616330.2792 | 1265975.3722
85 | 2616285.0307 | 1265981.6855 | 2616282.2226 | 1265973.4276 | 2616280.0346 | 1265961.4466 | 2616281.0678 | 1265952.5877 | 2616283.8169 | 1265943.9336 | 2616289.3964 | 1265935.3986 | 2616297.7043 | 1265925.7591 | 2616298.8923 | 1265924.6404
86 | 2616304.1997 | 1265919.6424 | 2616298.8923 | 1265924.6404
87 | 2616305.7067 | 1265918.2233 | 2616304.1997 | 1265919.6424
88 | 2616312.9516 | 1265911.4009 | 2616305.7067 | 1265918.2233
89 | 2616312.9516 | 1265911.4009 | 2616315.6474 | 1265908.8624
90 | 2616321.167 | 1265903.6646 | 2616315.6474 | 1265908.8624

## bus_geodata
| x | y | coords
0 | 2616849.0996 | 1265323.5832
1 | 2616830.5303 | 1265321.4259
2 | 2616649.1299 | 1265210.0811
3 | 2616735.7021 | 1265445.4439
4 | 2616891.6602 | 1265334.9423
5 | 2616646.4391 | 1265205.6816
6 | 2616675.824 | 1265502.2282
7 | 2616860.0898 | 1265429.4323
8 | 2616498.7123 | 1265029.1796
9 | 2616667.1559 | 1265510.4485
10 | 2616616.5945 | 1265697.3285
11 | 2616621.1794 | 1265682.4065
12 | 2616614.0717 | 1265705.5392
13 | 2616621.1897 | 1265682.373
14 | 2616614.0434 | 1265705.6315
15 | 2616626.9792 | 1265663.5305
16 | 2616606.521 | 1265730.1139
17 | 2616627.888 | 1265660.5726
18 | 2616599.4299 | 1265753.1929
19 | 2616629.0444 | 1265656.8089
20 | 2616592.7282 | 1265775.0042
21 | 2616631.8045 | 1265647.8259
22 | 2616635.0555 | 1265637.2451
23 | 2616636.0047 | 1265634.1558
24 | 2616527.2196 | 1265691.6408
25 | 2616522.7179 | 1265671.9157
26 | 2616527.6939 | 1265693.7225
27 | 2616452.8226 | 1265779.3519
28 | 2616579.3388 | 1265600.1085
29 | 2616484.037 | 1265795.5609
30 | 2616535.3787 | 1265727.3904
31 | 2616409.929 | 1265818.0909
32 | 2616455.4376 | 1265818.053
33 | 2616604.1698 | 1265570.8727
34 | 2616506.9862 | 1265790.4707
35 | 2616485.5128 | 1265829.0173
36 | 2616401.5414 | 1265826.3113
37 | 2616460.9524 | 1265841.1001
38 | 2616613.3232 | 1265560.8136
39 | 2616623.0469 | 1265586.3586
40 | 2616516.0689 | 1265788.4562
41 | 2616486.6631 | 1265833.9728
42 | 2616387.5347 | 1265840.0388
43 | 2616466.578 | 1265864.6099
44 | 2616565.0912 | 1265585.4292
45 | 2616643.0109 | 1265533.3461
46 | 2616647.844 | 1265595.6235
47 | 2616494.8096 | 1265982.6102
48 | 2616388.9161 | 1266006.476
49 | 2616489.5556 | 1265960.6358
50 | 2616641.0669 | 1265617.6802
51 | 2616682.4338 | 1265606.478
52 | 2616493.585 | 1265586.8802
53 | 2616648.8832 | 1265527.7771
54 | 2616394.7183 | 1265593.2725
55 | 2616658.3406 | 1265518.8084
56 | 2616589.2827 | 1265786.218
57 | 2616592.0036 | 1265777.3625
58 | 2616422.4702 | 1265968.7338
59 | 2616666.0492 | 1265511.4981
60 | 2616573.062 | 1265478.5437
61 | 2616491.0572 | 1265553.4006
62 | 2616358.135 | 1265868.8524
63 | 2616379.8506 | 1265863.4472
64 | 2616344.0693 | 1265882.0978
65 | 2616401.3107 | 1265883.7277
66 | 2616336.6828 | 1265889.0537
67 | 2616405.7286 | 1265901.4761
68 | 2616328.8456 | 1265896.4338
69 | 2616407.2528 | 1265907.5995
70 | 2616325.6811 | 1265899.4137
71 | 2616413.6669 | 1265933.3672
72 | 2616413.5598 | 1265932.9371
73 | 2616414.4587 | 1265936.5483
74 | 2616410.0371 | 1265918.7848
75 | 2616416.4095 | 1265944.3854
76 | 2616416.5508 | 1265944.9532
77 | 2616419.4881 | 1265956.7533
78 | 2616419.5288 | 1265956.9171
79 | 2616473.0167 | 1265891.5179
80 | 2616335.0152 | 1265977.8981
81 | 2616334.1082 | 1265976.4835
82 | 2616330.2792 | 1265975.3722
83 | 2616332.4017 | 1265975.5781
84 | 2616285.0307 | 1265981.6855
85 | 2616298.8923 | 1265924.6404
86 | 2616304.1997 | 1265919.6424
87 | 2616305.7067 | 1265918.2233
88 | 2616312.9516 | 1265911.4009
89 | 2616321.167 | 1265903.6646
90 | 2616315.6474 | 1265908.8624
91 | 2616438.3832 | 1265081.976
92 | 2616690.4056 | 1265488.4

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1