## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2770-22_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2770-22_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2770-22_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2770-22_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2770-22_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2770-22_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2770-22_0_6_node_125 | 0.4 | n |  | TRUE
7 | bus_LV_2770-22_0_6_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_2770-22_0_6_node_103 | 0.4 | n |  | TRUE
9 | bus_LV_2770-22_0_6_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_2770-22_0_6_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_2770-22_0_6_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_2770-22_0_6_node_109 | 0.4 | n |  | TRUE
13 | bus_LV_2770-22_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_2770-22_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_2770-22_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2770-22_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2770-22_0_6_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_2770-22_0_6_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_2770-22_0_6_node_80 | 0.4 | n |  | TRUE
20 | bus_LV_2770-22_0_6_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_2770-22_0_6_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_2770-22_0_6_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_2770-22_0_6_node_107 | 0.4 | n |  | TRUE
24 | bus_LV_2770-22_0_6_node_117 | 0.4 | n |  | TRUE
25 | bus_LV_2770-22_0_6_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_2770-22_0_6_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_2770-22_0_6_node_97 | 0.4 | n |  | TRUE
28 | bus_LV_2770-22_0_6_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_2770-22_0_6_node_119 | 0.4 | n |  | TRUE
30 | bus_LV_2770-22_0_6_node_120 | 0.4 | n |  | TRUE
31 | bus_LV_2770-22_0_6_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_2770-22_0_6_node_124 | 0.4 | n |  | TRUE
33 | bus_LV_2770-22_0_6_node_115 | 0.4 | n |  | TRUE
34 | bus_LV_2770-22_0_6_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_2770-22_0_6_node_88 | 0.4 | n |  | TRUE
36 | bus_LV_2770-22_0_6_node_85 | 0.4 | n |  | TRUE
37 | bus_LV_2770-22_0_6_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_2770-22_0_6_node_118 | 0.4 | n |  | TRUE
39 | bus_LV_2770-22_0_6_node_108 | 0.4 | n |  | TRUE
40 | bus_LV_2770-22_0_6_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_2770-22_0_6_node_15 | 0.4 | n |  | TRUE
42 | bus_LV_2770-22_0_6_node_16 | 0.4 | n |  | TRUE
43 | bus_LV_2770-22_0_6_node_17 | 0.4 | n |  | TRUE
44 | bus_LV_2770-22_0_6_node_18 | 0.4 | n |  | TRUE
45 | bus_LV_2770-22_0_6_node_19 | 0.4 | n |  | TRUE
46 | bus_LV_2770-22_0_6_node_102 | 0.4 | n |  | TRUE
47 | bus_LV_2770-22_0_6_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_2770-22_0_6_node_84 | 0.4 | n |  | TRUE
49 | bus_LV_2770-22_0_6_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_2770-22_0_6_node_20 | 0.4 | n |  | TRUE
51 | bus_LV_2770-22_0_6_node_21 | 0.4 | n |  | TRUE
52 | bus_LV_2770-22_0_6_node_22 | 0.4 | n |  | TRUE
53 | bus_LV_2770-22_0_6_node_23 | 0.4 | n |  | TRUE
54 | bus_LV_2770-22_0_6_node_24 | 0.4 | n |  | TRUE
55 | bus_LV_2770-22_0_6_node_89 | 0.4 | n |  | TRUE
56 | bus_LV_2770-22_0_6_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_2770-22_0_6_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_2770-22_0_6_node_82 | 0.4 | n |  | TRUE
59 | bus_LV_2770-22_0_6_node_25 | 0.4 | n |  | TRUE
60 | bus_LV_2770-22_0_6_node_27 | 0.4 | n |  | TRUE
61 | bus_LV_2770-22_0_6_node_29 | 0.4 | n |  | TRUE
62 | bus_LV_2770-22_0_6_node_74 | 0.4 | n |  | TRUE
63 | bus_LV_2770-22_0_6_node_30 | 0.4 | n |  | TRUE
64 | bus_LV_2770-22_0_6_node_110 | 0.4 | n |  | TRUE
65 | bus_LV_2770-22_0_6_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_2770-22_0_6_node_75 | 0.4 | n |  | TRUE
67 | bus_LV_2770-22_0_6_node_111 | 0.4 | n |  | TRUE
68 | bus_LV_2770-22_0_6_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_2770-22_0_6_node_116 | 0.4 | n |  | TRUE
70 | bus_LV_2770-22_0_6_node_95 | 0.4 | n |  | TRUE
71 | bus_LV_2770-22_0_6_node_92 | 0.4 | n |  | TRUE
72 | bus_LV_2770-22_0_6_node_100 | 0.4 | n |  | TRUE
73 | bus_LV_2770-22_0_6_node_121 | 0.4 | n |  | TRUE
74 | bus_LV_2770-22_0_6_node_98 | 0.4 | n |  | TRUE
75 | bus_LV_2770-22_0_6_node_93 | 0.4 | n |  | TRUE
76 | bus_LV_2770-22_0_6_node_123 | 0.4 | n |  | TRUE
77 | bus_LV_2770-22_0_6_node_91 | 0.4 | n |  | TRUE
78 | bus_LV_2770-22_0_6_node_86 | 0.4 | n |  | TRUE
79 | bus_LV_2770-22_0_6_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_2770-22_0_6_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_2770-22_0_6_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_2770-22_0_6_node_87 | 0.4 | n |  | TRUE
83 | bus_LV_2770-22_0_6_node_49 | 0.4 | n |  | TRUE
84 | bus_LV_2770-22_0_6_node_50 | 0.4 | n |  | TRUE
85 | bus_LV_2770-22_0_6_node_52 | 0.4 | n |  | TRUE
86 | bus_LV_2770-22_0_6_node_54 | 0.4 | n |  | TRUE
87 | bus_LV_2770-22_0_6_node_104 | 0.4 | n |  | TRUE
88 | bus_LV_2770-22_0_6_node_53 | 0.4 | n |  | TRUE
89 | bus_LV_2770-22_0_6_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_2770-22_0_6_node_56 | 0.4 | n |  | TRUE
91 | bus_LV_2770-22_0_6_node_57 | 0.4 | n |  | TRUE
92 | bus_LV_2770-22_0_6_node_58 | 0.4 | n |  | TRUE
93 | bus_LV_2770-22_0_6_node_59 | 0.4 | n |  | TRUE
94 | bus_LV_2770-22_0_6_node_60 | 0.4 | n |  | TRUE
95 | bus_LV_2770-22_0_6_node_112 | 0.4 | n |  | TRUE
96 | bus_LV_2770-22_0_6_node_61 | 0.4 | n |  | TRUE
97 | bus_LV_2770-22_0_6_node_62 | 0.4 | n |  | TRUE
98 | bus_LV_2770-22_0_6_node_113 | 0.4 | n |  | TRUE
99 | bus_LV_2770-22_0_6_node_114 | 0.4 | n |  | TRUE
100 | bus_LV_2770-22_0_6_node_64 | 0.4 | n |  | TRUE
101 | bus_LV_2770-22_0_6_node_66 | 0.4 | n |  | TRUE
102 | bus_LV_2770-22_0_6_node_79 | 0.4 | n |  | TRUE
103 | bus_LV_2770-22_0_6_node_101 | 0.4 | n |  | TRUE
104 | bus_LV_2770-22_0_6_node_77 | 0.4 | n |  | TRUE
105 | bus_LV_2770-22_0_6_node_99 | 0.4 | n |  | TRUE
106 | bus_LV_2770-22_0_6_node_69 | 0.4 | n |  | TRUE
107 | bus_LV_2770-22_0_6_node_70 | 0.4 | n |  | TRUE
108 | bus_LV_2770-22_0_6_node_71 | 0.4 | n |  | TRUE
109 | bus_LV_2770-22_0_6_node_72 | 0.4 | n |  | TRUE
110 | bus_LV_2770-22_0_6_node_73 | 0.4 | n |  | TRUE
111 | bus_LV_2770-22_0_6_node_96 | 0.4 | n |  | TRUE
112 | bus_LV_2770-22_0_6_node_78 | 0.4 | n |  | TRUE
113 | bus_LV_2770-22_0_6_node_94 | 0.4 | n |  | TRUE
114 | bus_LV_2770-22_0_6_node_76 | 0.4 | n |  | TRUE
115 | bus_LV_2770-22_0_6_node_90 | 0.4 | n |  | TRUE
116 | bus_LV_2770-22_0_6_node_122 | 0.4 | n |  | TRUE
117 | bus_LV_2770-22_0_6_node_106 | 0.4 | n |  | TRUE
118 | bus_MV_563_0_node_99 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2770-22_0_6_load_0 | 0 | 0.013096 | 0.0032821 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2770-22_0_6_load_6 | 5 | 0.0040644 | 0.0010186 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2770-22_0_6_load_125 | 6 | 0.013397 | 0.0033575 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2770-22_0_6_load_9 | 7 | 0.0072081 | 0.0018065 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2770-22_0_6_load_103 | 8 | 0.0073847 | 0.0018508 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2770-22_0_6_load_13 | 10 | 0.014906 | 0.0037358 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2770-22_0_6_load_109 | 12 | 0.0039995 | 0.0010024 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2770-22_0_6_load_7 | 14 | 0.015792 | 0.0039578 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2770-22_0_6_load_32 | 17 | 0.010854 | 0.0027204 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2770-22_0_6_load_80 | 19 | 0.0099153 | 0.002485 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2770-22_0_6_load_107 | 23 | 0.001427 | 0.00035764 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2770-22_0_6_load_117 | 24 | 0.003383 | 0.00084785 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2770-22_0_6_load_97 | 27 | 0.00233 | 0.00058394 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2770-22_0_6_load_119 | 29 | 0.0054662 | 0.00137 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2770-22_0_6_load_120 | 30 | 0.025041 | 0.0062758 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2770-22_0_6_load_124 | 32 | 0.033636 | 0.0084301 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2770-22_0_6_load_115 | 33 | 0.00061881 | 0.00015509 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2770-22_0_6_load_88 | 35 | 0.003829 | 0.00095964 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2770-22_0_6_load_85 | 36 | 0.012336 | 0.0030918 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2770-22_0_6_load_118 | 38 | 0.0017969 | 0.00045034 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2770-22_0_6_load_108 | 39 | 0.002614 | 0.00065512 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2770-22_0_6_load_31 | 40 | 0.011494 | 0.0028807 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2770-22_0_6_load_15 | 41 | 0.0076637 | 0.0019207 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2770-22_0_6_load_16 | 42 | 0.0019803 | 0.0004963 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2770-22_0_6_load_17 | 43 | 0.0045536 | 0.0011412 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2770-22_0_6_load_18 | 44 | 0.01145 | 0.0028697 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2770-22_0_6_load_19 | 45 | 0.0026858 | 0.00067312 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2770-22_0_6_load_28 | 47 | 0.0025535 | 0.00063998 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2770-22_0_6_load_84 | 48 | 0.0021397 | 0.00053625 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2770-22_0_6_load_26 | 49 | 0.0012292 | 0.00030806 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2770-22_0_6_load_20 | 50 | 0.0015138 | 0.00037939 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2770-22_0_6_load_21 | 51 | 0.0011419 | 0.0002862 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2770-22_0_6_load_22 | 52 | 0.0032753 | 0.00082086 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2770-22_0_6_load_23 | 53 | 0.0019886 | 0.00049839 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2770-22_0_6_load_24 | 54 | 0.005761 | 0.0014438 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2770-22_0_6_load_89 | 55 | 0.0024501 | 0.00061405 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2770-22_0_6_load_81 | 56 | 0.0029635 | 0.00074272 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2770-22_0_6_load_67 | 57 | 0.0030716 | 0.00076981 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2770-22_0_6_load_82 | 58 | 0.0033716 | 0.00084499 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2770-22_0_6_load_25 | 59 | 0.0015005 | 0.00037606 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2770-22_0_6_load_29 | 61 | 0.0021496 | 0.00053875 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2770-22_0_6_load_74 | 62 | 0.0028236 | 0.00070766 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2770-22_0_6_load_110 | 64 | 0.0041705 | 0.0010452 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2770-22_0_6_load_55 | 65 | 0.0023538 | 0.00058993 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2770-22_0_6_load_111 | 67 | 0.0024985 | 0.00062618 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2770-22_0_6_load_95 | 70 | 0.011262 | 0.0028226 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2770-22_0_6_load_100 | 72 | 0.020159 | 0.0050524 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2770-22_0_6_load_121 | 73 | 0.028703 | 0.0071936 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2770-22_0_6_load_91 | 77 | 0.00091828 | 0.00023014 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2770-22_0_6_load_86 | 78 | 0.012223 | 0.0030633 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2770-22_0_6_load_68 | 80 | 0.0018537 | 0.00046458 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2770-22_0_6_load_63 | 81 | 0.0024124 | 0.00060459 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2770-22_0_6_load_87 | 82 | 0.0038745 | 0.00097104 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2770-22_0_6_load_49 | 83 | 0.002134 | 0.00053483 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2770-22_0_6_load_54 | 86 | 0.0069857 | 0.0017508 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2770-22_0_6_load_104 | 87 | 0.0090269 | 0.0022624 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2770-22_0_6_load_53 | 88 | 0.0031911 | 0.00079977 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2770-22_0_6_load_83 | 89 | 0.002383 | 0.00059723 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2770-22_0_6_load_56 | 90 | 0.0036401 | 0.00091231 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2770-22_0_6_load_57 | 91 | 0.0040048 | 0.0010037 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2770-22_0_6_load_58 | 92 | 0.0042165 | 0.0010568 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2770-22_0_6_load_59 | 93 | 0.0015873 | 0.00039781 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2770-22_0_6_load_60 | 94 | 0.0030527 | 0.00076508 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2770-22_0_6_load_112 | 95 | 0.0017105 | 0.00042869 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2770-22_0_6_load_61 | 96 | 0.0024736 | 0.00061995 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2770-22_0_6_load_62 | 97 | 0.0040729 | 0.0010208 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2770-22_0_6_load_113 | 98 | 0.0049488 | 0.0012403 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2770-22_0_6_load_114 | 99 | 0.0023349 | 0.00058517 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2770-22_0_6_load_64 | 100 | 0.0020833 | 0.00052213 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2770-22_0_6_load_66 | 101 | 0.0014954 | 0.00037477 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2770-22_0_6_load_79 | 102 | 0.0020229 | 0.00050699 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2770-22_0_6_load_101 | 103 | 0.00143 | 0.00035839 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2770-22_0_6_load_77 | 104 | 0.0014495 | 0.00036329 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2770-22_0_6_load_69 | 106 | 0.0014659 | 0.00036738 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2770-22_0_6_load_70 | 107 | 0.0017631 | 0.00044188 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2770-22_0_6_load_71 | 108 | 0.0017299 | 0.00043354 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2770-22_0_6_load_72 | 109 | 0.0017942 | 0.00044967 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2770-22_0_6_load_73 | 110 | 0.0013882 | 0.00034791 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2770-22_0_6_load_96 | 111 | 0.0058211 | 0.0014589 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2770-22_0_6_load_78 | 112 | 0.0013586 | 0.00034049 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2770-22_0_6_load_94 | 113 | 0.0060061 | 0.0015053 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2770-22_0_6_load_76 | 114 | 0.0018473 | 0.00046298 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2770-22_0_6_load_90 | 115 | 0.0047479 | 0.0011899 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2770-22_0_6_load_122 | 116 | 0.05181 | 0.012985 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2770-22_0_6_load_106 | 117 | 0.0016262 | 0.00040755 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 97 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2770-22_0_6_line_0 |  | 0 | 1 | 0.01199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2770-22_0_6_line_1 |  | 0 | 2 | 0.034893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2770-22_0_6_line_2 |  | 1 | 3 | 0.032458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2770-22_0_6_line_3 |  | 2 | 4 | 0.008569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2770-22_0_6_line_4 |  | 2 | 5 | 0.004838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2770-22_0_6_line_5 |  | 3 | 6 | 0.013403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2770-22_0_6_line_6 |  | 4 | 7 | 0.018332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2770-22_0_6_line_7 |  | 5 | 8 | 0.014307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2770-22_0_6_line_8 |  | 7 | 9 | 0.031592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2770-22_0_6_line_9 |  | 9 | 10 | 0.028032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2770-22_0_6_line_10 |  | 10 | 13 | 0.035944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2770-22_0_6_line_11 |  | 11 | 12 | 0.023349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2770-22_0_6_line_12 |  | 11 | 13 | 0.022817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2770-22_0_6_line_13 |  | 13 | 15 | 0.034367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2770-22_0_6_line_14 |  | 14 | 15 | 0.025844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2770-22_0_6_line_15 |  | 15 | 16 | 0.022722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_2770-22_0_6_line_16 |  | 16 | 17 | 0.02074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_2770-22_0_6_line_17 |  | 17 | 40 | 0.032931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2770-22_0_6_line_18 |  | 18 | 19 | 0.0041935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2770-22_0_6_line_19 |  | 18 | 20 | 0.025441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2770-22_0_6_line_20 |  | 19 | 66 | 0.031892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2770-22_0_6_line_21 |  | 20 | 40 | 0.0039698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2770-22_0_6_line_22 |  | 21 | 22 | 0.019932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2770-22_0_6_line_23 |  | 21 | 23 | 0.00050112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2770-22_0_6_line_24 |  | 22 | 24 | 0.0012219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2770-22_0_6_line_25 |  | 23 | 39 | 0.017837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2770-22_0_6_line_26 |  | 24 | 69 | 0.018203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2770-22_0_6_line_27 |  | 25 | 26 | 0.010567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2770-22_0_6_line_28 |  | 25 | 27 | 0.024596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2770-22_0_6_line_29 |  | 26 | 33 | 0.018518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2770-22_0_6_line_30 |  | 27 | 74 | 0.029923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2770-22_0_6_line_31 |  | 28 | 29 | 0.024756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2770-22_0_6_line_32 |  | 28 | 30 | 0.042533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2770-22_0_6_line_33 |  | 28 | 31 | 0.02292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_2770-22_0_6_line_34 |  | 29 | 72 | 0.023223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2770-22_0_6_line_35 |  | 30 | 73 | 0.013238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2770-22_0_6_line_36 |  | 31 | 32 | 0.031167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2770-22_0_6_line_37 |  | 33 | 69 | 0.0112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2770-22_0_6_line_38 |  | 34 | 35 | 0.049226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2770-22_0_6_line_39 |  | 34 | 36 | 0.020085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2770-22_0_6_line_40 |  | 35 | 71 | 0.0085938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2770-22_0_6_line_41 |  | 36 | 78 | 0.026662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2770-22_0_6_line_42 |  | 37 | 38 | 0.0015938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2770-22_0_6_line_43 |  | 37 | 39 | 0.017996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2770-22_0_6_line_44 |  | 41 | 42 | 0.032177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2770-22_0_6_line_45 |  | 41 | 43 | 0.0099986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2770-22_0_6_line_46 |  | 42 | 44 | 0.021034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2770-22_0_6_line_47 |  | 43 | 45 | 0.010675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_2770-22_0_6_line_48 |  | 44 | 46 | 0.010743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_2770-22_0_6_line_49 |  | 45 | 47 | 0.014557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_2770-22_0_6_line_50 |  | 46 | 48 | 0.010984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2770-22_0_6_line_51 |  | 47 | 49 | 0.016084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2770-22_0_6_line_52 |  | 48 | 89 | 0.0001754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_2770-22_0_6_line_53 |  | 49 | 59 | 0.0022926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_2770-22_0_6_line_54 |  | 50 | 51 | 0.0068144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2770-22_0_6_line_55 |  | 50 | 52 | 0.0057894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2770-22_0_6_line_56 |  | 51 | 53 | 0.0014003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2770-22_0_6_line_57 |  | 52 | 54 | 0.015126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2770-22_0_6_line_58 |  | 53 | 55 | 0.012139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2770-22_0_6_line_59 |  | 54 | 56 | 0.021515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2770-22_0_6_line_60 |  | 55 | 57 | 0.0065798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2770-22_0_6_line_61 |  | 56 | 58 | 0.016864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2770-22_0_6_line_62 |  | 57 | 79 | 0.014319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2770-22_0_6_line_63 |  | 58 | 88 | 0.015193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2770-22_0_6_line_64 |  | 59 | 60 | 0.011946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_2770-22_0_6_line_65 |  | 60 | 61 | 0.0034524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_2770-22_0_6_line_66 |  | 61 | 62 | 0.025769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_2770-22_0_6_line_67 |  | 62 | 66 | 0.022414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_2770-22_0_6_line_68 |  | 63 | 64 | 0.023636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_2770-22_0_6_line_69 |  | 63 | 65 | 0.017499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_2770-22_0_6_line_70 |  | 64 | 67 | 0.0025979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_2770-22_0_6_line_71 |  | 65 | 68 | 0.010986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_2770-22_0_6_line_72 |  | 67 | 95 | 0.0092661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_2770-22_0_6_line_73 |  | 68 | 86 | 0.021636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_2770-22_0_6_line_74 |  | 68 | 83 | 0.012847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2770-22_0_6_line_75 |  | 70 | 71 | 0.08622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2770-22_0_6_line_76 |  | 71 | 113 | 0.012335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_2770-22_0_6_line_77 |  | 71 | 115 | 0.012782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_2770-22_0_6_line_78 |  | 73 | 116 | 0.0082796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_2770-22_0_6_line_79 |  | 74 | 105 | 0.004311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2770-22_0_6_line_80 |  | 75 | 76 | 0.026211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_2770-22_0_6_line_81 |  | 75 | 77 | 0.037904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_2770-22_0_6_line_82 |  | 76 | 116 | 0.021047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_2770-22_0_6_line_83 |  | 77 | 115 | 0.016474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_2770-22_0_6_line_84 |  | 78 | 82 | 0.020697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2770-22_0_6_line_85 |  | 79 | 80 | 0.012172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_2770-22_0_6_line_86 |  | 79 | 81 | 0.012221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_2770-22_0_6_line_87 |  | 80 | 103 | 0.015664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_2770-22_0_6_line_88 |  | 81 | 100 | 0.020208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_2770-22_0_6_line_89 |  | 83 | 84 | 0.017924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2770-22_0_6_line_90 |  | 84 | 85 | 0.01113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2770-22_0_6_line_91 |  | 85 | 87 | 0.027252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2770-22_0_6_line_92 |  | 86 | 89 | 0.029264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_2770-22_0_6_line_93 |  | 90 | 91 | 0.016871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_2770-22_0_6_line_94 |  | 90 | 92 | 0.0094278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
95 | LV_2770-22_0_6_line_95 |  | 91 | 93 | 0.0014086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_2770-22_0_6_line_96 |  | 92 | 94 | 0.013768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
97 | LV_2770-22_0_6_line_97 |  | 93 | 95 | 0.0073235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
98 | LV_2770-22_0_6_line_98 |  | 94 | 96 | 0.0030999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
99 | LV_2770-22_0_6_line_99 |  | 96 | 97 | 0.02074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_2770-22_0_6_line_100 |  | 97 | 98 | 0.0041912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_2770-22_0_6_line_101 |  | 98 | 99 | 0.013334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_2770-22_0_6_line_102 |  | 99 | 117 | 0.0026541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_2770-22_0_6_line_103 |  | 100 | 101 | 0.0031936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
104 | LV_2770-22_0_6_line_104 |  | 101 | 102 | 0.014759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
105 | LV_2770-22_0_6_line_105 |  | 102 | 104 | 0.0021112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
106 | LV_2770-22_0_6_line_106 |  | 103 | 105 | 0.03167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
107 | LV_2770-22_0_6_line_107 |  | 104 | 114 | 0.016761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
108 | LV_2770-22_0_6_line_108 |  | 105 | 117 | 0.018946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
109 | LV_2770-22_0_6_line_109 |  | 106 | 107 | 0.0041492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
110 | LV_2770-22_0_6_line_110 |  | 106 | 108 | 0.009041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
111 | LV_2770-22_0_6_line_111 |  | 107 | 109 | 0.013484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
112 | LV_2770-22_0_6_line_112 |  | 108 | 110 | 0.0069389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
113 | LV_2770-22_0_6_line_113 |  | 109 | 111 | 0.0017137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
114 | LV_2770-22_0_6_line_114 |  | 110 | 112 | 0.013313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
115 | LV_2770-22_0_6_line_115 |  | 111 | 113 | 0.023172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
116 | LV_2770-22_0_6_line_116 |  | 112 | 114 | 0.0025239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2770-22_0_6_trafo_62 | 0.63 MVA 20/0.4 kV | 118 | 97 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2614042.4415 | 1264688.0685 | 2614044.4795 | 1264682.8253 | 2614047.8513 | 1264680.3649 | 2614049.9947 | 1264679.9122
1 | 2614084.1347 | 1264672.7011 | 2614049.9947 | 1264679.9122
2 | 2614018.5796 | 1264678.0608 | 2614019.0578 | 1264679.6186 | 2614022.8989 | 1264688.8674 | 2614036.7258 | 1264685.0418 | 2614042.4415 | 1264688.0685
3 | 2614084.1347 | 1264672.7011 | 2614082.3775 | 1264664.3133
4 | 2614084.1347 | 1264672.7011 | 2614085.1247 | 1264677.4367
5 | 2614005.8959 | 1264682.5006 | 2614018.5796 | 1264678.0608
6 | 2614082.3775 | 1264664.3133 | 2614078.6173 | 1264646.3698
7 | 2614089.075 | 1264691.1649 | 2614086.1673 | 1264682.4237 | 2614085.1247 | 1264677.4367
8 | 2614078.6173 | 1264646.3698 | 2614068.8684 | 1264648.4259 | 2614047.6151 | 1264652.9009
9 | 2614047.6151 | 1264652.9009 | 2614041.1797 | 1264625.6179
10 | 2614032.9279 | 1264590.6342 | 2614041.1797 | 1264625.6179
11 | 2614017.3314 | 1264607.1643 | 2614004.5958 | 1264598.3949 | 2613998.6441 | 1264593.2217
12 | 2614017.3314 | 1264607.1643 | 2614023.9032 | 1264598.4849 | 2614032.9279 | 1264590.6342
13 | 2614063.9413 | 1264576.3421 | 2614046.5472 | 1264582.3384 | 2614043.1161 | 1264584.3539 | 2614033.9164 | 1264589.7692 | 2614032.9279 | 1264590.6342
14 | 2614063.9413 | 1264576.3421 | 2614069.2423 | 1264601.6362
15 | 2614063.9413 | 1264576.3421 | 2614085.8392 | 1264570.0452
16 | 2614085.8392 | 1264570.0452 | 2614087.9943 | 1264569.4276 | 2614105.8084 | 1264564.443
17 | 2614137.5214 | 1264555.5694 | 2614105.8084 | 1264564.443
18 | 2614165.6181 | 1264546.6632 | 2614169.5621 | 1264545.2382
19 | 2614165.6181 | 1264546.6632 | 2614143.6425 | 1264553.8603 | 2614141.3443 | 1264554.4997
20 | 2614199.7434 | 1264534.9366 | 2614174.3306 | 1264543.5152 | 2614169.5621 | 1264545.2382
21 | 2614141.3443 | 1264554.4997 | 2614137.5214 | 1264555.5694
22 | 2614291.4869 | 1264493.6504 | 2614273.2738 | 1264501.8678
23 | 2614272.8169 | 1264502.0737 | 2614273.2738 | 1264501.8678
24 | 2614291.4869 | 1264493.6504 | 2614292.6079 | 1264493.1642
25 | 2614272.8169 | 1264502.0737 | 2614256.5559 | 1264509.4034
26 | 2614309.3074 | 1264485.9213 | 2614292.6079 | 1264493.1642
27 | 2614340.9935 | 1264483.5183 | 2614336.506 | 1264473.9452
28 | 2614340.9935 | 1264483.5183 | 2614351.6924 | 1264505.6657
29 | 2614336.506 | 1264473.9452 | 2614319.5577 | 1264481.4078
30 | 2614364.7084 | 1264532.6095 | 2614351.6924 | 1264505.6657
31 | 2614393.7079 | 1264461.1303 | 2614403.9212 | 1264483.6819
32 | 2614393.7079 | 1264461.1303 | 2614433.1588 | 1264477.026
33 | 2614377.5385 | 1264446.2253 | 2614379.8658 | 1264452.2907 | 2614383.3621 | 1264454.5229 | 2614393.7079 | 1264461.1303
34 | 2614413.5019 | 1264504.8369 | 2614403.9212 | 1264483.6819
35 | 2614433.1588 | 1264477.026 | 2614433.1588 | 1264477.026 | 2614445.622 | 1264472.5644
36 | 2614377.5385 | 1264446.2253 | 2614406.2548 | 1264434.1116
37 | 2614309.3074 | 1264485.9213 | 2614319.5577 | 1264481.4078
38 | 2614561.8016 | 1264559.4749 | 2614536.498 | 1264517.2504
39 | 2614561.8016 | 1264559.4749 | 2614543.7683 | 1264568.3181
40 | 2614532.0805 | 1264509.8789 | 2614536.498 | 1264517.2504
41 | 2614543.7683 | 1264568.3181 | 2614519.8295 | 1264580.0573
42 | 2614240.1495 | 1264516.7986 | 2614238.6954 | 1264517.4512
43 | 2614240.1495 | 1264516.7986 | 2614256.5559 | 1264509.4034
44 | 2614167.6696 | 1264608.7746 | 2614182.847 | 1264637.1472
45 | 2614167.6696 | 1264608.7746 | 2614165.712 | 1264605.115 | 2614171.1052 | 1264602.8531
46 | 2614182.847 | 1264637.1472 | 2614192.7683 | 1264655.6942
47 | 2614171.1052 | 1264602.8531 | 2614180.9496 | 1264598.7245
48 | 2614197.8354 | 1264665.1666 | 2614192.7683 | 1264655.6942
49 | 2614194.3734 | 1264593.0946 | 2614180.9496 | 1264598.7245
50 | 2614197.8354 | 1264665.1666 | 2614207.3981 | 1264659.7617
51 | 2614209.2054 | 1264586.8741 | 2614194.3734 | 1264593.0946
52 | 2614207.3981 | 1264659.7617 | 2614207.5508 | 1264659.6754
53 | 2614209.2054 | 1264586.8741 | 2614211.3196 | 1264585.9875
54 | 2614361.0682 | 1264608.0278 | 2614366.995 | 1264604.665
55 | 2614356.0329 | 1264610.8848 | 2614361.0682 | 1264608.0278
56 | 2614368.213 | 1264603.9739 | 2614366.995 | 1264604.665
57 | 2614342.877 | 1264618.3493 | 2614356.0329 | 1264610.8848
58 | 2614378.7709 | 1264597.9835 | 2614368.213 | 1264603.9739
59 | 2614324.1647 | 1264628.9664 | 2614342.877 | 1264618.3493
60 | 2614378.7709 | 1264597.9835 | 2614384.4937 | 1264594.7364
61 | 2614324.1647 | 1264628.9664 | 2614309.4969 | 1264637.2887
62 | 2614396.9477 | 1264587.6702 | 2614384.4937 | 1264594.7364
63 | 2614296.2827 | 1264644.7863 | 2614309.4969 | 1264637.2887
64 | 2614222.3361 | 1264581.3672 | 2614211.3196 | 1264585.9875
65 | 2614222.3361 | 1264581.3672 | 2614220.8255 | 1264578.2629
66 | 2614220.8255 | 1264578.2629 | 2614209.5506 | 1264555.0915
67 | 2614199.7434 | 1264534.9366 | 2614209.5506 | 1264555.0915
68 | 2614238.6321 | 1264609.4035 | 2614259.1679 | 1264597.7016
69 | 2614238.6321 | 1264609.4035 | 2614246.7597 | 1264624.9009
70 | 2614261.4251 | 1264596.4154 | 2614259.1679 | 1264597.7016
71 | 2614251.8623 | 1264634.6305 | 2614246.7597 | 1264624.9009
72 | 2614261.4251 | 1264596.4154 | 2614269.4759 | 1264591.8279
73 | 2614251.8623 | 1264634.6305 | 2614233.027 | 1264645.2762
74 | 2614251.8623 | 1264634.6305 | 2614257.8274 | 1264646.0091
75 | 2614532.0805 | 1264509.8789 | 2614542.504 | 1264493.9044 | 2614567.5578 | 1264478.4774 | 2614601.4493 | 1264461.9129
76 | 2614532.0805 | 1264509.8789 | 2614521.3905 | 1264516.0327
77 | 2614532.0805 | 1264509.8789 | 2614525.479 | 1264498.9338
78 | 2614445.622 | 1264472.5644 | 2614453.4172 | 1264469.7739
79 | 2614366.5816 | 1264536.4945 | 2614364.7084 | 1264532.6095
80 | 2614473.2329 | 1264462.6802 | 2614497.4006 | 1264452.3654
81 | 2614497.4006 | 1264452.3654 | 2614514.4707 | 1264480.6822 | 2614516.9705 | 1264484.827
82 | 2614473.2329 | 1264462.6802 | 2614453.4172 | 1264469.7739
83 | 2614525.479 | 1264498.9338 | 2614516.9705 | 1264484.827
84 | 2614501.2468 | 1264589.1699 | 2614519.8295 | 1264580.0573
85 | 2614396.9477 | 1264587.6702 | 2614390.7363 | 1264577.2021
86 | 2614396.9477 | 1264587.6702 | 2614407.5388 | 1264581.5733
87 | 2614390.7363 | 1264577.2021 | 2614382.7428 | 1264563.7308
88 | 2614407.5388 | 1264581.5733 | 2614425.0525 | 1264571.4912
89 | 2614266.1494 | 1264661.8836 | 2614257.8274 | 1264646.0091
90 | 2614271.6457 | 1264671.5702 | 2614266.1494 | 1264661.8836
91 | 2614271.6457 | 1264671.5702 | 2614247.6736 | 1264684.533
92 | 2614233.027 | 1264645.2762 | 2614207.5508 | 1264659.6754
93 | 2614291.7207 | 1264579.1522 | 2614277.0628 | 1264587.5047
94 | 2614291.7207 | 1264579.1522 | 2614299.912 | 1264574.4846
95 | 2614275.8389 | 1264588.2021 | 2614277.0628 | 1264587.5047
96 | 2614311.8745 | 1264567.668 | 2614299.912 | 1264574.4846
97 | 2614269.4759 | 1264591.8279 | 2614275.8389 | 1264588.2021
98 | 2614311.8745 | 1264567.668 | 2614314.5678 | 1264566.1333
99 | 2614314.5678 | 1264566.1333 | 2614332.5879 | 1264555.865
100 | 2614336.2294 | 1264553.79 | 2614332.5879 | 1264555.865
101 | 2614336.2294 | 1264553.79 | 2614347.8149 | 1264547.1883
102 | 2614350.1208 | 1264545.8743 | 2614347.8149 | 1264547.1883
103 | 2614425.0525 | 1264571.4912 | 2614427.8202 | 1264569.8979
104 | 2614440.6109 | 1264562.5348 | 2614427.8202 | 1264569.8979
105 | 2614440.6109 | 1264562.5348 | 2614442.4405 | 1264561.4815
106 | 2614366.5816 | 1264536.4945 | 2614382.7428 | 1264563.7308
107 | 2614456.967 | 1264553.1191 | 2614442.4405 | 1264561.4815
108 | 2614366.5816 | 1264536.4945 | 2614350.1208 | 1264545.8743
109 | 2614484.5412 | 1264537.2456 | 2614488.1372 | 1264535.1755
110 | 2614484.5412 | 1264537.2456 | 2614476.7058 | 1264541.7562
111 | 2614488.1372 | 1264535.1755 | 2614499.8231 | 1264528.4484
112 | 2614470.6922 | 1264545.218 | 2614476.7058 | 1264541.7562
113 | 2614501.3082 | 1264527.5934 | 2614499.8231 | 1264528.4484
114 | 2614470.6922 | 1264545.218 | 2614459.1544 | 1264551.8599
115 | 2614501.3082 | 1264527.5934 | 2614521.3905 | 1264516.0327
116 | 2614456.967 | 1264553.1191 | 2614459.1544 | 1264551.8599

## bus_geodata
| x | y | coords
0 | 2614049.9947 | 1264679.9122
1 | 2614042.4415 | 1264688.0685
2 | 2614084.1347 | 1264672.7011
3 | 2614018.5796 | 1264678.0608
4 | 2614082.3775 | 1264664.3133
5 | 2614085.1247 | 1264677.4367
6 | 2614005.8959 | 1264682.5006
7 | 2614078.6173 | 1264646.3698
8 | 2614089.075 | 1264691.1649
9 | 2614047.6151 | 1264652.9009
10 | 2614041.1797 | 1264625.6179
11 | 2614017.3314 | 1264607.1643
12 | 2613998.6441 | 1264593.2217
13 | 2614032.9279 | 1264590.6342
14 | 2614069.2423 | 1264601.6362
15 | 2614063.9413 | 1264576.3421
16 | 2614085.8392 | 1264570.0452
17 | 2614105.8084 | 1264564.443
18 | 2614165.6181 | 1264546.6632
19 | 2614169.5621 | 1264545.2382
20 | 2614141.3443 | 1264554.4997
21 | 2614273.2738 | 1264501.8678
22 | 2614291.4869 | 1264493.6503
23 | 2614272.8169 | 1264502.0737
24 | 2614292.6079 | 1264493.1642
25 | 2614340.9935 | 1264483.5183
26 | 2614336.506 | 1264473.9452
27 | 2614351.6924 | 1264505.6657
28 | 2614393.7079 | 1264461.1303
29 | 2614403.9212 | 1264483.6819
30 | 2614433.1588 | 1264477.026
31 | 2614377.5385 | 1264446.2253
32 | 2614406.2548 | 1264434.1116
33 | 2614319.5577 | 1264481.4078
34 | 2614561.8016 | 1264559.4749
35 | 2614536.498 | 1264517.2504
36 | 2614543.7683 | 1264568.3181
37 | 2614240.1495 | 1264516.7986
38 | 2614238.6954 | 1264517.4512
39 | 2614256.5559 | 1264509.4034
40 | 2614137.5214 | 1264555.5694
41 | 2614167.6696 | 1264608.7746
42 | 2614182.847 | 1264637.1472
43 | 2614171.1052 | 1264602.8531
44 | 2614192.7683 | 1264655.6942
45 | 2614180.9496 | 1264598.7245
46 | 2614197.8354 | 1264665.1666
47 | 2614194.3734 | 1264593.0946
48 | 2614207.3981 | 1264659.7617
49 | 2614209.2054 | 1264586.8741
50 | 2614361.0682 | 1264608.0278
51 | 2614366.995 | 1264604.665
52 | 2614356.0329 | 1264610.8848
53 | 2614368.213 | 1264603.9739
54 | 2614342.877 | 1264618.3493
55 | 2614378.7709 | 1264597.9835
56 | 2614324.1647 | 1264628.9664
57 | 2614384.4937 | 1264594.7364
58 | 2614309.4969 | 1264637.2887
59 | 2614211.3196 | 1264585.9875
60 | 2614222.3361 | 1264581.3672
61 | 2614220.8255 | 1264578.2629
62 | 2614209.5506 | 1264555.0915
63 | 2614238.6321 | 1264609.4035
64 | 2614259.1679 | 1264597.7016
65 | 2614246.7597 | 1264624.9009
66 | 2614199.7434 | 1264534.9366
67 | 2614261.4251 | 1264596.4154
68 | 2614251.8623 | 1264634.6305
69 | 2614309.3074 | 1264485.9213
70 | 2614601.4493 | 1264461.9129
71 | 2614532.0805 | 1264509.8789
72 | 2614413.5019 | 1264504.8369
73 | 2614445.622 | 1264472.5644
74 | 2614364.7084 | 1264532.6095
75 | 2614497.4006 | 1264452.3654
76 | 2614473.2329 | 1264462.6802
77 | 2614516.9705 | 1264484.827
78 | 2614519.8295 | 1264580.0573
79 | 2614396.9477 | 1264587.6702
80 | 2614390.7363 | 1264577.2021
81 | 2614407.5388 | 1264581.5733
82 | 2614501.2468 | 1264589.1699
83 | 2614257.8274 | 1264646.0091
84 | 2614266.1494 | 1264661.8836
85 | 2614271.6457 | 1264671.5702
86 | 2614233.027 | 1264645.2762
87 | 2614247.6736 | 1264684.533
88 | 2614296.2827 | 1264644.7863
89 | 2614207.5508 | 1264659.6754
90 | 2614291.7207 | 1264579.1522
91 | 2614277.0628 | 1264587.5047
92 | 2614299.912 | 1264574.4846
93 | 2614275.8389 | 1264588.2021
94 | 2614311.8745 | 1264567.668
95 | 2614269.4759 | 1264591.8279
96 | 2614314.5678 | 1264566.1333
97 | 2614332.5879 | 1264555.865
98 | 2614336.2294 | 1264553.79
99 | 2614347.8149 | 1264547.1883
100 | 2614425.0525 | 1264571.4912
101 | 2614427.8202 | 1264569.8979
102 | 2614440.6109 | 1264562.5348
103 | 2614382.7428 | 1264563.7308
104 | 2614442.4405 | 1264561.4815
105 | 2614366.5816 | 1264536.4945
106 | 2614484.5412 | 1264537.2456
107 | 2614488.1372 | 1264535.1755
108 | 2614476.7058 | 1264541.7562
109 | 2614499.8231 | 1264528.4484
110 | 2614470.6922 | 1264545.218
111 | 2614501.3082 | 1264527.5934
112 | 2614459.1544 | 1264551.8599
113 | 2614521.3905 | 1264516.0327
114 | 2614456.967 | 1264553.1191
115 | 2614525.479 | 1264498.9338
116 | 2614453.4172 | 1264469.7739
117 | 2614350.1208 | 1264545.8743
118 | 2614332.5879 | 1264555.865

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1