## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2770-30_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2770-30_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2770-30_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2770-30_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2770-30_0_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_2770-30_0_3_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_2770-30_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2770-30_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2770-30_0_3_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_2770-30_0_3_node_47 | 0.4 | n |  | TRUE
10 | bus_LV_2770-30_0_3_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_2770-30_0_3_node_69 | 0.4 | n |  | TRUE
12 | bus_LV_2770-30_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2770-30_0_3_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_2770-30_0_3_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_2770-30_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2770-30_0_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_2770-30_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_2770-30_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2770-30_0_3_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_2770-30_0_3_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_2770-30_0_3_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_2770-30_0_3_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_2770-30_0_3_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_2770-30_0_3_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_2770-30_0_3_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_2770-30_0_3_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_2770-30_0_3_node_61 | 0.4 | n |  | TRUE
28 | bus_LV_2770-30_0_3_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_2770-30_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2770-30_0_3_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_2770-30_0_3_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_2770-30_0_3_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_2770-30_0_3_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_2770-30_0_3_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_2770-30_0_3_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_2770-30_0_3_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_2770-30_0_3_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_2770-30_0_3_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_2770-30_0_3_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_2770-30_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_2770-30_0_3_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_2770-30_0_3_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_2770-30_0_3_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_2770-30_0_3_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_2770-30_0_3_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_2770-30_0_3_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_2770-30_0_3_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_2770-30_0_3_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_2770-30_0_3_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_2770-30_0_3_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_2770-30_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_2770-30_0_3_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_2770-30_0_3_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_2770-30_0_3_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_2770-30_0_3_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_2770-30_0_3_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_2770-30_0_3_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_2770-30_0_3_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_2770-30_0_3_node_32 | 0.4 | n |  | TRUE
60 | bus_LV_2770-30_0_3_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_2770-30_0_3_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_2770-30_0_3_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_2770-30_0_3_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_2770-30_0_3_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_2770-30_0_3_node_62 | 0.4 | n |  | TRUE
66 | bus_MV_563_0_node_187 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2770-30_0_3_load_0 | 0 | 0.013735 | 0.0034422 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2770-30_0_3_load_3 | 3 | 0.01525 | 0.0038219 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2770-30_0_3_load_47 | 9 | 0.0011032 | 0.0002765 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2770-30_0_3_load_44 | 10 | 0.00060582 | 0.00015183 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2770-30_0_3_load_69 | 11 | 0.0032831 | 0.00082282 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2770-30_0_3_load_16 | 14 | 0.090447 | 0.022668 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2770-30_0_3_load_25 | 19 | 0.012148 | 0.0030447 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2770-30_0_3_load_24 | 20 | 0.00823 | 0.0020626 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2770-30_0_3_load_42 | 21 | 0.0031316 | 0.00078484 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2770-30_0_3_load_41 | 22 | 0.0049023 | 0.0012286 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2770-30_0_3_load_56 | 24 | 0.00093012 | 0.00023311 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2770-30_0_3_load_63 | 26 | 0.011937 | 0.0029916 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2770-30_0_3_load_61 | 27 | 0.018016 | 0.0045152 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2770-30_0_3_load_43 | 28 | 0.0080853 | 0.0020264 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2770-30_0_3_load_46 | 30 | 0.01665 | 0.0041729 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2770-30_0_3_load_45 | 31 | 0.01361 | 0.0034109 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2770-30_0_3_load_67 | 32 | 0.018892 | 0.0047348 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2770-30_0_3_load_66 | 33 | 0.025353 | 0.006354 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2770-30_0_3_load_65 | 34 | 0.014167 | 0.0035507 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2770-30_0_3_load_68 | 35 | 0.00222 | 0.00055639 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2770-30_0_3_load_20 | 38 | 0.0044167 | 0.0011069 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2770-30_0_3_load_22 | 40 | 0.014019 | 0.0035135 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2770-30_0_3_load_64 | 42 | 0.005408 | 0.0013554 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2770-30_0_3_load_26 | 44 | 0.0011395 | 0.00028559 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2770-30_0_3_load_27 | 45 | 0.0043823 | 0.0010983 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2770-30_0_3_load_31 | 49 | 0.0018158 | 0.00045508 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2770-30_0_3_load_51 | 50 | 0.00073688 | 0.00018468 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2770-30_0_3_load_55 | 53 | 0.0016721 | 0.00041906 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2770-30_0_3_load_52 | 54 | 0.0045318 | 0.0011358 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2770-30_0_3_load_50 | 55 | 0.0059809 | 0.001499 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2770-30_0_3_load_37 | 57 | 0.0039633 | 0.0009933 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2770-30_0_3_load_35 | 58 | 0.0049828 | 0.0012488 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2770-30_0_3_load_32 | 59 | 0.0021765 | 0.00054548 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2770-30_0_3_load_33 | 60 | 0.0014112 | 0.00035369 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2770-30_0_3_load_40 | 61 | 0.0031804 | 0.00079709 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2770-30_0_3_load_39 | 62 | 0.0017195 | 0.00043094 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2770-30_0_3_load_49 | 63 | 0.0013365 | 0.00033496 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2770-30_0_3_load_59 | 64 | 0.0046257 | 0.0011593 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2770-30_0_3_load_62 | 65 | 0.0060097 | 0.0015062 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2770-30_0_3_line_0 |  | 0 | 1 | 0.079204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2770-30_0_3_line_1 |  | 0 | 2 | 0.041129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2770-30_0_3_line_2 |  | 1 | 3 | 0.029225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2770-30_0_3_line_3 |  | 2 | 4 | 0.17604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2770-30_0_3_line_4 |  | 3 | 5 | 0.067809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2770-30_0_3_line_5 |  | 4 | 11 | 0.071843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2770-30_0_3_line_6 |  | 5 | 17 | 0.24116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2770-30_0_3_line_7 |  | 5 | 15 | 0.030391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2770-30_0_3_line_8 |  | 6 | 7 | 0.35638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2770-30_0_3_line_9 |  | 6 | 8 | 0.02236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2770-30_0_3_line_10 |  | 6 | 9 | 0.022629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2770-30_0_3_line_11 |  | 7 | 10 | 0.012672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2770-30_0_3_line_12 |  | 8 | 21 | 0.004367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2770-30_0_3_line_13 |  | 8 | 22 | 0.0095362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2770-30_0_3_line_14 |  | 9 | 25 | 0.0043835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2770-30_0_3_line_15 |  | 12 | 13 | 0.082133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2770-30_0_3_line_16 |  | 12 | 14 | 0.038922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2770-30_0_3_line_17 |  | 13 | 31 | 0.009788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2770-30_0_3_line_18 |  | 14 | 15 | 0.030519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2770-30_0_3_line_19 |  | 15 | 16 | 0.032288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2770-30_0_3_line_20 |  | 16 | 28 | 0.054731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2770-30_0_3_line_21 |  | 17 | 23 | 0.017108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2770-30_0_3_line_22 |  | 17 | 24 | 0.026888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2770-30_0_3_line_23 |  | 18 | 19 | 0.01207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2770-30_0_3_line_24 |  | 18 | 20 | 0.027368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2770-30_0_3_line_25 |  | 19 | 34 | 0.042603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2770-30_0_3_line_26 |  | 23 | 35 | 0.012382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2770-30_0_3_line_27 |  | 23 | 36 | 0.013038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2770-30_0_3_line_28 |  | 24 | 37 | 0.020238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2770-30_0_3_line_29 |  | 25 | 63 | 0.014106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2770-30_0_3_line_30 |  | 26 | 27 | 0.030737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2770-30_0_3_line_31 |  | 27 | 65 | 0.033798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2770-30_0_3_line_32 |  | 29 | 30 | 0.011984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2770-30_0_3_line_33 |  | 29 | 31 | 0.03292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2770-30_0_3_line_34 |  | 32 | 33 | 0.0037181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2770-30_0_3_line_35 |  | 33 | 41 | 0.06915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2770-30_0_3_line_36 |  | 34 | 41 | 0.0041611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2770-30_0_3_line_37 |  | 36 | 54 | 0.012683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2770-30_0_3_line_38 |  | 37 | 43 | 0.032641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2770-30_0_3_line_39 |  | 37 | 64 | 0.044268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2770-30_0_3_line_40 |  | 38 | 39 | 0.024678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2770-30_0_3_line_41 |  | 39 | 40 | 0.0027887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2770-30_0_3_line_42 |  | 39 | 41 | 0.035646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2770-30_0_3_line_43 |  | 40 | 42 | 0.042632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2770-30_0_3_line_44 |  | 42 | 43 | 0.012577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2770-30_0_3_line_45 |  | 43 | 65 | 0.028893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2770-30_0_3_line_46 |  | 44 | 45 | 0.0027775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2770-30_0_3_line_47 |  | 44 | 46 | 0.029816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2770-30_0_3_line_48 |  | 45 | 47 | 0.023282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2770-30_0_3_line_49 |  | 46 | 48 | 0.016586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_2770-30_0_3_line_50 |  | 46 | 49 | 0.016784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2770-30_0_3_line_51 |  | 47 | 50 | 0.007411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2770-30_0_3_line_52 |  | 47 | 51 | 0.020594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2770-30_0_3_line_53 |  | 47 | 52 | 0.019133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2770-30_0_3_line_54 |  | 48 | 53 | 0.019225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2770-30_0_3_line_55 |  | 48 | 54 | 0.0065331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_2770-30_0_3_line_56 |  | 51 | 55 | 0.023833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2770-30_0_3_line_57 |  | 51 | 56 | 0.001204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2770-30_0_3_line_58 |  | 52 | 57 | 0.017915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2770-30_0_3_line_59 |  | 52 | 58 | 0.031073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2770-30_0_3_line_60 |  | 55 | 63 | 0.0017701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2770-30_0_3_line_61 |  | 56 | 61 | 0.035534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2770-30_0_3_line_62 |  | 56 | 60 | 0.029105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2770-30_0_3_line_63 |  | 59 | 60 | 0.0010188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2770-30_0_3_line_64 |  | 61 | 62 | 0.012928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2770-30_0_3_trafo_31 | 0.63 MVA 20/0.4 kV | 66 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2613883.0196 | 1265622.0861 | 2613877.352 | 1265618.1368 | 2613871.5053 | 1265613.4866 | 2613867.2778 | 1265608.6511 | 2613865.3038 | 1265599.5958 | 2613865.0826 | 1265550.4612
1 | 2613864.8974 | 1265509.3321 | 2613865.0826 | 1265550.4612
2 | 2613883.0196 | 1265622.0861 | 2613888.5864 | 1265617.6294 | 2613899.1109 | 1265611.6054 | 2613908.2117 | 1265607.5412
3 | 2613856.0335 | 1265345.7756 | 2613851.024 | 1265359.7736 | 2613850.4144 | 1265379.0189 | 2613849.8401 | 1265383.1204 | 2613851.4542 | 1265446.4237 | 2613850.6971 | 1265496.6123 | 2613855.223 | 1265502.6493 | 2613856.0482 | 1265510.4011 | 2613864.8974 | 1265509.3321
4 | 2613972.1816 | 1265585.0918 | 2613911.916 | 1265605.887 | 2613908.2117 | 1265607.5412
5 | 2613856.0335 | 1265345.7756 | 2613864.8772 | 1265356.8595 | 2613882.5538 | 1265367.4081 | 2613897.5647 | 1265374.8929 | 2613908.0237 | 1265374.5282 | 2613917.7867 | 1265372.3607
6 | 2613972.1816 | 1265585.0918 | 2613993.8974 | 1265577.7712 | 2614020.7487 | 1265563.8026 | 2614112.7138 | 1265539.2145 | 2614109.9115 | 1265520.8617 | 2614141.1485 | 1265514.9986 | 2614172.6113 | 1265506.0674 | 2614168.1596 | 1265497.4175
7 | 2613972.1816 | 1265585.0918 | 2613970.7331 | 1265576.7492 | 2613968.2355 | 1265569.4716 | 2613981.6408 | 1265564.6999
8 | 2614102.1322 | 1265521.5993 | 2614097.3502 | 1265503.0195 | 2614094.5928 | 1265494.2735 | 2614082.9773 | 1265458.5545 | 2614073.3178 | 1265429.8116 | 2614063.1221 | 1265401.7124 | 2614056.642 | 1265384.763 | 2614052.023 | 1265373.5554 | 2614042.1327 | 1265359.5001 | 2614049.4445 | 1265352.7682 | 2614095.1083 | 1265305.766 | 2614101.9261 | 1265297.8434 | 2614109.0849 | 1265289.0321 | 2614113.1593 | 1265282.2704 | 2614118.1349 | 1265273.3427 | 2614124.4284 | 1265276.949 | 2614128.4782 | 1265280.5278 | 2614139.4868 | 1265292.8959 | 2614140.7855 | 1265294.5446 | 2614158.9815 | 1265317.6262 | 2614163.1327 | 1265322.8842
9 | 2614163.1327 | 1265322.8842 | 2614171.9904 | 1265321.5266 | 2614175.1668 | 1265334.5433
10 | 2614163.1327 | 1265322.8842 | 2614152.0593 | 1265328.2838 | 2614145.2838 | 1265336.0536
11 | 2614102.1322 | 1265521.5993 | 2614097.6669 | 1265509.7405
12 | 2614175.1668 | 1265334.5433 | 2614179.5346 | 1265334.2201
13 | 2614175.1668 | 1265334.5433 | 2614177.4301 | 1265343.807
14 | 2614142.4029 | 1265339.3574 | 2614145.2838 | 1265336.0536
15 | 2613955.4632 | 1265500.3825 | 2613964.1578 | 1265497.8011 | 2613979.6862 | 1265493.1789 | 2613990.9275 | 1265489.8364 | 2614034.19 | 1265476.974
16 | 2613955.4632 | 1265500.3825 | 2613970.1358 | 1265536.4325
17 | 2614034.19 | 1265476.974 | 2614031.6965 | 1265467.509
18 | 2613981.6408 | 1265564.6999 | 2613970.1358 | 1265536.4325
19 | 2614011.4249 | 1265552.2614 | 2614001.9637 | 1265557.465 | 2613981.6408 | 1265564.6999
20 | 2614011.4249 | 1265552.2614 | 2614023.4116 | 1265545.674 | 2614063.8516 | 1265538.6014
21 | 2614152.9537 | 1265493.056 | 2614156.341 | 1265496.5776 | 2614160.5156 | 1265498.2554 | 2614163.956 | 1265498.4081 | 2614168.1596 | 1265497.4175
22 | 2614168.1596 | 1265497.4175 | 2614182.4257 | 1265491.7698 | 2614193.1619 | 1265487.5266
23 | 2614384.3014 | 1265411.9667 | 2614373.0766 | 1265416.4036
24 | 2614384.3014 | 1265411.9667 | 2614377.9503 | 1265385.3455
25 | 2614333.4568 | 1265432.0643 | 2614373.0766 | 1265416.4036
26 | 2614152.9537 | 1265493.056 | 2614141.0568 | 1265496.6079
27 | 2614152.9537 | 1265493.056 | 2614149.008 | 1265480.6268
28 | 2614211.9829 | 1265480.0879 | 2614193.1619 | 1265487.5266
29 | 2614142.4029 | 1265339.3574 | 2614133.1313 | 1265349.9886
30 | 2614227.2461 | 1265407.2238 | 2614219.8093 | 1265377.4004
31 | 2614227.2461 | 1265407.2238 | 2614235.4236 | 1265440.0178
32 | 2614023.3102 | 1265435.6751 | 2614034.8123 | 1265432.3122
33 | 2614023.3102 | 1265435.6751 | 2614031.6965 | 1265467.509
34 | 2614311.9718 | 1265362.8872 | 2614312.8706 | 1265366.4951
35 | 2614329.5871 | 1265433.5939 | 2614312.8706 | 1265366.4951
36 | 2614329.5871 | 1265433.5939 | 2614333.4568 | 1265432.0643
37 | 2614149.008 | 1265480.6268 | 2614145.1707 | 1265468.5382
38 | 2614211.9829 | 1265480.0879 | 2614242.4144 | 1265468.0525
39 | 2614211.9829 | 1265480.0879 | 2614201.9405 | 1265436.974
40 | 2614296.3518 | 1265446.734 | 2614291.6702 | 1265422.5042
41 | 2614296.3518 | 1265446.734 | 2614293.7583 | 1265447.7591
42 | 2614329.5871 | 1265433.5939 | 2614296.3518 | 1265446.734
43 | 2614254.1111 | 1265463.4294 | 2614293.7583 | 1265447.7591
44 | 2614242.4144 | 1265468.0525 | 2614254.1111 | 1265463.4294
45 | 2614242.4144 | 1265468.0525 | 2614235.4236 | 1265440.0178
46 | 2614130.6775 | 1265414.7981 | 2614131.2769 | 1265417.5102
47 | 2614138.1721 | 1265446.4995 | 2614136.5728 | 1265441.47 | 2614131.2769 | 1265417.5102
48 | 2614125.6527 | 1265392.0652 | 2614130.6775 | 1265414.7981
49 | 2614138.1721 | 1265446.4995 | 2614143.194 | 1265462.3113
50 | 2614121.9138 | 1265450.8527 | 2614138.1721 | 1265446.4995
51 | 2614119.7991 | 1265396.6322 | 2614125.6527 | 1265392.0652
52 | 2614121.8082 | 1265371.8531 | 2614122.6209 | 1265378.3707 | 2614124.7439 | 1265387.9602 | 2614125.6527 | 1265392.0652
53 | 2614125.6527 | 1265392.0652 | 2614124.7439 | 1265387.9602 | 2614139.2983 | 1265384.637
54 | 2614127.2141 | 1265473.0697 | 2614143.194 | 1265462.3113
55 | 2614143.194 | 1265462.3113 | 2614145.1707 | 1265468.5382
56 | 2614121.8082 | 1265371.8531 | 2614121.424 | 1265368.7834 | 2614124.8493 | 1265359.4851 | 2614131.9678 | 1265351.3227
57 | 2614121.8082 | 1265371.8531 | 2614120.633 | 1265372.1283
58 | 2614139.2983 | 1265384.637 | 2614144.23 | 1265375.1644 | 2614142.3784 | 1265368.1701
59 | 2614139.2983 | 1265384.637 | 2614169.5933 | 1265377.7259
60 | 2614133.1313 | 1265349.9886 | 2614131.9678 | 1265351.3227
61 | 2614120.633 | 1265372.1283 | 2614086.0167 | 1265380.1525
62 | 2614120.633 | 1265372.1283 | 2614110.7406 | 1265362.1757 | 2614096.0651 | 1265365.611
63 | 2614096.0651 | 1265365.611 | 2614095.0732 | 1265365.8433
64 | 2614073.423 | 1265383.0717 | 2614086.0167 | 1265380.1525

## bus_geodata
| x | y | coords
0 | 2613865.0826 | 1265550.4612
1 | 2613883.0196 | 1265622.0861
2 | 2613864.8974 | 1265509.3321
3 | 2613908.2117 | 1265607.5412
4 | 2613856.0335 | 1265345.7756
5 | 2613972.1816 | 1265585.0918
6 | 2614163.1327 | 1265322.8842
7 | 2614102.1322 | 1265521.5993
8 | 2614175.1668 | 1265334.5433
9 | 2614145.2838 | 1265336.0536
10 | 2614097.6669 | 1265509.7405
11 | 2613917.7867 | 1265372.3607
12 | 2613955.4632 | 1265500.3825
13 | 2614034.19 | 1265476.974
14 | 2613970.1358 | 1265536.4325
15 | 2613981.6408 | 1265564.6999
16 | 2614011.4249 | 1265552.2614
17 | 2614168.1596 | 1265497.4175
18 | 2614384.3014 | 1265411.9667
19 | 2614373.0766 | 1265416.4036
20 | 2614377.9503 | 1265385.3455
21 | 2614179.5346 | 1265334.2201
22 | 2614177.4301 | 1265343.807
23 | 2614152.9537 | 1265493.056
24 | 2614193.1619 | 1265487.5266
25 | 2614142.4029 | 1265339.3574
26 | 2614219.8093 | 1265377.4004
27 | 2614227.2461 | 1265407.2238
28 | 2614063.8516 | 1265538.6014
29 | 2614023.3102 | 1265435.6751
30 | 2614034.8123 | 1265432.3122
31 | 2614031.6965 | 1265467.509
32 | 2614311.9718 | 1265362.8872
33 | 2614312.8706 | 1265366.4951
34 | 2614333.4568 | 1265432.0643
35 | 2614141.0568 | 1265496.6079
36 | 2614149.008 | 1265480.6268
37 | 2614211.9829 | 1265480.0879
38 | 2614291.6702 | 1265422.5042
39 | 2614296.3518 | 1265446.734
40 | 2614293.7583 | 1265447.7591
41 | 2614329.5871 | 1265433.5939
42 | 2614254.1111 | 1265463.4294
43 | 2614242.4144 | 1265468.0525
44 | 2614131.2769 | 1265417.5102
45 | 2614130.6775 | 1265414.7981
46 | 2614138.1721 | 1265446.4995
47 | 2614125.6527 | 1265392.0652
48 | 2614143.194 | 1265462.3113
49 | 2614121.9138 | 1265450.8527
50 | 2614119.7991 | 1265396.6322
51 | 2614121.8082 | 1265371.8531
52 | 2614139.2983 | 1265384.637
53 | 2614127.2141 | 1265473.0697
54 | 2614145.1707 | 1265468.5382
55 | 2614131.9678 | 1265351.3227
56 | 2614120.633 | 1265372.1283
57 | 2614142.3784 | 1265368.1701
58 | 2614169.5933 | 1265377.7259
59 | 2614095.0732 | 1265365.8433
60 | 2614096.0651 | 1265365.611
61 | 2614086.0167 | 1265380.1525
62 | 2614073.423 | 1265383.0717
63 | 2614133.1313 | 1265349.9886
64 | 2614201.9405 | 1265436.974
65 | 2614235.4236 | 1265440.0178
66 | 2614138.1721 | 1265446.4995

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1