## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2770-35_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2770-35_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2770-35_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2770-35_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2770-35_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_2770-35_0_4_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_2770-35_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2770-35_0_4_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_2770-35_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2770-35_0_4_node_56 | 0.4 | n |  | TRUE
10 | bus_LV_2770-35_0_4_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_2770-35_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2770-35_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2770-35_0_4_node_67 | 0.4 | n |  | TRUE
14 | bus_LV_2770-35_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2770-35_0_4_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_2770-35_0_4_node_84 | 0.4 | n |  | TRUE
17 | bus_LV_2770-35_0_4_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_2770-35_0_4_node_62 | 0.4 | n |  | TRUE
19 | bus_LV_2770-35_0_4_node_64 | 0.4 | n |  | TRUE
20 | bus_LV_2770-35_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_2770-35_0_4_node_68 | 0.4 | n |  | TRUE
22 | bus_LV_2770-35_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2770-35_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2770-35_0_4_node_79 | 0.4 | n |  | TRUE
25 | bus_LV_2770-35_0_4_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_2770-35_0_4_node_76 | 0.4 | n |  | TRUE
27 | bus_LV_2770-35_0_4_node_77 | 0.4 | n |  | TRUE
28 | bus_LV_2770-35_0_4_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_2770-35_0_4_node_75 | 0.4 | n |  | TRUE
30 | bus_LV_2770-35_0_4_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_2770-35_0_4_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_2770-35_0_4_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_2770-35_0_4_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_2770-35_0_4_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_2770-35_0_4_node_71 | 0.4 | n |  | TRUE
36 | bus_LV_2770-35_0_4_node_72 | 0.4 | n |  | TRUE
37 | bus_LV_2770-35_0_4_node_82 | 0.4 | n |  | TRUE
38 | bus_LV_2770-35_0_4_node_17 | 0.4 | n |  | TRUE
39 | bus_LV_2770-35_0_4_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_2770-35_0_4_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_2770-35_0_4_node_18 | 0.4 | n |  | TRUE
42 | bus_LV_2770-35_0_4_node_58 | 0.4 | n |  | TRUE
43 | bus_LV_2770-35_0_4_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_2770-35_0_4_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_2770-35_0_4_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_2770-35_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_2770-35_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_2770-35_0_4_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_2770-35_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_2770-35_0_4_node_26 | 0.4 | n |  | TRUE
51 | bus_LV_2770-35_0_4_node_66 | 0.4 | n |  | TRUE
52 | bus_LV_2770-35_0_4_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_2770-35_0_4_node_27 | 0.4 | n |  | TRUE
54 | bus_LV_2770-35_0_4_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_2770-35_0_4_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_2770-35_0_4_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_2770-35_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_2770-35_0_4_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_2770-35_0_4_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_2770-35_0_4_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_2770-35_0_4_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_2770-35_0_4_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_2770-35_0_4_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_2770-35_0_4_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_2770-35_0_4_node_38 | 0.4 | n |  | TRUE
66 | bus_LV_2770-35_0_4_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_2770-35_0_4_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_2770-35_0_4_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_2770-35_0_4_node_36 | 0.4 | n |  | TRUE
70 | bus_LV_2770-35_0_4_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_2770-35_0_4_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_2770-35_0_4_node_44 | 0.4 | n |  | TRUE
73 | bus_LV_2770-35_0_4_node_30 | 0.4 | n |  | TRUE
74 | bus_LV_2770-35_0_4_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_2770-35_0_4_node_37 | 0.4 | n |  | TRUE
76 | bus_LV_2770-35_0_4_node_46 | 0.4 | n |  | TRUE
77 | bus_LV_2770-35_0_4_node_45 | 0.4 | n |  | TRUE
78 | bus_LV_2770-35_0_4_node_41 | 0.4 | n |  | TRUE
79 | bus_LV_2770-35_0_4_node_42 | 0.4 | n |  | TRUE
80 | bus_LV_2770-35_0_4_node_43 | 0.4 | n |  | TRUE
81 | bus_MV_563_0_node_106 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2770-35_0_4_load_0 | 0 | 0.004679 | 0.0011727 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2770-35_0_4_load_1 | 1 | 0.0050858 | 0.0012746 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2770-35_0_4_load_57 | 7 | 0.017059 | 0.0042754 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2770-35_0_4_load_56 | 9 | 0.0058013 | 0.001454 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2770-35_0_4_load_39 | 10 | 0.0014699 | 0.0003684 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2770-35_0_4_load_67 | 13 | 0.068205 | 0.017094 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2770-35_0_4_load_32 | 15 | 0.0031016 | 0.00077734 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2770-35_0_4_load_84 | 16 | 0.019581 | 0.0049074 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2770-35_0_4_load_64 | 19 | 0.0024081 | 0.00060352 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2770-35_0_4_load_68 | 21 | 0.019161 | 0.0048023 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2770-35_0_4_load_79 | 24 | 0.026281 | 0.0065865 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2770-35_0_4_load_77 | 27 | 0.033911 | 0.008499 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2770-35_0_4_load_80 | 30 | 0.029778 | 0.0074632 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2770-35_0_4_load_69 | 34 | 0.017397 | 0.0043601 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2770-35_0_4_load_72 | 36 | 0.025731 | 0.0064488 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2770-35_0_4_load_82 | 37 | 0.010218 | 0.002561 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2770-35_0_4_load_35 | 40 | 0.0025945 | 0.00065023 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2770-35_0_4_load_58 | 42 | 0.0055936 | 0.0014019 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2770-35_0_4_load_34 | 47 | 0.0038222 | 0.00095794 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2770-35_0_4_load_65 | 48 | 0.0051679 | 0.0012952 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2770-35_0_4_load_66 | 51 | 0.0081191 | 0.0020348 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2770-35_0_4_load_61 | 52 | 0.0078628 | 0.0019706 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2770-35_0_4_load_27 | 53 | 0.0037307 | 0.000935 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2770-35_0_4_load_33 | 54 | 0.0028916 | 0.00072471 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2770-35_0_4_load_63 | 55 | 0.0019715 | 0.00049411 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2770-35_0_4_load_60 | 56 | 0.0030772 | 0.00077121 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2770-35_0_4_load_81 | 59 | 0.028409 | 0.0071199 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2770-35_0_4_load_52 | 61 | 0.0027607 | 0.00069189 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2770-35_0_4_load_49 | 63 | 0.0049591 | 0.0012429 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2770-35_0_4_load_74 | 64 | 0.035162 | 0.0088124 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2770-35_0_4_load_78 | 66 | 0.013263 | 0.0033241 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2770-35_0_4_load_73 | 67 | 0.027813 | 0.0069705 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2770-35_0_4_load_83 | 68 | 0.01053 | 0.0026392 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2770-35_0_4_load_47 | 71 | 0.0017802 | 0.00044616 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2770-35_0_4_load_44 | 72 | 0.012321 | 0.003088 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2770-35_0_4_load_30 | 73 | 0.0041643 | 0.0010437 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2770-35_0_4_load_59 | 74 | 0.004118 | 0.0010321 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2770-35_0_4_load_37 | 75 | 0.0016296 | 0.00040842 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2770-35_0_4_load_46 | 76 | 0.0010535 | 0.00026403 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2770-35_0_4_load_45 | 77 | 0.0109 | 0.0027317 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2770-35_0_4_load_41 | 78 | 0.0018835 | 0.00047204 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2770-35_0_4_load_42 | 79 | 0.0018415 | 0.00046153 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2770-35_0_4_load_43 | 80 | 0.0013516 | 0.00033875 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2770-35_0_4_line_0 |  | 0 | 1 | 0.00047105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_2770-35_0_4_line_1 |  | 0 | 2 | 0.01786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_2770-35_0_4_line_2 |  | 1 | 3 | 0.015798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_2770-35_0_4_line_3 |  | 2 | 4 | 0.081042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_2770-35_0_4_line_4 |  | 3 | 5 | 0.005719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_2770-35_0_4_line_5 |  | 4 | 11 | 0.075851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2770-35_0_4_line_6 |  | 4 | 12 | 0.060334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_2770-35_0_4_line_7 |  | 4 | 13 | 0.072481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_2770-35_0_4_line_8 |  | 5 | 53 | 0.010335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_2770-35_0_4_line_9 |  | 6 | 7 | 0.010755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2770-35_0_4_line_10 |  | 6 | 8 | 0.019107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2770-35_0_4_line_11 |  | 6 | 9 | 0.027879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2770-35_0_4_line_12 |  | 8 | 10 | 0.03602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_2770-35_0_4_line_13 |  | 10 | 43 | 0.019251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_2770-35_0_4_line_14 |  | 11 | 16 | 0.009996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2770-35_0_4_line_15 |  | 12 | 14 | 0.08785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_2770-35_0_4_line_16 |  | 12 | 15 | 0.019133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2770-35_0_4_line_17 |  | 13 | 20 | 0.072948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_2770-35_0_4_line_18 |  | 14 | 17 | 0.043677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2770-35_0_4_line_19 |  | 14 | 18 | 0.026649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_2770-35_0_4_line_20 |  | 14 | 19 | 0.018439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2770-35_0_4_line_21 |  | 15 | 54 | 0.00014289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2770-35_0_4_line_22 |  | 17 | 48 | 0.02145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2770-35_0_4_line_23 |  | 18 | 55 | 0.016695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2770-35_0_4_line_24 |  | 18 | 56 | 0.011902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_2770-35_0_4_line_25 |  | 20 | 21 | 0.063743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_2770-35_0_4_line_26 |  | 21 | 39 | 0.079711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_2770-35_0_4_line_27 |  | 22 | 23 | 0.0464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2770-35_0_4_line_28 |  | 22 | 24 | 0.027521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2770-35_0_4_line_29 |  | 23 | 35 | 0.017164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2770-35_0_4_line_30 |  | 23 | 36 | 0.01664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2770-35_0_4_line_31 |  | 23 | 28 | 0.082529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2770-35_0_4_line_32 |  | 25 | 26 | 0.031204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_2770-35_0_4_line_33 |  | 25 | 27 | 0.01633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_2770-35_0_4_line_34 |  | 26 | 29 | 0.044731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_2770-35_0_4_line_35 |  | 26 | 64 | 0.010837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_2770-35_0_4_line_36 |  | 27 | 65 | 0.028333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_2770-35_0_4_line_37 |  | 28 | 29 | 0.035961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2770-35_0_4_line_38 |  | 28 | 30 | 0.060244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2770-35_0_4_line_39 |  | 29 | 67 | 0.062842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2770-35_0_4_line_40 |  | 30 | 58 | 0.012286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2770-35_0_4_line_41 |  | 31 | 32 | 0.017772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2770-35_0_4_line_42 |  | 31 | 33 | 0.086637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2770-35_0_4_line_43 |  | 31 | 34 | 0.018168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2770-35_0_4_line_44 |  | 32 | 36 | 0.016377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2770-35_0_4_line_45 |  | 33 | 37 | 0.006431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2770-35_0_4_line_46 |  | 35 | 68 | 0.008083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2770-35_0_4_line_47 |  | 38 | 39 | 0.091203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_2770-35_0_4_line_48 |  | 38 | 40 | 0.022829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_2770-35_0_4_line_49 |  | 39 | 41 | 0.1192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2770-35_0_4_line_50 |  | 40 | 69 | 0.026016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_2770-35_0_4_line_51 |  | 41 | 42 | 0.018414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2770-35_0_4_line_52 |  | 43 | 44 | 0.039724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_2770-35_0_4_line_53 |  | 44 | 49 | 0.004791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2770-35_0_4_line_54 |  | 44 | 47 | 0.0087385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_2770-35_0_4_line_55 |  | 45 | 46 | 0.004493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_2770-35_0_4_line_56 |  | 45 | 47 | 0.0082957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_2770-35_0_4_line_57 |  | 46 | 53 | 0.0065093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_2770-35_0_4_line_58 |  | 49 | 73 | 0.0055013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2770-35_0_4_line_59 |  | 50 | 51 | 0.006085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2770-35_0_4_line_60 |  | 50 | 52 | 0.003129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2770-35_0_4_line_61 |  | 52 | 74 | 0.043362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_2770-35_0_4_line_62 |  | 56 | 74 | 0.021698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_2770-35_0_4_line_63 |  | 57 | 58 | 0.014392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2770-35_0_4_line_64 |  | 57 | 59 | 0.024743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2770-35_0_4_line_65 |  | 59 | 60 | 0.0053486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2770-35_0_4_line_66 |  | 60 | 61 | 0.027674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2770-35_0_4_line_67 |  | 61 | 62 | 0.0011821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2770-35_0_4_line_68 |  | 62 | 63 | 0.0021722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2770-35_0_4_line_69 |  | 65 | 66 | 0.0011014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2770-35_0_4_line_70 |  | 65 | 69 | 0.060969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_2770-35_0_4_line_71 |  | 69 | 75 | 0.01124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2770-35_0_4_line_72 |  | 70 | 71 | 0.012995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2770-35_0_4_line_73 |  | 70 | 72 | 0.025535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2770-35_0_4_line_74 |  | 72 | 79 | 0.0010238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2770-35_0_4_line_75 |  | 75 | 76 | 0.010708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2770-35_0_4_line_76 |  | 76 | 77 | 0.0081423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2770-35_0_4_line_77 |  | 77 | 80 | 0.020013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2770-35_0_4_line_78 |  | 78 | 79 | 0.016059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2770-35_0_4_line_79 |  | 78 | 80 | 0.016388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2770-35_0_4_trafo_74 | 0.63 MVA 20/0.4 kV | 81 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2614318.6339 | 1264965.0985 | 2614319.0528 | 1264965.3139
1 | 2614302.7501 | 1264956.9317 | 2614318.6339 | 1264965.0985
2 | 2614333.1027 | 1264972.5379 | 2614319.0528 | 1264965.3139
3 | 2614253.0243 | 1264994.1601 | 2614263.5901 | 1264999.7894 | 2614264.4298 | 1264998.1569 | 2614291.1761 | 1264950.9886 | 2614302.7501 | 1264956.9317
4 | 2614333.1027 | 1264972.5379 | 2614338.2545 | 1264975.0521
5 | 2614197.2791 | 1264992.0696 | 2614199.9878 | 1264989.7633 | 2614226.6462 | 1264969.6465 | 2614234.5646 | 1264977.1262 | 2614234.7579 | 1264984.4318 | 2614248.407 | 1264991.7029 | 2614253.0243 | 1264994.1601
6 | 2614258.3718 | 1265037.4808 | 2614247.227 | 1265031.5721 | 2614263.5901 | 1264999.7894 | 2614253.0243 | 1264994.1601
7 | 2614253.0243 | 1264994.1601 | 2614287.1188 | 1264930.1986
8 | 2614338.2545 | 1264975.0521 | 2614337.6976 | 1264978.0528 | 2614338.0834 | 1264980.4332 | 2614339.2227 | 1264982.5596 | 2614341.0258 | 1264984.2318
9 | 2614360.1522 | 1264906.135 | 2614362.3162 | 1264895.5996
10 | 2614369.7325 | 1264917.5994 | 2614358.8468 | 1264913.4925 | 2614360.1522 | 1264906.135
11 | 2614360.1522 | 1264906.135 | 2614387.1121 | 1264913.2364
12 | 2614369.7325 | 1264917.5994 | 2614379.4873 | 1264952.2739
13 | 2614384.7009 | 1264970.8059 | 2614379.4873 | 1264952.2739
14 | 2614197.2791 | 1264992.0696 | 2614206.3498 | 1264996.3275
15 | 2614207.6262 | 1265082.7572 | 2614217.5825 | 1265088.1737 | 2614233.4766 | 1265057.168 | 2614235.6856 | 1265052.8592 | 2614238.6813 | 1265047.0179 | 2614247.227 | 1265031.5721 | 2614258.3718 | 1265037.4808
16 | 2614258.3718 | 1265037.4808 | 2614275.2697 | 1265046.4546
17 | 2614321.4331 | 1264865.8246 | 2614287.1188 | 1264930.1986
18 | 2614202.1991 | 1265116.6233 | 2614204.9899 | 1265111.4819 | 2614217.5825 | 1265088.1737 | 2614207.6262 | 1265082.7572
19 | 2614207.6262 | 1265082.7572 | 2614184.1567 | 1265070.0034
20 | 2614207.6262 | 1265082.7572 | 2614215.9072 | 1265066.2828
21 | 2614275.2697 | 1265046.4546 | 2614275.3959 | 1265046.5216
22 | 2614202.1991 | 1265116.6233 | 2614182.7637 | 1265107.5486
23 | 2614184.1567 | 1265070.0034 | 2614177.0318 | 1265085.1022
24 | 2614184.1567 | 1265070.0034 | 2614174.6892 | 1265064.855 | 2614173.6541 | 1265064.4147
25 | 2614321.4331 | 1264865.8246 | 2614321.4401 | 1264862.9227 | 2614308.4466 | 1264852.2728 | 2614308.989 | 1264849.0497 | 2614327.2591 | 1264816.7936 | 2614328.972 | 1264813.5128
26 | 2614379.1695 | 1264752.0409 | 2614358.3655 | 1264773.2052 | 2614348.643 | 1264786.1574 | 2614333.6364 | 1264804.5783 | 2614328.972 | 1264813.5128
27 | 2614097.6662 | 1264862.9539 | 2614109.7105 | 1264889.7566 | 2614115.8774 | 1264905.6156
28 | 2614097.6662 | 1264862.9539 | 2614122.7464 | 1264851.6231
29 | 2614122.0966 | 1264921.6192 | 2614115.8774 | 1264905.6156
30 | 2614115.8774 | 1264905.6156 | 2614120.723 | 1264903.9926 | 2614126.4066 | 1264904.5955 | 2614128.7277 | 1264909.926
31 | 2614115.8774 | 1264905.6156 | 2614109.7105 | 1264889.7566 | 2614146.7966 | 1264848.0826 | 2614154.0934 | 1264841.6511
32 | 2614229.7019 | 1264854.0404 | 2614201.0731 | 1264866.6473
33 | 2614229.7019 | 1264854.0404 | 2614222.8574 | 1264839.2142
34 | 2614165.9854 | 1264872.2673 | 2614169.0016 | 1264870.4733 | 2614197.6313 | 1264857.4882 | 2614201.0731 | 1264866.6473
35 | 2614201.0731 | 1264866.6473 | 2614198.358 | 1264877.1391
36 | 2614210.9817 | 1264813.4897 | 2614222.8574 | 1264839.2142
37 | 2614154.0934 | 1264841.6511 | 2614163.754 | 1264860.7096 | 2614169.0016 | 1264870.4733 | 2614165.9854 | 1264872.2673
38 | 2614154.0934 | 1264841.6511 | 2614129.3064 | 1264786.743
39 | 2614165.9854 | 1264872.2673 | 2614173.1753 | 1264885.338 | 2614167.8102 | 1264927.9547 | 2614171.1353 | 1264924.2592
40 | 2614124.2515 | 1264775.5454 | 2614129.3064 | 1264786.743
41 | 2614130.1961 | 1264941.7191 | 2614134.1152 | 1264933.8785 | 2614135.2659 | 1264924.9417
42 | 2614130.1961 | 1264941.7191 | 2614138.9552 | 1264963.0325 | 2614139.6714 | 1264965.825 | 2614142.0588 | 1264975.0816 | 2614143.3288 | 1264988.8052 | 2614148.4892 | 1264997.19 | 2614137.837 | 1265005.7039 | 2614126.9886 | 1265014.3729
43 | 2614130.1961 | 1264941.7191 | 2614113.5165 | 1264948.9201
44 | 2614135.2659 | 1264924.9417 | 2614128.7277 | 1264909.926
45 | 2614126.9886 | 1265014.3729 | 2614124.3446 | 1265008.507
46 | 2614114.6645 | 1264924.8482 | 2614122.0966 | 1264921.6192
47 | 2614317.0461 | 1264795.9545 | 2614332.2645 | 1264777.1227 | 2614345.1048 | 1264763.989 | 2614369.0616 | 1264740.6863 | 2614373.6051 | 1264745.7119 | 2614375.993 | 1264748.4752 | 2614379.1695 | 1264752.0409
48 | 2614317.0461 | 1264795.9545 | 2614310.1353 | 1264792.113 | 2614299.799 | 1264791.1096 | 2614295.3366 | 1264791.9294
49 | 2614379.1695 | 1264752.0409 | 2614393.7531 | 1264768.432 | 2614390.412 | 1264773.7276 | 2614360.3076 | 1264826.3579 | 2614383.0957 | 1264837.7765 | 2614387.4578 | 1264839.9552
50 | 2614269.7486 | 1264796.63 | 2614295.3366 | 1264791.9294
51 | 2614387.4578 | 1264839.9552 | 2614379.1858 | 1264856.4068
52 | 2614356.5311 | 1264974.2624 | 2614362.0978 | 1264973.3752 | 2614374.805 | 1264980.8667 | 2614386.6195 | 1264977.6264 | 2614384.7009 | 1264970.8059
53 | 2614351.7856 | 1264975.0181 | 2614356.5311 | 1264974.2624
54 | 2614356.5311 | 1264974.2624 | 2614352.4566 | 1264981.9927
55 | 2614347.2661 | 1264985.0363 | 2614348.5884 | 1264989.3314
56 | 2614348.5884 | 1264989.3314 | 2614352.4566 | 1264981.9927
57 | 2614347.2661 | 1264985.0363 | 2614345.7441 | 1264985.4329 | 2614343.2824 | 1264985.2268 | 2614341.0258 | 1264984.2318
58 | 2614351.7856 | 1264975.0181 | 2614351.5537 | 1264974.3837 | 2614350.0296 | 1264972.5232 | 2614347.9771 | 1264971.2396
59 | 2614114.9762 | 1265094.5444 | 2614120.3152 | 1265097.4925
60 | 2614120.3152 | 1265097.4925 | 2614122.0076 | 1265094.8607
61 | 2614153.2409 | 1265065.9125 | 2614139.4446 | 1265073.6437 | 2614126.6334 | 1265087.6674 | 2614122.0076 | 1265094.8607
62 | 2614153.2409 | 1265065.9125 | 2614156.2581 | 1265064.2217 | 2614167.2499 | 1265061.6906 | 2614173.6541 | 1265064.4147
63 | 2614124.2515 | 1264775.5454 | 2614118.3265 | 1264762.4222
64 | 2614118.3265 | 1264762.4222 | 2614108.1453 | 1264739.8708
65 | 2614105.9445 | 1264734.996 | 2614108.1453 | 1264739.8708
66 | 2614105.9445 | 1264734.996 | 2614097.2853 | 1264715.8288 | 2614095.1844 | 1264709.5281
67 | 2614094.8104 | 1264708.4067 | 2614095.1844 | 1264709.5281
68 | 2614094.8104 | 1264708.4067 | 2614094.1248 | 1264706.3455
69 | 2614210.9817 | 1264813.4897 | 2614209.9521 | 1264813.8807
70 | 2614210.9817 | 1264813.4897 | 2614269.7486 | 1264796.63
71 | 2614269.7486 | 1264796.63 | 2614264.3198 | 1264786.7885
72 | 2614217.0491 | 1264701.093 | 2614228.4803 | 1264694.9117
73 | 2614217.0491 | 1264701.093 | 2614229.3826 | 1264723.452
74 | 2614229.8771 | 1264724.3485 | 2614229.3826 | 1264723.452
75 | 2614264.3198 | 1264786.7885 | 2614259.148 | 1264777.4126
76 | 2614255.2152 | 1264770.283 | 2614259.148 | 1264777.4126
77 | 2614245.549 | 1264752.7596 | 2614255.2152 | 1264770.283
78 | 2614229.8771 | 1264724.3485 | 2614237.6336 | 1264738.4099
79 | 2614245.549 | 1264752.7596 | 2614237.6336 | 1264738.4099

## bus_geodata
| x | y | coords
0 | 2614318.6339 | 1264965.0985
1 | 2614319.0528 | 1264965.3139
2 | 2614302.7501 | 1264956.9317
3 | 2614333.1027 | 1264972.5379
4 | 2614253.0243 | 1264994.1601
5 | 2614338.2545 | 1264975.0521
6 | 2614360.1522 | 1264906.135
7 | 2614362.3162 | 1264895.5996
8 | 2614369.7325 | 1264917.5994
9 | 2614387.1121 | 1264913.2364
10 | 2614379.4873 | 1264952.2739
11 | 2614197.2791 | 1264992.0696
12 | 2614258.3718 | 1265037.4808
13 | 2614287.1188 | 1264930.1986
14 | 2614207.6262 | 1265082.7572
15 | 2614275.2697 | 1265046.4546
16 | 2614206.3498 | 1264996.3275
17 | 2614202.1991 | 1265116.6233
18 | 2614184.1567 | 1265070.0034
19 | 2614215.9072 | 1265066.2828
20 | 2614321.4331 | 1264865.8246
21 | 2614328.972 | 1264813.5128
22 | 2614097.6662 | 1264862.9539
23 | 2614115.8774 | 1264905.6156
24 | 2614122.7464 | 1264851.6231
25 | 2614229.7019 | 1264854.0404
26 | 2614201.0731 | 1264866.6473
27 | 2614222.8574 | 1264839.2142
28 | 2614154.0934 | 1264841.6511
29 | 2614165.9854 | 1264872.2673
30 | 2614129.3064 | 1264786.743
31 | 2614130.1961 | 1264941.7191
32 | 2614135.2659 | 1264924.9418
33 | 2614126.9886 | 1265014.3729
34 | 2614113.5165 | 1264948.9201
35 | 2614122.0966 | 1264921.6192
36 | 2614128.7277 | 1264909.926
37 | 2614124.3446 | 1265008.507
38 | 2614317.0461 | 1264795.9545
39 | 2614379.1695 | 1264752.0409
40 | 2614295.3366 | 1264791.9294
41 | 2614387.4578 | 1264839.9552
42 | 2614379.1858 | 1264856.4068
43 | 2614384.7009 | 1264970.8059
44 | 2614356.5311 | 1264974.2624
45 | 2614348.5884 | 1264989.3314
46 | 2614347.2661 | 1264985.0363
47 | 2614352.4566 | 1264981.9927
48 | 2614182.7637 | 1265107.5486
49 | 2614351.7856 | 1264975.0181
50 | 2614120.3152 | 1265097.4925
51 | 2614114.9762 | 1265094.5444
52 | 2614122.0076 | 1265094.8607
53 | 2614341.0258 | 1264984.2318
54 | 2614275.3959 | 1265046.5216
55 | 2614177.0318 | 1265085.1022
56 | 2614173.6541 | 1265064.4147
57 | 2614118.3265 | 1264762.4222
58 | 2614124.2515 | 1264775.5454
59 | 2614108.1453 | 1264739.8708
60 | 2614105.9445 | 1264734.996
61 | 2614095.1844 | 1264709.5281
62 | 2614094.8104 | 1264708.4067
63 | 2614094.1248 | 1264706.3455
64 | 2614198.358 | 1264877.1391
65 | 2614210.9817 | 1264813.4897
66 | 2614209.9521 | 1264813.8807
67 | 2614171.1353 | 1264924.2592
68 | 2614114.6645 | 1264924.8482
69 | 2614269.7485 | 1264796.63
70 | 2614217.0491 | 1264701.093
71 | 2614228.4803 | 1264694.9117
72 | 2614229.3826 | 1264723.452
73 | 2614347.9771 | 1264971.2396
74 | 2614153.2409 | 1265065.9125
75 | 2614264.3198 | 1264786.7885
76 | 2614259.148 | 1264777.4126
77 | 2614255.2152 | 1264770.283
78 | 2614237.6336 | 1264738.4099
79 | 2614229.8771 | 1264724.3485
80 | 2614245.549 | 1264752.7596
81 | 2614201.0731 | 1264866.6473

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1