## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2770-38_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2770-38_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2770-38_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2770-38_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2770-38_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2770-38_0_3_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_2770-38_0_3_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_2770-38_0_3_node_50 | 0.4 | n |  | TRUE
8 | bus_LV_2770-38_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2770-38_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2770-38_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2770-38_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2770-38_0_3_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_2770-38_0_3_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_2770-38_0_3_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_2770-38_0_3_node_49 | 0.4 | n |  | TRUE
16 | bus_LV_2770-38_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2770-38_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2770-38_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2770-38_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_2770-38_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_2770-38_0_3_node_99 | 0.4 | n |  | TRUE
22 | bus_LV_2770-38_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2770-38_0_3_node_100 | 0.4 | n |  | TRUE
24 | bus_LV_2770-38_0_3_node_89 | 0.4 | n |  | TRUE
25 | bus_LV_2770-38_0_3_node_88 | 0.4 | n |  | TRUE
26 | bus_LV_2770-38_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_2770-38_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_2770-38_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_2770-38_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_2770-38_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_2770-38_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_2770-38_0_3_node_73 | 0.4 | n |  | TRUE
33 | bus_LV_2770-38_0_3_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_2770-38_0_3_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_2770-38_0_3_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_2770-38_0_3_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_2770-38_0_3_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_2770-38_0_3_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_2770-38_0_3_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_2770-38_0_3_node_77 | 0.4 | n |  | TRUE
41 | bus_LV_2770-38_0_3_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_2770-38_0_3_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_2770-38_0_3_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_2770-38_0_3_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_2770-38_0_3_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_2770-38_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_2770-38_0_3_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_2770-38_0_3_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_2770-38_0_3_node_24 | 0.4 | n |  | TRUE
50 | bus_LV_2770-38_0_3_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_2770-38_0_3_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_2770-38_0_3_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_2770-38_0_3_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_2770-38_0_3_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_2770-38_0_3_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_2770-38_0_3_node_29 | 0.4 | n |  | TRUE
57 | bus_LV_2770-38_0_3_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_2770-38_0_3_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_2770-38_0_3_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_2770-38_0_3_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_2770-38_0_3_node_85 | 0.4 | n |  | TRUE
62 | bus_LV_2770-38_0_3_node_95 | 0.4 | n |  | TRUE
63 | bus_LV_2770-38_0_3_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_2770-38_0_3_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_2770-38_0_3_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_2770-38_0_3_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_2770-38_0_3_node_82 | 0.4 | n |  | TRUE
68 | bus_LV_2770-38_0_3_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_2770-38_0_3_node_81 | 0.4 | n |  | TRUE
70 | bus_LV_2770-38_0_3_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_2770-38_0_3_node_94 | 0.4 | n |  | TRUE
72 | bus_LV_2770-38_0_3_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_2770-38_0_3_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_2770-38_0_3_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_2770-38_0_3_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_2770-38_0_3_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_2770-38_0_3_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_2770-38_0_3_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_2770-38_0_3_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_2770-38_0_3_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_2770-38_0_3_node_102 | 0.4 | n |  | TRUE
82 | bus_LV_2770-38_0_3_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_2770-38_0_3_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_2770-38_0_3_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_2770-38_0_3_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_2770-38_0_3_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_2770-38_0_3_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_2770-38_0_3_node_101 | 0.4 | n |  | TRUE
89 | bus_LV_2770-38_0_3_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_2770-38_0_3_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_2770-38_0_3_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_2770-38_0_3_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_2770-38_0_3_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_2770-38_0_3_node_93 | 0.4 | n |  | TRUE
95 | bus_LV_2770-38_0_3_node_98 | 0.4 | n |  | TRUE
96 | bus_LV_2770-38_0_3_node_96 | 0.4 | n |  | TRUE
97 | bus_MV_575_0_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2770-38_0_3_load_0 | 0 | 0.0013216 | 0.00033123 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2770-38_0_3_load_1 | 1 | 0.0021312 | 0.00053413 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2770-38_0_3_load_2 | 2 | 0.0038135 | 0.00095575 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2770-38_0_3_load_4 | 4 | 0.0053345 | 0.001337 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2770-38_0_3_load_9 | 5 | 0.002401 | 0.00060176 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2770-38_0_3_load_48 | 6 | 0.0028695 | 0.00071917 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2770-38_0_3_load_5 | 8 | 0.0064465 | 0.0016156 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2770-38_0_3_load_6 | 9 | 0.0021526 | 0.00053948 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2770-38_0_3_load_7 | 10 | 0.0026255 | 0.000658 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2770-38_0_3_load_8 | 11 | 0.0048069 | 0.0012047 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2770-38_0_3_load_46 | 13 | 0.0018189 | 0.00045585 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2770-38_0_3_load_47 | 14 | 0.006235 | 0.0015626 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2770-38_0_3_load_49 | 15 | 0.003697 | 0.00092656 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2770-38_0_3_load_10 | 16 | 0.0042132 | 0.0010559 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2770-38_0_3_load_13 | 18 | 0.0038396 | 0.0009623 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2770-38_0_3_load_14 | 19 | 0.0036585 | 0.00091692 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2770-38_0_3_load_15 | 20 | 0.0016012 | 0.00040131 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2770-38_0_3_load_99 | 21 | 0.0042132 | 0.0010559 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2770-38_0_3_load_16 | 22 | 0.0016012 | 0.00040131 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2770-38_0_3_load_100 | 23 | 0.0032349 | 0.00081075 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2770-38_0_3_load_89 | 24 | 0.0036561 | 0.00091629 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2770-38_0_3_load_88 | 25 | 0.0016516 | 0.00041394 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2770-38_0_3_load_17 | 26 | 0.027312 | 0.006845 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2770-38_0_3_load_18 | 28 | 0.0082119 | 0.0020581 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2770-38_0_3_load_23 | 31 | 0.062747 | 0.015726 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2770-38_0_3_load_71 | 33 | 0.010188 | 0.0025533 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2770-38_0_3_load_39 | 34 | 0.0054232 | 0.0013592 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2770-38_0_3_load_40 | 35 | 0.0047597 | 0.0011929 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2770-38_0_3_load_33 | 36 | 0.010196 | 0.0025553 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2770-38_0_3_load_54 | 38 | 0.0064922 | 0.0016271 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2770-38_0_3_load_51 | 39 | 0.041433 | 0.010384 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2770-38_0_3_load_77 | 40 | 0.0060119 | 0.0015067 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2770-38_0_3_load_41 | 42 | 0.0048607 | 0.0012182 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2770-38_0_3_load_78 | 44 | 0.0053297 | 0.0013358 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2770-38_0_3_load_52 | 45 | 0.0088657 | 0.0022219 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2770-38_0_3_load_24 | 49 | 0.0033371 | 0.00083635 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2770-38_0_3_load_26 | 51 | 0.025273 | 0.006334 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2770-38_0_3_load_27 | 52 | 0.017274 | 0.0043293 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2770-38_0_3_load_28 | 53 | 0.0091238 | 0.0022866 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2770-38_0_3_load_36 | 54 | 0.0078935 | 0.0019783 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2770-38_0_3_load_35 | 55 | 0.003751 | 0.00094008 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2770-38_0_3_load_29 | 56 | 0.0033317 | 0.00083499 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2770-38_0_3_load_30 | 57 | 0.0038735 | 0.0009708 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2770-38_0_3_load_38 | 58 | 0.0079256 | 0.0019863 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2770-38_0_3_load_34 | 59 | 0.0022182 | 0.00055594 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2770-38_0_3_load_56 | 60 | 0.0062832 | 0.0015747 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2770-38_0_3_load_85 | 61 | 0.0059352 | 0.0014875 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2770-38_0_3_load_95 | 62 | 0.0014617 | 0.00036635 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2770-38_0_3_load_42 | 64 | 0.00092702 | 0.00023233 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2770-38_0_3_load_43 | 65 | 0.0053012 | 0.0013286 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2770-38_0_3_load_53 | 66 | 0.0066836 | 0.0016751 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2770-38_0_3_load_82 | 67 | 0.0044116 | 0.0011056 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2770-38_0_3_load_81 | 69 | 0.0068939 | 0.0017278 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2770-38_0_3_load_84 | 70 | 0.0015887 | 0.00039816 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2770-38_0_3_load_94 | 71 | 0.001572 | 0.00039398 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2770-38_0_3_load_64 | 73 | 0.0012398 | 0.00031073 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2770-38_0_3_load_69 | 74 | 0.0011828 | 0.00029644 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2770-38_0_3_load_66 | 75 | 0.0034078 | 0.00085408 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2770-38_0_3_load_62 | 76 | 0.0048767 | 0.0012222 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2770-38_0_3_load_59 | 77 | 0.0047769 | 0.0011972 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2770-38_0_3_load_60 | 78 | 0.0044469 | 0.0011145 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2770-38_0_3_load_102 | 81 | 0.00093714 | 0.00023487 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2770-38_0_3_load_67 | 82 | 0.0011737 | 0.00029415 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2770-38_0_3_load_68 | 83 | 0.0041858 | 0.0010491 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2770-38_0_3_load_75 | 85 | 0.0035291 | 0.00088448 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2770-38_0_3_load_79 | 86 | 0.0045047 | 0.001129 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2770-38_0_3_load_101 | 88 | 0.022165 | 0.005555 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2770-38_0_3_load_86 | 89 | 0.0082798 | 0.0020751 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2770-38_0_3_load_87 | 90 | 0.0016476 | 0.00041292 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2770-38_0_3_load_90 | 91 | 0.0021166 | 0.00053047 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2770-38_0_3_load_91 | 92 | 0.0021166 | 0.00053047 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2770-38_0_3_load_98 | 95 | 0.0056841 | 0.0014246 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2770-38_0_3_load_96 | 96 | 0.0022269 | 0.00055811 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2770-38_0_3_line_0 |  | 0 | 1 | 0.018031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2770-38_0_3_line_1 |  | 0 | 2 | 0.021739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2770-38_0_3_line_2 |  | 1 | 3 | 0.0060497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2770-38_0_3_line_3 |  | 2 | 4 | 0.00077671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2770-38_0_3_line_4 |  | 3 | 5 | 0.006833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2770-38_0_3_line_5 |  | 4 | 6 | 0.025313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2770-38_0_3_line_6 |  | 5 | 7 | 0.031941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2770-38_0_3_line_7 |  | 7 | 15 | 0.015486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2770-38_0_3_line_8 |  | 8 | 9 | 0.010814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2770-38_0_3_line_9 |  | 8 | 10 | 0.031188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2770-38_0_3_line_10 |  | 9 | 11 | 0.012836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2770-38_0_3_line_11 |  | 11 | 12 | 0.029663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2770-38_0_3_line_12 |  | 12 | 13 | 0.034682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2770-38_0_3_line_13 |  | 12 | 14 | 0.021187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2770-38_0_3_line_14 |  | 13 | 35 | 0.012909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2770-38_0_3_line_15 |  | 14 | 15 | 0.027322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2770-38_0_3_line_16 |  | 16 | 17 | 0.033692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2770-38_0_3_line_17 |  | 17 | 18 | 0.0014963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2770-38_0_3_line_18 |  | 17 | 19 | 0.017249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2770-38_0_3_line_19 |  | 18 | 20 | 0.014051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2770-38_0_3_line_20 |  | 19 | 21 | 0.00026463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2770-38_0_3_line_21 |  | 20 | 22 | 0.0085118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2770-38_0_3_line_22 |  | 21 | 23 | 0.016967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2770-38_0_3_line_23 |  | 22 | 24 | 0.0057045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2770-38_0_3_line_24 |  | 23 | 68 | 0.011794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2770-38_0_3_line_25 |  | 24 | 25 | 0.011598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2770-38_0_3_line_26 |  | 25 | 90 | 0.0087777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2770-38_0_3_line_27 |  | 26 | 27 | 0.029332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2770-38_0_3_line_28 |  | 27 | 30 | 0.014269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2770-38_0_3_line_29 |  | 27 | 31 | 0.035041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2770-38_0_3_line_30 |  | 28 | 29 | 0.035598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2770-38_0_3_line_31 |  | 29 | 32 | 0.009859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2770-38_0_3_line_32 |  | 29 | 33 | 0.018118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2770-38_0_3_line_33 |  | 30 | 34 | 0.023539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2770-38_0_3_line_34 |  | 30 | 35 | 0.021262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2770-38_0_3_line_35 |  | 30 | 36 | 0.021524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2770-38_0_3_line_36 |  | 32 | 40 | 0.013536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2770-38_0_3_line_37 |  | 33 | 41 | 0.015279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2770-38_0_3_line_38 |  | 34 | 42 | 0.0084828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2770-38_0_3_line_39 |  | 36 | 43 | 0.033081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_2770-38_0_3_line_40 |  | 37 | 38 | 0.018781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2770-38_0_3_line_41 |  | 37 | 39 | 0.012429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2770-38_0_3_line_42 |  | 38 | 44 | 0.013178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2770-38_0_3_line_43 |  | 39 | 45 | 0.0084625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2770-38_0_3_line_44 |  | 40 | 44 | 0.014195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2770-38_0_3_line_45 |  | 41 | 84 | 0.03854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2770-38_0_3_line_46 |  | 42 | 64 | 0.03055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2770-38_0_3_line_47 |  | 43 | 48 | 0.035341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_2770-38_0_3_line_48 |  | 43 | 57 | 0.011942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2770-38_0_3_line_49 |  | 45 | 66 | 0.009924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2770-38_0_3_line_50 |  | 46 | 47 | 0.006475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2770-38_0_3_line_51 |  | 46 | 48 | 0.010918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2770-38_0_3_line_52 |  | 47 | 61 | 0.0061945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_2770-38_0_3_line_53 |  | 47 | 62 | 0.037441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_2770-38_0_3_line_54 |  | 48 | 58 | 0.023222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2770-38_0_3_line_55 |  | 48 | 59 | 0.013644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2770-38_0_3_line_56 |  | 49 | 50 | 0.021346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2770-38_0_3_line_57 |  | 49 | 51 | 0.001576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2770-38_0_3_line_58 |  | 50 | 52 | 0.030722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2770-38_0_3_line_59 |  | 50 | 53 | 0.03012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2770-38_0_3_line_60 |  | 53 | 54 | 0.029643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2770-38_0_3_line_61 |  | 54 | 55 | 0.016919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2770-38_0_3_line_62 |  | 55 | 59 | 0.010415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2770-38_0_3_line_63 |  | 56 | 57 | 0.013648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2770-38_0_3_line_64 |  | 58 | 60 | 0.040326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2770-38_0_3_line_65 |  | 60 | 63 | 0.02238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2770-38_0_3_line_66 |  | 61 | 70 | 0.01218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_2770-38_0_3_line_67 |  | 62 | 71 | 0.0088257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2770-38_0_3_line_68 |  | 63 | 72 | 0.059974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2770-38_0_3_line_69 |  | 63 | 73 | 0.015524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2770-38_0_3_line_70 |  | 64 | 65 | 0.0021555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2770-38_0_3_line_71 |  | 66 | 67 | 0.007529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2770-38_0_3_line_72 |  | 67 | 68 | 0.042755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_2770-38_0_3_line_73 |  | 67 | 69 | 0.0065494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2770-38_0_3_line_74 |  | 68 | 88 | 0.020893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2770-38_0_3_line_75 |  | 69 | 87 | 0.017576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2770-38_0_3_line_76 |  | 70 | 89 | 0.0034861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_2770-38_0_3_line_77 |  | 71 | 93 | 0.01663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2770-38_0_3_line_78 |  | 72 | 74 | 0.01361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2770-38_0_3_line_79 |  | 72 | 75 | 0.016175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2770-38_0_3_line_80 |  | 73 | 76 | 0.013634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2770-38_0_3_line_81 |  | 75 | 82 | 0.015427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2770-38_0_3_line_82 |  | 76 | 78 | 0.013137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2770-38_0_3_line_83 |  | 77 | 78 | 0.022812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2770-38_0_3_line_84 |  | 77 | 79 | 0.010367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2770-38_0_3_line_85 |  | 79 | 80 | 0.036179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2770-38_0_3_line_86 |  | 80 | 81 | 0.012646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2770-38_0_3_line_87 |  | 82 | 83 | 0.0089048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2770-38_0_3_line_88 |  | 84 | 85 | 0.031015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2770-38_0_3_line_89 |  | 86 | 87 | 0.019199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2770-38_0_3_line_90 |  | 89 | 90 | 0.0054932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_2770-38_0_3_line_91 |  | 91 | 92 | 0.010058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2770-38_0_3_line_92 |  | 91 | 93 | 0.030261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2770-38_0_3_line_93 |  | 92 | 94 | 0.0040457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2770-38_0_3_line_94 |  | 94 | 95 | 0.017196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2770-38_0_3_line_95 |  | 94 | 96 | 0.011225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2770-38_0_3_trafo_23 | 0.63 MVA 20/0.4 kV | 97 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2615559.3926 | 1263983.6924 | 2615568.9256 | 1263998.9976
1 | 2615559.3926 | 1263983.6924 | 2615547.8996 | 1263965.2404
2 | 2615572.1241 | 1264004.1327 | 2615568.9256 | 1263998.9976
3 | 2615547.489 | 1263964.5811 | 2615547.8996 | 1263965.2404
4 | 2615572.1241 | 1264004.1327 | 2615575.7373 | 1264009.9323
5 | 2615547.489 | 1263964.5811 | 2615534.1064 | 1263943.0954
6 | 2615592.6274 | 1264037.0426 | 2615575.7373 | 1264009.9323
7 | 2615592.6274 | 1264037.0426 | 2615605.957 | 1264029.1595
8 | 2615627.8681 | 1263956.6309 | 2615632.0423 | 1263966.6069
9 | 2615627.8681 | 1263956.6309 | 2615622.1181 | 1263942.8885 | 2615614.1023 | 1263928.7055
10 | 2615632.0423 | 1263966.6069 | 2615636.9968 | 1263978.4481
11 | 2615648.4465 | 1264005.8124 | 2615636.9968 | 1263978.4481
12 | 2615648.4465 | 1264005.8124 | 2615680.6063 | 1263992.8278
13 | 2615648.4465 | 1264005.8124 | 2615637.4222 | 1264011.0981 | 2615629.6124 | 1264015.4913
14 | 2615680.6063 | 1263992.8278 | 2615692.5768 | 1263987.9947
15 | 2615605.957 | 1264029.1595 | 2615618.4763 | 1264021.7556 | 2615629.6124 | 1264015.4913
16 | 2615828.9148 | 1264058.4495 | 2615838.083 | 1264090.8704
17 | 2615828.9148 | 1264058.4495 | 2615828.4969 | 1264057.0127
18 | 2615828.9148 | 1264058.4495 | 2615812.2978 | 1264063.0762
19 | 2615828.4969 | 1264057.0127 | 2615824.5729 | 1264043.521
20 | 2615812.2978 | 1264063.0762 | 2615812.0429 | 1264063.1472
21 | 2615824.5729 | 1264043.521 | 2615822.1958 | 1264035.3478
22 | 2615812.0429 | 1264063.1472 | 2615795.698 | 1264067.6981
23 | 2615822.1958 | 1264035.3478 | 2615820.6026 | 1264029.8702
24 | 2615784.3362 | 1264070.8616 | 2615795.698 | 1264067.6981
25 | 2615817.3637 | 1264018.7339 | 2615820.6026 | 1264029.8702
26 | 2615817.3637 | 1264018.7339 | 2615814.9123 | 1264010.3054
27 | 2615717.2029 | 1263995.0755 | 2615705.7722 | 1263997.4247 | 2615688.7841 | 1264002.2586
28 | 2615717.2029 | 1263995.0755 | 2615715.8881 | 1263991.0581 | 2615714.9543 | 1263988.2093 | 2615712.7655 | 1263981.5099
29 | 2615717.2029 | 1263995.0755 | 2615729.9339 | 1263990.9064 | 2615751.2027 | 1263986.8898
30 | 2615673.3928 | 1264061.4611 | 2615658.9832 | 1264028.9093
31 | 2615677.3905 | 1264070.4779 | 2615673.3928 | 1264061.4611
32 | 2615673.3928 | 1264061.4611 | 2615657.6212 | 1264070.3793
33 | 2615712.7655 | 1263981.5099 | 2615710.8537 | 1263975.3784 | 2615705.7148 | 1263959.3538 | 2615705.6205 | 1263959.0814
34 | 2615712.7655 | 1263981.5099 | 2615702.5092 | 1263983.9845 | 2615692.5768 | 1263987.9947
35 | 2615712.7655 | 1263981.5099 | 2615724.6072 | 1263980.4072 | 2615734.1172 | 1263978.8881
36 | 2615677.3905 | 1264070.4779 | 2615689.2508 | 1264063.9543
37 | 2615657.0181 | 1264082.3323 | 2615653.1948 | 1264072.8824 | 2615657.6212 | 1264070.3793
38 | 2615705.6205 | 1263959.0814 | 2615702.8431 | 1263951.0662
39 | 2615766.7839 | 1263973.67 | 2615734.1172 | 1263978.8881
40 | 2615731.3562 | 1264045.2588 | 2615715.7444 | 1264050.9881 | 2615713.777 | 1264051.8578
41 | 2615731.3562 | 1264045.2588 | 2615735.0962 | 1264057.1114
42 | 2615701.7241 | 1264057.1861 | 2615713.777 | 1264051.8578
43 | 2615735.0962 | 1264057.1114 | 2615737.6427 | 1264065.1817
44 | 2615689.2508 | 1264063.9543 | 2615700.8684 | 1264057.5643 | 2615701.7241 | 1264057.1861
45 | 2615624.6254 | 1264103.1947 | 2615635.3983 | 1264096.0737 | 2615650.1771 | 1264086.3059 | 2615657.0181 | 1264082.3323
46 | 2615692.7524 | 1263922.2317 | 2615693.9956 | 1263925.5327 | 2615702.8431 | 1263951.0662
47 | 2615801.699 | 1263967.5697 | 2615766.7839 | 1263973.67
48 | 2615766.7839 | 1263973.67 | 2615763.1613 | 1263962.2905
49 | 2615740.6289 | 1264074.6458 | 2615737.6427 | 1264065.1817
50 | 2615805.3242 | 1263977.8643 | 2615807.2733 | 1263984.0404
51 | 2615805.3242 | 1263977.8643 | 2615804.3667 | 1263975.4156 | 2615803.2844 | 1263971.7657 | 2615801.699 | 1263967.5697
52 | 2615807.2733 | 1263984.0404 | 2615809.0033 | 1263989.9885
53 | 2615807.2733 | 1263984.0404 | 2615816.2027 | 1263982.1295 | 2615843.8826 | 1263976.1939
54 | 2615801.699 | 1263967.5697 | 2615824.6662 | 1263964.139
55 | 2615801.699 | 1263967.5697 | 2615800.1449 | 1263962.9402 | 2615797.3527 | 1263954.6362
56 | 2615749.7663 | 1263907.4457 | 2615729.5358 | 1263914.257
57 | 2615728.0422 | 1263914.7599 | 2615729.5358 | 1263914.257
58 | 2615749.7663 | 1263907.4457 | 2615756.9148 | 1263929.5689 | 2615763.9931 | 1263927.0971
59 | 2615779.1935 | 1263900.6303 | 2615749.7663 | 1263907.4457
60 | 2615779.1935 | 1263900.6303 | 2615788.6411 | 1263928.7276
61 | 2615794.0333 | 1263944.764 | 2615788.6411 | 1263928.7276
62 | 2615797.3527 | 1263954.6362 | 2615794.0333 | 1263944.764
63 | 2615759.0212 | 1263949.2853 | 2615763.1613 | 1263962.2905
64 | 2615824.6662 | 1263964.139 | 2615829.123 | 1263963.4733 | 2615846.436 | 1263960.9956 | 2615863.1904 | 1263956.2148 | 2615864.0571 | 1263955.9462
65 | 2615883.7756 | 1263946.7522 | 2615880.0137 | 1263951.0006 | 2615864.0571 | 1263955.9462
66 | 2615812.4047 | 1264001.6834 | 2615809.0033 | 1263989.9885
67 | 2615843.8826 | 1263976.1939 | 2615852.5121 | 1263974.3434
68 | 2615883.7756 | 1263946.7522 | 2615940.4633 | 1263926.6903
69 | 2615883.7756 | 1263946.7522 | 2615877.8609 | 1263932.3991
70 | 2615691.9928 | 1263920.2145 | 2615692.7524 | 1263922.2317
71 | 2615742.8945 | 1264081.8258 | 2615740.6289 | 1264074.6458
72 | 2615742.8945 | 1264081.8258 | 2615757.3479 | 1264078.384 | 2615784.3362 | 1264070.8616
73 | 2615742.8945 | 1264081.8258 | 2615744.7424 | 1264088.1091
74 | 2615784.3362 | 1264070.8616 | 2615790.3154 | 1264090.8804
75 | 2615749.7012 | 1264104.9709 | 2615744.7424 | 1264088.1091
76 | 2615812.4047 | 1264001.6834 | 2615813.3782 | 1264005.0308
77 | 2615868.8289 | 1263971.1291 | 2615852.6663 | 1263974.3103 | 2615852.5121 | 1263974.3434
78 | 2615940.4633 | 1263926.6903 | 2615953.26 | 1263922.0574
79 | 2615940.4633 | 1263926.6903 | 2615934.9075 | 1263911.4999
80 | 2615877.8609 | 1263932.3991 | 2615872.6665 | 1263919.7938
81 | 2615934.9075 | 1263911.4999 | 2615929.6087 | 1263897.0119
82 | 2615867.6614 | 1263907.6481 | 2615872.6665 | 1263919.7938
83 | 2615858.9701 | 1263886.557 | 2615867.6614 | 1263907.6481
84 | 2615855.0201 | 1263876.9716 | 2615858.9701 | 1263886.557
85 | 2615855.0201 | 1263876.9716 | 2615890.1547 | 1263867.9259
86 | 2615890.1547 | 1263867.9259 | 2615894.5437 | 1263879.7903
87 | 2615926.55 | 1263888.6489 | 2615929.6087 | 1263897.0119
88 | 2615624.6254 | 1264103.1947 | 2615608.4164 | 1264076.7529
89 | 2615749.7012 | 1264104.9709 | 2615731.49 | 1264111.05
90 | 2615814.9123 | 1264010.3054 | 2615813.3782 | 1264005.0308
91 | 2615877.2887 | 1264000.1836 | 2615880.1005 | 1264009.8406
92 | 2615868.8289 | 1263971.1291 | 2615877.2887 | 1264000.1836
93 | 2615881.2315 | 1264013.725 | 2615880.1005 | 1264009.8406
94 | 2615881.2315 | 1264013.725 | 2615889.273 | 1264011.5116 | 2615892.4699 | 1264010.1081 | 2615894.8844 | 1264008.4134 | 2615895.3878 | 1264006.0131
95 | 2615881.2315 | 1264013.725 | 2615884.3674 | 1264024.5032

## bus_geodata
| x | y | coords
0 | 2615559.3926 | 1263983.6924
1 | 2615568.9256 | 1263998.9976
2 | 2615547.8996 | 1263965.2404
3 | 2615572.1241 | 1264004.1327
4 | 2615547.489 | 1263964.5811
5 | 2615575.7373 | 1264009.9323
6 | 2615534.1064 | 1263943.0954
7 | 2615592.6274 | 1264037.0426
8 | 2615627.8681 | 1263956.6309
9 | 2615632.0423 | 1263966.6069
10 | 2615614.1023 | 1263928.7055
11 | 2615636.9968 | 1263978.4481
12 | 2615648.4465 | 1264005.8124
13 | 2615680.6063 | 1263992.8278
14 | 2615629.6124 | 1264015.4913
15 | 2615605.957 | 1264029.1595
16 | 2615838.083 | 1264090.8704
17 | 2615828.9148 | 1264058.4495
18 | 2615828.4969 | 1264057.0127
19 | 2615812.2978 | 1264063.0762
20 | 2615824.5729 | 1264043.521
21 | 2615812.0429 | 1264063.1472
22 | 2615822.1958 | 1264035.3478
23 | 2615795.698 | 1264067.6981
24 | 2615820.6026 | 1264029.8702
25 | 2615817.3637 | 1264018.7339
26 | 2615688.7841 | 1264002.2586
27 | 2615717.2029 | 1263995.0755
28 | 2615658.9832 | 1264028.9093
29 | 2615673.3928 | 1264061.4611
30 | 2615712.7655 | 1263981.5099
31 | 2615751.2027 | 1263986.8898
32 | 2615677.3905 | 1264070.4779
33 | 2615657.6212 | 1264070.3793
34 | 2615705.6205 | 1263959.0814
35 | 2615692.5768 | 1263987.9947
36 | 2615734.1172 | 1263978.8881
37 | 2615731.3562 | 1264045.2588
38 | 2615713.777 | 1264051.8578
39 | 2615735.0962 | 1264057.1114
40 | 2615689.2508 | 1264063.9543
41 | 2615657.0181 | 1264082.3323
42 | 2615702.8431 | 1263951.0662
43 | 2615766.7839 | 1263973.67
44 | 2615701.7241 | 1264057.1861
45 | 2615737.6427 | 1264065.1817
46 | 2615805.3242 | 1263977.8643
47 | 2615807.2733 | 1263984.0404
48 | 2615801.699 | 1263967.5697
49 | 2615729.5358 | 1263914.257
50 | 2615749.7663 | 1263907.4457
51 | 2615728.0422 | 1263914.7599
52 | 2615763.9931 | 1263927.0971
53 | 2615779.1935 | 1263900.6303
54 | 2615788.6411 | 1263928.7276
55 | 2615794.0333 | 1263944.764
56 | 2615759.0212 | 1263949.2853
57 | 2615763.1613 | 1263962.2905
58 | 2615824.6662 | 1263964.139
59 | 2615797.3527 | 1263954.6362
60 | 2615864.0571 | 1263955.9462
61 | 2615809.0033 | 1263989.9885
62 | 2615843.8826 | 1263976.1939
63 | 2615883.7756 | 1263946.7522
64 | 2615692.7524 | 1263922.2317
65 | 2615691.9928 | 1263920.2145
66 | 2615740.6289 | 1264074.6458
67 | 2615742.8945 | 1264081.8258
68 | 2615784.3362 | 1264070.8616
69 | 2615744.7424 | 1264088.1091
70 | 2615812.4047 | 1264001.6834
71 | 2615852.5121 | 1263974.3434
72 | 2615940.4633 | 1263926.6903
73 | 2615877.8609 | 1263932.3991
74 | 2615953.26 | 1263922.0574
75 | 2615934.9075 | 1263911.4999
76 | 2615872.6665 | 1263919.7938
77 | 2615858.9701 | 1263886.557
78 | 2615867.6614 | 1263907.6481
79 | 2615855.0201 | 1263876.9716
80 | 2615890.1547 | 1263867.9259
81 | 2615894.5437 | 1263879.7903
82 | 2615929.6087 | 1263897.0119
83 | 2615926.55 | 1263888.6489
84 | 2615624.6254 | 1264103.1947
85 | 2615608.4164 | 1264076.7529
86 | 2615731.49 | 1264111.05
87 | 2615749.7012 | 1264104.9709
88 | 2615790.3154 | 1264090.8804
89 | 2615813.3782 | 1264005.0308
90 | 2615814.9123 | 1264010.3054
91 | 2615877.2887 | 1264000.1836
92 | 2615880.1005 | 1264009.8406
93 | 2615868.8289 | 1263971.1291
94 | 2615881.2315 | 1264013.725
95 | 2615895.3878 | 1264006.0131
96 | 2615884.3674 | 1264024.5032
97 | 2615717.2029 | 1263995.0755

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1