## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2770-45_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2770-45_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2770-45_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2770-45_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2770-45_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2770-45_0_4_node_197 | 0.4 | n |  | TRUE
6 | bus_LV_2770-45_0_4_node_132 | 0.4 | n |  | TRUE
7 | bus_LV_2770-45_0_4_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_2770-45_0_4_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_2770-45_0_4_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_2770-45_0_4_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_2770-45_0_4_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_2770-45_0_4_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_2770-45_0_4_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_2770-45_0_4_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_2770-45_0_4_node_198 | 0.4 | n |  | TRUE
16 | bus_LV_2770-45_0_4_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_2770-45_0_4_node_148 | 0.4 | n |  | TRUE
18 | bus_LV_2770-45_0_4_node_94 | 0.4 | n |  | TRUE
19 | bus_LV_2770-45_0_4_node_95 | 0.4 | n |  | TRUE
20 | bus_LV_2770-45_0_4_node_96 | 0.4 | n |  | TRUE
21 | bus_LV_2770-45_0_4_node_97 | 0.4 | n |  | TRUE
22 | bus_LV_2770-45_0_4_node_98 | 0.4 | n |  | TRUE
23 | bus_LV_2770-45_0_4_node_200 | 0.4 | n |  | TRUE
24 | bus_LV_2770-45_0_4_node_199 | 0.4 | n |  | TRUE
25 | bus_LV_2770-45_0_4_node_203 | 0.4 | n |  | TRUE
26 | bus_LV_2770-45_0_4_node_106 | 0.4 | n |  | TRUE
27 | bus_LV_2770-45_0_4_node_213 | 0.4 | n |  | TRUE
28 | bus_LV_2770-45_0_4_node_163 | 0.4 | n |  | TRUE
29 | bus_LV_2770-45_0_4_node_108 | 0.4 | n |  | TRUE
30 | bus_LV_2770-45_0_4_node_129 | 0.4 | n |  | TRUE
31 | bus_LV_2770-45_0_4_node_130 | 0.4 | n |  | TRUE
32 | bus_LV_2770-45_0_4_node_131 | 0.4 | n |  | TRUE
33 | bus_LV_2770-45_0_4_node_133 | 0.4 | n |  | TRUE
34 | bus_LV_2770-45_0_4_node_134 | 0.4 | n |  | TRUE
35 | bus_LV_2770-45_0_4_node_135 | 0.4 | n |  | TRUE
36 | bus_LV_2770-45_0_4_node_136 | 0.4 | n |  | TRUE
37 | bus_LV_2770-45_0_4_node_137 | 0.4 | n |  | TRUE
38 | bus_LV_2770-45_0_4_node_138 | 0.4 | n |  | TRUE
39 | bus_LV_2770-45_0_4_node_142 | 0.4 | n |  | TRUE
40 | bus_LV_2770-45_0_4_node_139 | 0.4 | n |  | TRUE
41 | bus_LV_2770-45_0_4_node_140 | 0.4 | n |  | TRUE
42 | bus_LV_2770-45_0_4_node_141 | 0.4 | n |  | TRUE
43 | bus_LV_2770-45_0_4_node_149 | 0.4 | n |  | TRUE
44 | bus_LV_2770-45_0_4_node_143 | 0.4 | n |  | TRUE
45 | bus_LV_2770-45_0_4_node_147 | 0.4 | n |  | TRUE
46 | bus_LV_2770-45_0_4_node_186 | 0.4 | n |  | TRUE
47 | bus_LV_2770-45_0_4_node_146 | 0.4 | n |  | TRUE
48 | bus_LV_2770-45_0_4_node_191 | 0.4 | n |  | TRUE
49 | bus_LV_2770-45_0_4_node_207 | 0.4 | n |  | TRUE
50 | bus_LV_2770-45_0_4_node_206 | 0.4 | n |  | TRUE
51 | bus_LV_2770-45_0_4_node_160 | 0.4 | n |  | TRUE
52 | bus_LV_2770-45_0_4_node_161 | 0.4 | n |  | TRUE
53 | bus_LV_2770-45_0_4_node_162 | 0.4 | n |  | TRUE
54 | bus_LV_2770-45_0_4_node_201 | 0.4 | n |  | TRUE
55 | bus_LV_2770-45_0_4_node_164 | 0.4 | n |  | TRUE
56 | bus_LV_2770-45_0_4_node_165 | 0.4 | n |  | TRUE
57 | bus_LV_2770-45_0_4_node_212 | 0.4 | n |  | TRUE
58 | bus_LV_2770-45_0_4_node_204 | 0.4 | n |  | TRUE
59 | bus_LV_2770-45_0_4_node_175 | 0.4 | n |  | TRUE
60 | bus_LV_2770-45_0_4_node_188 | 0.4 | n |  | TRUE
61 | bus_LV_2770-45_0_4_node_166 | 0.4 | n |  | TRUE
62 | bus_LV_2770-45_0_4_node_167 | 0.4 | n |  | TRUE
63 | bus_LV_2770-45_0_4_node_168 | 0.4 | n |  | TRUE
64 | bus_LV_2770-45_0_4_node_169 | 0.4 | n |  | TRUE
65 | bus_LV_2770-45_0_4_node_172 | 0.4 | n |  | TRUE
66 | bus_LV_2770-45_0_4_node_180 | 0.4 | n |  | TRUE
67 | bus_LV_2770-45_0_4_node_214 | 0.4 | n |  | TRUE
68 | bus_LV_2770-45_0_4_node_178 | 0.4 | n |  | TRUE
69 | bus_LV_2770-45_0_4_node_171 | 0.4 | n |  | TRUE
70 | bus_LV_2770-45_0_4_node_173 | 0.4 | n |  | TRUE
71 | bus_LV_2770-45_0_4_node_176 | 0.4 | n |  | TRUE
72 | bus_LV_2770-45_0_4_node_177 | 0.4 | n |  | TRUE
73 | bus_LV_2770-45_0_4_node_195 | 0.4 | n |  | TRUE
74 | bus_LV_2770-45_0_4_node_179 | 0.4 | n |  | TRUE
75 | bus_LV_2770-45_0_4_node_181 | 0.4 | n |  | TRUE
76 | bus_LV_2770-45_0_4_node_182 | 0.4 | n |  | TRUE
77 | bus_LV_2770-45_0_4_node_183 | 0.4 | n |  | TRUE
78 | bus_LV_2770-45_0_4_node_185 | 0.4 | n |  | TRUE
79 | bus_LV_2770-45_0_4_node_194 | 0.4 | n |  | TRUE
80 | bus_LV_2770-45_0_4_node_187 | 0.4 | n |  | TRUE
81 | bus_LV_2770-45_0_4_node_205 | 0.4 | n |  | TRUE
82 | bus_LV_2770-45_0_4_node_189 | 0.4 | n |  | TRUE
83 | bus_LV_2770-45_0_4_node_190 | 0.4 | n |  | TRUE
84 | bus_LV_2770-45_0_4_node_202 | 0.4 | n |  | TRUE
85 | bus_LV_2770-45_0_4_node_208 | 0.4 | n |  | TRUE
86 | bus_LV_2770-45_0_4_node_209 | 0.4 | n |  | TRUE
87 | bus_MV_576_0_node_12 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2770-45_0_4_load_0 | 0 | 0.001615 | 0.00040475 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2770-45_0_4_load_1 | 1 | 0.0014564 | 0.00036502 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2770-45_0_4_load_3 | 3 | 0.0022793 | 0.00057125 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2770-45_0_4_load_4 | 4 | 0.004129 | 0.0010348 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2770-45_0_4_load_197 | 5 | 0.0026112 | 0.00065442 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2770-45_0_4_load_39 | 7 | 0.0036662 | 0.00091884 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2770-45_0_4_load_40 | 8 | 0.0022792 | 0.00057122 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2770-45_0_4_load_42 | 10 | 0.0018321 | 0.00045918 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2770-45_0_4_load_43 | 11 | 0.002278 | 0.00057093 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2770-45_0_4_load_44 | 12 | 0.0022792 | 0.00057121 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2770-45_0_4_load_45 | 13 | 0.0018777 | 0.0004706 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2770-45_0_4_load_48 | 14 | 0.0025443 | 0.00063767 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2770-45_0_4_load_198 | 15 | 0.0025435 | 0.00063746 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2770-45_0_4_load_50 | 16 | 0.008331 | 0.002088 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2770-45_0_4_load_148 | 17 | 0.0042051 | 0.0010539 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2770-45_0_4_load_94 | 18 | 0.0029856 | 0.00074825 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2770-45_0_4_load_96 | 20 | 0.00272 | 0.00068169 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2770-45_0_4_load_200 | 23 | 0.0029861 | 0.00074838 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2770-45_0_4_load_199 | 24 | 0.0029863 | 0.00074843 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2770-45_0_4_load_203 | 25 | 0.0029862 | 0.00074842 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2770-45_0_4_load_213 | 27 | 0.0067109 | 0.0016819 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2770-45_0_4_load_108 | 29 | 0.0017623 | 0.00044167 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2770-45_0_4_load_129 | 30 | 0.0025437 | 0.00063751 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2770-45_0_4_load_130 | 31 | 0.0038072 | 0.00095417 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2770-45_0_4_load_133 | 33 | 0.0022789 | 0.00057114 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2770-45_0_4_load_134 | 34 | 0.0025399 | 0.00063656 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2770-45_0_4_load_135 | 35 | 0.0044804 | 0.0011229 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2770-45_0_4_load_136 | 36 | 0.0013237 | 0.00033176 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2770-45_0_4_load_137 | 37 | 0.0025412 | 0.00063689 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2770-45_0_4_load_142 | 39 | 0.0034851 | 0.00087345 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2770-45_0_4_load_139 | 40 | 0.0038036 | 0.00095327 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2770-45_0_4_load_140 | 41 | 0.0030258 | 0.00075835 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2770-45_0_4_load_141 | 42 | 0.0028744 | 0.00072039 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2770-45_0_4_load_149 | 43 | 0.0032021 | 0.00080253 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2770-45_0_4_load_186 | 46 | 0.014358 | 0.0035984 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2770-45_0_4_load_207 | 49 | 0.0094398 | 0.0023658 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2770-45_0_4_load_206 | 50 | 0.008657 | 0.0021696 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2770-45_0_4_load_160 | 51 | 0.016501 | 0.0041357 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2770-45_0_4_load_201 | 54 | 0.004395 | 0.0011015 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2770-45_0_4_load_164 | 55 | 0.0099305 | 0.0024888 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2770-45_0_4_load_165 | 56 | 0.0040376 | 0.0010119 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2770-45_0_4_load_212 | 57 | 0.016508 | 0.0041373 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2770-45_0_4_load_204 | 58 | 0.01106 | 0.0027718 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2770-45_0_4_load_175 | 59 | 0.011144 | 0.002793 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2770-45_0_4_load_188 | 60 | 0.0030819 | 0.00077239 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2770-45_0_4_load_166 | 61 | 0.012041 | 0.0030176 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2770-45_0_4_load_172 | 65 | 0.0085382 | 0.0021399 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2770-45_0_4_load_214 | 67 | 0.0082945 | 0.0020788 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2770-45_0_4_load_171 | 69 | 0.032273 | 0.0080883 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2770-45_0_4_load_176 | 71 | 0.010932 | 0.0027399 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2770-45_0_4_load_195 | 73 | 0.0067336 | 0.0016876 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2770-45_0_4_load_179 | 74 | 0.0086681 | 0.0021724 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2770-45_0_4_load_183 | 77 | 0.0038917 | 0.00097536 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2770-45_0_4_load_185 | 78 | 0.0075725 | 0.0018978 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2770-45_0_4_load_194 | 79 | 0.0058659 | 0.0014701 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2770-45_0_4_load_205 | 81 | 0.0037712 | 0.00094515 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2770-45_0_4_load_189 | 82 | 0.009103 | 0.0022814 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2770-45_0_4_load_190 | 83 | 0.0091029 | 0.0022814 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2770-45_0_4_load_202 | 84 | 0.0043053 | 0.001079 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2770-45_0_4_load_208 | 85 | 0.0094415 | 0.0023663 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2770-45_0_4_load_209 | 86 | 0.0087225 | 0.0021861 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 81 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2770-45_0_4_line_0 |  | 0 | 1 | 0.017454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2770-45_0_4_line_1 |  | 0 | 2 | 0.014289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2770-45_0_4_line_2 |  | 1 | 3 | 0.00019913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2770-45_0_4_line_3 |  | 2 | 4 | 0.034724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2770-45_0_4_line_4 |  | 3 | 5 | 0.0061739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2770-45_0_4_line_5 |  | 4 | 6 | 0.019427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2770-45_0_4_line_6 |  | 6 | 35 | 0.023926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2770-45_0_4_line_7 |  | 6 | 31 | 0.044967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2770-45_0_4_line_8 |  | 7 | 8 | 0.0020765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2770-45_0_4_line_9 |  | 7 | 9 | 0.025876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2770-45_0_4_line_10 |  | 8 | 10 | 0.018622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2770-45_0_4_line_11 |  | 9 | 11 | 0.017234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2770-45_0_4_line_12 |  | 10 | 12 | 0.0061239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2770-45_0_4_line_13 |  | 12 | 13 | 0.017788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2770-45_0_4_line_14 |  | 13 | 14 | 0.0312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2770-45_0_4_line_15 |  | 14 | 15 | 0.0018151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2770-45_0_4_line_16 |  | 15 | 33 | 0.0063107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2770-45_0_4_line_17 |  | 16 | 17 | 0.0016721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2770-45_0_4_line_18 |  | 17 | 42 | 0.034817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2770-45_0_4_line_19 |  | 18 | 19 | 0.014434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2770-45_0_4_line_20 |  | 18 | 20 | 0.0029534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2770-45_0_4_line_21 |  | 19 | 21 | 0.02783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2770-45_0_4_line_22 |  | 19 | 22 | 0.003543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2770-45_0_4_line_23 |  | 21 | 23 | 0.010314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2770-45_0_4_line_24 |  | 21 | 24 | 0.011606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2770-45_0_4_line_25 |  | 22 | 25 | 0.010205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2770-45_0_4_line_26 |  | 23 | 54 | 0.018748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2770-45_0_4_line_27 |  | 24 | 43 | 0.020772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2770-45_0_4_line_28 |  | 25 | 29 | 0.024649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2770-45_0_4_line_29 |  | 26 | 27 | 0.035884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2770-45_0_4_line_30 |  | 26 | 28 | 0.037022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2770-45_0_4_line_31 |  | 28 | 57 | 0.037479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2770-45_0_4_line_32 |  | 28 | 58 | 0.024197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2770-45_0_4_line_33 |  | 30 | 31 | 0.0075787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2770-45_0_4_line_34 |  | 30 | 32 | 0.011488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2770-45_0_4_line_35 |  | 32 | 33 | 0.029838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2770-45_0_4_line_36 |  | 32 | 34 | 0.01057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2770-45_0_4_line_37 |  | 35 | 36 | 0.015157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2770-45_0_4_line_38 |  | 36 | 37 | 0.016687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2770-45_0_4_line_39 |  | 37 | 38 | 0.038863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2770-45_0_4_line_40 |  | 38 | 39 | 0.020081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2770-45_0_4_line_41 |  | 38 | 40 | 0.01714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2770-45_0_4_line_42 |  | 39 | 43 | 0.021233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2770-45_0_4_line_43 |  | 40 | 41 | 0.026587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2770-45_0_4_line_44 |  | 41 | 42 | 0.003611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2770-45_0_4_line_45 |  | 44 | 45 | 0.02359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2770-45_0_4_line_46 |  | 44 | 46 | 0.020799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2770-45_0_4_line_47 |  | 45 | 48 | 0.011483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2770-45_0_4_line_48 |  | 45 | 50 | 0.01357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2770-45_0_4_line_49 |  | 46 | 80 | 0.020044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2770-45_0_4_line_50 |  | 47 | 48 | 0.066512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2770-45_0_4_line_51 |  | 47 | 49 | 0.015419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2770-45_0_4_line_52 |  | 48 | 83 | 0.018989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2770-45_0_4_line_53 |  | 49 | 85 | 0.020776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2770-45_0_4_line_54 |  | 51 | 52 | 0.033979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_2770-45_0_4_line_55 |  | 51 | 53 | 0.0030255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_2770-45_0_4_line_56 |  | 52 | 54 | 0.021391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2770-45_0_4_line_57 |  | 53 | 55 | 0.02024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2770-45_0_4_line_58 |  | 53 | 56 | 0.022913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_2770-45_0_4_line_59 |  | 54 | 84 | 0.018297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2770-45_0_4_line_60 |  | 55 | 59 | 0.019672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2770-45_0_4_line_61 |  | 56 | 60 | 0.01616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_2770-45_0_4_line_62 |  | 58 | 84 | 0.0011395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2770-45_0_4_line_63 |  | 59 | 70 | 0.015894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2770-45_0_4_line_64 |  | 60 | 81 | 0.017274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_2770-45_0_4_line_65 |  | 60 | 80 | 0.026499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2770-45_0_4_line_66 |  | 61 | 62 | 0.03179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2770-45_0_4_line_67 |  | 62 | 63 | 0.034519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2770-45_0_4_line_68 |  | 62 | 64 | 0.068282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2770-45_0_4_line_69 |  | 63 | 65 | 0.020113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2770-45_0_4_line_70 |  | 63 | 66 | 0.011806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2770-45_0_4_line_71 |  | 64 | 67 | 0.009049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2770-45_0_4_line_72 |  | 64 | 68 | 0.035099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2770-45_0_4_line_73 |  | 65 | 69 | 0.016303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2770-45_0_4_line_74 |  | 66 | 76 | 0.006987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2770-45_0_4_line_75 |  | 66 | 74 | 0.022618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2770-45_0_4_line_76 |  | 68 | 73 | 0.032029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2770-45_0_4_line_77 |  | 68 | 72 | 0.075625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2770-45_0_4_line_78 |  | 69 | 70 | 0.0040208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2770-45_0_4_line_79 |  | 71 | 72 | 0.033369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2770-45_0_4_line_80 |  | 74 | 75 | 0.020538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2770-45_0_4_line_81 |  | 75 | 77 | 0.022531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2770-45_0_4_line_82 |  | 75 | 78 | 0.024269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2770-45_0_4_line_83 |  | 76 | 79 | 0.03266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2770-45_0_4_line_84 |  | 82 | 83 | 0.024606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2770-45_0_4_line_85 |  | 85 | 86 | 0.020351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2770-45_0_4_trafo_205 | 0.63 MVA 20/0.4 kV | 87 | 81 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2615974.0548 | 1263899.3359 | 2615968.4656 | 1263882.8014
1 | 2615978.6305 | 1263912.8723 | 2615974.0548 | 1263899.3359
2 | 2615968.4019 | 1263882.6127 | 2615968.4656 | 1263882.8014
3 | 2615978.6305 | 1263912.8723 | 2616011.4284 | 1263901.4673
4 | 2615962.5374 | 1263884.5427 | 2615968.4019 | 1263882.6127
5 | 2616029.7773 | 1263895.0868 | 2616011.4284 | 1263901.4673
6 | 2616029.7773 | 1263895.0868 | 2616052.3341 | 1263887.108
7 | 2616029.7773 | 1263895.0868 | 2616016.5482 | 1263852.1103 | 2616016.5482 | 1263852.1103
8 | 2615956.9957 | 1263800.9076 | 2615958.9943 | 1263800.344
9 | 2615932.0913 | 1263807.9303 | 2615956.9957 | 1263800.9076
10 | 2615976.9176 | 1263795.2899 | 2615958.9943 | 1263800.344
11 | 2615932.0913 | 1263807.9303 | 2615937.2513 | 1263824.3777
12 | 2615982.8117 | 1263793.6278 | 2615976.9176 | 1263795.2899
13 | 2615982.8117 | 1263793.6278 | 2615999.9319 | 1263788.8002
14 | 2616022.3818 | 1263810.4664 | 2615999.9319 | 1263788.8002
15 | 2616022.3818 | 1263810.4664 | 2616022.9721 | 1263812.1829
16 | 2616025.0245 | 1263818.1505 | 2616022.9721 | 1263812.1829
17 | 2616068.9496 | 1263810.7011 | 2616068.3487 | 1263809.1406
18 | 2616102.7461 | 1263819.0669 | 2616068.9496 | 1263810.7011
19 | 2616178.183 | 1263813.4775 | 2616176.9328 | 1263810.7055 | 2616166.0385 | 1263814.04
20 | 2616163.2145 | 1263814.9044 | 2616166.0385 | 1263814.04
21 | 2616178.183 | 1263813.4775 | 2616188.5583 | 1263839.3125
22 | 2616181.545 | 1263812.3303 | 2616178.183 | 1263813.4775
23 | 2616188.5583 | 1263839.3125 | 2616198.4362 | 1263836.3435
24 | 2616188.5583 | 1263839.3125 | 2616177.5368 | 1263842.9506
25 | 2616181.545 | 1263812.3303 | 2616183.6481 | 1263811.6578 | 2616191.1512 | 1263808.8899
26 | 2616198.4362 | 1263836.3435 | 2616216.3903 | 1263830.9468
27 | 2616157.6458 | 1263848.937 | 2616177.5368 | 1263842.9506
28 | 2616191.1512 | 1263808.8899 | 2616199.834 | 1263805.6868 | 2616201.0823 | 1263809.1481 | 2616212.1231 | 1263805.2332
29 | 2616291.0428 | 1263825.7725 | 2616302.4914 | 1263858.2486 | 2616303.7586 | 1263857.5182
30 | 2616255.862 | 1263837.6176 | 2616291.0428 | 1263825.7725
31 | 2616255.862 | 1263837.6176 | 2616267.6791 | 1263870.3614 | 2616270.1821 | 1263869.3898
32 | 2616255.862 | 1263837.6176 | 2616235.0039 | 1263825.352
33 | 2616016.5482 | 1263852.1103 | 2616023.7748 | 1263849.8272
34 | 2616034.729 | 1263846.3665 | 2616023.7748 | 1263849.8272
35 | 2616034.729 | 1263846.3665 | 2616025.0245 | 1263818.1505
36 | 2616034.729 | 1263846.3665 | 2616044.8068 | 1263843.1779
37 | 2616052.3341 | 1263887.108 | 2616066.6239 | 1263882.0534
38 | 2616082.3555 | 1263876.4888 | 2616066.6239 | 1263882.0534
39 | 2616118.9943 | 1263863.5288 | 2616082.3555 | 1263876.4888
40 | 2616118.9943 | 1263863.5288 | 2616137.7814 | 1263856.4363
41 | 2616118.9943 | 1263863.5288 | 2616113.1111 | 1263847.4299
42 | 2616137.7814 | 1263856.4363 | 2616157.6458 | 1263848.937
43 | 2616113.1111 | 1263847.4299 | 2616103.9855 | 1263822.4586
44 | 2616103.9855 | 1263822.4586 | 2616102.7461 | 1263819.0669
45 | 2616158.3329 | 1263939.7662 | 2616149.1706 | 1263941.4202 | 2616154.3384 | 1263954.7324
46 | 2616158.3329 | 1263939.7662 | 2616177.8315 | 1263932.5266
47 | 2616154.3384 | 1263954.7324 | 2616143.5205 | 1263958.6723
48 | 2616154.3384 | 1263954.7324 | 2616159.2497 | 1263967.3828
49 | 2616196.6222 | 1263925.5497 | 2616177.8315 | 1263932.5266
50 | 2616099.1422 | 1263932.8673 | 2616103.0427 | 1263941.4171 | 2616113.5087 | 1263964.3836 | 2616120.9953 | 1263966.8946 | 2616143.5205 | 1263958.6723
51 | 2616099.1422 | 1263932.8673 | 2616091.1102 | 1263934.2687 | 2616084.2146 | 1263936.5583
52 | 2616143.5205 | 1263958.6723 | 2616136.9284 | 1263940.8641
53 | 2616084.2146 | 1263936.5583 | 2616064.4972 | 1263943.1053
54 | 2616212.9924 | 1263852.0658 | 2616224.2253 | 1263884.1347
55 | 2616225.2255 | 1263886.99 | 2616224.2253 | 1263884.1347
56 | 2616212.9924 | 1263852.0658 | 2616216.3903 | 1263830.9468
57 | 2616225.2255 | 1263886.99 | 2616231.9197 | 1263906.0906
58 | 2616225.2255 | 1263886.99 | 2616203.6873 | 1263894.8077
59 | 2616216.3903 | 1263830.9468 | 2616233.9127 | 1263825.68
60 | 2616231.9197 | 1263906.0906 | 2616238.4261 | 1263924.6549
61 | 2616188.4972 | 1263900.3212 | 2616203.6873 | 1263894.8077
62 | 2616235.0039 | 1263825.352 | 2616233.9127 | 1263825.68
63 | 2616243.6832 | 1263939.6547 | 2616238.4261 | 1263924.6549
64 | 2616188.4972 | 1263900.3212 | 2616172.2133 | 1263906.0868
65 | 2616188.4972 | 1263900.3212 | 2616196.6222 | 1263925.5497
66 | 2616289.7526 | 1263966.4773 | 2616300.7947 | 1263996.2875
67 | 2616289.7526 | 1263966.4773 | 2616257.0517 | 1263977.8177
68 | 2616289.7526 | 1263966.4773 | 2616299.986 | 1263964.2038 | 2616322.0923 | 1263960.5287 | 2616322.2061 | 1263946.5416 | 2616320.1369 | 1263937.6631 | 2616313.2136 | 1263927.5148
69 | 2616257.0517 | 1263977.8177 | 2616250.4023 | 1263958.8357
70 | 2616245.8576 | 1263981.6675 | 2616257.0517 | 1263977.8177
71 | 2616313.2136 | 1263927.5148 | 2616307.6523 | 1263925.9762 | 2616306.403 | 1263922.9262
72 | 2616313.2136 | 1263927.5148 | 2616319.8979 | 1263923.2413 | 2616327.5677 | 1263919.3709 | 2616334.9487 | 1263916.4781 | 2616345.5257 | 1263915.2619
73 | 2616245.0125 | 1263943.4494 | 2616250.4023 | 1263958.8357
74 | 2616245.8576 | 1263981.6675 | 2616248.3701 | 1263988.19
75 | 2616245.8576 | 1263981.6675 | 2616224.4682 | 1263989.0214
76 | 2616345.5257 | 1263915.2619 | 2616353.6726 | 1263937.7554 | 2616361.4734 | 1263935.5532
77 | 2616383.9889 | 1263873.7615 | 2616386.9633 | 1263882.0977 | 2616339.7233 | 1263900.1243 | 2616345.5257 | 1263915.2619
78 | 2616243.6832 | 1263939.6547 | 2616245.0125 | 1263943.4494
79 | 2616383.9889 | 1263873.7615 | 2616376.9641 | 1263854.0285 | 2616372.7973 | 1263842.3255
80 | 2616205.0461 | 1263995.6989 | 2616224.4682 | 1263989.0214
81 | 2616205.0461 | 1263995.6989 | 2616212.9639 | 1264016.7932
82 | 2616205.0461 | 1263995.6989 | 2616196.0643 | 1263973.1528
83 | 2616248.3701 | 1263988.19 | 2616254.1764 | 1263988.2503 | 2616256.3973 | 1263988.5122 | 2616261.052 | 1263993.8175 | 2616262.5591 | 1263999.0141 | 2616263.9555 | 1264003.3542 | 2616267.0551 | 1264010.2812
84 | 2616130.7805 | 1263918.3733 | 2616134.4629 | 1263930.1502 | 2616133.1586 | 1263930.6804 | 2616136.9284 | 1263940.8641
85 | 2616064.4972 | 1263943.1053 | 2616045.1827 | 1263949.5184

## bus_geodata
| x | y | coords
0 | 2615974.0548 | 1263899.3359
1 | 2615968.4656 | 1263882.8014
2 | 2615978.6305 | 1263912.8723
3 | 2615968.4019 | 1263882.6127
4 | 2616011.4284 | 1263901.4673
5 | 2615962.5374 | 1263884.5427
6 | 2616029.7773 | 1263895.0868
7 | 2615956.9957 | 1263800.9076
8 | 2615958.9943 | 1263800.344
9 | 2615932.0913 | 1263807.9303
10 | 2615976.9176 | 1263795.2899
11 | 2615937.2513 | 1263824.3777
12 | 2615982.8117 | 1263793.6278
13 | 2615999.9319 | 1263788.8002
14 | 2616022.3818 | 1263810.4664
15 | 2616022.9721 | 1263812.1829
16 | 2616068.3487 | 1263809.1406
17 | 2616068.9496 | 1263810.7011
18 | 2616166.0385 | 1263814.04
19 | 2616178.183 | 1263813.4775
20 | 2616163.2145 | 1263814.9044
21 | 2616188.5583 | 1263839.3125
22 | 2616181.545 | 1263812.3303
23 | 2616198.4362 | 1263836.3435
24 | 2616177.5368 | 1263842.9506
25 | 2616191.1512 | 1263808.8899
26 | 2616291.0428 | 1263825.7725
27 | 2616303.7586 | 1263857.5182
28 | 2616255.862 | 1263837.6176
29 | 2616212.1231 | 1263805.2332
30 | 2616023.7748 | 1263849.8272
31 | 2616016.5482 | 1263852.1103
32 | 2616034.729 | 1263846.3665
33 | 2616025.0245 | 1263818.1505
34 | 2616044.8068 | 1263843.1779
35 | 2616052.3341 | 1263887.108
36 | 2616066.6239 | 1263882.0534
37 | 2616082.3555 | 1263876.4888
38 | 2616118.9943 | 1263863.5288
39 | 2616137.7814 | 1263856.4363
40 | 2616113.1111 | 1263847.4299
41 | 2616103.9855 | 1263822.4586
42 | 2616102.7461 | 1263819.0669
43 | 2616157.6458 | 1263848.937
44 | 2616158.3329 | 1263939.7662
45 | 2616154.3384 | 1263954.7324
46 | 2616177.8315 | 1263932.5266
47 | 2616099.1422 | 1263932.8673
48 | 2616143.5205 | 1263958.6723
49 | 2616084.2146 | 1263936.5583
50 | 2616159.2497 | 1263967.3828
51 | 2616224.2253 | 1263884.1347
52 | 2616212.9924 | 1263852.0658
53 | 2616225.2255 | 1263886.99
54 | 2616216.3903 | 1263830.9468
55 | 2616231.9197 | 1263906.0906
56 | 2616203.6873 | 1263894.8077
57 | 2616270.1821 | 1263869.3898
58 | 2616235.0039 | 1263825.352
59 | 2616238.4261 | 1263924.6549
60 | 2616188.4972 | 1263900.3212
61 | 2616300.7947 | 1263996.2875
62 | 2616289.7526 | 1263966.4773
63 | 2616257.0517 | 1263977.8177
64 | 2616313.2136 | 1263927.5148
65 | 2616250.4023 | 1263958.8357
66 | 2616245.8576 | 1263981.6675
67 | 2616306.403 | 1263922.9262
68 | 2616345.5257 | 1263915.2619
69 | 2616245.0125 | 1263943.4494
70 | 2616243.6832 | 1263939.6547
71 | 2616372.7973 | 1263842.3255
72 | 2616383.9889 | 1263873.7615
73 | 2616361.4734 | 1263935.5532
74 | 2616224.4682 | 1263989.0214
75 | 2616205.0462 | 1263995.6989
76 | 2616248.3701 | 1263988.19
77 | 2616212.9639 | 1264016.7932
78 | 2616196.0643 | 1263973.1528
79 | 2616267.0551 | 1264010.2812
80 | 2616196.6222 | 1263925.5497
81 | 2616172.2133 | 1263906.0867
82 | 2616130.7805 | 1263918.3733
83 | 2616136.9284 | 1263940.8641
84 | 2616233.9127 | 1263825.68
85 | 2616064.4972 | 1263943.1053
86 | 2616045.1827 | 1263949.5184
87 | 2616188.4972 | 1263900.3212

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1