## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2770-45_1_2_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_2770-45_1_2_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_2770-45_1_2_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_2770-45_1_2_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_2770-45_1_2_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_2770-45_1_2_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_2770-45_1_2_node_52 | 0.4 | n |  | TRUE
7 | bus_LV_2770-45_1_2_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_2770-45_1_2_node_67 | 0.4 | n |  | TRUE
9 | bus_LV_2770-45_1_2_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_2770-45_1_2_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_2770-45_1_2_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_2770-45_1_2_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_2770-45_1_2_node_68 | 0.4 | n |  | TRUE
14 | bus_LV_2770-45_1_2_node_69 | 0.4 | n |  | TRUE
15 | bus_LV_2770-45_1_2_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_2770-45_1_2_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_2770-45_1_2_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_2770-45_1_2_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_2770-45_1_2_node_211 | 0.4 | n |  | TRUE
20 | bus_LV_2770-45_1_2_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_2770-45_1_2_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_2770-45_1_2_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_2770-45_1_2_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_2770-45_1_2_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_2770-45_1_2_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_2770-45_1_2_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_2770-45_1_2_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_2770-45_1_2_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_2770-45_1_2_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_2770-45_1_2_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_2770-45_1_2_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_2770-45_1_2_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_2770-45_1_2_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_2770-45_1_2_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_2770-45_1_2_node_88 | 0.4 | n |  | TRUE
36 | bus_LV_2770-45_1_2_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_2770-45_1_2_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_2770-45_1_2_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_2770-45_1_2_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_2770-45_1_2_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_2770-45_1_2_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_2770-45_1_2_node_91 | 0.4 | n |  | TRUE
43 | bus_LV_2770-45_1_2_node_87 | 0.4 | n |  | TRUE
44 | bus_LV_2770-45_1_2_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_2770-45_1_2_node_93 | 0.4 | n |  | TRUE
46 | bus_LV_2770-45_1_2_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_2770-45_1_2_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_2770-45_1_2_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_2770-45_1_2_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_2770-45_1_2_node_80 | 0.4 | n |  | TRUE
51 | bus_LV_2770-45_1_2_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_2770-45_1_2_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_2770-45_1_2_node_81 | 0.4 | n |  | TRUE
54 | bus_LV_2770-45_1_2_node_122 | 0.4 | n |  | TRUE
55 | bus_LV_2770-45_1_2_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_2770-45_1_2_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_2770-45_1_2_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_2770-45_1_2_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_2770-45_1_2_node_79 | 0.4 | n |  | TRUE
60 | bus_LV_2770-45_1_2_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_2770-45_1_2_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_2770-45_1_2_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_2770-45_1_2_node_78 | 0.4 | n |  | TRUE
64 | bus_LV_2770-45_1_2_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_2770-45_1_2_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_2770-45_1_2_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_2770-45_1_2_node_151 | 0.4 | n |  | TRUE
68 | bus_LV_2770-45_1_2_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_2770-45_1_2_node_150 | 0.4 | n |  | TRUE
70 | bus_LV_2770-45_1_2_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_2770-45_1_2_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_2770-45_1_2_node_76 | 0.4 | n |  | TRUE
73 | bus_LV_2770-45_1_2_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_2770-45_1_2_node_83 | 0.4 | n |  | TRUE
75 | bus_LV_2770-45_1_2_node_123 | 0.4 | n |  | TRUE
76 | bus_LV_2770-45_1_2_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_2770-45_1_2_node_85 | 0.4 | n |  | TRUE
78 | bus_LV_2770-45_1_2_node_86 | 0.4 | n |  | TRUE
79 | bus_LV_2770-45_1_2_node_117 | 0.4 | n |  | TRUE
80 | bus_LV_2770-45_1_2_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_2770-45_1_2_node_90 | 0.4 | n |  | TRUE
82 | bus_LV_2770-45_1_2_node_92 | 0.4 | n |  | TRUE
83 | bus_LV_2770-45_1_2_node_116 | 0.4 | n |  | TRUE
84 | bus_LV_2770-45_1_2_node_102 | 0.4 | n |  | TRUE
85 | bus_LV_2770-45_1_2_node_107 | 0.4 | n |  | TRUE
86 | bus_LV_2770-45_1_2_node_100 | 0.4 | n |  | TRUE
87 | bus_LV_2770-45_1_2_node_99 | 0.4 | n |  | TRUE
88 | bus_LV_2770-45_1_2_node_101 | 0.4 | n |  | TRUE
89 | bus_LV_2770-45_1_2_node_103 | 0.4 | n |  | TRUE
90 | bus_LV_2770-45_1_2_node_104 | 0.4 | n |  | TRUE
91 | bus_LV_2770-45_1_2_node_111 | 0.4 | n |  | TRUE
92 | bus_LV_2770-45_1_2_node_125 | 0.4 | n |  | TRUE
93 | bus_LV_2770-45_1_2_node_113 | 0.4 | n |  | TRUE
94 | bus_LV_2770-45_1_2_node_110 | 0.4 | n |  | TRUE
95 | bus_LV_2770-45_1_2_node_120 | 0.4 | n |  | TRUE
96 | bus_LV_2770-45_1_2_node_115 | 0.4 | n |  | TRUE
97 | bus_LV_2770-45_1_2_node_112 | 0.4 | n |  | TRUE
98 | bus_LV_2770-45_1_2_node_109 | 0.4 | n |  | TRUE
99 | bus_LV_2770-45_1_2_node_114 | 0.4 | n |  | TRUE
100 | bus_LV_2770-45_1_2_node_121 | 0.4 | n |  | TRUE
101 | bus_LV_2770-45_1_2_node_118 | 0.4 | n |  | TRUE
102 | bus_LV_2770-45_1_2_node_119 | 0.4 | n |  | TRUE
103 | bus_LV_2770-45_1_2_node_124 | 0.4 | n |  | TRUE
104 | bus_LV_2770-45_1_2_node_126 | 0.4 | n |  | TRUE
105 | bus_LV_2770-45_1_2_node_196 | 0.4 | n |  | TRUE
106 | bus_LV_2770-45_1_2_node_128 | 0.4 | n |  | TRUE
107 | bus_LV_2770-45_1_2_node_156 | 0.4 | n |  | TRUE
108 | bus_LV_2770-45_1_2_node_127 | 0.4 | n |  | TRUE
109 | bus_LV_2770-45_1_2_node_159 | 0.4 | n |  | TRUE
110 | bus_LV_2770-45_1_2_node_155 | 0.4 | n |  | TRUE
111 | bus_LV_2770-45_1_2_node_152 | 0.4 | n |  | TRUE
112 | bus_LV_2770-45_1_2_node_153 | 0.4 | n |  | TRUE
113 | bus_LV_2770-45_1_2_node_154 | 0.4 | n |  | TRUE
114 | bus_LV_2770-45_1_2_node_158 | 0.4 | n |  | TRUE
115 | bus_LV_2770-45_1_2_node_157 | 0.4 | n |  | TRUE
116 | bus_MV_576_0_node_21 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2770-45_1_2_load_5 | 0 | 0.0036115 | 0.00090512 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2770-45_1_2_load_6 | 1 | 0.0016969 | 0.00042528 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2770-45_1_2_load_7 | 2 | 0.0016968 | 0.00042527 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2770-45_1_2_load_8 | 3 | 0.0029065 | 0.00072843 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2770-45_1_2_load_9 | 4 | 0.003562 | 0.00089272 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2770-45_1_2_load_52 | 6 | 0.0035781 | 0.00089676 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2770-45_1_2_load_19 | 7 | 0.0025183 | 0.00063116 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2770-45_1_2_load_67 | 8 | 0.00083075 | 0.00020821 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2770-45_1_2_load_10 | 9 | 0.0030373 | 0.00076121 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2770-45_1_2_load_13 | 11 | 0.0029621 | 0.00074237 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2770-45_1_2_load_14 | 12 | 0.0032883 | 0.00082412 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2770-45_1_2_load_68 | 13 | 0.0018807 | 0.00047134 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2770-45_1_2_load_69 | 14 | 0.0024694 | 0.0006189 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2770-45_1_2_load_15 | 15 | 0.002638 | 0.00066114 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2770-45_1_2_load_16 | 16 | 0.00065278 | 0.0001636 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2770-45_1_2_load_211 | 19 | 0.003781 | 0.00094761 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2770-45_1_2_load_28 | 21 | 0.0017002 | 0.00042612 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2770-45_1_2_load_24 | 22 | 0.0024096 | 0.00060391 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2770-45_1_2_load_22 | 24 | 0.0021463 | 0.00053792 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2770-45_1_2_load_23 | 25 | 0.00054622 | 0.0001369 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2770-45_1_2_load_53 | 26 | 0.005348 | 0.0013403 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2770-45_1_2_load_35 | 27 | 0.003632 | 0.00091025 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2770-45_1_2_load_54 | 28 | 0.00151 | 0.00037844 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2770-45_1_2_load_33 | 29 | 0.001763 | 0.00044185 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2770-45_1_2_load_25 | 30 | 0.0019416 | 0.0004866 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2770-45_1_2_load_38 | 34 | 0.0036665 | 0.0009189 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2770-45_1_2_load_36 | 37 | 0.0015748 | 0.00039467 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2770-45_1_2_load_32 | 38 | 0.0023245 | 0.00058258 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2770-45_1_2_load_29 | 39 | 0.0020846 | 0.00052246 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2770-45_1_2_load_31 | 40 | 0.0020468 | 0.00051296 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2770-45_1_2_load_34 | 41 | 0.0012089 | 0.00030297 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2770-45_1_2_load_91 | 42 | 0.0019327 | 0.00048439 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2770-45_1_2_load_47 | 44 | 0.0018212 | 0.00045643 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2770-45_1_2_load_93 | 45 | 0.0050323 | 0.0012612 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2770-45_1_2_load_55 | 46 | 0.00151 | 0.00037844 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2770-45_1_2_load_56 | 47 | 0.0040089 | 0.0010047 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2770-45_1_2_load_57 | 48 | 0.00151 | 0.00037843 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2770-45_1_2_load_80 | 50 | 0.0020195 | 0.00050613 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2770-45_1_2_load_82 | 52 | 0.00151 | 0.00037844 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2770-45_1_2_load_81 | 53 | 0.0010778 | 0.00027013 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2770-45_1_2_load_122 | 54 | 0.00153 | 0.00038345 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2770-45_1_2_load_62 | 55 | 0.0028352 | 0.00071056 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2770-45_1_2_load_59 | 56 | 0.0017176 | 0.00043048 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2770-45_1_2_load_61 | 57 | 0.0033162 | 0.00083111 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2770-45_1_2_load_79 | 59 | 0.0016455 | 0.00041241 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2770-45_1_2_load_64 | 60 | 0.0029182 | 0.00073136 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2770-45_1_2_load_63 | 61 | 0.0017796 | 0.000446 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2770-45_1_2_load_65 | 62 | 0.0020684 | 0.00051838 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2770-45_1_2_load_78 | 63 | 0.0017582 | 0.00044064 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2770-45_1_2_load_72 | 66 | 0.0010813 | 0.000271 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2770-45_1_2_load_151 | 67 | 0.00041456 | 0.0001039 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2770-45_1_2_load_73 | 68 | 0.00093011 | 0.00023311 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2770-45_1_2_load_150 | 69 | 0.00041428 | 0.00010383 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2770-45_1_2_load_74 | 70 | 0.0015493 | 0.0003883 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2770-45_1_2_load_75 | 71 | 0.0015627 | 0.00039164 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2770-45_1_2_load_76 | 72 | 0.0023685 | 0.00059359 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2770-45_1_2_load_77 | 73 | 0.0020585 | 0.00051591 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2770-45_1_2_load_83 | 74 | 0.0015107 | 0.00037863 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2770-45_1_2_load_123 | 75 | 0.0019466 | 0.00048786 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2770-45_1_2_load_84 | 76 | 0.0016613 | 0.00041637 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2770-45_1_2_load_85 | 77 | 0.00151 | 0.00037843 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2770-45_1_2_load_86 | 78 | 0.0023917 | 0.00059941 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2770-45_1_2_load_117 | 79 | 0.0016607 | 0.0004162 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2770-45_1_2_load_89 | 80 | 0.0012858 | 0.00032225 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2770-45_1_2_load_90 | 81 | 0.0012842 | 0.00032186 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2770-45_1_2_load_92 | 82 | 0.0019188 | 0.00048089 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2770-45_1_2_load_116 | 83 | 0.0020177 | 0.00050569 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2770-45_1_2_load_100 | 86 | 0.0012862 | 0.00032235 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2770-45_1_2_load_99 | 87 | 0.0017348 | 0.00043479 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2770-45_1_2_load_103 | 89 | 0.0024518 | 0.00061449 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2770-45_1_2_load_111 | 91 | 0.0024519 | 0.0006145 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2770-45_1_2_load_125 | 92 | 0.0026174 | 0.00065598 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2770-45_1_2_load_112 | 97 | 0.0013819 | 0.00034634 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2770-45_1_2_load_109 | 98 | 0.0015261 | 0.00038248 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2770-45_1_2_load_114 | 99 | 0.0013808 | 0.00034607 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2770-45_1_2_load_121 | 100 | 0.0031471 | 0.00078874 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2770-45_1_2_load_118 | 101 | 0.0014153 | 0.0003547 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2770-45_1_2_load_119 | 102 | 0.0012784 | 0.0003204 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2770-45_1_2_load_126 | 104 | 0.0026196 | 0.00065655 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2770-45_1_2_load_196 | 105 | 0.0031265 | 0.00078357 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2770-45_1_2_load_128 | 106 | 0.0031265 | 0.00078358 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2770-45_1_2_load_127 | 108 | 0.0023357 | 0.00058538 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2770-45_1_2_load_159 | 109 | 0.0025746 | 0.00064527 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2770-45_1_2_load_155 | 110 | 0.0028823 | 0.00072238 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2770-45_1_2_load_152 | 111 | 0.002264 | 0.00056741 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2770-45_1_2_load_153 | 112 | 0.0020223 | 0.00050682 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2770-45_1_2_load_154 | 113 | 0.00064338 | 0.00016125 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2770-45_1_2_load_157 | 115 | 0.0020964 | 0.00052542 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2770-45_1_2_line_0 |  | 0 | 1 | 0.015995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2770-45_1_2_line_1 |  | 0 | 2 | 0.0013743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2770-45_1_2_line_2 |  | 1 | 3 | 0.024705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2770-45_1_2_line_3 |  | 2 | 4 | 0.02253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2770-45_1_2_line_4 |  | 3 | 5 | 0.038265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2770-45_1_2_line_5 |  | 4 | 6 | 0.021283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2770-45_1_2_line_6 |  | 5 | 7 | 0.021307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2770-45_1_2_line_7 |  | 6 | 8 | 0.020642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2770-45_1_2_line_8 |  | 7 | 23 | 0.009282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2770-45_1_2_line_9 |  | 8 | 11 | 0.0055764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2770-45_1_2_line_10 |  | 9 | 10 | 0.055875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2770-45_1_2_line_11 |  | 10 | 11 | 0.016308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2770-45_1_2_line_12 |  | 10 | 12 | 0.028102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2770-45_1_2_line_13 |  | 12 | 13 | 0.016363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2770-45_1_2_line_14 |  | 13 | 14 | 0.017873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2770-45_1_2_line_15 |  | 15 | 16 | 0.0053479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2770-45_1_2_line_16 |  | 15 | 17 | 0.078717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2770-45_1_2_line_17 |  | 17 | 18 | 0.10032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2770-45_1_2_line_18 |  | 18 | 19 | 0.038559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2770-45_1_2_line_19 |  | 18 | 20 | 0.016977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2770-45_1_2_line_20 |  | 20 | 21 | 0.024282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2770-45_1_2_line_21 |  | 20 | 22 | 0.042254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2770-45_1_2_line_22 |  | 21 | 34 | 0.022525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2770-45_1_2_line_23 |  | 22 | 30 | 0.0016555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2770-45_1_2_line_24 |  | 23 | 24 | 0.048948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2770-45_1_2_line_25 |  | 23 | 25 | 0.01402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2770-45_1_2_line_26 |  | 24 | 26 | 0.0067952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2770-45_1_2_line_27 |  | 25 | 27 | 0.020147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2770-45_1_2_line_28 |  | 26 | 28 | 0.016437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2770-45_1_2_line_29 |  | 27 | 29 | 0.02135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2770-45_1_2_line_30 |  | 28 | 46 | 0.009941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2770-45_1_2_line_31 |  | 29 | 41 | 0.023941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2770-45_1_2_line_32 |  | 30 | 31 | 0.019755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2770-45_1_2_line_33 |  | 31 | 32 | 0.04589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2770-45_1_2_line_34 |  | 31 | 33 | 0.027482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2770-45_1_2_line_35 |  | 32 | 35 | 0.024178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2770-45_1_2_line_36 |  | 32 | 36 | 0.013674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2770-45_1_2_line_37 |  | 32 | 37 | 0.017737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2770-45_1_2_line_38 |  | 33 | 38 | 0.026659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2770-45_1_2_line_39 |  | 33 | 39 | 0.032775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2770-45_1_2_line_40 |  | 35 | 42 | 0.032391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2770-45_1_2_line_41 |  | 35 | 43 | 0.011721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2770-45_1_2_line_42 |  | 36 | 44 | 0.034313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2770-45_1_2_line_43 |  | 37 | 41 | 0.021127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2770-45_1_2_line_44 |  | 39 | 40 | 0.00035221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2770-45_1_2_line_45 |  | 42 | 80 | 0.0031503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2770-45_1_2_line_46 |  | 43 | 45 | 0.046645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2770-45_1_2_line_47 |  | 45 | 79 | 0.035707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2770-45_1_2_line_48 |  | 46 | 47 | 0.014009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2770-45_1_2_line_49 |  | 47 | 48 | 0.008278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2770-45_1_2_line_50 |  | 48 | 49 | 0.021215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2770-45_1_2_line_51 |  | 49 | 50 | 0.037883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2770-45_1_2_line_52 |  | 49 | 51 | 0.01315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2770-45_1_2_line_53 |  | 50 | 52 | 0.0060818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2770-45_1_2_line_54 |  | 51 | 55 | 0.02985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2770-45_1_2_line_55 |  | 51 | 56 | 0.019995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2770-45_1_2_line_56 |  | 52 | 74 | 0.015443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2770-45_1_2_line_57 |  | 53 | 54 | 0.026284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2770-45_1_2_line_58 |  | 54 | 75 | 0.023116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2770-45_1_2_line_59 |  | 55 | 58 | 0.0045658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2770-45_1_2_line_60 |  | 56 | 57 | 0.013289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2770-45_1_2_line_61 |  | 58 | 59 | 0.012404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2770-45_1_2_line_62 |  | 58 | 60 | 0.0153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2770-45_1_2_line_63 |  | 59 | 63 | 0.012584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2770-45_1_2_line_64 |  | 60 | 61 | 0.0027428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2770-45_1_2_line_65 |  | 61 | 62 | 0.021122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2770-45_1_2_line_66 |  | 63 | 73 | 0.009314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2770-45_1_2_line_67 |  | 64 | 65 | 0.040831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2770-45_1_2_line_68 |  | 64 | 66 | 0.015189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2770-45_1_2_line_69 |  | 65 | 67 | 0.030752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2770-45_1_2_line_70 |  | 66 | 68 | 0.0093893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2770-45_1_2_line_71 |  | 67 | 69 | 0.011616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2770-45_1_2_line_72 |  | 68 | 70 | 0.014878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2770-45_1_2_line_73 |  | 69 | 111 | 0.026387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2770-45_1_2_line_74 |  | 70 | 71 | 0.020081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2770-45_1_2_line_75 |  | 71 | 72 | 0.0033234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2770-45_1_2_line_76 |  | 72 | 73 | 0.017756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2770-45_1_2_line_77 |  | 74 | 76 | 0.0027633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2770-45_1_2_line_78 |  | 75 | 108 | 0.0047785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2770-45_1_2_line_79 |  | 76 | 77 | 0.011943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2770-45_1_2_line_80 |  | 77 | 78 | 0.013181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2770-45_1_2_line_81 |  | 79 | 83 | 0.019066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2770-45_1_2_line_82 |  | 80 | 81 | 0.014398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2770-45_1_2_line_83 |  | 81 | 82 | 0.0087129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2770-45_1_2_line_84 |  | 83 | 85 | 0.0198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2770-45_1_2_line_85 |  | 84 | 85 | 0.005727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2770-45_1_2_line_86 |  | 84 | 86 | 0.025575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2770-45_1_2_line_87 |  | 85 | 93 | 0.005488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2770-45_1_2_line_88 |  | 86 | 87 | 0.026991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2770-45_1_2_line_89 |  | 88 | 89 | 0.011942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2770-45_1_2_line_90 |  | 88 | 90 | 0.005368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2770-45_1_2_line_91 |  | 89 | 91 | 0.018564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2770-45_1_2_line_92 |  | 90 | 92 | 0.01454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2770-45_1_2_line_93 |  | 91 | 94 | 0.021388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2770-45_1_2_line_94 |  | 92 | 95 | 0.024976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2770-45_1_2_line_95 |  | 93 | 96 | 0.017142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2770-45_1_2_line_96 |  | 93 | 97 | 0.014688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2770-45_1_2_line_97 |  | 94 | 98 | 0.014859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2770-45_1_2_line_98 |  | 95 | 103 | 0.013788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2770-45_1_2_line_99 |  | 95 | 104 | 0.040593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2770-45_1_2_line_100 |  | 96 | 100 | 0.02185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2770-45_1_2_line_101 |  | 96 | 101 | 0.01604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2770-45_1_2_line_102 |  | 97 | 99 | 0.014614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2770-45_1_2_line_103 |  | 101 | 102 | 0.021338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2770-45_1_2_line_104 |  | 103 | 105 | 0.0061203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2770-45_1_2_line_105 |  | 103 | 106 | 0.019387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2770-45_1_2_line_106 |  | 104 | 107 | 0.002119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2770-45_1_2_line_107 |  | 106 | 108 | 0.015048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2770-45_1_2_line_108 |  | 107 | 109 | 0.016409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2770-45_1_2_line_109 |  | 107 | 110 | 0.014871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2770-45_1_2_line_110 |  | 109 | 114 | 0.017301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2770-45_1_2_line_111 |  | 110 | 112 | 0.018242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2770-45_1_2_line_112 |  | 111 | 112 | 0.011117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2770-45_1_2_line_113 |  | 111 | 113 | 0.009603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2770-45_1_2_line_114 |  | 114 | 115 | 0.012905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2770-45_1_2_trafo_57 | 0.63 MVA 20/0.4 kV | 116 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2616148.0486 | 1263610.901 | 2616132.6146 | 1263615.1
1 | 2616148.0486 | 1263610.901 | 2616149.3748 | 1263610.5402
2 | 2616108.7762 | 1263621.5857 | 2616132.6146 | 1263615.1
3 | 2616149.3748 | 1263610.5402 | 2616171.1145 | 1263604.6256
4 | 2616071.399 | 1263629.3715 | 2616079.6781 | 1263628.6378 | 2616093.8303 | 1263625.6519 | 2616108.7762 | 1263621.5857
5 | 2616171.1145 | 1263604.6256 | 2616191.6508 | 1263599.0384
6 | 2616071.399 | 1263629.3715 | 2616087.4155 | 1263643.4241
7 | 2616191.6508 | 1263599.0384 | 2616195.7168 | 1263597.9321 | 2616211.6681 | 1263594.0044
8 | 2616094.9045 | 1263648.8931 | 2616088.7254 | 1263644.5733 | 2616087.4155 | 1263643.4241
9 | 2616211.6681 | 1263594.0044 | 2616217.0828 | 1263592.6711
10 | 2616228.6863 | 1263582.7228 | 2616228.6963 | 1263579.0981 | 2616227.2936 | 1263574.2576 | 2616224.073 | 1263570.4239 | 2616219.0352 | 1263567.3859 | 2616212.1675 | 1263566.9668 | 2616201.2538 | 1263567.1371 | 2616189.1345 | 1263567.5043 | 2616182.8566 | 1263566.2603
11 | 2616228.6863 | 1263582.7228 | 2616225.8455 | 1263588.7525 | 2616219.1632 | 1263592.1588 | 2616217.0828 | 1263592.6711
12 | 2616228.6863 | 1263582.7228 | 2616248.5777 | 1263588.0142 | 2616255.5314 | 1263590.8753
13 | 2616255.5314 | 1263590.8753 | 2616270.6638 | 1263597.1014
14 | 2616270.6638 | 1263597.1014 | 2616287.1927 | 1263603.9022
15 | 2616003.5665 | 1263678.5256 | 2616008.3644 | 1263680.8881
16 | 2615932.9466 | 1263643.7526 | 2616003.5665 | 1263678.5256
17 | 2615932.9466 | 1263643.7526 | 2615906.535 | 1263688.2124 | 2615906.5774 | 1263694.8393 | 2615916.0366 | 1263700.5464 | 2615944.0256 | 1263713.7084
18 | 2615944.0256 | 1263713.7084 | 2615958.4155 | 1263686.6728 | 2615965.5381 | 1263690.25
19 | 2615944.0256 | 1263713.7084 | 2615959.3926 | 1263721.0214
20 | 2615959.3926 | 1263721.0214 | 2615958.6333 | 1263726.0784 | 2615960.1368 | 1263745.1873
21 | 2615959.3926 | 1263721.0214 | 2615998.6191 | 1263736.7275
22 | 2615951.1006 | 1263758.2267 | 2615953.5087 | 1263758.0978 | 2615961.1166 | 1263757.6402 | 2615960.1368 | 1263745.1873
23 | 2616000.156 | 1263737.3429 | 2615998.6191 | 1263736.7275
24 | 2616094.9045 | 1263648.8931 | 2616134.9962 | 1263676.9736
25 | 2616094.9045 | 1263648.8931 | 2616090.8889 | 1263662.3258
26 | 2616140.562 | 1263680.8719 | 2616134.9962 | 1263676.9736
27 | 2616085.1184 | 1263681.6286 | 2616090.8889 | 1263662.3258
28 | 2616140.562 | 1263680.8719 | 2616154.0253 | 1263690.3018
29 | 2616079.0033 | 1263702.0841 | 2616085.1184 | 1263681.6286
30 | 2616162.932 | 1263694.7095 | 2616154.2523 | 1263690.4608 | 2616154.0253 | 1263690.3018
31 | 2616079.0033 | 1263702.0841 | 2616072.146 | 1263725.0224
32 | 2616018.4951 | 1263744.6858 | 2616000.156 | 1263737.3429
33 | 2616061.0147 | 1263762.2573 | 2616018.4951 | 1263744.6858
34 | 2616018.4951 | 1263744.6858 | 2616029.1753 | 1263719.3527
35 | 2616061.0147 | 1263762.2573 | 2616083.4407 | 1263771.4577
36 | 2616053.0326 | 1263772.9987 | 2616057.0251 | 1263769.8962 | 2616059.3265 | 1263765.4772 | 2616061.0147 | 1263762.2573
37 | 2616061.0147 | 1263762.2573 | 2616066.0949 | 1263745.2638
38 | 2616029.1753 | 1263719.3527 | 2616053.7594 | 1263729.8375
39 | 2616029.1753 | 1263719.3527 | 2616037.4661 | 1263700.3064 | 2616030.4391 | 1263690.5766
40 | 2616083.4407 | 1263771.4577 | 2616090.4102 | 1263756.4662 | 2616092.9614 | 1263754.3828 | 2616095.9656 | 1263742.182
41 | 2616094.3416 | 1263775.8458 | 2616083.4407 | 1263771.4577
42 | 2616053.0326 | 1263772.9987 | 2616048.1614 | 1263775.2092 | 2616020.2829 | 1263783.0633
43 | 2616072.146 | 1263725.0224 | 2616066.0949 | 1263745.2638
44 | 2616030.2329 | 1263690.2911 | 2616030.4391 | 1263690.5766
45 | 2616096.7188 | 1263739.1231 | 2616095.9656 | 1263742.182
46 | 2616094.3416 | 1263775.8458 | 2616103.9338 | 1263779.6078 | 2616133.8659 | 1263781.3903 | 2616140.2227 | 1263781.3811
47 | 2616140.2227 | 1263781.3811 | 2616165.8741 | 1263781.344 | 2616175.9094 | 1263780.7093
48 | 2616176.669 | 1263697.4563 | 2616162.932 | 1263694.7095 | 2616162.932 | 1263694.7095
49 | 2616176.669 | 1263697.4563 | 2616179.2813 | 1263697.9786 | 2616184.8504 | 1263698.6871
50 | 2616205.8955 | 1263701.3646 | 2616184.8504 | 1263698.6871
51 | 2616205.8955 | 1263701.3646 | 2616201.6711 | 1263712.1383 | 2616193.3641 | 1263720.3769 | 2616186.2774 | 1263725.7946 | 2616181.0851 | 1263728.1245
52 | 2616205.8955 | 1263701.3646 | 2616209.9932 | 1263695.6496 | 2616215.1838 | 1263692.3727
53 | 2616175.5363 | 1263730.6143 | 2616181.0851 | 1263728.1245
54 | 2616215.1838 | 1263692.3727 | 2616221.1287 | 1263688.6308 | 2616241.4538 | 1263678.2443
55 | 2616215.1838 | 1263692.3727 | 2616213.4508 | 1263684.3735 | 2616215.0952 | 1263683.4329 | 2616214.1684 | 1263675.347 | 2616212.6193 | 1263674.4755
56 | 2616175.5363 | 1263730.6143 | 2616171.1057 | 1263732.6024 | 2616161.2822 | 1263736.5492
57 | 2616248.9715 | 1263712.2646 | 2616263.9225 | 1263718.7576 | 2616273.2995 | 1263722.1867
58 | 2616295.8336 | 1263727.2658 | 2616291.3236 | 1263726.2824 | 2616275.0427 | 1263722.8242 | 2616273.2995 | 1263722.1867
59 | 2616245.5195 | 1263676.1667 | 2616241.4538 | 1263678.2443
60 | 2616210.8402 | 1263661.306 | 2616212.6193 | 1263674.4755
61 | 2616245.5195 | 1263676.1667 | 2616256.5645 | 1263670.5215
62 | 2616245.5195 | 1263676.1667 | 2616238.2885 | 1263662.6829
63 | 2616256.5645 | 1263670.5215 | 2616267.7697 | 1263664.7944
64 | 2616236.9922 | 1263660.2657 | 2616238.2885 | 1263662.6829
65 | 2616228.0619 | 1263643.0294 | 2616233.755 | 1263646.0581 | 2616235.1254 | 1263648.8972 | 2616236.9922 | 1263660.2657
66 | 2616276.5693 | 1263662.0655 | 2616271.2905 | 1263662.9948 | 2616267.7697 | 1263664.7944
67 | 2616346.1362 | 1263628.1542 | 2616370.9482 | 1263637.896 | 2616384.5228 | 1263642.3365
68 | 2616346.1362 | 1263628.1542 | 2616336.4638 | 1263639.8647
69 | 2616384.5228 | 1263642.3365 | 2616388.9056 | 1263672.7745
70 | 2616336.4638 | 1263639.8647 | 2616335.1866 | 1263641.411 | 2616329.1202 | 1263645.6204
71 | 2616390.5611 | 1263684.2724 | 2616388.9056 | 1263672.7745
72 | 2616316.5381 | 1263653.5469 | 2616325.0675 | 1263648.4325 | 2616329.1202 | 1263645.6204
73 | 2616376.1779 | 1263696.8956 | 2616386.2288 | 1263695.4223 | 2616385.9645 | 1263692.9755 | 2616391.6981 | 1263692.1685 | 2616390.5611 | 1263684.2724
74 | 2616316.5381 | 1263653.5469 | 2616315.3585 | 1263654.2542 | 2616304.0347 | 1263658.4482 | 2616297.4508 | 1263659.233
75 | 2616297.4508 | 1263659.233 | 2616294.1507 | 1263659.6264
76 | 2616276.5693 | 1263662.0655 | 2616282.6083 | 1263661.0023 | 2616294.1507 | 1263659.6264
77 | 2616161.2822 | 1263736.5492 | 2616158.7182 | 1263737.5794
78 | 2616300.5025 | 1263728.2838 | 2616295.8336 | 1263727.2658
79 | 2616147.6359 | 1263742.0319 | 2616158.7182 | 1263737.5794
80 | 2616147.6359 | 1263742.0319 | 2616135.405 | 1263746.946
81 | 2616194.9024 | 1263779.2442 | 2616193.0065 | 1263779.6279 | 2616175.9094 | 1263780.7093
82 | 2616096.7188 | 1263739.1231 | 2616100.1613 | 1263725.1422
83 | 2616102.2444 | 1263716.682 | 2616100.1613 | 1263725.1422
84 | 2616214.3093 | 1263775.3164 | 2616194.9024 | 1263779.2442
85 | 2616214.3093 | 1263775.3164 | 2616216.4336 | 1263780.637
86 | 2616216.4336 | 1263780.637 | 2616241.4678 | 1263775.4056
87 | 2616214.3093 | 1263775.3164 | 2616219.7047 | 1263774.2304
88 | 2616267.8731 | 1263769.8122 | 2616252.5142 | 1263773.0972 | 2616241.4678 | 1263775.4056
89 | 2616347.9086 | 1263788.4809 | 2616336.5688 | 1263792.2263
90 | 2616353.0195 | 1263786.7938 | 2616347.9086 | 1263788.4809
91 | 2616318.9411 | 1263798.0486 | 2616336.5688 | 1263792.2263
92 | 2616353.0195 | 1263786.7938 | 2616351.3155 | 1263781.9969 | 2616349.1781 | 1263775.998 | 2616348.2933 | 1263773.0469
93 | 2616298.6318 | 1263804.7566 | 2616318.9411 | 1263798.0486
94 | 2616341.1184 | 1263749.1239 | 2616342.0512 | 1263752.2286 | 2616348.2933 | 1263773.0469
95 | 2616219.7047 | 1263774.2304 | 2616236.554 | 1263770.8186
96 | 2616219.7047 | 1263774.2304 | 2616216.8033 | 1263759.8322
97 | 2616298.6318 | 1263804.7566 | 2616295.0858 | 1263793.3501 | 2616297.8569 | 1263792.4499
98 | 2616333.5056 | 1263737.6728 | 2616338.7436 | 1263744.5364 | 2616339.5751 | 1263746.1509 | 2616341.1184 | 1263749.1239
99 | 2616341.1184 | 1263749.1239 | 2616380.8946 | 1263741.023
100 | 2616236.554 | 1263770.8186 | 2616232.2144 | 1263749.403
101 | 2616236.554 | 1263770.8186 | 2616252.2598 | 1263767.5605
102 | 2616213.9163 | 1263745.5059 | 2616216.8033 | 1263759.8322
103 | 2616252.2598 | 1263767.5605 | 2616273.153 | 1263763.2264
104 | 2616333.5056 | 1263737.6728 | 2616337.8749 | 1263737.2623 | 2616339.599 | 1263737.0999
105 | 2616333.5056 | 1263737.6728 | 2616322.2063 | 1263733.0163 | 2616315.2052 | 1263731.4897
106 | 2616382.971 | 1263740.6001 | 2616380.8946 | 1263741.023
107 | 2616315.2052 | 1263731.4897 | 2616300.5025 | 1263728.2838
108 | 2616382.971 | 1263740.6001 | 2616399.0268 | 1263737.213
109 | 2616382.971 | 1263740.6001 | 2616380.687 | 1263725.9059
110 | 2616415.955 | 1263733.642 | 2616399.0268 | 1263737.213
111 | 2616377.8853 | 1263707.8803 | 2616380.687 | 1263725.9059
112 | 2616376.1779 | 1263696.8956 | 2616377.8853 | 1263707.8803
113 | 2616374.6978 | 1263687.4072 | 2616376.1779 | 1263696.8956
114 | 2616415.955 | 1263733.642 | 2616414.0116 | 1263720.8838

## bus_geodata
| x | y | coords
0 | 2616148.0486 | 1263610.901
1 | 2616132.6146 | 1263615.1
2 | 2616149.3748 | 1263610.5402
3 | 2616108.7762 | 1263621.5857
4 | 2616171.1145 | 1263604.6256
5 | 2616071.399 | 1263629.3715
6 | 2616191.6508 | 1263599.0384
7 | 2616087.4155 | 1263643.4241
8 | 2616211.6681 | 1263594.0044
9 | 2616182.8566 | 1263566.2603
10 | 2616228.6863 | 1263582.7228
11 | 2616217.0828 | 1263592.6711
12 | 2616255.5314 | 1263590.8753
13 | 2616270.6638 | 1263597.1014
14 | 2616287.1927 | 1263603.9022
15 | 2616003.5665 | 1263678.5256
16 | 2616008.3644 | 1263680.8881
17 | 2615932.9466 | 1263643.7526
18 | 2615944.0256 | 1263713.7084
19 | 2615965.5381 | 1263690.25
20 | 2615959.3926 | 1263721.0214
21 | 2615960.1368 | 1263745.1873
22 | 2615998.6191 | 1263736.7275
23 | 2616094.9045 | 1263648.8931
24 | 2616134.9962 | 1263676.9736
25 | 2616090.8889 | 1263662.3258
26 | 2616140.562 | 1263680.8719
27 | 2616085.1184 | 1263681.6286
28 | 2616154.0253 | 1263690.3018
29 | 2616079.0033 | 1263702.0841
30 | 2616000.156 | 1263737.3429
31 | 2616018.4951 | 1263744.6858
32 | 2616061.0147 | 1263762.2573
33 | 2616029.1753 | 1263719.3527
34 | 2615951.1006 | 1263758.2267
35 | 2616083.4407 | 1263771.4577
36 | 2616053.0326 | 1263772.9987
37 | 2616066.0949 | 1263745.2638
38 | 2616053.7594 | 1263729.8375
39 | 2616030.4391 | 1263690.5766
40 | 2616030.2329 | 1263690.2911
41 | 2616072.146 | 1263725.0224
42 | 2616095.9656 | 1263742.182
43 | 2616094.3416 | 1263775.8458
44 | 2616020.2829 | 1263783.0633
45 | 2616140.2227 | 1263781.3811
46 | 2616162.932 | 1263694.7095
47 | 2616176.669 | 1263697.4563
48 | 2616184.8504 | 1263698.6871
49 | 2616205.8955 | 1263701.3646
50 | 2616181.0851 | 1263728.1245
51 | 2616215.1838 | 1263692.3727
52 | 2616175.5363 | 1263730.6143
53 | 2616248.9715 | 1263712.2646
54 | 2616273.2995 | 1263722.1867
55 | 2616241.4538 | 1263678.2443
56 | 2616212.6193 | 1263674.4755
57 | 2616210.8402 | 1263661.306
58 | 2616245.5195 | 1263676.1667
59 | 2616256.5645 | 1263670.5215
60 | 2616238.2885 | 1263662.6829
61 | 2616236.9922 | 1263660.2657
62 | 2616228.0619 | 1263643.0294
63 | 2616267.7697 | 1263664.7944
64 | 2616346.1362 | 1263628.1542
65 | 2616384.5228 | 1263642.3365
66 | 2616336.4638 | 1263639.8647
67 | 2616388.9056 | 1263672.7745
68 | 2616329.1202 | 1263645.6204
69 | 2616390.5611 | 1263684.2724
70 | 2616316.5381 | 1263653.5469
71 | 2616297.4508 | 1263659.233
72 | 2616294.1507 | 1263659.6264
73 | 2616276.5693 | 1263662.0655
74 | 2616161.2822 | 1263736.5492
75 | 2616295.8336 | 1263727.2658
76 | 2616158.7182 | 1263737.5794
77 | 2616147.6359 | 1263742.0319
78 | 2616135.405 | 1263746.946
79 | 2616175.9094 | 1263780.7093
80 | 2616096.7188 | 1263739.1231
81 | 2616100.1613 | 1263725.1422
82 | 2616102.2444 | 1263716.682
83 | 2616194.9025 | 1263779.2442
84 | 2616216.4336 | 1263780.637
85 | 2616214.3093 | 1263775.3164
86 | 2616241.4678 | 1263775.4056
87 | 2616267.8731 | 1263769.8122
88 | 2616347.9086 | 1263788.4809
89 | 2616336.5688 | 1263792.2263
90 | 2616353.0195 | 1263786.7938
91 | 2616318.9411 | 1263798.0486
92 | 2616348.2933 | 1263773.0469
93 | 2616219.7047 | 1263774.2304
94 | 2616298.6318 | 1263804.7566
95 | 2616341.1184 | 1263749.1239
96 | 2616236.554 | 1263770.8186
97 | 2616216.8033 | 1263759.8322
98 | 2616297.857 | 1263792.4499
99 | 2616213.9163 | 1263745.5059
100 | 2616232.2144 | 1263749.403
101 | 2616252.2598 | 1263767.5605
102 | 2616273.153 | 1263763.2264
103 | 2616333.5056 | 1263737.6728
104 | 2616380.8946 | 1263741.023
105 | 2616339.599 | 1263737.0999
106 | 2616315.2052 | 1263731.4897
107 | 2616382.971 | 1263740.6001
108 | 2616300.5025 | 1263728.2838
109 | 2616399.0268 | 1263737.213
110 | 2616380.687 | 1263725.9059
111 | 2616376.1779 | 1263696.8956
112 | 2616377.8853 | 1263707.8803
113 | 2616374.6978 | 1263687.4072
114 | 2616415.955 | 1263733.642
115 | 2616414.0116 | 1263720.8838
116 | 2616205.8955 | 1263701.3646

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1