## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2771-13_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2771-13_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2771-13_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2771-13_0_4_node_33 | 0.4 | n |  | TRUE
4 | bus_LV_2771-13_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2771-13_0_4_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_2771-13_0_4_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_2771-13_0_4_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_2771-13_0_4_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_2771-13_0_4_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_2771-13_0_4_node_84 | 0.4 | n |  | TRUE
11 | bus_LV_2771-13_0_4_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_2771-13_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2771-13_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_2771-13_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2771-13_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2771-13_0_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_2771-13_0_4_node_58 | 0.4 | n |  | TRUE
18 | bus_LV_2771-13_0_4_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_2771-13_0_4_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_2771-13_0_4_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_2771-13_0_4_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_2771-13_0_4_node_6 | 0.4 | n |  | TRUE
23 | bus_LV_2771-13_0_4_node_7 | 0.4 | n |  | TRUE
24 | bus_LV_2771-13_0_4_node_8 | 0.4 | n |  | TRUE
25 | bus_LV_2771-13_0_4_node_9 | 0.4 | n |  | TRUE
26 | bus_LV_2771-13_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_2771-13_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_2771-13_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_2771-13_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_2771-13_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_2771-13_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_2771-13_0_4_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_2771-13_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_2771-13_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_2771-13_0_4_node_72 | 0.4 | n |  | TRUE
36 | bus_LV_2771-13_0_4_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_2771-13_0_4_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_2771-13_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_2771-13_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_2771-13_0_4_node_76 | 0.4 | n |  | TRUE
41 | bus_LV_2771-13_0_4_node_71 | 0.4 | n |  | TRUE
42 | bus_LV_2771-13_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_2771-13_0_4_node_77 | 0.4 | n |  | TRUE
44 | bus_LV_2771-13_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_2771-13_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_2771-13_0_4_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_2771-13_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_2771-13_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_2771-13_0_4_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_2771-13_0_4_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_2771-13_0_4_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_2771-13_0_4_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_2771-13_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_2771-13_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_2771-13_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_2771-13_0_4_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_2771-13_0_4_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_2771-13_0_4_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_2771-13_0_4_node_75 | 0.4 | n |  | TRUE
60 | bus_LV_2771-13_0_4_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_2771-13_0_4_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_2771-13_0_4_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_2771-13_0_4_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_2771-13_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_2771-13_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_2771-13_0_4_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_2771-13_0_4_node_83 | 0.4 | n |  | TRUE
68 | bus_LV_2771-13_0_4_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_2771-13_0_4_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_2771-13_0_4_node_82 | 0.4 | n |  | TRUE
71 | bus_LV_2771-13_0_4_node_79 | 0.4 | n |  | TRUE
72 | bus_LV_2771-13_0_4_node_81 | 0.4 | n |  | TRUE
73 | bus_LV_2771-13_0_4_node_80 | 0.4 | n |  | TRUE
74 | bus_LV_2771-13_0_4_node_78 | 0.4 | n |  | TRUE
75 | bus_MV_569_0_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2771-13_0_4_load_0 | 0 | 0.025423 | 0.0063717 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2771-13_0_4_load_1 | 1 | 0.0042508 | 0.0010653 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2771-13_0_4_load_33 | 3 | 0.003896 | 0.00097644 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2771-13_0_4_load_54 | 6 | 0.01322 | 0.0033133 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2771-13_0_4_load_34 | 8 | 0.052735 | 0.013217 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2771-13_0_4_load_84 | 10 | 0.0018737 | 0.00046959 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2771-13_0_4_load_10 | 14 | 0.0048059 | 0.0012045 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2771-13_0_4_load_58 | 17 | 0.0093667 | 0.0023475 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2771-13_0_4_load_55 | 18 | 0.0027253 | 0.00068302 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2771-13_0_4_load_50 | 20 | 0.0044277 | 0.0011097 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2771-13_0_4_load_6 | 22 | 0.0044368 | 0.001112 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2771-13_0_4_load_9 | 25 | 0.0041456 | 0.001039 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2771-13_0_4_load_24 | 27 | 0.013284 | 0.0033293 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2771-13_0_4_load_20 | 28 | 0.0010868 | 0.00027237 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2771-13_0_4_load_23 | 29 | 0.0026967 | 0.00067585 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2771-13_0_4_load_29 | 30 | 0.010568 | 0.0026486 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2771-13_0_4_load_25 | 31 | 0.0023288 | 0.00058364 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2771-13_0_4_load_31 | 32 | 0.011286 | 0.0028286 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2771-13_0_4_load_72 | 35 | 0.0079602 | 0.001995 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2771-13_0_4_load_70 | 36 | 0.018178 | 0.0045557 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2771-13_0_4_load_28 | 39 | 0.0068492 | 0.0017166 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2771-13_0_4_load_76 | 40 | 0.0033638 | 0.00084304 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2771-13_0_4_load_71 | 41 | 0.0063708 | 0.0015967 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2771-13_0_4_load_32 | 42 | 0.02758 | 0.0069121 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2771-13_0_4_load_35 | 44 | 0.01268 | 0.003178 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2771-13_0_4_load_36 | 45 | 0.011841 | 0.0029677 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2771-13_0_4_load_39 | 47 | 0.001443 | 0.00036164 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2771-13_0_4_load_40 | 48 | 0.0032247 | 0.00080818 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2771-13_0_4_load_63 | 51 | 0.0060199 | 0.0015087 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2771-13_0_4_load_41 | 53 | 0.018325 | 0.0045927 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2771-13_0_4_load_47 | 55 | 0.0027232 | 0.00068251 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2771-13_0_4_load_61 | 56 | 0.0073063 | 0.0018311 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2771-13_0_4_load_74 | 60 | 0.0075259 | 0.0018862 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2771-13_0_4_load_62 | 61 | 0.0064729 | 0.0016223 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2771-13_0_4_load_56 | 62 | 0.022572 | 0.005657 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2771-13_0_4_load_59 | 64 | 0.0025984 | 0.00065122 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2771-13_0_4_load_60 | 65 | 0.0067547 | 0.0016929 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2771-13_0_4_load_67 | 66 | 0.0031198 | 0.00078189 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2771-13_0_4_load_83 | 67 | 0.0045014 | 0.0011282 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2771-13_0_4_load_68 | 68 | 0.0057124 | 0.0014317 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2771-13_0_4_load_69 | 69 | 0.0038009 | 0.0009526 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2771-13_0_4_load_82 | 70 | 0.0051151 | 0.001282 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2771-13_0_4_load_79 | 71 | 0.0045641 | 0.0011439 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2771-13_0_4_load_81 | 72 | 0.0040336 | 0.0010109 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2771-13_0_4_load_80 | 73 | 0.0017275 | 0.00043296 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2771-13_0_4_load_78 | 74 | 0.011393 | 0.0028553 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2771-13_0_4_line_0 |  | 0 | 1 | 0.047615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2771-13_0_4_line_1 |  | 1 | 2 | 0.014635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2771-13_0_4_line_2 |  | 2 | 3 | 0.0091491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2771-13_0_4_line_3 |  | 3 | 7 | 0.044873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2771-13_0_4_line_4 |  | 4 | 5 | 0.024841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2771-13_0_4_line_5 |  | 4 | 6 | 0.017695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2771-13_0_4_line_6 |  | 5 | 17 | 0.014674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2771-13_0_4_line_7 |  | 5 | 18 | 0.023804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2771-13_0_4_line_8 |  | 5 | 19 | 0.066226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2771-13_0_4_line_9 |  | 7 | 8 | 0.039659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2771-13_0_4_line_10 |  | 7 | 9 | 0.033538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2771-13_0_4_line_11 |  | 9 | 10 | 0.01061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2771-13_0_4_line_12 |  | 9 | 11 | 0.020064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2771-13_0_4_line_13 |  | 11 | 32 | 0.025263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2771-13_0_4_line_14 |  | 11 | 30 | 0.022082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2771-13_0_4_line_15 |  | 12 | 13 | 0.031323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2771-13_0_4_line_16 |  | 12 | 14 | 0.024253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2771-13_0_4_line_17 |  | 13 | 29 | 0.028308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2771-13_0_4_line_18 |  | 13 | 28 | 0.020802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2771-13_0_4_line_19 |  | 14 | 15 | 0.017864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2771-13_0_4_line_20 |  | 15 | 16 | 0.064788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2771-13_0_4_line_21 |  | 16 | 30 | 0.018575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2771-13_0_4_line_22 |  | 16 | 31 | 0.047888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_2771-13_0_4_line_23 |  | 18 | 62 | 0.014056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2771-13_0_4_line_24 |  | 19 | 20 | 0.014762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2771-13_0_4_line_25 |  | 19 | 21 | 0.010176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2771-13_0_4_line_26 |  | 21 | 52 | 0.053672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2771-13_0_4_line_27 |  | 21 | 53 | 0.057975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2771-13_0_4_line_28 |  | 22 | 23 | 0.01843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2771-13_0_4_line_29 |  | 23 | 24 | 0.002446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2771-13_0_4_line_30 |  | 23 | 25 | 0.01192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2771-13_0_4_line_31 |  | 24 | 26 | 0.027996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2771-13_0_4_line_32 |  | 24 | 27 | 0.019063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2771-13_0_4_line_33 |  | 26 | 28 | 0.054041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2771-13_0_4_line_34 |  | 31 | 33 | 0.013562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2771-13_0_4_line_35 |  | 32 | 42 | 0.039484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2771-13_0_4_line_36 |  | 33 | 38 | 0.010987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2771-13_0_4_line_37 |  | 33 | 39 | 0.023978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2771-13_0_4_line_38 |  | 34 | 35 | 0.024988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2771-13_0_4_line_39 |  | 34 | 36 | 0.01841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2771-13_0_4_line_40 |  | 35 | 37 | 0.025569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2771-13_0_4_line_41 |  | 37 | 58 | 0.029521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2771-13_0_4_line_42 |  | 38 | 40 | 0.012328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_2771-13_0_4_line_43 |  | 39 | 41 | 0.036526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2771-13_0_4_line_44 |  | 40 | 43 | 0.01846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_2771-13_0_4_line_45 |  | 43 | 74 | 0.0025783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2771-13_0_4_line_46 |  | 43 | 71 | 0.024745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2771-13_0_4_line_47 |  | 44 | 45 | 0.013227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2771-13_0_4_line_48 |  | 44 | 46 | 0.031051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2771-13_0_4_line_49 |  | 46 | 47 | 0.014211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2771-13_0_4_line_50 |  | 46 | 48 | 0.0087568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2771-13_0_4_line_51 |  | 47 | 49 | 0.026232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2771-13_0_4_line_52 |  | 48 | 50 | 0.015604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2771-13_0_4_line_53 |  | 49 | 51 | 0.0027314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2771-13_0_4_line_54 |  | 50 | 52 | 0.03856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2771-13_0_4_line_55 |  | 52 | 56 | 0.01432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2771-13_0_4_line_56 |  | 53 | 54 | 0.05691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2771-13_0_4_line_57 |  | 54 | 55 | 0.045826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2771-13_0_4_line_58 |  | 56 | 57 | 0.019645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2771-13_0_4_line_59 |  | 57 | 61 | 0.025637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2771-13_0_4_line_60 |  | 58 | 59 | 0.038606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2771-13_0_4_line_61 |  | 58 | 60 | 0.021779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2771-13_0_4_line_62 |  | 59 | 72 | 0.011761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2771-13_0_4_line_63 |  | 59 | 73 | 0.01305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2771-13_0_4_line_64 |  | 62 | 63 | 0.0094271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2771-13_0_4_line_65 |  | 63 | 64 | 0.021016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2771-13_0_4_line_66 |  | 63 | 65 | 0.018153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2771-13_0_4_line_67 |  | 64 | 66 | 0.012326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2771-13_0_4_line_68 |  | 65 | 67 | 0.0055807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2771-13_0_4_line_69 |  | 66 | 68 | 0.0018571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2771-13_0_4_line_70 |  | 68 | 69 | 0.013586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_2771-13_0_4_line_71 |  | 69 | 70 | 0.020302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_2771-13_0_4_line_72 |  | 70 | 71 | 0.0335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_2771-13_0_4_line_73 |  | 73 | 74 | 0.02819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2771-13_0_4_trafo_69 | 0.63 MVA 20/0.4 kV | 75 | 69 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2609020.0292 | 1262857.9353 | 2609027.7849 | 1262873.6798 | 2609041.7738 | 1262897.6953 | 2609042.9536 | 1262899.6356
1 | 2609050.5572 | 1262912.1407 | 2609042.9536 | 1262899.6356
2 | 2609050.5572 | 1262912.1407 | 2609056.4676 | 1262908.8252 | 2609057.6923 | 1262910.8569
3 | 2609081.904 | 1262948.6357 | 2609060.2243 | 1262915.0574 | 2609057.6923 | 1262910.8569
4 | 2609114.695 | 1262833.6625 | 2609126.8008 | 1262837.795 | 2609129.9327 | 1262838.845 | 2609133.8452 | 1262846.6674
5 | 2609114.695 | 1262833.6625 | 2609116.8157 | 1262826.0717 | 2609117.3631 | 1262822.748 | 2609117.3376 | 1262819.757 | 2609116.9018 | 1262816.3307
6 | 2609133.8452 | 1262846.6674 | 2609120.766 | 1262853.3964
7 | 2609133.8452 | 1262846.6674 | 2609144.49 | 1262867.9582
8 | 2609133.8452 | 1262846.6674 | 2609129.9327 | 1262838.845 | 2609162.9188 | 1262847.7239 | 2609180.1733 | 1262849.2738 | 2609183.457 | 1262849.5679 | 2609186.1457 | 1262849.8056
9 | 2609097.0602 | 1262923.2191 | 2609103.6987 | 1262936.3272 | 2609081.904 | 1262948.6357
10 | 2609081.904 | 1262948.6357 | 2609086.8619 | 1262957.4381 | 2609100.8855 | 1262968.267 | 2609105.5989 | 1262969.4639 | 2609106.0875 | 1262970.1651
11 | 2609106.0875 | 1262970.1651 | 2609106.8192 | 1262959.5812
12 | 2609117.5414 | 1262986.6606 | 2609106.0875 | 1262970.1651
13 | 2609117.5414 | 1262986.6606 | 2609138.7912 | 1262972.9978
14 | 2609117.5414 | 1262986.6606 | 2609130.1384 | 1263004.7967
15 | 2609121.1509 | 1263025.0035 | 2609124.7654 | 1263030.5573 | 2609138.2464 | 1263051.2811
16 | 2609121.1509 | 1263025.0035 | 2609111.533 | 1263029.4474 | 2609099.1911 | 1263035.2963
17 | 2609138.2464 | 1263051.2811 | 2609114.1482 | 1263066.1352
18 | 2609138.2464 | 1263051.2811 | 2609149.5917 | 1263068.7169
19 | 2609083.0481 | 1263042.9465 | 2609099.1911 | 1263035.2963
20 | 2609140.7347 | 1263020.0524 | 2609132.9925 | 1263024.3768 | 2609122.0173 | 1263029.8081 | 2609108.0509 | 1263035.8242 | 2609086.5908 | 1263046.1763 | 2609083.0481 | 1263042.9465
21 | 2609140.7347 | 1263020.0524 | 2609130.1384 | 1263004.7967
22 | 2609140.7347 | 1263020.0524 | 2609154.6386 | 1263040.0652 | 2609175.0799 | 1263028.4324
23 | 2609144.49 | 1262867.9582 | 2609150.7757 | 1262880.5302
24 | 2609186.1457 | 1262849.8056 | 2609180.4427 | 1262836.1901
25 | 2609196.3523 | 1262849.7213 | 2609186.1457 | 1262849.8056
26 | 2609196.3523 | 1262849.7213 | 2609219.3368 | 1262847.7999 | 2609235.7554 | 1262844.3341 | 2609232.1077 | 1262830.9971
27 | 2609196.3523 | 1262849.7213 | 2609198.0745 | 1262861.2207 | 2609218.6102 | 1262902.7699
28 | 2609152.7734 | 1263131.3027 | 2609142.8558 | 1263115.7685
29 | 2609152.7734 | 1263131.3027 | 2609154.8092 | 1263129.9382
30 | 2609152.7734 | 1263131.3027 | 2609148.6944 | 1263134.0316 | 2609143.1996 | 1263138.3876
31 | 2609178.2502 | 1263114.5304 | 2609170.9144 | 1263119.1445 | 2609154.8092 | 1263129.9382
32 | 2609154.8092 | 1263129.9382 | 2609149.2647 | 1263148.1771
33 | 2609178.2502 | 1263114.5304 | 2609156.6342 | 1263079.5398 | 2609149.5917 | 1263068.7169
34 | 2609186.8671 | 1263021.7245 | 2609175.0799 | 1263028.4324
35 | 2609168.5194 | 1262967.4145 | 2609168.5194 | 1262967.4145 | 2609159.7577 | 1262973.3718 | 2609153.2873 | 1262963.6774 | 2609138.7912 | 1262972.9978
36 | 2609186.8671 | 1263021.7245 | 2609195.8704 | 1263015.3896
37 | 2609186.8671 | 1263021.7245 | 2609199.7101 | 1263041.9725
38 | 2609250.8248 | 1263122.5593 | 2609268.8144 | 1263105.2159
39 | 2609250.8248 | 1263122.5593 | 2609240.9639 | 1263107.0128
40 | 2609287.2219 | 1263087.4696 | 2609268.8144 | 1263105.2159
41 | 2609287.2219 | 1263087.4696 | 2609266.6772 | 1263066.2119
42 | 2609195.8704 | 1263015.3896 | 2609205.9395 | 1263008.2776
43 | 2609199.7101 | 1263041.9725 | 2609219.2744 | 1263072.8174
44 | 2609221.0179 | 1262997.6274 | 2609205.9395 | 1263008.2776
45 | 2609221.0179 | 1262997.6274 | 2609222.4592 | 1262999.7652
46 | 2609221.0179 | 1262997.6274 | 2609209.7241 | 1262980.0423 | 2609207.526 | 1262976.8871
47 | 2609299.3901 | 1262856.2938 | 2609306.5135 | 1262867.4383
48 | 2609282.6671 | 1262830.1306 | 2609299.3901 | 1262856.2938
49 | 2609282.6671 | 1262830.1306 | 2609295.424 | 1262823.8681
50 | 2609282.6671 | 1262830.1306 | 2609274.4083 | 1262833.0415
51 | 2609318.9714 | 1262812.3084 | 2609295.424 | 1262823.8681
52 | 2609259.7855 | 1262838.4785 | 2609266.3352 | 1262835.8869 | 2609274.4083 | 1262833.0415
53 | 2609318.9714 | 1262812.3084 | 2609321.3975 | 1262811.0536
54 | 2609232.1077 | 1262830.9971 | 2609235.7554 | 1262844.3341 | 2609259.7855 | 1262838.4785
55 | 2609232.1077 | 1262830.9971 | 2609228.3246 | 1262817.1857
56 | 2609243.8259 | 1262953.7883 | 2609218.6102 | 1262902.7699
57 | 2609243.8259 | 1262953.7883 | 2609250.6505 | 1262968.1087 | 2609263.3347 | 1262995.2544
58 | 2609223.1346 | 1262798.2385 | 2609228.3246 | 1262817.1857
59 | 2609199.2614 | 1262799.925 | 2609204.8148 | 1262803.5471 | 2609223.1346 | 1262798.2385
60 | 2609266.6772 | 1263066.2119 | 2609264.346 | 1263063.7956 | 2609244.9135 | 1263034.3452
61 | 2609266.6772 | 1263066.2119 | 2609248.4613 | 1263078.1487
62 | 2609244.9135 | 1263034.3452 | 2609233.9774 | 1263038.7534
63 | 2609244.9135 | 1263034.3452 | 2609238.1049 | 1263023.2122
64 | 2609154.9915 | 1262888.9622 | 2609150.7757 | 1262880.5302
65 | 2609154.9915 | 1262888.9622 | 2609156.9965 | 1262892.968 | 2609164.8655 | 1262907.5126
66 | 2609154.9915 | 1262888.9622 | 2609138.5831 | 1262896.7269
67 | 2609170.7308 | 1262918.3536 | 2609164.8655 | 1262907.5126
68 | 2609133.5387 | 1262899.114 | 2609138.5831 | 1262896.7269
69 | 2609170.7308 | 1262918.3536 | 2609171.6145 | 1262919.9869
70 | 2609178.0794 | 1262931.9361 | 2609171.6145 | 1262919.9869
71 | 2609188.3768 | 1262949.4 | 2609184.5768 | 1262943.9454 | 2609178.0794 | 1262931.9361
72 | 2609207.526 | 1262976.8871 | 2609188.3768 | 1262949.4
73 | 2609238.1049 | 1263023.2122 | 2609236.5213 | 1263020.6227 | 2609222.4592 | 1262999.7652

## bus_geodata
| x | y | coords
0 | 2609020.0292 | 1262857.9353
1 | 2609042.9536 | 1262899.6356
2 | 2609050.5572 | 1262912.1407
3 | 2609057.6923 | 1262910.8569
4 | 2609114.695 | 1262833.6625
5 | 2609133.8452 | 1262846.6674
6 | 2609116.9018 | 1262816.3307
7 | 2609081.904 | 1262948.6357
8 | 2609097.0602 | 1262923.2191
9 | 2609106.0875 | 1262970.1651
10 | 2609106.8192 | 1262959.5812
11 | 2609117.5414 | 1262986.6606
12 | 2609121.1509 | 1263025.0035
13 | 2609138.2464 | 1263051.2811
14 | 2609099.1911 | 1263035.2963
15 | 2609083.0481 | 1263042.9465
16 | 2609140.7347 | 1263020.0524
17 | 2609120.766 | 1262853.3964
18 | 2609144.49 | 1262867.9582
19 | 2609186.1457 | 1262849.8056
20 | 2609180.4427 | 1262836.1901
21 | 2609196.3523 | 1262849.7213
22 | 2609142.8558 | 1263115.7685
23 | 2609152.7734 | 1263131.3027
24 | 2609154.8092 | 1263129.9382
25 | 2609143.1996 | 1263138.3876
26 | 2609178.2502 | 1263114.5304
27 | 2609149.2647 | 1263148.1771
28 | 2609149.5917 | 1263068.7169
29 | 2609114.1482 | 1263066.1352
30 | 2609130.1384 | 1263004.7967
31 | 2609175.0799 | 1263028.4324
32 | 2609138.7912 | 1262972.9978
33 | 2609186.8671 | 1263021.7245
34 | 2609250.8247 | 1263122.5593
35 | 2609268.8144 | 1263105.2159
36 | 2609240.9639 | 1263107.0128
37 | 2609287.2219 | 1263087.4696
38 | 2609195.8704 | 1263015.3896
39 | 2609199.7101 | 1263041.9725
40 | 2609205.9395 | 1263008.2776
41 | 2609219.2744 | 1263072.8174
42 | 2609168.5194 | 1262967.4145
43 | 2609221.0179 | 1262997.6274
44 | 2609299.3901 | 1262856.2938
45 | 2609306.5135 | 1262867.4383
46 | 2609282.6671 | 1262830.1306
47 | 2609295.424 | 1262823.8681
48 | 2609274.4083 | 1262833.0415
49 | 2609318.9714 | 1262812.3084
50 | 2609259.7855 | 1262838.4785
51 | 2609321.3975 | 1262811.0536
52 | 2609232.1077 | 1262830.9971
53 | 2609218.6102 | 1262902.7699
54 | 2609243.8259 | 1262953.7883
55 | 2609263.3347 | 1262995.2544
56 | 2609228.3246 | 1262817.1857
57 | 2609223.1346 | 1262798.2385
58 | 2609266.6772 | 1263066.212
59 | 2609244.9135 | 1263034.3452
60 | 2609248.4613 | 1263078.1487
61 | 2609199.2614 | 1262799.925
62 | 2609150.7757 | 1262880.5302
63 | 2609154.9915 | 1262888.9622
64 | 2609164.8655 | 1262907.5126
65 | 2609138.5831 | 1262896.7269
66 | 2609170.7308 | 1262918.3536
67 | 2609133.5387 | 1262899.114
68 | 2609171.6145 | 1262919.9869
69 | 2609178.0794 | 1262931.9361
70 | 2609188.3768 | 1262949.4
71 | 2609207.526 | 1262976.8871
72 | 2609233.9774 | 1263038.7535
73 | 2609238.1049 | 1263023.2122
74 | 2609222.4592 | 1262999.7652
75 | 2609154.9915 | 1262888.9622

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1