## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2771-14_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2771-14_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2771-14_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2771-14_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2771-14_0_6_node_88 | 0.4 | n |  | TRUE
5 | bus_LV_2771-14_0_6_node_92 | 0.4 | n |  | TRUE
6 | bus_LV_2771-14_0_6_node_90 | 0.4 | n |  | TRUE
7 | bus_LV_2771-14_0_6_node_89 | 0.4 | n |  | TRUE
8 | bus_LV_2771-14_0_6_node_87 | 0.4 | n |  | TRUE
9 | bus_LV_2771-14_0_6_node_91 | 0.4 | n |  | TRUE
10 | bus_LV_2771-14_0_6_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_2771-14_0_6_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_2771-14_0_6_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2771-14_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2771-14_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2771-14_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2771-14_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2771-14_0_6_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_2771-14_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2771-14_0_6_node_119 | 0.4 | n |  | TRUE
20 | bus_LV_2771-14_0_6_node_101 | 0.4 | n |  | TRUE
21 | bus_LV_2771-14_0_6_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_2771-14_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2771-14_0_6_node_120 | 0.4 | n |  | TRUE
24 | bus_LV_2771-14_0_6_node_110 | 0.4 | n |  | TRUE
25 | bus_LV_2771-14_0_6_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2771-14_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2771-14_0_6_node_113 | 0.4 | n |  | TRUE
28 | bus_LV_2771-14_0_6_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_2771-14_0_6_node_118 | 0.4 | n |  | TRUE
30 | bus_LV_2771-14_0_6_node_76 | 0.4 | n |  | TRUE
31 | bus_LV_2771-14_0_6_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_2771-14_0_6_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_2771-14_0_6_node_102 | 0.4 | n |  | TRUE
34 | bus_LV_2771-14_0_6_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_2771-14_0_6_node_106 | 0.4 | n |  | TRUE
36 | bus_LV_2771-14_0_6_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_2771-14_0_6_node_111 | 0.4 | n |  | TRUE
38 | bus_LV_2771-14_0_6_node_109 | 0.4 | n |  | TRUE
39 | bus_LV_2771-14_0_6_node_107 | 0.4 | n |  | TRUE
40 | bus_LV_2771-14_0_6_node_112 | 0.4 | n |  | TRUE
41 | bus_LV_2771-14_0_6_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_2771-14_0_6_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_2771-14_0_6_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_2771-14_0_6_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_2771-14_0_6_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_2771-14_0_6_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_2771-14_0_6_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_2771-14_0_6_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_2771-14_0_6_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_2771-14_0_6_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_2771-14_0_6_node_69 | 0.4 | n |  | TRUE
52 | bus_LV_2771-14_0_6_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_2771-14_0_6_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_2771-14_0_6_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_2771-14_0_6_node_83 | 0.4 | n |  | TRUE
56 | bus_LV_2771-14_0_6_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_2771-14_0_6_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_2771-14_0_6_node_95 | 0.4 | n |  | TRUE
59 | bus_LV_2771-14_0_6_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_2771-14_0_6_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_2771-14_0_6_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_2771-14_0_6_node_114 | 0.4 | n |  | TRUE
63 | bus_LV_2771-14_0_6_node_108 | 0.4 | n |  | TRUE
64 | bus_LV_2771-14_0_6_node_22 | 0.4 | n |  | TRUE
65 | bus_LV_2771-14_0_6_node_97 | 0.4 | n |  | TRUE
66 | bus_LV_2771-14_0_6_node_23 | 0.4 | n |  | TRUE
67 | bus_LV_2771-14_0_6_node_24 | 0.4 | n |  | TRUE
68 | bus_LV_2771-14_0_6_node_25 | 0.4 | n |  | TRUE
69 | bus_LV_2771-14_0_6_node_27 | 0.4 | n |  | TRUE
70 | bus_LV_2771-14_0_6_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_2771-14_0_6_node_46 | 0.4 | n |  | TRUE
72 | bus_LV_2771-14_0_6_node_40 | 0.4 | n |  | TRUE
73 | bus_LV_2771-14_0_6_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_2771-14_0_6_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_2771-14_0_6_node_39 | 0.4 | n |  | TRUE
76 | bus_LV_2771-14_0_6_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_2771-14_0_6_node_30 | 0.4 | n |  | TRUE
78 | bus_LV_2771-14_0_6_node_32 | 0.4 | n |  | TRUE
79 | bus_LV_2771-14_0_6_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_2771-14_0_6_node_56 | 0.4 | n |  | TRUE
81 | bus_LV_2771-14_0_6_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_2771-14_0_6_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_2771-14_0_6_node_54 | 0.4 | n |  | TRUE
84 | bus_LV_2771-14_0_6_node_49 | 0.4 | n |  | TRUE
85 | bus_LV_2771-14_0_6_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_2771-14_0_6_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_2771-14_0_6_node_98 | 0.4 | n |  | TRUE
88 | bus_LV_2771-14_0_6_node_71 | 0.4 | n |  | TRUE
89 | bus_LV_2771-14_0_6_node_93 | 0.4 | n |  | TRUE
90 | bus_LV_2771-14_0_6_node_66 | 0.4 | n |  | TRUE
91 | bus_LV_2771-14_0_6_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_2771-14_0_6_node_51 | 0.4 | n |  | TRUE
93 | bus_LV_2771-14_0_6_node_53 | 0.4 | n |  | TRUE
94 | bus_LV_2771-14_0_6_node_55 | 0.4 | n |  | TRUE
95 | bus_LV_2771-14_0_6_node_57 | 0.4 | n |  | TRUE
96 | bus_LV_2771-14_0_6_node_58 | 0.4 | n |  | TRUE
97 | bus_LV_2771-14_0_6_node_59 | 0.4 | n |  | TRUE
98 | bus_LV_2771-14_0_6_node_61 | 0.4 | n |  | TRUE
99 | bus_LV_2771-14_0_6_node_80 | 0.4 | n |  | TRUE
100 | bus_LV_2771-14_0_6_node_105 | 0.4 | n |  | TRUE
101 | bus_LV_2771-14_0_6_node_64 | 0.4 | n |  | TRUE
102 | bus_LV_2771-14_0_6_node_103 | 0.4 | n |  | TRUE
103 | bus_LV_2771-14_0_6_node_81 | 0.4 | n |  | TRUE
104 | bus_LV_2771-14_0_6_node_104 | 0.4 | n |  | TRUE
105 | bus_LV_2771-14_0_6_node_94 | 0.4 | n |  | TRUE
106 | bus_LV_2771-14_0_6_node_73 | 0.4 | n |  | TRUE
107 | bus_LV_2771-14_0_6_node_75 | 0.4 | n |  | TRUE
108 | bus_LV_2771-14_0_6_node_100 | 0.4 | n |  | TRUE
109 | bus_LV_2771-14_0_6_node_99 | 0.4 | n |  | TRUE
110 | bus_LV_2771-14_0_6_node_96 | 0.4 | n |  | TRUE
111 | bus_LV_2771-14_0_6_node_82 | 0.4 | n |  | TRUE
112 | bus_LV_2771-14_0_6_node_84 | 0.4 | n |  | TRUE
113 | bus_LV_2771-14_0_6_node_117 | 0.4 | n |  | TRUE
114 | bus_LV_2771-14_0_6_node_85 | 0.4 | n |  | TRUE
115 | bus_LV_2771-14_0_6_node_86 | 0.4 | n |  | TRUE
116 | bus_LV_2771-14_0_6_node_115 | 0.4 | n |  | TRUE
117 | bus_LV_2771-14_0_6_node_116 | 0.4 | n |  | TRUE
118 | bus_MV_569_0_node_105 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2771-14_0_6_load_0 | 0 | 0.0074925 | 0.0018778 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2771-14_0_6_load_2 | 2 | 0.0038596 | 0.00096731 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2771-14_0_6_load_88 | 4 | 0.0040495 | 0.0010149 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2771-14_0_6_load_92 | 5 | 0.0017147 | 0.00042974 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2771-14_0_6_load_90 | 6 | 0.0019162 | 0.00048023 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2771-14_0_6_load_89 | 7 | 0.0030869 | 0.00077364 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2771-14_0_6_load_91 | 9 | 0.0071923 | 0.0018026 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2771-14_0_6_load_4 | 10 | 0.0034701 | 0.00086968 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2771-14_0_6_load_10 | 16 | 0.0035108 | 0.00087988 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2771-14_0_6_load_20 | 17 | 0.0017088 | 0.00042827 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2771-14_0_6_load_11 | 18 | 0.0037741 | 0.00094589 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2771-14_0_6_load_119 | 19 | 0.0020828 | 0.000522 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2771-14_0_6_load_120 | 23 | 0.0017112 | 0.00042887 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2771-14_0_6_load_113 | 27 | 0.0035838 | 0.00089818 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2771-14_0_6_load_118 | 29 | 0.0035336 | 0.00088559 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2771-14_0_6_load_102 | 33 | 0.0078544 | 0.0019685 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2771-14_0_6_load_106 | 35 | 0.0041474 | 0.0010394 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2771-14_0_6_load_111 | 37 | 0.0021816 | 0.00054676 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2771-14_0_6_load_109 | 38 | 0.0036789 | 0.00092201 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2771-14_0_6_load_107 | 39 | 0.0045311 | 0.0011356 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2771-14_0_6_load_112 | 40 | 0.0039158 | 0.00098138 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2771-14_0_6_load_68 | 42 | 0.0045956 | 0.0011518 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2771-14_0_6_load_26 | 43 | 0.0058067 | 0.0014553 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2771-14_0_6_load_34 | 46 | 0.0055486 | 0.0013906 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2771-14_0_6_load_29 | 47 | 0.0024536 | 0.00061493 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2771-14_0_6_load_52 | 48 | 0.0065354 | 0.0016379 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2771-14_0_6_load_69 | 51 | 0.001849 | 0.0004634 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2771-14_0_6_load_83 | 55 | 0.0053389 | 0.0013381 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2771-14_0_6_load_95 | 58 | 0.002295 | 0.00057519 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2771-14_0_6_load_63 | 59 | 0.014086 | 0.0035302 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2771-14_0_6_load_108 | 63 | 0.0098997 | 0.0024811 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2771-14_0_6_load_97 | 65 | 0.0020504 | 0.00051388 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2771-14_0_6_load_23 | 66 | 0.0046903 | 0.0011755 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2771-14_0_6_load_24 | 67 | 0.0045759 | 0.0011468 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2771-14_0_6_load_25 | 68 | 0.005372 | 0.0013463 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2771-14_0_6_load_46 | 71 | 0.010153 | 0.0025445 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2771-14_0_6_load_72 | 73 | 0.0013163 | 0.00032991 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2771-14_0_6_load_70 | 74 | 0.0011913 | 0.00029856 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2771-14_0_6_load_60 | 76 | 0.0032348 | 0.00081072 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2771-14_0_6_load_30 | 77 | 0.0096267 | 0.0024127 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2771-14_0_6_load_32 | 78 | 0.0053568 | 0.0013425 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2771-14_0_6_load_65 | 82 | 0.0096033 | 0.0024068 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2771-14_0_6_load_54 | 83 | 0.008822 | 0.002211 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2771-14_0_6_load_77 | 85 | 0.016663 | 0.0041762 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2771-14_0_6_load_98 | 87 | 0.00071643 | 0.00017956 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2771-14_0_6_load_93 | 89 | 0.0036061 | 0.00090379 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2771-14_0_6_load_66 | 90 | 0.011781 | 0.0029527 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2771-14_0_6_load_51 | 92 | 0.021827 | 0.0054704 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2771-14_0_6_load_53 | 93 | 0.0095118 | 0.0023839 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2771-14_0_6_load_59 | 97 | 0.0040551 | 0.0010163 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2771-14_0_6_load_61 | 98 | 0.0069063 | 0.0017309 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2771-14_0_6_load_80 | 99 | 0.011905 | 0.0029836 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2771-14_0_6_load_105 | 100 | 0.0084115 | 0.0021081 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2771-14_0_6_load_64 | 101 | 0.011713 | 0.0029355 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2771-14_0_6_load_103 | 102 | 0.0033124 | 0.00083017 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2771-14_0_6_load_81 | 103 | 0.0046548 | 0.0011666 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2771-14_0_6_load_104 | 104 | 0.011179 | 0.0028016 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2771-14_0_6_load_94 | 105 | 0.0016601 | 0.00041607 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2771-14_0_6_load_73 | 106 | 0.0041832 | 0.0010484 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2771-14_0_6_load_100 | 108 | 0.0072728 | 0.0018227 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2771-14_0_6_load_99 | 109 | 0.00043402 | 0.00010877 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2771-14_0_6_load_96 | 110 | 0.076784 | 0.019244 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2771-14_0_6_load_84 | 112 | 0.0049596 | 0.001243 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2771-14_0_6_load_117 | 113 | 0.0066749 | 0.0016729 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2771-14_0_6_load_85 | 114 | 0.0018583 | 0.00046573 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2771-14_0_6_load_86 | 115 | 0.0040487 | 0.0010147 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2771-14_0_6_load_115 | 116 | 0.002463 | 0.00061727 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2771-14_0_6_load_116 | 117 | 0.0030848 | 0.00077311 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 101 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2771-14_0_6_line_0 |  | 0 | 1 | 0.019324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2771-14_0_6_line_1 |  | 1 | 2 | 0.019967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2771-14_0_6_line_2 |  | 1 | 3 | 0.007473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2771-14_0_6_line_3 |  | 2 | 4 | 0.0044161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2771-14_0_6_line_4 |  | 3 | 5 | 0.033284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2771-14_0_6_line_5 |  | 3 | 6 | 0.012859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2771-14_0_6_line_6 |  | 4 | 7 | 0.014695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2771-14_0_6_line_7 |  | 5 | 8 | 0.014644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2771-14_0_6_line_8 |  | 6 | 9 | 0.0043436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2771-14_0_6_line_9 |  | 7 | 25 | 0.014532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2771-14_0_6_line_10 |  | 8 | 113 | 0.008208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2771-14_0_6_line_11 |  | 8 | 111 | 0.007468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2771-14_0_6_line_12 |  | 10 | 11 | 0.022023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2771-14_0_6_line_13 |  | 10 | 12 | 0.022878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2771-14_0_6_line_14 |  | 11 | 13 | 0.00458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2771-14_0_6_line_15 |  | 11 | 14 | 0.013404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2771-14_0_6_line_16 |  | 12 | 15 | 0.006323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2771-14_0_6_line_17 |  | 12 | 16 | 0.013757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2771-14_0_6_line_18 |  | 13 | 17 | 0.03762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2771-14_0_6_line_19 |  | 14 | 18 | 0.011127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2771-14_0_6_line_20 |  | 15 | 19 | 0.00637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2771-14_0_6_line_21 |  | 15 | 20 | 0.006843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2771-14_0_6_line_22 |  | 17 | 21 | 0.025227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2771-14_0_6_line_23 |  | 18 | 28 | 0.02578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2771-14_0_6_line_24 |  | 20 | 29 | 0.009836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2771-14_0_6_line_25 |  | 20 | 30 | 0.023408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2771-14_0_6_line_26 |  | 21 | 64 | 0.032343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2771-14_0_6_line_27 |  | 22 | 23 | 0.014019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2771-14_0_6_line_28 |  | 22 | 24 | 0.028072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2771-14_0_6_line_29 |  | 24 | 40 | 0.015573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2771-14_0_6_line_30 |  | 24 | 38 | 0.030357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2771-14_0_6_line_31 |  | 25 | 26 | 0.024373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2771-14_0_6_line_32 |  | 26 | 27 | 0.010914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2771-14_0_6_line_33 |  | 27 | 62 | 0.0045075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2771-14_0_6_line_34 |  | 28 | 31 | 0.020185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2771-14_0_6_line_35 |  | 30 | 108 | 0.0171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2771-14_0_6_line_36 |  | 30 | 79 | 0.014826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2771-14_0_6_line_37 |  | 31 | 32 | 0.025812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2771-14_0_6_line_38 |  | 31 | 33 | 0.020108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2771-14_0_6_line_39 |  | 32 | 34 | 0.025618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2771-14_0_6_line_40 |  | 32 | 35 | 0.019648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2771-14_0_6_line_41 |  | 34 | 39 | 0.016879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2771-14_0_6_line_42 |  | 34 | 36 | 0.025508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2771-14_0_6_line_43 |  | 36 | 37 | 0.007963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2771-14_0_6_line_44 |  | 36 | 38 | 0.016684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2771-14_0_6_line_45 |  | 39 | 63 | 0.012193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2771-14_0_6_line_46 |  | 41 | 42 | 0.0029364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_2771-14_0_6_line_47 |  | 41 | 43 | 0.011974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_2771-14_0_6_line_48 |  | 42 | 52 | 0.014841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_2771-14_0_6_line_49 |  | 43 | 67 | 0.010937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_2771-14_0_6_line_50 |  | 44 | 45 | 0.018007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_2771-14_0_6_line_51 |  | 44 | 46 | 0.025669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_2771-14_0_6_line_52 |  | 44 | 47 | 0.043629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_2771-14_0_6_line_53 |  | 45 | 48 | 0.056435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_2771-14_0_6_line_54 |  | 46 | 80 | 0.029172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_2771-14_0_6_line_55 |  | 47 | 77 | 0.027013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_2771-14_0_6_line_56 |  | 48 | 69 | 0.048421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_2771-14_0_6_line_57 |  | 49 | 50 | 0.032947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_2771-14_0_6_line_58 |  | 49 | 51 | 0.00059331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_2771-14_0_6_line_59 |  | 50 | 84 | 0.024575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_2771-14_0_6_line_60 |  | 51 | 52 | 0.022555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_2771-14_0_6_line_61 |  | 53 | 54 | 0.01794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2771-14_0_6_line_62 |  | 53 | 55 | 0.018881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2771-14_0_6_line_63 |  | 54 | 89 | 0.013718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2771-14_0_6_line_64 |  | 54 | 90 | 0.050434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2771-14_0_6_line_65 |  | 56 | 57 | 0.16529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_2771-14_0_6_line_66 |  | 56 | 58 | 0.0099426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_2771-14_0_6_line_67 |  | 57 | 59 | 0.035988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_2771-14_0_6_line_68 |  | 58 | 91 | 0.0084227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2771-14_0_6_line_69 |  | 59 | 60 | 0.021725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_2771-14_0_6_line_70 |  | 60 | 61 | 0.037166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_2771-14_0_6_line_71 |  | 61 | 92 | 0.031202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_2771-14_0_6_line_72 |  | 61 | 70 | 0.025173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2771-14_0_6_line_73 |  | 62 | 116 | 0.01556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2771-14_0_6_line_74 |  | 62 | 117 | 0.010284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2771-14_0_6_line_75 |  | 64 | 65 | 0.01439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2771-14_0_6_line_76 |  | 66 | 67 | 0.017703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_2771-14_0_6_line_77 |  | 66 | 68 | 0.0032207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_2771-14_0_6_line_78 |  | 68 | 69 | 0.016983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_2771-14_0_6_line_79 |  | 70 | 71 | 0.023325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2771-14_0_6_line_80 |  | 72 | 73 | 0.014239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2771-14_0_6_line_81 |  | 72 | 74 | 0.003069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2771-14_0_6_line_82 |  | 72 | 75 | 0.044231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2771-14_0_6_line_83 |  | 73 | 87 | 0.0057815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2771-14_0_6_line_84 |  | 74 | 88 | 0.021995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2771-14_0_6_line_85 |  | 75 | 76 | 0.02036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2771-14_0_6_line_86 |  | 77 | 78 | 0.016614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_2771-14_0_6_line_87 |  | 78 | 79 | 0.016118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_2771-14_0_6_line_88 |  | 79 | 81 | 0.03802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
89 | LV_2771-14_0_6_line_89 |  | 80 | 82 | 0.050454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_2771-14_0_6_line_90 |  | 80 | 83 | 0.038679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2771-14_0_6_line_91 |  | 81 | 102 | 0.011815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2771-14_0_6_line_92 |  | 81 | 95 | 0.027663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2771-14_0_6_line_93 |  | 82 | 101 | 0.032722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_2771-14_0_6_line_94 |  | 83 | 93 | 0.017787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2771-14_0_6_line_95 |  | 84 | 92 | 0.031961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_2771-14_0_6_line_96 |  | 85 | 86 | 0.0041248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2771-14_0_6_line_97 |  | 86 | 91 | 0.006729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2771-14_0_6_line_98 |  | 87 | 109 | 0.028936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2771-14_0_6_line_99 |  | 88 | 106 | 0.006752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2771-14_0_6_line_100 |  | 88 | 107 | 0.018079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2771-14_0_6_line_101 |  | 89 | 105 | 0.0056047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2771-14_0_6_line_102 |  | 90 | 101 | 0.049833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2771-14_0_6_line_103 |  | 91 | 110 | 0.023839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2771-14_0_6_line_104 |  | 94 | 95 | 0.006509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2771-14_0_6_line_105 |  | 94 | 96 | 0.026938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2771-14_0_6_line_106 |  | 94 | 97 | 0.011159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2771-14_0_6_line_107 |  | 95 | 98 | 0.017015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2771-14_0_6_line_108 |  | 96 | 99 | 0.024677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2771-14_0_6_line_109 |  | 97 | 100 | 0.016874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2771-14_0_6_line_110 |  | 99 | 103 | 0.030113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2771-14_0_6_line_111 |  | 102 | 104 | 0.00020428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2771-14_0_6_line_112 |  | 103 | 111 | 0.019901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2771-14_0_6_line_113 |  | 107 | 108 | 0.012573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2771-14_0_6_line_114 |  | 111 | 112 | 0.014875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2771-14_0_6_line_115 |  | 112 | 114 | 0.0068664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_2771-14_0_6_line_116 |  | 114 | 115 | 0.01327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2771-14_0_6_trafo_64 | 0.63 MVA 20/0.4 kV | 118 | 101 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2609302.8262 | 1262761.2371 | 2609320.7854 | 1262754.1042
1 | 2609302.8262 | 1262761.2371 | 2609308.4743 | 1262780.3883
2 | 2609300.6228 | 1262754.0954 | 2609302.414 | 1262759.9244 | 2609302.8262 | 1262761.2371
3 | 2609308.4743 | 1262780.3883 | 2609309.7236 | 1262784.624
4 | 2609300.6228 | 1262754.0954 | 2609291.0632 | 1262722.2143
5 | 2609300.6228 | 1262754.0954 | 2609288.359 | 1262757.9609
6 | 2609313.8804 | 1262798.7187 | 2609309.7236 | 1262784.624
7 | 2609286.8571 | 1262708.187 | 2609291.0632 | 1262722.2143
8 | 2609288.359 | 1262757.9609 | 2609284.2163 | 1262759.2666
9 | 2609318.9714 | 1262812.3084 | 2609315.3092 | 1262803.5634 | 2609313.8804 | 1262798.7187
10 | 2609286.8571 | 1262708.187 | 2609294.6275 | 1262705.475
11 | 2609284.7064 | 1262701.0343 | 2609286.8571 | 1262708.187
12 | 2609327.4386 | 1262518.6318 | 2609305.7447 | 1262522.4262
13 | 2609283.2086 | 1262526.368 | 2609305.7447 | 1262522.4262
14 | 2609327.4386 | 1262518.6318 | 2609326.4438 | 1262514.1605
15 | 2609327.4386 | 1262518.6318 | 2609329.2557 | 1262527.1849 | 2609330.2203 | 1262531.7451
16 | 2609283.2086 | 1262526.368 | 2609276.9622 | 1262527.459
17 | 2609283.2086 | 1262526.368 | 2609282.1802 | 1262512.6496
18 | 2609326.4438 | 1262514.1605 | 2609319.9658 | 1262485.1194 | 2609317.924 | 1262477.5238
19 | 2609330.2203 | 1262531.7451 | 2609331.8223 | 1262542.7559
20 | 2609278.0748 | 1262533.7317 | 2609276.9622 | 1262527.459
21 | 2609270.2033 | 1262528.6493 | 2609276.9622 | 1262527.459
22 | 2609311.3755 | 1262453.1619 | 2609317.924 | 1262477.5238
23 | 2609335.534 | 1262568.2673 | 2609331.8223 | 1262542.7559
24 | 2609272.0866 | 1262538.3033 | 2609270.2033 | 1262528.6493
25 | 2609247.0787 | 1262532.6939 | 2609270.2033 | 1262528.6493
26 | 2609293.87 | 1262438.0131 | 2609294.8475 | 1262439.1487 | 2609298.2333 | 1262456.1767 | 2609303.8549 | 1262454.8846 | 2609311.3755 | 1262453.1619
27 | 2609353.7176 | 1262726.8377 | 2609362.3917 | 1262724.2051 | 2609367.1697 | 1262722.756
28 | 2609355.7225 | 1262697.2539 | 2609358.0907 | 1262704.974 | 2609364.3817 | 1262718.5488 | 2609367.1697 | 1262722.756
29 | 2609355.7225 | 1262697.2539 | 2609340.5171 | 1262700.6185
30 | 2609355.7225 | 1262697.2539 | 2609350.297 | 1262669.8044 | 2609349.955 | 1262667.4528
31 | 2609318.9714 | 1262812.3084 | 2609330.8447 | 1262806.1673 | 2609335.3912 | 1262803.3502 | 2609340.2317 | 1262800.4225
32 | 2609340.2317 | 1262800.4225 | 2609337.3162 | 1262789.9051
33 | 2609336.1121 | 1262785.5614 | 2609337.3162 | 1262789.9051
34 | 2609335.534 | 1262568.2673 | 2609337.5162 | 1262581.9353 | 2609331.2322 | 1262583.004
35 | 2609247.0787 | 1262532.6939 | 2609243.5668 | 1262515.9588
36 | 2609232.4308 | 1262535.2507 | 2609247.0787 | 1262532.6939
37 | 2609334.8531 | 1262608.5605 | 2609331.2322 | 1262583.004
38 | 2609331.2322 | 1262583.004 | 2609311.4069 | 1262586.3633
39 | 2609337.8263 | 1262634.0048 | 2609334.8531 | 1262608.5605
40 | 2609334.8531 | 1262608.5605 | 2609315.544 | 1262612.1919
41 | 2609337.8263 | 1262634.0048 | 2609334.5035 | 1262634.5555 | 2609321.2154 | 1262637.0011
42 | 2609337.8263 | 1262634.0048 | 2609344.9164 | 1262632.8151 | 2609347.5545 | 1262650.9427
43 | 2609339.7331 | 1262652.5538 | 2609347.5545 | 1262650.9427
44 | 2609347.5545 | 1262650.9427 | 2609349.955 | 1262667.4528
45 | 2609309.2239 | 1262639.208 | 2609321.2154 | 1262637.0011
46 | 2609124.584 | 1262667.3082 | 2609122.461 | 1262669.3368
47 | 2609124.584 | 1262667.3082 | 2609135.7273 | 1262662.9252
48 | 2609115.4333 | 1262681.0481 | 2609114.8287 | 1262677.4669 | 2609116.1727 | 1262675.3453 | 2609122.461 | 1262669.3368
49 | 2609135.7273 | 1262662.9252 | 2609145.9052 | 1262658.9219
50 | 2609131.2323 | 1262556.3425 | 2609115.2949 | 1262564.8128
51 | 2609131.2323 | 1262556.3425 | 2609149.9776 | 1262573.5497 | 2609150.1227 | 1262573.7201
52 | 2609131.2323 | 1262556.3425 | 2609173.9435 | 1262547.4406
53 | 2609115.2949 | 1262564.8128 | 2609138.2329 | 1262584.0833 | 2609147.8944 | 1262595.9062 | 2609154.989 | 1262604.5832
54 | 2609168.4506 | 1262596.3937 | 2609162.2791 | 1262588.0007 | 2609150.1227 | 1262573.7201
55 | 2609200.388 | 1262541.9291 | 2609173.9435 | 1262547.4406
56 | 2609181.1812 | 1262645.0466 | 2609172.6958 | 1262627.8106 | 2609160.871 | 1262612.0928 | 2609157.7889 | 1262608.0075 | 2609154.989 | 1262604.5832
57 | 2609122.7214 | 1262703.0187 | 2609136.0606 | 1262733.1598
58 | 2609122.7214 | 1262703.0187 | 2609122.5346 | 1262702.4556
59 | 2609146.052 | 1262755.6238 | 2609136.0606 | 1262733.1598
60 | 2609115.4333 | 1262681.0481 | 2609122.5346 | 1262702.4556
61 | 2609238.3799 | 1262783.9968 | 2609235.5151 | 1262775.8646 | 2609232.4178 | 1262767.076
62 | 2609238.3799 | 1262783.9968 | 2609256.8759 | 1262780.2047
63 | 2609232.4178 | 1262767.076 | 2609245.5259 | 1262763.0311
64 | 2609232.4178 | 1262767.076 | 2609223.0583 | 1262740.51 | 2609217.3999 | 1262718.9739
65 | 2609114.8789 | 1262806.989 | 2609116.7124 | 1262814.8416 | 2609117.3376 | 1262819.757 | 2609117.3631 | 1262822.748 | 2609116.8157 | 1262826.0717 | 2609114.695 | 1262833.6625 | 2609126.8008 | 1262837.795 | 2609129.9327 | 1262838.845 | 2609162.9188 | 1262847.7239 | 2609180.1733 | 1262849.2738 | 2609183.457 | 1262849.5679 | 2609186.1457 | 1262849.8056 | 2609167.286 | 1262804.779 | 2609161.2445 | 1262790.3598
66 | 2609114.8789 | 1262806.989 | 2609111.786 | 1262797.5397
67 | 2609161.2445 | 1262790.3598 | 2609195.3255 | 1262778.7991
68 | 2609109.1659 | 1262789.535 | 2609111.786 | 1262797.5397
69 | 2609215.8991 | 1262771.8203 | 2609195.3255 | 1262778.7991
70 | 2609215.8991 | 1262771.8203 | 2609211.5023 | 1262755.7803 | 2609207.2778 | 1262740.341 | 2609206.0794 | 1262735.9695
71 | 2609206.0794 | 1262735.9695 | 2609176.4264 | 1262745.6785
72 | 2609206.0794 | 1262735.9695 | 2609199.4279 | 1262711.687
73 | 2609336.1121 | 1262785.5614 | 2609331.7139 | 1262770.6332
74 | 2609336.1121 | 1262785.5614 | 2609345.6971 | 1262781.834
75 | 2609293.87 | 1262438.0131 | 2609279.7423 | 1262440.7457
76 | 2609162.3795 | 1262652.4419 | 2609145.9052 | 1262658.9219
77 | 2609165.3767 | 1262651.263 | 2609162.3795 | 1262652.4419
78 | 2609181.1812 | 1262645.0466 | 2609165.3767 | 1262651.263
79 | 2609199.4279 | 1262711.687 | 2609177.3372 | 1262719.1727
80 | 2609221.2041 | 1262478.728 | 2609235.2361 | 1262476.3063
81 | 2609221.2041 | 1262478.728 | 2609221.7768 | 1262481.7431
82 | 2609198.9038 | 1262456.1447 | 2609208.323 | 1262454.2469 | 2609216.235 | 1262452.6469 | 2609219.0526 | 1262467.0834 | 2609220.5167 | 1262475.0911 | 2609221.2041 | 1262478.728
83 | 2609240.9333 | 1262475.3231 | 2609235.2361 | 1262476.3063
84 | 2609225.8815 | 1262503.3521 | 2609221.7768 | 1262481.7431
85 | 2609198.9038 | 1262456.1447 | 2609189.869 | 1262457.9654 | 2609178.9456 | 1262460.1713
86 | 2609216.6521 | 1262538.5393 | 2609200.388 | 1262541.9291
87 | 2609232.4308 | 1262535.2507 | 2609216.6521 | 1262538.5393
88 | 2609232.4308 | 1262535.2507 | 2609243.8395 | 1262571.5265
89 | 2609168.4506 | 1262596.3937 | 2609174.2537 | 1262604.2858 | 2609185.3403 | 1262624.8837 | 2609193.4508 | 1262640.1259
90 | 2609168.4506 | 1262596.3937 | 2609182.1646 | 1262593.5684 | 2609188.7165 | 1262589.7426 | 2609192.1096 | 1262587.5241 | 2609204.9345 | 1262585.1884
91 | 2609243.8395 | 1262571.5265 | 2609255.3433 | 1262568.8338
92 | 2609252.4765 | 1262597.8135 | 2609243.8395 | 1262571.5265
93 | 2609203.9962 | 1262670.9829 | 2609196.7268 | 1262646.2825 | 2609193.4508 | 1262640.1259
94 | 2609211.1697 | 1262598.9842 | 2609208.7338 | 1262587.9389 | 2609207.9706 | 1262584.6355 | 2609204.9345 | 1262585.1884
95 | 2609146.052 | 1262755.6238 | 2609176.4264 | 1262745.6785
96 | 2609107.5338 | 1262783.0058 | 2609106.1014 | 1262779.1377
97 | 2609107.5338 | 1262783.0058 | 2609108.8889 | 1262788.4115 | 2609109.1659 | 1262789.535
98 | 2609240.9333 | 1262475.3231 | 2609265.5171 | 1262471.0804 | 2609269.3025 | 1262469.8232
99 | 2609219.3028 | 1262504.9541 | 2609225.8815 | 1262503.3521
100 | 2609225.8815 | 1262503.3521 | 2609226.4942 | 1262506.5886 | 2609240.9845 | 1262503.6535
101 | 2609250.8814 | 1262761.3785 | 2609245.5259 | 1262763.0311
102 | 2609203.9962 | 1262670.9829 | 2609211.4062 | 1262696.1616 | 2609217.3999 | 1262718.9739
103 | 2609092.265 | 1262788.1638 | 2609099.8311 | 1262795.7249 | 2609102.9106 | 1262796.5747 | 2609106.8456 | 1262794.6238 | 2609109.1659 | 1262789.535
104 | 2609252.4765 | 1262597.8135 | 2609254.5082 | 1262603.9986
105 | 2609262.9202 | 1262629.5959 | 2609254.5082 | 1262603.9986
106 | 2609254.5082 | 1262603.9986 | 2609265.4833 | 1262601.9793
107 | 2609252.4765 | 1262597.8135 | 2609236.0507 | 1262602.2505
108 | 2609262.9202 | 1262629.5959 | 2609267.1935 | 1262642.6115 | 2609270.3457 | 1262653.127
109 | 2609282.0786 | 1262598.9259 | 2609265.4833 | 1262601.9793
110 | 2609270.3457 | 1262653.127 | 2609278.9922 | 1262681.9718
111 | 2609255.5422 | 1262568.7873 | 2609255.3433 | 1262568.8338
112 | 2609284.7064 | 1262701.0343 | 2609278.9922 | 1262681.9718
113 | 2609240.9845 | 1262503.6535 | 2609243.5668 | 1262515.9588
114 | 2609284.7064 | 1262701.0343 | 2609270.3316 | 1262704.8585
115 | 2609270.3316 | 1262704.8585 | 2609263.696 | 1262706.6239
116 | 2609267.5791 | 1262719.1089 | 2609263.5158 | 1262706.6718 | 2609263.696 | 1262706.6239

## bus_geodata
| x | y | coords
0 | 2609320.7854 | 1262754.1042
1 | 2609302.8262 | 1262761.2371
2 | 2609308.4743 | 1262780.3883
3 | 2609300.6228 | 1262754.0954
4 | 2609309.7236 | 1262784.624
5 | 2609291.0632 | 1262722.2143
6 | 2609288.359 | 1262757.9609
7 | 2609313.8804 | 1262798.7187
8 | 2609286.8571 | 1262708.187
9 | 2609284.2163 | 1262759.2666
10 | 2609305.7447 | 1262522.4262
11 | 2609327.4386 | 1262518.6318
12 | 2609283.2086 | 1262526.368
13 | 2609326.4438 | 1262514.1605
14 | 2609330.2203 | 1262531.7451
15 | 2609276.9622 | 1262527.459
16 | 2609282.1802 | 1262512.6496
17 | 2609317.924 | 1262477.5238
18 | 2609331.8223 | 1262542.7559
19 | 2609278.0748 | 1262533.7317
20 | 2609270.2033 | 1262528.6493
21 | 2609311.3755 | 1262453.1619
22 | 2609367.1697 | 1262722.756
23 | 2609353.7176 | 1262726.8377
24 | 2609355.7225 | 1262697.2539
25 | 2609318.9714 | 1262812.3084
26 | 2609340.2317 | 1262800.4225
27 | 2609337.3162 | 1262789.9051
28 | 2609335.534 | 1262568.2673
29 | 2609272.0866 | 1262538.3033
30 | 2609247.0787 | 1262532.6939
31 | 2609331.2322 | 1262583.004
32 | 2609334.8531 | 1262608.5605
33 | 2609311.4069 | 1262586.3633
34 | 2609337.8263 | 1262634.0048
35 | 2609315.544 | 1262612.1919
36 | 2609347.5545 | 1262650.9427
37 | 2609339.7331 | 1262652.5538
38 | 2609349.955 | 1262667.4528
39 | 2609321.2154 | 1262637.0011
40 | 2609340.5171 | 1262700.6185
41 | 2609124.584 | 1262667.3082
42 | 2609122.461 | 1262669.3368
43 | 2609135.7273 | 1262662.9252
44 | 2609131.2323 | 1262556.3425
45 | 2609115.2949 | 1262564.8127
46 | 2609150.1227 | 1262573.7201
47 | 2609173.9435 | 1262547.4406
48 | 2609154.989 | 1262604.5832
49 | 2609122.7214 | 1262703.0187
50 | 2609136.0606 | 1262733.1598
51 | 2609122.5346 | 1262702.4556
52 | 2609115.4333 | 1262681.0481
53 | 2609238.3799 | 1262783.9968
54 | 2609232.4178 | 1262767.076
55 | 2609256.8759 | 1262780.2047
56 | 2609114.8789 | 1262806.989
57 | 2609161.2445 | 1262790.3598
58 | 2609111.786 | 1262797.5397
59 | 2609195.3255 | 1262778.7991
60 | 2609215.8991 | 1262771.8203
61 | 2609206.0794 | 1262735.9695
62 | 2609336.1121 | 1262785.5614
63 | 2609309.2239 | 1262639.208
64 | 2609293.87 | 1262438.0131
65 | 2609279.7423 | 1262440.7457
66 | 2609162.3795 | 1262652.4419
67 | 2609145.9052 | 1262658.9219
68 | 2609165.3767 | 1262651.2631
69 | 2609181.1812 | 1262645.0466
70 | 2609199.4279 | 1262711.687
71 | 2609177.3372 | 1262719.1727
72 | 2609221.2041 | 1262478.728
73 | 2609235.2361 | 1262476.3063
74 | 2609221.7768 | 1262481.7431
75 | 2609198.9038 | 1262456.1447
76 | 2609178.9456 | 1262460.1713
77 | 2609200.388 | 1262541.9291
78 | 2609216.6521 | 1262538.5393
79 | 2609232.4308 | 1262535.2507
80 | 2609168.4506 | 1262596.3937
81 | 2609243.8395 | 1262571.5265
82 | 2609193.4508 | 1262640.1259
83 | 2609204.9345 | 1262585.1884
84 | 2609146.052 | 1262755.6238
85 | 2609106.1014 | 1262779.1377
86 | 2609107.5338 | 1262783.0058
87 | 2609240.9333 | 1262475.3231
88 | 2609225.8815 | 1262503.3521
89 | 2609245.5259 | 1262763.0311
90 | 2609217.3999 | 1262718.9739
91 | 2609109.1659 | 1262789.535
92 | 2609176.4264 | 1262745.6785
93 | 2609211.1697 | 1262598.9842
94 | 2609254.5082 | 1262603.9987
95 | 2609252.4765 | 1262597.8135
96 | 2609262.9201 | 1262629.5959
97 | 2609265.4833 | 1262601.9793
98 | 2609236.0507 | 1262602.2505
99 | 2609270.3457 | 1262653.127
100 | 2609282.0786 | 1262598.9259
101 | 2609203.9962 | 1262670.9829
102 | 2609255.3433 | 1262568.8338
103 | 2609278.9922 | 1262681.9718
104 | 2609255.5422 | 1262568.7873
105 | 2609250.8814 | 1262761.3785
106 | 2609219.3028 | 1262504.9541
107 | 2609240.9845 | 1262503.6535
108 | 2609243.5668 | 1262515.9588
109 | 2609269.3025 | 1262469.8232
110 | 2609092.265 | 1262788.1638
111 | 2609284.7064 | 1262701.0343
112 | 2609270.3316 | 1262704.8585
113 | 2609294.6275 | 1262705.475
114 | 2609263.696 | 1262706.6239
115 | 2609267.5791 | 1262719.1089
116 | 2609331.7139 | 1262770.6332
117 | 2609345.6971 | 1262781.834
118 | 2609168.4506 | 1262596.3937

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1