## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2771-24_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2771-24_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2771-24_0_8_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2771-24_0_8_node_28 | 0.4 | n |  | TRUE
4 | bus_LV_2771-24_0_8_node_32 | 0.4 | n |  | TRUE
5 | bus_LV_2771-24_0_8_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2771-24_0_8_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2771-24_0_8_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2771-24_0_8_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_2771-24_0_8_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_2771-24_0_8_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_2771-24_0_8_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2771-24_0_8_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2771-24_0_8_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2771-24_0_8_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_2771-24_0_8_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_2771-24_0_8_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_2771-24_0_8_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_2771-24_0_8_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_2771-24_0_8_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2771-24_0_8_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_2771-24_0_8_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2771-24_0_8_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2771-24_0_8_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_2771-24_0_8_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_2771-24_0_8_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_2771-24_0_8_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_2771-24_0_8_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_2771-24_0_8_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_2771-24_0_8_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_2771-24_0_8_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_2771-24_0_8_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_2771-24_0_8_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_2771-24_0_8_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_2771-24_0_8_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_2771-24_0_8_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_2771-24_0_8_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_2771-24_0_8_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_2771-24_0_8_node_59 | 0.4 | n |  | TRUE
39 | bus_LV_2771-24_0_8_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_2771-24_0_8_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_2771-24_0_8_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_2771-24_0_8_node_58 | 0.4 | n |  | TRUE
43 | bus_LV_2771-24_0_8_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_2771-24_0_8_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_2771-24_0_8_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_2771-24_0_8_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_2771-24_0_8_node_71 | 0.4 | n |  | TRUE
48 | bus_LV_2771-24_0_8_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_2771-24_0_8_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_2771-24_0_8_node_72 | 0.4 | n |  | TRUE
51 | bus_LV_2771-24_0_8_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_2771-24_0_8_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_2771-24_0_8_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_2771-24_0_8_node_73 | 0.4 | n |  | TRUE
55 | bus_LV_2771-24_0_8_node_131 | 0.4 | n |  | TRUE
56 | bus_LV_2771-24_0_8_node_132 | 0.4 | n |  | TRUE
57 | bus_LV_2771-24_0_8_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_2771-24_0_8_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_2771-24_0_8_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_2771-24_0_8_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_2771-24_0_8_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_2771-24_0_8_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_2771-24_0_8_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_2771-24_0_8_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_2771-24_0_8_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_2771-24_0_8_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_2771-24_0_8_node_86 | 0.4 | n |  | TRUE
68 | bus_LV_2771-24_0_8_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_2771-24_0_8_node_84 | 0.4 | n |  | TRUE
70 | bus_LV_2771-24_0_8_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_2771-24_0_8_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_2771-24_0_8_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_2771-24_0_8_node_87 | 0.4 | n |  | TRUE
74 | bus_LV_2771-24_0_8_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_2771-24_0_8_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_2771-24_0_8_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_2771-24_0_8_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_2771-24_0_8_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_2771-24_0_8_node_88 | 0.4 | n |  | TRUE
80 | bus_LV_2771-24_0_8_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_2771-24_0_8_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_2771-24_0_8_node_136 | 0.4 | n |  | TRUE
83 | bus_LV_2771-24_0_8_node_133 | 0.4 | n |  | TRUE
84 | bus_LV_2771-24_0_8_node_164 | 0.4 | n |  | TRUE
85 | bus_LV_2771-24_0_8_node_163 | 0.4 | n |  | TRUE
86 | bus_LV_2771-24_0_8_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_2771-24_0_8_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_2771-24_0_8_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_2771-24_0_8_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_2771-24_0_8_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_2771-24_0_8_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_2771-24_0_8_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_2771-24_0_8_node_96 | 0.4 | n |  | TRUE
94 | bus_LV_2771-24_0_8_node_93 | 0.4 | n |  | TRUE
95 | bus_LV_2771-24_0_8_node_129 | 0.4 | n |  | TRUE
96 | bus_LV_2771-24_0_8_node_94 | 0.4 | n |  | TRUE
97 | bus_LV_2771-24_0_8_node_95 | 0.4 | n |  | TRUE
98 | bus_LV_2771-24_0_8_node_97 | 0.4 | n |  | TRUE
99 | bus_LV_2771-24_0_8_node_98 | 0.4 | n |  | TRUE
100 | bus_LV_2771-24_0_8_node_130 | 0.4 | n |  | TRUE
101 | bus_LV_2771-24_0_8_node_99 | 0.4 | n |  | TRUE
102 | bus_LV_2771-24_0_8_node_100 | 0.4 | n |  | TRUE
103 | bus_LV_2771-24_0_8_node_101 | 0.4 | n |  | TRUE
104 | bus_LV_2771-24_0_8_node_102 | 0.4 | n |  | TRUE
105 | bus_LV_2771-24_0_8_node_103 | 0.4 | n |  | TRUE
106 | bus_LV_2771-24_0_8_node_104 | 0.4 | n |  | TRUE
107 | bus_LV_2771-24_0_8_node_105 | 0.4 | n |  | TRUE
108 | bus_LV_2771-24_0_8_node_106 | 0.4 | n |  | TRUE
109 | bus_LV_2771-24_0_8_node_107 | 0.4 | n |  | TRUE
110 | bus_LV_2771-24_0_8_node_110 | 0.4 | n |  | TRUE
111 | bus_LV_2771-24_0_8_node_112 | 0.4 | n |  | TRUE
112 | bus_LV_2771-24_0_8_node_108 | 0.4 | n |  | TRUE
113 | bus_LV_2771-24_0_8_node_109 | 0.4 | n |  | TRUE
114 | bus_LV_2771-24_0_8_node_111 | 0.4 | n |  | TRUE
115 | bus_LV_2771-24_0_8_node_113 | 0.4 | n |  | TRUE
116 | bus_LV_2771-24_0_8_node_114 | 0.4 | n |  | TRUE
117 | bus_LV_2771-24_0_8_node_126 | 0.4 | n |  | TRUE
118 | bus_LV_2771-24_0_8_node_115 | 0.4 | n |  | TRUE
119 | bus_LV_2771-24_0_8_node_125 | 0.4 | n |  | TRUE
120 | bus_LV_2771-24_0_8_node_116 | 0.4 | n |  | TRUE
121 | bus_LV_2771-24_0_8_node_117 | 0.4 | n |  | TRUE
122 | bus_LV_2771-24_0_8_node_118 | 0.4 | n |  | TRUE
123 | bus_LV_2771-24_0_8_node_119 | 0.4 | n |  | TRUE
124 | bus_LV_2771-24_0_8_node_127 | 0.4 | n |  | TRUE
125 | bus_LV_2771-24_0_8_node_120 | 0.4 | n |  | TRUE
126 | bus_LV_2771-24_0_8_node_124 | 0.4 | n |  | TRUE
127 | bus_LV_2771-24_0_8_node_121 | 0.4 | n |  | TRUE
128 | bus_LV_2771-24_0_8_node_122 | 0.4 | n |  | TRUE
129 | bus_LV_2771-24_0_8_node_123 | 0.4 | n |  | TRUE
130 | bus_LV_2771-24_0_8_node_149 | 0.4 | n |  | TRUE
131 | bus_LV_2771-24_0_8_node_148 | 0.4 | n |  | TRUE
132 | bus_LV_2771-24_0_8_node_134 | 0.4 | n |  | TRUE
133 | bus_LV_2771-24_0_8_node_162 | 0.4 | n |  | TRUE
134 | bus_LV_2771-24_0_8_node_135 | 0.4 | n |  | TRUE
135 | bus_LV_2771-24_0_8_node_154 | 0.4 | n |  | TRUE
136 | bus_LV_2771-24_0_8_node_138 | 0.4 | n |  | TRUE
137 | bus_LV_2771-24_0_8_node_140 | 0.4 | n |  | TRUE
138 | bus_LV_2771-24_0_8_node_137 | 0.4 | n |  | TRUE
139 | bus_LV_2771-24_0_8_node_139 | 0.4 | n |  | TRUE
140 | bus_LV_2771-24_0_8_node_141 | 0.4 | n |  | TRUE
141 | bus_LV_2771-24_0_8_node_142 | 0.4 | n |  | TRUE
142 | bus_LV_2771-24_0_8_node_150 | 0.4 | n |  | TRUE
143 | bus_LV_2771-24_0_8_node_145 | 0.4 | n |  | TRUE
144 | bus_LV_2771-24_0_8_node_143 | 0.4 | n |  | TRUE
145 | bus_LV_2771-24_0_8_node_151 | 0.4 | n |  | TRUE
146 | bus_LV_2771-24_0_8_node_144 | 0.4 | n |  | TRUE
147 | bus_LV_2771-24_0_8_node_146 | 0.4 | n |  | TRUE
148 | bus_LV_2771-24_0_8_node_153 | 0.4 | n |  | TRUE
149 | bus_LV_2771-24_0_8_node_152 | 0.4 | n |  | TRUE
150 | bus_LV_2771-24_0_8_node_159 | 0.4 | n |  | TRUE
151 | bus_LV_2771-24_0_8_node_157 | 0.4 | n |  | TRUE
152 | bus_LV_2771-24_0_8_node_155 | 0.4 | n |  | TRUE
153 | bus_LV_2771-24_0_8_node_156 | 0.4 | n |  | TRUE
154 | bus_LV_2771-24_0_8_node_158 | 0.4 | n |  | TRUE
155 | bus_LV_2771-24_0_8_node_168 | 0.4 | n |  | TRUE
156 | bus_LV_2771-24_0_8_node_165 | 0.4 | n |  | TRUE
157 | bus_LV_2771-24_0_8_node_167 | 0.4 | n |  | TRUE
158 | bus_LV_2771-24_0_8_node_166 | 0.4 | n |  | TRUE
159 | bus_LV_2771-24_0_8_node_160 | 0.4 | n |  | TRUE
160 | bus_LV_2771-24_0_8_node_161 | 0.4 | n |  | TRUE
161 | bus_MV_569_0_node_147 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2771-24_0_8_load_0 | 0 | 0.0095819 | 0.0024014 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2771-24_0_8_load_32 | 4 | 0.0051524 | 0.0012913 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2771-24_0_8_load_5 | 7 | 0.0079377 | 0.0019894 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2771-24_0_8_load_31 | 8 | 0.0036006 | 0.00090239 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2771-24_0_8_load_26 | 9 | 0.0063171 | 0.0015832 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2771-24_0_8_load_17 | 10 | 0.011009 | 0.002759 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2771-24_0_8_load_19 | 15 | 0.0098718 | 0.0024741 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2771-24_0_8_load_25 | 17 | 0.011333 | 0.0028403 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2771-24_0_8_load_10 | 19 | 0.011965 | 0.0029986 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2771-24_0_8_load_16 | 20 | 0.0026395 | 0.00066152 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2771-24_0_8_load_18 | 23 | 0.010865 | 0.0027231 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2771-24_0_8_load_41 | 25 | 0.0056957 | 0.0014275 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2771-24_0_8_load_23 | 26 | 0.0081464 | 0.0020417 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2771-24_0_8_load_22 | 29 | 0.0079243 | 0.001986 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2771-24_0_8_load_30 | 30 | 0.0087716 | 0.0021984 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2771-24_0_8_load_33 | 36 | 0.0034645 | 0.00086827 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2771-24_0_8_load_59 | 38 | 0.0028795 | 0.00072166 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2771-24_0_8_load_57 | 40 | 0.0022742 | 0.00056996 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2771-24_0_8_load_49 | 41 | 0.0087662 | 0.002197 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2771-24_0_8_load_58 | 42 | 0.0038412 | 0.00096269 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2771-24_0_8_load_54 | 43 | 0.0050346 | 0.0012618 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2771-24_0_8_load_48 | 44 | 0.010493 | 0.0026298 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2771-24_0_8_load_46 | 45 | 0.0076166 | 0.0019089 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2771-24_0_8_load_71 | 47 | 0.0014674 | 0.00036777 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2771-24_0_8_load_51 | 48 | 0.0019893 | 0.00049857 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2771-24_0_8_load_72 | 50 | 0.0020318 | 0.00050922 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2771-24_0_8_load_45 | 51 | 0.0079614 | 0.0019953 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2771-24_0_8_load_43 | 52 | 0.0020529 | 0.00051451 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2771-24_0_8_load_50 | 57 | 0.0040819 | 0.001023 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2771-24_0_8_load_68 | 59 | 0.0029071 | 0.00072858 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2771-24_0_8_load_61 | 62 | 0.0022891 | 0.00057369 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2771-24_0_8_load_60 | 63 | 0.004815 | 0.0012067 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2771-24_0_8_load_86 | 67 | 0.0092449 | 0.002317 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2771-24_0_8_load_84 | 69 | 0.016648 | 0.0041723 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2771-24_0_8_load_74 | 71 | 0.033225 | 0.008327 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2771-24_0_8_load_85 | 75 | 0.0073311 | 0.0018373 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2771-24_0_8_load_76 | 77 | 0.013798 | 0.0034582 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2771-24_0_8_load_88 | 79 | 0.0025586 | 0.00064124 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2771-24_0_8_load_89 | 80 | 0.0015109 | 0.00037867 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2771-24_0_8_load_83 | 81 | 0.014445 | 0.0036201 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2771-24_0_8_load_136 | 82 | 0.0019865 | 0.00049787 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2771-24_0_8_load_133 | 83 | 0.0021081 | 0.00052833 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2771-24_0_8_load_163 | 85 | 0.0086193 | 0.0021602 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2771-24_0_8_load_79 | 86 | 0.01038 | 0.0026015 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2771-24_0_8_load_81 | 88 | 0.022137 | 0.0055481 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2771-24_0_8_load_82 | 89 | 0.0056346 | 0.0014122 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2771-24_0_8_load_90 | 90 | 0.0023042 | 0.00057748 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2771-24_0_8_load_91 | 91 | 0.00091565 | 0.00022948 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2771-24_0_8_load_96 | 93 | 0.0012725 | 0.00031891 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2771-24_0_8_load_93 | 94 | 0.0023514 | 0.00058932 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2771-24_0_8_load_129 | 95 | 0.0015542 | 0.00038951 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2771-24_0_8_load_94 | 96 | 0.0020684 | 0.00051838 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2771-24_0_8_load_95 | 97 | 0.0022188 | 0.00055607 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2771-24_0_8_load_97 | 98 | 0.0018046 | 0.00045228 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2771-24_0_8_load_98 | 99 | 0.0043465 | 0.0010893 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2771-24_0_8_load_130 | 100 | 0.0011673 | 0.00029255 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2771-24_0_8_load_99 | 101 | 0.0018734 | 0.00046951 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2771-24_0_8_load_100 | 102 | 0.0012678 | 0.00031774 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2771-24_0_8_load_101 | 103 | 0.0030619 | 0.00076739 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2771-24_0_8_load_102 | 104 | 0.0032427 | 0.00081269 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2771-24_0_8_load_103 | 105 | 0.0040878 | 0.0010245 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2771-24_0_8_load_104 | 106 | 0.0027418 | 0.00068716 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2771-24_0_8_load_105 | 107 | 0.0029644 | 0.00074296 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2771-24_0_8_load_106 | 108 | 0.004199 | 0.0010524 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2771-24_0_8_load_108 | 112 | 0.0034907 | 0.00087486 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2771-24_0_8_load_109 | 113 | 0.0033893 | 0.00084943 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2771-24_0_8_load_113 | 115 | 0.0050218 | 0.0012586 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2771-24_0_8_load_114 | 116 | 0.0030785 | 0.00077155 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2771-24_0_8_load_126 | 117 | 0.0026139 | 0.00065512 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2771-24_0_8_load_115 | 118 | 0.0034033 | 0.00085296 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2771-24_0_8_load_125 | 119 | 0.0024667 | 0.00061822 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2771-24_0_8_load_117 | 121 | 0.0039004 | 0.00097753 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2771-24_0_8_load_118 | 122 | 0.0034832 | 0.00087298 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2771-24_0_8_load_119 | 123 | 0.0032152 | 0.00080581 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2771-24_0_8_load_127 | 124 | 0.0024561 | 0.00061557 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2771-24_0_8_load_120 | 125 | 0.0031681 | 0.000794 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2771-24_0_8_load_121 | 127 | 0.0031148 | 0.00078065 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2771-24_0_8_load_123 | 129 | 0.0042784 | 0.0010723 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2771-24_0_8_load_149 | 130 | 0.002078 | 0.00052081 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2771-24_0_8_load_148 | 131 | 0.0064777 | 0.0016235 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2771-24_0_8_load_134 | 132 | 0.0037176 | 0.00093172 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2771-24_0_8_load_154 | 135 | 0.0022914 | 0.00057427 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2771-24_0_8_load_140 | 137 | 0.00871 | 0.0021829 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2771-24_0_8_load_137 | 138 | 0.0041188 | 0.0010323 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2771-24_0_8_load_141 | 140 | 0.0085938 | 0.0021538 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2771-24_0_8_load_150 | 142 | 0.0019914 | 0.0004991 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2771-24_0_8_load_145 | 143 | 0.0047659 | 0.0011945 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2771-24_0_8_load_143 | 144 | 0.0020706 | 0.00051895 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2771-24_0_8_load_146 | 147 | 0.0046234 | 0.0011587 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2771-24_0_8_load_152 | 149 | 0.0037158 | 0.00093128 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2771-24_0_8_load_159 | 150 | 0.0011568 | 0.00028992 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2771-24_0_8_load_157 | 151 | 0.0026155 | 0.0006555 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2771-24_0_8_load_155 | 152 | 0.0033085 | 0.00082919 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2771-24_0_8_load_156 | 153 | 0.0021191 | 0.0005311 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2771-24_0_8_load_158 | 154 | 0.0084398 | 0.0021152 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2771-24_0_8_load_165 | 156 | 0.010185 | 0.0025526 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2771-24_0_8_load_167 | 157 | 0.007404 | 0.0018556 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2771-24_0_8_load_166 | 158 | 0.0019185 | 0.00048082 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2771-24_0_8_load_160 | 159 | 0.00745 | 0.0018671 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2771-24_0_8_line_0 |  | 0 | 1 | 0.023338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2771-24_0_8_line_1 |  | 1 | 2 | 0.028314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2771-24_0_8_line_2 |  | 2 | 3 | 0.025623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2771-24_0_8_line_3 |  | 2 | 4 | 0.01997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2771-24_0_8_line_4 |  | 3 | 8 | 0.019851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2771-24_0_8_line_5 |  | 3 | 9 | 0.0037033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2771-24_0_8_line_6 |  | 5 | 6 | 0.005758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2771-24_0_8_line_7 |  | 5 | 7 | 0.023099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2771-24_0_8_line_8 |  | 6 | 10 | 0.020953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2771-24_0_8_line_9 |  | 7 | 11 | 0.025067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2771-24_0_8_line_10 |  | 9 | 32 | 0.019635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2771-24_0_8_line_11 |  | 10 | 16 | 0.003775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2771-24_0_8_line_12 |  | 11 | 12 | 0.025189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2771-24_0_8_line_13 |  | 11 | 13 | 0.005416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2771-24_0_8_line_14 |  | 12 | 14 | 0.004556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2771-24_0_8_line_15 |  | 13 | 15 | 0.0015148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2771-24_0_8_line_16 |  | 14 | 17 | 0.0049524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2771-24_0_8_line_17 |  | 15 | 18 | 0.023071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2771-24_0_8_line_18 |  | 16 | 20 | 0.0383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2771-24_0_8_line_19 |  | 16 | 19 | 0.040259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2771-24_0_8_line_20 |  | 18 | 28 | 0.036101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_2771-24_0_8_line_21 |  | 18 | 29 | 0.021238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_2771-24_0_8_line_22 |  | 18 | 26 | 0.028178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2771-24_0_8_line_23 |  | 21 | 22 | 0.05022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2771-24_0_8_line_24 |  | 21 | 23 | 0.0054289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2771-24_0_8_line_25 |  | 22 | 24 | 0.035216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2771-24_0_8_line_26 |  | 22 | 25 | 0.019692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2771-24_0_8_line_27 |  | 24 | 26 | 0.026743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2771-24_0_8_line_28 |  | 25 | 27 | 0.024317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2771-24_0_8_line_29 |  | 27 | 52 | 0.026306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2771-24_0_8_line_30 |  | 28 | 30 | 0.025212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_2771-24_0_8_line_31 |  | 29 | 31 | 0.0097917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_2771-24_0_8_line_32 |  | 30 | 32 | 0.024073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_2771-24_0_8_line_33 |  | 31 | 33 | 0.012009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_2771-24_0_8_line_34 |  | 32 | 34 | 0.002934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_2771-24_0_8_line_35 |  | 33 | 45 | 0.009818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_2771-24_0_8_line_36 |  | 33 | 44 | 0.031047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2771-24_0_8_line_37 |  | 34 | 35 | 0.023831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_2771-24_0_8_line_38 |  | 34 | 36 | 0.019557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2771-24_0_8_line_39 |  | 35 | 37 | 0.022637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_2771-24_0_8_line_40 |  | 35 | 38 | 0.02009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2771-24_0_8_line_41 |  | 37 | 42 | 0.019113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2771-24_0_8_line_42 |  | 37 | 43 | 0.0055076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_2771-24_0_8_line_43 |  | 39 | 40 | 0.014359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2771-24_0_8_line_44 |  | 39 | 41 | 0.01434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2771-24_0_8_line_45 |  | 40 | 60 | 0.01748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2771-24_0_8_line_46 |  | 43 | 60 | 0.018847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_2771-24_0_8_line_47 |  | 45 | 49 | 0.025437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_2771-24_0_8_line_48 |  | 46 | 47 | 0.015842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2771-24_0_8_line_49 |  | 46 | 48 | 0.0052151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2771-24_0_8_line_50 |  | 47 | 50 | 0.01943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2771-24_0_8_line_51 |  | 48 | 49 | 0.035553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_2771-24_0_8_line_52 |  | 49 | 57 | 0.014462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_2771-24_0_8_line_53 |  | 50 | 53 | 0.017997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2771-24_0_8_line_54 |  | 51 | 52 | 0.0046298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2771-24_0_8_line_55 |  | 53 | 54 | 0.037889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2771-24_0_8_line_56 |  | 54 | 55 | 0.01707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2771-24_0_8_line_57 |  | 54 | 56 | 0.024291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2771-24_0_8_line_58 |  | 55 | 82 | 0.013571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2771-24_0_8_line_59 |  | 55 | 83 | 0.02125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2771-24_0_8_line_60 |  | 56 | 84 | 0.00885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2771-24_0_8_line_61 |  | 56 | 85 | 0.0036321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2771-24_0_8_line_62 |  | 57 | 58 | 0.020958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_2771-24_0_8_line_63 |  | 58 | 59 | 0.0043048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_2771-24_0_8_line_64 |  | 59 | 73 | 0.018406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_2771-24_0_8_line_65 |  | 60 | 61 | 0.002801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_2771-24_0_8_line_66 |  | 61 | 62 | 0.0073135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_2771-24_0_8_line_67 |  | 61 | 63 | 0.018769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2771-24_0_8_line_68 |  | 62 | 64 | 0.022282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2771-24_0_8_line_69 |  | 64 | 65 | 0.0085565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2771-24_0_8_line_70 |  | 65 | 66 | 0.031435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2771-24_0_8_line_71 |  | 65 | 67 | 0.024464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2771-24_0_8_line_72 |  | 66 | 68 | 0.012608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2771-24_0_8_line_73 |  | 66 | 69 | 0.029235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2771-24_0_8_line_74 |  | 67 | 72 | 0.024633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2771-24_0_8_line_75 |  | 68 | 70 | 0.029237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2771-24_0_8_line_76 |  | 69 | 76 | 0.026534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2771-24_0_8_line_77 |  | 70 | 71 | 0.022656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2771-24_0_8_line_78 |  | 72 | 74 | 0.026022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2771-24_0_8_line_79 |  | 73 | 79 | 0.033291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_2771-24_0_8_line_80 |  | 73 | 80 | 0.014046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2771-24_0_8_line_81 |  | 74 | 75 | 0.023123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2771-24_0_8_line_82 |  | 75 | 81 | 0.067408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2771-24_0_8_line_83 |  | 76 | 88 | 0.032601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2771-24_0_8_line_84 |  | 76 | 78 | 0.011761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2771-24_0_8_line_85 |  | 77 | 78 | 0.026379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2771-24_0_8_line_86 |  | 78 | 86 | 0.030052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2771-24_0_8_line_87 |  | 78 | 87 | 0.023311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2771-24_0_8_line_88 |  | 79 | 90 | 0.016787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2771-24_0_8_line_89 |  | 83 | 132 | 0.023316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2771-24_0_8_line_90 |  | 84 | 133 | 0.00613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2771-24_0_8_line_91 |  | 87 | 89 | 0.046038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2771-24_0_8_line_92 |  | 90 | 91 | 0.013258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2771-24_0_8_line_93 |  | 91 | 92 | 0.0047298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2771-24_0_8_line_94 |  | 92 | 93 | 0.016193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2771-24_0_8_line_95 |  | 92 | 94 | 0.0076417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2771-24_0_8_line_96 |  | 93 | 95 | 0.0016026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2771-24_0_8_line_97 |  | 94 | 96 | 0.018953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2771-24_0_8_line_98 |  | 95 | 100 | 0.011694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2771-24_0_8_line_99 |  | 96 | 97 | 0.0059129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2771-24_0_8_line_100 |  | 97 | 98 | 0.013741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2771-24_0_8_line_101 |  | 98 | 99 | 0.010455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2771-24_0_8_line_102 |  | 99 | 101 | 0.003858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2771-24_0_8_line_103 |  | 101 | 102 | 0.0080388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2771-24_0_8_line_104 |  | 102 | 103 | 0.011423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2771-24_0_8_line_105 |  | 103 | 104 | 0.0014282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2771-24_0_8_line_106 |  | 104 | 105 | 0.022002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2771-24_0_8_line_107 |  | 105 | 106 | 0.0040075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2771-24_0_8_line_108 |  | 106 | 107 | 0.018949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2771-24_0_8_line_109 |  | 107 | 108 | 0.0032107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2771-24_0_8_line_110 |  | 108 | 109 | 0.060573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2771-24_0_8_line_111 |  | 109 | 110 | 0.063311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2771-24_0_8_line_112 |  | 110 | 111 | 0.054271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2771-24_0_8_line_113 |  | 111 | 117 | 0.052738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2771-24_0_8_line_114 |  | 112 | 113 | 0.016436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2771-24_0_8_line_115 |  | 113 | 114 | 0.0084257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_2771-24_0_8_line_116 |  | 114 | 115 | 0.00848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_2771-24_0_8_line_117 |  | 114 | 116 | 0.0073669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_2771-24_0_8_line_118 |  | 116 | 118 | 0.020009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_2771-24_0_8_line_119 |  | 117 | 119 | 0.024597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_2771-24_0_8_line_120 |  | 118 | 120 | 0.0061033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_2771-24_0_8_line_121 |  | 119 | 126 | 0.035125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_2771-24_0_8_line_122 |  | 120 | 121 | 0.013223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_2771-24_0_8_line_123 |  | 120 | 122 | 0.016418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_2771-24_0_8_line_124 |  | 121 | 123 | 0.024635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_2771-24_0_8_line_125 |  | 122 | 124 | 0.020741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_2771-24_0_8_line_126 |  | 123 | 125 | 0.015992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_2771-24_0_8_line_127 |  | 124 | 126 | 0.018676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_2771-24_0_8_line_128 |  | 125 | 127 | 0.01587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_2771-24_0_8_line_129 |  | 127 | 128 | 0.017295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_2771-24_0_8_line_130 |  | 128 | 129 | 0.0048638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_2771-24_0_8_line_131 |  | 130 | 131 | 0.017156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_2771-24_0_8_line_132 |  | 131 | 147 | 0.0086378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_2771-24_0_8_line_133 |  | 132 | 134 | 0.0016815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_2771-24_0_8_line_134 |  | 133 | 160 | 0.014921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_2771-24_0_8_line_135 |  | 134 | 135 | 0.014543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_2771-24_0_8_line_136 |  | 134 | 136 | 0.017659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_2771-24_0_8_line_137 |  | 136 | 137 | 0.028765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_2771-24_0_8_line_138 |  | 136 | 138 | 0.0077868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_2771-24_0_8_line_139 |  | 137 | 142 | 0.012302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_2771-24_0_8_line_140 |  | 138 | 139 | 0.036941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_2771-24_0_8_line_141 |  | 139 | 140 | 0.016414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_2771-24_0_8_line_142 |  | 139 | 141 | 0.03358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_2771-24_0_8_line_143 |  | 141 | 143 | 0.010649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_2771-24_0_8_line_144 |  | 141 | 144 | 0.0084651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_2771-24_0_8_line_145 |  | 142 | 145 | 0.015136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_2771-24_0_8_line_146 |  | 144 | 146 | 0.011106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_2771-24_0_8_line_147 |  | 145 | 148 | 0.010854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_2771-24_0_8_line_148 |  | 145 | 149 | 0.017548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_2771-24_0_8_line_149 |  | 146 | 147 | 0.012517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_2771-24_0_8_line_150 |  | 148 | 150 | 0.021778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_2771-24_0_8_line_151 |  | 150 | 151 | 0.02159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_2771-24_0_8_line_152 |  | 151 | 152 | 0.0053685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_2771-24_0_8_line_153 |  | 152 | 153 | 0.023249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_2771-24_0_8_line_154 |  | 153 | 154 | 0.017582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_2771-24_0_8_line_155 |  | 153 | 155 | 0.07785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_2771-24_0_8_line_156 |  | 154 | 156 | 0.022512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_2771-24_0_8_line_157 |  | 155 | 157 | 0.059568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_2771-24_0_8_line_158 |  | 156 | 158 | 0.02189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_2771-24_0_8_line_159 |  | 159 | 160 | 0.0096801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2771-24_0_8_trafo_64 | 0.63 MVA 20/0.4 kV | 161 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2609139.5875 | 1263919.2238 | 2609161.2204 | 1263910.4678
1 | 2609139.5875 | 1263919.2238 | 2609128.587 | 1263893.1223
2 | 2609118.6293 | 1263869.5019 | 2609128.587 | 1263893.1223
3 | 2609128.587 | 1263893.1223 | 2609110.0375 | 1263900.5198
4 | 2609118.6293 | 1263869.5019 | 2609100.2095 | 1263876.903
5 | 2609118.6293 | 1263869.5019 | 2609117.191 | 1263866.0893
6 | 2609218.3066 | 1263887.3677 | 2609223.5895 | 1263885.0409
7 | 2609218.3066 | 1263887.3677 | 2609209.4836 | 1263866.0196
8 | 2609223.5895 | 1263885.0409 | 2609225.3681 | 1263884.2654 | 2609242.8971 | 1263876.7651
9 | 2609199.9091 | 1263842.853 | 2609209.4836 | 1263866.0196
10 | 2609109.5646 | 1263847.9955 | 2609117.191 | 1263866.0893
11 | 2609242.8971 | 1263876.7651 | 2609246.3788 | 1263875.2806
12 | 2609199.9091 | 1263842.853 | 2609176.18 | 1263851.5001
13 | 2609199.9091 | 1263842.853 | 2609197.8382 | 1263837.8464
14 | 2609176.18 | 1263851.5001 | 2609173.7383 | 1263847.6493
15 | 2609197.8382 | 1263837.8464 | 2609197.2598 | 1263836.4464
16 | 2609173.7383 | 1263847.6493 | 2609169.1505 | 1263849.5142
17 | 2609188.4668 | 1263815.1163 | 2609189.8398 | 1263818.4874 | 2609197.2598 | 1263836.4464
18 | 2609246.3788 | 1263875.2806 | 2609254.013 | 1263905.9025 | 2609260.6275 | 1263904.4896
19 | 2609246.3788 | 1263875.2806 | 2609283.3927 | 1263859.4447
20 | 2609188.4668 | 1263815.1163 | 2609155.0595 | 1263829.0411
21 | 2609188.4668 | 1263815.1163 | 2609180.4558 | 1263795.4469
22 | 2609188.4668 | 1263815.1163 | 2609214.5844 | 1263804.5405
23 | 2609257.4862 | 1263813.0106 | 2609281.5483 | 1263803.4748 | 2609272.026 | 1263781.0779
24 | 2609257.4862 | 1263813.0106 | 2609252.4078 | 1263814.9298
25 | 2609239.3722 | 1263794.5031 | 2609272.026 | 1263781.0779
26 | 2609272.026 | 1263781.0779 | 2609264.3203 | 1263762.9565
27 | 2609239.3722 | 1263794.5031 | 2609214.5844 | 1263804.5405
28 | 2609254.8048 | 1263740.5788 | 2609264.3203 | 1263762.9565
29 | 2609254.8048 | 1263740.5788 | 2609230.4721 | 1263750.5764
30 | 2609155.0595 | 1263829.0411 | 2609131.7864 | 1263838.7373
31 | 2609176.7624 | 1263786.3785 | 2609180.4558 | 1263795.4469
32 | 2609109.5646 | 1263847.9955 | 2609131.7864 | 1263838.7373
33 | 2609176.7624 | 1263786.3785 | 2609172.2307 | 1263775.2527
34 | 2609109.5646 | 1263847.9955 | 2609108.3713 | 1263845.314
35 | 2609172.2307 | 1263775.2527 | 2609168.5271 | 1263766.16
36 | 2609172.2307 | 1263775.2527 | 2609143.3449 | 1263786.6345
37 | 2609098.6592 | 1263823.5398 | 2609108.3713 | 1263845.314
38 | 2609108.3713 | 1263845.314 | 2609090.2448 | 1263852.6552
39 | 2609089.4349 | 1263802.867 | 2609094.6062 | 1263814.4607 | 2609094.9665 | 1263815.2618 | 2609098.6592 | 1263823.5398
40 | 2609098.6592 | 1263823.5398 | 2609080.076 | 1263831.1726
41 | 2609089.4349 | 1263802.867 | 2609071.6532 | 1263809.8756
42 | 2609089.4349 | 1263802.867 | 2609087.191 | 1263797.8372
43 | 2609108.9182 | 1263768.4175 | 2609095.6567 | 1263773.9231
44 | 2609108.9182 | 1263768.4175 | 2609109.6915 | 1263765.0831 | 2609119.7291 | 1263760.789
45 | 2609079.5126 | 1263780.6255 | 2609095.6567 | 1263773.9231
46 | 2609079.5126 | 1263780.6255 | 2609087.191 | 1263797.8372
47 | 2609154.909 | 1263745.7391 | 2609162.4694 | 1263751.2879 | 2609168.5271 | 1263766.16
48 | 2609191.6664 | 1263728.1058 | 2609205.9513 | 1263721.2566
49 | 2609191.6664 | 1263728.1058 | 2609186.9644 | 1263730.3615
50 | 2609205.9513 | 1263721.2566 | 2609223.4715 | 1263712.8562
51 | 2609154.909 | 1263745.7391 | 2609186.9644 | 1263730.3615
52 | 2609154.909 | 1263745.7391 | 2609148.9945 | 1263732.5421
53 | 2609239.6993 | 1263705.0754 | 2609223.4715 | 1263712.8562
54 | 2609230.4721 | 1263750.5764 | 2609226.1896 | 1263752.3359
55 | 2609239.6993 | 1263705.0754 | 2609224.8639 | 1263670.1951
56 | 2609224.8639 | 1263670.1951 | 2609218.223 | 1263654.4629
57 | 2609224.8639 | 1263670.1951 | 2609246.1541 | 1263661.2108 | 2609247.3371 | 1263660.8235
58 | 2609218.223 | 1263654.4629 | 2609205.8026 | 1263660.0142
59 | 2609218.223 | 1263654.4629 | 2609209.9651 | 1263634.883
60 | 2609255.7616 | 1263658.0347 | 2609247.3371 | 1263660.8235
61 | 2609247.3371 | 1263660.8235 | 2609245.6702 | 1263657.5965
62 | 2609140.4232 | 1263713.4168 | 2609148.9945 | 1263732.5421
63 | 2609140.4232 | 1263713.4168 | 2609144.2621 | 1263711.469
64 | 2609160.6757 | 1263703.1409 | 2609144.2621 | 1263711.469
65 | 2609079.5126 | 1263780.6255 | 2609078.3717 | 1263778.0664
66 | 2609078.3717 | 1263778.0664 | 2609075.3911 | 1263771.3879
67 | 2609078.3717 | 1263778.0664 | 2609060.9865 | 1263785.1393
68 | 2609066.3101 | 1263751.0406 | 2609075.3911 | 1263771.3879
69 | 2609066.3101 | 1263751.0406 | 2609067.7271 | 1263750.32 | 2609064.7015 | 1263744.0444
70 | 2609064.7015 | 1263744.0444 | 2609036.5438 | 1263757.7221 | 2609036.3629 | 1263757.8219
71 | 2609064.7015 | 1263744.0444 | 2609086.705 | 1263733.3521
72 | 2609036.3629 | 1263757.8219 | 2609034.388 | 1263758.9197 | 2609025.0949 | 1263763.5421
73 | 2609036.3629 | 1263757.8219 | 2609023.303 | 1263731.6667
74 | 2609108.8603 | 1263722.5859 | 2609086.705 | 1263733.3521
75 | 2608998.8588 | 1263776.6003 | 2609024.183 | 1263763.9966 | 2609025.0949 | 1263763.5421
76 | 2609011.4496 | 1263707.9277 | 2609023.303 | 1263731.6667
77 | 2608998.8588 | 1263776.6003 | 2608978.3364 | 1263786.1993
78 | 2609112.8603 | 1263697.4414 | 2609112.6827 | 1263705.2576 | 2609112.6681 | 1263714.7752 | 2609108.8603 | 1263722.5859
79 | 2609160.6757 | 1263703.1409 | 2609144.8774 | 1263673.837
80 | 2609160.6757 | 1263703.1409 | 2609173.1719 | 1263696.727
81 | 2609112.8603 | 1263697.4414 | 2609104.2653 | 1263675.975
82 | 2609052.8266 | 1263654.5538 | 2609055.5633 | 1263651.8338 | 2609066.9487 | 1263648.2709 | 2609086.1347 | 1263650.913 | 2609097.3672 | 1263658.7467 | 2609104.2653 | 1263675.975
83 | 2609011.4496 | 1263707.9277 | 2608996.8871 | 1263678.7604
84 | 2609011.4496 | 1263707.9277 | 2609000.7101 | 1263712.7925
85 | 2609000.7101 | 1263712.7925 | 2609012.1347 | 1263736.5695
86 | 2609000.7101 | 1263712.7925 | 2608987.6977 | 1263685.7033
87 | 2608979.1643 | 1263721.844 | 2609000.7101 | 1263712.7925
88 | 2609136.9112 | 1263659.061 | 2609144.8774 | 1263673.837
89 | 2609209.9651 | 1263634.883 | 2609200.9045 | 1263613.3996
90 | 2609255.7616 | 1263658.0347 | 2609253.8275 | 1263652.2165
91 | 2608979.1643 | 1263721.844 | 2608970.8127 | 1263721.3867 | 2608960.5878 | 1263719.6034 | 2608948.4092 | 1263709.8784 | 2608936.7639 | 1263711.1062
92 | 2609136.9112 | 1263659.061 | 2609130.6198 | 1263647.3912
93 | 2609128.3752 | 1263643.2279 | 2609130.6198 | 1263647.3912
94 | 2609128.3752 | 1263643.2279 | 2609143.1454 | 1263636.5895
95 | 2609128.3752 | 1263643.2279 | 2609124.7485 | 1263636.5016
96 | 2609143.1454 | 1263636.5895 | 2609144.6072 | 1263635.9326
97 | 2609124.7485 | 1263636.5016 | 2609115.7533 | 1263619.8192
98 | 2609155.2735 | 1263631.1386 | 2609144.6072 | 1263635.9326
99 | 2609112.947 | 1263614.6147 | 2609115.7533 | 1263619.8192
100 | 2609112.947 | 1263614.6147 | 2609106.4255 | 1263602.5198
101 | 2609101.4634 | 1263593.3171 | 2609106.4255 | 1263602.5198
102 | 2609101.4634 | 1263593.3171 | 2609099.6324 | 1263589.9213
103 | 2609095.8172 | 1263582.8455 | 2609099.6324 | 1263589.9213
104 | 2609090.3958 | 1263572.791 | 2609095.8172 | 1263582.8455
105 | 2609090.3958 | 1263572.791 | 2609089.718 | 1263571.5339
106 | 2609079.276 | 1263552.1681 | 2609089.718 | 1263571.5339
107 | 2609079.276 | 1263552.1681 | 2609077.374 | 1263548.6406
108 | 2609068.3808 | 1263531.9618 | 2609077.374 | 1263548.6406
109 | 2609068.3808 | 1263531.9618 | 2609066.857 | 1263529.1358
110 | 2609038.109 | 1263475.8196 | 2609066.857 | 1263529.1358
111 | 2608981.7288 | 1263504.6208 | 2609011.758 | 1263489.2779 | 2609030.0364 | 1263479.9436 | 2609038.109 | 1263475.8196
112 | 2608934.2327 | 1263530.8786 | 2608939.1775 | 1263528.1396 | 2608972.7663 | 1263509.5774 | 2608981.7288 | 1263504.6208
113 | 2608934.2327 | 1263530.8786 | 2608959.3914 | 1263577.2286
114 | 2609011.2518 | 1263553.288 | 2609019.7763 | 1263567.3403
115 | 2609024.1463 | 1263574.5441 | 2609019.7763 | 1263567.3403
116 | 2609024.1463 | 1263574.5441 | 2609016.684 | 1263578.6134
117 | 2609024.1463 | 1263574.5441 | 2609027.971 | 1263580.8403
118 | 2609027.971 | 1263580.8403 | 2609028.2633 | 1263581.3216 | 2609038.3461 | 1263597.9495
119 | 2608971.1253 | 1263598.846 | 2608959.3914 | 1263577.2286
120 | 2609036.2458 | 1263601.8145 | 2609039.5399 | 1263599.9182 | 2609038.3461 | 1263597.9495
121 | 2608987.8816 | 1263629.7161 | 2608971.1253 | 1263598.846
122 | 2609036.2458 | 1263601.8145 | 2609042.8663 | 1263613.2607
123 | 2609036.2458 | 1263601.8145 | 2609022.0246 | 1263610.0188
124 | 2609042.8663 | 1263613.2607 | 2609047.8965 | 1263621.9571 | 2609034.9693 | 1263628.719
125 | 2609004.0585 | 1263620.3835 | 2609022.0246 | 1263610.0188
126 | 2609034.9693 | 1263628.719 | 2609020.799 | 1263636.131
127 | 2608987.8816 | 1263629.7161 | 2609004.0585 | 1263620.3835
128 | 2609020.799 | 1263636.131 | 2609006.7366 | 1263643.4867
129 | 2608991.411 | 1263651.503 | 2609006.7366 | 1263643.4867
130 | 2608991.411 | 1263651.503 | 2608987.7464 | 1263654.701
131 | 2609130.0269 | 1263474.9968 | 2609138.007 | 1263490.1834
132 | 2609142.0249 | 1263497.8298 | 2609138.007 | 1263490.1834
133 | 2609200.2511 | 1263611.8502 | 2609200.9045 | 1263613.3996
134 | 2609253.8275 | 1263652.2165 | 2609255.2515 | 1263637.3641
135 | 2609200.2511 | 1263611.8502 | 2609187.2341 | 1263618.4124
136 | 2609193.3849 | 1263595.5729 | 2609200.2511 | 1263611.8502
137 | 2609193.3849 | 1263595.5729 | 2609218.6198 | 1263581.7666
138 | 2609193.3849 | 1263595.5729 | 2609189.7623 | 1263588.6801
139 | 2609218.6198 | 1263581.7666 | 2609229.4121 | 1263575.862
140 | 2609172.5761 | 1263555.9803 | 2609189.7623 | 1263588.6801
141 | 2609172.5761 | 1263555.9803 | 2609157.8782 | 1263563.3738
142 | 2609172.5761 | 1263555.9803 | 2609156.9487 | 1263526.2358
143 | 2609156.9487 | 1263526.2358 | 2609166.2357 | 1263521.0243
144 | 2609156.9487 | 1263526.2358 | 2609153.012 | 1263518.7418
145 | 2609242.6904 | 1263568.5973 | 2609229.4121 | 1263575.862
146 | 2609147.8471 | 1263508.9099 | 2609153.012 | 1263518.7418
147 | 2609252.2334 | 1263563.3752 | 2609242.6904 | 1263568.5973
148 | 2609242.6904 | 1263568.5973 | 2609234.5611 | 1263553.0455
149 | 2609147.8471 | 1263508.9099 | 2609142.0249 | 1263497.8298
150 | 2609252.2334 | 1263563.3752 | 2609262.0123 | 1263561.4447 | 2609268.1453 | 1263564.8009 | 2609270.0593 | 1263569.2239
151 | 2609270.0593 | 1263569.2239 | 2609278.6339 | 1263589.0382
152 | 2609280.766 | 1263593.9651 | 2609278.6339 | 1263589.0382
153 | 2609280.766 | 1263593.9651 | 2609289.9992 | 1263615.3016
154 | 2609289.9992 | 1263615.3016 | 2609296.9821 | 1263631.4376
155 | 2609289.9992 | 1263615.3016 | 2609364.1754 | 1263591.6696
156 | 2609305.9226 | 1263652.0976 | 2609296.9821 | 1263631.4376
157 | 2609364.1754 | 1263591.6696 | 2609393.4403 | 1263621.8809 | 2609403.8926 | 1263635.925
158 | 2609305.9226 | 1263652.0976 | 2609284.0552 | 1263651.0946
159 | 2609255.2515 | 1263637.3641 | 2609252.7582 | 1263632.7682 | 2609256.1688 | 1263629.9077

## bus_geodata
| x | y | coords
0 | 2609161.2204 | 1263910.4678
1 | 2609139.5875 | 1263919.2238
2 | 2609128.587 | 1263893.1223
3 | 2609118.6293 | 1263869.5019
4 | 2609110.0375 | 1263900.5198
5 | 2609218.3066 | 1263887.3677
6 | 2609223.5895 | 1263885.0409
7 | 2609209.4836 | 1263866.0196
8 | 2609100.2095 | 1263876.903
9 | 2609117.191 | 1263866.0893
10 | 2609242.8971 | 1263876.7651
11 | 2609199.9091 | 1263842.853
12 | 2609176.18 | 1263851.5001
13 | 2609197.8382 | 1263837.8464
14 | 2609173.7383 | 1263847.6493
15 | 2609197.2598 | 1263836.4464
16 | 2609246.3788 | 1263875.2806
17 | 2609169.1505 | 1263849.5142
18 | 2609188.4668 | 1263815.1163
19 | 2609283.3927 | 1263859.4447
20 | 2609260.6275 | 1263904.4896
21 | 2609257.4862 | 1263813.0106
22 | 2609272.026 | 1263781.0779
23 | 2609252.4078 | 1263814.9298
24 | 2609239.3722 | 1263794.5031
25 | 2609264.3203 | 1263762.9565
26 | 2609214.5844 | 1263804.5405
27 | 2609254.8048 | 1263740.5788
28 | 2609155.0595 | 1263829.0411
29 | 2609180.4558 | 1263795.4469
30 | 2609131.7864 | 1263838.7373
31 | 2609176.7624 | 1263786.3785
32 | 2609109.5646 | 1263847.9955
33 | 2609172.2307 | 1263775.2527
34 | 2609108.3713 | 1263845.314
35 | 2609098.6592 | 1263823.5398
36 | 2609090.2448 | 1263852.6552
37 | 2609089.4349 | 1263802.867
38 | 2609080.076 | 1263831.1726
39 | 2609108.9182 | 1263768.4175
40 | 2609095.6567 | 1263773.9231
41 | 2609119.7291 | 1263760.789
42 | 2609071.6532 | 1263809.8756
43 | 2609087.191 | 1263797.8372
44 | 2609143.3449 | 1263786.6345
45 | 2609168.5271 | 1263766.16
46 | 2609191.6664 | 1263728.1058
47 | 2609205.9513 | 1263721.2566
48 | 2609186.9644 | 1263730.3615
49 | 2609154.909 | 1263745.7391
50 | 2609223.4715 | 1263712.8562
51 | 2609226.1896 | 1263752.3359
52 | 2609230.4721 | 1263750.5764
53 | 2609239.6993 | 1263705.0754
54 | 2609224.8639 | 1263670.1951
55 | 2609218.223 | 1263654.4629
56 | 2609247.3371 | 1263660.8235
57 | 2609148.9945 | 1263732.5421
58 | 2609140.4232 | 1263713.4168
59 | 2609144.2621 | 1263711.469
60 | 2609079.5126 | 1263780.6255
61 | 2609078.3717 | 1263778.0664
62 | 2609075.3911 | 1263771.3879
63 | 2609060.9865 | 1263785.1393
64 | 2609066.3101 | 1263751.0406
65 | 2609064.7015 | 1263744.0444
66 | 2609036.3629 | 1263757.8219
67 | 2609086.705 | 1263733.3521
68 | 2609025.0949 | 1263763.5421
69 | 2609023.303 | 1263731.6667
70 | 2608998.8588 | 1263776.6003
71 | 2608978.3364 | 1263786.1993
72 | 2609108.8603 | 1263722.5859
73 | 2609160.6757 | 1263703.1409
74 | 2609112.8603 | 1263697.4414
75 | 2609104.2653 | 1263675.975
76 | 2609011.4496 | 1263707.9277
77 | 2609012.1347 | 1263736.5695
78 | 2609000.7101 | 1263712.7925
79 | 2609144.8774 | 1263673.837
80 | 2609173.1719 | 1263696.727
81 | 2609052.8266 | 1263654.5538
82 | 2609205.8026 | 1263660.0142
83 | 2609209.9651 | 1263634.883
84 | 2609255.7616 | 1263658.0347
85 | 2609245.6702 | 1263657.5965
86 | 2608987.6977 | 1263685.7033
87 | 2608979.1643 | 1263721.844
88 | 2608996.8871 | 1263678.7604
89 | 2608936.7639 | 1263711.1062
90 | 2609136.9112 | 1263659.061
91 | 2609130.6198 | 1263647.3912
92 | 2609128.3752 | 1263643.2279
93 | 2609143.1454 | 1263636.5895
94 | 2609124.7485 | 1263636.5016
95 | 2609144.6072 | 1263635.9326
96 | 2609115.7533 | 1263619.8192
97 | 2609112.947 | 1263614.6147
98 | 2609106.4255 | 1263602.5198
99 | 2609101.4634 | 1263593.3171
100 | 2609155.2735 | 1263631.1386
101 | 2609099.6324 | 1263589.9213
102 | 2609095.8172 | 1263582.8455
103 | 2609090.3958 | 1263572.791
104 | 2609089.718 | 1263571.5339
105 | 2609079.276 | 1263552.1681
106 | 2609077.374 | 1263548.6406
107 | 2609068.3808 | 1263531.9618
108 | 2609066.857 | 1263529.1358
109 | 2609038.109 | 1263475.8196
110 | 2608981.7288 | 1263504.6208
111 | 2608934.2327 | 1263530.8786
112 | 2609011.2518 | 1263553.288
113 | 2609019.7763 | 1263567.3403
114 | 2609024.1463 | 1263574.5441
115 | 2609016.684 | 1263578.6134
116 | 2609027.971 | 1263580.8403
117 | 2608959.3914 | 1263577.2286
118 | 2609038.3461 | 1263597.9495
119 | 2608971.1253 | 1263598.846
120 | 2609036.2458 | 1263601.8145
121 | 2609042.8663 | 1263613.2607
122 | 2609022.0246 | 1263610.0188
123 | 2609034.9693 | 1263628.719
124 | 2609004.0585 | 1263620.3835
125 | 2609020.799 | 1263636.131
126 | 2608987.8816 | 1263629.7161
127 | 2609006.7366 | 1263643.4867
128 | 2608991.411 | 1263651.503
129 | 2608987.7464 | 1263654.701
130 | 2609130.0269 | 1263474.9968
131 | 2609138.007 | 1263490.1834
132 | 2609200.9045 | 1263613.3996
133 | 2609253.8275 | 1263652.2165
134 | 2609200.2511 | 1263611.8502
135 | 2609187.2341 | 1263618.4124
136 | 2609193.3849 | 1263595.5729
137 | 2609218.6198 | 1263581.7666
138 | 2609189.7623 | 1263588.6801
139 | 2609172.5761 | 1263555.9803
140 | 2609157.8782 | 1263563.3738
141 | 2609156.9487 | 1263526.2358
142 | 2609229.4121 | 1263575.862
143 | 2609166.2357 | 1263521.0243
144 | 2609153.012 | 1263518.7418
145 | 2609242.6904 | 1263568.5973
146 | 2609147.8471 | 1263508.9099
147 | 2609142.0249 | 1263497.8298
148 | 2609252.2334 | 1263563.3752
149 | 2609234.5611 | 1263553.0455
150 | 2609270.0593 | 1263569.2239
151 | 2609278.6339 | 1263589.0382
152 | 2609280.766 | 1263593.9651
153 | 2609289.9992 | 1263615.3016
154 | 2609296.9821 | 1263631.4376
155 | 2609364.1754 | 1263591.6696
156 | 2609305.9226 | 1263652.0976
157 | 2609403.8926 | 1263635.925
158 | 2609284.0552 | 1263651.0946
159 | 2609256.1688 | 1263629.9077
160 | 2609255.2515 | 1263637.3641
161 | 2609130.6399 | 1263718.383

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1