## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2771-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2771-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2771-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2771-2_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2771-2_0_3_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_2771-2_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_2771-2_0_3_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_2771-2_0_3_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_2771-2_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2771-2_0_3_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_2771-2_0_3_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_2771-2_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2771-2_0_3_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_2771-2_0_3_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_2771-2_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_2771-2_0_3_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_2771-2_0_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_2771-2_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2771-2_0_3_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_2771-2_0_3_node_110 | 0.4 | n |  | TRUE
20 | bus_LV_2771-2_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_2771-2_0_3_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_2771-2_0_3_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_2771-2_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_2771-2_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_2771-2_0_3_node_68 | 0.4 | n |  | TRUE
26 | bus_LV_2771-2_0_3_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_2771-2_0_3_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_2771-2_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_2771-2_0_3_node_57 | 0.4 | n |  | TRUE
30 | bus_LV_2771-2_0_3_node_114 | 0.4 | n |  | TRUE
31 | bus_LV_2771-2_0_3_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_2771-2_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_2771-2_0_3_node_117 | 0.4 | n |  | TRUE
34 | bus_LV_2771-2_0_3_node_115 | 0.4 | n |  | TRUE
35 | bus_LV_2771-2_0_3_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_2771-2_0_3_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_2771-2_0_3_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_2771-2_0_3_node_109 | 0.4 | n |  | TRUE
39 | bus_LV_2771-2_0_3_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_2771-2_0_3_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_2771-2_0_3_node_125 | 0.4 | n |  | TRUE
42 | bus_LV_2771-2_0_3_node_62 | 0.4 | n |  | TRUE
43 | bus_LV_2771-2_0_3_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_2771-2_0_3_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_2771-2_0_3_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_2771-2_0_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_2771-2_0_3_node_129 | 0.4 | n |  | TRUE
48 | bus_LV_2771-2_0_3_node_21 | 0.4 | n |  | TRUE
49 | bus_LV_2771-2_0_3_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_2771-2_0_3_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_2771-2_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_2771-2_0_3_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_2771-2_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_2771-2_0_3_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_2771-2_0_3_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_2771-2_0_3_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_2771-2_0_3_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_2771-2_0_3_node_120 | 0.4 | n |  | TRUE
59 | bus_LV_2771-2_0_3_node_118 | 0.4 | n |  | TRUE
60 | bus_LV_2771-2_0_3_node_116 | 0.4 | n |  | TRUE
61 | bus_LV_2771-2_0_3_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_2771-2_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_2771-2_0_3_node_36 | 0.4 | n |  | TRUE
64 | bus_LV_2771-2_0_3_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_2771-2_0_3_node_73 | 0.4 | n |  | TRUE
66 | bus_LV_2771-2_0_3_node_33 | 0.4 | n |  | TRUE
67 | bus_LV_2771-2_0_3_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_2771-2_0_3_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_2771-2_0_3_node_29 | 0.4 | n |  | TRUE
70 | bus_LV_2771-2_0_3_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_2771-2_0_3_node_45 | 0.4 | n |  | TRUE
72 | bus_LV_2771-2_0_3_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_2771-2_0_3_node_111 | 0.4 | n |  | TRUE
74 | bus_LV_2771-2_0_3_node_44 | 0.4 | n |  | TRUE
75 | bus_LV_2771-2_0_3_node_130 | 0.4 | n |  | TRUE
76 | bus_LV_2771-2_0_3_node_42 | 0.4 | n |  | TRUE
77 | bus_LV_2771-2_0_3_node_43 | 0.4 | n |  | TRUE
78 | bus_LV_2771-2_0_3_node_47 | 0.4 | n |  | TRUE
79 | bus_LV_2771-2_0_3_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_2771-2_0_3_node_92 | 0.4 | n |  | TRUE
81 | bus_LV_2771-2_0_3_node_84 | 0.4 | n |  | TRUE
82 | bus_LV_2771-2_0_3_node_112 | 0.4 | n |  | TRUE
83 | bus_LV_2771-2_0_3_node_93 | 0.4 | n |  | TRUE
84 | bus_LV_2771-2_0_3_node_113 | 0.4 | n |  | TRUE
85 | bus_LV_2771-2_0_3_node_61 | 0.4 | n |  | TRUE
86 | bus_LV_2771-2_0_3_node_63 | 0.4 | n |  | TRUE
87 | bus_LV_2771-2_0_3_node_65 | 0.4 | n |  | TRUE
88 | bus_LV_2771-2_0_3_node_108 | 0.4 | n |  | TRUE
89 | bus_LV_2771-2_0_3_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_2771-2_0_3_node_71 | 0.4 | n |  | TRUE
91 | bus_LV_2771-2_0_3_node_72 | 0.4 | n |  | TRUE
92 | bus_LV_2771-2_0_3_node_128 | 0.4 | n |  | TRUE
93 | bus_LV_2771-2_0_3_node_78 | 0.4 | n |  | TRUE
94 | bus_LV_2771-2_0_3_node_79 | 0.4 | n |  | TRUE
95 | bus_LV_2771-2_0_3_node_77 | 0.4 | n |  | TRUE
96 | bus_LV_2771-2_0_3_node_85 | 0.4 | n |  | TRUE
97 | bus_LV_2771-2_0_3_node_82 | 0.4 | n |  | TRUE
98 | bus_LV_2771-2_0_3_node_80 | 0.4 | n |  | TRUE
99 | bus_LV_2771-2_0_3_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_2771-2_0_3_node_126 | 0.4 | n |  | TRUE
101 | bus_LV_2771-2_0_3_node_124 | 0.4 | n |  | TRUE
102 | bus_LV_2771-2_0_3_node_90 | 0.4 | n |  | TRUE
103 | bus_LV_2771-2_0_3_node_89 | 0.4 | n |  | TRUE
104 | bus_LV_2771-2_0_3_node_86 | 0.4 | n |  | TRUE
105 | bus_LV_2771-2_0_3_node_87 | 0.4 | n |  | TRUE
106 | bus_LV_2771-2_0_3_node_88 | 0.4 | n |  | TRUE
107 | bus_LV_2771-2_0_3_node_127 | 0.4 | n |  | TRUE
108 | bus_LV_2771-2_0_3_node_122 | 0.4 | n |  | TRUE
109 | bus_LV_2771-2_0_3_node_94 | 0.4 | n |  | TRUE
110 | bus_LV_2771-2_0_3_node_95 | 0.4 | n |  | TRUE
111 | bus_LV_2771-2_0_3_node_105 | 0.4 | n |  | TRUE
112 | bus_LV_2771-2_0_3_node_103 | 0.4 | n |  | TRUE
113 | bus_LV_2771-2_0_3_node_96 | 0.4 | n |  | TRUE
114 | bus_LV_2771-2_0_3_node_97 | 0.4 | n |  | TRUE
115 | bus_LV_2771-2_0_3_node_98 | 0.4 | n |  | TRUE
116 | bus_LV_2771-2_0_3_node_99 | 0.4 | n |  | TRUE
117 | bus_LV_2771-2_0_3_node_100 | 0.4 | n |  | TRUE
118 | bus_LV_2771-2_0_3_node_107 | 0.4 | n |  | TRUE
119 | bus_LV_2771-2_0_3_node_101 | 0.4 | n |  | TRUE
120 | bus_LV_2771-2_0_3_node_104 | 0.4 | n |  | TRUE
121 | bus_LV_2771-2_0_3_node_102 | 0.4 | n |  | TRUE
122 | bus_LV_2771-2_0_3_node_106 | 0.4 | n |  | TRUE
123 | bus_LV_2771-2_0_3_node_121 | 0.4 | n |  | TRUE
124 | bus_LV_2771-2_0_3_node_123 | 0.4 | n |  | TRUE
125 | bus_LV_2771-2_0_3_node_119 | 0.4 | n |  | TRUE
126 | bus_MV_569_0_node_109 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2771-2_0_3_load_0 | 0 | 0.0076835 | 0.0019257 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2771-2_0_3_load_20 | 6 | 0.007439 | 0.0018644 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2771-2_0_3_load_41 | 9 | 0.0065671 | 0.0016459 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2771-2_0_3_load_39 | 10 | 0.0014512 | 0.00036371 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2771-2_0_3_load_28 | 15 | 0.0054976 | 0.0013778 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2771-2_0_3_load_26 | 16 | 0.012228 | 0.0030646 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2771-2_0_3_load_110 | 19 | 0.044517 | 0.011157 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2771-2_0_3_load_54 | 22 | 0.015627 | 0.0039165 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2771-2_0_3_load_66 | 26 | 0.0059347 | 0.0014874 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2771-2_0_3_load_114 | 30 | 0.0029501 | 0.00073936 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2771-2_0_3_load_115 | 34 | 0.0027543 | 0.0006903 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2771-2_0_3_load_50 | 35 | 0.0064879 | 0.001626 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2771-2_0_3_load_49 | 36 | 0.00495 | 0.0012406 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2771-2_0_3_load_109 | 38 | 0.020155 | 0.0050513 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2771-2_0_3_load_55 | 39 | 0.007673 | 0.001923 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2771-2_0_3_load_40 | 40 | 0.03376 | 0.0084609 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2771-2_0_3_load_125 | 41 | 0.0070968 | 0.0017786 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2771-2_0_3_load_52 | 43 | 0.0056146 | 0.0014071 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2771-2_0_3_load_56 | 45 | 0.0066047 | 0.0016553 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2771-2_0_3_load_31 | 46 | 0.0078839 | 0.0019759 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2771-2_0_3_load_129 | 47 | 0.0086002 | 0.0021554 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2771-2_0_3_load_38 | 51 | 0.0073034 | 0.0018304 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2771-2_0_3_load_34 | 52 | 0.0066208 | 0.0016593 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2771-2_0_3_load_35 | 54 | 0.0042404 | 0.0010627 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2771-2_0_3_load_69 | 55 | 0.0025033 | 0.00062739 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2771-2_0_3_load_67 | 56 | 0.0026222 | 0.00065719 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2771-2_0_3_load_58 | 57 | 0.0026653 | 0.000668 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2771-2_0_3_load_118 | 59 | 0.0028059 | 0.00070322 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2771-2_0_3_load_116 | 60 | 0.0026062 | 0.00065319 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2771-2_0_3_load_48 | 61 | 0.0096085 | 0.0024081 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2771-2_0_3_load_51 | 62 | 0.011213 | 0.0028103 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2771-2_0_3_load_74 | 64 | 0.0012028 | 0.00030145 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2771-2_0_3_load_73 | 65 | 0.0015512 | 0.00038876 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2771-2_0_3_load_59 | 68 | 0.0085803 | 0.0021504 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2771-2_0_3_load_29 | 69 | 0.0033562 | 0.00084115 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2771-2_0_3_load_76 | 70 | 0.0012032 | 0.00030155 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2771-2_0_3_load_111 | 73 | 0.0016589 | 0.00041575 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2771-2_0_3_load_130 | 75 | 0.003043 | 0.00076265 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2771-2_0_3_load_42 | 76 | 0.0034008 | 0.00085232 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2771-2_0_3_load_43 | 77 | 0.0014232 | 0.00035668 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2771-2_0_3_load_47 | 78 | 0.001902 | 0.00047668 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2771-2_0_3_load_75 | 79 | 0.0014232 | 0.00035668 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2771-2_0_3_load_92 | 80 | 0.0039144 | 0.00098103 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2771-2_0_3_load_84 | 81 | 0.0011029 | 0.00027641 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2771-2_0_3_load_112 | 82 | 0.008087 | 0.0020268 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2771-2_0_3_load_113 | 84 | 0.01559 | 0.0039072 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2771-2_0_3_load_61 | 85 | 0.002873 | 0.00072005 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2771-2_0_3_load_65 | 87 | 0.0022931 | 0.0005747 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2771-2_0_3_load_108 | 88 | 0.013662 | 0.0034239 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2771-2_0_3_load_71 | 90 | 0.0021137 | 0.00052973 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2771-2_0_3_load_128 | 92 | 0.0019992 | 0.00050104 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2771-2_0_3_load_77 | 95 | 0.0012028 | 0.00030145 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2771-2_0_3_load_85 | 96 | 0.0011035 | 0.00027657 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2771-2_0_3_load_82 | 97 | 0.0020838 | 0.00052225 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2771-2_0_3_load_80 | 98 | 0.0017246 | 0.00043222 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2771-2_0_3_load_126 | 100 | 0.0018145 | 0.00045477 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2771-2_0_3_load_90 | 102 | 0.0011228 | 0.0002814 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2771-2_0_3_load_89 | 103 | 0.0011233 | 0.00028153 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2771-2_0_3_load_86 | 104 | 0.0011045 | 0.00027681 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2771-2_0_3_load_87 | 105 | 0.0011047 | 0.00027687 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2771-2_0_3_load_88 | 106 | 0.0011233 | 0.00028153 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2771-2_0_3_load_127 | 107 | 0.0019019 | 0.00047667 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2771-2_0_3_load_94 | 109 | 0.0041074 | 0.0010294 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2771-2_0_3_load_95 | 110 | 0.0028685 | 0.00071892 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2771-2_0_3_load_105 | 111 | 0.0026712 | 0.00066948 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2771-2_0_3_load_103 | 112 | 0.0039272 | 0.00098425 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2771-2_0_3_load_96 | 113 | 0.0009589 | 0.00024032 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2771-2_0_3_load_97 | 114 | 0.0012121 | 0.00030377 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2771-2_0_3_load_98 | 115 | 0.0013491 | 0.00033811 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2771-2_0_3_load_99 | 116 | 0.0033648 | 0.00084329 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2771-2_0_3_load_100 | 117 | 0.00096039 | 0.0002407 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2771-2_0_3_load_101 | 119 | 0.0009597 | 0.00024052 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2771-2_0_3_load_102 | 121 | 0.0012113 | 0.00030358 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2771-2_0_3_load_106 | 122 | 0.0060709 | 0.0015215 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2771-2_0_3_load_121 | 123 | 0.0021256 | 0.00053272 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2771-2_0_3_load_123 | 124 | 0.00059459 | 0.00014902 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2771-2_0_3_load_119 | 125 | 0.0036245 | 0.00090838 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2771-2_0_3_line_0 |  | 0 | 1 | 0.017858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2771-2_0_3_line_1 |  | 0 | 2 | 0.0098179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2771-2_0_3_line_2 |  | 1 | 3 | 0.020722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2771-2_0_3_line_3 |  | 1 | 4 | 0.048477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2771-2_0_3_line_4 |  | 2 | 5 | 0.034485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2771-2_0_3_line_5 |  | 3 | 7 | 0.01805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2771-2_0_3_line_6 |  | 4 | 25 | 0.011137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2771-2_0_3_line_7 |  | 4 | 26 | 0.032679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2771-2_0_3_line_8 |  | 5 | 6 | 0.0065064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2771-2_0_3_line_9 |  | 6 | 23 | 0.017667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2771-2_0_3_line_10 |  | 7 | 39 | 0.0063192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2771-2_0_3_line_11 |  | 8 | 9 | 0.035703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2771-2_0_3_line_12 |  | 8 | 10 | 0.013415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2771-2_0_3_line_13 |  | 9 | 11 | 0.017549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2771-2_0_3_line_14 |  | 10 | 40 | 0.023983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2771-2_0_3_line_15 |  | 11 | 12 | 0.042888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2771-2_0_3_line_16 |  | 11 | 13 | 0.057094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2771-2_0_3_line_17 |  | 12 | 41 | 0.025993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2771-2_0_3_line_18 |  | 12 | 42 | 0.011179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2771-2_0_3_line_19 |  | 13 | 35 | 0.015594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2771-2_0_3_line_20 |  | 14 | 15 | 0.023488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2771-2_0_3_line_21 |  | 14 | 16 | 0.0079527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2771-2_0_3_line_22 |  | 15 | 43 | 0.010499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2771-2_0_3_line_23 |  | 16 | 44 | 0.014162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2771-2_0_3_line_24 |  | 17 | 18 | 0.007281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2771-2_0_3_line_25 |  | 17 | 19 | 0.01954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2771-2_0_3_line_26 |  | 18 | 46 | 0.017243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2771-2_0_3_line_27 |  | 20 | 21 | 0.010241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2771-2_0_3_line_28 |  | 20 | 22 | 0.013413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2771-2_0_3_line_29 |  | 21 | 47 | 0.016341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2771-2_0_3_line_30 |  | 21 | 44 | 0.015746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2771-2_0_3_line_31 |  | 22 | 31 | 0.024174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2771-2_0_3_line_32 |  | 23 | 24 | 0.018189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2771-2_0_3_line_33 |  | 24 | 37 | 0.0199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2771-2_0_3_line_34 |  | 24 | 38 | 0.015905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2771-2_0_3_line_35 |  | 25 | 55 | 0.013963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2771-2_0_3_line_36 |  | 26 | 56 | 0.011175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2771-2_0_3_line_37 |  | 27 | 28 | 0.021665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2771-2_0_3_line_38 |  | 27 | 29 | 0.021299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2771-2_0_3_line_39 |  | 27 | 30 | 0.014251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2771-2_0_3_line_40 |  | 28 | 33 | 0.020212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2771-2_0_3_line_41 |  | 28 | 34 | 0.014665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2771-2_0_3_line_42 |  | 29 | 57 | 0.013694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2771-2_0_3_line_43 |  | 29 | 45 | 0.050976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2771-2_0_3_line_44 |  | 31 | 32 | 0.029794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2771-2_0_3_line_45 |  | 32 | 36 | 0.024042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2771-2_0_3_line_46 |  | 33 | 58 | 0.062442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2771-2_0_3_line_47 |  | 33 | 59 | 0.013114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2771-2_0_3_line_48 |  | 34 | 60 | 0.001188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2771-2_0_3_line_49 |  | 35 | 61 | 0.0083727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2771-2_0_3_line_50 |  | 36 | 61 | 0.017532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2771-2_0_3_line_51 |  | 37 | 62 | 0.00026469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2771-2_0_3_line_52 |  | 38 | 49 | 0.014146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_2771-2_0_3_line_53 |  | 42 | 85 | 0.0058376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2771-2_0_3_line_54 |  | 43 | 62 | 0.011794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_2771-2_0_3_line_55 |  | 44 | 69 | 0.030892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2771-2_0_3_line_56 |  | 46 | 66 | 0.0015923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2771-2_0_3_line_57 |  | 48 | 49 | 0.024014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_2771-2_0_3_line_58 |  | 48 | 50 | 0.018424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2771-2_0_3_line_59 |  | 48 | 51 | 0.013392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_2771-2_0_3_line_60 |  | 49 | 52 | 0.030397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2771-2_0_3_line_61 |  | 50 | 53 | 0.022809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2771-2_0_3_line_62 |  | 50 | 54 | 0.021146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2771-2_0_3_line_63 |  | 52 | 66 | 0.016762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2771-2_0_3_line_64 |  | 53 | 67 | 0.036218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2771-2_0_3_line_65 |  | 53 | 68 | 0.048294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2771-2_0_3_line_66 |  | 55 | 89 | 0.023862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2771-2_0_3_line_67 |  | 57 | 84 | 0.00036765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2771-2_0_3_line_68 |  | 58 | 124 | 0.078636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2771-2_0_3_line_69 |  | 58 | 123 | 0.016702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2771-2_0_3_line_70 |  | 59 | 125 | 0.0010104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2771-2_0_3_line_71 |  | 63 | 64 | 0.023506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2771-2_0_3_line_72 |  | 63 | 65 | 0.010947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2771-2_0_3_line_73 |  | 64 | 70 | 0.0071362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2771-2_0_3_line_74 |  | 65 | 71 | 0.024726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2771-2_0_3_line_75 |  | 67 | 72 | 0.035553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2771-2_0_3_line_76 |  | 67 | 73 | 0.035985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2771-2_0_3_line_77 |  | 67 | 74 | 0.022087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2771-2_0_3_line_78 |  | 70 | 95 | 0.013598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2771-2_0_3_line_79 |  | 71 | 79 | 0.018261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2771-2_0_3_line_80 |  | 71 | 77 | 0.015985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2771-2_0_3_line_81 |  | 72 | 75 | 0.02374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2771-2_0_3_line_82 |  | 73 | 82 | 0.0045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2771-2_0_3_line_83 |  | 74 | 78 | 0.012422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2771-2_0_3_line_84 |  | 74 | 76 | 0.025182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2771-2_0_3_line_85 |  | 76 | 77 | 0.0080001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2771-2_0_3_line_86 |  | 78 | 80 | 0.007833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2771-2_0_3_line_87 |  | 79 | 81 | 0.027056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2771-2_0_3_line_88 |  | 80 | 83 | 0.018442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2771-2_0_3_line_89 |  | 81 | 96 | 0.0083492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2771-2_0_3_line_90 |  | 83 | 109 | 0.0016087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2771-2_0_3_line_91 |  | 83 | 110 | 0.022666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2771-2_0_3_line_92 |  | 85 | 86 | 0.030348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2771-2_0_3_line_93 |  | 86 | 87 | 0.0078209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2771-2_0_3_line_94 |  | 87 | 88 | 0.016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2771-2_0_3_line_95 |  | 89 | 90 | 0.01439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2771-2_0_3_line_96 |  | 89 | 91 | 0.005116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2771-2_0_3_line_97 |  | 91 | 92 | 0.009048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2771-2_0_3_line_98 |  | 93 | 94 | 0.012526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2771-2_0_3_line_99 |  | 93 | 95 | 0.029095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2771-2_0_3_line_100 |  | 94 | 97 | 0.014788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2771-2_0_3_line_101 |  | 94 | 98 | 0.013452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2771-2_0_3_line_102 |  | 96 | 104 | 0.012205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2771-2_0_3_line_103 |  | 99 | 100 | 0.009381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2771-2_0_3_line_104 |  | 99 | 101 | 0.040261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2771-2_0_3_line_105 |  | 101 | 107 | 0.036218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2771-2_0_3_line_106 |  | 101 | 108 | 0.013122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2771-2_0_3_line_107 |  | 102 | 103 | 0.012611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2771-2_0_3_line_108 |  | 103 | 106 | 0.0083049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2771-2_0_3_line_109 |  | 104 | 105 | 0.0083063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2771-2_0_3_line_110 |  | 105 | 106 | 0.012123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2771-2_0_3_line_111 |  | 108 | 123 | 0.050972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2771-2_0_3_line_112 |  | 108 | 118 | 0.014281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2771-2_0_3_line_113 |  | 109 | 111 | 0.021719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2771-2_0_3_line_114 |  | 111 | 112 | 0.0014785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2771-2_0_3_line_115 |  | 112 | 121 | 0.019439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_2771-2_0_3_line_116 |  | 113 | 114 | 0.021042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_2771-2_0_3_line_117 |  | 113 | 115 | 4.5532e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_2771-2_0_3_line_118 |  | 114 | 116 | 0.00032444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_2771-2_0_3_line_119 |  | 115 | 117 | 6.8235e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_2771-2_0_3_line_120 |  | 116 | 118 | 0.022461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_2771-2_0_3_line_121 |  | 117 | 119 | 0.00010797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_2771-2_0_3_line_122 |  | 118 | 120 | 0.002629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_2771-2_0_3_line_123 |  | 120 | 122 | 0.023607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_2771-2_0_3_line_124 |  | 120 | 121 | 0.014327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2771-2_0_3_trafo_38 | 0.63 MVA 20/0.4 kV | 126 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2608659.6485 | 1262560.7192 | 2608677.4064 | 1262562.6105
1 | 2608687.1691 | 1262563.6502 | 2608677.4064 | 1262562.6105
2 | 2608653.9023 | 1262544.2218 | 2608654.4517 | 1262549.7264 | 2608652.6265 | 1262556.4617 | 2608659.6485 | 1262560.7192
3 | 2608625.9162 | 1262540.1674 | 2608637.9866 | 1262553.8275 | 2608646.0636 | 1262562.9566 | 2608646.4396 | 1262563.3797 | 2608650.4611 | 1262558.8824 | 2608651.5476 | 1262557.6721 | 2608652.6265 | 1262556.4617 | 2608659.6485 | 1262560.7192
4 | 2608708.2542 | 1262547.7145 | 2608707.2328 | 1262555.9186 | 2608704.9866 | 1262562.0417 | 2608699.9034 | 1262566.2261 | 2608696.0113 | 1262564.5971 | 2608687.1691 | 1262563.6502
5 | 2608653.9023 | 1262544.2218 | 2608656.2915 | 1262543.3136 | 2608658.1394 | 1262541.7152 | 2608659.3478 | 1262539.5932 | 2608659.7957 | 1262537.2034 | 2608659.415 | 1262534.79 | 2608658.2656 | 1262532.6425 | 2608656.4677 | 1262530.9832 | 2608655.6847 | 1262530.6485
6 | 2608625.9162 | 1262540.1674 | 2608620.9366 | 1262535.1901 | 2608618.0256 | 1262532.2839
7 | 2608625.9162 | 1262540.1674 | 2608610.6947 | 1262548.918 | 2608599.7177 | 1262550.0585 | 2608595.8134 | 1262548.8563
8 | 2608708.2542 | 1262547.7145 | 2608714.7586 | 1262547.8736
9 | 2608729.6505 | 1262540.4964 | 2608720.826 | 1262548.022 | 2608714.7586 | 1262547.8736
10 | 2608655.6847 | 1262530.6485 | 2608654.2243 | 1262530.0126 | 2608651.8668 | 1262529.8313 | 2608649.5759 | 1262530.4061
11 | 2608816.4799 | 1262444.9367 | 2608844.4618 | 1262467.1106
12 | 2608816.4799 | 1262444.9367 | 2608808.9997 | 1262456.072
13 | 2608858.2161 | 1262478.0101 | 2608844.4618 | 1262467.1106
14 | 2608792.2749 | 1262461.3343 | 2608801.7432 | 1262466.8743 | 2608808.9997 | 1262456.072
15 | 2608858.2161 | 1262478.0101 | 2608855.3051 | 1262495.4399 | 2608842.5873 | 1262517.2359
16 | 2608900.354 | 1262514.142 | 2608894.5331 | 1262512.8102 | 2608892.9367 | 1262507.3596 | 2608887.7625 | 1262501.7036 | 2608858.2161 | 1262478.0101
17 | 2608853.2018 | 1262537.0319 | 2608855.8469 | 1262531.2318 | 2608851.0902 | 1262523.4639 | 2608842.5873 | 1262517.2359
18 | 2608842.5873 | 1262517.2359 | 2608832.8178 | 1262511.751
19 | 2608900.354 | 1262514.142 | 2608896.1231 | 1262529.1515
20 | 2608792.8164 | 1262579.2491 | 2608783.3303 | 1262575.7105 | 2608772.8796 | 1262567.3005
21 | 2608792.8164 | 1262579.2491 | 2608800.4604 | 1262581.4436
22 | 2608772.8796 | 1262567.3005 | 2608765.1417 | 1262560.2044
23 | 2608814.0725 | 1262585.3514 | 2608800.4604 | 1262581.4436
24 | 2608769.0236 | 1262449.1473 | 2608765.1576 | 1262455.3236
25 | 2608769.0236 | 1262449.1473 | 2608759.9247 | 1262443.3522 | 2608752.1104 | 1262439.4102
26 | 2608765.1576 | 1262455.3236 | 2608756.0057 | 1262469.937
27 | 2608838.9114 | 1262593.2269 | 2608829.1234 | 1262590.1214
28 | 2608838.9114 | 1262593.2269 | 2608851.5827 | 1262597.6261
29 | 2608834.7506 | 1262574.7747 | 2608829.1234 | 1262590.1214
30 | 2608814.0725 | 1262585.3514 | 2608829.1234 | 1262590.1214
31 | 2608874.3117 | 1262605.8548 | 2608858.3059 | 1262599.9603 | 2608851.5827 | 1262597.6261
32 | 2608742.664 | 1262537.5579 | 2608733.794 | 1262545.3503 | 2608729.6505 | 1262540.4964
33 | 2608756.2546 | 1262552.0545 | 2608748.9575 | 1262545.3614 | 2608742.664 | 1262537.5579
34 | 2608742.664 | 1262537.5579 | 2608735.4055 | 1262523.406
35 | 2608618.0256 | 1262532.2839 | 2608608.1462 | 1262522.4173
36 | 2608585.1331 | 1262545.5677 | 2608595.8134 | 1262548.8563
37 | 2608673.8184 | 1262317.1511 | 2608675.4889 | 1262318.3766 | 2608685.3828 | 1262326.7523 | 2608689.9107 | 1262331.5955
38 | 2608689.9107 | 1262331.5955 | 2608704.4795 | 1262347.1719
39 | 2608689.9107 | 1262331.5955 | 2608680.7083 | 1262342.4769
40 | 2608657.4889 | 1262305.1747 | 2608673.8184 | 1262317.1511
41 | 2608673.8184 | 1262317.1511 | 2608664.819 | 1262328.7298
42 | 2608704.4795 | 1262347.1719 | 2608695.0235 | 1262357.0765
43 | 2608704.4795 | 1262347.1719 | 2608714.1595 | 1262357.5264 | 2608740.9394 | 1262382.7685
44 | 2608874.3117 | 1262605.8548 | 2608877.3782 | 1262595.3633 | 2608882.4974 | 1262577.2029
45 | 2608882.4974 | 1262577.2029 | 2608888.1766 | 1262557.3423 | 2608889.095 | 1262554.0843
46 | 2608605.3638 | 1262270.9314 | 2608630.221 | 1262288.1458 | 2608640.195 | 1262293.2971 | 2608657.4889 | 1262305.1747
47 | 2608657.4889 | 1262305.1747 | 2608648.8855 | 1262315.0727
48 | 2608664.09 | 1262329.6677 | 2608664.819 | 1262328.7298
49 | 2608893.8515 | 1262537.2101 | 2608896.1231 | 1262529.1515
50 | 2608893.8515 | 1262537.2101 | 2608889.095 | 1262554.0843
51 | 2608756.4496 | 1262552.2334 | 2608756.2546 | 1262552.0545
52 | 2608729.2874 | 1262510.6533 | 2608734.0635 | 1262520.7894 | 2608735.4055 | 1262523.406
53 | 2608832.8178 | 1262511.751 | 2608827.7265 | 1262508.895
54 | 2608756.4496 | 1262552.2334 | 2608765.1417 | 1262560.2044
55 | 2608814.0725 | 1262585.3514 | 2608817.2412 | 1262576.9281 | 2608820.7801 | 1262567.7826 | 2608825.7606 | 1262556.7706
56 | 2608755.1605 | 1262471.2865 | 2608756.0057 | 1262469.937
57 | 2608729.2874 | 1262510.6533 | 2608724.0718 | 1262502.3622 | 2608721.8773 | 1262498.8677 | 2608715.7723 | 1262490.831
58 | 2608715.7723 | 1262490.831 | 2608712.3891 | 1262486.323 | 2608707.1113 | 1262479.2883 | 2608704.5169 | 1262476.2268
59 | 2608715.7723 | 1262490.831 | 2608723.0609 | 1262479.5956
60 | 2608729.2874 | 1262510.6533 | 2608734.6681 | 1262504.001 | 2608746.2623 | 1262485.4918
61 | 2608690.1172 | 1262458.5382 | 2608698.2081 | 1262468.4679 | 2608704.5169 | 1262476.2268
62 | 2608704.5169 | 1262476.2268 | 2608693.5766 | 1262483.0933 | 2608687.7452 | 1262488.8999
63 | 2608755.1605 | 1262471.2865 | 2608746.2623 | 1262485.4918
64 | 2608667.2805 | 1262430.4301 | 2608678.2369 | 1262443.6106 | 2608684.1994 | 1262451.1912 | 2608690.1172 | 1262458.5382
65 | 2608690.1172 | 1262458.5382 | 2608713.3524 | 1262440.5931 | 2608701.1374 | 1262426.1233
66 | 2608590.0474 | 1262506.9595 | 2608600.4768 | 1262514.7577 | 2608608.1462 | 1262522.4173
67 | 2608694.7696 | 1262357.3424 | 2608695.0235 | 1262357.0765
68 | 2608556.5418 | 1262275.7644 | 2608552.485 | 1262273.2791 | 2608568.5452 | 1262247.5068 | 2608605.3638 | 1262270.9314
69 | 2608605.3638 | 1262270.9314 | 2608596.1156 | 1262284.8387
70 | 2608648.2227 | 1262315.8352 | 2608648.8855 | 1262315.0727
71 | 2608610.522 | 1262485.997 | 2608609.7541 | 1262485.6734 | 2608588.8686 | 1262476.8493
72 | 2608610.522 | 1262485.997 | 2608614.4106 | 1262475.7636
73 | 2608588.8686 | 1262476.8493 | 2608582.295 | 1262474.072
74 | 2608624.5505 | 1262453.2282 | 2608616.5562 | 1262470.117 | 2608614.4106 | 1262475.7636
75 | 2608667.2805 | 1262430.4301 | 2608678.2369 | 1262443.6106 | 2608663.3209 | 1262454.4074
76 | 2608667.2805 | 1262430.4301 | 2608690.3478 | 1262408.9046 | 2608687.4926 | 1262405.5122
77 | 2608653.1507 | 1262413.4202 | 2608667.2805 | 1262430.4301
78 | 2608582.295 | 1262474.072 | 2608569.7694 | 1262468.78
79 | 2608624.5505 | 1262453.2282 | 2608620.673 | 1262446.6736 | 2608611.3594 | 1262441.5174
80 | 2608624.5505 | 1262453.2282 | 2608633.6174 | 1262440.0636
81 | 2608644.054 | 1262468.3557 | 2608663.3209 | 1262454.4074
82 | 2608684.595 | 1262402.0693 | 2608687.4926 | 1262405.5122
83 | 2608653.1507 | 1262413.4202 | 2608650.5188 | 1262410.2475 | 2608645.2146 | 1262403.8642
84 | 2608653.1507 | 1262413.4202 | 2608649.0245 | 1262417.3169 | 2608647.6511 | 1262418.9938 | 2608642.6616 | 1262426.0025 | 2608641.3558 | 1262427.7573 | 2608637.9011 | 1262433.3204
85 | 2608633.6174 | 1262440.0636 | 2608636.523 | 1262435.8447 | 2608637.5201 | 1262433.9338 | 2608637.9011 | 1262433.3204
86 | 2608640.2086 | 1262397.8396 | 2608645.2146 | 1262403.8642
87 | 2608611.3594 | 1262441.5174 | 2608587.6884 | 1262428.4128
88 | 2608628.4253 | 1262383.6529 | 2608635.0805 | 1262391.668 | 2608640.2086 | 1262397.8396
89 | 2608587.6884 | 1262428.4128 | 2608580.3839 | 1262424.3689
90 | 2608628.4253 | 1262383.6529 | 2608627.397 | 1262382.4157
91 | 2608611.4391 | 1262398.7164 | 2608628.4253 | 1262383.6529
92 | 2608801.2585 | 1262494.0478 | 2608827.7265 | 1262508.895
93 | 2608801.2585 | 1262494.0478 | 2608796.9406 | 1262500.5685
94 | 2608788.1069 | 1262513.9086 | 2608796.9406 | 1262500.5685
95 | 2608590.0474 | 1262506.9595 | 2608599.1008 | 1262495.7749
96 | 2608590.0474 | 1262506.9595 | 2608585.9465 | 1262503.8849
97 | 2608579.5944 | 1262510.3468 | 2608585.9465 | 1262503.8849
98 | 2608541.6516 | 1262473.4004 | 2608546.2483 | 1262461.7434
99 | 2608541.6516 | 1262473.4004 | 2608566.5791 | 1262467.4321 | 2608569.7694 | 1262468.78
100 | 2608546.2483 | 1262461.7434 | 2608556.1751 | 1262462.8696 | 2608557.9819 | 1262458.3913
101 | 2608546.2483 | 1262461.7434 | 2608544.0359 | 1262454.9134 | 2608540.137 | 1262449.9997
102 | 2608580.3839 | 1262424.3689 | 2608569.7059 | 1262418.4573
103 | 2608537.019 | 1262294.5826 | 2608538.8928 | 1262285.3902
104 | 2608537.019 | 1262294.5826 | 2608555.0017 | 1262304.3484 | 2608564.8902 | 1262311.3118 | 2608570.9171 | 1262316.2461
105 | 2608551.1292 | 1262346.6162 | 2608570.9171 | 1262316.2461
106 | 2608579.9507 | 1262325.7878 | 2608570.9171 | 1262316.2461
107 | 2608544.5675 | 1262404.5402 | 2608533.5341 | 1262398.4319
108 | 2608551.8333 | 1262408.5627 | 2608544.5675 | 1262404.5402
109 | 2608569.7059 | 1262418.4573 | 2608562.4389 | 1262414.4342
110 | 2608562.4389 | 1262414.4342 | 2608551.8333 | 1262408.5627
111 | 2608579.9507 | 1262325.7878 | 2608577.8797 | 1262314.8996 | 2608585.0665 | 1262304.325 | 2608586.0982 | 1262294.075 | 2608592.9178 | 1262292.6505 | 2608597.3951 | 1262285.6188 | 2608596.1156 | 1262284.8387
112 | 2608579.9507 | 1262325.7878 | 2608587.6365 | 1262334.8384 | 2608589.1932 | 1262336.6752
113 | 2608627.397 | 1262382.4157 | 2608613.5141 | 1262365.7127
114 | 2608612.5691 | 1262364.5756 | 2608613.5141 | 1262365.7127
115 | 2608600.1435 | 1262349.6259 | 2608612.5691 | 1262364.5756
116 | 2608562.0074 | 1262370.8955 | 2608568.2543 | 1262360.6837 | 2608574.2168 | 1262353.8472
117 | 2608562.0074 | 1262370.8955 | 2608561.9836 | 1262370.9343
118 | 2608574.43 | 1262353.6027 | 2608574.2168 | 1262353.8472
119 | 2608561.9836 | 1262370.9343 | 2608561.948 | 1262370.9926
120 | 2608589.1932 | 1262336.6752 | 2608574.43 | 1262353.6027
121 | 2608561.948 | 1262370.9926 | 2608561.8917 | 1262371.0847
122 | 2608590.9003 | 1262338.6791 | 2608589.1932 | 1262336.6752
123 | 2608590.9003 | 1262338.6791 | 2608598.9076 | 1262328.5504 | 2608597.3776 | 1262323.8338 | 2608598.2898 | 1262318.1535
124 | 2608590.9003 | 1262338.6791 | 2608597.9844 | 1262347.0283 | 2608600.1435 | 1262349.6259

## bus_geodata
| x | y | coords
0 | 2608677.4064 | 1262562.6105
1 | 2608659.6485 | 1262560.7192
2 | 2608687.1691 | 1262563.6502
3 | 2608653.9023 | 1262544.2218
4 | 2608625.9162 | 1262540.1674
5 | 2608708.2542 | 1262547.7145
6 | 2608714.7586 | 1262547.8736
7 | 2608655.6847 | 1262530.6485
8 | 2608816.4799 | 1262444.9367
9 | 2608844.4618 | 1262467.1106
10 | 2608808.9997 | 1262456.072
11 | 2608858.2161 | 1262478.0101
12 | 2608842.5873 | 1262517.2359
13 | 2608900.354 | 1262514.142
14 | 2608792.8164 | 1262579.2491
15 | 2608772.8796 | 1262567.3005
16 | 2608800.4604 | 1262581.4436
17 | 2608769.0236 | 1262449.1473
18 | 2608765.1576 | 1262455.3236
19 | 2608752.1104 | 1262439.4102
20 | 2608838.9114 | 1262593.2269
21 | 2608829.1234 | 1262590.1214
22 | 2608851.5827 | 1262597.6261
23 | 2608729.6505 | 1262540.4964
24 | 2608742.664 | 1262537.5579
25 | 2608618.0256 | 1262532.2839
26 | 2608595.8134 | 1262548.8563
27 | 2608689.9107 | 1262331.5955
28 | 2608673.8184 | 1262317.1511
29 | 2608704.4795 | 1262347.1719
30 | 2608680.7083 | 1262342.4769
31 | 2608874.3117 | 1262605.8548
32 | 2608882.4974 | 1262577.2029
33 | 2608657.4889 | 1262305.1747
34 | 2608664.819 | 1262328.7298
35 | 2608896.1231 | 1262529.1515
36 | 2608889.095 | 1262554.0843
37 | 2608756.2546 | 1262552.0545
38 | 2608735.4055 | 1262523.406
39 | 2608649.5759 | 1262530.4061
40 | 2608792.2749 | 1262461.3343
41 | 2608853.2018 | 1262537.0319
42 | 2608832.8178 | 1262511.751
43 | 2608765.1417 | 1262560.2044
44 | 2608814.0725 | 1262585.3514
45 | 2608740.9394 | 1262382.7685
46 | 2608756.0057 | 1262469.937
47 | 2608834.7506 | 1262574.7747
48 | 2608715.7723 | 1262490.831
49 | 2608729.2874 | 1262510.6533
50 | 2608704.5169 | 1262476.2268
51 | 2608723.0609 | 1262479.5956
52 | 2608746.2623 | 1262485.4918
53 | 2608690.1172 | 1262458.5382
54 | 2608687.7452 | 1262488.8999
55 | 2608608.1462 | 1262522.4173
56 | 2608585.1331 | 1262545.5677
57 | 2608695.0235 | 1262357.0765
58 | 2608605.3638 | 1262270.9314
59 | 2608648.8855 | 1262315.0727
60 | 2608664.09 | 1262329.6677
61 | 2608893.8515 | 1262537.2101
62 | 2608756.4496 | 1262552.2334
63 | 2608610.522 | 1262485.997
64 | 2608588.8686 | 1262476.8493
65 | 2608614.4106 | 1262475.7636
66 | 2608755.1605 | 1262471.2865
67 | 2608667.2805 | 1262430.4301
68 | 2608701.1374 | 1262426.1233
69 | 2608825.7606 | 1262556.7706
70 | 2608582.295 | 1262474.072
71 | 2608624.5505 | 1262453.2282
72 | 2608663.3209 | 1262454.4074
73 | 2608687.4926 | 1262405.5122
74 | 2608653.1507 | 1262413.4202
75 | 2608644.054 | 1262468.3557
76 | 2608637.9011 | 1262433.3204
77 | 2608633.6174 | 1262440.0636
78 | 2608645.2146 | 1262403.8642
79 | 2608611.3594 | 1262441.5174
80 | 2608640.2086 | 1262397.8396
81 | 2608587.6884 | 1262428.4128
82 | 2608684.595 | 1262402.0693
83 | 2608628.4253 | 1262383.6529
84 | 2608694.7696 | 1262357.3424
85 | 2608827.7265 | 1262508.895
86 | 2608801.2585 | 1262494.0478
87 | 2608796.9406 | 1262500.5685
88 | 2608788.1069 | 1262513.9086
89 | 2608590.0474 | 1262506.9595
90 | 2608599.1008 | 1262495.7749
91 | 2608585.9465 | 1262503.8849
92 | 2608579.5944 | 1262510.3468
93 | 2608541.6516 | 1262473.4004
94 | 2608546.2483 | 1262461.7434
95 | 2608569.7694 | 1262468.78
96 | 2608580.3839 | 1262424.3689
97 | 2608557.9819 | 1262458.3913
98 | 2608540.137 | 1262449.9997
99 | 2608537.019 | 1262294.5826
100 | 2608538.8928 | 1262285.3902
101 | 2608570.9171 | 1262316.2461
102 | 2608533.5341 | 1262398.4319
103 | 2608544.5675 | 1262404.5402
104 | 2608569.7059 | 1262418.4573
105 | 2608562.4389 | 1262414.4342
106 | 2608551.8333 | 1262408.5627
107 | 2608551.1292 | 1262346.6162
108 | 2608579.9507 | 1262325.7878
109 | 2608627.397 | 1262382.4157
110 | 2608611.4391 | 1262398.7164
111 | 2608613.5141 | 1262365.7127
112 | 2608612.5691 | 1262364.5756
113 | 2608562.0074 | 1262370.8955
114 | 2608574.2167 | 1262353.8472
115 | 2608561.9836 | 1262370.9343
116 | 2608574.43 | 1262353.6027
117 | 2608561.948 | 1262370.9926
118 | 2608589.1932 | 1262336.6752
119 | 2608561.8917 | 1262371.0847
120 | 2608590.9003 | 1262338.6791
121 | 2608600.1435 | 1262349.6259
122 | 2608598.2898 | 1262318.1535
123 | 2608596.1156 | 1262284.8387
124 | 2608556.5418 | 1262275.7644
125 | 2608648.2227 | 1262315.8352
126 | 2608721.9274 | 1262469.759

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1