## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2771-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2771-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2771-7_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2771-7_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_2771-7_0_4_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_2771-7_0_4_node_112 | 0.4 | n |  | TRUE
6 | bus_LV_2771-7_0_4_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_2771-7_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2771-7_0_4_node_81 | 0.4 | n |  | TRUE
9 | bus_LV_2771-7_0_4_node_71 | 0.4 | n |  | TRUE
10 | bus_LV_2771-7_0_4_node_80 | 0.4 | n |  | TRUE
11 | bus_LV_2771-7_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2771-7_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2771-7_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2771-7_0_4_node_69 | 0.4 | n |  | TRUE
15 | bus_LV_2771-7_0_4_node_70 | 0.4 | n |  | TRUE
16 | bus_LV_2771-7_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_2771-7_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2771-7_0_4_node_72 | 0.4 | n |  | TRUE
19 | bus_LV_2771-7_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2771-7_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2771-7_0_4_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_2771-7_0_4_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_2771-7_0_4_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_2771-7_0_4_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_2771-7_0_4_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_2771-7_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2771-7_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_2771-7_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_2771-7_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_2771-7_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_2771-7_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_2771-7_0_4_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_2771-7_0_4_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_2771-7_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_2771-7_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_2771-7_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_2771-7_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_2771-7_0_4_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_2771-7_0_4_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_2771-7_0_4_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_2771-7_0_4_node_74 | 0.4 | n |  | TRUE
42 | bus_LV_2771-7_0_4_node_62 | 0.4 | n |  | TRUE
43 | bus_LV_2771-7_0_4_node_63 | 0.4 | n |  | TRUE
44 | bus_LV_2771-7_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_2771-7_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_2771-7_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_2771-7_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_2771-7_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_2771-7_0_4_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_2771-7_0_4_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_2771-7_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_2771-7_0_4_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_2771-7_0_4_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_2771-7_0_4_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_2771-7_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_2771-7_0_4_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_2771-7_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_2771-7_0_4_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_2771-7_0_4_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_2771-7_0_4_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_2771-7_0_4_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_2771-7_0_4_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_2771-7_0_4_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_2771-7_0_4_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_2771-7_0_4_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_2771-7_0_4_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_2771-7_0_4_node_116 | 0.4 | n |  | TRUE
68 | bus_LV_2771-7_0_4_node_114 | 0.4 | n |  | TRUE
69 | bus_LV_2771-7_0_4_node_111 | 0.4 | n |  | TRUE
70 | bus_LV_2771-7_0_4_node_113 | 0.4 | n |  | TRUE
71 | bus_LV_2771-7_0_4_node_110 | 0.4 | n |  | TRUE
72 | bus_LV_2771-7_0_4_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_2771-7_0_4_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_2771-7_0_4_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_2771-7_0_4_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_2771-7_0_4_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_2771-7_0_4_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_2771-7_0_4_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_2771-7_0_4_node_84 | 0.4 | n |  | TRUE
80 | bus_LV_2771-7_0_4_node_102 | 0.4 | n |  | TRUE
81 | bus_LV_2771-7_0_4_node_115 | 0.4 | n |  | TRUE
82 | bus_LV_2771-7_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_2771-7_0_4_node_86 | 0.4 | n |  | TRUE
84 | bus_LV_2771-7_0_4_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_2771-7_0_4_node_100 | 0.4 | n |  | TRUE
86 | bus_LV_2771-7_0_4_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_2771-7_0_4_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_2771-7_0_4_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_2771-7_0_4_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_2771-7_0_4_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_2771-7_0_4_node_95 | 0.4 | n |  | TRUE
92 | bus_LV_2771-7_0_4_node_97 | 0.4 | n |  | TRUE
93 | bus_LV_2771-7_0_4_node_94 | 0.4 | n |  | TRUE
94 | bus_LV_2771-7_0_4_node_98 | 0.4 | n |  | TRUE
95 | bus_LV_2771-7_0_4_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_2771-7_0_4_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_2771-7_0_4_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_2771-7_0_4_node_90 | 0.4 | n |  | TRUE
99 | bus_LV_2771-7_0_4_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_2771-7_0_4_node_93 | 0.4 | n |  | TRUE
101 | bus_LV_2771-7_0_4_node_109 | 0.4 | n |  | TRUE
102 | bus_LV_2771-7_0_4_node_92 | 0.4 | n |  | TRUE
103 | bus_LV_2771-7_0_4_node_96 | 0.4 | n |  | TRUE
104 | bus_LV_2771-7_0_4_node_99 | 0.4 | n |  | TRUE
105 | bus_LV_2771-7_0_4_node_101 | 0.4 | n |  | TRUE
106 | bus_LV_2771-7_0_4_node_103 | 0.4 | n |  | TRUE
107 | bus_LV_2771-7_0_4_node_104 | 0.4 | n |  | TRUE
108 | bus_LV_2771-7_0_4_node_105 | 0.4 | n |  | TRUE
109 | bus_LV_2771-7_0_4_node_106 | 0.4 | n |  | TRUE
110 | bus_LV_2771-7_0_4_node_107 | 0.4 | n |  | TRUE
111 | bus_LV_2771-7_0_4_node_108 | 0.4 | n |  | TRUE
112 | bus_MV_569_0_node_158 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2771-7_0_4_load_0 | 0 | 0.037543 | 0.0094092 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2771-7_0_4_load_5 | 3 | 0.0083454 | 0.0020916 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2771-7_0_4_load_112 | 5 | 0.0048194 | 0.0012079 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2771-7_0_4_load_6 | 7 | 0.016792 | 0.0042084 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2771-7_0_4_load_81 | 8 | 0.0043995 | 0.0011026 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2771-7_0_4_load_80 | 10 | 0.0074174 | 0.001859 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2771-7_0_4_load_9 | 12 | 0.001129 | 0.00028296 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2771-7_0_4_load_10 | 13 | 0.0010792 | 0.00027048 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2771-7_0_4_load_69 | 14 | 0.0054268 | 0.0013601 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2771-7_0_4_load_70 | 15 | 0.0037405 | 0.00093746 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2771-7_0_4_load_15 | 16 | 0.017529 | 0.0043932 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2771-7_0_4_load_11 | 17 | 0.0014861 | 0.00037246 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2771-7_0_4_load_72 | 18 | 0.0075844 | 0.0019008 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2771-7_0_4_load_12 | 19 | 0.0017976 | 0.00045052 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2771-7_0_4_load_14 | 20 | 0.0018682 | 0.00046821 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2771-7_0_4_load_29 | 21 | 0.0017614 | 0.00044144 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2771-7_0_4_load_27 | 22 | 0.001881 | 0.00047143 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2771-7_0_4_load_32 | 23 | 0.0052549 | 0.001317 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2771-7_0_4_load_73 | 24 | 0.0037199 | 0.00093229 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2771-7_0_4_load_28 | 25 | 0.0063929 | 0.0016022 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2771-7_0_4_load_16 | 26 | 0.0031364 | 0.00078605 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2771-7_0_4_load_19 | 29 | 0.021304 | 0.0053394 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2771-7_0_4_load_24 | 30 | 0.0049763 | 0.0012472 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2771-7_0_4_load_20 | 31 | 0.0025348 | 0.00063528 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2771-7_0_4_load_30 | 32 | 0.0060824 | 0.0015244 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2771-7_0_4_load_38 | 33 | 0.0027144 | 0.00068029 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2771-7_0_4_load_31 | 35 | 0.0043425 | 0.0010883 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2771-7_0_4_load_23 | 37 | 0.0012587 | 0.00031545 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2771-7_0_4_load_57 | 38 | 0.003428 | 0.00085913 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2771-7_0_4_load_55 | 39 | 0.0020112 | 0.00050406 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2771-7_0_4_load_39 | 40 | 0.0028982 | 0.00072636 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2771-7_0_4_load_62 | 42 | 0.0025687 | 0.00064378 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2771-7_0_4_load_63 | 43 | 0.0063034 | 0.0015798 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2771-7_0_4_load_33 | 44 | 0.0022416 | 0.00056179 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2771-7_0_4_load_34 | 45 | 0.0012841 | 0.00032182 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2771-7_0_4_load_35 | 46 | 0.0048732 | 0.0012213 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2771-7_0_4_load_36 | 47 | 0.0064357 | 0.0016129 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2771-7_0_4_load_37 | 48 | 0.011139 | 0.0027916 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2771-7_0_4_load_56 | 49 | 0.0029938 | 0.00075031 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2771-7_0_4_load_61 | 54 | 0.010405 | 0.0026077 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2771-7_0_4_load_40 | 55 | 0.0024068 | 0.0006032 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2771-7_0_4_load_41 | 56 | 0.0016002 | 0.00040105 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2771-7_0_4_load_42 | 57 | 0.0013921 | 0.00034889 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2771-7_0_4_load_58 | 58 | 0.0075727 | 0.0018979 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2771-7_0_4_load_59 | 59 | 0.0072736 | 0.0018229 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2771-7_0_4_load_44 | 60 | 0.0031474 | 0.00078882 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2771-7_0_4_load_49 | 65 | 0.0045609 | 0.0011431 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2771-7_0_4_load_50 | 66 | 0.0028799 | 0.00072177 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2771-7_0_4_load_116 | 67 | 0.002668 | 0.00066867 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2771-7_0_4_load_114 | 68 | 0.0036603 | 0.00091735 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2771-7_0_4_load_113 | 70 | 0.0016476 | 0.00041293 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2771-7_0_4_load_51 | 72 | 0.0023253 | 0.00058278 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2771-7_0_4_load_54 | 75 | 0.0020031 | 0.00050202 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2771-7_0_4_load_60 | 76 | 0.0032624 | 0.00081764 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2771-7_0_4_load_66 | 77 | 0.0054235 | 0.0013592 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2771-7_0_4_load_102 | 80 | 0.0058354 | 0.0014625 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2771-7_0_4_load_115 | 81 | 0.002442 | 0.00061202 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2771-7_0_4_load_76 | 82 | 0.013447 | 0.0033703 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2771-7_0_4_load_86 | 83 | 0.003279 | 0.00082179 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2771-7_0_4_load_82 | 84 | 0.021236 | 0.0053221 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2771-7_0_4_load_100 | 85 | 0.0027841 | 0.00069776 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2771-7_0_4_load_78 | 86 | 0.0033976 | 0.00085152 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2771-7_0_4_load_77 | 87 | 0.0084092 | 0.0021075 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2771-7_0_4_load_79 | 88 | 0.017825 | 0.0044674 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2771-7_0_4_load_95 | 91 | 0.0021418 | 0.00053679 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2771-7_0_4_load_97 | 92 | 0.0068949 | 0.001728 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2771-7_0_4_load_94 | 93 | 0.0019096 | 0.00047858 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2771-7_0_4_load_98 | 94 | 0.0036116 | 0.00090515 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2771-7_0_4_load_87 | 95 | 0.0035351 | 0.00088599 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2771-7_0_4_load_88 | 96 | 0.0010377 | 0.00026008 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2771-7_0_4_load_90 | 98 | 0.003517 | 0.00088143 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2771-7_0_4_load_93 | 100 | 0.0056983 | 0.0014281 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2771-7_0_4_load_109 | 101 | 0.0018508 | 0.00046387 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2771-7_0_4_load_96 | 103 | 0.0036557 | 0.0009162 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2771-7_0_4_load_99 | 104 | 0.0030396 | 0.0007618 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2771-7_0_4_load_101 | 105 | 0.0061266 | 0.0015355 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2771-7_0_4_load_103 | 106 | 0.0032461 | 0.00081356 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2771-7_0_4_load_104 | 107 | 0.0070514 | 0.0017672 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2771-7_0_4_load_105 | 108 | 0.0018287 | 0.00045832 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2771-7_0_4_load_106 | 109 | 0.0016929 | 0.00042428 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2771-7_0_4_load_107 | 110 | 0.0078272 | 0.0019617 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 81 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2771-7_0_4_line_0 |  | 0 | 1 | 0.035696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2771-7_0_4_line_1 |  | 1 | 2 | 0.07783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2771-7_0_4_line_2 |  | 2 | 3 | 0.018401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2771-7_0_4_line_3 |  | 3 | 7 | 0.0099288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2771-7_0_4_line_4 |  | 4 | 5 | 0.025408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2771-7_0_4_line_5 |  | 4 | 6 | 0.021817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2771-7_0_4_line_6 |  | 6 | 16 | 0.036755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2771-7_0_4_line_7 |  | 6 | 17 | 0.0087371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2771-7_0_4_line_8 |  | 7 | 11 | 0.022147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2771-7_0_4_line_9 |  | 8 | 9 | 0.014981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2771-7_0_4_line_10 |  | 8 | 10 | 0.027446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2771-7_0_4_line_11 |  | 9 | 86 | 0.032587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2771-7_0_4_line_12 |  | 9 | 15 | 0.028761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2771-7_0_4_line_13 |  | 11 | 12 | 0.031225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2771-7_0_4_line_14 |  | 11 | 13 | 0.012416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2771-7_0_4_line_15 |  | 12 | 14 | 0.00032676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2771-7_0_4_line_16 |  | 13 | 15 | 0.015323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2771-7_0_4_line_17 |  | 15 | 18 | 0.01277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2771-7_0_4_line_18 |  | 16 | 23 | 0.031342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2771-7_0_4_line_19 |  | 17 | 19 | 0.0028323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2771-7_0_4_line_20 |  | 19 | 20 | 0.024724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2771-7_0_4_line_21 |  | 20 | 21 | 0.016379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2771-7_0_4_line_22 |  | 20 | 22 | 0.010383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2771-7_0_4_line_23 |  | 21 | 24 | 0.0017465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2771-7_0_4_line_24 |  | 22 | 25 | 0.0079411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2771-7_0_4_line_25 |  | 24 | 41 | 0.037659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2771-7_0_4_line_26 |  | 26 | 27 | 0.010238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2771-7_0_4_line_27 |  | 27 | 28 | 0.010825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2771-7_0_4_line_28 |  | 27 | 29 | 0.027156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2771-7_0_4_line_29 |  | 28 | 30 | 0.021321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2771-7_0_4_line_30 |  | 28 | 31 | 0.014679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2771-7_0_4_line_31 |  | 29 | 32 | 0.0095207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2771-7_0_4_line_32 |  | 30 | 33 | 0.0020226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2771-7_0_4_line_33 |  | 31 | 34 | 0.010419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2771-7_0_4_line_34 |  | 32 | 35 | 0.0011801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2771-7_0_4_line_35 |  | 33 | 40 | 0.020768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2771-7_0_4_line_36 |  | 34 | 36 | 0.016484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2771-7_0_4_line_37 |  | 34 | 37 | 0.026716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2771-7_0_4_line_38 |  | 35 | 42 | 0.024784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2771-7_0_4_line_39 |  | 36 | 38 | 0.01195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2771-7_0_4_line_40 |  | 38 | 39 | 0.027702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2771-7_0_4_line_41 |  | 39 | 74 | 0.031407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2771-7_0_4_line_42 |  | 40 | 54 | 0.0020724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2771-7_0_4_line_43 |  | 41 | 87 | 0.019523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_2771-7_0_4_line_44 |  | 41 | 86 | 0.012833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2771-7_0_4_line_45 |  | 42 | 43 | 0.0081959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2771-7_0_4_line_46 |  | 43 | 77 | 0.021164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2771-7_0_4_line_47 |  | 44 | 45 | 0.009538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2771-7_0_4_line_48 |  | 44 | 46 | 0.013692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2771-7_0_4_line_49 |  | 45 | 47 | 0.020182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2771-7_0_4_line_50 |  | 46 | 48 | 0.0044889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2771-7_0_4_line_51 |  | 47 | 49 | 0.025858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2771-7_0_4_line_52 |  | 48 | 50 | 0.017463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2771-7_0_4_line_53 |  | 49 | 51 | 0.0047384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2771-7_0_4_line_54 |  | 50 | 52 | 0.009577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2771-7_0_4_line_55 |  | 50 | 53 | 0.046086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_2771-7_0_4_line_56 |  | 51 | 58 | 0.020154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2771-7_0_4_line_57 |  | 51 | 57 | 0.014578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2771-7_0_4_line_58 |  | 52 | 79 | 0.029734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2771-7_0_4_line_59 |  | 52 | 80 | 0.04002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2771-7_0_4_line_60 |  | 53 | 81 | 0.026229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_2771-7_0_4_line_61 |  | 53 | 78 | 0.014551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_2771-7_0_4_line_62 |  | 55 | 56 | 0.020508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2771-7_0_4_line_63 |  | 55 | 57 | 0.0052058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2771-7_0_4_line_64 |  | 58 | 59 | 0.026677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2771-7_0_4_line_65 |  | 59 | 76 | 0.0060931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2771-7_0_4_line_66 |  | 60 | 61 | 0.016955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2771-7_0_4_line_67 |  | 60 | 62 | 0.017618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2771-7_0_4_line_68 |  | 61 | 63 | 0.007402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2771-7_0_4_line_69 |  | 61 | 64 | 0.041166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2771-7_0_4_line_70 |  | 62 | 65 | 0.009013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2771-7_0_4_line_71 |  | 62 | 66 | 0.02379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2771-7_0_4_line_72 |  | 63 | 67 | 0.011816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2771-7_0_4_line_73 |  | 64 | 68 | 0.009983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2771-7_0_4_line_74 |  | 64 | 69 | 0.059305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2771-7_0_4_line_75 |  | 69 | 70 | 0.004196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2771-7_0_4_line_76 |  | 69 | 71 | 0.010627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2771-7_0_4_line_77 |  | 71 | 101 | 0.015185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2771-7_0_4_line_78 |  | 71 | 111 | 0.009006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2771-7_0_4_line_79 |  | 72 | 73 | 0.0064638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2771-7_0_4_line_80 |  | 72 | 74 | 0.012283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2771-7_0_4_line_81 |  | 73 | 75 | 0.008699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2771-7_0_4_line_82 |  | 77 | 78 | 0.032843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2771-7_0_4_line_83 |  | 78 | 82 | 0.0046035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_2771-7_0_4_line_84 |  | 79 | 83 | 0.02153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2771-7_0_4_line_85 |  | 79 | 84 | 0.0052484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2771-7_0_4_line_86 |  | 80 | 85 | 0.02242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2771-7_0_4_line_87 |  | 82 | 88 | 0.012529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_2771-7_0_4_line_88 |  | 83 | 92 | 0.018666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2771-7_0_4_line_89 |  | 84 | 89 | 0.019987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2771-7_0_4_line_90 |  | 85 | 105 | 0.0066978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2771-7_0_4_line_91 |  | 87 | 88 | 0.016305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_2771-7_0_4_line_92 |  | 89 | 90 | 0.04862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2771-7_0_4_line_93 |  | 90 | 91 | 0.0071965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2771-7_0_4_line_94 |  | 91 | 93 | 0.033172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2771-7_0_4_line_95 |  | 92 | 94 | 0.0065709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2771-7_0_4_line_96 |  | 93 | 102 | 0.03623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2771-7_0_4_line_97 |  | 94 | 104 | 0.031725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2771-7_0_4_line_98 |  | 95 | 96 | 0.019421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2771-7_0_4_line_99 |  | 95 | 97 | 0.024059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2771-7_0_4_line_100 |  | 96 | 98 | 0.005099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2771-7_0_4_line_101 |  | 97 | 99 | 0.005484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2771-7_0_4_line_102 |  | 98 | 100 | 0.022787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2771-7_0_4_line_103 |  | 99 | 101 | 0.017665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2771-7_0_4_line_104 |  | 102 | 103 | 0.008122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2771-7_0_4_line_105 |  | 105 | 106 | 0.012419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2771-7_0_4_line_106 |  | 106 | 107 | 0.013933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2771-7_0_4_line_107 |  | 107 | 108 | 0.0057167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2771-7_0_4_line_108 |  | 108 | 109 | 0.019937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2771-7_0_4_line_109 |  | 109 | 110 | 0.00066357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2771-7_0_4_line_110 |  | 110 | 111 | 0.026382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2771-7_0_4_trafo_115 | 0.63 MVA 20/0.4 kV | 112 | 81 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2608733.794 | 1262545.3503 | 2608715.8578 | 1262561.1126 | 2608706.2638 | 1262568.0129
1 | 2608733.794 | 1262545.3503 | 2608742.664 | 1262537.5579 | 2608748.9575 | 1262545.3614 | 2608756.2546 | 1262552.0545 | 2608772.8796 | 1262567.3005 | 2608783.3303 | 1262575.7105 | 2608792.8164 | 1262579.2491
2 | 2608792.8164 | 1262579.2491 | 2608788.6224 | 1262597.1657
3 | 2608788.6224 | 1262597.1657 | 2608786.3593 | 1262606.8332
4 | 2608829.4322 | 1262640.9788 | 2608818.703 | 1262627.4759 | 2608818.1577 | 1262619.314
5 | 2608825.4683 | 1262662.4321 | 2608828.2407 | 1262646.97 | 2608828.825 | 1262644.0578 | 2608829.288 | 1262641.7124 | 2608829.4322 | 1262640.9788
6 | 2608825.4683 | 1262662.4321 | 2608836.2782 | 1262662.1257 | 2608837.4384 | 1262656.9349 | 2608857.8999 | 1262654.3657
7 | 2608825.4683 | 1262662.4321 | 2608816.9912 | 1262664.5475
8 | 2608773.6507 | 1262621.7277 | 2608783.788 | 1262617.8177 | 2608786.3593 | 1262606.8332
9 | 2608706.382 | 1262638.0736 | 2608720.8616 | 1262642.0753
10 | 2608706.382 | 1262638.0736 | 2608695.133 | 1262655.3467 | 2608692.0881 | 1262661.4632
11 | 2608720.8616 | 1262642.0753 | 2608729.6238 | 1262661.4791 | 2608732.6688 | 1262672.3574
12 | 2608720.8616 | 1262642.0753 | 2608747.7686 | 1262631.7076
13 | 2608773.6507 | 1262621.7277 | 2608783.6472 | 1262631.5269 | 2608800.8509 | 1262630.6357
14 | 2608773.6507 | 1262621.7277 | 2608762.0657 | 1262626.1948
15 | 2608801.1772 | 1262630.6188 | 2608800.8509 | 1262630.6357
16 | 2608747.7686 | 1262631.7076 | 2608762.0657 | 1262626.1948
17 | 2608751.0347 | 1262644.0542 | 2608747.7686 | 1262631.7076
18 | 2608857.8999 | 1262654.3657 | 2608865.0057 | 1262653.4735 | 2608878.9386 | 1262650.1364 | 2608886.0664 | 1262648.924 | 2608887.805 | 1262649.9162 | 2608888.4083 | 1262649.7663
19 | 2608814.2432 | 1262665.2333 | 2608816.9912 | 1262664.5475
20 | 2608790.2551 | 1262671.2194 | 2608814.2432 | 1262665.2333
21 | 2608790.2551 | 1262671.2194 | 2608774.3625 | 1262675.1821
22 | 2608790.2551 | 1262671.2194 | 2608792.5706 | 1262681.341
23 | 2608774.3625 | 1262675.1821 | 2608772.6679 | 1262675.6047
24 | 2608794.3416 | 1262689.0821 | 2608792.5706 | 1262681.341
25 | 2608736.1281 | 1262684.7157 | 2608772.6679 | 1262675.6047
26 | 2608873.9689 | 1262729.7613 | 2608874.3875 | 1262719.5321
27 | 2608884.823 | 1262730.0221 | 2608873.9689 | 1262729.7613
28 | 2608873.9689 | 1262729.7613 | 2608858.0456 | 1262729.3707 | 2608846.8384 | 1262730.0538
29 | 2608884.823 | 1262730.0221 | 2608888.3076 | 1262737.0432 | 2608892.198 | 1262749.9525
30 | 2608884.823 | 1262730.0221 | 2608899.4974 | 1262730.3822
31 | 2608846.8384 | 1262730.0538 | 2608837.3353 | 1262730.633
32 | 2608892.198 | 1262749.9525 | 2608892.7816 | 1262751.8891
33 | 2608909.9132 | 1262730.6378 | 2608899.4974 | 1262730.3822
34 | 2608837.3353 | 1262730.633 | 2608836.1574 | 1262730.7048
35 | 2608892.7816 | 1262751.8891 | 2608896.8524 | 1262765.3976 | 2608892.9379 | 1262770.7849
36 | 2608909.9132 | 1262730.6378 | 2608926.3161 | 1262732.7082
37 | 2608909.9132 | 1262730.6378 | 2608914.9145 | 1262704.3942
38 | 2608836.1574 | 1262730.7048 | 2608813.5239 | 1262732.0843 | 2608811.4197 | 1262732.2128
39 | 2608926.3161 | 1262732.7082 | 2608928.6597 | 1262744.4261
40 | 2608928.6597 | 1262744.4261 | 2608934.0927 | 1262771.5905
41 | 2608940.2522 | 1262802.3879 | 2608934.0927 | 1262771.5905
42 | 2608891.7197 | 1262772.4614 | 2608892.9379 | 1262770.7849
43 | 2608736.1281 | 1262684.7157 | 2608740.9957 | 1262703.6219
44 | 2608736.1281 | 1262684.7157 | 2608732.6688 | 1262672.3574
45 | 2608811.4197 | 1262732.2128 | 2608803.2391 | 1262732.7122
46 | 2608803.2391 | 1262732.7122 | 2608782.1149 | 1262734.002
47 | 2608804.6743 | 1262789.8684 | 2608807.5238 | 1262790.849 | 2608813.0711 | 1262794.2836
48 | 2608804.6743 | 1262789.8684 | 2608799.5735 | 1262788.1131 | 2608791.3809 | 1262789.4309
49 | 2608813.0711 | 1262794.2836 | 2608816.0203 | 1262796.1096 | 2608827.3998 | 1262808.3506
50 | 2608791.3809 | 1262789.4309 | 2608786.9489 | 1262790.1437
51 | 2608827.3998 | 1262808.3506 | 2608842.9211 | 1262825.0471 | 2608844.8925 | 1262827.389
52 | 2608769.7075 | 1262792.9169 | 2608786.9489 | 1262790.1437
53 | 2608847.944 | 1262831.0142 | 2608844.8925 | 1262827.389
54 | 2608769.7075 | 1262792.9169 | 2608762.0836 | 1262798.743
55 | 2608769.7075 | 1262792.9169 | 2608757.5065 | 1262766.2028 | 2608753.1312 | 1262750.052
56 | 2608847.944 | 1262831.0142 | 2608860.9139 | 1262846.4406
57 | 2608847.944 | 1262831.0142 | 2608835.6531 | 1262838.8527
58 | 2608732.6752 | 1262794.5747 | 2608744.2123 | 1262796.4485 | 2608757.3986 | 1262798.5804 | 2608762.0836 | 1262798.743
59 | 2608762.0836 | 1262798.743 | 2608767.9565 | 1262836.2328 | 2608768.4021 | 1262838.2575
60 | 2608753.1312 | 1262750.052 | 2608779.3626 | 1262748.0559
61 | 2608749.3328 | 1262736.0035 | 2608753.1312 | 1262750.052
62 | 2608831.2639 | 1262841.6519 | 2608813.9733 | 1262852.6791
63 | 2608831.2639 | 1262841.6519 | 2608835.6531 | 1262838.8527
64 | 2608860.9139 | 1262846.4406 | 2608874.5542 | 1262862.6643 | 2608878.3135 | 1262866.6527
65 | 2608882.4927 | 1262871.0866 | 2608878.3135 | 1262866.6527
66 | 2608856.6281 | 1262942.9927 | 2608848.0621 | 1262928.3611
67 | 2608839.039 | 1262913.235 | 2608840.1514 | 1262914.8489 | 2608848.0621 | 1262928.3611
68 | 2608856.6281 | 1262942.9927 | 2608862.6754 | 1262938.6987
69 | 2608823.4947 | 1262967.4825 | 2608828.1108 | 1262963.2309 | 2608856.6281 | 1262942.9927
70 | 2608839.039 | 1262913.235 | 2608846.9019 | 1262908.7881
71 | 2608829.316 | 1262892.0728 | 2608831.0418 | 1262901.6152 | 2608839.039 | 1262913.235
72 | 2608862.6754 | 1262938.6987 | 2608857.0793 | 1262928.2832
73 | 2608823.4947 | 1262967.4825 | 2608819.3579 | 1262958.3924
74 | 2608796.2043 | 1262962.9946 | 2608803.0932 | 1262990.5904 | 2608813.9366 | 1262977.4085 | 2608820.0553 | 1262970.6351 | 2608823.4947 | 1262967.4825
75 | 2608796.2043 | 1262962.9946 | 2608800.2283 | 1262961.7664
76 | 2608793.6284 | 1262952.6838 | 2608796.2043 | 1262962.9946
77 | 2608793.6284 | 1262952.6838 | 2608782.6757 | 1262948.0422 | 2608779.4094 | 1262948.4301
78 | 2608793.6284 | 1262952.6838 | 2608793.2166 | 1262951.0153 | 2608791.6528 | 1262943.8971
79 | 2608921.83 | 1262805.8627 | 2608928.1818 | 1262804.6646
80 | 2608940.2522 | 1262802.3879 | 2608928.1818 | 1262804.6646
81 | 2608921.83 | 1262805.8627 | 2608915.4212 | 1262799.9601
82 | 2608749.3328 | 1262736.0035 | 2608782.1149 | 1262734.002
83 | 2608749.3328 | 1262736.0035 | 2608748.185 | 1262731.5454
84 | 2608732.6752 | 1262794.5747 | 2608737.7415 | 1262815.4997
85 | 2608732.6752 | 1262794.5747 | 2608727.4941 | 1262793.737
86 | 2608773.2212 | 1262860.1531 | 2608768.4021 | 1262838.2575
87 | 2608745.0611 | 1262719.4119 | 2608748.185 | 1262731.5454
88 | 2608737.7415 | 1262815.4997 | 2608742.134 | 1262833.6421
89 | 2608707.7635 | 1262790.5466 | 2608727.4941 | 1262793.737
90 | 2608773.2212 | 1262860.1531 | 2608774.6609 | 1262866.6943
91 | 2608745.0611 | 1262719.4119 | 2608740.9957 | 1262703.6219
92 | 2608696.7738 | 1262826.5219 | 2608696.6998 | 1262825.5656 | 2608697.0021 | 1262788.8075 | 2608707.7635 | 1262790.5466
93 | 2608696.7738 | 1262826.5219 | 2608697.2997 | 1262833.6991
94 | 2608699.724 | 1262866.7823 | 2608697.2997 | 1262833.6991
95 | 2608743.2381 | 1262840.1089 | 2608742.7604 | 1262836.2291 | 2608742.134 | 1262833.6421
96 | 2608702.3717 | 1262902.9157 | 2608699.724 | 1262866.7823
97 | 2608739.7867 | 1262865.9229 | 2608746.311 | 1262865.0652 | 2608743.2381 | 1262840.1089
98 | 2608756.2114 | 1262929.7796 | 2608752.7525 | 1262910.6694
99 | 2608756.4059 | 1262951.1612 | 2608754.5662 | 1262942.1301 | 2608758.154 | 1262940.5121 | 2608756.2114 | 1262929.7796
100 | 2608751.858 | 1262905.6495 | 2608752.0123 | 1262906.5798 | 2608752.7525 | 1262910.6694
101 | 2608761.8678 | 1262950.5133 | 2608756.4059 | 1262951.1612
102 | 2608748.1298 | 1262883.1692 | 2608751.858 | 1262905.6495
103 | 2608761.8678 | 1262950.5133 | 2608779.4094 | 1262948.4301
104 | 2608702.3717 | 1262902.9157 | 2608710.4852 | 1262902.1826
105 | 2608777.3303 | 1262878.8226 | 2608774.6609 | 1262866.6943
106 | 2608777.3303 | 1262878.8226 | 2608780.3251 | 1262892.4295
107 | 2608781.5539 | 1262898.0125 | 2608780.3251 | 1262892.4295
108 | 2608781.5539 | 1262898.0125 | 2608785.8393 | 1262917.4835
109 | 2608785.8393 | 1262917.4835 | 2608785.982 | 1262918.1316
110 | 2608791.6528 | 1262943.8971 | 2608785.982 | 1262918.1316

## bus_geodata
| x | y | coords
0 | 2608706.2638 | 1262568.0129
1 | 2608733.794 | 1262545.3503
2 | 2608792.8164 | 1262579.2491
3 | 2608788.6224 | 1262597.1657
4 | 2608829.4322 | 1262640.9788
5 | 2608818.1577 | 1262619.314
6 | 2608825.4683 | 1262662.4321
7 | 2608786.3593 | 1262606.8332
8 | 2608706.382 | 1262638.0736
9 | 2608720.8616 | 1262642.0753
10 | 2608692.0881 | 1262661.4632
11 | 2608773.6507 | 1262621.7277
12 | 2608800.8509 | 1262630.6357
13 | 2608762.0657 | 1262626.1948
14 | 2608801.1772 | 1262630.6188
15 | 2608747.7686 | 1262631.7076
16 | 2608857.8999 | 1262654.3657
17 | 2608816.9912 | 1262664.5475
18 | 2608751.0347 | 1262644.0542
19 | 2608814.2432 | 1262665.2333
20 | 2608790.2551 | 1262671.2194
21 | 2608774.3625 | 1262675.1821
22 | 2608792.5706 | 1262681.341
23 | 2608888.4083 | 1262649.7663
24 | 2608772.6679 | 1262675.6047
25 | 2608794.3416 | 1262689.0821
26 | 2608874.3875 | 1262719.5321
27 | 2608873.9689 | 1262729.7613
28 | 2608884.823 | 1262730.0221
29 | 2608846.8384 | 1262730.0538
30 | 2608892.198 | 1262749.9525
31 | 2608899.4974 | 1262730.3822
32 | 2608837.3353 | 1262730.633
33 | 2608892.7816 | 1262751.8891
34 | 2608909.9132 | 1262730.6378
35 | 2608836.1574 | 1262730.7048
36 | 2608926.3161 | 1262732.7082
37 | 2608914.9145 | 1262704.3942
38 | 2608928.6597 | 1262744.4261
39 | 2608934.0927 | 1262771.5905
40 | 2608892.9379 | 1262770.7849
41 | 2608736.1281 | 1262684.7157
42 | 2608811.4197 | 1262732.2128
43 | 2608803.2391 | 1262732.7122
44 | 2608804.6743 | 1262789.8684
45 | 2608813.0711 | 1262794.2836
46 | 2608791.3809 | 1262789.4309
47 | 2608827.3998 | 1262808.3506
48 | 2608786.9489 | 1262790.1437
49 | 2608844.8925 | 1262827.389
50 | 2608769.7075 | 1262792.9169
51 | 2608847.944 | 1262831.0142
52 | 2608762.0836 | 1262798.743
53 | 2608753.1312 | 1262750.052
54 | 2608891.7197 | 1262772.4614
55 | 2608831.2639 | 1262841.6519
56 | 2608813.9733 | 1262852.6791
57 | 2608835.6531 | 1262838.8527
58 | 2608860.9139 | 1262846.4406
59 | 2608878.3135 | 1262866.6527
60 | 2608848.0621 | 1262928.3611
61 | 2608856.6281 | 1262942.9927
62 | 2608839.039 | 1262913.235
63 | 2608862.6754 | 1262938.6987
64 | 2608823.4947 | 1262967.4825
65 | 2608846.9019 | 1262908.7881
66 | 2608829.316 | 1262892.0728
67 | 2608857.0793 | 1262928.2832
68 | 2608819.3579 | 1262958.3924
69 | 2608796.2043 | 1262962.9946
70 | 2608800.2283 | 1262961.7664
71 | 2608793.6284 | 1262952.6838
72 | 2608928.1818 | 1262804.6646
73 | 2608921.83 | 1262805.8627
74 | 2608940.2522 | 1262802.3879
75 | 2608915.4212 | 1262799.9601
76 | 2608882.4927 | 1262871.0866
77 | 2608782.1149 | 1262734.002
78 | 2608749.3328 | 1262736.0035
79 | 2608732.6752 | 1262794.5747
80 | 2608768.4021 | 1262838.2575
81 | 2608779.3626 | 1262748.0559
82 | 2608748.185 | 1262731.5454
83 | 2608737.7415 | 1262815.4997
84 | 2608727.4941 | 1262793.737
85 | 2608773.2212 | 1262860.1531
86 | 2608732.6688 | 1262672.3574
87 | 2608740.9957 | 1262703.6219
88 | 2608745.0611 | 1262719.4119
89 | 2608707.7635 | 1262790.5466
90 | 2608696.7738 | 1262826.5219
91 | 2608697.2997 | 1262833.6991
92 | 2608742.134 | 1262833.6421
93 | 2608699.724 | 1262866.7824
94 | 2608743.2381 | 1262840.1089
95 | 2608756.2114 | 1262929.7796
96 | 2608752.7525 | 1262910.6694
97 | 2608756.4059 | 1262951.1612
98 | 2608751.858 | 1262905.6495
99 | 2608761.8678 | 1262950.5133
100 | 2608748.1298 | 1262883.1692
101 | 2608779.4094 | 1262948.4301
102 | 2608702.3717 | 1262902.9157
103 | 2608710.4852 | 1262902.1826
104 | 2608739.7867 | 1262865.9229
105 | 2608774.6609 | 1262866.6943
106 | 2608777.3303 | 1262878.8226
107 | 2608780.3251 | 1262892.4295
108 | 2608781.5539 | 1262898.0125
109 | 2608785.8393 | 1262917.4835
110 | 2608785.982 | 1262918.1316
111 | 2608791.6528 | 1262943.897
112 | 2608753.1312 | 1262750.052

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1