## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2773-13_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2773-13_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2773-13_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2773-13_0_3_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_2773-13_0_3_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_2773-13_0_3_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_2773-13_0_3_node_83 | 0.4 | n |  | TRUE
7 | bus_LV_2773-13_0_3_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_2773-13_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2773-13_0_3_node_71 | 0.4 | n |  | TRUE
10 | bus_LV_2773-13_0_3_node_72 | 0.4 | n |  | TRUE
11 | bus_LV_2773-13_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2773-13_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2773-13_0_3_node_3 | 0.4 | n |  | TRUE
14 | bus_LV_2773-13_0_3_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_2773-13_0_3_node_4 | 0.4 | n |  | TRUE
16 | bus_LV_2773-13_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2773-13_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2773-13_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2773-13_0_3_node_70 | 0.4 | n |  | TRUE
20 | bus_LV_2773-13_0_3_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_2773-13_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_2773-13_0_3_node_110 | 0.4 | n |  | TRUE
23 | bus_LV_2773-13_0_3_node_109 | 0.4 | n |  | TRUE
24 | bus_LV_2773-13_0_3_node_94 | 0.4 | n |  | TRUE
25 | bus_LV_2773-13_0_3_node_102 | 0.4 | n |  | TRUE
26 | bus_LV_2773-13_0_3_node_105 | 0.4 | n |  | TRUE
27 | bus_LV_2773-13_0_3_node_95 | 0.4 | n |  | TRUE
28 | bus_LV_2773-13_0_3_node_101 | 0.4 | n |  | TRUE
29 | bus_LV_2773-13_0_3_node_93 | 0.4 | n |  | TRUE
30 | bus_LV_2773-13_0_3_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_2773-13_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_2773-13_0_3_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_2773-13_0_3_node_87 | 0.4 | n |  | TRUE
34 | bus_LV_2773-13_0_3_node_76 | 0.4 | n |  | TRUE
35 | bus_LV_2773-13_0_3_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_2773-13_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_2773-13_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_2773-13_0_3_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_2773-13_0_3_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_2773-13_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_2773-13_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_2773-13_0_3_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_2773-13_0_3_node_82 | 0.4 | n |  | TRUE
44 | bus_LV_2773-13_0_3_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_2773-13_0_3_node_86 | 0.4 | n |  | TRUE
46 | bus_LV_2773-13_0_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_2773-13_0_3_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_2773-13_0_3_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_2773-13_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_2773-13_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_2773-13_0_3_node_85 | 0.4 | n |  | TRUE
52 | bus_LV_2773-13_0_3_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_2773-13_0_3_node_84 | 0.4 | n |  | TRUE
54 | bus_LV_2773-13_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_2773-13_0_3_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_2773-13_0_3_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_2773-13_0_3_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_2773-13_0_3_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_2773-13_0_3_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_2773-13_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_2773-13_0_3_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_2773-13_0_3_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_2773-13_0_3_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_2773-13_0_3_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_2773-13_0_3_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_2773-13_0_3_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_2773-13_0_3_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_2773-13_0_3_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_2773-13_0_3_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_2773-13_0_3_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_2773-13_0_3_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_2773-13_0_3_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_2773-13_0_3_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_2773-13_0_3_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_2773-13_0_3_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_2773-13_0_3_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_2773-13_0_3_node_81 | 0.4 | n |  | TRUE
78 | bus_LV_2773-13_0_3_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_2773-13_0_3_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_2773-13_0_3_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_2773-13_0_3_node_61 | 0.4 | n |  | TRUE
82 | bus_LV_2773-13_0_3_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_2773-13_0_3_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_2773-13_0_3_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_2773-13_0_3_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_2773-13_0_3_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_2773-13_0_3_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_2773-13_0_3_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_2773-13_0_3_node_100 | 0.4 | n |  | TRUE
90 | bus_LV_2773-13_0_3_node_97 | 0.4 | n |  | TRUE
91 | bus_LV_2773-13_0_3_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_2773-13_0_3_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_2773-13_0_3_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_2773-13_0_3_node_98 | 0.4 | n |  | TRUE
95 | bus_LV_2773-13_0_3_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_2773-13_0_3_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_2773-13_0_3_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_2773-13_0_3_node_96 | 0.4 | n |  | TRUE
99 | bus_LV_2773-13_0_3_node_107 | 0.4 | n |  | TRUE
100 | bus_LV_2773-13_0_3_node_108 | 0.4 | n |  | TRUE
101 | bus_LV_2773-13_0_3_node_99 | 0.4 | n |  | TRUE
102 | bus_LV_2773-13_0_3_node_104 | 0.4 | n |  | TRUE
103 | bus_LV_2773-13_0_3_node_106 | 0.4 | n |  | TRUE
104 | bus_MV_573_0_node_10 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2773-13_0_3_load_0 | 0 | 0.034264 | 0.0085874 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2773-13_0_3_load_18 | 4 | 0.0034108 | 0.00085482 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2773-13_0_3_load_83 | 6 | 0.003034 | 0.00076039 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2773-13_0_3_load_22 | 7 | 0.0024997 | 0.00062649 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2773-13_0_3_load_71 | 9 | 0.001832 | 0.00045915 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2773-13_0_3_load_72 | 10 | 0.0093575 | 0.0023452 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2773-13_0_3_load_6 | 11 | 0.0017268 | 0.00043278 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2773-13_0_3_load_7 | 12 | 0.0050888 | 0.0012754 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2773-13_0_3_load_3 | 13 | 0.0040324 | 0.0010106 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2773-13_0_3_load_17 | 14 | 0.010749 | 0.0026939 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2773-13_0_3_load_4 | 15 | 0.0027687 | 0.00069391 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2773-13_0_3_load_12 | 17 | 0.0022548 | 0.0005651 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2773-13_0_3_load_70 | 19 | 0.0022105 | 0.00055399 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2773-13_0_3_load_21 | 21 | 0.0090961 | 0.0022797 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2773-13_0_3_load_110 | 22 | 0.0022809 | 0.00057165 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2773-13_0_3_load_109 | 23 | 0.0021123 | 0.00052939 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2773-13_0_3_load_94 | 24 | 0.0022057 | 0.0005528 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2773-13_0_3_load_102 | 25 | 0.0022255 | 0.00055776 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2773-13_0_3_load_105 | 26 | 0.0021394 | 0.00053618 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2773-13_0_3_load_95 | 27 | 0.0021236 | 0.00053222 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2773-13_0_3_load_101 | 28 | 0.0053881 | 0.0013504 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2773-13_0_3_load_93 | 29 | 0.0013431 | 0.00033662 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2773-13_0_3_load_14 | 30 | 0.0030174 | 0.00075622 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2773-13_0_3_load_16 | 32 | 0.0031068 | 0.00077864 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2773-13_0_3_load_87 | 33 | 0.0011516 | 0.00028862 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2773-13_0_3_load_20 | 35 | 0.0017183 | 0.00043064 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2773-13_0_3_load_25 | 36 | 0.0037375 | 0.0009367 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2773-13_0_3_load_26 | 37 | 0.0013948 | 0.00034957 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2773-13_0_3_load_23 | 38 | 0.0046381 | 0.0011624 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2773-13_0_3_load_24 | 39 | 0.0012926 | 0.00032396 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2773-13_0_3_load_27 | 40 | 0.0019877 | 0.00049817 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2773-13_0_3_load_28 | 41 | 0.0014187 | 0.00035555 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2773-13_0_3_load_82 | 43 | 0.0031834 | 0.00079783 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2773-13_0_3_load_29 | 44 | 0.0013528 | 0.00033905 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2773-13_0_3_load_86 | 45 | 0.0023531 | 0.00058973 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2773-13_0_3_load_31 | 46 | 0.0027907 | 0.00069942 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2773-13_0_3_load_32 | 47 | 0.0030478 | 0.00076386 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2773-13_0_3_load_33 | 48 | 0.0027125 | 0.00067981 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2773-13_0_3_load_34 | 49 | 0.0013952 | 0.00034967 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2773-13_0_3_load_35 | 50 | 0.0027879 | 0.00069873 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2773-13_0_3_load_85 | 51 | 0.002017 | 0.0005055 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2773-13_0_3_load_45 | 52 | 0.0027895 | 0.00069911 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2773-13_0_3_load_84 | 53 | 0.0013963 | 0.00034995 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2773-13_0_3_load_46 | 54 | 0.0030987 | 0.00077662 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2773-13_0_3_load_36 | 55 | 0.0029213 | 0.00073215 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2773-13_0_3_load_39 | 57 | 0.0029218 | 0.00073228 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2773-13_0_3_load_42 | 60 | 0.0037273 | 0.00093416 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2773-13_0_3_load_62 | 61 | 0.0012365 | 0.0003099 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2773-13_0_3_load_41 | 62 | 0.004186 | 0.0010491 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2773-13_0_3_load_43 | 64 | 0.0022913 | 0.00057424 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2773-13_0_3_load_44 | 65 | 0.0022933 | 0.00057475 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2773-13_0_3_load_47 | 66 | 0.0030509 | 0.00076463 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2773-13_0_3_load_50 | 67 | 0.005351 | 0.0013411 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2773-13_0_3_load_51 | 68 | 0.010205 | 0.0025575 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2773-13_0_3_load_52 | 69 | 0.0013293 | 0.00033316 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2773-13_0_3_load_53 | 70 | 0.0018096 | 0.00045352 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2773-13_0_3_load_54 | 71 | 0.0053562 | 0.0013424 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2773-13_0_3_load_57 | 74 | 0.0048182 | 0.0012076 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2773-13_0_3_load_67 | 75 | 0.0031524 | 0.00079007 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2773-13_0_3_load_69 | 76 | 0.0037829 | 0.0009481 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2773-13_0_3_load_81 | 77 | 0.0026445 | 0.00066278 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2773-13_0_3_load_65 | 78 | 0.0018429 | 0.00046189 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2773-13_0_3_load_75 | 79 | 0.0048158 | 0.001207 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2773-13_0_3_load_58 | 80 | 0.0023952 | 0.0006003 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2773-13_0_3_load_61 | 81 | 0.0015572 | 0.00039028 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2773-13_0_3_load_66 | 82 | 0.0033227 | 0.00083274 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2773-13_0_3_load_68 | 83 | 0.0024815 | 0.00062191 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2773-13_0_3_load_77 | 84 | 0.0033235 | 0.00083296 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2773-13_0_3_load_78 | 85 | 0.0033235 | 0.00083296 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2773-13_0_3_load_73 | 86 | 0.0024634 | 0.00061738 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2773-13_0_3_load_100 | 89 | 0.0019637 | 0.00049215 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2773-13_0_3_load_97 | 90 | 0.0019919 | 0.00049921 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2773-13_0_3_load_79 | 91 | 0.0033235 | 0.00083296 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2773-13_0_3_load_80 | 92 | 0.0033261 | 0.00083359 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2773-13_0_3_load_92 | 93 | 0.0018728 | 0.00046936 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2773-13_0_3_load_98 | 94 | 0.0012685 | 0.0003179 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2773-13_0_3_load_89 | 95 | 0.00098123 | 0.00024592 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2773-13_0_3_load_90 | 96 | 0.002058 | 0.00051578 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2773-13_0_3_load_91 | 97 | 0.0020699 | 0.00051877 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2773-13_0_3_load_96 | 98 | 0.0020476 | 0.00051317 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2773-13_0_3_load_107 | 99 | 0.0022063 | 0.00055295 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2773-13_0_3_load_108 | 100 | 0.0022477 | 0.00056333 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2773-13_0_3_load_99 | 101 | 0.0014289 | 0.00035812 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2773-13_0_3_load_104 | 102 | 0.0050558 | 0.0012671 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2773-13_0_3_load_106 | 103 | 0.0020711 | 0.00051906 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2773-13_0_3_line_0 |  | 0 | 1 | 0.036239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2773-13_0_3_line_1 |  | 1 | 2 | 0.046314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2773-13_0_3_line_2 |  | 2 | 3 | 0.049996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2773-13_0_3_line_3 |  | 2 | 4 | 0.029785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2773-13_0_3_line_4 |  | 3 | 9 | 0.010324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2773-13_0_3_line_5 |  | 3 | 10 | 0.032073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2773-13_0_3_line_6 |  | 3 | 11 | 0.023129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2773-13_0_3_line_7 |  | 4 | 14 | 0.0099085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2773-13_0_3_line_8 |  | 5 | 6 | 0.026808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2773-13_0_3_line_9 |  | 5 | 7 | 0.010078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2773-13_0_3_line_10 |  | 5 | 8 | 0.04656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2773-13_0_3_line_11 |  | 6 | 20 | 0.0261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2773-13_0_3_line_12 |  | 7 | 21 | 0.015045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2773-13_0_3_line_13 |  | 8 | 12 | 0.044544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2773-13_0_3_line_14 |  | 8 | 13 | 0.016615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2773-13_0_3_line_15 |  | 9 | 19 | 0.0074146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2773-13_0_3_line_16 |  | 11 | 15 | 0.015319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2773-13_0_3_line_17 |  | 12 | 16 | 0.003729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2773-13_0_3_line_18 |  | 13 | 15 | 0.033688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_2773-13_0_3_line_19 |  | 16 | 17 | 0.013419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2773-13_0_3_line_20 |  | 16 | 18 | 0.028966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2773-13_0_3_line_21 |  | 17 | 24 | 0.0078322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2773-13_0_3_line_22 |  | 18 | 25 | 0.014025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2773-13_0_3_line_23 |  | 18 | 26 | 0.017695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2773-13_0_3_line_24 |  | 19 | 76 | 0.01341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2773-13_0_3_line_25 |  | 20 | 53 | 0.014893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2773-13_0_3_line_26 |  | 20 | 58 | 0.052113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2773-13_0_3_line_27 |  | 21 | 38 | 0.0055823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2773-13_0_3_line_28 |  | 22 | 23 | 0.0078482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2773-13_0_3_line_29 |  | 23 | 100 | 0.0075745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2773-13_0_3_line_30 |  | 24 | 27 | 0.0075172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2773-13_0_3_line_31 |  | 25 | 28 | 0.023836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2773-13_0_3_line_32 |  | 26 | 29 | 0.0036141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2773-13_0_3_line_33 |  | 27 | 98 | 0.0076489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2773-13_0_3_line_34 |  | 29 | 97 | 0.0041428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2773-13_0_3_line_35 |  | 30 | 31 | 0.049326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2773-13_0_3_line_36 |  | 31 | 32 | 0.090032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2773-13_0_3_line_37 |  | 32 | 33 | 0.0058728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2773-13_0_3_line_38 |  | 33 | 34 | 0.074512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2773-13_0_3_line_39 |  | 34 | 87 | 0.023087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2773-13_0_3_line_40 |  | 35 | 36 | 0.0238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2773-13_0_3_line_41 |  | 36 | 37 | 0.0082336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2773-13_0_3_line_42 |  | 37 | 42 | 0.015352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2773-13_0_3_line_43 |  | 38 | 39 | 0.022546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2773-13_0_3_line_44 |  | 39 | 40 | 0.00025655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2773-13_0_3_line_45 |  | 40 | 41 | 0.020289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2773-13_0_3_line_46 |  | 41 | 44 | 0.0048238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2773-13_0_3_line_47 |  | 42 | 43 | 0.016359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2773-13_0_3_line_48 |  | 42 | 44 | 0.0086769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2773-13_0_3_line_49 |  | 43 | 45 | 0.023442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2773-13_0_3_line_50 |  | 46 | 47 | 0.0034349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2773-13_0_3_line_51 |  | 46 | 48 | 0.015441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2773-13_0_3_line_52 |  | 47 | 49 | 0.012292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2773-13_0_3_line_53 |  | 48 | 50 | 0.0036324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2773-13_0_3_line_54 |  | 49 | 51 | 0.0039015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2773-13_0_3_line_55 |  | 50 | 52 | 0.01861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2773-13_0_3_line_56 |  | 51 | 53 | 0.0026478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2773-13_0_3_line_57 |  | 52 | 54 | 0.0057392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2773-13_0_3_line_58 |  | 54 | 66 | 0.012328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2773-13_0_3_line_59 |  | 55 | 56 | 0.0021851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2773-13_0_3_line_60 |  | 56 | 57 | 0.025804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2773-13_0_3_line_61 |  | 57 | 58 | 0.014256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2773-13_0_3_line_62 |  | 59 | 60 | 0.015056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2773-13_0_3_line_63 |  | 59 | 61 | 0.026021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2773-13_0_3_line_64 |  | 60 | 62 | 0.011272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2773-13_0_3_line_65 |  | 61 | 63 | 0.0059737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2773-13_0_3_line_66 |  | 62 | 64 | 0.015184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2773-13_0_3_line_67 |  | 63 | 81 | 0.011787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2773-13_0_3_line_68 |  | 63 | 80 | 0.022301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2773-13_0_3_line_69 |  | 64 | 65 | 0.0023188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2773-13_0_3_line_70 |  | 65 | 66 | 0.0053631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2773-13_0_3_line_71 |  | 67 | 68 | 0.0051048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2773-13_0_3_line_72 |  | 67 | 69 | 0.012499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2773-13_0_3_line_73 |  | 68 | 70 | 0.00048966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2773-13_0_3_line_74 |  | 70 | 71 | 0.018743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2773-13_0_3_line_75 |  | 71 | 72 | 0.020543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2773-13_0_3_line_76 |  | 72 | 73 | 0.010374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2773-13_0_3_line_77 |  | 72 | 74 | 0.019329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2773-13_0_3_line_78 |  | 73 | 75 | 0.0098294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2773-13_0_3_line_79 |  | 73 | 76 | 0.035976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2773-13_0_3_line_80 |  | 74 | 77 | 0.0030449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2773-13_0_3_line_81 |  | 75 | 78 | 0.014123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2773-13_0_3_line_82 |  | 77 | 79 | 0.029193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2773-13_0_3_line_83 |  | 78 | 82 | 0.026073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2773-13_0_3_line_84 |  | 79 | 87 | 0.015508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2773-13_0_3_line_85 |  | 82 | 83 | 0.00081279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2773-13_0_3_line_86 |  | 83 | 84 | 0.019764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2773-13_0_3_line_87 |  | 84 | 85 | 0.0058286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2773-13_0_3_line_88 |  | 85 | 91 | 0.0058286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2773-13_0_3_line_89 |  | 86 | 87 | 0.027683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2773-13_0_3_line_90 |  | 88 | 89 | 0.0077399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2773-13_0_3_line_91 |  | 88 | 90 | 0.018328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2773-13_0_3_line_92 |  | 89 | 93 | 0.0051144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2773-13_0_3_line_93 |  | 90 | 94 | 0.0019993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2773-13_0_3_line_94 |  | 91 | 92 | 0.0058304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2773-13_0_3_line_95 |  | 93 | 96 | 0.015873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2773-13_0_3_line_96 |  | 94 | 101 | 0.0091991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2773-13_0_3_line_97 |  | 95 | 96 | 0.0038018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2773-13_0_3_line_98 |  | 95 | 97 | 0.0039972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2773-13_0_3_line_99 |  | 98 | 99 | 0.016802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2773-13_0_3_line_100 |  | 99 | 100 | 0.0077718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2773-13_0_3_line_101 |  | 101 | 102 | 0.0056894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2773-13_0_3_line_102 |  | 102 | 103 | 0.00034217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2773-13_0_3_trafo_4 | 0.63 MVA 20/0.4 kV | 104 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2612176.8516 | 1261263.6682 | 2612171.3745 | 1261270.784 | 2612178.0815 | 1261297.2052
1 | 2612176.8516 | 1261263.6682 | 2612173.5384 | 1261259.0249 | 2612171.0813 | 1261252.0818 | 2612155.9653 | 1261230.8698 | 2612149.5149 | 1261227.5654
2 | 2612149.5149 | 1261227.5654 | 2612148.1257 | 1261225.3166 | 2612150.3364 | 1261223.7757 | 2612151.672 | 1261222.7999 | 2612153.8132 | 1261225.8064 | 2612154.7186 | 1261225.1856 | 2612155.4431 | 1261224.6422 | 2612157.6086 | 1261223.1012 | 2612158.7556 | 1261222.2585 | 2612161.3813 | 1261220.4404 | 2612165.547 | 1261217.2468 | 2612176.2653 | 1261233.5687 | 2612180.461 | 1261230.3973
3 | 2612149.5149 | 1261227.5654 | 2612146.4289 | 1261229.7495 | 2612125.2055 | 1261244.7766
4 | 2612180.461 | 1261230.3973 | 2612188.706 | 1261224.1845
5 | 2612180.461 | 1261230.3973 | 2612199.7145 | 1261256.0487
6 | 2612180.461 | 1261230.3973 | 2612166.9943 | 1261211.5936
7 | 2612117.1189 | 1261250.5024 | 2612125.2055 | 1261244.7766
8 | 2612116.3412 | 1261179.1426 | 2612114.3096 | 1261174.1017 | 2612101.719 | 1261156.8312
9 | 2612116.3412 | 1261179.1426 | 2612108.3808 | 1261185.3236
10 | 2612116.3412 | 1261179.1426 | 2612117.9864 | 1261181.5031 | 2612120.5673 | 1261179.5292 | 2612122.2275 | 1261178.254 | 2612124.4159 | 1261176.6017 | 2612126.793 | 1261174.7831 | 2612127.7774 | 1261176.0749 | 2612129.5358 | 1261178.3689 | 2612130.7131 | 1261177.4707 | 2612135.1352 | 1261174.0997 | 2612125.1486 | 1261160.937 | 2612128.7858 | 1261158.2426
11 | 2612086.3438 | 1261135.7409 | 2612101.719 | 1261156.8312
12 | 2612108.3808 | 1261185.3236 | 2612096.4973 | 1261194.5508
13 | 2612128.7858 | 1261158.2426 | 2612165.949 | 1261133.6848
14 | 2612128.7858 | 1261158.2426 | 2612138.4597 | 1261171.7505
15 | 2612194.6277 | 1261219.7224 | 2612188.706 | 1261224.1845
16 | 2612158.0748 | 1261199.1392 | 2612166.9943 | 1261211.5936
17 | 2612169.0601 | 1261131.629 | 2612165.949 | 1261133.6848
18 | 2612138.4597 | 1261171.7505 | 2612158.0748 | 1261199.1392
19 | 2612169.0601 | 1261131.629 | 2612161.2145 | 1261120.7425
20 | 2612192.9712 | 1261115.1779 | 2612169.0601 | 1261131.629
21 | 2612156.6353 | 1261114.3885 | 2612161.2145 | 1261120.7425
22 | 2612192.9712 | 1261115.1779 | 2612184.9389 | 1261103.681
23 | 2612192.9712 | 1261115.1779 | 2612207.5467 | 1261105.1449
24 | 2612205.3372 | 1261211.6526 | 2612194.6277 | 1261219.7224
25 | 2612086.3438 | 1261135.7409 | 2612072.1045 | 1261140.1061
26 | 2612056.1483 | 1261093.2062 | 2612086.3438 | 1261135.7409
27 | 2612092.0882 | 1261197.9744 | 2612096.4973 | 1261194.5508
28 | 2612124.3835 | 1261069.636 | 2612128.972 | 1261076.003
29 | 2612133.4005 | 1261082.148 | 2612128.972 | 1261076.003
30 | 2612156.6353 | 1261114.3885 | 2612152.2403 | 1261108.2899
31 | 2612173.5464 | 1261083.5958 | 2612175.9708 | 1261086.8126 | 2612175.647 | 1261090.3811 | 2612184.9389 | 1261103.681
32 | 2612210.5237 | 1261103.0957 | 2612207.5467 | 1261105.1449
33 | 2612147.7682 | 1261102.0845 | 2612152.2403 | 1261108.2899
34 | 2612210.5237 | 1261103.0957 | 2612213.9362 | 1261100.7468
35 | 2612452.3106 | 1261124.3994 | 2612462.2864 | 1261156.7423 | 2612465.2567 | 1261171.9337
36 | 2612452.3106 | 1261124.3994 | 2612435.9205 | 1261125.4324 | 2612400.2733 | 1261125.7693 | 2612396.7834 | 1261122.8156 | 2612387.6513 | 1261130.057 | 2612378.1917 | 1261135.3854 | 2612367.3149 | 1261135.4133
37 | 2612367.3149 | 1261135.4133 | 2612361.4421 | 1261135.4284 | 2612361.4421 | 1261135.4284
38 | 2612295.6206 | 1261120.2927 | 2612313.3261 | 1261117.105 | 2612332.5232 | 1261114.076 | 2612334.975 | 1261116.2493 | 2612343.3169 | 1261119.4132 | 2612350.9878 | 1261122.7425 | 2612354.8985 | 1261126.2419 | 2612361.4421 | 1261135.4284
39 | 2612295.6206 | 1261120.2927 | 2612295.9345 | 1261143.3758
40 | 2612052.9669 | 1261273.2436 | 2612048.3701 | 1261249.8917
41 | 2612046.7798 | 1261241.8132 | 2612048.3701 | 1261249.8917
42 | 2612043.8146 | 1261226.7499 | 2612046.7798 | 1261241.8132
43 | 2612092.0882 | 1261197.9744 | 2612074.2801 | 1261211.8019
44 | 2612074.0775 | 1261211.9593 | 2612074.2801 | 1261211.8019
45 | 2612056.1184 | 1261221.1925 | 2612070.6245 | 1261214.6404 | 2612074.0775 | 1261211.9593
46 | 2612056.1184 | 1261221.1925 | 2612051.7223 | 1261223.1782
47 | 2612043.8146 | 1261226.7499 | 2612027.9737 | 1261230.8356
48 | 2612043.8146 | 1261226.7499 | 2612051.7223 | 1261223.1782
49 | 2612027.9737 | 1261230.8356 | 2612005.2748 | 1261236.69
50 | 2612050.8067 | 1261146.6353 | 2612054.0907 | 1261145.6285
51 | 2612050.8067 | 1261146.6353 | 2612036.0439 | 1261151.161
52 | 2612054.0907 | 1261145.6285 | 2612065.8429 | 1261142.0257
53 | 2612032.571 | 1261152.2257 | 2612036.0439 | 1261151.161
54 | 2612069.573 | 1261140.8822 | 2612065.8429 | 1261142.0257
55 | 2612014.7786 | 1261157.6802 | 2612032.571 | 1261152.2257
56 | 2612072.1045 | 1261140.1061 | 2612069.573 | 1261140.8822
57 | 2612014.7786 | 1261157.6802 | 2612009.2915 | 1261159.3623
58 | 2611997.505 | 1261162.9756 | 2612009.2915 | 1261159.3623
59 | 2612017.8034 | 1261104.8032 | 2612015.7117 | 1261105.4353
60 | 2612017.8034 | 1261104.8032 | 2612042.5025 | 1261097.3332
61 | 2612056.1483 | 1261093.2062 | 2612042.5025 | 1261097.3332
62 | 2611950.4706 | 1261177.3947 | 2611964.8656 | 1261172.9817
63 | 2611950.4706 | 1261177.3947 | 2611952.6489 | 1261203.3245
64 | 2611975.6429 | 1261169.6777 | 2611964.8656 | 1261172.9817
65 | 2611953.149 | 1261209.2773 | 2611952.6489 | 1261203.3245
66 | 2611975.6429 | 1261169.6777 | 2611990.1604 | 1261165.2272
67 | 2611953.149 | 1261209.2773 | 2611954.1383 | 1261221.0231
68 | 2611953.149 | 1261209.2773 | 2611931.8523 | 1261215.8928
69 | 2611990.1604 | 1261165.2272 | 2611992.3774 | 1261164.5475
70 | 2611997.505 | 1261162.9756 | 2611992.3774 | 1261164.5475
71 | 2612215.7282 | 1261147.6306 | 2612218.7586 | 1261151.7387
72 | 2612215.7282 | 1261147.6306 | 2612208.3083 | 1261137.5718
73 | 2612218.7586 | 1261151.7387 | 2612219.0492 | 1261152.1327
74 | 2612230.1755 | 1261167.2161 | 2612219.0492 | 1261152.1327
75 | 2612242.3704 | 1261183.7483 | 2612230.1755 | 1261167.2161
76 | 2612234.0695 | 1261190.0021 | 2612242.3704 | 1261183.7483
77 | 2612242.3704 | 1261183.7483 | 2612257.8058 | 1261172.1142
78 | 2612234.0695 | 1261190.0021 | 2612240.0358 | 1261197.8137
79 | 2612234.0695 | 1261190.0021 | 2612205.3372 | 1261211.6526
80 | 2612257.8058 | 1261172.1142 | 2612260.2374 | 1261170.2815
81 | 2612250.4929 | 1261194.9677 | 2612242.5156 | 1261201.0604 | 2612240.0358 | 1261197.8137
82 | 2612283.5499 | 1261152.7103 | 2612260.2374 | 1261170.2815
83 | 2612250.4929 | 1261194.9677 | 2612256.6425 | 1261190.271 | 2612267.7689 | 1261204.8441
84 | 2612295.9345 | 1261143.3758 | 2612283.5499 | 1261152.7103
85 | 2612268.2621 | 1261205.4901 | 2612267.7689 | 1261204.8441
86 | 2612268.2621 | 1261205.4901 | 2612272.678 | 1261211.2739 | 2612262.7516 | 1261218.8505
87 | 2612262.7516 | 1261218.8505 | 2612258.1184 | 1261222.3869
88 | 2612258.1184 | 1261222.3869 | 2612253.4852 | 1261225.9233
89 | 2612295.9345 | 1261143.3758 | 2612296.6464 | 1261171.0495
90 | 2612244.0232 | 1261080.0366 | 2612237.6477 | 1261084.4252
91 | 2612244.0232 | 1261080.0366 | 2612250.8807 | 1261094.2049 | 2612251.5342 | 1261096.7084
92 | 2612233.4349 | 1261087.325 | 2612237.6477 | 1261084.4252
93 | 2612251.5342 | 1261096.7084 | 2612252.0392 | 1261098.643
94 | 2612253.4852 | 1261225.9233 | 2612248.8507 | 1261229.4608
95 | 2612233.4349 | 1261087.325 | 2612220.3603 | 1261096.3248
96 | 2612252.0392 | 1261098.643 | 2612252.9889 | 1261102.2814 | 2612253.7566 | 1261107.6657
97 | 2612217.2287 | 1261098.4804 | 2612220.3603 | 1261096.3248
98 | 2612217.2287 | 1261098.4804 | 2612213.9362 | 1261100.7468
99 | 2612137.9444 | 1261088.4531 | 2612147.7682 | 1261102.0845
100 | 2612137.9444 | 1261088.4531 | 2612133.4005 | 1261082.148
101 | 2612254.5597 | 1261113.2981 | 2612253.7566 | 1261107.6657
102 | 2612254.608 | 1261113.6369 | 2612254.5597 | 1261113.2981

## bus_geodata
| x | y | coords
0 | 2612178.0815 | 1261297.2052
1 | 2612176.8516 | 1261263.6682
2 | 2612149.5149 | 1261227.5654
3 | 2612180.461 | 1261230.3973
4 | 2612125.2055 | 1261244.7766
5 | 2612116.3412 | 1261179.1426
6 | 2612101.719 | 1261156.8312
7 | 2612108.3808 | 1261185.3236
8 | 2612128.7858 | 1261158.2426
9 | 2612188.706 | 1261224.1845
10 | 2612199.7145 | 1261256.0487
11 | 2612166.9943 | 1261211.5936
12 | 2612165.949 | 1261133.6848
13 | 2612138.4597 | 1261171.7505
14 | 2612117.1189 | 1261250.5024
15 | 2612158.0748 | 1261199.1392
16 | 2612169.0601 | 1261131.629
17 | 2612161.2145 | 1261120.7425
18 | 2612192.9712 | 1261115.1779
19 | 2612194.6277 | 1261219.7224
20 | 2612086.3438 | 1261135.7409
21 | 2612096.4973 | 1261194.5508
22 | 2612124.3835 | 1261069.636
23 | 2612128.972 | 1261076.003
24 | 2612156.6353 | 1261114.3885
25 | 2612184.9389 | 1261103.681
26 | 2612207.5467 | 1261105.1449
27 | 2612152.2403 | 1261108.2899
28 | 2612173.5464 | 1261083.5958
29 | 2612210.5237 | 1261103.0957
30 | 2612465.2567 | 1261171.9337
31 | 2612452.3106 | 1261124.3994
32 | 2612367.3149 | 1261135.4133
33 | 2612361.4421 | 1261135.4284
34 | 2612295.6206 | 1261120.2927
35 | 2612052.9669 | 1261273.2436
36 | 2612048.3701 | 1261249.8917
37 | 2612046.7798 | 1261241.8132
38 | 2612092.0882 | 1261197.9744
39 | 2612074.2801 | 1261211.8019
40 | 2612074.0775 | 1261211.9593
41 | 2612056.1184 | 1261221.1925
42 | 2612043.8146 | 1261226.7499
43 | 2612027.9737 | 1261230.8356
44 | 2612051.7223 | 1261223.1782
45 | 2612005.2748 | 1261236.69
46 | 2612050.8067 | 1261146.6353
47 | 2612054.0907 | 1261145.6285
48 | 2612036.0439 | 1261151.161
49 | 2612065.8429 | 1261142.0257
50 | 2612032.571 | 1261152.2257
51 | 2612069.573 | 1261140.8822
52 | 2612014.7786 | 1261157.6802
53 | 2612072.1045 | 1261140.1061
54 | 2612009.2915 | 1261159.3623
55 | 2612015.7117 | 1261105.4353
56 | 2612017.8034 | 1261104.8032
57 | 2612042.5025 | 1261097.3332
58 | 2612056.1483 | 1261093.2062
59 | 2611950.4706 | 1261177.3947
60 | 2611964.8656 | 1261172.9817
61 | 2611952.6489 | 1261203.3245
62 | 2611975.6429 | 1261169.6777
63 | 2611953.149 | 1261209.2773
64 | 2611990.1604 | 1261165.2272
65 | 2611992.3774 | 1261164.5475
66 | 2611997.505 | 1261162.9756
67 | 2612215.7282 | 1261147.6306
68 | 2612218.7586 | 1261151.7387
69 | 2612208.3083 | 1261137.5718
70 | 2612219.0492 | 1261152.1327
71 | 2612230.1755 | 1261167.2161
72 | 2612242.3704 | 1261183.7483
73 | 2612234.0695 | 1261190.0021
74 | 2612257.8058 | 1261172.1142
75 | 2612240.0358 | 1261197.8137
76 | 2612205.3372 | 1261211.6526
77 | 2612260.2374 | 1261170.2815
78 | 2612250.4929 | 1261194.9677
79 | 2612283.5498 | 1261152.7103
80 | 2611931.8523 | 1261215.8928
81 | 2611954.1383 | 1261221.0231
82 | 2612267.7689 | 1261204.8441
83 | 2612268.2621 | 1261205.4901
84 | 2612262.7516 | 1261218.8505
85 | 2612258.1184 | 1261222.3869
86 | 2612296.6464 | 1261171.0495
87 | 2612295.9345 | 1261143.3758
88 | 2612244.0232 | 1261080.0366
89 | 2612237.6477 | 1261084.4252
90 | 2612251.5342 | 1261096.7084
91 | 2612253.4852 | 1261225.9233
92 | 2612248.8507 | 1261229.4608
93 | 2612233.4349 | 1261087.325
94 | 2612252.0392 | 1261098.643
95 | 2612217.2288 | 1261098.4804
96 | 2612220.3603 | 1261096.3248
97 | 2612213.9362 | 1261100.7468
98 | 2612147.7682 | 1261102.0845
99 | 2612137.9444 | 1261088.4531
100 | 2612133.4005 | 1261082.148
101 | 2612253.7566 | 1261107.6657
102 | 2612254.5597 | 1261113.2981
103 | 2612254.608 | 1261113.6369
104 | 2612180.461 | 1261230.3973

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1