## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2773-14_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2773-14_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2773-14_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2773-14_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2773-14_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2773-14_0_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_2773-14_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_2773-14_0_4_node_114 | 0.4 | n |  | TRUE
8 | bus_LV_2773-14_0_4_node_116 | 0.4 | n |  | TRUE
9 | bus_LV_2773-14_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2773-14_0_4_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_2773-14_0_4_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_2773-14_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2773-14_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_2773-14_0_4_node_96 | 0.4 | n |  | TRUE
15 | bus_LV_2773-14_0_4_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_2773-14_0_4_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_2773-14_0_4_node_117 | 0.4 | n |  | TRUE
18 | bus_LV_2773-14_0_4_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_2773-14_0_4_node_57 | 0.4 | n |  | TRUE
20 | bus_LV_2773-14_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2773-14_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_2773-14_0_4_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_2773-14_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2773-14_0_4_node_97 | 0.4 | n |  | TRUE
25 | bus_LV_2773-14_0_4_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_2773-14_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2773-14_0_4_node_65 | 0.4 | n |  | TRUE
28 | bus_LV_2773-14_0_4_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_2773-14_0_4_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_2773-14_0_4_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_2773-14_0_4_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_2773-14_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_2773-14_0_4_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_2773-14_0_4_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_2773-14_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_2773-14_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_2773-14_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_2773-14_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_2773-14_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_2773-14_0_4_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_2773-14_0_4_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_2773-14_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_2773-14_0_4_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_2773-14_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_2773-14_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_2773-14_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_2773-14_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_2773-14_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_2773-14_0_4_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_2773-14_0_4_node_124 | 0.4 | n |  | TRUE
51 | bus_LV_2773-14_0_4_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_2773-14_0_4_node_125 | 0.4 | n |  | TRUE
53 | bus_LV_2773-14_0_4_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_2773-14_0_4_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_2773-14_0_4_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_2773-14_0_4_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_2773-14_0_4_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_2773-14_0_4_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_2773-14_0_4_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_2773-14_0_4_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_2773-14_0_4_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_2773-14_0_4_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_2773-14_0_4_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_2773-14_0_4_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_2773-14_0_4_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_2773-14_0_4_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_2773-14_0_4_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_2773-14_0_4_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_2773-14_0_4_node_45 | 0.4 | n |  | TRUE
70 | bus_LV_2773-14_0_4_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_2773-14_0_4_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_2773-14_0_4_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_2773-14_0_4_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_2773-14_0_4_node_95 | 0.4 | n |  | TRUE
75 | bus_LV_2773-14_0_4_node_94 | 0.4 | n |  | TRUE
76 | bus_LV_2773-14_0_4_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_2773-14_0_4_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_2773-14_0_4_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_2773-14_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_2773-14_0_4_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_2773-14_0_4_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_2773-14_0_4_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_2773-14_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_2773-14_0_4_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_2773-14_0_4_node_105 | 0.4 | n |  | TRUE
86 | bus_LV_2773-14_0_4_node_106 | 0.4 | n |  | TRUE
87 | bus_LV_2773-14_0_4_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_2773-14_0_4_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_2773-14_0_4_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_2773-14_0_4_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_2773-14_0_4_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_2773-14_0_4_node_119 | 0.4 | n |  | TRUE
93 | bus_LV_2773-14_0_4_node_123 | 0.4 | n |  | TRUE
94 | bus_LV_2773-14_0_4_node_120 | 0.4 | n |  | TRUE
95 | bus_LV_2773-14_0_4_node_93 | 0.4 | n |  | TRUE
96 | bus_LV_2773-14_0_4_node_118 | 0.4 | n |  | TRUE
97 | bus_LV_2773-14_0_4_node_121 | 0.4 | n |  | TRUE
98 | bus_LV_2773-14_0_4_node_88 | 0.4 | n |  | TRUE
99 | bus_LV_2773-14_0_4_node_90 | 0.4 | n |  | TRUE
100 | bus_LV_2773-14_0_4_node_86 | 0.4 | n |  | TRUE
101 | bus_LV_2773-14_0_4_node_87 | 0.4 | n |  | TRUE
102 | bus_LV_2773-14_0_4_node_89 | 0.4 | n |  | TRUE
103 | bus_LV_2773-14_0_4_node_91 | 0.4 | n |  | TRUE
104 | bus_LV_2773-14_0_4_node_92 | 0.4 | n |  | TRUE
105 | bus_LV_2773-14_0_4_node_98 | 0.4 | n |  | TRUE
106 | bus_LV_2773-14_0_4_node_99 | 0.4 | n |  | TRUE
107 | bus_LV_2773-14_0_4_node_100 | 0.4 | n |  | TRUE
108 | bus_LV_2773-14_0_4_node_101 | 0.4 | n |  | TRUE
109 | bus_LV_2773-14_0_4_node_102 | 0.4 | n |  | TRUE
110 | bus_LV_2773-14_0_4_node_103 | 0.4 | n |  | TRUE
111 | bus_LV_2773-14_0_4_node_104 | 0.4 | n |  | TRUE
112 | bus_LV_2773-14_0_4_node_108 | 0.4 | n |  | TRUE
113 | bus_LV_2773-14_0_4_node_107 | 0.4 | n |  | TRUE
114 | bus_LV_2773-14_0_4_node_109 | 0.4 | n |  | TRUE
115 | bus_LV_2773-14_0_4_node_110 | 0.4 | n |  | TRUE
116 | bus_LV_2773-14_0_4_node_111 | 0.4 | n |  | TRUE
117 | bus_LV_2773-14_0_4_node_112 | 0.4 | n |  | TRUE
118 | bus_LV_2773-14_0_4_node_113 | 0.4 | n |  | TRUE
119 | bus_LV_2773-14_0_4_node_122 | 0.4 | n |  | TRUE
120 | bus_MV_573_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2773-14_0_4_load_0 | 0 | 0.024133 | 0.0060484 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2773-14_0_4_load_3 | 3 | 0.0022413 | 0.00056171 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2773-14_0_4_load_4 | 4 | 0.0036504 | 0.00091488 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2773-14_0_4_load_10 | 5 | 0.0032231 | 0.00080779 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2773-14_0_4_load_114 | 7 | 0.0019309 | 0.00048392 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2773-14_0_4_load_116 | 8 | 0.0051655 | 0.0012946 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2773-14_0_4_load_19 | 11 | 0.023179 | 0.0058093 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2773-14_0_4_load_96 | 14 | 0.0019869 | 0.00049796 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2773-14_0_4_load_18 | 15 | 0.0023366 | 0.0005856 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2773-14_0_4_load_17 | 16 | 0.017883 | 0.004482 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2773-14_0_4_load_117 | 17 | 0.0013712 | 0.00034366 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2773-14_0_4_load_22 | 18 | 0.014117 | 0.0035382 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2773-14_0_4_load_57 | 19 | 0.0018114 | 0.00045398 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2773-14_0_4_load_16 | 21 | 0.0025203 | 0.00063164 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2773-14_0_4_load_32 | 22 | 0.0025194 | 0.00063143 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2773-14_0_4_load_12 | 23 | 0.026062 | 0.0065318 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2773-14_0_4_load_97 | 24 | 0.0019859 | 0.00049771 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2773-14_0_4_load_15 | 26 | 0.0025226 | 0.00063222 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2773-14_0_4_load_65 | 27 | 0.0025203 | 0.00063165 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2773-14_0_4_load_56 | 28 | 0.0018099 | 0.00045359 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2773-14_0_4_load_63 | 29 | 0.0025234 | 0.00063242 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2773-14_0_4_load_30 | 30 | 0.0025204 | 0.00063167 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2773-14_0_4_load_38 | 31 | 0.0024352 | 0.00061033 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2773-14_0_4_load_29 | 32 | 0.0025208 | 0.00063177 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2773-14_0_4_load_60 | 33 | 0.0060529 | 0.001517 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2773-14_0_4_load_59 | 34 | 0.0034696 | 0.00086957 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2773-14_0_4_load_23 | 35 | 0.0098645 | 0.0024723 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2773-14_0_4_load_24 | 36 | 0.0014405 | 0.00036103 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2773-14_0_4_load_25 | 37 | 0.0014403 | 0.00036097 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2773-14_0_4_load_26 | 38 | 0.0031218 | 0.0007824 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2773-14_0_4_load_27 | 39 | 0.0014395 | 0.00036077 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2773-14_0_4_load_51 | 40 | 0.0014653 | 0.00036724 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2773-14_0_4_load_52 | 41 | 0.0014653 | 0.00036724 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2773-14_0_4_load_28 | 42 | 0.0025194 | 0.00063143 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2773-14_0_4_load_64 | 43 | 0.002405 | 0.00060275 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2773-14_0_4_load_33 | 44 | 0.0040993 | 0.0010274 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2773-14_0_4_load_34 | 45 | 0.0081099 | 0.0020325 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2773-14_0_4_load_35 | 46 | 0.0027266 | 0.00068336 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2773-14_0_4_load_36 | 47 | 0.0032886 | 0.00082421 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2773-14_0_4_load_69 | 49 | 0.003879 | 0.00097216 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2773-14_0_4_load_70 | 51 | 0.0032036 | 0.00080289 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2773-14_0_4_load_125 | 52 | 0.0039906 | 0.0010001 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2773-14_0_4_load_58 | 54 | 0.0030515 | 0.00076478 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2773-14_0_4_load_46 | 55 | 0.002371 | 0.00059424 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2773-14_0_4_load_39 | 57 | 0.0022851 | 0.00057269 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2773-14_0_4_load_41 | 59 | 0.0053581 | 0.0013429 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2773-14_0_4_load_61 | 62 | 0.0025208 | 0.00063177 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2773-14_0_4_load_53 | 63 | 0.0018123 | 0.0004542 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2773-14_0_4_load_66 | 64 | 0.0019931 | 0.00049952 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2773-14_0_4_load_49 | 65 | 0.0056627 | 0.0014192 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2773-14_0_4_load_62 | 66 | 0.0025226 | 0.00063222 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2773-14_0_4_load_54 | 67 | 0.0018116 | 0.00045403 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2773-14_0_4_load_45 | 69 | 0.0044441 | 0.0011138 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2773-14_0_4_load_50 | 70 | 0.0014649 | 0.00036715 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2773-14_0_4_load_67 | 71 | 0.0014653 | 0.00036724 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2773-14_0_4_load_68 | 72 | 0.001466 | 0.00036741 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2773-14_0_4_load_55 | 73 | 0.0018123 | 0.0004542 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2773-14_0_4_load_95 | 74 | 0.0025387 | 0.00063627 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2773-14_0_4_load_94 | 75 | 0.0020982 | 0.00052587 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2773-14_0_4_load_71 | 76 | 0.0016146 | 0.00040466 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2773-14_0_4_load_72 | 77 | 0.001615 | 0.00040477 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2773-14_0_4_load_73 | 78 | 0.0028694 | 0.00071915 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2773-14_0_4_load_74 | 79 | 0.0016148 | 0.00040471 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2773-14_0_4_load_75 | 80 | 0.0021897 | 0.0005488 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2773-14_0_4_load_76 | 81 | 0.0027479 | 0.00068869 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2773-14_0_4_load_84 | 82 | 0.0015211 | 0.00038122 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2773-14_0_4_load_77 | 83 | 0.0025341 | 0.0006351 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2773-14_0_4_load_85 | 84 | 0.0015218 | 0.00038141 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2773-14_0_4_load_105 | 85 | 0.0022593 | 0.00056623 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2773-14_0_4_load_78 | 87 | 0.0016137 | 0.00040443 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2773-14_0_4_load_79 | 88 | 0.0034591 | 0.00086694 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2773-14_0_4_load_82 | 90 | 0.0014293 | 0.00035823 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2773-14_0_4_load_119 | 92 | 0.0035751 | 0.000896 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2773-14_0_4_load_123 | 93 | 0.0017022 | 0.00042662 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2773-14_0_4_load_120 | 94 | 0.0018652 | 0.00046747 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2773-14_0_4_load_93 | 95 | 0.0034574 | 0.0008665 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2773-14_0_4_load_118 | 96 | 0.0012023 | 0.00030132 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2773-14_0_4_load_121 | 97 | 0.001612 | 0.000404 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2773-14_0_4_load_90 | 99 | 0.0015188 | 0.00038065 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2773-14_0_4_load_86 | 100 | 0.0021779 | 0.00054583 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2773-14_0_4_load_87 | 101 | 0.002098 | 0.00052581 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2773-14_0_4_load_89 | 102 | 0.0041221 | 0.0010331 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2773-14_0_4_load_91 | 103 | 0.0017653 | 0.00044243 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2773-14_0_4_load_92 | 104 | 0.0033441 | 0.0008381 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2773-14_0_4_load_98 | 105 | 0.0025516 | 0.00063949 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2773-14_0_4_load_99 | 106 | 0.0019913 | 0.00049906 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2773-14_0_4_load_100 | 107 | 0.0013709 | 0.00034358 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2773-14_0_4_load_101 | 108 | 0.0013701 | 0.00034339 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2773-14_0_4_load_102 | 109 | 0.0033201 | 0.00083208 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2773-14_0_4_load_103 | 110 | 0.0013689 | 0.00034307 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2773-14_0_4_load_104 | 111 | 0.0016374 | 0.00041038 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2773-14_0_4_load_108 | 112 | 0.0030177 | 0.00075631 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2773-14_0_4_load_107 | 113 | 0.0013715 | 0.00034374 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2773-14_0_4_load_110 | 115 | 0.0022588 | 0.00056611 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2773-14_0_4_load_111 | 116 | 0.002958 | 0.00074135 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2773-14_0_4_load_112 | 117 | 0.0012632 | 0.00031658 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2773-14_0_4_load_113 | 118 | 0.001202 | 0.00030125 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2773-14_0_4_load_122 | 119 | 0.006127 | 0.0015356 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2773-14_0_4_line_0 |  | 0 | 1 | 0.039464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2773-14_0_4_line_1 |  | 0 | 2 | 0.021094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2773-14_0_4_line_2 |  | 1 | 3 | 0.021905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2773-14_0_4_line_3 |  | 1 | 4 | 0.015535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2773-14_0_4_line_4 |  | 2 | 5 | 0.020495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2773-14_0_4_line_5 |  | 2 | 6 | 0.031154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2773-14_0_4_line_6 |  | 3 | 7 | 0.01622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2773-14_0_4_line_7 |  | 4 | 8 | 0.026606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2773-14_0_4_line_8 |  | 5 | 14 | 0.0053643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2773-14_0_4_line_9 |  | 6 | 15 | 0.030946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2773-14_0_4_line_10 |  | 6 | 16 | 0.032889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2773-14_0_4_line_11 |  | 8 | 17 | 0.0075925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2773-14_0_4_line_12 |  | 9 | 10 | 0.044724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2773-14_0_4_line_13 |  | 9 | 11 | 0.033525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2773-14_0_4_line_14 |  | 10 | 18 | 0.048485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2773-14_0_4_line_15 |  | 11 | 12 | 0.023098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2773-14_0_4_line_16 |  | 12 | 13 | 0.042847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2773-14_0_4_line_17 |  | 13 | 19 | 0.0096301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2773-14_0_4_line_18 |  | 13 | 20 | 0.015452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2773-14_0_4_line_19 |  | 14 | 24 | 0.0077494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2773-14_0_4_line_20 |  | 15 | 25 | 0.012198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2773-14_0_4_line_21 |  | 17 | 86 | 0.0086741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2773-14_0_4_line_22 |  | 19 | 28 | 0.0006847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2773-14_0_4_line_23 |  | 20 | 26 | 0.022221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2773-14_0_4_line_24 |  | 20 | 23 | 0.015788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2773-14_0_4_line_25 |  | 21 | 22 | 0.0081238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2773-14_0_4_line_26 |  | 22 | 30 | 0.0081232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2773-14_0_4_line_27 |  | 24 | 105 | 0.0183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2773-14_0_4_line_28 |  | 25 | 31 | 0.00054825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2773-14_0_4_line_29 |  | 25 | 32 | 0.012691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2773-14_0_4_line_30 |  | 26 | 27 | 0.0081248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2773-14_0_4_line_31 |  | 27 | 29 | 0.008122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2773-14_0_4_line_32 |  | 28 | 73 | 0.0084112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2773-14_0_4_line_33 |  | 29 | 66 | 0.0081256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2773-14_0_4_line_34 |  | 30 | 42 | 0.0081237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2773-14_0_4_line_35 |  | 31 | 43 | 0.006843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_2773-14_0_4_line_36 |  | 32 | 42 | 0.0081236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2773-14_0_4_line_37 |  | 33 | 34 | 0.03598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2773-14_0_4_line_38 |  | 34 | 54 | 0.020808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2773-14_0_4_line_39 |  | 35 | 36 | 0.0074985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2773-14_0_4_line_40 |  | 35 | 37 | 0.012171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2773-14_0_4_line_41 |  | 36 | 38 | 0.0067911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2773-14_0_4_line_42 |  | 37 | 39 | 0.0023594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2773-14_0_4_line_43 |  | 38 | 40 | 0.015772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2773-14_0_4_line_44 |  | 40 | 41 | 0.0060168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2773-14_0_4_line_45 |  | 41 | 72 | 0.0060206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2773-14_0_4_line_46 |  | 43 | 56 | 0.016728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2773-14_0_4_line_47 |  | 44 | 45 | 0.0046814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2773-14_0_4_line_48 |  | 44 | 46 | 0.016127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2773-14_0_4_line_49 |  | 45 | 47 | 0.016061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2773-14_0_4_line_50 |  | 46 | 48 | 0.049802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2773-14_0_4_line_51 |  | 47 | 49 | 0.0080074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2773-14_0_4_line_52 |  | 48 | 50 | 0.00674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2773-14_0_4_line_53 |  | 49 | 51 | 0.0096073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2773-14_0_4_line_54 |  | 50 | 52 | 0.023776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2773-14_0_4_line_55 |  | 51 | 74 | 0.017527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2773-14_0_4_line_56 |  | 52 | 95 | 0.011439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2773-14_0_4_line_57 |  | 53 | 54 | 0.025415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2773-14_0_4_line_58 |  | 53 | 55 | 0.0192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2773-14_0_4_line_59 |  | 55 | 69 | 0.0071532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2773-14_0_4_line_60 |  | 56 | 62 | 0.012396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_2773-14_0_4_line_61 |  | 57 | 58 | 0.017007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2773-14_0_4_line_62 |  | 57 | 59 | 0.015231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2773-14_0_4_line_63 |  | 58 | 60 | 0.016454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2773-14_0_4_line_64 |  | 58 | 61 | 0.02334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2773-14_0_4_line_65 |  | 60 | 63 | 0.024382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2773-14_0_4_line_66 |  | 61 | 64 | 0.017261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2773-14_0_4_line_67 |  | 61 | 65 | 0.014662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2773-14_0_4_line_68 |  | 62 | 66 | 0.008127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_2773-14_0_4_line_69 |  | 63 | 67 | 0.0084133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2773-14_0_4_line_70 |  | 65 | 68 | 0.0067935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2773-14_0_4_line_71 |  | 67 | 73 | 0.0084126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2773-14_0_4_line_72 |  | 68 | 70 | 0.013884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2773-14_0_4_line_73 |  | 68 | 69 | 0.028713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2773-14_0_4_line_74 |  | 70 | 71 | 0.0060164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2773-14_0_4_line_75 |  | 71 | 72 | 0.0060184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2773-14_0_4_line_76 |  | 74 | 75 | 0.014529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2773-14_0_4_line_77 |  | 75 | 99 | 0.0057121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2773-14_0_4_line_78 |  | 76 | 77 | 0.0017204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2773-14_0_4_line_79 |  | 76 | 78 | 0.01662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2773-14_0_4_line_80 |  | 77 | 79 | 0.020782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2773-14_0_4_line_81 |  | 78 | 80 | 0.0065908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2773-14_0_4_line_82 |  | 79 | 81 | 0.001956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2773-14_0_4_line_83 |  | 80 | 82 | 0.02672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2773-14_0_4_line_84 |  | 81 | 83 | 0.018537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2773-14_0_4_line_85 |  | 82 | 84 | 0.0077948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2773-14_0_4_line_86 |  | 83 | 85 | 0.014676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2773-14_0_4_line_87 |  | 84 | 98 | 0.0029709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2773-14_0_4_line_88 |  | 85 | 86 | 0.017222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2773-14_0_4_line_89 |  | 86 | 114 | 0.012242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2773-14_0_4_line_90 |  | 87 | 88 | 0.051538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2773-14_0_4_line_91 |  | 87 | 89 | 0.056637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2773-14_0_4_line_92 |  | 89 | 90 | 0.035852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2773-14_0_4_line_93 |  | 89 | 91 | 0.065379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2773-14_0_4_line_94 |  | 90 | 92 | 0.0033247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2773-14_0_4_line_95 |  | 91 | 93 | 0.033569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2773-14_0_4_line_96 |  | 91 | 94 | 0.012553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2773-14_0_4_line_97 |  | 92 | 96 | 0.0042602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2773-14_0_4_line_98 |  | 94 | 97 | 0.0010275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2773-14_0_4_line_99 |  | 96 | 118 | 0.0068756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2773-14_0_4_line_100 |  | 97 | 119 | 0.018874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2773-14_0_4_line_101 |  | 98 | 99 | 0.0087378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2773-14_0_4_line_102 |  | 98 | 100 | 0.016824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2773-14_0_4_line_103 |  | 100 | 101 | 0.015635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2773-14_0_4_line_104 |  | 101 | 102 | 0.0078381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2773-14_0_4_line_105 |  | 102 | 103 | 0.010762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2773-14_0_4_line_106 |  | 103 | 104 | 0.009646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2773-14_0_4_line_107 |  | 105 | 106 | 0.0050494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2773-14_0_4_line_108 |  | 107 | 108 | 0.011892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2773-14_0_4_line_109 |  | 107 | 109 | 0.0014782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2773-14_0_4_line_110 |  | 108 | 110 | 6.0317e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2773-14_0_4_line_111 |  | 109 | 111 | 0.014172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2773-14_0_4_line_112 |  | 110 | 112 | 0.0064976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2773-14_0_4_line_113 |  | 112 | 113 | 0.01565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2773-14_0_4_line_114 |  | 113 | 114 | 0.0187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2773-14_0_4_line_115 |  | 114 | 115 | 0.0093294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_2773-14_0_4_line_116 |  | 115 | 116 | 0.0061324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_2773-14_0_4_line_117 |  | 116 | 117 | 0.00071382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_2773-14_0_4_line_118 |  | 117 | 118 | 0.014442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2773-14_0_4_trafo_18 | 0.63 MVA 20/0.4 kV | 120 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2611681.8356 | 1261382.6007 | 2611670.8184 | 1261344.7054
1 | 2611664.9297 | 1261324.4501 | 2611670.8184 | 1261344.7054
2 | 2611681.8356 | 1261382.6007 | 2611688.1094 | 1261403.5878
3 | 2611681.8356 | 1261382.6007 | 2611667.5952 | 1261388.8098
4 | 2611664.9297 | 1261324.4501 | 2611645.805 | 1261331.8181
5 | 2611656.2334 | 1261294.5349 | 2611659.4964 | 1261305.7601 | 2611664.9297 | 1261324.4501
6 | 2611688.1094 | 1261403.5878 | 2611692.7549 | 1261419.1281
7 | 2611667.5952 | 1261388.8098 | 2611643.2071 | 1261399.4436
8 | 2611640.7993 | 1261333.7466 | 2611645.805 | 1261331.8181
9 | 2611656.2334 | 1261294.5349 | 2611647.5961 | 1261264.8185
10 | 2611656.2334 | 1261294.5349 | 2611687.8872 | 1261285.6056
11 | 2611636.2474 | 1261402.4781 | 2611643.2071 | 1261399.4436
12 | 2611782.6076 | 1261127.826 | 2611791.9617 | 1261171.5632
13 | 2611791.9617 | 1261171.5632 | 2611759.6547 | 1261180.5182
14 | 2611782.6076 | 1261127.826 | 2611736.6005 | 1261143.1293
15 | 2611737.3964 | 1261186.6878 | 2611759.6547 | 1261180.5182
16 | 2611737.3964 | 1261186.6878 | 2611726.3745 | 1261189.9016 | 2611725.8506 | 1261188.1216 | 2611697.4138 | 1261196.4268
17 | 2611697.4138 | 1261196.4268 | 2611694.6065 | 1261187.215
18 | 2611697.4138 | 1261196.4268 | 2611701.913 | 1261211.2123
19 | 2611640.7993 | 1261333.7466 | 2611633.568 | 1261336.5325
20 | 2611644.1916 | 1261253.1054 | 2611647.5961 | 1261264.8185
21 | 2611628.2962 | 1261405.945 | 2611636.2474 | 1261402.4781
22 | 2611693.9483 | 1261187.4038 | 2611694.6065 | 1261187.215 | 2611694.6065 | 1261187.215
23 | 2611701.913 | 1261211.2123 | 2611680.5747 | 1261217.4138
24 | 2611701.913 | 1261211.2123 | 2611706.5132 | 1261226.315
25 | 2611687.5968 | 1261240.5468 | 2611679.793 | 1261242.8047
26 | 2611671.9899 | 1261245.0624 | 2611679.793 | 1261242.8047
27 | 2611633.568 | 1261336.5325 | 2611616.4914 | 1261343.1115
28 | 2611644.1916 | 1261253.1054 | 2611644.0387 | 1261252.5789
29 | 2611644.1916 | 1261253.1054 | 2611656.3827 | 1261249.578
30 | 2611672.7727 | 1261219.6813 | 2611680.5747 | 1261217.4138
31 | 2611664.9734 | 1261221.948 | 2611672.7727 | 1261219.6813
32 | 2611685.8631 | 1261189.723 | 2611693.9483 | 1261187.4038
33 | 2611657.1707 | 1261224.2157 | 2611664.9734 | 1261221.948
34 | 2611671.9899 | 1261245.0624 | 2611664.1862 | 1261247.3202
35 | 2611642.1298 | 1261246.0075 | 2611644.0387 | 1261252.5789
36 | 2611656.3827 | 1261249.578 | 2611664.1862 | 1261247.3202
37 | 2611646.1787 | 1261094.5587 | 2611680.1517 | 1261082.7088
38 | 2611646.1787 | 1261094.5587 | 2611626.5313 | 1261101.4117
39 | 2611675.4507 | 1261143.916 | 2611682.5805 | 1261141.5936
40 | 2611678.7597 | 1261130.0376 | 2611682.5805 | 1261141.5936 | 2611682.5805 | 1261141.5936
41 | 2611668.9935 | 1261146.0192 | 2611675.4507 | 1261143.916
42 | 2611678.019 | 1261127.7975 | 2611678.7597 | 1261130.0376
43 | 2611668.9935 | 1261146.0192 | 2611653.9974 | 1261150.9038
44 | 2611648.2764 | 1261152.7672 | 2611653.9974 | 1261150.9038
45 | 2611642.5519 | 1261154.6318 | 2611648.2764 | 1261152.7672
46 | 2611637.4634 | 1261229.9431 | 2611642.1298 | 1261246.0075
47 | 2611522.9276 | 1261212.538 | 2611526.2359 | 1261215.8503 | 2611526.2359 | 1261215.8503
48 | 2611522.9276 | 1261212.538 | 2611517.2119 | 1261206.8155 | 2611509.6043 | 1261204.2169
49 | 2611526.2359 | 1261215.8503 | 2611533.6653 | 1261230.0895
50 | 2611460.6188 | 1261195.6431 | 2611468.3026 | 1261196.4029 | 2611505.7218 | 1261202.8906 | 2611509.6043 | 1261204.2169
51 | 2611533.6653 | 1261230.0895 | 2611537.3693 | 1261237.1887
52 | 2611460.0408 | 1261202.3577 | 2611460.6188 | 1261195.6431
53 | 2611541.8134 | 1261245.7064 | 2611537.3693 | 1261237.1887
54 | 2611460.0408 | 1261202.3577 | 2611460.5978 | 1261206.5505 | 2611462.9338 | 1261225.9571
55 | 2611549.9208 | 1261261.2451 | 2611541.8134 | 1261245.7064
56 | 2611462.9338 | 1261225.9571 | 2611462.9338 | 1261225.9571 | 2611455.9541 | 1261235.0205
57 | 2611602.5343 | 1261109.782 | 2611626.5313 | 1261101.4117
58 | 2611602.5343 | 1261109.782 | 2611607.8929 | 1261128.2191
59 | 2611609.8893 | 1261135.0881 | 2611607.8929 | 1261128.2191
60 | 2611637.4634 | 1261229.9431 | 2611649.3666 | 1261226.4837
61 | 2611630.4058 | 1261205.6794 | 2611614.4115 | 1261211.4611
62 | 2611600.088 | 1261216.6388 | 2611614.4115 | 1261211.4611
63 | 2611646.2525 | 1261201.0851 | 2611630.4058 | 1261205.6794
64 | 2611623.8946 | 1261183.2626 | 2611630.4058 | 1261205.6794
65 | 2611646.2525 | 1261201.0851 | 2611669.6895 | 1261194.3623
66 | 2611623.8946 | 1261183.2626 | 2611640.3521 | 1261178.0569
67 | 2611623.8946 | 1261183.2626 | 2611619.803 | 1261169.1827
68 | 2611649.3666 | 1261226.4837 | 2611657.1707 | 1261224.2157
69 | 2611669.6895 | 1261194.3623 | 2611677.7766 | 1261192.0425
70 | 2611617.9072 | 1261162.6591 | 2611619.803 | 1261169.1827
71 | 2611677.7766 | 1261192.0425 | 2611685.8631 | 1261189.723
72 | 2611617.9072 | 1261162.6591 | 2611631.1088 | 1261158.3591
73 | 2611617.9072 | 1261162.6591 | 2611612.5933 | 1261144.3918 | 2611609.8893 | 1261135.0881
74 | 2611631.1088 | 1261158.3591 | 2611636.8294 | 1261156.4957
75 | 2611636.8294 | 1261156.4957 | 2611642.5519 | 1261154.6318
76 | 2611549.9208 | 1261261.2451 | 2611556.6416 | 1261274.1263
77 | 2611559.2839 | 1261279.1905 | 2611556.6416 | 1261274.1263
78 | 2611592.611 | 1261340.1017 | 2611593.4308 | 1261341.6142
79 | 2611592.611 | 1261340.1017 | 2611584.6917 | 1261325.4896
80 | 2611603.333 | 1261359.8849 | 2611593.4308 | 1261341.6142
81 | 2611581.4982 | 1261319.7242 | 2611584.6036 | 1261325.3271 | 2611584.6917 | 1261325.4896
82 | 2611603.333 | 1261359.8849 | 2611604.265 | 1261361.6046
83 | 2611581.4982 | 1261319.7242 | 2611568.5448 | 1261296.3534
84 | 2611604.265 | 1261361.6046 | 2611613.0976 | 1261377.9018
85 | 2611568.5448 | 1261296.3534 | 2611564.766 | 1261289.5358
86 | 2611613.0976 | 1261377.9018 | 2611620.0903 | 1261390.8042
87 | 2611563.3258 | 1261286.9373 | 2611564.766 | 1261289.5358
88 | 2611628.2962 | 1261405.945 | 2611620.0903 | 1261390.8042
89 | 2611616.768 | 1261410.1587 | 2611628.2962 | 1261405.945
90 | 2611532.2031 | 1261389.3416 | 2611526.0134 | 1261369.4767 | 2611515.7133 | 1261358.1268 | 2611505.3176 | 1261346.7586
91 | 2611548.5327 | 1261443.5708 | 2611540.1951 | 1261414.9907 | 2611532.2031 | 1261389.3416
92 | 2611548.5327 | 1261443.5708 | 2611552.6226 | 1261432.5602 | 2611562.5019 | 1261423.8623 | 2611573.1872 | 1261421.4963
93 | 2611568.1813 | 1261505.9404 | 2611562.3397 | 1261487.9056 | 2611548.5327 | 1261443.5708
94 | 2611573.1872 | 1261421.4963 | 2611576.4333 | 1261420.7775
95 | 2611568.1813 | 1261505.9404 | 2611577.201 | 1261528.4511 | 2611581.418 | 1261536.7607
96 | 2611568.1813 | 1261505.9404 | 2611579.9194 | 1261501.4906
97 | 2611580.5927 | 1261419.8565 | 2611576.4333 | 1261420.7775
98 | 2611579.9194 | 1261501.4906 | 2611580.8802 | 1261501.1264
99 | 2611587.3057 | 1261418.3701 | 2611580.5927 | 1261419.8565
100 | 2611598.5288 | 1261494.4361 | 2611580.8802 | 1261501.1264
101 | 2611563.3258 | 1261286.9373 | 2611559.2839 | 1261279.1905
102 | 2611563.3258 | 1261286.9373 | 2611547.6736 | 1261293.1069
103 | 2611547.6736 | 1261293.1069 | 2611533.1282 | 1261298.8403
104 | 2611525.8362 | 1261301.7146 | 2611533.1282 | 1261298.8403
105 | 2611525.8362 | 1261301.7146 | 2611515.8237 | 1261305.6612
106 | 2611506.8496 | 1261309.1985 | 2611515.8237 | 1261305.6612
107 | 2611611.7796 | 1261344.9268 | 2611616.4914 | 1261343.1115
108 | 2611637.5491 | 1261458.6968 | 2611632.8686 | 1261447.7647
109 | 2611637.5491 | 1261458.6968 | 2611638.1309 | 1261460.0558
110 | 2611632.8686 | 1261447.7647 | 2611632.8449 | 1261447.7093
111 | 2611643.7087 | 1261473.0836 | 2611638.1309 | 1261460.0558
112 | 2611632.8449 | 1261447.7093 | 2611630.2875 | 1261441.7361
113 | 2611624.1281 | 1261427.3496 | 2611630.2875 | 1261441.7361
114 | 2611616.768 | 1261410.1587 | 2611624.1281 | 1261427.3496
115 | 2611616.768 | 1261410.1587 | 2611607.8868 | 1261413.0156
116 | 2611602.049 | 1261414.8934 | 2611607.8868 | 1261413.0156
117 | 2611602.049 | 1261414.8934 | 2611601.3695 | 1261415.112
118 | 2611601.3695 | 1261415.112 | 2611599.9333 | 1261415.574 | 2611587.3057 | 1261418.3701

## bus_geodata
| x | y | coords
0 | 2611670.8184 | 1261344.7054
1 | 2611681.8356 | 1261382.6007
2 | 2611664.9297 | 1261324.4501
3 | 2611688.1094 | 1261403.5878
4 | 2611667.5952 | 1261388.8098
5 | 2611645.805 | 1261331.8181
6 | 2611656.2334 | 1261294.5349
7 | 2611692.7549 | 1261419.1281
8 | 2611643.2071 | 1261399.4436
9 | 2611791.9617 | 1261171.5632
10 | 2611782.6076 | 1261127.826
11 | 2611759.6547 | 1261180.5182
12 | 2611737.3964 | 1261186.6878
13 | 2611697.4138 | 1261196.4268
14 | 2611640.7993 | 1261333.7466
15 | 2611647.5961 | 1261264.8185
16 | 2611687.8872 | 1261285.6056
17 | 2611636.2474 | 1261402.4781
18 | 2611736.6005 | 1261143.1293
19 | 2611694.6065 | 1261187.215
20 | 2611701.913 | 1261211.2123
21 | 2611687.5968 | 1261240.5468
22 | 2611679.793 | 1261242.8046
23 | 2611706.5132 | 1261226.315
24 | 2611633.568 | 1261336.5325
25 | 2611644.1916 | 1261253.1054
26 | 2611680.5747 | 1261217.4138
27 | 2611672.7727 | 1261219.6813
28 | 2611693.9483 | 1261187.4038
29 | 2611664.9734 | 1261221.948
30 | 2611671.9899 | 1261245.0624
31 | 2611644.0387 | 1261252.5789
32 | 2611656.3828 | 1261249.578
33 | 2611680.1517 | 1261082.7088
34 | 2611646.1787 | 1261094.5587
35 | 2611682.5805 | 1261141.5936
36 | 2611675.4507 | 1261143.916
37 | 2611678.7597 | 1261130.0376
38 | 2611668.9935 | 1261146.0192
39 | 2611678.019 | 1261127.7975
40 | 2611653.9974 | 1261150.9038
41 | 2611648.2764 | 1261152.7672
42 | 2611664.1862 | 1261247.3202
43 | 2611642.1298 | 1261246.0075
44 | 2611522.9276 | 1261212.538
45 | 2611526.2359 | 1261215.8503
46 | 2611509.6043 | 1261204.2169
47 | 2611533.6653 | 1261230.0895
48 | 2611460.6188 | 1261195.6431
49 | 2611537.3693 | 1261237.1887
50 | 2611460.0408 | 1261202.3577
51 | 2611541.8134 | 1261245.7064
52 | 2611462.9338 | 1261225.9571
53 | 2611602.5343 | 1261109.782
54 | 2611626.5313 | 1261101.4117
55 | 2611607.8929 | 1261128.2191
56 | 2611637.4634 | 1261229.9431
57 | 2611614.4115 | 1261211.4611
58 | 2611630.4058 | 1261205.6794
59 | 2611600.088 | 1261216.6388
60 | 2611646.2525 | 1261201.0851
61 | 2611623.8946 | 1261183.2626
62 | 2611649.3666 | 1261226.4837
63 | 2611669.6895 | 1261194.3623
64 | 2611640.3521 | 1261178.0569
65 | 2611619.803 | 1261169.1827
66 | 2611657.1707 | 1261224.2157
67 | 2611677.7766 | 1261192.0425
68 | 2611617.9072 | 1261162.6591
69 | 2611609.8893 | 1261135.0881
70 | 2611631.1088 | 1261158.359
71 | 2611636.8294 | 1261156.4957
72 | 2611642.5519 | 1261154.6318
73 | 2611685.8631 | 1261189.723
74 | 2611549.9208 | 1261261.2451
75 | 2611556.6416 | 1261274.1263
76 | 2611592.611 | 1261340.1017
77 | 2611593.4308 | 1261341.6142
78 | 2611584.6917 | 1261325.4896
79 | 2611603.333 | 1261359.8849
80 | 2611581.4982 | 1261319.7242
81 | 2611604.265 | 1261361.6046
82 | 2611568.5448 | 1261296.3534
83 | 2611613.0976 | 1261377.9018
84 | 2611564.766 | 1261289.5358
85 | 2611620.0903 | 1261390.8042
86 | 2611628.2962 | 1261405.945
87 | 2611532.2031 | 1261389.3416
88 | 2611505.3176 | 1261346.7586
89 | 2611548.5327 | 1261443.5708
90 | 2611573.1872 | 1261421.4963
91 | 2611568.1813 | 1261505.9404
92 | 2611576.4333 | 1261420.7775
93 | 2611581.418 | 1261536.7607
94 | 2611579.9193 | 1261501.4906
95 | 2611455.9541 | 1261235.0205
96 | 2611580.5927 | 1261419.8565
97 | 2611580.8802 | 1261501.1264
98 | 2611563.3258 | 1261286.9373
99 | 2611559.2839 | 1261279.1905
100 | 2611547.6736 | 1261293.1069
101 | 2611533.1282 | 1261298.8403
102 | 2611525.8362 | 1261301.7146
103 | 2611515.8237 | 1261305.6612
104 | 2611506.8496 | 1261309.1985
105 | 2611616.4914 | 1261343.1115
106 | 2611611.7796 | 1261344.9268
107 | 2611637.5491 | 1261458.6968
108 | 2611632.8686 | 1261447.7647
109 | 2611638.1309 | 1261460.0557
110 | 2611632.8449 | 1261447.7093
111 | 2611643.7087 | 1261473.0836
112 | 2611630.2875 | 1261441.7361
113 | 2611624.1281 | 1261427.3496
114 | 2611616.768 | 1261410.1587
115 | 2611607.8868 | 1261413.0156
116 | 2611602.049 | 1261414.8934
117 | 2611601.3695 | 1261415.112
118 | 2611587.3057 | 1261418.3701
119 | 2611598.5288 | 1261494.4361
120 | 2611644.1916 | 1261253.1054

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1