## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2773-22_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2773-22_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2773-22_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2773-22_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2773-22_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2773-22_0_8_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2773-22_0_8_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2773-22_0_8_node_109 | 0.4 | n |  | TRUE
8 | bus_LV_2773-22_0_8_node_146 | 0.4 | n |  | TRUE
9 | bus_LV_2773-22_0_8_node_163 | 0.4 | n |  | TRUE
10 | bus_LV_2773-22_0_8_node_77 | 0.4 | n |  | TRUE
11 | bus_LV_2773-22_0_8_node_117 | 0.4 | n |  | TRUE
12 | bus_LV_2773-22_0_8_node_114 | 0.4 | n |  | TRUE
13 | bus_LV_2773-22_0_8_node_108 | 0.4 | n |  | TRUE
14 | bus_LV_2773-22_0_8_node_106 | 0.4 | n |  | TRUE
15 | bus_LV_2773-22_0_8_node_145 | 0.4 | n |  | TRUE
16 | bus_LV_2773-22_0_8_node_162 | 0.4 | n |  | TRUE
17 | bus_LV_2773-22_0_8_node_80 | 0.4 | n |  | TRUE
18 | bus_LV_2773-22_0_8_node_87 | 0.4 | n |  | TRUE
19 | bus_LV_2773-22_0_8_node_75 | 0.4 | n |  | TRUE
20 | bus_LV_2773-22_0_8_node_78 | 0.4 | n |  | TRUE
21 | bus_LV_2773-22_0_8_node_7 | 0.4 | n |  | TRUE
22 | bus_LV_2773-22_0_8_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_2773-22_0_8_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_2773-22_0_8_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_2773-22_0_8_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_2773-22_0_8_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_2773-22_0_8_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_2773-22_0_8_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_2773-22_0_8_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_2773-22_0_8_node_90 | 0.4 | n |  | TRUE
31 | bus_LV_2773-22_0_8_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2773-22_0_8_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_2773-22_0_8_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_2773-22_0_8_node_14 | 0.4 | n |  | TRUE
35 | bus_LV_2773-22_0_8_node_89 | 0.4 | n |  | TRUE
36 | bus_LV_2773-22_0_8_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_2773-22_0_8_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_2773-22_0_8_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_2773-22_0_8_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_2773-22_0_8_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_2773-22_0_8_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_2773-22_0_8_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_2773-22_0_8_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_2773-22_0_8_node_100 | 0.4 | n |  | TRUE
45 | bus_LV_2773-22_0_8_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_2773-22_0_8_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_2773-22_0_8_node_122 | 0.4 | n |  | TRUE
48 | bus_LV_2773-22_0_8_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_2773-22_0_8_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_2773-22_0_8_node_101 | 0.4 | n |  | TRUE
51 | bus_LV_2773-22_0_8_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_2773-22_0_8_node_173 | 0.4 | n |  | TRUE
53 | bus_LV_2773-22_0_8_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_2773-22_0_8_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_2773-22_0_8_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_2773-22_0_8_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_2773-22_0_8_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_2773-22_0_8_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_2773-22_0_8_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_2773-22_0_8_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_2773-22_0_8_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_2773-22_0_8_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_2773-22_0_8_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_2773-22_0_8_node_110 | 0.4 | n |  | TRUE
65 | bus_LV_2773-22_0_8_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_2773-22_0_8_node_38 | 0.4 | n |  | TRUE
67 | bus_LV_2773-22_0_8_node_36 | 0.4 | n |  | TRUE
68 | bus_LV_2773-22_0_8_node_39 | 0.4 | n |  | TRUE
69 | bus_LV_2773-22_0_8_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_2773-22_0_8_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_2773-22_0_8_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_2773-22_0_8_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_2773-22_0_8_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_2773-22_0_8_node_112 | 0.4 | n |  | TRUE
75 | bus_LV_2773-22_0_8_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_2773-22_0_8_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_2773-22_0_8_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_2773-22_0_8_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_2773-22_0_8_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_2773-22_0_8_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_2773-22_0_8_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_2773-22_0_8_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_2773-22_0_8_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_2773-22_0_8_node_63 | 0.4 | n |  | TRUE
85 | bus_LV_2773-22_0_8_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_2773-22_0_8_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_2773-22_0_8_node_93 | 0.4 | n |  | TRUE
88 | bus_LV_2773-22_0_8_node_94 | 0.4 | n |  | TRUE
89 | bus_LV_2773-22_0_8_node_92 | 0.4 | n |  | TRUE
90 | bus_LV_2773-22_0_8_node_95 | 0.4 | n |  | TRUE
91 | bus_LV_2773-22_0_8_node_66 | 0.4 | n |  | TRUE
92 | bus_LV_2773-22_0_8_node_67 | 0.4 | n |  | TRUE
93 | bus_LV_2773-22_0_8_node_68 | 0.4 | n |  | TRUE
94 | bus_LV_2773-22_0_8_node_69 | 0.4 | n |  | TRUE
95 | bus_LV_2773-22_0_8_node_70 | 0.4 | n |  | TRUE
96 | bus_LV_2773-22_0_8_node_96 | 0.4 | n |  | TRUE
97 | bus_LV_2773-22_0_8_node_97 | 0.4 | n |  | TRUE
98 | bus_LV_2773-22_0_8_node_71 | 0.4 | n |  | TRUE
99 | bus_LV_2773-22_0_8_node_72 | 0.4 | n |  | TRUE
100 | bus_LV_2773-22_0_8_node_73 | 0.4 | n |  | TRUE
101 | bus_LV_2773-22_0_8_node_74 | 0.4 | n |  | TRUE
102 | bus_LV_2773-22_0_8_node_99 | 0.4 | n |  | TRUE
103 | bus_LV_2773-22_0_8_node_98 | 0.4 | n |  | TRUE
104 | bus_LV_2773-22_0_8_node_81 | 0.4 | n |  | TRUE
105 | bus_LV_2773-22_0_8_node_79 | 0.4 | n |  | TRUE
106 | bus_LV_2773-22_0_8_node_88 | 0.4 | n |  | TRUE
107 | bus_LV_2773-22_0_8_node_85 | 0.4 | n |  | TRUE
108 | bus_LV_2773-22_0_8_node_172 | 0.4 | n |  | TRUE
109 | bus_LV_2773-22_0_8_node_82 | 0.4 | n |  | TRUE
110 | bus_LV_2773-22_0_8_node_84 | 0.4 | n |  | TRUE
111 | bus_LV_2773-22_0_8_node_86 | 0.4 | n |  | TRUE
112 | bus_LV_2773-22_0_8_node_107 | 0.4 | n |  | TRUE
113 | bus_LV_2773-22_0_8_node_91 | 0.4 | n |  | TRUE
114 | bus_LV_2773-22_0_8_node_102 | 0.4 | n |  | TRUE
115 | bus_LV_2773-22_0_8_node_103 | 0.4 | n |  | TRUE
116 | bus_LV_2773-22_0_8_node_104 | 0.4 | n |  | TRUE
117 | bus_LV_2773-22_0_8_node_105 | 0.4 | n |  | TRUE
118 | bus_LV_2773-22_0_8_node_124 | 0.4 | n |  | TRUE
119 | bus_LV_2773-22_0_8_node_111 | 0.4 | n |  | TRUE
120 | bus_LV_2773-22_0_8_node_121 | 0.4 | n |  | TRUE
121 | bus_LV_2773-22_0_8_node_139 | 0.4 | n |  | TRUE
122 | bus_LV_2773-22_0_8_node_116 | 0.4 | n |  | TRUE
123 | bus_LV_2773-22_0_8_node_119 | 0.4 | n |  | TRUE
124 | bus_LV_2773-22_0_8_node_113 | 0.4 | n |  | TRUE
125 | bus_LV_2773-22_0_8_node_115 | 0.4 | n |  | TRUE
126 | bus_LV_2773-22_0_8_node_136 | 0.4 | n |  | TRUE
127 | bus_LV_2773-22_0_8_node_171 | 0.4 | n |  | TRUE
128 | bus_LV_2773-22_0_8_node_120 | 0.4 | n |  | TRUE
129 | bus_LV_2773-22_0_8_node_118 | 0.4 | n |  | TRUE
130 | bus_LV_2773-22_0_8_node_137 | 0.4 | n |  | TRUE
131 | bus_LV_2773-22_0_8_node_123 | 0.4 | n |  | TRUE
132 | bus_LV_2773-22_0_8_node_125 | 0.4 | n |  | TRUE
133 | bus_LV_2773-22_0_8_node_127 | 0.4 | n |  | TRUE
134 | bus_LV_2773-22_0_8_node_138 | 0.4 | n |  | TRUE
135 | bus_LV_2773-22_0_8_node_126 | 0.4 | n |  | TRUE
136 | bus_LV_2773-22_0_8_node_128 | 0.4 | n |  | TRUE
137 | bus_LV_2773-22_0_8_node_129 | 0.4 | n |  | TRUE
138 | bus_LV_2773-22_0_8_node_130 | 0.4 | n |  | TRUE
139 | bus_LV_2773-22_0_8_node_131 | 0.4 | n |  | TRUE
140 | bus_LV_2773-22_0_8_node_132 | 0.4 | n |  | TRUE
141 | bus_LV_2773-22_0_8_node_133 | 0.4 | n |  | TRUE
142 | bus_LV_2773-22_0_8_node_134 | 0.4 | n |  | TRUE
143 | bus_LV_2773-22_0_8_node_135 | 0.4 | n |  | TRUE
144 | bus_LV_2773-22_0_8_node_161 | 0.4 | n |  | TRUE
145 | bus_LV_2773-22_0_8_node_153 | 0.4 | n |  | TRUE
146 | bus_LV_2773-22_0_8_node_152 | 0.4 | n |  | TRUE
147 | bus_LV_2773-22_0_8_node_168 | 0.4 | n |  | TRUE
148 | bus_LV_2773-22_0_8_node_154 | 0.4 | n |  | TRUE
149 | bus_LV_2773-22_0_8_node_150 | 0.4 | n |  | TRUE
150 | bus_LV_2773-22_0_8_node_165 | 0.4 | n |  | TRUE
151 | bus_LV_2773-22_0_8_node_142 | 0.4 | n |  | TRUE
152 | bus_LV_2773-22_0_8_node_144 | 0.4 | n |  | TRUE
153 | bus_LV_2773-22_0_8_node_140 | 0.4 | n |  | TRUE
154 | bus_LV_2773-22_0_8_node_170 | 0.4 | n |  | TRUE
155 | bus_LV_2773-22_0_8_node_141 | 0.4 | n |  | TRUE
156 | bus_LV_2773-22_0_8_node_143 | 0.4 | n |  | TRUE
157 | bus_LV_2773-22_0_8_node_164 | 0.4 | n |  | TRUE
158 | bus_LV_2773-22_0_8_node_147 | 0.4 | n |  | TRUE
159 | bus_LV_2773-22_0_8_node_148 | 0.4 | n |  | TRUE
160 | bus_LV_2773-22_0_8_node_158 | 0.4 | n |  | TRUE
161 | bus_LV_2773-22_0_8_node_166 | 0.4 | n |  | TRUE
162 | bus_LV_2773-22_0_8_node_149 | 0.4 | n |  | TRUE
163 | bus_LV_2773-22_0_8_node_151 | 0.4 | n |  | TRUE
164 | bus_LV_2773-22_0_8_node_155 | 0.4 | n |  | TRUE
165 | bus_LV_2773-22_0_8_node_156 | 0.4 | n |  | TRUE
166 | bus_LV_2773-22_0_8_node_159 | 0.4 | n |  | TRUE
167 | bus_LV_2773-22_0_8_node_167 | 0.4 | n |  | TRUE
168 | bus_LV_2773-22_0_8_node_169 | 0.4 | n |  | TRUE
169 | bus_MV_520_0_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2773-22_0_8_load_0 | 0 | 0.001093 | 0.00027393 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2773-22_0_8_load_146 | 8 | 0.0015735 | 0.00039436 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2773-22_0_8_load_163 | 9 | 0.0011927 | 0.00029892 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2773-22_0_8_load_77 | 10 | 0.0058064 | 0.0014552 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2773-22_0_8_load_114 | 12 | 0.0092603 | 0.0023208 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2773-22_0_8_load_108 | 13 | 0.0020851 | 0.00052258 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2773-22_0_8_load_145 | 15 | 0.0013771 | 0.00034513 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2773-22_0_8_load_162 | 16 | 0.0011923 | 0.00029882 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2773-22_0_8_load_75 | 19 | 0.0044074 | 0.0011046 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2773-22_0_8_load_78 | 20 | 0.02012 | 0.0050426 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2773-22_0_8_load_7 | 21 | 0.0028511 | 0.00071454 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2773-22_0_8_load_8 | 22 | 0.001836 | 0.00046015 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2773-22_0_8_load_10 | 24 | 0.0018323 | 0.00045923 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2773-22_0_8_load_12 | 26 | 0.0030725 | 0.00077003 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2773-22_0_8_load_24 | 27 | 0.0072738 | 0.001823 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2773-22_0_8_load_13 | 29 | 0.0028579 | 0.00071626 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2773-22_0_8_load_90 | 30 | 0.0019334 | 0.00048456 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2773-22_0_8_load_21 | 31 | 0.0015786 | 0.00039564 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2773-22_0_8_load_28 | 32 | 0.018175 | 0.0045552 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2773-22_0_8_load_25 | 33 | 0.0016555 | 0.0004149 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2773-22_0_8_load_14 | 34 | 0.002856 | 0.00071578 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2773-22_0_8_load_89 | 35 | 0.0077186 | 0.0019345 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2773-22_0_8_load_19 | 37 | 0.0018324 | 0.00045923 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2773-22_0_8_load_18 | 38 | 0.0018324 | 0.00045923 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2773-22_0_8_load_22 | 40 | 0.0011703 | 0.0002933 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2773-22_0_8_load_54 | 41 | 0.0012287 | 0.00030793 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2773-22_0_8_load_100 | 44 | 0.002007 | 0.00050301 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2773-22_0_8_load_55 | 45 | 0.0011479 | 0.00028768 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2773-22_0_8_load_122 | 47 | 0.0045076 | 0.0011297 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2773-22_0_8_load_45 | 49 | 0.0084742 | 0.0021238 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2773-22_0_8_load_101 | 50 | 0.001146 | 0.00028721 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2773-22_0_8_load_173 | 52 | 0.017449 | 0.0043731 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2773-22_0_8_load_29 | 53 | 0.0026747 | 0.00067035 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2773-22_0_8_load_30 | 54 | 0.0027162 | 0.00068073 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2773-22_0_8_load_35 | 57 | 0.003869 | 0.00096967 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2773-22_0_8_load_33 | 58 | 0.0054659 | 0.0013699 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2773-22_0_8_load_43 | 59 | 0.01387 | 0.0034761 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2773-22_0_8_load_51 | 60 | 0.013876 | 0.0034776 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2773-22_0_8_load_52 | 63 | 0.0075078 | 0.0018816 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2773-22_0_8_load_48 | 65 | 0.0021216 | 0.00053172 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2773-22_0_8_load_38 | 66 | 0.036026 | 0.009029 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2773-22_0_8_load_36 | 67 | 0.0037346 | 0.00093598 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2773-22_0_8_load_39 | 68 | 0.012232 | 0.0030656 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2773-22_0_8_load_46 | 70 | 0.0092275 | 0.0023126 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2773-22_0_8_load_49 | 72 | 0.0093186 | 0.0023355 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2773-22_0_8_load_50 | 73 | 0.0016746 | 0.00041969 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2773-22_0_8_load_112 | 74 | 0.00947 | 0.0023734 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2773-22_0_8_load_56 | 75 | 0.0011712 | 0.00029353 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2773-22_0_8_load_57 | 76 | 0.0018139 | 0.00045459 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2773-22_0_8_load_58 | 77 | 0.0025471 | 0.00063836 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2773-22_0_8_load_59 | 78 | 0.0016808 | 0.00042125 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2773-22_0_8_load_60 | 79 | 0.0018321 | 0.00045916 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2773-22_0_8_load_76 | 80 | 0.0019239 | 0.00048217 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2773-22_0_8_load_83 | 81 | 0.0021086 | 0.00052846 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2773-22_0_8_load_61 | 82 | 0.012346 | 0.0030942 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2773-22_0_8_load_62 | 83 | 0.001932 | 0.0004842 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2773-22_0_8_load_63 | 84 | 0.0030999 | 0.00077691 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2773-22_0_8_load_64 | 85 | 0.0019339 | 0.00048468 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2773-22_0_8_load_65 | 86 | 0.0020402 | 0.00051132 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2773-22_0_8_load_93 | 87 | 0.0030327 | 0.00076005 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2773-22_0_8_load_94 | 88 | 0.0012835 | 0.00032168 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2773-22_0_8_load_92 | 89 | 0.0030566 | 0.00076606 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2773-22_0_8_load_95 | 90 | 0.0012835 | 0.00032168 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2773-22_0_8_load_66 | 91 | 0.023194 | 0.0058129 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2773-22_0_8_load_67 | 92 | 0.0020111 | 0.00050404 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2773-22_0_8_load_68 | 93 | 0.0012841 | 0.00032182 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2773-22_0_8_load_69 | 94 | 0.0020312 | 0.00050907 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2773-22_0_8_load_70 | 95 | 0.0012835 | 0.00032168 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2773-22_0_8_load_96 | 96 | 0.0020588 | 0.00051599 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2773-22_0_8_load_97 | 97 | 0.0020411 | 0.00051156 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2773-22_0_8_load_71 | 98 | 0.013932 | 0.0034917 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2773-22_0_8_load_72 | 99 | 0.006907 | 0.0017311 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2773-22_0_8_load_73 | 100 | 0.0044051 | 0.001104 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2773-22_0_8_load_74 | 101 | 0.0020312 | 0.00050907 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2773-22_0_8_load_99 | 102 | 0.0012837 | 0.00032172 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2773-22_0_8_load_98 | 103 | 0.001284 | 0.0003218 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2773-22_0_8_load_81 | 104 | 0.0022273 | 0.00055821 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2773-22_0_8_load_79 | 105 | 0.0015096 | 0.00037833 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2773-22_0_8_load_88 | 106 | 0.0018051 | 0.0004524 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2773-22_0_8_load_85 | 107 | 0.0024201 | 0.00060654 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2773-22_0_8_load_172 | 108 | 0.034132 | 0.0085544 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2773-22_0_8_load_82 | 109 | 0.0013511 | 0.00033863 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2773-22_0_8_load_86 | 111 | 0.0028982 | 0.00072635 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2773-22_0_8_load_107 | 112 | 0.0018811 | 0.00047145 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2773-22_0_8_load_91 | 113 | 0.0019324 | 0.0004843 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2773-22_0_8_load_102 | 114 | 0.001011 | 0.00025337 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2773-22_0_8_load_103 | 115 | 0.001181 | 0.00029599 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2773-22_0_8_load_104 | 116 | 0.0018157 | 0.00045505 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2773-22_0_8_load_105 | 117 | 0.0018775 | 0.00047054 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2773-22_0_8_load_139 | 121 | 0.0071655 | 0.0017959 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2773-22_0_8_load_119 | 123 | 0.0012188 | 0.00030546 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2773-22_0_8_load_113 | 124 | 0.0070491 | 0.0017667 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2773-22_0_8_load_115 | 125 | 0.0013229 | 0.00033156 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2773-22_0_8_load_171 | 127 | 0.002039 | 0.00051102 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2773-22_0_8_load_120 | 128 | 0.0066835 | 0.001675 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2773-22_0_8_load_118 | 129 | 0.0069746 | 0.001748 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2773-22_0_8_load_137 | 130 | 0.0015718 | 0.00039392 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2773-22_0_8_load_125 | 132 | 0.0016701 | 0.00041855 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2773-22_0_8_load_127 | 133 | 0.0016709 | 0.00041876 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2773-22_0_8_load_138 | 134 | 0.0071656 | 0.0017959 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_2773-22_0_8_load_126 | 135 | 0.0016695 | 0.00041841 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_2773-22_0_8_load_128 | 136 | 0.0016709 | 0.00041876 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_2773-22_0_8_load_129 | 137 | 0.001668 | 0.00041803 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_2773-22_0_8_load_130 | 138 | 0.0019684 | 0.00049332 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_2773-22_0_8_load_133 | 141 | 0.0018857 | 0.0004726 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_2773-22_0_8_load_135 | 143 | 0.0015333 | 0.00038429 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_2773-22_0_8_load_161 | 144 | 0.002086 | 0.0005228 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_2773-22_0_8_load_153 | 145 | 0.0012147 | 0.00030443 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_2773-22_0_8_load_152 | 146 | 0.0012149 | 0.00030449 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_2773-22_0_8_load_168 | 147 | 0.0015337 | 0.00038439 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_2773-22_0_8_load_150 | 149 | 0.0015347 | 0.00038464 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_2773-22_0_8_load_165 | 150 | 0.0015307 | 0.00038363 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_2773-22_0_8_load_144 | 152 | 0.0024286 | 0.00060866 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_2773-22_0_8_load_140 | 153 | 0.0026324 | 0.00065974 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_2773-22_0_8_load_170 | 154 | 0.0017363 | 0.00043515 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_2773-22_0_8_load_141 | 155 | 0.0015289 | 0.00038317 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_2773-22_0_8_load_143 | 156 | 0.0015285 | 0.00038308 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_2773-22_0_8_load_164 | 157 | 0.0015348 | 0.00038467 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_2773-22_0_8_load_147 | 158 | 0.0023415 | 0.00058684 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_2773-22_0_8_load_148 | 159 | 0.001943 | 0.00048697 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_2773-22_0_8_load_158 | 160 | 0.0018256 | 0.00045754 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_2773-22_0_8_load_166 | 161 | 0.0013725 | 0.00034397 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_2773-22_0_8_load_149 | 162 | 0.0012135 | 0.00030412 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_2773-22_0_8_load_151 | 163 | 0.0012137 | 0.00030418 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_2773-22_0_8_load_155 | 164 | 0.0011923 | 0.00029882 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_2773-22_0_8_load_156 | 165 | 0.0011919 | 0.00029873 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_2773-22_0_8_load_159 | 166 | 0.0011926 | 0.00029888 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_2773-22_0_8_load_167 | 167 | 0.002712 | 0.0006797 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_2773-22_0_8_load_169 | 168 | 0.0022274 | 0.00055823 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 117 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2773-22_0_8_line_0 |  | 0 | 1 | 0.029843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2773-22_0_8_line_1 |  | 0 | 2 | 0.02178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2773-22_0_8_line_2 |  | 1 | 3 | 0.013202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2773-22_0_8_line_3 |  | 1 | 4 | 0.025921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2773-22_0_8_line_4 |  | 2 | 5 | 0.034109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2773-22_0_8_line_5 |  | 3 | 6 | 0.035196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2773-22_0_8_line_6 |  | 4 | 7 | 0.02972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2773-22_0_8_line_7 |  | 4 | 8 | 0.015561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2773-22_0_8_line_8 |  | 5 | 9 | 0.018545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2773-22_0_8_line_9 |  | 6 | 10 | 0.014525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2773-22_0_8_line_10 |  | 7 | 11 | 0.02994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2773-22_0_8_line_11 |  | 7 | 12 | 0.037672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2773-22_0_8_line_12 |  | 8 | 15 | 0.0079019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2773-22_0_8_line_13 |  | 9 | 16 | 0.0058753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2773-22_0_8_line_14 |  | 10 | 20 | 0.0061907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2773-22_0_8_line_15 |  | 11 | 118 | 0.020479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2773-22_0_8_line_16 |  | 13 | 14 | 0.030964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2773-22_0_8_line_17 |  | 14 | 112 | 0.015727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_2773-22_0_8_line_18 |  | 14 | 117 | 0.037507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_2773-22_0_8_line_19 |  | 15 | 158 | 0.0013517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2773-22_0_8_line_20 |  | 16 | 144 | 0.014741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2773-22_0_8_line_21 |  | 17 | 18 | 0.042105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2773-22_0_8_line_22 |  | 17 | 19 | 0.017865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2773-22_0_8_line_23 |  | 18 | 108 | 0.051556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2773-22_0_8_line_24 |  | 19 | 100 | 0.0064623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2773-22_0_8_line_25 |  | 20 | 105 | 0.015192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2773-22_0_8_line_26 |  | 21 | 22 | 0.0095298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_2773-22_0_8_line_27 |  | 21 | 23 | 0.011972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_2773-22_0_8_line_28 |  | 22 | 24 | 0.0095316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_2773-22_0_8_line_29 |  | 23 | 25 | 0.016109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2773-22_0_8_line_30 |  | 23 | 26 | 0.013063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_2773-22_0_8_line_31 |  | 24 | 27 | 0.0095237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_2773-22_0_8_line_32 |  | 25 | 28 | 0.042805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2773-22_0_8_line_33 |  | 25 | 29 | 0.019896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2773-22_0_8_line_34 |  | 26 | 30 | 0.0083651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_2773-22_0_8_line_35 |  | 27 | 31 | 0.0018593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_2773-22_0_8_line_36 |  | 28 | 32 | 0.019452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2773-22_0_8_line_37 |  | 28 | 33 | 0.013592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2773-22_0_8_line_38 |  | 29 | 34 | 2.3999e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2773-22_0_8_line_39 |  | 30 | 35 | 0.00071796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_2773-22_0_8_line_40 |  | 31 | 39 | 0.022132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_2773-22_0_8_line_41 |  | 33 | 36 | 0.022308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2773-22_0_8_line_42 |  | 35 | 113 | 0.0057445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_2773-22_0_8_line_43 |  | 36 | 51 | 0.05672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2773-22_0_8_line_44 |  | 37 | 38 | 0.0030061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2773-22_0_8_line_45 |  | 38 | 39 | 0.056533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2773-22_0_8_line_46 |  | 39 | 40 | 0.017181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_2773-22_0_8_line_47 |  | 40 | 41 | 0.0011339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_2773-22_0_8_line_48 |  | 41 | 45 | 0.016253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_2773-22_0_8_line_49 |  | 42 | 43 | 0.025028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_2773-22_0_8_line_50 |  | 42 | 44 | 0.028877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_2773-22_0_8_line_51 |  | 43 | 46 | 0.023254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2773-22_0_8_line_52 |  | 43 | 47 | 0.060475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2773-22_0_8_line_53 |  | 43 | 48 | 0.012667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2773-22_0_8_line_54 |  | 44 | 50 | 0.020893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_2773-22_0_8_line_55 |  | 45 | 75 | 0.0057927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_2773-22_0_8_line_56 |  | 46 | 49 | 0.01008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2773-22_0_8_line_57 |  | 48 | 68 | 0.016475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2773-22_0_8_line_58 |  | 50 | 114 | 0.015279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_2773-22_0_8_line_59 |  | 51 | 52 | 0.021692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2773-22_0_8_line_60 |  | 53 | 54 | 0.031428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2773-22_0_8_line_61 |  | 54 | 55 | 0.025058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2773-22_0_8_line_62 |  | 55 | 56 | 0.032121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2773-22_0_8_line_63 |  | 55 | 57 | 0.042221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2773-22_0_8_line_64 |  | 56 | 60 | 0.029225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2773-22_0_8_line_65 |  | 57 | 61 | 0.04195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2773-22_0_8_line_66 |  | 58 | 59 | 0.026334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2773-22_0_8_line_67 |  | 59 | 62 | 0.022737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2773-22_0_8_line_68 |  | 60 | 65 | 0.014327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2773-22_0_8_line_69 |  | 61 | 66 | 0.08521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2773-22_0_8_line_70 |  | 61 | 67 | 0.061492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2773-22_0_8_line_71 |  | 62 | 69 | 0.025475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2773-22_0_8_line_72 |  | 62 | 68 | 0.023353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2773-22_0_8_line_73 |  | 63 | 64 | 0.052357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2773-22_0_8_line_74 |  | 64 | 74 | 0.034548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2773-22_0_8_line_75 |  | 64 | 72 | 0.018501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2773-22_0_8_line_76 |  | 65 | 69 | 0.017595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2773-22_0_8_line_77 |  | 69 | 70 | 0.024085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2773-22_0_8_line_78 |  | 70 | 71 | 0.019823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2773-22_0_8_line_79 |  | 71 | 72 | 0.02936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2773-22_0_8_line_80 |  | 71 | 73 | 0.031581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2773-22_0_8_line_81 |  | 75 | 76 | 0.014164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_2773-22_0_8_line_82 |  | 76 | 77 | 0.010719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_2773-22_0_8_line_83 |  | 77 | 78 | 0.0075479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_2773-22_0_8_line_84 |  | 78 | 79 | 0.020138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_2773-22_0_8_line_85 |  | 79 | 80 | 0.00089143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_2773-22_0_8_line_86 |  | 80 | 81 | 0.021487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_2773-22_0_8_line_87 |  | 81 | 104 | 0.005041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_2773-22_0_8_line_88 |  | 82 | 83 | 0.0068963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_2773-22_0_8_line_89 |  | 82 | 84 | 0.0015117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_2773-22_0_8_line_90 |  | 83 | 85 | 0.0064594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_2773-22_0_8_line_91 |  | 84 | 86 | 0.015773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_2773-22_0_8_line_92 |  | 85 | 87 | 0.0082986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_2773-22_0_8_line_93 |  | 86 | 88 | 0.0083671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_2773-22_0_8_line_94 |  | 87 | 89 | 0.010181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_2773-22_0_8_line_95 |  | 88 | 90 | 0.0064589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_2773-22_0_8_line_96 |  | 89 | 113 | 0.0083425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
97 | LV_2773-22_0_8_line_97 |  | 90 | 94 | 0.0083446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_2773-22_0_8_line_98 |  | 91 | 92 | 0.0056121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_2773-22_0_8_line_99 |  | 91 | 93 | 0.0026844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_2773-22_0_8_line_100 |  | 92 | 94 | 0.010178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_2773-22_0_8_line_101 |  | 93 | 95 | 0.0064635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_2773-22_0_8_line_102 |  | 95 | 96 | 0.0084083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
103 | LV_2773-22_0_8_line_103 |  | 96 | 97 | 0.017473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
104 | LV_2773-22_0_8_line_104 |  | 97 | 103 | 0.0083659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2773-22_0_8_line_105 |  | 98 | 99 | 0.0010781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2773-22_0_8_line_106 |  | 98 | 100 | 0.0072163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2773-22_0_8_line_107 |  | 99 | 101 | 0.010178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2773-22_0_8_line_108 |  | 101 | 102 | 0.0083444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2773-22_0_8_line_109 |  | 102 | 103 | 0.0064617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2773-22_0_8_line_110 |  | 104 | 109 | 0.021628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
111 | LV_2773-22_0_8_line_111 |  | 105 | 106 | 0.00041828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2773-22_0_8_line_112 |  | 106 | 107 | 0.02614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
113 | LV_2773-22_0_8_line_113 |  | 107 | 110 | 0.01362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
114 | LV_2773-22_0_8_line_114 |  | 109 | 110 | 0.010595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
115 | LV_2773-22_0_8_line_115 |  | 110 | 111 | 0.02798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
116 | LV_2773-22_0_8_line_116 |  | 111 | 112 | 0.002894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
117 | LV_2773-22_0_8_line_117 |  | 114 | 115 | 0.011001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
118 | LV_2773-22_0_8_line_118 |  | 115 | 116 | 0.025159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
119 | LV_2773-22_0_8_line_119 |  | 116 | 117 | 0.026356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
120 | LV_2773-22_0_8_line_120 |  | 118 | 130 | 0.016249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_2773-22_0_8_line_121 |  | 118 | 131 | 0.02807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_2773-22_0_8_line_122 |  | 119 | 120 | 0.021244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_2773-22_0_8_line_123 |  | 119 | 121 | 0.030619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_2773-22_0_8_line_124 |  | 120 | 122 | 0.030373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_2773-22_0_8_line_125 |  | 120 | 123 | 0.017142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_2773-22_0_8_line_126 |  | 122 | 126 | 0.031807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_2773-22_0_8_line_127 |  | 122 | 125 | 0.0139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_2773-22_0_8_line_128 |  | 123 | 129 | 0.018551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_2773-22_0_8_line_129 |  | 124 | 125 | 0.016772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_2773-22_0_8_line_130 |  | 126 | 127 | 0.012997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_2773-22_0_8_line_131 |  | 127 | 154 | 0.00068032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_2773-22_0_8_line_132 |  | 128 | 129 | 0.033933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_2773-22_0_8_line_133 |  | 130 | 134 | 0.01827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_2773-22_0_8_line_134 |  | 131 | 132 | 0.027336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_2773-22_0_8_line_135 |  | 132 | 133 | 0.0088742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_2773-22_0_8_line_136 |  | 133 | 135 | 0.0088776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_2773-22_0_8_line_137 |  | 135 | 136 | 0.0088731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_2773-22_0_8_line_138 |  | 136 | 137 | 0.006987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_2773-22_0_8_line_139 |  | 138 | 139 | 0.0049836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_2773-22_0_8_line_140 |  | 138 | 140 | 0.011233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_2773-22_0_8_line_141 |  | 139 | 141 | 0.013904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_2773-22_0_8_line_142 |  | 140 | 142 | 0.003946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_2773-22_0_8_line_143 |  | 140 | 143 | 0.01614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_2773-22_0_8_line_144 |  | 141 | 144 | 0.011233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_2773-22_0_8_line_145 |  | 142 | 145 | 0.0090548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_2773-22_0_8_line_146 |  | 142 | 146 | 0.012565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_2773-22_0_8_line_147 |  | 143 | 147 | 0.016684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_2773-22_0_8_line_148 |  | 145 | 148 | 0.020128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_2773-22_0_8_line_149 |  | 146 | 149 | 0.0039951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_2773-22_0_8_line_150 |  | 147 | 150 | 0.0002444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_2773-22_0_8_line_151 |  | 148 | 164 | 0.0079286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_2773-22_0_8_line_152 |  | 148 | 165 | 0.010897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_2773-22_0_8_line_153 |  | 149 | 162 | 0.0019358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_2773-22_0_8_line_154 |  | 150 | 157 | 0.006789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_2773-22_0_8_line_155 |  | 151 | 152 | 0.015223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_2773-22_0_8_line_156 |  | 151 | 153 | 0.014356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_2773-22_0_8_line_157 |  | 153 | 155 | 0.00078975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_2773-22_0_8_line_158 |  | 154 | 168 | 0.018772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_2773-22_0_8_line_159 |  | 155 | 156 | 0.016696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_2773-22_0_8_line_160 |  | 156 | 157 | 0.00022508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_2773-22_0_8_line_161 |  | 158 | 159 | 0.028616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_2773-22_0_8_line_162 |  | 159 | 160 | 0.0026689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_2773-22_0_8_line_163 |  | 160 | 161 | 0.016143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_2773-22_0_8_line_164 |  | 161 | 167 | 0.012937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
165 | LV_2773-22_0_8_line_165 |  | 162 | 163 | 0.0023775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
166 | LV_2773-22_0_8_line_166 |  | 165 | 166 | 0.0058752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
167 | LV_2773-22_0_8_line_167 |  | 167 | 168 | 0.010736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2773-22_0_8_trafo_105 | 0.63 MVA 20/0.4 kV | 169 | 117 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2612308.9336 | 1261738.953 | 2612309.9258 | 1261768.7793
1 | 2612310.6499 | 1261790.5473 | 2612309.9258 | 1261768.7793
2 | 2612308.3356 | 1261725.765 | 2612308.9336 | 1261738.953
3 | 2612308.9336 | 1261738.953 | 2612311.5988 | 1261739.8369 | 2612313.5652 | 1261739.8076 | 2612316.5788 | 1261739.7583 | 2612318.711 | 1261739.7182 | 2612318.7311 | 1261740.9413 | 2612318.7573 | 1261742.8316 | 2612320.3696 | 1261742.8016 | 2612325.4853 | 1261742.7232 | 2612325.1665 | 1261736.5739
4 | 2612310.6499 | 1261790.5473 | 2612313.3676 | 1261795.145 | 2612315.859 | 1261799.9201 | 2612318.6045 | 1261801.9939 | 2612320.6448 | 1261802.6652 | 2612321.5788 | 1261802.7561 | 2612327.1828 | 1261803.3125 | 2612338.2686 | 1261801.5566
5 | 2612308.3356 | 1261725.765 | 2612298.9159 | 1261726.8796 | 2612273.7494 | 1261732.1423
6 | 2612323.6158 | 1261706.8949 | 2612324.5071 | 1261723.9862 | 2612325.1665 | 1261736.5739
7 | 2612325.1665 | 1261736.5739 | 2612340.3613 | 1261733.2156
8 | 2612338.2686 | 1261801.5566 | 2612356.5643 | 1261798.5257
9 | 2612273.7494 | 1261732.1423 | 2612271.1038 | 1261717.8608
10 | 2612322.3745 | 1261676.983 | 2612323.6158 | 1261706.8949
11 | 2612323.6158 | 1261706.8949 | 2612360.2408 | 1261698.0732
12 | 2612340.3613 | 1261733.2156 | 2612348.077 | 1261731.5103
13 | 2612362.3606 | 1261797.5655 | 2612356.5643 | 1261798.5257
14 | 2612271.1038 | 1261717.8608 | 2612269.9762 | 1261711.7736
15 | 2612321.5279 | 1261656.5229 | 2612322.3745 | 1261676.983
16 | 2612306.0114 | 1261651.2093 | 2612306.9762 | 1261682.1582
17 | 2612306.0114 | 1261651.2093 | 2612290.3245 | 1261652.329
18 | 2612306.0114 | 1261651.2093 | 2612304.5114 | 1261613.732
19 | 2612349.3969 | 1261731.2186 | 2612348.077 | 1261731.5103
20 | 2612376.9032 | 1261795.1563 | 2612362.3606 | 1261797.5655
21 | 2612174.38 | 1261752.93 | 2612175.5407 | 1261752.6878 | 2612182.9873 | 1261751.1353 | 2612215.5929 | 1261744.3086
22 | 2612215.5929 | 1261744.3086 | 2612211.6262 | 1261726.8899
23 | 2612164.5389 | 1261702.3198 | 2612174.38 | 1261752.93
24 | 2612211.6262 | 1261726.8899 | 2612210.1913 | 1261720.5889
25 | 2612267.209 | 1261696.8357 | 2612269.9762 | 1261711.7736
26 | 2612180.2061 | 1261520.9834 | 2612189.4177 | 1261518.5416
27 | 2612168.6332 | 1261524.051 | 2612180.2061 | 1261520.9834
28 | 2612198.6312 | 1261516.0994 | 2612189.4177 | 1261518.5416
29 | 2612153.0664 | 1261528.3665 | 2612168.6332 | 1261524.051
30 | 2612168.6332 | 1261524.051 | 2612171.7176 | 1261536.7446
31 | 2612207.8369 | 1261513.6593 | 2612198.6312 | 1261516.0994
32 | 2612111.5022 | 1261538.5998 | 2612112.9269 | 1261538.2469 | 2612153.0664 | 1261528.3665
33 | 2612153.0664 | 1261528.3665 | 2612148.2165 | 1261509.071
34 | 2612173.6928 | 1261544.8732 | 2612171.7176 | 1261536.7446
35 | 2612209.6342 | 1261513.1829 | 2612207.8369 | 1261513.6593
36 | 2612111.5022 | 1261538.5998 | 2612115.253 | 1261557.6871
37 | 2612111.5022 | 1261538.5998 | 2612098.3028 | 1261541.8439
38 | 2612148.2165 | 1261509.071 | 2612148.2107 | 1261509.0477
39 | 2612173.6928 | 1261544.8732 | 2612173.8623 | 1261545.5708
40 | 2612231.0275 | 1261507.5122 | 2612209.6342 | 1261513.1829
41 | 2612076.6394 | 1261547.1681 | 2612098.3028 | 1261541.8439
42 | 2612173.8623 | 1261545.5708 | 2612175.2187 | 1261551.1529
43 | 2612076.6394 | 1261547.1681 | 2612077.5121 | 1261551.495 | 2612082.0843 | 1261574.2087 | 2612083.7999 | 1261582.7291 | 2612085.0673 | 1261589.2695 | 2612098.6415 | 1261586.6509
44 | 2612211.4893 | 1261454.7684 | 2612209.8785 | 1261452.2303
45 | 2612231.0275 | 1261507.5122 | 2612224.4266 | 1261482.3259 | 2612214.4081 | 1261459.3674 | 2612211.4893 | 1261454.7684
46 | 2612231.0275 | 1261507.5122 | 2612234.3062 | 1261524.3778
47 | 2612234.3062 | 1261524.3778 | 2612234.5226 | 1261525.4909
48 | 2612237.6241 | 1261541.4453 | 2612234.5226 | 1261525.4909
49 | 2612281.4228 | 1261493.3397 | 2612293.7704 | 1261490.1519 | 2612296.4992 | 1261489.4571 | 2612305.726 | 1261487.0746
50 | 2612281.4228 | 1261493.3397 | 2612291.786 | 1261498.8427 | 2612295.1638 | 1261515.6502
51 | 2612299.2928 | 1261464.7238 | 2612305.726 | 1261487.0746
52 | 2612305.726 | 1261487.0746 | 2612313.4623 | 1261531.3319 | 2612314.7446 | 1261546.8255
53 | 2612318.0134 | 1261483.8534 | 2612305.726 | 1261487.0746
54 | 2612295.1638 | 1261515.6502 | 2612299.2805 | 1261536.1339
55 | 2612238.7296 | 1261547.1316 | 2612237.6241 | 1261541.4453
56 | 2612299.2928 | 1261464.7238 | 2612308.8586 | 1261462.3865 | 2612308.9144 | 1261462.6123
57 | 2612318.0134 | 1261483.8534 | 2612334.0029 | 1261479.8853
58 | 2612299.2805 | 1261536.1339 | 2612299.5565 | 1261537.5073 | 2612300.5674 | 1261551.3488
59 | 2612102.9153 | 1261607.9185 | 2612099.9549 | 1261592.8466 | 2612098.6415 | 1261586.6509
60 | 2612409.7772 | 1261424.2094 | 2612413.0258 | 1261426.8677 | 2612430.384 | 1261447.8477
61 | 2612446.6654 | 1261466.8875 | 2612440.6068 | 1261460.2036 | 2612430.384 | 1261447.8477
62 | 2612446.6654 | 1261466.8875 | 2612431.4686 | 1261467.0002 | 2612431.2597 | 1261480.4534 | 2612428.2722 | 1261482.3151
63 | 2612446.6654 | 1261466.8875 | 2612455.8944 | 1261470.6872 | 2612465.4103 | 1261470.596 | 2612487.1087 | 1261463.8472
64 | 2612428.2722 | 1261482.3151 | 2612404.3755 | 1261488.6918 | 2612399.9921 | 1261489.6743
65 | 2612524.5829 | 1261446.1592 | 2612509.4014 | 1261456.9124 | 2612498.8239 | 1261460.2035 | 2612487.1087 | 1261463.8472
66 | 2612334.7371 | 1261430.4323 | 2612340.3305 | 1261439.9697 | 2612347.3491 | 1261453.539
67 | 2612356.6688 | 1261474.2604 | 2612350.6936 | 1261460.0049 | 2612347.3491 | 1261453.539
68 | 2612399.9921 | 1261489.6743 | 2612386.0121 | 1261492.808
69 | 2612524.5829 | 1261446.1592 | 2612548.0148 | 1261503.103 | 2612557.0366 | 1261524.9474
70 | 2612524.5829 | 1261446.1592 | 2612511.7963 | 1261386.0115
71 | 2612368.8427 | 1261496.6565 | 2612356.6688 | 1261474.2604
72 | 2612356.6688 | 1261474.2604 | 2612334.0029 | 1261479.8853
73 | 2612396.3257 | 1261584.1623 | 2612407.1439 | 1261537.5976 | 2612409.1393 | 1261533.5059
74 | 2612363.0277 | 1261593.7217 | 2612396.3257 | 1261584.1623
75 | 2612396.3257 | 1261584.1623 | 2612391.0184 | 1261566.4392
76 | 2612368.8427 | 1261496.6565 | 2612386.0121 | 1261492.808
77 | 2612368.8427 | 1261496.6565 | 2612375.939 | 1261515.1839 | 2612377.1132 | 1261519.2638
78 | 2612382.5962 | 1261538.3135 | 2612377.1132 | 1261519.2638
79 | 2612382.5962 | 1261538.3135 | 2612391.0184 | 1261566.4392
80 | 2612382.5962 | 1261538.3135 | 2612355.94 | 1261545.7521 | 2612352.5007 | 1261543.8992
81 | 2612238.7296 | 1261547.1316 | 2612241.4325 | 1261561.0356
82 | 2612243.4781 | 1261571.558 | 2612241.4325 | 1261561.0356
83 | 2612243.4781 | 1261571.558 | 2612244.9185 | 1261578.9672
84 | 2612244.9185 | 1261578.9672 | 2612248.7615 | 1261598.7355
85 | 2612248.9316 | 1261599.6105 | 2612248.7615 | 1261598.7355
86 | 2612253.0319 | 1261620.7024 | 2612248.9316 | 1261599.6105
87 | 2612253.9938 | 1261625.6507 | 2612253.0319 | 1261620.7024
88 | 2612184.7053 | 1261590.1947 | 2612183.077 | 1261583.4934
89 | 2612184.7053 | 1261590.1947 | 2612185.0623 | 1261591.6637
90 | 2612181.5518 | 1261577.2167 | 2612183.077 | 1261583.4934
91 | 2612185.0623 | 1261591.6637 | 2612186.7058 | 1261598.4276 | 2612188.1718 | 1261607.1172
92 | 2612179.5924 | 1261569.1527 | 2612181.5518 | 1261577.2167
93 | 2612188.1718 | 1261607.1172 | 2612189.5636 | 1261615.3678
94 | 2612179.5924 | 1261569.1527 | 2612177.1885 | 1261559.2596
95 | 2612189.5636 | 1261615.3678 | 2612190.6381 | 1261621.7367
96 | 2612175.2187 | 1261551.1529 | 2612177.1885 | 1261559.2596
97 | 2612190.6381 | 1261621.7367 | 2612192.0262 | 1261629.965
98 | 2612194.6528 | 1261645.5346 | 2612193.7192 | 1261640.0007
99 | 2612194.6528 | 1261645.5346 | 2612195.0993 | 1261648.1817
100 | 2612192.0262 | 1261629.965 | 2612193.7192 | 1261640.0007
101 | 2612195.0993 | 1261648.1817 | 2612196.1745 | 1261654.5551
102 | 2612196.1745 | 1261654.5551 | 2612197.5732 | 1261662.8463
103 | 2612197.5732 | 1261662.8463 | 2612199.0918 | 1261671.8475 | 2612200.9446 | 1261679.9838
104 | 2612200.9446 | 1261679.9838 | 2612202.8021 | 1261688.1409
105 | 2612208.589 | 1261713.5527 | 2612208.3496 | 1261712.5015
106 | 2612208.589 | 1261713.5527 | 2612210.1913 | 1261720.5889
107 | 2612206.0897 | 1261702.5774 | 2612208.3496 | 1261712.5015
108 | 2612204.2369 | 1261694.4412 | 2612206.0897 | 1261702.5774
109 | 2612202.8021 | 1261688.1409 | 2612204.2369 | 1261694.4412
110 | 2612253.9938 | 1261625.6507 | 2612254.4588 | 1261628.0426 | 2612257.9586 | 1261646.9119
111 | 2612267.1328 | 1261696.4244 | 2612267.209 | 1261696.8357
112 | 2612262.3715 | 1261670.7216 | 2612267.1328 | 1261696.4244
113 | 2612259.8907 | 1261657.3293 | 2612262.3715 | 1261670.7216
114 | 2612259.8907 | 1261657.3293 | 2612257.9586 | 1261646.9119
115 | 2612259.8907 | 1261657.3293 | 2612284.2123 | 1261652.7653 | 2612287.4378 | 1261652.5351
116 | 2612290.3245 | 1261652.329 | 2612287.4378 | 1261652.5351
117 | 2612301.3687 | 1261562.3201 | 2612300.5674 | 1261551.3488
118 | 2612301.3687 | 1261562.3201 | 2612303.2013 | 1261587.4119
119 | 2612303.2013 | 1261587.4119 | 2612303.7692 | 1261595.1887 | 2612304.5114 | 1261613.732
120 | 2612321.5279 | 1261656.5229 | 2612337.315 | 1261652.6767
121 | 2612320.3656 | 1261628.4791 | 2612321.5279 | 1261656.5229
122 | 2612427.5032 | 1261651.8736 | 2612417.4166 | 1261633.162
123 | 2612417.4166 | 1261633.162 | 2612387.6679 | 1261640.4095
124 | 2612442.6516 | 1261678.2232 | 2612427.5032 | 1261651.8736
125 | 2612427.5032 | 1261651.8736 | 2612410.8305 | 1261655.8558
126 | 2612442.6516 | 1261678.2232 | 2612448.4943 | 1261694.3687 | 2612450.5056 | 1261708.8717
127 | 2612442.6516 | 1261678.2232 | 2612429.1381 | 1261681.4782
128 | 2612392.7868 | 1261660.1654 | 2612410.8305 | 1261655.8558
129 | 2612412.8325 | 1261685.4057 | 2612429.1381 | 1261681.4782
130 | 2612450.5056 | 1261708.8717 | 2612437.8153 | 1261711.6765
131 | 2612437.8153 | 1261711.6765 | 2612437.151 | 1261711.8233
132 | 2612392.7868 | 1261660.1654 | 2612359.7819 | 1261668.0485
133 | 2612337.315 | 1261652.6767 | 2612355.0654 | 1261648.3523
134 | 2612320.3656 | 1261628.4791 | 2612346.8316 | 1261621.6372
135 | 2612355.4234 | 1261619.4161 | 2612346.8316 | 1261621.6372
136 | 2612364.0184 | 1261617.1942 | 2612355.4234 | 1261619.4161
137 | 2612364.0184 | 1261617.1942 | 2612372.6091 | 1261614.9733
138 | 2612379.3737 | 1261613.2246 | 2612372.6091 | 1261614.9733
139 | 2612401.7026 | 1261791.048 | 2612400.6987 | 1261786.1666
140 | 2612398.4359 | 1261775.1637 | 2612400.6987 | 1261786.1666
141 | 2612401.7026 | 1261791.048 | 2612387.9855 | 1261793.3204
142 | 2612398.4359 | 1261775.1637 | 2612394.532 | 1261775.8116
143 | 2612398.4359 | 1261775.1637 | 2612398.0182 | 1261773.1503 | 2612401.2986 | 1261768.0092 | 2612409.1102 | 1261766.3549
144 | 2612387.9855 | 1261793.3204 | 2612376.9032 | 1261795.1563
145 | 2612394.532 | 1261775.8116 | 2612385.599 | 1261777.2916
146 | 2612394.532 | 1261775.8116 | 2612391.7821 | 1261763.5507
147 | 2612409.1102 | 1261766.3549 | 2612425.4318 | 1261762.8983
148 | 2612371.508 | 1261772.5169 | 2612372.6613 | 1261779.4351 | 2612385.599 | 1261777.2916
149 | 2612391.7821 | 1261763.5507 | 2612390.9078 | 1261759.6525
150 | 2612425.4318 | 1261762.8983 | 2612425.6709 | 1261762.8477
151 | 2612371.508 | 1261772.5169 | 2612370.2043 | 1261764.6962
152 | 2612371.508 | 1261772.5169 | 2612360.7578 | 1261774.3025
153 | 2612390.4841 | 1261757.7636 | 2612390.9078 | 1261759.6525
154 | 2612425.6709 | 1261762.8477 | 2612432.3126 | 1261761.4411
155 | 2612463.684 | 1261754.7973 | 2612471.1033 | 1261768.0902
156 | 2612463.684 | 1261754.7973 | 2612449.6394 | 1261757.7717
157 | 2612448.8667 | 1261757.9353 | 2612449.6394 | 1261757.7717
158 | 2612418.8216 | 1261715.8744 | 2612437.151 | 1261711.8233
159 | 2612432.5328 | 1261761.3945 | 2612448.8667 | 1261757.9353
160 | 2612432.3126 | 1261761.4411 | 2612432.5328 | 1261761.3945
161 | 2612349.3969 | 1261731.2186 | 2612377.3384 | 1261725.043
162 | 2612377.3384 | 1261725.043 | 2612379.9445 | 1261724.467
163 | 2612379.9445 | 1261724.467 | 2612395.707 | 1261720.9832
164 | 2612395.707 | 1261720.9832 | 2612408.3389 | 1261718.1913
165 | 2612389.9638 | 1261755.4437 | 2612390.4841 | 1261757.7636
166 | 2612360.7578 | 1261774.3025 | 2612354.962 | 1261775.2652
167 | 2612408.3389 | 1261718.1913 | 2612418.8216 | 1261715.8744

## bus_geodata
| x | y | coords
0 | 2612309.9258 | 1261768.7793
1 | 2612308.9336 | 1261738.953
2 | 2612310.6499 | 1261790.5473
3 | 2612308.3356 | 1261725.765
4 | 2612325.1665 | 1261736.5739
5 | 2612338.2686 | 1261801.5566
6 | 2612273.7494 | 1261732.1423
7 | 2612323.6158 | 1261706.8949
8 | 2612340.3613 | 1261733.2156
9 | 2612356.5643 | 1261798.5257
10 | 2612271.1038 | 1261717.8608
11 | 2612322.3745 | 1261676.983
12 | 2612360.2408 | 1261698.0732
13 | 2612306.9762 | 1261682.1582
14 | 2612306.0114 | 1261651.2093
15 | 2612348.077 | 1261731.5103
16 | 2612362.3606 | 1261797.5655
17 | 2612215.5929 | 1261744.3086
18 | 2612174.38 | 1261752.93
19 | 2612211.6262 | 1261726.8899
20 | 2612269.9762 | 1261711.7736
21 | 2612180.206 | 1261520.9834
22 | 2612189.4177 | 1261518.5416
23 | 2612168.6332 | 1261524.051
24 | 2612198.6312 | 1261516.0994
25 | 2612153.0664 | 1261528.3665
26 | 2612171.7176 | 1261536.7446
27 | 2612207.8369 | 1261513.6593
28 | 2612111.5022 | 1261538.5998
29 | 2612148.2165 | 1261509.071
30 | 2612173.6928 | 1261544.8732
31 | 2612209.6342 | 1261513.1829
32 | 2612115.253 | 1261557.6871
33 | 2612098.3028 | 1261541.8439
34 | 2612148.2107 | 1261509.0477
35 | 2612173.8623 | 1261545.5708
36 | 2612076.6394 | 1261547.1681
37 | 2612209.8785 | 1261452.2303
38 | 2612211.4893 | 1261454.7684
39 | 2612231.0275 | 1261507.5122
40 | 2612234.3062 | 1261524.3778
41 | 2612234.5226 | 1261525.4909
42 | 2612281.4228 | 1261493.3397
43 | 2612305.726 | 1261487.0746
44 | 2612295.1638 | 1261515.6502
45 | 2612237.6241 | 1261541.4453
46 | 2612299.2928 | 1261464.7238
47 | 2612314.7446 | 1261546.8255
48 | 2612318.0134 | 1261483.8534
49 | 2612308.9144 | 1261462.6123
50 | 2612299.2805 | 1261536.1339
51 | 2612098.6415 | 1261586.6509
52 | 2612102.9153 | 1261607.9185
53 | 2612409.7772 | 1261424.2094
54 | 2612430.384 | 1261447.8477
55 | 2612446.6654 | 1261466.8875
56 | 2612428.2722 | 1261482.3151
57 | 2612487.1087 | 1261463.8472
58 | 2612334.7371 | 1261430.4323
59 | 2612347.3491 | 1261453.539
60 | 2612399.9921 | 1261489.6743
61 | 2612524.5829 | 1261446.1592
62 | 2612356.6688 | 1261474.2604
63 | 2612409.1393 | 1261533.5059
64 | 2612396.3257 | 1261584.1623
65 | 2612386.0121 | 1261492.808
66 | 2612557.0366 | 1261524.9474
67 | 2612511.7963 | 1261386.0115
68 | 2612334.0029 | 1261479.8853
69 | 2612368.8427 | 1261496.6565
70 | 2612377.1132 | 1261519.2638
71 | 2612382.5962 | 1261538.3135
72 | 2612391.0184 | 1261566.4392
73 | 2612352.5007 | 1261543.8992
74 | 2612363.0277 | 1261593.7217
75 | 2612238.7296 | 1261547.1316
76 | 2612241.4325 | 1261561.0356
77 | 2612243.4781 | 1261571.558
78 | 2612244.9185 | 1261578.9672
79 | 2612248.7615 | 1261598.7355
80 | 2612248.9316 | 1261599.6105
81 | 2612253.0319 | 1261620.7024
82 | 2612184.7053 | 1261590.1947
83 | 2612183.077 | 1261583.4934
84 | 2612185.0623 | 1261591.6637
85 | 2612181.5518 | 1261577.2167
86 | 2612188.1718 | 1261607.1172
87 | 2612179.5924 | 1261569.1527
88 | 2612189.5636 | 1261615.3678
89 | 2612177.1885 | 1261559.2596
90 | 2612190.6381 | 1261621.7367
91 | 2612194.6528 | 1261645.5346
92 | 2612193.7192 | 1261640.0007
93 | 2612195.0993 | 1261648.1817
94 | 2612192.0262 | 1261629.965
95 | 2612196.1745 | 1261654.5551
96 | 2612197.5732 | 1261662.8463
97 | 2612200.9446 | 1261679.9838
98 | 2612208.589 | 1261713.5527
99 | 2612208.3496 | 1261712.5015
100 | 2612210.1913 | 1261720.5889
101 | 2612206.0897 | 1261702.5774
102 | 2612204.2369 | 1261694.4412
103 | 2612202.8021 | 1261688.1409
104 | 2612253.9938 | 1261625.6507
105 | 2612267.209 | 1261696.8357
106 | 2612267.1328 | 1261696.4244
107 | 2612262.3715 | 1261670.7216
108 | 2612164.5389 | 1261702.3198
109 | 2612257.9586 | 1261646.9119
110 | 2612259.8907 | 1261657.3293
111 | 2612287.4378 | 1261652.5351
112 | 2612290.3245 | 1261652.329
113 | 2612175.2187 | 1261551.1529
114 | 2612300.5674 | 1261551.3488
115 | 2612301.3687 | 1261562.3201
116 | 2612303.2013 | 1261587.4119
117 | 2612304.5114 | 1261613.732
118 | 2612321.5279 | 1261656.5229
119 | 2612417.4166 | 1261633.162
120 | 2612427.5032 | 1261651.8736
121 | 2612387.6679 | 1261640.4095
122 | 2612442.6516 | 1261678.2232
123 | 2612410.8305 | 1261655.8558
124 | 2612412.8325 | 1261685.4057
125 | 2612429.1381 | 1261681.4782
126 | 2612450.5056 | 1261708.8717
127 | 2612437.8153 | 1261711.6765
128 | 2612359.7819 | 1261668.0485
129 | 2612392.7868 | 1261660.1654
130 | 2612337.315 | 1261652.6767
131 | 2612320.3656 | 1261628.4791
132 | 2612346.8316 | 1261621.6372
133 | 2612355.4234 | 1261619.4161
134 | 2612355.0654 | 1261648.3523
135 | 2612364.0184 | 1261617.1942
136 | 2612372.6091 | 1261614.9733
137 | 2612379.3737 | 1261613.2246
138 | 2612400.6987 | 1261786.1666
139 | 2612401.7026 | 1261791.048
140 | 2612398.4359 | 1261775.1637
141 | 2612387.9855 | 1261793.3204
142 | 2612394.532 | 1261775.8116
143 | 2612409.1102 | 1261766.3549
144 | 2612376.9032 | 1261795.1563
145 | 2612385.599 | 1261777.2916
146 | 2612391.7821 | 1261763.5507
147 | 2612425.4318 | 1261762.8983
148 | 2612371.508 | 1261772.5169
149 | 2612390.9078 | 1261759.6525
150 | 2612425.6709 | 1261762.8477
151 | 2612463.684 | 1261754.7973
152 | 2612471.1033 | 1261768.0902
153 | 2612449.6394 | 1261757.7717
154 | 2612437.151 | 1261711.8233
155 | 2612448.8667 | 1261757.9353
156 | 2612432.5328 | 1261761.3945
157 | 2612432.3126 | 1261761.4411
158 | 2612349.3969 | 1261731.2186
159 | 2612377.3384 | 1261725.043
160 | 2612379.9445 | 1261724.467
161 | 2612395.707 | 1261720.9832
162 | 2612390.4841 | 1261757.7636
163 | 2612389.9638 | 1261755.4437
164 | 2612370.2043 | 1261764.6962
165 | 2612360.7578 | 1261774.3025
166 | 2612354.962 | 1261775.2652
167 | 2612408.3389 | 1261718.1913
168 | 2612418.8216 | 1261715.8744
169 | 2612306.0114 | 1261651.2093

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1