## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2773-25_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2773-25_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2773-25_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2773-25_0_6_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_2773-25_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2773-25_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2773-25_0_6_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2773-25_0_6_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_2773-25_0_6_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_2773-25_0_6_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_2773-25_0_6_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_2773-25_0_6_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_2773-25_0_6_node_82 | 0.4 | n |  | TRUE
13 | bus_LV_2773-25_0_6_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_2773-25_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2773-25_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2773-25_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2773-25_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2773-25_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_2773-25_0_6_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_2773-25_0_6_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_2773-25_0_6_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_2773-25_0_6_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_2773-25_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2773-25_0_6_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2773-25_0_6_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_2773-25_0_6_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_2773-25_0_6_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_2773-25_0_6_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_2773-25_0_6_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_2773-25_0_6_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_2773-25_0_6_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_2773-25_0_6_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_2773-25_0_6_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_2773-25_0_6_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_2773-25_0_6_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_2773-25_0_6_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_2773-25_0_6_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_2773-25_0_6_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_2773-25_0_6_node_123 | 0.4 | n |  | TRUE
40 | bus_LV_2773-25_0_6_node_148 | 0.4 | n |  | TRUE
41 | bus_LV_2773-25_0_6_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_2773-25_0_6_node_122 | 0.4 | n |  | TRUE
43 | bus_LV_2773-25_0_6_node_147 | 0.4 | n |  | TRUE
44 | bus_LV_2773-25_0_6_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_2773-25_0_6_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_2773-25_0_6_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_2773-25_0_6_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_2773-25_0_6_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_2773-25_0_6_node_70 | 0.4 | n |  | TRUE
50 | bus_LV_2773-25_0_6_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_2773-25_0_6_node_76 | 0.4 | n |  | TRUE
52 | bus_LV_2773-25_0_6_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_2773-25_0_6_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_2773-25_0_6_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_2773-25_0_6_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_2773-25_0_6_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_2773-25_0_6_node_81 | 0.4 | n |  | TRUE
58 | bus_LV_2773-25_0_6_node_80 | 0.4 | n |  | TRUE
59 | bus_LV_2773-25_0_6_node_114 | 0.4 | n |  | TRUE
60 | bus_LV_2773-25_0_6_node_116 | 0.4 | n |  | TRUE
61 | bus_LV_2773-25_0_6_node_112 | 0.4 | n |  | TRUE
62 | bus_LV_2773-25_0_6_node_83 | 0.4 | n |  | TRUE
63 | bus_LV_2773-25_0_6_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_2773-25_0_6_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_2773-25_0_6_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_2773-25_0_6_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_2773-25_0_6_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_2773-25_0_6_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_2773-25_0_6_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_2773-25_0_6_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_2773-25_0_6_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_2773-25_0_6_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_2773-25_0_6_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_2773-25_0_6_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_2773-25_0_6_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_2773-25_0_6_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_2773-25_0_6_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_2773-25_0_6_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_2773-25_0_6_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_2773-25_0_6_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_2773-25_0_6_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_2773-25_0_6_node_132 | 0.4 | n |  | TRUE
83 | bus_LV_2773-25_0_6_node_97 | 0.4 | n |  | TRUE
84 | bus_LV_2773-25_0_6_node_129 | 0.4 | n |  | TRUE
85 | bus_LV_2773-25_0_6_node_106 | 0.4 | n |  | TRUE
86 | bus_LV_2773-25_0_6_node_96 | 0.4 | n |  | TRUE
87 | bus_LV_2773-25_0_6_node_127 | 0.4 | n |  | TRUE
88 | bus_LV_2773-25_0_6_node_67 | 0.4 | n |  | TRUE
89 | bus_LV_2773-25_0_6_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_2773-25_0_6_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_2773-25_0_6_node_74 | 0.4 | n |  | TRUE
92 | bus_LV_2773-25_0_6_node_77 | 0.4 | n |  | TRUE
93 | bus_LV_2773-25_0_6_node_78 | 0.4 | n |  | TRUE
94 | bus_LV_2773-25_0_6_node_79 | 0.4 | n |  | TRUE
95 | bus_LV_2773-25_0_6_node_84 | 0.4 | n |  | TRUE
96 | bus_LV_2773-25_0_6_node_85 | 0.4 | n |  | TRUE
97 | bus_LV_2773-25_0_6_node_86 | 0.4 | n |  | TRUE
98 | bus_LV_2773-25_0_6_node_87 | 0.4 | n |  | TRUE
99 | bus_LV_2773-25_0_6_node_88 | 0.4 | n |  | TRUE
100 | bus_LV_2773-25_0_6_node_89 | 0.4 | n |  | TRUE
101 | bus_LV_2773-25_0_6_node_90 | 0.4 | n |  | TRUE
102 | bus_LV_2773-25_0_6_node_91 | 0.4 | n |  | TRUE
103 | bus_LV_2773-25_0_6_node_92 | 0.4 | n |  | TRUE
104 | bus_LV_2773-25_0_6_node_93 | 0.4 | n |  | TRUE
105 | bus_LV_2773-25_0_6_node_124 | 0.4 | n |  | TRUE
106 | bus_LV_2773-25_0_6_node_95 | 0.4 | n |  | TRUE
107 | bus_LV_2773-25_0_6_node_98 | 0.4 | n |  | TRUE
108 | bus_LV_2773-25_0_6_node_125 | 0.4 | n |  | TRUE
109 | bus_LV_2773-25_0_6_node_164 | 0.4 | n |  | TRUE
110 | bus_LV_2773-25_0_6_node_94 | 0.4 | n |  | TRUE
111 | bus_LV_2773-25_0_6_node_99 | 0.4 | n |  | TRUE
112 | bus_LV_2773-25_0_6_node_100 | 0.4 | n |  | TRUE
113 | bus_LV_2773-25_0_6_node_138 | 0.4 | n |  | TRUE
114 | bus_LV_2773-25_0_6_node_139 | 0.4 | n |  | TRUE
115 | bus_LV_2773-25_0_6_node_101 | 0.4 | n |  | TRUE
116 | bus_LV_2773-25_0_6_node_102 | 0.4 | n |  | TRUE
117 | bus_LV_2773-25_0_6_node_103 | 0.4 | n |  | TRUE
118 | bus_LV_2773-25_0_6_node_104 | 0.4 | n |  | TRUE
119 | bus_LV_2773-25_0_6_node_105 | 0.4 | n |  | TRUE
120 | bus_LV_2773-25_0_6_node_107 | 0.4 | n |  | TRUE
121 | bus_LV_2773-25_0_6_node_135 | 0.4 | n |  | TRUE
122 | bus_LV_2773-25_0_6_node_133 | 0.4 | n |  | TRUE
123 | bus_LV_2773-25_0_6_node_108 | 0.4 | n |  | TRUE
124 | bus_LV_2773-25_0_6_node_109 | 0.4 | n |  | TRUE
125 | bus_LV_2773-25_0_6_node_110 | 0.4 | n |  | TRUE
126 | bus_LV_2773-25_0_6_node_111 | 0.4 | n |  | TRUE
127 | bus_LV_2773-25_0_6_node_113 | 0.4 | n |  | TRUE
128 | bus_LV_2773-25_0_6_node_159 | 0.4 | n |  | TRUE
129 | bus_LV_2773-25_0_6_node_158 | 0.4 | n |  | TRUE
130 | bus_LV_2773-25_0_6_node_115 | 0.4 | n |  | TRUE
131 | bus_LV_2773-25_0_6_node_117 | 0.4 | n |  | TRUE
132 | bus_LV_2773-25_0_6_node_118 | 0.4 | n |  | TRUE
133 | bus_LV_2773-25_0_6_node_119 | 0.4 | n |  | TRUE
134 | bus_LV_2773-25_0_6_node_120 | 0.4 | n |  | TRUE
135 | bus_LV_2773-25_0_6_node_121 | 0.4 | n |  | TRUE
136 | bus_LV_2773-25_0_6_node_126 | 0.4 | n |  | TRUE
137 | bus_LV_2773-25_0_6_node_166 | 0.4 | n |  | TRUE
138 | bus_LV_2773-25_0_6_node_163 | 0.4 | n |  | TRUE
139 | bus_LV_2773-25_0_6_node_149 | 0.4 | n |  | TRUE
140 | bus_LV_2773-25_0_6_node_153 | 0.4 | n |  | TRUE
141 | bus_LV_2773-25_0_6_node_128 | 0.4 | n |  | TRUE
142 | bus_LV_2773-25_0_6_node_130 | 0.4 | n |  | TRUE
143 | bus_LV_2773-25_0_6_node_131 | 0.4 | n |  | TRUE
144 | bus_LV_2773-25_0_6_node_154 | 0.4 | n |  | TRUE
145 | bus_LV_2773-25_0_6_node_155 | 0.4 | n |  | TRUE
146 | bus_LV_2773-25_0_6_node_134 | 0.4 | n |  | TRUE
147 | bus_LV_2773-25_0_6_node_136 | 0.4 | n |  | TRUE
148 | bus_LV_2773-25_0_6_node_137 | 0.4 | n |  | TRUE
149 | bus_LV_2773-25_0_6_node_140 | 0.4 | n |  | TRUE
150 | bus_LV_2773-25_0_6_node_141 | 0.4 | n |  | TRUE
151 | bus_LV_2773-25_0_6_node_142 | 0.4 | n |  | TRUE
152 | bus_LV_2773-25_0_6_node_143 | 0.4 | n |  | TRUE
153 | bus_LV_2773-25_0_6_node_144 | 0.4 | n |  | TRUE
154 | bus_LV_2773-25_0_6_node_145 | 0.4 | n |  | TRUE
155 | bus_LV_2773-25_0_6_node_146 | 0.4 | n |  | TRUE
156 | bus_LV_2773-25_0_6_node_156 | 0.4 | n |  | TRUE
157 | bus_LV_2773-25_0_6_node_161 | 0.4 | n |  | TRUE
158 | bus_LV_2773-25_0_6_node_162 | 0.4 | n |  | TRUE
159 | bus_LV_2773-25_0_6_node_165 | 0.4 | n |  | TRUE
160 | bus_LV_2773-25_0_6_node_167 | 0.4 | n |  | TRUE
161 | bus_LV_2773-25_0_6_node_168 | 0.4 | n |  | TRUE
162 | bus_LV_2773-25_0_6_node_169 | 0.4 | n |  | TRUE
163 | bus_MV_573_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2773-25_0_6_load_0 | 0 | 0.0068968 | 0.0017285 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2773-25_0_6_load_1 | 1 | 0.010871 | 0.0027246 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2773-25_0_6_load_3 | 2 | 0.0022421 | 0.00056193 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2773-25_0_6_load_5 | 3 | 0.0022436 | 0.00056231 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2773-25_0_6_load_6 | 5 | 0.0022146 | 0.00055504 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2773-25_0_6_load_7 | 6 | 0.013263 | 0.003324 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2773-25_0_6_load_48 | 8 | 0.0022159 | 0.00055535 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2773-25_0_6_load_40 | 9 | 0.0014421 | 0.00036143 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2773-25_0_6_load_22 | 10 | 0.0031543 | 0.00079055 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2773-25_0_6_load_11 | 11 | 0.0037443 | 0.0009384 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2773-25_0_6_load_82 | 12 | 0.0022146 | 0.00055504 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2773-25_0_6_load_8 | 14 | 0.0026636 | 0.00066756 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2773-25_0_6_load_9 | 15 | 0.0023614 | 0.00059183 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2773-25_0_6_load_10 | 16 | 0.0023605 | 0.00059161 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2773-25_0_6_load_12 | 17 | 0.0023606 | 0.00059162 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2773-25_0_6_load_14 | 18 | 0.0026635 | 0.00066755 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2773-25_0_6_load_15 | 19 | 0.0023606 | 0.00059161 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2773-25_0_6_load_32 | 20 | 0.0013823 | 0.00034645 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2773-25_0_6_load_23 | 21 | 0.0083432 | 0.002091 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2773-25_0_6_load_16 | 23 | 0.0023605 | 0.0005916 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2773-25_0_6_load_17 | 24 | 0.0026635 | 0.00066755 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2773-25_0_6_load_18 | 25 | 0.0045764 | 0.001147 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2773-25_0_6_load_20 | 27 | 0.004576 | 0.0011469 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2773-25_0_6_load_46 | 30 | 0.0022436 | 0.00056231 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2773-25_0_6_load_24 | 31 | 0.0027562 | 0.00069077 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2773-25_0_6_load_25 | 32 | 0.0026275 | 0.00065852 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2773-25_0_6_load_26 | 33 | 0.0037653 | 0.00094368 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2773-25_0_6_load_30 | 35 | 0.0038801 | 0.00097245 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2773-25_0_6_load_33 | 36 | 0.0021152 | 0.00053012 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2773-25_0_6_load_31 | 37 | 0.0019925 | 0.00049937 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2773-25_0_6_load_123 | 39 | 0.0027291 | 0.00068397 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2773-25_0_6_load_148 | 40 | 0.0043525 | 0.0010908 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2773-25_0_6_load_43 | 41 | 0.0013832 | 0.00034667 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2773-25_0_6_load_122 | 42 | 0.0021167 | 0.00053049 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2773-25_0_6_load_147 | 43 | 0.0024161 | 0.00060552 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2773-25_0_6_load_35 | 44 | 0.0046076 | 0.0011548 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2773-25_0_6_load_36 | 45 | 0.0077246 | 0.001936 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2773-25_0_6_load_38 | 47 | 0.0018371 | 0.00046042 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2773-25_0_6_load_39 | 48 | 0.0013466 | 0.00033749 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2773-25_0_6_load_70 | 49 | 0.0011132 | 0.00027898 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2773-25_0_6_load_65 | 50 | 0.0028332 | 0.00071005 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2773-25_0_6_load_76 | 51 | 0.0011127 | 0.00027886 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2773-25_0_6_load_66 | 52 | 0.0020503 | 0.00051384 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2773-25_0_6_load_42 | 53 | 0.0022171 | 0.00055566 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2773-25_0_6_load_44 | 54 | 0.0013827 | 0.00034653 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2773-25_0_6_load_45 | 55 | 0.0021134 | 0.00052968 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2773-25_0_6_load_47 | 56 | 0.0013822 | 0.0003464 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2773-25_0_6_load_81 | 57 | 0.0032161 | 0.00080602 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2773-25_0_6_load_80 | 58 | 0.0021145 | 0.00052994 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2773-25_0_6_load_116 | 60 | 0.0020612 | 0.00051659 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2773-25_0_6_load_112 | 61 | 0.0011315 | 0.00028358 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2773-25_0_6_load_83 | 62 | 0.0021137 | 0.00052973 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2773-25_0_6_load_49 | 63 | 0.0028607 | 0.00071697 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2773-25_0_6_load_50 | 64 | 0.0020954 | 0.00052516 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2773-25_0_6_load_54 | 68 | 0.0011344 | 0.00028432 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2773-25_0_6_load_56 | 70 | 0.0050925 | 0.0012763 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2773-25_0_6_load_57 | 71 | 0.0015559 | 0.00038995 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2773-25_0_6_load_58 | 72 | 0.0017042 | 0.00042712 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2773-25_0_6_load_59 | 73 | 0.02015 | 0.00505 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2773-25_0_6_load_60 | 74 | 0.0035305 | 0.00088482 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2773-25_0_6_load_61 | 75 | 0.0022422 | 0.00056194 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2773-25_0_6_load_62 | 77 | 0.0036161 | 0.00090629 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2773-25_0_6_load_72 | 78 | 0.0017746 | 0.00044476 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2773-25_0_6_load_73 | 79 | 0.02015 | 0.0050501 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2773-25_0_6_load_63 | 80 | 0.0030141 | 0.00075541 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2773-25_0_6_load_132 | 82 | 0.0030383 | 0.00076147 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2773-25_0_6_load_97 | 83 | 0.0036235 | 0.00090813 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2773-25_0_6_load_129 | 84 | 0.0015978 | 0.00040044 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2773-25_0_6_load_106 | 85 | 0.0060369 | 0.001513 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2773-25_0_6_load_96 | 86 | 0.0018507 | 0.00046382 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2773-25_0_6_load_127 | 87 | 0.0015149 | 0.00037967 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2773-25_0_6_load_67 | 88 | 0.0017746 | 0.00044475 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2773-25_0_6_load_69 | 89 | 0.0017736 | 0.00044451 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2773-25_0_6_load_74 | 91 | 0.0077302 | 0.0019374 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2773-25_0_6_load_77 | 92 | 0.0011139 | 0.00027918 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2773-25_0_6_load_78 | 93 | 0.0011138 | 0.00027914 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2773-25_0_6_load_79 | 94 | 0.0021137 | 0.00052973 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2773-25_0_6_load_84 | 95 | 0.0021135 | 0.0005297 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2773-25_0_6_load_85 | 96 | 0.0021135 | 0.0005297 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2773-25_0_6_load_86 | 97 | 0.0031114 | 0.00077979 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2773-25_0_6_load_87 | 98 | 0.0019853 | 0.00049755 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2773-25_0_6_load_88 | 99 | 0.0013188 | 0.00033052 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2773-25_0_6_load_89 | 100 | 0.00191 | 0.00047869 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2773-25_0_6_load_91 | 102 | 0.0013049 | 0.00032704 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2773-25_0_6_load_92 | 103 | 0.0015616 | 0.00039137 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2773-25_0_6_load_93 | 104 | 0.0028018 | 0.00070219 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2773-25_0_6_load_124 | 105 | 0.0019812 | 0.00049653 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2773-25_0_6_load_95 | 106 | 0.0015629 | 0.00039169 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2773-25_0_6_load_98 | 107 | 0.0036031 | 0.00090302 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2773-25_0_6_load_125 | 108 | 0.0051897 | 0.0013006 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2773-25_0_6_load_164 | 109 | 0.0048515 | 0.0012159 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2773-25_0_6_load_94 | 110 | 0.0014172 | 0.0003552 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2773-25_0_6_load_99 | 111 | 0.0015738 | 0.00039444 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2773-25_0_6_load_100 | 112 | 0.0030956 | 0.00077584 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2773-25_0_6_load_138 | 113 | 0.0026488 | 0.00066385 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2773-25_0_6_load_139 | 114 | 0.002092 | 0.0005243 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2773-25_0_6_load_101 | 115 | 0.0050555 | 0.001267 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2773-25_0_6_load_102 | 116 | 0.0047395 | 0.0011878 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2773-25_0_6_load_103 | 117 | 0.0020089 | 0.00050348 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2773-25_0_6_load_104 | 118 | 0.0027562 | 0.00069076 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_2773-25_0_6_load_105 | 119 | 0.0046918 | 0.0011759 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_2773-25_0_6_load_107 | 120 | 0.0016434 | 0.00041188 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_2773-25_0_6_load_135 | 121 | 0.0014599 | 0.00036589 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_2773-25_0_6_load_133 | 122 | 0.001771 | 0.00044386 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_2773-25_0_6_load_108 | 123 | 0.0021872 | 0.00054816 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_2773-25_0_6_load_109 | 124 | 0.0013058 | 0.00032728 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_2773-25_0_6_load_110 | 125 | 0.0011307 | 0.00028337 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_2773-25_0_6_load_111 | 126 | 0.0015992 | 0.00040079 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_2773-25_0_6_load_113 | 127 | 0.0014686 | 0.00036806 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_2773-25_0_6_load_159 | 128 | 0.0025918 | 0.00064956 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_2773-25_0_6_load_158 | 129 | 0.0026713 | 0.00066949 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_2773-25_0_6_load_115 | 130 | 0.0020766 | 0.00052045 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_2773-25_0_6_load_117 | 131 | 0.0026055 | 0.00065301 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_2773-25_0_6_load_118 | 132 | 0.0014211 | 0.00035615 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_2773-25_0_6_load_119 | 133 | 0.0014384 | 0.0003605 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_2773-25_0_6_load_120 | 134 | 0.001437 | 0.00036015 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_2773-25_0_6_load_121 | 135 | 0.0027293 | 0.00068403 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_2773-25_0_6_load_126 | 136 | 0.0024985 | 0.00062617 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_2773-25_0_6_load_163 | 138 | 0.0053234 | 0.0013342 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_2773-25_0_6_load_149 | 139 | 0.0017913 | 0.00044894 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_2773-25_0_6_load_153 | 140 | 0.0045599 | 0.0011428 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_2773-25_0_6_load_128 | 141 | 0.001598 | 0.00040049 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_2773-25_0_6_load_130 | 142 | 0.0014436 | 0.00036181 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_2773-25_0_6_load_131 | 143 | 0.0015822 | 0.00039653 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_2773-25_0_6_load_154 | 144 | 0.00073583 | 0.00018442 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_2773-25_0_6_load_155 | 145 | 0.001382 | 0.00034635 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_2773-25_0_6_load_134 | 146 | 0.0017735 | 0.00044449 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_2773-25_0_6_load_136 | 147 | 0.0014991 | 0.00037572 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_2773-25_0_6_load_137 | 148 | 0.0014576 | 0.00036531 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_2773-25_0_6_load_140 | 149 | 0.0021774 | 0.0005457 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_2773-25_0_6_load_141 | 150 | 0.0021941 | 0.00054989 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_2773-25_0_6_load_142 | 151 | 0.0017966 | 0.00045027 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_2773-25_0_6_load_143 | 152 | 0.0021965 | 0.00055049 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_2773-25_0_6_load_144 | 153 | 0.0034034 | 0.00085298 | 0 | 0 |  | 1 | TRUE | wye
134 | LV_2773-25_0_6_load_145 | 154 | 0.001214 | 0.00030425 | 0 | 0 |  | 1 | TRUE | wye
135 | LV_2773-25_0_6_load_146 | 155 | 0.0019719 | 0.00049419 | 0 | 0 |  | 1 | TRUE | wye
136 | LV_2773-25_0_6_load_156 | 156 | 0.0019594 | 0.00049107 | 0 | 0 |  | 1 | TRUE | wye
137 | LV_2773-25_0_6_load_161 | 157 | 0.0018717 | 0.00046909 | 0 | 0 |  | 1 | TRUE | wye
138 | LV_2773-25_0_6_load_162 | 158 | 0.0012651 | 0.00031708 | 0 | 0 |  | 1 | TRUE | wye
139 | LV_2773-25_0_6_load_165 | 159 | 0.0016839 | 0.00042202 | 0 | 0 |  | 1 | TRUE | wye
140 | LV_2773-25_0_6_load_167 | 160 | 0.0014238 | 0.00035683 | 0 | 0 |  | 1 | TRUE | wye
141 | LV_2773-25_0_6_load_168 | 161 | 0.0017373 | 0.0004354 | 0 | 0 |  | 1 | TRUE | wye
142 | LV_2773-25_0_6_load_169 | 162 | 0.0020493 | 0.0005136 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 122 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2773-25_0_6_line_0 |  | 0 | 1 | 0.049165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2773-25_0_6_line_1 |  | 1 | 2 | 0.0077204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2773-25_0_6_line_2 |  | 2 | 3 | 0.00040874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2773-25_0_6_line_3 |  | 3 | 7 | 0.01573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2773-25_0_6_line_4 |  | 4 | 5 | 0.011713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2773-25_0_6_line_5 |  | 4 | 6 | 0.0037853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2773-25_0_6_line_6 |  | 5 | 8 | 0.0070403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2773-25_0_6_line_7 |  | 6 | 9 | 0.0085225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2773-25_0_6_line_8 |  | 7 | 10 | 0.028822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2773-25_0_6_line_9 |  | 7 | 11 | 0.023528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2773-25_0_6_line_10 |  | 8 | 12 | 0.011747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2773-25_0_6_line_11 |  | 9 | 13 | 0.019376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2773-25_0_6_line_12 |  | 10 | 20 | 0.0034262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2773-25_0_6_line_13 |  | 11 | 15 | 0.0090264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2773-25_0_6_line_14 |  | 12 | 62 | 0.0071005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2773-25_0_6_line_15 |  | 13 | 53 | 0.028306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2773-25_0_6_line_16 |  | 13 | 54 | 0.031736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2773-25_0_6_line_17 |  | 14 | 15 | 0.0077282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2773-25_0_6_line_18 |  | 14 | 16 | 0.0075507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2773-25_0_6_line_19 |  | 16 | 17 | 0.010882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2773-25_0_6_line_20 |  | 17 | 18 | 0.007504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2773-25_0_6_line_21 |  | 18 | 19 | 0.0077211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2773-25_0_6_line_22 |  | 19 | 23 | 0.010882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2773-25_0_6_line_23 |  | 20 | 30 | 0.0037161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2773-25_0_6_line_24 |  | 21 | 22 | 0.031563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2773-25_0_6_line_25 |  | 22 | 26 | 0.019948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2773-25_0_6_line_26 |  | 23 | 24 | 0.0075501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2773-25_0_6_line_27 |  | 24 | 25 | 0.024495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2773-25_0_6_line_28 |  | 25 | 26 | 0.018072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2773-25_0_6_line_29 |  | 26 | 27 | 0.02911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2773-25_0_6_line_30 |  | 27 | 28 | 0.030829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2773-25_0_6_line_31 |  | 28 | 29 | 0.026211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2773-25_0_6_line_32 |  | 29 | 32 | 0.008217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2773-25_0_6_line_33 |  | 30 | 41 | 0.0039769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2773-25_0_6_line_34 |  | 31 | 32 | 0.008411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2773-25_0_6_line_35 |  | 31 | 33 | 0.027478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2773-25_0_6_line_36 |  | 33 | 34 | 0.029921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2773-25_0_6_line_37 |  | 34 | 35 | 0.012996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2773-25_0_6_line_38 |  | 35 | 36 | 0.015929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2773-25_0_6_line_39 |  | 36 | 39 | 0.0017058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2773-25_0_6_line_40 |  | 37 | 38 | 0.047974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2773-25_0_6_line_41 |  | 38 | 40 | 0.031048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2773-25_0_6_line_42 |  | 39 | 42 | 0.0084096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2773-25_0_6_line_43 |  | 40 | 43 | 0.030154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2773-25_0_6_line_44 |  | 42 | 135 | 0.00027079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2773-25_0_6_line_45 |  | 43 | 155 | 0.014884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2773-25_0_6_line_46 |  | 44 | 45 | 0.0048709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2773-25_0_6_line_47 |  | 45 | 46 | 0.027846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2773-25_0_6_line_48 |  | 46 | 47 | 0.0032039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2773-25_0_6_line_49 |  | 46 | 48 | 0.013508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2773-25_0_6_line_50 |  | 47 | 49 | 0.01749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2773-25_0_6_line_51 |  | 48 | 50 | 0.0070211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2773-25_0_6_line_52 |  | 49 | 51 | 0.0058272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2773-25_0_6_line_53 |  | 50 | 52 | 0.0013175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2773-25_0_6_line_54 |  | 51 | 90 | 0.00039596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2773-25_0_6_line_55 |  | 52 | 88 | 0.013947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2773-25_0_6_line_56 |  | 53 | 55 | 0.0070988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2773-25_0_6_line_57 |  | 54 | 56 | 0.00039296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2773-25_0_6_line_58 |  | 55 | 57 | 0.008963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2773-25_0_6_line_59 |  | 57 | 58 | 0.0039031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2773-25_0_6_line_60 |  | 58 | 94 | 0.0070988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2773-25_0_6_line_61 |  | 59 | 60 | 0.0078053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_2773-25_0_6_line_62 |  | 59 | 61 | 0.0037096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_2773-25_0_6_line_63 |  | 60 | 130 | 0.0094174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_2773-25_0_6_line_64 |  | 61 | 125 | 0.0098625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_2773-25_0_6_line_65 |  | 62 | 95 | 0.012864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2773-25_0_6_line_66 |  | 63 | 64 | 0.0055042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2773-25_0_6_line_67 |  | 63 | 65 | 0.017938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2773-25_0_6_line_68 |  | 64 | 66 | 0.043022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2773-25_0_6_line_69 |  | 65 | 67 | 0.043803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2773-25_0_6_line_70 |  | 65 | 68 | 0.0074487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2773-25_0_6_line_71 |  | 66 | 69 | 0.006567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2773-25_0_6_line_72 |  | 66 | 70 | 0.031805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_2773-25_0_6_line_73 |  | 67 | 71 | 0.017881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2773-25_0_6_line_74 |  | 68 | 72 | 0.017351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2773-25_0_6_line_75 |  | 69 | 73 | 0.013389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2773-25_0_6_line_76 |  | 69 | 74 | 0.029197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2773-25_0_6_line_77 |  | 70 | 75 | 0.00021186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_2773-25_0_6_line_78 |  | 74 | 76 | 0.014733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2773-25_0_6_line_79 |  | 75 | 77 | 0.032013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_2773-25_0_6_line_80 |  | 76 | 78 | 0.0065458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2773-25_0_6_line_81 |  | 76 | 79 | 0.015391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2773-25_0_6_line_82 |  | 77 | 80 | 0.00096121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_2773-25_0_6_line_83 |  | 78 | 89 | 0.0072287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2773-25_0_6_line_84 |  | 80 | 81 | 0.017342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_2773-25_0_6_line_85 |  | 81 | 82 | 0.03383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_2773-25_0_6_line_86 |  | 81 | 83 | 0.031584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2773-25_0_6_line_87 |  | 81 | 84 | 0.031257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2773-25_0_6_line_88 |  | 82 | 85 | 0.006578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_2773-25_0_6_line_89 |  | 83 | 86 | 0.0011911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2773-25_0_6_line_90 |  | 84 | 87 | 0.0030479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2773-25_0_6_line_91 |  | 85 | 118 | 0.0081331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_2773-25_0_6_line_92 |  | 86 | 110 | 0.027536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2773-25_0_6_line_93 |  | 87 | 141 | 0.016434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2773-25_0_6_line_94 |  | 88 | 89 | 0.011467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2773-25_0_6_line_95 |  | 90 | 92 | 0.01506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2773-25_0_6_line_96 |  | 90 | 91 | 0.027698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2773-25_0_6_line_97 |  | 92 | 93 | 0.0058269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2773-25_0_6_line_98 |  | 93 | 94 | 0.012423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2773-25_0_6_line_99 |  | 95 | 96 | 0.0071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2773-25_0_6_line_100 |  | 97 | 98 | 0.0075273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2773-25_0_6_line_101 |  | 97 | 99 | 0.010979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2773-25_0_6_line_102 |  | 98 | 100 | 0.00026992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2773-25_0_6_line_103 |  | 99 | 101 | 0.022399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2773-25_0_6_line_104 |  | 100 | 102 | 0.015182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2773-25_0_6_line_105 |  | 101 | 103 | 0.018646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2773-25_0_6_line_106 |  | 101 | 104 | 0.043894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2773-25_0_6_line_107 |  | 102 | 105 | 0.01538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2773-25_0_6_line_108 |  | 103 | 106 | 0.00014706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2773-25_0_6_line_109 |  | 104 | 107 | 0.00059507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2773-25_0_6_line_110 |  | 105 | 108 | 0.023361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2773-25_0_6_line_111 |  | 105 | 109 | 0.086825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2773-25_0_6_line_112 |  | 106 | 110 | 0.0044069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2773-25_0_6_line_113 |  | 107 | 111 | 0.025995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2773-25_0_6_line_114 |  | 108 | 136 | 0.023921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2773-25_0_6_line_115 |  | 109 | 137 | 0.018665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_2773-25_0_6_line_116 |  | 109 | 138 | 0.02681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_2773-25_0_6_line_117 |  | 111 | 112 | 0.0011969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_2773-25_0_6_line_118 |  | 112 | 113 | 0.014554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_2773-25_0_6_line_119 |  | 113 | 114 | 0.017327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_2773-25_0_6_line_120 |  | 114 | 149 | 0.0032421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_2773-25_0_6_line_121 |  | 115 | 116 | 0.010035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
122 | LV_2773-25_0_6_line_122 |  | 115 | 117 | 0.022667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
123 | LV_2773-25_0_6_line_123 |  | 116 | 118 | 0.015226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
124 | LV_2773-25_0_6_line_124 |  | 117 | 119 | 0.012173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
125 | LV_2773-25_0_6_line_125 |  | 119 | 120 | 0.008956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
126 | LV_2773-25_0_6_line_126 |  | 120 | 121 | 0.018482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
127 | LV_2773-25_0_6_line_127 |  | 121 | 122 | 0.0010015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
128 | LV_2773-25_0_6_line_128 |  | 122 | 146 | 5.0205e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
129 | LV_2773-25_0_6_line_129 |  | 123 | 124 | 0.010036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
130 | LV_2773-25_0_6_line_130 |  | 123 | 125 | 0.00802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
131 | LV_2773-25_0_6_line_131 |  | 124 | 126 | 0.0098654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
132 | LV_2773-25_0_6_line_132 |  | 126 | 127 | 0.025763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
133 | LV_2773-25_0_6_line_133 |  | 127 | 128 | 0.0057865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
134 | LV_2773-25_0_6_line_134 |  | 128 | 129 | 0.0013503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
135 | LV_2773-25_0_6_line_135 |  | 129 | 148 | 0.00056815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
136 | LV_2773-25_0_6_line_136 |  | 130 | 131 | 0.011971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
137 | LV_2773-25_0_6_line_137 |  | 131 | 132 | 0.014532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_2773-25_0_6_line_138 |  | 132 | 133 | 0.0068693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_2773-25_0_6_line_139 |  | 133 | 134 | 0.011006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_2773-25_0_6_line_140 |  | 134 | 135 | 0.02306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_2773-25_0_6_line_141 |  | 136 | 139 | 0.0057181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_2773-25_0_6_line_142 |  | 137 | 140 | 0.010108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_2773-25_0_6_line_143 |  | 138 | 157 | 0.07297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_2773-25_0_6_line_144 |  | 141 | 142 | 0.017965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_2773-25_0_6_line_145 |  | 142 | 143 | 0.00013068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_2773-25_0_6_line_146 |  | 143 | 144 | 0.001905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_2773-25_0_6_line_147 |  | 144 | 145 | 0.0062016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_2773-25_0_6_line_148 |  | 145 | 156 | 0.0086953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_2773-25_0_6_line_149 |  | 146 | 147 | 0.0068652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
150 | LV_2773-25_0_6_line_150 |  | 147 | 148 | 0.01381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
151 | LV_2773-25_0_6_line_151 |  | 149 | 150 | 0.011022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_2773-25_0_6_line_152 |  | 150 | 151 | 0.0085692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_2773-25_0_6_line_153 |  | 151 | 152 | 0.027835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_2773-25_0_6_line_154 |  | 152 | 153 | 0.022542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_2773-25_0_6_line_155 |  | 153 | 154 | 0.020148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_2773-25_0_6_line_156 |  | 154 | 155 | 0.012116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_2773-25_0_6_line_157 |  | 157 | 158 | 0.035196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_2773-25_0_6_line_158 |  | 158 | 159 | 0.0084245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_2773-25_0_6_line_159 |  | 159 | 160 | 0.013757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_2773-25_0_6_line_160 |  | 160 | 161 | 0.018188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_2773-25_0_6_line_161 |  | 161 | 162 | 0.016086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2773-25_0_6_trafo_133 | 0.63 MVA 20/0.4 kV | 163 | 122 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2610321.2614 | 1260317.9643 | 2610302.1789 | 1260316.5503 | 2610298.1965 | 1260318.6226 | 2610296.2755 | 1260335.7198 | 2610295.0055 | 1260343.9588
1 | 2610295.0055 | 1260343.9588 | 2610294.2177 | 1260349.0697 | 2610293.8875 | 1260351.5975
2 | 2610293.8346 | 1260352.0027 | 2610293.8875 | 1260351.5975
3 | 2610291.7969 | 1260367.6003 | 2610293.8346 | 1260352.0027
4 | 2610367.4168 | 1260341.714 | 2610379.1108 | 1260341.0409
5 | 2610367.4168 | 1260341.714 | 2610367.33 | 1260345.4982
6 | 2610379.1108 | 1260341.0409 | 2610386.1395 | 1260340.6364
7 | 2610367.1348 | 1260354.0185 | 2610367.33 | 1260345.4982
8 | 2610291.7969 | 1260367.6003 | 2610320.5328 | 1260369.8216
9 | 2610291.7969 | 1260367.6003 | 2610289.458 | 1260391.0121
10 | 2610386.1395 | 1260340.6364 | 2610389.1668 | 1260340.4621 | 2610397.8513 | 1260341.1843
11 | 2610366.6909 | 1260373.3897 | 2610367.1348 | 1260354.0185
12 | 2610320.5328 | 1260369.8216 | 2610323.9488 | 1260370.0857
13 | 2610280.4441 | 1260390.5388 | 2610289.458 | 1260391.0121
14 | 2610397.8513 | 1260341.1843 | 2610404.9274 | 1260341.7728
15 | 2610366.6909 | 1260373.3897 | 2610384.9094 | 1260374.9114 | 2610394.8946 | 1260375.7965
16 | 2610366.6909 | 1260373.3897 | 2610366.1951 | 1260376.7912 | 2610365.4267 | 1260405.0797
17 | 2610272.7265 | 1260390.1335 | 2610280.4441 | 1260390.5388
18 | 2610272.7265 | 1260390.1335 | 2610265.1861 | 1260389.7375
19 | 2610265.1861 | 1260389.7375 | 2610254.3191 | 1260389.1669
20 | 2610246.8254 | 1260388.7733 | 2610254.3191 | 1260389.1669
21 | 2610246.8254 | 1260388.7733 | 2610239.1149 | 1260388.3684
22 | 2610239.1149 | 1260388.3684 | 2610228.2481 | 1260387.7978
23 | 2610327.6538 | 1260370.3721 | 2610323.9488 | 1260370.0857
24 | 2610223.321 | 1260354.2844 | 2610232.627 | 1260358.948 | 2610239.3069 | 1260361.3723 | 2610249.3705 | 1260363.7023 | 2610253.0666 | 1260364.104
25 | 2610205.8008 | 1260358.535 | 2610219.9519 | 1260359.0485 | 2610223.321 | 1260354.2844
26 | 2610220.7084 | 1260387.4018 | 2610228.2481 | 1260387.7978
27 | 2610201.2902 | 1260374.2602 | 2610201.2902 | 1260374.2602 | 2610215.0282 | 1260387.1036 | 2610220.7084 | 1260387.4018
28 | 2610205.8008 | 1260358.535 | 2610200.7876 | 1260364.1302 | 2610199.5803 | 1260369.4429 | 2610201.2902 | 1260374.2602
29 | 2610205.8008 | 1260358.535 | 2610193.0588 | 1260358.0907 | 2610177.9556 | 1260364.3787
30 | 2610167.6575 | 1260383.8314 | 2610167.314 | 1260377.571 | 2610162.9293 | 1260372.549 | 2610163.4831 | 1260370.404 | 2610177.9556 | 1260364.3787
31 | 2610188.2168 | 1260400.1665 | 2610167.6575 | 1260383.8314
32 | 2610188.2168 | 1260400.1665 | 2610195.1583 | 1260404.5635
33 | 2610327.6538 | 1260370.3721 | 2610331.6189 | 1260370.6786
34 | 2610195.1583 | 1260404.5635 | 2610197.8443 | 1260406.2649 | 2610201.5229 | 1260409.9846
35 | 2610220.8419 | 1260429.5253 | 2610204.9155 | 1260413.4152 | 2610201.5229 | 1260409.9846
36 | 2610240.4242 | 1260452.1468 | 2610221.134 | 1260429.8208 | 2610220.8419 | 1260429.5253
37 | 2610240.4242 | 1260452.1468 | 2610252.5044 | 1260447.3532
38 | 2610268.433 | 1260447.3106 | 2610252.5044 | 1260447.3532
39 | 2610270.1388 | 1260447.3061 | 2610268.433 | 1260447.3106
40 | 2610315.129 | 1260540.4356 | 2610284.1407 | 1260503.8126
41 | 2610315.129 | 1260540.4356 | 2610323.8558 | 1260535.6253 | 2610340.1737 | 1260533.4521 | 2610344.7833 | 1260533.1254
42 | 2610270.1388 | 1260447.3061 | 2610278.5484 | 1260447.2836
43 | 2610344.7833 | 1260533.1254 | 2610374.8617 | 1260530.9938
44 | 2610278.5484 | 1260447.2836 | 2610278.8192 | 1260447.2828
45 | 2610389.7083 | 1260529.9416 | 2610374.8617 | 1260530.9938
46 | 2610484.2583 | 1260350.8364 | 2610483.8994 | 1260355.6941
47 | 2610481.8475 | 1260383.4648 | 2610483.8994 | 1260355.6941
48 | 2610481.8475 | 1260383.4648 | 2610478.6557 | 1260383.1866
49 | 2610481.8475 | 1260383.4648 | 2610495.3554 | 1260383.3374
50 | 2610478.6557 | 1260383.1866 | 2610461.232 | 1260381.6677
51 | 2610495.3554 | 1260383.3374 | 2610502.3761 | 1260383.2712
52 | 2610461.232 | 1260381.6677 | 2610455.4269 | 1260381.1616
53 | 2610503.6936 | 1260383.2588 | 2610503.6936 | 1260383.2588 | 2610502.3761 | 1260383.2712
54 | 2610455.4269 | 1260381.1616 | 2610455.0324 | 1260381.1272
55 | 2610517.5171 | 1260381.4041 | 2610503.6936 | 1260383.2588
56 | 2610401.9657 | 1260376.4233 | 2610394.8946 | 1260375.7965
57 | 2610365.4267 | 1260405.0797 | 2610365.4161 | 1260405.4725
58 | 2610401.9657 | 1260376.4233 | 2610410.8937 | 1260377.2147
59 | 2610414.7815 | 1260377.5593 | 2610410.8937 | 1260377.2147
60 | 2610421.8526 | 1260378.1861 | 2610414.7815 | 1260377.5593
61 | 2610363.4805 | 1260447.0563 | 2610355.6752 | 1260447.0772
62 | 2610363.4805 | 1260447.0563 | 2610367.19 | 1260447.0829
63 | 2610355.6752 | 1260447.0772 | 2610346.2579 | 1260447.1024
64 | 2610377.0523 | 1260447.1537 | 2610367.19 | 1260447.0829
65 | 2610404.9274 | 1260341.7728 | 2610417.7476 | 1260342.8389
66 | 2610640.9794 | 1260370.9696 | 2610635.4775 | 1260370.8123
67 | 2610658.9104 | 1260371.4822 | 2610640.9794 | 1260370.9696
68 | 2610592.4704 | 1260370.6186 | 2610612.0337 | 1260370.142 | 2610635.4775 | 1260370.8123
69 | 2610658.9104 | 1260371.4822 | 2610660.0966 | 1260327.6991
70 | 2610658.9104 | 1260371.4822 | 2610666.3583 | 1260371.5977
71 | 2610592.4704 | 1260370.6186 | 2610585.8913 | 1260370.9293
72 | 2610592.4704 | 1260370.6186 | 2610593.7965 | 1260402.3955
73 | 2610660.0966 | 1260327.6991 | 2610642.2216 | 1260327.2553
74 | 2610683.7069 | 1260371.8665 | 2610666.3583 | 1260371.5977
75 | 2610585.7342 | 1260357.5422 | 2610585.8913 | 1260370.9293
76 | 2610585.8913 | 1260370.9293 | 2610557.0203 | 1260375.2824
77 | 2610593.7965 | 1260402.3955 | 2610593.8053 | 1260402.6072
78 | 2610542.4519 | 1260377.4789 | 2610557.0203 | 1260375.2824
79 | 2610595.1401 | 1260434.5927 | 2610593.8053 | 1260402.6072
80 | 2610542.4519 | 1260377.4789 | 2610535.9857 | 1260378.4968
81 | 2610542.2682 | 1260362.0904 | 2610542.4519 | 1260377.4789
82 | 2610595.1401 | 1260434.5927 | 2610595.1802 | 1260435.5531
83 | 2610535.9857 | 1260378.4968 | 2610528.845 | 1260379.6209
84 | 2610595.9033 | 1260452.8805 | 2610595.1802 | 1260435.5531
85 | 2610595.9033 | 1260452.8805 | 2610566.6277 | 1260448.7367 | 2610562.3658 | 1260448.6842
86 | 2610595.9033 | 1260452.8805 | 2610596.7277 | 1260484.4537
87 | 2610595.9033 | 1260452.8805 | 2610610.322 | 1260455.2856 | 2610626.9154 | 1260456.5169
88 | 2610562.3658 | 1260448.6842 | 2610555.7882 | 1260448.6032
89 | 2610596.7588 | 1260485.6444 | 2610596.7277 | 1260484.4537
90 | 2610626.9154 | 1260456.5169 | 2610629.9549 | 1260456.7425
91 | 2610555.7882 | 1260448.6032 | 2610547.6557 | 1260448.503
92 | 2610597.4775 | 1260513.1712 | 2610596.7588 | 1260485.6444
93 | 2610646.3441 | 1260457.9587 | 2610629.9549 | 1260456.7425
94 | 2610517.5171 | 1260381.4041 | 2610528.845 | 1260379.6209
95 | 2610455.0324 | 1260381.1272 | 2610440.0315 | 1260379.7975
96 | 2610455.0324 | 1260381.1272 | 2610457.0719 | 1260353.5042
97 | 2610440.0315 | 1260379.7975 | 2610434.2273 | 1260379.283
98 | 2610434.2273 | 1260379.283 | 2610421.8526 | 1260378.1861
99 | 2610417.7476 | 1260342.8389 | 2610424.8232 | 1260343.4273
100 | 2610631.0545 | 1260531.169 | 2610638.4902 | 1260529.9976
101 | 2610631.0545 | 1260531.169 | 2610620.2089 | 1260532.8776
102 | 2610638.4902 | 1260529.9976 | 2610638.7568 | 1260529.9556
103 | 2610598.0831 | 1260536.3632 | 2610620.2089 | 1260532.8776
104 | 2610653.7537 | 1260527.593 | 2610638.7568 | 1260529.9556
105 | 2610598.0831 | 1260536.3632 | 2610597.5964 | 1260517.7236
106 | 2610598.0831 | 1260536.3632 | 2610565.6831 | 1260539.3187 | 2610554.3242 | 1260539.232
107 | 2610653.7537 | 1260527.593 | 2610668.0088 | 1260525.3473 | 2610668.9082 | 1260525.0455
108 | 2610597.5964 | 1260517.7236 | 2610597.5925 | 1260517.5766
109 | 2610553.7291 | 1260539.2275 | 2610554.3242 | 1260539.232
110 | 2610691.0559 | 1260517.6132 | 2610668.9082 | 1260525.0455
111 | 2610668.9082 | 1260525.0455 | 2610702.0296 | 1260605.3049
112 | 2610597.4775 | 1260513.1712 | 2610597.5925 | 1260517.5766
113 | 2610527.7353 | 1260539.0291 | 2610527.7353 | 1260539.0291 | 2610553.7291 | 1260539.2275
114 | 2610713.7337 | 1260510.0031 | 2610691.0559 | 1260517.6132
115 | 2610720.6817 | 1260604.6179 | 2610702.0296 | 1260605.3049
116 | 2610702.0296 | 1260605.3049 | 2610675.2375 | 1260606.2916
117 | 2610526.5422 | 1260538.9335 | 2610527.7353 | 1260539.0291
118 | 2610526.5422 | 1260538.9335 | 2610512.035 | 1260537.7714
119 | 2610494.7893 | 1260536.1488 | 2610498.924 | 1260536.7211 | 2610512.035 | 1260537.7714
120 | 2610491.5778 | 1260535.7042 | 2610494.7893 | 1260536.1488
121 | 2610532.431 | 1260448.3155 | 2610523.4049 | 1260448.2043 | 2610522.3971 | 1260448.197
122 | 2610499.7309 | 1260448.0343 | 2610522.3971 | 1260448.197
123 | 2610532.431 | 1260448.3155 | 2610547.6557 | 1260448.503
124 | 2610499.7309 | 1260448.0343 | 2610487.5586 | 1260447.947
125 | 2610487.5586 | 1260447.947 | 2610478.6029 | 1260447.8827
126 | 2610478.6029 | 1260447.8827 | 2610460.1214 | 1260447.75
127 | 2610459.12 | 1260447.7428 | 2610460.1214 | 1260447.75
128 | 2610459.12 | 1260447.7428 | 2610459.1149 | 1260447.7428
129 | 2610395.108 | 1260447.2833 | 2610385.072 | 1260447.2113
130 | 2610377.0523 | 1260447.1537 | 2610385.072 | 1260447.2113
131 | 2610395.108 | 1260447.2833 | 2610404.9731 | 1260447.3541
132 | 2610430.7354 | 1260447.5391 | 2610404.9731 | 1260447.3541
133 | 2610436.5218 | 1260447.5806 | 2610430.7354 | 1260447.5391
134 | 2610437.8721 | 1260447.5903 | 2610436.5218 | 1260447.5806
135 | 2610438.4402 | 1260447.5944 | 2610437.8721 | 1260447.5903
136 | 2610334.2874 | 1260447.1344 | 2610346.2579 | 1260447.1024
137 | 2610334.2874 | 1260447.1344 | 2610319.755 | 1260447.1733
138 | 2610319.755 | 1260447.1733 | 2610312.8857 | 1260447.1917
139 | 2610301.8794 | 1260447.2211 | 2610312.8857 | 1260447.1917
140 | 2610278.8192 | 1260447.2828 | 2610301.8794 | 1260447.2211
141 | 2610713.7337 | 1260510.0031 | 2610719.1547 | 1260508.1839
142 | 2610720.6817 | 1260604.6179 | 2610730.7853 | 1260604.3119
143 | 2610602.3171 | 1260608.9772 | 2610675.2375 | 1260606.2916
144 | 2610646.3441 | 1260457.9587 | 2610662.0615 | 1260459.1251 | 2610664.2663 | 1260459.1142
145 | 2610664.397 | 1260459.1135 | 2610664.2663 | 1260459.1142
146 | 2610664.397 | 1260459.1135 | 2610666.3019 | 1260459.1041
147 | 2610666.3019 | 1260459.1041 | 2610672.5034 | 1260459.0734
148 | 2610681.1985 | 1260459.0303 | 2610672.5034 | 1260459.0734
149 | 2610459.1149 | 1260447.7428 | 2610452.2499 | 1260447.6935
150 | 2610452.2499 | 1260447.6935 | 2610438.4402 | 1260447.5944
151 | 2610491.5778 | 1260535.7042 | 2610480.6595 | 1260534.1929
152 | 2610480.6595 | 1260534.1929 | 2610472.1712 | 1260533.018
153 | 2610472.1712 | 1260533.018 | 2610459.0563 | 1260531.2027 | 2610444.4683 | 1260530.7371
154 | 2610444.4683 | 1260530.7371 | 2610421.9375 | 1260530.018
155 | 2610421.9375 | 1260530.018 | 2610401.7993 | 1260529.3753
156 | 2610401.7993 | 1260529.3753 | 2610398.9723 | 1260529.285 | 2610389.7083 | 1260529.9416
157 | 2610567.145 | 1260610.2673 | 2610567.8026 | 1260610.2484 | 2610602.3171 | 1260608.9772
158 | 2610567.145 | 1260610.2673 | 2610558.724 | 1260610.5102
159 | 2610558.724 | 1260610.5102 | 2610544.9726 | 1260610.9069
160 | 2610544.9726 | 1260610.9069 | 2610526.7919 | 1260611.4312
161 | 2610526.7919 | 1260611.4312 | 2610510.7123 | 1260611.895

## bus_geodata
| x | y | coords
0 | 2610321.2614 | 1260317.9643
1 | 2610295.0055 | 1260343.9588
2 | 2610293.8875 | 1260351.5975
3 | 2610293.8346 | 1260352.0027
4 | 2610367.4168 | 1260341.714
5 | 2610379.1108 | 1260341.0409
6 | 2610367.33 | 1260345.4982
7 | 2610291.7969 | 1260367.6003
8 | 2610386.1395 | 1260340.6364
9 | 2610367.1348 | 1260354.0185
10 | 2610320.5328 | 1260369.8216
11 | 2610289.458 | 1260391.0121
12 | 2610397.8513 | 1260341.1843
13 | 2610366.6909 | 1260373.3897
14 | 2610272.7265 | 1260390.1335
15 | 2610280.4441 | 1260390.5388
16 | 2610265.1861 | 1260389.7375
17 | 2610254.3191 | 1260389.1669
18 | 2610246.8254 | 1260388.7733
19 | 2610239.1149 | 1260388.3684
20 | 2610323.9488 | 1260370.0857
21 | 2610253.0666 | 1260364.104
22 | 2610223.321 | 1260354.2844
23 | 2610228.2481 | 1260387.7978
24 | 2610220.7084 | 1260387.4018
25 | 2610201.2902 | 1260374.2602
26 | 2610205.8008 | 1260358.535
27 | 2610177.9556 | 1260364.3787
28 | 2610167.6575 | 1260383.8314
29 | 2610188.2168 | 1260400.1665
30 | 2610327.6538 | 1260370.3721
31 | 2610201.5229 | 1260409.9846
32 | 2610195.1583 | 1260404.5635
33 | 2610220.8419 | 1260429.5253
34 | 2610240.4242 | 1260452.1468
35 | 2610252.5044 | 1260447.3532
36 | 2610268.433 | 1260447.3106
37 | 2610284.1407 | 1260503.8126
38 | 2610315.129 | 1260540.4356
39 | 2610270.1388 | 1260447.3061
40 | 2610344.7833 | 1260533.1254
41 | 2610331.6189 | 1260370.6786
42 | 2610278.5484 | 1260447.2836
43 | 2610374.8617 | 1260530.9938
44 | 2610484.2583 | 1260350.8364
45 | 2610483.8994 | 1260355.6941
46 | 2610481.8475 | 1260383.4648
47 | 2610478.6557 | 1260383.1866
48 | 2610495.3554 | 1260383.3374
49 | 2610461.232 | 1260381.6677
50 | 2610502.3761 | 1260383.2712
51 | 2610455.4269 | 1260381.1616
52 | 2610503.6936 | 1260383.2588
53 | 2610394.8946 | 1260375.7965
54 | 2610365.4267 | 1260405.0797
55 | 2610401.9657 | 1260376.4233
56 | 2610365.4161 | 1260405.4725
57 | 2610410.8937 | 1260377.2147
58 | 2610414.7815 | 1260377.5593
59 | 2610363.4805 | 1260447.0563
60 | 2610355.6752 | 1260447.0772
61 | 2610367.19 | 1260447.0829
62 | 2610404.9274 | 1260341.7728
63 | 2610640.9794 | 1260370.9696
64 | 2610635.4775 | 1260370.8123
65 | 2610658.9104 | 1260371.4822
66 | 2610592.4704 | 1260370.6186
67 | 2610660.0966 | 1260327.6991
68 | 2610666.3583 | 1260371.5977
69 | 2610585.8913 | 1260370.9293
70 | 2610593.7965 | 1260402.3955
71 | 2610642.2216 | 1260327.2553
72 | 2610683.7069 | 1260371.8665
73 | 2610585.7342 | 1260357.5422
74 | 2610557.0203 | 1260375.2824
75 | 2610593.8053 | 1260402.6072
76 | 2610542.4519 | 1260377.4789
77 | 2610595.1401 | 1260434.5927
78 | 2610535.9857 | 1260378.4968
79 | 2610542.2682 | 1260362.0904
80 | 2610595.1802 | 1260435.5531
81 | 2610595.9033 | 1260452.8805
82 | 2610562.3658 | 1260448.6842
83 | 2610596.7277 | 1260484.4537
84 | 2610626.9154 | 1260456.5169
85 | 2610555.7882 | 1260448.6032
86 | 2610596.7588 | 1260485.6444
87 | 2610629.9549 | 1260456.7425
88 | 2610517.5171 | 1260381.4041
89 | 2610528.845 | 1260379.6209
90 | 2610455.0324 | 1260381.1272
91 | 2610457.0719 | 1260353.5042
92 | 2610440.0315 | 1260379.7975
93 | 2610434.2273 | 1260379.283
94 | 2610421.8526 | 1260378.1861
95 | 2610417.7476 | 1260342.8389
96 | 2610424.8232 | 1260343.4273
97 | 2610631.0545 | 1260531.169
98 | 2610638.4902 | 1260529.9976
99 | 2610620.2089 | 1260532.8776
100 | 2610638.7568 | 1260529.9556
101 | 2610598.0831 | 1260536.3632
102 | 2610653.7537 | 1260527.593
103 | 2610597.5964 | 1260517.7236
104 | 2610554.3242 | 1260539.232
105 | 2610668.9082 | 1260525.0455
106 | 2610597.5925 | 1260517.5766
107 | 2610553.7291 | 1260539.2275
108 | 2610691.0559 | 1260517.6132
109 | 2610702.0296 | 1260605.3049
110 | 2610597.4775 | 1260513.1712
111 | 2610527.7353 | 1260539.0291
112 | 2610526.5422 | 1260538.9335
113 | 2610512.035 | 1260537.7714
114 | 2610494.7893 | 1260536.1488
115 | 2610522.3971 | 1260448.197
116 | 2610532.431 | 1260448.3155
117 | 2610499.7309 | 1260448.0343
118 | 2610547.6557 | 1260448.503
119 | 2610487.5586 | 1260447.947
120 | 2610478.6029 | 1260447.8827
121 | 2610460.1214 | 1260447.75
122 | 2610459.12 | 1260447.7428
123 | 2610385.072 | 1260447.2113
124 | 2610395.108 | 1260447.2833
125 | 2610377.0523 | 1260447.1537
126 | 2610404.9731 | 1260447.3541
127 | 2610430.7354 | 1260447.5391
128 | 2610436.5218 | 1260447.5806
129 | 2610437.8721 | 1260447.5903
130 | 2610346.2579 | 1260447.1024
131 | 2610334.2874 | 1260447.1344
132 | 2610319.755 | 1260447.1733
133 | 2610312.8857 | 1260447.1917
134 | 2610301.8794 | 1260447.2211
135 | 2610278.8192 | 1260447.2828
136 | 2610713.7337 | 1260510.0031
137 | 2610720.6817 | 1260604.6179
138 | 2610675.2375 | 1260606.2916
139 | 2610719.1547 | 1260508.1839
140 | 2610730.7853 | 1260604.3119
141 | 2610646.3441 | 1260457.9587
142 | 2610664.2663 | 1260459.1142
143 | 2610664.397 | 1260459.1135
144 | 2610666.3019 | 1260459.1041
145 | 2610672.5034 | 1260459.0734
146 | 2610459.1149 | 1260447.7428
147 | 2610452.2499 | 1260447.6935
148 | 2610438.4402 | 1260447.5944
149 | 2610491.5778 | 1260535.7042
150 | 2610480.6595 | 1260534.1929
151 | 2610472.1712 | 1260533.018
152 | 2610444.4683 | 1260530.7371
153 | 2610421.9375 | 1260530.018
154 | 2610401.7993 | 1260529.3753
155 | 2610389.7083 | 1260529.9416
156 | 2610681.1985 | 1260459.0303
157 | 2610602.3171 | 1260608.9772
158 | 2610567.145 | 1260610.2673
159 | 2610558.724 | 1260610.5102
160 | 2610544.9726 | 1260610.9069
161 | 2610526.7919 | 1260611.4312
162 | 2610510.7123 | 1260611.895
163 | 2610363.4805 | 1260447.0563

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1