## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2773-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2773-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2773-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2773-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2773-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2773-2_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_2773-2_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_2773-2_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2773-2_0_3_node_59 | 0.4 | n |  | TRUE
9 | bus_LV_2773-2_0_3_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_2773-2_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2773-2_0_3_node_60 | 0.4 | n |  | TRUE
12 | bus_LV_2773-2_0_3_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_2773-2_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2773-2_0_3_node_76 | 0.4 | n |  | TRUE
15 | bus_LV_2773-2_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2773-2_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2773-2_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2773-2_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2773-2_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_2773-2_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_2773-2_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_2773-2_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2773-2_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_2773-2_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_2773-2_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_2773-2_0_3_node_74 | 0.4 | n |  | TRUE
27 | bus_LV_2773-2_0_3_node_75 | 0.4 | n |  | TRUE
28 | bus_LV_2773-2_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_2773-2_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_2773-2_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_2773-2_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_2773-2_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_2773-2_0_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_2773-2_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_2773-2_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_2773-2_0_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_2773-2_0_3_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_2773-2_0_3_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_2773-2_0_3_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_2773-2_0_3_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_2773-2_0_3_node_64 | 0.4 | n |  | TRUE
42 | bus_LV_2773-2_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_2773-2_0_3_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_2773-2_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_2773-2_0_3_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_2773-2_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_2773-2_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_2773-2_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_2773-2_0_3_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_2773-2_0_3_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_2773-2_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_2773-2_0_3_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_2773-2_0_3_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_2773-2_0_3_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_2773-2_0_3_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_2773-2_0_3_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_2773-2_0_3_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_2773-2_0_3_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_2773-2_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_2773-2_0_3_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_2773-2_0_3_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_2773-2_0_3_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_2773-2_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_2773-2_0_3_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_2773-2_0_3_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_2773-2_0_3_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_2773-2_0_3_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_2773-2_0_3_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_2773-2_0_3_node_72 | 0.4 | n |  | TRUE
70 | bus_LV_2773-2_0_3_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_2773-2_0_3_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_2773-2_0_3_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_2773-2_0_3_node_71 | 0.4 | n |  | TRUE
74 | bus_MV_573_0_node_142 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2773-2_0_3_load_0 | 0 | 0.031253 | 0.0078326 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2773-2_0_3_load_1 | 1 | 0.0082326 | 0.0020633 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2773-2_0_3_load_2 | 2 | 0.013607 | 0.0034103 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2773-2_0_3_load_4 | 4 | 0.0082325 | 0.0020633 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2773-2_0_3_load_7 | 5 | 0.010242 | 0.0025669 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2773-2_0_3_load_8 | 6 | 0.0079356 | 0.0019888 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2773-2_0_3_load_5 | 7 | 0.01677 | 0.004203 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2773-2_0_3_load_19 | 9 | 0.0084809 | 0.0021255 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2773-2_0_3_load_60 | 11 | 0.010415 | 0.0026103 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2773-2_0_3_load_58 | 12 | 0.059802 | 0.014988 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2773-2_0_3_load_76 | 14 | 0.016706 | 0.004187 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2773-2_0_3_load_10 | 15 | 0.0018455 | 0.00046251 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2773-2_0_3_load_11 | 16 | 0.00073256 | 0.0001836 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2773-2_0_3_load_21 | 21 | 0.00067679 | 0.00016962 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2773-2_0_3_load_16 | 22 | 0.0010442 | 0.00026171 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2773-2_0_3_load_20 | 24 | 0.0050954 | 0.001277 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2773-2_0_3_load_17 | 25 | 0.00043071 | 0.00010795 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2773-2_0_3_load_74 | 26 | 0.010393 | 0.0026046 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2773-2_0_3_load_75 | 27 | 0.0050501 | 0.0012657 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2773-2_0_3_load_22 | 28 | 0.0015411 | 0.00038623 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2773-2_0_3_load_23 | 29 | 0.0015415 | 0.00038635 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2773-2_0_3_load_25 | 31 | 0.0015415 | 0.00038635 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2773-2_0_3_load_26 | 32 | 0.0015415 | 0.00038635 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2773-2_0_3_load_29 | 33 | 0.0015421 | 0.0003865 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2773-2_0_3_load_35 | 34 | 0.0023966 | 0.00060065 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2773-2_0_3_load_36 | 36 | 0.0020109 | 0.00050399 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2773-2_0_3_load_63 | 38 | 0.0048754 | 0.0012219 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2773-2_0_3_load_61 | 39 | 0.0084562 | 0.0021193 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2773-2_0_3_load_65 | 40 | 0.0018945 | 0.0004748 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2773-2_0_3_load_64 | 41 | 0.0023247 | 0.00058262 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2773-2_0_3_load_32 | 42 | 0.0015425 | 0.0003866 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2773-2_0_3_load_30 | 43 | 0.0015415 | 0.00038635 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2773-2_0_3_load_33 | 44 | 0.0015411 | 0.00038623 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2773-2_0_3_load_34 | 45 | 0.0015411 | 0.00038623 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2773-2_0_3_load_37 | 46 | 0.0020102 | 0.00050379 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2773-2_0_3_load_38 | 47 | 0.002554 | 0.00064009 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2773-2_0_3_load_44 | 49 | 0.0020096 | 0.00050364 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2773-2_0_3_load_54 | 50 | 0.0020102 | 0.00050379 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2773-2_0_3_load_42 | 51 | 0.0020109 | 0.00050397 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2773-2_0_3_load_53 | 52 | 0.00097245 | 0.00024372 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2773-2_0_3_load_40 | 53 | 0.0020122 | 0.00050432 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2773-2_0_3_load_41 | 54 | 0.0020102 | 0.00050379 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2773-2_0_3_load_45 | 56 | 0.0015415 | 0.00038635 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2773-2_0_3_load_46 | 57 | 0.0015415 | 0.00038635 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2773-2_0_3_load_48 | 58 | 0.0015421 | 0.0003865 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2773-2_0_3_load_50 | 59 | 0.0015421 | 0.0003865 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2773-2_0_3_load_47 | 60 | 0.0015415 | 0.00038635 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2773-2_0_3_load_51 | 61 | 0.0019616 | 0.00049162 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2773-2_0_3_load_49 | 62 | 0.0015429 | 0.00038669 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2773-2_0_3_load_52 | 63 | 0.00196 | 0.00049123 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2773-2_0_3_load_56 | 65 | 0.004126 | 0.0010341 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2773-2_0_3_load_57 | 66 | 0.0012854 | 0.00032216 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2773-2_0_3_load_70 | 67 | 0.0040203 | 0.0010076 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2773-2_0_3_load_68 | 68 | 0.0030145 | 0.00075551 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2773-2_0_3_load_73 | 70 | 0.010398 | 0.0026059 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2773-2_0_3_load_67 | 71 | 0.0082152 | 0.0020589 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2773-2_0_3_line_0 |  | 0 | 1 | 0.012879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2773-2_0_3_line_1 |  | 0 | 2 | 0.0096048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2773-2_0_3_line_2 |  | 1 | 3 | 0.037098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2773-2_0_3_line_3 |  | 2 | 4 | 0.024379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2773-2_0_3_line_4 |  | 3 | 5 | 0.048342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2773-2_0_3_line_5 |  | 3 | 6 | 0.032321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2773-2_0_3_line_6 |  | 3 | 7 | 0.046684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2773-2_0_3_line_7 |  | 4 | 8 | 0.019468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2773-2_0_3_line_8 |  | 6 | 9 | 0.0014403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2773-2_0_3_line_9 |  | 7 | 10 | 0.036059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2773-2_0_3_line_10 |  | 8 | 11 | 0.0088677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2773-2_0_3_line_11 |  | 8 | 12 | 0.071507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2773-2_0_3_line_12 |  | 10 | 13 | 0.023123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2773-2_0_3_line_13 |  | 11 | 69 | 0.010119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2773-2_0_3_line_14 |  | 13 | 14 | 0.041445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2773-2_0_3_line_15 |  | 15 | 16 | 0.036529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2773-2_0_3_line_16 |  | 15 | 17 | 0.057443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2773-2_0_3_line_17 |  | 16 | 18 | 0.038823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2773-2_0_3_line_18 |  | 17 | 19 | 0.12462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2773-2_0_3_line_19 |  | 18 | 20 | 0.014504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2773-2_0_3_line_20 |  | 19 | 21 | 0.023096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2773-2_0_3_line_21 |  | 20 | 22 | 0.022526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2773-2_0_3_line_22 |  | 22 | 25 | 0.018029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2773-2_0_3_line_23 |  | 23 | 24 | 0.11162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2773-2_0_3_line_24 |  | 23 | 25 | 0.14928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2773-2_0_3_line_25 |  | 24 | 26 | 0.004287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2773-2_0_3_line_26 |  | 26 | 27 | 0.011425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2773-2_0_3_line_27 |  | 27 | 73 | 0.019465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2773-2_0_3_line_28 |  | 28 | 29 | 6.686e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2773-2_0_3_line_29 |  | 28 | 30 | 0.014824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2773-2_0_3_line_30 |  | 29 | 31 | 0.00011588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2773-2_0_3_line_31 |  | 30 | 32 | 0.019129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2773-2_0_3_line_32 |  | 31 | 33 | 5.9578e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2773-2_0_3_line_33 |  | 32 | 34 | 0.0026302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2773-2_0_3_line_34 |  | 33 | 35 | 0.01599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2773-2_0_3_line_35 |  | 34 | 36 | 0.0098665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2773-2_0_3_line_36 |  | 35 | 42 | 0.0056494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2773-2_0_3_line_37 |  | 35 | 43 | 0.0069885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2773-2_0_3_line_38 |  | 36 | 46 | 0.0064103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2773-2_0_3_line_39 |  | 37 | 38 | 0.03908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2773-2_0_3_line_40 |  | 37 | 39 | 0.023132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2773-2_0_3_line_41 |  | 38 | 41 | 0.020404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2773-2_0_3_line_42 |  | 39 | 65 | 0.02612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2773-2_0_3_line_43 |  | 40 | 41 | 0.0020373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2773-2_0_3_line_44 |  | 42 | 44 | 0.0064105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2773-2_0_3_line_45 |  | 44 | 45 | 0.0049119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2773-2_0_3_line_46 |  | 46 | 47 | 0.0038352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2773-2_0_3_line_47 |  | 47 | 48 | 0.015486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2773-2_0_3_line_48 |  | 48 | 49 | 0.014456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2773-2_0_3_line_49 |  | 48 | 50 | 0.019229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2773-2_0_3_line_50 |  | 49 | 51 | 5.9795e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2773-2_0_3_line_51 |  | 50 | 52 | 0.0064074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2773-2_0_3_line_52 |  | 51 | 53 | 0.0003316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2773-2_0_3_line_53 |  | 52 | 64 | 0.016708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2773-2_0_3_line_54 |  | 53 | 54 | 6.0513e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2773-2_0_3_line_55 |  | 54 | 55 | 0.015703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2773-2_0_3_line_56 |  | 55 | 56 | 0.0061771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2773-2_0_3_line_57 |  | 55 | 57 | 0.0066941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2773-2_0_3_line_58 |  | 56 | 58 | 0.0064101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2773-2_0_3_line_59 |  | 57 | 59 | 0.0064098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2773-2_0_3_line_60 |  | 58 | 60 | 0.0064098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2773-2_0_3_line_61 |  | 59 | 61 | 0.0064118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2773-2_0_3_line_62 |  | 60 | 62 | 0.0042283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2773-2_0_3_line_63 |  | 61 | 63 | 0.0034621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2773-2_0_3_line_64 |  | 64 | 65 | 0.0075888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2773-2_0_3_line_65 |  | 64 | 66 | 0.021014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2773-2_0_3_line_66 |  | 66 | 67 | 0.00026339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2773-2_0_3_line_67 |  | 67 | 68 | 0.017859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2773-2_0_3_line_68 |  | 68 | 71 | 0.0081406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2773-2_0_3_line_69 |  | 69 | 70 | 0.019423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2773-2_0_3_line_70 |  | 70 | 73 | 0.042305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2773-2_0_3_line_71 |  | 71 | 72 | 0.040111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2773-2_0_3_line_72 |  | 72 | 73 | 0.005557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2773-2_0_3_trafo_72 | 0.63 MVA 20/0.4 kV | 74 | 69 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2611131.277 | 1259610.532 | 2611128.1452 | 1259598.0391
1 | 2611131.277 | 1259610.532 | 2611133.6125 | 1259619.8485
2 | 2611119.1244 | 1259562.0543 | 2611128.1452 | 1259598.0391
3 | 2611139.5406 | 1259643.4961 | 2611133.6125 | 1259619.8485
4 | 2611119.1244 | 1259562.0543 | 2611105.2357 | 1259529.0171 | 2611099.1283 | 1259518.1064
5 | 2611119.1244 | 1259562.0543 | 2611087.617 | 1259569.2597
6 | 2611119.1244 | 1259562.0543 | 2611164.6215 | 1259551.5944
7 | 2611144.2746 | 1259662.3802 | 2611139.5406 | 1259643.4961
8 | 2611087.617 | 1259569.2597 | 2611086.2129 | 1259569.5808
9 | 2611199.7638 | 1259543.5152 | 2611164.6215 | 1259551.5944
10 | 2611144.2746 | 1259662.3802 | 2611146.4232 | 1259670.9837
11 | 2611144.2746 | 1259662.3802 | 2611192.8979 | 1259651.642 | 2611197.1479 | 1259655.9751 | 2611212.3777 | 1259652.4037
12 | 2611221.6792 | 1259536.2071 | 2611209.6562 | 1259541.2434 | 2611199.7638 | 1259543.5152
13 | 2611148.875 | 1259680.8013 | 2611146.4232 | 1259670.9837
14 | 2611221.6792 | 1259536.2071 | 2611229.4418 | 1259568.2322 | 2611229.109 | 1259572.8458 | 2611226.2025 | 1259575.4088
15 | 2610851.7523 | 1259638.1588 | 2610885.7904 | 1259624.9013
16 | 2610798.2261 | 1259659.0067 | 2610851.7523 | 1259638.1588
17 | 2610921.9664 | 1259610.8111 | 2610885.7904 | 1259624.9013
18 | 2610798.2261 | 1259659.0067 | 2610818.2553 | 1259681.3137 | 2610840.9448 | 1259703.6145 | 2610871.9025 | 1259725.3635 | 2610850.5131 | 1259738.2887
19 | 2610935.5719 | 1259605.677 | 2610921.9664 | 1259610.8111
20 | 2610850.5131 | 1259738.2887 | 2610850.6278 | 1259761.3843
21 | 2610935.5719 | 1259605.677 | 2610944.0849 | 1259619.8022 | 2610947.4664 | 1259624.7993
22 | 2610947.4664 | 1259624.7993 | 2610957.193 | 1259639.1727 | 2610957.5888 | 1259639.7182
23 | 2611020.7642 | 1259773.214 | 2611110.5757 | 1259752.8005 | 2611129.6095 | 1259748.4715
24 | 2611020.7642 | 1259773.214 | 2611002.3004 | 1259711.9162 | 2610995.8402 | 1259696.3715 | 2610983.4664 | 1259675.379 | 2610957.5888 | 1259639.7182
25 | 2611133.7898 | 1259747.5207 | 2611129.6095 | 1259748.4715
26 | 2611133.7898 | 1259747.5207 | 2611144.9304 | 1259744.9869
27 | 2611163.911 | 1259740.6699 | 2611144.9304 | 1259744.9869
28 | 2611280.2055 | 1259794.3676 | 2611280.2208 | 1259794.4327
29 | 2611283.6108 | 1259808.864 | 2611280.2208 | 1259794.4327
30 | 2611280.179 | 1259794.2548 | 2611280.2055 | 1259794.3676
31 | 2611283.6108 | 1259808.864 | 2611264.9531 | 1259813.0857
32 | 2611280.1654 | 1259794.1968 | 2611280.179 | 1259794.2548
33 | 2611264.9531 | 1259813.0857 | 2611262.3878 | 1259813.6661
34 | 2611276.5086 | 1259778.6301 | 2611280.1654 | 1259794.1968
35 | 2611252.7645 | 1259815.8436 | 2611262.3878 | 1259813.6661
36 | 2611276.5086 | 1259778.6301 | 2611271.0073 | 1259779.915
37 | 2611276.5086 | 1259778.6301 | 2611283.3147 | 1259777.0438
38 | 2611252.7645 | 1259815.8436 | 2611246.5123 | 1259817.2583
39 | 2611200.0307 | 1259886.0361 | 2611238.2217 | 1259877.7479
40 | 2611200.0307 | 1259886.0361 | 2611194.4695 | 1259863.5821
41 | 2611238.2217 | 1259877.7479 | 2611238.8356 | 1259877.6147 | 2611252.1236 | 1259876.7614 | 2611258.3194 | 1259878.5905
42 | 2611188.1901 | 1259838.2282 | 2611194.4695 | 1259863.5821
43 | 2611260.2733 | 1259879.1673 | 2611258.3194 | 1259878.5905
44 | 2611271.0073 | 1259779.915 | 2611264.7648 | 1259781.3731
45 | 2611259.9816 | 1259782.4903 | 2611264.7648 | 1259781.3731
46 | 2611246.5123 | 1259817.2583 | 2611242.7716 | 1259818.1047
47 | 2611227.6673 | 1259821.5223 | 2611242.7716 | 1259818.1047
48 | 2611227.6673 | 1259821.5223 | 2611224.3625 | 1259807.4491
49 | 2611227.6673 | 1259821.5223 | 2611208.9117 | 1259825.7636
50 | 2611224.3489 | 1259807.3909 | 2611224.3625 | 1259807.4491
51 | 2611202.6621 | 1259827.1768 | 2611208.9117 | 1259825.7636
52 | 2611224.2731 | 1259807.068 | 2611224.3489 | 1259807.3909
53 | 2611186.3657 | 1259830.862 | 2611202.6621 | 1259827.1768
54 | 2611224.2592 | 1259807.0091 | 2611224.2731 | 1259807.068
55 | 2611220.6695 | 1259791.7223 | 2611224.2592 | 1259807.0091
56 | 2611220.6695 | 1259791.7223 | 2611226.6854 | 1259790.3201
57 | 2611220.6695 | 1259791.7223 | 2611214.1502 | 1259793.2421
58 | 2611232.9281 | 1259788.8651 | 2611226.6854 | 1259790.3201
59 | 2611214.1502 | 1259793.2421 | 2611207.9078 | 1259794.6974
60 | 2611239.1706 | 1259787.4101 | 2611232.9281 | 1259788.8651
61 | 2611207.9078 | 1259794.6974 | 2611201.6634 | 1259796.1532
62 | 2611243.2886 | 1259786.4503 | 2611239.1706 | 1259787.4101
63 | 2611198.2918 | 1259796.9392 | 2611201.6634 | 1259796.1532
64 | 2611186.3657 | 1259830.862 | 2611188.1901 | 1259838.2282
65 | 2611186.3657 | 1259830.862 | 2611181.2972 | 1259810.4687
66 | 2611181.2337 | 1259810.2131 | 2611181.2972 | 1259810.4687
67 | 2611181.2337 | 1259810.2131 | 2611176.9261 | 1259792.8813
68 | 2611174.9625 | 1259784.9811 | 2611176.9261 | 1259792.8813
69 | 2611148.875 | 1259680.8013 | 2611153.6061 | 1259699.6389
70 | 2611163.911 | 1259740.6699 | 2611153.6061 | 1259699.6389
71 | 2611165.2876 | 1259746.0539 | 2611174.9625 | 1259784.9811
72 | 2611163.911 | 1259740.6699 | 2611165.2876 | 1259746.0539

## bus_geodata
| x | y | coords
0 | 2611131.277 | 1259610.532
1 | 2611128.1452 | 1259598.0391
2 | 2611133.6125 | 1259619.8485
3 | 2611119.1244 | 1259562.0543
4 | 2611139.5406 | 1259643.4961
5 | 2611099.1283 | 1259518.1064
6 | 2611087.617 | 1259569.2597
7 | 2611164.6215 | 1259551.5944
8 | 2611144.2746 | 1259662.3802
9 | 2611086.2129 | 1259569.5808
10 | 2611199.7638 | 1259543.5152
11 | 2611146.4232 | 1259670.9837
12 | 2611212.3777 | 1259652.4037
13 | 2611221.6792 | 1259536.2071
14 | 2611226.2025 | 1259575.4088
15 | 2610851.7523 | 1259638.1588
16 | 2610885.7904 | 1259624.9013
17 | 2610798.2261 | 1259659.0068
18 | 2610921.9664 | 1259610.8111
19 | 2610850.5131 | 1259738.2887
20 | 2610935.5719 | 1259605.677
21 | 2610850.6278 | 1259761.3843
22 | 2610947.4664 | 1259624.7993
23 | 2611020.7642 | 1259773.214
24 | 2611129.6095 | 1259748.4715
25 | 2610957.5888 | 1259639.7182
26 | 2611133.7898 | 1259747.5207
27 | 2611144.9304 | 1259744.9869
28 | 2611280.2208 | 1259794.4327
29 | 2611280.2055 | 1259794.3676
30 | 2611283.6108 | 1259808.864
31 | 2611280.179 | 1259794.2548
32 | 2611264.9531 | 1259813.0857
33 | 2611280.1654 | 1259794.1968
34 | 2611262.3878 | 1259813.6661
35 | 2611276.5086 | 1259778.6301
36 | 2611252.7645 | 1259815.8436
37 | 2611200.0307 | 1259886.0361
38 | 2611238.2217 | 1259877.7479
39 | 2611194.4695 | 1259863.5821
40 | 2611260.2733 | 1259879.1673
41 | 2611258.3194 | 1259878.5905
42 | 2611271.0073 | 1259779.915
43 | 2611283.3147 | 1259777.0438
44 | 2611264.7648 | 1259781.3731
45 | 2611259.9816 | 1259782.4903
46 | 2611246.5123 | 1259817.2583
47 | 2611242.7716 | 1259818.1047
48 | 2611227.6673 | 1259821.5223
49 | 2611224.3625 | 1259807.4491
50 | 2611208.9117 | 1259825.7636
51 | 2611224.3489 | 1259807.3909
52 | 2611202.6621 | 1259827.1768
53 | 2611224.2731 | 1259807.068
54 | 2611224.2592 | 1259807.0091
55 | 2611220.6695 | 1259791.7223
56 | 2611226.6854 | 1259790.3201
57 | 2611214.1502 | 1259793.2421
58 | 2611232.9281 | 1259788.8651
59 | 2611207.9078 | 1259794.6974
60 | 2611239.1706 | 1259787.4101
61 | 2611201.6634 | 1259796.1532
62 | 2611243.2886 | 1259786.4503
63 | 2611198.2918 | 1259796.9392
64 | 2611186.3657 | 1259830.862
65 | 2611188.1901 | 1259838.2282
66 | 2611181.2972 | 1259810.4687
67 | 2611181.2337 | 1259810.2131
68 | 2611176.9261 | 1259792.8813
69 | 2611148.875 | 1259680.8013
70 | 2611153.6061 | 1259699.6389
71 | 2611174.9625 | 1259784.9811
72 | 2611165.2876 | 1259746.0539
73 | 2611163.911 | 1259740.6699
74 | 2611155.7062 | 1259679.1463

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1