## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2773-38_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2773-38_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2773-38_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2773-38_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2773-38_0_4_node_40 | 0.4 | n |  | TRUE
5 | bus_LV_2773-38_0_4_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_2773-38_0_4_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_2773-38_0_4_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_2773-38_0_4_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_2773-38_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_2773-38_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2773-38_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2773-38_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2773-38_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2773-38_0_4_node_95 | 0.4 | n |  | TRUE
15 | bus_LV_2773-38_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2773-38_0_4_node_96 | 0.4 | n |  | TRUE
17 | bus_LV_2773-38_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2773-38_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_2773-38_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2773-38_0_4_node_117 | 0.4 | n |  | TRUE
21 | bus_LV_2773-38_0_4_node_116 | 0.4 | n |  | TRUE
22 | bus_LV_2773-38_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2773-38_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2773-38_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_2773-38_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_2773-38_0_4_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_2773-38_0_4_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_2773-38_0_4_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_2773-38_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_2773-38_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_2773-38_0_4_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_2773-38_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_2773-38_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_2773-38_0_4_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_2773-38_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_2773-38_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_2773-38_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_2773-38_0_4_node_131 | 0.4 | n |  | TRUE
39 | bus_LV_2773-38_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_2773-38_0_4_node_103 | 0.4 | n |  | TRUE
41 | bus_LV_2773-38_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_2773-38_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_2773-38_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_2773-38_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_2773-38_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_2773-38_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_2773-38_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_2773-38_0_4_node_145 | 0.4 | n |  | TRUE
49 | bus_LV_2773-38_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_2773-38_0_4_node_94 | 0.4 | n |  | TRUE
51 | bus_LV_2773-38_0_4_node_92 | 0.4 | n |  | TRUE
52 | bus_LV_2773-38_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_2773-38_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_2773-38_0_4_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_2773-38_0_4_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_2773-38_0_4_node_85 | 0.4 | n |  | TRUE
57 | bus_LV_2773-38_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_2773-38_0_4_node_83 | 0.4 | n |  | TRUE
59 | bus_LV_2773-38_0_4_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_2773-38_0_4_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_2773-38_0_4_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_2773-38_0_4_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_2773-38_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_2773-38_0_4_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_2773-38_0_4_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_2773-38_0_4_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_2773-38_0_4_node_78 | 0.4 | n |  | TRUE
68 | bus_LV_2773-38_0_4_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_2773-38_0_4_node_87 | 0.4 | n |  | TRUE
70 | bus_LV_2773-38_0_4_node_80 | 0.4 | n |  | TRUE
71 | bus_LV_2773-38_0_4_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_2773-38_0_4_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_2773-38_0_4_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_2773-38_0_4_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_2773-38_0_4_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_2773-38_0_4_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_2773-38_0_4_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_2773-38_0_4_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_2773-38_0_4_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_2773-38_0_4_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_2773-38_0_4_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_2773-38_0_4_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_2773-38_0_4_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_2773-38_0_4_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_2773-38_0_4_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_2773-38_0_4_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_2773-38_0_4_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_2773-38_0_4_node_134 | 0.4 | n |  | TRUE
89 | bus_LV_2773-38_0_4_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_2773-38_0_4_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_2773-38_0_4_node_82 | 0.4 | n |  | TRUE
92 | bus_LV_2773-38_0_4_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_2773-38_0_4_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_2773-38_0_4_node_142 | 0.4 | n |  | TRUE
95 | bus_LV_2773-38_0_4_node_138 | 0.4 | n |  | TRUE
96 | bus_LV_2773-38_0_4_node_84 | 0.4 | n |  | TRUE
97 | bus_LV_2773-38_0_4_node_86 | 0.4 | n |  | TRUE
98 | bus_LV_2773-38_0_4_node_141 | 0.4 | n |  | TRUE
99 | bus_LV_2773-38_0_4_node_132 | 0.4 | n |  | TRUE
100 | bus_LV_2773-38_0_4_node_143 | 0.4 | n |  | TRUE
101 | bus_LV_2773-38_0_4_node_136 | 0.4 | n |  | TRUE
102 | bus_LV_2773-38_0_4_node_90 | 0.4 | n |  | TRUE
103 | bus_LV_2773-38_0_4_node_91 | 0.4 | n |  | TRUE
104 | bus_LV_2773-38_0_4_node_93 | 0.4 | n |  | TRUE
105 | bus_LV_2773-38_0_4_node_122 | 0.4 | n |  | TRUE
106 | bus_LV_2773-38_0_4_node_121 | 0.4 | n |  | TRUE
107 | bus_LV_2773-38_0_4_node_97 | 0.4 | n |  | TRUE
108 | bus_LV_2773-38_0_4_node_114 | 0.4 | n |  | TRUE
109 | bus_LV_2773-38_0_4_node_115 | 0.4 | n |  | TRUE
110 | bus_LV_2773-38_0_4_node_98 | 0.4 | n |  | TRUE
111 | bus_LV_2773-38_0_4_node_99 | 0.4 | n |  | TRUE
112 | bus_LV_2773-38_0_4_node_100 | 0.4 | n |  | TRUE
113 | bus_LV_2773-38_0_4_node_101 | 0.4 | n |  | TRUE
114 | bus_LV_2773-38_0_4_node_102 | 0.4 | n |  | TRUE
115 | bus_LV_2773-38_0_4_node_104 | 0.4 | n |  | TRUE
116 | bus_LV_2773-38_0_4_node_113 | 0.4 | n |  | TRUE
117 | bus_LV_2773-38_0_4_node_105 | 0.4 | n |  | TRUE
118 | bus_LV_2773-38_0_4_node_112 | 0.4 | n |  | TRUE
119 | bus_LV_2773-38_0_4_node_106 | 0.4 | n |  | TRUE
120 | bus_LV_2773-38_0_4_node_133 | 0.4 | n |  | TRUE
121 | bus_LV_2773-38_0_4_node_107 | 0.4 | n |  | TRUE
122 | bus_LV_2773-38_0_4_node_125 | 0.4 | n |  | TRUE
123 | bus_LV_2773-38_0_4_node_124 | 0.4 | n |  | TRUE
124 | bus_LV_2773-38_0_4_node_108 | 0.4 | n |  | TRUE
125 | bus_LV_2773-38_0_4_node_109 | 0.4 | n |  | TRUE
126 | bus_LV_2773-38_0_4_node_110 | 0.4 | n |  | TRUE
127 | bus_LV_2773-38_0_4_node_111 | 0.4 | n |  | TRUE
128 | bus_LV_2773-38_0_4_node_147 | 0.4 | n |  | TRUE
129 | bus_LV_2773-38_0_4_node_146 | 0.4 | n |  | TRUE
130 | bus_LV_2773-38_0_4_node_149 | 0.4 | n |  | TRUE
131 | bus_LV_2773-38_0_4_node_152 | 0.4 | n |  | TRUE
132 | bus_LV_2773-38_0_4_node_120 | 0.4 | n |  | TRUE
133 | bus_LV_2773-38_0_4_node_118 | 0.4 | n |  | TRUE
134 | bus_LV_2773-38_0_4_node_119 | 0.4 | n |  | TRUE
135 | bus_LV_2773-38_0_4_node_123 | 0.4 | n |  | TRUE
136 | bus_LV_2773-38_0_4_node_126 | 0.4 | n |  | TRUE
137 | bus_LV_2773-38_0_4_node_127 | 0.4 | n |  | TRUE
138 | bus_LV_2773-38_0_4_node_128 | 0.4 | n |  | TRUE
139 | bus_LV_2773-38_0_4_node_129 | 0.4 | n |  | TRUE
140 | bus_LV_2773-38_0_4_node_130 | 0.4 | n |  | TRUE
141 | bus_LV_2773-38_0_4_node_140 | 0.4 | n |  | TRUE
142 | bus_LV_2773-38_0_4_node_166 | 0.4 | n |  | TRUE
143 | bus_LV_2773-38_0_4_node_135 | 0.4 | n |  | TRUE
144 | bus_LV_2773-38_0_4_node_137 | 0.4 | n |  | TRUE
145 | bus_LV_2773-38_0_4_node_139 | 0.4 | n |  | TRUE
146 | bus_LV_2773-38_0_4_node_144 | 0.4 | n |  | TRUE
147 | bus_LV_2773-38_0_4_node_148 | 0.4 | n |  | TRUE
148 | bus_LV_2773-38_0_4_node_161 | 0.4 | n |  | TRUE
149 | bus_LV_2773-38_0_4_node_150 | 0.4 | n |  | TRUE
150 | bus_LV_2773-38_0_4_node_162 | 0.4 | n |  | TRUE
151 | bus_LV_2773-38_0_4_node_160 | 0.4 | n |  | TRUE
152 | bus_LV_2773-38_0_4_node_151 | 0.4 | n |  | TRUE
153 | bus_LV_2773-38_0_4_node_155 | 0.4 | n |  | TRUE
154 | bus_LV_2773-38_0_4_node_156 | 0.4 | n |  | TRUE
155 | bus_LV_2773-38_0_4_node_165 | 0.4 | n |  | TRUE
156 | bus_LV_2773-38_0_4_node_164 | 0.4 | n |  | TRUE
157 | bus_LV_2773-38_0_4_node_157 | 0.4 | n |  | TRUE
158 | bus_LV_2773-38_0_4_node_158 | 0.4 | n |  | TRUE
159 | bus_LV_2773-38_0_4_node_159 | 0.4 | n |  | TRUE
160 | bus_LV_2773-38_0_4_node_163 | 0.4 | n |  | TRUE
161 | bus_MV_573_0_node_140 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2773-38_0_4_load_0 | 0 | 0.0036622 | 0.00091783 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2773-38_0_4_load_1 | 1 | 0.0049792 | 0.0012479 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2773-38_0_4_load_2 | 2 | 0.0014257 | 0.00035731 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2773-38_0_4_load_40 | 4 | 0.003484 | 0.00087316 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2773-38_0_4_load_18 | 8 | 0.003654 | 0.00091578 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2773-38_0_4_load_4 | 9 | 0.0086396 | 0.0021653 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2773-38_0_4_load_5 | 10 | 0.0012775 | 0.00032018 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2773-38_0_4_load_6 | 11 | 0.0017102 | 0.00042861 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2773-38_0_4_load_7 | 12 | 0.0012795 | 0.00032068 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2773-38_0_4_load_8 | 13 | 0.0017102 | 0.00042861 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2773-38_0_4_load_95 | 14 | 0.0012795 | 0.00032068 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2773-38_0_4_load_96 | 16 | 0.0012549 | 0.0003145 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2773-38_0_4_load_9 | 18 | 0.0063283 | 0.001586 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2773-38_0_4_load_117 | 20 | 0.0022593 | 0.00056623 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2773-38_0_4_load_116 | 21 | 0.0018697 | 0.00046858 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2773-38_0_4_load_13 | 22 | 0.010954 | 0.0027454 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2773-38_0_4_load_14 | 24 | 0.0024878 | 0.00062351 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2773-38_0_4_load_17 | 25 | 0.010657 | 0.0026709 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2773-38_0_4_load_46 | 27 | 0.012863 | 0.0032237 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2773-38_0_4_load_42 | 28 | 0.0093408 | 0.002341 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2773-38_0_4_load_20 | 29 | 0.015136 | 0.0037934 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2773-38_0_4_load_35 | 31 | 0.0029926 | 0.00075002 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2773-38_0_4_load_26 | 32 | 0.0020752 | 0.00052009 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2773-38_0_4_load_22 | 33 | 0.0011173 | 0.00028001 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2773-38_0_4_load_23 | 35 | 0.001117 | 0.00027994 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2773-38_0_4_load_25 | 36 | 0.0011167 | 0.00027988 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2773-38_0_4_load_27 | 37 | 0.0011183 | 0.00028026 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2773-38_0_4_load_131 | 38 | 0.0020735 | 0.00051968 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2773-38_0_4_load_28 | 39 | 0.0011167 | 0.00027988 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2773-38_0_4_load_103 | 40 | 0.0011297 | 0.00028314 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2773-38_0_4_load_29 | 41 | 0.0011183 | 0.00028026 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2773-38_0_4_load_30 | 42 | 0.002235 | 0.00056015 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2773-38_0_4_load_31 | 43 | 0.0021489 | 0.00053856 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2773-38_0_4_load_32 | 44 | 0.0035927 | 0.00090041 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2773-38_0_4_load_34 | 45 | 0.0072594 | 0.0018194 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2773-38_0_4_load_36 | 46 | 0.0014613 | 0.00036624 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2773-38_0_4_load_38 | 47 | 0.0098951 | 0.0024799 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2773-38_0_4_load_145 | 48 | 0.00293 | 0.00073433 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2773-38_0_4_load_39 | 49 | 0.0063028 | 0.0015796 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2773-38_0_4_load_94 | 50 | 0.0015995 | 0.00040088 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2773-38_0_4_load_43 | 53 | 0.016526 | 0.0041419 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2773-38_0_4_load_44 | 54 | 0.0084977 | 0.0021297 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2773-38_0_4_load_83 | 58 | 0.0024545 | 0.00061515 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2773-38_0_4_load_64 | 59 | 0.0025967 | 0.00065079 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2773-38_0_4_load_63 | 60 | 0.0032342 | 0.00081056 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2773-38_0_4_load_50 | 61 | 0.0078526 | 0.001968 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2773-38_0_4_load_52 | 63 | 0.0078882 | 0.001977 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2773-38_0_4_load_53 | 64 | 0.0078525 | 0.001968 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2773-38_0_4_load_54 | 65 | 0.0075744 | 0.0018983 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2773-38_0_4_load_62 | 68 | 0.010994 | 0.0027553 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2773-38_0_4_load_87 | 69 | 0.0026291 | 0.00065891 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2773-38_0_4_load_80 | 70 | 0.0039599 | 0.00099245 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2773-38_0_4_load_56 | 72 | 0.0089894 | 0.002253 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2773-38_0_4_load_57 | 73 | 0.010995 | 0.0027556 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2773-38_0_4_load_58 | 74 | 0.0032331 | 0.0008103 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2773-38_0_4_load_59 | 75 | 0.0025114 | 0.00062942 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2773-38_0_4_load_61 | 76 | 0.0023803 | 0.00059656 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2773-38_0_4_load_70 | 78 | 0.0023807 | 0.00059666 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2773-38_0_4_load_66 | 79 | 0.0021422 | 0.00053689 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2773-38_0_4_load_65 | 80 | 0.0028882 | 0.00072385 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2773-38_0_4_load_69 | 82 | 0.0030076 | 0.00075377 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2773-38_0_4_load_73 | 83 | 0.0030094 | 0.00075424 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2773-38_0_4_load_71 | 84 | 0.0030077 | 0.00075379 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2773-38_0_4_load_72 | 85 | 0.0030099 | 0.00075434 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2773-38_0_4_load_75 | 86 | 0.0023797 | 0.0005964 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2773-38_0_4_load_76 | 87 | 0.002381 | 0.00059674 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2773-38_0_4_load_79 | 89 | 0.0021667 | 0.00054302 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2773-38_0_4_load_81 | 90 | 0.0026027 | 0.0006523 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2773-38_0_4_load_88 | 92 | 0.0031225 | 0.00078257 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2773-38_0_4_load_89 | 93 | 0.0018146 | 0.00045478 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2773-38_0_4_load_142 | 94 | 0.0023634 | 0.00059233 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2773-38_0_4_load_138 | 95 | 0.0018474 | 0.00046299 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2773-38_0_4_load_84 | 96 | 0.0045336 | 0.0011362 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2773-38_0_4_load_86 | 97 | 0.0063028 | 0.0015796 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2773-38_0_4_load_143 | 100 | 0.0031721 | 0.00079501 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2773-38_0_4_load_136 | 101 | 0.0016687 | 0.00041822 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2773-38_0_4_load_90 | 102 | 0.0019195 | 0.00048108 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2773-38_0_4_load_91 | 103 | 0.0020662 | 0.00051785 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2773-38_0_4_load_93 | 104 | 0.0016896 | 0.00042344 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2773-38_0_4_load_122 | 105 | 0.0020525 | 0.0005144 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2773-38_0_4_load_121 | 106 | 0.0021422 | 0.00053688 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2773-38_0_4_load_97 | 107 | 0.0015613 | 0.0003913 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2773-38_0_4_load_114 | 108 | 0.0011211 | 0.00028098 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2773-38_0_4_load_115 | 109 | 0.0011223 | 0.00028129 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2773-38_0_4_load_98 | 110 | 0.0021739 | 0.00054483 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2773-38_0_4_load_99 | 111 | 0.003224 | 0.00080801 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2773-38_0_4_load_101 | 113 | 0.0036899 | 0.00092478 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2773-38_0_4_load_102 | 114 | 0.0015202 | 0.000381 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2773-38_0_4_load_104 | 115 | 0.0097622 | 0.0024467 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2773-38_0_4_load_113 | 116 | 0.0017008 | 0.00042625 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2773-38_0_4_load_105 | 117 | 0.0021763 | 0.00054542 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2773-38_0_4_load_106 | 119 | 0.0017645 | 0.00044222 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2773-38_0_4_load_133 | 120 | 0.0035492 | 0.00088952 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2773-38_0_4_load_107 | 121 | 0.0013126 | 0.00032897 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2773-38_0_4_load_125 | 122 | 0.0011218 | 0.00028115 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2773-38_0_4_load_124 | 123 | 0.0011199 | 0.00028068 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2773-38_0_4_load_108 | 124 | 0.0020136 | 0.00050467 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2773-38_0_4_load_109 | 125 | 0.0019878 | 0.00049819 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2773-38_0_4_load_110 | 126 | 0.0020083 | 0.00050332 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2773-38_0_4_load_111 | 127 | 0.0018878 | 0.00047312 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_2773-38_0_4_load_147 | 128 | 0.0019537 | 0.00048964 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_2773-38_0_4_load_146 | 129 | 0.0019992 | 0.00050105 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_2773-38_0_4_load_149 | 130 | 0.0026368 | 0.00066086 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_2773-38_0_4_load_152 | 131 | 0.0031457 | 0.00078839 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_2773-38_0_4_load_120 | 132 | 0.0011231 | 0.00028147 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_2773-38_0_4_load_118 | 133 | 0.0013955 | 0.00034976 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_2773-38_0_4_load_119 | 134 | 0.0014309 | 0.00035863 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_2773-38_0_4_load_123 | 135 | 0.0013956 | 0.00034977 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_2773-38_0_4_load_126 | 136 | 0.0014279 | 0.00035787 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_2773-38_0_4_load_127 | 137 | 0.0013941 | 0.0003494 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_2773-38_0_4_load_128 | 138 | 0.0014272 | 0.00035769 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_2773-38_0_4_load_129 | 139 | 0.0011251 | 0.00028198 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_2773-38_0_4_load_130 | 140 | 0.0042567 | 0.0010668 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_2773-38_0_4_load_140 | 141 | 0.0014268 | 0.0003576 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_2773-38_0_4_load_166 | 142 | 0.023045 | 0.0057756 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_2773-38_0_4_load_135 | 143 | 0.00074952 | 0.00018785 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_2773-38_0_4_load_137 | 144 | 0.0019552 | 0.00049003 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_2773-38_0_4_load_139 | 145 | 0.0030986 | 0.00077659 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_2773-38_0_4_load_144 | 146 | 0.001805 | 0.00045237 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_2773-38_0_4_load_148 | 147 | 0.0018145 | 0.00045475 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_2773-38_0_4_load_150 | 149 | 0.0016928 | 0.00042426 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_2773-38_0_4_load_162 | 150 | 0.002466 | 0.00061804 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_2773-38_0_4_load_160 | 151 | 0.0025539 | 0.00064006 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_2773-38_0_4_load_151 | 152 | 0.0020897 | 0.00052373 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_2773-38_0_4_load_155 | 153 | 0.001711 | 0.00042882 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_2773-38_0_4_load_156 | 154 | 0.002672 | 0.00066967 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_2773-38_0_4_load_165 | 155 | 0.0019799 | 0.00049621 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_2773-38_0_4_load_164 | 156 | 0.0042204 | 0.0010577 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_2773-38_0_4_load_157 | 157 | 0.0038019 | 0.00095285 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_2773-38_0_4_load_158 | 158 | 0.0028538 | 0.00071524 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_2773-38_0_4_load_159 | 159 | 0.0030269 | 0.00075861 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2773-38_0_4_line_0 |  | 0 | 1 | 0.0040298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2773-38_0_4_line_1 |  | 0 | 2 | 0.0054676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2773-38_0_4_line_2 |  | 1 | 3 | 0.014641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2773-38_0_4_line_3 |  | 3 | 4 | 0.0080364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2773-38_0_4_line_4 |  | 3 | 5 | 0.007878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2773-38_0_4_line_5 |  | 4 | 6 | 0.026619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2773-38_0_4_line_6 |  | 5 | 7 | 0.026096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2773-38_0_4_line_7 |  | 5 | 8 | 0.018398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2773-38_0_4_line_8 |  | 6 | 24 | 0.013586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2773-38_0_4_line_9 |  | 7 | 30 | 0.017437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_2773-38_0_4_line_10 |  | 7 | 31 | 0.014919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_2773-38_0_4_line_11 |  | 8 | 29 | 0.010856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2773-38_0_4_line_12 |  | 9 | 10 | 0.014782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2773-38_0_4_line_13 |  | 9 | 11 | 0.0031159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2773-38_0_4_line_14 |  | 10 | 12 | 0.0065956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2773-38_0_4_line_15 |  | 11 | 13 | 0.017631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2773-38_0_4_line_16 |  | 12 | 14 | 0.014418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2773-38_0_4_line_17 |  | 13 | 15 | 0.029424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2773-38_0_4_line_18 |  | 14 | 16 | 0.0051115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2773-38_0_4_line_19 |  | 15 | 17 | 0.035977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2773-38_0_4_line_20 |  | 16 | 107 | 0.0021854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2773-38_0_4_line_21 |  | 17 | 19 | 0.039451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2773-38_0_4_line_22 |  | 17 | 18 | 0.027107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2773-38_0_4_line_23 |  | 19 | 20 | 0.039173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2773-38_0_4_line_24 |  | 20 | 21 | 0.0032205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2773-38_0_4_line_25 |  | 21 | 133 | 0.0054318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2773-38_0_4_line_26 |  | 22 | 23 | 0.013544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2773-38_0_4_line_27 |  | 23 | 25 | 0.020001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2773-38_0_4_line_28 |  | 25 | 26 | 0.018381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2773-38_0_4_line_29 |  | 26 | 27 | 0.034921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2773-38_0_4_line_30 |  | 26 | 28 | 0.028044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2773-38_0_4_line_31 |  | 28 | 52 | 0.04043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2773-38_0_4_line_32 |  | 30 | 32 | 0.012935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_2773-38_0_4_line_33 |  | 30 | 33 | 0.010398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2773-38_0_4_line_34 |  | 31 | 34 | 0.031351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_2773-38_0_4_line_35 |  | 32 | 38 | 0.010116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_2773-38_0_4_line_36 |  | 33 | 35 | 0.00013745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2773-38_0_4_line_37 |  | 34 | 46 | 0.043072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_2773-38_0_4_line_38 |  | 34 | 43 | 0.0021466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2773-38_0_4_line_39 |  | 35 | 36 | 0.006653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2773-38_0_4_line_40 |  | 36 | 37 | 0.0001362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2773-38_0_4_line_41 |  | 37 | 39 | 0.0066508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2773-38_0_4_line_42 |  | 38 | 40 | 0.0081722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_2773-38_0_4_line_43 |  | 39 | 41 | 0.00014196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2773-38_0_4_line_44 |  | 40 | 112 | 0.020472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_2773-38_0_4_line_45 |  | 41 | 42 | 0.0055621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2773-38_0_4_line_46 |  | 43 | 44 | 0.013781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2773-38_0_4_line_47 |  | 44 | 45 | 0.016721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2773-38_0_4_line_48 |  | 45 | 47 | 0.022639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2773-38_0_4_line_49 |  | 46 | 48 | 0.002433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_2773-38_0_4_line_50 |  | 47 | 49 | 0.0052025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2773-38_0_4_line_51 |  | 49 | 52 | 0.018246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2773-38_0_4_line_52 |  | 50 | 51 | 0.0049725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2773-38_0_4_line_53 |  | 51 | 102 | 0.013285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2773-38_0_4_line_54 |  | 52 | 53 | 0.033784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2773-38_0_4_line_55 |  | 52 | 54 | 0.021961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2773-38_0_4_line_56 |  | 53 | 55 | 0.033698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2773-38_0_4_line_57 |  | 54 | 56 | 0.015298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2773-38_0_4_line_58 |  | 55 | 57 | 0.024001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2773-38_0_4_line_59 |  | 56 | 58 | 0.011489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2773-38_0_4_line_60 |  | 57 | 59 | 0.022343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2773-38_0_4_line_61 |  | 58 | 96 | 0.0096138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2773-38_0_4_line_62 |  | 59 | 60 | 0.0091241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2773-38_0_4_line_63 |  | 60 | 80 | 0.012918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2773-38_0_4_line_64 |  | 61 | 62 | 0.011308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2773-38_0_4_line_65 |  | 62 | 63 | 0.025484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2773-38_0_4_line_66 |  | 62 | 64 | 0.014103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2773-38_0_4_line_67 |  | 63 | 65 | 0.0017753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2773-38_0_4_line_68 |  | 65 | 66 | 0.018893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2773-38_0_4_line_69 |  | 66 | 67 | 0.038912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2773-38_0_4_line_70 |  | 66 | 68 | 0.0015166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2773-38_0_4_line_71 |  | 67 | 69 | 0.035685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_2773-38_0_4_line_72 |  | 67 | 70 | 0.023788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2773-38_0_4_line_73 |  | 68 | 71 | 0.018464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2773-38_0_4_line_74 |  | 69 | 88 | 0.032443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_2773-38_0_4_line_75 |  | 70 | 89 | 0.013994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2773-38_0_4_line_76 |  | 71 | 76 | 0.017521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2773-38_0_4_line_77 |  | 71 | 75 | 0.023092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2773-38_0_4_line_78 |  | 72 | 73 | 0.0098246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2773-38_0_4_line_79 |  | 72 | 74 | 0.0036288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2773-38_0_4_line_80 |  | 73 | 75 | 0.015541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2773-38_0_4_line_81 |  | 76 | 77 | 0.032226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2773-38_0_4_line_82 |  | 77 | 78 | 0.014869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2773-38_0_4_line_83 |  | 77 | 79 | 0.012929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2773-38_0_4_line_84 |  | 78 | 84 | 0.0045425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2773-38_0_4_line_85 |  | 79 | 81 | 0.044557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2773-38_0_4_line_86 |  | 81 | 82 | 0.022207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2773-38_0_4_line_87 |  | 82 | 83 | 0.015477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2773-38_0_4_line_88 |  | 84 | 85 | 0.015476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2773-38_0_4_line_89 |  | 85 | 86 | 0.0096386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2773-38_0_4_line_90 |  | 86 | 87 | 1.3514e-08 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2773-38_0_4_line_91 |  | 88 | 98 | 0.006788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2773-38_0_4_line_92 |  | 88 | 99 | 0.037162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_2773-38_0_4_line_93 |  | 89 | 90 | 0.0038233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2773-38_0_4_line_94 |  | 90 | 91 | 0.024967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2773-38_0_4_line_95 |  | 91 | 92 | 0.031844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2773-38_0_4_line_96 |  | 91 | 93 | 0.04023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2773-38_0_4_line_97 |  | 92 | 94 | 0.0054773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2773-38_0_4_line_98 |  | 93 | 95 | 0.018323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2773-38_0_4_line_99 |  | 94 | 100 | 0.02902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2773-38_0_4_line_100 |  | 95 | 101 | 0.0024251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2773-38_0_4_line_101 |  | 96 | 97 | 0.023792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2773-38_0_4_line_102 |  | 98 | 142 | 0.014628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2773-38_0_4_line_103 |  | 99 | 120 | 0.022226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2773-38_0_4_line_104 |  | 99 | 115 | 0.0017092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
105 | LV_2773-38_0_4_line_105 |  | 100 | 147 | 0.0025615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2773-38_0_4_line_106 |  | 101 | 143 | 0.010481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2773-38_0_4_line_107 |  | 102 | 103 | 0.017735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2773-38_0_4_line_108 |  | 103 | 104 | 0.026817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2773-38_0_4_line_109 |  | 104 | 105 | 0.018525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2773-38_0_4_line_110 |  | 105 | 106 | 0.0054352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2773-38_0_4_line_111 |  | 106 | 127 | 0.021583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2773-38_0_4_line_112 |  | 107 | 108 | 0.005802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2773-38_0_4_line_113 |  | 108 | 109 | 0.0062851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2773-38_0_4_line_114 |  | 109 | 132 | 0.0062778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2773-38_0_4_line_115 |  | 110 | 111 | 0.0067172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_2773-38_0_4_line_116 |  | 110 | 112 | 0.020832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_2773-38_0_4_line_117 |  | 111 | 113 | 0.035316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_2773-38_0_4_line_118 |  | 112 | 114 | 0.028519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_2773-38_0_4_line_119 |  | 112 | 115 | 0.02412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
120 | LV_2773-38_0_4_line_120 |  | 113 | 116 | 0.0031308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_2773-38_0_4_line_121 |  | 114 | 117 | 0.015563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_2773-38_0_4_line_122 |  | 116 | 118 | 0.014917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_2773-38_0_4_line_123 |  | 117 | 119 | 0.015405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_2773-38_0_4_line_124 |  | 118 | 128 | 0.01997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_2773-38_0_4_line_125 |  | 118 | 126 | 0.026787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_2773-38_0_4_line_126 |  | 119 | 121 | 0.0026554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_2773-38_0_4_line_127 |  | 120 | 141 | 0.021993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_2773-38_0_4_line_128 |  | 121 | 122 | 0.0054979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_2773-38_0_4_line_129 |  | 122 | 123 | 0.0028724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_2773-38_0_4_line_130 |  | 123 | 132 | 0.0034039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_2773-38_0_4_line_131 |  | 124 | 125 | 0.0062392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_2773-38_0_4_line_132 |  | 124 | 126 | 0.016224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_2773-38_0_4_line_133 |  | 125 | 127 | 0.019456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_2773-38_0_4_line_134 |  | 128 | 131 | 0.010871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_2773-38_0_4_line_135 |  | 129 | 130 | 0.0092878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_2773-38_0_4_line_136 |  | 130 | 149 | 0.0078448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_2773-38_0_4_line_137 |  | 133 | 134 | 0.0019208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_2773-38_0_4_line_138 |  | 134 | 135 | 0.0047205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_2773-38_0_4_line_139 |  | 135 | 136 | 0.0015591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_2773-38_0_4_line_140 |  | 136 | 137 | 0.0050799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_2773-38_0_4_line_141 |  | 137 | 138 | 0.0001122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_2773-38_0_4_line_142 |  | 138 | 139 | 0.0065267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_2773-38_0_4_line_143 |  | 139 | 140 | 0.0016377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_2773-38_0_4_line_144 |  | 143 | 144 | 0.018924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_2773-38_0_4_line_145 |  | 144 | 145 | 0.0083735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_2773-38_0_4_line_146 |  | 145 | 146 | 0.0049824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_2773-38_0_4_line_147 |  | 147 | 148 | 0.01108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_2773-38_0_4_line_148 |  | 148 | 150 | 0.024979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_2773-38_0_4_line_149 |  | 148 | 151 | 0.028767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_2773-38_0_4_line_150 |  | 149 | 152 | 0.019454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_2773-38_0_4_line_151 |  | 150 | 160 | 0.043546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_2773-38_0_4_line_152 |  | 151 | 159 | 0.0044049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_2773-38_0_4_line_153 |  | 152 | 153 | 0.0017551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_2773-38_0_4_line_154 |  | 153 | 154 | 0.011423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_2773-38_0_4_line_155 |  | 154 | 157 | 0.019527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_2773-38_0_4_line_156 |  | 155 | 156 | 0.0202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_2773-38_0_4_line_157 |  | 156 | 160 | 0.019407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_2773-38_0_4_line_158 |  | 157 | 158 | 0.0048777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_2773-38_0_4_line_159 |  | 158 | 159 | 0.015247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2773-38_0_4_trafo_145 | 0.63 MVA 20/0.4 kV | 161 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2611315.9858 | 1260428.3572 | 2611314.545 | 1260424.5938
1 | 2611317.9407 | 1260433.4633 | 2611315.9858 | 1260428.3572
2 | 2611309.3102 | 1260410.9205 | 2611314.545 | 1260424.5938
3 | 2611309.3102 | 1260410.9205 | 2611316.7984 | 1260408.0032
4 | 2611309.3102 | 1260410.9205 | 2611301.95 | 1260413.7862
5 | 2611341.6015 | 1260398.3401 | 2611316.7984 | 1260408.0032
6 | 2611277.5695 | 1260423.2797 | 2611301.95 | 1260413.7862
7 | 2611301.95 | 1260413.7862 | 2611294.7787 | 1260396.8437
8 | 2611341.6015 | 1260398.3401 | 2611336.4045 | 1260385.7874
9 | 2611261.4832 | 1260430.1206 | 2611277.5695 | 1260423.2797
10 | 2611277.5695 | 1260423.2797 | 2611271.7522 | 1260409.5418
11 | 2611290.5471 | 1260386.8463 | 2611294.7787 | 1260396.8437
12 | 2611317.1919 | 1260537.8401 | 2611305.9133 | 1260528.2848
13 | 2611319.5693 | 1260539.8542 | 2611317.1919 | 1260537.8401
14 | 2611300.8809 | 1260524.0213 | 2611305.9133 | 1260528.2848
15 | 2611332.8132 | 1260551.4926 | 2611319.7875 | 1260540.0391 | 2611319.5693 | 1260539.8542
16 | 2611300.8809 | 1260524.0213 | 2611289.8803 | 1260514.7015
17 | 2611361.1486 | 1260552.2596 | 2611344.5577 | 1260555.1298 | 2611338.9677 | 1260554.4965 | 2611334.4494 | 1260552.9313 | 2611332.8132 | 1260551.4926
18 | 2611289.8803 | 1260514.7015 | 2611285.9803 | 1260511.3974
19 | 2611359.4689 | 1260516.4209 | 2611359.0121 | 1260534.6324 | 2611360.4044 | 1260547.377 | 2611361.1486 | 1260552.2596
20 | 2611284.3129 | 1260509.9847 | 2611285.9803 | 1260511.3974
21 | 2611359.4689 | 1260516.4209 | 2611364.3136 | 1260477.2703
22 | 2611359.4689 | 1260516.4209 | 2611343.8413 | 1260519.8823 | 2611335.3788 | 1260512.6976
23 | 2611364.3136 | 1260477.2703 | 2611339.3152 | 1260486.8847 | 2611329.621 | 1260479.17
24 | 2611327.1011 | 1260477.1645 | 2611329.621 | 1260479.17
25 | 2611327.1011 | 1260477.1645 | 2611322.8509 | 1260473.7822
26 | 2611308.3392 | 1260323.1703 | 2611314.0573 | 1260335.448
27 | 2611308.3392 | 1260323.1703 | 2611305.052 | 1260316.1148 | 2611300.6476 | 1260304.7191
28 | 2611294.0212 | 1260287.5745 | 2611300.6476 | 1260304.7191
29 | 2611294.0212 | 1260287.5745 | 2611285.7285 | 1260253.6527
30 | 2611294.0212 | 1260287.5745 | 2611267.2806 | 1260296.0257
31 | 2611228.7303 | 1260308.2094 | 2611267.2806 | 1260296.0257
32 | 2611261.4832 | 1260430.1206 | 2611249.5779 | 1260435.1782
33 | 2611261.4832 | 1260430.1206 | 2611265.5017 | 1260439.7107
34 | 2611259.5272 | 1260380.6722 | 2611271.7522 | 1260409.5418
35 | 2611249.5779 | 1260435.1782 | 2611240.267 | 1260439.1336
36 | 2611265.5548 | 1260439.8375 | 2611265.5017 | 1260439.7107
37 | 2611259.5272 | 1260380.6722 | 2611220.1432 | 1260398.11
38 | 2611259.5272 | 1260380.6722 | 2611258.6876 | 1260378.6967
39 | 2611265.5548 | 1260439.8375 | 2611268.1259 | 1260445.9736
40 | 2611268.1785 | 1260446.0992 | 2611268.1259 | 1260445.9736
41 | 2611270.7488 | 1260452.2333 | 2611268.1785 | 1260446.0992
42 | 2611240.267 | 1260439.1336 | 2611232.7454 | 1260442.3289
43 | 2611270.8037 | 1260452.3642 | 2611270.7488 | 1260452.2333
44 | 2611213.9034 | 1260450.3333 | 2611232.7454 | 1260442.3289
45 | 2611272.9532 | 1260457.4942 | 2611270.8037 | 1260452.3642
46 | 2611258.6876 | 1260378.6967 | 2611253.2973 | 1260366.0138
47 | 2611253.2973 | 1260366.0138 | 2611246.757 | 1260350.6249
48 | 2611246.757 | 1260350.6249 | 2611237.902 | 1260329.7896
49 | 2611217.9185 | 1260399.095 | 2611220.1432 | 1260398.11
50 | 2611237.902 | 1260329.7896 | 2611235.8671 | 1260325.0016
51 | 2611228.7303 | 1260308.2094 | 2611235.8671 | 1260325.0016
52 | 2611315.2366 | 1260603.1622 | 2611319.8703 | 1260604.9661
53 | 2611315.2366 | 1260603.1622 | 2611302.9072 | 1260598.2159
54 | 2611228.7303 | 1260308.2094 | 2611220.7599 | 1260287.0244 | 2611217.9045 | 1260276.2473
55 | 2611228.7303 | 1260308.2094 | 2611208.9517 | 1260317.7532
56 | 2611209.2742 | 1260243.6734 | 2611217.9045 | 1260276.2473
57 | 2611195.1735 | 1260324.4016 | 2611208.9517 | 1260317.7532
58 | 2611209.2742 | 1260243.6734 | 2611203.1311 | 1260220.4683
59 | 2611195.1735 | 1260324.4016 | 2611200.3881 | 1260334.6388
60 | 2611203.1311 | 1260220.4683 | 2611181.0499 | 1260223.8804
61 | 2611200.3881 | 1260334.6388 | 2611203.5524 | 1260340.8507 | 2611204.4142 | 1260343.3485
62 | 2611172.0328 | 1260225.2738 | 2611181.0499 | 1260223.8804
63 | 2611164.9976 | 1260217.6725 | 2611166.1906 | 1260224.4238 | 2611169.7905 | 1260225.6203 | 2611172.0328 | 1260225.2738
64 | 2611075.1706 | 1260322.9204 | 2611070.0703 | 1260322.166 | 2611063.965 | 1260321.4044
65 | 2611075.1706 | 1260322.9204 | 2611087.1434 | 1260323.6544 | 2611100.5316 | 1260322.0153
66 | 2611075.1706 | 1260322.9204 | 2611070.1451 | 1260326.4913 | 2611062.2584 | 1260325.5876
67 | 2611100.5316 | 1260322.0153 | 2611102.2938 | 1260321.7995
68 | 2611121.0466 | 1260319.5037 | 2611102.2938 | 1260321.7995
69 | 2611121.0466 | 1260319.5037 | 2611120.3224 | 1260332.0553 | 2611124.2299 | 1260358.1025
70 | 2611121.0466 | 1260319.5037 | 2611121.2176 | 1260317.9968
71 | 2611124.2299 | 1260358.1025 | 2611130.9121 | 1260375.2266 | 2611140.5837 | 1260389.5745
72 | 2611124.2299 | 1260358.1025 | 2611101.2223 | 1260364.1453
73 | 2611123.2993 | 1260299.65 | 2611121.2176 | 1260317.9968
74 | 2611163.9546 | 1260411.98 | 2611156.2504 | 1260405.4278 | 2611141.7859 | 1260391.3579 | 2611140.5837 | 1260389.5745
75 | 2611087.5324 | 1260366.8848 | 2611093.5448 | 1260366.1618 | 2611101.2223 | 1260364.1453
76 | 2611123.2993 | 1260299.65 | 2611125.1499 | 1260282.2275
77 | 2611123.2993 | 1260299.65 | 2611145.6177 | 1260293.7248
78 | 2611159.8176 | 1260279.6936 | 2611161.8003 | 1260287.058 | 2611159.9794 | 1260288.2892
79 | 2611158.8742 | 1260276.1896 | 2611159.8176 | 1260279.6936
80 | 2611145.6177 | 1260293.7248 | 2611156.0281 | 1260290.9609 | 2611159.9794 | 1260288.2892
81 | 2611128.5538 | 1260250.1819 | 2611125.1499 | 1260282.2275
82 | 2611128.5538 | 1260250.1819 | 2611113.7099 | 1260251.0409
83 | 2611128.5538 | 1260250.1819 | 2611128.4424 | 1260237.253
84 | 2611113.7099 | 1260251.0409 | 2611109.175 | 1260251.3033
85 | 2611128.0585 | 1260192.6975 | 2611128.4424 | 1260237.253
86 | 2611128.0585 | 1260192.6975 | 2611105.8864 | 1260193.9357
87 | 2611105.8864 | 1260193.9357 | 2611090.4338 | 1260194.7986
88 | 2611109.175 | 1260251.3033 | 2611093.7245 | 1260252.1974
89 | 2611093.7245 | 1260252.1974 | 2611084.102 | 1260252.7543
90 | 2611084.102 | 1260252.7543 | 2611084.102 | 1260252.7543
91 | 2611170.109 | 1260409.0785 | 2611163.9546 | 1260411.98
92 | 2611163.9546 | 1260411.98 | 2611171.4331 | 1260418.2873 | 2611193.1569 | 1260434.9505
93 | 2611087.5324 | 1260366.8848 | 2611083.7365 | 1260367.3413
94 | 2611058.9485 | 1260370.3224 | 2611083.7365 | 1260367.3413
95 | 2611058.9485 | 1260370.3224 | 2611043.7849 | 1260398.3244
96 | 2611058.9485 | 1260370.3224 | 2611065.9606 | 1260380.3645 | 2611081.3788 | 1260392.2901 | 2611088.095 | 1260397.4843
97 | 2611043.7849 | 1260398.3244 | 2611041.1766 | 1260403.1409
98 | 2611088.095 | 1260397.4843 | 2611102.5891 | 1260408.6937
99 | 2611041.1766 | 1260403.1409 | 2611031.8934 | 1260420.2838 | 2611027.3577 | 1260428.6592
100 | 2611104.5074 | 1260410.1773 | 2611102.5891 | 1260408.6937
101 | 2611204.4142 | 1260343.3485 | 2611207.7944 | 1260353.1448 | 2611210.5537 | 1260360.4661 | 2611213.2716 | 1260365.3686
102 | 2611170.566 | 1260394.4584 | 2611170.109 | 1260409.0785
103 | 2611193.1569 | 1260434.9505 | 2611180.4295 | 1260453.1711
104 | 2611193.1569 | 1260434.9505 | 2611194.5718 | 1260435.9094
105 | 2611027.3577 | 1260428.6592 | 2611026.1379 | 1260430.9116
106 | 2611104.5074 | 1260410.1773 | 2611112.7984 | 1260416.5894
107 | 2611302.9072 | 1260598.2159 | 2611286.4474 | 1260591.6125
108 | 2611286.4474 | 1260591.6125 | 2611269.178 | 1260584.6844 | 2611262.6908 | 1260579.6532
109 | 2611249.1245 | 1260567.0469 | 2611261.6763 | 1260578.8663 | 2611262.6908 | 1260579.6532
110 | 2611249.1245 | 1260567.0469 | 2611245.1674 | 1260563.3208
111 | 2611228.0521 | 1260550.1925 | 2611243.5859 | 1260561.8316 | 2611245.1674 | 1260563.3208
112 | 2611284.3129 | 1260509.9847 | 2611279.886 | 1260506.2342
113 | 2611279.886 | 1260506.2342 | 2611275.0905 | 1260502.1715
114 | 2611275.0905 | 1260502.1715 | 2611270.3006 | 1260498.1134
115 | 2611202.0868 | 1260467.4899 | 2611198.2766 | 1260473.0219
116 | 2611213.9034 | 1260450.3333 | 2611202.0868 | 1260467.4899
117 | 2611178.2444 | 1260502.1068 | 2611198.2766 | 1260473.0219
118 | 2611213.9034 | 1260450.3333 | 2611235.6628 | 1260468.768
119 | 2611213.9034 | 1260450.3333 | 2611194.5718 | 1260435.9094
120 | 2611176.4686 | 1260504.6852 | 2611178.2444 | 1260502.1068
121 | 2611247.5373 | 1260478.8282 | 2611235.6628 | 1260468.768
122 | 2611168.0074 | 1260516.97 | 2611176.4686 | 1260504.6852
123 | 2611247.5373 | 1260478.8282 | 2611259.291 | 1260488.786
124 | 2611168.0074 | 1260516.97 | 2611156.4668 | 1260533.2672
125 | 2611168.0074 | 1260516.97 | 2611191.321 | 1260530.161
126 | 2611261.317 | 1260490.5025 | 2611259.291 | 1260488.786
127 | 2611184.1309 | 1260470.1574 | 2611177.6215 | 1260465.4753 | 2611175.9068 | 1260459.6459 | 2611180.4295 | 1260453.1711
128 | 2611261.317 | 1260490.5025 | 2611265.5118 | 1260494.0563
129 | 2611267.7034 | 1260495.9131 | 2611265.5118 | 1260494.0563
130 | 2611267.7034 | 1260495.9131 | 2611270.3006 | 1260498.1134
131 | 2611211.3025 | 1260540.4205 | 2611205.7414 | 1260537.5918
132 | 2611191.321 | 1260530.161 | 2611192.9684 | 1260531.0931 | 2611202.5969 | 1260535.9923 | 2611205.7414 | 1260537.5918
133 | 2611211.3025 | 1260540.4205 | 2611222.8478 | 1260546.293 | 2611228.0521 | 1260550.1925
134 | 2611150.1843 | 1260542.139 | 2611156.4668 | 1260533.2672
135 | 2611122.1974 | 1260491.3301 | 2611122.9852 | 1260491.7241 | 2611130.3245 | 1260495.8243
136 | 2611122.1974 | 1260491.3301 | 2611115.1809 | 1260487.8214
137 | 2611322.8509 | 1260473.7822 | 2611321.348 | 1260472.5861
138 | 2611317.6544 | 1260469.6467 | 2611321.348 | 1260472.5861
139 | 2611317.6544 | 1260469.6467 | 2611316.4344 | 1260468.6759
140 | 2611312.4596 | 1260465.5126 | 2611316.4344 | 1260468.6759
141 | 2611312.3718 | 1260465.4427 | 2611312.4596 | 1260465.5126
142 | 2611307.2649 | 1260461.3786 | 2611312.3718 | 1260465.4427
143 | 2611305.9834 | 1260460.3588 | 2611307.2649 | 1260461.3786
144 | 2611127.7683 | 1260428.1667 | 2611112.7984 | 1260416.5894
145 | 2611134.392 | 1260433.2894 | 2611127.7683 | 1260428.1667
146 | 2611138.3332 | 1260436.3374 | 2611134.392 | 1260433.2894
147 | 2611020.8612 | 1260440.655 | 2611026.1379 | 1260430.9116
148 | 2611020.8612 | 1260440.655 | 2611011.3149 | 1260460.3952 | 2611010.0105 | 1260463.1536
149 | 2611020.8612 | 1260440.655 | 2611046.5907 | 1260453.5215
150 | 2611115.1809 | 1260487.8214 | 2611097.7815 | 1260479.1205
151 | 2610991.396 | 1260502.5202 | 2611010.0105 | 1260463.1536
152 | 2611050.5305 | 1260455.4917 | 2611046.5907 | 1260453.5215
153 | 2611096.2117 | 1260478.3355 | 2611097.7815 | 1260479.1205
154 | 2611096.2117 | 1260478.3355 | 2611085.995 | 1260473.2264
155 | 2611085.995 | 1260473.2264 | 2611068.53 | 1260464.4927
156 | 2611026.9307 | 1260519.5613 | 2611009.313 | 1260509.6789
157 | 2610991.396 | 1260502.5202 | 2611002.4745 | 1260505.843 | 2611009.313 | 1260509.6789
158 | 2611068.53 | 1260464.4927 | 2611064.1673 | 1260462.311
159 | 2611050.5305 | 1260455.4917 | 2611064.1673 | 1260462.311

## bus_geodata
| x | y | coords
0 | 2611315.9858 | 1260428.3572
1 | 2611314.545 | 1260424.5938
2 | 2611317.9407 | 1260433.4633
3 | 2611309.3102 | 1260410.9205
4 | 2611316.7984 | 1260408.0032
5 | 2611301.95 | 1260413.7862
6 | 2611341.6015 | 1260398.3401
7 | 2611277.5695 | 1260423.2797
8 | 2611294.7787 | 1260396.8437
9 | 2611317.1919 | 1260537.8401
10 | 2611305.9133 | 1260528.2848
11 | 2611319.5693 | 1260539.8542
12 | 2611300.8809 | 1260524.0213
13 | 2611332.8132 | 1260551.4926
14 | 2611289.8803 | 1260514.7015
15 | 2611361.1486 | 1260552.2596
16 | 2611285.9803 | 1260511.3974
17 | 2611359.4689 | 1260516.4209
18 | 2611335.3788 | 1260512.6976
19 | 2611364.3136 | 1260477.2703
20 | 2611329.621 | 1260479.17
21 | 2611327.1011 | 1260477.1645
22 | 2611314.0573 | 1260335.448
23 | 2611308.3392 | 1260323.1703
24 | 2611336.4045 | 1260385.7874
25 | 2611300.6476 | 1260304.7191
26 | 2611294.0212 | 1260287.5745
27 | 2611285.7285 | 1260253.6527
28 | 2611267.2806 | 1260296.0257
29 | 2611290.5471 | 1260386.8463
30 | 2611261.4832 | 1260430.1206
31 | 2611271.7522 | 1260409.5418
32 | 2611249.5778 | 1260435.1782
33 | 2611265.5017 | 1260439.7107
34 | 2611259.5272 | 1260380.6722
35 | 2611265.5548 | 1260439.8375
36 | 2611268.1259 | 1260445.9736
37 | 2611268.1785 | 1260446.0992
38 | 2611240.267 | 1260439.1336
39 | 2611270.7488 | 1260452.2333
40 | 2611232.7454 | 1260442.3289
41 | 2611270.8036 | 1260452.3642
42 | 2611272.9532 | 1260457.4942
43 | 2611258.6876 | 1260378.6967
44 | 2611253.2973 | 1260366.0138
45 | 2611246.757 | 1260350.6249
46 | 2611220.1432 | 1260398.11
47 | 2611237.902 | 1260329.7896
48 | 2611217.9185 | 1260399.095
49 | 2611235.8671 | 1260325.0016
50 | 2611319.8703 | 1260604.9661
51 | 2611315.2366 | 1260603.1622
52 | 2611228.7303 | 1260308.2094
53 | 2611217.9045 | 1260276.2473
54 | 2611208.9517 | 1260317.7532
55 | 2611209.2742 | 1260243.6734
56 | 2611195.1735 | 1260324.4016
57 | 2611203.1311 | 1260220.4683
58 | 2611200.3881 | 1260334.6388
59 | 2611181.0499 | 1260223.8804
60 | 2611172.0328 | 1260225.2738
61 | 2611063.965 | 1260321.4044
62 | 2611075.1706 | 1260322.9204
63 | 2611100.5316 | 1260322.0153
64 | 2611062.2584 | 1260325.5876
65 | 2611102.2938 | 1260321.7995
66 | 2611121.0466 | 1260319.5037
67 | 2611124.2299 | 1260358.1025
68 | 2611121.2176 | 1260317.9968
69 | 2611140.5837 | 1260389.5745
70 | 2611101.2223 | 1260364.1453
71 | 2611123.2993 | 1260299.65
72 | 2611159.8176 | 1260279.6936
73 | 2611159.9794 | 1260288.2892
74 | 2611158.8742 | 1260276.1896
75 | 2611145.6177 | 1260293.7248
76 | 2611125.1499 | 1260282.2275
77 | 2611128.5538 | 1260250.1819
78 | 2611113.7099 | 1260251.0409
79 | 2611128.4424 | 1260237.253
80 | 2611164.9976 | 1260217.6725
81 | 2611128.0585 | 1260192.6975
82 | 2611105.8864 | 1260193.9357
83 | 2611090.4338 | 1260194.7986
84 | 2611109.175 | 1260251.3033
85 | 2611093.7245 | 1260252.1974
86 | 2611084.102 | 1260252.7543
87 | 2611084.102 | 1260252.7543
88 | 2611163.9546 | 1260411.9801
89 | 2611087.5324 | 1260366.8848
90 | 2611083.7365 | 1260367.3413
91 | 2611058.9485 | 1260370.3224
92 | 2611043.7849 | 1260398.3244
93 | 2611088.095 | 1260397.4843
94 | 2611041.1766 | 1260403.1409
95 | 2611102.5891 | 1260408.6937
96 | 2611204.4142 | 1260343.3485
97 | 2611213.2716 | 1260365.3686
98 | 2611170.109 | 1260409.0785
99 | 2611193.1569 | 1260434.9505
100 | 2611027.3577 | 1260428.6592
101 | 2611104.5074 | 1260410.1773
102 | 2611302.9072 | 1260598.2159
103 | 2611286.4474 | 1260591.6125
104 | 2611262.6908 | 1260579.6532
105 | 2611249.1245 | 1260567.0469
106 | 2611245.1674 | 1260563.3208
107 | 2611284.3129 | 1260509.9847
108 | 2611279.886 | 1260506.2342
109 | 2611275.0905 | 1260502.1715
110 | 2611202.0868 | 1260467.4899
111 | 2611198.2766 | 1260473.0219
112 | 2611213.9034 | 1260450.3333
113 | 2611178.2444 | 1260502.1068
114 | 2611235.6628 | 1260468.768
115 | 2611194.5718 | 1260435.9094
116 | 2611176.4686 | 1260504.6852
117 | 2611247.5373 | 1260478.8282
118 | 2611168.0075 | 1260516.97
119 | 2611259.291 | 1260488.786
120 | 2611180.4295 | 1260453.1711
121 | 2611261.317 | 1260490.5025
122 | 2611265.5118 | 1260494.0563
123 | 2611267.7034 | 1260495.9131
124 | 2611205.7414 | 1260537.5918
125 | 2611211.3025 | 1260540.4205
126 | 2611191.321 | 1260530.161
127 | 2611228.0521 | 1260550.1925
128 | 2611156.4668 | 1260533.2672
129 | 2611130.3245 | 1260495.8243
130 | 2611122.1974 | 1260491.3301
131 | 2611150.1843 | 1260542.139
132 | 2611270.3006 | 1260498.1134
133 | 2611322.8509 | 1260473.7822
134 | 2611321.348 | 1260472.5861
135 | 2611317.6544 | 1260469.6467
136 | 2611316.4344 | 1260468.6759
137 | 2611312.4596 | 1260465.5126
138 | 2611312.3718 | 1260465.4427
139 | 2611307.2649 | 1260461.3786
140 | 2611305.9834 | 1260460.3588
141 | 2611184.1309 | 1260470.1574
142 | 2611170.566 | 1260394.4584
143 | 2611112.7984 | 1260416.5894
144 | 2611127.7683 | 1260428.1667
145 | 2611134.392 | 1260433.2894
146 | 2611138.3332 | 1260436.3374
147 | 2611026.1379 | 1260430.9116
148 | 2611020.8612 | 1260440.655
149 | 2611115.1809 | 1260487.8214
150 | 2611010.0105 | 1260463.1536
151 | 2611046.5907 | 1260453.5215
152 | 2611097.7815 | 1260479.1205
153 | 2611096.2117 | 1260478.3355
154 | 2611085.995 | 1260473.2264
155 | 2611026.9307 | 1260519.5613
156 | 2611009.313 | 1260509.6789
157 | 2611068.53 | 1260464.4927
158 | 2611064.1673 | 1260462.311
159 | 2611050.5305 | 1260455.4917
160 | 2610991.396 | 1260502.5202
161 | 2611259.5272 | 1260380.6722

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1