## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2773-4_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2773-4_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2773-4_0_6_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_2773-4_0_6_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_2773-4_0_6_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_2773-4_0_6_node_118 | 0.4 | n |  | TRUE
6 | bus_LV_2773-4_0_6_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_2773-4_0_6_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_2773-4_0_6_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_2773-4_0_6_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_2773-4_0_6_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_2773-4_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2773-4_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2773-4_0_6_node_59 | 0.4 | n |  | TRUE
14 | bus_LV_2773-4_0_6_node_56 | 0.4 | n |  | TRUE
15 | bus_LV_2773-4_0_6_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_2773-4_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2773-4_0_6_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_2773-4_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2773-4_0_6_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_2773-4_0_6_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2773-4_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2773-4_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2773-4_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2773-4_0_6_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2773-4_0_6_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_2773-4_0_6_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2773-4_0_6_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_2773-4_0_6_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_2773-4_0_6_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_2773-4_0_6_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_2773-4_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_2773-4_0_6_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2773-4_0_6_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_2773-4_0_6_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_2773-4_0_6_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_2773-4_0_6_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_2773-4_0_6_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_2773-4_0_6_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_2773-4_0_6_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_2773-4_0_6_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_2773-4_0_6_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_2773-4_0_6_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_2773-4_0_6_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_2773-4_0_6_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_2773-4_0_6_node_84 | 0.4 | n |  | TRUE
46 | bus_LV_2773-4_0_6_node_85 | 0.4 | n |  | TRUE
47 | bus_LV_2773-4_0_6_node_86 | 0.4 | n |  | TRUE
48 | bus_LV_2773-4_0_6_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_2773-4_0_6_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_2773-4_0_6_node_68 | 0.4 | n |  | TRUE
51 | bus_LV_2773-4_0_6_node_116 | 0.4 | n |  | TRUE
52 | bus_LV_2773-4_0_6_node_115 | 0.4 | n |  | TRUE
53 | bus_LV_2773-4_0_6_node_93 | 0.4 | n |  | TRUE
54 | bus_LV_2773-4_0_6_node_114 | 0.4 | n |  | TRUE
55 | bus_LV_2773-4_0_6_node_112 | 0.4 | n |  | TRUE
56 | bus_LV_2773-4_0_6_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_2773-4_0_6_node_72 | 0.4 | n |  | TRUE
58 | bus_LV_2773-4_0_6_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_2773-4_0_6_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_2773-4_0_6_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_2773-4_0_6_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_2773-4_0_6_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_2773-4_0_6_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_2773-4_0_6_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_2773-4_0_6_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_2773-4_0_6_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_2773-4_0_6_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_2773-4_0_6_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_2773-4_0_6_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_2773-4_0_6_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_2773-4_0_6_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_2773-4_0_6_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_2773-4_0_6_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_2773-4_0_6_node_100 | 0.4 | n |  | TRUE
75 | bus_LV_2773-4_0_6_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_2773-4_0_6_node_106 | 0.4 | n |  | TRUE
77 | bus_LV_2773-4_0_6_node_103 | 0.4 | n |  | TRUE
78 | bus_LV_2773-4_0_6_node_109 | 0.4 | n |  | TRUE
79 | bus_LV_2773-4_0_6_node_108 | 0.4 | n |  | TRUE
80 | bus_LV_2773-4_0_6_node_107 | 0.4 | n |  | TRUE
81 | bus_LV_2773-4_0_6_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_2773-4_0_6_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_2773-4_0_6_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_2773-4_0_6_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_2773-4_0_6_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_2773-4_0_6_node_97 | 0.4 | n |  | TRUE
87 | bus_LV_2773-4_0_6_node_101 | 0.4 | n |  | TRUE
88 | bus_LV_2773-4_0_6_node_70 | 0.4 | n |  | TRUE
89 | bus_LV_2773-4_0_6_node_71 | 0.4 | n |  | TRUE
90 | bus_LV_2773-4_0_6_node_73 | 0.4 | n |  | TRUE
91 | bus_LV_2773-4_0_6_node_113 | 0.4 | n |  | TRUE
92 | bus_LV_2773-4_0_6_node_111 | 0.4 | n |  | TRUE
93 | bus_LV_2773-4_0_6_node_83 | 0.4 | n |  | TRUE
94 | bus_LV_2773-4_0_6_node_76 | 0.4 | n |  | TRUE
95 | bus_LV_2773-4_0_6_node_78 | 0.4 | n |  | TRUE
96 | bus_LV_2773-4_0_6_node_87 | 0.4 | n |  | TRUE
97 | bus_LV_2773-4_0_6_node_110 | 0.4 | n |  | TRUE
98 | bus_LV_2773-4_0_6_node_81 | 0.4 | n |  | TRUE
99 | bus_LV_2773-4_0_6_node_95 | 0.4 | n |  | TRUE
100 | bus_LV_2773-4_0_6_node_88 | 0.4 | n |  | TRUE
101 | bus_LV_2773-4_0_6_node_96 | 0.4 | n |  | TRUE
102 | bus_LV_2773-4_0_6_node_98 | 0.4 | n |  | TRUE
103 | bus_LV_2773-4_0_6_node_104 | 0.4 | n |  | TRUE
104 | bus_LV_2773-4_0_6_node_102 | 0.4 | n |  | TRUE
105 | bus_LV_2773-4_0_6_node_94 | 0.4 | n |  | TRUE
106 | bus_LV_2773-4_0_6_node_99 | 0.4 | n |  | TRUE
107 | bus_LV_2773-4_0_6_node_91 | 0.4 | n |  | TRUE
108 | bus_LV_2773-4_0_6_node_92 | 0.4 | n |  | TRUE
109 | bus_LV_2773-4_0_6_node_90 | 0.4 | n |  | TRUE
110 | bus_LV_2773-4_0_6_node_89 | 0.4 | n |  | TRUE
111 | bus_LV_2773-4_0_6_node_117 | 0.4 | n |  | TRUE
112 | bus_MV_573_0_node_93 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2773-4_0_6_load_0 | 0 | 0.011727 | 0.002939 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2773-4_0_6_load_4 | 2 | 0.00079754 | 0.00019988 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2773-4_0_6_load_118 | 5 | 0.0011625 | 0.00029135 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2773-4_0_6_load_23 | 7 | 0.0093516 | 0.0023437 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2773-4_0_6_load_33 | 9 | 0.066317 | 0.016621 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2773-4_0_6_load_7 | 11 | 0.0013092 | 0.00032811 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2773-4_0_6_load_8 | 12 | 0.0007903 | 0.00019807 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2773-4_0_6_load_58 | 15 | 0.0013089 | 0.00032804 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2773-4_0_6_load_9 | 16 | 0.0013391 | 0.00033561 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2773-4_0_6_load_52 | 17 | 0.00079821 | 0.00020005 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2773-4_0_6_load_10 | 18 | 0.0018383 | 0.00046072 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2773-4_0_6_load_53 | 19 | 0.00105 | 0.00026316 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2773-4_0_6_load_11 | 20 | 0.077881 | 0.019519 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2773-4_0_6_load_15 | 22 | 0.0080074 | 0.0020069 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2773-4_0_6_load_16 | 23 | 0.0044351 | 0.0011115 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2773-4_0_6_load_17 | 24 | 0.0063906 | 0.0016016 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2773-4_0_6_load_30 | 25 | 0.007627 | 0.0019115 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2773-4_0_6_load_24 | 27 | 0.0057921 | 0.0014516 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2773-4_0_6_load_28 | 28 | 0.0080104 | 0.0020076 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2773-4_0_6_load_22 | 29 | 0.01087 | 0.0027243 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2773-4_0_6_load_18 | 31 | 0.0044351 | 0.0011115 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2773-4_0_6_load_41 | 33 | 0.0028698 | 0.00071923 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2773-4_0_6_load_63 | 34 | 0.0066991 | 0.001679 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2773-4_0_6_load_57 | 35 | 0.0034255 | 0.00085851 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2773-4_0_6_load_39 | 36 | 0.0020514 | 0.00051414 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2773-4_0_6_load_25 | 37 | 0.0057916 | 0.0014515 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2773-4_0_6_load_31 | 38 | 0.012663 | 0.0031738 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2773-4_0_6_load_32 | 39 | 0.0024628 | 0.00061722 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2773-4_0_6_load_26 | 40 | 0.0057916 | 0.0014515 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2773-4_0_6_load_27 | 41 | 0.0036306 | 0.00090992 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2773-4_0_6_load_29 | 42 | 0.001792 | 0.00044911 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2773-4_0_6_load_60 | 43 | 0.0059565 | 0.0014928 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2773-4_0_6_load_61 | 44 | 0.0021349 | 0.00053504 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2773-4_0_6_load_85 | 46 | 0.0022717 | 0.00056933 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2773-4_0_6_load_86 | 47 | 0.0029725 | 0.00074498 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2773-4_0_6_load_35 | 48 | 0.0026955 | 0.00067555 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2773-4_0_6_load_36 | 49 | 0.0022914 | 0.00057427 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2773-4_0_6_load_68 | 50 | 0.021746 | 0.0054501 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2773-4_0_6_load_116 | 51 | 0.0024438 | 0.00061248 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2773-4_0_6_load_115 | 52 | 0.002389 | 0.00059873 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2773-4_0_6_load_114 | 54 | 0.0051231 | 0.001284 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2773-4_0_6_load_112 | 55 | 0.013701 | 0.0034338 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2773-4_0_6_load_69 | 56 | 0.0048694 | 0.0012204 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2773-4_0_6_load_72 | 57 | 0.0056887 | 0.0014257 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2773-4_0_6_load_40 | 58 | 0.0020579 | 0.00051577 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2773-4_0_6_load_42 | 59 | 0.0020824 | 0.0005219 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2773-4_0_6_load_46 | 60 | 0.002066 | 0.00051778 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2773-4_0_6_load_44 | 61 | 0.0020849 | 0.00052253 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2773-4_0_6_load_43 | 62 | 0.002078 | 0.00052079 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2773-4_0_6_load_45 | 63 | 0.0031144 | 0.00078054 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2773-4_0_6_load_47 | 64 | 0.002094 | 0.00052481 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2773-4_0_6_load_48 | 65 | 0.0020789 | 0.00052103 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2773-4_0_6_load_49 | 66 | 0.0014451 | 0.00036217 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2773-4_0_6_load_50 | 67 | 0.00078785 | 0.00019745 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2773-4_0_6_load_51 | 68 | 0.0012355 | 0.00030965 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2773-4_0_6_load_54 | 69 | 0.0022303 | 0.00055896 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2773-4_0_6_load_64 | 70 | 0.0063919 | 0.001602 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2773-4_0_6_load_74 | 73 | 0.00059965 | 0.00015029 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2773-4_0_6_load_106 | 76 | 0.0021055 | 0.0005277 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2773-4_0_6_load_103 | 77 | 0.0023297 | 0.00058389 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2773-4_0_6_load_109 | 78 | 0.0065612 | 0.0016444 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2773-4_0_6_load_108 | 79 | 0.0029834 | 0.00074772 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2773-4_0_6_load_107 | 80 | 0.0020078 | 0.00050321 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2773-4_0_6_load_79 | 82 | 0.019204 | 0.0048131 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2773-4_0_6_load_80 | 83 | 0.008852 | 0.0022185 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2773-4_0_6_load_75 | 85 | 0.0040308 | 0.0010102 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2773-4_0_6_load_97 | 86 | 0.025365 | 0.006357 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2773-4_0_6_load_101 | 87 | 0.055014 | 0.013788 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2773-4_0_6_load_70 | 88 | 0.007775 | 0.0019486 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2773-4_0_6_load_71 | 89 | 0.0053652 | 0.0013447 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2773-4_0_6_load_73 | 90 | 0.0068006 | 0.0017044 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2773-4_0_6_load_113 | 91 | 0.0077397 | 0.0019398 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2773-4_0_6_load_83 | 93 | 0.00052234 | 0.00013091 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2773-4_0_6_load_76 | 94 | 0.0017492 | 0.0004384 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2773-4_0_6_load_78 | 95 | 0.0062633 | 0.0015697 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2773-4_0_6_load_87 | 96 | 0.0029216 | 0.00073223 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2773-4_0_6_load_110 | 97 | 0.0076739 | 0.0019233 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2773-4_0_6_load_88 | 100 | 0.0074528 | 0.0018678 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2773-4_0_6_load_96 | 101 | 0.0067695 | 0.0016966 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2773-4_0_6_load_104 | 103 | 0.0029431 | 0.0007376 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2773-4_0_6_load_102 | 104 | 0.004529 | 0.0011351 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2773-4_0_6_load_99 | 106 | 0.0067712 | 0.001697 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2773-4_0_6_load_89 | 110 | 0.0064065 | 0.0016056 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2773-4_0_6_load_117 | 111 | 0.0012176 | 0.00030516 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2773-4_0_6_line_0 |  | 0 | 1 | 0.023932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2773-4_0_6_line_1 |  | 1 | 2 | 0.023142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2773-4_0_6_line_2 |  | 1 | 3 | 0.060792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2773-4_0_6_line_3 |  | 2 | 4 | 0.0014683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2773-4_0_6_line_4 |  | 3 | 5 | 0.10039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2773-4_0_6_line_5 |  | 4 | 11 | 0.013237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2773-4_0_6_line_6 |  | 4 | 12 | 0.0047438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2773-4_0_6_line_7 |  | 6 | 7 | 0.029773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_2773-4_0_6_line_8 |  | 6 | 8 | 0.009083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2773-4_0_6_line_9 |  | 7 | 27 | 0.031483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_2773-4_0_6_line_10 |  | 8 | 22 | 0.016372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2773-4_0_6_line_11 |  | 8 | 20 | 0.024531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2773-4_0_6_line_12 |  | 9 | 10 | 0.064244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2773-4_0_6_line_13 |  | 10 | 48 | 0.014951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2773-4_0_6_line_14 |  | 10 | 49 | 0.025004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2773-4_0_6_line_15 |  | 11 | 16 | 0.019982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2773-4_0_6_line_16 |  | 12 | 17 | 0.0061948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2773-4_0_6_line_17 |  | 13 | 14 | 0.036983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2773-4_0_6_line_18 |  | 13 | 15 | 0.013459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2773-4_0_6_line_19 |  | 14 | 35 | 0.025894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2773-4_0_6_line_20 |  | 16 | 18 | 0.0093892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2773-4_0_6_line_21 |  | 17 | 19 | 0.006337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2773-4_0_6_line_22 |  | 19 | 68 | 0.023133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2773-4_0_6_line_23 |  | 20 | 21 | 0.029567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2773-4_0_6_line_24 |  | 21 | 23 | 0.022274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2773-4_0_6_line_25 |  | 21 | 24 | 0.030303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2773-4_0_6_line_26 |  | 22 | 25 | 0.0076716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2773-4_0_6_line_27 |  | 23 | 26 | 0.0026077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2773-4_0_6_line_28 |  | 25 | 28 | 0.011961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2773-4_0_6_line_29 |  | 26 | 29 | 0.028904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2773-4_0_6_line_30 |  | 26 | 30 | 0.019342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2773-4_0_6_line_31 |  | 27 | 37 | 0.0031494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2773-4_0_6_line_32 |  | 28 | 40 | 0.0014741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2773-4_0_6_line_33 |  | 29 | 34 | 0.032918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2773-4_0_6_line_34 |  | 30 | 32 | 0.042278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2773-4_0_6_line_35 |  | 30 | 31 | 0.047462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2773-4_0_6_line_36 |  | 32 | 33 | 0.016522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2773-4_0_6_line_37 |  | 33 | 36 | 0.0083653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2773-4_0_6_line_38 |  | 35 | 69 | 0.0080734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2773-4_0_6_line_39 |  | 36 | 58 | 0.010995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2773-4_0_6_line_40 |  | 37 | 38 | 0.03435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_2773-4_0_6_line_41 |  | 38 | 39 | 0.026764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_2773-4_0_6_line_42 |  | 39 | 45 | 0.017481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_2773-4_0_6_line_43 |  | 40 | 41 | 0.0041951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2773-4_0_6_line_44 |  | 41 | 42 | 0.027864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2773-4_0_6_line_45 |  | 42 | 43 | 0.018756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2773-4_0_6_line_46 |  | 43 | 44 | 0.0010852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2773-4_0_6_line_47 |  | 44 | 72 | 0.01816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2773-4_0_6_line_48 |  | 45 | 46 | 0.0076615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_2773-4_0_6_line_49 |  | 45 | 47 | 0.0063616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2773-4_0_6_line_50 |  | 46 | 100 | 0.015706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2773-4_0_6_line_51 |  | 47 | 111 | 0.02594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2773-4_0_6_line_52 |  | 48 | 50 | 0.031762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2773-4_0_6_line_53 |  | 49 | 51 | 0.014485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2773-4_0_6_line_54 |  | 51 | 52 | 0.023381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2773-4_0_6_line_55 |  | 52 | 111 | 0.018881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2773-4_0_6_line_56 |  | 53 | 54 | 0.039547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2773-4_0_6_line_57 |  | 53 | 55 | 0.011259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2773-4_0_6_line_58 |  | 55 | 92 | 0.047893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2773-4_0_6_line_59 |  | 56 | 57 | 0.039979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2773-4_0_6_line_60 |  | 57 | 88 | 0.0075001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2773-4_0_6_line_61 |  | 58 | 59 | 0.011001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2773-4_0_6_line_62 |  | 59 | 60 | 0.011001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2773-4_0_6_line_63 |  | 60 | 61 | 0.010998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2773-4_0_6_line_64 |  | 61 | 62 | 0.01103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2773-4_0_6_line_65 |  | 62 | 63 | 0.00074611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2773-4_0_6_line_66 |  | 63 | 64 | 0.01026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2773-4_0_6_line_67 |  | 64 | 65 | 0.011004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2773-4_0_6_line_68 |  | 65 | 66 | 0.010987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2773-4_0_6_line_69 |  | 66 | 67 | 0.0087087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2773-4_0_6_line_70 |  | 67 | 68 | 0.011697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2773-4_0_6_line_71 |  | 68 | 69 | 0.022233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2773-4_0_6_line_72 |  | 70 | 71 | 0.030598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2773-4_0_6_line_73 |  | 71 | 75 | 0.022294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2773-4_0_6_line_74 |  | 71 | 72 | 0.007581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2773-4_0_6_line_75 |  | 73 | 74 | 0.0047164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2773-4_0_6_line_76 |  | 74 | 93 | 0.021977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2773-4_0_6_line_77 |  | 75 | 76 | 0.038148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2773-4_0_6_line_78 |  | 75 | 77 | 0.030123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2773-4_0_6_line_79 |  | 76 | 80 | 0.020651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2773-4_0_6_line_80 |  | 77 | 87 | 0.0046348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2773-4_0_6_line_81 |  | 78 | 79 | 0.020254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2773-4_0_6_line_82 |  | 79 | 80 | 0.017502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2773-4_0_6_line_83 |  | 81 | 82 | 0.025735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2773-4_0_6_line_84 |  | 81 | 83 | 0.033764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2773-4_0_6_line_85 |  | 81 | 84 | 0.10849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2773-4_0_6_line_86 |  | 81 | 85 | 0.012302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2773-4_0_6_line_87 |  | 82 | 96 | 0.022228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_2773-4_0_6_line_88 |  | 83 | 97 | 0.020756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2773-4_0_6_line_89 |  | 84 | 86 | 0.032687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2773-4_0_6_line_90 |  | 85 | 94 | 0.021714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2773-4_0_6_line_91 |  | 86 | 98 | 0.022004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2773-4_0_6_line_92 |  | 87 | 104 | 0.025647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2773-4_0_6_line_93 |  | 88 | 89 | 0.033102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2773-4_0_6_line_94 |  | 89 | 90 | 0.018667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2773-4_0_6_line_95 |  | 90 | 91 | 0.0073235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2773-4_0_6_line_96 |  | 91 | 92 | 0.019614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2773-4_0_6_line_97 |  | 92 | 97 | 0.015219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2773-4_0_6_line_98 |  | 93 | 95 | 0.026271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2773-4_0_6_line_99 |  | 94 | 95 | 0.031302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2773-4_0_6_line_100 |  | 96 | 100 | 0.0079618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_2773-4_0_6_line_101 |  | 98 | 99 | 0.011678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2773-4_0_6_line_102 |  | 99 | 101 | 0.055734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2773-4_0_6_line_103 |  | 101 | 107 | 0.0082163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2773-4_0_6_line_104 |  | 102 | 103 | 0.019359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2773-4_0_6_line_105 |  | 102 | 104 | 0.0071999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2773-4_0_6_line_106 |  | 105 | 106 | 0.018155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2773-4_0_6_line_107 |  | 105 | 107 | 0.033743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2773-4_0_6_line_108 |  | 106 | 108 | 0.024085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2773-4_0_6_line_109 |  | 108 | 109 | 0.036316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2773-4_0_6_line_110 |  | 109 | 110 | 0.020065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2773-4_0_6_trafo_24 | 0.63 MVA 20/0.4 kV | 112 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2611671.0595 | 1260957.6904 | 2611661.9844 | 1260935.5463
1 | 2611671.0595 | 1260957.6904 | 2611679.8457 | 1260979.0992
2 | 2611671.0595 | 1260957.6904 | 2611613.4691 | 1260977.6579
3 | 2611680.4032 | 1260980.4575 | 2611679.8457 | 1260979.0992
4 | 2611613.4691 | 1260977.6579 | 2611634.5496 | 1261036.428 | 2611638.61 | 1261040.7055 | 2611644.9713 | 1261043.5421 | 2611662.4638 | 1261037.5278 | 2611660.5128 | 1261031.2273
5 | 2611680.4032 | 1260980.4575 | 2611692.9118 | 1260976.1264
6 | 2611680.4032 | 1260980.4575 | 2611682.2026 | 1260984.8468
7 | 2611753.2763 | 1260841.451 | 2611741.027 | 1260814.3143
8 | 2611757.4573 | 1260849.5203 | 2611753.2763 | 1260841.451
9 | 2611741.027 | 1260814.3143 | 2611728.0742 | 1260785.6189
10 | 2611757.4573 | 1260849.5203 | 2611773.0219 | 1260844.4408
11 | 2611757.4573 | 1260849.5203 | 2611768.5528 | 1260871.3987
12 | 2611586.2278 | 1260747.137 | 2611610.1722 | 1260806.7523
13 | 2611586.2278 | 1260747.137 | 2611580.2924 | 1260733.4143
14 | 2611586.2278 | 1260747.137 | 2611609.9522 | 1260739.2394
15 | 2611692.9118 | 1260976.1264 | 2611711.7943 | 1260969.5883
16 | 2611682.2026 | 1260984.8468 | 2611684.5524 | 1260990.5787
17 | 2611717.0498 | 1261069.846 | 2611682.0345 | 1261082.0521
18 | 2611682.0345 | 1261082.0521 | 2611677.5986 | 1261069.3445
19 | 2611717.0498 | 1261069.846 | 2611707.2273 | 1261045.8876
20 | 2611720.6667 | 1260966.5161 | 2611711.7943 | 1260969.5883
21 | 2611684.5524 | 1260990.5787 | 2611686.9561 | 1260996.4421
22 | 2611695.7308 | 1261017.8464 | 2611686.9561 | 1260996.4421
23 | 2611781.9258 | 1260897.7682 | 2611768.5528 | 1260871.3987
24 | 2611781.9258 | 1260897.7682 | 2611791.9976 | 1260917.6352
25 | 2611781.9258 | 1260897.7682 | 2611810.6356 | 1260888.0725
26 | 2611773.0219 | 1260844.4408 | 2611780.3149 | 1260842.0607
27 | 2611793.1767 | 1260919.9611 | 2611791.9976 | 1260917.6352
28 | 2611780.3149 | 1260842.0607 | 2611791.6858 | 1260838.3498
29 | 2611793.1767 | 1260919.9611 | 2611820.5922 | 1260910.8041
30 | 2611801.4002 | 1260937.4782 | 2611793.1767 | 1260919.9611
31 | 2611726.7785 | 1260782.7484 | 2611728.0742 | 1260785.6189
32 | 2611791.6858 | 1260838.3498 | 2611793.0871 | 1260837.8925
33 | 2611851.8149 | 1260900.3755 | 2611820.5922 | 1260910.8041
34 | 2611801.4002 | 1260937.4782 | 2611821.8139 | 1260974.5329
35 | 2611801.4002 | 1260937.4782 | 2611756.547 | 1260952.9967
36 | 2611821.8139 | 1260974.5329 | 2611806.1879 | 1260979.9009
37 | 2611798.2764 | 1260982.6187 | 2611806.1879 | 1260979.9009
38 | 2611704.1647 | 1261038.4177 | 2611707.2273 | 1261045.8876
39 | 2611798.2764 | 1260982.6187 | 2611787.8778 | 1260986.191
40 | 2611712.6463 | 1260751.4403 | 2611726.7785 | 1260782.7484
41 | 2611701.635 | 1260727.0461 | 2611712.6463 | 1260751.4403
42 | 2611694.443 | 1260711.1132 | 2611701.635 | 1260727.0461
43 | 2611797.0751 | 1260836.591 | 2611793.0871 | 1260837.8925
44 | 2611797.0751 | 1260836.591 | 2611823.5646 | 1260827.9461
45 | 2611841.3955 | 1260822.127 | 2611823.5646 | 1260827.9461
46 | 2611841.3955 | 1260822.127 | 2611842.4271 | 1260821.7903
47 | 2611859.6912 | 1260816.1562 | 2611842.4271 | 1260821.7903
48 | 2611694.443 | 1260711.1132 | 2611701.7141 | 1260708.6985
49 | 2611694.443 | 1260711.1132 | 2611688.407 | 1260713.1225
50 | 2611716.6197 | 1260703.7483 | 2611701.7141 | 1260708.6985
51 | 2611688.407 | 1260713.1225 | 2611663.7949 | 1260721.3157
52 | 2611567.6836 | 1260704.2623 | 2611580.2924 | 1260733.4143
53 | 2611623.696 | 1260734.6642 | 2611609.9522 | 1260739.2394
54 | 2611645.8799 | 1260727.2794 | 2611623.696 | 1260734.6642
55 | 2611645.8799 | 1260727.2794 | 2611663.7949 | 1260721.3157
56 | 2611694.2758 | 1260581.6027 | 2611656.3639 | 1260592.8555
57 | 2611694.2758 | 1260581.6027 | 2611700.805 | 1260590.7747
58 | 2611728.5796 | 1260629.7919 | 2611700.805 | 1260590.7747
59 | 2611608.0815 | 1260667.2495 | 2611646.2583 | 1260655.382
60 | 2611653.4203 | 1260653.1556 | 2611646.2583 | 1260655.382
61 | 2611787.8778 | 1260986.191 | 2611777.4736 | 1260989.7652
62 | 2611777.4736 | 1260989.7652 | 2611767.0692 | 1260993.3394
63 | 2611767.0692 | 1260993.3394 | 2611756.6676 | 1260996.9127
64 | 2611746.2363 | 1261000.4962 | 2611756.6676 | 1260996.9127
65 | 2611745.5306 | 1261000.7386 | 2611746.2363 | 1261000.4962
66 | 2611735.8272 | 1261004.072 | 2611745.5306 | 1261000.7386
67 | 2611735.8272 | 1261004.072 | 2611725.4199 | 1261007.6473
68 | 2611725.4199 | 1261007.6473 | 2611715.0291 | 1261011.2169
69 | 2611715.0291 | 1261011.2169 | 2611706.7929 | 1261014.0463
70 | 2611695.7308 | 1261017.8464 | 2611706.7929 | 1261014.0463
71 | 2611695.7308 | 1261017.8464 | 2611704.1647 | 1261038.4177
72 | 2611864.0944 | 1260822.3358 | 2611865.3342 | 1260824.0728 | 2611881.8498 | 1260847.2551
73 | 2611864.0944 | 1260822.3358 | 2611866.6749 | 1260820.5731 | 2611867.8243 | 1260822.2877 | 2611869.8086 | 1260821.013 | 2611872.0645 | 1260819.5387 | 2611874.494 | 1260817.9425 | 2611876.0643 | 1260820.1805 | 2611880.805 | 1260815.8648
74 | 2611864.0944 | 1260822.3358 | 2611859.6912 | 1260816.1562
75 | 2611834.4691 | 1260779.4032 | 2611837.1378 | 1260783.2919
76 | 2611834.4691 | 1260779.4032 | 2611821.9337 | 1260761.3514
77 | 2611880.805 | 1260815.8648 | 2611902.4794 | 1260847.2571
78 | 2611880.805 | 1260815.8648 | 2611900.998 | 1260812.5473 | 2611910.5287 | 1260810.9786
79 | 2611902.4794 | 1260847.2571 | 2611914.2128 | 1260864.2511
80 | 2611915.102 | 1260810.2258 | 2611910.5287 | 1260810.9786
81 | 2611924.157 | 1260878.6538 | 2611935.6648 | 1260895.3212
82 | 2611914.2128 | 1260864.2511 | 2611924.157 | 1260878.6538
83 | 2611769.6937 | 1260686.1224 | 2611745.2704 | 1260694.2334
84 | 2611769.6937 | 1260686.1224 | 2611749.7882 | 1260658.8498
85 | 2611742.6438 | 1260620.4688 | 2611744.3273 | 1260622.7292 | 2611761.8728 | 1260647.7253 | 2611769.2296 | 1260642.7031 | 2611779.9741 | 1260658.3239 | 2611756.5077 | 1260674.3661 | 2611763.7283 | 1260684.8653 | 2611769.6937 | 1260686.1224
86 | 2611769.6937 | 1260686.1224 | 2611776.7103 | 1260696.2267
87 | 2611724.1757 | 1260701.239 | 2611745.2704 | 1260694.2334
88 | 2611749.7882 | 1260658.8498 | 2611737.5518 | 1260642.0847
89 | 2611742.6438 | 1260620.4688 | 2611774.5928 | 1260613.5612
90 | 2611776.7103 | 1260696.2267 | 2611789.0957 | 1260714.0626
91 | 2611796.0996 | 1260608.9112 | 2611774.5928 | 1260613.5612
92 | 2611915.102 | 1260810.2258 | 2611940.408 | 1260806.0603
93 | 2611653.4203 | 1260653.1556 | 2611685.0308 | 1260643.3293
94 | 2611702.856 | 1260637.7882 | 2611685.0308 | 1260643.3293
95 | 2611702.856 | 1260637.7882 | 2611709.8493 | 1260635.6143
96 | 2611728.5796 | 1260629.7919 | 2611709.8493 | 1260635.6143
97 | 2611728.5796 | 1260629.7919 | 2611737.5518 | 1260642.0847
98 | 2611821.9337 | 1260761.3514 | 2611806.9495 | 1260739.7732
99 | 2611789.0957 | 1260714.0626 | 2611806.9495 | 1260739.7732
100 | 2611724.1757 | 1260701.239 | 2611716.6197 | 1260703.7483
101 | 2611793.8919 | 1260597.4435 | 2611796.0996 | 1260608.9112
102 | 2611793.8919 | 1260597.4435 | 2611780.8605 | 1260595.0938 | 2611758.3118 | 1260600.3973 | 2611753.0662 | 1260581.7946
103 | 2611750.8364 | 1260573.8867 | 2611753.0662 | 1260581.7946
104 | 2611947.5123 | 1260804.8909 | 2611966.6149 | 1260801.7476
105 | 2611947.5123 | 1260804.8909 | 2611940.408 | 1260806.0603
106 | 2611774.874 | 1260554.9881 | 2611767.1034 | 1260551.9484 | 2611764.4809 | 1260542.4947
107 | 2611750.8364 | 1260573.8867 | 2611764.7383 | 1260570.4786 | 2611775.1753 | 1260558.8135 | 2611774.874 | 1260554.9881
108 | 2611758.0427 | 1260519.2861 | 2611764.4809 | 1260542.4947
109 | 2611723.7116 | 1260530.5482 | 2611729.3102 | 1260526.879 | 2611758.0427 | 1260519.2861
110 | 2611723.7116 | 1260530.5482 | 2611729.2781 | 1260549.8252

## bus_geodata
| x | y | coords
0 | 2611661.9844 | 1260935.5463
1 | 2611671.0595 | 1260957.6904
2 | 2611679.8457 | 1260979.0992
3 | 2611613.4691 | 1260977.6579
4 | 2611680.4032 | 1260980.4575
5 | 2611660.5128 | 1261031.2273
6 | 2611753.2763 | 1260841.451
7 | 2611741.027 | 1260814.3143
8 | 2611757.4573 | 1260849.5203
9 | 2611610.1722 | 1260806.7523
10 | 2611586.2278 | 1260747.137
11 | 2611692.9118 | 1260976.1264
12 | 2611682.2026 | 1260984.8468
13 | 2611682.0345 | 1261082.0521
14 | 2611717.0498 | 1261069.846
15 | 2611677.5986 | 1261069.3445
16 | 2611711.7943 | 1260969.5883
17 | 2611684.5524 | 1260990.5787
18 | 2611720.6667 | 1260966.5161
19 | 2611686.9561 | 1260996.4421
20 | 2611768.5528 | 1260871.3987
21 | 2611781.9258 | 1260897.7682
22 | 2611773.0219 | 1260844.4408
23 | 2611791.9976 | 1260917.6352
24 | 2611810.6356 | 1260888.0725
25 | 2611780.3149 | 1260842.0607
26 | 2611793.1767 | 1260919.9611
27 | 2611728.0742 | 1260785.6189
28 | 2611791.6858 | 1260838.3498
29 | 2611820.5922 | 1260910.8041
30 | 2611801.4002 | 1260937.4782
31 | 2611756.547 | 1260952.9967
32 | 2611821.8139 | 1260974.5329
33 | 2611806.1879 | 1260979.9009
34 | 2611851.8149 | 1260900.3755
35 | 2611707.2273 | 1261045.8876
36 | 2611798.2764 | 1260982.6187
37 | 2611726.7785 | 1260782.7484
38 | 2611712.6463 | 1260751.4403
39 | 2611701.635 | 1260727.0461
40 | 2611793.0871 | 1260837.8925
41 | 2611797.0751 | 1260836.591
42 | 2611823.5646 | 1260827.9461
43 | 2611841.3955 | 1260822.127
44 | 2611842.4271 | 1260821.7903
45 | 2611694.443 | 1260711.1132
46 | 2611701.7141 | 1260708.6985
47 | 2611688.407 | 1260713.1225
48 | 2611580.2924 | 1260733.4143
49 | 2611609.9522 | 1260739.2394
50 | 2611567.6836 | 1260704.2623
51 | 2611623.696 | 1260734.6642
52 | 2611645.8799 | 1260727.2794
53 | 2611694.2758 | 1260581.6027
54 | 2611656.3639 | 1260592.8555
55 | 2611700.805 | 1260590.7747
56 | 2611608.0815 | 1260667.2495
57 | 2611646.2583 | 1260655.382
58 | 2611787.8778 | 1260986.191
59 | 2611777.4736 | 1260989.7652
60 | 2611767.0692 | 1260993.3394
61 | 2611756.6676 | 1260996.9127
62 | 2611746.2363 | 1261000.4962
63 | 2611745.5306 | 1261000.7386
64 | 2611735.8272 | 1261004.072
65 | 2611725.4199 | 1261007.6473
66 | 2611715.0291 | 1261011.2169
67 | 2611706.7929 | 1261014.0463
68 | 2611695.7308 | 1261017.8464
69 | 2611704.1647 | 1261038.4177
70 | 2611881.8498 | 1260847.2551
71 | 2611864.0944 | 1260822.3358
72 | 2611859.6912 | 1260816.1562
73 | 2611837.1378 | 1260783.2919
74 | 2611834.4691 | 1260779.4032
75 | 2611880.805 | 1260815.8648
76 | 2611902.4794 | 1260847.2571
77 | 2611910.5287 | 1260810.9786
78 | 2611935.6648 | 1260895.3212
79 | 2611924.157 | 1260878.6538
80 | 2611914.2128 | 1260864.2511
81 | 2611769.6937 | 1260686.1224
82 | 2611745.2704 | 1260694.2334
83 | 2611749.7882 | 1260658.8498
84 | 2611742.6438 | 1260620.4688
85 | 2611776.7103 | 1260696.2267
86 | 2611774.5928 | 1260613.5612
87 | 2611915.102 | 1260810.2258
88 | 2611653.4203 | 1260653.1556
89 | 2611685.0308 | 1260643.3293
90 | 2611702.856 | 1260637.7882
91 | 2611709.8493 | 1260635.6143
92 | 2611728.5796 | 1260629.7919
93 | 2611821.9337 | 1260761.3514
94 | 2611789.0957 | 1260714.0626
95 | 2611806.9495 | 1260739.7732
96 | 2611724.1757 | 1260701.239
97 | 2611737.5518 | 1260642.0847
98 | 2611796.0996 | 1260608.9112
99 | 2611793.8919 | 1260597.4435
100 | 2611716.6197 | 1260703.7483
101 | 2611753.0662 | 1260581.7946
102 | 2611947.5123 | 1260804.8909
103 | 2611966.6149 | 1260801.7476
104 | 2611940.408 | 1260806.0603
105 | 2611774.874 | 1260554.9881
106 | 2611764.4809 | 1260542.4947
107 | 2611750.8364 | 1260573.8867
108 | 2611758.0427 | 1260519.2861
109 | 2611723.7116 | 1260530.5482
110 | 2611729.2781 | 1260549.8252
111 | 2611663.7949 | 1260721.3157
112 | 2611753.2763 | 1260841.451

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1